## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_668-5_2_3_node_39 | 0.4 | n |  | TRUE
1 | bus_LV_668-5_2_3_node_40 | 0.4 | n |  | TRUE
2 | bus_LV_668-5_2_3_node_41 | 0.4 | n |  | TRUE
3 | bus_LV_668-5_2_3_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_668-5_2_3_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_668-5_2_3_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_668-5_2_3_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_668-5_2_3_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_668-5_2_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_668-5_2_3_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_668-5_2_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_668-5_2_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_668-5_2_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_668-5_2_3_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_668-5_2_3_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_668-5_2_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_668-5_2_3_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_668-5_2_3_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_668-5_2_3_node_168 | 0.4 | n |  | TRUE
19 | bus_LV_668-5_2_3_node_288 | 0.4 | n |  | TRUE
20 | bus_LV_668-5_2_3_node_291 | 0.4 | n |  | TRUE
21 | bus_LV_668-5_2_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_668-5_2_3_node_140 | 0.4 | n |  | TRUE
23 | bus_LV_668-5_2_3_node_331 | 0.4 | n |  | TRUE
24 | bus_LV_668-5_2_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_668-5_2_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_668-5_2_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_668-5_2_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_668-5_2_3_node_329 | 0.4 | n |  | TRUE
29 | bus_LV_668-5_2_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_668-5_2_3_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_668-5_2_3_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_668-5_2_3_node_323 | 0.4 | n |  | TRUE
33 | bus_LV_668-5_2_3_node_310 | 0.4 | n |  | TRUE
34 | bus_LV_668-5_2_3_node_327 | 0.4 | n |  | TRUE
35 | bus_LV_668-5_2_3_node_325 | 0.4 | n |  | TRUE
36 | bus_LV_668-5_2_3_node_136 | 0.4 | n |  | TRUE
37 | bus_LV_668-5_2_3_node_137 | 0.4 | n |  | TRUE
38 | bus_LV_668-5_2_3_node_138 | 0.4 | n |  | TRUE
39 | bus_LV_668-5_2_3_node_139 | 0.4 | n |  | TRUE
40 | bus_LV_668-5_2_3_node_141 | 0.4 | n |  | TRUE
41 | bus_LV_668-5_2_3_node_142 | 0.4 | n |  | TRUE
42 | bus_LV_668-5_2_3_node_296 | 0.4 | n |  | TRUE
43 | bus_LV_668-5_2_3_node_287 | 0.4 | n |  | TRUE
44 | bus_LV_668-5_2_3_node_289 | 0.4 | n |  | TRUE
45 | bus_LV_668-5_2_3_node_290 | 0.4 | n |  | TRUE
46 | bus_LV_668-5_2_3_node_294 | 0.4 | n |  | TRUE
47 | bus_LV_668-5_2_3_node_295 | 0.4 | n |  | TRUE
48 | bus_LV_668-5_2_3_node_298 | 0.4 | n |  | TRUE
49 | bus_LV_668-5_2_3_node_299 | 0.4 | n |  | TRUE
50 | bus_LV_668-5_2_3_node_300 | 0.4 | n |  | TRUE
51 | bus_LV_668-5_2_3_node_301 | 0.4 | n |  | TRUE
52 | bus_LV_668-5_2_3_node_302 | 0.4 | n |  | TRUE
53 | bus_LV_668-5_2_3_node_306 | 0.4 | n |  | TRUE
54 | bus_LV_668-5_2_3_node_303 | 0.4 | n |  | TRUE
55 | bus_LV_668-5_2_3_node_312 | 0.4 | n |  | TRUE
56 | bus_LV_668-5_2_3_node_304 | 0.4 | n |  | TRUE
57 | bus_LV_668-5_2_3_node_305 | 0.4 | n |  | TRUE
58 | bus_LV_668-5_2_3_node_317 | 0.4 | n |  | TRUE
59 | bus_LV_668-5_2_3_node_307 | 0.4 | n |  | TRUE
60 | bus_LV_668-5_2_3_node_308 | 0.4 | n |  | TRUE
61 | bus_LV_668-5_2_3_node_309 | 0.4 | n |  | TRUE
62 | bus_LV_668-5_2_3_node_311 | 0.4 | n |  | TRUE
63 | bus_LV_668-5_2_3_node_314 | 0.4 | n |  | TRUE
64 | bus_LV_668-5_2_3_node_318 | 0.4 | n |  | TRUE
65 | bus_LV_668-5_2_3_node_313 | 0.4 | n |  | TRUE
66 | bus_LV_668-5_2_3_node_315 | 0.4 | n |  | TRUE
67 | bus_LV_668-5_2_3_node_316 | 0.4 | n |  | TRUE
68 | bus_LV_668-5_2_3_node_319 | 0.4 | n |  | TRUE
69 | bus_LV_668-5_2_3_node_320 | 0.4 | n |  | TRUE
70 | bus_LV_668-5_2_3_node_321 | 0.4 | n |  | TRUE
71 | bus_LV_668-5_2_3_node_322 | 0.4 | n |  | TRUE
72 | bus_LV_668-5_2_3_node_324 | 0.4 | n |  | TRUE
73 | bus_LV_668-5_2_3_node_328 | 0.4 | n |  | TRUE
74 | bus_LV_668-5_2_3_node_326 | 0.4 | n |  | TRUE
75 | bus_LV_668-5_2_3_node_330 | 0.4 | n |  | TRUE
76 | bus_MV_405_0_node_212 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_668-5_2_3_load_39 | 0 | 0.00088482 | 0.00022176 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_668-5_2_3_load_40 | 1 | 0.0031764 | 0.00079607 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_668-5_2_3_load_41 | 2 | 0.00069208 | 0.00017345 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_668-5_2_3_load_42 | 3 | 0.00049664 | 0.00012447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_668-5_2_3_load_43 | 4 | 0.00090112 | 0.00022584 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_668-5_2_3_load_46 | 5 | 0.0002919 | 7.3158e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_668-5_2_3_load_44 | 6 | 0.0027094 | 0.00067905 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_668-5_2_3_load_45 | 7 | 0.00056767 | 0.00014227 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_668-5_2_3_load_53 | 8 | 0.00030031 | 7.5264e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_668-5_2_3_load_59 | 9 | 0.00074268 | 0.00018613 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_668-5_2_3_load_47 | 10 | 0.0006694 | 0.00016777 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_668-5_2_3_load_48 | 11 | 0.0029039 | 0.0007278 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_668-5_2_3_load_66 | 16 | 0.00045409 | 0.0001138 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_668-5_2_3_load_288 | 19 | 0.00082196 | 0.000206 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_668-5_2_3_load_291 | 20 | 0.00086058 | 0.00021568 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_668-5_2_3_load_331 | 23 | 0.00028775 | 7.2116e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_668-5_2_3_load_55 | 24 | 0.0010931 | 0.00027396 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_668-5_2_3_load_56 | 25 | 0.00054019 | 0.00013539 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_668-5_2_3_load_57 | 26 | 0.00062891 | 0.00015762 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_668-5_2_3_load_329 | 28 | 0.00063639 | 0.00015949 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_668-5_2_3_load_60 | 29 | 0.00098879 | 0.00024781 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_668-5_2_3_load_323 | 32 | 0.0048663 | 0.0012196 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_668-5_2_3_load_310 | 33 | 0.0027402 | 0.00068677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_668-5_2_3_load_327 | 34 | 0.001383 | 0.00034661 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_668-5_2_3_load_325 | 35 | 0.0049535 | 0.0012415 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_668-5_2_3_load_136 | 36 | 0.00018276 | 4.5803e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_668-5_2_3_load_137 | 37 | 0.00057769 | 0.00014478 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_668-5_2_3_load_138 | 38 | 0.00027832 | 6.9754e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_668-5_2_3_load_141 | 40 | 0.0027177 | 0.00068111 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_668-5_2_3_load_142 | 41 | 0.00048171 | 0.00012073 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_668-5_2_3_load_296 | 42 | 0.0004755 | 0.00011917 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_668-5_2_3_load_287 | 43 | 0.0029887 | 0.00074905 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_668-5_2_3_load_289 | 44 | 0.0001826 | 4.5764e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_668-5_2_3_load_290 | 45 | 0.00064149 | 0.00016077 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_668-5_2_3_load_294 | 46 | 0.00062605 | 0.0001569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_668-5_2_3_load_295 | 47 | 0.00012776 | 3.2019e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_668-5_2_3_load_298 | 48 | 0.0016785 | 0.00042068 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_668-5_2_3_load_299 | 49 | 0.0044931 | 0.0011261 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_668-5_2_3_load_300 | 50 | 0.0025881 | 0.00064865 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_668-5_2_3_load_302 | 52 | 0.0039056 | 0.00097883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_668-5_2_3_load_306 | 53 | 0.0053351 | 0.0013371 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_668-5_2_3_load_303 | 54 | 0.003141 | 0.00078722 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_668-5_2_3_load_304 | 56 | 0.0026554 | 0.0006655 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_668-5_2_3_load_305 | 57 | 0.0027974 | 0.0007011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_668-5_2_3_load_317 | 58 | 0.0030557 | 0.00076584 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_668-5_2_3_load_307 | 59 | 0.001629 | 0.00040826 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_668-5_2_3_load_308 | 60 | 0.0025977 | 0.00065105 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_668-5_2_3_load_309 | 61 | 0.0027485 | 0.00068883 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_668-5_2_3_load_311 | 62 | 0.0018265 | 0.00045777 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_668-5_2_3_load_314 | 63 | 0.0029199 | 0.00073179 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_668-5_2_3_load_318 | 64 | 0.0024371 | 0.00061081 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_668-5_2_3_load_313 | 65 | 0.0024819 | 0.00062203 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_668-5_2_3_load_316 | 67 | 0.0033543 | 0.00084068 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_668-5_2_3_load_319 | 68 | 0.0027087 | 0.00067886 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_668-5_2_3_load_320 | 69 | 0.0061171 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_668-5_2_3_load_321 | 70 | 0.001814 | 0.00045464 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_668-5_2_3_load_328 | 73 | 0.0050821 | 0.0012737 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_668-5_2_3_load_326 | 74 | 0.0010539 | 0.00026412 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_668-5_2_3_load_330 | 75 | 0.00091415 | 0.00022911 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_668-5_2_3_line_0 |  | 0 | 1 | 0.0052783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_668-5_2_3_line_1 |  | 0 | 2 | 0.012664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_668-5_2_3_line_2 |  | 1 | 3 | 0.0047676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_668-5_2_3_line_3 |  | 2 | 4 | 0.01603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_668-5_2_3_line_4 |  | 3 | 5 | 0.0028722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_668-5_2_3_line_5 |  | 4 | 6 | 0.029149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_668-5_2_3_line_6 |  | 5 | 9 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_668-5_2_3_line_7 |  | 6 | 7 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_668-5_2_3_line_8 |  | 7 | 8 | 0.014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_668-5_2_3_line_9 |  | 8 | 21 | 0.034373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_668-5_2_3_line_10 |  | 9 | 26 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_668-5_2_3_line_11 |  | 10 | 11 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_668-5_2_3_line_12 |  | 10 | 12 | 0.033986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_668-5_2_3_line_13 |  | 11 | 13 | 0.04412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_668-5_2_3_line_14 |  | 12 | 14 | 0.17252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_668-5_2_3_line_15 |  | 12 | 15 | 0.06621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_668-5_2_3_line_16 |  | 13 | 16 | 0.027193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_668-5_2_3_line_17 |  | 13 | 17 | 0.022345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_668-5_2_3_line_18 |  | 14 | 18 | 0.45959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_668-5_2_3_line_19 |  | 15 | 19 | 0.030643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_668-5_2_3_line_20 |  | 15 | 20 | 0.053356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_668-5_2_3_line_21 |  | 17 | 34 | 0.0037685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_668-5_2_3_line_22 |  | 17 | 35 | 0.014698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_668-5_2_3_line_23 |  | 18 | 42 | 0.033888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_668-5_2_3_line_24 |  | 19 | 43 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_668-5_2_3_line_25 |  | 21 | 22 | 0.1891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_668-5_2_3_line_26 |  | 21 | 23 | 0.019815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_668-5_2_3_line_27 |  | 22 | 38 | 0.1519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_668-5_2_3_line_28 |  | 23 | 75 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_668-5_2_3_line_29 |  | 24 | 25 | 0.001532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_668-5_2_3_line_30 |  | 24 | 26 | 0.0072892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_668-5_2_3_line_31 |  | 25 | 27 | 0.0076018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_668-5_2_3_line_32 |  | 27 | 28 | 0.01192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_668-5_2_3_line_33 |  | 28 | 34 | 0.0044671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_668-5_2_3_line_34 |  | 29 | 30 | 0.15216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_668-5_2_3_line_35 |  | 30 | 31 | 0.17853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_668-5_2_3_line_36 |  | 31 | 32 | 0.028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_668-5_2_3_line_37 |  | 31 | 33 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_668-5_2_3_line_38 |  | 32 | 70 | 0.0062022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_668-5_2_3_line_39 |  | 33 | 60 | 0.0067705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_668-5_2_3_line_40 |  | 35 | 74 | 0.029584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_668-5_2_3_line_41 |  | 36 | 37 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_668-5_2_3_line_42 |  | 36 | 38 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_668-5_2_3_line_43 |  | 37 | 39 | 0.0041458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_668-5_2_3_line_44 |  | 39 | 40 | 0.032981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_668-5_2_3_line_45 |  | 39 | 41 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_668-5_2_3_line_46 |  | 42 | 47 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_668-5_2_3_line_47 |  | 43 | 44 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_668-5_2_3_line_48 |  | 44 | 45 | 0.00047663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_668-5_2_3_line_49 |  | 46 | 47 | 0.04065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_668-5_2_3_line_50 |  | 48 | 49 | 0.0030603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_668-5_2_3_line_51 |  | 48 | 50 | 0.020095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_668-5_2_3_line_52 |  | 49 | 51 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_668-5_2_3_line_53 |  | 50 | 52 | 0.0072686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_668-5_2_3_line_54 |  | 51 | 53 | 0.022311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_668-5_2_3_line_55 |  | 51 | 54 | 0.0042044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_668-5_2_3_line_56 |  | 52 | 55 | 0.0091506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_668-5_2_3_line_57 |  | 54 | 56 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_668-5_2_3_line_58 |  | 55 | 63 | 0.038124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_668-5_2_3_line_59 |  | 55 | 64 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_668-5_2_3_line_60 |  | 56 | 57 | 0.0064538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_668-5_2_3_line_61 |  | 57 | 58 | 0.015611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_668-5_2_3_line_62 |  | 58 | 62 | 0.0078773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_668-5_2_3_line_63 |  | 59 | 60 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_668-5_2_3_line_64 |  | 59 | 61 | 0.0017313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_668-5_2_3_line_65 |  | 61 | 62 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_668-5_2_3_line_66 |  | 63 | 65 | 0.0019499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_668-5_2_3_line_67 |  | 64 | 68 | 0.00023589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_668-5_2_3_line_68 |  | 65 | 66 | 0.043831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_668-5_2_3_line_69 |  | 66 | 67 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_668-5_2_3_line_70 |  | 69 | 70 | 0.0093936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_668-5_2_3_line_71 |  | 69 | 71 | 0.027627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_668-5_2_3_line_72 |  | 71 | 72 | 0.017128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_668-5_2_3_line_73 |  | 72 | 73 | 0.044568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_668-5_2_3_line_74 |  | 72 | 74 | 0.06208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_668-5_2_3_trafo_324 | 0.63 MVA 20/0.4 kV | 76 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2588992.5799 | 1200990.1281 | 2588987.4773 | 1200991.4786
1 | 2588992.5799 | 1200990.1281 | 2589001.128 | 1200987.8658 | 2589004.7512 | 1200986.6507
2 | 2588987.4773 | 1200991.4786 | 2588985.7301 | 1200991.941 | 2588982.8837 | 1200992.754
3 | 2589019.583 | 1200980.6652 | 2589013.1617 | 1200983.8302 | 2589004.7512 | 1200986.6507
4 | 2588980.122 | 1200993.5429 | 2588982.8837 | 1200992.754
5 | 2589019.583 | 1200980.6652 | 2589025.1158 | 1200977.9382 | 2589036.0106 | 1200971.2478 | 2589044.3575 | 1200965.3933
6 | 2588980.122 | 1200993.5429 | 2588964.1464 | 1200998.1063
7 | 2589068.2617 | 1200943.1397 | 2589054.4642 | 1200956.717 | 2589045.8318 | 1200964.3592 | 2589044.3575 | 1200965.3933
8 | 2589068.2617 | 1200943.1397 | 2589076.5809 | 1200934.9533 | 2589078.958 | 1200932.6541
9 | 2589102.7753 | 1200907.8905 | 2589094.1844 | 1200917.4559 | 2589085.8047 | 1200926.0315 | 2589078.958 | 1200932.6541
10 | 2588964.1464 | 1200998.1063 | 2588952.471 | 1201001.4413 | 2588946.8917 | 1201002.4386
11 | 2588904.1558 | 1200914.2138 | 2588908.4348 | 1200943.8918
12 | 2588899.4676 | 1200880.5528 | 2588901.9914 | 1200899.2025 | 2588904.1558 | 1200914.2138
13 | 2588914.7308 | 1200987.5598 | 2588908.4348 | 1200943.8918
14 | 2588727.6865 | 1200894.1062 | 2588741.3016 | 1200893.1354 | 2588752.1538 | 1200892.2032 | 2588781.2755 | 1200888.2459 | 2588803.0775 | 1200885.6255 | 2588864.6276 | 1200879.4063 | 2588882.2294 | 1200877.5167 | 2588886.3629 | 1200877.7091 | 2588890.2459 | 1200878.3244 | 2588899.4676 | 1200880.5528
15 | 2588891.634 | 1200814.8208 | 2588893.1336 | 1200827.0691 | 2588898.0815 | 1200867.9263 | 2588899.4676 | 1200880.5528
16 | 2588914.7308 | 1200987.5598 | 2588909.2418 | 1200986.8919 | 2588904.9858 | 1200982.1751 | 2588899.0757 | 1200968.0229
17 | 2588914.7308 | 1200987.5598 | 2588916.1809 | 1200993.7382 | 2588914.148 | 1201001.5128 | 2588910.8658 | 1201008.7673
18 | 2588727.6865 | 1200894.1062 | 2588711.3226 | 1200894.5376 | 2588695.4923 | 1200895.3459 | 2588686.8315 | 1200895.9072 | 2588677.8289 | 1200896.8248 | 2588656.2245 | 1200899.223 | 2588607.509 | 1200906.1311 | 2588583.7385 | 1200910.1457 | 2588559.5497 | 1200914.3056 | 2588505.0648 | 1200924.9834 | 2588478.2296 | 1200930.3494 | 2588452.6265 | 1200935.1907 | 2588417.2386 | 1200941.7521 | 2588405.393 | 1200944.51 | 2588374.2785 | 1200952.7976 | 2588349.9748 | 1200960.2938 | 2588277.2726 | 1200984.4055
19 | 2588891.634 | 1200814.8208 | 2588890.4404 | 1200799.3592 | 2588889.5058 | 1200784.2525
20 | 2588891.634 | 1200814.8208 | 2588904.2605 | 1200814.2525 | 2588910.4865 | 1200814.0629 | 2588916.0116 | 1200813.5968 | 2588944.6412 | 1200809.3498
21 | 2588910.8658 | 1201008.7673 | 2588914.587 | 1201008.1722
22 | 2588910.8658 | 1201008.7673 | 2588899.1123 | 1201011.9577 | 2588896.7439 | 1201012.8158
23 | 2588277.2726 | 1200984.4055 | 2588281.2593 | 1200995.1257 | 2588282.3281 | 1201000.5821 | 2588281.9822 | 1201006.5749 | 2588279.9435 | 1201014.8612 | 2588278.7595 | 1201016.8959
24 | 2588888.3064 | 1200764.8654 | 2588889.5058 | 1200784.2525
25 | 2589205.63 | 1200749.5281 | 2589201.2288 | 1200757.018 | 2589168.8295 | 1200813.0962 | 2589157.046 | 1200833.4843 | 2589154.0333 | 1200838.4702 | 2589149.2975 | 1200845.9941 | 2589144.4626 | 1200853.4403 | 2589141.1758 | 1200858.3378 | 2589139.4071 | 1200860.9758 | 2589133.9335 | 1200868.7678 | 2589129.1049 | 1200875.4914 | 2589124.1011 | 1200882.1153 | 2589111.1455 | 1200898.2366 | 2589102.7753 | 1200907.8905
26 | 2589102.7753 | 1200907.8905 | 2589110.0153 | 1200912.8243 | 2589114.7597 | 1200914.1497 | 2589118.4749 | 1200914.5987 | 2589120.8512 | 1200914.3924
27 | 2589205.63 | 1200749.5281 | 2589238.1438 | 1200693.2832 | 2589246.4068 | 1200678.827 | 2589254.4032 | 1200664.2603 | 2589257.8392 | 1200657.5504 | 2589261.1914 | 1200650.8185 | 2589264.406 | 1200643.7533 | 2589267.3998 | 1200636.6552 | 2589270.7946 | 1200628.2111 | 2589273.5884 | 1200619.9572 | 2589275.0744 | 1200614.8407
28 | 2589133.2195 | 1200912.4645 | 2589123.1856 | 1200914.1898 | 2589120.8512 | 1200914.3924
29 | 2588939.7162 | 1201003.7212 | 2588938.2082 | 1201003.9908
30 | 2588939.7162 | 1201003.7212 | 2588946.8917 | 1201002.4386
31 | 2588930.725 | 1201005.3284 | 2588938.2082 | 1201003.9908
32 | 2588930.725 | 1201005.3284 | 2588918.9909 | 1201007.4239
33 | 2588914.587 | 1201008.1722 | 2588916.6335 | 1201007.8449 | 2588918.9909 | 1201007.4239
34 | 2588558.7937 | 1201122.0859 | 2588526.3326 | 1201134.2107 | 2588484.5512 | 1201144.1415 | 2588410.4401 | 1201152.3697
35 | 2588558.7937 | 1201122.0859 | 2588587.287 | 1201112.6371 | 2588611.6469 | 1201106.7982 | 2588684.8759 | 1201095.6298 | 2588708.7828 | 1201091.671 | 2588714.0787 | 1201090.8494 | 2588733.6646 | 1201087.9773
36 | 2588761.2345 | 1201080.999 | 2588733.6646 | 1201087.9773
37 | 2588733.6646 | 1201087.9773 | 2588735.9848 | 1201103.8232
38 | 2588761.2345 | 1201080.999 | 2588766.8905 | 1201078.4541
39 | 2588736.9657 | 1201110.5223 | 2588735.9848 | 1201103.8232
40 | 2588896.7439 | 1201012.8158 | 2588876.2254 | 1201020.2495 | 2588869.1221 | 1201023.3737
41 | 2589278.6249 | 1200598.9882 | 2589279.3274 | 1200594.4998 | 2589280.1344 | 1200586.1827 | 2589280.2905 | 1200581.8208
42 | 2589275.0744 | 1200614.8407 | 2589276.0016 | 1200611.6484 | 2589278.0256 | 1200602.8177 | 2589278.6249 | 1200598.9882
43 | 2589280.4387 | 1200577.6776 | 2589280.2905 | 1200581.8208
44 | 2589299.8838 | 1200596.9306 | 2589299.4649 | 1200588.3823 | 2589298.4376 | 1200584.3153 | 2589295.363 | 1200580.4521 | 2589291.0743 | 1200578.6367 | 2589280.4387 | 1200577.6776
45 | 2589280.4387 | 1200577.6776 | 2589280.2033 | 1200569.5736 | 2589279.7616 | 1200565.5876
46 | 2588267.3419 | 1201027.6098 | 2588272.8131 | 1201023.2798 | 2588277.994 | 1201018.2113 | 2588278.7595 | 1201016.8959
47 | 2588888.3064 | 1200764.8654 | 2588887.3321 | 1200749.1157
48 | 2588887.3321 | 1200749.1157 | 2588887.3321 | 1200749.1157 | 2588887.24 | 1200748.648
49 | 2588234.5463 | 1201051.6002 | 2588237.7837 | 1201049.063 | 2588246.5993 | 1201042.2752 | 2588256.1084 | 1201035.8863 | 2588265.4341 | 1201029.1197 | 2588267.3419 | 1201027.6098
50 | 2588768.0316 | 1201205.7577 | 2588765.1073 | 1201206.6599
51 | 2588768.0316 | 1201205.7577 | 2588787.234 | 1201199.8334
52 | 2588751.0609 | 1201206.7862 | 2588758.0746 | 1201208.8296 | 2588765.1073 | 1201206.6599
53 | 2588787.234 | 1201199.8334 | 2588794.1795 | 1201197.6905
54 | 2588751.0609 | 1201206.7862 | 2588753.8733 | 1201228.9151
55 | 2588751.0609 | 1201206.7862 | 2588750.4518 | 1201202.6262
56 | 2588802.9234 | 1201194.9929 | 2588794.1795 | 1201197.6905
57 | 2588750.4518 | 1201202.6262 | 2588747.1789 | 1201180.2738
58 | 2588802.9234 | 1201194.9929 | 2588797.2522 | 1201157.2934
59 | 2588802.9234 | 1201194.9929 | 2588817.9156 | 1201190.3672
60 | 2588747.1789 | 1201180.2738 | 2588746.2439 | 1201173.8881
61 | 2588743.9822 | 1201158.442 | 2588746.2439 | 1201173.8881
62 | 2588742.841 | 1201150.6478 | 2588743.9822 | 1201158.442
63 | 2588739.4541 | 1201127.5171 | 2588736.9657 | 1201110.5223
64 | 2588739.4541 | 1201127.5171 | 2588739.7049 | 1201129.2301
65 | 2588742.841 | 1201150.6478 | 2588739.7049 | 1201129.2301
66 | 2588796.9621 | 1201155.3651 | 2588797.2522 | 1201157.2934
67 | 2588818.141 | 1201190.2977 | 2588817.9156 | 1201190.3672
68 | 2588813.1837 | 1201118.61 | 2588795.8108 | 1201136.5414 | 2588796.7725 | 1201154.1046 | 2588796.9621 | 1201155.3651
69 | 2588813.1837 | 1201118.61 | 2588811.1177 | 1201108.3636
70 | 2588775.457 | 1201074.5997 | 2588766.8905 | 1201078.4541
71 | 2588799.8707 | 1201061.6711 | 2588775.8736 | 1201074.4122 | 2588775.457 | 1201074.5997
72 | 2588799.8707 | 1201061.6711 | 2588814.7574 | 1201053.1273
73 | 2588814.7574 | 1201053.1273 | 2588802.9625 | 1201010.1485
74 | 2588814.7574 | 1201053.1273 | 2588832.5692 | 1201041.732 | 2588846.0422 | 1201034.147 | 2588861.0457 | 1201026.926 | 2588869.1221 | 1201023.3737

## bus_geodata
| x | y | coords
0 | 2588992.5799 | 1200990.1281
1 | 2588987.4773 | 1200991.4786
2 | 2589004.7512 | 1200986.6507
3 | 2588982.8837 | 1200992.754
4 | 2589019.583 | 1200980.6652
5 | 2588980.122 | 1200993.5429
6 | 2589044.3575 | 1200965.3933
7 | 2589068.2617 | 1200943.1397
8 | 2589078.958 | 1200932.6541
9 | 2588964.1464 | 1200998.1063
10 | 2588904.1558 | 1200914.2138
11 | 2588908.4348 | 1200943.8918
12 | 2588899.4676 | 1200880.5528
13 | 2588914.7308 | 1200987.5598
14 | 2588727.6865 | 1200894.1062
15 | 2588891.634 | 1200814.8208
16 | 2588899.0757 | 1200968.0229
17 | 2588910.8658 | 1201008.7673
18 | 2588277.2726 | 1200984.4055
19 | 2588889.5058 | 1200784.2525
20 | 2588944.6412 | 1200809.3498
21 | 2589102.7753 | 1200907.8905
22 | 2589205.63 | 1200749.5281
23 | 2589120.8512 | 1200914.3924
24 | 2588939.7162 | 1201003.7212
25 | 2588938.2082 | 1201003.9908
26 | 2588946.8917 | 1201002.4386
27 | 2588930.725 | 1201005.3284
28 | 2588918.9909 | 1201007.4239
29 | 2588410.4401 | 1201152.3697
30 | 2588558.7937 | 1201122.0859
31 | 2588733.6646 | 1201087.9773
32 | 2588761.2345 | 1201080.999
33 | 2588735.9848 | 1201103.8232
34 | 2588914.587 | 1201008.1722
35 | 2588896.7439 | 1201012.8158
36 | 2589278.6249 | 1200598.9882
37 | 2589280.2905 | 1200581.8208
38 | 2589275.0744 | 1200614.8407
39 | 2589280.4387 | 1200577.6776
40 | 2589299.8838 | 1200596.9306
41 | 2589279.7616 | 1200565.5876
42 | 2588278.7595 | 1201016.8959
43 | 2588888.3064 | 1200764.8654
44 | 2588887.3321 | 1200749.1157
45 | 2588887.24 | 1200748.648
46 | 2588234.5463 | 1201051.6002
47 | 2588267.342 | 1201027.6098
48 | 2588768.0316 | 1201205.7577
49 | 2588765.1073 | 1201206.6599
50 | 2588787.234 | 1201199.8334
51 | 2588751.0609 | 1201206.7862
52 | 2588794.1795 | 1201197.6905
53 | 2588753.8733 | 1201228.9151
54 | 2588750.4518 | 1201202.6262
55 | 2588802.9234 | 1201194.9929
56 | 2588747.1789 | 1201180.2738
57 | 2588746.2439 | 1201173.8881
58 | 2588743.9822 | 1201158.442
59 | 2588739.4541 | 1201127.5171
60 | 2588736.9657 | 1201110.5223
61 | 2588739.7049 | 1201129.2301
62 | 2588742.841 | 1201150.6478
63 | 2588797.2522 | 1201157.2934
64 | 2588817.9156 | 1201190.3672
65 | 2588796.9621 | 1201155.3651
66 | 2588813.1837 | 1201118.61
67 | 2588811.1177 | 1201108.3636
68 | 2588818.141 | 1201190.2977
69 | 2588775.457 | 1201074.5997
70 | 2588766.8905 | 1201078.4541
71 | 2588799.8707 | 1201061.6711
72 | 2588814.7574 | 1201053.1273
73 | 2588802.9625 | 1201010.1485
74 | 2588869.1221 | 1201023.3737
75 | 2589133.2195 | 1200912.4645
76 | 2588799.8707 | 1201061.6711

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1