## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_670-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_670-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_670-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_670-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_670-6_0_4_node_80 | 0.4 | n |  | TRUE
5 | bus_LV_670-6_0_4_node_81 | 0.4 | n |  | TRUE
6 | bus_LV_670-6_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_670-6_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_670-6_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_670-6_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_670-6_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_670-6_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_670-6_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_670-6_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_670-6_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_670-6_0_4_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_670-6_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_670-6_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_670-6_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_670-6_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_670-6_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_670-6_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_670-6_0_4_node_96 | 0.4 | n |  | TRUE
23 | bus_LV_670-6_0_4_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_670-6_0_4_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_670-6_0_4_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_670-6_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_670-6_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_670-6_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_670-6_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_670-6_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_670-6_0_4_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_670-6_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_670-6_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_670-6_0_4_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_670-6_0_4_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_670-6_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_670-6_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_670-6_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_670-6_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_670-6_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_670-6_0_4_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_670-6_0_4_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_670-6_0_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_670-6_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_670-6_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_670-6_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_670-6_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_670-6_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_670-6_0_4_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_670-6_0_4_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_670-6_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_670-6_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_670-6_0_4_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_670-6_0_4_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_670-6_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_670-6_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_670-6_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_670-6_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_670-6_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_670-6_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_670-6_0_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_670-6_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_670-6_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_670-6_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_670-6_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_670-6_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_670-6_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_670-6_0_4_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_670-6_0_4_node_103 | 0.4 | n |  | TRUE
70 | bus_LV_670-6_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_670-6_0_4_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_670-6_0_4_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_670-6_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_670-6_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_670-6_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_670-6_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_670-6_0_4_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_670-6_0_4_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_670-6_0_4_node_115 | 0.4 | n |  | TRUE
80 | bus_LV_670-6_0_4_node_114 | 0.4 | n |  | TRUE
81 | bus_LV_670-6_0_4_node_117 | 0.4 | n |  | TRUE
82 | bus_LV_670-6_0_4_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_670-6_0_4_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_670-6_0_4_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_670-6_0_4_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_670-6_0_4_node_101 | 0.4 | n |  | TRUE
87 | bus_LV_670-6_0_4_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_670-6_0_4_node_99 | 0.4 | n |  | TRUE
89 | bus_LV_670-6_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_670-6_0_4_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_670-6_0_4_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_670-6_0_4_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_670-6_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_670-6_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_670-6_0_4_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_670-6_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_670-6_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_670-6_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_670-6_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_670-6_0_4_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_670-6_0_4_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_670-6_0_4_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_670-6_0_4_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_670-6_0_4_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_670-6_0_4_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_670-6_0_4_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_670-6_0_4_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_670-6_0_4_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_670-6_0_4_node_118 | 0.4 | n |  | TRUE
110 | bus_LV_670-6_0_4_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_670-6_0_4_node_108 | 0.4 | n |  | TRUE
112 | bus_LV_670-6_0_4_node_111 | 0.4 | n |  | TRUE
113 | bus_LV_670-6_0_4_node_112 | 0.4 | n |  | TRUE
114 | bus_LV_670-6_0_4_node_113 | 0.4 | n |  | TRUE
115 | bus_LV_670-6_0_4_node_119 | 0.4 | n |  | TRUE
116 | bus_LV_670-6_0_4_node_120 | 0.4 | n |  | TRUE
117 | bus_MV_120_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_670-6_0_4_load_0 | 0 | 0.01136 | 0.0028472 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_670-6_0_4_load_1 | 1 | 0.011921 | 0.0029877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_670-6_0_4_load_2 | 2 | 0.0064276 | 0.0016109 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_670-6_0_4_load_3 | 3 | 0.01192 | 0.0029874 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_670-6_0_4_load_81 | 5 | 0.0067023 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_670-6_0_4_load_9 | 6 | 0.0059941 | 0.0015023 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_670-6_0_4_load_4 | 7 | 0.0050327 | 0.0012613 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_670-6_0_4_load_5 | 8 | 0.0085266 | 0.002137 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_670-6_0_4_load_7 | 10 | 0.0027487 | 0.0006889 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_670-6_0_4_load_8 | 11 | 0.0052282 | 0.0013103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_670-6_0_4_load_23 | 13 | 0.0051595 | 0.0012931 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_670-6_0_4_load_37 | 14 | 0.0017466 | 0.00043774 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_670-6_0_4_load_68 | 15 | 0.0093576 | 0.0023452 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_670-6_0_4_load_10 | 17 | 0.004223 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_670-6_0_4_load_11 | 18 | 0.0049959 | 0.0012521 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_670-6_0_4_load_12 | 19 | 0.0023679 | 0.00059345 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_670-6_0_4_load_13 | 20 | 0.0028082 | 0.0007038 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_670-6_0_4_load_14 | 21 | 0.004032 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_670-6_0_4_load_96 | 22 | 0.005192 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_670-6_0_4_load_72 | 23 | 0.0025311 | 0.00063435 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_670-6_0_4_load_95 | 24 | 0.0051928 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_670-6_0_4_load_73 | 25 | 0.0017479 | 0.00043807 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_670-6_0_4_load_15 | 26 | 0.014913 | 0.0037374 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_670-6_0_4_load_16 | 27 | 0.003816 | 0.00095637 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_670-6_0_4_load_17 | 28 | 0.0034475 | 0.00086404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_670-6_0_4_load_19 | 30 | 0.01925 | 0.0048246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_670-6_0_4_load_82 | 31 | 0.0045328 | 0.001136 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_670-6_0_4_load_44 | 33 | 0.0029663 | 0.00074342 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_670-6_0_4_load_87 | 34 | 0.0049597 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_670-6_0_4_load_20 | 36 | 0.0074928 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_670-6_0_4_load_27 | 38 | 0.002869 | 0.00071904 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_670-6_0_4_load_24 | 39 | 0.0066038 | 0.0016551 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_670-6_0_4_load_25 | 40 | 0.0071674 | 0.0017963 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_670-6_0_4_load_61 | 42 | 0.0050127 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_670-6_0_4_load_60 | 43 | 0.0074554 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_670-6_0_4_load_28 | 44 | 0.0023079 | 0.00057841 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_670-6_0_4_load_29 | 45 | 0.0016981 | 0.00042558 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_670-6_0_4_load_31 | 46 | 0.0043039 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_670-6_0_4_load_77 | 49 | 0.0073144 | 0.0018332 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_670-6_0_4_load_74 | 50 | 0.0032548 | 0.00081572 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_670-6_0_4_load_51 | 51 | 0.001013 | 0.00025388 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_670-6_0_4_load_47 | 52 | 0.0016839 | 0.00042201 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_670-6_0_4_load_33 | 55 | 0.0070125 | 0.0017575 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_670-6_0_4_load_34 | 56 | 0.0073762 | 0.0018487 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_670-6_0_4_load_59 | 59 | 0.0023209 | 0.00058166 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_670-6_0_4_load_57 | 60 | 0.00232 | 0.00058146 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_670-6_0_4_load_79 | 61 | 0.00084767 | 0.00021245 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_670-6_0_4_load_58 | 62 | 0.0022395 | 0.00056127 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_670-6_0_4_load_38 | 63 | 0.024426 | 0.0061218 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_670-6_0_4_load_39 | 64 | 0.0017217 | 0.0004315 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_670-6_0_4_load_40 | 65 | 0.0032444 | 0.00081313 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_670-6_0_4_load_41 | 66 | 0.0077745 | 0.0019485 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_670-6_0_4_load_106 | 68 | 0.0036773 | 0.00092162 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_670-6_0_4_load_103 | 69 | 0.002519 | 0.00063132 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_670-6_0_4_load_107 | 71 | 0.0021551 | 0.00054012 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_670-6_0_4_load_104 | 72 | 0.0034035 | 0.000853 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_670-6_0_4_load_53 | 74 | 0.0054675 | 0.0013703 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_670-6_0_4_load_52 | 76 | 0.0028659 | 0.00071825 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_670-6_0_4_load_48 | 77 | 0.001153 | 0.00028897 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_670-6_0_4_load_50 | 78 | 0.003744 | 0.00093834 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_670-6_0_4_load_115 | 79 | 0.00095267 | 0.00023876 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_670-6_0_4_load_114 | 80 | 0.0016987 | 0.00042574 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_670-6_0_4_load_117 | 81 | 0.0015469 | 0.0003877 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_670-6_0_4_load_55 | 83 | 0.0010061 | 0.00025215 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_670-6_0_4_load_56 | 84 | 0.0037839 | 0.00094833 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_670-6_0_4_load_63 | 85 | 0.0012229 | 0.00030648 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_670-6_0_4_load_101 | 86 | 0.0010188 | 0.00025533 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_670-6_0_4_load_64 | 87 | 0.0021031 | 0.0005271 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_670-6_0_4_load_99 | 88 | 0.0010312 | 0.00025844 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_670-6_0_4_load_78 | 89 | 0.0023311 | 0.00058422 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_670-6_0_4_load_62 | 90 | 0.0012948 | 0.00032452 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_670-6_0_4_load_65 | 91 | 0.0028169 | 0.00070598 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_670-6_0_4_load_85 | 93 | 0.0045299 | 0.0011353 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_670-6_0_4_load_83 | 94 | 0.0042123 | 0.0010557 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_670-6_0_4_load_84 | 95 | 0.0016901 | 0.00042358 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_670-6_0_4_load_88 | 96 | 0.0030051 | 0.00075315 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_670-6_0_4_load_89 | 97 | 0.0022846 | 0.00057258 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_670-6_0_4_load_90 | 98 | 0.00379 | 0.00094986 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_670-6_0_4_load_91 | 99 | 0.0068257 | 0.0017107 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_670-6_0_4_load_93 | 101 | 0.002672 | 0.00066967 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_670-6_0_4_load_105 | 102 | 0.0023491 | 0.00058874 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_670-6_0_4_load_94 | 103 | 0.0055372 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_670-6_0_4_load_97 | 104 | 0.0044761 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_670-6_0_4_load_98 | 105 | 0.0046016 | 0.0011533 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_670-6_0_4_load_109 | 106 | 0.0045211 | 0.0011331 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_670-6_0_4_load_110 | 107 | 0.0045529 | 0.0011411 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_670-6_0_4_load_100 | 108 | 0.0041196 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_670-6_0_4_load_118 | 109 | 0.0016859 | 0.00042252 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_670-6_0_4_load_102 | 110 | 0.0014715 | 0.0003688 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_670-6_0_4_load_108 | 111 | 0.00176 | 0.0004411 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_670-6_0_4_load_111 | 112 | 0.0039128 | 0.00098064 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_670-6_0_4_load_112 | 113 | 0.0016609 | 0.00041627 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_670-6_0_4_load_113 | 114 | 0.0078701 | 0.0019724 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_670-6_0_4_load_119 | 115 | 0.0016215 | 0.00040639 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_670-6_0_4_load_120 | 116 | 0.0029571 | 0.00074111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_670-6_0_4_line_0 |  | 0 | 1 | 0.026959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_670-6_0_4_line_1 |  | 0 | 2 | 0.0035946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_670-6_0_4_line_2 |  | 1 | 3 | 0.0066151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_670-6_0_4_line_3 |  | 3 | 4 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_670-6_0_4_line_4 |  | 4 | 5 | 0.021045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_670-6_0_4_line_5 |  | 4 | 6 | 0.017367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_670-6_0_4_line_6 |  | 6 | 9 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_670-6_0_4_line_7 |  | 7 | 8 | 0.019715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_670-6_0_4_line_8 |  | 7 | 9 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_670-6_0_4_line_9 |  | 8 | 10 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_670-6_0_4_line_10 |  | 9 | 11 | 0.0030897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_670-6_0_4_line_11 |  | 10 | 12 | 0.015645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_670-6_0_4_line_12 |  | 11 | 13 | 0.017155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_670-6_0_4_line_13 |  | 12 | 14 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_670-6_0_4_line_14 |  | 12 | 15 | 0.0014196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_670-6_0_4_line_15 |  | 13 | 16 | 0.012432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_670-6_0_4_line_16 |  | 14 | 57 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_670-6_0_4_line_17 |  | 15 | 75 | 0.073388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_670-6_0_4_line_18 |  | 16 | 37 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_670-6_0_4_line_19 |  | 16 | 36 | 0.0077549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_670-6_0_4_line_20 |  | 17 | 18 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_670-6_0_4_line_21 |  | 17 | 19 | 0.0098351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_670-6_0_4_line_22 |  | 18 | 20 | 0.0093082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_670-6_0_4_line_23 |  | 19 | 21 | 0.0078639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_670-6_0_4_line_24 |  | 20 | 22 | 0.016155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_670-6_0_4_line_25 |  | 21 | 23 | 0.017297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_670-6_0_4_line_26 |  | 22 | 24 | 0.02375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_670-6_0_4_line_27 |  | 23 | 25 | 0.004196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_670-6_0_4_line_28 |  | 24 | 104 | 0.01729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_670-6_0_4_line_29 |  | 25 | 54 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_670-6_0_4_line_30 |  | 26 | 27 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_670-6_0_4_line_31 |  | 26 | 28 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_670-6_0_4_line_32 |  | 27 | 29 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_670-6_0_4_line_33 |  | 28 | 30 | 0.029402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_670-6_0_4_line_34 |  | 29 | 31 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_670-6_0_4_line_35 |  | 29 | 32 | 0.006141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_670-6_0_4_line_36 |  | 30 | 33 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_670-6_0_4_line_37 |  | 32 | 34 | 0.016579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_670-6_0_4_line_38 |  | 33 | 35 | 0.023549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_670-6_0_4_line_39 |  | 34 | 93 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_670-6_0_4_line_40 |  | 35 | 70 | 0.017275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_670-6_0_4_line_41 |  | 35 | 66 | 0.015215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_670-6_0_4_line_42 |  | 37 | 38 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_670-6_0_4_line_43 |  | 37 | 39 | 0.013968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_670-6_0_4_line_44 |  | 39 | 40 | 0.021355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_670-6_0_4_line_45 |  | 40 | 41 | 0.035964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_670-6_0_4_line_46 |  | 41 | 42 | 0.056504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_670-6_0_4_line_47 |  | 42 | 43 | 0.018076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_670-6_0_4_line_48 |  | 43 | 90 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_670-6_0_4_line_49 |  | 44 | 45 | 0.010624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_670-6_0_4_line_50 |  | 45 | 46 | 0.022155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_670-6_0_4_line_51 |  | 46 | 47 | 0.0049473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_670-6_0_4_line_52 |  | 47 | 51 | 0.0064416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_670-6_0_4_line_53 |  | 47 | 52 | 0.036871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_670-6_0_4_line_54 |  | 48 | 49 | 0.066341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_670-6_0_4_line_55 |  | 48 | 50 | 0.1062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_670-6_0_4_line_56 |  | 49 | 53 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_670-6_0_4_line_57 |  | 50 | 54 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_670-6_0_4_line_58 |  | 51 | 53 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_670-6_0_4_line_59 |  | 52 | 77 | 0.039942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_670-6_0_4_line_60 |  | 53 | 81 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_670-6_0_4_line_61 |  | 55 | 56 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_670-6_0_4_line_62 |  | 55 | 57 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_670-6_0_4_line_63 |  | 56 | 58 | 0.0088264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_670-6_0_4_line_64 |  | 58 | 59 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_670-6_0_4_line_65 |  | 58 | 60 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_670-6_0_4_line_66 |  | 59 | 61 | 0.016631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_670-6_0_4_line_67 |  | 60 | 62 | 0.014425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_670-6_0_4_line_68 |  | 61 | 89 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_670-6_0_4_line_69 |  | 63 | 64 | 0.021261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_670-6_0_4_line_70 |  | 63 | 65 | 0.023109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_670-6_0_4_line_71 |  | 64 | 66 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_670-6_0_4_line_72 |  | 65 | 67 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_670-6_0_4_line_73 |  | 67 | 68 | 0.0071994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_670-6_0_4_line_74 |  | 67 | 69 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_670-6_0_4_line_75 |  | 68 | 71 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_670-6_0_4_line_76 |  | 69 | 72 | 0.024212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_670-6_0_4_line_77 |  | 70 | 73 | 0.055321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_670-6_0_4_line_78 |  | 70 | 74 | 0.071393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_670-6_0_4_line_79 |  | 71 | 111 | 0.007318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_670-6_0_4_line_80 |  | 72 | 102 | 0.021269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_670-6_0_4_line_81 |  | 73 | 75 | 0.027362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_670-6_0_4_line_82 |  | 74 | 76 | 0.010479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_670-6_0_4_line_83 |  | 76 | 82 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_670-6_0_4_line_84 |  | 77 | 78 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_670-6_0_4_line_85 |  | 78 | 79 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_670-6_0_4_line_86 |  | 79 | 80 | 0.0025755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_670-6_0_4_line_87 |  | 80 | 114 | 0.0074166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_670-6_0_4_line_88 |  | 81 | 115 | 0.03973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_670-6_0_4_line_89 |  | 82 | 83 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_670-6_0_4_line_90 |  | 82 | 84 | 0.01525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_670-6_0_4_line_91 |  | 83 | 85 | 0.037953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_670-6_0_4_line_92 |  | 84 | 86 | 0.0088533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_670-6_0_4_line_93 |  | 85 | 87 | 0.022864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_670-6_0_4_line_94 |  | 86 | 88 | 0.019161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_670-6_0_4_line_95 |  | 88 | 108 | 0.0077621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_670-6_0_4_line_96 |  | 88 | 109 | 0.048111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_670-6_0_4_line_97 |  | 89 | 92 | 0.080394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_670-6_0_4_line_98 |  | 91 | 92 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_670-6_0_4_line_99 |  | 93 | 95 | 0.0072399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_670-6_0_4_line_100 |  | 94 | 95 | 0.0084845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_670-6_0_4_line_101 |  | 96 | 97 | 0.033542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_670-6_0_4_line_102 |  | 96 | 98 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_670-6_0_4_line_103 |  | 97 | 99 | 0.042766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_670-6_0_4_line_104 |  | 98 | 100 | 0.039047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_670-6_0_4_line_105 |  | 99 | 101 | 0.016434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_670-6_0_4_line_106 |  | 100 | 102 | 0.0099121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_670-6_0_4_line_107 |  | 101 | 103 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_670-6_0_4_line_108 |  | 104 | 105 | 0.007308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_670-6_0_4_line_109 |  | 105 | 106 | 0.0095155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_670-6_0_4_line_110 |  | 106 | 107 | 0.0073019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_670-6_0_4_line_111 |  | 107 | 111 | 0.0075385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_670-6_0_4_line_112 |  | 108 | 110 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_670-6_0_4_line_113 |  | 112 | 113 | 0.012035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_670-6_0_4_line_114 |  | 113 | 114 | 0.0070921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_670-6_0_4_line_115 |  | 115 | 116 | 0.0016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_670-6_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 117 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2589600.7467 | 1193686.5145 | 2589577.1354 | 1193673.5042
1 | 2589600.7467 | 1193686.5145 | 2589603.895 | 1193688.2492
2 | 2589571.3417 | 1193670.3118 | 2589577.1354 | 1193673.5042
3 | 2589556.7506 | 1193662.2719 | 2589571.3417 | 1193670.3118
4 | 2589556.7506 | 1193662.2719 | 2589547.6163 | 1193681.2313
5 | 2589556.7506 | 1193662.2719 | 2589564.2867 | 1193646.6248
6 | 2589571.8303 | 1193630.9621 | 2589564.2867 | 1193646.6248
7 | 2589586.7196 | 1193639.4402 | 2589603.852 | 1193649.1954
8 | 2589571.8303 | 1193630.9621 | 2589586.7196 | 1193639.4402
9 | 2589603.852 | 1193649.1954 | 2589622.9918 | 1193660.0937
10 | 2589571.8303 | 1193630.9621 | 2589569.2153 | 1193629.3164
11 | 2589636.5872 | 1193667.8349 | 2589622.9918 | 1193660.0937
12 | 2589554.6965 | 1193620.1791 | 2589569.2153 | 1193629.3164
13 | 2589636.5872 | 1193667.8349 | 2589644.732 | 1193654.4602
14 | 2589636.5872 | 1193667.8349 | 2589637.7745 | 1193668.6131
15 | 2589544.1744 | 1193613.5571 | 2589554.6965 | 1193620.1791
16 | 2589657.1489 | 1193642.2188 | 2589654.1795 | 1193643.7581 | 2589648.2439 | 1193648.6933 | 2589644.732 | 1193654.4602
17 | 2589697.6201 | 1193711.007 | 2589668.4933 | 1193688.7459 | 2589637.7745 | 1193668.6131
18 | 2589532.2341 | 1193605.7407 | 2589536.4605 | 1193608.2679 | 2589539.6276 | 1193610.8081 | 2589544.1744 | 1193613.5571
19 | 2589544.1744 | 1193613.5571 | 2589538.1474 | 1193618.437
20 | 2589678.1987 | 1193853.4126 | 2589684.6203 | 1193851.8707 | 2589702.8738 | 1193848.4476
21 | 2589678.1987 | 1193853.4126 | 2589668.6354 | 1193855.7088
22 | 2589702.8738 | 1193848.4476 | 2589712.0225 | 1193846.7319
23 | 2589660.9888 | 1193857.5448 | 2589668.6354 | 1193855.7088
24 | 2589727.9008 | 1193843.7542 | 2589712.0225 | 1193846.7319
25 | 2589660.9888 | 1193857.5448 | 2589644.1695 | 1193861.5831
26 | 2589751.4022 | 1193841.2678 | 2589742.06 | 1193841.0988 | 2589727.9008 | 1193843.7542
27 | 2589644.1695 | 1193861.5831 | 2589641.7122 | 1193862.1731 | 2589640.0606 | 1193862.4132
28 | 2589751.4022 | 1193841.2678 | 2589768.6897 | 1193841.5804
29 | 2589624.5219 | 1193862.9925 | 2589634.1242 | 1193863.2759 | 2589640.0606 | 1193862.4132
30 | 2589691.8393 | 1193802.0868 | 2589683.2743 | 1193805.2929 | 2589673.02 | 1193810.5595
31 | 2589703.7458 | 1193798.7816 | 2589699.9829 | 1193799.0384 | 2589691.8393 | 1193802.0868
32 | 2589662.2114 | 1193818.5032 | 2589666.1816 | 1193814.0717 | 2589673.02 | 1193810.5595
33 | 2589732.2076 | 1193800.8138 | 2589719.6111 | 1193802.1171 | 2589711.3514 | 1193798.2627 | 2589703.7458 | 1193798.7816
34 | 2589662.2114 | 1193818.5032 | 2589658.8458 | 1193808.3826
35 | 2589658.0203 | 1193823.0018 | 2589662.2114 | 1193818.5032
36 | 2589749.3335 | 1193799.0418 | 2589732.2076 | 1193800.8138
37 | 2589658.0203 | 1193823.0018 | 2589644.3567 | 1193832.3914
38 | 2589750.6036 | 1193775.5272 | 2589749.3335 | 1193799.0418
39 | 2589644.3567 | 1193832.3914 | 2589629.15 | 1193842.8415
40 | 2589750.6036 | 1193775.5272 | 2589737.8342 | 1193763.8542
41 | 2589750.6036 | 1193775.5272 | 2589762.8718 | 1193784.5269
42 | 2589532.2341 | 1193605.7407 | 2589515.4221 | 1193594.7617
43 | 2589532.2341 | 1193605.7407 | 2589543.7255 | 1193597.8
44 | 2589550.1774 | 1193580.5821 | 2589552.5025 | 1193582.4483 | 2589552.4097 | 1193586.0392 | 2589545.7826 | 1193596.3786 | 2589543.7255 | 1193597.8
45 | 2589523.8479 | 1193556.3405 | 2589531.1492 | 1193565.3101 | 2589550.1774 | 1193580.5821
46 | 2589523.8479 | 1193556.3405 | 2589552.4168 | 1193551.0874 | 2589563.0985 | 1193566.8881 | 2589571.3311 | 1193565.3019
47 | 2589589.0808 | 1193561.882 | 2589571.3311 | 1193565.3019
48 | 2589605.7226 | 1193558.6756 | 2589589.0808 | 1193561.882
49 | 2589542.5321 | 1194031.7276 | 2589532.1131 | 1194029.6484
50 | 2589542.5321 | 1194031.7276 | 2589553.5107 | 1194033.9185 | 2589561.0437 | 1194036.3065 | 2589563.8316 | 1194037.5629
51 | 2589568.3421 | 1194039.5955 | 2589563.8316 | 1194037.5629
52 | 2589568.3421 | 1194039.5955 | 2589573.5903 | 1194035.8605
53 | 2589568.3421 | 1194039.5955 | 2589587.5366 | 1194056.5152 | 2589593.4298 | 1194066.1382
54 | 2589558.6182 | 1193957.0911 | 2589564.2689 | 1193968.0203 | 2589585.7781 | 1193996.7088 | 2589588.2032 | 1194014.7274
55 | 2589558.6182 | 1193957.0911 | 2589559.5442 | 1193954.9884 | 2589575.8537 | 1193930.1021 | 2589582.972 | 1193908.9006 | 2589606.012 | 1193880.4785 | 2589617.0584 | 1193870.0432
56 | 2589590.372 | 1194030.841 | 2589588.2032 | 1194014.7274
57 | 2589624.5219 | 1193862.9925 | 2589617.0584 | 1193870.0432
58 | 2589590.372 | 1194030.841 | 2589579.4917 | 1194031.6606 | 2589573.5903 | 1194035.8605
59 | 2589593.4298 | 1194066.1382 | 2589608.1702 | 1194090.2079 | 2589612.4704 | 1194101.1075
60 | 2589590.372 | 1194030.841 | 2589601.7949 | 1194030.9544 | 2589606.3203 | 1194029.4283
61 | 2589656.6711 | 1193628.7769 | 2589656.06 | 1193611.5879
62 | 2589657.1489 | 1193642.2188 | 2589656.6711 | 1193628.7769
63 | 2589655.7465 | 1193602.7671 | 2589656.06 | 1193611.5879
64 | 2589655.7465 | 1193602.7671 | 2589654.7381 | 1193588.5606
65 | 2589655.7465 | 1193602.7671 | 2589639.2098 | 1193602.6974
66 | 2589654.7381 | 1193588.5606 | 2589653.6761 | 1193573.5997 | 2589655.2796 | 1193573.293
67 | 2589625.5645 | 1193600.6409 | 2589627.7628 | 1193602.6492 | 2589639.2098 | 1193602.6974
68 | 2589665.4865 | 1193559.0685 | 2589663.8237 | 1193571.6588 | 2589655.2796 | 1193573.293
69 | 2589797.4772 | 1193809.9127 | 2589780.3341 | 1193797.3369
70 | 2589816.11 | 1193823.5813 | 2589797.4772 | 1193809.9127
71 | 2589762.8718 | 1193784.5269 | 2589780.3341 | 1193797.3369
72 | 2589827.3324 | 1193831.8139 | 2589816.11 | 1193823.5813
73 | 2589827.3324 | 1193831.8139 | 2589823.0215 | 1193837.5798
74 | 2589827.3324 | 1193831.8139 | 2589841.7503 | 1193840.6494 | 2589843.3495 | 1193841.2593
75 | 2589823.0215 | 1193837.5798 | 2589823.0215 | 1193837.5798 | 2589807.5088 | 1193840.0401
76 | 2589843.3495 | 1193841.2593 | 2589855.9107 | 1193846.0502 | 2589866.5552 | 1193847.6784
77 | 2589718.75 | 1193718.5633 | 2589718.8845 | 1193721.4312 | 2589717.2441 | 1193724.6914 | 2589714.2305 | 1193727.0867 | 2589717.6544 | 1193741.5662 | 2589728.068 | 1193752.6318 | 2589737.8342 | 1193763.8542
78 | 2589737.8342 | 1193763.8542 | 2589801.0335 | 1193760.5435 | 2589809.1168 | 1193761.1568
79 | 2589800.2811 | 1193841.1864 | 2589807.5088 | 1193840.0401
80 | 2589866.5552 | 1193847.6784 | 2589869.1357 | 1193848.0732 | 2589887.6968 | 1193849.9727
81 | 2589697.6201 | 1193711.007 | 2589704.0833 | 1193715.9429 | 2589706.6849 | 1193713.2369 | 2589709.9064 | 1193712.0641 | 2589713.2066 | 1193712.3251 | 2589715.9983 | 1193713.8211 | 2589718.0069 | 1193716.3189 | 2589718.75 | 1193718.5633
82 | 2589819.5656 | 1193761.9495 | 2589809.1168 | 1193761.1568
83 | 2589833.9892 | 1193763.0439 | 2589819.5656 | 1193761.9495
84 | 2589619.2243 | 1194118.2261 | 2589612.4704 | 1194101.1075
85 | 2589619.2243 | 1194118.2261 | 2589623.6161 | 1194129.3578
86 | 2589623.6161 | 1194129.3578 | 2589624.5613 | 1194131.7535
87 | 2589627.2832 | 1194138.6526 | 2589624.5613 | 1194131.7535
88 | 2589631.4386 | 1194001.7516 | 2589624.8748 | 1194016.851 | 2589617.3691 | 1194025.7022 | 2589606.3203 | 1194029.4283
89 | 2589833.9892 | 1193763.0439 | 2589833.7321 | 1193780.7466
90 | 2589833.9892 | 1193763.0439 | 2589849.1951 | 1193764.1983
91 | 2589833.7321 | 1193780.7466 | 2589833.5598 | 1193792.6158 | 2589837.2807 | 1193798.268 | 2589845.1703 | 1193804.1131 | 2589854.062 | 1193807.4492
92 | 2589849.1951 | 1193764.1983 | 2589858.023 | 1193764.8686
93 | 2589854.062 | 1193807.4492 | 2589875.4684 | 1193815.4808
94 | 2589877.1291 | 1193766.3192 | 2589858.023 | 1193764.8686
95 | 2589877.1291 | 1193766.3192 | 2589884.8689 | 1193766.9068
96 | 2589877.1291 | 1193766.3192 | 2589875.4773 | 1193718.2365
97 | 2589665.4865 | 1193559.0685 | 2589745.63 | 1193565.4136
98 | 2589745.63 | 1193565.4136 | 2589749.203 | 1193555.9247 | 2589749.7246 | 1193553.6513
99 | 2589629.15 | 1193842.8415 | 2589623.1832 | 1193846.9419
100 | 2589617.8245 | 1193853.52 | 2589623.1832 | 1193846.9419 | 2589623.1832 | 1193846.9419
101 | 2589846.5352 | 1193872.5291 | 2589812.9956 | 1193872.1573
102 | 2589846.5352 | 1193872.5291 | 2589853.1442 | 1193872.6024 | 2589866.7909 | 1193869.6745
103 | 2589770.5501 | 1193876.135 | 2589782.0703 | 1193873.6804 | 2589803.6333 | 1193872.0536 | 2589812.9956 | 1193872.1573
104 | 2589897.5574 | 1193850.9818 | 2589894.0071 | 1193860.4262 | 2589881.558 | 1193866.5062 | 2589866.7909 | 1193869.6745
105 | 2589770.5501 | 1193876.135 | 2589754.477 | 1193879.5597
106 | 2589897.5574 | 1193850.9818 | 2589887.6968 | 1193849.9727
107 | 2589743.5988 | 1193884.886 | 2589750.4571 | 1193880.4162 | 2589754.477 | 1193879.5597
108 | 2589768.6897 | 1193841.5804 | 2589775.9965 | 1193841.7125
109 | 2589785.5105 | 1193841.8845 | 2589775.9965 | 1193841.7125
110 | 2589785.5105 | 1193841.8845 | 2589792.8112 | 1193842.0166
111 | 2589800.2811 | 1193841.1864 | 2589794.8182 | 1193842.0529 | 2589792.8112 | 1193842.0166
112 | 2589896.7797 | 1193767.8111 | 2589884.8689 | 1193766.9068
113 | 2589635.991 | 1194155.4494 | 2589632.0049 | 1194150.6205 | 2589629.886 | 1194145.2498
114 | 2589627.2832 | 1194138.6526 | 2589629.886 | 1194145.2498
115 | 2589632.1003 | 1194000.2296 | 2589631.4386 | 1194001.7516

## bus_geodata
| x | y | coords
0 | 2589600.7467 | 1193686.5145
1 | 2589577.1354 | 1193673.5042
2 | 2589603.895 | 1193688.2492
3 | 2589571.3417 | 1193670.3118
4 | 2589556.7506 | 1193662.2719
5 | 2589547.6163 | 1193681.2313
6 | 2589564.2867 | 1193646.6248
7 | 2589586.7196 | 1193639.4402
8 | 2589603.852 | 1193649.1954
9 | 2589571.8303 | 1193630.9621
10 | 2589622.9918 | 1193660.0937
11 | 2589569.2153 | 1193629.3164
12 | 2589636.5872 | 1193667.8349
13 | 2589554.6965 | 1193620.1791
14 | 2589644.732 | 1193654.4602
15 | 2589637.7745 | 1193668.6131
16 | 2589544.1744 | 1193613.5571
17 | 2589678.1987 | 1193853.4126
18 | 2589702.8738 | 1193848.4476
19 | 2589668.6354 | 1193855.7088
20 | 2589712.0225 | 1193846.7319
21 | 2589660.9888 | 1193857.5448
22 | 2589727.9008 | 1193843.7542
23 | 2589644.1695 | 1193861.5831
24 | 2589751.4022 | 1193841.2678
25 | 2589640.0606 | 1193862.4132
26 | 2589691.8393 | 1193802.0868
27 | 2589673.02 | 1193810.5595
28 | 2589703.7458 | 1193798.7816
29 | 2589662.2114 | 1193818.5032
30 | 2589732.2076 | 1193800.8138
31 | 2589658.8458 | 1193808.3826
32 | 2589658.0203 | 1193823.0018
33 | 2589749.3335 | 1193799.0418
34 | 2589644.3567 | 1193832.3914
35 | 2589750.6036 | 1193775.5272
36 | 2589538.1474 | 1193618.437
37 | 2589532.2341 | 1193605.7407
38 | 2589515.4221 | 1193594.7617
39 | 2589543.7255 | 1193597.8
40 | 2589550.1774 | 1193580.5821
41 | 2589523.8479 | 1193556.3405
42 | 2589571.3311 | 1193565.3019
43 | 2589589.0808 | 1193561.882
44 | 2589532.1131 | 1194029.6484
45 | 2589542.5321 | 1194031.7276
46 | 2589563.8316 | 1194037.5629
47 | 2589568.3421 | 1194039.5955
48 | 2589558.6182 | 1193957.0911
49 | 2589588.2032 | 1194014.7274
50 | 2589617.0584 | 1193870.0432
51 | 2589573.5903 | 1194035.8605
52 | 2589593.4298 | 1194066.1382
53 | 2589590.372 | 1194030.841
54 | 2589624.5219 | 1193862.9925
55 | 2589656.6711 | 1193628.7769
56 | 2589656.06 | 1193611.5879
57 | 2589657.1489 | 1193642.2188
58 | 2589655.7465 | 1193602.7671
59 | 2589654.7381 | 1193588.5606
60 | 2589639.2098 | 1193602.6974
61 | 2589655.2796 | 1193573.293
62 | 2589625.5645 | 1193600.6409
63 | 2589797.4772 | 1193809.9127
64 | 2589780.3341 | 1193797.3369
65 | 2589816.11 | 1193823.5813
66 | 2589762.8718 | 1193784.5269
67 | 2589827.3324 | 1193831.8139
68 | 2589823.0215 | 1193837.5798
69 | 2589843.3495 | 1193841.2593
70 | 2589737.8342 | 1193763.8542
71 | 2589807.5088 | 1193840.0401
72 | 2589866.5552 | 1193847.6784
73 | 2589718.75 | 1193718.5633
74 | 2589809.1168 | 1193761.1568
75 | 2589697.6201 | 1193711.007
76 | 2589819.5656 | 1193761.9495
77 | 2589612.4704 | 1194101.1075
78 | 2589619.2243 | 1194118.2261
79 | 2589623.6161 | 1194129.3578
80 | 2589624.5613 | 1194131.7535
81 | 2589606.3203 | 1194029.4283
82 | 2589833.9892 | 1193763.0439
83 | 2589833.7321 | 1193780.7466
84 | 2589849.1951 | 1193764.1983
85 | 2589854.062 | 1193807.4492
86 | 2589858.023 | 1193764.8686
87 | 2589875.4684 | 1193815.4808
88 | 2589877.1291 | 1193766.3192
89 | 2589665.4865 | 1193559.0685
90 | 2589605.7226 | 1193558.6756
91 | 2589749.7246 | 1193553.6513
92 | 2589745.63 | 1193565.4136
93 | 2589629.15 | 1193842.8415
94 | 2589617.8245 | 1193853.52
95 | 2589623.1832 | 1193846.9419
96 | 2589846.5352 | 1193872.5291
97 | 2589812.9956 | 1193872.1573
98 | 2589866.7909 | 1193869.6745
99 | 2589770.5501 | 1193876.135
100 | 2589897.5574 | 1193850.9818
101 | 2589754.477 | 1193879.5597
102 | 2589887.6968 | 1193849.9727
103 | 2589743.5988 | 1193884.886
104 | 2589768.6897 | 1193841.5804
105 | 2589775.9965 | 1193841.7125
106 | 2589785.5105 | 1193841.8845
107 | 2589792.8112 | 1193842.0166
108 | 2589884.8689 | 1193766.9068
109 | 2589875.4773 | 1193718.2365
110 | 2589896.7797 | 1193767.8111
111 | 2589800.2811 | 1193841.1864
112 | 2589635.991 | 1194155.4494
113 | 2589629.886 | 1194145.2498
114 | 2589627.2832 | 1194138.6526
115 | 2589631.4386 | 1194001.7516
116 | 2589632.1003 | 1194000.2296
117 | 2589662.2114 | 1193818.5032

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1