## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_670-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_670-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_670-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_670-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_670-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_670-9_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_670-9_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_670-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_670-9_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_670-9_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_670-9_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_670-9_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_670-9_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_670-9_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_670-9_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_670-9_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_670-9_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_670-9_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_670-9_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_670-9_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_670-9_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_670-9_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_670-9_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_670-9_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_670-9_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_670-9_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_670-9_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_670-9_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_670-9_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_670-9_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_670-9_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_670-9_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_670-9_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_670-9_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_670-9_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_670-9_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_670-9_0_3_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_670-9_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_670-9_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_670-9_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_670-9_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_670-9_0_3_node_181 | 0.4 | n |  | TRUE
42 | bus_LV_670-9_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_670-9_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_670-9_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_670-9_0_3_node_173 | 0.4 | n |  | TRUE
46 | bus_LV_670-9_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_670-9_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_670-9_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_670-9_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_670-9_0_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_670-9_0_3_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_670-9_0_3_node_138 | 0.4 | n |  | TRUE
53 | bus_LV_670-9_0_3_node_140 | 0.4 | n |  | TRUE
54 | bus_LV_670-9_0_3_node_185 | 0.4 | n |  | TRUE
55 | bus_LV_670-9_0_3_node_143 | 0.4 | n |  | TRUE
56 | bus_LV_670-9_0_3_node_174 | 0.4 | n |  | TRUE
57 | bus_LV_670-9_0_3_node_144 | 0.4 | n |  | TRUE
58 | bus_LV_670-9_0_3_node_145 | 0.4 | n |  | TRUE
59 | bus_LV_670-9_0_3_node_148 | 0.4 | n |  | TRUE
60 | bus_LV_670-9_0_3_node_146 | 0.4 | n |  | TRUE
61 | bus_LV_670-9_0_3_node_147 | 0.4 | n |  | TRUE
62 | bus_LV_670-9_0_3_node_149 | 0.4 | n |  | TRUE
63 | bus_LV_670-9_0_3_node_150 | 0.4 | n |  | TRUE
64 | bus_LV_670-9_0_3_node_152 | 0.4 | n |  | TRUE
65 | bus_LV_670-9_0_3_node_182 | 0.4 | n |  | TRUE
66 | bus_LV_670-9_0_3_node_153 | 0.4 | n |  | TRUE
67 | bus_LV_670-9_0_3_node_172 | 0.4 | n |  | TRUE
68 | bus_LV_670-9_0_3_node_175 | 0.4 | n |  | TRUE
69 | bus_LV_670-9_0_3_node_191 | 0.4 | n |  | TRUE
70 | bus_LV_670-9_0_3_node_155 | 0.4 | n |  | TRUE
71 | bus_LV_670-9_0_3_node_179 | 0.4 | n |  | TRUE
72 | bus_LV_670-9_0_3_node_189 | 0.4 | n |  | TRUE
73 | bus_LV_670-9_0_3_node_156 | 0.4 | n |  | TRUE
74 | bus_LV_670-9_0_3_node_183 | 0.4 | n |  | TRUE
75 | bus_LV_670-9_0_3_node_171 | 0.4 | n |  | TRUE
76 | bus_LV_670-9_0_3_node_176 | 0.4 | n |  | TRUE
77 | bus_LV_670-9_0_3_node_202 | 0.4 | n |  | TRUE
78 | bus_LV_670-9_0_3_node_177 | 0.4 | n |  | TRUE
79 | bus_LV_670-9_0_3_node_178 | 0.4 | n |  | TRUE
80 | bus_LV_670-9_0_3_node_180 | 0.4 | n |  | TRUE
81 | bus_LV_670-9_0_3_node_186 | 0.4 | n |  | TRUE
82 | bus_LV_670-9_0_3_node_184 | 0.4 | n |  | TRUE
83 | bus_LV_670-9_0_3_node_187 | 0.4 | n |  | TRUE
84 | bus_LV_670-9_0_3_node_188 | 0.4 | n |  | TRUE
85 | bus_LV_670-9_0_3_node_194 | 0.4 | n |  | TRUE
86 | bus_LV_670-9_0_3_node_190 | 0.4 | n |  | TRUE
87 | bus_LV_670-9_0_3_node_192 | 0.4 | n |  | TRUE
88 | bus_LV_670-9_0_3_node_193 | 0.4 | n |  | TRUE
89 | bus_LV_670-9_0_3_node_195 | 0.4 | n |  | TRUE
90 | bus_LV_670-9_0_3_node_196 | 0.4 | n |  | TRUE
91 | bus_LV_670-9_0_3_node_199 | 0.4 | n |  | TRUE
92 | bus_LV_670-9_0_3_node_197 | 0.4 | n |  | TRUE
93 | bus_LV_670-9_0_3_node_198 | 0.4 | n |  | TRUE
94 | bus_LV_670-9_0_3_node_200 | 0.4 | n |  | TRUE
95 | bus_LV_670-9_0_3_node_201 | 0.4 | n |  | TRUE
96 | bus_MV_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_670-9_0_3_load_0 | 0 | 0.00030388 | 7.6159e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_670-9_0_3_load_1 | 1 | 0.00026012 | 6.5191e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_670-9_0_3_load_3 | 3 | 0.00087239 | 0.00021864 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_670-9_0_3_load_4 | 4 | 0.0008244 | 0.00020661 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_670-9_0_3_load_11 | 5 | 0.0015231 | 0.00038172 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_670-9_0_3_load_5 | 6 | 0.00038535 | 9.6578e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_670-9_0_3_load_6 | 7 | 0.00014097 | 3.533e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_670-9_0_3_load_7 | 8 | 0.00028392 | 7.1158e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_670-9_0_3_load_9 | 10 | 0.00022799 | 5.7141e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_670-9_0_3_load_52 | 11 | 0.0018888 | 0.00047337 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_670-9_0_3_load_23 | 14 | 0.0014078 | 0.00035283 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_670-9_0_3_load_12 | 15 | 0.00019108 | 4.7889e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_670-9_0_3_load_13 | 16 | 0.00027088 | 6.7889e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_670-9_0_3_load_14 | 17 | 0.002785 | 0.00069797 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_670-9_0_3_load_15 | 18 | 0.00095379 | 0.00023904 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_670-9_0_3_load_18 | 21 | 0.00043328 | 0.00010859 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_670-9_0_3_load_19 | 22 | 0.00070005 | 0.00017545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_670-9_0_3_load_33 | 23 | 0.002654 | 0.00066515 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_670-9_0_3_load_21 | 24 | 0.0038077 | 0.00095429 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_670-9_0_3_load_22 | 25 | 0.0032469 | 0.00081376 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_670-9_0_3_load_24 | 26 | 0.0018613 | 0.00046648 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_670-9_0_3_load_26 | 28 | 0.0038835 | 0.00097331 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_670-9_0_3_load_27 | 29 | 0.00033346 | 8.3572e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_670-9_0_3_load_28 | 30 | 0.00068707 | 0.0001722 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_670-9_0_3_load_29 | 32 | 0.0012441 | 0.00031179 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_670-9_0_3_load_30 | 33 | 0.00079957 | 0.00020039 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_670-9_0_3_load_31 | 34 | 0.00082656 | 0.00020716 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_670-9_0_3_load_32 | 35 | 0.00039841 | 9.9851e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_670-9_0_3_load_36 | 38 | 0.0038627 | 0.00096807 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_670-9_0_3_load_37 | 39 | 0.00095519 | 0.00023939 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_670-9_0_3_load_38 | 40 | 0.0018591 | 0.00046594 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_670-9_0_3_load_181 | 41 | 0.0032422 | 0.00081258 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_670-9_0_3_load_40 | 43 | 0.00038202 | 9.5742e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_670-9_0_3_load_49 | 44 | 0.001803 | 0.00045187 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_670-9_0_3_load_50 | 46 | 0.0020143 | 0.00050482 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_670-9_0_3_load_51 | 47 | 0.00051181 | 0.00012827 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_670-9_0_3_load_53 | 48 | 0.00035258 | 8.8365e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_670-9_0_3_load_59 | 50 | 0.00092356 | 0.00023146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_670-9_0_3_load_64 | 51 | 0.0038375 | 0.00096178 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_670-9_0_3_load_138 | 52 | 0.00073216 | 0.0001835 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_670-9_0_3_load_140 | 53 | 0.0006312 | 0.00015819 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_670-9_0_3_load_185 | 54 | 0.00050458 | 0.00012646 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_670-9_0_3_load_143 | 55 | 0.00087684 | 0.00021976 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_670-9_0_3_load_174 | 56 | 0.00071882 | 0.00018015 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_670-9_0_3_load_144 | 57 | 0.00069007 | 0.00017295 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_670-9_0_3_load_145 | 58 | 0.00024432 | 6.1231e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_670-9_0_3_load_148 | 59 | 0.0010014 | 0.00025096 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_670-9_0_3_load_146 | 60 | 0.0005961 | 0.0001494 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_670-9_0_3_load_149 | 62 | 0.00090184 | 0.00022602 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_670-9_0_3_load_182 | 65 | 0.00058568 | 0.00014679 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_670-9_0_3_load_191 | 69 | 0.0004458 | 0.00011173 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_670-9_0_3_load_189 | 72 | 0.0003664 | 9.1828e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_670-9_0_3_load_183 | 74 | 0.00058744 | 0.00014723 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_670-9_0_3_load_171 | 75 | 0.0029118 | 0.00072978 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_670-9_0_3_load_176 | 76 | 0.00044888 | 0.0001125 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_670-9_0_3_load_202 | 77 | 0.00036239 | 9.0825e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_670-9_0_3_load_177 | 78 | 0.00088626 | 0.00022212 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_670-9_0_3_load_178 | 79 | 0.00044517 | 0.00011157 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_670-9_0_3_load_186 | 81 | 0.00037347 | 9.36e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_670-9_0_3_load_184 | 82 | 0.00068111 | 0.0001707 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_670-9_0_3_load_187 | 83 | 0.00036812 | 9.2258e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_670-9_0_3_load_188 | 84 | 0.00040032 | 0.00010033 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_670-9_0_3_load_194 | 85 | 0.00035587 | 8.9189e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_670-9_0_3_load_190 | 86 | 0.00033202 | 8.3211e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_670-9_0_3_load_192 | 87 | 0.00047986 | 0.00012027 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_670-9_0_3_load_193 | 88 | 0.00034629 | 8.6788e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_670-9_0_3_load_195 | 89 | 0.00042193 | 0.00010575 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_670-9_0_3_load_196 | 90 | 0.00034926 | 8.7534e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_670-9_0_3_load_199 | 91 | 0.00036819 | 9.2276e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_670-9_0_3_load_197 | 92 | 0.00038033 | 9.532e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_670-9_0_3_load_198 | 93 | 0.00052547 | 0.00013169 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_670-9_0_3_load_200 | 94 | 0.00041329 | 0.00010358 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_670-9_0_3_load_201 | 95 | 0.00044611 | 0.00011181 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_670-9_0_3_line_0 |  | 0 | 1 | 0.0068824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_670-9_0_3_line_1 |  | 0 | 2 | 0.042772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_670-9_0_3_line_2 |  | 1 | 3 | 0.0055819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_670-9_0_3_line_3 |  | 2 | 4 | 0.072716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_670-9_0_3_line_4 |  | 3 | 5 | 0.03601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_670-9_0_3_line_5 |  | 4 | 6 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_670-9_0_3_line_6 |  | 5 | 15 | 0.016995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_670-9_0_3_line_7 |  | 6 | 7 | 0.0014794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_670-9_0_3_line_8 |  | 7 | 8 | 0.033212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_670-9_0_3_line_9 |  | 8 | 9 | 0.16116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_670-9_0_3_line_10 |  | 9 | 10 | 0.13621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_670-9_0_3_line_11 |  | 10 | 11 | 0.03171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_670-9_0_3_line_12 |  | 11 | 46 | 0.15295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_670-9_0_3_line_13 |  | 12 | 13 | 0.006568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_670-9_0_3_line_14 |  | 12 | 14 | 0.13294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_670-9_0_3_line_15 |  | 13 | 20 | 0.23164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_670-9_0_3_line_16 |  | 14 | 24 | 0.015304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_670-9_0_3_line_17 |  | 15 | 16 | 0.058048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_670-9_0_3_line_18 |  | 17 | 18 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_670-9_0_3_line_19 |  | 17 | 19 | 0.20003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_670-9_0_3_line_20 |  | 18 | 20 | 0.16473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_670-9_0_3_line_21 |  | 19 | 21 | 0.0050691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_670-9_0_3_line_22 |  | 19 | 22 | 0.0070901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_670-9_0_3_line_23 |  | 21 | 23 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_670-9_0_3_line_24 |  | 23 | 37 | 0.056245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_670-9_0_3_line_25 |  | 24 | 25 | 0.096256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_670-9_0_3_line_26 |  | 26 | 27 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_670-9_0_3_line_27 |  | 27 | 28 | 0.016761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_670-9_0_3_line_28 |  | 27 | 29 | 0.02575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_670-9_0_3_line_29 |  | 28 | 30 | 0.040128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_670-9_0_3_line_30 |  | 29 | 31 | 0.028514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_670-9_0_3_line_31 |  | 30 | 32 | 0.0053778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_670-9_0_3_line_32 |  | 31 | 37 | 0.015631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_670-9_0_3_line_33 |  | 32 | 33 | 0.026311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_670-9_0_3_line_34 |  | 33 | 34 | 0.30147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_670-9_0_3_line_35 |  | 34 | 35 | 0.020175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_670-9_0_3_line_36 |  | 35 | 36 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_670-9_0_3_line_37 |  | 36 | 51 | 0.032175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_670-9_0_3_line_38 |  | 36 | 49 | 0.004816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_670-9_0_3_line_39 |  | 38 | 39 | 0.14021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_670-9_0_3_line_40 |  | 38 | 40 | 0.023949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_670-9_0_3_line_41 |  | 38 | 41 | 0.14715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_670-9_0_3_line_42 |  | 39 | 42 | 0.16429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_670-9_0_3_line_43 |  | 41 | 64 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_670-9_0_3_line_44 |  | 42 | 50 | 0.15033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_670-9_0_3_line_45 |  | 43 | 44 | 0.0014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_670-9_0_3_line_46 |  | 43 | 45 | 0.17115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_670-9_0_3_line_47 |  | 45 | 56 | 0.0064651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_670-9_0_3_line_48 |  | 45 | 57 | 0.11386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_670-9_0_3_line_49 |  | 46 | 47 | 0.0026511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_670-9_0_3_line_50 |  | 47 | 48 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_670-9_0_3_line_51 |  | 48 | 49 | 0.051083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_670-9_0_3_line_52 |  | 50 | 51 | 0.034915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_670-9_0_3_line_53 |  | 52 | 53 | 0.0065239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_670-9_0_3_line_54 |  | 53 | 54 | 0.047365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_670-9_0_3_line_55 |  | 54 | 82 | 0.0031664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_670-9_0_3_line_56 |  | 55 | 56 | 0.066289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_670-9_0_3_line_57 |  | 56 | 68 | 0.024579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_670-9_0_3_line_58 |  | 57 | 58 | 0.086267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_670-9_0_3_line_59 |  | 58 | 59 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_670-9_0_3_line_60 |  | 59 | 61 | 0.14663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_670-9_0_3_line_61 |  | 60 | 61 | 0.15554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_670-9_0_3_line_62 |  | 62 | 63 | 0.0059969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_670-9_0_3_line_63 |  | 63 | 64 | 0.045545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_670-9_0_3_line_64 |  | 64 | 65 | 0.030402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_670-9_0_3_line_65 |  | 65 | 74 | 0.0015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_670-9_0_3_line_66 |  | 66 | 67 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_670-9_0_3_line_67 |  | 66 | 68 | 0.034628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_670-9_0_3_line_68 |  | 66 | 69 | 0.014254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_670-9_0_3_line_69 |  | 67 | 75 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_670-9_0_3_line_70 |  | 68 | 76 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_670-9_0_3_line_71 |  | 69 | 86 | 0.026009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_670-9_0_3_line_72 |  | 70 | 71 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_670-9_0_3_line_73 |  | 70 | 72 | 0.0034051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_670-9_0_3_line_74 |  | 71 | 73 | 0.008513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_670-9_0_3_line_75 |  | 71 | 78 | 0.013845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_670-9_0_3_line_76 |  | 73 | 74 | 0.03612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_670-9_0_3_line_77 |  | 76 | 77 | 0.0033236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_670-9_0_3_line_78 |  | 77 | 95 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_670-9_0_3_line_79 |  | 78 | 79 | 0.0020908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_670-9_0_3_line_80 |  | 79 | 80 | 0.0099176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_670-9_0_3_line_81 |  | 80 | 81 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_670-9_0_3_line_82 |  | 80 | 82 | 0.0088654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_670-9_0_3_line_83 |  | 81 | 83 | 0.00075829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_670-9_0_3_line_84 |  | 83 | 84 | 0.00087946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_670-9_0_3_line_85 |  | 84 | 85 | 0.013167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_670-9_0_3_line_86 |  | 85 | 87 | 0.00051917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_670-9_0_3_line_87 |  | 87 | 88 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_670-9_0_3_line_88 |  | 88 | 89 | 0.00023074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_670-9_0_3_line_89 |  | 89 | 90 | 0.00096263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_670-9_0_3_line_90 |  | 90 | 91 | 0.013455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_670-9_0_3_line_91 |  | 91 | 92 | 0.014216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_670-9_0_3_line_92 |  | 92 | 93 | 0.0019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_670-9_0_3_line_93 |  | 93 | 94 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_670-9_0_3_line_94 |  | 94 | 95 | 0.0016143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_670-9_0_3_trafo_30 | 0.63 MVA 20/0.4 kV | 96 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2591504.7895 | 1194677.8236 | 2591498.3102 | 1194680.1444
1 | 2591545.0564 | 1194663.401 | 2591504.7895 | 1194677.8236
2 | 2591493.0552 | 1194682.0266 | 2591498.3102 | 1194680.1444
3 | 2591545.0564 | 1194663.401 | 2591588.2551 | 1194644.9297 | 2591610.8371 | 1194632.5887
4 | 2591493.0552 | 1194682.0266 | 2591471.544 | 1194689.7314 | 2591459.0328 | 1194693.8142
5 | 2591621.1038 | 1194626.9779 | 2591610.8371 | 1194632.5887
6 | 2591459.0328 | 1194693.8142 | 2591442.8763 | 1194699.0866
7 | 2591621.1038 | 1194626.9779 | 2591622.402 | 1194626.2685
8 | 2591651.5455 | 1194610.3415 | 2591622.402 | 1194626.2685
9 | 2591794.7211 | 1194536.3828 | 2591764.1964 | 1194552.3002 | 2591679.9913 | 1194594.7959 | 2591651.5455 | 1194610.3415
10 | 2591794.7211 | 1194536.3828 | 2591759.6827 | 1194418.7914 | 2591757.3017 | 1194410.7127 | 2591756.0983 | 1194405.7681
11 | 2591756.0983 | 1194405.7681 | 2591748.5999 | 1194374.9577
12 | 2591710.3656 | 1194226.8715 | 2591714.748 | 1194243.6726 | 2591732.8815 | 1194313.1951 | 2591743.2159 | 1194352.835 | 2591748.5999 | 1194374.9577
13 | 2592101.1209 | 1194463.0164 | 2592105.2744 | 1194457.9193
14 | 2592101.1209 | 1194463.0164 | 2592102.2953 | 1194469.496 | 2592114.8404 | 1194563.3845 | 2592120.6447 | 1194594.4765
15 | 2592336.4213 | 1194437.4381 | 2592315.4177 | 1194440.4225 | 2592289.4003 | 1194443.4023 | 2592243.4216 | 1194448.0982 | 2592222.1723 | 1194449.6269 | 2592143.8086 | 1194453.3211 | 2592121.3705 | 1194454.6739 | 2592111.0402 | 1194456.1996 | 2592105.2744 | 1194457.9193
16 | 2592123.6114 | 1194609.4892 | 2592121.6935 | 1194600.0948 | 2592120.6447 | 1194594.4765
17 | 2591387.2885 | 1194715.6169 | 2591402.6974 | 1194712.1983 | 2591442.8763 | 1194699.0866
18 | 2592299.2251 | 1194276.9812 | 2592294.7659 | 1194258.7686
19 | 2592211.7431 | 1194098.0436 | 2592221.695 | 1194097.9971 | 2592235.1354 | 1194102.6708 | 2592245.6885 | 1194107.882 | 2592255.1838 | 1194114.1951 | 2592263.203 | 1194122.2 | 2592270.0358 | 1194131.9962 | 2592272.7899 | 1194140.3082 | 2592274.6823 | 1194148.1432 | 2592276.8078 | 1194165.2606 | 2592279.6821 | 1194189.8809 | 2592283.6049 | 1194212.0876 | 2592286.686 | 1194225.7685 | 2592294.7659 | 1194258.7686
20 | 2592336.4213 | 1194437.4381 | 2592323.472 | 1194376.0113 | 2592299.2251 | 1194276.9812
21 | 2592211.7431 | 1194098.0436 | 2592206.6741 | 1194098.0683
22 | 2592211.7431 | 1194098.0436 | 2592217.7896 | 1194095.0896 | 2592218.1372 | 1194094.9933
23 | 2592206.6741 | 1194098.0683 | 2592205.5023 | 1194098.074 | 2592191.075 | 1194096.3254 | 2592186.5928 | 1194093.4669
24 | 2592140.6069 | 1194061.9184 | 2592165.0466 | 1194074.7817 | 2592177.4663 | 1194085.4265 | 2592182.2206 | 1194090.6786 | 2592186.5928 | 1194093.4669
25 | 2592123.6114 | 1194609.4892 | 2592124.0327 | 1194611.5534 | 2592127.85 | 1194622.8987 | 2592162.5163 | 1194697.408
26 | 2592073.166 | 1194071.6245 | 2592070.6247 | 1194087.5168
27 | 2592073.166 | 1194071.6245 | 2592068.6069 | 1194064.249 | 2592064.0404 | 1194057.5704
28 | 2592073.166 | 1194071.6245 | 2592082.0827 | 1194066.7545 | 2592091.5353 | 1194063.7514 | 2592097.1286 | 1194062.8093
29 | 2592031.5702 | 1194037.0229 | 2592054.7962 | 1194045.0796 | 2592061.5215 | 1194053.8863 | 2592064.0404 | 1194057.5704
30 | 2592125.3086 | 1194058.5036 | 2592115.6859 | 1194059.6837 | 2592097.1286 | 1194062.8093
31 | 2592031.5702 | 1194037.0229 | 2592026.4894 | 1194035.2604
32 | 2592125.3086 | 1194058.5036 | 2592140.6069 | 1194061.9184
33 | 2592000.8236 | 1194031.5769 | 2592015.4652 | 1194031.4364 | 2592026.4894 | 1194035.2604
34 | 2592000.8236 | 1194031.5769 | 2591992.5591 | 1194031.6563 | 2591901.1827 | 1194057.8499 | 2591830.6012 | 1194083.0601 | 2591810.6648 | 1194092.6149 | 2591784.8345 | 1194105.0017 | 2591721.5125 | 1194140.2032
35 | 2591703.2057 | 1194148.6693 | 2591719.9994 | 1194141.0443 | 2591721.5125 | 1194140.2032
36 | 2591688.3657 | 1194155.4073 | 2591703.2057 | 1194148.6693
37 | 2591688.3657 | 1194155.4073 | 2591678.609 | 1194124.7477
38 | 2591688.3657 | 1194155.4073 | 2591689.8276 | 1194159.9965
39 | 2591825.9048 | 1193778.7294 | 2591805.0083 | 1193777.0226 | 2591799.6889 | 1193776.8077 | 2591794.4767 | 1193776.9816 | 2591787.0784 | 1193777.9146 | 2591779.6962 | 1193779.4034 | 2591764.9641 | 1193783.7595 | 2591742.8375 | 1193791.7278 | 2591726.2152 | 1193795.7643 | 2591719.0684 | 1193796.6747 | 2591711.4333 | 1193797.1968 | 2591703.7518 | 1193797.1631 | 2591696.274 | 1193795.6839 | 2591690.09 | 1193793.0356 | 2591689.391 | 1193792.5691
40 | 2591825.9048 | 1193778.7294 | 2591827.6287 | 1193778.8702 | 2591843.3813 | 1193779.5377 | 2591849.8339 | 1193779.5817
41 | 2591811.4958 | 1193632.2846 | 2591825.9048 | 1193778.7294
42 | 2591636.2184 | 1193948.0155 | 2591689.391 | 1193792.5691
43 | 2591817.2575 | 1193613.6861 | 2591811.4958 | 1193632.2846
44 | 2591636.2184 | 1193948.0155 | 2591643.2272 | 1193957.4772 | 2591656.8269 | 1193982.727 | 2591659.7757 | 1193993.384 | 2591662.8302 | 1194068.2971 | 2591664.5391 | 1194080.5345 | 2591668.0214 | 1194091.4772
45 | 2592085.7596 | 1193777.8059 | 2592084.3074 | 1193777.6859
46 | 2592036.3158 | 1193613.3986 | 2592084.3074 | 1193777.6859
47 | 2592036.3158 | 1193613.3986 | 2592029.9331 | 1193614.4276
48 | 2592036.3158 | 1193613.3986 | 2592133.5065 | 1193672.7044
49 | 2591710.3656 | 1194226.8715 | 2591709.6964 | 1194224.3062
50 | 2591709.6964 | 1194224.3062 | 2591707.0026 | 1194213.9788 | 2591705.3154 | 1194208.6756
51 | 2591689.8276 | 1194159.9965 | 2591705.3154 | 1194208.6756
52 | 2591668.0214 | 1194091.4772 | 2591678.609 | 1194124.7477
53 | 2591892.9761 | 1193675.5344 | 2591899.4956 | 1193675.7735
54 | 2591898.6041 | 1193628.4171 | 2591899.4956 | 1193675.7735
55 | 2591898.1672 | 1193625.281 | 2591898.6041 | 1193628.4171
56 | 2592029.9331 | 1193614.4276 | 2592009.5228 | 1193677.4966
57 | 2592018.6938 | 1193599.993 | 2592021.5042 | 1193615.7865 | 2592029.9331 | 1193614.4276
58 | 2592133.5065 | 1193672.7044 | 2592146.0869 | 1193672.1609 | 2592219.7549 | 1193671.1308
59 | 2592236.9164 | 1193670.8908 | 2592219.7549 | 1193671.1308
60 | 2592383.5276 | 1193668.6267 | 2592321.0618 | 1193669.4189 | 2592258.4366 | 1193670.5899 | 2592236.9164 | 1193670.8908
61 | 2592383.5276 | 1193668.6267 | 2592382.491 | 1193674.4311 | 2592378.4766 | 1193681.64 | 2592366.7582 | 1193695.1956 | 2592349.6382 | 1193715.6841 | 2592346.0303 | 1193718.9905 | 2592341.7194 | 1193720.8304 | 2592333.208 | 1193721.4639 | 2592316.7249 | 1193721.6632 | 2592305.4248 | 1193722.6339 | 2592278.5455 | 1193727.4603 | 2592255.66 | 1193732.8908
62 | 2591816.3123 | 1193569.3863 | 2591820.6548 | 1193565.2504
63 | 2591817.2575 | 1193613.6861 | 2591821.5712 | 1193602.9301 | 2591816.3123 | 1193569.3863
64 | 2591817.2575 | 1193613.6861 | 2591846.7743 | 1193606.4042
65 | 2591848.2548 | 1193606.039 | 2591846.7743 | 1193606.4042
66 | 2592012.6274 | 1193565.9054 | 2592026.7446 | 1193562.8181
67 | 2592012.6274 | 1193565.9054 | 2592018.6938 | 1193599.993
68 | 2592012.6274 | 1193565.9054 | 2591998.606 | 1193568.4691
69 | 2592026.7446 | 1193562.8181 | 2592031.9127 | 1193558.0753 | 2592037.3577 | 1193555.1442
70 | 2592018.6938 | 1193599.993 | 2592005.4562 | 1193601.7878
71 | 2591972.9081 | 1193572.4769 | 2591997.2524 | 1193568.7166 | 2591998.606 | 1193568.4691
72 | 2591890.5243 | 1193592.0073 | 2591911.47 | 1193583.6187
73 | 2591911.47 | 1193583.6187 | 2591914.7604 | 1193582.7425
74 | 2591890.5243 | 1193592.0073 | 2591882.6183 | 1193595.2198
75 | 2591890.5243 | 1193592.0073 | 2591894.0517 | 1193596.8495 | 2591895.209 | 1193604.6181
76 | 2591882.6183 | 1193595.2198 | 2591868.0555 | 1193601.154 | 2591848.2548 | 1193606.039
77 | 2592005.4562 | 1193601.7878 | 2592002.1628 | 1193602.2344
78 | 2592002.1628 | 1193602.2344 | 2591990.171 | 1193603.8603
79 | 2591895.209 | 1193604.6181 | 2591895.5171 | 1193606.686
80 | 2591896.944 | 1193616.5003 | 2591896.413 | 1193612.6991 | 2591895.5171 | 1193606.686
81 | 2591896.944 | 1193616.5003 | 2591919.2923 | 1193613.4703
82 | 2591896.944 | 1193616.5003 | 2591898.1672 | 1193625.281
83 | 2591920.0437 | 1193613.3684 | 2591919.2923 | 1193613.4703
84 | 2591920.9152 | 1193613.2502 | 2591920.0437 | 1193613.3684
85 | 2591933.9626 | 1193611.4812 | 2591920.9152 | 1193613.2502
86 | 2591934.477 | 1193611.4115 | 2591933.9626 | 1193611.4812
87 | 2591934.477 | 1193611.4115 | 2591946.8813 | 1193609.7296
88 | 2591947.11 | 1193609.6986 | 2591946.8813 | 1193609.7296
89 | 2591948.0639 | 1193609.5693 | 2591947.11 | 1193609.6986
90 | 2591961.3974 | 1193607.7615 | 2591948.0639 | 1193609.5693
91 | 2591975.4843 | 1193605.8515 | 2591961.3974 | 1193607.7615
92 | 2591975.4843 | 1193605.8515 | 2591977.4289 | 1193605.5879
93 | 2591988.5713 | 1193604.0772 | 2591977.4289 | 1193605.5879
94 | 2591988.5713 | 1193604.0772 | 2591990.171 | 1193603.8603

## bus_geodata
| x | y | coords
0 | 2591504.7895 | 1194677.8236
1 | 2591498.3102 | 1194680.1444
2 | 2591545.0564 | 1194663.401
3 | 2591493.0552 | 1194682.0266
4 | 2591610.8371 | 1194632.5887
5 | 2591459.0328 | 1194693.8142
6 | 2591621.1038 | 1194626.9779
7 | 2591622.402 | 1194626.2685
8 | 2591651.5455 | 1194610.3415
9 | 2591794.7211 | 1194536.3828
10 | 2591756.0983 | 1194405.7681
11 | 2591748.5999 | 1194374.9577
12 | 2592101.1209 | 1194463.0164
13 | 2592105.2744 | 1194457.9193
14 | 2592120.6447 | 1194594.4765
15 | 2591442.8763 | 1194699.0866
16 | 2591387.2885 | 1194715.6169
17 | 2592294.7659 | 1194258.7686
18 | 2592299.2251 | 1194276.9812
19 | 2592211.7431 | 1194098.0436
20 | 2592336.4213 | 1194437.4381
21 | 2592206.6741 | 1194098.0683
22 | 2592218.1372 | 1194094.9933
23 | 2592186.5928 | 1194093.4669
24 | 2592123.6114 | 1194609.4892
25 | 2592162.5163 | 1194697.408
26 | 2592070.6247 | 1194087.5168
27 | 2592073.166 | 1194071.6245
28 | 2592064.0404 | 1194057.5704
29 | 2592097.1286 | 1194062.8093
30 | 2592031.5702 | 1194037.0229
31 | 2592125.3086 | 1194058.5036
32 | 2592026.4894 | 1194035.2604
33 | 2592000.8236 | 1194031.5769
34 | 2591721.5125 | 1194140.2032
35 | 2591703.2057 | 1194148.6693
36 | 2591688.3657 | 1194155.4073
37 | 2592140.6069 | 1194061.9184
38 | 2591825.9048 | 1193778.7294
39 | 2591689.391 | 1193792.5691
40 | 2591849.8339 | 1193779.5817
41 | 2591811.4958 | 1193632.2846
42 | 2591636.2184 | 1193948.0155
43 | 2592084.3074 | 1193777.6859
44 | 2592085.7596 | 1193777.8059
45 | 2592036.3158 | 1193613.3986
46 | 2591710.3656 | 1194226.8715
47 | 2591709.6964 | 1194224.3062
48 | 2591705.3154 | 1194208.6756
49 | 2591689.8276 | 1194159.9965
50 | 2591668.0214 | 1194091.4772
51 | 2591678.609 | 1194124.7477
52 | 2591892.9761 | 1193675.5344
53 | 2591899.4956 | 1193675.7735
54 | 2591898.6041 | 1193628.4171
55 | 2592009.5228 | 1193677.4966
56 | 2592029.9331 | 1193614.4276
57 | 2592133.5065 | 1193672.7044
58 | 2592219.7549 | 1193671.1308
59 | 2592236.9164 | 1193670.8908
60 | 2592255.66 | 1193732.8908
61 | 2592383.5276 | 1193668.6267
62 | 2591820.6548 | 1193565.2504
63 | 2591816.3123 | 1193569.3863
64 | 2591817.2575 | 1193613.6861
65 | 2591846.7743 | 1193606.4042
66 | 2592012.6274 | 1193565.9054
67 | 2592026.7446 | 1193562.8181
68 | 2592018.6938 | 1193599.993
69 | 2591998.606 | 1193568.4691
70 | 2591911.47 | 1193583.6187
71 | 2591890.5243 | 1193592.0073
72 | 2591914.7604 | 1193582.7425
73 | 2591882.6183 | 1193595.2198
74 | 2591848.2548 | 1193606.039
75 | 2592037.3577 | 1193555.1442
76 | 2592005.4562 | 1193601.7878
77 | 2592002.1628 | 1193602.2344
78 | 2591895.209 | 1193604.6181
79 | 2591895.5171 | 1193606.686
80 | 2591896.944 | 1193616.5003
81 | 2591919.2923 | 1193613.4703
82 | 2591898.1672 | 1193625.281
83 | 2591920.0437 | 1193613.3684
84 | 2591920.9152 | 1193613.2502
85 | 2591933.9626 | 1193611.4812
86 | 2591972.9081 | 1193572.4769
87 | 2591934.477 | 1193611.4115
88 | 2591946.8813 | 1193609.7296
89 | 2591947.11 | 1193609.6986
90 | 2591948.0639 | 1193609.5693
91 | 2591961.3974 | 1193607.7615
92 | 2591975.4843 | 1193605.8515
93 | 2591977.4289 | 1193605.5879
94 | 2591988.5713 | 1193604.0772
95 | 2591990.171 | 1193603.8603
96 | 2592000.8236 | 1194031.5769

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1