## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_723-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_723-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_723-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_723-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_723-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_723-8_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_723-8_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_723-8_0_6_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_723-8_0_6_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_723-8_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_723-8_0_6_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_723-8_0_6_node_87 | 0.4 | n |  | TRUE
12 | bus_LV_723-8_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_723-8_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_723-8_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_723-8_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_723-8_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_723-8_0_6_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_723-8_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_723-8_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_723-8_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_723-8_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_723-8_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_723-8_0_6_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_723-8_0_6_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_723-8_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_723-8_0_6_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_723-8_0_6_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_723-8_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_723-8_0_6_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_723-8_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_723-8_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_723-8_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_723-8_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_723-8_0_6_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_723-8_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_723-8_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_723-8_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_723-8_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_723-8_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_723-8_0_6_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_723-8_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_723-8_0_6_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_723-8_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_723-8_0_6_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_723-8_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_723-8_0_6_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_723-8_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_723-8_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_723-8_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_723-8_0_6_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_723-8_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_723-8_0_6_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_723-8_0_6_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_723-8_0_6_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_723-8_0_6_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_723-8_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_723-8_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_723-8_0_6_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_723-8_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_723-8_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_723-8_0_6_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_723-8_0_6_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_723-8_0_6_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_723-8_0_6_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_723-8_0_6_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_723-8_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_723-8_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_723-8_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_723-8_0_6_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_723-8_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_723-8_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_723-8_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_723-8_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_723-8_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_723-8_0_6_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_723-8_0_6_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_723-8_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_723-8_0_6_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_723-8_0_6_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_723-8_0_6_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_723-8_0_6_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_723-8_0_6_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_723-8_0_6_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_723-8_0_6_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_723-8_0_6_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_723-8_0_6_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_723-8_0_6_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_723-8_0_6_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_723-8_0_6_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_723-8_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_723-8_0_6_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_723-8_0_6_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_723-8_0_6_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_723-8_0_6_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_723-8_0_6_node_100 | 0.4 | n |  | TRUE
96 | bus_MV_325_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_723-8_0_6_load_0 | 0 | 0.002309 | 0.0005787 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_723-8_0_6_load_1 | 1 | 0.0046435 | 0.0011638 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_723-8_0_6_load_3 | 3 | 0.0044231 | 0.0011085 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_723-8_0_6_load_4 | 4 | 0.007194 | 0.001803 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_723-8_0_6_load_5 | 5 | 0.0037087 | 0.00092949 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_723-8_0_6_load_6 | 6 | 0.0046626 | 0.0011686 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_723-8_0_6_load_85 | 7 | 0.0047267 | 0.0011846 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_723-8_0_6_load_86 | 8 | 0.0066247 | 0.0016603 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_723-8_0_6_load_7 | 9 | 0.0046028 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_723-8_0_6_load_83 | 10 | 0.011469 | 0.0028744 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_723-8_0_6_load_87 | 11 | 0.0049022 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_723-8_0_6_load_8 | 12 | 0.0068787 | 0.001724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_723-8_0_6_load_9 | 13 | 0.0031864 | 0.00079859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_723-8_0_6_load_10 | 14 | 0.0022255 | 0.00055777 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_723-8_0_6_load_11 | 15 | 0.0028774 | 0.00072115 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_723-8_0_6_load_92 | 17 | 0.0043132 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_723-8_0_6_load_12 | 18 | 0.0052398 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_723-8_0_6_load_13 | 19 | 0.0054262 | 0.0013599 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_723-8_0_6_load_91 | 23 | 0.0042644 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_723-8_0_6_load_90 | 24 | 0.0075865 | 0.0019014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_723-8_0_6_load_20 | 25 | 0.0027223 | 0.00068227 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_723-8_0_6_load_88 | 26 | 0.0022168 | 0.00055559 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_723-8_0_6_load_27 | 27 | 0.0052289 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_723-8_0_6_load_26 | 28 | 0.0022337 | 0.00055982 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_723-8_0_6_load_93 | 29 | 0.0064887 | 0.0016262 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_723-8_0_6_load_19 | 30 | 0.0041828 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_723-8_0_6_load_21 | 31 | 0.0029602 | 0.00074191 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_723-8_0_6_load_23 | 32 | 0.0036011 | 0.00090252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_723-8_0_6_load_24 | 33 | 0.0044022 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_723-8_0_6_load_89 | 34 | 0.010252 | 0.0025695 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_723-8_0_6_load_25 | 35 | 0.0047051 | 0.0011792 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_723-8_0_6_load_28 | 36 | 0.0019072 | 0.00047798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_723-8_0_6_load_29 | 37 | 0.0039701 | 0.000995 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_723-8_0_6_load_30 | 38 | 0.0022977 | 0.00057585 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_723-8_0_6_load_31 | 39 | 0.0028535 | 0.00071514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_723-8_0_6_load_45 | 40 | 0.0023397 | 0.00058639 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_723-8_0_6_load_80 | 42 | 0.0050747 | 0.0012719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_723-8_0_6_load_36 | 43 | 0.0041524 | 0.0010407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_723-8_0_6_load_79 | 44 | 0.016571 | 0.0041532 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_723-8_0_6_load_33 | 45 | 0.0031557 | 0.00079089 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_723-8_0_6_load_34 | 46 | 0.0053576 | 0.0013427 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_723-8_0_6_load_38 | 49 | 0.0072159 | 0.0018085 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_723-8_0_6_load_81 | 50 | 0.0045132 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_723-8_0_6_load_97 | 53 | 0.012672 | 0.003176 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_723-8_0_6_load_95 | 54 | 0.011107 | 0.0027837 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_723-8_0_6_load_82 | 55 | 0.0071434 | 0.0017903 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_723-8_0_6_load_41 | 56 | 0.0096349 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_723-8_0_6_load_44 | 57 | 0.0034365 | 0.00086127 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_723-8_0_6_load_43 | 58 | 0.0053138 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_723-8_0_6_load_42 | 59 | 0.0039838 | 0.00099842 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_723-8_0_6_load_46 | 60 | 0.0079053 | 0.0019813 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_723-8_0_6_load_47 | 61 | 0.004681 | 0.0011732 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_723-8_0_6_load_49 | 63 | 0.011867 | 0.0029741 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_723-8_0_6_load_50 | 64 | 0.016946 | 0.004247 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_723-8_0_6_load_51 | 65 | 0.010524 | 0.0026376 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_723-8_0_6_load_52 | 66 | 0.0068767 | 0.0017235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_723-8_0_6_load_53 | 67 | 0.0079179 | 0.0019844 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_723-8_0_6_load_54 | 68 | 0.005356 | 0.0013423 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_723-8_0_6_load_57 | 69 | 0.0035991 | 0.00090202 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_723-8_0_6_load_60 | 70 | 0.0043841 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_723-8_0_6_load_71 | 71 | 0.010922 | 0.0027374 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_723-8_0_6_load_55 | 72 | 0.012798 | 0.0032075 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_723-8_0_6_load_58 | 73 | 0.00069243 | 0.00017354 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_723-8_0_6_load_61 | 74 | 0.0042711 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_723-8_0_6_load_72 | 75 | 0.0053156 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_723-8_0_6_load_70 | 77 | 0.0056279 | 0.0014105 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_723-8_0_6_load_59 | 78 | 0.00087551 | 0.00021942 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_723-8_0_6_load_62 | 79 | 0.0044516 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_723-8_0_6_load_67 | 81 | 0.0042127 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_723-8_0_6_load_63 | 82 | 0.02367 | 0.0059323 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_723-8_0_6_load_64 | 83 | 0.0011146 | 0.00027933 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_723-8_0_6_load_66 | 84 | 0.0064177 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_723-8_0_6_load_68 | 85 | 0.0015947 | 0.00039966 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_723-8_0_6_load_73 | 86 | 0.0092043 | 0.0023068 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_723-8_0_6_load_74 | 87 | 0.0048538 | 0.0012165 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_723-8_0_6_load_75 | 88 | 0.0099431 | 0.002492 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_723-8_0_6_load_76 | 89 | 0.0082308 | 0.0020628 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_723-8_0_6_load_77 | 90 | 0.0031923 | 0.00080007 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_723-8_0_6_load_78 | 91 | 0.0096867 | 0.0024277 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_723-8_0_6_load_99 | 92 | 0.0029313 | 0.00073466 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_723-8_0_6_load_96 | 94 | 0.0084843 | 0.0021264 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_723-8_0_6_load_100 | 95 | 0.010678 | 0.0026761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_723-8_0_6_line_0 |  | 0 | 1 | 0.0012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_723-8_0_6_line_1 |  | 0 | 2 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_723-8_0_6_line_2 |  | 1 | 3 | 0.0042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_723-8_0_6_line_3 |  | 2 | 4 | 0.0025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_723-8_0_6_line_4 |  | 2 | 5 | 0.0047681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_723-8_0_6_line_5 |  | 3 | 6 | 0.0041875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_723-8_0_6_line_6 |  | 4 | 7 | 0.0074492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_723-8_0_6_line_7 |  | 5 | 8 | 0.005463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_723-8_0_6_line_8 |  | 6 | 9 | 5.6179e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_723-8_0_6_line_9 |  | 7 | 10 | 0.0041008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_723-8_0_6_line_10 |  | 8 | 11 | 0.0023098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_723-8_0_6_line_11 |  | 9 | 12 | 0.0062612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_723-8_0_6_line_12 |  | 10 | 55 | 0.004019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_723-8_0_6_line_13 |  | 11 | 26 | 0.0045261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_723-8_0_6_line_14 |  | 12 | 13 | 0.00029718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_723-8_0_6_line_15 |  | 13 | 14 | 0.0039105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_723-8_0_6_line_16 |  | 14 | 15 | 0.002914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_723-8_0_6_line_17 |  | 15 | 16 | 0.016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_723-8_0_6_line_18 |  | 16 | 17 | 0.014676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_723-8_0_6_line_19 |  | 17 | 29 | 0.0001089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_723-8_0_6_line_20 |  | 18 | 19 | 0.0082024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_723-8_0_6_line_21 |  | 18 | 20 | 0.0085857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_723-8_0_6_line_22 |  | 20 | 21 | 0.004696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_723-8_0_6_line_23 |  | 21 | 22 | 0.012963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_723-8_0_6_line_24 |  | 21 | 23 | 0.011662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_723-8_0_6_line_25 |  | 22 | 24 | 0.0092833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_723-8_0_6_line_26 |  | 22 | 25 | 0.0084102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_723-8_0_6_line_27 |  | 23 | 26 | 0.0093653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_723-8_0_6_line_28 |  | 24 | 34 | 0.00016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_723-8_0_6_line_29 |  | 25 | 30 | 5.6067e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_723-8_0_6_line_30 |  | 27 | 28 | 0.013394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_723-8_0_6_line_31 |  | 28 | 35 | 9.8544e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_723-8_0_6_line_32 |  | 29 | 93 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_723-8_0_6_line_33 |  | 30 | 31 | 0.0071705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_723-8_0_6_line_34 |  | 31 | 32 | 0.0026202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_723-8_0_6_line_35 |  | 32 | 33 | 0.0029212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_723-8_0_6_line_36 |  | 33 | 35 | 0.0064316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_723-8_0_6_line_37 |  | 34 | 81 | 0.0021671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_723-8_0_6_line_38 |  | 36 | 37 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_723-8_0_6_line_39 |  | 36 | 38 | 0.013504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_723-8_0_6_line_40 |  | 38 | 39 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_723-8_0_6_line_41 |  | 38 | 40 | 0.044281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_723-8_0_6_line_42 |  | 40 | 41 | 0.037533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_723-8_0_6_line_43 |  | 41 | 57 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_723-8_0_6_line_44 |  | 41 | 51 | 0.030759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_723-8_0_6_line_45 |  | 42 | 43 | 0.0032834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_723-8_0_6_line_46 |  | 42 | 44 | 0.0095623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_723-8_0_6_line_47 |  | 43 | 46 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_723-8_0_6_line_48 |  | 44 | 91 | 0.0079255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_723-8_0_6_line_49 |  | 45 | 46 | 0.0034548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_723-8_0_6_line_50 |  | 47 | 48 | 0.008207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_723-8_0_6_line_51 |  | 47 | 49 | 0.020831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_723-8_0_6_line_52 |  | 48 | 50 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_723-8_0_6_line_53 |  | 49 | 51 | 0.0026883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_723-8_0_6_line_54 |  | 50 | 55 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_723-8_0_6_line_55 |  | 51 | 56 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_723-8_0_6_line_56 |  | 52 | 53 | 0.022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_723-8_0_6_line_57 |  | 52 | 54 | 0.013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_723-8_0_6_line_58 |  | 53 | 92 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_723-8_0_6_line_59 |  | 54 | 93 | 0.0097457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_723-8_0_6_line_60 |  | 57 | 58 | 0.0097764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_723-8_0_6_line_61 |  | 58 | 59 | 0.0094701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_723-8_0_6_line_62 |  | 60 | 61 | 0.0056889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_723-8_0_6_line_63 |  | 60 | 62 | 0.0098857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_723-8_0_6_line_64 |  | 61 | 63 | 0.008468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_723-8_0_6_line_65 |  | 62 | 64 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_723-8_0_6_line_66 |  | 62 | 65 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_723-8_0_6_line_67 |  | 62 | 66 | 0.013547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_723-8_0_6_line_68 |  | 62 | 67 | 0.021819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_723-8_0_6_line_69 |  | 63 | 68 | 0.0029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_723-8_0_6_line_70 |  | 64 | 69 | 0.016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_723-8_0_6_line_71 |  | 65 | 70 | 0.0040421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_723-8_0_6_line_72 |  | 66 | 71 | 0.0080073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_723-8_0_6_line_73 |  | 68 | 72 | 0.0044807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_723-8_0_6_line_74 |  | 69 | 73 | 0.0029383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_723-8_0_6_line_75 |  | 70 | 74 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_723-8_0_6_line_76 |  | 71 | 75 | 0.0043235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_723-8_0_6_line_77 |  | 72 | 76 | 0.039729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_723-8_0_6_line_78 |  | 73 | 78 | 0.02678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_723-8_0_6_line_79 |  | 74 | 79 | 0.0089104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_723-8_0_6_line_80 |  | 75 | 86 | 0.0096238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_723-8_0_6_line_81 |  | 76 | 77 | 0.040204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_723-8_0_6_line_82 |  | 79 | 80 | 0.00038107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_723-8_0_6_line_83 |  | 80 | 81 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_723-8_0_6_line_84 |  | 80 | 82 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_723-8_0_6_line_85 |  | 82 | 83 | 0.023301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_723-8_0_6_line_86 |  | 83 | 84 | 0.0077748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_723-8_0_6_line_87 |  | 84 | 85 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_723-8_0_6_line_88 |  | 86 | 87 | 0.0043771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_723-8_0_6_line_89 |  | 87 | 88 | 0.0046764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_723-8_0_6_line_90 |  | 88 | 89 | 0.0075359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_723-8_0_6_line_91 |  | 89 | 90 | 0.0072469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_723-8_0_6_line_92 |  | 90 | 91 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_723-8_0_6_line_93 |  | 92 | 95 | 9.745e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_723-8_0_6_line_94 |  | 93 | 94 | 0.018542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_723-8_0_6_trafo_86 | 0.63 MVA 20/0.4 kV | 96 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2573665.4649 | 1212532.032 | 2573666.0849 | 1212531.0039
1 | 2573658.5125 | 1212543.5595 | 2573665.4649 | 1212532.032
2 | 2573668.2608 | 1212527.3962 | 2573666.0849 | 1212531.0039
3 | 2573658.5125 | 1212543.5595 | 2573656.2549 | 1212542.4455
4 | 2573658.5125 | 1212543.5595 | 2573660.2184 | 1212544.5303 | 2573662.6598 | 1212545.912
5 | 2573670.4234 | 1212523.8104 | 2573668.2608 | 1212527.3962
6 | 2573649.5721 | 1212539.1544 | 2573655.8554 | 1212542.2483 | 2573656.2549 | 1212542.4455
7 | 2573667.4398 | 1212548.553 | 2573666.8062 | 1212548.2588 | 2573662.6598 | 1212545.912
8 | 2573670.4525 | 1212523.7623 | 2573670.4234 | 1212523.8104
9 | 2573649.5721 | 1212539.1544 | 2573645.8931 | 1212537.3428
10 | 2573667.4398 | 1212548.553 | 2573669.5348 | 1212549.5256
11 | 2573673.6861 | 1212518.4007 | 2573670.4525 | 1212523.7623
12 | 2573642.2876 | 1212535.5674 | 2573645.8931 | 1212537.3428
13 | 2573673.6401 | 1212551.4315 | 2573669.5348 | 1212549.5256
14 | 2573673.8396 | 1212518.1462 | 2573673.6861 | 1212518.4007
15 | 2573673.8396 | 1212518.1462 | 2573675.4277 | 1212515.5131 | 2573675.814 | 1212514.7721
16 | 2573675.814 | 1212514.7721 | 2573677.1611 | 1212512.1883
17 | 2573684.6478 | 1212497.8289 | 2573677.1611 | 1212512.1883
18 | 2573684.6478 | 1212497.8289 | 2573681.0556 | 1212496.3551 | 2573671.6276 | 1212491.1013
19 | 2573671.6276 | 1212491.1013 | 2573671.5325 | 1212491.0483
20 | 2573701.7352 | 1212548.2008 | 2573705.0909 | 1212540.7162
21 | 2573698.2227 | 1212556.0352 | 2573701.7352 | 1212548.2008
22 | 2573693.5456 | 1212556.5895 | 2573694.2289 | 1212556.5087 | 2573698.2227 | 1212556.0352
23 | 2573693.5456 | 1212556.5895 | 2573689.3914 | 1212568.8704
24 | 2573693.5456 | 1212556.5895 | 2573690.888 | 1212556.8792 | 2573687.5299 | 1212556.794 | 2573683.5537 | 1212556.1001 | 2573682.1144 | 1212555.4182
25 | 2573689.3914 | 1212568.8704 | 2573685.7402 | 1212577.4056
26 | 2573689.3914 | 1212568.8704 | 2573697.2709 | 1212571.8106
27 | 2573682.1144 | 1212555.4182 | 2573676.6262 | 1212552.8178 | 2573673.6401 | 1212551.4315
28 | 2573685.6757 | 1212577.5563 | 2573685.7402 | 1212577.4056
29 | 2573697.3235 | 1212571.8302 | 2573697.2709 | 1212571.8106
30 | 2573728.8911 | 1212579.8474 | 2573715.7942 | 1212577.0403
31 | 2573715.7942 | 1212577.0403 | 2573715.6978 | 1212577.0197
32 | 2573648.4772 | 1212478.5115 | 2573665.6568 | 1212487.7739 | 2573671.5325 | 1212491.0483
33 | 2573697.3235 | 1212571.8302 | 2573704.0416 | 1212574.3369
34 | 2573706.5528 | 1212575.0597 | 2573705.2035 | 1212574.7705 | 2573704.0416 | 1212574.3369
35 | 2573709.4091 | 1212575.6718 | 2573706.5528 | 1212575.0597
36 | 2573709.4091 | 1212575.6718 | 2573715.6978 | 1212577.0197
37 | 2573685.6757 | 1212577.5563 | 2573684.9553 | 1212579.2404 | 2573684.7993 | 1212579.5373
38 | 2573561.0134 | 1212593.2877 | 2573574.6955 | 1212595.0223
39 | 2573547.6165 | 1212591.5893 | 2573561.0134 | 1212593.2877
40 | 2573547.6165 | 1212591.5893 | 2573534.0714 | 1212589.872 | 2573534.0714 | 1212589.872
41 | 2573557.5907 | 1212548.4467 | 2573547.6165 | 1212591.5893
42 | 2573557.8563 | 1212511.2993 | 2573555.4732 | 1212540.8378 | 2573557.5907 | 1212548.4467
43 | 2573557.8563 | 1212511.2993 | 2573542.183 | 1212509.4685
44 | 2573557.8563 | 1212511.2993 | 2573588.4949 | 1212514.8873
45 | 2573612.9638 | 1212565.6267 | 2573614.8337 | 1212568.3257
46 | 2573621.0265 | 1212575.5583 | 2573617.2815 | 1212571.8585 | 2573614.8337 | 1212568.3257
47 | 2573612.9638 | 1212565.6267 | 2573610.2474 | 1212561.7062 | 2573607.1204 | 1212553.8045 | 2573606.9272 | 1212553.1472
48 | 2573621.0265 | 1212575.5583 | 2573626.6645 | 1212581.1284
49 | 2573605.953 | 1212549.8326 | 2573606.9272 | 1212553.1472
50 | 2573610.7867 | 1212522.3703 | 2573618.615 | 1212524.9037
51 | 2573610.7867 | 1212522.3703 | 2573597.2454 | 1212518.0836 | 2573591.02 | 1212515.8096
52 | 2573618.615 | 1212524.9037 | 2573632.0026 | 1212530.503 | 2573632.7183 | 1212530.8554
53 | 2573588.4949 | 1212514.8873 | 2573591.02 | 1212515.8096
54 | 2573632.7183 | 1212530.8554 | 2573642.2876 | 1212535.5674
55 | 2573588.4949 | 1212514.8873 | 2573574.0603 | 1212508.9042
56 | 2573636.9957 | 1212498.4293 | 2573615.4945 | 1212490.6294
57 | 2573636.9957 | 1212498.4293 | 2573643.3201 | 1212489.0404 | 2573644.1903 | 1212487.2637
58 | 2573615.4945 | 1212490.6294 | 2573605.5401 | 1212487.0183
59 | 2573648.4772 | 1212478.5115 | 2573644.1903 | 1212487.2637
60 | 2573542.183 | 1212509.4685 | 2573532.4727 | 1212508.3343
61 | 2573523.0131 | 1212507.9958 | 2573531.2688 | 1212508.1937 | 2573532.4727 | 1212508.3343
62 | 2573666.0072 | 1212635.0631 | 2573660.8645 | 1212637.4955
63 | 2573674.9436 | 1212630.8363 | 2573666.0072 | 1212635.0631
64 | 2573653.2097 | 1212641.1162 | 2573660.8645 | 1212637.4955
65 | 2573674.9436 | 1212630.8363 | 2573689.5137 | 1212629.0708
66 | 2573674.9436 | 1212630.8363 | 2573676.0976 | 1212615.2445 | 2573676.2838 | 1212612.7231
67 | 2573674.9436 | 1212630.8363 | 2573668.7057 | 1212625.4497 | 2573665.7527 | 1212621.0424
68 | 2573674.9436 | 1212630.8363 | 2573677.3939 | 1212633.4936 | 2573678.5997 | 1212636.4455 | 2573677.397 | 1212651.413
69 | 2573651.8033 | 1212643.7212 | 2573653.2097 | 1212641.1162 | 2573653.2097 | 1212641.1162
70 | 2573705.65 | 1212630.4351 | 2573689.5137 | 1212629.0708 | 2573689.5137 | 1212629.0708
71 | 2573676.5814 | 1212608.692 | 2573676.2838 | 1212612.7231
72 | 2573665.7527 | 1212621.0424 | 2573661.2957 | 1212614.3902
73 | 2573651.8033 | 1212643.7212 | 2573649.6747 | 1212647.664
74 | 2573705.65 | 1212630.4351 | 2573708.5779 | 1212630.6827
75 | 2573676.5814 | 1212608.692 | 2573676.9361 | 1212603.8899 | 2573678.0223 | 1212598.729
76 | 2573661.2957 | 1212614.3902 | 2573658.8891 | 1212610.7984
77 | 2573623.0839 | 1212675.8918 | 2573629.9581 | 1212672.2926 | 2573642.8495 | 1212660.3064 | 2573649.6747 | 1212647.664
78 | 2573708.5779 | 1212630.6827 | 2573726.622 | 1212632.2084 | 2573735.2639 | 1212631.495
79 | 2573678.0223 | 1212598.729 | 2573678.6621 | 1212595.6887 | 2573680.3341 | 1212590.1313
80 | 2573658.8891 | 1212610.7984 | 2573657.3724 | 1212608.5348 | 2573652.0259 | 1212604.1745
81 | 2573623.0839 | 1212675.8918 | 2573616.4865 | 1212661.3907 | 2573622.875 | 1212645.9424 | 2573621.7934 | 1212638.4652
82 | 2573680.3341 | 1212590.1313 | 2573680.4439 | 1212589.7664
83 | 2573680.4439 | 1212589.7664 | 2573681.8064 | 1212585.2355 | 2573684.7993 | 1212579.5373
84 | 2573680.4439 | 1212589.7664 | 2573701.193 | 1212593.8712
85 | 2573701.193 | 1212593.8712 | 2573718.8104 | 1212597.3564 | 2573724.1452 | 1212597.6414
86 | 2573724.1452 | 1212597.6414 | 2573731.909 | 1212598.0561
87 | 2573746.3579 | 1212598.8278 | 2573731.909 | 1212598.0561
88 | 2573648.6338 | 1212601.4081 | 2573652.0259 | 1212604.1745
89 | 2573648.6338 | 1212601.4081 | 2573645.0098 | 1212598.4526
90 | 2573645.0098 | 1212598.4526 | 2573640.3703 | 1212594.669 | 2573639.2682 | 1212593.5801
91 | 2573634.1129 | 1212588.4869 | 2573639.2682 | 1212593.5801
92 | 2573634.1129 | 1212588.4869 | 2573626.6645 | 1212581.1284
93 | 2573605.4485 | 1212486.985 | 2573605.5401 | 1212487.0183
94 | 2573648.4772 | 1212478.5115 | 2573651.5941 | 1212472.1496 | 2573656.2491 | 1212461.6805

## bus_geodata
| x | y | coords
0 | 2573665.4649 | 1212532.032
1 | 2573666.0849 | 1212531.0039
2 | 2573658.5125 | 1212543.5595
3 | 2573668.2608 | 1212527.3962
4 | 2573656.2549 | 1212542.4455
5 | 2573662.6598 | 1212545.912
6 | 2573670.4234 | 1212523.8104
7 | 2573649.5721 | 1212539.1544
8 | 2573667.4398 | 1212548.553
9 | 2573670.4525 | 1212523.7623
10 | 2573645.8931 | 1212537.3428
11 | 2573669.5348 | 1212549.5256
12 | 2573673.6861 | 1212518.4007
13 | 2573673.8396 | 1212518.1462
14 | 2573675.814 | 1212514.7721
15 | 2573677.1611 | 1212512.1883
16 | 2573684.6478 | 1212497.8289
17 | 2573671.6276 | 1212491.1013
18 | 2573701.7352 | 1212548.2008
19 | 2573705.0909 | 1212540.7162
20 | 2573698.2227 | 1212556.0352
21 | 2573693.5456 | 1212556.5895
22 | 2573689.3914 | 1212568.8704
23 | 2573682.1144 | 1212555.4182
24 | 2573685.7402 | 1212577.4056
25 | 2573697.2709 | 1212571.8106
26 | 2573673.6401 | 1212551.4315
27 | 2573728.8911 | 1212579.8474
28 | 2573715.7942 | 1212577.0403
29 | 2573671.5325 | 1212491.0483
30 | 2573697.3235 | 1212571.8302
31 | 2573704.0416 | 1212574.3369
32 | 2573706.5528 | 1212575.0597
33 | 2573709.4091 | 1212575.6718
34 | 2573685.6757 | 1212577.5563
35 | 2573715.6978 | 1212577.0197
36 | 2573561.0134 | 1212593.2877
37 | 2573574.6955 | 1212595.0223
38 | 2573547.6165 | 1212591.5893
39 | 2573534.0714 | 1212589.872
40 | 2573557.5907 | 1212548.4467
41 | 2573557.8563 | 1212511.2993
42 | 2573614.8337 | 1212568.3256
43 | 2573612.9638 | 1212565.6267
44 | 2573621.0265 | 1212575.5583
45 | 2573605.953 | 1212549.8326
46 | 2573606.9272 | 1212553.1472
47 | 2573610.7867 | 1212522.3703
48 | 2573618.615 | 1212524.9037
49 | 2573591.02 | 1212515.8096
50 | 2573632.7183 | 1212530.8554
51 | 2573588.4949 | 1212514.8873
52 | 2573636.9957 | 1212498.4293
53 | 2573615.4945 | 1212490.6294
54 | 2573644.1903 | 1212487.2637
55 | 2573642.2876 | 1212535.5674
56 | 2573574.0603 | 1212508.9042
57 | 2573542.183 | 1212509.4685
58 | 2573532.4727 | 1212508.3343
59 | 2573523.0131 | 1212507.9958
60 | 2573666.0072 | 1212635.0631
61 | 2573660.8645 | 1212637.4955
62 | 2573674.9436 | 1212630.8363
63 | 2573653.2097 | 1212641.1162
64 | 2573689.5137 | 1212629.0708
65 | 2573676.2838 | 1212612.7231
66 | 2573665.7527 | 1212621.0424
67 | 2573677.397 | 1212651.413
68 | 2573651.8033 | 1212643.7212
69 | 2573705.65 | 1212630.4351
70 | 2573676.5814 | 1212608.692
71 | 2573661.2957 | 1212614.3902
72 | 2573649.6747 | 1212647.664
73 | 2573708.5779 | 1212630.6827
74 | 2573678.0223 | 1212598.729
75 | 2573658.8891 | 1212610.7984
76 | 2573623.0839 | 1212675.8918
77 | 2573621.7934 | 1212638.4652
78 | 2573735.2639 | 1212631.495
79 | 2573680.3341 | 1212590.1313
80 | 2573680.4439 | 1212589.7664
81 | 2573684.7993 | 1212579.5373
82 | 2573701.193 | 1212593.8712
83 | 2573724.1452 | 1212597.6414
84 | 2573731.909 | 1212598.0561
85 | 2573746.3579 | 1212598.8278
86 | 2573652.0259 | 1212604.1745
87 | 2573648.6338 | 1212601.4081
88 | 2573645.0098 | 1212598.4526
89 | 2573639.2682 | 1212593.5801
90 | 2573634.1129 | 1212588.4869
91 | 2573626.6645 | 1212581.1284
92 | 2573605.5401 | 1212487.0183
93 | 2573648.4772 | 1212478.5115
94 | 2573656.2491 | 1212461.6805
95 | 2573605.4485 | 1212486.985
96 | 2573658.5125 | 1212543.5595

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1