## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_744-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_744-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_744-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_744-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_744-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_744-4_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_744-4_0_4_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_744-4_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_744-4_0_4_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_744-4_0_4_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_744-4_0_4_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_744-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_744-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_744-4_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_744-4_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_744-4_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_744-4_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_744-4_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_744-4_0_4_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_744-4_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_744-4_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_744-4_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_744-4_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_744-4_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_744-4_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_744-4_0_4_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_744-4_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_744-4_0_4_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_744-4_0_4_node_85 | 0.4 | n |  | TRUE
29 | bus_LV_744-4_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_744-4_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_744-4_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_744-4_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_744-4_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_744-4_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_744-4_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_744-4_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_744-4_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_744-4_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_744-4_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_744-4_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_744-4_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_744-4_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_744-4_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_744-4_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_744-4_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_744-4_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_744-4_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_744-4_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_744-4_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_744-4_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_744-4_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_744-4_0_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_744-4_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_744-4_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_744-4_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_744-4_0_4_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_744-4_0_4_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_744-4_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_744-4_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_744-4_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_744-4_0_4_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_744-4_0_4_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_744-4_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_744-4_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_744-4_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_744-4_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_744-4_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_744-4_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_744-4_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_744-4_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_744-4_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_744-4_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_744-4_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_744-4_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_744-4_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_744-4_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_744-4_0_4_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_744-4_0_4_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_744-4_0_4_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_744-4_0_4_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_744-4_0_4_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_744-4_0_4_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_744-4_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_744-4_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_744-4_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_744-4_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_744-4_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_744-4_0_4_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_744-4_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_744-4_0_4_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_744-4_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_744-4_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_744-4_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_MV_416_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_744-4_0_4_load_0 | 0 | 0.0018303 | 0.00045871 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_744-4_0_4_load_1 | 1 | 0.0045767 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_744-4_0_4_load_2 | 2 | 0.015351 | 0.0038473 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_744-4_0_4_load_4 | 4 | 0.00037531 | 9.4061e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_744-4_0_4_load_46 | 5 | 0.0034654 | 0.00086852 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_744-4_0_4_load_68 | 6 | 0.01241 | 0.0031102 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_744-4_0_4_load_44 | 7 | 0.00049285 | 0.00012352 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_744-4_0_4_load_76 | 9 | 0.0013378 | 0.00033529 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_744-4_0_4_load_7 | 11 | 0.0017114 | 0.00042893 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_744-4_0_4_load_13 | 16 | 0.00063829 | 0.00015997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_744-4_0_4_load_18 | 17 | 0.00066703 | 0.00016717 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_744-4_0_4_load_88 | 18 | 0.00096421 | 0.00024165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_744-4_0_4_load_14 | 19 | 0.0008154 | 0.00020436 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_744-4_0_4_load_19 | 22 | 0.032884 | 0.0082414 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_744-4_0_4_load_15 | 23 | 0.0062998 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_744-4_0_4_load_84 | 25 | 0.00053628 | 0.0001344 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_744-4_0_4_load_17 | 26 | 0.031194 | 0.0078181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_744-4_0_4_load_83 | 27 | 0.00047222 | 0.00011835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_744-4_0_4_load_85 | 28 | 0.00057973 | 0.00014529 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_744-4_0_4_load_22 | 29 | 0.0030965 | 0.00077605 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_744-4_0_4_load_81 | 31 | 0.0005578 | 0.0001398 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_744-4_0_4_load_35 | 32 | 0.00068257 | 0.00017107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_744-4_0_4_load_30 | 34 | 0.0024418 | 0.00061198 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_744-4_0_4_load_23 | 35 | 0.031446 | 0.007881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_744-4_0_4_load_24 | 36 | 0.0047418 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_744-4_0_4_load_25 | 37 | 0.00083775 | 0.00020996 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_744-4_0_4_load_26 | 38 | 0.0097277 | 0.002438 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_744-4_0_4_load_27 | 39 | 0.0087822 | 0.002201 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_744-4_0_4_load_36 | 43 | 0.0074109 | 0.0018573 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_744-4_0_4_load_34 | 44 | 0.00090965 | 0.00022798 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_744-4_0_4_load_42 | 45 | 0.00048611 | 0.00012183 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_744-4_0_4_load_67 | 46 | 0.0045566 | 0.001142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_744-4_0_4_load_40 | 47 | 0.0015951 | 0.00039978 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_744-4_0_4_load_54 | 48 | 0.0023511 | 0.00058924 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_744-4_0_4_load_38 | 49 | 0.001557 | 0.00039022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_744-4_0_4_load_39 | 50 | 0.00046172 | 0.00011572 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_744-4_0_4_load_41 | 51 | 0.0017252 | 0.00043238 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_744-4_0_4_load_70 | 52 | 0.0010707 | 0.00026834 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_744-4_0_4_load_43 | 53 | 0.0004928 | 0.00012351 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_744-4_0_4_load_45 | 54 | 0.00047799 | 0.0001198 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_744-4_0_4_load_47 | 55 | 0.00048419 | 0.00012135 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_744-4_0_4_load_100 | 56 | 0.00047722 | 0.0001196 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_744-4_0_4_load_48 | 58 | 0.00070356 | 0.00017633 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_744-4_0_4_load_49 | 59 | 0.00050608 | 0.00012684 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_744-4_0_4_load_50 | 60 | 0.00053999 | 0.00013533 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_744-4_0_4_load_97 | 62 | 0.00048965 | 0.00012272 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_744-4_0_4_load_51 | 63 | 0.0046778 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_744-4_0_4_load_52 | 64 | 0.0032856 | 0.00082344 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_744-4_0_4_load_55 | 66 | 0.0043623 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_744-4_0_4_load_56 | 67 | 0.0057935 | 0.001452 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_744-4_0_4_load_65 | 70 | 0.0025698 | 0.00064406 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_744-4_0_4_load_59 | 71 | 0.0058061 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_744-4_0_4_load_61 | 72 | 0.0053437 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_744-4_0_4_load_62 | 73 | 0.0054206 | 0.0013585 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_744-4_0_4_load_63 | 74 | 0.0057574 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_744-4_0_4_load_94 | 79 | 0.00038407 | 9.6256e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_744-4_0_4_load_101 | 80 | 0.089489 | 0.022428 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_744-4_0_4_load_89 | 81 | 0.044148 | 0.011065 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_744-4_0_4_load_86 | 82 | 0.0017365 | 0.0004352 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_744-4_0_4_load_72 | 83 | 0.0046868 | 0.0011746 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_744-4_0_4_load_73 | 84 | 0.00082134 | 0.00020585 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_744-4_0_4_load_80 | 86 | 0.0019323 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_744-4_0_4_load_78 | 87 | 0.0018693 | 0.00046848 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_744-4_0_4_load_77 | 88 | 0.0032484 | 0.00081413 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_744-4_0_4_load_82 | 89 | 0.00054173 | 0.00013577 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_744-4_0_4_load_92 | 90 | 0.018057 | 0.0045255 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_744-4_0_4_load_90 | 91 | 0.027814 | 0.0069709 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_744-4_0_4_load_91 | 92 | 0.024603 | 0.0061662 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_744-4_0_4_load_93 | 93 | 0.0010401 | 0.00026066 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_744-4_0_4_line_0 |  | 0 | 1 | 0.027668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_744-4_0_4_line_1 |  | 0 | 2 | 0.046534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_744-4_0_4_line_2 |  | 1 | 3 | 0.048214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_744-4_0_4_line_3 |  | 2 | 4 | 0.19255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_744-4_0_4_line_4 |  | 3 | 5 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_744-4_0_4_line_5 |  | 3 | 6 | 0.023765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_744-4_0_4_line_6 |  | 5 | 7 | 0.039201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_744-4_0_4_line_7 |  | 6 | 8 | 0.030106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_744-4_0_4_line_8 |  | 7 | 53 | 0.00045428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_744-4_0_4_line_9 |  | 8 | 76 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_744-4_0_4_line_10 |  | 8 | 52 | 0.099104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_744-4_0_4_line_11 |  | 9 | 10 | 0.044652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_744-4_0_4_line_12 |  | 10 | 83 | 0.047498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_744-4_0_4_line_13 |  | 11 | 12 | 0.072582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_744-4_0_4_line_14 |  | 12 | 13 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_744-4_0_4_line_15 |  | 12 | 14 | 0.019313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_744-4_0_4_line_16 |  | 12 | 15 | 0.0093403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_744-4_0_4_line_17 |  | 13 | 16 | 0.010629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_744-4_0_4_line_18 |  | 14 | 17 | 0.0090219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_744-4_0_4_line_19 |  | 15 | 18 | 0.044643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_744-4_0_4_line_20 |  | 16 | 19 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_744-4_0_4_line_21 |  | 18 | 25 | 0.021854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_744-4_0_4_line_22 |  | 20 | 21 | 0.00504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_744-4_0_4_line_23 |  | 20 | 22 | 0.048705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_744-4_0_4_line_24 |  | 21 | 27 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_744-4_0_4_line_25 |  | 21 | 28 | 0.0062204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_744-4_0_4_line_26 |  | 22 | 26 | 0.035914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_744-4_0_4_line_27 |  | 23 | 24 | 0.050229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_744-4_0_4_line_28 |  | 24 | 26 | 0.040047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_744-4_0_4_line_29 |  | 25 | 89 | 0.0217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_744-4_0_4_line_30 |  | 27 | 31 | 0.0031275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_744-4_0_4_line_31 |  | 28 | 32 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_744-4_0_4_line_32 |  | 29 | 30 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_744-4_0_4_line_33 |  | 30 | 33 | 0.005059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_744-4_0_4_line_34 |  | 30 | 34 | 0.05571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_744-4_0_4_line_35 |  | 31 | 89 | 0.025514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_744-4_0_4_line_36 |  | 32 | 33 | 0.015504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_744-4_0_4_line_37 |  | 33 | 43 | 0.045599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_744-4_0_4_line_38 |  | 33 | 44 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_744-4_0_4_line_39 |  | 34 | 42 | 0.023845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_744-4_0_4_line_40 |  | 35 | 36 | 0.0080517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_744-4_0_4_line_41 |  | 35 | 37 | 0.016988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_744-4_0_4_line_42 |  | 36 | 38 | 0.019688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_744-4_0_4_line_43 |  | 37 | 39 | 0.028436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_744-4_0_4_line_44 |  | 39 | 40 | 0.071228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_744-4_0_4_line_45 |  | 40 | 41 | 0.0060987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_744-4_0_4_line_46 |  | 40 | 42 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_744-4_0_4_line_47 |  | 41 | 46 | 0.058734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_744-4_0_4_line_48 |  | 43 | 45 | 0.0092657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_744-4_0_4_line_49 |  | 45 | 47 | 0.004695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_744-4_0_4_line_50 |  | 46 | 48 | 0.0080396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_744-4_0_4_line_51 |  | 47 | 49 | 0.0010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_744-4_0_4_line_52 |  | 48 | 64 | 0.033474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_744-4_0_4_line_53 |  | 49 | 50 | 0.012576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_744-4_0_4_line_54 |  | 50 | 51 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_744-4_0_4_line_55 |  | 51 | 52 | 0.028654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_744-4_0_4_line_56 |  | 53 | 54 | 0.00033785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_744-4_0_4_line_57 |  | 54 | 55 | 0.00037287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_744-4_0_4_line_58 |  | 55 | 56 | 0.00019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_744-4_0_4_line_59 |  | 56 | 57 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_744-4_0_4_line_60 |  | 57 | 62 | 0.0061304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_744-4_0_4_line_61 |  | 58 | 59 | 0.0064888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_744-4_0_4_line_62 |  | 59 | 60 | 0.0059302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_744-4_0_4_line_63 |  | 60 | 61 | 0.063587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_744-4_0_4_line_64 |  | 61 | 62 | 0.035303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_744-4_0_4_line_65 |  | 63 | 64 | 0.0079208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_744-4_0_4_line_66 |  | 63 | 65 | 0.033212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_744-4_0_4_line_67 |  | 65 | 66 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_744-4_0_4_line_68 |  | 65 | 67 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_744-4_0_4_line_69 |  | 66 | 68 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_744-4_0_4_line_70 |  | 67 | 69 | 0.032016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_744-4_0_4_line_71 |  | 68 | 70 | 0.028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_744-4_0_4_line_72 |  | 69 | 71 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_744-4_0_4_line_73 |  | 70 | 75 | 0.0018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_744-4_0_4_line_74 |  | 72 | 73 | 0.020842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_744-4_0_4_line_75 |  | 73 | 74 | 0.0081462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_744-4_0_4_line_76 |  | 74 | 75 | 0.022293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_744-4_0_4_line_77 |  | 76 | 77 | 0.082919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_744-4_0_4_line_78 |  | 76 | 78 | 0.085057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_744-4_0_4_line_79 |  | 76 | 79 | 0.10033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_744-4_0_4_line_80 |  | 77 | 80 | 0.052168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_744-4_0_4_line_81 |  | 78 | 81 | 0.029384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_744-4_0_4_line_82 |  | 78 | 82 | 0.088966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_744-4_0_4_line_83 |  | 81 | 90 | 0.035151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_744-4_0_4_line_84 |  | 82 | 86 | 0.046051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_744-4_0_4_line_85 |  | 83 | 84 | 0.0040339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_744-4_0_4_line_86 |  | 84 | 85 | 0.029259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_744-4_0_4_line_87 |  | 85 | 86 | 0.045726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_744-4_0_4_line_88 |  | 85 | 87 | 0.049047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_744-4_0_4_line_89 |  | 87 | 88 | 0.011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_744-4_0_4_line_90 |  | 90 | 91 | 0.029858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_744-4_0_4_line_91 |  | 91 | 92 | 0.021455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_744-4_0_4_line_92 |  | 92 | 93 | 0.026772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_744-4_0_4_trafo_70 | 0.63 MVA 20/0.4 kV | 94 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2590146.6494 | 1220677.8789 | 2590143.3798 | 1220679.6764 | 2590133.075 | 1220687.1535 | 2590123.7737 | 1220693.402
1 | 2590191.1234 | 1220681.6981 | 2590172.5364 | 1220676.7595 | 2590162.5939 | 1220674.0189 | 2590154.0287 | 1220673.8219 | 2590146.6494 | 1220677.8789
2 | 2590083.7518 | 1220720.2885 | 2590123.7737 | 1220693.402
3 | 2590191.1234 | 1220681.6981 | 2590328.1521 | 1220546.4246
4 | 2590083.7518 | 1220720.2885 | 2590094.496 | 1220737.1437
5 | 2590083.7518 | 1220720.2885 | 2590067.0602 | 1220703.3714
6 | 2590094.496 | 1220737.1437 | 2590115.5674 | 1220770.2003
7 | 2590045.9156 | 1220681.9411 | 2590067.0602 | 1220703.3714
8 | 2590115.5674 | 1220770.2003 | 2590115.8116 | 1220770.5834
9 | 2590045.9156 | 1220681.9411 | 2590035.8444 | 1220665.9822
10 | 2590045.9156 | 1220681.9411 | 2590031.3566 | 1220694.862 | 2590006.6741 | 1220705.6099 | 2590002.9248 | 1220709.096 | 2589999.5757 | 1220715.9278 | 2589997.3132 | 1220723.8251 | 2589997.5982 | 1220735.3424 | 2589998.425 | 1220748.7153 | 2589997.8744 | 1220755.5481
11 | 2589976.9 | 1220349.0996 | 2590011.7658 | 1220376.9949
12 | 2589976.9 | 1220349.0996 | 2589963.0182 | 1220394.5239
13 | 2589801.7429 | 1220724.7822 | 2589794.734 | 1220712.0203 | 2589784.3307 | 1220688.5581 | 2589776.4987 | 1220664.9247 | 2589774.713 | 1220657.6824
14 | 2589783.5369 | 1220729.6609 | 2589788.239 | 1220728.8634 | 2589796.8152 | 1220726.6918 | 2589801.7429 | 1220724.7822
15 | 2589814.1491 | 1220739.5804 | 2589804.9893 | 1220728.8678 | 2589803.7653 | 1220727.3357 | 2589801.7429 | 1220724.7822
16 | 2589807.2007 | 1220722.3158 | 2589803.7653 | 1220727.3357 | 2589801.7429 | 1220724.7822
17 | 2589783.5369 | 1220729.6609 | 2589772.9089 | 1220729.8315
18 | 2589814.1491 | 1220739.5804 | 2589805.3668 | 1220741.646
19 | 2589807.2007 | 1220722.3158 | 2589809.5911 | 1220727.1144 | 2589819.2064 | 1220738.0264 | 2589832.6263 | 1220751.222 | 2589836.8459 | 1220755.3702
20 | 2589772.9089 | 1220729.8315 | 2589764.132 | 1220729.9724 | 2589749.0689 | 1220728.5312
21 | 2589852.4695 | 1220770.6503 | 2589845.575 | 1220763.9515 | 2589836.8459 | 1220755.3702
22 | 2589898.6701 | 1220817.0355 | 2589895.6806 | 1220821.0985
23 | 2589895.6806 | 1220821.0985 | 2589889.9385 | 1220825.8444 | 2589882.2518 | 1220829.1261 | 2589879.2488 | 1220829.7427 | 2589862.1802 | 1220829.7386 | 2589849.437 | 1220830.4507
24 | 2589898.6701 | 1220817.0355 | 2589892.1803 | 1220810.4094 | 2589888.3192 | 1220805.9733
25 | 2589898.6701 | 1220817.0355 | 2589903.3386 | 1220821.1463
26 | 2589813.8283 | 1220834.9395 | 2589814.7077 | 1220834.7565 | 2589828.1844 | 1220832.5765 | 2589845.1435 | 1220830.6907 | 2589849.437 | 1220830.4507
27 | 2589775.0578 | 1220844.8641 | 2589777.3826 | 1220794.6894
28 | 2589775.0578 | 1220844.8641 | 2589788.1217 | 1220840.9059 | 2589801.3459 | 1220837.5367 | 2589813.8283 | 1220834.9395
29 | 2589868.033 | 1220785.7722 | 2589852.4695 | 1220770.6503
30 | 2589886.2659 | 1220803.6142 | 2589888.3192 | 1220805.9733
31 | 2589916.599 | 1220832.7231 | 2589911.6998 | 1220828.5087 | 2589903.3386 | 1220821.1463
32 | 2589925.8338 | 1220846.9397 | 2589912.1577 | 1220835.2473
33 | 2589925.8338 | 1220846.9397 | 2589928.5119 | 1220842.6437
34 | 2589925.8338 | 1220846.9397 | 2589939.188 | 1220853.076 | 2589942.414 | 1220854.1823 | 2589977.497 | 1220867.7157
35 | 2589886.2659 | 1220803.6142 | 2589885.5522 | 1220802.7942 | 2589868.033 | 1220785.7722
36 | 2589928.5119 | 1220842.6437 | 2589923.4754 | 1220838.5611 | 2589918.0587 | 1220833.9788 | 2589916.599 | 1220832.7231
37 | 2589928.5119 | 1220842.6437 | 2589932.7942 | 1220835.9548 | 2589938.5521 | 1220827.1066 | 2589942.7063 | 1220820.9404 | 2589954.7569 | 1220805.3998
38 | 2589928.5119 | 1220842.6437 | 2589939.6122 | 1220848.2169 | 2589943.3781 | 1220850.1672 | 2589947.2608 | 1220851.5709
39 | 2589998.0845 | 1220879.091 | 2589995.979 | 1220876.6598 | 2589992.1814 | 1220873.9314 | 2589984.2783 | 1220870.3316 | 2589977.497 | 1220867.7157
40 | 2589887.3325 | 1220915.8968 | 2589883.9424 | 1220917.0405 | 2589879.8201 | 1220918.7791
41 | 2589887.3325 | 1220915.8968 | 2589892.3883 | 1220914.1911 | 2589903.6025 | 1220911.0257 | 2589903.6025 | 1220911.0257
42 | 2589862.206 | 1220927.5512 | 2589875.9223 | 1220920.4229 | 2589879.8201 | 1220918.7791
43 | 2589931.8008 | 1220907.5046 | 2589926.6355 | 1220907.8289 | 2589914.2425 | 1220909.262 | 2589903.6025 | 1220911.0257
44 | 2590002.889 | 1220903.0411 | 2589931.8008 | 1220907.5046
45 | 2590002.889 | 1220903.0411 | 2590005.081 | 1220902.8595 | 2590005.338 | 1220906.7502
46 | 2590002.889 | 1220903.0411 | 2590002.8358 | 1220898.4941 | 2590001.9556 | 1220889.4237 | 2590000.7639 | 1220884.534 | 2589999.6589 | 1220881.5453 | 2589998.0845 | 1220879.091
47 | 2590005.338 | 1220906.7502 | 2590005.7969 | 1220913.4755 | 2590005.6202 | 1220916.6221 | 2590005.3725 | 1220918.2123 | 2590004.8285 | 1220919.5029 | 2590003.9958 | 1220920.5271 | 2590002.3517 | 1220921.6972 | 2589977.5036 | 1220932.6679 | 2589963.3736 | 1220938.6178
48 | 2589954.7569 | 1220805.3998 | 2589954.7569 | 1220805.3998 | 2589961.1877 | 1220798.7291
49 | 2589961.1877 | 1220798.7291 | 2589964.4462 | 1220795.349
50 | 2589963.3736 | 1220938.6178 | 2589955.9641 | 1220941.7379
51 | 2589965.1786 | 1220794.5892 | 2589964.4462 | 1220795.349
52 | 2589924.8237 | 1220953.9817 | 2589937.9259 | 1220949.3336 | 2589955.9641 | 1220941.7379
53 | 2589965.1786 | 1220794.5892 | 2589973.907 | 1220785.535
54 | 2589973.907 | 1220785.535 | 2589981.1606 | 1220778.0108
55 | 2589997.8744 | 1220755.5481 | 2589997.6374 | 1220758.489 | 2589994.2943 | 1220764.3869 | 2589981.1606 | 1220778.0108
56 | 2590115.8116 | 1220770.5834 | 2590115.9932 | 1220770.8683
57 | 2590115.9932 | 1220770.8683 | 2590116.1937 | 1220771.1827
58 | 2590116.1937 | 1220771.1827 | 2590116.2966 | 1220771.3441
59 | 2590123.1897 | 1220782.158 | 2590116.2966 | 1220771.3441
60 | 2590123.1897 | 1220782.158 | 2590128.936 | 1220784.2941
61 | 2590204.5074 | 1220777.2518 | 2590198.9676 | 1220780.6305
62 | 2590198.9676 | 1220780.6305 | 2590193.9048 | 1220783.7184
63 | 2590139.6185 | 1220816.8283 | 2590193.9048 | 1220783.7184
64 | 2590139.6185 | 1220816.8283 | 2590140.8813 | 1220809.8333 | 2590128.936 | 1220784.2941
65 | 2589917.3587 | 1220956.63 | 2589924.8237 | 1220953.9817
66 | 2589885.3907 | 1220965.4104 | 2589900.2916 | 1220962.2608 | 2589905.7433 | 1220960.7507 | 2589917.3587 | 1220956.63
67 | 2589885.3907 | 1220965.4104 | 2589889.7416 | 1220976.6872 | 2589893.6932 | 1220985.1463
68 | 2589885.3907 | 1220965.4104 | 2589868.5425 | 1220967.8358
69 | 2589901.3995 | 1220997.9462 | 2589894.7286 | 1220987.3626 | 2589893.6932 | 1220985.1463
70 | 2589836.8531 | 1220972.3977 | 2589868.5425 | 1220967.8358
71 | 2589901.3995 | 1220997.9462 | 2589918.4513 | 1221021.2186
72 | 2589836.8531 | 1220972.3977 | 2589833.9297 | 1220985.9911
73 | 2589919.5339 | 1221022.6961 | 2589918.4513 | 1221021.2186
74 | 2589868.5274 | 1221027.9939 | 2589889.2579 | 1221025.8407
75 | 2589897.3605 | 1221024.9992 | 2589889.2579 | 1221025.8407
76 | 2589919.5339 | 1221022.6961 | 2589897.3605 | 1221024.9992
77 | 2590035.8444 | 1220665.9822 | 2590028.8409 | 1220624.7036 | 2590051.2004 | 1220590.2461
78 | 2589989.5626 | 1220595.4977 | 2590004.8068 | 1220628.7799 | 2590035.8444 | 1220665.9822
79 | 2590035.8444 | 1220665.9822 | 2590028.5719 | 1220667.5732 | 2589993.1425 | 1220680.0514 | 2589968.93 | 1220681.7156 | 2589946.5303 | 1220669.7913 | 2589941.5611 | 1220667.0519
80 | 2590051.2004 | 1220590.2461 | 2590084.0492 | 1220617.262 | 2590092.5992 | 1220621.9059
81 | 2589989.5626 | 1220595.4977 | 2590003.9446 | 1220572.1265 | 2590005.3319 | 1220570.7679
82 | 2589989.5626 | 1220595.4977 | 2589978.6661 | 1220571.7025 | 2589954.5607 | 1220520.6251 | 2589951.3865 | 1220515.1661
83 | 2590030.4448 | 1220546.1729 | 2590005.3319 | 1220570.7679
84 | 2589945.4356 | 1220471.5154 | 2589941.7313 | 1220489.0065 | 2589945.6357 | 1220505.2759 | 2589951.3865 | 1220515.1661
85 | 2589963.0182 | 1220394.5239 | 2589961.8392 | 1220398.3817
86 | 2589954.9094 | 1220426.7816 | 2589958.8531 | 1220408.1531 | 2589961.8392 | 1220398.3817
87 | 2589954.9094 | 1220426.7816 | 2589945.4356 | 1220471.5154
88 | 2589954.9094 | 1220426.7816 | 2589948.0026 | 1220420.5676 | 2589944.7181 | 1220403.0186 | 2589942.9725 | 1220393.694 | 2589933.7221 | 1220385.4129
89 | 2589922.9707 | 1220387.0665 | 2589927.2145 | 1220384.4378 | 2589932.6845 | 1220384.484 | 2589933.7221 | 1220385.4129
90 | 2590023.0154 | 1220520.9076 | 2590031.9588 | 1220530.2885 | 2590032.7935 | 1220543.8727 | 2590030.4448 | 1220546.1729
91 | 2590023.0154 | 1220520.9076 | 2590008.2108 | 1220505.3788
92 | 2589983.8835 | 1220498.9295 | 2590002.8055 | 1220499.709 | 2590008.2108 | 1220505.3788

## bus_geodata
| x | y | coords
0 | 2590146.6494 | 1220677.8789
1 | 2590123.7737 | 1220693.402
2 | 2590191.1234 | 1220681.6981
3 | 2590083.7518 | 1220720.2885
4 | 2590328.1521 | 1220546.4245
5 | 2590094.496 | 1220737.1437
6 | 2590067.0602 | 1220703.3714
7 | 2590115.5674 | 1220770.2003
8 | 2590045.9156 | 1220681.9411
9 | 2590011.7658 | 1220376.9949
10 | 2589976.9 | 1220349.0996
11 | 2589774.713 | 1220657.6824
12 | 2589801.7429 | 1220724.7822
13 | 2589783.5369 | 1220729.6609
14 | 2589814.1491 | 1220739.5804
15 | 2589807.2007 | 1220722.3158
16 | 2589772.9089 | 1220729.8315
17 | 2589805.3668 | 1220741.646
18 | 2589836.8459 | 1220755.3702
19 | 2589749.0689 | 1220728.5312
20 | 2589895.6806 | 1220821.0985
21 | 2589898.6701 | 1220817.0355
22 | 2589849.437 | 1220830.4507
23 | 2589777.3826 | 1220794.6894
24 | 2589775.0578 | 1220844.8641
25 | 2589852.4695 | 1220770.6503
26 | 2589813.8283 | 1220834.9395
27 | 2589888.3192 | 1220805.9733
28 | 2589903.3386 | 1220821.1463
29 | 2589912.1577 | 1220835.2473
30 | 2589925.8337 | 1220846.9397
31 | 2589886.2659 | 1220803.6142
32 | 2589916.599 | 1220832.7231
33 | 2589928.5119 | 1220842.6437
34 | 2589977.497 | 1220867.7157
35 | 2589887.3325 | 1220915.8968
36 | 2589879.8201 | 1220918.7791
37 | 2589903.6025 | 1220911.0257
38 | 2589862.206 | 1220927.5512
39 | 2589931.8008 | 1220907.5046
40 | 2590002.889 | 1220903.0411
41 | 2590005.338 | 1220906.7502
42 | 2589998.0845 | 1220879.091
43 | 2589954.7569 | 1220805.3998
44 | 2589947.2608 | 1220851.5709
45 | 2589961.1877 | 1220798.7291
46 | 2589963.3736 | 1220938.6178
47 | 2589964.4462 | 1220795.349
48 | 2589955.9641 | 1220941.7379
49 | 2589965.1786 | 1220794.5892
50 | 2589973.907 | 1220785.535
51 | 2589981.1606 | 1220778.0108
52 | 2589997.8744 | 1220755.5481
53 | 2590115.8116 | 1220770.5834
54 | 2590115.9932 | 1220770.8683
55 | 2590116.1937 | 1220771.1827
56 | 2590116.2966 | 1220771.3441
57 | 2590123.1897 | 1220782.158
58 | 2590204.5074 | 1220777.2518
59 | 2590198.9676 | 1220780.6305
60 | 2590193.9048 | 1220783.7184
61 | 2590139.6185 | 1220816.8283
62 | 2590128.936 | 1220784.2941
63 | 2589917.3587 | 1220956.63
64 | 2589924.8237 | 1220953.9817
65 | 2589885.3907 | 1220965.4104
66 | 2589893.6932 | 1220985.1463
67 | 2589868.5425 | 1220967.8358
68 | 2589901.3995 | 1220997.9462
69 | 2589836.8531 | 1220972.3977
70 | 2589918.4513 | 1221021.2186
71 | 2589833.9297 | 1220985.9911
72 | 2589868.5273 | 1221027.9939
73 | 2589889.2579 | 1221025.8407
74 | 2589897.3605 | 1221024.9992
75 | 2589919.5339 | 1221022.6961
76 | 2590035.8444 | 1220665.9822
77 | 2590051.2004 | 1220590.2461
78 | 2589989.5626 | 1220595.4977
79 | 2589941.5611 | 1220667.0519
80 | 2590092.5992 | 1220621.9059
81 | 2590005.3319 | 1220570.7679
82 | 2589951.3865 | 1220515.1661
83 | 2589963.0182 | 1220394.5239
84 | 2589961.8392 | 1220398.3817
85 | 2589954.9094 | 1220426.7816
86 | 2589945.4356 | 1220471.5154
87 | 2589933.7221 | 1220385.4129
88 | 2589922.9707 | 1220387.0665
89 | 2589868.033 | 1220785.7722
90 | 2590030.4448 | 1220546.1729
91 | 2590023.0154 | 1220520.9076
92 | 2590008.2108 | 1220505.3788
93 | 2589983.8835 | 1220498.9295
94 | 2590045.9156 | 1220681.9411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1