## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_746-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_746-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_746-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_746-2_0_6_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_746-2_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_746-2_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_746-2_0_6_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_746-2_0_6_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_746-2_0_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_746-2_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_746-2_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_746-2_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_746-2_0_6_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_746-2_0_6_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_746-2_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_746-2_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_746-2_0_6_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_746-2_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_746-2_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_746-2_0_6_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_746-2_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_746-2_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_746-2_0_6_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_746-2_0_6_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_746-2_0_6_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_746-2_0_6_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_746-2_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_746-2_0_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_746-2_0_6_node_94 | 0.4 | n |  | TRUE
29 | bus_LV_746-2_0_6_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_746-2_0_6_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_746-2_0_6_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_746-2_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_746-2_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_746-2_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_746-2_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_746-2_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_746-2_0_6_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_746-2_0_6_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_746-2_0_6_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_746-2_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_746-2_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_746-2_0_6_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_746-2_0_6_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_746-2_0_6_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_746-2_0_6_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_746-2_0_6_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_746-2_0_6_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_746-2_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_746-2_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_746-2_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_746-2_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_746-2_0_6_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_746-2_0_6_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_746-2_0_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_746-2_0_6_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_746-2_0_6_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_746-2_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_746-2_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_746-2_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_746-2_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_746-2_0_6_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_746-2_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_746-2_0_6_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_746-2_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_746-2_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_746-2_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_746-2_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_746-2_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_746-2_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_746-2_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_746-2_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_746-2_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_746-2_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_746-2_0_6_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_746-2_0_6_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_746-2_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_746-2_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_746-2_0_6_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_746-2_0_6_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_746-2_0_6_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_746-2_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_746-2_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_746-2_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_746-2_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_746-2_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_746-2_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_746-2_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_746-2_0_6_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_746-2_0_6_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_746-2_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_746-2_0_6_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_746-2_0_6_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_746-2_0_6_node_100 | 0.4 | n |  | TRUE
94 | bus_MV_416_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_746-2_0_6_load_0 | 0 | 0.0029153 | 0.00073065 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_746-2_0_6_load_2 | 2 | 0.0039319 | 0.00098543 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_746-2_0_6_load_8 | 3 | 0.0047741 | 0.0011965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_746-2_0_6_load_6 | 4 | 0.007376 | 0.0018486 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_746-2_0_6_load_12 | 5 | 0.0046873 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_746-2_0_6_load_14 | 7 | 0.0021434 | 0.0005372 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_746-2_0_6_load_15 | 8 | 0.0024625 | 0.00061717 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_746-2_0_6_load_7 | 9 | 0.0038294 | 0.00095974 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_746-2_0_6_load_9 | 10 | 0.002414 | 0.00060501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_746-2_0_6_load_10 | 11 | 0.0021305 | 0.00053395 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_746-2_0_6_load_16 | 13 | 0.0017298 | 0.00043353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_746-2_0_6_load_22 | 16 | 0.0017974 | 0.00045048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_746-2_0_6_load_17 | 17 | 0.0021992 | 0.00055117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_746-2_0_6_load_18 | 18 | 0.0023413 | 0.00058679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_746-2_0_6_load_33 | 19 | 0.017624 | 0.004417 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_746-2_0_6_load_19 | 20 | 0.0041706 | 0.0010452 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_746-2_0_6_load_21 | 21 | 0.0027955 | 0.00070062 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_746-2_0_6_load_30 | 23 | 0.048942 | 0.012266 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_746-2_0_6_load_31 | 24 | 0.047213 | 0.011833 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_746-2_0_6_load_32 | 25 | 0.037155 | 0.0093119 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_746-2_0_6_load_35 | 27 | 0.0084538 | 0.0021187 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_746-2_0_6_load_94 | 28 | 0.012948 | 0.003245 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_746-2_0_6_load_97 | 30 | 0.024132 | 0.006048 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_746-2_0_6_load_24 | 32 | 0.0017245 | 0.00043219 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_746-2_0_6_load_25 | 33 | 0.0017779 | 0.00044558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_746-2_0_6_load_27 | 34 | 0.0020726 | 0.00051944 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_746-2_0_6_load_28 | 35 | 0.0032731 | 0.00082032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_746-2_0_6_load_29 | 36 | 0.00201 | 0.00050376 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_746-2_0_6_load_37 | 37 | 0.0027835 | 0.00069761 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_746-2_0_6_load_38 | 38 | 0.0029887 | 0.00074905 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_746-2_0_6_load_39 | 39 | 0.00097998 | 0.00024561 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_746-2_0_6_load_83 | 42 | 0.0010511 | 0.00026344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_746-2_0_6_load_80 | 43 | 0.0018913 | 0.00047401 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_746-2_0_6_load_93 | 44 | 0.0030239 | 0.00075787 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_746-2_0_6_load_84 | 45 | 0.0022848 | 0.00057262 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_746-2_0_6_load_42 | 48 | 0.0035846 | 0.00089838 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_746-2_0_6_load_43 | 49 | 0.0027165 | 0.00068082 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_746-2_0_6_load_44 | 50 | 0.0026914 | 0.00067454 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_746-2_0_6_load_45 | 51 | 0.0020532 | 0.00051458 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_746-2_0_6_load_46 | 52 | 0.0036471 | 0.00091405 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_746-2_0_6_load_72 | 53 | 0.0035423 | 0.00088779 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_746-2_0_6_load_86 | 54 | 0.003479 | 0.00087192 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_746-2_0_6_load_70 | 55 | 0.0021638 | 0.0005423 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_746-2_0_6_load_85 | 56 | 0.0042466 | 0.0010643 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_746-2_0_6_load_47 | 57 | 0.003535 | 0.00088596 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_746-2_0_6_load_48 | 58 | 0.0025558 | 0.00064055 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_746-2_0_6_load_49 | 59 | 0.0016239 | 0.000407 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_746-2_0_6_load_50 | 60 | 0.0025504 | 0.0006392 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_746-2_0_6_load_51 | 61 | 0.0017565 | 0.00044023 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_746-2_0_6_load_52 | 62 | 0.002429 | 0.00060877 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_746-2_0_6_load_74 | 63 | 0.0020663 | 0.00051786 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_746-2_0_6_load_54 | 65 | 0.002595 | 0.00065037 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_746-2_0_6_load_55 | 66 | 0.0030633 | 0.00076773 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_746-2_0_6_load_66 | 68 | 0.0017435 | 0.00043696 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_746-2_0_6_load_58 | 69 | 0.0040904 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_746-2_0_6_load_65 | 70 | 0.0053647 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_746-2_0_6_load_56 | 71 | 0.0027224 | 0.00068231 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_746-2_0_6_load_57 | 72 | 0.0053413 | 0.0013387 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_746-2_0_6_load_59 | 73 | 0.0031822 | 0.00079754 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_746-2_0_6_load_89 | 74 | 0.0035414 | 0.00088757 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_746-2_0_6_load_90 | 75 | 0.0043438 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_746-2_0_6_load_67 | 76 | 0.0021177 | 0.00053076 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_746-2_0_6_load_61 | 77 | 0.0024355 | 0.00061039 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_746-2_0_6_load_62 | 78 | 0.0033511 | 0.00083987 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_746-2_0_6_load_64 | 80 | 0.0068358 | 0.0017132 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_746-2_0_6_load_81 | 82 | 0.0023445 | 0.00058759 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_746-2_0_6_load_73 | 83 | 0.0030332 | 0.00076019 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_746-2_0_6_load_71 | 85 | 0.0029364 | 0.00073594 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_746-2_0_6_load_76 | 86 | 0.01664 | 0.0041703 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_746-2_0_6_load_69 | 88 | 0.002559 | 0.00064134 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_746-2_0_6_load_88 | 90 | 0.0026944 | 0.00067529 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_746-2_0_6_load_91 | 91 | 0.0027833 | 0.00069755 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_746-2_0_6_load_99 | 92 | 0.059867 | 0.015004 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_746-2_0_6_load_100 | 93 | 0.037954 | 0.0095121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_746-2_0_6_line_0 |  | 0 | 1 | 0.021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_746-2_0_6_line_1 |  | 1 | 2 | 0.025412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_746-2_0_6_line_2 |  | 2 | 3 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_746-2_0_6_line_3 |  | 3 | 4 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_746-2_0_6_line_4 |  | 4 | 9 | 0.0039277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_746-2_0_6_line_5 |  | 5 | 6 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_746-2_0_6_line_6 |  | 6 | 12 | 0.008157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_746-2_0_6_line_7 |  | 6 | 11 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_746-2_0_6_line_8 |  | 7 | 8 | 0.036267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_746-2_0_6_line_9 |  | 8 | 13 | 0.025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_746-2_0_6_line_10 |  | 9 | 10 | 0.01504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_746-2_0_6_line_11 |  | 10 | 11 | 0.018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_746-2_0_6_line_12 |  | 12 | 13 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_746-2_0_6_line_13 |  | 12 | 14 | 0.008888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_746-2_0_6_line_14 |  | 14 | 15 | 0.021073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_746-2_0_6_line_15 |  | 14 | 16 | 0.02618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_746-2_0_6_line_16 |  | 15 | 32 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_746-2_0_6_line_17 |  | 16 | 20 | 0.034153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_746-2_0_6_line_18 |  | 17 | 18 | 0.0097047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_746-2_0_6_line_19 |  | 17 | 19 | 0.18143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_746-2_0_6_line_20 |  | 18 | 20 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_746-2_0_6_line_21 |  | 19 | 27 | 0.009347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_746-2_0_6_line_22 |  | 19 | 24 | 0.021983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_746-2_0_6_line_23 |  | 21 | 22 | 0.048288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_746-2_0_6_line_24 |  | 22 | 26 | 0.014607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_746-2_0_6_line_25 |  | 23 | 24 | 0.032447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_746-2_0_6_line_26 |  | 23 | 25 | 0.11206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_746-2_0_6_line_27 |  | 25 | 26 | 0.054861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_746-2_0_6_line_28 |  | 26 | 28 | 0.057156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_746-2_0_6_line_29 |  | 27 | 29 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_746-2_0_6_line_30 |  | 29 | 30 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_746-2_0_6_line_31 |  | 30 | 31 | 0.024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_746-2_0_6_line_32 |  | 31 | 92 | 0.047293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_746-2_0_6_line_33 |  | 32 | 33 | 0.018425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_746-2_0_6_line_34 |  | 33 | 34 | 0.013521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_746-2_0_6_line_35 |  | 34 | 35 | 0.0088743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_746-2_0_6_line_36 |  | 35 | 36 | 0.0093146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_746-2_0_6_line_37 |  | 37 | 38 | 0.02403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_746-2_0_6_line_38 |  | 37 | 39 | 0.027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_746-2_0_6_line_39 |  | 38 | 40 | 0.022245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_746-2_0_6_line_40 |  | 39 | 41 | 0.00067158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_746-2_0_6_line_41 |  | 40 | 42 | 0.0004513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_746-2_0_6_line_42 |  | 41 | 43 | 0.0094981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_746-2_0_6_line_43 |  | 41 | 44 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_746-2_0_6_line_44 |  | 43 | 47 | 0.015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_746-2_0_6_line_45 |  | 45 | 46 | 0.022064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_746-2_0_6_line_46 |  | 46 | 63 | 0.016481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_746-2_0_6_line_47 |  | 47 | 70 | 0.029506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_746-2_0_6_line_48 |  | 47 | 66 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_746-2_0_6_line_49 |  | 48 | 49 | 0.002755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_746-2_0_6_line_50 |  | 48 | 50 | 0.030894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_746-2_0_6_line_51 |  | 49 | 51 | 0.019689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_746-2_0_6_line_52 |  | 50 | 52 | 0.0079291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_746-2_0_6_line_53 |  | 51 | 53 | 0.0011052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_746-2_0_6_line_54 |  | 52 | 54 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_746-2_0_6_line_55 |  | 53 | 55 | 0.019484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_746-2_0_6_line_56 |  | 54 | 56 | 0.0056729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_746-2_0_6_line_57 |  | 55 | 88 | 0.0070365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_746-2_0_6_line_58 |  | 57 | 58 | 0.0030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_746-2_0_6_line_59 |  | 57 | 59 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_746-2_0_6_line_60 |  | 58 | 60 | 0.017135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_746-2_0_6_line_61 |  | 59 | 61 | 0.0054842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_746-2_0_6_line_62 |  | 60 | 62 | 0.018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_746-2_0_6_line_63 |  | 61 | 63 | 0.024523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_746-2_0_6_line_64 |  | 62 | 64 | 0.012652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_746-2_0_6_line_65 |  | 64 | 65 | 0.041481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_746-2_0_6_line_66 |  | 64 | 66 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_746-2_0_6_line_67 |  | 65 | 67 | 0.020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_746-2_0_6_line_68 |  | 67 | 68 | 0.02167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_746-2_0_6_line_69 |  | 67 | 69 | 0.032428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_746-2_0_6_line_70 |  | 68 | 76 | 0.035829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_746-2_0_6_line_71 |  | 69 | 71 | 0.020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_746-2_0_6_line_72 |  | 70 | 79 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_746-2_0_6_line_73 |  | 71 | 72 | 0.0079984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_746-2_0_6_line_74 |  | 72 | 73 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_746-2_0_6_line_75 |  | 73 | 74 | 0.010582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_746-2_0_6_line_76 |  | 74 | 75 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_746-2_0_6_line_77 |  | 75 | 91 | 0.0095764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_746-2_0_6_line_78 |  | 76 | 81 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_746-2_0_6_line_79 |  | 77 | 78 | 0.0037342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_746-2_0_6_line_80 |  | 77 | 79 | 0.035657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_746-2_0_6_line_81 |  | 78 | 80 | 0.012139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_746-2_0_6_line_82 |  | 81 | 82 | 0.041535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_746-2_0_6_line_83 |  | 81 | 83 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_746-2_0_6_line_84 |  | 82 | 84 | 0.032092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_746-2_0_6_line_85 |  | 83 | 85 | 0.020403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_746-2_0_6_line_86 |  | 84 | 87 | 0.127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_746-2_0_6_line_87 |  | 85 | 88 | 0.0164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_746-2_0_6_line_88 |  | 86 | 87 | 0.053157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_746-2_0_6_line_89 |  | 87 | 92 | 0.14985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_746-2_0_6_line_90 |  | 89 | 90 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_746-2_0_6_line_91 |  | 89 | 91 | 0.031156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_746-2_0_6_line_92 |  | 92 | 93 | 0.11051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_746-2_0_6_trafo_98 | 0.63 MVA 20/0.4 kV | 94 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2591016.6729 | 1222619.1924 | 2591038.0107 | 1222616.4398
1 | 2591016.6729 | 1222619.1924 | 2591030.773 | 1222625.4412 | 2591040.2353 | 1222628.6442
2 | 2591064.4431 | 1222636.3397 | 2591060.5925 | 1222635.5351 | 2591040.2353 | 1222628.6442
3 | 2591088.0619 | 1222641.2747 | 2591088.0619 | 1222641.2747 | 2591064.4431 | 1222636.3397
4 | 2591088.0619 | 1222641.2747 | 2591091.7546 | 1222642.613
5 | 2591126.5669 | 1222678.138 | 2591129.9227 | 1222675.6315 | 2591133.0543 | 1222675.3155 | 2591133.8418 | 1222674.525 | 2591142.6463 | 1222660.8529
6 | 2591130.5363 | 1222685.2695 | 2591126.5669 | 1222678.138
7 | 2591126.5669 | 1222678.138 | 2591119.224 | 1222666.7758 | 2591116.764 | 1222663.1685
8 | 2591169.5784 | 1222618.2371 | 2591167.3148 | 1222622.8893 | 2591157.2792 | 1222641.6263 | 2591152.3757 | 1222650.1555
9 | 2591152.3757 | 1222650.1555 | 2591145.5021 | 1222662.1114 | 2591139.3231 | 1222671.6728
10 | 2591091.7546 | 1222642.613 | 2591099.7624 | 1222645.5151 | 2591104.9584 | 1222649.4571
11 | 2591116.764 | 1222663.1685 | 2591112.8015 | 1222657.3578 | 2591107.4991 | 1222651.3846 | 2591104.9584 | 1222649.4571
12 | 2591130.5363 | 1222685.2695 | 2591139.3231 | 1222671.6728
13 | 2591130.5363 | 1222685.2695 | 2591126.2253 | 1222693.0472
14 | 2591126.2253 | 1222693.0472 | 2591121.0057 | 1222701.749 | 2591115.3776 | 1222711.1296
15 | 2591126.2253 | 1222693.0472 | 2591149.5367 | 1222704.9618
16 | 2591115.3776 | 1222711.1296 | 2591105.2411 | 1222708.1746
17 | 2591149.5367 | 1222704.9618 | 2591179.9474 | 1222720.5049
18 | 2591210.1624 | 1222735.9479 | 2591201.521 | 1222731.5313
19 | 2591210.1624 | 1222735.9479 | 2591178.0317 | 1222914.5082
20 | 2591179.9474 | 1222720.5049 | 2591201.521 | 1222731.5313
21 | 2591178.0317 | 1222914.5082 | 2591168.8028 | 1222913.0277
22 | 2591199.7377 | 1222917.9904 | 2591178.0317 | 1222914.5082
23 | 2591408.3676 | 1222952.8247 | 2591413.9934 | 1222946.902 | 2591417.2924 | 1222941.9054 | 2591427.9878 | 1222923.0122 | 2591434.933 | 1222912.7145
24 | 2591394.8692 | 1222957.9918 | 2591402.6472 | 1222956.2684 | 2591408.3676 | 1222952.8247
25 | 2591231.7455 | 1222923.2995 | 2591223.7658 | 1222921.8451 | 2591199.7377 | 1222917.9904
26 | 2591231.7455 | 1222923.2995 | 2591259.6448 | 1222928.3845 | 2591292.5592 | 1222935.2065 | 2591308.3609 | 1222939.0298 | 2591312.5105 | 1222940.0354 | 2591341.3213 | 1222946.6408
27 | 2591394.8692 | 1222957.9918 | 2591386.9288 | 1222957.5698 | 2591376.8931 | 1222955.5389 | 2591351.1531 | 1222948.8949 | 2591341.3213 | 1222946.6408
28 | 2591394.8692 | 1222957.9918 | 2591393.7677 | 1222961.8401 | 2591391.033 | 1222969.0149 | 2591385.4947 | 1222988.123 | 2591378.2125 | 1223012.6445
29 | 2591146.5936 | 1222909.2976 | 2591153.7998 | 1222910.6209 | 2591168.8028 | 1222913.0277
30 | 2591146.5936 | 1222909.2976 | 2591141.5624 | 1222927.5969
31 | 2591131.9659 | 1222950.0876 | 2591138.0559 | 1222940.3506 | 2591141.5624 | 1222927.5969
32 | 2591131.9659 | 1222950.0876 | 2591130.3663 | 1222965.499 | 2591121.2297 | 1222976.4635 | 2591113.5737 | 1222992.2296
33 | 2591087.5525 | 1222703.018 | 2591105.2411 | 1222708.1746
34 | 2591087.5525 | 1222703.018 | 2591074.5721 | 1222699.2339
35 | 2591074.5721 | 1222699.2339 | 2591066.0525 | 1222696.7503
36 | 2591066.0525 | 1222696.7503 | 2591057.1101 | 1222694.1434
37 | 2590668.3639 | 1223076.2258 | 2590645.8835 | 1223067.7373
38 | 2590668.3639 | 1223076.2258 | 2590694.1678 | 1223085.9692
39 | 2590625.0725 | 1223059.8792 | 2590645.8835 | 1223067.7373
40 | 2590694.7961 | 1223086.2064 | 2590694.1678 | 1223085.9692
41 | 2590624.6483 | 1223059.7252 | 2590625.0725 | 1223059.8792
42 | 2590694.7961 | 1223086.2064 | 2590702.3381 | 1223088.9517 | 2590703.7692 | 1223089.2964
43 | 2590694.7961 | 1223086.2064 | 2590674.5841 | 1223105.9832
44 | 2590719.3154 | 1223088.0466 | 2590714.8967 | 1223089.4989 | 2590710.5754 | 1223090.2061 | 2590706.5104 | 1223089.9568 | 2590703.7692 | 1223089.2964
45 | 2590651.8153 | 1223000.4467 | 2590643.4775 | 1223020.8747
46 | 2590651.8153 | 1223000.4467 | 2590666.6667 | 1223007.592
47 | 2590719.3154 | 1223088.0466 | 2590729.8686 | 1223096.0792 | 2590744.9334 | 1223102.1556
48 | 2590719.3154 | 1223088.0466 | 2590724.2853 | 1223085.1038 | 2590730.9351 | 1223079.8458 | 2590739.4478 | 1223071.9188
49 | 2590782.0239 | 1222913.0318 | 2590784.5225 | 1222914.1924
50 | 2590782.0239 | 1222913.0318 | 2590754.0053 | 1222900.0175
51 | 2590784.5225 | 1222914.1924 | 2590802.3794 | 1222922.4868
52 | 2590754.0053 | 1222900.0175 | 2590746.8141 | 1222896.6773
53 | 2590803.3817 | 1222922.9523 | 2590802.3794 | 1222922.4868
54 | 2590746.8141 | 1222896.6773 | 2590730.4791 | 1222889.0899
55 | 2590803.3817 | 1222922.9523 | 2590821.0527 | 1222931.1603
56 | 2590725.3342 | 1222886.7001 | 2590730.4791 | 1222889.0899
57 | 2590827.4344 | 1222934.1245 | 2590821.0527 | 1222931.1603
58 | 2590712.2926 | 1223029.5434 | 2590715.0742 | 1223030.8817
59 | 2590712.2926 | 1223029.5434 | 2590693.7069 | 1223020.6015
60 | 2590715.0742 | 1223030.8817 | 2590728.9273 | 1223037.5467 | 2590730.3594 | 1223038.5734
61 | 2590688.765 | 1223018.2239 | 2590693.7069 | 1223020.6015
62 | 2590745.4443 | 1223049.3885 | 2590730.3594 | 1223038.5734
63 | 2590688.765 | 1223018.2239 | 2590666.6667 | 1223007.592
64 | 2590755.7263 | 1223056.7602 | 2590745.4443 | 1223049.3885
65 | 2590755.7263 | 1223056.7602 | 2590772.1066 | 1223042.6042 | 2590786.5813 | 1223029.0479
66 | 2590755.7263 | 1223056.7602 | 2590739.4478 | 1223071.9188
67 | 2590801.7666 | 1223014.7306 | 2590788.7653 | 1223027.0024 | 2590786.5813 | 1223029.0479
68 | 2590801.7666 | 1223014.7306 | 2590818.2307 | 1223000.6412
69 | 2590801.7666 | 1223014.7306 | 2590778.6838 | 1222991.9537
70 | 2590818.2307 | 1223000.6412 | 2590829.3185 | 1222991.5298 | 2590838.8556 | 1222984.9445 | 2590847.4251 | 1222980.0111
71 | 2590760.2223 | 1222982.0465 | 2590778.526 | 1222991.798 | 2590778.6838 | 1222991.9537
72 | 2590756.1988 | 1223106.6996 | 2590744.9334 | 1223102.1556
73 | 2590760.2223 | 1222982.0465 | 2590753.1632 | 1222978.2857
74 | 2590736.2606 | 1222970.4439 | 2590752.2886 | 1222977.8198 | 2590753.1632 | 1222978.2857
75 | 2590726.6477 | 1222966.0202 | 2590736.2606 | 1222970.4439
76 | 2590726.6477 | 1222966.0202 | 2590712.4386 | 1222959.4814
77 | 2590712.4386 | 1222959.4814 | 2590703.7392 | 1222955.478
78 | 2590861.6999 | 1222972.4907 | 2590850.1446 | 1222978.4454 | 2590847.4251 | 1222980.0111
79 | 2590778.4721 | 1223078.8545 | 2590780.8047 | 1223075.9384
80 | 2590756.1988 | 1223106.6996 | 2590778.4721 | 1223078.8545
81 | 2590788.3871 | 1223066.4592 | 2590780.8047 | 1223075.9384
82 | 2590861.6999 | 1222972.4907 | 2590862.6472 | 1222972.0446 | 2590883.4033 | 1222962.6181 | 2590899.6212 | 1222955.5492
83 | 2590861.6999 | 1222972.4907 | 2590854.9145 | 1222956.1011
84 | 2590929.0395 | 1222942.7251 | 2590915.3229 | 1222948.7053 | 2590899.6212 | 1222955.5492
85 | 2590854.9145 | 1222956.1011 | 2590853.1443 | 1222951.8253 | 2590849.2741 | 1222945.2275 | 2590842.2674 | 1222941.1113
86 | 2590929.0395 | 1222942.7251 | 2590979.5484 | 1223059.2487
87 | 2590827.4344 | 1222934.1245 | 2590841.4789 | 1222940.648 | 2590842.2674 | 1222941.1113
88 | 2590979.5484 | 1223059.2487 | 2590931.9167 | 1223082.8465
89 | 2590979.5484 | 1223059.2487 | 2591113.5737 | 1222992.2296
90 | 2590675.4366 | 1222942.4535 | 2590679.9566 | 1222929.2766
91 | 2590675.4366 | 1222942.4535 | 2590703.7392 | 1222955.478
92 | 2591159.8928 | 1223071.4548 | 2591146.9894 | 1223066.8551 | 2591122.7787 | 1223058.3754 | 2591109.9359 | 1223040.3509 | 2591108.0803 | 1223026.7681 | 2591110.6837 | 1222998.1809 | 2591113.5737 | 1222992.2296

## bus_geodata
| x | y | coords
0 | 2591038.0107 | 1222616.4398
1 | 2591016.6729 | 1222619.1924
2 | 2591040.2353 | 1222628.6442
3 | 2591064.4431 | 1222636.3397
4 | 2591088.0619 | 1222641.2747
5 | 2591142.6463 | 1222660.8529
6 | 2591126.5669 | 1222678.138
7 | 2591169.5784 | 1222618.2371
8 | 2591152.3757 | 1222650.1555
9 | 2591091.7546 | 1222642.613
10 | 2591104.9584 | 1222649.4571
11 | 2591116.764 | 1222663.1685
12 | 2591130.5363 | 1222685.2695
13 | 2591139.3231 | 1222671.6728
14 | 2591126.2253 | 1222693.0472
15 | 2591115.3776 | 1222711.1296
16 | 2591149.5367 | 1222704.9618
17 | 2591210.1624 | 1222735.9479
18 | 2591201.521 | 1222731.5313
19 | 2591178.0317 | 1222914.5082
20 | 2591179.9474 | 1222720.5049
21 | 2591434.933 | 1222912.7145
22 | 2591408.3676 | 1222952.8247
23 | 2591231.7455 | 1222923.2995
24 | 2591199.7377 | 1222917.9904
25 | 2591341.3213 | 1222946.6408
26 | 2591394.8692 | 1222957.9918
27 | 2591168.8028 | 1222913.0277
28 | 2591378.2125 | 1223012.6445
29 | 2591146.5936 | 1222909.2976
30 | 2591141.5624 | 1222927.5969
31 | 2591131.9659 | 1222950.0876
32 | 2591105.2411 | 1222708.1746
33 | 2591087.5525 | 1222703.018
34 | 2591074.5721 | 1222699.2339
35 | 2591066.0525 | 1222696.7503
36 | 2591057.1101 | 1222694.1434
37 | 2590668.3639 | 1223076.2258
38 | 2590645.8835 | 1223067.7373
39 | 2590694.1678 | 1223085.9692
40 | 2590625.0725 | 1223059.8792
41 | 2590694.7961 | 1223086.2064
42 | 2590624.6483 | 1223059.7252
43 | 2590703.7692 | 1223089.2964
44 | 2590674.5841 | 1223105.9832
45 | 2590643.4775 | 1223020.8747
46 | 2590651.8153 | 1223000.4467
47 | 2590719.3154 | 1223088.0466
48 | 2590782.0239 | 1222913.0318
49 | 2590784.5225 | 1222914.1924
50 | 2590754.0053 | 1222900.0175
51 | 2590802.3794 | 1222922.4868
52 | 2590746.8141 | 1222896.6773
53 | 2590803.3817 | 1222922.9523
54 | 2590730.4791 | 1222889.0899
55 | 2590821.0527 | 1222931.1603
56 | 2590725.3342 | 1222886.7001
57 | 2590712.2926 | 1223029.5434
58 | 2590715.0742 | 1223030.8817
59 | 2590693.7069 | 1223020.6015
60 | 2590730.3594 | 1223038.5734
61 | 2590688.765 | 1223018.2239
62 | 2590745.4443 | 1223049.3885
63 | 2590666.6667 | 1223007.592
64 | 2590755.7263 | 1223056.7602
65 | 2590786.5813 | 1223029.0479
66 | 2590739.4478 | 1223071.9188
67 | 2590801.7666 | 1223014.7306
68 | 2590818.2307 | 1223000.6412
69 | 2590778.6838 | 1222991.9537
70 | 2590744.9334 | 1223102.1556
71 | 2590760.2223 | 1222982.0465
72 | 2590753.1632 | 1222978.2857
73 | 2590736.2606 | 1222970.4439
74 | 2590726.6476 | 1222966.0202
75 | 2590712.4386 | 1222959.4814
76 | 2590847.4251 | 1222980.0111
77 | 2590778.4721 | 1223078.8545
78 | 2590780.8047 | 1223075.9384
79 | 2590756.1988 | 1223106.6996
80 | 2590788.3871 | 1223066.4592
81 | 2590861.6999 | 1222972.4907
82 | 2590899.6212 | 1222955.5492
83 | 2590854.9145 | 1222956.1011
84 | 2590929.0395 | 1222942.7251
85 | 2590842.2674 | 1222941.1113
86 | 2590931.9167 | 1223082.8465
87 | 2590979.5484 | 1223059.2487
88 | 2590827.4344 | 1222934.1245
89 | 2590675.4366 | 1222942.4535
90 | 2590679.9566 | 1222929.2765
91 | 2590703.7392 | 1222955.478
92 | 2591113.5737 | 1222992.2296
93 | 2591159.8928 | 1223071.4548
94 | 2591146.5936 | 1222909.2976

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1