## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_750-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_750-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_750-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_750-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_750-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_750-1_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_750-1_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_750-1_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_750-1_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_750-1_0_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_750-1_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_750-1_0_2_node_206 | 0.4 | n |  | TRUE
12 | bus_LV_750-1_0_2_node_205 | 0.4 | n |  | TRUE
13 | bus_LV_750-1_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_750-1_0_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_750-1_0_2_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_750-1_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_750-1_0_2_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_750-1_0_2_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_750-1_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_750-1_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_750-1_0_2_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_750-1_0_2_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_750-1_0_2_node_211 | 0.4 | n |  | TRUE
24 | bus_LV_750-1_0_2_node_143 | 0.4 | n |  | TRUE
25 | bus_LV_750-1_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_750-1_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_750-1_0_2_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_750-1_0_2_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_750-1_0_2_node_190 | 0.4 | n |  | TRUE
30 | bus_LV_750-1_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_750-1_0_2_node_177 | 0.4 | n |  | TRUE
32 | bus_LV_750-1_0_2_node_176 | 0.4 | n |  | TRUE
33 | bus_LV_750-1_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_750-1_0_2_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_750-1_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_750-1_0_2_node_212 | 0.4 | n |  | TRUE
37 | bus_LV_750-1_0_2_node_193 | 0.4 | n |  | TRUE
38 | bus_LV_750-1_0_2_node_192 | 0.4 | n |  | TRUE
39 | bus_LV_750-1_0_2_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_750-1_0_2_node_153 | 0.4 | n |  | TRUE
41 | bus_LV_750-1_0_2_node_151 | 0.4 | n |  | TRUE
42 | bus_LV_750-1_0_2_node_144 | 0.4 | n |  | TRUE
43 | bus_LV_750-1_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_750-1_0_2_node_180 | 0.4 | n |  | TRUE
45 | bus_LV_750-1_0_2_node_175 | 0.4 | n |  | TRUE
46 | bus_LV_750-1_0_2_node_209 | 0.4 | n |  | TRUE
47 | bus_LV_750-1_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_750-1_0_2_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_750-1_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_750-1_0_2_node_149 | 0.4 | n |  | TRUE
51 | bus_LV_750-1_0_2_node_148 | 0.4 | n |  | TRUE
52 | bus_LV_750-1_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_750-1_0_2_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_750-1_0_2_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_750-1_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_750-1_0_2_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_750-1_0_2_node_195 | 0.4 | n |  | TRUE
58 | bus_LV_750-1_0_2_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_750-1_0_2_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_750-1_0_2_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_750-1_0_2_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_750-1_0_2_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_750-1_0_2_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_750-1_0_2_node_145 | 0.4 | n |  | TRUE
65 | bus_LV_750-1_0_2_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_750-1_0_2_node_196 | 0.4 | n |  | TRUE
67 | bus_LV_750-1_0_2_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_750-1_0_2_node_207 | 0.4 | n |  | TRUE
69 | bus_LV_750-1_0_2_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_750-1_0_2_node_208 | 0.4 | n |  | TRUE
71 | bus_LV_750-1_0_2_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_750-1_0_2_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_750-1_0_2_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_750-1_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_750-1_0_2_node_213 | 0.4 | n |  | TRUE
76 | bus_LV_750-1_0_2_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_750-1_0_2_node_147 | 0.4 | n |  | TRUE
78 | bus_LV_750-1_0_2_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_750-1_0_2_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_750-1_0_2_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_750-1_0_2_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_750-1_0_2_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_750-1_0_2_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_750-1_0_2_node_146 | 0.4 | n |  | TRUE
85 | bus_LV_750-1_0_2_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_750-1_0_2_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_750-1_0_2_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_750-1_0_2_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_750-1_0_2_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_750-1_0_2_node_210 | 0.4 | n |  | TRUE
91 | bus_LV_750-1_0_2_node_167 | 0.4 | n |  | TRUE
92 | bus_LV_750-1_0_2_node_152 | 0.4 | n |  | TRUE
93 | bus_LV_750-1_0_2_node_165 | 0.4 | n |  | TRUE
94 | bus_LV_750-1_0_2_node_164 | 0.4 | n |  | TRUE
95 | bus_LV_750-1_0_2_node_166 | 0.4 | n |  | TRUE
96 | bus_LV_750-1_0_2_node_168 | 0.4 | n |  | TRUE
97 | bus_LV_750-1_0_2_node_169 | 0.4 | n |  | TRUE
98 | bus_LV_750-1_0_2_node_170 | 0.4 | n |  | TRUE
99 | bus_LV_750-1_0_2_node_171 | 0.4 | n |  | TRUE
100 | bus_LV_750-1_0_2_node_172 | 0.4 | n |  | TRUE
101 | bus_LV_750-1_0_2_node_173 | 0.4 | n |  | TRUE
102 | bus_LV_750-1_0_2_node_174 | 0.4 | n |  | TRUE
103 | bus_LV_750-1_0_2_node_178 | 0.4 | n |  | TRUE
104 | bus_LV_750-1_0_2_node_179 | 0.4 | n |  | TRUE
105 | bus_LV_750-1_0_2_node_181 | 0.4 | n |  | TRUE
106 | bus_LV_750-1_0_2_node_183 | 0.4 | n |  | TRUE
107 | bus_LV_750-1_0_2_node_184 | 0.4 | n |  | TRUE
108 | bus_LV_750-1_0_2_node_185 | 0.4 | n |  | TRUE
109 | bus_LV_750-1_0_2_node_186 | 0.4 | n |  | TRUE
110 | bus_LV_750-1_0_2_node_187 | 0.4 | n |  | TRUE
111 | bus_LV_750-1_0_2_node_188 | 0.4 | n |  | TRUE
112 | bus_LV_750-1_0_2_node_189 | 0.4 | n |  | TRUE
113 | bus_LV_750-1_0_2_node_194 | 0.4 | n |  | TRUE
114 | bus_LV_750-1_0_2_node_191 | 0.4 | n |  | TRUE
115 | bus_MV_465_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_750-1_0_2_load_0 | 0 | 0.00083337 | 0.00020886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_750-1_0_2_load_1 | 1 | 0.0017894 | 0.00044846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_750-1_0_2_load_2 | 2 | 0.0014468 | 0.0003626 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_750-1_0_2_load_3 | 3 | 0.002577 | 0.00064587 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_750-1_0_2_load_4 | 4 | 0.00087188 | 0.00021851 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_750-1_0_2_load_5 | 5 | 0.0024146 | 0.00060516 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_750-1_0_2_load_8 | 6 | 0.0009419 | 0.00023606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_750-1_0_2_load_6 | 7 | 0.0025264 | 0.00063319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_750-1_0_2_load_7 | 8 | 0.00081305 | 0.00020377 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_750-1_0_2_load_205 | 12 | 0.00084348 | 0.0002114 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_750-1_0_2_load_67 | 15 | 0.0044969 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_750-1_0_2_load_76 | 18 | 0.003913 | 0.00098069 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_750-1_0_2_load_69 | 21 | 0.0021962 | 0.00055042 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_750-1_0_2_load_66 | 22 | 0.0024302 | 0.00060906 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_750-1_0_2_load_211 | 23 | 0.003179 | 0.00079672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_750-1_0_2_load_143 | 24 | 0.007695 | 0.0019286 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_750-1_0_2_load_190 | 29 | 0.0013789 | 0.00034558 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_750-1_0_2_load_177 | 31 | 0.00034854 | 8.7353e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_750-1_0_2_load_176 | 32 | 0.00066853 | 0.00016755 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_750-1_0_2_load_68 | 34 | 0.0026465 | 0.00066326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_750-1_0_2_load_41 | 35 | 0.002307 | 0.00057819 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_750-1_0_2_load_212 | 36 | 0.0014824 | 0.00037153 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_750-1_0_2_load_193 | 37 | 0.0019271 | 0.00048298 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_750-1_0_2_load_192 | 38 | 0.002506 | 0.00062806 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_750-1_0_2_load_153 | 40 | 0.0006956 | 0.00017433 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_750-1_0_2_load_151 | 41 | 0.0015789 | 0.0003957 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_750-1_0_2_load_144 | 42 | 0.002591 | 0.00064937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_750-1_0_2_load_180 | 44 | 0.00056342 | 0.00014121 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_750-1_0_2_load_175 | 45 | 0.00043773 | 0.0001097 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_750-1_0_2_load_39 | 47 | 0.0026486 | 0.00066381 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_750-1_0_2_load_50 | 48 | 0.0019463 | 0.00048778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_750-1_0_2_load_48 | 49 | 0.0016933 | 0.00042439 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_750-1_0_2_load_149 | 50 | 0.0028603 | 0.00071685 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_750-1_0_2_load_148 | 51 | 0.0015108 | 0.00037864 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_750-1_0_2_load_34 | 52 | 0.0013809 | 0.00034609 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_750-1_0_2_load_35 | 53 | 0.0041777 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_750-1_0_2_load_42 | 54 | 0.0041914 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_750-1_0_2_load_45 | 56 | 0.006733 | 0.0016874 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_750-1_0_2_load_195 | 57 | 0.0016587 | 0.00041572 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_750-1_0_2_load_37 | 58 | 0.0023039 | 0.00057742 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_750-1_0_2_load_38 | 59 | 0.0026396 | 0.00066155 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_750-1_0_2_load_58 | 61 | 0.0022976 | 0.00057584 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_750-1_0_2_load_57 | 62 | 0.0019982 | 0.0005008 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_750-1_0_2_load_196 | 66 | 0.0016297 | 0.00040845 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_750-1_0_2_load_207 | 68 | 0.0022923 | 0.0005745 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_750-1_0_2_load_59 | 69 | 0.0019958 | 0.0005002 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_750-1_0_2_load_208 | 70 | 0.0026912 | 0.00067449 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_750-1_0_2_load_49 | 71 | 0.0023782 | 0.00059603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_750-1_0_2_load_71 | 74 | 0.0027443 | 0.00068778 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_750-1_0_2_load_213 | 75 | 0.0035723 | 0.00089531 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_750-1_0_2_load_147 | 77 | 0.0073379 | 0.0018391 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_750-1_0_2_load_52 | 79 | 0.0020129 | 0.00050448 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_750-1_0_2_load_53 | 80 | 0.001569 | 0.00039322 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_750-1_0_2_load_54 | 81 | 0.001569 | 0.00039322 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_750-1_0_2_load_55 | 82 | 0.0023056 | 0.00057783 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_750-1_0_2_load_61 | 86 | 0.0019948 | 0.00049995 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_750-1_0_2_load_62 | 87 | 0.0022954 | 0.00057527 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_750-1_0_2_load_63 | 88 | 0.0020062 | 0.0005028 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_750-1_0_2_load_65 | 89 | 0.0022919 | 0.0005744 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_750-1_0_2_load_210 | 90 | 0.0022816 | 0.00057183 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_750-1_0_2_load_167 | 91 | 0.0012915 | 0.00032368 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_750-1_0_2_load_152 | 92 | 0.0022629 | 0.00056715 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_750-1_0_2_load_164 | 94 | 0.00093916 | 0.00023538 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_750-1_0_2_load_166 | 95 | 0.00049638 | 0.0001244 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_750-1_0_2_load_168 | 96 | 0.00039364 | 9.8656e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_750-1_0_2_load_169 | 97 | 0.00045169 | 0.0001132 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_750-1_0_2_load_170 | 98 | 0.00050392 | 0.00012629 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_750-1_0_2_load_172 | 100 | 0.00078421 | 0.00019654 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_750-1_0_2_load_173 | 101 | 0.00047452 | 0.00011893 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_750-1_0_2_load_174 | 102 | 0.00044576 | 0.00011172 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_750-1_0_2_load_178 | 103 | 0.00067271 | 0.0001686 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_750-1_0_2_load_179 | 104 | 0.0012463 | 0.00031236 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_750-1_0_2_load_181 | 105 | 0.0037346 | 0.00093598 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_750-1_0_2_load_183 | 106 | 0.0019044 | 0.00047729 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_750-1_0_2_load_184 | 107 | 0.0018743 | 0.00046974 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_750-1_0_2_load_185 | 108 | 0.001914 | 0.0004797 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_750-1_0_2_load_186 | 109 | 0.0018749 | 0.00046988 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_750-1_0_2_load_187 | 110 | 0.001634 | 0.00040951 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_750-1_0_2_load_194 | 113 | 0.0041743 | 0.0010462 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_750-1_0_2_load_191 | 114 | 0.0018783 | 0.00047075 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_750-1_0_2_line_0 |  | 0 | 1 | 0.036511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_750-1_0_2_line_1 |  | 0 | 2 | 0.027486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_750-1_0_2_line_2 |  | 1 | 3 | 0.019786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_750-1_0_2_line_3 |  | 2 | 4 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_750-1_0_2_line_4 |  | 3 | 5 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_750-1_0_2_line_5 |  | 4 | 6 | 0.026803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_750-1_0_2_line_6 |  | 5 | 7 | 0.020069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_750-1_0_2_line_7 |  | 6 | 8 | 0.026469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_750-1_0_2_line_8 |  | 8 | 9 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_750-1_0_2_line_9 |  | 9 | 10 | 0.069356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_750-1_0_2_line_10 |  | 10 | 11 | 0.097125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_750-1_0_2_line_11 |  | 10 | 12 | 0.058015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_750-1_0_2_line_12 |  | 11 | 36 | 0.0231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_750-1_0_2_line_13 |  | 11 | 20 | 0.048611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_750-1_0_2_line_14 |  | 13 | 14 | 0.14851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_750-1_0_2_line_15 |  | 13 | 15 | 0.0025306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_750-1_0_2_line_16 |  | 14 | 24 | 0.010357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_750-1_0_2_line_17 |  | 15 | 25 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_750-1_0_2_line_18 |  | 16 | 17 | 0.051351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_750-1_0_2_line_19 |  | 16 | 18 | 0.011535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_750-1_0_2_line_20 |  | 17 | 22 | 0.014538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_750-1_0_2_line_21 |  | 17 | 19 | 0.11346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_750-1_0_2_line_22 |  | 18 | 27 | 0.024853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_750-1_0_2_line_23 |  | 19 | 20 | 0.03444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_750-1_0_2_line_24 |  | 19 | 21 | 0.00067815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_750-1_0_2_line_25 |  | 20 | 23 | 0.024468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_750-1_0_2_line_26 |  | 22 | 25 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_750-1_0_2_line_27 |  | 26 | 27 | 0.033317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_750-1_0_2_line_28 |  | 26 | 28 | 0.046964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_750-1_0_2_line_29 |  | 26 | 29 | 0.031562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_750-1_0_2_line_30 |  | 28 | 42 | 0.054035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_750-1_0_2_line_31 |  | 28 | 43 | 0.027286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_750-1_0_2_line_32 |  | 30 | 31 | 0.0051572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_750-1_0_2_line_33 |  | 30 | 32 | 0.0057971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_750-1_0_2_line_34 |  | 31 | 44 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_750-1_0_2_line_35 |  | 32 | 45 | 0.050117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_750-1_0_2_line_36 |  | 33 | 34 | 0.0097925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_750-1_0_2_line_37 |  | 33 | 35 | 0.02528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_750-1_0_2_line_38 |  | 34 | 46 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_750-1_0_2_line_39 |  | 35 | 47 | 0.024938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_750-1_0_2_line_40 |  | 37 | 38 | 0.0057218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_750-1_0_2_line_41 |  | 38 | 114 | 0.0063238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_750-1_0_2_line_42 |  | 39 | 40 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_750-1_0_2_line_43 |  | 39 | 41 | 0.03558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_750-1_0_2_line_44 |  | 40 | 91 | 0.035465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_750-1_0_2_line_45 |  | 41 | 84 | 0.011655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_750-1_0_2_line_46 |  | 42 | 64 | 0.010774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_750-1_0_2_line_47 |  | 43 | 54 | 0.013276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_750-1_0_2_line_48 |  | 43 | 55 | 0.008252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_750-1_0_2_line_49 |  | 43 | 53 | 0.014157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_750-1_0_2_line_50 |  | 44 | 103 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_750-1_0_2_line_51 |  | 45 | 101 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_750-1_0_2_line_52 |  | 46 | 90 | 0.009427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_750-1_0_2_line_53 |  | 46 | 70 | 0.01472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_750-1_0_2_line_54 |  | 47 | 58 | 0.023403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_750-1_0_2_line_55 |  | 48 | 49 | 0.0076601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_750-1_0_2_line_56 |  | 49 | 71 | 0.0084344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_750-1_0_2_line_57 |  | 50 | 51 | 0.031404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_750-1_0_2_line_58 |  | 51 | 76 | 0.041935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_750-1_0_2_line_59 |  | 52 | 53 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_750-1_0_2_line_60 |  | 54 | 56 | 0.018517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_750-1_0_2_line_61 |  | 55 | 57 | 0.020068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_750-1_0_2_line_62 |  | 56 | 63 | 0.019064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_750-1_0_2_line_63 |  | 57 | 66 | 0.0059941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_750-1_0_2_line_64 |  | 58 | 59 | 0.00024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_750-1_0_2_line_65 |  | 59 | 60 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_750-1_0_2_line_66 |  | 60 | 61 | 0.018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_750-1_0_2_line_67 |  | 61 | 62 | 0.0076431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_750-1_0_2_line_68 |  | 62 | 69 | 0.007074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_750-1_0_2_line_69 |  | 63 | 65 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_750-1_0_2_line_70 |  | 64 | 84 | 0.032023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_750-1_0_2_line_71 |  | 64 | 83 | 0.013726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_750-1_0_2_line_72 |  | 65 | 67 | 0.011466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_750-1_0_2_line_73 |  | 66 | 110 | 0.0059419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_750-1_0_2_line_74 |  | 67 | 68 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_750-1_0_2_line_75 |  | 67 | 69 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_750-1_0_2_line_76 |  | 68 | 85 | 0.010728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_750-1_0_2_line_77 |  | 71 | 72 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_750-1_0_2_line_78 |  | 72 | 73 | 0.034967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_750-1_0_2_line_79 |  | 72 | 74 | 0.0057487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_750-1_0_2_line_80 |  | 73 | 75 | 0.005331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_750-1_0_2_line_81 |  | 74 | 78 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_750-1_0_2_line_82 |  | 76 | 77 | 0.035941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_750-1_0_2_line_83 |  | 77 | 83 | 0.02481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_750-1_0_2_line_84 |  | 78 | 85 | 0.007206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_750-1_0_2_line_85 |  | 78 | 89 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_750-1_0_2_line_86 |  | 79 | 80 | 0.0058864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_750-1_0_2_line_87 |  | 79 | 81 | 0.0094203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_750-1_0_2_line_88 |  | 80 | 82 | 0.0081669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_750-1_0_2_line_89 |  | 81 | 83 | 0.010702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_750-1_0_2_line_90 |  | 84 | 92 | 0.031227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_750-1_0_2_line_91 |  | 86 | 87 | 0.0076464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_750-1_0_2_line_92 |  | 86 | 88 | 0.0070801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_750-1_0_2_line_93 |  | 88 | 89 | 0.0076648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_750-1_0_2_line_94 |  | 91 | 93 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_750-1_0_2_line_95 |  | 93 | 96 | 0.0061528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_750-1_0_2_line_96 |  | 93 | 94 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_750-1_0_2_line_97 |  | 94 | 95 | 0.019801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_750-1_0_2_line_98 |  | 96 | 97 | 0.029009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_750-1_0_2_line_99 |  | 97 | 98 | 0.0025001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_750-1_0_2_line_100 |  | 98 | 99 | 0.026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_750-1_0_2_line_101 |  | 99 | 100 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_750-1_0_2_line_102 |  | 99 | 101 | 0.021737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_750-1_0_2_line_103 |  | 100 | 102 | 0.00087809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_750-1_0_2_line_104 |  | 103 | 104 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_750-1_0_2_line_105 |  | 104 | 105 | 0.03403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_750-1_0_2_line_106 |  | 106 | 107 | 0.0059306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_750-1_0_2_line_107 |  | 106 | 108 | 0.017868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_750-1_0_2_line_108 |  | 107 | 109 | 0.0058812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_750-1_0_2_line_109 |  | 108 | 110 | 0.0060126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_750-1_0_2_line_110 |  | 109 | 111 | 0.017303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_750-1_0_2_line_111 |  | 111 | 112 | 0.005678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_750-1_0_2_line_112 |  | 112 | 113 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_750-1_0_2_line_113 |  | 112 | 114 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_750-1_0_2_trafo_34 | 0.63 MVA 20/0.4 kV | 115 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2583362.2681 | 1217880.258 | 2583367.3486 | 1217896.8716 | 2583372.809 | 1217915.2141
1 | 2583362.2681 | 1217880.258 | 2583354.8855 | 1217856.1166 | 2583354.3285 | 1217853.9463
2 | 2583372.809 | 1217915.2141 | 2583378.4541 | 1217934.1772
3 | 2583349.514 | 1217835.1877 | 2583354.3285 | 1217853.9463
4 | 2583383.999 | 1217952.5942 | 2583383.3469 | 1217950.613 | 2583378.4541 | 1217934.1772
5 | 2583344.7175 | 1217808.9155 | 2583345.5847 | 1217819.8775 | 2583349.514 | 1217835.1877
6 | 2583383.999 | 1217952.5942 | 2583390.274 | 1217971.6568
7 | 2583348.382 | 1217782.7941 | 2583346.587 | 1217795.7609 | 2583344.4829 | 1217805.9504 | 2583344.7175 | 1217808.9155
8 | 2583349.8602 | 1217772.1159 | 2583348.382 | 1217782.7941
9 | 2583349.8602 | 1217772.1159 | 2583359.0395 | 1217743.4515 | 2583358.1483 | 1217731.5139 | 2583356.0903 | 1217723.0481 | 2583354.4394 | 1217716.2489 | 2583350.6516 | 1217705.3088
10 | 2583319.683 | 1217613.2543 | 2583322.6307 | 1217622.3179 | 2583332.2287 | 1217650.7405 | 2583350.6516 | 1217705.3088
11 | 2583350.6516 | 1217705.3088 | 2583335.2327 | 1217704.0959 | 2583303.2942 | 1217732.2076
12 | 2583319.683 | 1217613.2543 | 2583297.8526 | 1217620.9869
13 | 2583319.683 | 1217613.2543 | 2583304.6683 | 1217567.0146
14 | 2583352.7081 | 1217445.8435 | 2583364.2166 | 1217470.681 | 2583376.2563 | 1217495.5059 | 2583387.0672 | 1217520.69 | 2583398.9942 | 1217546.0155 | 2583399.8644 | 1217547.7362 | 2583416.1414 | 1217540.8423 | 2583423.9198 | 1217537.5409 | 2583428.1125 | 1217546.7233
15 | 2583352.7081 | 1217445.8435 | 2583351.642 | 1217443.5485
16 | 2583428.1125 | 1217546.7233 | 2583431.8515 | 1217556.3823
17 | 2583342.8722 | 1217424.6702 | 2583351.642 | 1217443.5485
18 | 2583319.1105 | 1217434.1869 | 2583318.2106 | 1217419.1808 | 2583314.5581 | 1217405.1831 | 2583311.6386 | 1217395.4191 | 2583301.2241 | 1217400.6625
19 | 2583301.2241 | 1217400.6625 | 2583292.5773 | 1217393.028
20 | 2583319.1105 | 1217434.1869 | 2583332.6061 | 1217428.7818
21 | 2583319.1105 | 1217434.1869 | 2583319.8348 | 1217464.958 | 2583321.8023 | 1217489.8111 | 2583315.8299 | 1217490.2281 | 2583308.8857 | 1217501.3652 | 2583302.5549 | 1217514.6795 | 2583290.7955 | 1217535.4801
22 | 2583271.7931 | 1217380.8453 | 2583281.0287 | 1217382.8315 | 2583292.5773 | 1217393.028
23 | 2583290.7955 | 1217535.4801 | 2583304.6683 | 1217567.0146
24 | 2583290.5227 | 1217534.8592 | 2583290.7955 | 1217535.4801
25 | 2583286.9396 | 1217583.9298 | 2583304.6683 | 1217567.0146
26 | 2583342.8722 | 1217424.6702 | 2583332.6061 | 1217428.7818
27 | 2583267.4813 | 1217353.842 | 2583277.7711 | 1217360.8614 | 2583273.5813 | 1217374.3476 | 2583271.7931 | 1217380.8453
28 | 2583235.539 | 1217321.158 | 2583250.3519 | 1217343.9514 | 2583267.4813 | 1217353.842
29 | 2583267.4813 | 1217353.842 | 2583274.7719 | 1217349.7747 | 2583295.6799 | 1217339.6885
30 | 2583235.539 | 1217321.158 | 2583219.5811 | 1217296.1444 | 2583210.9113 | 1217273.3746
31 | 2583235.539 | 1217321.158 | 2583241.8802 | 1217316.871 | 2583259.618 | 1217308.316
32 | 2583055.4558 | 1217104.5239 | 2583051.8551 | 1217100.8319
33 | 2583055.4558 | 1217104.5239 | 2583058.8253 | 1217109.2412
34 | 2583043.465 | 1217092.229 | 2583051.8551 | 1217100.8319
35 | 2583060.3883 | 1217148.0797 | 2583075.3474 | 1217132.3719 | 2583058.8253 | 1217109.2412
36 | 2583373.9789 | 1217257.3539 | 2583370.8518 | 1217257.4294 | 2583368.4474 | 1217258.1032 | 2583364.5485 | 1217259.5749
37 | 2583373.9789 | 1217257.3539 | 2583376.7782 | 1217251.3649 | 2583373.7727 | 1217246.1036 | 2583371.9086 | 1217239.116 | 2583368.685 | 1217237.2906 | 2583368.0578 | 1217235.7389
38 | 2583351.978 | 1217264.3196 | 2583364.5485 | 1217259.5749
39 | 2583350.0562 | 1217225.4128 | 2583351.6763 | 1217224.4755 | 2583355.5384 | 1217223.9088 | 2583365.3251 | 1217227.4389 | 2583366.369 | 1217231.5605 | 2583368.0578 | 1217235.7389
40 | 2583374.5833 | 1217299.1365 | 2583379.5754 | 1217296.3405
41 | 2583369.066 | 1217302.2268 | 2583374.5833 | 1217299.1365
42 | 2583135.1446 | 1217296.6065 | 2583124.1546 | 1217294.3476 | 2583120.5652 | 1217289.3549 | 2583113.4099 | 1217279.6364
43 | 2583135.1446 | 1217296.6065 | 2583162.3965 | 1217283.8106 | 2583167.5189 | 1217281.8811
44 | 2583113.4099 | 1217279.6364 | 2583101.7495 | 1217260.5921 | 2583095.5939 | 1217248.9894
45 | 2583178.4259 | 1217277.7728 | 2583167.5189 | 1217281.8811
46 | 2583207.0774 | 1217263.3055 | 2583210.9113 | 1217273.3746
47 | 2583259.618 | 1217308.316 | 2583253.7684 | 1217296.398
48 | 2583265.5603 | 1217302.5737 | 2583259.618 | 1217308.316
49 | 2583259.618 | 1217308.316 | 2583265.9022 | 1217321.0015
50 | 2583043.465 | 1217092.229 | 2583031.1431 | 1217077.8246
51 | 2583045.8017 | 1217163.3963 | 2583060.3883 | 1217148.0797
52 | 2583351.978 | 1217264.3196 | 2583348.439 | 1217255.5801
53 | 2583351.978 | 1217264.3196 | 2583347.3829 | 1217266.0558 | 2583338.1728 | 1217269.428
54 | 2583350.0562 | 1217225.4128 | 2583346.4624 | 1217227.4919 | 2583327.2807 | 1217229.1265
55 | 2583274.8762 | 1217189.8286 | 2583268.3641 | 1217193.8621
56 | 2583268.3641 | 1217193.8621 | 2583261.1937 | 1217198.3032
57 | 2583182.7968 | 1217118.6404 | 2583183.9581 | 1217146.2375 | 2583184.1421 | 1217150.015
58 | 2583186.9644 | 1217191.8328 | 2583185.6669 | 1217181.3193 | 2583184.1421 | 1217150.015
59 | 2583265.9022 | 1217321.0015 | 2583273.4803 | 1217336.2988
60 | 2583262.0297 | 1217285.3924 | 2583251.0138 | 1217290.7858 | 2583253.7684 | 1217296.398
61 | 2583265.5603 | 1217302.5737 | 2583271.5555 | 1217304.7469 | 2583285.1703 | 1217306.1934
62 | 2583279.1513 | 1217277.0096 | 2583262.0297 | 1217285.3924
63 | 2583285.1703 | 1217306.1934 | 2583291.1309 | 1217306.8268
64 | 2583327.0349 | 1217229.1474 | 2583327.2807 | 1217229.1265
65 | 2583317.1963 | 1217226.0733 | 2583327.0349 | 1217229.1474
66 | 2583317.1963 | 1217226.0733 | 2583313.4523 | 1217233.5326 | 2583307.5987 | 1217238.4852 | 2583305.2125 | 1217239.9007
67 | 2583305.2125 | 1217239.9007 | 2583298.6388 | 1217243.8001
68 | 2583292.5548 | 1217247.4091 | 2583298.6388 | 1217243.8001
69 | 2583279.1513 | 1217277.0096 | 2583282.7198 | 1217266.5825
70 | 2583207.0774 | 1217263.3055 | 2583178.4259 | 1217277.7728
71 | 2583207.0774 | 1217263.3055 | 2583202.3044 | 1217250.4339
72 | 2583276.8093 | 1217256.7491 | 2583282.7198 | 1217266.5825
73 | 2583291.1309 | 1217306.8268 | 2583297.0396 | 1217307.4545
74 | 2583276.8093 | 1217256.7491 | 2583270.3109 | 1217245.3835
75 | 2583276.8093 | 1217256.7491 | 2583292.5548 | 1217247.4091
76 | 2583264.9854 | 1217236.0706 | 2583266.1602 | 1217238.1241 | 2583270.3109 | 1217245.3835
77 | 2583247.9746 | 1217206.4907 | 2583261.1937 | 1217198.3032
78 | 2583226.8768 | 1217181.2137 | 2583229.6388 | 1217186.2198 | 2583232.5134 | 1217190.7698 | 2583236.2921 | 1217192.9271 | 2583240.3002 | 1217193.0158 | 2583243.3824 | 1217198.5213 | 2583247.9746 | 1217206.4907
79 | 2583247.9746 | 1217206.4907 | 2583250.844 | 1217211.472
80 | 2583227.6665 | 1217175.964 | 2583226.8729 | 1217179.8462 | 2583226.8768 | 1217181.2137
81 | 2583261.4077 | 1217229.8105 | 2583250.844 | 1217211.472
82 | 2583186.9644 | 1217191.8328 | 2583188.5885 | 1217205.1024 | 2583194.5497 | 1217226.8731
83 | 2583202.3044 | 1217250.4339 | 2583195.5146 | 1217230.3972 | 2583194.5497 | 1217226.8731
84 | 2583261.4077 | 1217229.8105 | 2583264.9854 | 1217236.0706
85 | 2583261.4077 | 1217229.8105 | 2583270.3979 | 1217224.7196
86 | 2583225.9573 | 1217239.9323 | 2583224.0779 | 1217240.9668 | 2583220.835 | 1217242.8322
87 | 2583212.4634 | 1217247.0695 | 2583214.8324 | 1217246.2849 | 2583220.835 | 1217242.8322
88 | 2583233.1119 | 1217235.994 | 2583225.9573 | 1217239.9323
89 | 2583202.3044 | 1217250.4339 | 2583212.4634 | 1217247.0695
90 | 2583161.1364 | 1217251.7403 | 2583178.4259 | 1217277.7728
91 | 2583289.8821 | 1217213.6862 | 2583283.2284 | 1217217.454
92 | 2583277.0676 | 1217220.9427 | 2583283.2284 | 1217217.454
93 | 2583270.3979 | 1217224.7196 | 2583277.0676 | 1217220.9427
94 | 2583089.058 | 1217236.6702 | 2583095.5939 | 1217248.9894
95 | 2583089.058 | 1217236.6702 | 2583085.963 | 1217231.3525
96 | 2583089.058 | 1217236.6702 | 2583103.6728 | 1217228.5456
97 | 2583120.9794 | 1217218.9246 | 2583103.6728 | 1217228.5456
98 | 2583085.963 | 1217231.3525 | 2583072.9017 | 1217208.9115 | 2583071.4313 | 1217206.2468
99 | 2583070.2234 | 1217204.0578 | 2583071.4313 | 1217206.2468
100 | 2583059.1725 | 1217180.5345 | 2583059.1806 | 1217183.3806 | 2583060.823 | 1217187.0224 | 2583070.2234 | 1217204.0578
101 | 2583059.1725 | 1217180.5345 | 2583074.0461 | 1217169.0158
102 | 2583059.1725 | 1217180.5345 | 2583045.8017 | 1217163.3963
103 | 2583074.7403 | 1217168.4782 | 2583074.0461 | 1217169.0158
104 | 2583031.1431 | 1217077.8246 | 2583017.4336 | 1217061.7981
105 | 2583017.4336 | 1217061.7981 | 2582996.6089 | 1217037.4541 | 2582995.2941 | 1217035.9554
106 | 2583320.7869 | 1217309.9776 | 2583326.6843 | 1217310.6042
107 | 2583320.7869 | 1217309.9776 | 2583303.0186 | 1217308.0898
108 | 2583326.6843 | 1217310.6042 | 2583332.5326 | 1217311.2256
109 | 2583297.0396 | 1217307.4545 | 2583303.0186 | 1217308.0898
110 | 2583349.7391 | 1217313.0538 | 2583332.5326 | 1217311.2256
111 | 2583349.7391 | 1217313.0538 | 2583354.7031 | 1217310.2716
112 | 2583354.7031 | 1217310.2716 | 2583348.8794 | 1217298.8703
113 | 2583354.7031 | 1217310.2716 | 2583369.066 | 1217302.2268

## bus_geodata
| x | y | coords
0 | 2583362.2681 | 1217880.258
1 | 2583372.809 | 1217915.2141
2 | 2583354.3285 | 1217853.9463
3 | 2583378.4541 | 1217934.1772
4 | 2583349.514 | 1217835.1877
5 | 2583383.999 | 1217952.5942
6 | 2583344.7175 | 1217808.9155
7 | 2583390.274 | 1217971.6568
8 | 2583348.382 | 1217782.7941
9 | 2583349.8602 | 1217772.1159
10 | 2583350.6516 | 1217705.3088
11 | 2583319.683 | 1217613.2543
12 | 2583303.2942 | 1217732.2076
13 | 2583352.7081 | 1217445.8435
14 | 2583428.1125 | 1217546.7233
15 | 2583351.642 | 1217443.5485
16 | 2583301.2241 | 1217400.6625
17 | 2583319.1105 | 1217434.1869
18 | 2583292.5773 | 1217393.028
19 | 2583290.7955 | 1217535.4801
20 | 2583304.6683 | 1217567.0146
21 | 2583290.5227 | 1217534.8592
22 | 2583332.6061 | 1217428.7818
23 | 2583286.9396 | 1217583.9298
24 | 2583431.8515 | 1217556.3823
25 | 2583342.8722 | 1217424.6702
26 | 2583267.4813 | 1217353.842
27 | 2583271.7931 | 1217380.8453
28 | 2583235.539 | 1217321.158
29 | 2583295.6799 | 1217339.6885
30 | 2583055.4558 | 1217104.5239
31 | 2583051.8551 | 1217100.8319
32 | 2583058.8253 | 1217109.2412
33 | 2583373.9789 | 1217257.3539
34 | 2583364.5485 | 1217259.5749
35 | 2583368.0578 | 1217235.7389
36 | 2583297.8526 | 1217620.9869
37 | 2583379.5754 | 1217296.3405
38 | 2583374.5833 | 1217299.1365
39 | 2583135.1446 | 1217296.6065
40 | 2583113.4099 | 1217279.6364
41 | 2583167.5189 | 1217281.8811
42 | 2583210.9113 | 1217273.3746
43 | 2583259.618 | 1217308.316
44 | 2583043.465 | 1217092.229
45 | 2583060.3883 | 1217148.0797
46 | 2583351.978 | 1217264.3196
47 | 2583350.0562 | 1217225.4128
48 | 2583274.8762 | 1217189.8286
49 | 2583268.3641 | 1217193.8621
50 | 2583182.7968 | 1217118.6404
51 | 2583184.1421 | 1217150.015
52 | 2583273.4803 | 1217336.2988
53 | 2583265.9022 | 1217321.0015
54 | 2583253.7684 | 1217296.398
55 | 2583265.5603 | 1217302.5737
56 | 2583262.0297 | 1217285.3924
57 | 2583285.1703 | 1217306.1934
58 | 2583327.2807 | 1217229.1265
59 | 2583327.0349 | 1217229.1474
60 | 2583317.1963 | 1217226.0733
61 | 2583305.2125 | 1217239.9007
62 | 2583298.6388 | 1217243.8001
63 | 2583279.1513 | 1217277.0096
64 | 2583207.0774 | 1217263.3055
65 | 2583282.7198 | 1217266.5825
66 | 2583291.1309 | 1217306.8267
67 | 2583276.8093 | 1217256.7491
68 | 2583270.3109 | 1217245.3835
69 | 2583292.5548 | 1217247.4091
70 | 2583338.1728 | 1217269.428
71 | 2583261.1937 | 1217198.3032
72 | 2583247.9746 | 1217206.4907
73 | 2583226.8768 | 1217181.2137
74 | 2583250.844 | 1217211.472
75 | 2583227.6665 | 1217175.964
76 | 2583186.9644 | 1217191.8328
77 | 2583194.5497 | 1217226.8731
78 | 2583261.4077 | 1217229.8105
79 | 2583220.835 | 1217242.8322
80 | 2583225.9573 | 1217239.9323
81 | 2583212.4634 | 1217247.0695
82 | 2583233.1119 | 1217235.994
83 | 2583202.3044 | 1217250.4339
84 | 2583178.4259 | 1217277.7728
85 | 2583264.9854 | 1217236.0706
86 | 2583283.2284 | 1217217.454
87 | 2583289.8821 | 1217213.6862
88 | 2583277.0676 | 1217220.9427
89 | 2583270.3979 | 1217224.7196
90 | 2583348.439 | 1217255.5801
91 | 2583095.5939 | 1217248.9894
92 | 2583161.1364 | 1217251.7403
93 | 2583089.058 | 1217236.6702
94 | 2583103.6728 | 1217228.5456
95 | 2583120.9794 | 1217218.9246
96 | 2583085.963 | 1217231.3525
97 | 2583071.4313 | 1217206.2468
98 | 2583070.2234 | 1217204.0578
99 | 2583059.1725 | 1217180.5345
100 | 2583074.0461 | 1217169.0158
101 | 2583045.8017 | 1217163.3963
102 | 2583074.7403 | 1217168.4782
103 | 2583031.1431 | 1217077.8246
104 | 2583017.4336 | 1217061.7981
105 | 2582995.2941 | 1217035.9554
106 | 2583320.7869 | 1217309.9776
107 | 2583326.6843 | 1217310.6042
108 | 2583303.0186 | 1217308.0898
109 | 2583332.5326 | 1217311.2256
110 | 2583297.0396 | 1217307.4545
111 | 2583349.7391 | 1217313.0538
112 | 2583354.7031 | 1217310.2716
113 | 2583348.8794 | 1217298.8703
114 | 2583369.066 | 1217302.2268
115 | 2583277.7947 | 1217345.0079

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1