## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_750-4_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_750-4_1_3_node_167 | 0.4 | n |  | TRUE
2 | bus_LV_750-4_1_3_node_23 | 0.4 | n |  | TRUE
3 | bus_LV_750-4_1_3_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_750-4_1_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_750-4_1_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_750-4_1_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_750-4_1_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_750-4_1_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_750-4_1_3_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_750-4_1_3_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_750-4_1_3_node_131 | 0.4 | n |  | TRUE
12 | bus_LV_750-4_1_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_750-4_1_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_750-4_1_3_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_750-4_1_3_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_750-4_1_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_750-4_1_3_node_103 | 0.4 | n |  | TRUE
18 | bus_LV_750-4_1_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_750-4_1_3_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_750-4_1_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_750-4_1_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_750-4_1_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_750-4_1_3_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_750-4_1_3_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_750-4_1_3_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_750-4_1_3_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_750-4_1_3_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_750-4_1_3_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_750-4_1_3_node_99 | 0.4 | n |  | TRUE
30 | bus_LV_750-4_1_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_750-4_1_3_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_750-4_1_3_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_750-4_1_3_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_750-4_1_3_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_750-4_1_3_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_750-4_1_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_750-4_1_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_750-4_1_3_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_750-4_1_3_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_750-4_1_3_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_750-4_1_3_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_750-4_1_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_750-4_1_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_750-4_1_3_node_120 | 0.4 | n |  | TRUE
45 | bus_LV_750-4_1_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_750-4_1_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_750-4_1_3_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_750-4_1_3_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_750-4_1_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_750-4_1_3_node_102 | 0.4 | n |  | TRUE
51 | bus_LV_750-4_1_3_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_750-4_1_3_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_750-4_1_3_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_750-4_1_3_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_750-4_1_3_node_108 | 0.4 | n |  | TRUE
56 | bus_LV_750-4_1_3_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_750-4_1_3_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_750-4_1_3_node_111 | 0.4 | n |  | TRUE
59 | bus_LV_750-4_1_3_node_121 | 0.4 | n |  | TRUE
60 | bus_LV_750-4_1_3_node_155 | 0.4 | n |  | TRUE
61 | bus_LV_750-4_1_3_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_750-4_1_3_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_750-4_1_3_node_144 | 0.4 | n |  | TRUE
64 | bus_LV_750-4_1_3_node_145 | 0.4 | n |  | TRUE
65 | bus_LV_750-4_1_3_node_146 | 0.4 | n |  | TRUE
66 | bus_LV_750-4_1_3_node_147 | 0.4 | n |  | TRUE
67 | bus_LV_750-4_1_3_node_148 | 0.4 | n |  | TRUE
68 | bus_LV_750-4_1_3_node_149 | 0.4 | n |  | TRUE
69 | bus_LV_750-4_1_3_node_156 | 0.4 | n |  | TRUE
70 | bus_LV_750-4_1_3_node_150 | 0.4 | n |  | TRUE
71 | bus_LV_750-4_1_3_node_152 | 0.4 | n |  | TRUE
72 | bus_LV_750-4_1_3_node_151 | 0.4 | n |  | TRUE
73 | bus_LV_750-4_1_3_node_153 | 0.4 | n |  | TRUE
74 | bus_LV_750-4_1_3_node_154 | 0.4 | n |  | TRUE
75 | bus_LV_750-4_1_3_node_157 | 0.4 | n |  | TRUE
76 | bus_LV_750-4_1_3_node_163 | 0.4 | n |  | TRUE
77 | bus_LV_750-4_1_3_node_160 | 0.4 | n |  | TRUE
78 | bus_LV_750-4_1_3_node_161 | 0.4 | n |  | TRUE
79 | bus_LV_750-4_1_3_node_162 | 0.4 | n |  | TRUE
80 | bus_MV_325_1_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_750-4_1_3_load_10 | 0 | 0.0006702 | 0.00016797 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_750-4_1_3_load_167 | 1 | 0.003091 | 0.00077468 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_750-4_1_3_load_23 | 2 | 0.0031387 | 0.00078664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_750-4_1_3_load_18 | 3 | 0.0034704 | 0.00086976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_750-4_1_3_load_19 | 4 | 0.0040532 | 0.0010158 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_750-4_1_3_load_21 | 5 | 0.0038615 | 0.00096778 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_750-4_1_3_load_26 | 6 | 0.0073435 | 0.0018405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_750-4_1_3_load_40 | 7 | 0.0353 | 0.0088469 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_750-4_1_3_load_41 | 8 | 0.043542 | 0.010913 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_750-4_1_3_load_42 | 9 | 0.013485 | 0.0033798 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_750-4_1_3_load_43 | 10 | 0.0048341 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_750-4_1_3_load_131 | 11 | 0.012842 | 0.0032184 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_750-4_1_3_load_45 | 12 | 0.0036017 | 0.00090267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_750-4_1_3_load_46 | 13 | 0.0035847 | 0.0008984 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_750-4_1_3_load_47 | 14 | 0.0048473 | 0.0012149 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_750-4_1_3_load_48 | 15 | 0.004826 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_750-4_1_3_load_103 | 17 | 0.0011595 | 0.00029061 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_750-4_1_3_load_57 | 18 | 0.0028964 | 0.00072592 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_750-4_1_3_load_70 | 19 | 0.0050452 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_750-4_1_3_load_55 | 20 | 0.0029003 | 0.00072687 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_750-4_1_3_load_56 | 21 | 0.0036091 | 0.00090453 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_750-4_1_3_load_58 | 22 | 0.0018281 | 0.00045816 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_750-4_1_3_load_59 | 23 | 0.0027811 | 0.00069702 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_750-4_1_3_load_61 | 25 | 0.0017525 | 0.00043923 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_750-4_1_3_load_62 | 26 | 0.0014156 | 0.00035478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_750-4_1_3_load_63 | 27 | 0.00080251 | 0.00020113 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_750-4_1_3_load_96 | 28 | 0.00084643 | 0.00021214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_750-4_1_3_load_66 | 30 | 0.00080373 | 0.00020143 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_750-4_1_3_load_64 | 31 | 0.0011725 | 0.00029385 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_750-4_1_3_load_65 | 32 | 0.0019941 | 0.00049977 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_750-4_1_3_load_67 | 33 | 0.00096863 | 0.00024276 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_750-4_1_3_load_68 | 35 | 0.0053064 | 0.0013299 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_750-4_1_3_load_69 | 36 | 0.0014664 | 0.00036751 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_750-4_1_3_load_71 | 37 | 0.004824 | 0.001209 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_750-4_1_3_load_73 | 39 | 0.0028138 | 0.00070521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_750-4_1_3_load_74 | 40 | 0.0016194 | 0.00040585 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_750-4_1_3_load_75 | 41 | 0.00049168 | 0.00012323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_750-4_1_3_load_89 | 42 | 0.00044153 | 0.00011066 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_750-4_1_3_load_120 | 44 | 0.0020636 | 0.00051718 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_750-4_1_3_load_84 | 45 | 0.00089789 | 0.00022503 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_750-4_1_3_load_93 | 47 | 0.0038077 | 0.00095429 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_750-4_1_3_load_92 | 48 | 0.0014722 | 0.00036896 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_750-4_1_3_load_95 | 49 | 0.001216 | 0.00030477 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_750-4_1_3_load_102 | 50 | 0.00116 | 0.00029073 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_750-4_1_3_load_97 | 51 | 0.0013991 | 0.00035066 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_750-4_1_3_load_100 | 52 | 0.0023826 | 0.00059713 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_750-4_1_3_load_101 | 53 | 0.00091942 | 0.00023043 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_750-4_1_3_load_122 | 54 | 0.00081272 | 0.00020369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_750-4_1_3_load_108 | 55 | 0.0086246 | 0.0021615 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_750-4_1_3_load_110 | 57 | 0.015947 | 0.0039968 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_750-4_1_3_load_111 | 58 | 0.0076482 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_750-4_1_3_load_121 | 59 | 0.00097951 | 0.00024549 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_750-4_1_3_load_155 | 60 | 0.0013307 | 0.0003335 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_750-4_1_3_load_123 | 61 | 0.00051486 | 0.00012904 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_750-4_1_3_load_124 | 62 | 0.00069229 | 0.0001735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_750-4_1_3_load_144 | 63 | 0.0029082 | 0.00072887 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_750-4_1_3_load_145 | 64 | 0.0024612 | 0.00061684 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_750-4_1_3_load_146 | 65 | 0.0015187 | 0.00038062 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_750-4_1_3_load_147 | 66 | 0.0019461 | 0.00048774 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_750-4_1_3_load_148 | 67 | 0.001098 | 0.00027518 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_750-4_1_3_load_149 | 68 | 0.0053426 | 0.001339 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_750-4_1_3_load_156 | 69 | 0.0014808 | 0.00037111 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_750-4_1_3_load_150 | 70 | 0.00057332 | 0.00014369 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_750-4_1_3_load_152 | 71 | 0.0016774 | 0.0004204 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_750-4_1_3_load_151 | 72 | 0.0018813 | 0.00047151 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_750-4_1_3_load_153 | 73 | 0.001184 | 0.00029675 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_750-4_1_3_load_154 | 74 | 0.00080906 | 0.00020277 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_750-4_1_3_load_157 | 75 | 0.0015198 | 0.00038091 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_750-4_1_3_load_163 | 76 | 0.0014977 | 0.00037536 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_750-4_1_3_load_160 | 77 | 0.0014605 | 0.00036603 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_750-4_1_3_load_161 | 78 | 0.0015956 | 0.00039991 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_750-4_1_3_load_162 | 79 | 0.0015848 | 0.00039719 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_750-4_1_3_line_0 |  | 0 | 1 | 0.026526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_750-4_1_3_line_1 |  | 0 | 2 | 0.077488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_750-4_1_3_line_2 |  | 1 | 7 | 0.058131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_750-4_1_3_line_3 |  | 3 | 4 | 0.028411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_750-4_1_3_line_4 |  | 4 | 5 | 0.016564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_750-4_1_3_line_5 |  | 5 | 6 | 0.0090193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_750-4_1_3_line_6 |  | 6 | 7 | 0.044249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_750-4_1_3_line_7 |  | 7 | 8 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_750-4_1_3_line_8 |  | 7 | 9 | 0.026653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_750-4_1_3_line_9 |  | 9 | 10 | 0.027817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_750-4_1_3_line_10 |  | 10 | 11 | 0.009049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_750-4_1_3_line_11 |  | 11 | 58 | 0.0086698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_750-4_1_3_line_12 |  | 12 | 13 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_750-4_1_3_line_13 |  | 12 | 14 | 0.0096163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_750-4_1_3_line_14 |  | 13 | 15 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_750-4_1_3_line_15 |  | 14 | 16 | 0.012894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_750-4_1_3_line_16 |  | 15 | 17 | 0.0089453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_750-4_1_3_line_17 |  | 16 | 18 | 0.014465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_750-4_1_3_line_18 |  | 16 | 19 | 0.0087067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_750-4_1_3_line_19 |  | 17 | 55 | 0.089101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_750-4_1_3_line_20 |  | 18 | 21 | 0.0040567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_750-4_1_3_line_21 |  | 19 | 35 | 0.024434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_750-4_1_3_line_22 |  | 20 | 21 | 0.018049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_750-4_1_3_line_23 |  | 22 | 23 | 0.0039256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_750-4_1_3_line_24 |  | 22 | 24 | 0.028932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_750-4_1_3_line_25 |  | 23 | 25 | 0.00043288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_750-4_1_3_line_26 |  | 24 | 26 | 0.037561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_750-4_1_3_line_27 |  | 24 | 27 | 0.012592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_750-4_1_3_line_28 |  | 25 | 28 | 0.02288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_750-4_1_3_line_29 |  | 26 | 29 | 0.034644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_750-4_1_3_line_30 |  | 27 | 30 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_750-4_1_3_line_31 |  | 28 | 51 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_750-4_1_3_line_32 |  | 29 | 52 | 0.032032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_750-4_1_3_line_33 |  | 29 | 53 | 0.064404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_750-4_1_3_line_34 |  | 30 | 31 | 0.00033518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_750-4_1_3_line_35 |  | 31 | 32 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_750-4_1_3_line_36 |  | 32 | 33 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_750-4_1_3_line_37 |  | 33 | 34 | 0.035053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_750-4_1_3_line_38 |  | 34 | 39 | 0.020618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_750-4_1_3_line_39 |  | 34 | 40 | 0.018356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_750-4_1_3_line_40 |  | 35 | 36 | 0.02228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_750-4_1_3_line_41 |  | 36 | 37 | 0.0070195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_750-4_1_3_line_42 |  | 37 | 38 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_750-4_1_3_line_43 |  | 38 | 45 | 0.050872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_750-4_1_3_line_44 |  | 38 | 46 | 0.10203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_750-4_1_3_line_45 |  | 39 | 41 | 0.039535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_750-4_1_3_line_46 |  | 40 | 42 | 0.0010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_750-4_1_3_line_47 |  | 41 | 43 | 0.03577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_750-4_1_3_line_48 |  | 42 | 45 | 0.034199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_750-4_1_3_line_49 |  | 43 | 44 | 0.14119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_750-4_1_3_line_50 |  | 44 | 59 | 0.021567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_750-4_1_3_line_51 |  | 46 | 47 | 0.048718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_750-4_1_3_line_52 |  | 47 | 48 | 0.0038273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_750-4_1_3_line_53 |  | 49 | 50 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_750-4_1_3_line_54 |  | 50 | 51 | 0.0061058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_750-4_1_3_line_55 |  | 53 | 54 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_750-4_1_3_line_56 |  | 54 | 61 | 0.036016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_750-4_1_3_line_57 |  | 55 | 56 | 0.026461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_750-4_1_3_line_58 |  | 56 | 57 | 0.018959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_750-4_1_3_line_59 |  | 56 | 58 | 0.0040513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_750-4_1_3_line_60 |  | 59 | 60 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_750-4_1_3_line_61 |  | 60 | 74 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_750-4_1_3_line_62 |  | 61 | 62 | 0.036826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_750-4_1_3_line_63 |  | 63 | 64 | 0.027672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_750-4_1_3_line_64 |  | 63 | 65 | 0.078988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_750-4_1_3_line_65 |  | 64 | 66 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_750-4_1_3_line_66 |  | 65 | 67 | 0.028677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_750-4_1_3_line_67 |  | 66 | 68 | 0.015334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_750-4_1_3_line_68 |  | 67 | 69 | 0.061119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_750-4_1_3_line_69 |  | 68 | 70 | 0.0095065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_750-4_1_3_line_70 |  | 69 | 75 | 0.045664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_750-4_1_3_line_71 |  | 70 | 71 | 0.0032048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_750-4_1_3_line_72 |  | 71 | 72 | 0.025466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_750-4_1_3_line_73 |  | 72 | 73 | 0.018425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_750-4_1_3_line_74 |  | 73 | 74 | 0.024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_750-4_1_3_line_75 |  | 75 | 76 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_750-4_1_3_line_76 |  | 76 | 79 | 0.0027966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_750-4_1_3_line_77 |  | 77 | 78 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_750-4_1_3_line_78 |  | 77 | 79 | 0.0099976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_750-4_1_3_trafo_45 | 0.63 MVA 20/0.4 kV | 80 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2582934.4008 | 1216048.097 | 2582907.9143 | 1216049.546
1 | 2582934.4008 | 1216048.097 | 2583004.9697 | 1216016.0915
2 | 2582862.6525 | 1216086.023 | 2582907.9143 | 1216049.546
3 | 2582782.3555 | 1216140.9805 | 2582803.613 | 1216122.1305
4 | 2582816.0061 | 1216111.141 | 2582803.613 | 1216122.1305
5 | 2582822.7544 | 1216105.157 | 2582816.0061 | 1216111.141
6 | 2582862.6525 | 1216086.023 | 2582822.7544 | 1216105.157
7 | 2582862.6525 | 1216086.023 | 2582869.2761 | 1216093.9404
8 | 2582862.6525 | 1216086.023 | 2582857.7044 | 1216080.1083 | 2582845.5497 | 1216065.5809
9 | 2582827.6999 | 1216044.2468 | 2582845.5497 | 1216065.5809
10 | 2582827.6999 | 1216044.2468 | 2582821.8932 | 1216037.3066
11 | 2582821.8932 | 1216037.3066 | 2582816.3298 | 1216030.6572
12 | 2582684.3149 | 1216022.9465 | 2582691.0029 | 1216017.479 | 2582691.6456 | 1216011.3737 | 2582692.2757 | 1216010.7659
13 | 2582684.3149 | 1216022.9465 | 2582676.8698 | 1216029.0329
14 | 2582692.2757 | 1216010.7659 | 2582699.6476 | 1216003.6566
15 | 2582666.8869 | 1216037.194 | 2582676.8698 | 1216029.0329
16 | 2582699.6476 | 1216003.6566 | 2582706.0864 | 1215997.447
17 | 2582666.8869 | 1216037.194 | 2582676.1703 | 1216048.287
18 | 2582666.8869 | 1216037.194 | 2582660.8369 | 1216030.9327
19 | 2582706.0864 | 1215997.447 | 2582794.3666 | 1216009.5154
20 | 2582678.7738 | 1216051.3979 | 2582676.1703 | 1216048.287
21 | 2582643.8583 | 1216013.3613 | 2582660.8369 | 1216030.9327
22 | 2582690.3572 | 1216065.2392 | 2582678.7738 | 1216051.3979
23 | 2582578.6156 | 1216164.8825 | 2582580.1826 | 1216168.4817
24 | 2582567.0659 | 1216138.3553 | 2582578.6156 | 1216164.8825
25 | 2582580.1826 | 1216168.4817 | 2582580.3554 | 1216168.8786
26 | 2582567.0659 | 1216138.3553 | 2582553.2508 | 1216144.3437 | 2582539.1856 | 1216147.9094 | 2582531.1941 | 1216148.0924
27 | 2582567.0659 | 1216138.3553 | 2582562.1204 | 1216126.775
28 | 2582580.3554 | 1216168.8786 | 2582589.4891 | 1216189.8569
29 | 2582496.6201 | 1216146.4451 | 2582518.4524 | 1216148.1817 | 2582528.6029 | 1216148.1518 | 2582531.1941 | 1216148.0924
30 | 2582562.1204 | 1216126.775 | 2582555.9619 | 1216112.3544
31 | 2582599.6158 | 1216211.3081 | 2582593.9103 | 1216200.0115 | 2582589.4891 | 1216189.8569
32 | 2582496.6201 | 1216146.4451 | 2582476.086 | 1216147.284 | 2582464.6362 | 1216146.4349
33 | 2582496.6201 | 1216146.4451 | 2582496.3029 | 1216152.1382 | 2582500.4611 | 1216169.3913 | 2582495.5866 | 1216174.3863 | 2582482.0496 | 1216181.9639 | 2582473.0683 | 1216189.6726 | 2582473.1106 | 1216196.2985
34 | 2582555.8303 | 1216112.0461 | 2582555.9619 | 1216112.3544
35 | 2582555.8303 | 1216112.0461 | 2582548.8436 | 1216095.6861
36 | 2582542.2907 | 1216079.9802 | 2582548.1221 | 1216093.9968 | 2582548.8436 | 1216095.6861
37 | 2582532.1759 | 1216046.6946 | 2582534.1524 | 1216060.4188 | 2582542.2907 | 1216079.9802
38 | 2582532.1759 | 1216046.6946 | 2582511.7999 | 1216043.5469
39 | 2582532.1759 | 1216046.6946 | 2582537.3978 | 1216038.4301 | 2582543.3803 | 1216032.2799
40 | 2582643.8583 | 1216013.3613 | 2582628.3768 | 1215997.3392
41 | 2582628.3768 | 1215997.3392 | 2582623.4991 | 1215992.2912
42 | 2582611.6986 | 1215980.0786 | 2582623.4991 | 1215992.2912
43 | 2582611.6986 | 1215980.0786 | 2582570.8529 | 1216010.4031
44 | 2582611.6986 | 1215980.0786 | 2582630.1672 | 1215963.3594 | 2582650.669 | 1215940.92 | 2582667.6311 | 1215920.4254 | 2582682.145 | 1215906.4973
45 | 2582476.642 | 1216044.3383 | 2582484.4035 | 1216051.0491 | 2582495.5225 | 1216044.6904 | 2582507.4596 | 1216042.8764 | 2582511.7999 | 1216043.5469
46 | 2582544.1036 | 1216031.5363 | 2582543.3803 | 1216032.2799
47 | 2582451.5864 | 1216019.039 | 2582460.3126 | 1216030.2195 | 2582476.642 | 1216044.3383
48 | 2582544.1036 | 1216031.5363 | 2582550.5532 | 1216024.9059 | 2582568.0093 | 1216012.5142 | 2582570.8529 | 1216010.4031
49 | 2582451.5864 | 1216019.039 | 2582310.5271 | 1216012.9769
50 | 2582297.7215 | 1215995.6231 | 2582310.5271 | 1216012.9769
51 | 2582682.145 | 1215906.4973 | 2582712.058 | 1215868.0441
52 | 2582714.408 | 1215865.0232 | 2582712.058 | 1215868.0441
53 | 2582602.3684 | 1216216.7582 | 2582605.5329 | 1216223.0239 | 2582609.2482 | 1216228.1576
54 | 2582602.3684 | 1216216.7582 | 2582599.6158 | 1216211.3081
55 | 2582483.0136 | 1216206.4456 | 2582473.1106 | 1216196.2985
56 | 2582508.1687 | 1216232.2211 | 2582483.0136 | 1216206.4456
57 | 2582813.7301 | 1216027.5501 | 2582794.3666 | 1216009.5154
58 | 2582813.7301 | 1216027.5501 | 2582827.5943 | 1216014.6177
59 | 2582813.7301 | 1216027.5501 | 2582816.3298 | 1216030.6572
60 | 2582290.2347 | 1215985.4772 | 2582290.2347 | 1215985.4772 | 2582297.7215 | 1215995.6231
61 | 2582290.2347 | 1215985.4772 | 2582285.7382 | 1215968.79
62 | 2582508.1687 | 1216232.2211 | 2582533.8897 | 1216258.5763
63 | 2582250.2196 | 1215834.5034 | 2582257.1893 | 1215861.2834
64 | 2582250.2196 | 1215834.5034 | 2582239.5966 | 1215793.6861 | 2582228.745 | 1215758.5113
65 | 2582260.8036 | 1215875.1709 | 2582257.1893 | 1215861.2834
66 | 2582220.291 | 1215731.1084 | 2582220.291 | 1215731.1084 | 2582228.745 | 1215758.5113
67 | 2582260.8036 | 1215875.1709 | 2582264.6658 | 1215890.0108
68 | 2582220.291 | 1215731.1084 | 2582218.5495 | 1215670.0141
69 | 2582267.0601 | 1215899.2109 | 2582264.6658 | 1215890.0108
70 | 2582218.8148 | 1215624.3508 | 2582218.5345 | 1215669.4897 | 2582218.5495 | 1215670.0141
71 | 2582267.8673 | 1215902.3123 | 2582267.0601 | 1215899.2109
72 | 2582274.4537 | 1215926.9118 | 2582269.0602 | 1215906.8957 | 2582267.8673 | 1215902.3123
73 | 2582274.4537 | 1215926.9118 | 2582279.2474 | 1215944.7019
74 | 2582279.2474 | 1215944.7019 | 2582285.7382 | 1215968.79
75 | 2582218.9063 | 1215609.6272 | 2582218.8148 | 1215624.3508
76 | 2582218.9063 | 1215609.6272 | 2582218.9236 | 1215606.8307 | 2582218.9236 | 1215606.8307
77 | 2582222.5067 | 1215597.4972 | 2582226.337 | 1215587.5197 | 2582227.331 | 1215585.6074
78 | 2582222.5067 | 1215597.4972 | 2582218.9236 | 1215606.8307

## bus_geodata
| x | y | coords
0 | 2582934.4008 | 1216048.097
1 | 2582907.9143 | 1216049.546
2 | 2583004.9697 | 1216016.0915
3 | 2582782.3555 | 1216140.9805
4 | 2582803.613 | 1216122.1305
5 | 2582816.0061 | 1216111.141
6 | 2582822.7544 | 1216105.157
7 | 2582862.6525 | 1216086.023
8 | 2582869.2761 | 1216093.9404
9 | 2582845.5497 | 1216065.5809
10 | 2582827.6999 | 1216044.2468
11 | 2582821.8932 | 1216037.3066
12 | 2582684.3149 | 1216022.9465
13 | 2582692.2757 | 1216010.7659
14 | 2582676.8698 | 1216029.0329
15 | 2582699.6476 | 1216003.6566
16 | 2582666.8869 | 1216037.194
17 | 2582706.0864 | 1215997.447
18 | 2582676.1703 | 1216048.287
19 | 2582660.8369 | 1216030.9327
20 | 2582690.3572 | 1216065.2392
21 | 2582678.7738 | 1216051.3979
22 | 2582578.6156 | 1216164.8825
23 | 2582580.1826 | 1216168.4817
24 | 2582567.0659 | 1216138.3553
25 | 2582580.3554 | 1216168.8786
26 | 2582531.1941 | 1216148.0924
27 | 2582562.1204 | 1216126.775
28 | 2582589.4891 | 1216189.8569
29 | 2582496.6201 | 1216146.4451
30 | 2582555.9619 | 1216112.3544
31 | 2582555.8303 | 1216112.0461
32 | 2582548.8436 | 1216095.6861
33 | 2582542.2907 | 1216079.9802
34 | 2582532.1759 | 1216046.6946
35 | 2582643.8583 | 1216013.3613
36 | 2582628.3768 | 1215997.3392
37 | 2582623.4991 | 1215992.2912
38 | 2582611.6986 | 1215980.0786
39 | 2582511.7999 | 1216043.5469
40 | 2582543.3803 | 1216032.2799
41 | 2582476.642 | 1216044.3383
42 | 2582544.1036 | 1216031.5363
43 | 2582451.5864 | 1216019.039
44 | 2582310.5271 | 1216012.9769
45 | 2582570.8529 | 1216010.4031
46 | 2582682.145 | 1215906.4973
47 | 2582712.058 | 1215868.0441
48 | 2582714.408 | 1215865.0232
49 | 2582609.2482 | 1216228.1576
50 | 2582602.3684 | 1216216.7582
51 | 2582599.6158 | 1216211.3081
52 | 2582464.6362 | 1216146.4349
53 | 2582473.1106 | 1216196.2985
54 | 2582483.0136 | 1216206.4456
55 | 2582794.3666 | 1216009.5154
56 | 2582813.7301 | 1216027.5501
57 | 2582827.5943 | 1216014.6177
58 | 2582816.3298 | 1216030.6572
59 | 2582297.7215 | 1215995.6231
60 | 2582290.2347 | 1215985.4772
61 | 2582508.1687 | 1216232.2211
62 | 2582533.8897 | 1216258.5763
63 | 2582250.2196 | 1215834.5034
64 | 2582257.1893 | 1215861.2834
65 | 2582228.745 | 1215758.5113
66 | 2582260.8036 | 1215875.171
67 | 2582220.291 | 1215731.1084
68 | 2582264.6658 | 1215890.0108
69 | 2582218.5495 | 1215670.0141
70 | 2582267.0601 | 1215899.2109
71 | 2582267.8673 | 1215902.3123
72 | 2582274.4537 | 1215926.9118
73 | 2582279.2474 | 1215944.7019
74 | 2582285.7382 | 1215968.79
75 | 2582218.8148 | 1215624.3508
76 | 2582218.9063 | 1215609.6272
77 | 2582222.5067 | 1215597.4972
78 | 2582227.331 | 1215585.6074
79 | 2582218.9236 | 1215606.8307
80 | 2582666.8869 | 1216037.194

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1