## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_751-2_1_4_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_751-2_1_4_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_751-2_1_4_node_126 | 0.4 | n |  | TRUE
3 | bus_LV_751-2_1_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_751-2_1_4_node_142 | 0.4 | n |  | TRUE
5 | bus_LV_751-2_1_4_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_751-2_1_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_751-2_1_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_751-2_1_4_node_139 | 0.4 | n |  | TRUE
9 | bus_LV_751-2_1_4_node_129 | 0.4 | n |  | TRUE
10 | bus_LV_751-2_1_4_node_127 | 0.4 | n |  | TRUE
11 | bus_LV_751-2_1_4_node_138 | 0.4 | n |  | TRUE
12 | bus_LV_751-2_1_4_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_751-2_1_4_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_751-2_1_4_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_751-2_1_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_751-2_1_4_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_751-2_1_4_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_751-2_1_4_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_751-2_1_4_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_751-2_1_4_node_135 | 0.4 | n |  | TRUE
21 | bus_LV_751-2_1_4_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_751-2_1_4_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_751-2_1_4_node_128 | 0.4 | n |  | TRUE
24 | bus_LV_751-2_1_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_751-2_1_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_751-2_1_4_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_751-2_1_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_751-2_1_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_751-2_1_4_node_125 | 0.4 | n |  | TRUE
30 | bus_LV_751-2_1_4_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_751-2_1_4_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_751-2_1_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_751-2_1_4_node_123 | 0.4 | n |  | TRUE
34 | bus_LV_751-2_1_4_node_106 | 0.4 | n |  | TRUE
35 | bus_LV_751-2_1_4_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_751-2_1_4_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_751-2_1_4_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_751-2_1_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_751-2_1_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_751-2_1_4_node_140 | 0.4 | n |  | TRUE
41 | bus_LV_751-2_1_4_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_751-2_1_4_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_751-2_1_4_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_751-2_1_4_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_751-2_1_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_751-2_1_4_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_751-2_1_4_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_751-2_1_4_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_751-2_1_4_node_141 | 0.4 | n |  | TRUE
50 | bus_LV_751-2_1_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_751-2_1_4_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_751-2_1_4_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_751-2_1_4_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_751-2_1_4_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_751-2_1_4_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_751-2_1_4_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_751-2_1_4_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_751-2_1_4_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_751-2_1_4_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_751-2_1_4_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_751-2_1_4_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_751-2_1_4_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_751-2_1_4_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_751-2_1_4_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_751-2_1_4_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_751-2_1_4_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_751-2_1_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_751-2_1_4_node_124 | 0.4 | n |  | TRUE
69 | bus_LV_751-2_1_4_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_751-2_1_4_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_751-2_1_4_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_751-2_1_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_751-2_1_4_node_114 | 0.4 | n |  | TRUE
74 | bus_LV_751-2_1_4_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_751-2_1_4_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_751-2_1_4_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_751-2_1_4_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_751-2_1_4_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_751-2_1_4_node_104 | 0.4 | n |  | TRUE
80 | bus_LV_751-2_1_4_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_751-2_1_4_node_118 | 0.4 | n |  | TRUE
82 | bus_LV_751-2_1_4_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_751-2_1_4_node_116 | 0.4 | n |  | TRUE
84 | bus_LV_751-2_1_4_node_109 | 0.4 | n |  | TRUE
85 | bus_LV_751-2_1_4_node_110 | 0.4 | n |  | TRUE
86 | bus_LV_751-2_1_4_node_111 | 0.4 | n |  | TRUE
87 | bus_LV_751-2_1_4_node_112 | 0.4 | n |  | TRUE
88 | bus_LV_751-2_1_4_node_113 | 0.4 | n |  | TRUE
89 | bus_LV_751-2_1_4_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_751-2_1_4_node_119 | 0.4 | n |  | TRUE
91 | bus_LV_751-2_1_4_node_117 | 0.4 | n |  | TRUE
92 | bus_LV_751-2_1_4_node_120 | 0.4 | n |  | TRUE
93 | bus_LV_751-2_1_4_node_121 | 0.4 | n |  | TRUE
94 | bus_LV_751-2_1_4_node_131 | 0.4 | n |  | TRUE
95 | bus_LV_751-2_1_4_node_130 | 0.4 | n |  | TRUE
96 | bus_LV_751-2_1_4_node_137 | 0.4 | n |  | TRUE
97 | bus_LV_751-2_1_4_node_132 | 0.4 | n |  | TRUE
98 | bus_LV_751-2_1_4_node_133 | 0.4 | n |  | TRUE
99 | bus_MV_325_1_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_751-2_1_4_load_68 | 1 | 0.00074497 | 0.00018671 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_751-2_1_4_load_126 | 2 | 0.0013676 | 0.00034275 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_751-2_1_4_load_142 | 4 | 0.037269 | 0.0093405 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_751-2_1_4_load_139 | 8 | 0.0055091 | 0.0013807 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_751-2_1_4_load_127 | 10 | 0.0034569 | 0.00086638 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_751-2_1_4_load_138 | 11 | 0.0010948 | 0.00027437 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_751-2_1_4_load_90 | 13 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_751-2_1_4_load_88 | 14 | 0.0045512 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_751-2_1_4_load_55 | 15 | 0.0025706 | 0.00064426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_751-2_1_4_load_56 | 16 | 0.0014547 | 0.00036457 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_751-2_1_4_load_54 | 17 | 0.004902 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_751-2_1_4_load_67 | 19 | 0.0017256 | 0.00043246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_751-2_1_4_load_135 | 20 | 0.0022012 | 0.00055167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_751-2_1_4_load_136 | 21 | 0.0035447 | 0.00088838 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_751-2_1_4_load_128 | 23 | 0.0027266 | 0.00068334 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_751-2_1_4_load_48 | 24 | 0.0018242 | 0.00045719 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_751-2_1_4_load_51 | 26 | 0.021102 | 0.0052885 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_751-2_1_4_load_52 | 27 | 0.0016444 | 0.00041212 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_751-2_1_4_load_125 | 29 | 0.0048145 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_751-2_1_4_load_58 | 31 | 0.017536 | 0.004395 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_751-2_1_4_load_106 | 34 | 0.0011473 | 0.00028754 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_751-2_1_4_load_103 | 35 | 0.0015414 | 0.00038631 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_751-2_1_4_load_101 | 36 | 0.0021853 | 0.00054768 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_751-2_1_4_load_105 | 37 | 0.0012884 | 0.00032291 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_751-2_1_4_load_69 | 39 | 0.00040619 | 0.0001018 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_751-2_1_4_load_140 | 40 | 0.0019816 | 0.00049665 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_751-2_1_4_load_60 | 43 | 0.0074759 | 0.0018736 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_751-2_1_4_load_63 | 44 | 0.0016105 | 0.00040363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_751-2_1_4_load_66 | 45 | 0.0021681 | 0.00054337 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_751-2_1_4_load_107 | 46 | 0.0019083 | 0.00047825 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_751-2_1_4_load_70 | 47 | 0.0020999 | 0.00052629 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_751-2_1_4_load_108 | 48 | 0.00057823 | 0.00014492 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_751-2_1_4_load_141 | 49 | 0.014781 | 0.0037044 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_751-2_1_4_load_71 | 50 | 0.0020973 | 0.00052563 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_751-2_1_4_load_72 | 52 | 0.002096 | 0.0005253 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_751-2_1_4_load_73 | 53 | 0.0048 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_751-2_1_4_load_74 | 54 | 0.0014416 | 0.00036131 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_751-2_1_4_load_75 | 55 | 0.0018841 | 0.0004722 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_751-2_1_4_load_76 | 56 | 0.0019339 | 0.00048468 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_751-2_1_4_load_77 | 57 | 0.0019434 | 0.00048705 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_751-2_1_4_load_78 | 58 | 0.0022575 | 0.00056579 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_751-2_1_4_load_79 | 59 | 0.0030702 | 0.00076946 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_751-2_1_4_load_81 | 60 | 0.0025498 | 0.00063903 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_751-2_1_4_load_80 | 61 | 0.0017707 | 0.00044379 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_751-2_1_4_load_82 | 62 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_751-2_1_4_load_83 | 63 | 0.0046824 | 0.0011735 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_751-2_1_4_load_86 | 64 | 0.0018319 | 0.00045911 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_751-2_1_4_load_84 | 65 | 0.0023757 | 0.00059542 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_751-2_1_4_load_85 | 66 | 0.0024432 | 0.00061232 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_751-2_1_4_load_87 | 67 | 0.0011508 | 0.00028841 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_751-2_1_4_load_124 | 68 | 0.00079048 | 0.00019811 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_751-2_1_4_load_122 | 69 | 0.0022921 | 0.00057445 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_751-2_1_4_load_89 | 70 | 0.0031743 | 0.00079555 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_751-2_1_4_load_91 | 71 | 0.0026195 | 0.0006565 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_751-2_1_4_load_92 | 72 | 0.003177 | 0.00079623 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_751-2_1_4_load_114 | 73 | 0.0025009 | 0.00062678 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_751-2_1_4_load_115 | 74 | 0.004237 | 0.0010619 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_751-2_1_4_load_93 | 75 | 0.0014656 | 0.00036732 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_751-2_1_4_load_94 | 76 | 0.00080906 | 0.00020277 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_751-2_1_4_load_96 | 77 | 0.00075061 | 0.00018812 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_751-2_1_4_load_104 | 79 | 0.00091451 | 0.0002292 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_751-2_1_4_load_102 | 80 | 0.0023867 | 0.00059817 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_751-2_1_4_load_118 | 81 | 0.0024591 | 0.00061631 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_751-2_1_4_load_100 | 82 | 0.0063209 | 0.0015842 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_751-2_1_4_load_116 | 83 | 0.0034954 | 0.00087604 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_751-2_1_4_load_109 | 84 | 0.0007784 | 0.00019509 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_751-2_1_4_load_110 | 85 | 0.0017596 | 0.000441 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_751-2_1_4_load_111 | 86 | 0.0020528 | 0.00051447 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_751-2_1_4_load_112 | 87 | 0.0034094 | 0.00085447 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_751-2_1_4_load_113 | 88 | 0.0015781 | 0.00039551 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_751-2_1_4_load_134 | 89 | 0.0016419 | 0.0004115 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_751-2_1_4_load_119 | 90 | 0.0020027 | 0.00050191 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_751-2_1_4_load_117 | 91 | 0.0032795 | 0.00082193 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_751-2_1_4_load_120 | 92 | 0.00085311 | 0.00021381 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_751-2_1_4_load_121 | 93 | 0.001606 | 0.0004025 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_751-2_1_4_load_131 | 94 | 0.0050082 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_751-2_1_4_load_130 | 95 | 0.0028104 | 0.00070434 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_751-2_1_4_load_137 | 96 | 0.0048386 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_751-2_1_4_load_132 | 97 | 0.0041453 | 0.0010389 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_751-2_1_4_load_133 | 98 | 0.0047733 | 0.0011963 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_751-2_1_4_line_0 |  | 0 | 1 | 0.032136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_751-2_1_4_line_1 |  | 0 | 2 | 0.047022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_751-2_1_4_line_2 |  | 1 | 19 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_751-2_1_4_line_3 |  | 3 | 4 | 0.095419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_751-2_1_4_line_4 |  | 3 | 5 | 0.06408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_751-2_1_4_line_5 |  | 5 | 11 | 0.03011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_751-2_1_4_line_6 |  | 5 | 12 | 0.055957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_751-2_1_4_line_7 |  | 6 | 7 | 0.10092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_751-2_1_4_line_8 |  | 6 | 8 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_751-2_1_4_line_9 |  | 7 | 9 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_751-2_1_4_line_10 |  | 7 | 10 | 0.054805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_751-2_1_4_line_11 |  | 8 | 20 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_751-2_1_4_line_12 |  | 9 | 21 | 0.064785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_751-2_1_4_line_13 |  | 9 | 22 | 0.03199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_751-2_1_4_line_14 |  | 10 | 23 | 0.019937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_751-2_1_4_line_15 |  | 12 | 44 | 0.030884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_751-2_1_4_line_16 |  | 12 | 43 | 0.017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_751-2_1_4_line_17 |  | 13 | 14 | 0.0068753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_751-2_1_4_line_18 |  | 14 | 70 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_751-2_1_4_line_19 |  | 15 | 16 | 0.03165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_751-2_1_4_line_20 |  | 16 | 30 | 0.043899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_751-2_1_4_line_21 |  | 17 | 18 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_751-2_1_4_line_22 |  | 18 | 28 | 0.036821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_751-2_1_4_line_23 |  | 18 | 24 | 0.0094182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_751-2_1_4_line_24 |  | 19 | 27 | 0.03738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_751-2_1_4_line_25 |  | 20 | 74 | 0.0051422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_751-2_1_4_line_26 |  | 21 | 96 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_751-2_1_4_line_27 |  | 22 | 81 | 0.03132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_751-2_1_4_line_28 |  | 23 | 58 | 0.00049791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_751-2_1_4_line_29 |  | 24 | 25 | 0.041918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_751-2_1_4_line_30 |  | 25 | 26 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_751-2_1_4_line_31 |  | 25 | 27 | 0.032907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_751-2_1_4_line_32 |  | 28 | 29 | 0.023888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_751-2_1_4_line_33 |  | 28 | 30 | 0.004243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_751-2_1_4_line_34 |  | 29 | 33 | 0.01935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_751-2_1_4_line_35 |  | 30 | 34 | 0.0074357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_751-2_1_4_line_36 |  | 31 | 32 | 0.051356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_751-2_1_4_line_37 |  | 32 | 38 | 0.13019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_751-2_1_4_line_38 |  | 32 | 39 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_751-2_1_4_line_39 |  | 33 | 94 | 0.0092245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_751-2_1_4_line_40 |  | 33 | 93 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_751-2_1_4_line_41 |  | 34 | 37 | 0.024586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_751-2_1_4_line_42 |  | 35 | 36 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_751-2_1_4_line_43 |  | 36 | 82 | 0.019474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_751-2_1_4_line_44 |  | 37 | 79 | 0.025049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_751-2_1_4_line_45 |  | 38 | 40 | 0.030616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_751-2_1_4_line_46 |  | 38 | 41 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_751-2_1_4_line_47 |  | 39 | 42 | 0.0053672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_751-2_1_4_line_48 |  | 40 | 49 | 0.0053123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_751-2_1_4_line_49 |  | 41 | 45 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_751-2_1_4_line_50 |  | 41 | 43 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_751-2_1_4_line_51 |  | 42 | 51 | 0.020536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_751-2_1_4_line_52 |  | 44 | 46 | 0.031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_751-2_1_4_line_53 |  | 45 | 47 | 0.011118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_751-2_1_4_line_54 |  | 46 | 48 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_751-2_1_4_line_55 |  | 47 | 50 | 0.032126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_751-2_1_4_line_56 |  | 48 | 84 | 0.033365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_751-2_1_4_line_57 |  | 50 | 52 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_751-2_1_4_line_58 |  | 51 | 78 | 0.003386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_751-2_1_4_line_59 |  | 51 | 75 | 0.020849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_751-2_1_4_line_60 |  | 52 | 53 | 0.021082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_751-2_1_4_line_61 |  | 53 | 54 | 0.026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_751-2_1_4_line_62 |  | 55 | 56 | 0.007464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_751-2_1_4_line_63 |  | 55 | 57 | 0.0074755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_751-2_1_4_line_64 |  | 56 | 58 | 0.018297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_751-2_1_4_line_65 |  | 57 | 59 | 0.010722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_751-2_1_4_line_66 |  | 59 | 60 | 0.0059527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_751-2_1_4_line_67 |  | 60 | 61 | 0.0083446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_751-2_1_4_line_68 |  | 61 | 62 | 2.3192e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_751-2_1_4_line_69 |  | 62 | 63 | 0.0034093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_751-2_1_4_line_70 |  | 63 | 64 | 0.0040393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_751-2_1_4_line_71 |  | 64 | 65 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_751-2_1_4_line_72 |  | 65 | 66 | 0.0070125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_751-2_1_4_line_73 |  | 66 | 67 | 0.0070942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_751-2_1_4_line_74 |  | 67 | 68 | 0.0060902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_751-2_1_4_line_75 |  | 68 | 69 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_751-2_1_4_line_76 |  | 69 | 92 | 0.0053315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_751-2_1_4_line_77 |  | 70 | 71 | 0.029106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_751-2_1_4_line_78 |  | 71 | 72 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_751-2_1_4_line_79 |  | 72 | 73 | 0.0078415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_751-2_1_4_line_80 |  | 73 | 74 | 0.017354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_751-2_1_4_line_81 |  | 75 | 76 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_751-2_1_4_line_82 |  | 76 | 77 | 0.01965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_751-2_1_4_line_83 |  | 77 | 79 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_751-2_1_4_line_84 |  | 78 | 80 | 0.036029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_751-2_1_4_line_85 |  | 80 | 82 | 0.023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_751-2_1_4_line_86 |  | 81 | 83 | 0.029249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_751-2_1_4_line_87 |  | 83 | 91 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_751-2_1_4_line_88 |  | 85 | 86 | 0.0029815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_751-2_1_4_line_89 |  | 85 | 87 | 0.010909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_751-2_1_4_line_90 |  | 86 | 88 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_751-2_1_4_line_91 |  | 88 | 89 | 0.0027489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_751-2_1_4_line_92 |  | 89 | 90 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_751-2_1_4_line_93 |  | 90 | 91 | 0.012054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_751-2_1_4_line_94 |  | 92 | 93 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_751-2_1_4_line_95 |  | 94 | 95 | 0.018701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_751-2_1_4_line_96 |  | 95 | 97 | 0.0052641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_751-2_1_4_line_97 |  | 97 | 98 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_751-2_1_4_trafo_105 | 0.63 MVA 20/0.4 kV | 99 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2581930.6694 | 1212996.3127 | 2581932.1271 | 1213011.0387 | 2581932.0146 | 1213023.9797 | 2581931.9143 | 1213028.3746
1 | 2581930.6694 | 1212996.3127 | 2581941.9865 | 1213003.4378 | 2581954.8527 | 1213012.904 | 2581961.5634 | 1213019.0092 | 2581964.6852 | 1213021.4678 | 2581968.8162 | 1213023.5564
2 | 2581931.9143 | 1213028.3746 | 2581931.7064 | 1213037.4883 | 2581931.4419 | 1213038.8865
3 | 2581968.8737 | 1213082.445 | 2581972.7037 | 1213075.485 | 2581974.6113 | 1213070.821 | 2581976.0624 | 1213065.8805 | 2581982.0252 | 1213035.8788 | 2581982.7483 | 1213033.8644 | 2582011.5556 | 1212999.8022
4 | 2582011.5556 | 1212999.8022 | 2582057.8916 | 1213032.4137 | 2582054.0901 | 1213038.7843
5 | 2582054.0901 | 1213038.7843 | 2582081.849 | 1213050.4489
6 | 2582025.4317 | 1213086.8871 | 2582054.0901 | 1213038.7843
7 | 2581658.1172 | 1213235.6392 | 2581677.8838 | 1213278.2022 | 2581702.6126 | 1213304.3406 | 2581708.5356 | 1213308.736 | 2581713.922 | 1213311.5543 | 2581718.2784 | 1213312.8638
8 | 2581658.1172 | 1213235.6392 | 2581669.5439 | 1213211.7557
9 | 2581718.2784 | 1213312.8638 | 2581722.5109 | 1213315.897 | 2581730.9581 | 1213323.5531
10 | 2581718.2784 | 1213312.8638 | 2581723.7786 | 1213300.829 | 2581747.1291 | 1213266.4334
11 | 2581669.5439 | 1213211.7557 | 2581678.0155 | 1213194.0487
12 | 2581730.9581 | 1213323.5531 | 2581767.9228 | 1213270.3487
13 | 2581757.076 | 1213342.1276 | 2581730.9581 | 1213323.5531
14 | 2581747.1291 | 1213266.4334 | 2581758.3272 | 1213249.9384
15 | 2582025.4317 | 1213086.8871 | 2582045.3647 | 1213099.834 | 2582051.4807 | 1213103.4694
16 | 2582025.4317 | 1213086.8871 | 2582015.8439 | 1213101.8464
17 | 2581719.2152 | 1213111.3148 | 2581715.9826 | 1213117.3828
18 | 2581715.9826 | 1213117.3828 | 2581708.6041 | 1213131.2336
19 | 2581888.786 | 1213053.3212 | 2581888.0611 | 1213084.9633
20 | 2581886.7889 | 1213128.8434 | 2581887.8391 | 1213094.6542 | 2581888.0611 | 1213084.9633
21 | 2581883.8208 | 1213092.1762 | 2581884.3731 | 1213076.2331
22 | 2581883.8208 | 1213092.1762 | 2581882.5356 | 1213128.9675
23 | 2581883.8208 | 1213092.1762 | 2581876.7906 | 1213095.8442 | 2581876.7951 | 1213097.3327
24 | 2581920.8473 | 1213074.6761 | 2581927.7483 | 1213054.7545 | 2581930.6373 | 1213043.1391 | 2581931.4419 | 1213038.8865
25 | 2581678.0155 | 1213194.0487 | 2581680.2348 | 1213189.4101
26 | 2581781.8445 | 1213250.3109 | 2581767.9228 | 1213270.3487
27 | 2581757.076 | 1213342.1276 | 2581775.899 | 1213317.0944
28 | 2581758.6069 | 1213249.5264 | 2581758.3272 | 1213249.9384
29 | 2581910.076 | 1213105.7704 | 2581892.8187 | 1213106.0121 | 2581876.8216 | 1213105.9942 | 2581876.7951 | 1213097.3327
30 | 2581910.076 | 1213105.7704 | 2581907.8396 | 1213114.7045 | 2581907.3998 | 1213120.9494
31 | 2581910.076 | 1213105.7704 | 2581920.8473 | 1213074.6761
32 | 2581882.5356 | 1213128.9675 | 2581858.6729 | 1213130.0601
33 | 2581886.7889 | 1213128.8434 | 2581882.5356 | 1213128.9675
34 | 2581839.3436 | 1213130.9451 | 2581858.6729 | 1213130.0601
35 | 2581886.7889 | 1213128.8434 | 2581886.8632 | 1213136.2787
36 | 2581938.8928 | 1213237.2457 | 2581936.3274 | 1213227.9371 | 2581931.772 | 1213208.6624 | 2581926.3045 | 1213189.2125 | 2581925.7008 | 1213187.6328
37 | 2581938.8928 | 1213237.2457 | 2581944.1229 | 1213231.1486 | 2581947.3862 | 1213225.2131 | 2581953.3688 | 1213211.7651 | 2581957.9517 | 1213200.1446 | 2581963.8183 | 1213188.5202 | 2582002.247 | 1213123.856
38 | 2581938.8928 | 1213237.2457 | 2581941.5111 | 1213248.2332
39 | 2581839.3436 | 1213130.9451 | 2581831.9895 | 1213125.3766
40 | 2581839.3436 | 1213130.9451 | 2581834.0795 | 1213138.3543 | 2581832.3223 | 1213140.9426
41 | 2581887.4492 | 1213160.8544 | 2581887.0077 | 1213150.7328 | 2581886.8632 | 1213136.2787
42 | 2581888.1075 | 1213193.2032 | 2581885.6436 | 1213181.6211 | 2581884.5182 | 1213172.0495
43 | 2581893.9008 | 1213211.7594 | 2581889.281 | 1213198.7196 | 2581888.1075 | 1213193.2032
44 | 2581890.022 | 1213185.7464 | 2581889.3446 | 1213182.2212 | 2581888.6943 | 1213173.2404 | 2581887.5876 | 1213164.0274 | 2581887.4492 | 1213160.8544
45 | 2582002.247 | 1213123.856 | 2582018.9447 | 1213137.0128 | 2582020.2342 | 1213138.921 | 2582020.8879 | 1213141.5761 | 2582020.3903 | 1213145.8673
46 | 2582008.7614 | 1213112.8967 | 2582002.247 | 1213123.856
47 | 2581942.7552 | 1213253.4542 | 2581941.5111 | 1213248.2332
48 | 2582018.7134 | 1213150.8991 | 2582020.3476 | 1213146.2359 | 2582020.3903 | 1213145.8673
49 | 2582008.7614 | 1213112.8967 | 2582024.1545 | 1213122.8889
50 | 2582008.7614 | 1213112.8967 | 2582015.8439 | 1213101.8464
51 | 2581942.7552 | 1213253.4542 | 2581937.7177 | 1213255.4596 | 2581924.3329 | 1213262.5821
52 | 2582051.4807 | 1213103.4694 | 2582065.2944 | 1213111.6804 | 2582079.2097 | 1213118.8166
53 | 2582033.4796 | 1213128.9423 | 2582024.1545 | 1213122.8889
54 | 2582099.4858 | 1213129.2147 | 2582079.2097 | 1213118.8166
55 | 2582033.4796 | 1213128.9423 | 2582060.4259 | 1213146.4342
56 | 2582099.4858 | 1213129.2147 | 2582104.1089 | 1213131.5856 | 2582127.4114 | 1213143.5999 | 2582129.281 | 1213144.1608
57 | 2582069.5877 | 1213152.3815 | 2582060.4259 | 1213146.4342
58 | 2581924.3329 | 1213262.5821 | 2581921.4215 | 1213264.3253
59 | 2581924.3329 | 1213262.5821 | 2581919.9203 | 1213255.2581 | 2581913.1893 | 1213244.9654
60 | 2582069.5877 | 1213152.3815 | 2582087.2703 | 1213163.86
61 | 2582087.2703 | 1213163.86 | 2582109.217 | 1213178.1065
62 | 2581773.0763 | 1213228.2127 | 2581768.884 | 1213234.3881
63 | 2581773.0763 | 1213228.2127 | 2581777.2752 | 1213222.0278
64 | 2581758.6069 | 1213249.5264 | 2581768.884 | 1213234.3881
65 | 2581783.2977 | 1213213.1566 | 2581777.2752 | 1213222.0278
66 | 2581783.2977 | 1213213.1566 | 2581786.6412 | 1213208.2316
67 | 2581791.3281 | 1213201.3276 | 2581786.6412 | 1213208.2316
68 | 2581791.3411 | 1213201.3084 | 2581791.3281 | 1213201.3276
69 | 2581793.2561 | 1213198.4877 | 2581791.3411 | 1213201.3084
70 | 2581793.2561 | 1213198.4877 | 2581795.5248 | 1213195.1458
71 | 2581804.073 | 1213182.5542 | 2581795.5248 | 1213195.1458
72 | 2581804.073 | 1213182.5542 | 2581808.0118 | 1213176.7524
73 | 2581808.0118 | 1213176.7524 | 2581811.9964 | 1213170.8829
74 | 2581815.4172 | 1213165.8442 | 2581811.9964 | 1213170.8829
75 | 2581815.4172 | 1213165.8442 | 2581822.1507 | 1213155.9256
76 | 2581825.1452 | 1213151.5146 | 2581822.1507 | 1213155.9256
77 | 2581708.6041 | 1213131.2336 | 2581703.3472 | 1213141.1018 | 2581695.6111 | 1213157.2713
78 | 2581691.1088 | 1213166.6819 | 2581695.6111 | 1213157.2713
79 | 2581691.1088 | 1213166.6819 | 2581687.7245 | 1213173.7555
80 | 2581687.7245 | 1213173.7555 | 2581680.2348 | 1213189.4101
81 | 2581913.1893 | 1213244.9654 | 2581907.5346 | 1213236.3185 | 2581902.6504 | 1213226.35 | 2581900.8612 | 1213221.8857
82 | 2581900.8612 | 1213221.8857 | 2581897.7595 | 1213214.1469 | 2581894.6468 | 1213204.7177 | 2581894.2647 | 1213203.3881
83 | 2581894.2647 | 1213203.3881 | 2581891.691 | 1213194.4321 | 2581890.022 | 1213185.7464
84 | 2581921.4215 | 1213264.3253 | 2581909.4149 | 1213245.1511 | 2581903.6789 | 1213234.796 | 2581902.9824 | 1213233.3912
85 | 2581902.9824 | 1213233.3912 | 2581898.0155 | 1213223.3735 | 2581893.9008 | 1213211.7594
86 | 2581793.477 | 1213293.7168 | 2581775.899 | 1213317.0944
87 | 2581793.477 | 1213293.7168 | 2581805.6417 | 1213277.5386
88 | 2581835.7228 | 1213237.5327 | 2581833.931 | 1213239.9157
89 | 2581842.279 | 1213228.8135 | 2581835.7228 | 1213237.5327
90 | 2581825.6221 | 1213250.9661 | 2581833.931 | 1213239.9157
91 | 2581825.6221 | 1213250.9661 | 2581823.97 | 1213253.1632
92 | 2581812.8858 | 1213267.9044 | 2581823.97 | 1213253.1632
93 | 2581812.8858 | 1213267.9044 | 2581805.6417 | 1213277.5386
94 | 2581825.1452 | 1213151.5146 | 2581832.3223 | 1213140.9426
95 | 2581818.8139 | 1213112.1932 | 2581828.0983 | 1213122.4303 | 2581831.9895 | 1213125.3766
96 | 2581818.8139 | 1213112.1932 | 2581815.2774 | 1213108.2939
97 | 2581803.3443 | 1213090.6104 | 2581813.579 | 1213106.4213 | 2581815.2774 | 1213108.2939

## bus_geodata
| x | y | coords
0 | 2581930.6694 | 1212996.3127
1 | 2581931.9143 | 1213028.3746
2 | 2581968.8162 | 1213023.5564
3 | 2582011.5556 | 1212999.8022
4 | 2581968.8737 | 1213082.445
5 | 2582054.0901 | 1213038.7843
6 | 2581658.1172 | 1213235.6392
7 | 2581718.2784 | 1213312.8638
8 | 2581669.5439 | 1213211.7557
9 | 2581730.9581 | 1213323.5531
10 | 2581747.1291 | 1213266.4334
11 | 2582081.849 | 1213050.4489
12 | 2582025.4317 | 1213086.8871
13 | 2581719.2151 | 1213111.3148
14 | 2581715.9826 | 1213117.3828
15 | 2581888.786 | 1213053.3212
16 | 2581888.0611 | 1213084.9633
17 | 2581884.3731 | 1213076.2331
18 | 2581883.8208 | 1213092.1762
19 | 2581931.4419 | 1213038.8865
20 | 2581678.0155 | 1213194.0487
21 | 2581767.9228 | 1213270.3487
22 | 2581757.076 | 1213342.1276
23 | 2581758.3272 | 1213249.9384
24 | 2581876.7951 | 1213097.3327
25 | 2581910.076 | 1213105.7704
26 | 2581907.3998 | 1213120.9494
27 | 2581920.8473 | 1213074.6761
28 | 2581882.5356 | 1213128.9675
29 | 2581858.6729 | 1213130.0601
30 | 2581886.7889 | 1213128.8434
31 | 2581925.7008 | 1213187.6328
32 | 2581938.8928 | 1213237.2457
33 | 2581839.3436 | 1213130.9451
34 | 2581886.8632 | 1213136.2787
35 | 2581884.5182 | 1213172.0495
36 | 2581888.1075 | 1213193.2032
37 | 2581887.4492 | 1213160.8544
38 | 2582002.247 | 1213123.856
39 | 2581941.5111 | 1213248.2332
40 | 2582020.3903 | 1213145.8673
41 | 2582008.7614 | 1213112.8967
42 | 2581942.7552 | 1213253.4542
43 | 2582015.8439 | 1213101.8464
44 | 2582051.4807 | 1213103.4694
45 | 2582024.1545 | 1213122.8889
46 | 2582079.2097 | 1213118.8166
47 | 2582033.4796 | 1213128.9423
48 | 2582099.4858 | 1213129.2147
49 | 2582018.7134 | 1213150.8991
50 | 2582060.4259 | 1213146.4342
51 | 2581924.3329 | 1213262.5821
52 | 2582069.5877 | 1213152.3815
53 | 2582087.2703 | 1213163.86
54 | 2582109.217 | 1213178.1065
55 | 2581773.0763 | 1213228.2127
56 | 2581768.884 | 1213234.3881
57 | 2581777.2752 | 1213222.0278
58 | 2581758.6069 | 1213249.5264
59 | 2581783.2977 | 1213213.1566
60 | 2581786.6412 | 1213208.2316
61 | 2581791.3281 | 1213201.3276
62 | 2581791.3411 | 1213201.3085
63 | 2581793.2561 | 1213198.4877
64 | 2581795.5248 | 1213195.1458
65 | 2581804.073 | 1213182.5542
66 | 2581808.0118 | 1213176.7524
67 | 2581811.9964 | 1213170.8829
68 | 2581815.4172 | 1213165.8442
69 | 2581822.1507 | 1213155.9256
70 | 2581708.6041 | 1213131.2336
71 | 2581695.6111 | 1213157.2713
72 | 2581691.1088 | 1213166.6819
73 | 2581687.7245 | 1213173.7555
74 | 2581680.2348 | 1213189.4101
75 | 2581913.1893 | 1213244.9654
76 | 2581900.8612 | 1213221.8857
77 | 2581894.2647 | 1213203.3881
78 | 2581921.4215 | 1213264.3253
79 | 2581890.022 | 1213185.7464
80 | 2581902.9824 | 1213233.3912
81 | 2581775.899 | 1213317.0944
82 | 2581893.9008 | 1213211.7594
83 | 2581793.477 | 1213293.7168
84 | 2582129.281 | 1213144.1608
85 | 2581835.7228 | 1213237.5327
86 | 2581833.931 | 1213239.9157
87 | 2581842.279 | 1213228.8135
88 | 2581825.6221 | 1213250.9661
89 | 2581823.97 | 1213253.1632
90 | 2581812.8858 | 1213267.9044
91 | 2581805.6417 | 1213277.5386
92 | 2581825.1452 | 1213151.5146
93 | 2581832.3223 | 1213140.9426
94 | 2581831.9895 | 1213125.3766
95 | 2581818.8139 | 1213112.1932
96 | 2581781.8445 | 1213250.3109
97 | 2581815.2774 | 1213108.2939
98 | 2581803.3443 | 1213090.6104
99 | 2581886.7889 | 1213128.8434

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1