## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_751-4_1_2_node_69 | 0.4 | n |  | TRUE
1 | bus_LV_751-4_1_2_node_78 | 0.4 | n |  | TRUE
2 | bus_LV_751-4_1_2_node_77 | 0.4 | n |  | TRUE
3 | bus_LV_751-4_1_2_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_751-4_1_2_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_751-4_1_2_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_751-4_1_2_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_751-4_1_2_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_751-4_1_2_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_751-4_1_2_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_751-4_1_2_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_751-4_1_2_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_751-4_1_2_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_751-4_1_2_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_751-4_1_2_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_751-4_1_2_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_751-4_1_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_751-4_1_2_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_751-4_1_2_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_751-4_1_2_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_751-4_1_2_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_751-4_1_2_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_751-4_1_2_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_751-4_1_2_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_751-4_1_2_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_751-4_1_2_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_751-4_1_2_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_751-4_1_2_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_751-4_1_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_751-4_1_2_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_751-4_1_2_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_751-4_1_2_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_751-4_1_2_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_751-4_1_2_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_751-4_1_2_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_751-4_1_2_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_751-4_1_2_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_751-4_1_2_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_751-4_1_2_node_104 | 0.4 | n |  | TRUE
39 | bus_LV_751-4_1_2_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_751-4_1_2_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_751-4_1_2_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_751-4_1_2_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_751-4_1_2_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_751-4_1_2_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_751-4_1_2_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_751-4_1_2_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_751-4_1_2_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_751-4_1_2_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_751-4_1_2_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_751-4_1_2_node_84 | 0.4 | n |  | TRUE
51 | bus_LV_751-4_1_2_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_751-4_1_2_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_751-4_1_2_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_751-4_1_2_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_751-4_1_2_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_751-4_1_2_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_751-4_1_2_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_751-4_1_2_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_751-4_1_2_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_751-4_1_2_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_751-4_1_2_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_751-4_1_2_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_751-4_1_2_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_751-4_1_2_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_751-4_1_2_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_751-4_1_2_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_751-4_1_2_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_751-4_1_2_node_111 | 0.4 | n |  | TRUE
69 | bus_MV_325_1_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_751-4_1_2_load_78 | 1 | 0.0047118 | 0.0011809 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_751-4_1_2_load_77 | 2 | 0.0068812 | 0.0017246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_751-4_1_2_load_68 | 3 | 0.0029273 | 0.00073366 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_751-4_1_2_load_33 | 4 | 0.0053848 | 0.0013495 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_751-4_1_2_load_34 | 5 | 0.0042392 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_751-4_1_2_load_61 | 7 | 0.0044491 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_751-4_1_2_load_62 | 8 | 0.005029 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_751-4_1_2_load_65 | 9 | 0.0011362 | 0.00028477 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_751-4_1_2_load_52 | 10 | 0.0050635 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_751-4_1_2_load_36 | 11 | 0.0077796 | 0.0019498 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_751-4_1_2_load_37 | 12 | 0.0016258 | 0.00040747 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_751-4_1_2_load_40 | 15 | 0.0091011 | 0.002281 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_751-4_1_2_load_41 | 16 | 0.018736 | 0.0046956 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_751-4_1_2_load_51 | 17 | 0.0072493 | 0.0018168 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_751-4_1_2_load_101 | 20 | 0.0045652 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_751-4_1_2_load_44 | 22 | 0.019332 | 0.0048451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_751-4_1_2_load_53 | 23 | 0.010857 | 0.0027211 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_751-4_1_2_load_92 | 25 | 0.001947 | 0.00048798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_751-4_1_2_load_100 | 26 | 0.0027525 | 0.00068984 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_751-4_1_2_load_54 | 27 | 0.01085 | 0.0027193 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_751-4_1_2_load_45 | 28 | 0.0053201 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_751-4_1_2_load_46 | 29 | 0.0031261 | 0.00078348 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_751-4_1_2_load_48 | 31 | 0.0027232 | 0.00068251 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_751-4_1_2_load_55 | 33 | 0.0028476 | 0.00071367 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_751-4_1_2_load_63 | 34 | 0.0028531 | 0.00071505 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_751-4_1_2_load_64 | 35 | 0.0030391 | 0.00076167 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_751-4_1_2_load_59 | 36 | 0.0026118 | 0.00065458 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_751-4_1_2_load_56 | 37 | 0.0028401 | 0.0007118 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_751-4_1_2_load_104 | 38 | 0.0050426 | 0.0012638 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_751-4_1_2_load_58 | 39 | 0.0023883 | 0.00059855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_751-4_1_2_load_70 | 40 | 0.0030162 | 0.00075593 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_751-4_1_2_load_71 | 41 | 0.0032411 | 0.0008123 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_751-4_1_2_load_60 | 42 | 0.0022638 | 0.00056737 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_751-4_1_2_load_66 | 43 | 0.0024491 | 0.0006138 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_751-4_1_2_load_105 | 44 | 0.0037139 | 0.00093078 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_751-4_1_2_load_67 | 45 | 0.0014485 | 0.00036302 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_751-4_1_2_load_72 | 46 | 0.0056155 | 0.0014074 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_751-4_1_2_load_81 | 47 | 0.0022177 | 0.00055581 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_751-4_1_2_load_82 | 48 | 0.0023641 | 0.00059251 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_751-4_1_2_load_83 | 49 | 0.0018993 | 0.00047601 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_751-4_1_2_load_84 | 50 | 0.0024611 | 0.00061681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_751-4_1_2_load_85 | 51 | 0.0058887 | 0.0014758 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_751-4_1_2_load_89 | 52 | 0.0014055 | 0.00035226 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_751-4_1_2_load_102 | 53 | 0.0018136 | 0.00045453 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_751-4_1_2_load_87 | 54 | 0.0037621 | 0.00094288 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_751-4_1_2_load_103 | 55 | 0.0031657 | 0.00079341 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_751-4_1_2_load_86 | 56 | 0.0038384 | 0.000962 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_751-4_1_2_load_90 | 58 | 0.0016569 | 0.00041526 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_751-4_1_2_load_91 | 59 | 0.0030279 | 0.00075887 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_751-4_1_2_load_99 | 60 | 0.0022385 | 0.00056102 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_751-4_1_2_load_110 | 62 | 0.0038873 | 0.00097424 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_751-4_1_2_load_94 | 63 | 0.0022925 | 0.00057455 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_751-4_1_2_load_98 | 64 | 0.0027262 | 0.00068325 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_751-4_1_2_load_96 | 65 | 0.002115 | 0.00053006 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_751-4_1_2_load_106 | 66 | 0.00309 | 0.00077444 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_751-4_1_2_load_97 | 67 | 0.0021005 | 0.00052643 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_751-4_1_2_load_111 | 68 | 0.00089172 | 0.00022349 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_751-4_1_2_line_0 |  | 0 | 1 | 0.036751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_751-4_1_2_line_1 |  | 0 | 2 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_751-4_1_2_line_2 |  | 0 | 3 | 0.027412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_751-4_1_2_line_3 |  | 2 | 46 | 0.026875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_751-4_1_2_line_4 |  | 3 | 45 | 0.026575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_751-4_1_2_line_5 |  | 4 | 5 | 0.014094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_751-4_1_2_line_6 |  | 5 | 6 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_751-4_1_2_line_7 |  | 6 | 7 | 0.029399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_751-4_1_2_line_8 |  | 6 | 8 | 0.007641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_751-4_1_2_line_9 |  | 7 | 9 | 0.026151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_751-4_1_2_line_10 |  | 8 | 10 | 0.016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_751-4_1_2_line_11 |  | 9 | 43 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_751-4_1_2_line_12 |  | 10 | 17 | 0.0011639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_751-4_1_2_line_13 |  | 11 | 12 | 0.026369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_751-4_1_2_line_14 |  | 11 | 13 | 0.035301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_751-4_1_2_line_15 |  | 13 | 14 | 0.013093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_751-4_1_2_line_16 |  | 13 | 15 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_751-4_1_2_line_17 |  | 14 | 16 | 0.026744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_751-4_1_2_line_18 |  | 15 | 17 | 0.027762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_751-4_1_2_line_19 |  | 16 | 21 | 0.046857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_751-4_1_2_line_20 |  | 18 | 19 | 0.035375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_751-4_1_2_line_21 |  | 18 | 20 | 0.019252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_751-4_1_2_line_22 |  | 18 | 21 | 0.063319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_751-4_1_2_line_23 |  | 19 | 24 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_751-4_1_2_line_24 |  | 19 | 25 | 0.017782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_751-4_1_2_line_25 |  | 20 | 26 | 0.040034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_751-4_1_2_line_26 |  | 21 | 22 | 0.031543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_751-4_1_2_line_27 |  | 22 | 23 | 0.039099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_751-4_1_2_line_28 |  | 23 | 27 | 0.03587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_751-4_1_2_line_29 |  | 24 | 64 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_751-4_1_2_line_30 |  | 24 | 65 | 0.033852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_751-4_1_2_line_31 |  | 25 | 63 | 0.013046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_751-4_1_2_line_32 |  | 26 | 60 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_751-4_1_2_line_33 |  | 28 | 29 | 0.026479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_751-4_1_2_line_34 |  | 28 | 30 | 0.016665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_751-4_1_2_line_35 |  | 29 | 31 | 0.00056343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_751-4_1_2_line_36 |  | 30 | 32 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_751-4_1_2_line_37 |  | 31 | 33 | 0.021267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_751-4_1_2_line_38 |  | 32 | 34 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_751-4_1_2_line_39 |  | 32 | 35 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_751-4_1_2_line_40 |  | 32 | 36 | 0.051922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_751-4_1_2_line_41 |  | 33 | 37 | 0.0013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_751-4_1_2_line_42 |  | 35 | 38 | 0.006728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_751-4_1_2_line_43 |  | 36 | 39 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_751-4_1_2_line_44 |  | 37 | 40 | 0.0018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_751-4_1_2_line_45 |  | 38 | 44 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_751-4_1_2_line_46 |  | 39 | 42 | 0.025342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_751-4_1_2_line_47 |  | 40 | 41 | 0.024101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_751-4_1_2_line_48 |  | 41 | 46 | 0.0010147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_751-4_1_2_line_49 |  | 43 | 45 | 0.0089733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_751-4_1_2_line_50 |  | 47 | 48 | 0.010068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_751-4_1_2_line_51 |  | 47 | 49 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_751-4_1_2_line_52 |  | 48 | 50 | 0.017796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_751-4_1_2_line_53 |  | 49 | 51 | 0.007122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_751-4_1_2_line_54 |  | 50 | 52 | 9.7517e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_751-4_1_2_line_55 |  | 51 | 53 | 0.0030695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_751-4_1_2_line_56 |  | 52 | 54 | 0.023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_751-4_1_2_line_57 |  | 53 | 55 | 0.027351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_751-4_1_2_line_58 |  | 54 | 56 | 0.0037934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_751-4_1_2_line_59 |  | 55 | 68 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_751-4_1_2_line_60 |  | 56 | 57 | 0.045671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_751-4_1_2_line_61 |  | 57 | 58 | 0.033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_751-4_1_2_line_62 |  | 57 | 59 | 0.011225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_751-4_1_2_line_63 |  | 58 | 60 | 0.028661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_751-4_1_2_line_64 |  | 59 | 61 | 0.016507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_751-4_1_2_line_65 |  | 61 | 62 | 0.034168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_751-4_1_2_line_66 |  | 64 | 66 | 0.016901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_751-4_1_2_line_67 |  | 65 | 67 | 0.020184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_751-4_1_2_trafo_37 | 0.63 MVA 20/0.4 kV | 69 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2582319.0099 | 1213953.5832 | 2582342.9721 | 1213925.6628
1 | 2582319.0099 | 1213953.5832 | 2582307.2357 | 1213941.2001
2 | 2582319.0099 | 1213953.5832 | 2582339.2666 | 1213972.0516
3 | 2582307.2357 | 1213941.2001 | 2582288.7175 | 1213921.7241
4 | 2582359.44 | 1213989.2962 | 2582353.455 | 1213984.9873 | 2582339.2666 | 1213972.0516
5 | 2582413.5268 | 1214058.0182 | 2582418.048 | 1214044.6691
6 | 2582421.8759 | 1214033.3672 | 2582418.048 | 1214044.6691
7 | 2582421.8759 | 1214033.3672 | 2582397.6069 | 1214016.7742
8 | 2582421.8759 | 1214033.3672 | 2582424.7029 | 1214026.2684
9 | 2582376.3838 | 1214001.4948 | 2582397.6069 | 1214016.7742
10 | 2582430.8722 | 1214010.7773 | 2582424.7029 | 1214026.2684
11 | 2582376.3838 | 1214001.4948 | 2582366.7223 | 1213994.539
12 | 2582430.8722 | 1214010.7773 | 2582431.3028 | 1214009.696
13 | 2582416.8265 | 1213952.8293 | 2582394.9724 | 1213938.0733
14 | 2582446.0827 | 1213972.5833 | 2582416.8265 | 1213952.8293
15 | 2582446.0827 | 1213972.5833 | 2582451.0139 | 1213960.4508
16 | 2582446.0827 | 1213972.5833 | 2582441.5744 | 1213983.9038
17 | 2582451.0139 | 1213960.4508 | 2582477.7508 | 1213959.8467
18 | 2582441.5744 | 1213983.9038 | 2582431.3028 | 1214009.696
19 | 2582524.5955 | 1213958.7882 | 2582477.7508 | 1213959.8467
20 | 2582490.4813 | 1213905.392 | 2582514.9754 | 1213879.8053
21 | 2582490.4813 | 1213905.392 | 2582473.1895 | 1213896.9272
22 | 2582524.5955 | 1213958.7882 | 2582490.4813 | 1213905.392
23 | 2582530.4809 | 1213865.7517 | 2582514.9754 | 1213879.8053
24 | 2582514.9754 | 1213879.8053 | 2582499.0407 | 1213871.9134
25 | 2582437.4056 | 1213878.9774 | 2582464.3853 | 1213892.6174 | 2582473.1895 | 1213896.9272
26 | 2582524.5955 | 1213958.7882 | 2582513.2829 | 1213988.2324
27 | 2582513.2829 | 1213988.2324 | 2582509.71 | 1213997.5318 | 2582500.8754 | 1214025.2972
28 | 2582489.9993 | 1214059.4788 | 2582500.8754 | 1214025.2972
29 | 2582530.4809 | 1213865.7517 | 2582515.8648 | 1213858.4259
30 | 2582530.4809 | 1213865.7517 | 2582550.2055 | 1213847.8502 | 2582544.2116 | 1213843.8335
31 | 2582487.3501 | 1213866.1235 | 2582499.0407 | 1213871.9134
32 | 2582414.9814 | 1213867.6405 | 2582437.4056 | 1213878.9774
33 | 2582236.5025 | 1213865.7098 | 2582254.4217 | 1213885.2047
34 | 2582225.2245 | 1213853.4402 | 2582236.5025 | 1213865.7098
35 | 2582254.803 | 1213885.6195 | 2582254.4217 | 1213885.2047
36 | 2582242.7321 | 1213836.0446 | 2582225.2245 | 1213853.4402
37 | 2582254.803 | 1213885.6195 | 2582266.8438 | 1213898.719 | 2582269.2376 | 1213901.2366
38 | 2582242.7321 | 1213836.0446 | 2582254.4507 | 1213848.117
39 | 2582242.7321 | 1213836.0446 | 2582232.4937 | 1213824.8646
40 | 2582242.7321 | 1213836.0446 | 2582257.3953 | 1213822.4264 | 2582259.9805 | 1213820.8622 | 2582261.9395 | 1213820.6673 | 2582264.1521 | 1213821.4834 | 2582266.4664 | 1213823.2997 | 2582281.2625 | 1213839.0639
41 | 2582269.2376 | 1213901.2366 | 2582270.167 | 1213902.2141
42 | 2582232.4937 | 1213824.8646 | 2582227.9498 | 1213819.9028
43 | 2582300.5321 | 1213859.5943 | 2582281.2625 | 1213839.0639
44 | 2582271.4114 | 1213903.5229 | 2582270.167 | 1213902.2141
45 | 2582212.0541 | 1213802.5807 | 2582212.2522 | 1213802.7615 | 2582227.9498 | 1213819.9028
46 | 2582300.5321 | 1213859.5943 | 2582317.8751 | 1213878.072
47 | 2582271.4114 | 1213903.5229 | 2582288.0183 | 1213920.9887
48 | 2582288.0183 | 1213920.9887 | 2582288.7175 | 1213921.7241
49 | 2582359.44 | 1213989.2962 | 2582366.7223 | 1213994.539
50 | 2582305.5063 | 1213763.5426 | 2582299.3422 | 1213755.5825
51 | 2582293.4064 | 1213747.2179 | 2582297.1372 | 1213752.735 | 2582299.3422 | 1213755.5825
52 | 2582305.5063 | 1213763.5426 | 2582315.535 | 1213776.4935 | 2582316.3908 | 1213777.6223
53 | 2582293.4064 | 1213747.2179 | 2582289.4168 | 1213741.3182
54 | 2582316.3908 | 1213777.6223 | 2582316.4497 | 1213777.7
55 | 2582287.9037 | 1213738.6476 | 2582289.4168 | 1213741.3182 | 2582289.4168 | 1213741.3182
56 | 2582316.4497 | 1213777.7 | 2582330.6937 | 1213796.4884
57 | 2582287.9037 | 1213738.6476 | 2582282.5755 | 1213729.2429 | 2582276.0485 | 1213714.0428
58 | 2582332.9854 | 1213799.5113 | 2582330.6937 | 1213796.4884
59 | 2582269.0879 | 1213698.3328 | 2582272.4108 | 1213705.571 | 2582276.0485 | 1213714.0428
60 | 2582364.0758 | 1213832.8698 | 2582339.3252 | 1213807.8737 | 2582332.9854 | 1213799.5113
61 | 2582364.0758 | 1213832.8698 | 2582390.8575 | 1213852.3273
62 | 2582364.0758 | 1213832.8698 | 2582373.3718 | 1213826.5784
63 | 2582390.8575 | 1213852.3273 | 2582404.9644 | 1213862.5763 | 2582414.9814 | 1213867.6405
64 | 2582387.0426 | 1213817.3261 | 2582373.3718 | 1213826.5784
65 | 2582365.5076 | 1213790.7529 | 2582387.0426 | 1213817.3261
66 | 2582500.7558 | 1213850.8531 | 2582515.8648 | 1213858.4259
67 | 2582527.444 | 1213832.5974 | 2582544.2116 | 1213843.8335

## bus_geodata
| x | y | coords
0 | 2582319.0099 | 1213953.5832
1 | 2582342.9721 | 1213925.6628
2 | 2582307.2357 | 1213941.2001
3 | 2582339.2666 | 1213972.0516
4 | 2582413.5268 | 1214058.0182
5 | 2582418.048 | 1214044.6691
6 | 2582421.8759 | 1214033.3672
7 | 2582397.6069 | 1214016.7742
8 | 2582424.7029 | 1214026.2684
9 | 2582376.3838 | 1214001.4948
10 | 2582430.8722 | 1214010.7773
11 | 2582416.8265 | 1213952.8293
12 | 2582394.9724 | 1213938.0733
13 | 2582446.0827 | 1213972.5833
14 | 2582451.0139 | 1213960.4508
15 | 2582441.5744 | 1213983.9038
16 | 2582477.7508 | 1213959.8467
17 | 2582431.3028 | 1214009.696
18 | 2582490.4813 | 1213905.392
19 | 2582514.9754 | 1213879.8053
20 | 2582473.1895 | 1213896.9272
21 | 2582524.5955 | 1213958.7882
22 | 2582513.2829 | 1213988.2324
23 | 2582500.8754 | 1214025.2972
24 | 2582530.4809 | 1213865.7517
25 | 2582499.0407 | 1213871.9134
26 | 2582437.4056 | 1213878.9774
27 | 2582489.9993 | 1214059.4788
28 | 2582236.5025 | 1213865.7098
29 | 2582254.4217 | 1213885.2047
30 | 2582225.2245 | 1213853.4402
31 | 2582254.803 | 1213885.6195
32 | 2582242.7321 | 1213836.0446
33 | 2582269.2376 | 1213901.2366
34 | 2582254.4507 | 1213848.117
35 | 2582232.4937 | 1213824.8646
36 | 2582281.2625 | 1213839.0639
37 | 2582270.167 | 1213902.2141
38 | 2582227.9498 | 1213819.9028
39 | 2582300.5321 | 1213859.5943
40 | 2582271.4114 | 1213903.5229
41 | 2582288.0183 | 1213920.9887
42 | 2582317.8751 | 1213878.072
43 | 2582366.7223 | 1213994.539
44 | 2582212.0541 | 1213802.5807
45 | 2582359.44 | 1213989.2962
46 | 2582288.7175 | 1213921.7241
47 | 2582299.3422 | 1213755.5825
48 | 2582305.5063 | 1213763.5426
49 | 2582293.4064 | 1213747.2179
50 | 2582316.3908 | 1213777.6223
51 | 2582289.4168 | 1213741.3182
52 | 2582316.4497 | 1213777.7
53 | 2582287.9037 | 1213738.6476
54 | 2582330.6937 | 1213796.4884
55 | 2582276.0485 | 1213714.0428
56 | 2582332.9854 | 1213799.5113
57 | 2582364.0758 | 1213832.8698
58 | 2582390.8575 | 1213852.3273
59 | 2582373.3718 | 1213826.5784
60 | 2582414.9814 | 1213867.6405
61 | 2582387.0426 | 1213817.3261
62 | 2582365.5076 | 1213790.7529
63 | 2582487.3501 | 1213866.1235
64 | 2582515.8648 | 1213858.4259
65 | 2582544.2116 | 1213843.8335
66 | 2582500.7558 | 1213850.8531
67 | 2582527.444 | 1213832.5974
68 | 2582269.0879 | 1213698.3328
69 | 2582389.182 | 1213934.1636

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1