## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_751-7_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_751-7_1_2_node_122 | 0.4 | n |  | TRUE
2 | bus_LV_751-7_1_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_751-7_1_2_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_751-7_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_751-7_1_2_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_751-7_1_2_node_101 | 0.4 | n |  | TRUE
7 | bus_LV_751-7_1_2_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_751-7_1_2_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_751-7_1_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_751-7_1_2_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_751-7_1_2_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_751-7_1_2_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_751-7_1_2_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_751-7_1_2_node_95 | 0.4 | n |  | TRUE
15 | bus_LV_751-7_1_2_node_100 | 0.4 | n |  | TRUE
16 | bus_LV_751-7_1_2_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_751-7_1_2_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_751-7_1_2_node_118 | 0.4 | n |  | TRUE
19 | bus_LV_751-7_1_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_751-7_1_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_751-7_1_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_751-7_1_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_751-7_1_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_751-7_1_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_751-7_1_2_node_120 | 0.4 | n |  | TRUE
26 | bus_LV_751-7_1_2_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_751-7_1_2_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_751-7_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_751-7_1_2_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_751-7_1_2_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_751-7_1_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_751-7_1_2_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_751-7_1_2_node_126 | 0.4 | n |  | TRUE
34 | bus_LV_751-7_1_2_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_751-7_1_2_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_751-7_1_2_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_751-7_1_2_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_751-7_1_2_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_751-7_1_2_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_751-7_1_2_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_751-7_1_2_node_102 | 0.4 | n |  | TRUE
42 | bus_LV_751-7_1_2_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_751-7_1_2_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_751-7_1_2_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_751-7_1_2_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_751-7_1_2_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_751-7_1_2_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_751-7_1_2_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_751-7_1_2_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_751-7_1_2_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_751-7_1_2_node_106 | 0.4 | n |  | TRUE
52 | bus_LV_751-7_1_2_node_107 | 0.4 | n |  | TRUE
53 | bus_LV_751-7_1_2_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_751-7_1_2_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_751-7_1_2_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_751-7_1_2_node_121 | 0.4 | n |  | TRUE
57 | bus_LV_751-7_1_2_node_116 | 0.4 | n |  | TRUE
58 | bus_LV_751-7_1_2_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_751-7_1_2_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_751-7_1_2_node_123 | 0.4 | n |  | TRUE
61 | bus_LV_751-7_1_2_node_124 | 0.4 | n |  | TRUE
62 | bus_LV_751-7_1_2_node_125 | 0.4 | n |  | TRUE
63 | bus_LV_751-7_1_2_node_127 | 0.4 | n |  | TRUE
64 | bus_MV_325_1_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_751-7_1_2_load_128 | 0 | 0.0039064 | 0.00097905 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_751-7_1_2_load_129 | 2 | 0.00055861 | 0.00014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_751-7_1_2_load_30 | 3 | 0.00058604 | 0.00014688 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_751-7_1_2_load_101 | 6 | 0.0011235 | 0.00028157 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_751-7_1_2_load_16 | 7 | 0.0024221 | 0.00060703 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_751-7_1_2_load_19 | 10 | 0.00074333 | 0.0001863 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_751-7_1_2_load_20 | 11 | 0.0018961 | 0.00047521 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_751-7_1_2_load_22 | 13 | 0.0019212 | 0.00048151 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_751-7_1_2_load_95 | 14 | 0.0023408 | 0.00058667 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_751-7_1_2_load_100 | 15 | 0.0024139 | 0.00060499 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_751-7_1_2_load_77 | 17 | 0.0016769 | 0.00042028 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_751-7_1_2_load_118 | 18 | 0.0031084 | 0.00077903 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_751-7_1_2_load_23 | 19 | 0.0055345 | 0.0013871 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_751-7_1_2_load_24 | 20 | 0.0021951 | 0.00055016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_751-7_1_2_load_26 | 22 | 0.0015311 | 0.00038373 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_751-7_1_2_load_27 | 23 | 0.0027753 | 0.00069556 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_751-7_1_2_load_28 | 24 | 0.0039933 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_751-7_1_2_load_120 | 25 | 0.0020549 | 0.00051501 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_751-7_1_2_load_76 | 27 | 0.0037969 | 0.00095159 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_751-7_1_2_load_78 | 28 | 0.0012361 | 0.0003098 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_751-7_1_2_load_79 | 29 | 0.0013754 | 0.0003447 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_751-7_1_2_load_80 | 30 | 0.0012357 | 0.00030969 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_751-7_1_2_load_81 | 31 | 0.0037021 | 0.00092782 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_751-7_1_2_load_82 | 32 | 0.0032581 | 0.00081656 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_751-7_1_2_load_126 | 33 | 0.0023276 | 0.00058334 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_751-7_1_2_load_104 | 35 | 0.0039191 | 0.00098221 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_751-7_1_2_load_90 | 36 | 0.0010808 | 0.00027088 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_751-7_1_2_load_84 | 37 | 0.0010753 | 0.0002695 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_751-7_1_2_load_85 | 38 | 0.0022822 | 0.00057196 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_751-7_1_2_load_87 | 39 | 0.0025983 | 0.00065119 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_751-7_1_2_load_88 | 40 | 0.003991 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_751-7_1_2_load_102 | 41 | 0.0016024 | 0.00040159 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_751-7_1_2_load_92 | 42 | 0.00095746 | 0.00023996 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_751-7_1_2_load_89 | 43 | 0.0054617 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_751-7_1_2_load_93 | 44 | 0.0021961 | 0.00055039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_751-7_1_2_load_94 | 45 | 0.0020483 | 0.00051336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_751-7_1_2_load_98 | 46 | 0.0013172 | 0.00033013 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_751-7_1_2_load_96 | 47 | 0.0026774 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_751-7_1_2_load_97 | 48 | 0.0050649 | 0.0012694 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_751-7_1_2_load_99 | 49 | 0.0023187 | 0.00058111 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_751-7_1_2_load_103 | 50 | 0.0018245 | 0.00045728 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_751-7_1_2_load_106 | 51 | 0.00072312 | 0.00018123 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_751-7_1_2_load_107 | 52 | 0.0014338 | 0.00035935 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_751-7_1_2_load_108 | 53 | 0.00092284 | 0.00023129 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_751-7_1_2_load_109 | 54 | 0.0032609 | 0.00081727 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_751-7_1_2_load_110 | 55 | 0.0048274 | 0.0012099 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_751-7_1_2_load_121 | 56 | 0.0033934 | 0.00085046 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_751-7_1_2_load_119 | 58 | 0.0064103 | 0.0016066 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_751-7_1_2_load_117 | 59 | 0.0030346 | 0.00076053 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_751-7_1_2_load_123 | 60 | 0.0023748 | 0.00059519 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_751-7_1_2_load_124 | 61 | 0.0024546 | 0.00061519 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_751-7_1_2_load_127 | 63 | 0.0013498 | 0.0003383 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_751-7_1_2_line_0 |  | 0 | 1 | 0.026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_751-7_1_2_line_1 |  | 1 | 48 | 0.02585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_751-7_1_2_line_2 |  | 2 | 3 | 0.021085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_751-7_1_2_line_3 |  | 3 | 5 | 0.018916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_751-7_1_2_line_4 |  | 4 | 5 | 0.007414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_751-7_1_2_line_5 |  | 4 | 6 | 0.025879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_751-7_1_2_line_6 |  | 5 | 23 | 0.032326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_751-7_1_2_line_7 |  | 7 | 8 | 0.0059884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_751-7_1_2_line_8 |  | 7 | 9 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_751-7_1_2_line_9 |  | 8 | 10 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_751-7_1_2_line_10 |  | 8 | 11 | 0.016904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_751-7_1_2_line_11 |  | 9 | 12 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_751-7_1_2_line_12 |  | 9 | 13 | 0.01644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_751-7_1_2_line_13 |  | 10 | 14 | 0.0031773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_751-7_1_2_line_14 |  | 11 | 15 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_751-7_1_2_line_15 |  | 12 | 16 | 0.018577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_751-7_1_2_line_16 |  | 12 | 17 | 0.040523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_751-7_1_2_line_17 |  | 13 | 18 | 0.028293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_751-7_1_2_line_18 |  | 14 | 47 | 0.033908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_751-7_1_2_line_19 |  | 15 | 49 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_751-7_1_2_line_20 |  | 16 | 35 | 0.020812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_751-7_1_2_line_21 |  | 16 | 36 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_751-7_1_2_line_22 |  | 17 | 27 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_751-7_1_2_line_23 |  | 18 | 59 | 0.0098756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_751-7_1_2_line_24 |  | 19 | 20 | 0.00028468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_751-7_1_2_line_25 |  | 19 | 21 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_751-7_1_2_line_26 |  | 20 | 22 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_751-7_1_2_line_27 |  | 21 | 23 | 0.025238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_751-7_1_2_line_28 |  | 21 | 24 | 0.032375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_751-7_1_2_line_29 |  | 22 | 25 | 0.050903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_751-7_1_2_line_30 |  | 24 | 26 | 0.0089164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_751-7_1_2_line_31 |  | 26 | 40 | 0.024119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_751-7_1_2_line_32 |  | 26 | 37 | 0.010895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_751-7_1_2_line_33 |  | 28 | 29 | 0.0077395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_751-7_1_2_line_34 |  | 28 | 30 | 0.0073268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_751-7_1_2_line_35 |  | 29 | 31 | 0.023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_751-7_1_2_line_36 |  | 30 | 32 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_751-7_1_2_line_37 |  | 31 | 33 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_751-7_1_2_line_38 |  | 32 | 34 | 0.072897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_751-7_1_2_line_39 |  | 33 | 61 | 0.040729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_751-7_1_2_line_40 |  | 34 | 57 | 0.054263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_751-7_1_2_line_41 |  | 36 | 43 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_751-7_1_2_line_42 |  | 37 | 38 | 0.0062079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_751-7_1_2_line_43 |  | 38 | 39 | 0.035847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_751-7_1_2_line_44 |  | 39 | 41 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_751-7_1_2_line_45 |  | 40 | 42 | 0.0056399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_751-7_1_2_line_46 |  | 41 | 50 | 0.03312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_751-7_1_2_line_47 |  | 42 | 44 | 0.0012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_751-7_1_2_line_48 |  | 44 | 45 | 0.015244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_751-7_1_2_line_49 |  | 45 | 46 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_751-7_1_2_line_50 |  | 46 | 49 | 0.0040318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_751-7_1_2_line_51 |  | 47 | 48 | 0.0016651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_751-7_1_2_line_52 |  | 51 | 52 | 0.0063381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_751-7_1_2_line_53 |  | 51 | 53 | 0.0026801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_751-7_1_2_line_54 |  | 52 | 54 | 0.014267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_751-7_1_2_line_55 |  | 53 | 55 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_751-7_1_2_line_56 |  | 54 | 56 | 0.017534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_751-7_1_2_line_57 |  | 56 | 58 | 0.029417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_751-7_1_2_line_58 |  | 57 | 58 | 0.011506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_751-7_1_2_line_59 |  | 57 | 59 | 0.030698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_751-7_1_2_line_60 |  | 60 | 61 | 0.02974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_751-7_1_2_line_61 |  | 60 | 62 | 0.0075682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_751-7_1_2_line_62 |  | 62 | 63 | 0.018204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_751-7_1_2_trafo_99 | 0.63 MVA 20/0.4 kV | 64 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2582049.0877 | 1212829.0813 | 2582035.4908 | 1212851.813
1 | 2582049.0877 | 1212829.0813 | 2582071.5015 | 1212841.9587
2 | 2582025.1799 | 1213009.3911 | 2582042.4226 | 1213021.5266
3 | 2582057.8916 | 1213032.4137 | 2582042.4226 | 1213021.5266
4 | 2582057.8916 | 1213032.4137 | 2582054.0901 | 1213038.7843
5 | 2582054.0901 | 1213038.7843 | 2582077.9484 | 1213048.8098
6 | 2582057.8916 | 1213032.4137 | 2582066.8001 | 1213019.3127 | 2582074.5469 | 1213006.3264 | 2582075.1683 | 1213005.1143
7 | 2582115.2279 | 1212836.3413 | 2582115.6459 | 1212830.3675
8 | 2582116.983 | 1212813.7899 | 2582115.978 | 1212825.6219 | 2582115.6459 | 1212830.3675
9 | 2582115.2279 | 1212836.3413 | 2582104.4089 | 1212835.7291 | 2582102.2349 | 1212835.5908
10 | 2582115.2279 | 1212836.3413 | 2582112.9229 | 1212853.0879
11 | 2582110.2057 | 1212803.2711 | 2582112.5727 | 1212807.2773 | 2582116.983 | 1212813.7899
12 | 2582116.983 | 1212813.7899 | 2582126.9576 | 1212811.4808 | 2582133.0814 | 1212810.5
13 | 2582099.1128 | 1212835.9112 | 2582100.7392 | 1212835.4956 | 2582102.2349 | 1212835.5908
14 | 2582112.9229 | 1212853.0879 | 2582111.5632 | 1212862.9673 | 2582111.1746 | 1212864.6779
15 | 2582110.2057 | 1212803.2711 | 2582108.0589 | 1212804.2448 | 2582105.3398 | 1212804.3753 | 2582101.7361 | 1212803.3856 | 2582092.8209 | 1212799.2991
16 | 2582110.2057 | 1212803.2711 | 2582112.4852 | 1212800.9296 | 2582113.2679 | 1212798.5036 | 2582113.3513 | 1212795.9464 | 2582110.7783 | 1212763.9016
17 | 2582133.0814 | 1212810.5 | 2582145.9165 | 1212808.4443 | 2582160.9369 | 1212805.5629
18 | 2582099.1128 | 1212835.9112 | 2582097.8776 | 1212836.2268 | 2582096.3242 | 1212837.4989 | 2582090.2744 | 1212846.5445 | 2582088.6918 | 1212848.2058 | 2582087.1596 | 1212848.9441 | 2582084.8274 | 1212848.8845 | 2582082.2348 | 1212848.1252 | 2582072.9453 | 1212842.7882
19 | 2582111.1746 | 1212864.6779 | 2582107.5268 | 1212880.7387
20 | 2582077.961 | 1212813.9077 | 2582085.475 | 1212806.781 | 2582092.8209 | 1212799.2991
21 | 2582092.8209 | 1212799.2991 | 2582082.8367 | 1212794.1457
22 | 2582109.9596 | 1212753.7053 | 2582110.7783 | 1212763.9016
23 | 2582170.5745 | 1212803.4226 | 2582165.1697 | 1212804.751 | 2582160.9369 | 1212805.5629
24 | 2582102.9537 | 1212988.1109 | 2582102.6845 | 1212988.0182
25 | 2582085.3739 | 1212982.0579 | 2582102.6845 | 1212988.0182
26 | 2582120.084 | 1212994.0092 | 2582102.9537 | 1212988.1109
27 | 2582085.3739 | 1212982.0579 | 2582082.0653 | 1212990.6838 | 2582078.6172 | 1212998.3875 | 2582075.1683 | 1213005.1143
28 | 2582085.3739 | 1212982.0579 | 2582093.7453 | 1212952.0268 | 2582094.0417 | 1212950.8647
29 | 2582165.9025 | 1213015.6231 | 2582150.5566 | 1213009.9883 | 2582147.977 | 1213008.4841 | 2582138.8124 | 1213002.1859 | 2582123.3027 | 1212995.1175 | 2582120.084 | 1212994.0092
30 | 2582096.2453 | 1212942.2248 | 2582094.0417 | 1212950.8647
31 | 2582096.2453 | 1212942.2248 | 2582098.2399 | 1212931.1014 | 2582100.3402 | 1212918.4563
32 | 2582096.2453 | 1212942.2248 | 2582106.1909 | 1212946.6721
33 | 2582242.2609 | 1212874.9594 | 2582239.6376 | 1212882.2408
34 | 2582242.2609 | 1212874.9594 | 2582244.7444 | 1212868.0663
35 | 2582231.5256 | 1212904.7563 | 2582239.6376 | 1212882.2408
36 | 2582250.7646 | 1212847.729 | 2582248.1913 | 1212858.499 | 2582244.7444 | 1212868.0663
37 | 2582231.5256 | 1212904.7563 | 2582228.2951 | 1212913.723 | 2582227.0139 | 1212919.6635 | 2582226.3087 | 1212925.1354 | 2582226.0393 | 1212928.0712
38 | 2582252.6 | 1212780.7531 | 2582255.8915 | 1212781.4993 | 2582258.3881 | 1212783.1816 | 2582260.081 | 1212785.3445 | 2582261.0544 | 1212788.2321 | 2582261.5424 | 1212796.4797 | 2582261.194 | 1212801.9171 | 2582260.5252 | 1212806.8775 | 2582250.7646 | 1212847.729
39 | 2582226.0393 | 1212928.0712 | 2582225.1464 | 1212937.8015 | 2582223.8165 | 1212968.7305
40 | 2582252.6 | 1212780.7531 | 2582200.1603 | 1212795.2628
41 | 2582067.0053 | 1212785.9742 | 2582082.8367 | 1212794.1457
42 | 2582106.1909 | 1212946.6721 | 2582111.858 | 1212949.2061
43 | 2582111.858 | 1212949.2061 | 2582126.4731 | 1212955.7413 | 2582130.9753 | 1212957.4843 | 2582145.3797 | 1212961.7015
44 | 2582162.8472 | 1212966.8156 | 2582145.3797 | 1212961.7015
45 | 2582101.2643 | 1212912.8926 | 2582100.3402 | 1212918.4563
46 | 2582184.514 | 1212988.2073 | 2582179.1809 | 1212975.3383 | 2582178.3712 | 1212973.8288 | 2582177.4099 | 1212972.4642 | 2582176.0388 | 1212971.1899 | 2582173.7108 | 1212969.9962 | 2582162.8472 | 1212966.8156
47 | 2582101.2643 | 1212912.8926 | 2582101.4612 | 1212911.7071
48 | 2582103.9591 | 1212896.6688 | 2582101.4612 | 1212911.7071
49 | 2582103.9591 | 1212896.6688 | 2582104.0965 | 1212895.8417 | 2582106.6338 | 1212884.6704
50 | 2582106.6338 | 1212884.6704 | 2582107.5268 | 1212880.7387
51 | 2582072.9453 | 1212842.7882 | 2582071.5015 | 1212841.9587
52 | 2582177.8222 | 1212869.3718 | 2582180.0427 | 1212863.4353
53 | 2582177.8222 | 1212869.3718 | 2582176.8833 | 1212871.8821
54 | 2582180.0427 | 1212863.4353 | 2582185.0411 | 1212850.0724 | 2582185.0411 | 1212850.0724
55 | 2582171.6469 | 1212884.7988 | 2582175.6741 | 1212875.1146 | 2582176.8833 | 1212871.8821
56 | 2582192.2694 | 1212834.1112 | 2582190.6047 | 1212838.4936 | 2582185.0411 | 1212850.0724
57 | 2582192.2694 | 1212834.1112 | 2582201.8044 | 1212809.0101 | 2582202.2636 | 1212806.4851
58 | 2582200.1603 | 1212795.2628 | 2582202.0796 | 1212802.0053 | 2582202.3291 | 1212804.1502 | 2582202.2677 | 1212806.4628 | 2582202.2636 | 1212806.4851
59 | 2582200.1603 | 1212795.2628 | 2582181.8389 | 1212800.6541 | 2582170.5745 | 1212803.4226
60 | 2582222.5388 | 1212998.4431 | 2582223.8165 | 1212968.7305
61 | 2582222.2136 | 1213006.0043 | 2582222.5388 | 1212998.4431
62 | 2582222.2136 | 1213006.0043 | 2582219.5282 | 1213014.8062 | 2582218.9703 | 1213023.7907

## bus_geodata
| x | y | coords
0 | 2582035.4908 | 1212851.813
1 | 2582049.0877 | 1212829.0813
2 | 2582025.1799 | 1213009.3911
3 | 2582042.4226 | 1213021.5266
4 | 2582054.0901 | 1213038.7843
5 | 2582057.8916 | 1213032.4137
6 | 2582077.9484 | 1213048.8098
7 | 2582115.6459 | 1212830.3675
8 | 2582115.2279 | 1212836.3413
9 | 2582116.983 | 1212813.7899
10 | 2582102.2349 | 1212835.5908
11 | 2582112.9229 | 1212853.0879
12 | 2582110.2057 | 1212803.2711
13 | 2582133.0814 | 1212810.5
14 | 2582099.1128 | 1212835.9112
15 | 2582111.1746 | 1212864.6779
16 | 2582092.8209 | 1212799.2991
17 | 2582110.7783 | 1212763.9016
18 | 2582160.9369 | 1212805.5629
19 | 2582102.6845 | 1212988.0182
20 | 2582102.9537 | 1212988.1109
21 | 2582085.3739 | 1212982.0579
22 | 2582120.084 | 1212994.0092
23 | 2582075.1683 | 1213005.1143
24 | 2582094.0417 | 1212950.8647
25 | 2582165.9025 | 1213015.6231
26 | 2582096.2453 | 1212942.2248
27 | 2582109.9596 | 1212753.7053
28 | 2582242.2609 | 1212874.9594
29 | 2582239.6376 | 1212882.2408
30 | 2582244.7444 | 1212868.0663
31 | 2582231.5256 | 1212904.7563
32 | 2582250.7646 | 1212847.729
33 | 2582226.0393 | 1212928.0712
34 | 2582252.6 | 1212780.7531
35 | 2582077.961 | 1212813.9077
36 | 2582082.8367 | 1212794.1457
37 | 2582106.1909 | 1212946.6721
38 | 2582111.858 | 1212949.2061
39 | 2582145.3797 | 1212961.7015
40 | 2582100.3402 | 1212918.4563
41 | 2582162.8472 | 1212966.8156
42 | 2582101.2643 | 1212912.8926
43 | 2582067.0053 | 1212785.9742
44 | 2582101.4612 | 1212911.7071
45 | 2582103.9591 | 1212896.6688
46 | 2582106.6338 | 1212884.6704
47 | 2582072.9453 | 1212842.7882
48 | 2582071.5015 | 1212841.9587
49 | 2582107.5268 | 1212880.7387
50 | 2582184.514 | 1212988.2073
51 | 2582177.8222 | 1212869.3718
52 | 2582180.0427 | 1212863.4353
53 | 2582176.8833 | 1212871.8821
54 | 2582185.0411 | 1212850.0724
55 | 2582171.6469 | 1212884.7988
56 | 2582192.2694 | 1212834.1112
57 | 2582200.1603 | 1212795.2628
58 | 2582202.2636 | 1212806.4851
59 | 2582170.5745 | 1212803.4226
60 | 2582222.5388 | 1212998.4431
61 | 2582223.8165 | 1212968.7305
62 | 2582222.2136 | 1213006.0043
63 | 2582218.9703 | 1213023.7907
64 | 2582115.2279 | 1212836.3413

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1