## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_83-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_83-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_83-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_83-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_83-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_83-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_83-3_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_83-3_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_83-3_0_3_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_83-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_83-3_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_83-3_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_83-3_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_83-3_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_83-3_0_3_node_128 | 0.4 | n |  | TRUE
15 | bus_LV_83-3_0_3_node_126 | 0.4 | n |  | TRUE
16 | bus_LV_83-3_0_3_node_129 | 0.4 | n |  | TRUE
17 | bus_LV_83-3_0_3_node_133 | 0.4 | n |  | TRUE
18 | bus_LV_83-3_0_3_node_130 | 0.4 | n |  | TRUE
19 | bus_LV_83-3_0_3_node_139 | 0.4 | n |  | TRUE
20 | bus_LV_83-3_0_3_node_131 | 0.4 | n |  | TRUE
21 | bus_LV_83-3_0_3_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_83-3_0_3_node_113 | 0.4 | n |  | TRUE
23 | bus_LV_83-3_0_3_node_142 | 0.4 | n |  | TRUE
24 | bus_LV_83-3_0_3_node_140 | 0.4 | n |  | TRUE
25 | bus_LV_83-3_0_3_node_137 | 0.4 | n |  | TRUE
26 | bus_LV_83-3_0_3_node_138 | 0.4 | n |  | TRUE
27 | bus_LV_83-3_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_83-3_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_83-3_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_83-3_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_83-3_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_83-3_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_83-3_0_3_node_141 | 0.4 | n |  | TRUE
34 | bus_LV_83-3_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_83-3_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_83-3_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_83-3_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_83-3_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_83-3_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_83-3_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_83-3_0_3_node_134 | 0.4 | n |  | TRUE
42 | bus_LV_83-3_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_83-3_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_83-3_0_3_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_83-3_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_83-3_0_3_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_83-3_0_3_node_146 | 0.4 | n |  | TRUE
48 | bus_LV_83-3_0_3_node_143 | 0.4 | n |  | TRUE
49 | bus_LV_83-3_0_3_node_144 | 0.4 | n |  | TRUE
50 | bus_LV_83-3_0_3_node_145 | 0.4 | n |  | TRUE
51 | bus_LV_83-3_0_3_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_83-3_0_3_node_124 | 0.4 | n |  | TRUE
53 | bus_LV_83-3_0_3_node_149 | 0.4 | n |  | TRUE
54 | bus_LV_83-3_0_3_node_147 | 0.4 | n |  | TRUE
55 | bus_LV_83-3_0_3_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_83-3_0_3_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_83-3_0_3_node_112 | 0.4 | n |  | TRUE
58 | bus_LV_83-3_0_3_node_114 | 0.4 | n |  | TRUE
59 | bus_LV_83-3_0_3_node_117 | 0.4 | n |  | TRUE
60 | bus_LV_83-3_0_3_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_83-3_0_3_node_119 | 0.4 | n |  | TRUE
62 | bus_LV_83-3_0_3_node_122 | 0.4 | n |  | TRUE
63 | bus_LV_83-3_0_3_node_123 | 0.4 | n |  | TRUE
64 | bus_LV_83-3_0_3_node_125 | 0.4 | n |  | TRUE
65 | bus_MV_467_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_83-3_0_3_load_0 | 0 | 0.026922 | 0.0067474 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_83-3_0_3_load_2 | 2 | 0.0098881 | 0.0024782 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_83-3_0_3_load_6 | 5 | 0.0068454 | 0.0017156 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_83-3_0_3_load_8 | 6 | 0.048865 | 0.012247 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_83-3_0_3_load_64 | 8 | 0.0029255 | 0.0007332 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_83-3_0_3_load_5 | 9 | 0.053901 | 0.013509 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_83-3_0_3_load_7 | 10 | 0.025826 | 0.0064726 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_83-3_0_3_load_34 | 12 | 0.0020462 | 0.00051284 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_83-3_0_3_load_33 | 13 | 0.00070456 | 0.00017658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_83-3_0_3_load_128 | 14 | 0.00021041 | 5.2735e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_83-3_0_3_load_126 | 15 | 0.00047756 | 0.00011969 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_83-3_0_3_load_130 | 18 | 0.0013297 | 0.00033325 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_83-3_0_3_load_139 | 19 | 0.00055881 | 0.00014005 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_83-3_0_3_load_131 | 20 | 0.00061948 | 0.00015526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_83-3_0_3_load_142 | 23 | 0.0016131 | 0.00040428 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_83-3_0_3_load_140 | 24 | 0.00082813 | 0.00020755 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_83-3_0_3_load_137 | 25 | 0.00062873 | 0.00015757 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_83-3_0_3_load_138 | 26 | 0.00075549 | 0.00018934 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_83-3_0_3_load_19 | 27 | 0.0021515 | 0.00053921 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_83-3_0_3_load_23 | 31 | 0.0021933 | 0.0005497 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_83-3_0_3_load_24 | 32 | 0.0022881 | 0.00057346 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_83-3_0_3_load_141 | 33 | 0.0025455 | 0.00063796 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_83-3_0_3_load_25 | 34 | 0.0020054 | 0.0005026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_83-3_0_3_load_28 | 35 | 0.00050405 | 0.00012633 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_83-3_0_3_load_26 | 36 | 0.0011371 | 0.000285 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_83-3_0_3_load_29 | 37 | 0.00050629 | 0.00012689 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_83-3_0_3_load_30 | 38 | 0.00051395 | 0.00012881 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_83-3_0_3_load_31 | 39 | 0.00068412 | 0.00017146 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_83-3_0_3_load_32 | 40 | 0.0007973 | 0.00019982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_83-3_0_3_load_39 | 42 | 0.014345 | 0.0035952 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_83-3_0_3_load_65 | 44 | 0.032252 | 0.0080831 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_83-3_0_3_load_66 | 45 | 0.0005013 | 0.00012564 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_83-3_0_3_load_146 | 47 | 0.00091864 | 0.00023023 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_83-3_0_3_load_143 | 48 | 0.00032344 | 8.1062e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_83-3_0_3_load_144 | 49 | 0.00029244 | 7.3293e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_83-3_0_3_load_149 | 53 | 0.00030363 | 7.6096e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_83-3_0_3_load_147 | 54 | 0.0010019 | 0.00025111 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_83-3_0_3_load_111 | 56 | 0.00033778 | 8.4656e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_83-3_0_3_load_114 | 58 | 0.00041725 | 0.00010457 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_83-3_0_3_load_117 | 59 | 9.9234e-05 | 2.487e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_83-3_0_3_load_118 | 60 | 0.0017132 | 0.00042937 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_83-3_0_3_load_119 | 61 | 0.00012918 | 3.2376e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_83-3_0_3_load_122 | 62 | 0.0021366 | 0.00053549 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_83-3_0_3_load_125 | 64 | 0.0013526 | 0.000339 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_83-3_0_3_line_0 |  | 0 | 1 | 0.031926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_83-3_0_3_line_1 |  | 0 | 2 | 0.033495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_83-3_0_3_line_2 |  | 1 | 3 | 0.057291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_83-3_0_3_line_3 |  | 1 | 4 | 0.041514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_83-3_0_3_line_4 |  | 3 | 5 | 0.034745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_83-3_0_3_line_5 |  | 3 | 6 | 0.084408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_83-3_0_3_line_6 |  | 4 | 7 | 0.035575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_83-3_0_3_line_7 |  | 4 | 8 | 0.0083805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_83-3_0_3_line_8 |  | 5 | 9 | 0.069634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_83-3_0_3_line_9 |  | 7 | 43 | 0.11095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_83-3_0_3_line_10 |  | 8 | 44 | 0.038451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_83-3_0_3_line_11 |  | 9 | 10 | 0.010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_83-3_0_3_line_12 |  | 11 | 12 | 0.025591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_83-3_0_3_line_13 |  | 11 | 13 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_83-3_0_3_line_14 |  | 13 | 40 | 0.036209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_83-3_0_3_line_15 |  | 14 | 15 | 0.01053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_83-3_0_3_line_16 |  | 14 | 16 | 0.17082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_83-3_0_3_line_17 |  | 15 | 63 | 0.0087814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_83-3_0_3_line_18 |  | 16 | 17 | 0.056925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_83-3_0_3_line_19 |  | 16 | 18 | 0.012087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_83-3_0_3_line_20 |  | 17 | 19 | 0.031243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_83-3_0_3_line_21 |  | 18 | 20 | 0.0050462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_83-3_0_3_line_22 |  | 19 | 22 | 0.065271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_83-3_0_3_line_23 |  | 21 | 22 | 0.096088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_83-3_0_3_line_24 |  | 21 | 23 | 0.010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_83-3_0_3_line_25 |  | 21 | 24 | 0.0073664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_83-3_0_3_line_26 |  | 22 | 41 | 0.055567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_83-3_0_3_line_27 |  | 23 | 47 | 0.033189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_83-3_0_3_line_28 |  | 24 | 33 | 0.043317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_83-3_0_3_line_29 |  | 25 | 26 | 0.033508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_83-3_0_3_line_30 |  | 26 | 41 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_83-3_0_3_line_31 |  | 27 | 28 | 0.067815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_83-3_0_3_line_32 |  | 27 | 29 | 0.025712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_83-3_0_3_line_33 |  | 28 | 30 | 0.017168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_83-3_0_3_line_34 |  | 29 | 31 | 0.035142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_83-3_0_3_line_35 |  | 29 | 32 | 0.0031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_83-3_0_3_line_36 |  | 30 | 33 | 0.16152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_83-3_0_3_line_37 |  | 31 | 34 | 0.02326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_83-3_0_3_line_38 |  | 32 | 35 | 0.035612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_83-3_0_3_line_39 |  | 34 | 36 | 0.026893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_83-3_0_3_line_40 |  | 35 | 37 | 0.031148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_83-3_0_3_line_41 |  | 37 | 38 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_83-3_0_3_line_42 |  | 38 | 39 | 0.024535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_83-3_0_3_line_43 |  | 39 | 40 | 0.02721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_83-3_0_3_line_44 |  | 42 | 43 | 0.032832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_83-3_0_3_line_45 |  | 44 | 45 | 0.20647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_83-3_0_3_line_46 |  | 45 | 46 | 0.021908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_83-3_0_3_line_47 |  | 46 | 51 | 0.11921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_83-3_0_3_line_48 |  | 47 | 49 | 0.0080056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_83-3_0_3_line_49 |  | 48 | 49 | 0.026103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_83-3_0_3_line_50 |  | 48 | 50 | 0.070626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_83-3_0_3_line_51 |  | 50 | 54 | 0.055969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_83-3_0_3_line_52 |  | 51 | 52 | 0.007756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_83-3_0_3_line_53 |  | 51 | 53 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_83-3_0_3_line_54 |  | 52 | 62 | 0.044773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_83-3_0_3_line_55 |  | 54 | 55 | 0.028756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_83-3_0_3_line_56 |  | 55 | 57 | 0.15373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_83-3_0_3_line_57 |  | 56 | 57 | 0.049025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_83-3_0_3_line_58 |  | 57 | 58 | 0.045573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_83-3_0_3_line_59 |  | 58 | 59 | 0.036014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_83-3_0_3_line_60 |  | 59 | 60 | 0.026568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_83-3_0_3_line_61 |  | 60 | 61 | 0.01754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_83-3_0_3_line_62 |  | 62 | 63 | 0.020947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_83-3_0_3_line_63 |  | 63 | 64 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_83-3_0_3_trafo_7 | 0.63 MVA 20/0.4 kV | 65 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2675845.4879 | 1256719.9331 | 2675835.116 | 1256716.5867 | 2675834.7834 | 1256708.999 | 2675841.5931 | 1256703.1374 | 2675844.3692 | 1256699.6621
1 | 2675858.0391 | 1256669.7676 | 2675854.8761 | 1256684.1267 | 2675848.882 | 1256694.0128 | 2675844.3692 | 1256699.6621
2 | 2675877.2166 | 1256672.76 | 2675873.2649 | 1256676.2786 | 2675869.8842 | 1256680.5607 | 2675859.1287 | 1256694.1887 | 2675847.9821 | 1256713.0377 | 2675845.4879 | 1256719.9331
3 | 2675832.344 | 1256759.2942 | 2675836.1132 | 1256745.8769 | 2675845.4879 | 1256719.9331
4 | 2675877.2166 | 1256672.76 | 2675899.5226 | 1256699.3998
5 | 2675877.2166 | 1256672.76 | 2675892.1765 | 1256659.4306 | 2675913.0479 | 1256646.7887 | 2675948.1008 | 1256633.3058 | 2675950.4213 | 1256632.6435
6 | 2675832.344 | 1256759.2942 | 2675821.6521 | 1256760.3247 | 2675797.2536 | 1256755.1752
7 | 2675832.344 | 1256759.2942 | 2675839.0441 | 1256764.3282
8 | 2675958.3528 | 1256727.074 | 2675949.8093 | 1256722.2942 | 2675916.4722 | 1256719.6425 | 2675899.5226 | 1256699.3998
9 | 2675757.5361 | 1256673.6283 | 2675764.572 | 1256672.473 | 2675770.3075 | 1256699.8557 | 2675772.1546 | 1256712.8557 | 2675770.6007 | 1256729.3704 | 2675767.4854 | 1256742.974 | 2675797.2536 | 1256755.1752
10 | 2675839.0441 | 1256764.3282 | 2675839.0441 | 1256764.3282 | 2675877.0061 | 1256770.4416
11 | 2675958.3528 | 1256727.074 | 2675958.3528 | 1256727.074 | 2675968.8909 | 1256726.9768
12 | 2676311.7419 | 1256529.2474 | 2676296.9656 | 1256510.6876 | 2676298.0734 | 1256509.1842
13 | 2676311.7419 | 1256529.2474 | 2676324.0488 | 1256526.6728
14 | 2676359.8122 | 1256521.9102 | 2676344.1836 | 1256522.4605 | 2676324.0488 | 1256526.6728
15 | 2676101.5958 | 1256963.0748 | 2676111.9378 | 1256965.057
16 | 2676277.4395 | 1256936.0428 | 2676266.6039 | 1256942.9751 | 2676261.5106 | 1256945.5448 | 2676238.1641 | 1256950.1476 | 2676220.3815 | 1256955.4449 | 2676172.7744 | 1256965.3619 | 2676142.4195 | 1256968.4182 | 2676127.237 | 1256967.9894 | 2676111.9378 | 1256965.057
17 | 2676092.9714 | 1256961.4218 | 2676101.5958 | 1256963.0748
18 | 2676333.6611 | 1256935.9117 | 2676290.534 | 1256932.3087 | 2676282.8593 | 1256933.2995 | 2676277.4395 | 1256936.0428
19 | 2676277.4395 | 1256936.0428 | 2676277.3926 | 1256923.9559
20 | 2676333.6611 | 1256935.9117 | 2676359.4419 | 1256937.2895 | 2676364.8623 | 1256937.0543
21 | 2676277.3926 | 1256923.9559 | 2676277.3906 | 1256923.455 | 2676277.6578 | 1256918.9175
22 | 2676404.4624 | 1256896.4619 | 2676402.6985 | 1256909.2487 | 2676394.3451 | 1256928.3441 | 2676389.1763 | 1256932.6696 | 2676381.0945 | 1256934.8225 | 2676369.9075 | 1256936.8353 | 2676364.8623 | 1256937.0543
23 | 2676404.4624 | 1256896.4619 | 2676406.0734 | 1256883.2506 | 2676411.4052 | 1256865.1392 | 2676423.6546 | 1256842.1912 | 2676423.028 | 1256835.2335 | 2676453.501 | 1256830.1119
24 | 2676453.501 | 1256830.1119 | 2676463.4411 | 1256828.7307
25 | 2676453.501 | 1256830.1119 | 2676455.0493 | 1256825.2616 | 2676456.1821 | 1256823.2887
26 | 2676404.4624 | 1256896.4619 | 2676355.1291 | 1256870.6063
27 | 2676496.3217 | 1256824.2188 | 2676479.3464 | 1256826.5207 | 2676463.4411 | 1256828.7307
28 | 2676456.1821 | 1256823.2887 | 2676464.4539 | 1256808.8819 | 2676480.0008 | 1256790.48 | 2676480.3089 | 1256787.8843
29 | 2676339.6409 | 1256921.3921 | 2676349.4153 | 1256889.3417
30 | 2676355.1291 | 1256870.6063 | 2676349.4153 | 1256889.3417
31 | 2676495.2619 | 1256609.842 | 2676502.8101 | 1256542.448
32 | 2676505.6719 | 1256516.896 | 2676502.8101 | 1256542.448
33 | 2676494.4369 | 1256626.9887 | 2676495.2619 | 1256609.842
34 | 2676505.6719 | 1256516.896 | 2676540.7339 | 1256514.518
35 | 2676505.6719 | 1256516.896 | 2676502.5383 | 1256516.9999
36 | 2676494.4369 | 1256626.9887 | 2676482.5735 | 1256768.8081 | 2676480.3089 | 1256787.8843
37 | 2676540.7339 | 1256514.518 | 2676563.9403 | 1256512.944
38 | 2676466.9462 | 1256518.181 | 2676502.5383 | 1256516.9999
39 | 2676590.7627 | 1256510.995 | 2676570.7995 | 1256512.4788 | 2676563.9403 | 1256512.944
40 | 2676435.8159 | 1256519.2343 | 2676445.8626 | 1256518.8806 | 2676466.9462 | 1256518.181
41 | 2676435.8159 | 1256519.2343 | 2676411.5248 | 1256520.0896
42 | 2676387.0054 | 1256520.9528 | 2676411.5248 | 1256520.0896
43 | 2676387.0054 | 1256520.9528 | 2676359.8122 | 1256521.9102
44 | 2675757.5361 | 1256673.6283 | 2675755.8901 | 1256702.0507 | 2675753.7305 | 1256703.4463 | 2675753.689 | 1256705.2365
45 | 2676079.6266 | 1256809.8404 | 2675966.5475 | 1256789.5702 | 2675895.9098 | 1256773.4858 | 2675877.0061 | 1256770.4416
46 | 2676101.1907 | 1256813.7059 | 2676079.6266 | 1256809.8404
47 | 2676080.0853 | 1256892.0711 | 2676054.911 | 1256893.9491 | 2676054.4619 | 1256887.2272 | 2676060.2762 | 1256877.8504 | 2676078.4 | 1256852.4643 | 2676089.8702 | 1256834.8874 | 2676101.1907 | 1256813.7059
48 | 2676496.3217 | 1256824.2188 | 2676504.2547 | 1256823.143
49 | 2676530.1211 | 1256819.6353 | 2676504.2547 | 1256823.143
50 | 2676600.5257 | 1256818.6144 | 2676572.3085 | 1256816.6591 | 2676545.2228 | 1256817.5874 | 2676530.1211 | 1256819.6353
51 | 2676600.5257 | 1256818.6144 | 2676631.4303 | 1256843.6552 | 2676646.0574 | 1256850.6026
52 | 2676080.0853 | 1256892.0711 | 2676077.788 | 1256899.4804
53 | 2676080.0853 | 1256892.0711 | 2676086.2722 | 1256876.5835 | 2676090.4948 | 1256870.3493
54 | 2676077.788 | 1256899.4804 | 2676078.6013 | 1256906.6073 | 2676083.9529 | 1256925.001 | 2676085.9556 | 1256943.3355
55 | 2676672.032 | 1256862.9397 | 2676646.0574 | 1256850.6026
56 | 2676672.032 | 1256862.9397 | 2676593.8181 | 1256938.8844 | 2676562.311 | 1256970.9231
57 | 2676562.311 | 1256970.9231 | 2676528.6016 | 1257006.5201
58 | 2676562.311 | 1256970.9231 | 2676575.2835 | 1256977.2067 | 2676592.605 | 1256977.2529 | 2676606.4094 | 1256976.2937
59 | 2676642.3707 | 1256975.3305 | 2676626.0577 | 1256974.9284 | 2676606.4094 | 1256976.2937
60 | 2676642.3707 | 1256975.3305 | 2676651.7348 | 1256975.5612 | 2676668.4388 | 1256979.6668
61 | 2676668.4388 | 1256979.6668 | 2676685.472 | 1256983.8532
62 | 2676092.9714 | 1256961.4218 | 2676088.0422 | 1256958.2784 | 2676087.0362 | 1256953.2283 | 2676085.9556 | 1256943.3355
63 | 2676092.9714 | 1256961.4218 | 2676077.9866 | 1256961.6245

## bus_geodata
| x | y | coords
0 | 2675844.3692 | 1256699.6621
1 | 2675845.4879 | 1256719.9331
2 | 2675858.0391 | 1256669.7676
3 | 2675877.2166 | 1256672.76
4 | 2675832.344 | 1256759.2942
5 | 2675899.5226 | 1256699.3998
6 | 2675950.4213 | 1256632.6435
7 | 2675797.2536 | 1256755.1752
8 | 2675839.0441 | 1256764.3282
9 | 2675958.3528 | 1256727.074
10 | 2675968.8909 | 1256726.9768
11 | 2676311.7419 | 1256529.2474
12 | 2676298.0734 | 1256509.1842
13 | 2676324.0488 | 1256526.6728
14 | 2676111.9378 | 1256965.057
15 | 2676101.5958 | 1256963.0748
16 | 2676277.4395 | 1256936.0428
17 | 2676333.6611 | 1256935.9117
18 | 2676277.3926 | 1256923.9559
19 | 2676364.8623 | 1256937.0543
20 | 2676277.6578 | 1256918.9175
21 | 2676453.501 | 1256830.1119
22 | 2676404.4624 | 1256896.4619
23 | 2676463.4411 | 1256828.7307
24 | 2676456.1821 | 1256823.2887
25 | 2676339.6409 | 1256921.3921
26 | 2676349.4153 | 1256889.3417
27 | 2676502.8101 | 1256542.448
28 | 2676495.2619 | 1256609.842
29 | 2676505.6719 | 1256516.896
30 | 2676494.4369 | 1256626.9887
31 | 2676540.7339 | 1256514.518
32 | 2676502.5383 | 1256516.9999
33 | 2676480.3089 | 1256787.8843
34 | 2676563.9403 | 1256512.944
35 | 2676466.9462 | 1256518.181
36 | 2676590.7627 | 1256510.995
37 | 2676435.8159 | 1256519.2343
38 | 2676411.5248 | 1256520.0896
39 | 2676387.0054 | 1256520.9528
40 | 2676359.8122 | 1256521.9103
41 | 2676355.1291 | 1256870.6063
42 | 2675753.689 | 1256705.2365
43 | 2675757.5361 | 1256673.6283
44 | 2675877.0061 | 1256770.4416
45 | 2676079.6266 | 1256809.8404
46 | 2676101.1907 | 1256813.7059
47 | 2676496.3217 | 1256824.2188
48 | 2676530.1211 | 1256819.6353
49 | 2676504.2547 | 1256823.143
50 | 2676600.5257 | 1256818.6144
51 | 2676080.0853 | 1256892.0711
52 | 2676077.788 | 1256899.4804
53 | 2676090.4948 | 1256870.3493
54 | 2676646.0574 | 1256850.6026
55 | 2676672.032 | 1256862.9397
56 | 2676528.6016 | 1257006.5201
57 | 2676562.311 | 1256970.9231
58 | 2676606.4094 | 1256976.2937
59 | 2676642.3707 | 1256975.3305
60 | 2676668.4388 | 1256979.6668
61 | 2676685.472 | 1256983.8532
62 | 2676085.9556 | 1256943.3355
63 | 2676092.9714 | 1256961.4218
64 | 2676077.9866 | 1256961.6245
65 | 2675987.5796 | 1256726.8043

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1