## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_83-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_83-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_83-9_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_83-9_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_83-9_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_83-9_0_4_node_89 | 0.4 | n |  | TRUE
6 | bus_LV_83-9_0_4_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_83-9_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_83-9_0_4_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_83-9_0_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_83-9_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_83-9_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_83-9_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_83-9_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_83-9_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_83-9_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_83-9_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_83-9_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_83-9_0_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_83-9_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_83-9_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_83-9_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_83-9_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_83-9_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_83-9_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_83-9_0_4_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_83-9_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_83-9_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_83-9_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_83-9_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_83-9_0_4_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_83-9_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_83-9_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_83-9_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_83-9_0_4_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_83-9_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_83-9_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_83-9_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_83-9_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_83-9_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_83-9_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_83-9_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_83-9_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_83-9_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_83-9_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_83-9_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_83-9_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_83-9_0_4_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_83-9_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_83-9_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_83-9_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_83-9_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_83-9_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_83-9_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_83-9_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_83-9_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_83-9_0_4_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_83-9_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_83-9_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_83-9_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_83-9_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_83-9_0_4_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_83-9_0_4_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_83-9_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_83-9_0_4_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_83-9_0_4_node_100 | 0.4 | n |  | TRUE
66 | bus_LV_83-9_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_83-9_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_83-9_0_4_node_104 | 0.4 | n |  | TRUE
69 | bus_LV_83-9_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_83-9_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_83-9_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_83-9_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_83-9_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_83-9_0_4_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_83-9_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_83-9_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_83-9_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_83-9_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_83-9_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_83-9_0_4_node_111 | 0.4 | n |  | TRUE
81 | bus_LV_83-9_0_4_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_83-9_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_83-9_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_83-9_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_83-9_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_83-9_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_83-9_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_83-9_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_83-9_0_4_node_106 | 0.4 | n |  | TRUE
90 | bus_LV_83-9_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_83-9_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_83-9_0_4_node_103 | 0.4 | n |  | TRUE
93 | bus_LV_83-9_0_4_node_105 | 0.4 | n |  | TRUE
94 | bus_LV_83-9_0_4_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_83-9_0_4_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_83-9_0_4_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_83-9_0_4_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_83-9_0_4_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_83-9_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_83-9_0_4_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_83-9_0_4_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_83-9_0_4_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_83-9_0_4_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_83-9_0_4_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_83-9_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_MV_467_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_83-9_0_4_load_0 | 0 | 0.032835 | 0.0082293 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_83-9_0_4_load_4 | 3 | 0.0018597 | 0.00046609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_83-9_0_4_load_12 | 4 | 0.0021494 | 0.0005387 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_83-9_0_4_load_89 | 5 | 0.0022234 | 0.00055723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_83-9_0_4_load_70 | 6 | 0.0019802 | 0.00049628 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_83-9_0_4_load_90 | 8 | 0.0023528 | 0.00058966 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_83-9_0_4_load_69 | 9 | 0.0020874 | 0.00052314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_83-9_0_4_load_10 | 10 | 0.004932 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_83-9_0_4_load_6 | 11 | 0.0056714 | 0.0014214 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_83-9_0_4_load_7 | 12 | 0.0024171 | 0.00060578 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_83-9_0_4_load_11 | 14 | 0.0082315 | 0.002063 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_83-9_0_4_load_41 | 15 | 0.017036 | 0.0042696 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_83-9_0_4_load_38 | 16 | 0.0030053 | 0.0007532 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_83-9_0_4_load_37 | 17 | 0.0014812 | 0.00037123 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_83-9_0_4_load_46 | 18 | 0.0084407 | 0.0021154 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_83-9_0_4_load_39 | 19 | 0.0025112 | 0.00062937 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_83-9_0_4_load_29 | 20 | 0.0014317 | 0.00035883 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_83-9_0_4_load_27 | 22 | 0.0051438 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_83-9_0_4_load_25 | 23 | 0.0012718 | 0.00031873 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_83-9_0_4_load_32 | 24 | 0.0020218 | 0.00050672 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_83-9_0_4_load_35 | 25 | 0.0057775 | 0.001448 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_83-9_0_4_load_13 | 26 | 0.0077925 | 0.001953 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_83-9_0_4_load_14 | 27 | 0.00096782 | 0.00024256 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_83-9_0_4_load_16 | 28 | 0.0010921 | 0.0002737 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_83-9_0_4_load_43 | 29 | 0.0041684 | 0.0010447 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_83-9_0_4_load_18 | 31 | 0.0049326 | 0.0012362 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_83-9_0_4_load_19 | 32 | 0.0030138 | 0.00075532 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_83-9_0_4_load_112 | 34 | 0.012579 | 0.0031525 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_83-9_0_4_load_21 | 35 | 0.0041135 | 0.0010309 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_83-9_0_4_load_24 | 36 | 0.0044606 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_83-9_0_4_load_22 | 37 | 0.0086571 | 0.0021697 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_83-9_0_4_load_42 | 38 | 0.0017413 | 0.0004364 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_83-9_0_4_load_23 | 39 | 0.00062901 | 0.00015764 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_83-9_0_4_load_31 | 40 | 0.0024007 | 0.00060168 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_83-9_0_4_load_28 | 41 | 0.001368 | 0.00034285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_83-9_0_4_load_30 | 42 | 0.0061796 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_83-9_0_4_load_33 | 43 | 0.0081234 | 0.0020359 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_83-9_0_4_load_34 | 44 | 0.0036903 | 0.00092487 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_83-9_0_4_load_36 | 45 | 0.0036154 | 0.0009061 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_83-9_0_4_load_82 | 46 | 0.002489 | 0.00062381 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_83-9_0_4_load_44 | 48 | 0.0054589 | 0.0013681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_83-9_0_4_load_47 | 49 | 0.0029527 | 0.00074001 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_83-9_0_4_load_48 | 50 | 0.00099462 | 0.00024928 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_83-9_0_4_load_49 | 51 | 0.0017739 | 0.00044458 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_83-9_0_4_load_50 | 52 | 0.0010056 | 0.00025203 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_83-9_0_4_load_52 | 54 | 0.001469 | 0.00036818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_83-9_0_4_load_55 | 55 | 0.0040192 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_83-9_0_4_load_54 | 56 | 0.002523 | 0.00063233 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_83-9_0_4_load_57 | 58 | 0.002657 | 0.00066591 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_83-9_0_4_load_61 | 60 | 0.0026487 | 0.00066383 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_83-9_0_4_load_110 | 61 | 0.0018045 | 0.00045224 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_83-9_0_4_load_102 | 62 | 0.0025814 | 0.00064696 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_83-9_0_4_load_59 | 63 | 0.0017991 | 0.0004509 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_83-9_0_4_load_109 | 64 | 0.0015857 | 0.00039742 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_83-9_0_4_load_100 | 65 | 0.0024965 | 0.00062568 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_83-9_0_4_load_60 | 66 | 0.0025118 | 0.00062953 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_83-9_0_4_load_62 | 67 | 0.0014455 | 0.00036228 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_83-9_0_4_load_104 | 68 | 0.0013702 | 0.00034341 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_83-9_0_4_load_67 | 69 | 0.0024238 | 0.00060746 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_83-9_0_4_load_63 | 70 | 0.0022466 | 0.00056306 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_83-9_0_4_load_64 | 71 | 0.0022981 | 0.00057597 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_83-9_0_4_load_65 | 72 | 0.0018043 | 0.00045221 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_83-9_0_4_load_66 | 73 | 0.0017223 | 0.00043164 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_83-9_0_4_load_68 | 74 | 0.0018386 | 0.0004608 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_83-9_0_4_load_71 | 75 | 0.0022088 | 0.00055359 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_83-9_0_4_load_72 | 76 | 0.0013366 | 0.00033498 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_83-9_0_4_load_73 | 77 | 0.0011296 | 0.00028311 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_83-9_0_4_load_74 | 78 | 0.0024151 | 0.00060529 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_83-9_0_4_load_75 | 79 | 0.0014677 | 0.00036785 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_83-9_0_4_load_76 | 82 | 0.0035344 | 0.0008858 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_83-9_0_4_load_77 | 83 | 0.0038441 | 0.00096342 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_83-9_0_4_load_79 | 85 | 0.0027016 | 0.00067708 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_83-9_0_4_load_87 | 88 | 0.0020848 | 0.0005225 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_83-9_0_4_load_106 | 89 | 0.0025403 | 0.00063666 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_83-9_0_4_load_84 | 90 | 0.0010251 | 0.00025692 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_83-9_0_4_load_88 | 91 | 0.0016648 | 0.00041724 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_83-9_0_4_load_103 | 92 | 0.0024747 | 0.00062021 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_83-9_0_4_load_105 | 93 | 0.0030662 | 0.00076846 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_83-9_0_4_load_85 | 94 | 0.0041917 | 0.0010505 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_83-9_0_4_load_101 | 95 | 0.0036607 | 0.00091747 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_83-9_0_4_load_86 | 96 | 0.0030047 | 0.00075305 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_83-9_0_4_load_92 | 97 | 0.0029349 | 0.00073555 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_83-9_0_4_load_93 | 98 | 0.0011814 | 0.00029609 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_83-9_0_4_load_91 | 99 | 0.0021374 | 0.00053569 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_83-9_0_4_load_94 | 100 | 0.0042654 | 0.001069 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_83-9_0_4_load_95 | 101 | 0.0016083 | 0.00040308 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_83-9_0_4_load_96 | 102 | 0.0018208 | 0.00045633 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_83-9_0_4_load_98 | 103 | 0.0033398 | 0.00083702 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_83-9_0_4_load_99 | 104 | 0.0031165 | 0.00078106 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_83-9_0_4_load_107 | 105 | 0.0037441 | 0.00093835 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_83-9_0_4_line_0 |  | 0 | 1 | 0.046336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_83-9_0_4_line_1 |  | 1 | 2 | 0.002096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_83-9_0_4_line_2 |  | 1 | 3 | 0.012187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_83-9_0_4_line_3 |  | 2 | 4 | 0.030719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_83-9_0_4_line_4 |  | 2 | 5 | 0.014604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_83-9_0_4_line_5 |  | 3 | 6 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_83-9_0_4_line_6 |  | 4 | 7 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_83-9_0_4_line_7 |  | 5 | 8 | 0.0089867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_83-9_0_4_line_8 |  | 6 | 9 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_83-9_0_4_line_9 |  | 7 | 14 | 0.028576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_83-9_0_4_line_10 |  | 7 | 10 | 0.022451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_83-9_0_4_line_11 |  | 7 | 11 | 0.035358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_83-9_0_4_line_12 |  | 8 | 99 | 0.0055418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_83-9_0_4_line_13 |  | 9 | 74 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_83-9_0_4_line_14 |  | 11 | 12 | 0.032523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_83-9_0_4_line_15 |  | 12 | 13 | 0.024002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_83-9_0_4_line_16 |  | 13 | 15 | 0.031666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_83-9_0_4_line_17 |  | 13 | 16 | 0.043039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_83-9_0_4_line_18 |  | 14 | 17 | 0.0011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_83-9_0_4_line_19 |  | 15 | 18 | 0.0057129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_83-9_0_4_line_20 |  | 16 | 19 | 0.022318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_83-9_0_4_line_21 |  | 16 | 20 | 0.025384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_83-9_0_4_line_22 |  | 17 | 25 | 0.026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_83-9_0_4_line_23 |  | 19 | 30 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_83-9_0_4_line_24 |  | 20 | 40 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_83-9_0_4_line_25 |  | 20 | 41 | 0.024852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_83-9_0_4_line_26 |  | 21 | 22 | 0.0098504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_83-9_0_4_line_27 |  | 21 | 23 | 0.03441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_83-9_0_4_line_28 |  | 22 | 24 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_83-9_0_4_line_29 |  | 23 | 39 | 0.0033395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_83-9_0_4_line_30 |  | 24 | 40 | 0.00060991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_83-9_0_4_line_31 |  | 25 | 43 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_83-9_0_4_line_32 |  | 26 | 27 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_83-9_0_4_line_33 |  | 27 | 28 | 0.0053815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_83-9_0_4_line_34 |  | 28 | 31 | 0.0035069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_83-9_0_4_line_35 |  | 29 | 30 | 0.035416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_83-9_0_4_line_36 |  | 30 | 38 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_83-9_0_4_line_37 |  | 31 | 32 | 0.010989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_83-9_0_4_line_38 |  | 32 | 33 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_83-9_0_4_line_39 |  | 32 | 34 | 0.041698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_83-9_0_4_line_40 |  | 33 | 35 | 0.030092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_83-9_0_4_line_41 |  | 35 | 36 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_83-9_0_4_line_42 |  | 36 | 37 | 0.02618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_83-9_0_4_line_43 |  | 37 | 39 | 0.02626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_83-9_0_4_line_44 |  | 38 | 48 | 0.027045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_83-9_0_4_line_45 |  | 41 | 42 | 0.0078964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_83-9_0_4_line_46 |  | 44 | 45 | 0.042435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_83-9_0_4_line_47 |  | 45 | 46 | 0.0015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_83-9_0_4_line_48 |  | 46 | 47 | 0.040494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_83-9_0_4_line_49 |  | 47 | 92 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_83-9_0_4_line_50 |  | 47 | 86 | 0.00097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_83-9_0_4_line_51 |  | 49 | 50 | 0.030943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_83-9_0_4_line_52 |  | 49 | 51 | 0.027958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_83-9_0_4_line_53 |  | 50 | 52 | 0.010865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_83-9_0_4_line_54 |  | 51 | 53 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_83-9_0_4_line_55 |  | 52 | 54 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_83-9_0_4_line_56 |  | 53 | 55 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_83-9_0_4_line_57 |  | 55 | 56 | 0.043828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_83-9_0_4_line_58 |  | 56 | 57 | 0.023719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_83-9_0_4_line_59 |  | 57 | 58 | 0.01375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_83-9_0_4_line_60 |  | 57 | 59 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_83-9_0_4_line_61 |  | 58 | 60 | 0.01307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_83-9_0_4_line_62 |  | 59 | 61 | 0.031598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_83-9_0_4_line_63 |  | 59 | 62 | 0.017977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_83-9_0_4_line_64 |  | 60 | 63 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_83-9_0_4_line_65 |  | 61 | 64 | 0.0065892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_83-9_0_4_line_66 |  | 62 | 65 | 4.6881e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_83-9_0_4_line_67 |  | 63 | 66 | 0.0048622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_83-9_0_4_line_68 |  | 64 | 103 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_83-9_0_4_line_69 |  | 65 | 104 | 0.0037127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_83-9_0_4_line_70 |  | 66 | 67 | 0.0052695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_83-9_0_4_line_71 |  | 67 | 68 | 0.0055433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_83-9_0_4_line_72 |  | 68 | 69 | 1.3886e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_83-9_0_4_line_73 |  | 69 | 72 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_83-9_0_4_line_74 |  | 70 | 71 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_83-9_0_4_line_75 |  | 70 | 72 | 0.030253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_83-9_0_4_line_76 |  | 71 | 73 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_83-9_0_4_line_77 |  | 73 | 74 | 0.0081669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_83-9_0_4_line_78 |  | 75 | 76 | 0.0049027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_83-9_0_4_line_79 |  | 75 | 77 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_83-9_0_4_line_80 |  | 76 | 78 | 0.024358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_83-9_0_4_line_81 |  | 77 | 79 | 0.0020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_83-9_0_4_line_82 |  | 79 | 80 | 0.021278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_83-9_0_4_line_83 |  | 80 | 81 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_83-9_0_4_line_84 |  | 81 | 105 | 0.027086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_83-9_0_4_line_85 |  | 82 | 83 | 0.0013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_83-9_0_4_line_86 |  | 82 | 84 | 0.013283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_83-9_0_4_line_87 |  | 83 | 85 | 0.0338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_83-9_0_4_line_88 |  | 84 | 86 | 0.024352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_83-9_0_4_line_89 |  | 84 | 87 | 0.031238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_83-9_0_4_line_90 |  | 85 | 88 | 0.0078623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_83-9_0_4_line_91 |  | 86 | 89 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_83-9_0_4_line_92 |  | 87 | 90 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_83-9_0_4_line_93 |  | 88 | 91 | 0.014772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_83-9_0_4_line_94 |  | 89 | 93 | 0.021311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_83-9_0_4_line_95 |  | 90 | 94 | 0.0042411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_83-9_0_4_line_96 |  | 92 | 95 | 0.0029777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_83-9_0_4_line_97 |  | 93 | 105 | 0.027031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_83-9_0_4_line_98 |  | 94 | 96 | 0.011151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_83-9_0_4_line_99 |  | 95 | 104 | 0.032015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_83-9_0_4_line_100 |  | 96 | 97 | 0.014836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_83-9_0_4_line_101 |  | 97 | 98 | 0.0053554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_83-9_0_4_line_102 |  | 98 | 100 | 0.0036702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_83-9_0_4_line_103 |  | 101 | 102 | 0.0081168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_83-9_0_4_line_104 |  | 102 | 103 | 0.029356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_83-9_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 106 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2674886.8357 | 1257053.7812 | 2674906.6333 | 1257058.3572 | 2674911.1765 | 1257058.0812 | 2674928.2467 | 1257045.0671
1 | 2674886.8357 | 1257053.7812 | 2674887.3666 | 1257051.7531
2 | 2674886.8357 | 1257053.7812 | 2674883.7851 | 1257065.5801
3 | 2674887.3666 | 1257051.7531 | 2674893.7343 | 1257021.7011
4 | 2674887.3666 | 1257051.7531 | 2674873.4181 | 1257047.4277
5 | 2674879.5171 | 1257082.0875 | 2674883.7851 | 1257065.5801
6 | 2674898.0815 | 1257001.1842 | 2674893.7343 | 1257021.7011
7 | 2674873.4181 | 1257047.4277 | 2674868.0018 | 1257045.7482 | 2674865.6435 | 1257043.417
8 | 2674879.5171 | 1257082.0875 | 2674862.366 | 1257074.5655
9 | 2674898.0815 | 1257001.1842 | 2674870.6237 | 1256993.2688
10 | 2674898.0815 | 1257001.1842 | 2674920.23 | 1257004.8557
11 | 2674898.0815 | 1257001.1842 | 2674900.2779 | 1256985.5448 | 2674898.9766 | 1256976.3437 | 2674895.7288 | 1256966.5987
12 | 2674861.3617 | 1257040.1045 | 2674862.6691 | 1257040.4768 | 2674865.6435 | 1257043.417
13 | 2674862.366 | 1257074.5655 | 2674861.4511 | 1257074.1643 | 2674850.639 | 1257068.2417
14 | 2674895.7288 | 1256966.5987 | 2674885.4454 | 1256935.7441
15 | 2674877.8564 | 1256912.9738 | 2674885.4454 | 1256935.7441
16 | 2674877.8564 | 1256912.9738 | 2674846.8487 | 1256919.3977 | 2674846.8487 | 1256919.3977
17 | 2674877.8564 | 1256912.9738 | 2674891.5575 | 1256910.1005 | 2674909.2427 | 1256907.6335 | 2674918.0423 | 1256907.1222 | 2674920.4018 | 1256907.3356
18 | 2674870.6237 | 1256993.2688 | 2674869.5195 | 1256992.9505
19 | 2674846.8487 | 1256919.3977 | 2674841.1685 | 1256918.7868
20 | 2674920.4018 | 1256907.3356 | 2674923.6164 | 1256907.6264 | 2674941.5889 | 1256914.0617
21 | 2674920.4018 | 1256907.3356 | 2674924.0204 | 1256882.2112
22 | 2674869.5195 | 1256992.9505 | 2674849.791 | 1256987.2633 | 2674843.8252 | 1256985.5164
23 | 2674955.5519 | 1256919.0613 | 2674941.5889 | 1256914.0617
24 | 2674924.0204 | 1256882.2112 | 2674916.1834 | 1256883.5923 | 2674909.4855 | 1256880.4152
25 | 2674948.4951 | 1256877.8981 | 2674924.0204 | 1256882.2112
26 | 2674881.7906 | 1256867.2784 | 2674890.6905 | 1256871.5
27 | 2674881.7906 | 1256867.2784 | 2674893.5003 | 1256861.4666 | 2674913.6901 | 1256854.5635
28 | 2674908.9345 | 1256880.1538 | 2674890.6905 | 1256871.5
29 | 2674913.6901 | 1256854.5635 | 2674916.8499 | 1256853.4831
30 | 2674909.4855 | 1256880.4152 | 2674908.9345 | 1256880.1538
31 | 2674831.4023 | 1256981.8787 | 2674843.8252 | 1256985.5164
32 | 2675078.6247 | 1256827.5736 | 2675064.4592 | 1256828.8708
33 | 2675059.1002 | 1256829.3615 | 2675064.4592 | 1256828.8708
34 | 2675059.1002 | 1256829.3615 | 2675055.6079 | 1256829.6813
35 | 2674955.5519 | 1256919.0613 | 2674963.9464 | 1256921.9475 | 2674989.135 | 1256930.3073
36 | 2674955.5519 | 1256919.0613 | 2674954.4909 | 1256922.4504 | 2674952.2516 | 1256930.1612 | 2674951.892 | 1256931.1574 | 2674949.9518 | 1256930.7325 | 2674949.4782 | 1256932.336
37 | 2675055.6079 | 1256829.6813 | 2675044.6645 | 1256830.6834
38 | 2675031.3679 | 1256831.901 | 2675044.6645 | 1256830.6834
39 | 2675044.6645 | 1256830.6834 | 2675043.3432 | 1256872.3607
40 | 2675031.3679 | 1256831.901 | 2675023.768 | 1256832.9499 | 2675001.6722 | 1256836.7502
41 | 2675001.6722 | 1256836.7502 | 2674977.9451 | 1256840.831 | 2674968.1374 | 1256842.6438
42 | 2674968.1374 | 1256842.6438 | 2674942.6446 | 1256847.3557 | 2674942.3958 | 1256847.4142
43 | 2674942.3958 | 1256847.4142 | 2674917.3965 | 1256853.2962 | 2674916.8499 | 1256853.4831
44 | 2674949.4782 | 1256932.336 | 2674949.353 | 1256932.7597 | 2674949.6771 | 1256933.3643 | 2674949.0768 | 1256936.7036 | 2674950.1365 | 1256938.7741 | 2674948.7569 | 1256953.6233 | 2674948.7594 | 1256958.9085
45 | 2674956.2717 | 1256876.5276 | 2674948.4951 | 1256877.8981
46 | 2674742.4997 | 1256963.3137 | 2674756.5869 | 1256964.2465 | 2674780.6159 | 1256967.0075 | 2674784.5798 | 1256968.1682
47 | 2674742.4997 | 1256963.3137 | 2674740.9226 | 1256963.2093
48 | 2674700.6176 | 1256959.381 | 2674727.7435 | 1256962.3366 | 2674740.9226 | 1256963.2093
49 | 2674700.6176 | 1256959.381 | 2674699.1806 | 1256980.1954
50 | 2674700.6176 | 1256959.381 | 2674699.6453 | 1256959.3465
51 | 2674792.6887 | 1257122.864 | 2674822.2721 | 1257131.9347
52 | 2674792.6887 | 1257122.864 | 2674765.9593 | 1257114.6684
53 | 2674822.2721 | 1257131.9347 | 2674832.6602 | 1257135.1198
54 | 2674744.7693 | 1257108.1712 | 2674765.9593 | 1257114.6684
55 | 2674860.9679 | 1257143.7994 | 2674832.6602 | 1257135.1198
56 | 2674744.7693 | 1257108.1712 | 2674736.9672 | 1257102.5797 | 2674735.2289 | 1257100.7571
57 | 2674722.2314 | 1257059.7251 | 2674728.1514 | 1257090.0702 | 2674732.405 | 1257097.7963 | 2674735.2289 | 1257100.7571
58 | 2674718.7856 | 1257036.312 | 2674719.1636 | 1257044.0003 | 2674722.2314 | 1257059.7251
59 | 2674718.7856 | 1257036.312 | 2674732.523 | 1257035.7249
60 | 2674697.9217 | 1257036.738 | 2674718.7856 | 1257036.312
61 | 2674745.5807 | 1257035.1668 | 2674732.523 | 1257035.7249
62 | 2674697.9217 | 1257036.738 | 2674666.3262 | 1257037.1703
63 | 2674697.9217 | 1257036.738 | 2674698.9016 | 1257018.7877
64 | 2674764.4532 | 1257034.3602 | 2674745.5807 | 1257035.1668
65 | 2674666.3262 | 1257037.1703 | 2674659.7376 | 1257037.2604
66 | 2674698.9016 | 1257018.7877 | 2674698.9042 | 1257018.7408
67 | 2674764.4532 | 1257034.3602 | 2674769.311 | 1257034.1526
68 | 2674648.083 | 1257036.5821 | 2674654.3797 | 1257037.3338 | 2674659.7376 | 1257037.2604
69 | 2674699.1066 | 1257015.0336 | 2674698.9042 | 1257018.7408
70 | 2674769.311 | 1257034.1526 | 2674772.0014 | 1257034.0376 | 2674774.5701 | 1257034.2399
71 | 2674780.0963 | 1257034.6753 | 2674774.5701 | 1257034.2399
72 | 2674780.1102 | 1257034.6764 | 2674780.0963 | 1257034.6753
73 | 2674790.8663 | 1257036.524 | 2674784.7784 | 1257035.0441 | 2674780.1102 | 1257034.6764
74 | 2674818.2089 | 1257048.9338 | 2674828.5247 | 1257055.298
75 | 2674818.2089 | 1257048.9338 | 2674815.5569 | 1257047.2976 | 2674799.5436 | 1257038.6333 | 2674790.8663 | 1257036.524
76 | 2674828.5247 | 1257055.298 | 2674840.5265 | 1257062.7024 | 2674843.4763 | 1257064.3182
77 | 2674843.4763 | 1257064.3182 | 2674850.639 | 1257068.2417
78 | 2674731.5491 | 1256918.3759 | 2674730.6851 | 1256923.2018
79 | 2674731.5491 | 1256918.3759 | 2674735.6725 | 1256895.3443
80 | 2674727.202 | 1256947.2963 | 2674728.6038 | 1256934.827 | 2674730.6851 | 1256923.2018
81 | 2674736.0426 | 1256893.2773 | 2674735.6725 | 1256895.3443
82 | 2674739.7924 | 1256872.3328 | 2674736.0426 | 1256893.2773
83 | 2674712.5125 | 1256871.9882 | 2674723.4289 | 1256871.0586 | 2674739.7924 | 1256872.3328
84 | 2674712.5125 | 1256871.9882 | 2674710.3357 | 1256887.3055 | 2674709.2039 | 1256898.8653
85 | 2674662.2154 | 1256961.5027 | 2674660.9223 | 1256961.7687
86 | 2674675.226 | 1256958.827 | 2674662.2154 | 1256961.5027
87 | 2674630.5267 | 1256975.8943 | 2674641.0731 | 1256968.9151 | 2674656.5812 | 1256962.6615 | 2674660.9223 | 1256961.7687
88 | 2674675.226 | 1256958.827 | 2674699.6453 | 1256959.3465
89 | 2674677.2245 | 1256927.7513 | 2674677.2321 | 1256933.7225 | 2674674.8133 | 1256955.675 | 2674675.226 | 1256958.827
90 | 2674630.5267 | 1256975.8943 | 2674626.8601 | 1256978.3207 | 2674624.249 | 1256980.5993
91 | 2674699.6453 | 1256959.3465 | 2674699.7826 | 1256955.6344 | 2674701.4603 | 1256946.5696
92 | 2674677.2245 | 1256927.7513 | 2674665.1823 | 1256928.258
93 | 2674613.1192 | 1256990.3115 | 2674624.249 | 1256980.5993
94 | 2674705.3386 | 1256925.6145 | 2674701.4603 | 1256946.5696
95 | 2674665.1823 | 1256928.258 | 2674660.9449 | 1256928.4363
96 | 2674699.1806 | 1256980.1954 | 2674698.9755 | 1256983.166
97 | 2674705.3386 | 1256925.6145 | 2674705.634 | 1256924.018 | 2674708.9591 | 1256901.3653 | 2674709.2039 | 1256898.8653
98 | 2674660.9449 | 1256928.4363 | 2674655.268 | 1256928.6752 | 2674650.9579 | 1256932.0418
99 | 2674699.1066 | 1257015.0336 | 2674699.7561 | 1257003.1361 | 2674698.292 | 1256993.0657 | 2674698.9755 | 1256983.166
100 | 2674639.2656 | 1256941.1746 | 2674650.9579 | 1256932.0418
101 | 2674639.2656 | 1256941.1746 | 2674635.0451 | 1256944.4713
102 | 2674632.1527 | 1256946.7306 | 2674635.0451 | 1256944.4713
103 | 2674611.6263 | 1257028.4662 | 2674613.6531 | 1257029.3478 | 2674619.3626 | 1257030.8607
104 | 2674648.083 | 1257036.5821 | 2674635.1111 | 1257035.0336 | 2674619.3626 | 1257030.8607

## bus_geodata
| x | y | coords
0 | 2674928.2467 | 1257045.0671
1 | 2674886.8357 | 1257053.7812
2 | 2674887.3666 | 1257051.7531
3 | 2674883.7851 | 1257065.5801
4 | 2674893.7343 | 1257021.7011
5 | 2674873.4181 | 1257047.4277
6 | 2674879.5171 | 1257082.0875
7 | 2674898.0816 | 1257001.1842
8 | 2674865.6435 | 1257043.417
9 | 2674862.366 | 1257074.5655
10 | 2674920.23 | 1257004.8557
11 | 2674895.7288 | 1256966.5987
12 | 2674885.4454 | 1256935.7441
13 | 2674877.8564 | 1256912.9738
14 | 2674870.6237 | 1256993.2688
15 | 2674846.8487 | 1256919.3977
16 | 2674920.4018 | 1256907.3356
17 | 2674869.5195 | 1256992.9505
18 | 2674841.1685 | 1256918.7868
19 | 2674941.5889 | 1256914.0617
20 | 2674924.0204 | 1256882.2112
21 | 2674881.7906 | 1256867.2784
22 | 2674890.6905 | 1256871.5
23 | 2674913.6901 | 1256854.5635
24 | 2674908.9345 | 1256880.1538
25 | 2674843.8252 | 1256985.5164
26 | 2675078.6247 | 1256827.5736
27 | 2675064.4592 | 1256828.8708
28 | 2675059.1002 | 1256829.3615
29 | 2674989.135 | 1256930.3073
30 | 2674955.5519 | 1256919.0613
31 | 2675055.6079 | 1256829.6813
32 | 2675044.6645 | 1256830.6834
33 | 2675031.3679 | 1256831.901
34 | 2675043.3432 | 1256872.3607
35 | 2675001.6722 | 1256836.7502
36 | 2674968.1374 | 1256842.6438
37 | 2674942.3958 | 1256847.4142
38 | 2674949.4782 | 1256932.336
39 | 2674916.8499 | 1256853.4831
40 | 2674909.4855 | 1256880.4152
41 | 2674948.4951 | 1256877.8981
42 | 2674956.2717 | 1256876.5276
43 | 2674831.4023 | 1256981.8787
44 | 2674784.5798 | 1256968.1682
45 | 2674742.4997 | 1256963.3137
46 | 2674740.9226 | 1256963.2093
47 | 2674700.6176 | 1256959.381
48 | 2674948.7594 | 1256958.9085
49 | 2674792.6887 | 1257122.864
50 | 2674822.2721 | 1257131.9347
51 | 2674765.9593 | 1257114.6684
52 | 2674832.6602 | 1257135.1198
53 | 2674744.7693 | 1257108.1712
54 | 2674860.9679 | 1257143.7994
55 | 2674735.2289 | 1257100.7571
56 | 2674722.2314 | 1257059.7251
57 | 2674718.7856 | 1257036.312
58 | 2674732.523 | 1257035.7249
59 | 2674697.9217 | 1257036.738
60 | 2674745.5807 | 1257035.1668
61 | 2674666.3262 | 1257037.1703
62 | 2674698.9016 | 1257018.7877
63 | 2674764.4532 | 1257034.3602
64 | 2674659.7376 | 1257037.2604
65 | 2674698.9042 | 1257018.7408
66 | 2674769.311 | 1257034.1526
67 | 2674774.5701 | 1257034.2399
68 | 2674780.0963 | 1257034.6753
69 | 2674780.1102 | 1257034.6764
70 | 2674818.2089 | 1257048.9338
71 | 2674828.5247 | 1257055.298
72 | 2674790.8663 | 1257036.524
73 | 2674843.4763 | 1257064.3182
74 | 2674850.639 | 1257068.2417
75 | 2674731.5491 | 1256918.3759
76 | 2674730.6851 | 1256923.2018
77 | 2674735.6725 | 1256895.3443
78 | 2674727.202 | 1256947.2963
79 | 2674736.0426 | 1256893.2773
80 | 2674739.7924 | 1256872.3328
81 | 2674712.5125 | 1256871.9882
82 | 2674662.2154 | 1256961.5027
83 | 2674660.9223 | 1256961.7687
84 | 2674675.226 | 1256958.827
85 | 2674630.5267 | 1256975.8943
86 | 2674699.6453 | 1256959.3465
87 | 2674677.2245 | 1256927.7513
88 | 2674624.249 | 1256980.5993
89 | 2674701.4603 | 1256946.5696
90 | 2674665.1823 | 1256928.258
91 | 2674613.1192 | 1256990.3115
92 | 2674699.1806 | 1256980.1954
93 | 2674705.3386 | 1256925.6145
94 | 2674660.9449 | 1256928.4363
95 | 2674698.9755 | 1256983.166
96 | 2674650.9579 | 1256932.0418
97 | 2674639.2656 | 1256941.1746
98 | 2674635.0451 | 1256944.4713
99 | 2674861.3617 | 1257040.1045
100 | 2674632.1527 | 1256946.7306
101 | 2674611.6263 | 1257028.4662
102 | 2674619.3626 | 1257030.8607
103 | 2674648.083 | 1257036.5821
104 | 2674699.1066 | 1257015.0336
105 | 2674709.2039 | 1256898.8653
106 | 2674898.0816 | 1257001.1842

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1