## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_84-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_84-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_84-4_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_84-4_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_84-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_84-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_84-4_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_84-4_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_84-4_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_84-4_0_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_84-4_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_84-4_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_84-4_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_84-4_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_84-4_0_5_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_84-4_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_84-4_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_84-4_0_5_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_84-4_0_5_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_84-4_0_5_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_84-4_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_84-4_0_5_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_84-4_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_84-4_0_5_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_84-4_0_5_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_84-4_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_84-4_0_5_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_84-4_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_84-4_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_84-4_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_84-4_0_5_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_84-4_0_5_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_84-4_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_84-4_0_5_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_84-4_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_84-4_0_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_84-4_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_84-4_0_5_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_84-4_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_84-4_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_84-4_0_5_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_84-4_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_84-4_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_84-4_0_5_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_84-4_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_84-4_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_84-4_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_84-4_0_5_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_84-4_0_5_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_84-4_0_5_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_84-4_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_84-4_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_84-4_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_84-4_0_5_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_84-4_0_5_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_84-4_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_84-4_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_84-4_0_5_node_56 | 0.4 | n |  | TRUE
58 | bus_MV_467_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_84-4_0_5_load_0 | 0 | 0.00027458 | 6.8817e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_84-4_0_5_load_1 | 1 | 0.0006752 | 0.00016922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_84-4_0_5_load_2 | 3 | 0.007866 | 0.0019714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_84-4_0_5_load_5 | 5 | 0.0082872 | 0.002077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_84-4_0_5_load_6 | 6 | 0.00068636 | 0.00017202 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_84-4_0_5_load_25 | 7 | 0.017814 | 0.0044647 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_84-4_0_5_load_26 | 12 | 0.002148 | 0.00053835 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_84-4_0_5_load_29 | 14 | 0.004296 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_84-4_0_5_load_60 | 17 | 0.013468 | 0.0033754 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_84-4_0_5_load_54 | 18 | 0.0020106 | 0.00050389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_84-4_0_5_load_46 | 19 | 0.02295 | 0.0057517 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_84-4_0_5_load_53 | 21 | 0.020877 | 0.0052323 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_84-4_0_5_load_27 | 24 | 0.018561 | 0.0046517 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_84-4_0_5_load_55 | 26 | 0.01549 | 0.0038821 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_84-4_0_5_load_47 | 28 | 0.016214 | 0.0040637 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_84-4_0_5_load_49 | 31 | 0.0038719 | 0.00097039 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_84-4_0_5_load_35 | 33 | 0.0090353 | 0.0022645 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_84-4_0_5_load_33 | 34 | 0.0016733 | 0.00041936 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_84-4_0_5_load_36 | 36 | 0.0077739 | 0.0019483 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_84-4_0_5_load_32 | 38 | 0.0015309 | 0.00038369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_84-4_0_5_load_28 | 39 | 0.015164 | 0.0038004 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_84-4_0_5_load_41 | 40 | 0.0055259 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_84-4_0_5_load_31 | 42 | 0.015867 | 0.0039767 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_84-4_0_5_load_61 | 43 | 0.013426 | 0.003365 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_84-4_0_5_load_43 | 45 | 0.019105 | 0.0047882 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_84-4_0_5_load_64 | 47 | 0.0014961 | 0.00037495 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_84-4_0_5_load_51 | 48 | 0.0047979 | 0.0012025 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_84-4_0_5_load_52 | 49 | 0.008971 | 0.0022483 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_84-4_0_5_load_42 | 52 | 0.042908 | 0.010754 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_84-4_0_5_load_63 | 53 | 0.006496 | 0.0016281 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_84-4_0_5_load_62 | 54 | 0.012381 | 0.0031031 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_84-4_0_5_load_58 | 55 | 0.018571 | 0.0046544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_84-4_0_5_load_59 | 56 | 0.0049252 | 0.0012344 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_84-4_0_5_load_56 | 57 | 0.0077692 | 0.0019472 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_84-4_0_5_line_0 |  | 0 | 1 | 0.0027518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_84-4_0_5_line_1 |  | 1 | 2 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_84-4_0_5_line_2 |  | 2 | 5 | 0.039249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_84-4_0_5_line_3 |  | 2 | 6 | 0.037984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_84-4_0_5_line_4 |  | 3 | 4 | 0.019956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_84-4_0_5_line_5 |  | 4 | 7 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_84-4_0_5_line_6 |  | 5 | 8 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_84-4_0_5_line_7 |  | 6 | 9 | 0.00073188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_84-4_0_5_line_8 |  | 7 | 20 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_84-4_0_5_line_9 |  | 8 | 35 | 0.03234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_84-4_0_5_line_10 |  | 8 | 36 | 0.025946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_84-4_0_5_line_11 |  | 9 | 10 | 0.013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_84-4_0_5_line_12 |  | 10 | 11 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_84-4_0_5_line_13 |  | 10 | 12 | 0.017153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_84-4_0_5_line_14 |  | 11 | 13 | 0.017672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_84-4_0_5_line_15 |  | 11 | 14 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_84-4_0_5_line_16 |  | 13 | 18 | 0.027194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_84-4_0_5_line_17 |  | 14 | 39 | 0.021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_84-4_0_5_line_18 |  | 15 | 16 | 0.032526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_84-4_0_5_line_19 |  | 15 | 17 | 0.016032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_84-4_0_5_line_20 |  | 16 | 19 | 0.031857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_84-4_0_5_line_21 |  | 17 | 43 | 0.0056004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_84-4_0_5_line_22 |  | 19 | 44 | 0.024981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_84-4_0_5_line_23 |  | 20 | 21 | 0.0092245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_84-4_0_5_line_24 |  | 20 | 22 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_84-4_0_5_line_25 |  | 22 | 23 | 0.018222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_84-4_0_5_line_26 |  | 22 | 24 | 0.022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_84-4_0_5_line_27 |  | 23 | 42 | 0.021697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_84-4_0_5_line_28 |  | 24 | 39 | 0.02979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_84-4_0_5_line_29 |  | 25 | 26 | 0.027174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_84-4_0_5_line_30 |  | 25 | 27 | 0.055578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_84-4_0_5_line_31 |  | 26 | 47 | 0.0069109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_84-4_0_5_line_32 |  | 27 | 28 | 0.029361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_84-4_0_5_line_33 |  | 28 | 44 | 0.022605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_84-4_0_5_line_34 |  | 29 | 30 | 0.00854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_84-4_0_5_line_35 |  | 29 | 31 | 0.046578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_84-4_0_5_line_36 |  | 30 | 48 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_84-4_0_5_line_37 |  | 30 | 49 | 0.012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_84-4_0_5_line_38 |  | 32 | 33 | 0.033058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_84-4_0_5_line_39 |  | 32 | 34 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_84-4_0_5_line_40 |  | 33 | 37 | 0.020967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_84-4_0_5_line_41 |  | 34 | 38 | 0.020949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_84-4_0_5_line_42 |  | 35 | 55 | 0.021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_84-4_0_5_line_43 |  | 36 | 37 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_84-4_0_5_line_44 |  | 40 | 41 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_84-4_0_5_line_45 |  | 41 | 52 | 0.029877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_84-4_0_5_line_46 |  | 41 | 50 | 0.006939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_84-4_0_5_line_47 |  | 42 | 50 | 0.031512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_84-4_0_5_line_48 |  | 43 | 54 | 0.019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_84-4_0_5_line_49 |  | 44 | 46 | 0.018637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_84-4_0_5_line_50 |  | 45 | 46 | 0.041938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_84-4_0_5_line_51 |  | 48 | 56 | 0.0093605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_84-4_0_5_line_52 |  | 49 | 57 | 0.0078983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_84-4_0_5_line_53 |  | 50 | 51 | 0.047927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_84-4_0_5_line_54 |  | 51 | 53 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_84-4_0_5_line_55 |  | 52 | 54 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_84-4_0_5_line_56 |  | 55 | 56 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_84-4_0_5_trafo_40 | 0.63 MVA 20/0.4 kV | 58 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2675422.5648 | 1254926.9627 | 2675421.9318 | 1254929.6406
1 | 2675418.8484 | 1254942.6863 | 2675421.9318 | 1254929.6406
2 | 2675418.8484 | 1254942.6863 | 2675397.5791 | 1254949.4761 | 2675381.4384 | 1254954.5608
3 | 2675418.8484 | 1254942.6863 | 2675450.1841 | 1254933.3006 | 2675454.7164 | 1254930.6048
4 | 2675442.2181 | 1254871.1309 | 2675436.4416 | 1254882.8104 | 2675434.0746 | 1254889.3196
5 | 2675442.2181 | 1254871.1309 | 2675432.4564 | 1254853.0061
6 | 2675360.2614 | 1254961.2321 | 2675381.4384 | 1254954.5608
7 | 2675455.3454 | 1254930.2307 | 2675454.7164 | 1254930.6048
8 | 2675422.8804 | 1254834.6465 | 2675425.6957 | 1254840.4533 | 2675432.4564 | 1254853.0061
9 | 2675360.2614 | 1254961.2321 | 2675352.128 | 1254929.9277
10 | 2675360.2614 | 1254961.2321 | 2675335.2974 | 1254968.3035
11 | 2675463.624 | 1254919.9285 | 2675463.1965 | 1254922.1025 | 2675460.9698 | 1254925.7546 | 2675455.3454 | 1254930.2307
12 | 2675463.624 | 1254919.9285 | 2675469.9973 | 1254918.8423 | 2675475.7139 | 1254917.781
13 | 2675463.624 | 1254919.9285 | 2675461.0933 | 1254909.5553 | 2675458.9253 | 1254903.454
14 | 2675475.7139 | 1254917.781 | 2675476.3372 | 1254919.7793 | 2675477.2018 | 1254921.7807 | 2675479.2168 | 1254924.0858 | 2675481.5809 | 1254925.0389 | 2675483.5851 | 1254925.2312 | 2675483.7303 | 1254931.004
15 | 2675475.7139 | 1254917.781 | 2675473.6586 | 1254912.1284 | 2675471.6842 | 1254907.8223 | 2675467.0204 | 1254899.2293
16 | 2675483.7303 | 1254931.004 | 2675510.1926 | 1254924.7382
17 | 2675456.8897 | 1254880.3707 | 2675458.8372 | 1254884.1522 | 2675467.0204 | 1254899.2293
18 | 2675629.2463 | 1254790.1447 | 2675621.8557 | 1254791.7182 | 2675597.2188 | 1254796.3182
19 | 2675597.2188 | 1254796.3182 | 2675581.4138 | 1254799.0033
20 | 2675629.2463 | 1254790.1447 | 2675638.3657 | 1254820.6688
21 | 2675581.4138 | 1254799.0033 | 2675575.8925 | 1254799.9413
22 | 2675645.5167 | 1254844.6039 | 2675638.3657 | 1254820.6688
23 | 2675422.8804 | 1254834.6465 | 2675420.5952 | 1254828.0904 | 2675419.3144 | 1254826.2023
24 | 2675422.8804 | 1254834.6465 | 2675430.5995 | 1254833.3327 | 2675437.5398 | 1254832.1536
25 | 2675437.5398 | 1254832.1536 | 2675437.7427 | 1254828.6647 | 2675439.2605 | 1254824.4031 | 2675442.647 | 1254820.9103 | 2675447.1721 | 1254818.0436
26 | 2675437.5398 | 1254832.1536 | 2675440.0721 | 1254844.1836 | 2675443.7925 | 1254853.6409
27 | 2675447.1721 | 1254818.0436 | 2675453.7689 | 1254818.9616 | 2675468.7767 | 1254818.0278
28 | 2675443.7925 | 1254853.6409 | 2675445.9543 | 1254859.1363 | 2675456.8897 | 1254880.3707
29 | 2675603.6792 | 1254898.8766 | 2675596.9426 | 1254872.5506
30 | 2675659.1563 | 1254894.7485 | 2675645.9643 | 1254895.1693 | 2675618.7854 | 1254896.2341 | 2675612.7248 | 1254897.0574 | 2675603.6792 | 1254898.8766
31 | 2675595.2293 | 1254865.8554 | 2675596.9426 | 1254872.5506
32 | 2675659.1563 | 1254894.7485 | 2675651.4498 | 1254866.4166
33 | 2675645.5167 | 1254844.6039 | 2675651.4498 | 1254866.4166
34 | 2675329.5523 | 1254889.3995 | 2675332.1203 | 1254894.4915 | 2675331.9258 | 1254897.3244
35 | 2675329.5523 | 1254889.3995 | 2675330.1295 | 1254873.6841 | 2675335.7224 | 1254843.3436
36 | 2675331.9258 | 1254897.3244 | 2675345.0852 | 1254893.5334 | 2675346.755 | 1254894.036
37 | 2675331.9258 | 1254897.3244 | 2675331.6574 | 1254901.2239 | 2675328.9179 | 1254909.6064
38 | 2675289.7757 | 1254931.9475 | 2675301.6934 | 1254939.7714 | 2675306.0582 | 1254950.6794 | 2675312.401 | 1254953.7623
39 | 2675289.7757 | 1254931.9475 | 2675287.442 | 1254938.089 | 2675282.6934 | 1254942.5208 | 2675283.3363 | 1254946.7762
40 | 2675320.8543 | 1254972.3947 | 2675317.582 | 1254959.8105 | 2675312.401 | 1254953.7623
41 | 2675278.635 | 1254966.2424 | 2675283.622 | 1254957.8885 | 2675284.252 | 1254952.8372 | 2675283.3363 | 1254946.7762
42 | 2675352.128 | 1254929.9277 | 2675355.4185 | 1254922.1082 | 2675362.6847 | 1254911.9153
43 | 2675320.8543 | 1254972.3947 | 2675335.2974 | 1254968.3035
44 | 2675499.6203 | 1254808.9384 | 2675488.0405 | 1254809.5246 | 2675485.1517 | 1254809.6692
45 | 2675499.6203 | 1254808.9384 | 2675509.7732 | 1254808.4452 | 2675529.3616 | 1254806.2382
46 | 2675499.6203 | 1254808.9384 | 2675499.7093 | 1254813.1983 | 2675500.2114 | 1254815.8288
47 | 2675500.2114 | 1254815.8288 | 2675480.9108 | 1254817.2728 | 2675468.7767 | 1254818.0278
48 | 2675575.8925 | 1254799.9413 | 2675557.4666 | 1254803.0716 | 2675556.3499 | 1254803.1974
49 | 2675645.5167 | 1254844.6039 | 2675663.5273 | 1254839.6191
50 | 2675663.5273 | 1254839.6191 | 2675664.1697 | 1254841.8845 | 2675678.7461 | 1254841.7596 | 2675680.69 | 1254845.4871 | 2675681.2234 | 1254861.0055 | 2675682.0191 | 1254863.6731 | 2675682.108 | 1254866.163
51 | 2675353.2436 | 1254899.8386 | 2675350.6012 | 1254895.1937 | 2675346.755 | 1254894.036
52 | 2675328.9179 | 1254909.6064 | 2675330.6984 | 1254917.3014
53 | 2675500.2114 | 1254815.8288 | 2675502.4464 | 1254827.4993 | 2675503.5248 | 1254832.8503 | 2675507.3469 | 1254840.16 | 2675512.5769 | 1254861.8761
54 | 2675512.5769 | 1254861.8761 | 2675524.7463 | 1254859.0398
55 | 2675529.3616 | 1254806.2382 | 2675556.3499 | 1254803.1974
56 | 2675362.6847 | 1254911.9153 | 2675362.6847 | 1254911.9153 | 2675356.0171 | 1254904.7141 | 2675353.2436 | 1254899.8386

## bus_geodata
| x | y | coords
0 | 2675422.5648 | 1254926.9627
1 | 2675421.9318 | 1254929.6406
2 | 2675418.8484 | 1254942.6863
3 | 2675434.0746 | 1254889.3196
4 | 2675442.2181 | 1254871.1309
5 | 2675381.4384 | 1254954.5608
6 | 2675454.7164 | 1254930.6048
7 | 2675432.4564 | 1254853.0061
8 | 2675360.2614 | 1254961.2321
9 | 2675455.3454 | 1254930.2307
10 | 2675463.624 | 1254919.9285
11 | 2675475.7139 | 1254917.781
12 | 2675458.9253 | 1254903.454
13 | 2675483.7303 | 1254931.004
14 | 2675467.0204 | 1254899.2293
15 | 2675597.2188 | 1254796.3182
16 | 2675629.2463 | 1254790.1447
17 | 2675581.4138 | 1254799.0033
18 | 2675510.1926 | 1254924.7382
19 | 2675638.3657 | 1254820.6688
20 | 2675422.8804 | 1254834.6465
21 | 2675419.3144 | 1254826.2023
22 | 2675437.5398 | 1254832.1536
23 | 2675447.1721 | 1254818.0436
24 | 2675443.7925 | 1254853.6409
25 | 2675603.6792 | 1254898.8766
26 | 2675596.9426 | 1254872.5506
27 | 2675659.1563 | 1254894.7485
28 | 2675651.4498 | 1254866.4166
29 | 2675329.5523 | 1254889.3995
30 | 2675331.9258 | 1254897.3244
31 | 2675335.7224 | 1254843.3436
32 | 2675289.7757 | 1254931.9475
33 | 2675312.401 | 1254953.7623
34 | 2675283.3363 | 1254946.7762
35 | 2675352.1279 | 1254929.9277
36 | 2675335.2974 | 1254968.3035
37 | 2675320.8543 | 1254972.3947
38 | 2675278.635 | 1254966.2424
39 | 2675456.8897 | 1254880.3707
40 | 2675485.1517 | 1254809.6692
41 | 2675499.6203 | 1254808.9384
42 | 2675468.7767 | 1254818.0278
43 | 2675575.8925 | 1254799.9413
44 | 2675645.5167 | 1254844.6039
45 | 2675682.108 | 1254866.163
46 | 2675663.5273 | 1254839.6191
47 | 2675595.2293 | 1254865.8554
48 | 2675346.755 | 1254894.036
49 | 2675328.9179 | 1254909.6064
50 | 2675500.2114 | 1254815.8288
51 | 2675512.5769 | 1254861.8761
52 | 2675529.3616 | 1254806.2382
53 | 2675524.7463 | 1254859.0398
54 | 2675556.3499 | 1254803.1974
55 | 2675362.6847 | 1254911.9153
56 | 2675353.2436 | 1254899.8386
57 | 2675330.6984 | 1254917.3014
58 | 2675517.1955 | 1254880.66

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1