## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_85-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_85-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_85-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_85-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_85-1_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_85-1_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_85-1_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_85-1_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_85-1_0_6_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_85-1_0_6_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_85-1_0_6_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_85-1_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_85-1_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_85-1_0_6_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_85-1_0_6_node_161 | 0.4 | n |  | TRUE
15 | bus_LV_85-1_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_85-1_0_6_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_85-1_0_6_node_136 | 0.4 | n |  | TRUE
18 | bus_LV_85-1_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_85-1_0_6_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_85-1_0_6_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_85-1_0_6_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_85-1_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_85-1_0_6_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_85-1_0_6_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_85-1_0_6_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_85-1_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_85-1_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_85-1_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_85-1_0_6_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_85-1_0_6_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_85-1_0_6_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_85-1_0_6_node_162 | 0.4 | n |  | TRUE
33 | bus_LV_85-1_0_6_node_133 | 0.4 | n |  | TRUE
34 | bus_LV_85-1_0_6_node_135 | 0.4 | n |  | TRUE
35 | bus_LV_85-1_0_6_node_130 | 0.4 | n |  | TRUE
36 | bus_LV_85-1_0_6_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_85-1_0_6_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_85-1_0_6_node_139 | 0.4 | n |  | TRUE
39 | bus_LV_85-1_0_6_node_137 | 0.4 | n |  | TRUE
40 | bus_LV_85-1_0_6_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_85-1_0_6_node_128 | 0.4 | n |  | TRUE
42 | bus_LV_85-1_0_6_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_85-1_0_6_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_85-1_0_6_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_85-1_0_6_node_111 | 0.4 | n |  | TRUE
46 | bus_LV_85-1_0_6_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_85-1_0_6_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_85-1_0_6_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_85-1_0_6_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_85-1_0_6_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_85-1_0_6_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_85-1_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_85-1_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_85-1_0_6_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_85-1_0_6_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_85-1_0_6_node_106 | 0.4 | n |  | TRUE
57 | bus_LV_85-1_0_6_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_85-1_0_6_node_22 | 0.4 | n |  | TRUE
59 | bus_LV_85-1_0_6_node_23 | 0.4 | n |  | TRUE
60 | bus_LV_85-1_0_6_node_24 | 0.4 | n |  | TRUE
61 | bus_LV_85-1_0_6_node_25 | 0.4 | n |  | TRUE
62 | bus_LV_85-1_0_6_node_26 | 0.4 | n |  | TRUE
63 | bus_LV_85-1_0_6_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_85-1_0_6_node_32 | 0.4 | n |  | TRUE
65 | bus_LV_85-1_0_6_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_85-1_0_6_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_85-1_0_6_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_85-1_0_6_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_85-1_0_6_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_85-1_0_6_node_107 | 0.4 | n |  | TRUE
71 | bus_LV_85-1_0_6_node_108 | 0.4 | n |  | TRUE
72 | bus_LV_85-1_0_6_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_85-1_0_6_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_85-1_0_6_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_85-1_0_6_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_85-1_0_6_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_85-1_0_6_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_85-1_0_6_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_85-1_0_6_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_85-1_0_6_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_85-1_0_6_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_85-1_0_6_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_85-1_0_6_node_55 | 0.4 | n |  | TRUE
84 | bus_LV_85-1_0_6_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_85-1_0_6_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_85-1_0_6_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_85-1_0_6_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_85-1_0_6_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_85-1_0_6_node_104 | 0.4 | n |  | TRUE
90 | bus_LV_85-1_0_6_node_61 | 0.4 | n |  | TRUE
91 | bus_LV_85-1_0_6_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_85-1_0_6_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_85-1_0_6_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_85-1_0_6_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_85-1_0_6_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_85-1_0_6_node_105 | 0.4 | n |  | TRUE
97 | bus_LV_85-1_0_6_node_82 | 0.4 | n |  | TRUE
98 | bus_LV_85-1_0_6_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_85-1_0_6_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_85-1_0_6_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_85-1_0_6_node_89 | 0.4 | n |  | TRUE
102 | bus_LV_85-1_0_6_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_85-1_0_6_node_115 | 0.4 | n |  | TRUE
104 | bus_LV_85-1_0_6_node_112 | 0.4 | n |  | TRUE
105 | bus_LV_85-1_0_6_node_123 | 0.4 | n |  | TRUE
106 | bus_LV_85-1_0_6_node_119 | 0.4 | n |  | TRUE
107 | bus_LV_85-1_0_6_node_126 | 0.4 | n |  | TRUE
108 | bus_LV_85-1_0_6_node_148 | 0.4 | n |  | TRUE
109 | bus_LV_85-1_0_6_node_138 | 0.4 | n |  | TRUE
110 | bus_LV_85-1_0_6_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_85-1_0_6_node_91 | 0.4 | n |  | TRUE
112 | bus_LV_85-1_0_6_node_88 | 0.4 | n |  | TRUE
113 | bus_LV_85-1_0_6_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_85-1_0_6_node_96 | 0.4 | n |  | TRUE
115 | bus_LV_85-1_0_6_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_85-1_0_6_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_85-1_0_6_node_87 | 0.4 | n |  | TRUE
118 | bus_LV_85-1_0_6_node_94 | 0.4 | n |  | TRUE
119 | bus_LV_85-1_0_6_node_97 | 0.4 | n |  | TRUE
120 | bus_LV_85-1_0_6_node_100 | 0.4 | n |  | TRUE
121 | bus_LV_85-1_0_6_node_92 | 0.4 | n |  | TRUE
122 | bus_LV_85-1_0_6_node_93 | 0.4 | n |  | TRUE
123 | bus_LV_85-1_0_6_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_85-1_0_6_node_95 | 0.4 | n |  | TRUE
125 | bus_LV_85-1_0_6_node_164 | 0.4 | n |  | TRUE
126 | bus_LV_85-1_0_6_node_129 | 0.4 | n |  | TRUE
127 | bus_LV_85-1_0_6_node_165 | 0.4 | n |  | TRUE
128 | bus_LV_85-1_0_6_node_98 | 0.4 | n |  | TRUE
129 | bus_LV_85-1_0_6_node_127 | 0.4 | n |  | TRUE
130 | bus_LV_85-1_0_6_node_147 | 0.4 | n |  | TRUE
131 | bus_LV_85-1_0_6_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_85-1_0_6_node_118 | 0.4 | n |  | TRUE
133 | bus_LV_85-1_0_6_node_117 | 0.4 | n |  | TRUE
134 | bus_LV_85-1_0_6_node_120 | 0.4 | n |  | TRUE
135 | bus_LV_85-1_0_6_node_122 | 0.4 | n |  | TRUE
136 | bus_LV_85-1_0_6_node_153 | 0.4 | n |  | TRUE
137 | bus_LV_85-1_0_6_node_152 | 0.4 | n |  | TRUE
138 | bus_LV_85-1_0_6_node_158 | 0.4 | n |  | TRUE
139 | bus_LV_85-1_0_6_node_151 | 0.4 | n |  | TRUE
140 | bus_LV_85-1_0_6_node_124 | 0.4 | n |  | TRUE
141 | bus_LV_85-1_0_6_node_125 | 0.4 | n |  | TRUE
142 | bus_LV_85-1_0_6_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_85-1_0_6_node_134 | 0.4 | n |  | TRUE
144 | bus_LV_85-1_0_6_node_149 | 0.4 | n |  | TRUE
145 | bus_LV_85-1_0_6_node_150 | 0.4 | n |  | TRUE
146 | bus_LV_85-1_0_6_node_144 | 0.4 | n |  | TRUE
147 | bus_LV_85-1_0_6_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_85-1_0_6_node_142 | 0.4 | n |  | TRUE
149 | bus_LV_85-1_0_6_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_85-1_0_6_node_141 | 0.4 | n |  | TRUE
151 | bus_LV_85-1_0_6_node_145 | 0.4 | n |  | TRUE
152 | bus_LV_85-1_0_6_node_146 | 0.4 | n |  | TRUE
153 | bus_LV_85-1_0_6_node_163 | 0.4 | n |  | TRUE
154 | bus_LV_85-1_0_6_node_156 | 0.4 | n |  | TRUE
155 | bus_LV_85-1_0_6_node_154 | 0.4 | n |  | TRUE
156 | bus_LV_85-1_0_6_node_157 | 0.4 | n |  | TRUE
157 | bus_LV_85-1_0_6_node_159 | 0.4 | n |  | TRUE
158 | bus_LV_85-1_0_6_node_160 | 0.4 | n |  | TRUE
159 | bus_MV_352_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_85-1_0_6_load_0 | 0 | 0.0025573 | 0.00064092 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_85-1_0_6_load_1 | 1 | 0.0032085 | 0.00080412 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_85-1_0_6_load_2 | 2 | 0.0027011 | 0.00067696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_85-1_0_6_load_3 | 3 | 0.0088852 | 0.0022268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_85-1_0_6_load_6 | 6 | 0.0066819 | 0.0016746 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_85-1_0_6_load_15 | 9 | 0.01651 | 0.0041379 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_85-1_0_6_load_43 | 13 | 0.0056562 | 0.0014176 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_85-1_0_6_load_161 | 14 | 0.0025567 | 0.00064077 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_85-1_0_6_load_136 | 17 | 0.0095584 | 0.0023956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_85-1_0_6_load_45 | 19 | 0.0046142 | 0.0011564 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_85-1_0_6_load_46 | 20 | 0.0086687 | 0.0021726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_85-1_0_6_load_68 | 21 | 0.005121 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_85-1_0_6_load_66 | 23 | 0.0019873 | 0.00049807 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_85-1_0_6_load_73 | 24 | 0.00095092 | 0.00023832 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_85-1_0_6_load_70 | 25 | 0.010072 | 0.0025242 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_85-1_0_6_load_19 | 27 | 0.014656 | 0.0036733 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_85-1_0_6_load_20 | 28 | 0.010215 | 0.00256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_85-1_0_6_load_38 | 29 | 0.0051364 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_85-1_0_6_load_36 | 30 | 0.0099258 | 0.0024877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_85-1_0_6_load_44 | 31 | 0.0057184 | 0.0014332 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_85-1_0_6_load_162 | 32 | 0.0021574 | 0.0005407 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_85-1_0_6_load_133 | 33 | 0.0032077 | 0.00080393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_85-1_0_6_load_135 | 34 | 0.0017067 | 0.00042774 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_85-1_0_6_load_130 | 35 | 0.006328 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_85-1_0_6_load_131 | 36 | 0.0013336 | 0.00033424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_85-1_0_6_load_139 | 38 | 0.0066297 | 0.0016616 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_85-1_0_6_load_128 | 41 | 0.00022014 | 5.5172e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_85-1_0_6_load_114 | 44 | 0.0068007 | 0.0017044 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_85-1_0_6_load_111 | 45 | 0.0018024 | 0.00045173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_85-1_0_6_load_113 | 48 | 0.0020657 | 0.0005177 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_85-1_0_6_load_69 | 49 | 0.0007389 | 0.00018519 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_85-1_0_6_load_67 | 50 | 0.0023388 | 0.00058615 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_85-1_0_6_load_71 | 51 | 0.0021667 | 0.00054302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_85-1_0_6_load_42 | 53 | 0.0014797 | 0.00037084 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_85-1_0_6_load_29 | 54 | 0.0069083 | 0.0017314 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_85-1_0_6_load_106 | 56 | 0.0086194 | 0.0021602 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_85-1_0_6_load_35 | 57 | 0.0013401 | 0.00033585 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_85-1_0_6_load_22 | 58 | 0.0012621 | 0.0003163 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_85-1_0_6_load_23 | 59 | 0.0023714 | 0.00059433 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_85-1_0_6_load_24 | 60 | 0.0040515 | 0.0010154 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_85-1_0_6_load_25 | 61 | 0.0011465 | 0.00028735 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_85-1_0_6_load_26 | 62 | 0.0057476 | 0.0014405 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_85-1_0_6_load_28 | 63 | 0.0089505 | 0.0022432 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_85-1_0_6_load_32 | 64 | 0.0011465 | 0.00028735 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_85-1_0_6_load_33 | 65 | 0.0011447 | 0.00028689 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_85-1_0_6_load_37 | 66 | 0.0099247 | 0.0024874 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_85-1_0_6_load_110 | 67 | 0.0011465 | 0.00028735 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_85-1_0_6_load_39 | 68 | 0.0055333 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_85-1_0_6_load_40 | 69 | 0.0060883 | 0.0015259 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_85-1_0_6_load_107 | 70 | 0.0018934 | 0.00047453 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_85-1_0_6_load_108 | 71 | 0.0012155 | 0.00030464 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_85-1_0_6_load_41 | 72 | 0.0063269 | 0.0015857 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_85-1_0_6_load_50 | 73 | 0.0075715 | 0.0018976 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_85-1_0_6_load_51 | 74 | 0.0064555 | 0.0016179 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_85-1_0_6_load_109 | 75 | 0.0011465 | 0.00028735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_85-1_0_6_load_47 | 76 | 0.011266 | 0.0028235 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_85-1_0_6_load_48 | 77 | 0.0044542 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_85-1_0_6_load_49 | 78 | 0.0091675 | 0.0022976 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_85-1_0_6_load_53 | 80 | 0.0080384 | 0.0020146 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_85-1_0_6_load_54 | 81 | 0.010056 | 0.0025202 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_85-1_0_6_load_58 | 82 | 0.0076596 | 0.0019197 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_85-1_0_6_load_55 | 83 | 0.012417 | 0.0031119 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_85-1_0_6_load_103 | 84 | 0.0094211 | 0.0023612 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_85-1_0_6_load_56 | 85 | 0.0014694 | 0.00036825 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_85-1_0_6_load_59 | 87 | 0.0013472 | 0.00033765 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_85-1_0_6_load_60 | 88 | 0.0014089 | 0.00035311 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_85-1_0_6_load_104 | 89 | 0.005737 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_85-1_0_6_load_63 | 91 | 0.00045247 | 0.0001134 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_85-1_0_6_load_83 | 93 | 0.0004796 | 0.0001202 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_85-1_0_6_load_84 | 94 | 0.00088724 | 0.00022236 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_85-1_0_6_load_65 | 95 | 0.0049875 | 0.00125 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_85-1_0_6_load_105 | 96 | 0.0047172 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_85-1_0_6_load_82 | 97 | 0.0026143 | 0.0006552 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_85-1_0_6_load_85 | 100 | 0.0079211 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_85-1_0_6_load_89 | 101 | 0.00069162 | 0.00017334 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_85-1_0_6_load_81 | 102 | 0.00094569 | 0.00023701 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_85-1_0_6_load_115 | 103 | 0.0048529 | 0.0012163 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_85-1_0_6_load_112 | 104 | 0.0021614 | 0.00054169 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_85-1_0_6_load_123 | 105 | 0.0017534 | 0.00043943 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_85-1_0_6_load_138 | 109 | 0.0066025 | 0.0016548 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_85-1_0_6_load_90 | 110 | 0.00076623 | 0.00019203 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_85-1_0_6_load_91 | 111 | 0.0069814 | 0.0017497 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_85-1_0_6_load_99 | 113 | 0.00058301 | 0.00014612 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_85-1_0_6_load_96 | 114 | 0.00054697 | 0.00013708 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_85-1_0_6_load_86 | 115 | 0.0074517 | 0.0018676 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_85-1_0_6_load_102 | 116 | 0.00069185 | 0.00017339 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_85-1_0_6_load_87 | 117 | 0.0058124 | 0.0014567 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_85-1_0_6_load_97 | 119 | 0.00081948 | 0.00020538 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_85-1_0_6_load_100 | 120 | 0.00081948 | 0.00020538 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_85-1_0_6_load_93 | 122 | 0.00054605 | 0.00013685 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_85-1_0_6_load_164 | 125 | 0.016442 | 0.0041207 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_85-1_0_6_load_129 | 126 | 0.0005452 | 0.00013664 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_85-1_0_6_load_165 | 127 | 0.049822 | 0.012487 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_85-1_0_6_load_98 | 128 | 0.0008188 | 0.00020521 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_85-1_0_6_load_121 | 131 | 0.0013836 | 0.00034676 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_85-1_0_6_load_117 | 133 | 0.0015674 | 0.00039282 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_85-1_0_6_load_120 | 134 | 0.00249 | 0.00062406 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_85-1_0_6_load_153 | 136 | 0.00094412 | 0.00023662 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_85-1_0_6_load_152 | 137 | 0.0026272 | 0.00065843 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_85-1_0_6_load_158 | 138 | 0.0011504 | 0.00028832 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_85-1_0_6_load_151 | 139 | 0.0039536 | 0.00099087 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_85-1_0_6_load_124 | 140 | 0.002188 | 0.00054837 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_85-1_0_6_load_132 | 142 | 0.0036143 | 0.00090583 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_85-1_0_6_load_150 | 145 | 0.0077339 | 0.0019383 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_85-1_0_6_load_142 | 148 | 0.0050417 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_85-1_0_6_load_143 | 149 | 0.0051844 | 0.0012993 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_85-1_0_6_load_141 | 150 | 0.0070148 | 0.0017581 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_85-1_0_6_load_145 | 151 | 0.0050417 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_85-1_0_6_load_146 | 152 | 0.0051833 | 0.0012991 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_85-1_0_6_load_163 | 153 | 0.0024346 | 0.00061017 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_85-1_0_6_load_154 | 155 | 0.00063833 | 0.00015998 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_85-1_0_6_load_157 | 156 | 0.0022914 | 0.00057429 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_85-1_0_6_load_159 | 157 | 0.001927 | 0.00048295 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_85-1_0_6_load_160 | 158 | 0.0024879 | 0.00062352 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 97 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_85-1_0_6_line_0 |  | 0 | 1 | 0.00041821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_85-1_0_6_line_1 |  | 0 | 2 | 0.013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_85-1_0_6_line_2 |  | 1 | 3 | 0.0031675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_85-1_0_6_line_3 |  | 2 | 4 | 0.0088575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_85-1_0_6_line_4 |  | 3 | 5 | 0.033154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_85-1_0_6_line_5 |  | 4 | 6 | 0.019955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_85-1_0_6_line_6 |  | 5 | 7 | 0.038348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_85-1_0_6_line_7 |  | 5 | 8 | 0.048153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_85-1_0_6_line_8 |  | 5 | 9 | 0.044836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_85-1_0_6_line_9 |  | 6 | 10 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_85-1_0_6_line_10 |  | 7 | 26 | 0.004893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_85-1_0_6_line_11 |  | 7 | 27 | 0.04847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_85-1_0_6_line_12 |  | 8 | 28 | 0.038029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_85-1_0_6_line_13 |  | 10 | 29 | 0.019204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_85-1_0_6_line_14 |  | 10 | 30 | 0.019785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_85-1_0_6_line_15 |  | 11 | 12 | 0.012567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_85-1_0_6_line_16 |  | 11 | 13 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_85-1_0_6_line_17 |  | 12 | 14 | 0.033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_85-1_0_6_line_18 |  | 13 | 31 | 0.034119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_85-1_0_6_line_19 |  | 14 | 32 | 0.0074544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_85-1_0_6_line_20 |  | 15 | 16 | 0.012282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_85-1_0_6_line_21 |  | 15 | 17 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_85-1_0_6_line_22 |  | 16 | 21 | 0.04614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_85-1_0_6_line_23 |  | 16 | 22 | 0.017605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_85-1_0_6_line_24 |  | 16 | 23 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_85-1_0_6_line_25 |  | 17 | 39 | 0.022704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_85-1_0_6_line_26 |  | 18 | 19 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_85-1_0_6_line_27 |  | 18 | 20 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_85-1_0_6_line_28 |  | 19 | 31 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_85-1_0_6_line_29 |  | 21 | 49 | 0.020359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_85-1_0_6_line_30 |  | 22 | 24 | 0.037037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_85-1_0_6_line_31 |  | 22 | 25 | 0.027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_85-1_0_6_line_32 |  | 23 | 50 | 0.031079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_85-1_0_6_line_33 |  | 25 | 51 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_85-1_0_6_line_34 |  | 26 | 52 | 0.033056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_85-1_0_6_line_35 |  | 29 | 68 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_85-1_0_6_line_36 |  | 30 | 66 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_85-1_0_6_line_37 |  | 32 | 153 | 0.0063672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_85-1_0_6_line_38 |  | 33 | 34 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_85-1_0_6_line_39 |  | 34 | 139 | 0.00040186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_85-1_0_6_line_40 |  | 35 | 36 | 0.0022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_85-1_0_6_line_41 |  | 36 | 142 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_85-1_0_6_line_42 |  | 37 | 38 | 0.0082917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_85-1_0_6_line_43 |  | 37 | 39 | 0.025143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_85-1_0_6_line_44 |  | 38 | 108 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_85-1_0_6_line_45 |  | 39 | 109 | 0.043818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_85-1_0_6_line_46 |  | 40 | 41 | 0.043873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_85-1_0_6_line_47 |  | 40 | 42 | 0.005607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_85-1_0_6_line_48 |  | 41 | 107 | 0.0021984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_85-1_0_6_line_49 |  | 42 | 51 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_85-1_0_6_line_50 |  | 43 | 44 | 0.011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_85-1_0_6_line_51 |  | 43 | 45 | 0.0060146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_85-1_0_6_line_52 |  | 44 | 103 | 0.00016149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_85-1_0_6_line_53 |  | 45 | 104 | 0.006649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_85-1_0_6_line_54 |  | 46 | 47 | 0.005518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_85-1_0_6_line_55 |  | 46 | 48 | 0.032742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_85-1_0_6_line_56 |  | 47 | 105 | 0.027828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_85-1_0_6_line_57 |  | 47 | 106 | 0.033885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_85-1_0_6_line_58 |  | 48 | 104 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_85-1_0_6_line_59 |  | 49 | 97 | 0.012102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_85-1_0_6_line_60 |  | 50 | 78 | 0.015613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_85-1_0_6_line_61 |  | 52 | 53 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_85-1_0_6_line_62 |  | 53 | 67 | 0.0067141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_85-1_0_6_line_63 |  | 54 | 55 | 0.033613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_85-1_0_6_line_64 |  | 55 | 64 | 0.0021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_85-1_0_6_line_65 |  | 55 | 61 | 0.0036737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_85-1_0_6_line_66 |  | 56 | 57 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_85-1_0_6_line_67 |  | 57 | 63 | 0.0081073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_85-1_0_6_line_68 |  | 58 | 59 | 0.00058021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_85-1_0_6_line_69 |  | 58 | 60 | 0.012429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_85-1_0_6_line_70 |  | 59 | 61 | 0.011475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_85-1_0_6_line_71 |  | 60 | 62 | 0.0091401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_85-1_0_6_line_72 |  | 62 | 63 | 0.00046419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_85-1_0_6_line_73 |  | 64 | 65 | 0.0027198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_85-1_0_6_line_74 |  | 65 | 70 | 0.0043172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_85-1_0_6_line_75 |  | 67 | 75 | 0.0029002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_85-1_0_6_line_76 |  | 68 | 69 | 0.025657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_85-1_0_6_line_77 |  | 69 | 72 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_85-1_0_6_line_78 |  | 70 | 71 | 0.00095591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_85-1_0_6_line_79 |  | 71 | 75 | 0.00044382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_85-1_0_6_line_80 |  | 72 | 73 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_85-1_0_6_line_81 |  | 73 | 74 | 0.0039589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_85-1_0_6_line_82 |  | 74 | 79 | 0.020108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_85-1_0_6_line_83 |  | 76 | 77 | 0.021474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_85-1_0_6_line_84 |  | 77 | 78 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_85-1_0_6_line_85 |  | 79 | 80 | 0.019524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_85-1_0_6_line_86 |  | 79 | 81 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_85-1_0_6_line_87 |  | 80 | 82 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_85-1_0_6_line_88 |  | 81 | 83 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_85-1_0_6_line_89 |  | 82 | 84 | 0.023165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_85-1_0_6_line_90 |  | 83 | 85 | 0.031235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_85-1_0_6_line_91 |  | 84 | 89 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_85-1_0_6_line_92 |  | 85 | 86 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_85-1_0_6_line_93 |  | 86 | 87 | 0.016282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_85-1_0_6_line_94 |  | 87 | 88 | 0.012548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_85-1_0_6_line_95 |  | 88 | 90 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_85-1_0_6_line_96 |  | 89 | 96 | 0.014579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_85-1_0_6_line_97 |  | 90 | 91 | 0.0049988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_85-1_0_6_line_98 |  | 90 | 92 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_85-1_0_6_line_99 |  | 91 | 93 | 0.026168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_85-1_0_6_line_100 |  | 92 | 94 | 0.030123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_85-1_0_6_line_101 |  | 93 | 97 | 0.018853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_85-1_0_6_line_102 |  | 94 | 102 | 4.7707e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_85-1_0_6_line_103 |  | 95 | 96 | 0.014034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_85-1_0_6_line_104 |  | 98 | 99 | 0.037984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_85-1_0_6_line_105 |  | 98 | 100 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_85-1_0_6_line_106 |  | 99 | 101 | 0.0090282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_85-1_0_6_line_107 |  | 100 | 115 | 0.019613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_85-1_0_6_line_108 |  | 101 | 116 | 0.008208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_85-1_0_6_line_109 |  | 105 | 130 | 0.0037417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_85-1_0_6_line_110 |  | 106 | 131 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_85-1_0_6_line_111 |  | 106 | 132 | 0.004993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_85-1_0_6_line_112 |  | 107 | 140 | 0.010867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_85-1_0_6_line_113 |  | 108 | 145 | 0.037638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_85-1_0_6_line_114 |  | 108 | 130 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_85-1_0_6_line_115 |  | 110 | 111 | 0.036627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_85-1_0_6_line_116 |  | 111 | 121 | 0.035526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_85-1_0_6_line_117 |  | 112 | 113 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_85-1_0_6_line_118 |  | 112 | 114 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_85-1_0_6_line_119 |  | 113 | 118 | 0.048896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_85-1_0_6_line_120 |  | 114 | 119 | 0.033388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_85-1_0_6_line_121 |  | 115 | 117 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_85-1_0_6_line_122 |  | 116 | 120 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_85-1_0_6_line_123 |  | 118 | 124 | 0.18823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_85-1_0_6_line_124 |  | 118 | 121 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_85-1_0_6_line_125 |  | 119 | 128 | 0.0089545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_85-1_0_6_line_126 |  | 120 | 128 | 0.0089545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_85-1_0_6_line_127 |  | 121 | 122 | 0.073589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_85-1_0_6_line_128 |  | 122 | 123 | 0.01911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_85-1_0_6_line_129 |  | 123 | 126 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
130 | LV_85-1_0_6_line_130 |  | 124 | 125 | 0.13298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_85-1_0_6_line_131 |  | 125 | 127 | 0.015141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
132 | LV_85-1_0_6_line_132 |  | 126 | 129 | 0.083615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
133 | LV_85-1_0_6_line_133 |  | 129 | 141 | 0.049613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_85-1_0_6_line_134 |  | 132 | 134 | 0.0053992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_85-1_0_6_line_135 |  | 132 | 133 | 0.031287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_85-1_0_6_line_136 |  | 134 | 135 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_85-1_0_6_line_137 |  | 135 | 136 | 0.0070073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_85-1_0_6_line_138 |  | 135 | 137 | 0.026204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_85-1_0_6_line_139 |  | 136 | 138 | 0.0030775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_85-1_0_6_line_140 |  | 137 | 139 | 0.0099831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_85-1_0_6_line_141 |  | 138 | 154 | 0.0085183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_85-1_0_6_line_142 |  | 140 | 141 | 0.055706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
143 | LV_85-1_0_6_line_143 |  | 142 | 143 | 0.0026277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_85-1_0_6_line_144 |  | 143 | 144 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_85-1_0_6_line_145 |  | 144 | 145 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_85-1_0_6_line_146 |  | 144 | 146 | 0.031734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_85-1_0_6_line_147 |  | 146 | 151 | 0.004046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_85-1_0_6_line_148 |  | 146 | 150 | 0.013555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_85-1_0_6_line_149 |  | 147 | 148 | 0.020291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_85-1_0_6_line_150 |  | 147 | 149 | 0.027001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_85-1_0_6_line_151 |  | 148 | 151 | 0.014429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_85-1_0_6_line_152 |  | 149 | 152 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_85-1_0_6_line_153 |  | 152 | 153 | 0.019638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_85-1_0_6_line_154 |  | 154 | 156 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_85-1_0_6_line_155 |  | 154 | 155 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_85-1_0_6_line_156 |  | 156 | 157 | 0.0049606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_85-1_0_6_line_157 |  | 157 | 158 | 0.0087817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_85-1_0_6_trafo_82 | 0.63 MVA 20/0.4 kV | 159 | 97 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2673198.5456 | 1255534.0013 | 2673198.3966 | 1255533.6105
1 | 2673198.3966 | 1255533.6105 | 2673193.5088 | 1255520.7949
2 | 2673198.5456 | 1255534.0013 | 2673199.6744 | 1255536.9608
3 | 2673190.3523 | 1255512.5189 | 2673193.5088 | 1255520.7949
4 | 2673208.4271 | 1255568.4724 | 2673208.9104 | 1255563.5526 | 2673207.9671 | 1255558.704 | 2673199.6744 | 1255536.9608
5 | 2673190.3523 | 1255512.5189 | 2673170.8736 | 1255516.8524
6 | 2673208.4271 | 1255568.4724 | 2673206.5452 | 1255573.0414 | 2673203.4353 | 1255576.8836 | 2673198.12 | 1255580.9543 | 2673178.5767 | 1255590.6977
7 | 2673208.4271 | 1255568.4724 | 2673211.2293 | 1255570.6087 | 2673213.4507 | 1255573.3492 | 2673214.9728 | 1255576.526 | 2673218.6731 | 1255587.7578 | 2673222.2328 | 1255602.4348 | 2673223.4217 | 1255613.0351
8 | 2673208.4271 | 1255568.4724 | 2673218.6446 | 1255565.6745 | 2673252.4779 | 1255560.3971
9 | 2673154.801 | 1255520.5634 | 2673160.8537 | 1255519.0816 | 2673170.8736 | 1255516.8524
10 | 2673178.5767 | 1255590.6977 | 2673174.1898 | 1255592.8896
11 | 2673178.5767 | 1255590.6977 | 2673192.8051 | 1255620.3732 | 2673206.8723 | 1255613.7223
12 | 2673223.4217 | 1255613.0351 | 2673190.4125 | 1255632.0856
13 | 2673154.801 | 1255520.5634 | 2673136.1519 | 1255525.1464
14 | 2673154.801 | 1255520.5634 | 2673159.3599 | 1255539.8164
15 | 2673158.2176 | 1255446.7512 | 2673158.2825 | 1255453.1012 | 2673158.3565 | 1255459.3178
16 | 2673158.3565 | 1255459.3178 | 2673152.1899 | 1255459.0303 | 2673146.8076 | 1255458.3454
17 | 2673158.2176 | 1255446.7512 | 2673156.8316 | 1255447.2122 | 2673151.1561 | 1255447.4646 | 2673124.4065 | 1255448.5651
18 | 2673112.7344 | 1255458.5892 | 2673142.4144 | 1255457.7864 | 2673146.8076 | 1255458.3454
19 | 2673116.9567 | 1255448.817 | 2673119.5649 | 1255448.7643 | 2673124.4065 | 1255448.5651
20 | 2672915.665 | 1255446.0599 | 2672914.8386 | 1255453.1327 | 2672914.2776 | 1255458.2629
21 | 2672915.665 | 1255446.0599 | 2672924.3011 | 1255447.3338 | 2672928.3706 | 1255447.812
22 | 2672914.2776 | 1255458.2629 | 2672911.7175 | 1255458.5094 | 2672909.2484 | 1255459.9356 | 2672907.4775 | 1255462.2488 | 2672906.6935 | 1255465.2747 | 2672905.6803 | 1255477.1043 | 2672905.7799 | 1255486.7793 | 2672906.8297 | 1255494.6314 | 2672908.4099 | 1255499.593
23 | 2672902.52 | 1255451.3687 | 2672914.8386 | 1255453.1327 | 2672914.2776 | 1255458.2629
24 | 2672914.2776 | 1255458.2629 | 2672926.9538 | 1255459.5776
25 | 2672950.9952 | 1255449.2306 | 2672941.7558 | 1255449.1612 | 2672935.1907 | 1255448.769 | 2672930.3268 | 1255448.0419 | 2672928.3706 | 1255447.812
26 | 2673077.221 | 1255459.5497 | 2673095.9549 | 1255459.043
27 | 2673077.221 | 1255459.5497 | 2673059.5999 | 1255459.9393
28 | 2673112.7344 | 1255458.5892 | 2673095.9549 | 1255459.043
29 | 2672914.8153 | 1255518.9181 | 2672910.0686 | 1255504.801 | 2672908.4099 | 1255499.593
30 | 2672902.52 | 1255451.3687 | 2672902.8425 | 1255456.4208 | 2672901.9285 | 1255470.6089 | 2672901.9156 | 1255483.9074 | 2672902.4272 | 1255488.3365
31 | 2672902.52 | 1255451.3687 | 2672884.2342 | 1255450.8766 | 2672874.9869 | 1255452.4111
32 | 2672926.9538 | 1255459.5776 | 2672938.4899 | 1255460.774 | 2672957.933 | 1255461.9823
33 | 2672847.9766 | 1255461.9865 | 2672850.1816 | 1255460.9652 | 2672863.5241 | 1255454.3133 | 2672874.9869 | 1255452.4111
34 | 2673145.1822 | 1255608.5873 | 2673150.6241 | 1255604.6405 | 2673174.1898 | 1255592.8896
35 | 2673122.9943 | 1255528.3542 | 2673129.599 | 1255526.7568 | 2673136.1519 | 1255525.1464
36 | 2673163.5912 | 1255557.6863 | 2673159.3599 | 1255539.8164
37 | 2673116.9567 | 1255448.817 | 2673110.5907 | 1255448.9456
38 | 2672991.4705 | 1255343.4538 | 2672977.042 | 1255348.4223
39 | 2672977.042 | 1255348.4223 | 2672976.662 | 1255348.5532
40 | 2673028.9272 | 1255367.6214 | 2673027.1353 | 1255369.0561
41 | 2673011.1251 | 1255380.3763 | 2673022.1454 | 1255373.0512 | 2673027.1353 | 1255369.0561
42 | 2672953.1069 | 1255430.2871 | 2672957.2164 | 1255429.1814 | 2672958.531 | 1255427.1738 | 2672960.0585 | 1255426.5872
43 | 2672950.9952 | 1255449.2306 | 2672951.3574 | 1255443.7088 | 2672956.4442 | 1255444.0939 | 2672956.7294 | 1255439.3162 | 2672955.0243 | 1255434.4471 | 2672953.1069 | 1255430.2871
44 | 2672977.0112 | 1255419.2401 | 2672965.8685 | 1255422.4274 | 2672964.4501 | 1255424.9006 | 2672960.0585 | 1255426.5872
45 | 2672950.9952 | 1255449.2306 | 2672957.5623 | 1255449.4561 | 2672961.7156 | 1255449.6963 | 2672966.052 | 1255450.984 | 2672969.5216 | 1255452.2277 | 2672978.2183 | 1255452.2571 | 2672994.398 | 1255452.039
46 | 2672821.33 | 1255469.5167 | 2672804.2728 | 1255461.1342 | 2672781.114 | 1255452.0762
47 | 2672826.3759 | 1255471.9916 | 2672821.33 | 1255469.5167
48 | 2672778.994 | 1255451.4942 | 2672781.114 | 1255452.0762
49 | 2672826.3759 | 1255471.9916 | 2672847.9766 | 1255461.9865
50 | 2672885.5021 | 1255418.9687 | 2672875.0277 | 1255423.3752
51 | 2672885.5021 | 1255418.9687 | 2672885.5091 | 1255415.9555 | 2672886.3516 | 1255413.0749
52 | 2672874.8789 | 1255423.4378 | 2672875.0277 | 1255423.3752
53 | 2672886.3516 | 1255413.0749 | 2672892.5181 | 1255410.588
54 | 2672939.7212 | 1255403.7027 | 2672935.8632 | 1255407.6581
55 | 2672935.8632 | 1255407.6581 | 2672931.9715 | 1255405.1639 | 2672926.2224 | 1255403.4363 | 2672919.8998 | 1255403.5585 | 2672912.8012 | 1255404.8276 | 2672904.4867 | 1255406.9533
56 | 2672939.7212 | 1255403.7027 | 2672947.9814 | 1255402.4368 | 2672966.8996 | 1255397.8293
57 | 2672939.7212 | 1255403.7027 | 2672940.7394 | 1255395.1423 | 2672941.1714 | 1255369.8845
58 | 2672892.5181 | 1255410.588 | 2672896.4113 | 1255409.0179 | 2672904.4867 | 1255406.9533
59 | 2672917.4203 | 1255530.7328 | 2672917.4203 | 1255530.7328 | 2672915.0092 | 1255519.4948 | 2672914.8153 | 1255518.9181
60 | 2672957.933 | 1255461.9823 | 2672960.3629 | 1255462.1333 | 2672973.5377 | 1255461.842
61 | 2673145.1822 | 1255608.5873 | 2673139.8161 | 1255616.7715 | 2673139.1517 | 1255619.2045
62 | 2673137.3828 | 1255625.6814 | 2673137.3828 | 1255625.6814 | 2673139.1517 | 1255619.2045
63 | 2673138.6589 | 1255639.007 | 2673146.079 | 1255637.9423 | 2673162.0537 | 1255634.3592 | 2673170.7155 | 1255629.8931
64 | 2673138.6589 | 1255639.007 | 2673138.1507 | 1255636.9595
65 | 2673138.6589 | 1255639.007 | 2673139.5471 | 1255642.5717
66 | 2673149.2666 | 1255683.6324 | 2673156.0518 | 1255712.6307
67 | 2673149.2666 | 1255683.6324 | 2673147.4195 | 1255675.7383
68 | 2673142.2674 | 1255653.7196 | 2673142.3996 | 1255654.2845
69 | 2673142.3996 | 1255654.2845 | 2673145.2313 | 1255666.3866
70 | 2673142.2674 | 1255653.7196 | 2673141.3825 | 1255649.9376 | 2673139.5471 | 1255642.5717
71 | 2673147.3137 | 1255675.2864 | 2673145.2313 | 1255666.3866
72 | 2673147.3137 | 1255675.2864 | 2673147.4195 | 1255675.7383
73 | 2673138.1507 | 1255636.9595 | 2673137.7176 | 1255635.2148 | 2673137.6852 | 1255634.2932
74 | 2673137.5337 | 1255629.9787 | 2673137.6852 | 1255634.2932
75 | 2673137.3828 | 1255625.6814 | 2673137.4846 | 1255628.5798
76 | 2673122.9943 | 1255528.3542 | 2673116.9192 | 1255529.8248 | 2673098.4156 | 1255535.6744
77 | 2673085.9706 | 1255539.7511 | 2673091.4302 | 1255537.8828 | 2673098.4156 | 1255535.6744
78 | 2673137.5337 | 1255629.9787 | 2673137.5002 | 1255629.0233
79 | 2673137.5002 | 1255629.0233 | 2673137.4846 | 1255628.5798
80 | 2673085.9706 | 1255539.7511 | 2673067.251 | 1255546.1572 | 2673063.2513 | 1255547.8151
81 | 2673059.5942 | 1255549.331 | 2673063.2513 | 1255547.8151
82 | 2673041.0184 | 1255557.0306 | 2673059.5942 | 1255549.331
83 | 2672997.34 | 1255461.3158 | 2673018.8087 | 1255460.8411
84 | 2672997.34 | 1255461.3158 | 2672973.5377 | 1255461.842
85 | 2673041.0184 | 1255557.0306 | 2673046.8169 | 1255575.6735
86 | 2673041.0184 | 1255557.0306 | 2673025.4009 | 1255563.2318
87 | 2673046.8169 | 1255575.6735 | 2673048.7813 | 1255581.9891 | 2673049.0517 | 1255593.0784 | 2673049.432 | 1255594.8824
88 | 2673025.4009 | 1255563.2318 | 2673017.634 | 1255566.3158 | 2673014.3002 | 1255567.5923
89 | 2673049.432 | 1255594.8824 | 2673054.2107 | 1255617.549
90 | 2672984.8032 | 1255577.7692 | 2672988.2667 | 1255576.9505 | 2672997.2095 | 1255574.1364 | 2673014.3002 | 1255567.5923
91 | 2673038.8882 | 1255623.0838 | 2673043.6304 | 1255622.2553 | 2673054.2107 | 1255617.549 | 2673054.2107 | 1255617.549
92 | 2672972.7401 | 1255579.6723 | 2672979.325 | 1255579.0641 | 2672984.8032 | 1255577.7692
93 | 2672972.7401 | 1255579.6723 | 2672962.5871 | 1255580.3144 | 2672956.4935 | 1255579.8897
94 | 2672944.0531 | 1255578.3264 | 2672952.315 | 1255579.5985 | 2672956.4935 | 1255579.8897
95 | 2672927.8279 | 1255574.3264 | 2672930.8352 | 1255575.1307 | 2672942.5805 | 1255578.0997 | 2672944.0531 | 1255578.3264
96 | 2673024.5266 | 1255625.5927 | 2673038.8882 | 1255623.0838
97 | 2672927.8279 | 1255574.3264 | 2672929.2382 | 1255570.0628 | 2672928.7699 | 1255569.8659
98 | 2672913.773 | 1255562.9005 | 2672914.5714 | 1255565.4455 | 2672915.9038 | 1255567.4968 | 2672918.3128 | 1255569.7169 | 2672921.3898 | 1255571.6006 | 2672927.8279 | 1255574.3264
99 | 2672928.7699 | 1255569.8659 | 2672924.0905 | 1255567.8978 | 2672920.5214 | 1255565.5522 | 2672918.143 | 1255562.0759 | 2672917.2282 | 1255558.5732 | 2672917.2343 | 1255554.4035 | 2672917.3099 | 1255549.5851
100 | 2672913.773 | 1255562.9005 | 2672913.5359 | 1255558.8835 | 2672914.487 | 1255539.2363 | 2672914.106 | 1255532.8185
101 | 2672917.4203 | 1255530.7328 | 2672917.4445 | 1255541.0184 | 2672917.3099 | 1255549.5851
102 | 2672914.106 | 1255532.8185 | 2672914.1032 | 1255532.7709
103 | 2673024.5266 | 1255625.5927 | 2673019.9099 | 1255626.3992 | 2673010.6108 | 1255627.3444
104 | 2672684.0864 | 1255606.3984 | 2672681.6999 | 1255603.567 | 2672670.4866 | 1255603.952 | 2672670.2376 | 1255602.7258 | 2672687.7938 | 1255596.2587 | 2672688.3377 | 1255593.1186
105 | 2672684.0864 | 1255606.3984 | 2672683.1728 | 1255606.4761 | 2672671.2222 | 1255606.6963 | 2672667.9934 | 1255606.738
106 | 2672688.3377 | 1255593.1186 | 2672686.1941 | 1255593.8484 | 2672679.5661 | 1255595.1969
107 | 2672648.4512 | 1255606.361 | 2672651.8522 | 1255606.0916 | 2672657.0923 | 1255606.8787 | 2672667.9934 | 1255606.738
108 | 2672679.5661 | 1255595.1969 | 2672671.5229 | 1255596.8334
109 | 2672970.535 | 1255396.9439 | 2672966.8996 | 1255397.8293
110 | 2672941.1714 | 1255369.8845 | 2672933.8119 | 1255366.6137 | 2672927.2801 | 1255365.8216
111 | 2672941.2555 | 1255364.893 | 2672941.1714 | 1255369.8845
112 | 2672778.994 | 1255451.4942 | 2672768.7279 | 1255447.9292
113 | 2672977.0112 | 1255419.2401 | 2672979.4151 | 1255418.2023 | 2672981.2148 | 1255424.5736 | 2673001.0343 | 1255418.1464 | 2673007.7348 | 1255414.6383
114 | 2672977.0112 | 1255419.2401 | 2672970.535 | 1255396.9439
115 | 2672639.6583 | 1255528.2559 | 2672627.8916 | 1255530.2419 | 2672603.408 | 1255533.457
116 | 2672568.1839 | 1255538.0825 | 2672603.408 | 1255533.457
117 | 2672583.0072 | 1255614.8429 | 2672579.6031 | 1255598.9805
118 | 2672583.0072 | 1255614.8429 | 2672603.571 | 1255610.659
119 | 2672569.3434 | 1255551.173 | 2672579.6031 | 1255598.9805
120 | 2672603.571 | 1255610.659 | 2672636.2885 | 1255604.0022
121 | 2672631.4772 | 1255613.6139 | 2672636.0576 | 1255609.1557 | 2672641.886 | 1255606.8811 | 2672648.4512 | 1255606.361
122 | 2672653.8379 | 1255600.4316 | 2672671.5229 | 1255596.8334
123 | 2672383.3325 | 1255570.5779 | 2672528.3766 | 1255551.9051 | 2672537.3971 | 1255550.737 | 2672552.4084 | 1255548.8083 | 2672558.7344 | 1255549.6308 | 2672563.1683 | 1255552.1981 | 2672569.3434 | 1255551.173
124 | 2672569.3434 | 1255551.173 | 2672568.1839 | 1255538.0825
125 | 2672645.0632 | 1255602.2169 | 2672636.2885 | 1255604.0022
126 | 2672653.8379 | 1255600.4316 | 2672645.0632 | 1255602.2169
127 | 2672568.1839 | 1255538.0825 | 2672571.4154 | 1255529.8272 | 2672565.2987 | 1255465.3935
128 | 2672563.4927 | 1255446.3687 | 2672565.2987 | 1255465.3935
129 | 2672563.4927 | 1255446.3687 | 2672585.4128 | 1255443.6457
130 | 2672383.3325 | 1255570.5779 | 2672363.1351 | 1255572.8551 | 2672334.2686 | 1255583.3546 | 2672328.283 | 1255585.5387 | 2672297.9751 | 1255588.6932 | 2672294.2923 | 1255588.2368 | 2672267.3754 | 1255584.8614 | 2672253.1573 | 1255585.919
131 | 2672253.1573 | 1255585.919 | 2672240.5363 | 1255586.8577 | 2672238.079 | 1255586.4842
132 | 2672668.6988 | 1255436.8515 | 2672619.6228 | 1255439.3959 | 2672585.4128 | 1255443.6457
133 | 2672668.6988 | 1255436.8515 | 2672718.0481 | 1255430.4857
134 | 2672941.2555 | 1255364.893 | 2672941.3115 | 1255361.569 | 2672941.315 | 1255359.4943
135 | 2672941.2555 | 1255364.893 | 2672933.6001 | 1255362.9862 | 2672912.005 | 1255353.9806
136 | 2672941.3359 | 1255346.7362 | 2672941.315 | 1255359.4943
137 | 2672941.3359 | 1255346.7362 | 2672940.9277 | 1255339.7408
138 | 2672941.3359 | 1255346.7362 | 2672967.1684 | 1255351.1359
139 | 2672940.7485 | 1255336.6685 | 2672940.9277 | 1255339.7408
140 | 2672976.662 | 1255348.5532 | 2672968.5021 | 1255351.3631 | 2672967.1684 | 1255351.1359
141 | 2672940.2523 | 1255328.1647 | 2672940.7485 | 1255336.6685
142 | 2672718.0481 | 1255430.4857 | 2672732.04 | 1255428.6784 | 2672739.6695 | 1255433.3089 | 2672750.0056 | 1255439.8851 | 2672759.7735 | 1255444.8198 | 2672768.7279 | 1255447.9292
143 | 2673009.1203 | 1255382.0751 | 2673011.1251 | 1255380.3763
144 | 2673009.1203 | 1255382.0751 | 2673023.8789 | 1255406.1859
145 | 2673023.8789 | 1255406.1859 | 2673007.7348 | 1255414.6383
146 | 2673039.831 | 1255420.3708 | 2673039.2318 | 1255405.3523 | 2673037.0551 | 1255403.2573 | 2673028.9923 | 1255403.8027 | 2673023.8789 | 1255406.1859
147 | 2673039.831 | 1255420.3708 | 2673037.1311 | 1255423.3842
148 | 2673039.831 | 1255420.3708 | 2673044.3545 | 1255421.1716 | 2673052.3732 | 1255425.1724
149 | 2673048.212 | 1255450.8744 | 2673037.8721 | 1255447.0774 | 2673037.5821 | 1255437.806
150 | 2673048.212 | 1255450.8744 | 2673051.8871 | 1255450.7418 | 2673075.1978 | 1255449.9761
151 | 2673037.1311 | 1255423.3842 | 2673037.5821 | 1255437.806
152 | 2673090.9599 | 1255449.4642 | 2673081.6564 | 1255449.7639 | 2673075.1978 | 1255449.9761
153 | 2673110.5907 | 1255448.9456 | 2673101.1176 | 1255449.1369 | 2673090.9599 | 1255449.4642
154 | 2672940.2523 | 1255328.1647 | 2672920.4101 | 1255327.802
155 | 2672940.2523 | 1255328.1647 | 2672938.1272 | 1255313.0512
156 | 2672915.4503 | 1255327.7113 | 2672920.4101 | 1255327.802
157 | 2672906.6701 | 1255327.5508 | 2672915.4503 | 1255327.7113

## bus_geodata
| x | y | coords
0 | 2673198.3966 | 1255533.6105
1 | 2673198.5456 | 1255534.0013
2 | 2673193.5088 | 1255520.7949
3 | 2673199.6744 | 1255536.9608
4 | 2673190.3523 | 1255512.5189
5 | 2673208.4271 | 1255568.4724
6 | 2673170.8736 | 1255516.8524
7 | 2673178.5767 | 1255590.6977
8 | 2673223.4217 | 1255613.0351
9 | 2673252.4779 | 1255560.3971
10 | 2673154.801 | 1255520.5634
11 | 2673158.3565 | 1255459.3178
12 | 2673158.2176 | 1255446.7512
13 | 2673146.8076 | 1255458.3454
14 | 2673124.4065 | 1255448.5651
15 | 2672915.665 | 1255446.0599
16 | 2672914.2776 | 1255458.2629
17 | 2672928.3706 | 1255447.812
18 | 2673077.221 | 1255459.5497
19 | 2673095.9549 | 1255459.043
20 | 2673059.5999 | 1255459.9393
21 | 2672908.4099 | 1255499.593
22 | 2672902.52 | 1255451.3687
23 | 2672926.9538 | 1255459.5776
24 | 2672902.4272 | 1255488.3365
25 | 2672874.9869 | 1255452.4111
26 | 2673174.1898 | 1255592.8896
27 | 2673206.8723 | 1255613.7223
28 | 2673190.4125 | 1255632.0856
29 | 2673136.1519 | 1255525.1464
30 | 2673159.3599 | 1255539.8164
31 | 2673112.7344 | 1255458.5892
32 | 2673116.9567 | 1255448.817
33 | 2672991.4705 | 1255343.4538
34 | 2672977.042 | 1255348.4223
35 | 2673028.9272 | 1255367.6214
36 | 2673027.1353 | 1255369.0561
37 | 2672953.1069 | 1255430.2871
38 | 2672960.0585 | 1255426.5872
39 | 2672950.9952 | 1255449.2306
40 | 2672821.33 | 1255469.5167
41 | 2672781.114 | 1255452.0762
42 | 2672826.3759 | 1255471.9916
43 | 2672885.5021 | 1255418.9687
44 | 2672875.0277 | 1255423.3752
45 | 2672886.3516 | 1255413.0749
46 | 2672935.8632 | 1255407.6581
47 | 2672939.7212 | 1255403.7027
48 | 2672904.4867 | 1255406.9533
49 | 2672914.8153 | 1255518.9181
50 | 2672957.933 | 1255461.9823
51 | 2672847.9766 | 1255461.9865
52 | 2673145.1822 | 1255608.5873
53 | 2673139.1517 | 1255619.2045
54 | 2673170.7155 | 1255629.8931
55 | 2673138.6589 | 1255639.007
56 | 2673156.0517 | 1255712.6307
57 | 2673149.2666 | 1255683.6324
58 | 2673142.3996 | 1255654.2845
59 | 2673142.2674 | 1255653.7196
60 | 2673145.2313 | 1255666.3866
61 | 2673139.5471 | 1255642.5717
62 | 2673147.3137 | 1255675.2864
63 | 2673147.4195 | 1255675.7383
64 | 2673138.1507 | 1255636.9595
65 | 2673137.6852 | 1255634.2932
66 | 2673163.5912 | 1255557.6863
67 | 2673137.3828 | 1255625.6814
68 | 2673122.9943 | 1255528.3542
69 | 2673098.4156 | 1255535.6744
70 | 2673137.5337 | 1255629.9787
71 | 2673137.5002 | 1255629.0233
72 | 2673085.9706 | 1255539.7511
73 | 2673063.2513 | 1255547.8151
74 | 2673059.5942 | 1255549.331
75 | 2673137.4846 | 1255628.5798
76 | 2673018.8087 | 1255460.8411
77 | 2672997.34 | 1255461.3158
78 | 2672973.5377 | 1255461.842
79 | 2673041.0184 | 1255557.0306
80 | 2673046.8169 | 1255575.6735
81 | 2673025.4009 | 1255563.2318
82 | 2673049.432 | 1255594.8824
83 | 2673014.3002 | 1255567.5923
84 | 2673054.2107 | 1255617.549
85 | 2672984.8032 | 1255577.7692
86 | 2672972.7401 | 1255579.6723
87 | 2672956.4935 | 1255579.8897
88 | 2672944.0531 | 1255578.3264
89 | 2673038.8882 | 1255623.0838
90 | 2672927.8279 | 1255574.3264
91 | 2672928.7699 | 1255569.8659
92 | 2672913.773 | 1255562.9005
93 | 2672917.3099 | 1255549.5851
94 | 2672914.106 | 1255532.8185
95 | 2673010.6108 | 1255627.3444
96 | 2673024.5266 | 1255625.5927
97 | 2672917.4203 | 1255530.7328
98 | 2672684.0864 | 1255606.3984
99 | 2672688.3377 | 1255593.1186
100 | 2672667.9934 | 1255606.738
101 | 2672679.5661 | 1255595.1969
102 | 2672914.1032 | 1255532.7709
103 | 2672874.8789 | 1255423.4378
104 | 2672892.5181 | 1255410.588
105 | 2672966.8996 | 1255397.8293
106 | 2672941.1714 | 1255369.8845
107 | 2672778.994 | 1255451.4942
108 | 2672977.0112 | 1255419.2401
109 | 2672994.398 | 1255452.039
110 | 2672639.6583 | 1255528.2559
111 | 2672603.408 | 1255533.457
112 | 2672583.0072 | 1255614.8429
113 | 2672579.6031 | 1255598.9805
114 | 2672603.571 | 1255610.659
115 | 2672648.4512 | 1255606.361
116 | 2672671.5229 | 1255596.8334
117 | 2672631.4772 | 1255613.6139
118 | 2672569.3434 | 1255551.173
119 | 2672636.2885 | 1255604.0022
120 | 2672653.8379 | 1255600.4316
121 | 2672568.1839 | 1255538.0825
122 | 2672565.2987 | 1255465.3935
123 | 2672563.4927 | 1255446.3687
124 | 2672383.3325 | 1255570.5779
125 | 2672253.1573 | 1255585.919
126 | 2672585.4128 | 1255443.6457
127 | 2672238.079 | 1255586.4842
128 | 2672645.0632 | 1255602.2169
129 | 2672668.6988 | 1255436.8515
130 | 2672970.535 | 1255396.9439
131 | 2672927.2801 | 1255365.8216
132 | 2672941.2555 | 1255364.893
133 | 2672912.005 | 1255353.9806
134 | 2672941.315 | 1255359.4943
135 | 2672941.3359 | 1255346.7362
136 | 2672940.9277 | 1255339.7408
137 | 2672967.1684 | 1255351.1359
138 | 2672940.7485 | 1255336.6685
139 | 2672976.662 | 1255348.5532
140 | 2672768.7279 | 1255447.9292
141 | 2672718.0481 | 1255430.4857
142 | 2673011.1251 | 1255380.3763
143 | 2673009.1203 | 1255382.0751
144 | 2673023.8789 | 1255406.1859
145 | 2673007.7348 | 1255414.6383
146 | 2673039.831 | 1255420.3708
147 | 2673048.212 | 1255450.8744
148 | 2673037.5821 | 1255437.806
149 | 2673075.1978 | 1255449.9761
150 | 2673052.3732 | 1255425.1724
151 | 2673037.1311 | 1255423.3842
152 | 2673090.9599 | 1255449.4642
153 | 2673110.5907 | 1255448.9456
154 | 2672940.2523 | 1255328.1647
155 | 2672938.1272 | 1255313.0512
156 | 2672920.4101 | 1255327.802
157 | 2672915.4503 | 1255327.7113
158 | 2672906.6701 | 1255327.5508
159 | 2672927.8279 | 1255574.3264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1