## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_86-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_86-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_86-12_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_86-12_0_3_node_36 | 0.4 | n |  | TRUE
4 | bus_LV_86-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_86-12_0_3_node_213 | 0.4 | n |  | TRUE
6 | bus_LV_86-12_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_86-12_0_3_node_205 | 0.4 | n |  | TRUE
8 | bus_LV_86-12_0_3_node_186 | 0.4 | n |  | TRUE
9 | bus_LV_86-12_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_86-12_0_3_node_204 | 0.4 | n |  | TRUE
11 | bus_LV_86-12_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_86-12_0_3_node_203 | 0.4 | n |  | TRUE
13 | bus_LV_86-12_0_3_node_202 | 0.4 | n |  | TRUE
14 | bus_LV_86-12_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_86-12_0_3_node_145 | 0.4 | n |  | TRUE
16 | bus_LV_86-12_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_86-12_0_3_node_144 | 0.4 | n |  | TRUE
18 | bus_LV_86-12_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_86-12_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_86-12_0_3_node_196 | 0.4 | n |  | TRUE
21 | bus_LV_86-12_0_3_node_190 | 0.4 | n |  | TRUE
22 | bus_LV_86-12_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_86-12_0_3_node_131 | 0.4 | n |  | TRUE
24 | bus_LV_86-12_0_3_node_127 | 0.4 | n |  | TRUE
25 | bus_LV_86-12_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_86-12_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_86-12_0_3_node_197 | 0.4 | n |  | TRUE
28 | bus_LV_86-12_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_86-12_0_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_86-12_0_3_node_191 | 0.4 | n |  | TRUE
31 | bus_LV_86-12_0_3_node_146 | 0.4 | n |  | TRUE
32 | bus_LV_86-12_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_86-12_0_3_node_169 | 0.4 | n |  | TRUE
34 | bus_LV_86-12_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_86-12_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_86-12_0_3_node_151 | 0.4 | n |  | TRUE
37 | bus_LV_86-12_0_3_node_167 | 0.4 | n |  | TRUE
38 | bus_LV_86-12_0_3_node_210 | 0.4 | n |  | TRUE
39 | bus_LV_86-12_0_3_node_207 | 0.4 | n |  | TRUE
40 | bus_LV_86-12_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_86-12_0_3_node_198 | 0.4 | n |  | TRUE
42 | bus_LV_86-12_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_86-12_0_3_node_214 | 0.4 | n |  | TRUE
44 | bus_LV_86-12_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_86-12_0_3_node_200 | 0.4 | n |  | TRUE
46 | bus_LV_86-12_0_3_node_206 | 0.4 | n |  | TRUE
47 | bus_LV_86-12_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_86-12_0_3_node_154 | 0.4 | n |  | TRUE
49 | bus_LV_86-12_0_3_node_152 | 0.4 | n |  | TRUE
50 | bus_LV_86-12_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_86-12_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_86-12_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_86-12_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_86-12_0_3_node_182 | 0.4 | n |  | TRUE
55 | bus_LV_86-12_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_86-12_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_86-12_0_3_node_181 | 0.4 | n |  | TRUE
58 | bus_LV_86-12_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_86-12_0_3_node_211 | 0.4 | n |  | TRUE
60 | bus_LV_86-12_0_3_node_187 | 0.4 | n |  | TRUE
61 | bus_LV_86-12_0_3_node_188 | 0.4 | n |  | TRUE
62 | bus_LV_86-12_0_3_node_195 | 0.4 | n |  | TRUE
63 | bus_LV_86-12_0_3_node_130 | 0.4 | n |  | TRUE
64 | bus_LV_86-12_0_3_node_162 | 0.4 | n |  | TRUE
65 | bus_LV_86-12_0_3_node_128 | 0.4 | n |  | TRUE
66 | bus_LV_86-12_0_3_node_208 | 0.4 | n |  | TRUE
67 | bus_LV_86-12_0_3_node_129 | 0.4 | n |  | TRUE
68 | bus_LV_86-12_0_3_node_166 | 0.4 | n |  | TRUE
69 | bus_LV_86-12_0_3_node_209 | 0.4 | n |  | TRUE
70 | bus_LV_86-12_0_3_node_199 | 0.4 | n |  | TRUE
71 | bus_LV_86-12_0_3_node_157 | 0.4 | n |  | TRUE
72 | bus_LV_86-12_0_3_node_153 | 0.4 | n |  | TRUE
73 | bus_LV_86-12_0_3_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_86-12_0_3_node_192 | 0.4 | n |  | TRUE
75 | bus_LV_86-12_0_3_node_201 | 0.4 | n |  | TRUE
76 | bus_LV_86-12_0_3_node_39 | 0.4 | n |  | TRUE
77 | bus_LV_86-12_0_3_node_40 | 0.4 | n |  | TRUE
78 | bus_LV_86-12_0_3_node_41 | 0.4 | n |  | TRUE
79 | bus_LV_86-12_0_3_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_86-12_0_3_node_100 | 0.4 | n |  | TRUE
81 | bus_LV_86-12_0_3_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_86-12_0_3_node_149 | 0.4 | n |  | TRUE
83 | bus_LV_86-12_0_3_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_86-12_0_3_node_44 | 0.4 | n |  | TRUE
85 | bus_LV_86-12_0_3_node_51 | 0.4 | n |  | TRUE
86 | bus_LV_86-12_0_3_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_86-12_0_3_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_86-12_0_3_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_86-12_0_3_node_148 | 0.4 | n |  | TRUE
90 | bus_LV_86-12_0_3_node_42 | 0.4 | n |  | TRUE
91 | bus_LV_86-12_0_3_node_43 | 0.4 | n |  | TRUE
92 | bus_LV_86-12_0_3_node_47 | 0.4 | n |  | TRUE
93 | bus_LV_86-12_0_3_node_49 | 0.4 | n |  | TRUE
94 | bus_LV_86-12_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_86-12_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_86-12_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_86-12_0_3_node_52 | 0.4 | n |  | TRUE
98 | bus_LV_86-12_0_3_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_86-12_0_3_node_163 | 0.4 | n |  | TRUE
100 | bus_LV_86-12_0_3_node_143 | 0.4 | n |  | TRUE
101 | bus_LV_86-12_0_3_node_176 | 0.4 | n |  | TRUE
102 | bus_LV_86-12_0_3_node_158 | 0.4 | n |  | TRUE
103 | bus_LV_86-12_0_3_node_165 | 0.4 | n |  | TRUE
104 | bus_LV_86-12_0_3_node_164 | 0.4 | n |  | TRUE
105 | bus_LV_86-12_0_3_node_175 | 0.4 | n |  | TRUE
106 | bus_LV_86-12_0_3_node_168 | 0.4 | n |  | TRUE
107 | bus_LV_86-12_0_3_node_215 | 0.4 | n |  | TRUE
108 | bus_LV_86-12_0_3_node_189 | 0.4 | n |  | TRUE
109 | bus_LV_86-12_0_3_node_193 | 0.4 | n |  | TRUE
110 | bus_LV_86-12_0_3_node_194 | 0.4 | n |  | TRUE
111 | bus_MV_352_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_86-12_0_3_load_0 | 0 | 0.0071726 | 0.0017976 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_86-12_0_3_load_36 | 3 | 0.0056832 | 0.0014244 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_86-12_0_3_load_213 | 5 | 0.0016988 | 0.00042576 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_86-12_0_3_load_186 | 8 | 0.0019684 | 0.00049332 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_86-12_0_3_load_204 | 10 | 0.0091279 | 0.0022877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_86-12_0_3_load_203 | 12 | 0.0018257 | 0.00045756 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_86-12_0_3_load_202 | 13 | 0.0066261 | 0.0016607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_86-12_0_3_load_145 | 15 | 0.0067733 | 0.0016976 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_86-12_0_3_load_144 | 17 | 0.0066395 | 0.001664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_86-12_0_3_load_196 | 20 | 0.0053361 | 0.0013374 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_86-12_0_3_load_190 | 21 | 0.019778 | 0.0049569 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_86-12_0_3_load_131 | 23 | 0.0082927 | 0.0020783 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_86-12_0_3_load_127 | 24 | 0.012095 | 0.0030314 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_86-12_0_3_load_197 | 27 | 0.012431 | 0.0031154 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_86-12_0_3_load_191 | 30 | 0.001664 | 0.00041704 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_86-12_0_3_load_146 | 31 | 0.0088062 | 0.0022071 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_86-12_0_3_load_169 | 33 | 0.0039121 | 0.00098047 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_86-12_0_3_load_151 | 36 | 0.0077822 | 0.0019504 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_86-12_0_3_load_210 | 38 | 0.0044667 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_86-12_0_3_load_207 | 39 | 0.0032661 | 0.00081855 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_86-12_0_3_load_214 | 43 | 0.0089426 | 0.0022412 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_86-12_0_3_load_206 | 46 | 0.0031428 | 0.00078765 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_86-12_0_3_load_154 | 48 | 0.011385 | 0.0028534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_86-12_0_3_load_152 | 49 | 0.0097856 | 0.0024525 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_86-12_0_3_load_182 | 54 | 0.017765 | 0.0044524 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_86-12_0_3_load_181 | 57 | 0.0051829 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_86-12_0_3_load_37 | 58 | 0.0021245 | 0.00053244 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_86-12_0_3_load_211 | 59 | 0.0018898 | 0.00047363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_86-12_0_3_load_195 | 62 | 0.0014474 | 0.00036274 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_86-12_0_3_load_130 | 63 | 0.0037656 | 0.00094374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_86-12_0_3_load_162 | 64 | 0.0091848 | 0.0023019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_86-12_0_3_load_128 | 65 | 0.0034707 | 0.00086983 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_86-12_0_3_load_208 | 66 | 0.0030922 | 0.00077499 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_86-12_0_3_load_129 | 67 | 0.0069911 | 0.0017521 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_86-12_0_3_load_166 | 68 | 0.016535 | 0.0041441 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_86-12_0_3_load_199 | 70 | 0.0088318 | 0.0022135 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_86-12_0_3_load_153 | 72 | 0.012959 | 0.0032479 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_86-12_0_3_load_201 | 75 | 0.025317 | 0.006345 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_86-12_0_3_load_41 | 78 | 0.0059962 | 0.0015028 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_86-12_0_3_load_50 | 79 | 0.0039034 | 0.00097828 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_86-12_0_3_load_100 | 80 | 0.00056171 | 0.00014078 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_86-12_0_3_load_101 | 81 | 0.001184 | 0.00029673 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_86-12_0_3_load_48 | 83 | 0.0024826 | 0.00062219 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_86-12_0_3_load_51 | 85 | 0.0025221 | 0.0006321 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_86-12_0_3_load_99 | 86 | 0.00097294 | 0.00024384 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_86-12_0_3_load_91 | 87 | 0.0029701 | 0.00074437 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_86-12_0_3_load_150 | 88 | 0.0063404 | 0.0015891 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_86-12_0_3_load_148 | 89 | 0.0032897 | 0.00082448 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_86-12_0_3_load_42 | 90 | 0.0016266 | 0.00040767 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_86-12_0_3_load_47 | 92 | 0.0031748 | 0.00079569 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_86-12_0_3_load_49 | 93 | 0.0015501 | 0.0003885 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_86-12_0_3_load_90 | 95 | 0.0026227 | 0.0006573 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_86-12_0_3_load_92 | 96 | 0.0012018 | 0.00030119 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_86-12_0_3_load_52 | 97 | 0.0011956 | 0.00029966 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_86-12_0_3_load_98 | 98 | 0.00080835 | 0.00020259 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_86-12_0_3_load_143 | 100 | 0.0061884 | 0.001551 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_86-12_0_3_load_158 | 102 | 0.013107 | 0.0032848 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_86-12_0_3_load_165 | 103 | 0.010182 | 0.0025519 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_86-12_0_3_load_175 | 105 | 0.0040007 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_86-12_0_3_load_215 | 107 | 0.0057314 | 0.0014364 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_86-12_0_3_load_189 | 108 | 0.0042324 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_86-12_0_3_load_193 | 109 | 0.005644 | 0.0014145 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_86-12_0_3_load_194 | 110 | 0.0038168 | 0.00095658 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_86-12_0_3_line_0 |  | 0 | 1 | 0.028127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_86-12_0_3_line_1 |  | 1 | 2 | 0.006721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_86-12_0_3_line_2 |  | 2 | 3 | 0.0058096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_86-12_0_3_line_3 |  | 3 | 55 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_86-12_0_3_line_4 |  | 4 | 5 | 0.004499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_86-12_0_3_line_5 |  | 4 | 6 | 0.006739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_86-12_0_3_line_6 |  | 4 | 7 | 0.019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_86-12_0_3_line_7 |  | 6 | 8 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_86-12_0_3_line_8 |  | 7 | 59 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_86-12_0_3_line_9 |  | 7 | 9 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_86-12_0_3_line_10 |  | 8 | 60 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_86-12_0_3_line_11 |  | 9 | 10 | 0.027644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_86-12_0_3_line_12 |  | 10 | 50 | 0.030951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_86-12_0_3_line_13 |  | 11 | 12 | 0.010937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_86-12_0_3_line_14 |  | 11 | 13 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_86-12_0_3_line_15 |  | 12 | 61 | 0.0087598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_86-12_0_3_line_16 |  | 13 | 40 | 0.014951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_86-12_0_3_line_17 |  | 14 | 15 | 0.024489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_86-12_0_3_line_18 |  | 14 | 16 | 0.045587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_86-12_0_3_line_19 |  | 14 | 17 | 0.038135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_86-12_0_3_line_20 |  | 16 | 21 | 0.024781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_86-12_0_3_line_21 |  | 17 | 26 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_86-12_0_3_line_22 |  | 18 | 19 | 0.03302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_86-12_0_3_line_23 |  | 18 | 20 | 0.029914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_86-12_0_3_line_24 |  | 19 | 25 | 0.008373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_86-12_0_3_line_25 |  | 19 | 26 | 0.020262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_86-12_0_3_line_26 |  | 19 | 27 | 0.029716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_86-12_0_3_line_27 |  | 20 | 62 | 0.0042533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_86-12_0_3_line_28 |  | 21 | 29 | 0.025141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_86-12_0_3_line_29 |  | 22 | 23 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_86-12_0_3_line_30 |  | 22 | 24 | 0.023908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_86-12_0_3_line_31 |  | 23 | 57 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_86-12_0_3_line_32 |  | 24 | 65 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_86-12_0_3_line_33 |  | 25 | 39 | 0.016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_86-12_0_3_line_34 |  | 26 | 31 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_86-12_0_3_line_35 |  | 28 | 29 | 0.0372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_86-12_0_3_line_36 |  | 28 | 30 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_86-12_0_3_line_37 |  | 29 | 32 | 0.055478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_86-12_0_3_line_38 |  | 31 | 66 | 0.00072335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_86-12_0_3_line_39 |  | 32 | 33 | 0.026805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_86-12_0_3_line_40 |  | 34 | 35 | 0.041973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_86-12_0_3_line_41 |  | 34 | 36 | 0.0055921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_86-12_0_3_line_42 |  | 35 | 37 | 0.009499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_86-12_0_3_line_43 |  | 35 | 38 | 0.010073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_86-12_0_3_line_44 |  | 36 | 67 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_86-12_0_3_line_45 |  | 37 | 68 | 0.023195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_86-12_0_3_line_46 |  | 38 | 69 | 0.013169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_86-12_0_3_line_47 |  | 39 | 52 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_86-12_0_3_line_48 |  | 40 | 41 | 0.005016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_86-12_0_3_line_49 |  | 41 | 52 | 0.02455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_86-12_0_3_line_50 |  | 42 | 43 | 0.011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_86-12_0_3_line_51 |  | 42 | 44 | 0.017037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_86-12_0_3_line_52 |  | 42 | 45 | 0.053729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_86-12_0_3_line_53 |  | 44 | 46 | 0.043657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_86-12_0_3_line_54 |  | 45 | 70 | 0.0085021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_86-12_0_3_line_55 |  | 46 | 51 | 0.046182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_86-12_0_3_line_56 |  | 47 | 48 | 0.041434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_86-12_0_3_line_57 |  | 47 | 49 | 0.0031754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_86-12_0_3_line_58 |  | 48 | 71 | 0.0074656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_86-12_0_3_line_59 |  | 49 | 72 | 0.036222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_86-12_0_3_line_60 |  | 50 | 51 | 0.005634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_86-12_0_3_line_61 |  | 53 | 54 | 0.022504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_86-12_0_3_line_62 |  | 53 | 55 | 0.019231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_86-12_0_3_line_63 |  | 53 | 56 | 0.008199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_86-12_0_3_line_64 |  | 53 | 57 | 0.014057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_86-12_0_3_line_65 |  | 56 | 58 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_86-12_0_3_line_66 |  | 58 | 73 | 0.042256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_86-12_0_3_line_67 |  | 60 | 61 | 0.027661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_86-12_0_3_line_68 |  | 62 | 110 | 0.019725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_86-12_0_3_line_69 |  | 63 | 64 | 0.019421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_86-12_0_3_line_70 |  | 64 | 99 | 0.02689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_86-12_0_3_line_71 |  | 65 | 67 | 0.0080998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_86-12_0_3_line_72 |  | 66 | 69 | 0.0097905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_86-12_0_3_line_73 |  | 69 | 106 | 0.008838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_86-12_0_3_line_74 |  | 70 | 74 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_86-12_0_3_line_75 |  | 71 | 102 | 0.03087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_86-12_0_3_line_76 |  | 73 | 76 | 0.043192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_86-12_0_3_line_77 |  | 73 | 77 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_86-12_0_3_line_78 |  | 73 | 78 | 0.020395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_86-12_0_3_line_79 |  | 74 | 75 | 0.019055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_86-12_0_3_line_80 |  | 76 | 79 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_86-12_0_3_line_81 |  | 77 | 80 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_86-12_0_3_line_82 |  | 77 | 81 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_86-12_0_3_line_83 |  | 78 | 82 | 0.044175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_86-12_0_3_line_84 |  | 79 | 85 | 0.034694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_86-12_0_3_line_85 |  | 80 | 86 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_86-12_0_3_line_86 |  | 81 | 87 | 0.0069741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_86-12_0_3_line_87 |  | 82 | 88 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_86-12_0_3_line_88 |  | 82 | 89 | 0.016837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_86-12_0_3_line_89 |  | 83 | 84 | 0.035545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_86-12_0_3_line_90 |  | 84 | 93 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_86-12_0_3_line_91 |  | 84 | 90 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_86-12_0_3_line_92 |  | 85 | 97 | 0.02379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_86-12_0_3_line_93 |  | 86 | 98 | 0.019303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_86-12_0_3_line_94 |  | 87 | 95 | 0.025669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_86-12_0_3_line_95 |  | 88 | 104 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_86-12_0_3_line_96 |  | 89 | 100 | 0.040601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_86-12_0_3_line_97 |  | 90 | 91 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_86-12_0_3_line_98 |  | 91 | 92 | 0.032145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_86-12_0_3_line_99 |  | 92 | 94 | 0.062373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_86-12_0_3_line_100 |  | 93 | 95 | 0.01064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_86-12_0_3_line_101 |  | 94 | 96 | 0.036505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_86-12_0_3_line_102 |  | 99 | 103 | 0.023078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_86-12_0_3_line_103 |  | 99 | 104 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_86-12_0_3_line_104 |  | 101 | 102 | 0.017031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_86-12_0_3_line_105 |  | 101 | 103 | 0.032463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_86-12_0_3_line_106 |  | 104 | 105 | 0.0060753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_86-12_0_3_line_107 |  | 106 | 107 | 0.036354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_86-12_0_3_line_108 |  | 108 | 109 | 7.2266e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_86-12_0_3_line_109 |  | 109 | 110 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_86-12_0_3_trafo_145 | 0.63 MVA 20/0.4 kV | 111 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2676453.2818 | 1259668.9558 | 2676468.5592 | 1259651.0063 | 2676471.2373 | 1259647.3202
1 | 2676453.2818 | 1259668.9558 | 2676448.8817 | 1259674.0473
2 | 2676448.8817 | 1259674.0473 | 2676445.0862 | 1259678.4457
3 | 2676436.5547 | 1259690.6006 | 2676444.3362 | 1259679.3148 | 2676445.0862 | 1259678.4457
4 | 2676477.6808 | 1259404.9269 | 2676474.0136 | 1259407.5482
5 | 2676477.6808 | 1259404.9269 | 2676479.7724 | 1259407.567 | 2676482.429 | 1259409.6585
6 | 2676477.6808 | 1259404.9269 | 2676476.2292 | 1259401.7613 | 2676475.5874 | 1259398.3504 | 2676475.2336 | 1259385.4806
7 | 2676482.429 | 1259409.6585 | 2676479.1972 | 1259417.0779 | 2676478.9032 | 1259421.155
8 | 2676475.2336 | 1259385.4806 | 2676463.4427 | 1259386.7515 | 2676457.4368 | 1259390.0986 | 2676455.5154 | 1259393.2404
9 | 2676474.6815 | 1259362.8897 | 2676475.2336 | 1259385.4806
10 | 2676483.3607 | 1259436.7021 | 2676478.9032 | 1259421.155
11 | 2676474.6815 | 1259362.8897 | 2676469.9139 | 1259362.5723 | 2676454.7416 | 1259361.2531 | 2676447.2476 | 1259359.7869
12 | 2676417.4944 | 1259352.0096 | 2676424.0109 | 1259355.2406 | 2676447.2476 | 1259359.7869
13 | 2676491.3466 | 1259483.0959 | 2676490.9061 | 1259472.168
14 | 2676491.3466 | 1259483.0959 | 2676490.3075 | 1259495.2509
15 | 2676490.5533 | 1259463.4152 | 2676490.9061 | 1259472.168
16 | 2676492.5373 | 1259508.7641 | 2676490.5104 | 1259507.5369 | 2676489.437 | 1259505.4326 | 2676490.3075 | 1259495.2509
17 | 2676402.0073 | 1259508.6948 | 2676399.4659 | 1259533.0511
18 | 2676363.0164 | 1259493.8693 | 2676394.6146 | 1259502.1166 | 2676402.5141 | 1259503.8866 | 2676402.0073 | 1259508.6948
19 | 2676402.0073 | 1259508.6948 | 2676417.7915 | 1259515.1367 | 2676430.825 | 1259523.2667 | 2676435.1801 | 1259526.9842
20 | 2676363.0164 | 1259493.8693 | 2676339.0387 | 1259487.6106
21 | 2676447.649 | 1259541.987 | 2676443.7815 | 1259537.9451 | 2676441.1288 | 1259532.062 | 2676435.1801 | 1259526.9842
22 | 2676433.6399 | 1259513.6847 | 2676443.4275 | 1259521.5949 | 2676458.1228 | 1259535.8732
23 | 2676433.6399 | 1259513.6847 | 2676437.387 | 1259497.8767 | 2676440.2219 | 1259489.0844 | 2676440.1364 | 1259484.6551
24 | 2676458.1228 | 1259535.8732 | 2676464.2067 | 1259541.6451
25 | 2676447.649 | 1259541.987 | 2676451.3378 | 1259533.6061 | 2676456.3097 | 1259539.0967 | 2676458.1228 | 1259535.8732
26 | 2676458.1228 | 1259535.8732 | 2676464.0331 | 1259525.3305 | 2676464.5198 | 1259510.4255 | 2676463.0774 | 1259508.8835 | 2676463.0852 | 1259508.278
27 | 2676440.0544 | 1259480.4026 | 2676440.1364 | 1259484.6551
28 | 2676314.7018 | 1259481.3033 | 2676334.4232 | 1259486.4059 | 2676339.0387 | 1259487.6106
29 | 2676456.7912 | 1259651.7103 | 2676444.6996 | 1259665.56
30 | 2676456.7912 | 1259651.7103 | 2676466.9352 | 1259639.0207 | 2676470.8189 | 1259632.4157
31 | 2676431.3649 | 1259681.4488 | 2676435.835 | 1259675.7134 | 2676444.6996 | 1259665.56
32 | 2676477.0989 | 1259607.621 | 2676473.7979 | 1259624.1981 | 2676472.1068 | 1259630.2253 | 2676470.8189 | 1259632.4157
33 | 2676464.2067 | 1259541.6451 | 2676469.8237 | 1259535.135 | 2676472.9577 | 1259534.6862 | 2676477.2824 | 1259535.4987
34 | 2676447.649 | 1259541.987 | 2676444.7058 | 1259548.6652 | 2676442.2953 | 1259554.4315
35 | 2676277.6432 | 1259478.5235 | 2676303.9202 | 1259479.7298 | 2676314.7018 | 1259481.3033
36 | 2676277.6432 | 1259478.5235 | 2676277.8995 | 1259474.4349 | 2676278.7127 | 1259461.2987
37 | 2676287.8053 | 1259519.9525 | 2676288.9214 | 1259516.9868 | 2676292.5574 | 1259508.0158 | 2676297.7844 | 1259489.0689 | 2676302.2895 | 1259486.3471 | 2676302.8772 | 1259484.0307 | 2676303.9202 | 1259479.7298 | 2676314.7018 | 1259481.3033
38 | 2676442.0163 | 1259555.0989 | 2676442.2953 | 1259554.4315
39 | 2676287.8053 | 1259519.9525 | 2676284.0097 | 1259523.1838 | 2676280.0904 | 1259531.9177 | 2676279.9104 | 1259534.1837 | 2676280.7793 | 1259536.3632 | 2676288.2577 | 1259537.8658
40 | 2676482.6941 | 1259576.2768 | 2676482.262 | 1259571.8012 | 2676478.8342 | 1259566.9866 | 2676471.4675 | 1259562.488 | 2676465.9346 | 1259558.4134 | 2676459.0683 | 1259572.9357
41 | 2676482.6941 | 1259576.2768 | 2676482.6653 | 1259579.6679 | 2676482.2355 | 1259581.8264
42 | 2676455.4952 | 1259581.6962 | 2676456.046 | 1259579.3237 | 2676459.0683 | 1259572.9357
43 | 2676459.0683 | 1259572.9357 | 2676449.8021 | 1259568.9846
44 | 2676482.2355 | 1259581.8264 | 2676478.6808 | 1259599.6772
45 | 2676455.4952 | 1259581.6962 | 2676453.0518 | 1259592.2837 | 2676449.8201 | 1259591.5414 | 2676447.6151 | 1259598.2625 | 2676446.0845 | 1259599.4547
46 | 2676437.6881 | 1259563.8193 | 2676449.8021 | 1259568.9846
47 | 2676490.4905 | 1259538.2154 | 2676487.0044 | 1259537.3253 | 2676477.2824 | 1259535.4987
48 | 2676492.5373 | 1259508.7641 | 2676492.3895 | 1259513.777
49 | 2676490.4905 | 1259538.2154 | 2676491.9762 | 1259527.6711 | 2676492.3895 | 1259513.777
50 | 2676384.4269 | 1259433.5444 | 2676382.7886 | 1259434.3238 | 2676380.4623 | 1259436.4287 | 2676378.7371 | 1259439.8535 | 2676376.9559 | 1259441.1982
51 | 2676384.4269 | 1259433.5444 | 2676382.4427 | 1259431.3393 | 2676385.1455 | 1259429.8509 | 2676396.1075 | 1259429.1362
52 | 2676351.5341 | 1259403.5084 | 2676359.0648 | 1259404.0838 | 2676369.9879 | 1259404.6362 | 2676370.6308 | 1259421.4016 | 2676374.4586 | 1259425.0204 | 2676380.8153 | 1259429.5281 | 2676382.4427 | 1259431.3393 | 2676384.4269 | 1259433.5444
53 | 2676396.1075 | 1259429.1362 | 2676394.8983 | 1259409.5392 | 2676405.0652 | 1259408.5252 | 2676404.9648 | 1259394.7202
54 | 2676351.5341 | 1259403.5084 | 2676343.0637 | 1259402.7753
55 | 2676412.431 | 1259349.509 | 2676410.2194 | 1259354.9846 | 2676408.4689 | 1259362.1118 | 2676407.7153 | 1259366.183 | 2676404.8698 | 1259381.6357 | 2676404.9648 | 1259394.7202
56 | 2676358.7974 | 1259528.1408 | 2676352.2272 | 1259551.2735 | 2676335.5647 | 1259546.3104
57 | 2676358.7974 | 1259528.1408 | 2676355.7503 | 1259527.2473
58 | 2676333.5572 | 1259553.501 | 2676335.5647 | 1259546.3104
59 | 2676320.7887 | 1259517.8205 | 2676332.6246 | 1259520.6308 | 2676335.3527 | 1259521.2665 | 2676355.7503 | 1259527.2473
60 | 2676412.431 | 1259349.509 | 2676417.4944 | 1259352.0096
61 | 2676404.5085 | 1259680.9351 | 2676423.5048 | 1259693.0895
62 | 2676423.5048 | 1259693.0895 | 2676428.3982 | 1259695.8993 | 2676432.9734 | 1259698.249 | 2676436.5547 | 1259690.6006
63 | 2676419.635 | 1259700.3228 | 2676423.5048 | 1259693.0895
64 | 2676423.5048 | 1259693.0895 | 2676429.1513 | 1259684.2891 | 2676431.3649 | 1259681.4488
65 | 2676419.635 | 1259700.3228 | 2676409.9951 | 1259697.262
66 | 2676368.411 | 1259697.226 | 2676373.7563 | 1259698.3069 | 2676402.5868 | 1259694.9097 | 2676409.9951 | 1259697.262
67 | 2676483.3607 | 1259436.7021 | 2676490.5533 | 1259463.4152
68 | 2676438.1302 | 1259460.8471 | 2676438.1078 | 1259465.4393 | 2676439.9601 | 1259475.5152 | 2676440.0544 | 1259480.4026
69 | 2676385.2573 | 1259620.326 | 2676378.3153 | 1259618.4498 | 2676372.703 | 1259622.8584 | 2676367.6154 | 1259623.0883
70 | 2676341.2045 | 1259625.6209 | 2676343.228 | 1259624.1903 | 2676367.6154 | 1259623.0883
71 | 2676477.0989 | 1259607.621 | 2676478.6808 | 1259599.6772
72 | 2676437.6881 | 1259563.8193 | 2676439.2687 | 1259561.6715 | 2676442.0163 | 1259555.0989
73 | 2676432.4476 | 1259570.9459 | 2676437.6881 | 1259563.8193
74 | 2676328.7343 | 1259401.5351 | 2676343.0637 | 1259402.7753
75 | 2676333.5572 | 1259553.501 | 2676358.9237 | 1259560.9783 | 2676361.8395 | 1259564.3062
76 | 2676368.411 | 1259697.226 | 2676359.0099 | 1259694.4248 | 2676331.4255 | 1259675.4546
77 | 2676367.0338 | 1259711.0631 | 2676368.411 | 1259697.226
78 | 2676368.411 | 1259697.226 | 2676351.8288 | 1259685.3525
79 | 2676328.7343 | 1259401.5351 | 2676330.1889 | 1259382.5362
80 | 2676331.4255 | 1259675.4546 | 2676320.3642 | 1259668.1287 | 2676311.7846 | 1259663.1235
81 | 2676367.0338 | 1259711.0631 | 2676368.7025 | 1259729.2953
82 | 2676367.0338 | 1259711.0631 | 2676350.8342 | 1259715.5553
83 | 2676315.0062 | 1259661.0098 | 2676332.987 | 1259671.861 | 2676351.8288 | 1259685.3525
84 | 2676311.7846 | 1259663.1235 | 2676301.3015 | 1259657.0078 | 2676281.3087 | 1259646.5612
85 | 2676368.7025 | 1259729.2953 | 2676370.299 | 1259746.7376
86 | 2676344.1137 | 1259717.4189 | 2676350.8342 | 1259715.5553
87 | 2676315.0062 | 1259661.0098 | 2676322.2022 | 1259647.3447
88 | 2676315.0062 | 1259661.0098 | 2676300.0401 | 1259653.2954
89 | 2676282.8229 | 1259728.5793 | 2676281.1066 | 1259707.9416 | 2676292.0281 | 1259697.9007
90 | 2676282.8229 | 1259728.5793 | 2676308.7291 | 1259725.1755
91 | 2676282.8229 | 1259728.5793 | 2676267.5083 | 1259730.7835
92 | 2676260.1667 | 1259635.6549 | 2676268.2674 | 1259639.7468 | 2676281.3087 | 1259646.5612
93 | 2676370.299 | 1259746.7376 | 2676372.0583 | 1259765.96
94 | 2676319.2784 | 1259723.7893 | 2676322.8177 | 1259723.3243 | 2676344.1137 | 1259717.4189
95 | 2676329.1392 | 1259634.1717 | 2676322.2022 | 1259647.3447
96 | 2676300.0401 | 1259653.2954 | 2676263.9512 | 1259634.693
97 | 2676257.1547 | 1259732.2736 | 2676267.5083 | 1259730.7835
98 | 2676257.1547 | 1259732.2736 | 2676272.9651 | 1259760.2612
99 | 2676289.1581 | 1259820.0413 | 2676286.3383 | 1259797.8993 | 2676275.9983 | 1259765.6305 | 2676272.9651 | 1259760.2612
100 | 2676319.2784 | 1259723.7893 | 2676308.7291 | 1259725.1755
101 | 2676289.1581 | 1259820.0413 | 2676296.1628 | 1259816.9404 | 2676301.6655 | 1259813.4197 | 2676303.2534 | 1259807.7693 | 2676300.2241 | 1259791.6075
102 | 2676341.2045 | 1259625.6209 | 2676341.5606 | 1259612.0485 | 2676344.2546 | 1259602.9372
103 | 2676329.1392 | 1259634.1717 | 2676341.2045 | 1259625.6209
104 | 2676364.8166 | 1259580.3801 | 2676365.4382 | 1259573.1049 | 2676363.7522 | 1259566.4892 | 2676361.8395 | 1259564.3062
105 | 2676364.8166 | 1259580.3801 | 2676362.2829 | 1259582.7937 | 2676355.5632 | 1259586.5654 | 2676347.6297 | 1259591.5224 | 2676344.2546 | 1259602.9372
106 | 2676329.1392 | 1259634.1717 | 2676323.6346 | 1259631.601
107 | 2676413.2464 | 1259599.7087 | 2676416.2877 | 1259599.4366 | 2676420.0609 | 1259596.7722 | 2676430.3606 | 1259573.7878 | 2676432.4476 | 1259570.9459
108 | 2676446.1576 | 1259450.5278 | 2676446.0944 | 1259450.5627
109 | 2676438.1302 | 1259460.8471 | 2676438.1306 | 1259460.7582 | 2676439.0246 | 1259457.4895 | 2676440.1468 | 1259455.2357 | 2676443.4523 | 1259452.0204 | 2676446.0944 | 1259450.5627

## bus_geodata
| x | y | coords
0 | 2676471.2373 | 1259647.3202
1 | 2676453.2818 | 1259668.9558
2 | 2676448.8817 | 1259674.0473
3 | 2676445.0862 | 1259678.4457
4 | 2676477.6808 | 1259404.9269
5 | 2676474.0136 | 1259407.5482
6 | 2676482.429 | 1259409.6585
7 | 2676475.2336 | 1259385.4806
8 | 2676478.9032 | 1259421.155
9 | 2676474.6815 | 1259362.8897
10 | 2676447.2477 | 1259359.7869
11 | 2676491.3466 | 1259483.0959
12 | 2676490.9061 | 1259472.168
13 | 2676490.3074 | 1259495.2509
14 | 2676402.0073 | 1259508.6948
15 | 2676399.4659 | 1259533.0511
16 | 2676363.0164 | 1259493.8693
17 | 2676435.1801 | 1259526.9842
18 | 2676433.6399 | 1259513.6847
19 | 2676458.1228 | 1259535.8732
20 | 2676440.1364 | 1259484.6551
21 | 2676339.0387 | 1259487.6106
22 | 2676456.7912 | 1259651.7103
23 | 2676444.6996 | 1259665.56
24 | 2676470.8189 | 1259632.4157
25 | 2676464.2067 | 1259541.6451
26 | 2676447.649 | 1259541.987
27 | 2676463.0852 | 1259508.278
28 | 2676277.6432 | 1259478.5235
29 | 2676314.7018 | 1259481.3033
30 | 2676278.7127 | 1259461.2987
31 | 2676442.2953 | 1259554.4315
32 | 2676287.8053 | 1259519.9525
33 | 2676288.2577 | 1259537.8658
34 | 2676482.6941 | 1259576.2768
35 | 2676459.0683 | 1259572.9357
36 | 2676482.2355 | 1259581.8264
37 | 2676455.4952 | 1259581.6962
38 | 2676449.8021 | 1259568.9846
39 | 2676477.2824 | 1259535.4987
40 | 2676492.5373 | 1259508.7641
41 | 2676492.3895 | 1259513.777
42 | 2676384.4269 | 1259433.5444
43 | 2676376.9559 | 1259441.1982
44 | 2676396.1075 | 1259429.1362
45 | 2676351.5341 | 1259403.5084
46 | 2676404.9648 | 1259394.7202
47 | 2676358.7974 | 1259528.1408
48 | 2676335.5647 | 1259546.3104
49 | 2676355.7503 | 1259527.2473
50 | 2676417.4944 | 1259352.0096
51 | 2676412.431 | 1259349.509
52 | 2676490.4905 | 1259538.2154
53 | 2676423.5048 | 1259693.0895
54 | 2676404.5085 | 1259680.9351
55 | 2676436.5547 | 1259690.6006
56 | 2676419.635 | 1259700.3228
57 | 2676431.3649 | 1259681.4488
58 | 2676409.9951 | 1259697.262
59 | 2676455.5154 | 1259393.2404
60 | 2676483.3607 | 1259436.7021
61 | 2676490.5533 | 1259463.4152
62 | 2676440.0544 | 1259480.4026
63 | 2676385.2573 | 1259620.326
64 | 2676367.6154 | 1259623.0883
65 | 2676477.0989 | 1259607.621
66 | 2676442.0163 | 1259555.0989
67 | 2676478.6808 | 1259599.6772
68 | 2676446.0845 | 1259599.4547
69 | 2676437.6881 | 1259563.8193
70 | 2676343.0637 | 1259402.7753
71 | 2676333.5572 | 1259553.501
72 | 2676320.7887 | 1259517.8205
73 | 2676368.411 | 1259697.226
74 | 2676328.7343 | 1259401.5351
75 | 2676330.1889 | 1259382.5362
76 | 2676331.4255 | 1259675.4546
77 | 2676367.0338 | 1259711.0631
78 | 2676351.8288 | 1259685.3525
79 | 2676311.7846 | 1259663.1235
80 | 2676368.7025 | 1259729.2953
81 | 2676350.8342 | 1259715.5553
82 | 2676315.0062 | 1259661.0098
83 | 2676292.0281 | 1259697.9007
84 | 2676282.8229 | 1259728.5793
85 | 2676281.3087 | 1259646.5612
86 | 2676370.299 | 1259746.7376
87 | 2676344.1137 | 1259717.4189
88 | 2676322.2022 | 1259647.3447
89 | 2676300.0401 | 1259653.2954
90 | 2676267.5083 | 1259730.7835
91 | 2676257.1547 | 1259732.2736
92 | 2676272.9651 | 1259760.2612
93 | 2676308.7291 | 1259725.1755
94 | 2676289.1581 | 1259820.0413
95 | 2676319.2784 | 1259723.7893
96 | 2676300.2241 | 1259791.6075
97 | 2676260.1667 | 1259635.6549
98 | 2676372.0583 | 1259765.96
99 | 2676341.2045 | 1259625.6209
100 | 2676263.9512 | 1259634.693
101 | 2676364.8166 | 1259580.3801
102 | 2676361.8395 | 1259564.3062
103 | 2676344.2546 | 1259602.9372
104 | 2676329.1392 | 1259634.1717
105 | 2676323.6346 | 1259631.601
106 | 2676432.4477 | 1259570.9459
107 | 2676413.2464 | 1259599.7087
108 | 2676446.1576 | 1259450.5278
109 | 2676446.0944 | 1259450.5627
110 | 2676438.1302 | 1259460.8471
111 | 2676402.0073 | 1259508.6948

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1