## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_86-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_86-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_86-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_86-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_86-5_0_5_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_86-5_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_86-5_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_86-5_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_86-5_0_5_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_86-5_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_86-5_0_5_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_86-5_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_86-5_0_5_node_119 | 0.4 | n |  | TRUE
13 | bus_LV_86-5_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_86-5_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_86-5_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_86-5_0_5_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_86-5_0_5_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_86-5_0_5_node_93 | 0.4 | n |  | TRUE
19 | bus_LV_86-5_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_86-5_0_5_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_86-5_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_86-5_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_86-5_0_5_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_86-5_0_5_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_86-5_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_86-5_0_5_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_86-5_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_86-5_0_5_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_86-5_0_5_node_75 | 0.4 | n |  | TRUE
30 | bus_LV_86-5_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_86-5_0_5_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_86-5_0_5_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_86-5_0_5_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_86-5_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_86-5_0_5_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_86-5_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_86-5_0_5_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_86-5_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_86-5_0_5_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_86-5_0_5_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_86-5_0_5_node_111 | 0.4 | n |  | TRUE
42 | bus_LV_86-5_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_86-5_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_86-5_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_86-5_0_5_node_108 | 0.4 | n |  | TRUE
46 | bus_LV_86-5_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_86-5_0_5_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_86-5_0_5_node_105 | 0.4 | n |  | TRUE
49 | bus_LV_86-5_0_5_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_86-5_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_86-5_0_5_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_86-5_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_86-5_0_5_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_86-5_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_86-5_0_5_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_86-5_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_86-5_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_86-5_0_5_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_86-5_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_86-5_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_86-5_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_86-5_0_5_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_86-5_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_86-5_0_5_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_86-5_0_5_node_112 | 0.4 | n |  | TRUE
66 | bus_LV_86-5_0_5_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_86-5_0_5_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_86-5_0_5_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_86-5_0_5_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_86-5_0_5_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_86-5_0_5_node_110 | 0.4 | n |  | TRUE
72 | bus_LV_86-5_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_86-5_0_5_node_88 | 0.4 | n |  | TRUE
74 | bus_LV_86-5_0_5_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_86-5_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_86-5_0_5_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_86-5_0_5_node_107 | 0.4 | n |  | TRUE
78 | bus_LV_86-5_0_5_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_86-5_0_5_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_86-5_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_86-5_0_5_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_86-5_0_5_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_86-5_0_5_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_86-5_0_5_node_115 | 0.4 | n |  | TRUE
85 | bus_LV_86-5_0_5_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_86-5_0_5_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_86-5_0_5_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_86-5_0_5_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_86-5_0_5_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_86-5_0_5_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_86-5_0_5_node_109 | 0.4 | n |  | TRUE
92 | bus_LV_86-5_0_5_node_117 | 0.4 | n |  | TRUE
93 | bus_LV_86-5_0_5_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_86-5_0_5_node_98 | 0.4 | n |  | TRUE
95 | bus_LV_86-5_0_5_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_86-5_0_5_node_106 | 0.4 | n |  | TRUE
97 | bus_LV_86-5_0_5_node_62 | 0.4 | n |  | TRUE
98 | bus_LV_86-5_0_5_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_86-5_0_5_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_86-5_0_5_node_74 | 0.4 | n |  | TRUE
101 | bus_LV_86-5_0_5_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_86-5_0_5_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_86-5_0_5_node_53 | 0.4 | n |  | TRUE
104 | bus_LV_86-5_0_5_node_52 | 0.4 | n |  | TRUE
105 | bus_LV_86-5_0_5_node_55 | 0.4 | n |  | TRUE
106 | bus_LV_86-5_0_5_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_86-5_0_5_node_61 | 0.4 | n |  | TRUE
108 | bus_LV_86-5_0_5_node_73 | 0.4 | n |  | TRUE
109 | bus_LV_86-5_0_5_node_97 | 0.4 | n |  | TRUE
110 | bus_LV_86-5_0_5_node_92 | 0.4 | n |  | TRUE
111 | bus_MV_352_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_86-5_0_5_load_0 | 0 | 0.0033233 | 0.0008329 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_86-5_0_5_load_3 | 3 | 0.0028917 | 0.00072473 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_86-5_0_5_load_51 | 4 | 0.0014522 | 0.00036396 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_86-5_0_5_load_85 | 8 | 0.006117 | 0.0015331 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_86-5_0_5_load_84 | 10 | 0.00565 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_86-5_0_5_load_119 | 12 | 0.013844 | 0.0034697 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_86-5_0_5_load_64 | 17 | 0.0095325 | 0.0023891 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_86-5_0_5_load_93 | 18 | 0.0020579 | 0.00051575 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_86-5_0_5_load_56 | 20 | 0.018644 | 0.0046726 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_86-5_0_5_load_59 | 24 | 0.011571 | 0.0028999 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_86-5_0_5_load_67 | 28 | 0.01476 | 0.0036993 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_86-5_0_5_load_75 | 29 | 0.013611 | 0.0034113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_86-5_0_5_load_118 | 33 | 0.010091 | 0.0025291 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_86-5_0_5_load_104 | 35 | 0.0084704 | 0.0021229 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_86-5_0_5_load_102 | 37 | 0.0061232 | 0.0015346 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_86-5_0_5_load_101 | 40 | 0.014173 | 0.0035522 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_86-5_0_5_load_111 | 41 | 0.0059149 | 0.0014824 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_86-5_0_5_load_108 | 45 | 0.0092519 | 0.0023187 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_86-5_0_5_load_105 | 48 | 0.0047798 | 0.0011979 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_86-5_0_5_load_96 | 53 | 0.0034994 | 0.00087703 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_86-5_0_5_load_116 | 55 | 0.001705 | 0.0004273 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_86-5_0_5_load_103 | 58 | 0.0057511 | 0.0014414 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_86-5_0_5_load_60 | 60 | 0.016327 | 0.004092 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_86-5_0_5_load_57 | 61 | 0.011331 | 0.0028399 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_86-5_0_5_load_94 | 64 | 0.0043342 | 0.0010863 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_86-5_0_5_load_112 | 65 | 0.011602 | 0.0029076 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_86-5_0_5_load_95 | 66 | 0.0031593 | 0.0007918 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_86-5_0_5_load_76 | 69 | 0.01279 | 0.0032054 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_86-5_0_5_load_113 | 70 | 0.060266 | 0.015104 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_86-5_0_5_load_110 | 71 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_86-5_0_5_load_58 | 72 | 0.0082467 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_86-5_0_5_load_88 | 73 | 0.0057858 | 0.0014501 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_86-5_0_5_load_70 | 75 | 0.006651 | 0.0016669 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_86-5_0_5_load_86 | 76 | 0.035774 | 0.0089658 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_86-5_0_5_load_107 | 77 | 0.0035067 | 0.00087886 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_86-5_0_5_load_77 | 81 | 0.010669 | 0.0026739 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_86-5_0_5_load_65 | 83 | 0.025634 | 0.0064244 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_86-5_0_5_load_115 | 84 | 0.0016287 | 0.00040818 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_86-5_0_5_load_90 | 86 | 0.00085696 | 0.00021477 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_86-5_0_5_load_87 | 87 | 0.0012624 | 0.00031638 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_86-5_0_5_load_91 | 88 | 0.013085 | 0.0032795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_86-5_0_5_load_80 | 90 | 0.0083526 | 0.0020934 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_86-5_0_5_load_109 | 91 | 0.0087614 | 0.0021958 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_86-5_0_5_load_117 | 92 | 0.010098 | 0.0025309 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_86-5_0_5_load_98 | 94 | 0.040615 | 0.010179 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_86-5_0_5_load_100 | 95 | 0.015259 | 0.0038242 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_86-5_0_5_load_106 | 96 | 0.0046359 | 0.0011619 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_86-5_0_5_load_62 | 97 | 0.0042241 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_86-5_0_5_load_79 | 98 | 0.018471 | 0.0046292 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_86-5_0_5_load_72 | 99 | 0.0073847 | 0.0018508 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_86-5_0_5_load_74 | 100 | 0.0024232 | 0.00060731 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_86-5_0_5_load_66 | 101 | 0.0027848 | 0.00069793 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_86-5_0_5_load_52 | 104 | 0.0092016 | 0.0023061 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_86-5_0_5_load_114 | 106 | 0.0045198 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_86-5_0_5_load_61 | 107 | 0.0036202 | 0.00090731 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_86-5_0_5_load_73 | 108 | 0.0064366 | 0.0016132 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_86-5_0_5_load_97 | 109 | 0.0075184 | 0.0018843 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_86-5_0_5_load_92 | 110 | 0.00079223 | 0.00019855 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_86-5_0_5_line_0 |  | 0 | 1 | 0.0029724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_86-5_0_5_line_1 |  | 0 | 2 | 0.0092088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_86-5_0_5_line_2 |  | 1 | 3 | 0.016227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_86-5_0_5_line_3 |  | 2 | 4 | 0.00669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_86-5_0_5_line_4 |  | 3 | 5 | 0.0086337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_86-5_0_5_line_5 |  | 4 | 82 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_86-5_0_5_line_6 |  | 5 | 9 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_86-5_0_5_line_7 |  | 6 | 7 | 0.009981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_86-5_0_5_line_8 |  | 6 | 8 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_86-5_0_5_line_9 |  | 7 | 18 | 0.0094175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_86-5_0_5_line_10 |  | 8 | 9 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_86-5_0_5_line_11 |  | 9 | 10 | 0.0056855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_86-5_0_5_line_12 |  | 10 | 25 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_86-5_0_5_line_13 |  | 11 | 12 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_86-5_0_5_line_14 |  | 11 | 13 | 0.056253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_86-5_0_5_line_15 |  | 12 | 16 | 0.015204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_86-5_0_5_line_16 |  | 13 | 19 | 0.03634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_86-5_0_5_line_17 |  | 13 | 20 | 0.010783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_86-5_0_5_line_18 |  | 14 | 15 | 0.0094114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_86-5_0_5_line_19 |  | 14 | 16 | 0.024645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_86-5_0_5_line_20 |  | 14 | 17 | 0.01823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_86-5_0_5_line_21 |  | 15 | 27 | 0.011718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_86-5_0_5_line_22 |  | 15 | 28 | 0.033828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_86-5_0_5_line_23 |  | 17 | 83 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_86-5_0_5_line_24 |  | 18 | 23 | 0.0090607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_86-5_0_5_line_25 |  | 19 | 23 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_86-5_0_5_line_26 |  | 19 | 24 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_86-5_0_5_line_27 |  | 20 | 21 | 0.008118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_86-5_0_5_line_28 |  | 21 | 22 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_86-5_0_5_line_29 |  | 22 | 77 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_86-5_0_5_line_30 |  | 22 | 59 | 0.062067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_86-5_0_5_line_31 |  | 23 | 85 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_86-5_0_5_line_32 |  | 25 | 26 | 0.007352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_86-5_0_5_line_33 |  | 26 | 90 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_86-5_0_5_line_34 |  | 27 | 29 | 0.027213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_86-5_0_5_line_35 |  | 28 | 31 | 0.028266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_86-5_0_5_line_36 |  | 30 | 31 | 0.049347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_86-5_0_5_line_37 |  | 30 | 32 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_86-5_0_5_line_38 |  | 30 | 33 | 0.002535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_86-5_0_5_line_39 |  | 32 | 92 | 0.004514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_86-5_0_5_line_40 |  | 32 | 93 | 0.05056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_86-5_0_5_line_41 |  | 34 | 35 | 0.0029003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_86-5_0_5_line_42 |  | 34 | 36 | 0.0082253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_86-5_0_5_line_43 |  | 34 | 37 | 0.02028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_86-5_0_5_line_44 |  | 36 | 41 | 0.0037625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_86-5_0_5_line_45 |  | 37 | 78 | 0.0018142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_86-5_0_5_line_46 |  | 38 | 39 | 0.026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_86-5_0_5_line_47 |  | 38 | 40 | 0.033168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_86-5_0_5_line_48 |  | 39 | 95 | 0.053739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_86-5_0_5_line_49 |  | 39 | 94 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_86-5_0_5_line_50 |  | 40 | 78 | 0.034008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_86-5_0_5_line_51 |  | 41 | 63 | 0.0085624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_86-5_0_5_line_52 |  | 42 | 43 | 0.033974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_86-5_0_5_line_53 |  | 42 | 44 | 0.061076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_86-5_0_5_line_54 |  | 42 | 45 | 0.023065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_86-5_0_5_line_55 |  | 43 | 70 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_86-5_0_5_line_56 |  | 44 | 54 | 0.006789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_86-5_0_5_line_57 |  | 44 | 55 | 0.035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_86-5_0_5_line_58 |  | 45 | 91 | 0.0013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_86-5_0_5_line_59 |  | 46 | 47 | 0.0084077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_86-5_0_5_line_60 |  | 46 | 48 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_86-5_0_5_line_61 |  | 47 | 72 | 0.05956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_86-5_0_5_line_62 |  | 47 | 61 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_86-5_0_5_line_63 |  | 47 | 57 | 0.029407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_86-5_0_5_line_64 |  | 48 | 96 | 0.028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_86-5_0_5_line_65 |  | 49 | 50 | 0.03128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_86-5_0_5_line_66 |  | 49 | 51 | 0.0060702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_86-5_0_5_line_67 |  | 50 | 65 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_86-5_0_5_line_68 |  | 51 | 73 | 0.0027157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_86-5_0_5_line_69 |  | 51 | 52 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_86-5_0_5_line_70 |  | 52 | 53 | 0.027234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_86-5_0_5_line_71 |  | 53 | 66 | 0.0112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_86-5_0_5_line_72 |  | 54 | 73 | 0.060497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_86-5_0_5_line_73 |  | 54 | 76 | 0.018192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_86-5_0_5_line_74 |  | 56 | 57 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_86-5_0_5_line_75 |  | 56 | 58 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_86-5_0_5_line_76 |  | 57 | 66 | 0.013029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_86-5_0_5_line_77 |  | 57 | 64 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_86-5_0_5_line_78 |  | 58 | 99 | 0.0012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_86-5_0_5_line_79 |  | 59 | 60 | 0.044574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_86-5_0_5_line_80 |  | 59 | 61 | 0.023106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_86-5_0_5_line_81 |  | 62 | 63 | 0.0090958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_86-5_0_5_line_82 |  | 62 | 64 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_86-5_0_5_line_83 |  | 63 | 71 | 0.019036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_86-5_0_5_line_84 |  | 67 | 68 | 0.002476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_86-5_0_5_line_85 |  | 67 | 69 | 0.021023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_86-5_0_5_line_86 |  | 68 | 97 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_86-5_0_5_line_87 |  | 68 | 74 | 0.05809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_86-5_0_5_line_88 |  | 74 | 75 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_86-5_0_5_line_89 |  | 75 | 102 | 0.064646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_86-5_0_5_line_90 |  | 76 | 87 | 0.054653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_86-5_0_5_line_91 |  | 79 | 80 | 0.011321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_86-5_0_5_line_92 |  | 79 | 81 | 0.016731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_86-5_0_5_line_93 |  | 80 | 94 | 0.052623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_86-5_0_5_line_94 |  | 82 | 103 | 0.015175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_86-5_0_5_line_95 |  | 82 | 84 | 0.0032894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_86-5_0_5_line_96 |  | 83 | 101 | 0.0084315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_86-5_0_5_line_97 |  | 85 | 109 | 0.015765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_86-5_0_5_line_98 |  | 86 | 87 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_86-5_0_5_line_99 |  | 87 | 89 | 0.031544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_86-5_0_5_line_100 |  | 88 | 89 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_86-5_0_5_line_101 |  | 89 | 110 | 0.013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_86-5_0_5_line_102 |  | 93 | 98 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_86-5_0_5_line_103 |  | 97 | 107 | 0.019728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_86-5_0_5_line_104 |  | 99 | 102 | 0.021593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_86-5_0_5_line_105 |  | 100 | 101 | 0.021478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_86-5_0_5_line_106 |  | 102 | 108 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_86-5_0_5_line_107 |  | 103 | 105 | 0.075697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_86-5_0_5_line_108 |  | 103 | 104 | 0.035329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_86-5_0_5_line_109 |  | 105 | 106 | 0.0073573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_86-5_0_5_trafo_105 | 0.63 MVA 20/0.4 kV | 111 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2676926.7797 | 1259568.248 | 2676926.2028 | 1259571.1638
1 | 2676923.0868 | 1259579.7865 | 2676925.7066 | 1259573.6715 | 2676926.2028 | 1259571.1638
2 | 2676926.7797 | 1259568.248 | 2676934.2879 | 1259553.8621
3 | 2676923.0868 | 1259579.7865 | 2676927.2466 | 1259581.6086 | 2676929.1165 | 1259582.6669
4 | 2676936.8103 | 1259545.828 | 2676936.729 | 1259549.1851 | 2676934.2879 | 1259553.8621
5 | 2676927.7299 | 1259591.9783 | 2676931.4894 | 1259584.01 | 2676929.1165 | 1259582.6669
6 | 2676919.158 | 1259537.0141 | 2676926.8735 | 1259539.5941 | 2676926.8814 | 1259541.3067 | 2676930.3495 | 1259541.8299 | 2676936.8103 | 1259545.828
7 | 2676905.3329 | 1259572.4169 | 2676907.0041 | 1259569.6921 | 2676909.696 | 1259567.303 | 2676912.3944 | 1259565.5812
8 | 2676912.3944 | 1259565.5812 | 2676912.5486 | 1259556.0427 | 2676914.0006 | 1259551.8622
9 | 2676905.3329 | 1259572.4169 | 2676896.4293 | 1259569.3485
10 | 2676919.158 | 1259537.0141 | 2676914.0006 | 1259551.8622
11 | 2676919.158 | 1259537.0141 | 2676913.7666 | 1259535.2093
12 | 2676899.3216 | 1259530.3736 | 2676913.7666 | 1259535.2093
13 | 2676860.9035 | 1259636.8886 | 2676853.1216 | 1259648.1294 | 2676852.9925 | 1259651.6859 | 2676849.3151 | 1259653.3395 | 2676847.4533 | 1259655.6615
14 | 2676860.9035 | 1259636.8886 | 2676864.3268 | 1259638.5343 | 2676868.5983 | 1259631.1842 | 2676878.7949 | 1259615.1044 | 2676882.1208 | 1259608.5983 | 2676873.5656 | 1259605.0956 | 2676870.8247 | 1259602.5581 | 2676868.1906 | 1259598.7543
15 | 2676839.4262 | 1259668.378 | 2676844.4486 | 1259661.2378 | 2676845.0781 | 1259658.6218 | 2676847.4533 | 1259655.6615
16 | 2676868.1906 | 1259598.7543 | 2676869.5456 | 1259597.1596 | 2676872.0108 | 1259590.1752 | 2676880.0163 | 1259593.048 | 2676881.3588 | 1259594.1552 | 2676883.8375 | 1259589.028 | 2676886.9438 | 1259583.175 | 2676882.7804 | 1259582.2091
17 | 2676868.1906 | 1259598.7543 | 2676858.1673 | 1259594.7785
18 | 2676836.1418 | 1259686.7826 | 2676832.4922 | 1259691.5278 | 2676829.6911 | 1259689.5566
19 | 2676836.1418 | 1259686.7826 | 2676838.9207 | 1259682.9158 | 2676835.9349 | 1259680.6642 | 2676832.5609 | 1259678.1185 | 2676839.4262 | 1259668.378
20 | 2676836.1418 | 1259686.7826 | 2676850.7278 | 1259697.7186
21 | 2676820.0853 | 1259682.8045 | 2676829.6911 | 1259689.5566
22 | 2676829.6911 | 1259689.5566 | 2676821.4523 | 1259700.5913 | 2676808.8033 | 1259716.1565
23 | 2676862.0416 | 1259712.872 | 2676862.0416 | 1259712.872 | 2676861.6318 | 1259707.2847 | 2676859.7312 | 1259704.469 | 2676850.7278 | 1259697.7186
24 | 2676887.863 | 1259566.3964 | 2676896.4293 | 1259569.3485
25 | 2676882.7804 | 1259582.2091 | 2676887.863 | 1259566.3964
26 | 2676882.7804 | 1259582.2091 | 2676863.9742 | 1259578.6593
27 | 2676860.6129 | 1259587.325 | 2676857.9017 | 1259594.6732 | 2676858.1673 | 1259594.7785
28 | 2676842.7157 | 1259582.8559 | 2676860.6129 | 1259587.325
29 | 2676842.7157 | 1259582.8559 | 2676831.6374 | 1259597.5359
30 | 2676795.8263 | 1259562.254 | 2676794.7325 | 1259566.3763 | 2676820.3763 | 1259572.1912 | 2676817.2901 | 1259576.4989 | 2676842.7157 | 1259582.8559
31 | 2676883.5151 | 1259554.6867 | 2676888.6567 | 1259563.9049 | 2676887.863 | 1259566.3964
32 | 2676899.3216 | 1259530.3736 | 2676892.3265 | 1259528.0476
33 | 2676892.3265 | 1259528.0476 | 2676877.8809 | 1259523.21
34 | 2676820.0853 | 1259682.8045 | 2676812.698 | 1259677.6047 | 2676808.6053 | 1259678.7414 | 2676801.1908 | 1259673.897 | 2676800.8924 | 1259670.7575 | 2676799.3124 | 1259669.6654
35 | 2676790.7568 | 1259737.8879 | 2676792.3821 | 1259736.3634 | 2676808.8033 | 1259716.1565
36 | 2676751.9345 | 1259741.0423 | 2676770.3686 | 1259754.6361 | 2676778.1367 | 1259749.0771 | 2676785.3425 | 1259743.2884 | 2676790.7568 | 1259737.8879
37 | 2676751.9345 | 1259741.0423 | 2676731.8706 | 1259726.9937 | 2676733.2823 | 1259725.0884
38 | 2676753.5355 | 1259739.0727 | 2676751.9345 | 1259741.0423
39 | 2676729.5465 | 1259722.538 | 2676733.2823 | 1259725.0884
40 | 2676733.2823 | 1259725.0884 | 2676740.4155 | 1259715.5959 | 2676741.342 | 1259710.4151 | 2676746.4505 | 1259704.1877 | 2676752.6605 | 1259708.9163 | 2676762.7442 | 1259694.5361
41 | 2676690.0267 | 1259560.3252 | 2676692.8495 | 1259559.6592
42 | 2676688.405 | 1259552.2648 | 2676689.1059 | 1259556.3436 | 2676690.0267 | 1259560.3252
43 | 2676690.0267 | 1259560.3252 | 2676680.2416 | 1259562.7225 | 2676675.0155 | 1259566.3909 | 2676673.026 | 1259569.6522
44 | 2676688.405 | 1259552.2648 | 2676691.5077 | 1259550.1366
45 | 2676672.0812 | 1259571.201 | 2676673.026 | 1259569.6522
46 | 2676642.4326 | 1259631.2736 | 2676646.4562 | 1259634.3057 | 2676658.8822 | 1259643.3291 | 2676664.2016 | 1259646.9896
47 | 2676642.4326 | 1259631.2736 | 2676655.5542 | 1259605.2349 | 2676657.4974 | 1259601.7268
48 | 2676664.2016 | 1259646.9896 | 2676689.5908 | 1259665.4436 | 2676691.3183 | 1259665.3437 | 2676697.132 | 1259658.2025 | 2676703.9049 | 1259649.017
49 | 2676664.2016 | 1259646.9896 | 2676661.6927 | 1259655.041 | 2676656.7588 | 1259668.536
50 | 2676672.0812 | 1259571.201 | 2676670.6307 | 1259577.2646 | 2676667.9192 | 1259582.9115 | 2676657.4974 | 1259601.7268
51 | 2676697.2344 | 1259543.9396 | 2676694.1168 | 1259548.3469 | 2676691.5077 | 1259550.1366
52 | 2676763.3927 | 1259416.3229 | 2676729.5533 | 1259412.3255
53 | 2676777.7172 | 1259449.2558 | 2676774.7886 | 1259446.6492 | 2676771.9149 | 1259443.8765 | 2676785.8802 | 1259431.893 | 2676788.9201 | 1259424.7604 | 2676784.746 | 1259422.8714 | 2676773.5422 | 1259418.3894 | 2676763.3927 | 1259416.3229
54 | 2676763.3927 | 1259416.3229 | 2676767.2913 | 1259393.5901
55 | 2676729.5533 | 1259412.3255 | 2676724.6853 | 1259434.6336
56 | 2676777.7172 | 1259449.2558 | 2676772.7051 | 1259453.8498
57 | 2676777.7172 | 1259449.2558 | 2676792.159 | 1259437.1451 | 2676805.3263 | 1259427.3004
58 | 2676767.2913 | 1259393.5901 | 2676767.524 | 1259392.2333
59 | 2676754.5 | 1259563.1075 | 2676755.6519 | 1259558.5634 | 2676756.7083 | 1259554.9967
60 | 2676754.5 | 1259563.1075 | 2676751.4418 | 1259575.1725
61 | 2676756.7083 | 1259554.9967 | 2676766.8147 | 1259520.8797 | 2676773.378 | 1259512.3472 | 2676786.5881 | 1259512.0618
62 | 2676756.7083 | 1259554.9967 | 2676768.3287 | 1259556.9711 | 2676770.8608 | 1259555.2804 | 2676774.1193 | 1259555.821
63 | 2676727.539 | 1259551.3268 | 2676743.7083 | 1259553.0266 | 2676756.7083 | 1259554.9967
64 | 2676751.4418 | 1259575.1725 | 2676744.3482 | 1259603.1588
65 | 2676703.6723 | 1259484.6114 | 2676716.9314 | 1259493.3454 | 2676721.7861 | 1259496.811 | 2676722.8344 | 1259496.1908 | 2676724.168 | 1259494.4957 | 2676728.69 | 1259498.6241
66 | 2676728.69 | 1259498.6241 | 2676730.6037 | 1259500.4391 | 2676732.9914 | 1259502.9053
67 | 2676703.6723 | 1259484.6114 | 2676693.5741 | 1259502.1936
68 | 2676732.9914 | 1259502.9053 | 2676734.6159 | 1259500.729
69 | 2676732.9914 | 1259502.9053 | 2676727.9285 | 1259509.6781 | 2676727.3654 | 1259511.828
70 | 2676727.3654 | 1259511.828 | 2676742.8966 | 1259522.6375 | 2676738.9739 | 1259529.9654
71 | 2676738.9739 | 1259529.9654 | 2676733.688 | 1259539.8399
72 | 2676772.7051 | 1259453.8498 | 2676761.261 | 1259465.5658 | 2676747.682 | 1259483.2253 | 2676734.6159 | 1259500.729
73 | 2676772.7051 | 1259453.8498 | 2676780.0362 | 1259460.4944 | 2676787.1081 | 1259464.8345
74 | 2676718.0751 | 1259558.0092 | 2676718.436 | 1259554.0108 | 2676725.6308 | 1259554.8937 | 2676727.539 | 1259551.3268
75 | 2676718.0751 | 1259558.0092 | 2676716.5642 | 1259574.7515
76 | 2676727.539 | 1259551.3268 | 2676733.688 | 1259539.8399
77 | 2676727.539 | 1259551.3268 | 2676715.4285 | 1259550.5137 | 2676713.6767 | 1259550.0413
78 | 2676716.5642 | 1259574.7515 | 2676716.4507 | 1259576.009
79 | 2676795.8263 | 1259562.254 | 2676803.3182 | 1259535.6088 | 2676819.7879 | 1259539.3799
80 | 2676795.8263 | 1259562.254 | 2676790.6633 | 1259561.0528 | 2676786.6414 | 1259557.8982 | 2676774.1193 | 1259555.821
81 | 2676697.2344 | 1259543.9396 | 2676702.203 | 1259543.8483 | 2676706.3277 | 1259543.735
82 | 2676706.3277 | 1259543.735 | 2676706.5644 | 1259545.8286 | 2676708.3676 | 1259548.6096 | 2676713.6767 | 1259550.0413
83 | 2676697.2344 | 1259543.9396 | 2676699.0716 | 1259538.8595 | 2676705.1003 | 1259531.432 | 2676707.4752 | 1259528.1291
84 | 2676701.9103 | 1259707.6574 | 2676703.6369 | 1259705.8785
85 | 2676701.9103 | 1259707.6574 | 2676696.8442 | 1259707.714 | 2676683.9613 | 1259698.2984
86 | 2676703.6369 | 1259705.8785 | 2676699.1623 | 1259703.3408 | 2676688.6244 | 1259694.6488
87 | 2676703.6369 | 1259705.8785 | 2676722.8515 | 1259686.0458 | 2676739.6773 | 1259666.7604 | 2676739.8612 | 1259661.8814
88 | 2676739.8612 | 1259661.8814 | 2676726.5326 | 1259653.4396
89 | 2676714.5098 | 1259597.5151 | 2676715.0585 | 1259606.9405 | 2676718.0716 | 1259623.9479 | 2676718.0665 | 1259627.8286 | 2676712.7071 | 1259644.683 | 2676726.5326 | 1259653.4396
90 | 2676838.8351 | 1259481.7957 | 2676808.0155 | 1259472.8334 | 2676793.0487 | 1259468.4803 | 2676787.1081 | 1259464.8345
91 | 2676622.8686 | 1259682.737 | 2676623.5246 | 1259686.793 | 2676625.1522 | 1259693.8194
92 | 2676625.1522 | 1259693.8194 | 2676626.2624 | 1259699.4714 | 2676628.9558 | 1259705.0994 | 2676631.1366 | 1259709.2984
93 | 2676622.8686 | 1259682.737 | 2676640.1835 | 1259689.6664 | 2676647.7039 | 1259692.7439 | 2676650.6426 | 1259685.2652 | 2676656.7588 | 1259668.536
94 | 2676942.8424 | 1259593.7872 | 2676927.7299 | 1259591.9783
95 | 2676927.7299 | 1259591.9783 | 2676924.5001 | 1259591.3551
96 | 2676858.0086 | 1259720.2764 | 2676862.0416 | 1259712.872
97 | 2676883.5151 | 1259554.6867 | 2676868.5544 | 1259549.7147
98 | 2676838.8351 | 1259481.7957 | 2676862.1171 | 1259488.5654
99 | 2676838.8351 | 1259481.7957 | 2676829.1281 | 1259511.8147
100 | 2676829.1281 | 1259511.8147 | 2676826.4265 | 1259520.1748 | 2676841.6921 | 1259525.1572
101 | 2676829.1281 | 1259511.8147 | 2676816.117 | 1259507.7351
102 | 2676762.7442 | 1259694.5361 | 2676769.4713 | 1259684.9444
103 | 2676688.6244 | 1259694.6488 | 2676678.0562 | 1259685.9319 | 2676681.7612 | 1259681.1761
104 | 2676714.5098 | 1259597.5151 | 2676716.4507 | 1259576.009
105 | 2676858.0086 | 1259720.2764 | 2676847.7349 | 1259739.1383
106 | 2676702.1631 | 1259596.9102 | 2676714.5098 | 1259597.5151
107 | 2676942.8424 | 1259593.7872 | 2676959.2826 | 1259596.0916 | 2676985.6986 | 1259599.8935 | 2676995.2001 | 1259603.6533 | 2676994.1971 | 1259608.3216 | 2676987.9689 | 1259609.6304 | 2676984.4833 | 1259613.9217 | 2676979.824 | 1259616.8856
108 | 2676942.8424 | 1259593.7872 | 2676960.2878 | 1259563.0657
109 | 2676979.824 | 1259616.8856 | 2676978.5917 | 1259624.1389

## bus_geodata
| x | y | coords
0 | 2676926.2028 | 1259571.1638
1 | 2676926.7797 | 1259568.248
2 | 2676923.0868 | 1259579.7865
3 | 2676934.2879 | 1259553.8621
4 | 2676929.1165 | 1259582.6669
5 | 2676936.8103 | 1259545.828
6 | 2676912.3944 | 1259565.5812
7 | 2676905.3329 | 1259572.4169
8 | 2676914.0006 | 1259551.8622
9 | 2676919.158 | 1259537.0141
10 | 2676913.7666 | 1259535.2093
11 | 2676860.9035 | 1259636.8886
12 | 2676847.4533 | 1259655.6615
13 | 2676868.1906 | 1259598.7543
14 | 2676836.1418 | 1259686.7826
15 | 2676829.6911 | 1259689.5566
16 | 2676839.4262 | 1259668.378
17 | 2676850.7278 | 1259697.7186
18 | 2676896.4293 | 1259569.3485
19 | 2676882.7804 | 1259582.2091
20 | 2676858.1673 | 1259594.7785
21 | 2676860.6129 | 1259587.325
22 | 2676842.7157 | 1259582.8559
23 | 2676887.863 | 1259566.3964
24 | 2676863.9742 | 1259578.6593
25 | 2676899.3216 | 1259530.3736
26 | 2676892.3265 | 1259528.0476
27 | 2676820.0853 | 1259682.8045
28 | 2676808.8033 | 1259716.1565
29 | 2676799.3124 | 1259669.6654
30 | 2676751.9345 | 1259741.0423
31 | 2676790.7568 | 1259737.8879
32 | 2676733.2823 | 1259725.0884
33 | 2676753.5355 | 1259739.0727
34 | 2676690.0267 | 1259560.3252
35 | 2676692.8495 | 1259559.6592
36 | 2676688.405 | 1259552.2648
37 | 2676673.026 | 1259569.6522
38 | 2676642.4326 | 1259631.2736
39 | 2676664.2016 | 1259646.9896
40 | 2676657.4974 | 1259601.7268
41 | 2676691.5077 | 1259550.1366
42 | 2676763.3927 | 1259416.3229
43 | 2676729.5533 | 1259412.3255
44 | 2676777.7172 | 1259449.2558
45 | 2676767.2913 | 1259393.5901
46 | 2676754.5 | 1259563.1075
47 | 2676756.7083 | 1259554.9967
48 | 2676751.4418 | 1259575.1725
49 | 2676728.69 | 1259498.6241
50 | 2676703.6723 | 1259484.6114
51 | 2676732.9914 | 1259502.9053
52 | 2676727.3654 | 1259511.828
53 | 2676738.9739 | 1259529.9654
54 | 2676772.7051 | 1259453.8498
55 | 2676805.3263 | 1259427.3004
56 | 2676718.0751 | 1259558.0092
57 | 2676727.539 | 1259551.3268
58 | 2676716.5642 | 1259574.7515
59 | 2676795.8263 | 1259562.254
60 | 2676819.7879 | 1259539.3799
61 | 2676774.1193 | 1259555.821
62 | 2676706.3277 | 1259543.735
63 | 2676697.2344 | 1259543.9396
64 | 2676713.6767 | 1259550.0413
65 | 2676693.5741 | 1259502.1936
66 | 2676733.688 | 1259539.8399
67 | 2676701.9103 | 1259707.6574
68 | 2676703.6369 | 1259705.8785
69 | 2676683.9613 | 1259698.2984
70 | 2676724.6853 | 1259434.6336
71 | 2676707.4752 | 1259528.1291
72 | 2676786.5881 | 1259512.0618
73 | 2676734.6159 | 1259500.729
74 | 2676739.8612 | 1259661.8814
75 | 2676726.5326 | 1259653.4396
76 | 2676787.1081 | 1259464.8345
77 | 2676831.6374 | 1259597.5359
78 | 2676672.0812 | 1259571.201
79 | 2676625.1522 | 1259693.8194
80 | 2676622.8686 | 1259682.737
81 | 2676631.1366 | 1259709.2984
82 | 2676927.7299 | 1259591.9783
83 | 2676862.0416 | 1259712.872
84 | 2676924.5001 | 1259591.3551
85 | 2676883.5151 | 1259554.6867
86 | 2676862.1171 | 1259488.5654
87 | 2676838.8351 | 1259481.7957
88 | 2676841.6921 | 1259525.1572
89 | 2676829.1281 | 1259511.8147
90 | 2676877.8809 | 1259523.21
91 | 2676767.524 | 1259392.2333
92 | 2676729.5465 | 1259722.538
93 | 2676762.7442 | 1259694.5361
94 | 2676656.7588 | 1259668.536
95 | 2676703.9049 | 1259649.017
96 | 2676744.3482 | 1259603.1588
97 | 2676688.6244 | 1259694.6489
98 | 2676769.4713 | 1259684.9444
99 | 2676716.4507 | 1259576.009
100 | 2676847.7349 | 1259739.1383
101 | 2676858.0086 | 1259720.2764
102 | 2676714.5098 | 1259597.5151
103 | 2676942.8424 | 1259593.7872
104 | 2676960.2878 | 1259563.0657
105 | 2676979.824 | 1259616.8856
106 | 2676978.5917 | 1259624.1389
107 | 2676681.7612 | 1259681.1761
108 | 2676702.1631 | 1259596.9102
109 | 2676868.5544 | 1259549.7147
110 | 2676816.117 | 1259507.7351
111 | 2676754.5 | 1259563.1075

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1