## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_86-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_86-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_86-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_86-8_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_86-8_0_4_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_86-8_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_86-8_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_86-8_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_86-8_0_4_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_86-8_0_4_node_86 | 0.4 | n |  | TRUE
10 | bus_LV_86-8_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_86-8_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_86-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_86-8_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_86-8_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_86-8_0_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_86-8_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_86-8_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_86-8_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_86-8_0_4_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_86-8_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_86-8_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_86-8_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_86-8_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_86-8_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_86-8_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_86-8_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_86-8_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_86-8_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_86-8_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_86-8_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_86-8_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_86-8_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_86-8_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_86-8_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_86-8_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_86-8_0_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_86-8_0_4_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_86-8_0_4_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_86-8_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_86-8_0_4_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_86-8_0_4_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_86-8_0_4_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_86-8_0_4_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_86-8_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_86-8_0_4_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_86-8_0_4_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_86-8_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_86-8_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_86-8_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_86-8_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_86-8_0_4_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_86-8_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_86-8_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_86-8_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_86-8_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_86-8_0_4_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_86-8_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_86-8_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_86-8_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_86-8_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_86-8_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_86-8_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_86-8_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_86-8_0_4_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_86-8_0_4_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_86-8_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_86-8_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_86-8_0_4_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_86-8_0_4_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_86-8_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_86-8_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_86-8_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_86-8_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_86-8_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_86-8_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_86-8_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_86-8_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_86-8_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_86-8_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_86-8_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_86-8_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_MV_352_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_86-8_0_4_load_0 | 0 | 0.0037981 | 0.00095189 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_86-8_0_4_load_55 | 4 | 0.012887 | 0.0032298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_86-8_0_4_load_85 | 8 | 0.0056428 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_86-8_0_4_load_86 | 9 | 0.0052312 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_86-8_0_4_load_56 | 10 | 0.012309 | 0.0030849 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_86-8_0_4_load_8 | 11 | 0.0085701 | 0.0021479 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_86-8_0_4_load_24 | 14 | 0.010272 | 0.0025744 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_86-8_0_4_load_38 | 15 | 0.014027 | 0.0035155 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_86-8_0_4_load_57 | 19 | 0.012008 | 0.0030095 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_86-8_0_4_load_58 | 20 | 0.0044627 | 0.0011185 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_86-8_0_4_load_39 | 21 | 0.0089854 | 0.002252 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_86-8_0_4_load_12 | 22 | 0.0092671 | 0.0023226 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_86-8_0_4_load_13 | 23 | 0.017163 | 0.0043015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_86-8_0_4_load_15 | 25 | 0.010265 | 0.0025726 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_86-8_0_4_load_51 | 28 | 0.0082548 | 0.0020689 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_86-8_0_4_load_40 | 31 | 0.0058073 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_86-8_0_4_load_19 | 34 | 0.006121 | 0.0015341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_86-8_0_4_load_50 | 35 | 0.0036747 | 0.00092096 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_86-8_0_4_load_72 | 37 | 0.006498 | 0.0016286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_86-8_0_4_load_71 | 40 | 0.0025821 | 0.00064712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_86-8_0_4_load_67 | 41 | 0.0063316 | 0.0015868 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_86-8_0_4_load_52 | 42 | 0.0066619 | 0.0016696 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_86-8_0_4_load_22 | 44 | 0.0074946 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_86-8_0_4_load_87 | 46 | 0.016485 | 0.0041315 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_86-8_0_4_load_35 | 50 | 0.01306 | 0.0032732 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_86-8_0_4_load_84 | 51 | 0.01681 | 0.004213 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_86-8_0_4_load_27 | 52 | 0.0087835 | 0.0022013 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_86-8_0_4_load_31 | 54 | 0.0085465 | 0.0021419 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_86-8_0_4_load_53 | 55 | 0.013645 | 0.0034197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_86-8_0_4_load_32 | 56 | 0.0086396 | 0.0021653 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_86-8_0_4_load_46 | 57 | 0.0066135 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_86-8_0_4_load_54 | 58 | 0.007069 | 0.0017716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_86-8_0_4_load_33 | 60 | 0.013801 | 0.0034589 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_86-8_0_4_load_34 | 61 | 0.0073108 | 0.0018323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_86-8_0_4_load_36 | 62 | 0.006338 | 0.0015884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_86-8_0_4_load_45 | 64 | 0.02251 | 0.0056415 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_86-8_0_4_load_78 | 66 | 0.0029289 | 0.00073405 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_86-8_0_4_load_74 | 68 | 0.010868 | 0.0027237 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_86-8_0_4_load_68 | 69 | 0.0065333 | 0.0016374 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_86-8_0_4_load_59 | 70 | 0.0065845 | 0.0016502 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_86-8_0_4_load_70 | 73 | 0.0036083 | 0.00090432 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_86-8_0_4_load_65 | 74 | 0.0046636 | 0.0011688 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_86-8_0_4_load_66 | 75 | 0.0056629 | 0.0014193 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_86-8_0_4_load_75 | 76 | 0.0023788 | 0.00059618 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_86-8_0_4_load_64 | 77 | 0.0048259 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_86-8_0_4_load_73 | 78 | 0.011745 | 0.0029436 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_86-8_0_4_load_80 | 79 | 0.0036384 | 0.00091187 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_86-8_0_4_load_77 | 80 | 0.0013732 | 0.00034417 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_86-8_0_4_load_79 | 81 | 0.001732 | 0.00043408 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_86-8_0_4_line_0 |  | 0 | 1 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_86-8_0_4_line_1 |  | 1 | 2 | 0.062215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_86-8_0_4_line_2 |  | 2 | 3 | 0.028929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_86-8_0_4_line_3 |  | 2 | 4 | 0.025382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_86-8_0_4_line_4 |  | 3 | 5 | 0.08601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_86-8_0_4_line_5 |  | 3 | 6 | 0.029708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_86-8_0_4_line_6 |  | 4 | 10 | 0.02308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_86-8_0_4_line_7 |  | 5 | 9 | 0.026922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_86-8_0_4_line_8 |  | 5 | 7 | 0.054545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_86-8_0_4_line_9 |  | 6 | 13 | 0.010007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_86-8_0_4_line_10 |  | 6 | 14 | 0.025155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_86-8_0_4_line_11 |  | 7 | 8 | 0.004336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_86-8_0_4_line_12 |  | 10 | 19 | 0.023782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_86-8_0_4_line_13 |  | 11 | 12 | 0.036258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_86-8_0_4_line_14 |  | 12 | 17 | 0.00122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_86-8_0_4_line_15 |  | 13 | 51 | 0.037842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_86-8_0_4_line_16 |  | 13 | 45 | 0.033592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_86-8_0_4_line_17 |  | 15 | 16 | 0.035071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_86-8_0_4_line_18 |  | 16 | 21 | 0.026337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_86-8_0_4_line_19 |  | 16 | 53 | 0.016038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_86-8_0_4_line_20 |  | 17 | 18 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_86-8_0_4_line_21 |  | 17 | 19 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_86-8_0_4_line_22 |  | 18 | 20 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_86-8_0_4_line_23 |  | 20 | 21 | 0.018209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_86-8_0_4_line_24 |  | 22 | 23 | 0.035487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_86-8_0_4_line_25 |  | 22 | 24 | 0.017777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_86-8_0_4_line_26 |  | 23 | 25 | 0.039027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_86-8_0_4_line_27 |  | 24 | 26 | 0.11158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_86-8_0_4_line_28 |  | 26 | 27 | 0.042673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_86-8_0_4_line_29 |  | 26 | 28 | 0.020082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_86-8_0_4_line_30 |  | 27 | 29 | 0.14108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_86-8_0_4_line_31 |  | 27 | 30 | 0.030951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_86-8_0_4_line_32 |  | 27 | 31 | 0.021372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_86-8_0_4_line_33 |  | 28 | 35 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_86-8_0_4_line_34 |  | 29 | 36 | 0.001824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_86-8_0_4_line_35 |  | 29 | 37 | 0.051062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_86-8_0_4_line_36 |  | 30 | 39 | 0.034891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_86-8_0_4_line_37 |  | 30 | 41 | 0.041608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_86-8_0_4_line_38 |  | 32 | 33 | 0.019982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_86-8_0_4_line_39 |  | 32 | 34 | 0.030361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_86-8_0_4_line_40 |  | 33 | 42 | 0.0091328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_86-8_0_4_line_41 |  | 35 | 47 | 0.025219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_86-8_0_4_line_42 |  | 36 | 65 | 0.054361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_86-8_0_4_line_43 |  | 36 | 66 | 0.11223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_86-8_0_4_line_44 |  | 37 | 67 | 0.05339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_86-8_0_4_line_45 |  | 38 | 39 | 0.066646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_86-8_0_4_line_46 |  | 38 | 40 | 0.030961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_86-8_0_4_line_47 |  | 39 | 68 | 0.025787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_86-8_0_4_line_48 |  | 41 | 69 | 0.0046693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_86-8_0_4_line_49 |  | 42 | 47 | 0.017218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_86-8_0_4_line_50 |  | 43 | 44 | 0.034131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_86-8_0_4_line_51 |  | 43 | 45 | 0.004917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_86-8_0_4_line_52 |  | 45 | 46 | 0.025398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_86-8_0_4_line_53 |  | 47 | 63 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_86-8_0_4_line_54 |  | 48 | 49 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_86-8_0_4_line_55 |  | 48 | 50 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_86-8_0_4_line_56 |  | 49 | 58 | 0.0056656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_86-8_0_4_line_57 |  | 50 | 60 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_86-8_0_4_line_58 |  | 52 | 53 | 0.037945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_86-8_0_4_line_59 |  | 53 | 54 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_86-8_0_4_line_60 |  | 54 | 55 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_86-8_0_4_line_61 |  | 55 | 58 | 0.015181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_86-8_0_4_line_62 |  | 56 | 57 | 0.040709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_86-8_0_4_line_63 |  | 57 | 59 | 0.016931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_86-8_0_4_line_64 |  | 59 | 64 | 0.051261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_86-8_0_4_line_65 |  | 60 | 61 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_86-8_0_4_line_66 |  | 61 | 62 | 0.0079002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_86-8_0_4_line_67 |  | 62 | 63 | 0.0015157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_86-8_0_4_line_68 |  | 63 | 64 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_86-8_0_4_line_69 |  | 65 | 79 | 0.098917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_86-8_0_4_line_70 |  | 66 | 80 | 0.031068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_86-8_0_4_line_71 |  | 67 | 75 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_86-8_0_4_line_72 |  | 68 | 78 | 0.058468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_86-8_0_4_line_73 |  | 70 | 71 | 0.017391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_86-8_0_4_line_74 |  | 71 | 72 | 0.029924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_86-8_0_4_line_75 |  | 72 | 73 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_86-8_0_4_line_76 |  | 72 | 74 | 0.0087426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_86-8_0_4_line_77 |  | 73 | 76 | 0.019952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_86-8_0_4_line_78 |  | 74 | 77 | 0.019326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_86-8_0_4_line_79 |  | 75 | 77 | 0.0038544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_86-8_0_4_line_80 |  | 79 | 81 | 0.025016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_86-8_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 82 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2676820.2795 | 1259070.6328 | 2676822.9245 | 1259081.7059
1 | 2676784.0946 | 1259052.6275 | 2676782.9622 | 1259045.7854 | 2676781.8455 | 1259040.0555 | 2676793.5192 | 1259046.1338 | 2676804.2175 | 1259055.9244 | 2676806.9143 | 1259058.3946 | 2676820.2795 | 1259070.6328
2 | 2676779.7843 | 1259024.0389 | 2676780.679 | 1259032.935 | 2676781.8455 | 1259040.0555 | 2676782.9622 | 1259045.7854 | 2676784.0946 | 1259052.6275
3 | 2676784.0946 | 1259052.6275 | 2676758.7248 | 1259053.4102
4 | 2676779.7843 | 1259024.0389 | 2676780.679 | 1259032.935 | 2676834.5044 | 1259025.3944 | 2676833.6509 | 1259017.9777 | 2676834.4378 | 1259016.0087 | 2676835.2176 | 1259009.3693 | 2676834.245 | 1259002.9963
5 | 2676772.6729 | 1258995.1916 | 2676779.7843 | 1259024.0389
6 | 2676758.7248 | 1259053.4102 | 2676758.7248 | 1259053.4102 | 2676756.6554 | 1259056.608 | 2676750.8944 | 1259056.7334 | 2676749.3492 | 1259059.0373 | 2676749.3635 | 1259065.4868 | 2676746.7051 | 1259068.8469
7 | 2676830.2033 | 1258976.3793 | 2676834.245 | 1259002.9963
8 | 2676834.245 | 1259002.9963 | 2676835.2176 | 1259009.3693 | 2676834.4378 | 1259016.0087 | 2676833.6509 | 1259017.9777 | 2676834.5044 | 1259025.3944 | 2676837.0797 | 1259025.0387 | 2676845.3843 | 1259023.5231 | 2676862.5585 | 1259011.815
9 | 2676772.6729 | 1258995.1916 | 2676770.2736 | 1258985.4753
10 | 2676772.6729 | 1258995.1916 | 2676796.6474 | 1258987.5747
11 | 2676862.5585 | 1259011.815 | 2676861.9207 | 1259007.5257
12 | 2676746.7051 | 1259068.8469 | 2676745.9759 | 1259069.7684 | 2676746.5496 | 1259087.7227 | 2676743.3697 | 1259091.1063
13 | 2676744.4971 | 1259102.9854 | 2676746.0114 | 1259105.9628 | 2676764.1953 | 1259122.7224 | 2676772.3829 | 1259122.6294
14 | 2676744.4971 | 1259102.9854 | 2676743.9383 | 1259101.8996
15 | 2676770.2736 | 1258985.4753 | 2676788.0803 | 1258979.6352 | 2676788.1317 | 1258976.2555 | 2676794.1582 | 1258969.6287 | 2676790.0907 | 1258964.1385
16 | 2676770.2736 | 1258985.4753 | 2676769.5934 | 1258982.6977 | 2676756.5056 | 1258954.8737
17 | 2676709.4384 | 1259035.9248 | 2676739.1388 | 1259029.6494 | 2676743.8091 | 1259029.0048
18 | 2676709.4384 | 1259035.9248 | 2676714.4241 | 1259061.7857
19 | 2676709.4384 | 1259035.9248 | 2676695.0522 | 1259043.0993
20 | 2676722.3996 | 1259103.1546 | 2676743.9383 | 1259101.8996
21 | 2676743.9383 | 1259101.8996 | 2676743.3697 | 1259091.1063
22 | 2676722.3996 | 1259103.1546 | 2676717.8712 | 1259079.6659
23 | 2676714.4241 | 1259061.7857 | 2676717.8712 | 1259079.6659
24 | 2676716.7441 | 1258824.1677 | 2676734.8501 | 1258851.1924 | 2676736.7699 | 1258853.4421
25 | 2676708.9691 | 1258808.1912 | 2676716.2426 | 1258823.4192 | 2676716.7441 | 1258824.1677
26 | 2676762.1035 | 1258883.1289 | 2676736.7699 | 1258853.4421
27 | 2676639.165 | 1258857.7912 | 2676642.3477 | 1258855.9421 | 2676647.6863 | 1258850.0401 | 2676648.3823 | 1258849.2707 | 2676661.0224 | 1258841.3173 | 2676668.9807 | 1258839.1966 | 2676668.744 | 1258827.796 | 2676671.1977 | 1258818.2094 | 2676676.5666 | 1258807.6488 | 2676682.4486 | 1258802.2876 | 2676691.6179 | 1258796.8912 | 2676695.5275 | 1258795.3852 | 2676698.5587 | 1258802.3186 | 2676699.0566 | 1258803.4592 | 2676708.9691 | 1258808.1912
28 | 2676609.8849 | 1258875.7924 | 2676609.3001 | 1258865.6439 | 2676620.7862 | 1258867.6273 | 2676627.5406 | 1258864.1566 | 2676633.2248 | 1258861.2502 | 2676639.165 | 1258857.7912
29 | 2676639.165 | 1258857.7912 | 2676648.8849 | 1258875.3644
30 | 2676505.0567 | 1258853.7645 | 2676533.5115 | 1258851.1748 | 2676589.4772 | 1258839.7122 | 2676594.0957 | 1258838.7602 | 2676599.6212 | 1258837.6308 | 2676601.4315 | 1258853.2771 | 2676604.1301 | 1258876.5852 | 2676609.8849 | 1258875.7924
31 | 2676601.8736 | 1258896.56 | 2676600.358 | 1258888.4342 | 2676605.6476 | 1258888.0579 | 2676604.1301 | 1258876.5852 | 2676609.8849 | 1258875.7924
32 | 2676609.8849 | 1258875.7924 | 2676612.4646 | 1258897.0085
33 | 2676655.0447 | 1258893.0509 | 2676651.9368 | 1258887.3789 | 2676653.1092 | 1258883.0018 | 2676648.8849 | 1258875.3644
34 | 2676505.0567 | 1258853.7645 | 2676503.2309 | 1258853.8743
35 | 2676505.0567 | 1258853.7645 | 2676508.91 | 1258883.4145 | 2676511.7743 | 1258904.382
36 | 2676601.8736 | 1258896.56 | 2676604.3959 | 1258916.5966 | 2676606.3181 | 1258931.1658
37 | 2676601.8736 | 1258896.56 | 2676600.1519 | 1258896.7823 | 2676589.7388 | 1258895.7801 | 2676587.9827 | 1258897.492 | 2676569.1687 | 1258904.276 | 2676570.4295 | 1258911.1197
38 | 2676708.3821 | 1258891.8245 | 2676702.7079 | 1258895.1201 | 2676695.185 | 1258899.1368 | 2676690.8792 | 1258901.5495
39 | 2676708.3821 | 1258891.8245 | 2676728.3579 | 1258914.6888
40 | 2676690.8792 | 1258901.5495 | 2676685.4219 | 1258899.7441 | 2676682.0376 | 1258899.7002
41 | 2676668.6989 | 1258909.2124 | 2676664.801 | 1258901.1002 | 2676660.5828 | 1258903.1583 | 2676655.0447 | 1258893.0509
42 | 2676448.8167 | 1258857.3073 | 2676503.2309 | 1258853.8743
43 | 2676503.2309 | 1258853.8743 | 2676503.9533 | 1258862.7237 | 2676506.9425 | 1258888.0703 | 2676510.9816 | 1258928.9978 | 2676510.3763 | 1258965.6972
44 | 2676514.8492 | 1258957.536 | 2676515.2113 | 1258929.5418 | 2676511.7743 | 1258904.382
45 | 2676615.0213 | 1258997.2394 | 2676606.3181 | 1258931.1658
46 | 2676615.0213 | 1258997.2394 | 2676609.1482 | 1258998.4421 | 2676607.7125 | 1259006.2739 | 2676609.2766 | 1259023.2052
47 | 2676606.3181 | 1258931.1658 | 2676582.0292 | 1258939.8272
48 | 2676570.4295 | 1258911.1197 | 2676570.4295 | 1258911.1197 | 2676565.9712 | 1258912.5075
49 | 2676668.6989 | 1258909.2124 | 2676681.0845 | 1258902.8569 | 2676682.0376 | 1258899.7002
50 | 2676754.4148 | 1258950.421 | 2676748.5222 | 1258953.7026 | 2676742.41 | 1258957.0592 | 2676737.2535 | 1258959.9724 | 2676738.388 | 1258962.0108 | 2676727.704 | 1258967.8115
51 | 2676756.5056 | 1258954.8737 | 2676754.4148 | 1258950.421
52 | 2676775.7863 | 1258938.2778 | 2676756.5056 | 1258954.8737
53 | 2676675.8415 | 1258924.0717 | 2676668.6989 | 1258909.2124
54 | 2676699.3429 | 1258974.9813 | 2676678.9822 | 1258985.9369 | 2676673.5816 | 1258991.4044
55 | 2676699.3429 | 1258974.9813 | 2676692.8643 | 1258962.603
56 | 2676673.5816 | 1258991.4044 | 2676674.6298 | 1258996.9721
57 | 2676686.4417 | 1258946.1349 | 2676688.4747 | 1258950.3663 | 2676689.2058 | 1258955.6131 | 2676692.8643 | 1258962.603
58 | 2676695.0522 | 1259043.0993 | 2676691.2794 | 1259045.6968 | 2676689.0928 | 1259050.3832 | 2676666.9812 | 1259067.8745
59 | 2676695.0522 | 1259043.0993 | 2676680.698 | 1259029.2029
60 | 2676677.4387 | 1259011.8911 | 2676680.698 | 1259029.2029 | 2676680.698 | 1259029.2029
61 | 2676677.4387 | 1259011.8911 | 2676674.6298 | 1258996.9721
62 | 2676626.6898 | 1259010.6742 | 2676622.591 | 1258980.2913 | 2676621.378 | 1258970.3143
63 | 2676619.3345 | 1258953.5067 | 2676621.378 | 1258970.3143
64 | 2676619.3345 | 1258953.5067 | 2676624.0347 | 1258952.6447 | 2676626.9106 | 1258949.4573 | 2676634.5519 | 1258949.6786 | 2676641.7278 | 1258946.2578 | 2676644.0952 | 1258946.8222 | 2676648.0035 | 1258946.5726 | 2676653.8805 | 1258942.7458 | 2676659.417 | 1258940.7605 | 2676656.0565 | 1258934.2231
65 | 2676686.4417 | 1258946.1349 | 2676679.9191 | 1258932.5588
66 | 2676676.4979 | 1258925.4379 | 2676679.9191 | 1258932.5588
67 | 2676675.8415 | 1258924.0717 | 2676676.4979 | 1258925.4379
68 | 2676675.8415 | 1258924.0717 | 2676656.0565 | 1258934.2231
69 | 2676448.8167 | 1258857.3073 | 2676452.1892 | 1258886.2727 | 2676449.6749 | 1258929.1503 | 2676448.109 | 1258955.9089
70 | 2676507.4086 | 1258996.5907 | 2676510.2479 | 1258973.4775 | 2676510.3763 | 1258965.6972
71 | 2676514.8492 | 1258957.536 | 2676536.6578 | 1258961.0873
72 | 2676573.4449 | 1258988.9856 | 2676567.9176 | 1258946.7585 | 2676572.9788 | 1258943.0545 | 2676582.0292 | 1258939.8272
73 | 2676513.786 | 1258990.1914 | 2676512.9054 | 1259007.5598
74 | 2676543.2192 | 1258992.3291 | 2676531.9102 | 1258994.162 | 2676513.786 | 1258990.1914
75 | 2676543.2192 | 1258992.3291 | 2676545.4537 | 1259002.9801
76 | 2676543.2192 | 1258992.3291 | 2676541.4223 | 1258983.7732
77 | 2676554.2754 | 1259016.4458 | 2676550.2601 | 1259015.6488 | 2676550.2946 | 1259012.9806 | 2676547.6074 | 1259013.246 | 2676545.4537 | 1259002.9801
78 | 2676537.45 | 1258964.8594 | 2676541.4223 | 1258983.7732
79 | 2676537.45 | 1258964.8594 | 2676536.6578 | 1258961.0873 | 2676536.6578 | 1258961.0873
80 | 2676446.6475 | 1258980.8825 | 2676448.109 | 1258955.9089

## bus_geodata
| x | y | coords
0 | 2676822.9245 | 1259081.7059
1 | 2676820.2795 | 1259070.6328
2 | 2676784.0946 | 1259052.6275
3 | 2676779.7843 | 1259024.0389
4 | 2676758.7248 | 1259053.4102
5 | 2676834.245 | 1259002.9963
6 | 2676772.6729 | 1258995.1916
7 | 2676862.5585 | 1259011.815
8 | 2676861.9207 | 1259007.5257
9 | 2676830.2033 | 1258976.3793
10 | 2676746.7051 | 1259068.8469
11 | 2676772.3829 | 1259122.6294
12 | 2676744.4971 | 1259102.9854
13 | 2676770.2736 | 1258985.4753
14 | 2676796.6474 | 1258987.5747
15 | 2676743.8091 | 1259029.0048
16 | 2676709.4384 | 1259035.9248
17 | 2676743.9383 | 1259101.8996
18 | 2676722.3996 | 1259103.1546
19 | 2676743.3697 | 1259091.1063
20 | 2676717.8712 | 1259079.6659
21 | 2676714.4241 | 1259061.7857
22 | 2676716.7441 | 1258824.1677
23 | 2676736.7699 | 1258853.4421
24 | 2676708.9691 | 1258808.1912
25 | 2676762.1035 | 1258883.1289
26 | 2676639.165 | 1258857.7912
27 | 2676609.8849 | 1258875.7924
28 | 2676648.8849 | 1258875.3644
29 | 2676505.0567 | 1258853.7645
30 | 2676601.8736 | 1258896.56
31 | 2676612.4646 | 1258897.0085
32 | 2676708.3821 | 1258891.8245
33 | 2676690.8792 | 1258901.5495
34 | 2676728.3579 | 1258914.6888
35 | 2676655.0447 | 1258893.0509
36 | 2676503.2309 | 1258853.8743
37 | 2676511.7743 | 1258904.382
38 | 2676615.0213 | 1258997.2394
39 | 2676606.3181 | 1258931.1658
40 | 2676609.2766 | 1259023.2052
41 | 2676570.4295 | 1258911.1197
42 | 2676682.0376 | 1258899.7002
43 | 2676754.4148 | 1258950.421
44 | 2676727.704 | 1258967.8115
45 | 2676756.5056 | 1258954.8737
46 | 2676775.7863 | 1258938.2778
47 | 2676668.6989 | 1258909.2124
48 | 2676699.3429 | 1258974.9813
49 | 2676673.5816 | 1258991.4044
50 | 2676692.8643 | 1258962.603
51 | 2676790.0907 | 1258964.1385
52 | 2676666.9812 | 1259067.8745
53 | 2676695.0522 | 1259043.0993
54 | 2676680.698 | 1259029.2029
55 | 2676677.4387 | 1259011.8911
56 | 2676626.6898 | 1259010.6742
57 | 2676621.378 | 1258970.3143
58 | 2676674.6298 | 1258996.9721
59 | 2676619.3345 | 1258953.5067
60 | 2676686.4417 | 1258946.1349
61 | 2676679.9191 | 1258932.5588
62 | 2676676.4979 | 1258925.4379
63 | 2676675.8415 | 1258924.0717
64 | 2676656.0565 | 1258934.2231
65 | 2676448.8167 | 1258857.3073
66 | 2676510.3763 | 1258965.6972
67 | 2676514.8492 | 1258957.536
68 | 2676582.0292 | 1258939.8272
69 | 2676565.9712 | 1258912.5075
70 | 2676512.9054 | 1259007.5598
71 | 2676513.786 | 1258990.1914
72 | 2676543.2192 | 1258992.3291
73 | 2676545.4537 | 1259002.9801
74 | 2676541.4223 | 1258983.7732
75 | 2676536.6578 | 1258961.0873
76 | 2676554.2754 | 1259016.4458
77 | 2676537.45 | 1258964.8594
78 | 2676573.4449 | 1258988.9856
79 | 2676448.109 | 1258955.9089
80 | 2676507.4086 | 1258996.5907
81 | 2676446.6475 | 1258980.8825
82 | 2676699.3429 | 1258974.9813

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1