## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_861-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_861-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_861-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_861-11_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_861-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_861-11_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_861-11_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_861-11_0_6_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_861-11_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_861-11_0_6_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_861-11_0_6_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_861-11_0_6_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_861-11_0_6_node_61 | 0.4 | n |  | TRUE
13 | bus_LV_861-11_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_861-11_0_6_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_861-11_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_861-11_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_861-11_0_6_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_861-11_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_861-11_0_6_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_861-11_0_6_node_89 | 0.4 | n |  | TRUE
21 | bus_LV_861-11_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_861-11_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_861-11_0_6_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_861-11_0_6_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_861-11_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_861-11_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_861-11_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_861-11_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_861-11_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_861-11_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_861-11_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_861-11_0_6_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_861-11_0_6_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_861-11_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_861-11_0_6_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_861-11_0_6_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_861-11_0_6_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_861-11_0_6_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_861-11_0_6_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_861-11_0_6_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_861-11_0_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_861-11_0_6_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_861-11_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_861-11_0_6_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_861-11_0_6_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_861-11_0_6_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_861-11_0_6_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_861-11_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_861-11_0_6_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_861-11_0_6_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_861-11_0_6_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_861-11_0_6_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_861-11_0_6_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_861-11_0_6_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_861-11_0_6_node_78 | 0.4 | n |  | TRUE
56 | bus_LV_861-11_0_6_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_861-11_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_861-11_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_861-11_0_6_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_861-11_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_861-11_0_6_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_861-11_0_6_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_861-11_0_6_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_861-11_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_861-11_0_6_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_861-11_0_6_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_861-11_0_6_node_28 | 0.4 | n |  | TRUE
68 | bus_LV_861-11_0_6_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_861-11_0_6_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_861-11_0_6_node_32 | 0.4 | n |  | TRUE
71 | bus_LV_861-11_0_6_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_861-11_0_6_node_93 | 0.4 | n |  | TRUE
73 | bus_LV_861-11_0_6_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_861-11_0_6_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_861-11_0_6_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_861-11_0_6_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_861-11_0_6_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_861-11_0_6_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_861-11_0_6_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_861-11_0_6_node_98 | 0.4 | n |  | TRUE
81 | bus_LV_861-11_0_6_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_861-11_0_6_node_96 | 0.4 | n |  | TRUE
83 | bus_LV_861-11_0_6_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_861-11_0_6_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_861-11_0_6_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_861-11_0_6_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_861-11_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_861-11_0_6_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_861-11_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_861-11_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_861-11_0_6_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_861-11_0_6_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_861-11_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_MV_121_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_861-11_0_6_load_0 | 0 | 0.0094632 | 0.0023717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_861-11_0_6_load_1 | 1 | 0.0042956 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_861-11_0_6_load_39 | 9 | 0.020284 | 0.0050836 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_861-11_0_6_load_35 | 10 | 0.0054232 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_861-11_0_6_load_29 | 11 | 0.010506 | 0.0026331 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_861-11_0_6_load_62 | 14 | 0.0091897 | 0.0023031 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_861-11_0_6_load_26 | 15 | 0.012111 | 0.0030354 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_861-11_0_6_load_58 | 17 | 0.012631 | 0.0031656 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_861-11_0_6_load_89 | 20 | 0.004653 | 0.0011662 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_861-11_0_6_load_99 | 23 | 0.0031573 | 0.00079128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_861-11_0_6_load_75 | 24 | 0.0057002 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_861-11_0_6_load_33 | 26 | 0.0083928 | 0.0021034 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_861-11_0_6_load_34 | 27 | 0.0029667 | 0.00074352 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_861-11_0_6_load_30 | 29 | 0.0061711 | 0.0015466 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_861-11_0_6_load_60 | 32 | 0.022361 | 0.0056041 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_861-11_0_6_load_48 | 35 | 0.02131 | 0.0053409 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_861-11_0_6_load_42 | 36 | 0.024651 | 0.006178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_861-11_0_6_load_38 | 37 | 0.0032688 | 0.00081923 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_861-11_0_6_load_52 | 38 | 0.0049813 | 0.0012484 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_861-11_0_6_load_56 | 39 | 0.0063854 | 0.0016003 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_861-11_0_6_load_63 | 40 | 0.0053964 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_861-11_0_6_load_64 | 41 | 0.014073 | 0.0035271 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_861-11_0_6_load_51 | 42 | 0.010378 | 0.002601 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_861-11_0_6_load_57 | 44 | 0.0056376 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_861-11_0_6_load_53 | 45 | 0.0071303 | 0.001787 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_861-11_0_6_load_71 | 46 | 0.0064301 | 0.0016115 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_861-11_0_6_load_68 | 47 | 0.018898 | 0.0047364 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_861-11_0_6_load_36 | 48 | 0.014989 | 0.0037565 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_861-11_0_6_load_100 | 49 | 0.0064891 | 0.0016263 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_861-11_0_6_load_27 | 50 | 0.0053906 | 0.001351 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_861-11_0_6_load_59 | 51 | 0.010273 | 0.0025746 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_861-11_0_6_load_92 | 52 | 0.00095496 | 0.00023934 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_861-11_0_6_load_81 | 54 | 0.0059457 | 0.0014901 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_861-11_0_6_load_78 | 55 | 0.0092021 | 0.0023063 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_861-11_0_6_load_88 | 56 | 0.00087482 | 0.00021925 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_861-11_0_6_load_50 | 57 | 0.031907 | 0.0079967 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_861-11_0_6_load_49 | 58 | 0.025726 | 0.0064475 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_861-11_0_6_load_76 | 59 | 0.002237 | 0.00056064 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_861-11_0_6_load_37 | 60 | 0.0076426 | 0.0019154 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_861-11_0_6_load_31 | 61 | 0.0030256 | 0.00075829 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_861-11_0_6_load_73 | 62 | 0.011529 | 0.0028895 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_861-11_0_6_load_74 | 63 | 0.012807 | 0.0032097 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_861-11_0_6_load_65 | 64 | 0.0027985 | 0.00070137 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_861-11_0_6_load_97 | 66 | 0.0056844 | 0.0014247 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_861-11_0_6_load_28 | 67 | 0.0038357 | 0.00096131 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_861-11_0_6_load_40 | 68 | 0.01858 | 0.0046566 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_861-11_0_6_load_41 | 69 | 0.0081474 | 0.0020419 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_861-11_0_6_load_93 | 72 | 0.0086133 | 0.0021587 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_861-11_0_6_load_47 | 73 | 0.0024565 | 0.00061566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_861-11_0_6_load_43 | 74 | 0.0093954 | 0.0023547 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_861-11_0_6_load_94 | 75 | 0.0085087 | 0.0021325 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_861-11_0_6_load_44 | 76 | 0.0061941 | 0.0015524 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_861-11_0_6_load_46 | 77 | 0.030499 | 0.0076438 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_861-11_0_6_load_54 | 78 | 0.0045993 | 0.0011527 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_861-11_0_6_load_55 | 79 | 0.010312 | 0.0025843 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_861-11_0_6_load_98 | 80 | 0.0084164 | 0.0021093 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_861-11_0_6_load_67 | 81 | 0.00034221 | 8.5767e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_861-11_0_6_load_91 | 83 | 0.0010946 | 0.00027433 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_861-11_0_6_load_95 | 84 | 0.0047029 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_861-11_0_6_load_72 | 86 | 0.01879 | 0.0047093 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_861-11_0_6_load_77 | 87 | 0.0036064 | 0.00090386 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_861-11_0_6_load_82 | 89 | 0.0092386 | 0.0023154 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_861-11_0_6_load_86 | 90 | 0.010741 | 0.002692 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_861-11_0_6_load_84 | 91 | 0.0092122 | 0.0023088 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_861-11_0_6_load_85 | 92 | 0.0033831 | 0.00084789 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_861-11_0_6_load_90 | 93 | 0.00050811 | 0.00012734 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_861-11_0_6_line_0 |  | 0 | 1 | 0.025652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_861-11_0_6_line_1 |  | 0 | 2 | 0.0065394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_861-11_0_6_line_2 |  | 1 | 3 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_861-11_0_6_line_3 |  | 2 | 4 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_861-11_0_6_line_4 |  | 2 | 5 | 0.0094104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_861-11_0_6_line_5 |  | 3 | 6 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_861-11_0_6_line_6 |  | 3 | 7 | 0.024102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_861-11_0_6_line_7 |  | 4 | 8 | 0.028446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_861-11_0_6_line_8 |  | 4 | 9 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_861-11_0_6_line_9 |  | 5 | 11 | 0.020646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_861-11_0_6_line_10 |  | 6 | 12 | 0.021806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_861-11_0_6_line_11 |  | 6 | 13 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_861-11_0_6_line_12 |  | 6 | 14 | 0.0072371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_861-11_0_6_line_13 |  | 7 | 46 | 0.0067661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_861-11_0_6_line_14 |  | 7 | 47 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_861-11_0_6_line_15 |  | 8 | 10 | 0.0034637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_861-11_0_6_line_16 |  | 10 | 48 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_861-11_0_6_line_17 |  | 12 | 49 | 0.0085156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_861-11_0_6_line_18 |  | 12 | 16 | 0.00485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_861-11_0_6_line_19 |  | 13 | 15 | 0.0080059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_861-11_0_6_line_20 |  | 15 | 50 | 0.0031598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_861-11_0_6_line_21 |  | 16 | 17 | 0.021983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_861-11_0_6_line_22 |  | 17 | 51 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_861-11_0_6_line_23 |  | 18 | 19 | 0.004647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_861-11_0_6_line_24 |  | 18 | 20 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_861-11_0_6_line_25 |  | 19 | 54 | 0.026225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_861-11_0_6_line_26 |  | 19 | 55 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_861-11_0_6_line_27 |  | 20 | 56 | 0.016518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_861-11_0_6_line_28 |  | 21 | 22 | 0.016723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_861-11_0_6_line_29 |  | 21 | 23 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_861-11_0_6_line_30 |  | 22 | 24 | 0.0034642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_861-11_0_6_line_31 |  | 24 | 59 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_861-11_0_6_line_32 |  | 25 | 26 | 0.045189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_861-11_0_6_line_33 |  | 25 | 27 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_861-11_0_6_line_34 |  | 25 | 28 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_861-11_0_6_line_35 |  | 25 | 29 | 0.01483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_861-11_0_6_line_36 |  | 26 | 60 | 0.040117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_861-11_0_6_line_37 |  | 27 | 38 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_861-11_0_6_line_38 |  | 28 | 40 | 0.026472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_861-11_0_6_line_39 |  | 28 | 41 | 0.022342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_861-11_0_6_line_40 |  | 28 | 42 | 0.018584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_861-11_0_6_line_41 |  | 29 | 61 | 0.0033593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_861-11_0_6_line_42 |  | 30 | 31 | 0.014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_861-11_0_6_line_43 |  | 30 | 32 | 0.0099073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_861-11_0_6_line_44 |  | 31 | 36 | 0.0096346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_861-11_0_6_line_45 |  | 31 | 37 | 0.037185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_861-11_0_6_line_46 |  | 32 | 51 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_861-11_0_6_line_47 |  | 33 | 34 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_861-11_0_6_line_48 |  | 33 | 35 | 0.0057805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_861-11_0_6_line_49 |  | 34 | 38 | 0.007076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_861-11_0_6_line_50 |  | 34 | 39 | 0.0035702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_861-11_0_6_line_51 |  | 35 | 58 | 0.033571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_861-11_0_6_line_52 |  | 37 | 60 | 0.0030043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_861-11_0_6_line_53 |  | 39 | 43 | 0.0083645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_861-11_0_6_line_54 |  | 40 | 62 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_861-11_0_6_line_55 |  | 43 | 44 | 0.033562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_861-11_0_6_line_56 |  | 43 | 45 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_861-11_0_6_line_57 |  | 44 | 66 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_861-11_0_6_line_58 |  | 47 | 85 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_861-11_0_6_line_59 |  | 50 | 67 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_861-11_0_6_line_60 |  | 52 | 53 | 0.026182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_861-11_0_6_line_61 |  | 53 | 92 | 0.0067296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_861-11_0_6_line_62 |  | 54 | 79 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_861-11_0_6_line_63 |  | 55 | 88 | 0.013543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_861-11_0_6_line_64 |  | 56 | 93 | 0.025534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_861-11_0_6_line_65 |  | 57 | 58 | 0.063981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_861-11_0_6_line_66 |  | 59 | 87 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_861-11_0_6_line_67 |  | 61 | 70 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_861-11_0_6_line_68 |  | 62 | 63 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_861-11_0_6_line_69 |  | 64 | 65 | 0.01732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_861-11_0_6_line_70 |  | 65 | 81 | 0.003745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_861-11_0_6_line_71 |  | 66 | 80 | 0.043496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_861-11_0_6_line_72 |  | 67 | 68 | 0.012285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_861-11_0_6_line_73 |  | 68 | 69 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_861-11_0_6_line_74 |  | 70 | 71 | 0.010172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_861-11_0_6_line_75 |  | 70 | 72 | 0.0070249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_861-11_0_6_line_76 |  | 71 | 73 | 0.040366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_861-11_0_6_line_77 |  | 71 | 74 | 0.061956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_861-11_0_6_line_78 |  | 72 | 75 | 0.00071585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_861-11_0_6_line_79 |  | 74 | 76 | 0.015541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_861-11_0_6_line_80 |  | 75 | 84 | 0.025028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_861-11_0_6_line_81 |  | 76 | 77 | 0.002947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_861-11_0_6_line_82 |  | 78 | 79 | 0.0075392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_861-11_0_6_line_83 |  | 80 | 87 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_861-11_0_6_line_84 |  | 81 | 82 | 0.023773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_861-11_0_6_line_85 |  | 82 | 83 | 0.0032789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_861-11_0_6_line_86 |  | 82 | 84 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_861-11_0_6_line_87 |  | 83 | 93 | 0.0097057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_861-11_0_6_line_88 |  | 85 | 86 | 0.026131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_861-11_0_6_line_89 |  | 88 | 89 | 0.018096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_861-11_0_6_line_90 |  | 89 | 90 | 0.014418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_861-11_0_6_line_91 |  | 90 | 91 | 0.014313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_861-11_0_6_line_92 |  | 91 | 92 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_861-11_0_6_trafo_45 | 0.63 MVA 20/0.4 kV | 94 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2604550.2963 | 1193508.4918 | 2604543.0553 | 1193526.8902 | 2604541.3786 | 1193532.5258
1 | 2604552.6912 | 1193502.4067 | 2604550.2963 | 1193508.4918
2 | 2604539.1539 | 1193546.6088 | 2604539.0042 | 1193542.9957 | 2604539.5103 | 1193538.8049 | 2604541.3786 | 1193532.5258
3 | 2604552.6912 | 1193502.4067 | 2604555.6458 | 1193495.3497 | 2604558.1656 | 1193488.7925
4 | 2604552.6912 | 1193502.4067 | 2604557.2776 | 1193504.1555 | 2604561.4755 | 1193505.7818
5 | 2604542.6902 | 1193566.6553 | 2604541.247 | 1193560.2731 | 2604540.0926 | 1193555.0806 | 2604539.1539 | 1193546.6088
6 | 2604517.7238 | 1193536.7654 | 2604534.7566 | 1193546.6722 | 2604539.1539 | 1193546.6088
7 | 2604566.2261 | 1193461.5287 | 2604562.443 | 1193475.8778 | 2604562.0688 | 1193476.9448 | 2604558.7154 | 1193487.3589 | 2604558.1656 | 1193488.7925
8 | 2604558.1656 | 1193488.7925 | 2604538.9665 | 1193481.6857
9 | 2604561.4755 | 1193505.7818 | 2604553.3829 | 1193524.7757
10 | 2604542.6902 | 1193566.6553 | 2604546.5531 | 1193588.114
11 | 2604542.6902 | 1193566.6553 | 2604546.4949 | 1193564.0679 | 2604545.8109 | 1193561.5994 | 2604544.822 | 1193559.1863 | 2604549.342 | 1193558.0447
12 | 2604542.6902 | 1193566.6553 | 2604536.8547 | 1193570.9359
13 | 2604517.7238 | 1193536.7654 | 2604512.7034 | 1193541.3014
14 | 2604517.7238 | 1193536.7654 | 2604508.8504 | 1193531.6069
15 | 2604566.2261 | 1193461.5287 | 2604566.9743 | 1193458.1468
16 | 2604567.1413 | 1193438.2962 | 2604566.1001 | 1193446.6874 | 2604568.4514 | 1193451.4695 | 2604566.9743 | 1193458.1468
17 | 2604546.5531 | 1193588.114 | 2604539.176 | 1193592.3676
18 | 2604548.9963 | 1193592.3069 | 2604546.5531 | 1193588.114
19 | 2604549.342 | 1193558.0447 | 2604551.1984 | 1193562.1371 | 2604553.0986 | 1193565.0907
20 | 2604553.0986 | 1193565.0907 | 2604554.8083 | 1193567.7481
21 | 2604548.9963 | 1193592.3069 | 2604551.3869 | 1193595.4326 | 2604561.2218 | 1193600.1202 | 2604566.48 | 1193604.9699
22 | 2604566.48 | 1193604.9699 | 2604573.7797 | 1193611.7024 | 2604581.8936 | 1193622.6066
23 | 2604716.8847 | 1193451.5608 | 2604715.4325 | 1193447.1462
24 | 2604715.4325 | 1193447.1462 | 2604702.575 | 1193455.4483
25 | 2604716.8847 | 1193451.5608 | 2604725.8654 | 1193476.2
26 | 2604716.8847 | 1193451.5608 | 2604733.534 | 1193445.929
27 | 2604688.6351 | 1193464.309 | 2604698.4597 | 1193458.1055 | 2604702.575 | 1193455.4483
28 | 2604892.3962 | 1193440.883 | 2604891.5782 | 1193444.1174 | 2604889.5863 | 1193447.6398 | 2604887.3583 | 1193450.9954 | 2604883.6742 | 1193454.8389
29 | 2604892.3962 | 1193440.883 | 2604891.6141 | 1193437.4361 | 2604883.4133 | 1193424.0509
30 | 2604883.6742 | 1193454.8389 | 2604880.5676 | 1193456.3716
31 | 2604880.5676 | 1193456.3716 | 2604863.6657 | 1193464.7103
32 | 2604711.0794 | 1193566.9282 | 2604675.2369 | 1193594.4487
33 | 2604711.0794 | 1193566.9282 | 2604721.8004 | 1193559.0281
34 | 2604706.5645 | 1193581.0544 | 2604704.8829 | 1193577.7958 | 2604714.0484 | 1193570.9326 | 2604711.0794 | 1193566.9282
35 | 2604711.0794 | 1193566.9282 | 2604702.0251 | 1193555.1827
36 | 2604643.4175 | 1193618.8803 | 2604675.2369 | 1193594.4487
37 | 2604721.8004 | 1193559.0281 | 2604733.5199 | 1193550.3923
38 | 2604706.5645 | 1193581.0544 | 2604699.7402 | 1193585.9072 | 2604685.5769 | 1193597.1747
39 | 2604706.5645 | 1193581.0544 | 2604716.8226 | 1193600.9019
40 | 2604706.5645 | 1193581.0544 | 2604721.812 | 1193570.429
41 | 2604702.0251 | 1193555.1827 | 2604699.9742 | 1193552.5222
42 | 2604598.362 | 1193644.7384 | 2604603.4635 | 1193640.4733 | 2604608.4525 | 1193633.8403
43 | 2604598.362 | 1193644.7384 | 2604592.4477 | 1193636.7902
44 | 2604608.4525 | 1193633.8403 | 2604606.1899 | 1193632.9159 | 2604601.986 | 1193629.2218 | 2604601.0158 | 1193627.9569
45 | 2604608.4525 | 1193633.8403 | 2604610.8224 | 1193634.0088 | 2604619.319 | 1193634.6823 | 2604623.7014 | 1193634.0186 | 2604641.0346 | 1193620.7099
46 | 2604592.4477 | 1193636.7902 | 2604581.8936 | 1193622.6066
47 | 2604739.2164 | 1193546.1947 | 2604742.1319 | 1193550.2658 | 2604745.5956 | 1193555.1155
48 | 2604745.5956 | 1193555.1155 | 2604750.2339 | 1193551.6658
49 | 2604739.2164 | 1193546.1947 | 2604733.5199 | 1193550.3923
50 | 2604739.2164 | 1193546.1947 | 2604742.0746 | 1193544.0553
51 | 2604750.2339 | 1193551.6658 | 2604777.1713 | 1193531.6314
52 | 2604641.0346 | 1193620.7099 | 2604643.4175 | 1193618.8803
53 | 2604748.7709 | 1193539.0429 | 2604742.0746 | 1193544.0553
54 | 2604685.5769 | 1193597.1747 | 2604669.4774 | 1193609.9826
55 | 2604748.7709 | 1193539.0429 | 2604775.8311 | 1193519.1891
56 | 2604748.7709 | 1193539.0429 | 2604743.1809 | 1193523.7065
57 | 2604788.8888 | 1193510.0731 | 2604776.9843 | 1193518.343 | 2604775.8311 | 1193519.1891
58 | 2604490.9176 | 1193521.1818 | 2604508.8504 | 1193531.6069
59 | 2604562.6122 | 1193579.3414 | 2604560.8656 | 1193577.1634 | 2604554.8083 | 1193567.7481
60 | 2604803.3296 | 1193422.0575 | 2604825.4052 | 1193407.9794
61 | 2604803.3296 | 1193422.0575 | 2604798.3735 | 1193425.2219 | 2604797.5983 | 1193425.569
62 | 2604725.8654 | 1193476.2 | 2604730.7121 | 1193489.4975
63 | 2604746.3627 | 1193441.5896 | 2604733.534 | 1193445.929
64 | 2604688.6351 | 1193464.309 | 2604683.0732 | 1193467.821 | 2604678.9527 | 1193474.4991 | 2604678.4441 | 1193481.7803 | 2604678.639 | 1193485.5852
65 | 2604777.1713 | 1193531.6314 | 2604811.2496 | 1193506.2859 | 2604823.1293 | 1193498.28 | 2604829.2227 | 1193494.4721
66 | 2604849.6226 | 1193471.6386 | 2604863.6657 | 1193464.7103
67 | 2604693.158 | 1193543.6799 | 2604699.9742 | 1193552.5222
68 | 2604669.4774 | 1193609.9826 | 2604653.9799 | 1193622.3116
69 | 2604662.2685 | 1193477.1321 | 2604647.4687 | 1193486.1286
70 | 2604662.2685 | 1193477.1321 | 2604664.2684 | 1193480.2984
71 | 2604788.8888 | 1193510.0731 | 2604810.1686 | 1193495.2904 | 2604825.0843 | 1193485.9745
72 | 2604562.6122 | 1193579.3414 | 2604570.298 | 1193588.9252
73 | 2604582.1036 | 1193603.6464 | 2604570.298 | 1193588.9252
74 | 2604693.158 | 1193543.6799 | 2604689.0867 | 1193545.9779 | 2604686.3623 | 1193550.7672
75 | 2604693.158 | 1193543.6799 | 2604689.8175 | 1193537.5001
76 | 2604686.3623 | 1193550.7672 | 2604684.4525 | 1193556.7133 | 2604682.6668 | 1193559.9025 | 2604679.6 | 1193564.158 | 2604660.2783 | 1193580.3663
77 | 2604686.3623 | 1193550.7672 | 2604675.4186 | 1193541.1537 | 2604657.942 | 1193543.7861 | 2604641.8881 | 1193549.5769 | 2604629.4221 | 1193547.4329
78 | 2604689.4771 | 1193536.8703 | 2604689.8175 | 1193537.5001
79 | 2604629.4221 | 1193547.4329 | 2604629.4221 | 1193547.4329 | 2604618.9504 | 1193535.9493
80 | 2604681.1343 | 1193513.419 | 2604681.1404 | 1193513.4658 | 2604685.7154 | 1193529.9113 | 2604689.4771 | 1193536.8703
81 | 2604616.9648 | 1193533.7718 | 2604618.9504 | 1193535.9493
82 | 2604730.7121 | 1193489.4975 | 2604733.2939 | 1193496.5808
83 | 2604849.6226 | 1193471.6386 | 2604842.0779 | 1193475.3608 | 2604825.0843 | 1193485.9745
84 | 2604679.2238 | 1193498.5564 | 2604670.4739 | 1193490.123 | 2604664.2684 | 1193480.2984
85 | 2604679.2238 | 1193498.5564 | 2604679.0999 | 1193495.2798
86 | 2604679.2238 | 1193498.5564 | 2604681.1343 | 1193513.419
87 | 2604679.0999 | 1193495.2798 | 2604678.9997 | 1193492.6309 | 2604678.639 | 1193485.5852
88 | 2604492.964 | 1193495.1362 | 2604490.9176 | 1193521.1818
89 | 2604746.3627 | 1193441.5896 | 2604747.6248 | 1193445.4149 | 2604760.8877 | 1193440.7257
90 | 2604774.4809 | 1193435.9198 | 2604760.8877 | 1193440.7257
91 | 2604774.4809 | 1193435.9198 | 2604787.5444 | 1193430.0706
92 | 2604787.5444 | 1193430.0706 | 2604797.5983 | 1193425.569

## bus_geodata
| x | y | coords
0 | 2604550.2963 | 1193508.4918
1 | 2604541.3786 | 1193532.5258
2 | 2604552.6912 | 1193502.4067
3 | 2604539.1539 | 1193546.6088
4 | 2604558.1656 | 1193488.7925
5 | 2604561.4755 | 1193505.7818
6 | 2604542.6902 | 1193566.6553
7 | 2604517.7238 | 1193536.7654
8 | 2604566.2261 | 1193461.5287
9 | 2604538.9665 | 1193481.6857
10 | 2604566.9743 | 1193458.1468
11 | 2604553.3829 | 1193524.7757
12 | 2604546.5531 | 1193588.114
13 | 2604549.342 | 1193558.0447
14 | 2604536.8547 | 1193570.9359
15 | 2604553.0986 | 1193565.0907
16 | 2604548.9963 | 1193592.3069
17 | 2604566.48 | 1193604.9699
18 | 2604715.4325 | 1193447.1462
19 | 2604716.8847 | 1193451.5608
20 | 2604702.575 | 1193455.4483
21 | 2604892.3962 | 1193440.883
22 | 2604883.6742 | 1193454.8389
23 | 2604883.4133 | 1193424.0509
24 | 2604880.5676 | 1193456.3716
25 | 2604711.0794 | 1193566.9282
26 | 2604675.2369 | 1193594.4487
27 | 2604721.8004 | 1193559.0281
28 | 2604706.5645 | 1193581.0544
29 | 2604702.0251 | 1193555.1827
30 | 2604598.362 | 1193644.7384
31 | 2604608.4525 | 1193633.8403
32 | 2604592.4477 | 1193636.7902
33 | 2604745.5956 | 1193555.1155
34 | 2604739.2164 | 1193546.1947
35 | 2604750.2339 | 1193551.6658
36 | 2604601.0158 | 1193627.9569
37 | 2604641.0346 | 1193620.7099
38 | 2604733.5199 | 1193550.3923
39 | 2604742.0746 | 1193544.0553
40 | 2604685.5769 | 1193597.1747
41 | 2604716.8226 | 1193600.9019
42 | 2604721.812 | 1193570.429
43 | 2604748.7709 | 1193539.0429
44 | 2604775.8311 | 1193519.1891
45 | 2604743.1809 | 1193523.7065
46 | 2604512.7034 | 1193541.3014
47 | 2604508.8504 | 1193531.6069
48 | 2604567.1413 | 1193438.2962
49 | 2604539.176 | 1193592.3676
50 | 2604554.8083 | 1193567.7481
51 | 2604581.8936 | 1193622.6066
52 | 2604825.4052 | 1193407.9794
53 | 2604803.3296 | 1193422.0575
54 | 2604725.8654 | 1193476.2
55 | 2604733.534 | 1193445.929
56 | 2604688.6351 | 1193464.309
57 | 2604829.2227 | 1193494.4721
58 | 2604777.1713 | 1193531.6314
59 | 2604863.6657 | 1193464.7103
60 | 2604643.4175 | 1193618.8803
61 | 2604699.9742 | 1193552.5222
62 | 2604669.4774 | 1193609.9826
63 | 2604653.9799 | 1193622.3116
64 | 2604647.4687 | 1193486.1285
65 | 2604662.2685 | 1193477.1321
66 | 2604788.8888 | 1193510.0731
67 | 2604562.6122 | 1193579.3414
68 | 2604570.298 | 1193588.9252
69 | 2604582.1036 | 1193603.6464
70 | 2604693.158 | 1193543.6799
71 | 2604686.3623 | 1193550.7672
72 | 2604689.8175 | 1193537.5001
73 | 2604660.2783 | 1193580.3663
74 | 2604629.4221 | 1193547.4329
75 | 2604689.4771 | 1193536.8703
76 | 2604618.9504 | 1193535.9493
77 | 2604616.9648 | 1193533.7718
78 | 2604733.2939 | 1193496.5808
79 | 2604730.7121 | 1193489.4975
80 | 2604825.0843 | 1193485.9745
81 | 2604664.2684 | 1193480.2984
82 | 2604679.2238 | 1193498.5564
83 | 2604679.0999 | 1193495.2798
84 | 2604681.1344 | 1193513.419
85 | 2604490.9176 | 1193521.1818
86 | 2604492.964 | 1193495.1362
87 | 2604849.6226 | 1193471.6386
88 | 2604746.3627 | 1193441.5896
89 | 2604760.8877 | 1193440.7257
90 | 2604774.4809 | 1193435.9198
91 | 2604787.5444 | 1193430.0706
92 | 2604797.5983 | 1193425.569
93 | 2604678.639 | 1193485.5852
94 | 2604693.158 | 1193543.6799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1