## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_861-18_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_861-18_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_861-18_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_861-18_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_861-18_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_861-18_0_8_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_861-18_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_861-18_0_8_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_861-18_0_8_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_861-18_0_8_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_861-18_0_8_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_861-18_0_8_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_861-18_0_8_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_861-18_0_8_node_103 | 0.4 | n |  | TRUE
14 | bus_LV_861-18_0_8_node_99 | 0.4 | n |  | TRUE
15 | bus_LV_861-18_0_8_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_861-18_0_8_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_861-18_0_8_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_861-18_0_8_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_861-18_0_8_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_861-18_0_8_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_861-18_0_8_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_861-18_0_8_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_861-18_0_8_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_861-18_0_8_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_861-18_0_8_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_861-18_0_8_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_861-18_0_8_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_861-18_0_8_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_861-18_0_8_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_861-18_0_8_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_861-18_0_8_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_861-18_0_8_node_10 | 0.4 | n |  | TRUE
33 | bus_LV_861-18_0_8_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_861-18_0_8_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_861-18_0_8_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_861-18_0_8_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_861-18_0_8_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_861-18_0_8_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_861-18_0_8_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_861-18_0_8_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_861-18_0_8_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_861-18_0_8_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_861-18_0_8_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_861-18_0_8_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_861-18_0_8_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_861-18_0_8_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_861-18_0_8_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_861-18_0_8_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_861-18_0_8_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_861-18_0_8_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_861-18_0_8_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_861-18_0_8_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_861-18_0_8_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_861-18_0_8_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_861-18_0_8_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_861-18_0_8_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_861-18_0_8_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_861-18_0_8_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_861-18_0_8_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_861-18_0_8_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_861-18_0_8_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_861-18_0_8_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_861-18_0_8_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_861-18_0_8_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_861-18_0_8_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_861-18_0_8_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_861-18_0_8_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_861-18_0_8_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_861-18_0_8_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_861-18_0_8_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_861-18_0_8_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_861-18_0_8_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_861-18_0_8_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_861-18_0_8_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_861-18_0_8_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_861-18_0_8_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_861-18_0_8_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_861-18_0_8_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_861-18_0_8_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_861-18_0_8_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_861-18_0_8_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_861-18_0_8_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_861-18_0_8_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_861-18_0_8_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_861-18_0_8_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_861-18_0_8_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_861-18_0_8_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_861-18_0_8_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_861-18_0_8_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_861-18_0_8_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_861-18_0_8_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_861-18_0_8_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_861-18_0_8_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_861-18_0_8_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_861-18_0_8_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_861-18_0_8_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_861-18_0_8_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_861-18_0_8_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_861-18_0_8_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_861-18_0_8_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_861-18_0_8_node_95 | 0.4 | n |  | TRUE
102 | bus_MV_121_0_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_861-18_0_8_load_0 | 0 | 0.010303 | 0.0025822 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_861-18_0_8_load_1 | 1 | 0.010742 | 0.0026922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_861-18_0_8_load_3 | 3 | 0.0038509 | 0.00096513 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_861-18_0_8_load_4 | 4 | 0.0009547 | 0.00023927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_861-18_0_8_load_17 | 5 | 0.0020236 | 0.00050716 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_861-18_0_8_load_45 | 9 | 0.0018855 | 0.00047255 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_861-18_0_8_load_65 | 11 | 0.0082285 | 0.0020623 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_861-18_0_8_load_64 | 12 | 0.00051629 | 0.0001294 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_861-18_0_8_load_103 | 13 | 0.0049952 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_861-18_0_8_load_99 | 14 | 0.0056772 | 0.0014228 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_861-18_0_8_load_16 | 15 | 0.0029308 | 0.00073454 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_861-18_0_8_load_44 | 16 | 0.0064137 | 0.0016074 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_861-18_0_8_load_63 | 17 | 0.0038864 | 0.00097402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_861-18_0_8_load_74 | 20 | 0.0020434 | 0.00051213 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_861-18_0_8_load_25 | 23 | 0.0019898 | 0.0004987 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_861-18_0_8_load_35 | 26 | 0.021934 | 0.0054971 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_861-18_0_8_load_66 | 30 | 0.017701 | 0.0044363 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_861-18_0_8_load_70 | 31 | 0.017734 | 0.0044446 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_861-18_0_8_load_10 | 32 | 0.0057278 | 0.0014355 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_861-18_0_8_load_11 | 33 | 0.0057449 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_861-18_0_8_load_13 | 35 | 0.010967 | 0.0027485 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_861-18_0_8_load_14 | 36 | 0.0066131 | 0.0016574 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_861-18_0_8_load_15 | 37 | 0.012757 | 0.0031972 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_861-18_0_8_load_46 | 38 | 0.0086612 | 0.0021707 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_861-18_0_8_load_41 | 40 | 0.0073328 | 0.0018378 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_861-18_0_8_load_40 | 41 | 0.0039259 | 0.00098392 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_861-18_0_8_load_42 | 43 | 0.0054077 | 0.0013553 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_861-18_0_8_load_19 | 45 | 0.0056217 | 0.0014089 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_861-18_0_8_load_20 | 46 | 0.0018155 | 0.00045501 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_861-18_0_8_load_21 | 47 | 0.0061233 | 0.0015347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_861-18_0_8_load_22 | 48 | 0.0085254 | 0.0021367 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_861-18_0_8_load_23 | 49 | 0.0055445 | 0.0013896 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_861-18_0_8_load_43 | 50 | 0.0047512 | 0.0011908 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_861-18_0_8_load_37 | 51 | 0.00379 | 0.00094986 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_861-18_0_8_load_100 | 54 | 0.0081362 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_861-18_0_8_load_57 | 56 | 0.0019045 | 0.00047732 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_861-18_0_8_load_36 | 57 | 0.010534 | 0.00264 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_861-18_0_8_load_68 | 60 | 0.012267 | 0.0030744 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_861-18_0_8_load_102 | 62 | 0.008591 | 0.0021531 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_861-18_0_8_load_67 | 63 | 0.0058552 | 0.0014674 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_861-18_0_8_load_52 | 64 | 0.0093218 | 0.0023363 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_861-18_0_8_load_60 | 66 | 0.013403 | 0.0033591 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_861-18_0_8_load_61 | 67 | 0.012625 | 0.0031641 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_861-18_0_8_load_47 | 68 | 0.011542 | 0.0028927 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_861-18_0_8_load_48 | 69 | 0.012929 | 0.0032402 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_861-18_0_8_load_49 | 70 | 0.001865 | 0.00046742 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_861-18_0_8_load_50 | 71 | 0.0039338 | 0.0009859 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_861-18_0_8_load_51 | 72 | 0.0021663 | 0.00054292 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_861-18_0_8_load_59 | 73 | 0.0095181 | 0.0023855 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_861-18_0_8_load_54 | 74 | 0.0093119 | 0.0023338 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_861-18_0_8_load_104 | 76 | 0.010422 | 0.0026121 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_861-18_0_8_load_88 | 78 | 0.0066607 | 0.0016693 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_861-18_0_8_load_84 | 79 | 0.007165 | 0.0017957 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_861-18_0_8_load_72 | 80 | 0.0053043 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_861-18_0_8_load_73 | 81 | 0.0093816 | 0.0023512 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_861-18_0_8_load_83 | 85 | 0.0044107 | 0.0011054 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_861-18_0_8_load_81 | 86 | 0.0027582 | 0.00069127 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_861-18_0_8_load_77 | 87 | 0.013486 | 0.00338 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_861-18_0_8_load_101 | 88 | 0.0064008 | 0.0016042 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_861-18_0_8_load_78 | 89 | 0.0031082 | 0.000779 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_861-18_0_8_load_80 | 90 | 0.010926 | 0.0027383 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_861-18_0_8_load_91 | 91 | 0.0020217 | 0.00050668 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_861-18_0_8_load_90 | 92 | 0.0030664 | 0.00076852 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_861-18_0_8_load_85 | 93 | 0.0067623 | 0.0016948 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_861-18_0_8_load_87 | 94 | 0.0052722 | 0.0013213 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_861-18_0_8_load_89 | 95 | 0.0023392 | 0.00058627 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_861-18_0_8_load_94 | 97 | 0.001814 | 0.00045462 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_861-18_0_8_load_92 | 99 | 0.0036692 | 0.00091958 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_861-18_0_8_load_93 | 100 | 0.0040244 | 0.0010086 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_861-18_0_8_load_95 | 101 | 0.0038084 | 0.00095447 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_861-18_0_8_line_0 |  | 0 | 1 | 0.028396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_861-18_0_8_line_1 |  | 0 | 2 | 0.11151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_861-18_0_8_line_2 |  | 1 | 3 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_861-18_0_8_line_3 |  | 2 | 4 | 0.012953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_861-18_0_8_line_4 |  | 3 | 5 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_861-18_0_8_line_5 |  | 5 | 15 | 0.002188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_861-18_0_8_line_6 |  | 6 | 7 | 0.14374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_861-18_0_8_line_7 |  | 6 | 8 | 0.046468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_861-18_0_8_line_8 |  | 6 | 9 | 0.062815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_861-18_0_8_line_9 |  | 7 | 13 | 0.046652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_861-18_0_8_line_10 |  | 8 | 14 | 0.027465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_861-18_0_8_line_11 |  | 8 | 10 | 0.013368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_861-18_0_8_line_12 |  | 9 | 16 | 0.085803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_861-18_0_8_line_13 |  | 10 | 11 | 0.009316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_861-18_0_8_line_14 |  | 10 | 12 | 0.01553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_861-18_0_8_line_15 |  | 12 | 17 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_861-18_0_8_line_16 |  | 15 | 44 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_861-18_0_8_line_17 |  | 16 | 22 | 0.061021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_861-18_0_8_line_18 |  | 17 | 29 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_861-18_0_8_line_19 |  | 18 | 19 | 0.20809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_861-18_0_8_line_20 |  | 18 | 20 | 0.07723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_861-18_0_8_line_21 |  | 19 | 88 | 0.074797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_861-18_0_8_line_22 |  | 20 | 80 | 0.0097232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_861-18_0_8_line_23 |  | 21 | 22 | 0.033845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_861-18_0_8_line_24 |  | 21 | 23 | 0.045516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_861-18_0_8_line_25 |  | 23 | 49 | 0.0070205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_861-18_0_8_line_26 |  | 24 | 25 | 0.099092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_861-18_0_8_line_27 |  | 24 | 26 | 0.043611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_861-18_0_8_line_28 |  | 25 | 55 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_861-18_0_8_line_29 |  | 25 | 56 | 0.015758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_861-18_0_8_line_30 |  | 26 | 57 | 0.0095191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_861-18_0_8_line_31 |  | 27 | 28 | 0.056302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_861-18_0_8_line_32 |  | 27 | 29 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_861-18_0_8_line_33 |  | 27 | 30 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_861-18_0_8_line_34 |  | 28 | 31 | 0.018727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_861-18_0_8_line_35 |  | 30 | 63 | 0.0088254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_861-18_0_8_line_36 |  | 31 | 58 | 0.0095302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_861-18_0_8_line_37 |  | 32 | 33 | 0.0056367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_861-18_0_8_line_38 |  | 32 | 34 | 0.043703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_861-18_0_8_line_39 |  | 33 | 35 | 0.002897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_861-18_0_8_line_40 |  | 34 | 36 | 0.018385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_861-18_0_8_line_41 |  | 34 | 37 | 0.00025783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_861-18_0_8_line_42 |  | 35 | 38 | 0.01015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_861-18_0_8_line_43 |  | 36 | 39 | 0.0067176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_861-18_0_8_line_44 |  | 37 | 40 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_861-18_0_8_line_45 |  | 39 | 41 | 0.0097426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_861-18_0_8_line_46 |  | 39 | 42 | 0.028216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_861-18_0_8_line_47 |  | 40 | 43 | 0.00027093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_861-18_0_8_line_48 |  | 41 | 66 | 0.036374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_861-18_0_8_line_49 |  | 42 | 50 | 0.0049949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_861-18_0_8_line_50 |  | 42 | 48 | 0.016616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_861-18_0_8_line_51 |  | 43 | 45 | 0.017571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_861-18_0_8_line_52 |  | 44 | 45 | 0.050328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_861-18_0_8_line_53 |  | 46 | 47 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_861-18_0_8_line_54 |  | 46 | 48 | 0.0091581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_861-18_0_8_line_55 |  | 47 | 49 | 0.016806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_861-18_0_8_line_56 |  | 50 | 51 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_861-18_0_8_line_57 |  | 51 | 57 | 0.03446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_861-18_0_8_line_58 |  | 52 | 53 | 0.060386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_861-18_0_8_line_59 |  | 52 | 54 | 0.081418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_861-18_0_8_line_60 |  | 53 | 64 | 0.062776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_861-18_0_8_line_61 |  | 54 | 55 | 0.0090863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_861-18_0_8_line_62 |  | 56 | 65 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_861-18_0_8_line_63 |  | 58 | 59 | 0.041246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_861-18_0_8_line_64 |  | 58 | 60 | 0.019987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_861-18_0_8_line_65 |  | 59 | 61 | 0.03134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_861-18_0_8_line_66 |  | 59 | 62 | 0.0094873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_861-18_0_8_line_67 |  | 61 | 78 | 0.015163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_861-18_0_8_line_68 |  | 61 | 79 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_861-18_0_8_line_69 |  | 64 | 74 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_861-18_0_8_line_70 |  | 65 | 73 | 0.0016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_861-18_0_8_line_71 |  | 65 | 72 | 0.012166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_861-18_0_8_line_72 |  | 66 | 67 | 0.014919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_861-18_0_8_line_73 |  | 67 | 77 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_861-18_0_8_line_74 |  | 68 | 69 | 6.3553e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_861-18_0_8_line_75 |  | 68 | 70 | 0.014067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_861-18_0_8_line_76 |  | 69 | 71 | 0.07267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_861-18_0_8_line_77 |  | 70 | 72 | 8.8771e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_861-18_0_8_line_78 |  | 75 | 76 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_861-18_0_8_line_79 |  | 75 | 77 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_861-18_0_8_line_80 |  | 78 | 96 | 0.11898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_861-18_0_8_line_81 |  | 79 | 93 | 0.058591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_861-18_0_8_line_82 |  | 80 | 81 | 0.011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_861-18_0_8_line_83 |  | 81 | 82 | 0.053311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_861-18_0_8_line_84 |  | 82 | 83 | 0.15732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_861-18_0_8_line_85 |  | 82 | 84 | 0.009765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_861-18_0_8_line_86 |  | 83 | 85 | 0.027645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_861-18_0_8_line_87 |  | 84 | 86 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_861-18_0_8_line_88 |  | 84 | 87 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_861-18_0_8_line_89 |  | 86 | 91 | 0.024822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_861-18_0_8_line_90 |  | 87 | 89 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_861-18_0_8_line_91 |  | 89 | 90 | 0.0061535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_861-18_0_8_line_92 |  | 91 | 92 | 0.033955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_861-18_0_8_line_93 |  | 92 | 99 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_861-18_0_8_line_94 |  | 93 | 94 | 0.0057372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_861-18_0_8_line_95 |  | 94 | 95 | 0.011336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_861-18_0_8_line_96 |  | 95 | 97 | 0.0078846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_861-18_0_8_line_97 |  | 96 | 98 | 0.0373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_861-18_0_8_line_98 |  | 98 | 101 | 0.072448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_861-18_0_8_line_99 |  | 99 | 100 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_861-18_0_8_line_100 |  | 100 | 101 | 0.016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_861-18_0_8_trafo_30 | 0.63 MVA 20/0.4 kV | 102 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604167.473 | 1194117.3617 | 2604187.7704 | 1194137.2199
1 | 2604088.7064 | 1194038.4264 | 2604156.9137 | 1194107.031 | 2604167.473 | 1194117.3617
2 | 2604187.7704 | 1194137.2199 | 2604203.763 | 1194152.8665
3 | 2604088.7064 | 1194038.4264 | 2604079.6483 | 1194047.6859
4 | 2604214.2983 | 1194163.1737 | 2604203.763 | 1194152.8665
5 | 2604215.8623 | 1194164.7038 | 2604214.2983 | 1194163.1737
6 | 2603993.268 | 1194008.1137 | 2603997.7245 | 1194010.1732 | 2604021.0849 | 1193980.5285 | 2604027.3689 | 1193973.1621 | 2604036.1502 | 1193980.5274 | 2604044.5701 | 1193992.7061 | 2604050.8003 | 1193997.5683 | 2604061.9035 | 1193985.3804 | 2604091.7098 | 1193957.5968
7 | 2604115.0342 | 1193925.8736 | 2604112.2893 | 1193928.2397 | 2604115.2657 | 1193932.8552 | 2604116.1703 | 1193936.202 | 2604115.9322 | 1193938.8588 | 2604114.4445 | 1193941.437 | 2604111.9134 | 1193943.1473 | 2604104.756 | 1193945.9439 | 2604101.1497 | 1193948.8208 | 2604091.7098 | 1193957.5968
8 | 2604091.7098 | 1193957.5968 | 2604132.7363 | 1194005.1627
9 | 2603993.268 | 1194008.1137 | 2604021.5484 | 1193970.9571
10 | 2604115.0342 | 1193925.8736 | 2604121.9104 | 1193933.1488 | 2604136.5425 | 1193923.632
11 | 2604115.0342 | 1193925.8736 | 2604112.2893 | 1193928.2397 | 2604106.0914 | 1193920.7204
12 | 2604189.6277 | 1194054.7087 | 2604181.771 | 1194062.0132 | 2604132.7363 | 1194005.1627
13 | 2604106.0914 | 1193920.7204 | 2604100.16 | 1193913.5237
14 | 2604106.0914 | 1193920.7204 | 2604109.027 | 1193918.1432 | 2604118.861 | 1193911.9465
15 | 2604138.4903 | 1193899.5774 | 2604118.861 | 1193911.9465
16 | 2604225.8441 | 1194174.4697 | 2604215.8623 | 1194164.7038
17 | 2604233.3029 | 1194012.1114 | 2604208.0699 | 1194037.5628 | 2604189.6277 | 1194054.7087
18 | 2604153.4728 | 1193890.1364 | 2604138.4903 | 1193899.5774
19 | 2603835.5756 | 1193740.5601 | 2603833.5107 | 1193752.1649 | 2603828.1504 | 1193769.1482 | 2603824.7304 | 1193803.0084 | 2603824.2593 | 1193825.0864 | 2603826.95 | 1193836.105 | 2603830.6709 | 1193844.9009 | 2603838.887 | 1193854.9669 | 2603853.3485 | 1193870.273 | 2603875.5655 | 1193888.7524 | 2603897.8953 | 1193909.3775 | 2603902.9289 | 1193902.9774
20 | 2603902.9289 | 1193902.9774 | 2603908.9077 | 1193896.0553 | 2603930.695 | 1193871.512 | 2603955.0101 | 1193845.9699
21 | 2603835.5756 | 1193740.5601 | 2603845.3536 | 1193727.1814 | 2603863.0491 | 1193702.4907 | 2603871.7664 | 1193679.573 | 2603872.8971 | 1193676.4413
22 | 2603961.7142 | 1193838.9276 | 2603955.0101 | 1193845.9699
23 | 2604233.3029 | 1194012.1114 | 2604237.7718 | 1194007.1452 | 2604259.3639 | 1193990.6627
24 | 2604259.3639 | 1193990.6627 | 2604287.3485 | 1194026.5599
25 | 2604287.3485 | 1194026.5599 | 2604291.6649 | 1194032.0967
26 | 2604440.0279 | 1194070.334 | 2604432.9484 | 1194060.368 | 2604423.3345 | 1194046.1313 | 2604413.6375 | 1194030.8384 | 2604400.3339 | 1194008.0612 | 2604388.6682 | 1193985.652
27 | 2604388.6682 | 1193985.652 | 2604374.7857 | 1193993.913 | 2604366.9014 | 1194000.9222 | 2604360.4186 | 1194008.6994 | 2604356.9469 | 1194014.5263
28 | 2604440.0279 | 1194070.334 | 2604446.9943 | 1194078.6324
29 | 2604440.0279 | 1194070.334 | 2604427.7992 | 1194080.2727
30 | 2604353.3544 | 1194023.3161 | 2604356.0622 | 1194016.0112 | 2604356.9469 | 1194014.5263
31 | 2604195.451 | 1193849.5994 | 2604196.0603 | 1193850.0667 | 2604194.2916 | 1193851.2106 | 2604149.3874 | 1193880.1617
32 | 2604153.4728 | 1193890.1364 | 2604147.6721 | 1193881.25 | 2604149.3874 | 1193880.1617
33 | 2604149.3874 | 1193880.1617 | 2604139.4596 | 1193866.6812 | 2604138.3363 | 1193865.156
34 | 2604195.451 | 1193849.5994 | 2604186.6126 | 1193836.731 | 2604184.9961 | 1193834.0677
35 | 2604133.1024 | 1193858.0501 | 2604138.3363 | 1193865.156
36 | 2604180.0511 | 1193825.9207 | 2604184.9961 | 1193834.0677
37 | 2604260.9292 | 1194083.4714 | 2604257.1689 | 1194079.2723
38 | 2604290.0841 | 1194116.0282 | 2604260.9292 | 1194083.4714
39 | 2604257.1689 | 1194079.2723 | 2604255.2363 | 1194077.1141
40 | 2604290.0841 | 1194116.0282 | 2604303.5765 | 1194103.5398
41 | 2604289.899 | 1194116.2077 | 2604290.0841 | 1194116.0282
42 | 2604248.4654 | 1194069.5532 | 2604255.2363 | 1194077.1141
43 | 2604308.5064 | 1194098.9767 | 2604303.5765 | 1194103.5398
44 | 2604276.6092 | 1194128.9741 | 2604278.0133 | 1194127.7259 | 2604289.899 | 1194116.2077
45 | 2604308.5064 | 1194098.9767 | 2604314.6027 | 1194106.5763
46 | 2604308.5064 | 1194098.9767 | 2604327.503 | 1194078.068
47 | 2604276.4067 | 1194129.1541 | 2604276.6092 | 1194128.9741
48 | 2604314.6027 | 1194106.5763 | 2604324.327 | 1194118.6983 | 2604330.6482 | 1194123.5387 | 2604342.9902 | 1194127.1939
49 | 2604327.503 | 1194078.068 | 2604330.7895 | 1194074.3066
50 | 2604327.503 | 1194078.068 | 2604317.2874 | 1194064.964
51 | 2604263.2747 | 1194140.8282 | 2604276.4067 | 1194129.1541
52 | 2604225.8441 | 1194174.4697 | 2604241.864 | 1194159.862 | 2604263.2747 | 1194140.8282
53 | 2604311.6568 | 1194057.7414 | 2604301.9973 | 1194045.3506
54 | 2604317.2874 | 1194064.964 | 2604311.6568 | 1194057.7414
55 | 2604301.9973 | 1194045.3506 | 2604291.6649 | 1194032.0967
56 | 2604342.1571 | 1194055.9035 | 2604339.7293 | 1194062.4685 | 2604336.22 | 1194068.0912 | 2604330.7895 | 1194074.3066
57 | 2604342.1571 | 1194055.9035 | 2604344.2339 | 1194050.2875 | 2604353.2525 | 1194023.591 | 2604353.3544 | 1194023.3161
58 | 2604513.9763 | 1194139.0025 | 2604497.0461 | 1194167.6384 | 2604482.2921 | 1194190.4396
59 | 2604513.9763 | 1194139.0025 | 2604486.1019 | 1194118.5266 | 2604465.3895 | 1194099.1122 | 2604453.066 | 1194085.3922
60 | 2604482.2921 | 1194190.4396 | 2604449.4215 | 1194156.2974 | 2604460.0007 | 1194145.1304
61 | 2604446.9943 | 1194078.6324 | 2604453.066 | 1194085.3922
62 | 2604410.6043 | 1194094.2474 | 2604427.7992 | 1194080.2727
63 | 2604154.6874 | 1193796.5657 | 2604161.589 | 1193800.2723 | 2604161.8823 | 1193806.02 | 2604170.2235 | 1193810.7727 | 2604180.0511 | 1193825.9207
64 | 2604180.0511 | 1193825.9207 | 2604196.8077 | 1193815.0264
65 | 2604141.753 | 1193777.6691 | 2604144.0155 | 1193778.8046 | 2604139.017 | 1193789.2178 | 2604154.6874 | 1193796.5657
66 | 2604154.6874 | 1193796.5657 | 2604158.9461 | 1193788.0878
67 | 2604141.753 | 1193777.6691 | 2604148.6866 | 1193764.1839
68 | 2604141.753 | 1193777.6691 | 2604135.7325 | 1193789.3601 | 2604131.7342 | 1193793.2613
69 | 2604470.6599 | 1194133.8789 | 2604460.0007 | 1194145.1304
70 | 2604410.6043 | 1194094.2474 | 2604409.3103 | 1194095.3135
71 | 2604410.6043 | 1194094.2474 | 2604402.8443 | 1194084.8781
72 | 2604353.6846 | 1194137.5956 | 2604342.9902 | 1194127.1939 | 2604342.9902 | 1194127.1939
73 | 2604360.8965 | 1194149.6742 | 2604361.9662 | 1194145.6506 | 2604353.6846 | 1194137.5956
74 | 2604393.8146 | 1194073.9758 | 2604393.7741 | 1194073.9268
75 | 2604393.8146 | 1194073.9758 | 2604402.7877 | 1194084.8097
76 | 2604390.8185 | 1194015.347 | 2604395.4549 | 1194021.3202 | 2604375.5213 | 1194051.8886 | 2604393.7741 | 1194073.9268
77 | 2604402.8443 | 1194084.8781 | 2604402.7877 | 1194084.8097
78 | 2604384.795 | 1194146.8676 | 2604371.6024 | 1194160.6543
79 | 2604360.8965 | 1194149.6742 | 2604366.2494 | 1194155.2587 | 2604371.6024 | 1194160.6543
80 | 2604205.4582 | 1193660.0841 | 2604201.0136 | 1193673.6549 | 2604199.9751 | 1193676.6669 | 2604198.2503 | 1193680.3009 | 2604181.4521 | 1193705.8028 | 2604152.6038 | 1193756.5654 | 2604148.6866 | 1193764.1839
81 | 2604131.7342 | 1193793.2613 | 2604108.4635 | 1193815.9667 | 2604099.2254 | 1193818.9621 | 2604091.0802 | 1193817.4225 | 2604085.5593 | 1193811.5267
82 | 2603961.7142 | 1193838.9276 | 2603969.4315 | 1193830.8209
83 | 2604006.1893 | 1193792.2082 | 2603969.4315 | 1193830.8209
84 | 2604006.1893 | 1193792.2082 | 2604035.7571 | 1193757.5206 | 2604045.9471 | 1193744.1092 | 2604053.6439 | 1193732.586 | 2604062.6006 | 1193717.4507 | 2604071.4145 | 1193699.4026 | 2604078.9022 | 1193681.7427 | 2604082.9341 | 1193669.5835 | 2604093.5087 | 1193673.7706
85 | 2604006.1893 | 1193792.2082 | 2604015.7058 | 1193794.5157
86 | 2604093.5087 | 1193673.7706 | 2604090.044 | 1193681.1277 | 2604085.9267 | 1193684.371 | 2604080.6965 | 1193697.6501
87 | 2604015.7058 | 1193794.5157 | 2604031.2625 | 1193781.5123
88 | 2604015.7058 | 1193794.5157 | 2604029.0616 | 1193810.7411
89 | 2604031.2625 | 1193781.5123 | 2604043.3608 | 1193771.3996 | 2604051.4928 | 1193767.4199
90 | 2604029.0616 | 1193810.7411 | 2604036.7367 | 1193820.0653
91 | 2604034.9954 | 1193825.9673 | 2604036.7367 | 1193820.0653
92 | 2604081.9916 | 1193752.4942 | 2604051.4928 | 1193767.4199
93 | 2604081.9916 | 1193752.4942 | 2604097.8276 | 1193744.7442 | 2604097.8276 | 1193744.7442
94 | 2604085.5593 | 1193811.5267 | 2604085.5593 | 1193811.5267 | 2604084.7188 | 1193805.8514
95 | 2604085.0621 | 1193794.8513 | 2604083.6476 | 1193798.6187 | 2604084.7188 | 1193805.8514
96 | 2604089.309 | 1193788.2281 | 2604085.3042 | 1193794.2063 | 2604085.0621 | 1193794.8513
97 | 2604205.4582 | 1193660.0841 | 2604201.4045 | 1193659.4032 | 2604198.8746 | 1193659.1902 | 2604195.8031 | 1193659.6106 | 2604192.5027 | 1193660.6644 | 2604180.8916 | 1193667.5712 | 2604172.3825 | 1193673.9909
98 | 2604172.3825 | 1193673.9909 | 2604168.6998 | 1193676.7676 | 2604140.1289 | 1193711.8666 | 2604122.3019 | 1193725.7222
99 | 2604109.0227 | 1193736.0431 | 2604097.8276 | 1193744.7442
100 | 2604109.0227 | 1193736.0431 | 2604122.3019 | 1193725.7222

## bus_geodata
| x | y | coords
0 | 2604167.473 | 1194117.3617
1 | 2604187.7704 | 1194137.2199
2 | 2604088.7064 | 1194038.4264
3 | 2604203.763 | 1194152.8665
4 | 2604079.6483 | 1194047.6859
5 | 2604214.2983 | 1194163.1737
6 | 2604091.7098 | 1193957.5968
7 | 2603993.268 | 1194008.1137
8 | 2604115.0342 | 1193925.8736
9 | 2604132.7363 | 1194005.1627
10 | 2604106.0914 | 1193920.7204
11 | 2604100.16 | 1193913.5237
12 | 2604118.861 | 1193911.9465
13 | 2604021.5484 | 1193970.9571
14 | 2604136.5425 | 1193923.632
15 | 2604215.8623 | 1194164.7038
16 | 2604189.6277 | 1194054.7087
17 | 2604138.4903 | 1193899.5774
18 | 2603902.9289 | 1193902.9774
19 | 2603835.5756 | 1193740.5601
20 | 2603955.0101 | 1193845.9699
21 | 2604259.3639 | 1193990.6627
22 | 2604233.3029 | 1194012.1114
23 | 2604287.3485 | 1194026.5599
24 | 2604388.6682 | 1193985.652
25 | 2604440.0279 | 1194070.334
26 | 2604356.9469 | 1194014.5263
27 | 2604149.3874 | 1193880.1617
28 | 2604195.451 | 1193849.5994
29 | 2604153.4728 | 1193890.1364
30 | 2604138.3363 | 1193865.156
31 | 2604184.9961 | 1193834.0677
32 | 2604260.9292 | 1194083.4714
33 | 2604257.1689 | 1194079.2723
34 | 2604290.0841 | 1194116.0282
35 | 2604255.2363 | 1194077.1141
36 | 2604303.5765 | 1194103.5398
37 | 2604289.899 | 1194116.2077
38 | 2604248.4654 | 1194069.5532
39 | 2604308.5064 | 1194098.9767
40 | 2604276.6092 | 1194128.9741
41 | 2604314.6027 | 1194106.5763
42 | 2604327.503 | 1194078.068
43 | 2604276.4067 | 1194129.1541
44 | 2604225.8441 | 1194174.4697
45 | 2604263.2747 | 1194140.8282
46 | 2604311.6568 | 1194057.7414
47 | 2604301.9973 | 1194045.3506
48 | 2604317.2874 | 1194064.964
49 | 2604291.6649 | 1194032.0967
50 | 2604330.7895 | 1194074.3066
51 | 2604342.1571 | 1194055.9035
52 | 2604513.9763 | 1194139.0025
53 | 2604482.2921 | 1194190.4396
54 | 2604453.066 | 1194085.3922
55 | 2604446.9943 | 1194078.6324
56 | 2604427.7992 | 1194080.2727
57 | 2604353.3544 | 1194023.3161
58 | 2604180.0511 | 1193825.9207
59 | 2604154.6874 | 1193796.5657
60 | 2604196.8077 | 1193815.0264
61 | 2604141.753 | 1193777.6691
62 | 2604158.9461 | 1193788.0878
63 | 2604133.1024 | 1193858.0501
64 | 2604460.0007 | 1194145.1304
65 | 2604410.6043 | 1194094.2474
66 | 2604342.9902 | 1194127.1939
67 | 2604353.6846 | 1194137.5956
68 | 2604393.8146 | 1194073.9758
69 | 2604393.7741 | 1194073.9268
70 | 2604402.7877 | 1194084.8097
71 | 2604390.8185 | 1194015.347
72 | 2604402.8443 | 1194084.8781
73 | 2604409.3103 | 1194095.3135
74 | 2604470.6599 | 1194133.8789
75 | 2604371.6024 | 1194160.6543
76 | 2604384.795 | 1194146.8676
77 | 2604360.8965 | 1194149.6742
78 | 2604148.6866 | 1193764.1839
79 | 2604131.7342 | 1193793.2613
80 | 2603961.7142 | 1193838.9276
81 | 2603969.4315 | 1193830.8209
82 | 2604006.1893 | 1193792.2082
83 | 2604093.5087 | 1193673.7706
84 | 2604015.7058 | 1193794.5157
85 | 2604080.6965 | 1193697.6501
86 | 2604031.2625 | 1193781.5123
87 | 2604029.0616 | 1193810.7411
88 | 2603872.8971 | 1193676.4413
89 | 2604036.7367 | 1193820.0653
90 | 2604034.9954 | 1193825.9673
91 | 2604051.4928 | 1193767.4199
92 | 2604081.9916 | 1193752.4942
93 | 2604085.5593 | 1193811.5267
94 | 2604084.7188 | 1193805.8514
95 | 2604085.0621 | 1193794.8513
96 | 2604205.4582 | 1193660.0841
97 | 2604089.309 | 1193788.2281
98 | 2604172.3825 | 1193673.9909
99 | 2604097.8276 | 1193744.7442
100 | 2604109.0227 | 1193736.0431
101 | 2604122.3019 | 1193725.7222
102 | 2604237.7718 | 1194007.1452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1