## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_861-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_861-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_861-22_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_861-22_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_861-22_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_861-22_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_861-22_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_861-22_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_861-22_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_861-22_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_861-22_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_861-22_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_861-22_0_3_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_861-22_0_3_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_861-22_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_861-22_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_861-22_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_861-22_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_861-22_0_3_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_861-22_0_3_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_861-22_0_3_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_861-22_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_861-22_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_861-22_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_861-22_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_861-22_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_861-22_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_861-22_0_3_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_861-22_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_861-22_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_861-22_0_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_861-22_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_861-22_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_861-22_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_861-22_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_861-22_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_861-22_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_861-22_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_861-22_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_861-22_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_861-22_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_861-22_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_861-22_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_861-22_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_861-22_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_861-22_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_861-22_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_861-22_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_861-22_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_861-22_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_861-22_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_861-22_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_861-22_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_861-22_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_861-22_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_861-22_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_861-22_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_861-22_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_861-22_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_861-22_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_861-22_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_861-22_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_861-22_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_MV_121_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_861-22_0_3_load_0 | 0 | 0.0031455 | 0.00078835 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_861-22_0_3_load_1 | 1 | 0.019278 | 0.0048315 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_861-22_0_3_load_22 | 4 | 0.0064177 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_861-22_0_3_load_23 | 6 | 0.0072582 | 0.0018191 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_861-22_0_3_load_25 | 8 | 0.002696 | 0.00067567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_861-22_0_3_load_24 | 9 | 0.031408 | 0.0078715 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_861-22_0_3_load_65 | 13 | 0.0026766 | 0.00067081 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_861-22_0_3_load_7 | 14 | 0.0099113 | 0.002484 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_861-22_0_3_load_8 | 15 | 0.015834 | 0.0039684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_861-22_0_3_load_10 | 16 | 0.013781 | 0.0034539 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_861-22_0_3_load_12 | 17 | 0.0035157 | 0.00088112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_861-22_0_3_load_66 | 19 | 0.019307 | 0.0048387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_861-22_0_3_load_59 | 20 | 0.0074335 | 0.001863 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_861-22_0_3_load_13 | 21 | 0.01288 | 0.0032282 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_861-22_0_3_load_20 | 26 | 0.013053 | 0.0032713 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_861-22_0_3_load_46 | 27 | 0.0043194 | 0.0010825 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_861-22_0_3_load_21 | 28 | 0.014312 | 0.0035868 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_861-22_0_3_load_19 | 29 | 0.011995 | 0.0030063 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_861-22_0_3_load_68 | 30 | 0.013384 | 0.0033544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_861-22_0_3_load_39 | 32 | 0.00059648 | 0.00014949 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_861-22_0_3_load_50 | 35 | 0.015768 | 0.0039517 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_861-22_0_3_load_49 | 36 | 0.00055405 | 0.00013886 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_861-22_0_3_load_47 | 37 | 0.0011912 | 0.00029855 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_861-22_0_3_load_26 | 40 | 0.0026963 | 0.00067575 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_861-22_0_3_load_45 | 41 | 0.0034433 | 0.00086298 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_861-22_0_3_load_37 | 43 | 0.0010087 | 0.0002528 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_861-22_0_3_load_61 | 46 | 0.0034917 | 0.0008751 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_861-22_0_3_load_36 | 47 | 0.0037015 | 0.00092769 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_861-22_0_3_load_34 | 48 | 0.00077759 | 0.00019488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_861-22_0_3_load_35 | 49 | 0.0016915 | 0.00042392 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_861-22_0_3_load_44 | 50 | 0.0033256 | 0.00083346 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_861-22_0_3_load_67 | 51 | 0.020875 | 0.0052318 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_861-22_0_3_load_41 | 52 | 0.0033367 | 0.00083626 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_861-22_0_3_load_42 | 53 | 0.0033663 | 0.00084367 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_861-22_0_3_load_43 | 54 | 0.0076105 | 0.0019074 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_861-22_0_3_load_51 | 55 | 0.011764 | 0.0029484 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_861-22_0_3_load_52 | 56 | 0.006656 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_861-22_0_3_load_53 | 57 | 0.020566 | 0.0051543 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_861-22_0_3_load_55 | 59 | 0.014113 | 0.0035371 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_861-22_0_3_load_58 | 60 | 0.0054925 | 0.0013766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_861-22_0_3_load_56 | 61 | 0.0052899 | 0.0013258 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_861-22_0_3_load_57 | 62 | 0.007536 | 0.0018887 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_861-22_0_3_line_0 |  | 0 | 1 | 0.0028973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_861-22_0_3_line_1 |  | 1 | 2 | 0.026094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_861-22_0_3_line_2 |  | 2 | 3 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_861-22_0_3_line_3 |  | 2 | 4 | 0.047381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_861-22_0_3_line_4 |  | 3 | 9 | 0.025883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_861-22_0_3_line_5 |  | 3 | 10 | 0.023576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_861-22_0_3_line_6 |  | 4 | 5 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_861-22_0_3_line_7 |  | 5 | 6 | 0.0047546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_861-22_0_3_line_8 |  | 6 | 11 | 0.046566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_861-22_0_3_line_9 |  | 7 | 8 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_861-22_0_3_line_10 |  | 7 | 9 | 0.059521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_861-22_0_3_line_11 |  | 8 | 12 | 0.010721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_861-22_0_3_line_12 |  | 10 | 17 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_861-22_0_3_line_13 |  | 10 | 14 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_861-22_0_3_line_14 |  | 11 | 25 | 0.024644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_861-22_0_3_line_15 |  | 12 | 46 | 0.0066382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_861-22_0_3_line_16 |  | 12 | 13 | 0.017511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_861-22_0_3_line_17 |  | 14 | 15 | 0.0056698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_861-22_0_3_line_18 |  | 15 | 16 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_861-22_0_3_line_19 |  | 17 | 18 | 0.0049783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_861-22_0_3_line_20 |  | 18 | 19 | 0.034511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_861-22_0_3_line_21 |  | 18 | 20 | 0.012068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_861-22_0_3_line_22 |  | 20 | 62 | 0.0065493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_861-22_0_3_line_23 |  | 21 | 22 | 0.038463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_861-22_0_3_line_24 |  | 21 | 23 | 0.040658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_861-22_0_3_line_25 |  | 22 | 24 | 0.043652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_861-22_0_3_line_26 |  | 22 | 25 | 0.037414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_861-22_0_3_line_27 |  | 23 | 26 | 0.034708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_861-22_0_3_line_28 |  | 24 | 27 | 0.045014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_861-22_0_3_line_29 |  | 25 | 28 | 0.034372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_861-22_0_3_line_30 |  | 26 | 30 | 0.022084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_861-22_0_3_line_31 |  | 27 | 41 | 0.005814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_861-22_0_3_line_32 |  | 28 | 29 | 0.019931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_861-22_0_3_line_33 |  | 31 | 32 | 0.03209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_861-22_0_3_line_34 |  | 31 | 33 | 0.0094545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_861-22_0_3_line_35 |  | 32 | 42 | 0.020237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_861-22_0_3_line_36 |  | 33 | 34 | 0.058927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_861-22_0_3_line_37 |  | 33 | 35 | 0.044563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_861-22_0_3_line_38 |  | 34 | 36 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_861-22_0_3_line_39 |  | 34 | 37 | 0.039214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_861-22_0_3_line_40 |  | 34 | 38 | 0.012358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_861-22_0_3_line_41 |  | 35 | 50 | 0.024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_861-22_0_3_line_42 |  | 37 | 44 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_861-22_0_3_line_43 |  | 38 | 39 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_861-22_0_3_line_44 |  | 38 | 40 | 0.020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_861-22_0_3_line_45 |  | 39 | 47 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_861-22_0_3_line_46 |  | 39 | 48 | 0.029469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_861-22_0_3_line_47 |  | 41 | 54 | 0.0083955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_861-22_0_3_line_48 |  | 42 | 43 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_861-22_0_3_line_49 |  | 44 | 45 | 0.023836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_861-22_0_3_line_50 |  | 45 | 51 | 0.025622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_861-22_0_3_line_51 |  | 48 | 49 | 0.0091686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_861-22_0_3_line_52 |  | 50 | 53 | 0.0055769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_861-22_0_3_line_53 |  | 52 | 53 | 0.0049606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_861-22_0_3_line_54 |  | 52 | 54 | 0.0083268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_861-22_0_3_line_55 |  | 55 | 56 | 0.042639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_861-22_0_3_line_56 |  | 55 | 57 | 0.0086422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_861-22_0_3_line_57 |  | 56 | 58 | 0.011385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_861-22_0_3_line_58 |  | 57 | 59 | 0.025104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_861-22_0_3_line_59 |  | 58 | 60 | 0.028085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_861-22_0_3_line_60 |  | 60 | 61 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_861-22_0_3_line_61 |  | 61 | 62 | 0.00027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_861-22_0_3_trafo_66 | 0.63 MVA 20/0.4 kV | 63 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2604716.3645 | 1192859.2445 | 2604717.3271 | 1192861.9771
1 | 2604725.1587 | 1192886.8587 | 2604720.5142 | 1192871.0246 | 2604717.3271 | 1192861.9771
2 | 2604729.0984 | 1192897.6008 | 2604725.1587 | 1192886.8587
3 | 2604725.1587 | 1192886.8587 | 2604760.8348 | 1192878.3822 | 2604771.4743 | 1192877.1359
4 | 2604729.0984 | 1192897.6008 | 2604717.0554 | 1192898.5586 | 2604703.4512 | 1192900.8848
5 | 2604729.0984 | 1192897.6008 | 2604734.5376 | 1192920.5393
6 | 2604785.9125 | 1192875.4448 | 2604771.4743 | 1192877.1359
7 | 2604785.9125 | 1192875.4448 | 2604790.5741 | 1192874.5095
8 | 2604836.6619 | 1192870.1378 | 2604814.3916 | 1192869.731 | 2604790.5741 | 1192874.5095
9 | 2604644.323 | 1192907.0403 | 2604644.6949 | 1192919.0358 | 2604644.4817 | 1192919.5926
10 | 2604644.323 | 1192907.0403 | 2604663.4238 | 1192905.8544 | 2604682.1055 | 1192904.5347 | 2604703.4512 | 1192900.8848
11 | 2604640.6474 | 1192929.605 | 2604644.4817 | 1192919.5926
12 | 2604734.5376 | 1192920.5393 | 2604734.0655 | 1192941.4866
13 | 2604734.5376 | 1192920.5393 | 2604748.151 | 1192918.2886
14 | 2604861.3321 | 1192871.636 | 2604836.6619 | 1192870.1378
15 | 2604640.6474 | 1192929.605 | 2604638.2756 | 1192935.8049
16 | 2604640.6474 | 1192929.605 | 2604634.9253 | 1192927.2994 | 2604633.4671 | 1192930.5333 | 2604630.4284 | 1192937.7113
17 | 2604748.151 | 1192918.2886 | 2604753.7449 | 1192917.3638
18 | 2604765.5235 | 1192915.4164 | 2604753.7449 | 1192917.3638
19 | 2604733.9533 | 1192946.4636 | 2604734.0655 | 1192941.4866
20 | 2604733.9533 | 1192946.4636 | 2604768.2693 | 1192941.9659
21 | 2604733.9533 | 1192946.4636 | 2604732.4654 | 1192958.44
22 | 2604731.6579 | 1192964.9394 | 2604732.4654 | 1192958.44
23 | 2604898.7163 | 1192871.944 | 2604899.0124 | 1192910.4057
24 | 2604889.4314 | 1192949.6441 | 2604899.0681 | 1192917.635 | 2604899.0124 | 1192910.4057
25 | 2604898.7163 | 1192871.944 | 2604942.2092 | 1192876.9264
26 | 2604861.3321 | 1192871.636 | 2604875.3173 | 1192872.4588 | 2604898.7163 | 1192871.944
27 | 2604889.4314 | 1192949.6441 | 2604883.1623 | 1192973.7184 | 2604873.6308 | 1192976.1241
28 | 2604942.2092 | 1192876.9264 | 2604938.3819 | 1192897.2117 | 2604933.6936 | 1192917.1628 | 2604932.5595 | 1192920.8698
29 | 2604861.3321 | 1192871.636 | 2604860.6789 | 1192906.0021
30 | 2604851.6822 | 1192977.5618 | 2604869.4636 | 1192977.1759 | 2604873.6308 | 1192976.1241
31 | 2604932.5595 | 1192920.8698 | 2604930.8588 | 1192926.4295
32 | 2604860.3 | 1192925.9298 | 2604860.6789 | 1192906.0021
33 | 2604893.8018 | 1193021.1964 | 2604862.5012 | 1193014.1219
34 | 2604893.8018 | 1193021.1964 | 2604898.7549 | 1193022.3121 | 2604900.4273 | 1193018.2669
35 | 2604842.7622 | 1193009.6605 | 2604862.5012 | 1193014.1219
36 | 2604877.7553 | 1193072.655 | 2604884.9872 | 1193054.6958 | 2604898.7549 | 1193022.3121 | 2604900.4273 | 1193018.2669
37 | 2604900.4273 | 1193018.2669 | 2604906.7146 | 1192999.8956 | 2604913.1795 | 1192978.8898 | 2604914.2514 | 1192975.9092
38 | 2604877.7553 | 1193072.655 | 2604877.0298 | 1193074.4443 | 2604871.3434 | 1193088.9378
39 | 2604877.7553 | 1193072.655 | 2604840.3761 | 1193060.8005
40 | 2604877.7553 | 1193072.655 | 2604882.5402 | 1193074.2597 | 2604883.3958 | 1193071.848 | 2604887.8148 | 1193073.5969
41 | 2604914.2514 | 1192975.9092 | 2604922.6944 | 1192952.4335
42 | 2604826.2016 | 1193056.3052 | 2604840.3761 | 1193060.8005
43 | 2604903.0833 | 1193079.6347 | 2604887.8148 | 1193073.5969
44 | 2604887.8148 | 1193073.5969 | 2604880.0408 | 1193092.8725
45 | 2604903.0833 | 1193079.6347 | 2604914.329 | 1193074.5411
46 | 2604903.0833 | 1193079.6347 | 2604908.1855 | 1193084.7304 | 2604909.6152 | 1193088.6002 | 2604904.7164 | 1193106.0582
47 | 2604928.4028 | 1192934.4577 | 2604930.8588 | 1192926.4295
48 | 2604842.7622 | 1193009.6605 | 2604837.6057 | 1193022.9175
49 | 2604817.2366 | 1193078.2985 | 2604820.2169 | 1193068.2512 | 2604826.2016 | 1193056.3052
50 | 2604817.2366 | 1193078.2985 | 2604815.3786 | 1193076.2293 | 2604803.4992 | 1193063.591 | 2604802.7148 | 1193062.7789 | 2604801.5111 | 1193062.1998 | 2604798.5079 | 1193062.6088
51 | 2604902.2393 | 1193114.8859 | 2604904.7164 | 1193106.0582
52 | 2604922.6944 | 1192952.4335 | 2604924.0953 | 1192948.5382 | 2604924.5158 | 1192947.1638
53 | 2604925.9669 | 1192942.4202 | 2604924.5158 | 1192947.1638
54 | 2604925.9669 | 1192942.4202 | 2604928.4028 | 1192934.4577
55 | 2604780.3075 | 1193006.8534 | 2604777.0586 | 1193007.7519 | 2604762.9737 | 1193008.1855 | 2604745.8256 | 1193007.7274 | 2604737.979 | 1193006.0577
56 | 2604780.3075 | 1193006.8534 | 2604788.6371 | 1193004.55
57 | 2604726.8436 | 1193003.6882 | 2604737.979 | 1193006.0577
58 | 2604804.529 | 1192988.4351 | 2604804.0199 | 1192993.0321 | 2604799.029 | 1193001.1769 | 2604789.9265 | 1193004.1935 | 2604788.6371 | 1193004.55
59 | 2604726.8436 | 1193003.6882 | 2604730.3063 | 1192975.8174
60 | 2604731.624 | 1192965.2121 | 2604730.3063 | 1192975.8174
61 | 2604731.6579 | 1192964.9394 | 2604731.624 | 1192965.2121

## bus_geodata
| x | y | coords
0 | 2604716.3645 | 1192859.2445
1 | 2604717.3271 | 1192861.9771
2 | 2604725.1587 | 1192886.8587
3 | 2604729.0984 | 1192897.6008
4 | 2604771.4743 | 1192877.1359
5 | 2604785.9125 | 1192875.4448
6 | 2604790.5741 | 1192874.5095
7 | 2604644.323 | 1192907.0403
8 | 2604644.4817 | 1192919.5926
9 | 2604703.4512 | 1192900.8848
10 | 2604734.5376 | 1192920.5393
11 | 2604836.6619 | 1192870.1378
12 | 2604640.6474 | 1192929.605
13 | 2604630.4284 | 1192937.7113
14 | 2604748.151 | 1192918.2886
15 | 2604753.7449 | 1192917.3638
16 | 2604765.5235 | 1192915.4164
17 | 2604734.0655 | 1192941.4866
18 | 2604733.9533 | 1192946.4636
19 | 2604768.2693 | 1192941.9659
20 | 2604732.4654 | 1192958.44
21 | 2604899.0124 | 1192910.4057
22 | 2604898.7163 | 1192871.944
23 | 2604889.4314 | 1192949.6441
24 | 2604942.2092 | 1192876.9264
25 | 2604861.3321 | 1192871.636
26 | 2604873.6308 | 1192976.1241
27 | 2604932.5595 | 1192920.8698
28 | 2604860.6789 | 1192906.0021
29 | 2604860.3 | 1192925.9298
30 | 2604851.6822 | 1192977.5618
31 | 2604893.8018 | 1193021.1964
32 | 2604862.5012 | 1193014.1219
33 | 2604900.4273 | 1193018.2669
34 | 2604877.7553 | 1193072.655
35 | 2604914.2514 | 1192975.9092
36 | 2604871.3434 | 1193088.9378
37 | 2604840.3761 | 1193060.8005
38 | 2604887.8148 | 1193073.5969
39 | 2604903.0833 | 1193079.6347
40 | 2604880.0408 | 1193092.8725
41 | 2604930.8588 | 1192926.4295
42 | 2604842.7622 | 1193009.6605
43 | 2604837.6057 | 1193022.9175
44 | 2604826.2016 | 1193056.3052
45 | 2604817.2366 | 1193078.2985
46 | 2604638.2756 | 1192935.8049
47 | 2604914.329 | 1193074.5411
48 | 2604904.7164 | 1193106.0582
49 | 2604902.2393 | 1193114.8859
50 | 2604922.6944 | 1192952.4335
51 | 2604798.5079 | 1193062.6088
52 | 2604925.9669 | 1192942.4202
53 | 2604924.5158 | 1192947.1638
54 | 2604928.4028 | 1192934.4577
55 | 2604780.3075 | 1193006.8534
56 | 2604737.979 | 1193006.0577
57 | 2604788.6371 | 1193004.55
58 | 2604726.8436 | 1193003.6882
59 | 2604804.529 | 1192988.4351
60 | 2604730.3063 | 1192975.8174
61 | 2604731.624 | 1192965.2121
62 | 2604731.6579 | 1192964.9394
63 | 2604733.9533 | 1192946.4636

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1