## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_861-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_861-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_861-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_861-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_861-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_861-24_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_861-24_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_861-24_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_861-24_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_861-24_0_4_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_861-24_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_861-24_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_861-24_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_861-24_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_861-24_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_861-24_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_861-24_0_4_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_861-24_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_861-24_0_4_node_83 | 0.4 | n |  | TRUE
19 | bus_LV_861-24_0_4_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_861-24_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_861-24_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_861-24_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_861-24_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_861-24_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_861-24_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_861-24_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_861-24_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_861-24_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_861-24_0_4_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_861-24_0_4_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_861-24_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_861-24_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_861-24_0_4_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_861-24_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_861-24_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_861-24_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_861-24_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_861-24_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_861-24_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_861-24_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_861-24_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_861-24_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_861-24_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_861-24_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_861-24_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_861-24_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_861-24_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_861-24_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_861-24_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_861-24_0_4_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_861-24_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_861-24_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_861-24_0_4_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_861-24_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_861-24_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_861-24_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_861-24_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_861-24_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_861-24_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_861-24_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_861-24_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_861-24_0_4_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_861-24_0_4_node_95 | 0.4 | n |  | TRUE
64 | bus_LV_861-24_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_861-24_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_861-24_0_4_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_861-24_0_4_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_861-24_0_4_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_861-24_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_861-24_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_861-24_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_861-24_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_861-24_0_4_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_861-24_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_861-24_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_861-24_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_861-24_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_861-24_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_861-24_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_861-24_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_861-24_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_861-24_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_861-24_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_861-24_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_861-24_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_861-24_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_861-24_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_861-24_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_861-24_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_861-24_0_4_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_861-24_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_861-24_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_861-24_0_4_node_77 | 0.4 | n |  | TRUE
94 | bus_MV_121_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_861-24_0_4_load_0 | 0 | 0.0063355 | 0.0015878 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_861-24_0_4_load_1 | 1 | 0.0061565 | 0.001543 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_861-24_0_4_load_2 | 2 | 0.0038704 | 0.00097 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_861-24_0_4_load_3 | 3 | 0.0054914 | 0.0013763 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_861-24_0_4_load_5 | 5 | 0.0043213 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_861-24_0_4_load_6 | 6 | 0.0022459 | 0.00056287 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_861-24_0_4_load_36 | 8 | 0.0078221 | 0.0019604 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_861-24_0_4_load_85 | 9 | 0.0023788 | 0.00059618 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_861-24_0_4_load_18 | 12 | 0.016895 | 0.0042343 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_861-24_0_4_load_19 | 13 | 0.0096679 | 0.002423 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_861-24_0_4_load_30 | 16 | 0.0078545 | 0.0019685 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_861-24_0_4_load_83 | 18 | 0.0017549 | 0.00043982 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_861-24_0_4_load_82 | 19 | 0.0074035 | 0.0018555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_861-24_0_4_load_8 | 20 | 0.013537 | 0.0033928 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_861-24_0_4_load_9 | 21 | 0.013776 | 0.0034526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_861-24_0_4_load_17 | 24 | 0.011325 | 0.0028384 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_861-24_0_4_load_22 | 26 | 0.014408 | 0.003611 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_861-24_0_4_load_23 | 27 | 0.013984 | 0.0035046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_861-24_0_4_load_29 | 28 | 0.011305 | 0.0028334 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_861-24_0_4_load_92 | 29 | 0.010772 | 0.0026998 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_861-24_0_4_load_90 | 30 | 0.017781 | 0.0044564 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_861-24_0_4_load_34 | 31 | 0.0028816 | 0.0007222 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_861-24_0_4_load_35 | 32 | 0.010377 | 0.0026008 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_861-24_0_4_load_67 | 33 | 0.0019344 | 0.00048481 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_861-24_0_4_load_24 | 34 | 0.0053118 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_861-24_0_4_load_28 | 38 | 0.012649 | 0.00317 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_861-24_0_4_load_33 | 39 | 0.0099491 | 0.0024935 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_861-24_0_4_load_31 | 41 | 0.0053797 | 0.0013483 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_861-24_0_4_load_37 | 42 | 0.003651 | 0.00091502 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_861-24_0_4_load_38 | 43 | 0.0045948 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_861-24_0_4_load_41 | 46 | 0.004681 | 0.0011732 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_861-24_0_4_load_80 | 50 | 0.0037323 | 0.00093541 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_861-24_0_4_load_49 | 51 | 0.0048574 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_861-24_0_4_load_89 | 53 | 0.002304 | 0.00057744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_861-24_0_4_load_79 | 55 | 0.014839 | 0.003719 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_861-24_0_4_load_44 | 56 | 0.0052094 | 0.0013056 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_861-24_0_4_load_45 | 57 | 0.0053985 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_861-24_0_4_load_47 | 58 | 0.0063196 | 0.0015839 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_861-24_0_4_load_73 | 60 | 0.0081589 | 0.0020448 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_861-24_0_4_load_95 | 63 | 0.00099611 | 0.00024965 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_861-24_0_4_load_50 | 64 | 0.0010385 | 0.00026027 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_861-24_0_4_load_52 | 65 | 0.0050726 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_861-24_0_4_load_94 | 66 | 0.0013878 | 0.0003478 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_861-24_0_4_load_96 | 67 | 0.00066451 | 0.00016654 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_861-24_0_4_load_97 | 68 | 0.0005445 | 0.00013647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_861-24_0_4_load_53 | 69 | 0.0050934 | 0.0012765 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_861-24_0_4_load_54 | 70 | 0.0139 | 0.0034837 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_861-24_0_4_load_56 | 71 | 0.0016934 | 0.0004244 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_861-24_0_4_load_81 | 73 | 0.0014829 | 0.00037166 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_861-24_0_4_load_72 | 74 | 0.002247 | 0.00056314 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_861-24_0_4_load_65 | 75 | 0.0016479 | 0.00041301 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_861-24_0_4_load_59 | 76 | 0.0013833 | 0.00034669 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_861-24_0_4_load_60 | 77 | 0.0017987 | 0.00045079 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_861-24_0_4_load_62 | 79 | 0.0015592 | 0.00039077 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_861-24_0_4_load_63 | 80 | 0.001648 | 0.00041303 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_861-24_0_4_load_64 | 81 | 0.0026399 | 0.00066163 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_861-24_0_4_load_66 | 82 | 0.00329 | 0.00082455 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_861-24_0_4_load_69 | 84 | 0.0033742 | 0.00084565 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_861-24_0_4_load_70 | 85 | 0.0022865 | 0.00057305 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_861-24_0_4_load_71 | 86 | 0.006382 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_861-24_0_4_load_76 | 88 | 0.0077182 | 0.0019344 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_861-24_0_4_load_78 | 89 | 0.0075327 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_861-24_0_4_load_88 | 90 | 0.0038582 | 0.00096696 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_861-24_0_4_load_86 | 91 | 0.0010181 | 0.00025516 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_861-24_0_4_load_87 | 92 | 0.0048063 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_861-24_0_4_load_77 | 93 | 0.0093281 | 0.0023378 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_861-24_0_4_line_0 |  | 0 | 1 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_861-24_0_4_line_1 |  | 0 | 2 | 0.00065933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_861-24_0_4_line_2 |  | 1 | 3 | 0.00033397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_861-24_0_4_line_3 |  | 2 | 4 | 0.013482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_861-24_0_4_line_4 |  | 3 | 5 | 0.001367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_861-24_0_4_line_5 |  | 4 | 6 | 0.01253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_861-24_0_4_line_6 |  | 4 | 7 | 0.027537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_861-24_0_4_line_7 |  | 5 | 8 | 0.0067764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_861-24_0_4_line_8 |  | 7 | 9 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_861-24_0_4_line_9 |  | 7 | 10 | 0.010892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_861-24_0_4_line_10 |  | 10 | 16 | 0.042672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_861-24_0_4_line_11 |  | 10 | 17 | 0.009038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_861-24_0_4_line_12 |  | 11 | 12 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_861-24_0_4_line_13 |  | 11 | 13 | 0.030779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_861-24_0_4_line_14 |  | 11 | 14 | 0.040724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_861-24_0_4_line_15 |  | 11 | 15 | 0.034176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_861-24_0_4_line_16 |  | 12 | 29 | 0.022489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_861-24_0_4_line_17 |  | 13 | 30 | 0.024465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_861-24_0_4_line_18 |  | 14 | 18 | 0.009578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_861-24_0_4_line_19 |  | 14 | 19 | 0.022731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_861-24_0_4_line_20 |  | 15 | 17 | 0.033317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_861-24_0_4_line_21 |  | 15 | 20 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_861-24_0_4_line_22 |  | 16 | 32 | 0.020035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_861-24_0_4_line_23 |  | 17 | 24 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_861-24_0_4_line_24 |  | 18 | 33 | 0.021432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_861-24_0_4_line_25 |  | 20 | 21 | 0.021549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_861-24_0_4_line_26 |  | 21 | 22 | 0.0043103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_861-24_0_4_line_27 |  | 22 | 23 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_861-24_0_4_line_28 |  | 23 | 27 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_861-24_0_4_line_29 |  | 23 | 25 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_861-24_0_4_line_30 |  | 24 | 28 | 0.02139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_861-24_0_4_line_31 |  | 25 | 26 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_861-24_0_4_line_32 |  | 26 | 31 | 0.00043869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_861-24_0_4_line_33 |  | 32 | 37 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_861-24_0_4_line_34 |  | 33 | 81 | 0.0027777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_861-24_0_4_line_35 |  | 34 | 35 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_861-24_0_4_line_36 |  | 35 | 36 | 0.008597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_861-24_0_4_line_37 |  | 36 | 37 | 0.022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_861-24_0_4_line_38 |  | 36 | 38 | 0.040837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_861-24_0_4_line_39 |  | 37 | 39 | 0.042157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_861-24_0_4_line_40 |  | 38 | 40 | 0.044384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_861-24_0_4_line_41 |  | 40 | 41 | 0.020583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_861-24_0_4_line_42 |  | 42 | 43 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_861-24_0_4_line_43 |  | 42 | 44 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_861-24_0_4_line_44 |  | 43 | 45 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_861-24_0_4_line_45 |  | 44 | 46 | 0.0082384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_861-24_0_4_line_46 |  | 45 | 47 | 0.070128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_861-24_0_4_line_47 |  | 46 | 48 | 0.064313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_861-24_0_4_line_48 |  | 47 | 49 | 0.005715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_861-24_0_4_line_49 |  | 47 | 50 | 0.0034905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_861-24_0_4_line_50 |  | 48 | 51 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_861-24_0_4_line_51 |  | 48 | 52 | 0.010309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_861-24_0_4_line_52 |  | 49 | 53 | 0.02863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_861-24_0_4_line_53 |  | 49 | 54 | 0.023021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_861-24_0_4_line_54 |  | 50 | 55 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_861-24_0_4_line_55 |  | 52 | 56 | 0.038298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_861-24_0_4_line_56 |  | 53 | 74 | 0.0096043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_861-24_0_4_line_57 |  | 54 | 71 | 0.014604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_861-24_0_4_line_58 |  | 54 | 69 | 0.0075043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_861-24_0_4_line_59 |  | 55 | 65 | 0.093388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_861-24_0_4_line_60 |  | 56 | 57 | 0.019976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_861-24_0_4_line_61 |  | 57 | 58 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_861-24_0_4_line_62 |  | 58 | 59 | 0.033316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_861-24_0_4_line_63 |  | 59 | 60 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_861-24_0_4_line_64 |  | 59 | 61 | 0.10367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_861-24_0_4_line_65 |  | 60 | 62 | 0.021977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_861-24_0_4_line_66 |  | 61 | 63 | 0.70647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_861-24_0_4_line_67 |  | 62 | 90 | 0.028264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_861-24_0_4_line_68 |  | 62 | 91 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_861-24_0_4_line_69 |  | 63 | 66 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_861-24_0_4_line_70 |  | 64 | 65 | 0.099066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_861-24_0_4_line_71 |  | 66 | 67 | 0.0029078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_861-24_0_4_line_72 |  | 67 | 68 | 0.0081285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_861-24_0_4_line_73 |  | 69 | 70 | 0.017672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_861-24_0_4_line_74 |  | 71 | 72 | 0.01134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_861-24_0_4_line_75 |  | 72 | 73 | 0.015033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_861-24_0_4_line_76 |  | 73 | 75 | 0.0049094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_861-24_0_4_line_77 |  | 74 | 85 | 0.011859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_861-24_0_4_line_78 |  | 75 | 79 | 0.0050128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_861-24_0_4_line_79 |  | 76 | 77 | 0.0050498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_861-24_0_4_line_80 |  | 76 | 78 | 0.014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_861-24_0_4_line_81 |  | 77 | 79 | 0.012914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_861-24_0_4_line_82 |  | 78 | 80 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_861-24_0_4_line_83 |  | 78 | 81 | 0.0075466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_861-24_0_4_line_84 |  | 80 | 82 | 0.0039115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_861-24_0_4_line_85 |  | 83 | 84 | 0.019952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_861-24_0_4_line_86 |  | 83 | 85 | 0.015099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_861-24_0_4_line_87 |  | 84 | 86 | 0.012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_861-24_0_4_line_88 |  | 86 | 87 | 0.01439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_861-24_0_4_line_89 |  | 87 | 88 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_861-24_0_4_line_90 |  | 87 | 89 | 0.0060856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_861-24_0_4_line_91 |  | 89 | 93 | 0.0143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_861-24_0_4_line_92 |  | 91 | 92 | 0.0046967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_861-24_0_4_trafo_83 | 0.63 MVA 20/0.4 kV | 94 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604472.9658 | 1192838.3056 | 2604468.9795 | 1192824.054 | 2604466.1161 | 1192815.8055
1 | 2604472.9658 | 1192838.3056 | 2604473.1435 | 1192838.9406
2 | 2604466.0066 | 1192815.4899 | 2604466.1161 | 1192815.8055
3 | 2604480.2409 | 1192849.5091 | 2604476.759 | 1192847.8056 | 2604474.0118 | 1192842.045 | 2604473.1435 | 1192838.9406
4 | 2604466.0066 | 1192815.4899 | 2604465.5583 | 1192814.1986
5 | 2604480.2409 | 1192849.5091 | 2604475.0518 | 1192858.0764 | 2604475.234 | 1192860.5834
6 | 2604507.0279 | 1192843.6814 | 2604503.9628 | 1192845.3133 | 2604501.2182 | 1192846.3118 | 2604480.2409 | 1192849.5091
7 | 2604463.3361 | 1192807.7969 | 2604465.5583 | 1192814.1986
8 | 2604507.0279 | 1192843.6814 | 2604508.0547 | 1192856.8096
9 | 2604517.563 | 1192841.1768 | 2604515.1774 | 1192841.2639 | 2604511.6175 | 1192841.9283 | 2604507.0279 | 1192843.6814
10 | 2604517.563 | 1192841.1768 | 2604547.3191 | 1192840.065 | 2604560.2067 | 1192839.6222
11 | 2604517.563 | 1192841.1768 | 2604517.9661 | 1192832.1501
12 | 2604502.1459 | 1192766.9596 | 2604497.0435 | 1192749.2179
13 | 2604502.1459 | 1192766.9596 | 2604519.9619 | 1192761.9702 | 2604531.9726 | 1192759.4254
14 | 2604470.668 | 1192756.2752 | 2604482.8257 | 1192755.1169 | 2604488.8771 | 1192765.8492 | 2604490.612 | 1192769.797 | 2604502.1459 | 1192766.9596
15 | 2604502.1459 | 1192766.9596 | 2604511.6641 | 1192799.7839
16 | 2604490.8278 | 1192727.6048 | 2604497.0435 | 1192749.2179
17 | 2604531.9726 | 1192759.4254 | 2604538.1047 | 1192758.1262 | 2604555.0641 | 1192751.5318
18 | 2604470.668 | 1192756.2752 | 2604461.2011 | 1192757.7295
19 | 2604470.668 | 1192756.2752 | 2604462.6905 | 1192752.8675 | 2604461.4562 | 1192752.1551 | 2604460.7023 | 1192751.3208 | 2604460.2685 | 1192750.3867 | 2604459.8124 | 1192748.8188 | 2604459.4471 | 1192739.983
20 | 2604517.9661 | 1192832.1501 | 2604518.5128 | 1192824.5798 | 2604511.6641 | 1192799.7839
21 | 2604511.6641 | 1192799.7839 | 2604526.7431 | 1192795.6787
22 | 2604580.23 | 1192838.9342 | 2604560.2067 | 1192839.6222
23 | 2604517.9661 | 1192832.1501 | 2604521.7694 | 1192831.9862 | 2604535.6177 | 1192831.4766
24 | 2604461.2011 | 1192757.7295 | 2604457.4884 | 1192758.2999 | 2604452.32 | 1192759.3856 | 2604446.6015 | 1192762.2273 | 2604441.1048 | 1192764.6539
25 | 2604526.7431 | 1192795.6787 | 2604547.5354 | 1192790.0181
26 | 2604551.6942 | 1192788.8858 | 2604547.5354 | 1192790.0181
27 | 2604551.6942 | 1192788.8858 | 2604562.6801 | 1192785.0587
28 | 2604562.6801 | 1192785.0587 | 2604563.9502 | 1192778.5563 | 2604563.6434 | 1192770.9631
29 | 2604562.2976 | 1192797.1092 | 2604562.6801 | 1192785.0587
30 | 2604535.6177 | 1192831.4766 | 2604556.9937 | 1192830.6901
31 | 2604562.2976 | 1192797.1092 | 2604572.9703 | 1192804.2655 | 2604581.2186 | 1192804.2717
32 | 2604581.6573 | 1192804.272 | 2604581.2186 | 1192804.2717
33 | 2604601.8388 | 1192838.1162 | 2604591.3281 | 1192838.5529 | 2604580.23 | 1192838.9342
34 | 2604438.5637 | 1192765.7757 | 2604441.1048 | 1192764.6539
35 | 2604633.134 | 1192837.6953 | 2604630.8901 | 1192851.2329
36 | 2604624.5211 | 1192838.1001 | 2604633.134 | 1192837.6953
37 | 2604624.5211 | 1192838.1001 | 2604601.8388 | 1192838.1162
38 | 2604624.5211 | 1192838.1001 | 2604628.5614 | 1192817.1143 | 2604630.6648 | 1192807.4331 | 2604633.5295 | 1192798.8752 | 2604633.7038 | 1192798.3702
39 | 2604601.8388 | 1192838.1162 | 2604603.0588 | 1192817.3951 | 2604602.821 | 1192795.9967
40 | 2604636.429 | 1192754.7542 | 2604638.0572 | 1192768.5071 | 2604638.4528 | 1192779.4131 | 2604637.0127 | 1192788.7836 | 2604633.7038 | 1192798.3702
41 | 2604636.429 | 1192754.7542 | 2604657.0108 | 1192754.5049
42 | 2604355.5699 | 1192768.4284 | 2604355.4733 | 1192764.4736 | 2604355.0324 | 1192749.8233
43 | 2604355.9916 | 1192785.6963 | 2604355.5699 | 1192768.4284
44 | 2604354.4913 | 1192730.7552 | 2604354.6544 | 1192737.2587 | 2604355.0324 | 1192749.8233
45 | 2604355.9916 | 1192785.6963 | 2604356.0551 | 1192793.9345
46 | 2604354.4913 | 1192730.7552 | 2604359.1038 | 1192729.0354 | 2604363.7843 | 1192717.4549 | 2604365.6514 | 1192717.8564 | 2604370.0503 | 1192727.0422 | 2604371.9176 | 1192727.0435 | 2604376.6111 | 1192708.1481 | 2604376.2108 | 1192702.9562 | 2604381.9514 | 1192701.2261 | 2604383.2828 | 1192704.5844 | 2604383.9523 | 1192706.2857 | 2604386.0319 | 1192707.9103
47 | 2604354.2857 | 1192858.1999 | 2604355.1672 | 1192840.5468 | 2604355.9467 | 1192827.0958 | 2604356.2147 | 1192814.6561 | 2604356.0551 | 1192793.9345
48 | 2604386.0319 | 1192707.9103 | 2604386.3708 | 1192713.6136
49 | 2604386.0319 | 1192707.9103 | 2604385.821 | 1192704.4306 | 2604385.8202 | 1192704.4262
50 | 2604354.2857 | 1192858.1999 | 2604359.5063 | 1192858.5705 | 2604362.3561 | 1192859.5286 | 2604365.1447 | 1192860.8424 | 2604367.1555 | 1192862.7337 | 2604368.2134 | 1192864.8134 | 2604369.514 | 1192868.5718 | 2604370.9398 | 1192874.1458
51 | 2604353.7753 | 1192868.4938 | 2604354.2857 | 1192858.1999
52 | 2604386.3708 | 1192713.6136 | 2604387.5379 | 1192733.3136 | 2604384.9944 | 1192740.8936 | 2604384.5338 | 1192741.6671
53 | 2604386.3708 | 1192713.6136 | 2604395.9673 | 1192712.8201 | 2604399.8412 | 1192710.1659 | 2604402.2421 | 1192710.1677 | 2604402.1068 | 1192707.4995 | 2604405.7273 | 1192707.3687
54 | 2604382.5242 | 1192686.8346 | 2604385.8202 | 1192704.4262
55 | 2604353.7753 | 1192868.4938 | 2604348.8976 | 1192868.2458 | 2604346.3219 | 1192867.6547 | 2604342.9538 | 1192866.6407 | 2604339.8219 | 1192865.7268 | 2604335.4277 | 1192860.8545 | 2604328.9178 | 1192851.556 | 2604325.2535 | 1192846.7045
56 | 2604384.5338 | 1192741.6671 | 2604382.9035 | 1192744.405 | 2604383.5698 | 1192750.7881
57 | 2604405.7273 | 1192707.3687 | 2604409.3173 | 1192707.2379 | 2604409.9851 | 1192711.2294 | 2604415.3278 | 1192711.6335 | 2604415.1894 | 1192713.2342
58 | 2604405.7273 | 1192707.3687 | 2604404.9279 | 1192699.9071
59 | 2604382.5242 | 1192686.8346 | 2604301.0186 | 1192641.2479
60 | 2604325.2535 | 1192846.7045 | 2604322.2474 | 1192842.7244 | 2604312.7582 | 1192832.1677 | 2604312.1122 | 1192831.7071
61 | 2604295.0672 | 1192820.4544 | 2604295.5488 | 1192820.6606 | 2604303.83 | 1192825.8025 | 2604312.1122 | 1192831.7071
62 | 2604263.3846 | 1192810.3325 | 2604277.2155 | 1192814.122 | 2604286.8322 | 1192816.9302 | 2604295.0672 | 1192820.4544
63 | 2604263.3846 | 1192810.3325 | 2604263.4361 | 1192802.206 | 2604264.8087 | 1192795.8635
64 | 2604218.0375 | 1192730.0253 | 2604210.9097 | 1192742.9161 | 2604216.9328 | 1192751.2135 | 2604229.2148 | 1192768.5533 | 2604235.4992 | 1192784.6662 | 2604239.5627 | 1192794.0184 | 2604241.9685 | 1192797.8665 | 2604244.672 | 1192801.059 | 2604249.6384 | 1192805.3536 | 2604256.8845 | 1192808.5381 | 2604263.3846 | 1192810.3325
65 | 2604275.0618 | 1192776.8898 | 2604266.3035 | 1192788.9566 | 2604264.8087 | 1192795.8635
66 | 2604218.0375 | 1192730.0253 | 2603525.7832 | 1192871.0151
67 | 2604275.0618 | 1192776.8898 | 2604294.3368 | 1192756.1702
68 | 2604275.0618 | 1192776.8898 | 2604290.3555 | 1192786.6592
69 | 2603516.3452 | 1192861.7603 | 2603516.3452 | 1192861.7603 | 2603525.7832 | 1192871.0151
70 | 2604301.0186 | 1192641.2479 | 2604212.9084 | 1192595.9643
71 | 2603516.3452 | 1192861.7603 | 2603513.4374 | 1192861.7645
72 | 2603505.309 | 1192861.7762 | 2603513.4374 | 1192861.7645
73 | 2604404.9279 | 1192699.9071 | 2604404.3873 | 1192694.8612 | 2604405.4576 | 1192690.3373 | 2604404.1933 | 1192682.4899
74 | 2604426.5235 | 1192712.8645 | 2604415.1894 | 1192713.2342
75 | 2604426.5235 | 1192712.8645 | 2604427.9783 | 1192727.8274
76 | 2604427.9783 | 1192727.8274 | 2604428.4534 | 1192732.7138
77 | 2604387.357 | 1192761.1065 | 2604384.4249 | 1192758.9805 | 2604383.5698 | 1192750.7881
78 | 2604428.4534 | 1192732.7138 | 2604428.9385 | 1192737.7031
79 | 2604430.6769 | 1192755.5823 | 2604430.1882 | 1192750.5562
80 | 2604431.5516 | 1192768.2973 | 2604429.3646 | 1192767.6065 | 2604431.4105 | 1192763.1278 | 2604430.6769 | 1192755.5823
81 | 2604428.9385 | 1192737.7031 | 2604430.1882 | 1192750.5562
82 | 2604431.5516 | 1192768.2973 | 2604421.3691 | 1192769.996
83 | 2604431.5516 | 1192768.2973 | 2604432.8244 | 1192768.3094 | 2604438.5637 | 1192765.7757
84 | 2604417.5109 | 1192770.6396 | 2604421.3691 | 1192769.996
85 | 2604396.3592 | 1192771.6513 | 2604397.5601 | 1192776.2991 | 2604387.5904 | 1192776.7254 | 2604383.4648 | 1192779.8463
86 | 2604396.3592 | 1192771.6513 | 2604395.5988 | 1192769.1939 | 2604395.9812 | 1192767.3599 | 2604387.357 | 1192761.1065
87 | 2604383.9637 | 1192791.6885 | 2604383.1699 | 1192787.161 | 2604381.4192 | 1192783.947 | 2604383.4648 | 1192779.8463 | 2604383.4648 | 1192779.8463
88 | 2604386.449 | 1192805.8621 | 2604383.9637 | 1192791.6885
89 | 2604386.449 | 1192805.8621 | 2604381.1284 | 1192806.7365 | 2604381.1264 | 1192809.4602 | 2604380.3748 | 1192815.7266
90 | 2604386.449 | 1192805.8621 | 2604387.0162 | 1192811.9213
91 | 2604381.3667 | 1192825.0575 | 2604387.0162 | 1192811.9213
92 | 2604294.3135 | 1192789.1876 | 2604290.3555 | 1192786.6592

## bus_geodata
| x | y | coords
0 | 2604472.9658 | 1192838.3056
1 | 2604466.1161 | 1192815.8055
2 | 2604473.1435 | 1192838.9406
3 | 2604466.0066 | 1192815.4899
4 | 2604480.2409 | 1192849.5091
5 | 2604465.5583 | 1192814.1986
6 | 2604475.234 | 1192860.5834
7 | 2604507.0279 | 1192843.6814
8 | 2604463.3361 | 1192807.7969
9 | 2604508.0547 | 1192856.8096
10 | 2604517.563 | 1192841.1768
11 | 2604502.1459 | 1192766.9596
12 | 2604497.0435 | 1192749.2179
13 | 2604531.9726 | 1192759.4254
14 | 2604470.668 | 1192756.2752
15 | 2604511.6641 | 1192799.7839
16 | 2604560.2067 | 1192839.6222
17 | 2604517.9661 | 1192832.1501
18 | 2604461.2011 | 1192757.7295
19 | 2604459.4471 | 1192739.983
20 | 2604526.7431 | 1192795.6787
21 | 2604547.5354 | 1192790.0181
22 | 2604551.6942 | 1192788.8858
23 | 2604562.6801 | 1192785.0587
24 | 2604535.6177 | 1192831.4766
25 | 2604562.2976 | 1192797.1092
26 | 2604581.2186 | 1192804.2717
27 | 2604563.6434 | 1192770.9631
28 | 2604556.9937 | 1192830.6901
29 | 2604490.8278 | 1192727.6048
30 | 2604555.0641 | 1192751.5318
31 | 2604581.6573 | 1192804.272
32 | 2604580.23 | 1192838.9342
33 | 2604441.1048 | 1192764.6539
34 | 2604630.8901 | 1192851.2329
35 | 2604633.134 | 1192837.6953
36 | 2604624.5211 | 1192838.1001
37 | 2604601.8388 | 1192838.1162
38 | 2604633.7038 | 1192798.3702
39 | 2604602.821 | 1192795.9967
40 | 2604636.429 | 1192754.7542
41 | 2604657.0108 | 1192754.5049
42 | 2604355.5699 | 1192768.4284
43 | 2604355.0324 | 1192749.8233
44 | 2604355.9916 | 1192785.6963
45 | 2604354.4913 | 1192730.7552
46 | 2604356.0551 | 1192793.9345
47 | 2604386.0319 | 1192707.9103
48 | 2604354.2857 | 1192858.1999
49 | 2604386.3708 | 1192713.6136
50 | 2604385.8202 | 1192704.4262
51 | 2604370.9398 | 1192874.1458
52 | 2604353.7753 | 1192868.4938
53 | 2604384.5338 | 1192741.6671
54 | 2604405.7273 | 1192707.3687
55 | 2604382.5243 | 1192686.8346
56 | 2604325.2535 | 1192846.7046
57 | 2604312.1122 | 1192831.7071
58 | 2604295.0672 | 1192820.4544
59 | 2604263.3846 | 1192810.3325
60 | 2604264.8087 | 1192795.8635
61 | 2604218.0375 | 1192730.0253
62 | 2604275.0618 | 1192776.8898
63 | 2603525.7832 | 1192871.0151
64 | 2604212.9084 | 1192595.9643
65 | 2604301.0186 | 1192641.2479
66 | 2603516.3452 | 1192861.7603
67 | 2603513.4374 | 1192861.7645
68 | 2603505.309 | 1192861.7762
69 | 2604404.9279 | 1192699.9071
70 | 2604404.1933 | 1192682.4899
71 | 2604415.1894 | 1192713.2342
72 | 2604426.5235 | 1192712.8645
73 | 2604427.9783 | 1192727.8274
74 | 2604383.5698 | 1192750.7881
75 | 2604428.4534 | 1192732.7138
76 | 2604430.6769 | 1192755.5823
77 | 2604430.1882 | 1192750.5562
78 | 2604431.5516 | 1192768.2973
79 | 2604428.9385 | 1192737.7031
80 | 2604421.3691 | 1192769.996
81 | 2604438.5637 | 1192765.7757
82 | 2604417.5109 | 1192770.6396
83 | 2604396.3592 | 1192771.6513
84 | 2604383.4648 | 1192779.8463
85 | 2604387.357 | 1192761.1065
86 | 2604383.9637 | 1192791.6885
87 | 2604386.449 | 1192805.8621
88 | 2604380.3748 | 1192815.7266
89 | 2604387.0162 | 1192811.9213
90 | 2604294.3368 | 1192756.1702
91 | 2604290.3555 | 1192786.6592
92 | 2604294.3135 | 1192789.1876
93 | 2604381.3667 | 1192825.0575
94 | 2604470.668 | 1192756.2752

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1