## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_861-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_861-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_861-7_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_861-7_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_861-7_0_6_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_861-7_0_6_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_861-7_0_6_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_861-7_0_6_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_861-7_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_861-7_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_861-7_0_6_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_861-7_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_861-7_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_861-7_0_6_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_861-7_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_861-7_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_861-7_0_6_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_861-7_0_6_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_861-7_0_6_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_861-7_0_6_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_861-7_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_861-7_0_6_node_98 | 0.4 | n |  | TRUE
22 | bus_LV_861-7_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_861-7_0_6_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_861-7_0_6_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_861-7_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_861-7_0_6_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_861-7_0_6_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_861-7_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_861-7_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_861-7_0_6_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_861-7_0_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_861-7_0_6_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_861-7_0_6_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_861-7_0_6_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_861-7_0_6_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_861-7_0_6_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_861-7_0_6_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_861-7_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_861-7_0_6_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_861-7_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_861-7_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_861-7_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_861-7_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_861-7_0_6_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_861-7_0_6_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_861-7_0_6_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_861-7_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_861-7_0_6_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_861-7_0_6_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_861-7_0_6_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_861-7_0_6_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_861-7_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_861-7_0_6_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_861-7_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_861-7_0_6_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_861-7_0_6_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_861-7_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_861-7_0_6_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_861-7_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_861-7_0_6_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_861-7_0_6_node_97 | 0.4 | n |  | TRUE
62 | bus_LV_861-7_0_6_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_861-7_0_6_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_861-7_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_861-7_0_6_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_861-7_0_6_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_861-7_0_6_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_861-7_0_6_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_861-7_0_6_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_861-7_0_6_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_861-7_0_6_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_861-7_0_6_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_861-7_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_861-7_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_861-7_0_6_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_861-7_0_6_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_861-7_0_6_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_861-7_0_6_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_861-7_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_861-7_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_861-7_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_861-7_0_6_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_861-7_0_6_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_861-7_0_6_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_861-7_0_6_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_861-7_0_6_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_861-7_0_6_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_861-7_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_861-7_0_6_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_861-7_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_861-7_0_6_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_861-7_0_6_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_861-7_0_6_node_81 | 0.4 | n |  | TRUE
94 | bus_MV_121_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_861-7_0_6_load_0 | 0 | 0.0097291 | 0.0024383 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_861-7_0_6_load_3 | 3 | 0.010639 | 0.0026663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_861-7_0_6_load_34 | 5 | 0.0061601 | 0.0015439 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_861-7_0_6_load_45 | 10 | 0.059749 | 0.014975 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_861-7_0_6_load_96 | 13 | 0.0075468 | 0.0018914 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_861-7_0_6_load_65 | 17 | 0.0043414 | 0.0010881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_861-7_0_6_load_82 | 18 | 0.0068866 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_861-7_0_6_load_100 | 19 | 0.0409 | 0.010251 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_861-7_0_6_load_98 | 21 | 0.0049168 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_861-7_0_6_load_51 | 23 | 0.019852 | 0.0049755 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_861-7_0_6_load_50 | 24 | 0.020839 | 0.0052228 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_861-7_0_6_load_46 | 26 | 0.03003 | 0.0075263 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_861-7_0_6_load_38 | 27 | 0.0072216 | 0.0018099 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_861-7_0_6_load_86 | 30 | 0.00032566 | 8.1619e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_861-7_0_6_load_43 | 31 | 0.0014852 | 0.00037223 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_861-7_0_6_load_58 | 33 | 0.020523 | 0.0051436 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_861-7_0_6_load_54 | 34 | 0.012028 | 0.0030144 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_861-7_0_6_load_48 | 36 | 0.0025739 | 0.00064507 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_861-7_0_6_load_37 | 38 | 0.044894 | 0.011252 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_861-7_0_6_load_47 | 39 | 0.013642 | 0.003419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_861-7_0_6_load_41 | 40 | 0.0010865 | 0.00027231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_861-7_0_6_load_39 | 41 | 0.0033462 | 0.00083863 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_861-7_0_6_load_84 | 44 | 0.012379 | 0.0031025 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_861-7_0_6_load_42 | 47 | 0.01626 | 0.0040751 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_861-7_0_6_load_53 | 50 | 0.0078877 | 0.0019769 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_861-7_0_6_load_52 | 52 | 0.016684 | 0.0041815 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_861-7_0_6_load_59 | 55 | 0.0034173 | 0.00085646 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_861-7_0_6_load_89 | 56 | 0.00041597 | 0.00010425 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_861-7_0_6_load_44 | 57 | 0.0082994 | 0.00208 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_861-7_0_6_load_97 | 61 | 0.010362 | 0.0025969 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_861-7_0_6_load_73 | 62 | 0.0038162 | 0.00095643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_861-7_0_6_load_71 | 63 | 0.0058032 | 0.0014544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_861-7_0_6_load_63 | 64 | 0.013718 | 0.0034381 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_861-7_0_6_load_94 | 65 | 0.011363 | 0.0028479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_861-7_0_6_load_87 | 67 | 0.0042222 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_861-7_0_6_load_90 | 68 | 0.014659 | 0.0036739 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_861-7_0_6_load_36 | 69 | 0.0024605 | 0.00061665 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_861-7_0_6_load_49 | 70 | 0.00058554 | 0.00014675 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_861-7_0_6_load_79 | 71 | 0.033192 | 0.0083187 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_861-7_0_6_load_85 | 72 | 0.002308 | 0.00057843 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_861-7_0_6_load_66 | 73 | 0.0038402 | 0.00096244 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_861-7_0_6_load_67 | 74 | 0.0029196 | 0.00073172 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_861-7_0_6_load_99 | 76 | 0.00050451 | 0.00012644 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_861-7_0_6_load_95 | 77 | 0.014424 | 0.003615 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_861-7_0_6_load_76 | 78 | 0.0011081 | 0.00027771 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_861-7_0_6_load_74 | 79 | 0.0049107 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_861-7_0_6_load_68 | 80 | 0.0047495 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_861-7_0_6_load_60 | 83 | 0.010032 | 0.0025142 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_861-7_0_6_load_61 | 84 | 0.0045897 | 0.0011503 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_861-7_0_6_load_62 | 85 | 0.0063269 | 0.0015857 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_861-7_0_6_load_64 | 86 | 0.0046224 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_861-7_0_6_load_70 | 87 | 0.0061195 | 0.0015337 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_861-7_0_6_load_77 | 88 | 0.0053481 | 0.0013404 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_861-7_0_6_load_83 | 89 | 0.0045853 | 0.0011492 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_861-7_0_6_load_78 | 90 | 0.013553 | 0.0033968 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_861-7_0_6_load_75 | 91 | 0.0075576 | 0.0018941 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_861-7_0_6_load_80 | 92 | 0.0040339 | 0.001011 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_861-7_0_6_load_81 | 93 | 0.002679 | 0.00067141 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 87 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_861-7_0_6_line_0 |  | 0 | 1 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_861-7_0_6_line_1 |  | 0 | 2 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_861-7_0_6_line_2 |  | 1 | 3 | 0.030767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_861-7_0_6_line_3 |  | 1 | 4 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_861-7_0_6_line_4 |  | 2 | 5 | 0.016487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_861-7_0_6_line_5 |  | 2 | 6 | 0.003699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_861-7_0_6_line_6 |  | 3 | 7 | 0.019144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_861-7_0_6_line_7 |  | 4 | 21 | 0.016606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_861-7_0_6_line_8 |  | 6 | 60 | 0.023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_861-7_0_6_line_9 |  | 6 | 61 | 0.0048356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_861-7_0_6_line_10 |  | 7 | 62 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_861-7_0_6_line_11 |  | 7 | 63 | 0.021384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_861-7_0_6_line_12 |  | 7 | 32 | 0.027141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_861-7_0_6_line_13 |  | 8 | 9 | 0.10125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_861-7_0_6_line_14 |  | 8 | 10 | 0.0034408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_861-7_0_6_line_15 |  | 9 | 46 | 0.027616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_861-7_0_6_line_16 |  | 9 | 24 | 0.021721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_861-7_0_6_line_17 |  | 10 | 26 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_861-7_0_6_line_18 |  | 11 | 12 | 0.022127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_861-7_0_6_line_19 |  | 11 | 13 | 0.0043347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_861-7_0_6_line_20 |  | 12 | 27 | 0.041449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_861-7_0_6_line_21 |  | 13 | 14 | 0.04703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_861-7_0_6_line_22 |  | 14 | 15 | 0.04309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_861-7_0_6_line_23 |  | 15 | 19 | 0.003379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_861-7_0_6_line_24 |  | 15 | 20 | 0.13992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_861-7_0_6_line_25 |  | 16 | 17 | 0.020714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_861-7_0_6_line_26 |  | 16 | 18 | 0.02361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_861-7_0_6_line_27 |  | 17 | 64 | 0.016566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_861-7_0_6_line_28 |  | 20 | 31 | 0.0016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_861-7_0_6_line_29 |  | 20 | 25 | 0.10276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_861-7_0_6_line_30 |  | 22 | 23 | 0.033143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_861-7_0_6_line_31 |  | 22 | 24 | 0.025844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_861-7_0_6_line_32 |  | 23 | 42 | 0.031268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_861-7_0_6_line_33 |  | 25 | 26 | 0.025134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_861-7_0_6_line_34 |  | 27 | 51 | 0.022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_861-7_0_6_line_35 |  | 28 | 29 | 0.097859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_861-7_0_6_line_36 |  | 28 | 30 | 0.045888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_861-7_0_6_line_37 |  | 29 | 56 | 0.049312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_861-7_0_6_line_38 |  | 30 | 67 | 0.0066846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_861-7_0_6_line_39 |  | 31 | 54 | 0.0077303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_861-7_0_6_line_40 |  | 32 | 33 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_861-7_0_6_line_41 |  | 32 | 34 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_861-7_0_6_line_42 |  | 33 | 68 | 0.034829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_861-7_0_6_line_43 |  | 35 | 36 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_861-7_0_6_line_44 |  | 35 | 37 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_861-7_0_6_line_45 |  | 35 | 38 | 0.030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_861-7_0_6_line_46 |  | 35 | 39 | 0.02833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_861-7_0_6_line_47 |  | 37 | 40 | 0.022859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_861-7_0_6_line_48 |  | 37 | 41 | 0.046019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_861-7_0_6_line_49 |  | 38 | 69 | 0.012335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_861-7_0_6_line_50 |  | 39 | 46 | 0.0038096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_861-7_0_6_line_51 |  | 40 | 70 | 0.006147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_861-7_0_6_line_52 |  | 41 | 58 | 0.067918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_861-7_0_6_line_53 |  | 42 | 43 | 0.050412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_861-7_0_6_line_54 |  | 42 | 44 | 0.037225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_861-7_0_6_line_55 |  | 43 | 48 | 0.028158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_861-7_0_6_line_56 |  | 44 | 71 | 0.0076934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_861-7_0_6_line_57 |  | 45 | 46 | 0.010583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_861-7_0_6_line_58 |  | 45 | 47 | 0.0010055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_861-7_0_6_line_59 |  | 48 | 72 | 0.049361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_861-7_0_6_line_60 |  | 49 | 50 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_861-7_0_6_line_61 |  | 49 | 51 | 0.004906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_861-7_0_6_line_62 |  | 49 | 52 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_861-7_0_6_line_63 |  | 50 | 75 | 0.029405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_861-7_0_6_line_64 |  | 53 | 54 | 0.058759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_861-7_0_6_line_65 |  | 53 | 55 | 0.050669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_861-7_0_6_line_66 |  | 54 | 57 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_861-7_0_6_line_67 |  | 56 | 75 | 0.016361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_861-7_0_6_line_68 |  | 58 | 59 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_861-7_0_6_line_69 |  | 59 | 76 | 0.038627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_861-7_0_6_line_70 |  | 60 | 77 | 0.021104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_861-7_0_6_line_71 |  | 62 | 80 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_861-7_0_6_line_72 |  | 63 | 81 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_861-7_0_6_line_73 |  | 64 | 84 | 0.0020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_861-7_0_6_line_74 |  | 65 | 66 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_861-7_0_6_line_75 |  | 66 | 82 | 0.007017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_861-7_0_6_line_76 |  | 68 | 82 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_861-7_0_6_line_77 |  | 71 | 90 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_861-7_0_6_line_78 |  | 72 | 89 | 0.0028861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_861-7_0_6_line_79 |  | 73 | 74 | 0.0051494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_861-7_0_6_line_80 |  | 74 | 80 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_861-7_0_6_line_81 |  | 78 | 79 | 0.0014839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_861-7_0_6_line_82 |  | 79 | 81 | 0.044974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_861-7_0_6_line_83 |  | 81 | 91 | 0.025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_861-7_0_6_line_84 |  | 83 | 84 | 0.030512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_861-7_0_6_line_85 |  | 83 | 85 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_861-7_0_6_line_86 |  | 85 | 86 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_861-7_0_6_line_87 |  | 86 | 87 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_861-7_0_6_line_88 |  | 87 | 88 | 0.023393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_861-7_0_6_line_89 |  | 88 | 90 | 0.0021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_861-7_0_6_line_90 |  | 89 | 93 | 0.0080641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_861-7_0_6_line_91 |  | 91 | 92 | 0.016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_861-7_0_6_line_92 |  | 92 | 93 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_861-7_0_6_trafo_70 | 0.63 MVA 20/0.4 kV | 94 | 87 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2604595.2357 | 1193073.3572 | 2604593.7546 | 1193076.7134 | 2604588.2363 | 1193090.5553
1 | 2604582.6825 | 1193104.4863 | 2604588.2363 | 1193090.5553
2 | 2604595.2357 | 1193073.3572 | 2604585.9634 | 1193069.3259 | 2604593.3551 | 1193050.0376
3 | 2604595.2357 | 1193073.3572 | 2604606.9231 | 1193078.4354 | 2604609.3154 | 1193079.56 | 2604610.1913 | 1193080.2833
4 | 2604582.6825 | 1193104.4863 | 2604579.5364 | 1193112.6438 | 2604576.2685 | 1193119.6643
5 | 2604579.2692 | 1193103.0386 | 2604582.6825 | 1193104.4863
6 | 2604600.2056 | 1193032.1615 | 2604593.3551 | 1193050.0376
7 | 2604610.1913 | 1193080.2833 | 2604613.2801 | 1193077.5064 | 2604622.5693 | 1193069.1757
8 | 2604579.2692 | 1193103.0386 | 2604572.7169 | 1193100.3211 | 2604557.4027 | 1193093.9062
9 | 2604579.2692 | 1193103.0386 | 2604579.7437 | 1193100.4264 | 2604577.7159 | 1193099.6244
10 | 2604600.2056 | 1193032.1615 | 2604611.4675 | 1193035.6719 | 2604623.4819 | 1193038.6348
11 | 2604600.2056 | 1193032.1615 | 2604608.4895 | 1193012.4477
12 | 2604573.8403 | 1193025.4714 | 2604596.0524 | 1193031.4358 | 2604600.2056 | 1193032.1615
13 | 2604715.9708 | 1193205.5305 | 2604726.741 | 1193233.209 | 2604729.5921 | 1193232.2107 | 2604763.7599 | 1193220.22 | 2604763.2431 | 1193218.4186 | 2604762.1228 | 1193208.6348 | 2604762.3881 | 1193200.7975 | 2604760.0506 | 1193188.2558
14 | 2604715.9708 | 1193205.5305 | 2604714.7056 | 1193202.3307
15 | 2604779.512 | 1193173.0853 | 2604773.726 | 1193174.9706 | 2604768.6126 | 1193174.2996 | 2604764.8276 | 1193180.4777 | 2604760.0506 | 1193188.2558
16 | 2604760.0506 | 1193188.2558 | 2604753.7712 | 1193177.812 | 2604751.6129 | 1193169.8951 | 2604751.3278 | 1193168.5967
17 | 2604708.0602 | 1193185.5249 | 2604708.0602 | 1193185.5249 | 2604714.7056 | 1193202.3307
18 | 2604603.2308 | 1193354.4669 | 2604605.0427 | 1193357.0251 | 2604606.9691 | 1193359.25 | 2604607.5023 | 1193359.6395 | 2604608.1193 | 1193359.9846 | 2604608.8431 | 1193360.2297 | 2604609.7042 | 1193360.4305 | 2604610.7559 | 1193360.3868 | 2604611.7467 | 1193360.2764 | 2604612.5928 | 1193360.0547 | 2604613.4162 | 1193359.744 | 2604614.3082 | 1193359.2111 | 2604615.208 | 1193358.5781 | 2604616.4967 | 1193357.6119 | 2604619.7094 | 1193362.05
19 | 2604603.2308 | 1193354.4669 | 2604600.8514 | 1193350.8436
20 | 2604619.7094 | 1193362.05 | 2604632.619 | 1193352.7772 | 2604644.5736 | 1193346.4719 | 2604652.753 | 1193343.8879 | 2604656.141 | 1193343.1805
21 | 2604578.6323 | 1193310.9809 | 2604594.5753 | 1193331.6372 | 2604594.9808 | 1193339.5861 | 2604595.1085 | 1193342.0986 | 2604600.8514 | 1193350.8436
22 | 2604578.6323 | 1193310.9809 | 2604599.6312 | 1193297.2785 | 2604601.697 | 1193296.6686 | 2604604.5247 | 1193296.3706 | 2604608.5033 | 1193295.8733 | 2604610.8664 | 1193295.1414 | 2604612.7268 | 1193294.1089 | 2604616.3793 | 1193291.477
23 | 2604616.3793 | 1193291.477 | 2604618.0156 | 1193294.4354
24 | 2604616.3793 | 1193291.477 | 2604631.9728 | 1193280.7165 | 2604634.5809 | 1193278.5952 | 2604637.5097 | 1193275.6181 | 2604634.4191 | 1193270.8799 | 2604639.6423 | 1193267.382 | 2604636.8867 | 1193263.0888 | 2604660.521 | 1193251.8787 | 2604686.5924 | 1193242.983 | 2604689.2285 | 1193244.0856 | 2604690.9568 | 1193246.2548 | 2604702.9941 | 1193281.3048
25 | 2604559.001 | 1193177.9961 | 2604564.8109 | 1193174.7654 | 2604577.1051 | 1193167.9303
26 | 2604559.001 | 1193177.9961 | 2604561.2084 | 1193181.6886 | 2604572.8047 | 1193197.126
27 | 2604591.5839 | 1193159.8806 | 2604577.1051 | 1193167.9303
28 | 2604702.9941 | 1193281.3048 | 2604703.5218 | 1193282.9041
29 | 2604702.9941 | 1193281.3048 | 2604690.9568 | 1193246.2548 | 2604704.8009 | 1193241.1294 | 2604693.2907 | 1193214.362 | 2604684.5417 | 1193194.3892
30 | 2604747.0535 | 1193143.1218 | 2604746.1652 | 1193138.6632 | 2604741.6203 | 1193112.8016 | 2604741.2152 | 1193110.4978
31 | 2604747.0535 | 1193143.1218 | 2604749.6916 | 1193161.1445 | 2604751.3278 | 1193168.5967
32 | 2604735.8005 | 1193079.7019 | 2604741.2152 | 1193110.4978
33 | 2604684.5417 | 1193194.3892 | 2604708.0602 | 1193185.5249
34 | 2604678.4398 | 1193339.1385 | 2604669.2932 | 1193340.8323 | 2604659.2777 | 1193342.5255 | 2604656.141 | 1193343.1805
35 | 2604662.2685 | 1193477.1321 | 2604670.4739 | 1193490.123 | 2604679.2238 | 1193498.5564 | 2604678.9997 | 1193492.6309 | 2604678.4441 | 1193481.7803 | 2604678.9527 | 1193474.4991 | 2604683.0732 | 1193467.821 | 2604698.4597 | 1193458.1055 | 2604715.4325 | 1193447.1462
36 | 2604662.2685 | 1193477.1321 | 2604640.2082 | 1193436.8944
37 | 2604715.4325 | 1193447.1462 | 2604709.4718 | 1193428.9542 | 2604699.6212 | 1193400.439
38 | 2604636.9946 | 1193431.0329 | 2604640.2082 | 1193436.8944
39 | 2604705.9441 | 1193290.2451 | 2604703.5218 | 1193282.9041
40 | 2604573.8403 | 1193025.4714 | 2604566.0635 | 1193043.6973
41 | 2604573.8403 | 1193025.4714 | 2604583.3992 | 1192999.0115
42 | 2604552.3946 | 1193075.7323 | 2604566.0635 | 1193043.6973
43 | 2604805.6831 | 1193154.4295 | 2604807.9859 | 1193153.0083 | 2604824.0969 | 1193143.282
44 | 2604805.6831 | 1193154.4295 | 2604808.4832 | 1193160.1792 | 2604815.7728 | 1193155.7159 | 2604818.5514 | 1193159.6535
45 | 2604805.6831 | 1193154.4295 | 2604803.3246 | 1193149.3249 | 2604808.026 | 1193125.3225
46 | 2604805.6831 | 1193154.4295 | 2604782.6141 | 1193170.874
47 | 2604818.5514 | 1193159.6535 | 2604831.7387 | 1193178.3257
48 | 2604818.5514 | 1193159.6535 | 2604834.3051 | 1193149.6163 | 2604849.5032 | 1193138.5782 | 2604855.5691 | 1193132.5436
49 | 2604808.026 | 1193125.3225 | 2604810.397 | 1193113.2175
50 | 2604779.512 | 1193173.0853 | 2604782.6141 | 1193170.874
51 | 2604835.2849 | 1193183.3468 | 2604831.7387 | 1193178.3257
52 | 2604887.8148 | 1193073.5969 | 2604872.9386 | 1193110.4822 | 2604860.4791 | 1193127.659 | 2604855.5691 | 1193132.5436
53 | 2604728.3307 | 1193031.7486 | 2604738.2023 | 1193078.3919 | 2604735.8005 | 1193079.7019
54 | 2604735.8005 | 1193079.7019 | 2604703.2654 | 1193097.7901
55 | 2604728.3307 | 1193031.7486 | 2604726.7634 | 1193018.4959 | 2604726.8436 | 1193003.6882
56 | 2604703.2654 | 1193097.7901 | 2604696.5413 | 1193101.5285
57 | 2604779.512 | 1193173.0853 | 2604782.8696 | 1193177.5014 | 2604785.9225 | 1193181.5059
58 | 2604785.9225 | 1193181.5059 | 2604786.7152 | 1193180.8871
59 | 2604726.8436 | 1193003.6882 | 2604708.1649 | 1193001.4392 | 2604677.6211 | 1193000.9916
60 | 2604680.0443 | 1193343.7755 | 2604684.6764 | 1193357.1823
61 | 2604678.4398 | 1193339.1385 | 2604680.0443 | 1193343.7755
62 | 2604680.0443 | 1193343.7755 | 2604661.9123 | 1193347.4031
63 | 2604694.2791 | 1193384.9749 | 2604684.6764 | 1193357.1823
64 | 2604705.9441 | 1193290.2451 | 2604725.2359 | 1193286.8805 | 2604731.3963 | 1193303.2717 | 2604734.1798 | 1193310.6889 | 2604737.1346 | 1193323.2423 | 2604737.3322 | 1193324.0651
65 | 2604737.3322 | 1193324.0651 | 2604687.3674 | 1193332.4859
66 | 2604705.9441 | 1193290.2451 | 2604692.829 | 1193298.9506 | 2604691.386 | 1193302.3402
67 | 2604694.2791 | 1193384.9749 | 2604699.6212 | 1193400.439
68 | 2604903.0833 | 1193079.6347 | 2604887.8148 | 1193073.5969
69 | 2604902.2393 | 1193114.8859 | 2604909.6152 | 1193088.6002 | 2604908.1855 | 1193084.7304 | 2604903.0833 | 1193079.6347
70 | 2604557.4027 | 1193093.9062 | 2604549.4391 | 1193113.4505
71 | 2604623.4819 | 1193038.6348 | 2604633.6506 | 1193041.1426
72 | 2604613.6971 | 1193000.0548 | 2604608.4895 | 1193012.4477
73 | 2604593.353 | 1193158.8971 | 2604591.5839 | 1193159.8806
74 | 2604542.3389 | 1193099.0198 | 2604535.3659 | 1193117.9372
75 | 2604545.1941 | 1193092.6075 | 2604542.3389 | 1193099.0198
76 | 2604545.1941 | 1193092.6075 | 2604552.3946 | 1193075.7323
77 | 2604673.606 | 1193114.2796 | 2604696.5413 | 1193101.5285
78 | 2604674.7354 | 1193000.9493 | 2604677.6211 | 1193000.9916
79 | 2604657.7348 | 1193045.6453 | 2604652.6013 | 1193045.2414
80 | 2604652.6013 | 1193045.2414 | 2604649.1791 | 1193044.9722 | 2604633.6506 | 1193041.1426
81 | 2604629.7659 | 1192958.0499 | 2604630.2961 | 1192956.6639
82 | 2604613.6971 | 1193000.0548 | 2604629.7659 | 1192958.0499
83 | 2604613.6971 | 1193000.0548 | 2604639.3719 | 1193000.4311
84 | 2604620.0212 | 1193144.0707 | 2604593.353 | 1193158.8971
85 | 2604620.0212 | 1193144.0707 | 2604630.2658 | 1193138.375
86 | 2604630.2658 | 1193138.375 | 2604641.3127 | 1193132.2334
87 | 2604651.2896 | 1193126.6866 | 2604641.3127 | 1193132.2334
88 | 2604671.7353 | 1193115.3196 | 2604651.2896 | 1193126.6866
89 | 2604671.7353 | 1193115.3196 | 2604673.606 | 1193114.2796
90 | 2604674.7354 | 1193000.9493 | 2604666.6721 | 1193000.8311
91 | 2604639.3719 | 1193000.4311 | 2604656.219 | 1193000.678
92 | 2604656.219 | 1193000.678 | 2604666.6721 | 1193000.8311

## bus_geodata
| x | y | coords
0 | 2604588.2363 | 1193090.5553
1 | 2604595.2357 | 1193073.3572
2 | 2604582.6825 | 1193104.4863
3 | 2604593.3551 | 1193050.0376
4 | 2604610.1913 | 1193080.2833
5 | 2604576.2685 | 1193119.6643
6 | 2604579.2692 | 1193103.0386
7 | 2604600.2056 | 1193032.1615
8 | 2604715.9708 | 1193205.5305
9 | 2604760.0506 | 1193188.2558
10 | 2604714.7056 | 1193202.3307
11 | 2604603.2308 | 1193354.4669
12 | 2604619.7094 | 1193362.05
13 | 2604600.8514 | 1193350.8436
14 | 2604578.6323 | 1193310.9809
15 | 2604616.3793 | 1193291.477
16 | 2604559.001 | 1193177.9961
17 | 2604577.1051 | 1193167.9303
18 | 2604572.8047 | 1193197.126
19 | 2604618.0156 | 1193294.4354
20 | 2604702.9941 | 1193281.3048
21 | 2604622.5693 | 1193069.1757
22 | 2604747.0535 | 1193143.1218
23 | 2604741.2152 | 1193110.4978
24 | 2604751.3278 | 1193168.5967
25 | 2604684.5417 | 1193194.3892
26 | 2604708.0602 | 1193185.5249
27 | 2604656.141 | 1193343.1805
28 | 2604662.2685 | 1193477.1321
29 | 2604715.4325 | 1193447.1462
30 | 2604640.2082 | 1193436.8944
31 | 2604703.5218 | 1193282.9041
32 | 2604573.8403 | 1193025.4714
33 | 2604566.0635 | 1193043.6973
34 | 2604583.3992 | 1192999.0115
35 | 2604805.6831 | 1193154.4295
36 | 2604824.0969 | 1193143.282
37 | 2604818.5514 | 1193159.6535
38 | 2604808.026 | 1193125.3225
39 | 2604782.6141 | 1193170.874
40 | 2604831.7387 | 1193178.3257
41 | 2604855.5691 | 1193132.5436
42 | 2604735.8005 | 1193079.7019
43 | 2604728.3307 | 1193031.7486
44 | 2604703.2654 | 1193097.7901
45 | 2604785.9225 | 1193181.5059
46 | 2604779.512 | 1193173.0853
47 | 2604786.7152 | 1193180.8871
48 | 2604726.8436 | 1193003.6882
49 | 2604680.0443 | 1193343.7755
50 | 2604684.6764 | 1193357.1823
51 | 2604678.4398 | 1193339.1385
52 | 2604661.9123 | 1193347.4031
53 | 2604737.3322 | 1193324.0651
54 | 2604705.9441 | 1193290.2451
55 | 2604687.3674 | 1193332.4859
56 | 2604699.6212 | 1193400.439
57 | 2604691.386 | 1193302.3402
58 | 2604887.8148 | 1193073.5969
59 | 2604903.0833 | 1193079.6347
60 | 2604557.4027 | 1193093.9062
61 | 2604577.7159 | 1193099.6244
62 | 2604623.4819 | 1193038.6348
63 | 2604608.4895 | 1193012.4477
64 | 2604591.5839 | 1193159.8806
65 | 2604535.3659 | 1193117.9372
66 | 2604542.3389 | 1193099.0198
67 | 2604636.9946 | 1193431.0329
68 | 2604552.3946 | 1193075.7323
69 | 2604810.397 | 1193113.2175
70 | 2604835.2849 | 1193183.3468
71 | 2604696.5413 | 1193101.5285
72 | 2604677.6211 | 1193000.9916
73 | 2604657.7348 | 1193045.6453
74 | 2604652.6013 | 1193045.2414
75 | 2604694.2791 | 1193384.9749
76 | 2604902.2393 | 1193114.8859
77 | 2604549.4391 | 1193113.4505
78 | 2604630.2961 | 1192956.6639
79 | 2604629.7659 | 1192958.0499
80 | 2604633.6506 | 1193041.1426
81 | 2604613.6971 | 1193000.0548
82 | 2604545.1941 | 1193092.6075
83 | 2604620.0212 | 1193144.0707
84 | 2604593.353 | 1193158.8971
85 | 2604630.2658 | 1193138.375
86 | 2604641.3127 | 1193132.2334
87 | 2604651.2896 | 1193126.6866
88 | 2604671.7353 | 1193115.3196
89 | 2604674.7354 | 1193000.9493
90 | 2604673.606 | 1193114.2796
91 | 2604639.3719 | 1193000.4311
92 | 2604656.219 | 1193000.678
93 | 2604666.6721 | 1193000.8311
94 | 2604735.8005 | 1193079.7019

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1