## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_863-1_4_2_node_183 | 0.4 | n |  | TRUE
1 | bus_LV_863-1_4_2_node_185 | 0.4 | n |  | TRUE
2 | bus_LV_863-1_4_2_node_187 | 0.4 | n |  | TRUE
3 | bus_LV_863-1_4_2_node_214 | 0.4 | n |  | TRUE
4 | bus_LV_863-1_4_2_node_210 | 0.4 | n |  | TRUE
5 | bus_LV_863-1_4_2_node_211 | 0.4 | n |  | TRUE
6 | bus_LV_863-1_4_2_node_212 | 0.4 | n |  | TRUE
7 | bus_LV_863-1_4_2_node_213 | 0.4 | n |  | TRUE
8 | bus_LV_863-1_4_2_node_215 | 0.4 | n |  | TRUE
9 | bus_LV_863-1_4_2_node_216 | 0.4 | n |  | TRUE
10 | bus_LV_863-1_4_2_node_217 | 0.4 | n |  | TRUE
11 | bus_LV_863-1_4_2_node_334 | 0.4 | n |  | TRUE
12 | bus_LV_863-1_4_2_node_349 | 0.4 | n |  | TRUE
13 | bus_LV_863-1_4_2_node_218 | 0.4 | n |  | TRUE
14 | bus_LV_863-1_4_2_node_219 | 0.4 | n |  | TRUE
15 | bus_LV_863-1_4_2_node_220 | 0.4 | n |  | TRUE
16 | bus_LV_863-1_4_2_node_221 | 0.4 | n |  | TRUE
17 | bus_LV_863-1_4_2_node_222 | 0.4 | n |  | TRUE
18 | bus_LV_863-1_4_2_node_223 | 0.4 | n |  | TRUE
19 | bus_LV_863-1_4_2_node_224 | 0.4 | n |  | TRUE
20 | bus_LV_863-1_4_2_node_225 | 0.4 | n |  | TRUE
21 | bus_LV_863-1_4_2_node_226 | 0.4 | n |  | TRUE
22 | bus_LV_863-1_4_2_node_227 | 0.4 | n |  | TRUE
23 | bus_LV_863-1_4_2_node_228 | 0.4 | n |  | TRUE
24 | bus_LV_863-1_4_2_node_277 | 0.4 | n |  | TRUE
25 | bus_LV_863-1_4_2_node_350 | 0.4 | n |  | TRUE
26 | bus_LV_863-1_4_2_node_348 | 0.4 | n |  | TRUE
27 | bus_LV_863-1_4_2_node_322 | 0.4 | n |  | TRUE
28 | bus_LV_863-1_4_2_node_243 | 0.4 | n |  | TRUE
29 | bus_LV_863-1_4_2_node_244 | 0.4 | n |  | TRUE
30 | bus_LV_863-1_4_2_node_245 | 0.4 | n |  | TRUE
31 | bus_LV_863-1_4_2_node_246 | 0.4 | n |  | TRUE
32 | bus_LV_863-1_4_2_node_250 | 0.4 | n |  | TRUE
33 | bus_LV_863-1_4_2_node_247 | 0.4 | n |  | TRUE
34 | bus_LV_863-1_4_2_node_248 | 0.4 | n |  | TRUE
35 | bus_LV_863-1_4_2_node_249 | 0.4 | n |  | TRUE
36 | bus_LV_863-1_4_2_node_275 | 0.4 | n |  | TRUE
37 | bus_LV_863-1_4_2_node_315 | 0.4 | n |  | TRUE
38 | bus_LV_863-1_4_2_node_264 | 0.4 | n |  | TRUE
39 | bus_LV_863-1_4_2_node_265 | 0.4 | n |  | TRUE
40 | bus_LV_863-1_4_2_node_266 | 0.4 | n |  | TRUE
41 | bus_LV_863-1_4_2_node_267 | 0.4 | n |  | TRUE
42 | bus_LV_863-1_4_2_node_268 | 0.4 | n |  | TRUE
43 | bus_LV_863-1_4_2_node_269 | 0.4 | n |  | TRUE
44 | bus_LV_863-1_4_2_node_305 | 0.4 | n |  | TRUE
45 | bus_LV_863-1_4_2_node_283 | 0.4 | n |  | TRUE
46 | bus_LV_863-1_4_2_node_280 | 0.4 | n |  | TRUE
47 | bus_LV_863-1_4_2_node_276 | 0.4 | n |  | TRUE
48 | bus_LV_863-1_4_2_node_290 | 0.4 | n |  | TRUE
49 | bus_LV_863-1_4_2_node_278 | 0.4 | n |  | TRUE
50 | bus_LV_863-1_4_2_node_279 | 0.4 | n |  | TRUE
51 | bus_LV_863-1_4_2_node_289 | 0.4 | n |  | TRUE
52 | bus_LV_863-1_4_2_node_281 | 0.4 | n |  | TRUE
53 | bus_LV_863-1_4_2_node_282 | 0.4 | n |  | TRUE
54 | bus_LV_863-1_4_2_node_284 | 0.4 | n |  | TRUE
55 | bus_LV_863-1_4_2_node_292 | 0.4 | n |  | TRUE
56 | bus_LV_863-1_4_2_node_285 | 0.4 | n |  | TRUE
57 | bus_LV_863-1_4_2_node_286 | 0.4 | n |  | TRUE
58 | bus_LV_863-1_4_2_node_287 | 0.4 | n |  | TRUE
59 | bus_LV_863-1_4_2_node_288 | 0.4 | n |  | TRUE
60 | bus_LV_863-1_4_2_node_291 | 0.4 | n |  | TRUE
61 | bus_LV_863-1_4_2_node_358 | 0.4 | n |  | TRUE
62 | bus_LV_863-1_4_2_node_293 | 0.4 | n |  | TRUE
63 | bus_LV_863-1_4_2_node_294 | 0.4 | n |  | TRUE
64 | bus_LV_863-1_4_2_node_295 | 0.4 | n |  | TRUE
65 | bus_LV_863-1_4_2_node_329 | 0.4 | n |  | TRUE
66 | bus_LV_863-1_4_2_node_330 | 0.4 | n |  | TRUE
67 | bus_LV_863-1_4_2_node_299 | 0.4 | n |  | TRUE
68 | bus_LV_863-1_4_2_node_300 | 0.4 | n |  | TRUE
69 | bus_LV_863-1_4_2_node_301 | 0.4 | n |  | TRUE
70 | bus_LV_863-1_4_2_node_302 | 0.4 | n |  | TRUE
71 | bus_LV_863-1_4_2_node_314 | 0.4 | n |  | TRUE
72 | bus_LV_863-1_4_2_node_303 | 0.4 | n |  | TRUE
73 | bus_LV_863-1_4_2_node_304 | 0.4 | n |  | TRUE
74 | bus_LV_863-1_4_2_node_306 | 0.4 | n |  | TRUE
75 | bus_LV_863-1_4_2_node_307 | 0.4 | n |  | TRUE
76 | bus_LV_863-1_4_2_node_369 | 0.4 | n |  | TRUE
77 | bus_LV_863-1_4_2_node_308 | 0.4 | n |  | TRUE
78 | bus_LV_863-1_4_2_node_317 | 0.4 | n |  | TRUE
79 | bus_LV_863-1_4_2_node_323 | 0.4 | n |  | TRUE
80 | bus_LV_863-1_4_2_node_324 | 0.4 | n |  | TRUE
81 | bus_LV_863-1_4_2_node_325 | 0.4 | n |  | TRUE
82 | bus_LV_863-1_4_2_node_326 | 0.4 | n |  | TRUE
83 | bus_LV_863-1_4_2_node_327 | 0.4 | n |  | TRUE
84 | bus_LV_863-1_4_2_node_328 | 0.4 | n |  | TRUE
85 | bus_LV_863-1_4_2_node_331 | 0.4 | n |  | TRUE
86 | bus_LV_863-1_4_2_node_333 | 0.4 | n |  | TRUE
87 | bus_LV_863-1_4_2_node_332 | 0.4 | n |  | TRUE
88 | bus_LV_863-1_4_2_node_347 | 0.4 | n |  | TRUE
89 | bus_LV_863-1_4_2_node_351 | 0.4 | n |  | TRUE
90 | bus_LV_863-1_4_2_node_352 | 0.4 | n |  | TRUE
91 | bus_LV_863-1_4_2_node_353 | 0.4 | n |  | TRUE
92 | bus_LV_863-1_4_2_node_354 | 0.4 | n |  | TRUE
93 | bus_LV_863-1_4_2_node_355 | 0.4 | n |  | TRUE
94 | bus_LV_863-1_4_2_node_356 | 0.4 | n |  | TRUE
95 | bus_LV_863-1_4_2_node_357 | 0.4 | n |  | TRUE
96 | bus_MV_122_1_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_863-1_4_2_load_183 | 0 | 0.0016314 | 0.00040887 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_863-1_4_2_load_185 | 1 | 0.0010066 | 0.00025228 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_863-1_4_2_load_187 | 2 | 0.001503 | 0.00037669 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_863-1_4_2_load_214 | 3 | 0.0018768 | 0.00047037 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_863-1_4_2_load_210 | 4 | 0.004534 | 0.0011363 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_863-1_4_2_load_211 | 5 | 0.0017018 | 0.00042652 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_863-1_4_2_load_213 | 7 | 0.001719 | 0.00043082 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_863-1_4_2_load_215 | 8 | 0.0021173 | 0.00053064 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_863-1_4_2_load_216 | 9 | 0.0016246 | 0.00040717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_863-1_4_2_load_217 | 10 | 0.0010747 | 0.00026935 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_863-1_4_2_load_334 | 11 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_863-1_4_2_load_349 | 12 | 0.0022068 | 0.00055306 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_863-1_4_2_load_218 | 13 | 0.00050406 | 0.00012633 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_863-1_4_2_load_219 | 14 | 0.00099822 | 0.00025018 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_863-1_4_2_load_220 | 15 | 0.00016672 | 4.1785e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_863-1_4_2_load_222 | 17 | 0.00025826 | 6.4727e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_863-1_4_2_load_223 | 18 | 0.0012286 | 0.00030792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_863-1_4_2_load_225 | 20 | 0.0018874 | 0.00047303 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_863-1_4_2_load_227 | 22 | 0.00059418 | 0.00014891 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_863-1_4_2_load_350 | 25 | 0.001693 | 0.00042431 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_863-1_4_2_load_348 | 26 | 0.0016985 | 0.00042568 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_863-1_4_2_load_322 | 27 | 0.00053312 | 0.00013361 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_863-1_4_2_load_243 | 28 | 0.0014743 | 0.00036949 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_863-1_4_2_load_246 | 31 | 0.0011818 | 0.00029619 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_863-1_4_2_load_250 | 32 | 0.0014129 | 0.00035411 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_863-1_4_2_load_247 | 33 | 0.0010546 | 0.00026431 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_863-1_4_2_load_248 | 34 | 0.00024562 | 6.1558e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_863-1_4_2_load_249 | 35 | 0.00039516 | 9.9037e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_863-1_4_2_load_275 | 36 | 0.00095693 | 0.00023983 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_863-1_4_2_load_315 | 37 | 0.00043713 | 0.00010955 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_863-1_4_2_load_264 | 38 | 0.0012369 | 0.00031 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_863-1_4_2_load_266 | 40 | 0.00060899 | 0.00015263 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_863-1_4_2_load_267 | 41 | 0.0006745 | 0.00016905 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_863-1_4_2_load_268 | 42 | 0.0001938 | 4.857e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_863-1_4_2_load_283 | 45 | 0.00073742 | 0.00018482 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_863-1_4_2_load_280 | 46 | 0.00060579 | 0.00015183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_863-1_4_2_load_276 | 47 | 0.0012629 | 0.00031651 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_863-1_4_2_load_290 | 48 | 0.00023384 | 5.8606e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_863-1_4_2_load_278 | 49 | 0.00019093 | 4.7851e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_863-1_4_2_load_279 | 50 | 0.00072814 | 0.00018249 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_863-1_4_2_load_289 | 51 | 0.00038692 | 9.6971e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_863-1_4_2_load_281 | 52 | 0.00049352 | 0.00012369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_863-1_4_2_load_282 | 53 | 0.00052187 | 0.00013079 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_863-1_4_2_load_284 | 54 | 0.00087377 | 0.00021899 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_863-1_4_2_load_285 | 56 | 0.00034998 | 8.7712e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_863-1_4_2_load_286 | 57 | 0.00027884 | 6.9883e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_863-1_4_2_load_288 | 59 | 0.00036394 | 9.1212e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_863-1_4_2_load_291 | 60 | 0.00040294 | 0.00010099 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_863-1_4_2_load_358 | 61 | 0.00059603 | 0.00014938 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_863-1_4_2_load_293 | 62 | 0.00090877 | 0.00022776 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_863-1_4_2_load_329 | 65 | 0.0025948 | 0.00065032 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_863-1_4_2_load_330 | 66 | 0.00064029 | 0.00016047 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_863-1_4_2_load_299 | 67 | 0.00046153 | 0.00011567 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_863-1_4_2_load_301 | 69 | 0.00018489 | 4.6337e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_863-1_4_2_load_302 | 70 | 0.00030546 | 7.6556e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_863-1_4_2_load_303 | 72 | 0.00035285 | 8.8433e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_863-1_4_2_load_304 | 73 | 0.00032634 | 8.1789e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_863-1_4_2_load_306 | 74 | 0.0004136 | 0.00010366 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_863-1_4_2_load_369 | 76 | 0.0005948 | 0.00014907 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_863-1_4_2_load_317 | 78 | 0.0033844 | 0.00084821 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_863-1_4_2_load_323 | 79 | 0.0018956 | 0.00047508 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_863-1_4_2_load_325 | 81 | 0.00033227 | 8.3274e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_863-1_4_2_load_327 | 83 | 0.002053 | 0.00051453 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_863-1_4_2_load_331 | 85 | 0.00069007 | 0.00017295 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_863-1_4_2_load_333 | 86 | 0.0029915 | 0.00074975 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_863-1_4_2_load_332 | 87 | 0.00083656 | 0.00020966 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_863-1_4_2_load_347 | 88 | 0.0024714 | 0.0006194 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_863-1_4_2_load_351 | 89 | 0.0021845 | 0.00054749 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_863-1_4_2_load_352 | 90 | 0.0016763 | 0.00042011 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_863-1_4_2_load_353 | 91 | 0.0012417 | 0.0003112 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_863-1_4_2_load_354 | 92 | 0.00216 | 0.00054134 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_863-1_4_2_load_355 | 93 | 0.001703 | 0.00042682 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_863-1_4_2_load_356 | 94 | 0.0025649 | 0.00064283 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_863-1_4_2_load_357 | 95 | 0.00087667 | 0.00021971 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_863-1_4_2_line_0 |  | 0 | 1 | 0.0093519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_863-1_4_2_line_1 |  | 1 | 2 | 0.0011476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_863-1_4_2_line_2 |  | 2 | 3 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_863-1_4_2_line_3 |  | 3 | 6 | 0.04048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_863-1_4_2_line_4 |  | 4 | 5 | 0.032835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_863-1_4_2_line_5 |  | 4 | 6 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_863-1_4_2_line_6 |  | 5 | 7 | 0.025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_863-1_4_2_line_7 |  | 6 | 8 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_863-1_4_2_line_8 |  | 7 | 9 | 0.011307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_863-1_4_2_line_9 |  | 8 | 10 | 0.0057531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_863-1_4_2_line_10 |  | 9 | 11 | 0.0075048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_863-1_4_2_line_11 |  | 10 | 12 | 0.016411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_863-1_4_2_line_12 |  | 12 | 88 | 0.0068844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_863-1_4_2_line_13 |  | 13 | 14 | 0.0022122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_863-1_4_2_line_14 |  | 13 | 15 | 0.0018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_863-1_4_2_line_15 |  | 14 | 16 | 0.014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_863-1_4_2_line_16 |  | 15 | 17 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_863-1_4_2_line_17 |  | 16 | 18 | 0.043878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_863-1_4_2_line_18 |  | 16 | 19 | 0.11557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_863-1_4_2_line_19 |  | 17 | 20 | 0.016098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_863-1_4_2_line_20 |  | 18 | 21 | 0.056729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_863-1_4_2_line_21 |  | 19 | 22 | 0.054263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_863-1_4_2_line_22 |  | 19 | 23 | 0.052183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_863-1_4_2_line_23 |  | 20 | 24 | 0.027637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_863-1_4_2_line_24 |  | 21 | 25 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_863-1_4_2_line_25 |  | 21 | 26 | 0.031048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_863-1_4_2_line_26 |  | 23 | 27 | 0.0064141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_863-1_4_2_line_27 |  | 24 | 49 | 0.048008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_863-1_4_2_line_28 |  | 24 | 50 | 0.061104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_863-1_4_2_line_29 |  | 26 | 88 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_863-1_4_2_line_30 |  | 27 | 77 | 0.043686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_863-1_4_2_line_31 |  | 28 | 29 | 0.0768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_863-1_4_2_line_32 |  | 28 | 30 | 0.014639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_863-1_4_2_line_33 |  | 29 | 31 | 0.028114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_863-1_4_2_line_34 |  | 29 | 32 | 0.15463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_863-1_4_2_line_35 |  | 30 | 33 | 0.11858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_863-1_4_2_line_36 |  | 30 | 34 | 0.028599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_863-1_4_2_line_37 |  | 31 | 35 | 0.11689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_863-1_4_2_line_38 |  | 32 | 37 | 0.21368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_863-1_4_2_line_39 |  | 35 | 36 | 0.0062568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_863-1_4_2_line_40 |  | 36 | 47 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_863-1_4_2_line_41 |  | 37 | 78 | 0.011825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_863-1_4_2_line_42 |  | 37 | 71 | 0.074642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_863-1_4_2_line_43 |  | 38 | 39 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_863-1_4_2_line_44 |  | 39 | 40 | 0.092287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_863-1_4_2_line_45 |  | 39 | 41 | 0.015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_863-1_4_2_line_46 |  | 40 | 42 | 0.023977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_863-1_4_2_line_47 |  | 41 | 43 | 0.022684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_863-1_4_2_line_48 |  | 42 | 44 | 0.045252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_863-1_4_2_line_49 |  | 43 | 45 | 0.033671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_863-1_4_2_line_50 |  | 43 | 46 | 0.036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_863-1_4_2_line_51 |  | 44 | 75 | 0.075707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_863-1_4_2_line_52 |  | 44 | 72 | 0.038594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_863-1_4_2_line_53 |  | 45 | 54 | 0.0013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_863-1_4_2_line_54 |  | 46 | 52 | 0.0011775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_863-1_4_2_line_55 |  | 47 | 48 | 0.007295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_863-1_4_2_line_56 |  | 48 | 58 | 0.0076675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_863-1_4_2_line_57 |  | 49 | 51 | 0.047286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_863-1_4_2_line_58 |  | 51 | 58 | 0.085108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_863-1_4_2_line_59 |  | 52 | 53 | 0.0088693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_863-1_4_2_line_60 |  | 54 | 55 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_863-1_4_2_line_61 |  | 55 | 62 | 0.049234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_863-1_4_2_line_62 |  | 55 | 63 | 0.005044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_863-1_4_2_line_63 |  | 56 | 57 | 0.02061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_863-1_4_2_line_64 |  | 56 | 58 | 0.061097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_863-1_4_2_line_65 |  | 57 | 59 | 0.022395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_863-1_4_2_line_66 |  | 59 | 60 | 0.021307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_863-1_4_2_line_67 |  | 60 | 61 | 0.017246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_863-1_4_2_line_68 |  | 61 | 95 | 0.02158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_863-1_4_2_line_69 |  | 63 | 64 | 0.00318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_863-1_4_2_line_70 |  | 64 | 65 | 0.018086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_863-1_4_2_line_71 |  | 64 | 66 | 0.041841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_863-1_4_2_line_72 |  | 65 | 82 | 0.066595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_863-1_4_2_line_73 |  | 66 | 86 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_863-1_4_2_line_74 |  | 67 | 68 | 0.071131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_863-1_4_2_line_75 |  | 68 | 69 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_863-1_4_2_line_76 |  | 68 | 70 | 0.088826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_863-1_4_2_line_77 |  | 70 | 71 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_863-1_4_2_line_78 |  | 72 | 73 | 0.0022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_863-1_4_2_line_79 |  | 73 | 74 | 0.03419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_863-1_4_2_line_80 |  | 75 | 76 | 0.042154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_863-1_4_2_line_81 |  | 75 | 77 | 0.041398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_863-1_4_2_line_82 |  | 79 | 80 | 0.029964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_863-1_4_2_line_83 |  | 80 | 81 | 0.021487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_863-1_4_2_line_84 |  | 80 | 82 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_863-1_4_2_line_85 |  | 81 | 83 | 0.086513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_863-1_4_2_line_86 |  | 82 | 84 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_863-1_4_2_line_87 |  | 84 | 85 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_863-1_4_2_line_88 |  | 85 | 87 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_863-1_4_2_line_89 |  | 89 | 90 | 0.0281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_863-1_4_2_line_90 |  | 89 | 91 | 0.024422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_863-1_4_2_line_91 |  | 90 | 92 | 0.023051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_863-1_4_2_line_92 |  | 92 | 93 | 0.020751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_863-1_4_2_line_93 |  | 93 | 94 | 0.042664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_863-1_4_2_line_94 |  | 94 | 95 | 0.020175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_863-1_4_2_trafo_278 | 0.63 MVA 20/0.4 kV | 96 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604950.6064 | 1182451.5185 | 2604948.6226 | 1182442.3795
1 | 2604950.6064 | 1182451.5185 | 2604950.797 | 1182452.6502
2 | 2604950.797 | 1182452.6502 | 2604953.6535 | 1182469.6098
3 | 2604959.8889 | 1182509.5781 | 2604959.7394 | 1182505.7427 | 2604953.6535 | 1182469.6098
4 | 2604974.2455 | 1182507.7948 | 2604978.3826 | 1182507.2809 | 2604987.5292 | 1182507.2884 | 2604997.5951 | 1182512.7773 | 2605002.622 | 1182518.2509 | 2605002.878 | 1182518.8187
5 | 2604959.8889 | 1182509.5781 | 2604974.2455 | 1182507.7948
6 | 2605013.9471 | 1182541.7786 | 2605006.7374 | 1182527.3812 | 2605002.878 | 1182518.8187
7 | 2604959.8889 | 1182509.5781 | 2604960.6794 | 1182529.7545
8 | 2605016.89 | 1182552.5562 | 2605015.8765 | 1182545.6315 | 2605013.9471 | 1182541.7786
9 | 2604960.9046 | 1182535.5032 | 2604960.6794 | 1182529.7545
10 | 2605017.9768 | 1182559.9819 | 2605016.89 | 1182552.5562
11 | 2604960.9046 | 1182535.5032 | 2604961.0183 | 1182538.4049 | 2604960.5077 | 1182551.9021
12 | 2604960.2474 | 1182558.7817 | 2604960.5077 | 1182551.9021
13 | 2604958.2 | 1182713.3217 | 2604958.3934 | 1182711.118
14 | 2604958.2 | 1182713.3217 | 2604958.0415 | 1182715.1265
15 | 2604959.6675 | 1182696.6072 | 2604958.3934 | 1182711.118
16 | 2604967.4479 | 1182733.099 | 2604958.0415 | 1182715.1265 | 2604958.0415 | 1182715.1265
17 | 2604959.6675 | 1182696.6072 | 2604953.6709 | 1182691.4664 | 2604950.3081 | 1182686.3388 | 2604947.9942 | 1182677.7102 | 2604950.4334 | 1182663.8162 | 2604951.1666 | 1182657.0482
18 | 2604959.6675 | 1182696.6072 | 2604985.9665 | 1182699.597 | 2604997.3524 | 1182705.7094 | 2605007.0501 | 1182712.9211 | 2605015.4577 | 1182719.9094 | 2605024.7741 | 1182726.5539 | 2605033.4895 | 1182730.6965 | 2605041.8623 | 1182733.5049 | 2605049.6475 | 1182736.0683 | 2605055.2336 | 1182739.0411 | 2605062.2375 | 1182744.6498
19 | 2604967.4479 | 1182733.099 | 2604967.4479 | 1182733.099 | 2604964.3224 | 1182748.8904
20 | 2604957.0203 | 1182600.6225 | 2604954.3951 | 1182627.2451 | 2604951.1666 | 1182657.0482
21 | 2605062.2375 | 1182744.6498 | 2605055.2679 | 1182752.8038 | 2605052.5965 | 1182761.1725 | 2605050.03 | 1182771.887 | 2605046.4384 | 1182775.8638 | 2605039.5817 | 1182776.9809 | 2605028.7284 | 1182773.1922
22 | 2605062.2375 | 1182744.6498 | 2605067.8514 | 1182750.8132 | 2605073.7301 | 1182759.8672 | 2605075.5083 | 1182769.7515 | 2605074.3966 | 1182775.3757 | 2605071.3354 | 1182784.2444 | 2605067.4055 | 1182791.0891
23 | 2604947.7819 | 1182769.6795 | 2604962.9248 | 1182755.9515 | 2604964.3224 | 1182748.8904
24 | 2604957.0203 | 1182600.6225 | 2604953.6366 | 1182602.454 | 2604951.3807 | 1182606.8878 | 2604949.6313 | 1182617.4584
25 | 2604957.0203 | 1182600.6225 | 2604959.6839 | 1182573.6775 | 2604959.834 | 1182569.709
26 | 2605067.4055 | 1182791.0891 | 2605073.129 | 1182793.9842
27 | 2604947.7819 | 1182769.6795 | 2604935.8555 | 1182780.4865 | 2604910.8448 | 1182800.3096
28 | 2604936.0242 | 1182826.5547 | 2604937.3978 | 1182817.8958 | 2604941.0676 | 1182811.5066 | 2604945.1897 | 1182802.85 | 2604951.152 | 1182793.7279 | 2604951.1613 | 1182782.3221 | 2604947.7819 | 1182769.6795
29 | 2604960.2474 | 1182558.7817 | 2604959.834 | 1182569.709
30 | 2605071.4433 | 1182828.7896 | 2605079.9556 | 1182810.7319 | 2605068.6478 | 1182802.8628 | 2605072.4177 | 1182795.5178 | 2605073.129 | 1182793.9842
31 | 2604644.6764 | 1182956.1917 | 2604663.046 | 1182964.3766 | 2604676.9754 | 1182968.5784 | 2604694.0656 | 1182972.538 | 2604714.0257 | 1182977.2225 | 2604717.8592 | 1182978.6615
32 | 2604731.5643 | 1182983.8062 | 2604717.8592 | 1182978.6615
33 | 2604644.6764 | 1182956.1917 | 2604670.1057 | 1182944.2016
34 | 2604644.6764 | 1182956.1917 | 2604490.0906 | 1182959.9184
35 | 2604731.5643 | 1182983.8062 | 2604756.9115 | 1182991.8857 | 2604765.8556 | 1182996.0948 | 2604773.8065 | 1183001.1704 | 2604783.8011 | 1183009.2046 | 2604793.6571 | 1183018.7061 | 2604800.2391 | 1183026.771 | 2604804.3632 | 1183034.3337 | 2604806.5263 | 1183040.672 | 2604806.9487 | 1183047.209 | 2604805.803 | 1183061.0331
36 | 2604723.0995 | 1183011.1248 | 2604731.5643 | 1182983.8062
37 | 2604670.1057 | 1182944.2016 | 2604680.1966 | 1182939.4437 | 2604763.3464 | 1182895.4745 | 2604771.8737 | 1182887.4959
38 | 2604490.0906 | 1182959.9184 | 2604343.4837 | 1183115.3752
39 | 2604776.4425 | 1182883.2211 | 2604771.8737 | 1182887.4959
40 | 2604776.4425 | 1182883.2211 | 2604785.7427 | 1182874.5193
41 | 2604352.2151 | 1183123.3503 | 2604343.4837 | 1183115.3752
42 | 2604284.8119 | 1183071.2535 | 2604313.1331 | 1183084.3358 | 2604332.9819 | 1183105.7831 | 2604343.4837 | 1183115.3752
43 | 2604991.0964 | 1183053.4051 | 2605004.4199 | 1183051.226
44 | 2604991.0964 | 1183053.4051 | 2604994.098 | 1183014.5542 | 2604996.9022 | 1183002.4059 | 2605001.1095 | 1182992.0929 | 2605008.6489 | 1182977.6028 | 2605014.8509 | 1182965.7465
45 | 2604991.0964 | 1183053.4051 | 2604989.3624 | 1183068.736
46 | 2605014.8509 | 1182965.7465 | 2605020.0649 | 1182955.7788 | 2605024.3361 | 1182943.7893
47 | 2604986.813 | 1183091.2766 | 2604989.3624 | 1183068.736
48 | 2605034.647 | 1182900.0289 | 2605032.1324 | 1182921.9047 | 2605024.3361 | 1182943.7893
49 | 2604986.813 | 1183091.2766 | 2604983.9482 | 1183124.8257
50 | 2604986.813 | 1183091.2766 | 2605021.804 | 1183096.119 | 2605022.1291 | 1183097.5514
51 | 2605034.647 | 1182900.0289 | 2605035.4314 | 1182893.1705 | 2605034.9366 | 1182872.9152 | 2605032.9616 | 1182860.9185 | 2605033.2512 | 1182852.381 | 2605033.7835 | 1182836.44 | 2605039.747 | 1182826.1507
52 | 2605034.647 | 1182900.0289 | 2605029.241 | 1182900.9804 | 2605026.268 | 1182904.8578 | 2605024.5178 | 1182916.3845 | 2605021.241 | 1182918.4272 | 2605008.9368 | 1182915.2857
53 | 2604983.8333 | 1183126.1714 | 2604983.9482 | 1183124.8257
54 | 2605022.1291 | 1183097.5514 | 2605022.3896 | 1183098.6996
55 | 2604785.7427 | 1182874.5193 | 2604790.8047 | 1182869.7829 | 2604791.0956 | 1182869.5663
56 | 2604797.2444 | 1182864.9855 | 2604791.0956 | 1182869.5663
57 | 2604870.709 | 1182824.268 | 2604875.2104 | 1182823.3039 | 2604891.5926 | 1182815.5687 | 2604910.8448 | 1182800.3096
58 | 2604797.2444 | 1182864.9855 | 2604831.3753 | 1182839.5995 | 2604854.3188 | 1182827.7784 | 2604870.709 | 1182824.268
59 | 2605024.3522 | 1183107.3491 | 2605022.3896 | 1183098.6996
60 | 2604982.4656 | 1183142.188 | 2604983.8333 | 1183126.1714
61 | 2604982.4656 | 1183142.188 | 2605017.0052 | 1183147.8527 | 2605031.3353 | 1183146.7418
62 | 2604982.0339 | 1183147.2125 | 2604982.4656 | 1183142.188
63 | 2604823.7577 | 1182809.9415 | 2604824.575 | 1182808.2447 | 2604833.7049 | 1182791.895
64 | 2604797.2444 | 1182864.9855 | 2604823.7577 | 1182809.9415
65 | 2604844.6236 | 1182772.3419 | 2604833.7049 | 1182791.895
66 | 2604850.5824 | 1182752.173 | 2604848.2224 | 1182765.8973 | 2604844.6236 | 1182772.3419
67 | 2604853.2487 | 1182735.143 | 2604852.9626 | 1182738.3314 | 2604850.5824 | 1182752.173
68 | 2604853.2487 | 1182735.143 | 2604855.178 | 1182713.6491
69 | 2604982.0339 | 1183147.2125 | 2604981.7641 | 1183150.3806
70 | 2604981.7641 | 1183150.3806 | 2604981.0327 | 1183168.4519
71 | 2604981.7641 | 1183150.3806 | 2605000.6255 | 1183153.3531 | 2605003.2276 | 1183154.7226 | 2605005.1728 | 1183156.5696 | 2605010.759 | 1183172.757
72 | 2604992.681 | 1183233.7768 | 2604982.2285 | 1183189.1675 | 2604981.1902 | 1183179.9508 | 2604980.9772 | 1183169.8232 | 2604981.0327 | 1183168.4519
73 | 2605016.8331 | 1183181.1834 | 2605013.9021 | 1183180 | 2605012.5983 | 1183178.0868 | 2605010.759 | 1183172.757
74 | 2604203.5928 | 1183014.2899 | 2604215.1137 | 1183013.1528 | 2604274.1222 | 1183005.1127
75 | 2604203.5928 | 1183014.2899 | 2604194.9435 | 1183013.8726 | 2604186.1955 | 1183012.5326 | 2604186.1955 | 1183012.5326
76 | 2604203.5928 | 1183014.2899 | 2604205.1007 | 1183019.6715 | 2604206.7927 | 1183023.7525 | 2604208.5386 | 1183027.111 | 2604213.3363 | 1183033.2953 | 2604220.24 | 1183040.904 | 2604228.1826 | 1183047.5351 | 2604235.5386 | 1183052.3983 | 2604243.9333 | 1183056.6396 | 2604252.7634 | 1183060.5589 | 2604262.9979 | 1183064.6904 | 2604270.2452 | 1183067.1861
77 | 2604284.8119 | 1183071.2535 | 2604274.1259 | 1183068.5224 | 2604270.2452 | 1183067.1861
78 | 2605008.9368 | 1182915.2857 | 2605006.7186 | 1182914.7193
79 | 2604975.5716 | 1182919.0011 | 2604984.9984 | 1182911.7606 | 2604991.1449 | 1182910.7429 | 2605006.7186 | 1182914.7193
80 | 2605039.747 | 1182826.1507 | 2605031.2398 | 1182829.0229 | 2605023.6592 | 1182837.5988 | 2605021.2899 | 1182859.2302
81 | 2605039.747 | 1182826.1507 | 2605044.4642 | 1182818.0171 | 2605047.4406 | 1182819.3647 | 2605050.1035 | 1182821.1568 | 2605053.6365 | 1182823.2941 | 2605064.1208 | 1182829.9285 | 2605066.6808 | 1182826.9958 | 2605071.4433 | 1182828.7896
82 | 2605002.8793 | 1183234.6857 | 2605019.2125 | 1183257.4664 | 2605020.0014 | 1183259.2308
83 | 2605002.8793 | 1183234.6857 | 2605023.5418 | 1183228.7886
84 | 2604992.681 | 1183233.7768 | 2605002.8793 | 1183234.6857
85 | 2605087.2691 | 1183175.5698 | 2605080.0961 | 1183181.0666 | 2605063.9181 | 1183182.8985 | 2605050.3934 | 1183197.7838 | 2605032.5648 | 1183220.0137 | 2605023.5418 | 1183228.7886
86 | 2604992.681 | 1183233.7768 | 2604994.7554 | 1183245.6068 | 2604997.136 | 1183256.3143
87 | 2604997.136 | 1183256.3143 | 2604986.0485 | 1183259.9848 | 2604979.9622 | 1183262.6892
88 | 2604979.9622 | 1183262.6892 | 2604972.7377 | 1183265.8992 | 2604971.1344 | 1183274.6906
89 | 2604874.4166 | 1182581.5095 | 2604873.326 | 1182583.6794 | 2604864.5374 | 1182603.8494 | 2604863.9454 | 1182607.4712
90 | 2604878.0724 | 1182558.1257 | 2604878.7324 | 1182572.9227 | 2604874.4166 | 1182581.5095
91 | 2604863.9454 | 1182607.4712 | 2604860.4711 | 1182628.7256 | 2604860.3977 | 1182630.2384
92 | 2604860.3977 | 1182630.2384 | 2604859.3922 | 1182650.9648
93 | 2604859.3922 | 1182650.9648 | 2604857.7309 | 1182685.208 | 2604856.9816 | 1182693.5553
94 | 2604856.9816 | 1182693.5553 | 2604855.178 | 1182713.6491

## bus_geodata
| x | y | coords
0 | 2604948.6226 | 1182442.3795
1 | 2604950.6064 | 1182451.5185
2 | 2604950.797 | 1182452.6502
3 | 2604953.6535 | 1182469.6098
4 | 2604974.2455 | 1182507.7948
5 | 2605002.878 | 1182518.8187
6 | 2604959.8889 | 1182509.5781
7 | 2605013.9471 | 1182541.7786
8 | 2604960.6794 | 1182529.7545
9 | 2605016.89 | 1182552.5562
10 | 2604960.9046 | 1182535.5032
11 | 2605017.9768 | 1182559.9819
12 | 2604960.5077 | 1182551.9021
13 | 2604958.2 | 1182713.3217
14 | 2604958.3934 | 1182711.118
15 | 2604958.0415 | 1182715.1265
16 | 2604959.6675 | 1182696.6072
17 | 2604967.4479 | 1182733.099
18 | 2604951.1666 | 1182657.0482
19 | 2605062.2375 | 1182744.6498
20 | 2604964.3224 | 1182748.8904
21 | 2604957.0203 | 1182600.6225
22 | 2605028.7284 | 1182773.1922
23 | 2605067.4055 | 1182791.0891
24 | 2604947.7819 | 1182769.6795
25 | 2604949.6313 | 1182617.4584
26 | 2604959.834 | 1182569.709
27 | 2605073.129 | 1182793.9842
28 | 2604717.8592 | 1182978.6615
29 | 2604644.6764 | 1182956.1917
30 | 2604731.5643 | 1182983.8062
31 | 2604670.1057 | 1182944.2016
32 | 2604490.0906 | 1182959.9185
33 | 2604805.803 | 1183061.0331
34 | 2604723.0995 | 1183011.1248
35 | 2604771.8737 | 1182887.4959
36 | 2604776.4425 | 1182883.2211
37 | 2604343.4837 | 1183115.3752
38 | 2605004.4199 | 1183051.226
39 | 2604991.0964 | 1183053.4051
40 | 2605014.8509 | 1182965.7465
41 | 2604989.3624 | 1183068.736
42 | 2605024.3361 | 1182943.7893
43 | 2604986.813 | 1183091.2766
44 | 2605034.647 | 1182900.0289
45 | 2604983.9482 | 1183124.8257
46 | 2605022.1291 | 1183097.5514
47 | 2604785.7427 | 1182874.5193
48 | 2604791.0956 | 1182869.5663
49 | 2604910.8448 | 1182800.3096
50 | 2604936.0242 | 1182826.5547
51 | 2604870.709 | 1182824.268
52 | 2605022.3896 | 1183098.6996
53 | 2605024.3522 | 1183107.3491
54 | 2604983.8333 | 1183126.1714
55 | 2604982.4656 | 1183142.188
56 | 2604823.7577 | 1182809.9415
57 | 2604833.7049 | 1182791.895
58 | 2604797.2444 | 1182864.9855
59 | 2604844.6236 | 1182772.3419
60 | 2604850.5824 | 1182752.173
61 | 2604853.2487 | 1182735.143
62 | 2605031.3353 | 1183146.7417
63 | 2604982.0339 | 1183147.2125
64 | 2604981.7641 | 1183150.3806
65 | 2604981.0327 | 1183168.4519
66 | 2605010.759 | 1183172.757
67 | 2604274.1222 | 1183005.1127
68 | 2604203.5928 | 1183014.2899
69 | 2604186.1955 | 1183012.5326
70 | 2604270.2452 | 1183067.1861
71 | 2604284.8119 | 1183071.2535
72 | 2605008.9368 | 1182915.2857
73 | 2605006.7186 | 1182914.7193
74 | 2604975.5716 | 1182919.0011
75 | 2605039.747 | 1182826.1507
76 | 2605021.2899 | 1182859.2302
77 | 2605071.4433 | 1182828.7896
78 | 2604352.2151 | 1183123.3503
79 | 2605020.0014 | 1183259.2308
80 | 2605002.8793 | 1183234.6857
81 | 2605023.5418 | 1183228.7886
82 | 2604992.681 | 1183233.7768
83 | 2605087.2691 | 1183175.5698
84 | 2604997.136 | 1183256.3143
85 | 2604979.9622 | 1183262.6892
86 | 2605016.8331 | 1183181.1834
87 | 2604971.1344 | 1183274.6906
88 | 2604960.2474 | 1182558.7817
89 | 2604874.4166 | 1182581.5095
90 | 2604863.9454 | 1182607.4712
91 | 2604878.0724 | 1182558.1257
92 | 2604860.3977 | 1182630.2384
93 | 2604859.3922 | 1182650.9648
94 | 2604856.9816 | 1182693.5553
95 | 2604855.178 | 1182713.6491
96 | 2604947.7819 | 1182769.6795

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1