## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_866-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_866-3_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_866-3_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_866-3_0_6_node_125 | 0.4 | n |  | TRUE
4 | bus_LV_866-3_0_6_node_122 | 0.4 | n |  | TRUE
5 | bus_LV_866-3_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_866-3_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_866-3_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_866-3_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_866-3_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_866-3_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_866-3_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_866-3_0_6_node_87 | 0.4 | n |  | TRUE
13 | bus_LV_866-3_0_6_node_108 | 0.4 | n |  | TRUE
14 | bus_LV_866-3_0_6_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_866-3_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_866-3_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_866-3_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_866-3_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_866-3_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_866-3_0_6_node_149 | 0.4 | n |  | TRUE
21 | bus_LV_866-3_0_6_node_150 | 0.4 | n |  | TRUE
22 | bus_LV_866-3_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_866-3_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_866-3_0_6_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_866-3_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_866-3_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_866-3_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_866-3_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_866-3_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_866-3_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_866-3_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_866-3_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_866-3_0_6_node_130 | 0.4 | n |  | TRUE
34 | bus_LV_866-3_0_6_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_866-3_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_866-3_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_866-3_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_866-3_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_866-3_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_866-3_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_866-3_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_866-3_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_866-3_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_866-3_0_6_node_157 | 0.4 | n |  | TRUE
45 | bus_LV_866-3_0_6_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_866-3_0_6_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_866-3_0_6_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_866-3_0_6_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_866-3_0_6_node_75 | 0.4 | n |  | TRUE
50 | bus_LV_866-3_0_6_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_866-3_0_6_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_866-3_0_6_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_866-3_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_866-3_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_866-3_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_866-3_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_866-3_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_866-3_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_866-3_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_866-3_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_866-3_0_6_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_866-3_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_866-3_0_6_node_132 | 0.4 | n |  | TRUE
64 | bus_LV_866-3_0_6_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_866-3_0_6_node_133 | 0.4 | n |  | TRUE
66 | bus_LV_866-3_0_6_node_134 | 0.4 | n |  | TRUE
67 | bus_LV_866-3_0_6_node_135 | 0.4 | n |  | TRUE
68 | bus_LV_866-3_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_866-3_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_866-3_0_6_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_866-3_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_866-3_0_6_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_866-3_0_6_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_866-3_0_6_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_866-3_0_6_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_866-3_0_6_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_866-3_0_6_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_866-3_0_6_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_866-3_0_6_node_123 | 0.4 | n |  | TRUE
80 | bus_LV_866-3_0_6_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_866-3_0_6_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_866-3_0_6_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_866-3_0_6_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_866-3_0_6_node_99 | 0.4 | n |  | TRUE
85 | bus_LV_866-3_0_6_node_110 | 0.4 | n |  | TRUE
86 | bus_LV_866-3_0_6_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_866-3_0_6_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_866-3_0_6_node_107 | 0.4 | n |  | TRUE
89 | bus_LV_866-3_0_6_node_109 | 0.4 | n |  | TRUE
90 | bus_LV_866-3_0_6_node_129 | 0.4 | n |  | TRUE
91 | bus_LV_866-3_0_6_node_117 | 0.4 | n |  | TRUE
92 | bus_LV_866-3_0_6_node_115 | 0.4 | n |  | TRUE
93 | bus_LV_866-3_0_6_node_116 | 0.4 | n |  | TRUE
94 | bus_LV_866-3_0_6_node_121 | 0.4 | n |  | TRUE
95 | bus_LV_866-3_0_6_node_119 | 0.4 | n |  | TRUE
96 | bus_LV_866-3_0_6_node_120 | 0.4 | n |  | TRUE
97 | bus_LV_866-3_0_6_node_137 | 0.4 | n |  | TRUE
98 | bus_LV_866-3_0_6_node_52 | 0.4 | n |  | TRUE
99 | bus_LV_866-3_0_6_node_53 | 0.4 | n |  | TRUE
100 | bus_LV_866-3_0_6_node_54 | 0.4 | n |  | TRUE
101 | bus_LV_866-3_0_6_node_55 | 0.4 | n |  | TRUE
102 | bus_LV_866-3_0_6_node_56 | 0.4 | n |  | TRUE
103 | bus_LV_866-3_0_6_node_60 | 0.4 | n |  | TRUE
104 | bus_LV_866-3_0_6_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_866-3_0_6_node_113 | 0.4 | n |  | TRUE
106 | bus_LV_866-3_0_6_node_111 | 0.4 | n |  | TRUE
107 | bus_LV_866-3_0_6_node_58 | 0.4 | n |  | TRUE
108 | bus_LV_866-3_0_6_node_127 | 0.4 | n |  | TRUE
109 | bus_LV_866-3_0_6_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_866-3_0_6_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_866-3_0_6_node_57 | 0.4 | n |  | TRUE
112 | bus_LV_866-3_0_6_node_59 | 0.4 | n |  | TRUE
113 | bus_LV_866-3_0_6_node_61 | 0.4 | n |  | TRUE
114 | bus_LV_866-3_0_6_node_64 | 0.4 | n |  | TRUE
115 | bus_LV_866-3_0_6_node_65 | 0.4 | n |  | TRUE
116 | bus_LV_866-3_0_6_node_103 | 0.4 | n |  | TRUE
117 | bus_LV_866-3_0_6_node_71 | 0.4 | n |  | TRUE
118 | bus_LV_866-3_0_6_node_101 | 0.4 | n |  | TRUE
119 | bus_LV_866-3_0_6_node_72 | 0.4 | n |  | TRUE
120 | bus_LV_866-3_0_6_node_66 | 0.4 | n |  | TRUE
121 | bus_LV_866-3_0_6_node_67 | 0.4 | n |  | TRUE
122 | bus_LV_866-3_0_6_node_68 | 0.4 | n |  | TRUE
123 | bus_LV_866-3_0_6_node_69 | 0.4 | n |  | TRUE
124 | bus_LV_866-3_0_6_node_70 | 0.4 | n |  | TRUE
125 | bus_LV_866-3_0_6_node_78 | 0.4 | n |  | TRUE
126 | bus_LV_866-3_0_6_node_124 | 0.4 | n |  | TRUE
127 | bus_LV_866-3_0_6_node_128 | 0.4 | n |  | TRUE
128 | bus_LV_866-3_0_6_node_126 | 0.4 | n |  | TRUE
129 | bus_LV_866-3_0_6_node_90 | 0.4 | n |  | TRUE
130 | bus_LV_866-3_0_6_node_91 | 0.4 | n |  | TRUE
131 | bus_LV_866-3_0_6_node_92 | 0.4 | n |  | TRUE
132 | bus_LV_866-3_0_6_node_93 | 0.4 | n |  | TRUE
133 | bus_LV_866-3_0_6_node_156 | 0.4 | n |  | TRUE
134 | bus_LV_866-3_0_6_node_155 | 0.4 | n |  | TRUE
135 | bus_LV_866-3_0_6_node_100 | 0.4 | n |  | TRUE
136 | bus_LV_866-3_0_6_node_102 | 0.4 | n |  | TRUE
137 | bus_LV_866-3_0_6_node_104 | 0.4 | n |  | TRUE
138 | bus_LV_866-3_0_6_node_114 | 0.4 | n |  | TRUE
139 | bus_LV_866-3_0_6_node_145 | 0.4 | n |  | TRUE
140 | bus_LV_866-3_0_6_node_142 | 0.4 | n |  | TRUE
141 | bus_LV_866-3_0_6_node_146 | 0.4 | n |  | TRUE
142 | bus_LV_866-3_0_6_node_143 | 0.4 | n |  | TRUE
143 | bus_LV_866-3_0_6_node_151 | 0.4 | n |  | TRUE
144 | bus_LV_866-3_0_6_node_152 | 0.4 | n |  | TRUE
145 | bus_LV_866-3_0_6_node_139 | 0.4 | n |  | TRUE
146 | bus_LV_866-3_0_6_node_140 | 0.4 | n |  | TRUE
147 | bus_LV_866-3_0_6_node_141 | 0.4 | n |  | TRUE
148 | bus_LV_866-3_0_6_node_144 | 0.4 | n |  | TRUE
149 | bus_LV_866-3_0_6_node_148 | 0.4 | n |  | TRUE
150 | bus_LV_866-3_0_6_node_147 | 0.4 | n |  | TRUE
151 | bus_LV_866-3_0_6_node_153 | 0.4 | n |  | TRUE
152 | bus_LV_866-3_0_6_node_154 | 0.4 | n |  | TRUE
153 | bus_LV_866-3_0_6_node_159 | 0.4 | n |  | TRUE
154 | bus_LV_866-3_0_6_node_162 | 0.4 | n |  | TRUE
155 | bus_LV_866-3_0_6_node_160 | 0.4 | n |  | TRUE
156 | bus_LV_866-3_0_6_node_161 | 0.4 | n |  | TRUE
157 | bus_MV_98_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_866-3_0_6_load_0 | 0 | 0.0036031 | 0.00090303 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_866-3_0_6_load_4 | 2 | 0.0023222 | 0.00058201 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_866-3_0_6_load_125 | 3 | 0.0022749 | 0.00057016 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_866-3_0_6_load_122 | 4 | 0.0039431 | 0.00098824 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_866-3_0_6_load_5 | 5 | 0.0060024 | 0.0015043 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_866-3_0_6_load_9 | 8 | 0.0014684 | 0.00036802 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_866-3_0_6_load_10 | 10 | 0.00076191 | 0.00019095 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_866-3_0_6_load_11 | 11 | 0.00080243 | 0.00020111 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_866-3_0_6_load_108 | 13 | 0.0060096 | 0.0015062 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_866-3_0_6_load_85 | 14 | 0.0027087 | 0.00067887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_866-3_0_6_load_14 | 15 | 0.0018704 | 0.00046877 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_866-3_0_6_load_17 | 18 | 0.0016822 | 0.0004216 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_866-3_0_6_load_149 | 20 | 0.0006717 | 0.00016834 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_866-3_0_6_load_150 | 21 | 0.00058479 | 0.00014656 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_866-3_0_6_load_22 | 25 | 0.0020124 | 0.00050435 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_866-3_0_6_load_19 | 26 | 0.0048405 | 0.0012131 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_866-3_0_6_load_28 | 27 | 0.003044 | 0.00076291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_866-3_0_6_load_26 | 28 | 0.0019985 | 0.00050087 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_866-3_0_6_load_20 | 29 | 0.0043763 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_866-3_0_6_load_27 | 32 | 0.00078488 | 0.00019671 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_866-3_0_6_load_29 | 35 | 0.0015303 | 0.00038353 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_866-3_0_6_load_30 | 36 | 0.0012091 | 0.00030302 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_866-3_0_6_load_31 | 37 | 0.00039171 | 9.8171e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_866-3_0_6_load_33 | 39 | 0.0014037 | 0.00035179 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_866-3_0_6_load_48 | 42 | 0.002377 | 0.00059574 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_866-3_0_6_load_157 | 44 | 0.00057159 | 0.00014325 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_866-3_0_6_load_36 | 45 | 0.0092782 | 0.0023253 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_866-3_0_6_load_47 | 46 | 0.0019736 | 0.00049464 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_866-3_0_6_load_49 | 47 | 0.0016055 | 0.00040236 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_866-3_0_6_load_73 | 48 | 0.0033688 | 0.00084429 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_866-3_0_6_load_77 | 50 | 0.0032713 | 0.00081987 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_866-3_0_6_load_74 | 51 | 0.00323 | 0.00080952 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_866-3_0_6_load_158 | 52 | 0.00049568 | 0.00012423 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_866-3_0_6_load_38 | 54 | 0.003638 | 0.00091176 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_866-3_0_6_load_40 | 57 | 0.032737 | 0.0082046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_866-3_0_6_load_42 | 58 | 0.0057315 | 0.0014364 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_866-3_0_6_load_51 | 59 | 0.0031631 | 0.00079275 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_866-3_0_6_load_132 | 63 | 0.0024211 | 0.00060678 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_866-3_0_6_load_81 | 64 | 0.0028235 | 0.00070764 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_866-3_0_6_load_133 | 65 | 0.00077738 | 0.00019483 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_866-3_0_6_load_134 | 66 | 0.0035459 | 0.00088868 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_866-3_0_6_load_62 | 68 | 0.0029248 | 0.00073301 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_866-3_0_6_load_79 | 70 | 0.0026639 | 0.00066763 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_866-3_0_6_load_80 | 71 | 0.0028113 | 0.00070459 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_866-3_0_6_load_82 | 72 | 0.0034353 | 0.00086097 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_866-3_0_6_load_83 | 73 | 0.0056754 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_866-3_0_6_load_118 | 74 | 0.012593 | 0.0031562 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_866-3_0_6_load_84 | 76 | 0.0017943 | 0.00044969 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_866-3_0_6_load_88 | 78 | 0.0029083 | 0.00072889 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_866-3_0_6_load_123 | 79 | 0.0020061 | 0.00050278 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_866-3_0_6_load_95 | 80 | 0.0021992 | 0.00055118 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_866-3_0_6_load_96 | 81 | 0.0019617 | 0.00049164 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_866-3_0_6_load_97 | 82 | 0.0020097 | 0.00050367 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_866-3_0_6_load_98 | 83 | 0.0020178 | 0.00050571 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_866-3_0_6_load_99 | 84 | 0.0024197 | 0.00060643 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_866-3_0_6_load_110 | 85 | 0.0016022 | 0.00040154 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_866-3_0_6_load_105 | 86 | 0.0019135 | 0.00047958 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_866-3_0_6_load_106 | 87 | 0.011711 | 0.0029351 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_866-3_0_6_load_107 | 88 | 0.0017403 | 0.00043617 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_866-3_0_6_load_109 | 89 | 0.0019064 | 0.00047779 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_866-3_0_6_load_129 | 90 | 0.0039646 | 0.00099363 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_866-3_0_6_load_117 | 91 | 0.0019842 | 0.00049728 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_866-3_0_6_load_115 | 92 | 0.0035165 | 0.00088131 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_866-3_0_6_load_116 | 93 | 0.0023797 | 0.00059641 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_866-3_0_6_load_121 | 94 | 0.0037046 | 0.00092847 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_866-3_0_6_load_119 | 95 | 0.0035154 | 0.00088103 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_866-3_0_6_load_120 | 96 | 0.012184 | 0.0030536 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_866-3_0_6_load_137 | 97 | 0.00074086 | 0.00018568 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_866-3_0_6_load_52 | 98 | 0.0041361 | 0.0010366 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_866-3_0_6_load_53 | 99 | 0.0032421 | 0.00081254 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_866-3_0_6_load_54 | 100 | 0.002036 | 0.00051027 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_866-3_0_6_load_60 | 103 | 0.0021635 | 0.00054222 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_866-3_0_6_load_76 | 104 | 0.0022197 | 0.00055631 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_866-3_0_6_load_113 | 105 | 0.0020248 | 0.00050745 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_866-3_0_6_load_111 | 106 | 0.0028793 | 0.00072162 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_866-3_0_6_load_58 | 107 | 0.0019956 | 0.00050016 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_866-3_0_6_load_127 | 108 | 0.0023214 | 0.00058179 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_866-3_0_6_load_94 | 109 | 0.0020279 | 0.00050825 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_866-3_0_6_load_57 | 111 | 0.0024718 | 0.00061948 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_866-3_0_6_load_59 | 112 | 0.0033913 | 0.00084995 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_866-3_0_6_load_61 | 113 | 0.002233 | 0.00055964 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_866-3_0_6_load_65 | 115 | 0.0030298 | 0.00075933 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_866-3_0_6_load_103 | 116 | 0.0020329 | 0.0005095 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_866-3_0_6_load_71 | 117 | 0.002023 | 0.00050702 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_866-3_0_6_load_101 | 118 | 0.0018826 | 0.00047184 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_866-3_0_6_load_72 | 119 | 0.003129 | 0.00078419 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_866-3_0_6_load_66 | 120 | 0.0019796 | 0.00049613 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_866-3_0_6_load_67 | 121 | 0.00097551 | 0.00024449 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_866-3_0_6_load_68 | 122 | 0.00076902 | 0.00019273 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_866-3_0_6_load_70 | 124 | 0.0030982 | 0.00077648 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_866-3_0_6_load_78 | 125 | 0.003463 | 0.0008679 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_866-3_0_6_load_124 | 126 | 0.00082316 | 0.0002063 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_866-3_0_6_load_128 | 127 | 0.002237 | 0.00056064 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_866-3_0_6_load_126 | 128 | 0.0039087 | 0.00097961 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_866-3_0_6_load_90 | 129 | 0.0020739 | 0.00051977 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_866-3_0_6_load_91 | 130 | 0.0030678 | 0.00076887 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_866-3_0_6_load_92 | 131 | 0.0021434 | 0.00053719 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_866-3_0_6_load_93 | 132 | 0.0029657 | 0.00074327 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_866-3_0_6_load_156 | 133 | 0.0032325 | 0.00081014 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_866-3_0_6_load_155 | 134 | 0.0034285 | 0.00085927 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_866-3_0_6_load_100 | 135 | 0.0020581 | 0.0005158 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_866-3_0_6_load_102 | 136 | 0.0028891 | 0.00072407 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_866-3_0_6_load_104 | 137 | 0.0029291 | 0.0007341 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_866-3_0_6_load_114 | 138 | 0.0028582 | 0.00071632 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_866-3_0_6_load_145 | 139 | 0.0016367 | 0.0004102 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_866-3_0_6_load_142 | 140 | 0.0005561 | 0.00013937 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_866-3_0_6_load_146 | 141 | 0.0010696 | 0.00026806 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_866-3_0_6_load_151 | 143 | 0.00038877 | 9.7436e-05 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_866-3_0_6_load_152 | 144 | 0.0033112 | 0.00082987 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_866-3_0_6_load_139 | 145 | 0.00032835 | 8.2293e-05 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_866-3_0_6_load_141 | 147 | 0.0010997 | 0.00027562 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_866-3_0_6_load_144 | 148 | 0.0030142 | 0.00075542 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_866-3_0_6_load_148 | 149 | 0.0011082 | 0.00027775 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_866-3_0_6_load_147 | 150 | 0.00065472 | 0.00016409 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_866-3_0_6_load_153 | 151 | 0.00050736 | 0.00012716 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_866-3_0_6_load_154 | 152 | 0.0012793 | 0.00032062 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_866-3_0_6_load_162 | 154 | 0.00061622 | 0.00015444 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_866-3_0_6_load_160 | 155 | 0.00052633 | 0.00013191 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_866-3_0_6_load_161 | 156 | 0.0010044 | 0.00025174 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_866-3_0_6_line_0 |  | 0 | 1 | 0.046176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_866-3_0_6_line_1 |  | 1 | 2 | 0.029603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_866-3_0_6_line_2 |  | 1 | 3 | 0.19279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_866-3_0_6_line_3 |  | 3 | 4 | 0.027103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_866-3_0_6_line_4 |  | 4 | 113 | 0.0017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_866-3_0_6_line_5 |  | 5 | 6 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_866-3_0_6_line_6 |  | 6 | 7 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_866-3_0_6_line_7 |  | 6 | 8 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_866-3_0_6_line_8 |  | 7 | 15 | 0.062781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_866-3_0_6_line_9 |  | 7 | 12 | 0.50741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_866-3_0_6_line_10 |  | 8 | 11 | 0.019517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_866-3_0_6_line_11 |  | 9 | 10 | 0.004802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_866-3_0_6_line_12 |  | 9 | 11 | 0.023853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_866-3_0_6_line_13 |  | 10 | 16 | 0.04562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_866-3_0_6_line_14 |  | 12 | 13 | 0.035096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_866-3_0_6_line_15 |  | 12 | 14 | 0.045336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_866-3_0_6_line_16 |  | 13 | 87 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_866-3_0_6_line_17 |  | 14 | 76 | 0.024509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_866-3_0_6_line_18 |  | 15 | 17 | 0.12623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_866-3_0_6_line_19 |  | 15 | 18 | 0.13592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_866-3_0_6_line_20 |  | 16 | 19 | 0.011469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_866-3_0_6_line_21 |  | 17 | 22 | 0.07472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_866-3_0_6_line_22 |  | 19 | 20 | 0.0063069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_866-3_0_6_line_23 |  | 20 | 21 | 0.023704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_866-3_0_6_line_24 |  | 21 | 143 | 0.00056108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_866-3_0_6_line_25 |  | 22 | 23 | 0.084019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_866-3_0_6_line_26 |  | 22 | 24 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_866-3_0_6_line_27 |  | 23 | 25 | 0.042172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_866-3_0_6_line_28 |  | 23 | 26 | 0.019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_866-3_0_6_line_29 |  | 24 | 27 | 0.096742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_866-3_0_6_line_30 |  | 24 | 28 | 0.077639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_866-3_0_6_line_31 |  | 25 | 30 | 0.075778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_866-3_0_6_line_32 |  | 26 | 29 | 0.00782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_866-3_0_6_line_33 |  | 28 | 32 | 0.0038755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_866-3_0_6_line_34 |  | 30 | 31 | 0.072092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_866-3_0_6_line_35 |  | 31 | 33 | 0.091318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_866-3_0_6_line_36 |  | 33 | 34 | 0.057174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_866-3_0_6_line_37 |  | 34 | 139 | 0.025309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_866-3_0_6_line_38 |  | 34 | 140 | 0.041874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_866-3_0_6_line_39 |  | 35 | 36 | 0.0089586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_866-3_0_6_line_40 |  | 35 | 37 | 0.023072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_866-3_0_6_line_41 |  | 36 | 38 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_866-3_0_6_line_42 |  | 37 | 39 | 0.017594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_866-3_0_6_line_43 |  | 38 | 40 | 0.035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_866-3_0_6_line_44 |  | 38 | 41 | 0.038175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_866-3_0_6_line_45 |  | 39 | 42 | 0.12754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_866-3_0_6_line_46 |  | 40 | 43 | 0.009827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_866-3_0_6_line_47 |  | 40 | 44 | 0.020369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_866-3_0_6_line_48 |  | 41 | 45 | 0.01977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_866-3_0_6_line_49 |  | 42 | 46 | 0.035303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_866-3_0_6_line_50 |  | 43 | 48 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_866-3_0_6_line_51 |  | 44 | 52 | 0.01395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_866-3_0_6_line_52 |  | 45 | 53 | 0.094756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_866-3_0_6_line_53 |  | 46 | 47 | 0.052548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_866-3_0_6_line_54 |  | 48 | 51 | 0.01112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_866-3_0_6_line_55 |  | 49 | 50 | 0.013663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_866-3_0_6_line_56 |  | 49 | 51 | 0.0037196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_866-3_0_6_line_57 |  | 50 | 123 | 0.005639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_866-3_0_6_line_58 |  | 52 | 153 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_866-3_0_6_line_59 |  | 53 | 54 | 0.016737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_866-3_0_6_line_60 |  | 54 | 55 | 0.071704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_866-3_0_6_line_61 |  | 55 | 56 | 0.049542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_866-3_0_6_line_62 |  | 56 | 58 | 0.09008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_866-3_0_6_line_63 |  | 56 | 57 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_866-3_0_6_line_64 |  | 58 | 59 | 0.031263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_866-3_0_6_line_65 |  | 59 | 60 | 0.074915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_866-3_0_6_line_66 |  | 60 | 63 | 0.23349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_866-3_0_6_line_67 |  | 60 | 61 | 0.010523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_866-3_0_6_line_68 |  | 61 | 62 | 0.007493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_866-3_0_6_line_69 |  | 62 | 64 | 0.14171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_866-3_0_6_line_70 |  | 63 | 65 | 0.024742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_866-3_0_6_line_71 |  | 63 | 66 | 0.06797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_866-3_0_6_line_72 |  | 64 | 73 | 0.0046609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_866-3_0_6_line_73 |  | 64 | 70 | 0.007727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_866-3_0_6_line_74 |  | 65 | 67 | 0.11732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_866-3_0_6_line_75 |  | 67 | 97 | 0.27038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_866-3_0_6_line_76 |  | 68 | 69 | 0.025778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_866-3_0_6_line_77 |  | 69 | 114 | 0.039418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_866-3_0_6_line_78 |  | 69 | 115 | 0.010445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_866-3_0_6_line_79 |  | 70 | 71 | 0.022223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_866-3_0_6_line_80 |  | 71 | 72 | 0.0017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_866-3_0_6_line_81 |  | 72 | 74 | 0.02911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_866-3_0_6_line_82 |  | 73 | 75 | 0.018804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_866-3_0_6_line_83 |  | 74 | 94 | 0.00052668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_866-3_0_6_line_84 |  | 75 | 77 | 0.036919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_866-3_0_6_line_85 |  | 76 | 77 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_866-3_0_6_line_86 |  | 77 | 78 | 0.015025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_866-3_0_6_line_87 |  | 78 | 79 | 0.005304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_866-3_0_6_line_88 |  | 79 | 84 | 0.024653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_866-3_0_6_line_89 |  | 80 | 81 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_866-3_0_6_line_90 |  | 80 | 82 | 0.0086458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_866-3_0_6_line_91 |  | 81 | 83 | 0.0019974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_866-3_0_6_line_92 |  | 82 | 84 | 0.0025352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_866-3_0_6_line_93 |  | 83 | 85 | 0.020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_866-3_0_6_line_94 |  | 85 | 91 | 0.0017929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_866-3_0_6_line_95 |  | 86 | 87 | 0.038683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_866-3_0_6_line_96 |  | 86 | 88 | 0.0049733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_866-3_0_6_line_97 |  | 88 | 89 | 0.0011361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_866-3_0_6_line_98 |  | 89 | 90 | 0.024746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_866-3_0_6_line_99 |  | 91 | 93 | 0.0015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_866-3_0_6_line_100 |  | 92 | 93 | 0.0020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_866-3_0_6_line_101 |  | 94 | 95 | 0.0095862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_866-3_0_6_line_102 |  | 95 | 96 | 0.024526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_866-3_0_6_line_103 |  | 98 | 99 | 0.0065096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_866-3_0_6_line_104 |  | 98 | 100 | 0.0052731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_866-3_0_6_line_105 |  | 99 | 101 | 0.0060636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_866-3_0_6_line_106 |  | 100 | 102 | 0.034383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_866-3_0_6_line_107 |  | 101 | 103 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_866-3_0_6_line_108 |  | 101 | 104 | 0.019883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
109 | LV_866-3_0_6_line_109 |  | 102 | 105 | 0.0089444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_866-3_0_6_line_110 |  | 102 | 106 | 0.0052952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_866-3_0_6_line_111 |  | 103 | 107 | 0.00047673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_866-3_0_6_line_112 |  | 104 | 108 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_866-3_0_6_line_113 |  | 105 | 109 | 0.0099994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_866-3_0_6_line_114 |  | 106 | 110 | 0.018574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_866-3_0_6_line_115 |  | 107 | 111 | 0.028559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_866-3_0_6_line_116 |  | 108 | 127 | 0.0099418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_866-3_0_6_line_117 |  | 109 | 131 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_866-3_0_6_line_118 |  | 110 | 114 | 0.004648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_866-3_0_6_line_119 |  | 111 | 112 | 0.0017807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_866-3_0_6_line_120 |  | 112 | 113 | 0.029834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_866-3_0_6_line_121 |  | 114 | 116 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_866-3_0_6_line_122 |  | 115 | 117 | 0.026533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_866-3_0_6_line_123 |  | 116 | 118 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_866-3_0_6_line_124 |  | 117 | 119 | 0.0057122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_866-3_0_6_line_125 |  | 118 | 135 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_866-3_0_6_line_126 |  | 120 | 121 | 0.0069818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_866-3_0_6_line_127 |  | 120 | 122 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_866-3_0_6_line_128 |  | 121 | 123 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_866-3_0_6_line_129 |  | 122 | 124 | 0.0027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_866-3_0_6_line_130 |  | 123 | 125 | 0.0053601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_866-3_0_6_line_131 |  | 124 | 126 | 0.025661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_866-3_0_6_line_132 |  | 125 | 127 | 0.018063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
133 | LV_866-3_0_6_line_133 |  | 126 | 128 | 0.012915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_866-3_0_6_line_134 |  | 129 | 130 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_866-3_0_6_line_135 |  | 129 | 131 | 0.0099913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_866-3_0_6_line_136 |  | 130 | 132 | 0.009726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_866-3_0_6_line_137 |  | 132 | 133 | 0.018229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_866-3_0_6_line_138 |  | 133 | 134 | 0.0099347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_866-3_0_6_line_139 |  | 135 | 136 | 0.019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_866-3_0_6_line_140 |  | 136 | 137 | 0.019432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_866-3_0_6_line_141 |  | 137 | 138 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_866-3_0_6_line_142 |  | 139 | 141 | 0.037664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_866-3_0_6_line_143 |  | 140 | 142 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_866-3_0_6_line_144 |  | 141 | 150 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_866-3_0_6_line_145 |  | 142 | 148 | 0.014357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_866-3_0_6_line_146 |  | 142 | 147 | 0.011754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_866-3_0_6_line_147 |  | 143 | 144 | 0.0092285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_866-3_0_6_line_148 |  | 145 | 146 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_866-3_0_6_line_149 |  | 146 | 147 | 0.0031437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_866-3_0_6_line_150 |  | 148 | 149 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_866-3_0_6_line_151 |  | 150 | 151 | 0.0053443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_866-3_0_6_line_152 |  | 151 | 152 | 0.0022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_866-3_0_6_line_153 |  | 153 | 154 | 0.022144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_866-3_0_6_line_154 |  | 153 | 155 | 0.0023193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_866-3_0_6_line_155 |  | 155 | 156 | 0.0082036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_866-3_0_6_trafo_80 | 0.63 MVA 20/0.4 kV | 157 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2608648.4469 | 1188083.6395 | 2608645.285 | 1188097.042 | 2608637.5303 | 1188116.3965 | 2608629.1351 | 1188124.3374
1 | 2608648.4469 | 1188083.6395 | 2608651.2538 | 1188089.0353 | 2608656.4178 | 1188094.3565 | 2608668.899 | 1188104.5351
2 | 2608471.6308 | 1188006.8113 | 2608648.4469 | 1188083.6395
3 | 2608464.8684 | 1187980.567 | 2608468.0916 | 1187993.648 | 2608471.6308 | 1188006.8113
4 | 2608464.8684 | 1187980.567 | 2608464.4401 | 1187978.8291
5 | 2609064.9211 | 1187173.2998 | 2609076.64 | 1187152.54 | 2609077.5998 | 1187148.7649
6 | 2609069.3544 | 1187193.0278 | 2609064.5484 | 1187187.829 | 2609064.9211 | 1187173.2998
7 | 2609064.9211 | 1187173.2998 | 2609064.2552 | 1187159.5695 | 2609065.5596 | 1187155.2752
8 | 2609069.3544 | 1187193.0278 | 2609112.7849 | 1187147.6926
9 | 2608799.6694 | 1187622.8407 | 2609069.3544 | 1187193.0278
10 | 2609071.232 | 1187136.601 | 2609065.5596 | 1187155.2752
11 | 2609083.6517 | 1187116.6541 | 2609084.5084 | 1187111.9291
12 | 2609083.6517 | 1187116.6541 | 2609073.3482 | 1187129.6342 | 2609071.232 | 1187136.601
13 | 2609107.7262 | 1187073.0344 | 2609100.8229 | 1187082.4289 | 2609091.4495 | 1187095.8328 | 2609084.9595 | 1187109.4412 | 2609084.5084 | 1187111.9291
14 | 2608799.6694 | 1187622.8407 | 2608809.6968 | 1187641.2204 | 2608807.7766 | 1187655.2486
15 | 2608799.6694 | 1187622.8407 | 2608789.5337 | 1187626.4389 | 2608754.9609 | 1187625.7099
16 | 2608806.1547 | 1187667.0974 | 2608807.7766 | 1187655.2486
17 | 2608730.4603 | 1187625.0923 | 2608740.271 | 1187625.4001 | 2608754.9609 | 1187625.7099
18 | 2609202.6378 | 1187059.3603 | 2609196.3451 | 1187063.5084 | 2609190.2803 | 1187068.2794 | 2609184.3214 | 1187073.6954 | 2609173.8692 | 1187083.9292 | 2609112.7849 | 1187147.6926
19 | 2609112.7849 | 1187147.6926 | 2609233.5974 | 1187209.9606
20 | 2609107.7262 | 1187073.0344 | 2609114.5224 | 1187063.7843
21 | 2609202.6378 | 1187059.3603 | 2609206.8758 | 1187056.8654 | 2609211.2205 | 1187054.4708 | 2609219.3437 | 1187050.6479 | 2609226.3356 | 1187048.2685 | 2609233.9828 | 1187046.4126 | 2609242.8724 | 1187045.3701 | 2609242.8307 | 1187037.755 | 2609242.9982 | 1187027.9946 | 2609243.5063 | 1187020.0468 | 2609244.767 | 1187013.8566
22 | 2609114.5224 | 1187063.7843 | 2609116.9187 | 1187057.9504
23 | 2609116.9187 | 1187057.9504 | 2609118.5655 | 1187053.9409 | 2609125.09 | 1187035.7034
24 | 2609125.279 | 1187035.1751 | 2609125.09 | 1187035.7034
25 | 2609244.767 | 1187013.8566 | 2609246.1158 | 1187009.89 | 2609250.1673 | 1187009.596 | 2609252.2447 | 1187008.1651 | 2609255.3093 | 1187004.6791 | 2609259.6948 | 1187000.5504 | 2609267.829 | 1186994.6598 | 2609288.3636 | 1186981.8514 | 2609303.5736 | 1186973.7151 | 2609314.6519 | 1186973.3098
26 | 2609244.767 | 1187013.8566 | 2609246.1158 | 1187009.89 | 2609248.2443 | 1187004.924 | 2609250.8756 | 1187000.4701
27 | 2609314.6519 | 1186973.3098 | 2609321.4107 | 1186973.7426 | 2609337.6804 | 1186975.969 | 2609346.5946 | 1186964.0321 | 2609347.1337 | 1186959.9877
28 | 2609314.6519 | 1186973.3098 | 2609306.8255 | 1186990.7415
29 | 2609250.8756 | 1187000.4701 | 2609249.6117 | 1186993.8314 | 2609250.7514 | 1186991.9322 | 2609257.2564 | 1186983.7379 | 2609273.3682 | 1186969.5998 | 2609281.0087 | 1186962.2522 | 2609286.7641 | 1186955.4241 | 2609291.9097 | 1186948.2061 | 2609297.0323 | 1186941.0436 | 2609301.0415 | 1186933.6459 | 2609304.2348 | 1186925.958 | 2609304.7937 | 1186924.1087
30 | 2609250.8756 | 1187000.4701 | 2609254.4766 | 1186995.462 | 2609258.3669 | 1186990.8878 | 2609262.3403 | 1186986.8585 | 2609266.5499 | 1186983.0407 | 2609276.099 | 1186974.8511 | 2609281.2559 | 1186970.19 | 2609286.0011 | 1186965.3615 | 2609290.2967 | 1186960.1987 | 2609294.2189 | 1186954.7575 | 2609299.4498 | 1186946.6502 | 2609301.7694 | 1186942.5036
31 | 2609352.7756 | 1186884.4782 | 2609352.905 | 1186894.5392 | 2609348.6479 | 1186948.6273 | 2609347.1337 | 1186959.9877
32 | 2609306.8255 | 1186990.7415 | 2609303.6226 | 1186997.8755
33 | 2609303.5405 | 1186939.0565 | 2609301.7985 | 1186942.4517 | 2609301.7694 | 1186942.5036
34 | 2609311.7402 | 1186833.2881 | 2609316.0193 | 1186833.8839 | 2609320.7711 | 1186834.7473 | 2609325.3619 | 1186836.1329 | 2609336.7248 | 1186844.1991 | 2609345.1882 | 1186857.419 | 2609349.7811 | 1186867.2757 | 2609353.2117 | 1186878.8204 | 2609352.7756 | 1186884.4782
35 | 2609293.4004 | 1186753.2405 | 2609298.7316 | 1186749.4912 | 2609311.7402 | 1186833.2881
36 | 2609260.6064 | 1186799.4585 | 2609271.4065 | 1186786.7018 | 2609276.7494 | 1186780.24 | 2609281.9344 | 1186772.2883 | 2609285.7012 | 1186763.8342 | 2609287.6233 | 1186759.2125 | 2609290.383 | 1186755.6482 | 2609293.4004 | 1186753.2405
37 | 2609260.6064 | 1186799.4585 | 2609264.1193 | 1186824.5225
38 | 2609260.6064 | 1186799.4585 | 2609255.3062 | 1186802.9855 | 2609249.5268 | 1186805.5113 | 2609223.5285 | 1186813.6202 | 2609221.65 | 1186814.2042
39 | 2608290.1838 | 1187915.1483 | 2608290.5073 | 1187914.8494 | 2608294.4655 | 1187907.3067
40 | 2608290.1838 | 1187915.1483 | 2608287.8036 | 1187917.347 | 2608279.3186 | 1187919.2474 | 2608269.8211 | 1187919.6791 | 2608268.2375 | 1187919.2983
41 | 2608301.4227 | 1187892.9197 | 2608298.9661 | 1187898.7304 | 2608294.4655 | 1187907.3067
42 | 2608251.131 | 1187915.1845 | 2608268.2375 | 1187919.2983
43 | 2608336.7284 | 1187890.656 | 2608314.9103 | 1187892.0489 | 2608301.4227 | 1187892.9197
44 | 2608310.2156 | 1187855.7791 | 2608309.1325 | 1187861.2249 | 2608302.2516 | 1187889.23 | 2608301.4227 | 1187892.9197
45 | 2608251.131 | 1187915.1845 | 2608136.3257 | 1187970.7388
46 | 2608336.7284 | 1187890.656 | 2608336.6153 | 1187889.6998 | 2608338.664 | 1187881.0759
47 | 2608336.7284 | 1187890.656 | 2608338.3493 | 1187904.5321 | 2608339.3369 | 1187910.8542
48 | 2608310.2156 | 1187855.7791 | 2608307.6712 | 1187847.7826 | 2608307.7273 | 1187836.4042
49 | 2608147.1092 | 1188004.3102 | 2608143.1407 | 1187994.5458 | 2608136.3257 | 1187970.7388
50 | 2608338.664 | 1187881.0759 | 2608341.8038 | 1187883.2036 | 2608354.9018 | 1187885.7374
51 | 2608339.3369 | 1187910.8542 | 2608341.4899 | 1187924.6367
52 | 2608308.4123 | 1187741.6506 | 2608307.8722 | 1187807.0505 | 2608307.7273 | 1187836.4042
53 | 2608147.1092 | 1188004.3102 | 2608163.3029 | 1188044.1544 | 2608166.9798 | 1188052.9564
54 | 2608365.8191 | 1187887.8493 | 2608354.9018 | 1187885.7374
55 | 2608369.471 | 1187888.5558 | 2608383.0708 | 1187889.8731
56 | 2608369.471 | 1187888.5558 | 2608365.8191 | 1187887.8493
57 | 2608388.6835 | 1187890.4168 | 2608383.0708 | 1187889.8731
58 | 2608343.4682 | 1187937.3007 | 2608341.4899 | 1187924.6367
59 | 2608308.4123 | 1187741.6506 | 2608306.9726 | 1187729.131 | 2608305.6302 | 1187725.2196
60 | 2608292.2503 | 1187656.8176 | 2608288.4267 | 1187669.1855 | 2608290.219 | 1187680.5494 | 2608299.7775 | 1187708.1658 | 2608305.6302 | 1187725.2196
61 | 2608292.2503 | 1187656.8176 | 2608304.2696 | 1187658.9575 | 2608329.8107 | 1187663.5172 | 2608338.0194 | 1187663.0728 | 2608341.1779 | 1187662.8215
62 | 2608341.1779 | 1187662.8215 | 2608346.236 | 1187662.4171 | 2608362.2566 | 1187656.1138 | 2608378.0217 | 1187647.131 | 2608394.4064 | 1187636.9151 | 2608409.2217 | 1187630.6992 | 2608423.0445 | 1187627.1534
63 | 2608341.1779 | 1187662.8215 | 2608346.3209 | 1187667.242 | 2608351.9436 | 1187666.7717 | 2608354.4311 | 1187666.3194
64 | 2608423.0445 | 1187627.1534 | 2608435.8162 | 1187623.8772 | 2608453.7462 | 1187621.5677
65 | 2608528.5907 | 1187619.9611 | 2608499.9776 | 1187619.1981 | 2608453.7462 | 1187621.5677
66 | 2608528.5907 | 1187619.9611 | 2608518.3163 | 1187386.7015
67 | 2608528.5907 | 1187619.9611 | 2608532.7039 | 1187629.6497
68 | 2608535.6387 | 1187636.5464 | 2608532.7039 | 1187629.6497
69 | 2608535.6387 | 1187636.5464 | 2608676.9423 | 1187647.2874
70 | 2608518.3163 | 1187386.7015 | 2608513.5113 | 1187380.7599 | 2608498.0202 | 1187373.5165
71 | 2608518.3163 | 1187386.7015 | 2608524.744 | 1187394.6497 | 2608527.1805 | 1187408.7271 | 2608536.7965 | 1187411.3865 | 2608546.8284 | 1187405.8979 | 2608558.3057 | 1187387.071
72 | 2608676.9423 | 1187647.2874 | 2608677.3726 | 1187642.6463
73 | 2608676.9423 | 1187647.2874 | 2608676.2289 | 1187654.9814
74 | 2608386.7524 | 1187337.0375 | 2608463.414 | 1187358.6558 | 2608494.696 | 1187371.9622 | 2608498.0202 | 1187373.5165
75 | 2608386.7524 | 1187337.0375 | 2608410.0374 | 1187067.6631
76 | 2608494.1948 | 1187787.4775 | 2608499.965 | 1187779.7371 | 2608509.089 | 1187766.4437
77 | 2608470.9298 | 1187819.3391 | 2608479.3291 | 1187807.9895 | 2608494.1948 | 1187787.4775
78 | 2608494.1948 | 1187787.4775 | 2608494.2771 | 1187797.9226
79 | 2608676.2289 | 1187654.9814 | 2608674.9554 | 1187668.7173 | 2608674.1759 | 1187677.109
80 | 2608674.1759 | 1187677.109 | 2608674.0095 | 1187678.9008
81 | 2608671.3171 | 1187707.8859 | 2608674.0095 | 1187678.9008
82 | 2608679.1086 | 1187623.9222 | 2608677.3726 | 1187642.6463
83 | 2608671.2684 | 1187708.4103 | 2608671.3171 | 1187707.8859
84 | 2608716.1282 | 1187624.6426 | 2608679.1086 | 1187623.9222
85 | 2608716.1282 | 1187624.6426 | 2608730.4603 | 1187625.0923
86 | 2608716.1282 | 1187624.6426 | 2608718.5485 | 1187639.4718
87 | 2608718.5485 | 1187639.4718 | 2608719.4029 | 1187644.7065
88 | 2608719.4029 | 1187644.7065 | 2608723.3741 | 1187669.038
89 | 2608725.1752 | 1187680.073 | 2608727.5425 | 1187694.5776
90 | 2608725.1752 | 1187680.073 | 2608723.7825 | 1187671.5401
91 | 2608727.5425 | 1187694.5776 | 2608727.8643 | 1187696.549
92 | 2608723.7825 | 1187671.5401 | 2608723.3741 | 1187669.038
93 | 2608731.1162 | 1187716.4735 | 2608727.8643 | 1187696.549
94 | 2608731.1162 | 1187716.4735 | 2608731.405 | 1187718.243
95 | 2608802.4496 | 1187705.5877 | 2608804.4921 | 1187679.2437 | 2608806.1547 | 1187667.0974
96 | 2608802.4194 | 1187710.5521 | 2608802.2919 | 1187707.6219 | 2608802.4496 | 1187705.5877
97 | 2608802.4194 | 1187710.5521 | 2608802.4688 | 1187711.6871
98 | 2608802.4688 | 1187711.6871 | 2608803.4876 | 1187735.1047 | 2608803.6341 | 1187736.4032
99 | 2608731.6533 | 1187719.7643 | 2608731.405 | 1187718.243
100 | 2608731.9785 | 1187721.7568 | 2608731.6533 | 1187719.7643
101 | 2608671.2684 | 1187708.4103 | 2608670.5621 | 1187716.0134 | 2608670.3242 | 1187717.9493
102 | 2608670.3242 | 1187717.9493 | 2608667.333 | 1187742.2922
103 | 2608459.5087 | 1187886.0022 | 2608459.0256 | 1187892.4939
104 | 2608459.5087 | 1187886.0022 | 2608459.9 | 1187880.7436
105 | 2608458.5756 | 1187898.5408 | 2608459.0256 | 1187892.4939
106 | 2608462.6915 | 1187846.475 | 2608461.4211 | 1187860.3026 | 2608459.9 | 1187880.7436
107 | 2608458.5756 | 1187898.5408 | 2608458.0563 | 1187918.7619
108 | 2608458.5756 | 1187898.5408 | 2608438.8469 | 1187896.0659
109 | 2608462.6915 | 1187846.475 | 2608453.7901 | 1187847.3504
110 | 2608462.6915 | 1187846.475 | 2608463.6977 | 1187841.2763
111 | 2608458.0441 | 1187919.2385 | 2608458.0563 | 1187918.7619
112 | 2608438.8469 | 1187896.0659 | 2608429.4492 | 1187894.887 | 2608421.8497 | 1187894.0537
113 | 2608453.7901 | 1187847.3504 | 2608443.8386 | 1187848.329
114 | 2608469.1083 | 1187823.6166 | 2608465.4577 | 1187832.1826 | 2608463.6977 | 1187841.2763
115 | 2608459.0231 | 1187947.7453 | 2608457.7445 | 1187930.9009 | 2608458.0441 | 1187919.2385
116 | 2608421.8497 | 1187894.0537 | 2608411.9671 | 1187892.97
117 | 2608425.8054 | 1187850.1024 | 2608443.8386 | 1187848.329
118 | 2608470.9298 | 1187819.3391 | 2608469.1083 | 1187823.6166
119 | 2608459.0231 | 1187947.7453 | 2608459.1579 | 1187949.5208
120 | 2608459.1579 | 1187949.5208 | 2608459.7218 | 1187956.9505 | 2608463.9731 | 1187976.9336 | 2608464.4401 | 1187978.8291
121 | 2608470.9298 | 1187819.3391 | 2608458.2074 | 1187820.6137
122 | 2608494.4863 | 1187824.4548 | 2608494.2771 | 1187797.9226
123 | 2608438.4264 | 1187822.5954 | 2608458.2074 | 1187820.6137
124 | 2608494.5313 | 1187830.1668 | 2608494.4863 | 1187824.4548
125 | 2608419.5241 | 1187824.4892 | 2608438.4264 | 1187822.5954
126 | 2608393.1899 | 1187919.7261 | 2608392.1289 | 1187912.8254
127 | 2608393.1899 | 1187919.7261 | 2608394.2398 | 1187926.5544 | 2608397.7805 | 1187948.1046
128 | 2608388.6835 | 1187890.4168 | 2608392.1289 | 1187912.8254
129 | 2608397.7805 | 1187948.1046 | 2608398.2245 | 1187950.8067
130 | 2608388.6835 | 1187890.4168 | 2608394.0116 | 1187891.001
131 | 2608398.2245 | 1187950.8067 | 2608402.3849 | 1187976.1282
132 | 2608394.0116 | 1187891.001 | 2608411.9671 | 1187892.97
133 | 2608404.4788 | 1187988.8727 | 2608402.3849 | 1187976.1282
134 | 2608398.0828 | 1187852.8287 | 2608415.862 | 1187851.0803
135 | 2608425.8054 | 1187850.1024 | 2608415.862 | 1187851.0803
136 | 2608398.0828 | 1187852.8287 | 2608388.4036 | 1187853.7806
137 | 2608370.2622 | 1187855.5646 | 2608388.4036 | 1187853.7806
138 | 2608360.3752 | 1187856.5369 | 2608370.2622 | 1187855.5646
139 | 2608419.5241 | 1187824.4892 | 2608400.5817 | 1187826.3869
140 | 2608381.2466 | 1187828.3239 | 2608400.5817 | 1187826.3869
141 | 2608381.2466 | 1187828.3239 | 2608361.7329 | 1187830.2789
142 | 2609267.7342 | 1186861.9552 | 2609267.3607 | 1186847.6495 | 2609264.1193 | 1186824.5225
143 | 2609203.8887 | 1186819.7267 | 2609221.65 | 1186814.2042
144 | 2609267.7342 | 1186861.9552 | 2609267.7714 | 1186863.3805 | 2609267.323 | 1186874.8379
145 | 2609203.8887 | 1186819.7267 | 2609211.277 | 1186832.0369
146 | 2609203.8887 | 1186819.7267 | 2609198.8693 | 1186814.205 | 2609195.7338 | 1186811.2742
147 | 2609128.3876 | 1187026.4859 | 2609125.279 | 1187035.1751
148 | 2609193.4372 | 1186809.1274 | 2609184.9092 | 1186803.592
149 | 2609193.4372 | 1186809.1274 | 2609195.7338 | 1186811.2742
150 | 2609226.1294 | 1186847.3274 | 2609211.415 | 1186832.2669 | 2609211.277 | 1186832.0369
151 | 2609267.323 | 1186874.8379 | 2609267.1141 | 1186880.178
152 | 2609267.0249 | 1186882.4559 | 2609267.1141 | 1186880.178
153 | 2608321.5783 | 1187941.0391 | 2608343.4682 | 1187937.3007
154 | 2608343.4682 | 1187937.3007 | 2608343.8265 | 1187939.5921
155 | 2608345.0938 | 1187947.6973 | 2608343.8265 | 1187939.5921

## bus_geodata
| x | y | coords
0 | 2608629.1351 | 1188124.3374
1 | 2608648.4469 | 1188083.6395
2 | 2608668.899 | 1188104.5351
3 | 2608471.6308 | 1188006.8113
4 | 2608464.8684 | 1187980.567
5 | 2609077.5998 | 1187148.7649
6 | 2609064.9211 | 1187173.2998
7 | 2609069.3544 | 1187193.0278
8 | 2609065.5596 | 1187155.2752
9 | 2609083.6517 | 1187116.6541
10 | 2609084.5084 | 1187111.9291
11 | 2609071.232 | 1187136.601
12 | 2608799.6694 | 1187622.8407
13 | 2608807.7766 | 1187655.2486
14 | 2608754.9609 | 1187625.7099
15 | 2609112.7849 | 1187147.6926
16 | 2609107.7262 | 1187073.0344
17 | 2609202.6378 | 1187059.3603
18 | 2609233.5974 | 1187209.9606
19 | 2609114.5224 | 1187063.7843
20 | 2609116.9187 | 1187057.9504
21 | 2609125.09 | 1187035.7034
22 | 2609244.767 | 1187013.8566
23 | 2609314.6519 | 1186973.3098
24 | 2609250.8756 | 1187000.4701
25 | 2609347.1337 | 1186959.9877
26 | 2609306.8255 | 1186990.7415
27 | 2609304.7937 | 1186924.1087
28 | 2609301.7694 | 1186942.5036
29 | 2609303.6226 | 1186997.8755
30 | 2609352.7756 | 1186884.4782
31 | 2609311.7402 | 1186833.2881
32 | 2609303.5405 | 1186939.0565
33 | 2609293.4004 | 1186753.2405
34 | 2609260.6064 | 1186799.4585
35 | 2608290.1838 | 1187915.1483
36 | 2608294.4655 | 1187907.3067
37 | 2608268.2375 | 1187919.2983
38 | 2608301.4227 | 1187892.9197
39 | 2608251.131 | 1187915.1845
40 | 2608336.7284 | 1187890.656
41 | 2608310.2156 | 1187855.7791
42 | 2608136.3257 | 1187970.7388
43 | 2608338.664 | 1187881.0759
44 | 2608339.3369 | 1187910.8542
45 | 2608307.7273 | 1187836.4042
46 | 2608147.1092 | 1188004.3102
47 | 2608166.9798 | 1188052.9564
48 | 2608354.9018 | 1187885.7374
49 | 2608369.471 | 1187888.5558
50 | 2608383.0708 | 1187889.8731
51 | 2608365.8191 | 1187887.8493
52 | 2608341.4899 | 1187924.6367
53 | 2608308.4123 | 1187741.6506
54 | 2608305.6302 | 1187725.2196
55 | 2608292.2503 | 1187656.8176
56 | 2608341.1779 | 1187662.8215
57 | 2608354.4311 | 1187666.3194
58 | 2608423.0445 | 1187627.1534
59 | 2608453.7462 | 1187621.5677
60 | 2608528.5907 | 1187619.9611
61 | 2608532.7039 | 1187629.6497
62 | 2608535.6387 | 1187636.5464
63 | 2608518.3163 | 1187386.7015
64 | 2608676.9423 | 1187647.2874
65 | 2608498.0202 | 1187373.5165
66 | 2608558.3057 | 1187387.071
67 | 2608386.7524 | 1187337.0375
68 | 2608509.089 | 1187766.4437
69 | 2608494.1948 | 1187787.4775
70 | 2608676.2289 | 1187654.9814
71 | 2608674.1759 | 1187677.109
72 | 2608674.0095 | 1187678.9008
73 | 2608677.3726 | 1187642.6463
74 | 2608671.3171 | 1187707.8859
75 | 2608679.1086 | 1187623.9222
76 | 2608730.4603 | 1187625.0923
77 | 2608716.1282 | 1187624.6426
78 | 2608718.5485 | 1187639.4718
79 | 2608719.4029 | 1187644.7065
80 | 2608725.1752 | 1187680.073
81 | 2608727.5425 | 1187694.5776
82 | 2608723.7825 | 1187671.5401
83 | 2608727.8643 | 1187696.549
84 | 2608723.3741 | 1187669.038
85 | 2608731.1162 | 1187716.4735
86 | 2608802.4496 | 1187705.5877
87 | 2608806.1547 | 1187667.0974
88 | 2608802.4194 | 1187710.5521
89 | 2608802.4688 | 1187711.6871
90 | 2608803.6341 | 1187736.4032
91 | 2608731.405 | 1187718.243
92 | 2608731.9785 | 1187721.7568
93 | 2608731.6533 | 1187719.7643
94 | 2608671.2684 | 1187708.4103
95 | 2608670.3242 | 1187717.9493
96 | 2608667.333 | 1187742.2922
97 | 2608410.0374 | 1187067.6631
98 | 2608459.5087 | 1187886.0022
99 | 2608459.0256 | 1187892.4939
100 | 2608459.9 | 1187880.7436
101 | 2608458.5756 | 1187898.5408
102 | 2608462.6915 | 1187846.475
103 | 2608458.0563 | 1187918.7619
104 | 2608438.8469 | 1187896.0659
105 | 2608453.7901 | 1187847.3504
106 | 2608463.6977 | 1187841.2763
107 | 2608458.0441 | 1187919.2385
108 | 2608421.8497 | 1187894.0537
109 | 2608443.8386 | 1187848.329
110 | 2608469.1083 | 1187823.6166
111 | 2608459.0231 | 1187947.7453
112 | 2608459.1579 | 1187949.5208
113 | 2608464.4401 | 1187978.8291
114 | 2608470.9298 | 1187819.3391
115 | 2608494.2771 | 1187797.9226
116 | 2608458.2074 | 1187820.6137
117 | 2608494.4863 | 1187824.4548
118 | 2608438.4264 | 1187822.5954
119 | 2608494.5313 | 1187830.1668
120 | 2608393.1899 | 1187919.7261
121 | 2608392.1289 | 1187912.8254
122 | 2608397.7805 | 1187948.1046
123 | 2608388.6835 | 1187890.4168
124 | 2608398.2245 | 1187950.8067
125 | 2608394.0116 | 1187891.001
126 | 2608402.3849 | 1187976.1282
127 | 2608411.9671 | 1187892.97
128 | 2608404.4788 | 1187988.8727
129 | 2608415.862 | 1187851.0803
130 | 2608398.0828 | 1187852.8287
131 | 2608425.8054 | 1187850.1024
132 | 2608388.4036 | 1187853.7806
133 | 2608370.2622 | 1187855.5646
134 | 2608360.3752 | 1187856.5369
135 | 2608419.5241 | 1187824.4892
136 | 2608400.5817 | 1187826.3869
137 | 2608381.2466 | 1187828.3239
138 | 2608361.7329 | 1187830.2789
139 | 2609264.1193 | 1186824.5225
140 | 2609221.65 | 1186814.2042
141 | 2609267.7342 | 1186861.9552
142 | 2609203.8887 | 1186819.7267
143 | 2609125.279 | 1187035.1751
144 | 2609128.3876 | 1187026.4859
145 | 2609184.9092 | 1186803.592
146 | 2609193.4372 | 1186809.1274
147 | 2609195.7338 | 1186811.2742
148 | 2609211.277 | 1186832.0369
149 | 2609226.1294 | 1186847.3274
150 | 2609267.323 | 1186874.8379
151 | 2609267.1141 | 1186880.178
152 | 2609267.0249 | 1186882.4559
153 | 2608343.4682 | 1187937.3007
154 | 2608321.5783 | 1187941.0391
155 | 2608343.8265 | 1187939.5921
156 | 2608345.0938 | 1187947.6973
157 | 2608679.1086 | 1187623.9222

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1