## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_872-1_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_872-1_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_872-1_1_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_872-1_1_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_872-1_1_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_872-1_1_3_node_296 | 0.4 | n |  | TRUE
6 | bus_LV_872-1_1_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_872-1_1_3_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_872-1_1_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_872-1_1_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_872-1_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_872-1_1_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_872-1_1_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_872-1_1_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_872-1_1_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_872-1_1_3_node_301 | 0.4 | n |  | TRUE
16 | bus_LV_872-1_1_3_node_283 | 0.4 | n |  | TRUE
17 | bus_LV_872-1_1_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_872-1_1_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_872-1_1_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_872-1_1_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_872-1_1_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_872-1_1_3_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_872-1_1_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_872-1_1_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_872-1_1_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_872-1_1_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_872-1_1_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_872-1_1_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_872-1_1_3_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_872-1_1_3_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_872-1_1_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_872-1_1_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_872-1_1_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_872-1_1_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_872-1_1_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_872-1_1_3_node_126 | 0.4 | n |  | TRUE
37 | bus_LV_872-1_1_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_872-1_1_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_872-1_1_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_872-1_1_3_node_108 | 0.4 | n |  | TRUE
41 | bus_LV_872-1_1_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_872-1_1_3_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_872-1_1_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_872-1_1_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_872-1_1_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_872-1_1_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_872-1_1_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_872-1_1_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_872-1_1_3_node_303 | 0.4 | n |  | TRUE
50 | bus_LV_872-1_1_3_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_872-1_1_3_node_122 | 0.4 | n |  | TRUE
52 | bus_LV_872-1_1_3_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_872-1_1_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_872-1_1_3_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_872-1_1_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_872-1_1_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_872-1_1_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_872-1_1_3_node_124 | 0.4 | n |  | TRUE
59 | bus_LV_872-1_1_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_872-1_1_3_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_872-1_1_3_node_127 | 0.4 | n |  | TRUE
62 | bus_LV_872-1_1_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_872-1_1_3_node_270 | 0.4 | n |  | TRUE
64 | bus_LV_872-1_1_3_node_268 | 0.4 | n |  | TRUE
65 | bus_LV_872-1_1_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_872-1_1_3_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_872-1_1_3_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_872-1_1_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_872-1_1_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_872-1_1_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_872-1_1_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_872-1_1_3_node_131 | 0.4 | n |  | TRUE
73 | bus_LV_872-1_1_3_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_872-1_1_3_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_872-1_1_3_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_872-1_1_3_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_872-1_1_3_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_872-1_1_3_node_120 | 0.4 | n |  | TRUE
79 | bus_LV_872-1_1_3_node_135 | 0.4 | n |  | TRUE
80 | bus_LV_872-1_1_3_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_872-1_1_3_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_872-1_1_3_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_872-1_1_3_node_258 | 0.4 | n |  | TRUE
84 | bus_LV_872-1_1_3_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_872-1_1_3_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_872-1_1_3_node_265 | 0.4 | n |  | TRUE
87 | bus_LV_872-1_1_3_node_263 | 0.4 | n |  | TRUE
88 | bus_LV_872-1_1_3_node_104 | 0.4 | n |  | TRUE
89 | bus_LV_872-1_1_3_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_872-1_1_3_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_872-1_1_3_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_872-1_1_3_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_872-1_1_3_node_134 | 0.4 | n |  | TRUE
94 | bus_LV_872-1_1_3_node_133 | 0.4 | n |  | TRUE
95 | bus_LV_872-1_1_3_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_872-1_1_3_node_105 | 0.4 | n |  | TRUE
97 | bus_LV_872-1_1_3_node_106 | 0.4 | n |  | TRUE
98 | bus_LV_872-1_1_3_node_107 | 0.4 | n |  | TRUE
99 | bus_LV_872-1_1_3_node_114 | 0.4 | n |  | TRUE
100 | bus_LV_872-1_1_3_node_123 | 0.4 | n |  | TRUE
101 | bus_LV_872-1_1_3_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_872-1_1_3_node_116 | 0.4 | n |  | TRUE
103 | bus_LV_872-1_1_3_node_117 | 0.4 | n |  | TRUE
104 | bus_LV_872-1_1_3_node_118 | 0.4 | n |  | TRUE
105 | bus_LV_872-1_1_3_node_119 | 0.4 | n |  | TRUE
106 | bus_LV_872-1_1_3_node_121 | 0.4 | n |  | TRUE
107 | bus_LV_872-1_1_3_node_305 | 0.4 | n |  | TRUE
108 | bus_LV_872-1_1_3_node_125 | 0.4 | n |  | TRUE
109 | bus_LV_872-1_1_3_node_130 | 0.4 | n |  | TRUE
110 | bus_LV_872-1_1_3_node_132 | 0.4 | n |  | TRUE
111 | bus_LV_872-1_1_3_node_262 | 0.4 | n |  | TRUE
112 | bus_LV_872-1_1_3_node_261 | 0.4 | n |  | TRUE
113 | bus_LV_872-1_1_3_node_259 | 0.4 | n |  | TRUE
114 | bus_LV_872-1_1_3_node_260 | 0.4 | n |  | TRUE
115 | bus_LV_872-1_1_3_node_276 | 0.4 | n |  | TRUE
116 | bus_LV_872-1_1_3_node_287 | 0.4 | n |  | TRUE
117 | bus_LV_872-1_1_3_node_264 | 0.4 | n |  | TRUE
118 | bus_LV_872-1_1_3_node_266 | 0.4 | n |  | TRUE
119 | bus_LV_872-1_1_3_node_267 | 0.4 | n |  | TRUE
120 | bus_LV_872-1_1_3_node_280 | 0.4 | n |  | TRUE
121 | bus_LV_872-1_1_3_node_269 | 0.4 | n |  | TRUE
122 | bus_LV_872-1_1_3_node_286 | 0.4 | n |  | TRUE
123 | bus_LV_872-1_1_3_node_285 | 0.4 | n |  | TRUE
124 | bus_LV_872-1_1_3_node_282 | 0.4 | n |  | TRUE
125 | bus_LV_872-1_1_3_node_271 | 0.4 | n |  | TRUE
126 | bus_LV_872-1_1_3_node_272 | 0.4 | n |  | TRUE
127 | bus_LV_872-1_1_3_node_273 | 0.4 | n |  | TRUE
128 | bus_LV_872-1_1_3_node_274 | 0.4 | n |  | TRUE
129 | bus_LV_872-1_1_3_node_275 | 0.4 | n |  | TRUE
130 | bus_LV_872-1_1_3_node_299 | 0.4 | n |  | TRUE
131 | bus_LV_872-1_1_3_node_277 | 0.4 | n |  | TRUE
132 | bus_LV_872-1_1_3_node_278 | 0.4 | n |  | TRUE
133 | bus_LV_872-1_1_3_node_279 | 0.4 | n |  | TRUE
134 | bus_LV_872-1_1_3_node_284 | 0.4 | n |  | TRUE
135 | bus_LV_872-1_1_3_node_281 | 0.4 | n |  | TRUE
136 | bus_LV_872-1_1_3_node_293 | 0.4 | n |  | TRUE
137 | bus_LV_872-1_1_3_node_298 | 0.4 | n |  | TRUE
138 | bus_LV_872-1_1_3_node_288 | 0.4 | n |  | TRUE
139 | bus_LV_872-1_1_3_node_289 | 0.4 | n |  | TRUE
140 | bus_LV_872-1_1_3_node_290 | 0.4 | n |  | TRUE
141 | bus_LV_872-1_1_3_node_291 | 0.4 | n |  | TRUE
142 | bus_LV_872-1_1_3_node_306 | 0.4 | n |  | TRUE
143 | bus_LV_872-1_1_3_node_304 | 0.4 | n |  | TRUE
144 | bus_LV_872-1_1_3_node_292 | 0.4 | n |  | TRUE
145 | bus_LV_872-1_1_3_node_294 | 0.4 | n |  | TRUE
146 | bus_LV_872-1_1_3_node_295 | 0.4 | n |  | TRUE
147 | bus_MV_98_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_872-1_1_3_load_6 | 0 | 0.00013614 | 3.4121e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_872-1_1_3_load_7 | 1 | 0.0011164 | 0.0002798 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_872-1_1_3_load_9 | 3 | 0.00020493 | 5.1359e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_872-1_1_3_load_11 | 4 | 0.00013995 | 3.5075e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_872-1_1_3_load_296 | 5 | 7.4071e-05 | 1.8564e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_872-1_1_3_load_13 | 6 | 0.00022838 | 5.7237e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_872-1_1_3_load_73 | 7 | 0.0010946 | 0.00027432 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_872-1_1_3_load_12 | 8 | 0.00010186 | 2.5527e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_872-1_1_3_load_14 | 9 | 0.00010201 | 2.5565e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_872-1_1_3_load_15 | 10 | 0.0018769 | 0.00047038 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_872-1_1_3_load_17 | 11 | 0.00093566 | 0.0002345 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_872-1_1_3_load_16 | 12 | 0.00025461 | 6.3811e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_872-1_1_3_load_18 | 13 | 0.00047084 | 0.000118 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_872-1_1_3_load_301 | 15 | 7.2764e-05 | 1.8236e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_872-1_1_3_load_283 | 16 | 0.00036496 | 9.1467e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_872-1_1_3_load_20 | 17 | 0.0010839 | 0.00027166 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_872-1_1_3_load_21 | 18 | 0.00060428 | 0.00015145 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_872-1_1_3_load_22 | 19 | 0.00076118 | 0.00019077 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_872-1_1_3_load_23 | 20 | 0.00073579 | 0.00018441 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_872-1_1_3_load_24 | 21 | 0.00092513 | 0.00023186 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_872-1_1_3_load_36 | 23 | 0.00076177 | 0.00019092 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_872-1_1_3_load_30 | 24 | 0.00090023 | 0.00022562 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_872-1_1_3_load_31 | 25 | 0.0021669 | 0.00054309 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_872-1_1_3_load_32 | 26 | 0.00040017 | 0.00010029 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_872-1_1_3_load_33 | 27 | 0.00059719 | 0.00014967 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_872-1_1_3_load_71 | 30 | 0.00070867 | 0.00017761 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_872-1_1_3_load_52 | 31 | 0.0009864 | 0.00024722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_872-1_1_3_load_37 | 32 | 0.0013737 | 0.00034428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_872-1_1_3_load_38 | 33 | 0.00543 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_872-1_1_3_load_39 | 34 | 0.0039503 | 0.00099004 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_872-1_1_3_load_40 | 35 | 0.0034351 | 0.00086091 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_872-1_1_3_load_41 | 37 | 0.00091128 | 0.00022839 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_872-1_1_3_load_44 | 39 | 0.0021998 | 0.00055132 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_872-1_1_3_load_108 | 40 | 0.00096139 | 0.00024095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_872-1_1_3_load_45 | 41 | 0.00076453 | 0.00019161 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_872-1_1_3_load_46 | 43 | 0.0026085 | 0.00065375 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_872-1_1_3_load_47 | 44 | 0.0033415 | 0.00083745 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_872-1_1_3_load_48 | 45 | 0.00055202 | 0.00013835 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_872-1_1_3_load_49 | 46 | 0.00076396 | 0.00019147 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_872-1_1_3_load_51 | 48 | 0.0039333 | 0.00098579 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_872-1_1_3_load_122 | 51 | 0.0029819 | 0.00074733 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_872-1_1_3_load_96 | 52 | 0.00069115 | 0.00017322 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_872-1_1_3_load_59 | 53 | 0.0017946 | 0.00044977 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_872-1_1_3_load_60 | 54 | 0.00051406 | 0.00012883 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_872-1_1_3_load_62 | 56 | 0.00058455 | 0.0001465 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_872-1_1_3_load_63 | 57 | 0.0005185 | 0.00012995 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_872-1_1_3_load_124 | 58 | 0.00083575 | 0.00020946 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_872-1_1_3_load_127 | 61 | 0.0041398 | 0.0010375 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_872-1_1_3_load_268 | 64 | 0.0017012 | 0.00042637 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_872-1_1_3_load_92 | 67 | 0.0056508 | 0.0014162 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_872-1_1_3_load_67 | 68 | 0.0051884 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_872-1_1_3_load_68 | 69 | 0.0012926 | 0.00032395 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_872-1_1_3_load_69 | 70 | 0.00039351 | 9.8624e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_872-1_1_3_load_70 | 71 | 0.0020052 | 0.00050256 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_872-1_1_3_load_131 | 72 | 0.0016108 | 0.0004037 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_872-1_1_3_load_82 | 73 | 0.00025519 | 6.3957e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_872-1_1_3_load_112 | 74 | 0.00098887 | 0.00024783 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_872-1_1_3_load_111 | 77 | 0.00028771 | 7.2107e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_872-1_1_3_load_135 | 79 | 0.0026069 | 0.00065335 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_872-1_1_3_load_88 | 80 | 0.001549 | 0.00038822 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_872-1_1_3_load_89 | 81 | 0.0025673 | 0.00064342 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_872-1_1_3_load_90 | 82 | 0.0011676 | 0.00029264 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_872-1_1_3_load_258 | 83 | 0.001576 | 0.00039499 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_872-1_1_3_load_93 | 84 | 0.0035691 | 0.00089451 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_872-1_1_3_load_265 | 86 | 0.0068696 | 0.0017217 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_872-1_1_3_load_263 | 87 | 0.0040859 | 0.001024 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_872-1_1_3_load_104 | 88 | 0.00098249 | 0.00024623 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_872-1_1_3_load_102 | 89 | 0.001717 | 0.00043031 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_872-1_1_3_load_99 | 90 | 0.0059611 | 0.001494 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_872-1_1_3_load_100 | 91 | 0.0015351 | 0.00038474 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_872-1_1_3_load_101 | 92 | 0.0013904 | 0.00034846 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_872-1_1_3_load_133 | 94 | 0.0026922 | 0.00067472 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_872-1_1_3_load_103 | 95 | 0.00077425 | 0.00019405 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_872-1_1_3_load_106 | 97 | 0.0015646 | 0.00039212 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_872-1_1_3_load_107 | 98 | 0.00080184 | 0.00020096 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_872-1_1_3_load_114 | 99 | 0.001275 | 0.00031953 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_872-1_1_3_load_123 | 100 | 0.0071219 | 0.0017849 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_872-1_1_3_load_113 | 101 | 0.0020165 | 0.00050538 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_872-1_1_3_load_116 | 102 | 0.00068738 | 0.00017227 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_872-1_1_3_load_117 | 103 | 0.00067007 | 0.00016794 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_872-1_1_3_load_119 | 105 | 0.0041102 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_872-1_1_3_load_121 | 106 | 0.0025334 | 0.00063493 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_872-1_1_3_load_305 | 107 | 0.0010553 | 0.00026449 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_872-1_1_3_load_132 | 110 | 0.0012947 | 0.00032448 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_872-1_1_3_load_262 | 111 | 0.0011925 | 0.00029887 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_872-1_1_3_load_261 | 112 | 0.0017598 | 0.00044104 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_872-1_1_3_load_259 | 113 | 0.0012332 | 0.00030908 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_872-1_1_3_load_260 | 114 | 0.0013244 | 0.00033191 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_872-1_1_3_load_276 | 115 | 0.0011104 | 0.00027828 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_872-1_1_3_load_287 | 116 | 0.0014 | 0.00035087 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_872-1_1_3_load_266 | 118 | 0.0021622 | 0.00054189 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_872-1_1_3_load_267 | 119 | 0.0021065 | 0.00052795 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_872-1_1_3_load_280 | 120 | 0.0019041 | 0.00047721 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_872-1_1_3_load_269 | 121 | 0.00058056 | 0.0001455 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_872-1_1_3_load_286 | 122 | 0.0043539 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_872-1_1_3_load_285 | 123 | 0.0031264 | 0.00078355 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_872-1_1_3_load_282 | 124 | 0.0013416 | 0.00033623 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_872-1_1_3_load_271 | 125 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_872-1_1_3_load_299 | 130 | 0.001172 | 0.00029374 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_872-1_1_3_load_277 | 131 | 0.00070507 | 0.00017671 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_872-1_1_3_load_278 | 132 | 0.0018268 | 0.00045783 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_872-1_1_3_load_279 | 133 | 0.002176 | 0.00054535 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_872-1_1_3_load_284 | 134 | 0.00032274 | 8.0887e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_872-1_1_3_load_281 | 135 | 0.0014943 | 0.00037449 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_872-1_1_3_load_298 | 137 | 0.0010008 | 0.00025082 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_872-1_1_3_load_288 | 138 | 0.0023972 | 0.00060081 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_872-1_1_3_load_289 | 139 | 0.0010569 | 0.00026487 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_872-1_1_3_load_290 | 140 | 0.0012331 | 0.00030905 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_872-1_1_3_load_306 | 142 | 0.0021273 | 0.00053314 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_872-1_1_3_load_304 | 143 | 0.0024142 | 0.00060505 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_872-1_1_3_load_292 | 144 | 0.0017598 | 0.00044105 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_872-1_1_3_load_295 | 146 | 0.00057237 | 0.00014345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_872-1_1_3_line_0 |  | 0 | 1 | 0.047281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_872-1_1_3_line_1 |  | 0 | 2 | 0.013391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_872-1_1_3_line_2 |  | 1 | 3 | 0.0084089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_872-1_1_3_line_3 |  | 2 | 4 | 0.034893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_872-1_1_3_line_4 |  | 2 | 5 | 0.23164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_872-1_1_3_line_5 |  | 3 | 6 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_872-1_1_3_line_6 |  | 4 | 7 | 0.38574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_872-1_1_3_line_7 |  | 6 | 8 | 0.0047737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_872-1_1_3_line_8 |  | 8 | 9 | 0.008003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_872-1_1_3_line_9 |  | 9 | 10 | 0.035948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_872-1_1_3_line_10 |  | 10 | 11 | 0.0057266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_872-1_1_3_line_11 |  | 11 | 12 | 0.032916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_872-1_1_3_line_12 |  | 12 | 13 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_872-1_1_3_line_13 |  | 13 | 14 | 0.032104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_872-1_1_3_line_14 |  | 14 | 15 | 0.1362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_872-1_1_3_line_15 |  | 14 | 16 | 0.52733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_872-1_1_3_line_16 |  | 16 | 134 | 0.006017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_872-1_1_3_line_17 |  | 16 | 136 | 0.29974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_872-1_1_3_line_18 |  | 17 | 18 | 0.025454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_872-1_1_3_line_19 |  | 17 | 19 | 0.031795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_872-1_1_3_line_20 |  | 18 | 20 | 0.0075381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_872-1_1_3_line_21 |  | 19 | 21 | 0.019767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_872-1_1_3_line_22 |  | 20 | 22 | 0.066979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_872-1_1_3_line_23 |  | 21 | 23 | 0.0015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_872-1_1_3_line_24 |  | 22 | 30 | 0.029139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_872-1_1_3_line_25 |  | 22 | 29 | 0.027909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_872-1_1_3_line_26 |  | 23 | 31 | 0.020455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_872-1_1_3_line_27 |  | 24 | 25 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_872-1_1_3_line_28 |  | 24 | 26 | 0.0011162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_872-1_1_3_line_29 |  | 25 | 27 | 0.036139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_872-1_1_3_line_30 |  | 26 | 28 | 0.13817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_872-1_1_3_line_31 |  | 28 | 29 | 0.064202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_872-1_1_3_line_32 |  | 29 | 72 | 0.018387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_872-1_1_3_line_33 |  | 30 | 70 | 0.0017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_872-1_1_3_line_34 |  | 31 | 52 | 0.0069245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_872-1_1_3_line_35 |  | 32 | 33 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_872-1_1_3_line_36 |  | 32 | 34 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_872-1_1_3_line_37 |  | 33 | 35 | 0.0065965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_872-1_1_3_line_38 |  | 35 | 36 | 0.060423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_872-1_1_3_line_39 |  | 36 | 109 | 0.063134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_872-1_1_3_line_40 |  | 36 | 108 | 0.003637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_872-1_1_3_line_41 |  | 37 | 38 | 0.15832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_872-1_1_3_line_42 |  | 38 | 39 | 0.051586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_872-1_1_3_line_43 |  | 39 | 40 | 0.047005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_872-1_1_3_line_44 |  | 40 | 42 | 0.017471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_872-1_1_3_line_45 |  | 41 | 42 | 0.010506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_872-1_1_3_line_46 |  | 42 | 77 | 0.24371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_872-1_1_3_line_47 |  | 43 | 44 | 0.021581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_872-1_1_3_line_48 |  | 43 | 45 | 0.002231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_872-1_1_3_line_49 |  | 44 | 46 | 0.060934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_872-1_1_3_line_50 |  | 45 | 47 | 0.041725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_872-1_1_3_line_51 |  | 46 | 48 | 0.037771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_872-1_1_3_line_52 |  | 47 | 49 | 0.02612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_872-1_1_3_line_53 |  | 47 | 50 | 0.063286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_872-1_1_3_line_54 |  | 48 | 51 | 0.0010113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_872-1_1_3_line_55 |  | 49 | 107 | 0.01479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_872-1_1_3_line_56 |  | 49 | 141 | 0.029957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_872-1_1_3_line_57 |  | 50 | 83 | 0.014492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_872-1_1_3_line_58 |  | 50 | 81 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_872-1_1_3_line_59 |  | 51 | 104 | 0.032945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_872-1_1_3_line_60 |  | 52 | 88 | 0.0098294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_872-1_1_3_line_61 |  | 53 | 54 | 0.010098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_872-1_1_3_line_62 |  | 53 | 55 | 0.022184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_872-1_1_3_line_63 |  | 54 | 56 | 0.016685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_872-1_1_3_line_64 |  | 55 | 57 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_872-1_1_3_line_65 |  | 57 | 58 | 0.010938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_872-1_1_3_line_66 |  | 58 | 108 | 0.063828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_872-1_1_3_line_67 |  | 59 | 60 | 0.06058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_872-1_1_3_line_68 |  | 59 | 61 | 3.1297e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_872-1_1_3_line_69 |  | 60 | 85 | 0.036484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_872-1_1_3_line_70 |  | 60 | 84 | 0.031933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_872-1_1_3_line_71 |  | 61 | 108 | 0.026703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_872-1_1_3_line_72 |  | 62 | 63 | 0.10255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_872-1_1_3_line_73 |  | 62 | 64 | 0.033536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_872-1_1_3_line_74 |  | 63 | 123 | 0.16275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_872-1_1_3_line_75 |  | 63 | 124 | 0.030184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_872-1_1_3_line_76 |  | 64 | 121 | 0.0025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_872-1_1_3_line_77 |  | 65 | 66 | 0.01044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_872-1_1_3_line_78 |  | 65 | 67 | 0.038173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_872-1_1_3_line_79 |  | 66 | 86 | 0.035795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_872-1_1_3_line_80 |  | 66 | 87 | 0.035847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_872-1_1_3_line_81 |  | 67 | 84 | 0.0054793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_872-1_1_3_line_82 |  | 68 | 69 | 0.0031518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_872-1_1_3_line_83 |  | 68 | 70 | 0.018434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_872-1_1_3_line_84 |  | 69 | 71 | 0.043149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_872-1_1_3_line_85 |  | 72 | 109 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_872-1_1_3_line_86 |  | 73 | 74 | 0.24488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_872-1_1_3_line_87 |  | 74 | 101 | 0.002933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_872-1_1_3_line_88 |  | 74 | 77 | 0.046231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_872-1_1_3_line_89 |  | 75 | 76 | 0.1823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_872-1_1_3_line_90 |  | 75 | 77 | 0.13078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_872-1_1_3_line_91 |  | 76 | 78 | 0.087785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_872-1_1_3_line_92 |  | 76 | 79 | 0.18357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_872-1_1_3_line_93 |  | 78 | 105 | 0.099927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_872-1_1_3_line_94 |  | 80 | 81 | 0.0065374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_872-1_1_3_line_95 |  | 80 | 82 | 0.00437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_872-1_1_3_line_96 |  | 83 | 113 | 0.0052269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_872-1_1_3_line_97 |  | 85 | 89 | 0.0040272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_872-1_1_3_line_98 |  | 85 | 90 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_872-1_1_3_line_99 |  | 86 | 120 | 0.0042876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_872-1_1_3_line_100 |  | 87 | 117 | 0.039963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_872-1_1_3_line_101 |  | 88 | 95 | 0.029535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_872-1_1_3_line_102 |  | 89 | 94 | 0.049527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_872-1_1_3_line_103 |  | 90 | 91 | 0.016634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_872-1_1_3_line_104 |  | 91 | 92 | 0.0059842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_872-1_1_3_line_105 |  | 92 | 93 | 0.020438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_872-1_1_3_line_106 |  | 93 | 112 | 0.031472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_872-1_1_3_line_107 |  | 95 | 96 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_872-1_1_3_line_108 |  | 96 | 97 | 0.046065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_872-1_1_3_line_109 |  | 96 | 98 | 0.0078018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_872-1_1_3_line_110 |  | 97 | 99 | 0.010309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_872-1_1_3_line_111 |  | 98 | 100 | 0.020578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_872-1_1_3_line_112 |  | 102 | 103 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_872-1_1_3_line_113 |  | 103 | 104 | 0.029384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_872-1_1_3_line_114 |  | 104 | 105 | 0.067253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_872-1_1_3_line_115 |  | 106 | 107 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_872-1_1_3_line_116 |  | 109 | 110 | 0.044702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_872-1_1_3_line_117 |  | 110 | 111 | 0.03709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_872-1_1_3_line_118 |  | 112 | 116 | 0.015554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_872-1_1_3_line_119 |  | 113 | 114 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_872-1_1_3_line_120 |  | 114 | 115 | 0.0068965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_872-1_1_3_line_121 |  | 115 | 122 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_872-1_1_3_line_122 |  | 117 | 118 | 0.011667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_872-1_1_3_line_123 |  | 117 | 119 | 0.0085462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_872-1_1_3_line_124 |  | 118 | 121 | 0.0062164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_872-1_1_3_line_125 |  | 119 | 122 | 0.077372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_872-1_1_3_line_126 |  | 123 | 137 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_872-1_1_3_line_127 |  | 124 | 135 | 0.028174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_872-1_1_3_line_128 |  | 125 | 126 | 0.0583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_872-1_1_3_line_129 |  | 125 | 127 | 0.030813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_872-1_1_3_line_130 |  | 126 | 128 | 0.13391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_872-1_1_3_line_131 |  | 127 | 129 | 0.026337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_872-1_1_3_line_132 |  | 128 | 130 | 0.023234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_872-1_1_3_line_133 |  | 129 | 131 | 0.026774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_872-1_1_3_line_134 |  | 130 | 137 | 0.041916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_872-1_1_3_line_135 |  | 131 | 132 | 0.0061587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_872-1_1_3_line_136 |  | 132 | 133 | 0.025746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_872-1_1_3_line_137 |  | 133 | 134 | 0.055329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_872-1_1_3_line_138 |  | 136 | 144 | 0.042402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_872-1_1_3_line_139 |  | 138 | 139 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_872-1_1_3_line_140 |  | 138 | 140 | 0.0051967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_872-1_1_3_line_141 |  | 139 | 141 | 0.060419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_872-1_1_3_line_142 |  | 139 | 142 | 0.11764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_872-1_1_3_line_143 |  | 141 | 143 | 0.037144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_872-1_1_3_line_144 |  | 144 | 145 | 0.06536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_872-1_1_3_line_145 |  | 145 | 146 | 0.064552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_872-1_1_3_trafo_62 | 0.63 MVA 20/0.4 kV | 147 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2606837.1978 | 1185581.6346 | 2606882.6296 | 1185594.7289
1 | 2606824.3306 | 1185577.926 | 2606837.1978 | 1185581.6346
2 | 2606890.7096 | 1185597.0577 | 2606882.6296 | 1185594.7289
3 | 2606824.3306 | 1185577.926 | 2606817.9515 | 1185612.2306
4 | 2606824.3306 | 1185577.926 | 2606865.8473 | 1185350.0357
5 | 2606909.1894 | 1185602.3839 | 2606890.7096 | 1185597.0577
6 | 2606817.9515 | 1185612.2306 | 2606719.8207 | 1185985.2835
7 | 2606913.7764 | 1185603.706 | 2606909.1894 | 1185602.3839
8 | 2606921.4663 | 1185605.9224 | 2606913.7764 | 1185603.706
9 | 2606921.4663 | 1185605.9224 | 2606932.5635 | 1185609.1208 | 2606956.0083 | 1185615.8792
10 | 2606961.5109 | 1185617.4654 | 2606956.0083 | 1185615.8792
11 | 2606961.5109 | 1185617.4654 | 2606993.1387 | 1185626.5827
12 | 2607009.1237 | 1185631.1907 | 2606993.1387 | 1185626.5827
13 | 2607039.9714 | 1185640.0831 | 2607009.1237 | 1185631.1907
14 | 2607039.9714 | 1185640.0831 | 2607046.436 | 1185625.9166 | 2607057.3214 | 1185583.563 | 2607060.008 | 1185570.0925 | 2607062.3456 | 1185548.2839 | 2607064.3284 | 1185507.1078
15 | 2607445.6509 | 1185976.9782 | 2607039.9714 | 1185640.0831
16 | 2607445.6509 | 1185976.9782 | 2607447.4732 | 1185982.7126
17 | 2607445.6509 | 1185976.9782 | 2607662.5356 | 1185770.0852
18 | 2607718.5443 | 1186238.1667 | 2607693.8551 | 1186244.3586
19 | 2607749.3174 | 1186230.179 | 2607737.601 | 1186233.3873 | 2607718.5443 | 1186238.1667
20 | 2607686.7718 | 1186246.7997 | 2607689.3095 | 1186245.4986 | 2607693.8551 | 1186244.3586
21 | 2607749.3174 | 1186230.179 | 2607768.383 | 1186224.9583
22 | 2607635.4182 | 1186287.3519 | 2607650.766 | 1186266.4161 | 2607665.6253 | 1186257.6415 | 2607686.7718 | 1186246.7997
23 | 2607768.383 | 1186224.9583 | 2607769.9234 | 1186224.5365
24 | 2607635.4182 | 1186287.3519 | 2607638.1938 | 1186294.8038 | 2607646.0764 | 1186300.2165 | 2607657.6809 | 1186300.9094
25 | 2607614.3512 | 1186305.7238 | 2607635.4182 | 1186287.3519
26 | 2607769.9234 | 1186224.5365 | 2607779.3833 | 1186221.9462 | 2607789.7859 | 1186219.6802
27 | 2607689.4033 | 1186106.9897 | 2607675.5788 | 1186125.3015
28 | 2607674.9062 | 1186126.1923 | 2607675.5788 | 1186125.3015
29 | 2607711.1001 | 1186078.0888 | 2607706.1024 | 1186084.8702 | 2607689.4033 | 1186106.9897
30 | 2607604.3657 | 1186243.3233 | 2607607.3378 | 1186228.0302 | 2607612.9401 | 1186214.5748 | 2607621.1672 | 1186201.1115 | 2607643.008 | 1186168.4444 | 2607674.9062 | 1186126.1923
31 | 2607604.3657 | 1186243.3233 | 2607602.8192 | 1186253.5489 | 2607603.0094 | 1186266.1112 | 2607609.8332 | 1186294.3789 | 2607614.3512 | 1186305.7238
32 | 2607614.3512 | 1186305.7238 | 2607619.9632 | 1186323.2332
33 | 2607657.6809 | 1186300.9094 | 2607658.3501 | 1186302.5397
34 | 2607789.7859 | 1186219.6802 | 2607796.5518 | 1186218.2065
35 | 2607722.3474 | 1186396.6854 | 2607707.9021 | 1186396.7214
36 | 2607722.3474 | 1186396.6854 | 2607736.6571 | 1186396.6496
37 | 2607701.3056 | 1186396.7379 | 2607707.9021 | 1186396.7214
38 | 2607641.1045 | 1186400.4733 | 2607656.4205 | 1186398.336 | 2607672.163 | 1186396.8108 | 2607701.3056 | 1186396.7379
39 | 2607641.1045 | 1186400.4733 | 2607633.9601 | 1186366.4355 | 2607627.7447 | 1186345.8726 | 2607625.2883 | 1186339.455
40 | 2607641.1045 | 1186400.4733 | 2607641.8019 | 1186404.0427
41 | 2606908.3445 | 1186689.3412 | 2606941.0868 | 1186652.8264 | 2606970.1095 | 1186626.7352 | 2606976.0689 | 1186619.6272 | 2606977.0828 | 1186600.5074 | 2606950.3854 | 1186568.3044
42 | 2606908.3445 | 1186689.3412 | 2606873.8608 | 1186727.7885
43 | 2606873.8608 | 1186727.7885 | 2606866.2906 | 1186736.062 | 2606865.6649 | 1186749.5349 | 2606874.6568 | 1186759.1279 | 2606883.37 | 1186761.9358
44 | 2606900.3758 | 1186765.8495 | 2606887.5002 | 1186763.2668 | 2606883.37 | 1186761.9358
45 | 2606900.3758 | 1186765.8495 | 2606905.1452 | 1186758.3511 | 2606905.6824 | 1186756.8238
46 | 2606900.3758 | 1186765.8495 | 2606960.1896 | 1187002.1007
47 | 2607459.9522 | 1186722.9269 | 2607459.6663 | 1186732.3631 | 2607458.1778 | 1186744.4117
48 | 2607459.9522 | 1186722.9269 | 2607460.0198 | 1186720.6969
49 | 2607458.1778 | 1186744.4117 | 2607456.5451 | 1186757.6279 | 2607455.203 | 1186787.9864 | 2607456.5025 | 1186798.36 | 2607458.0093 | 1186804.9645
50 | 2607450.3526 | 1186681.2918 | 2607456.1563 | 1186689.4254 | 2607459.233 | 1186700.1569 | 2607460.1594 | 1186716.0886 | 2607460.0198 | 1186720.6969
51 | 2607458.0093 | 1186804.9645 | 2607459.0218 | 1186809.4022 | 2607469.0399 | 1186839.7081 | 2607469.3711 | 1186840.9659
52 | 2607433.9163 | 1186701.6265 | 2607444.2319 | 1186688.8659 | 2607450.3526 | 1186681.2918
53 | 2607450.3526 | 1186681.2918 | 2607460.8426 | 1186669.4986 | 2607471.2791 | 1186657.7721 | 2607473.357 | 1186655.6291 | 2607466.5924 | 1186647.1608 | 2607454.7526 | 1186633.628
54 | 2607469.3711 | 1186840.9659 | 2607469.6285 | 1186841.9439
55 | 2607433.9163 | 1186701.6265 | 2607424.6232 | 1186713.1329
56 | 2607433.9163 | 1186701.6265 | 2607423.6949 | 1186699.7797 | 2607404.048 | 1186700.367
57 | 2607454.7526 | 1186633.628 | 2607465.5828 | 1186623.998
58 | 2607454.7526 | 1186633.628 | 2607446.0513 | 1186641.2573
59 | 2607478.0157 | 1186873.8035 | 2607469.6285 | 1186841.9439
60 | 2607806.156 | 1186216.1145 | 2607796.5518 | 1186218.2065
61 | 2607551.9855 | 1186436.8139 | 2607549.7859 | 1186439.6899 | 2607544.0617 | 1186442.7222
62 | 2607572.9456 | 1186431.2479 | 2607565.3384 | 1186431.4162 | 2607552.6824 | 1186435.9027 | 2607551.9855 | 1186436.8139
63 | 2607544.0617 | 1186442.7222 | 2607536.2186 | 1186446.8767 | 2607530.8021 | 1186446.3252 | 2607529.2337 | 1186444.5556
64 | 2607572.9456 | 1186431.2479 | 2607570.4928 | 1186428.0876 | 2607569.7424 | 1186424.0846 | 2607571.2984 | 1186418.4281
65 | 2607571.2984 | 1186418.4281 | 2607579.8593 | 1186411.6206
66 | 2607641.8019 | 1186404.0427 | 2607597.5784 | 1186404.2871 | 2607591.397 | 1186405.202 | 2607584.6565 | 1186407.806 | 2607579.8593 | 1186411.6206
67 | 2607647.0181 | 1186430.2629 | 2607651.6338 | 1186454.6369 | 2607651.8789 | 1186471.9684 | 2607651.1 | 1186478.5153 | 2607647.1794 | 1186489.6939
68 | 2607647.0181 | 1186430.2629 | 2607647.012 | 1186430.2322
69 | 2607647.1794 | 1186489.6939 | 2607651.1 | 1186478.5153 | 2607665.4159 | 1186482.769 | 2607675.0741 | 1186483.7039
70 | 2607647.1794 | 1186489.6939 | 2607641.3341 | 1186484.3393 | 2607632.4992 | 1186477.8803 | 2607621.286 | 1186471.1823
71 | 2607641.8019 | 1186404.0427 | 2607647.012 | 1186430.2322
72 | 2607430.663 | 1186456.0174 | 2607445.2039 | 1186463.5615 | 2607459.9075 | 1186469.038 | 2607480.5558 | 1186473.677 | 2607513.7215 | 1186474.7298 | 2607529.9003 | 1186471.9596
73 | 2607529.9003 | 1186471.9596 | 2607520.9432 | 1186483.9436 | 2607506.2504 | 1186495.3079
74 | 2607430.663 | 1186456.0174 | 2607414.6378 | 1186445.5812 | 2607397.3528 | 1186429.5962 | 2607383.42 | 1186411.3475 | 2607367.5406 | 1186381.2681 | 2607343.202 | 1186323.8754 | 2607342.9053 | 1186323.1707
75 | 2607430.663 | 1186456.0174 | 2607412.342 | 1186476.0386 | 2607409.7353 | 1186477.6133
76 | 2607506.2504 | 1186495.3079 | 2607504.2479 | 1186496.8568
77 | 2607579.3174 | 1186473.1998 | 2607575.0785 | 1186482.7439
78 | 2607579.3174 | 1186473.1998 | 2607588.8837 | 1186468.3204 | 2607600.1317 | 1186467.0895 | 2607609.942 | 1186468.4136 | 2607616.0021 | 1186469.8132
79 | 2607575.0785 | 1186482.7439 | 2607581.8276 | 1186517.8965
80 | 2607575.0785 | 1186482.7439 | 2607562.6616 | 1186491.2995 | 2607543.91 | 1186500.2252
81 | 2607616.0021 | 1186469.8132 | 2607620.8801 | 1186470.9398 | 2607621.286 | 1186471.1823
82 | 2607665.156 | 1186319.6607 | 2607666.0317 | 1186322.6883
83 | 2607665.156 | 1186319.6607 | 2607664.6257 | 1186317.8269 | 2607658.3501 | 1186302.5397
84 | 2607683.4053 | 1186358.1939 | 2607675.8992 | 1186356.8059 | 2607666.0317 | 1186322.6883
85 | 2607625.2883 | 1186339.455 | 2607620.3325 | 1186324.3854 | 2607619.9632 | 1186323.2332
86 | 2606808.4388 | 1187228.789 | 2606920.0055 | 1187010.7967
87 | 2606917.2783 | 1187009.7175 | 2606920.0055 | 1187010.7967
88 | 2606960.1896 | 1187002.1007 | 2606944.7448 | 1187015.1518 | 2606935.0844 | 1187016.7638 | 2606920.0055 | 1187010.7967
89 | 2607085.4569 | 1187008.8229 | 2607099.5645 | 1187007.7611 | 2607118.5177 | 1187005.8157 | 2607155.0836 | 1186974.2647 | 2607176.7864 | 1186956.9815 | 2607194.6755 | 1186945.3634 | 2607238.8735 | 1186918.4911
90 | 2607085.4569 | 1187008.8229 | 2607052.7983 | 1187000.6694 | 2607012.3368 | 1186990.8839 | 2606994.152 | 1186988.1614 | 2606974.0962 | 1186993.5522 | 2606960.7205 | 1187001.6521 | 2606960.1896 | 1187002.1007
91 | 2607313.5667 | 1186872.3793 | 2607289.3554 | 1186887.8025 | 2607241.5839 | 1186916.838 | 2607238.8735 | 1186918.4911
92 | 2607238.8735 | 1186918.4911 | 2607217.8401 | 1186873.3314 | 2607185.6068 | 1186808.5483 | 2607168.5339 | 1186774.944 | 2607163.0798 | 1186767.6671 | 2607158.566 | 1186765.2382 | 2607153.818 | 1186767.3115 | 2607149.8827 | 1186769.0493
93 | 2607313.5667 | 1186872.3793 | 2607330.6238 | 1186880.4042 | 2607410.9307 | 1186869.2588
94 | 2607446.0513 | 1186641.2573 | 2607441.1358 | 1186645.5672
95 | 2607437.8499 | 1186648.4482 | 2607441.1358 | 1186645.5672
96 | 2607465.5828 | 1186623.998 | 2607469.4889 | 1186620.5248
97 | 2607675.0741 | 1186483.7039 | 2607679.0329 | 1186482.9647
98 | 2607675.0741 | 1186483.7039 | 2607677.9624 | 1186486.3645 | 2607682.9554 | 1186490.2716
99 | 2607582.636 | 1186522.1071 | 2607581.8276 | 1186517.8965
100 | 2607506.105 | 1186513.1514 | 2607542.629 | 1186500.8349 | 2607543.91 | 1186500.2252
101 | 2607835.3031 | 1186212.2425 | 2607822.5594 | 1186212.5415 | 2607806.156 | 1186216.1145
102 | 2607727.2801 | 1186487.9767 | 2607721.6808 | 1186486.8316 | 2607712.8054 | 1186482.3846 | 2607685.186 | 1186481.8158 | 2607679.0329 | 1186482.9647
103 | 2607697.8453 | 1186497.1759 | 2607687.3683 | 1186493.7247 | 2607682.9554 | 1186490.2716
104 | 2607703.5291 | 1186499.0481 | 2607697.8453 | 1186497.1759
105 | 2607715.9922 | 1186514.1607 | 2607713.1412 | 1186506.1974 | 2607703.5291 | 1186499.0481
106 | 2607715.9922 | 1186514.1607 | 2607700.4283 | 1186525.3578 | 2607694.7513 | 1186536.2678
107 | 2607849.945 | 1186211.8989 | 2607835.3031 | 1186212.2425
108 | 2607849.945 | 1186211.8989 | 2607838.6617 | 1186167.2367
109 | 2607849.945 | 1186211.8989 | 2607857.7262 | 1186212.4652
110 | 2607836.1366 | 1186157.2416 | 2607838.6617 | 1186167.2367
111 | 2607878.2503 | 1186213.959 | 2607857.7262 | 1186212.4652
112 | 2607507.2383 | 1186876.795 | 2607519.6116 | 1186878.2921
113 | 2607478.0157 | 1186873.8035 | 2607488.7797 | 1186874.5617 | 2607507.2383 | 1186876.795
114 | 2607478.0157 | 1186873.8035 | 2607411.6155 | 1186869.1638 | 2607410.9307 | 1186869.2588
115 | 2607413.5224 | 1186727.5067 | 2607421.4306 | 1186717.0858 | 2607424.6232 | 1186713.1329
116 | 2607625.2883 | 1186339.455 | 2607583.5833 | 1186355.5482
117 | 2607583.5833 | 1186355.5482 | 2607548.9801 | 1186368.9008
118 | 2607694.7513 | 1186536.2678 | 2607691.9767 | 1186541.5999 | 2607690.3434 | 1186551.002
119 | 2607469.4889 | 1186620.5248 | 2607473.168 | 1186617.2534 | 2607481.2224 | 1186609.3505
120 | 2607481.2224 | 1186609.3505 | 2607486.145 | 1186604.5205
121 | 2607497.078 | 1186593.7931 | 2607486.145 | 1186604.5205
122 | 2607506.105 | 1186513.1514 | 2607501.7465 | 1186502.3292
123 | 2607506.105 | 1186513.1514 | 2607498.2125 | 1186516.4295
124 | 2607504.2479 | 1186496.8568 | 2607503.1638 | 1186497.6953 | 2607501.7465 | 1186502.3292
125 | 2607498.2125 | 1186516.4295 | 2607497.078 | 1186593.7931
126 | 2607342.9053 | 1186323.1707 | 2607334.1518 | 1186302.3843
127 | 2607389.3029 | 1186496.0427 | 2607396.1624 | 1186485.8128 | 2607409.7353 | 1186477.6133
128 | 2607396.7268 | 1186155.6647 | 2607439.2406 | 1186115.771
129 | 2607463.5259 | 1186097.0831 | 2607451.27 | 1186104.4829 | 2607439.2406 | 1186115.771
130 | 2607306.7133 | 1186243.3673 | 2607353.6056 | 1186226.76 | 2607371.2517 | 1186209.995 | 2607396.7268 | 1186155.6647
131 | 2607486.1895 | 1186083.5597 | 2607463.5259 | 1186097.0831
132 | 2607306.7133 | 1186243.3673 | 2607317.67 | 1186263.8557
133 | 2607486.1895 | 1186083.5597 | 2607483.8914 | 1186078.4653 | 2607479.4619 | 1186057.7478
134 | 2607334.1518 | 1186302.3843 | 2607318.8787 | 1186266.116 | 2607317.67 | 1186263.8557
135 | 2607479.4619 | 1186057.7478 | 2607479.0058 | 1186055.6141 | 2607477.8257 | 1186051.8165
136 | 2607473.9853 | 1186026.8532 | 2607473.2669 | 1186031.5724 | 2607473.0548 | 1186036.4635 | 2607477.8257 | 1186051.8165
137 | 2607473.9853 | 1186026.8532 | 2607475.1671 | 1186019.0905 | 2607471.2459 | 1186012.182 | 2607462.2999 | 1185996.2183 | 2607449.3755 | 1185988.6984 | 2607447.4732 | 1185982.7126
138 | 2607662.5356 | 1185770.0852 | 2607652.6444 | 1185759.4449 | 2607653.8998 | 1185738.2244 | 2607654.4947 | 1185731.6347
139 | 2607334.315 | 1186678.2852 | 2607354.8924 | 1186672.7647
140 | 2607329.2958 | 1186679.6318 | 2607334.315 | 1186678.2852
141 | 2607404.048 | 1186700.367 | 2607389.3336 | 1186685.4635 | 2607372.3594 | 1186671.5689 | 2607356.3973 | 1186672.3609 | 2607354.8924 | 1186672.7647
142 | 2607346.911 | 1186555.3999 | 2607354.8924 | 1186672.7647
143 | 2607366.8013 | 1186699.71 | 2607404.048 | 1186700.367
144 | 2607661.3212 | 1185668.6978 | 2607662.192 | 1185674.0573 | 2607665.423 | 1185689.6139 | 2607664.9446 | 1185699.7629 | 2607661.2173 | 1185708.5517 | 2607655.3549 | 1185722.1068 | 2607654.4947 | 1185731.6347
145 | 2607624.8805 | 1185701.4576 | 2607626.746 | 1185686.5745 | 2607629.0115 | 1185675.1492 | 2607632.5013 | 1185667.1939 | 2607639.8671 | 1185665.5691 | 2607648.6727 | 1185665.9915 | 2607656.4462 | 1185667.8357 | 2607661.3212 | 1185668.6978

## bus_geodata
| x | y | coords
0 | 2606837.1978 | 1185581.6346
1 | 2606882.6296 | 1185594.7289
2 | 2606824.3306 | 1185577.926
3 | 2606890.7096 | 1185597.0577
4 | 2606817.9515 | 1185612.2306
5 | 2606865.8473 | 1185350.0357
6 | 2606909.1894 | 1185602.3839
7 | 2606719.8207 | 1185985.2835
8 | 2606913.7764 | 1185603.706
9 | 2606921.4663 | 1185605.9224
10 | 2606956.0084 | 1185615.8792
11 | 2606961.5109 | 1185617.4654
12 | 2606993.1387 | 1185626.5827
13 | 2607009.1237 | 1185631.1907
14 | 2607039.9714 | 1185640.0831
15 | 2607064.3284 | 1185507.1078
16 | 2607445.6509 | 1185976.9782
17 | 2607718.5443 | 1186238.1667
18 | 2607693.8551 | 1186244.3586
19 | 2607749.3174 | 1186230.179
20 | 2607686.7718 | 1186246.7997
21 | 2607768.3831 | 1186224.9583
22 | 2607635.4182 | 1186287.3519
23 | 2607769.9234 | 1186224.5365
24 | 2607675.5788 | 1186125.3015
25 | 2607689.4033 | 1186106.9897
26 | 2607674.9062 | 1186126.1923
27 | 2607711.1001 | 1186078.0888
28 | 2607604.3657 | 1186243.3233
29 | 2607614.3512 | 1186305.7238
30 | 2607657.6809 | 1186300.9094
31 | 2607789.7859 | 1186219.6802
32 | 2607722.3474 | 1186396.6854
33 | 2607707.9021 | 1186396.7214
34 | 2607736.6571 | 1186396.6496
35 | 2607701.3056 | 1186396.7379
36 | 2607641.1045 | 1186400.4733
37 | 2606950.3853 | 1186568.3044
38 | 2606908.3445 | 1186689.3412
39 | 2606873.8608 | 1186727.7885
40 | 2606883.37 | 1186761.9358
41 | 2606905.6824 | 1186756.8238
42 | 2606900.3758 | 1186765.8495
43 | 2607459.9522 | 1186722.9269
44 | 2607458.1778 | 1186744.4117
45 | 2607460.0198 | 1186720.6969
46 | 2607458.0093 | 1186804.9645
47 | 2607450.3526 | 1186681.2918
48 | 2607469.3711 | 1186840.9659
49 | 2607433.9163 | 1186701.6265
50 | 2607454.7526 | 1186633.628
51 | 2607469.6285 | 1186841.9439
52 | 2607796.5518 | 1186218.2065
53 | 2607551.9855 | 1186436.8139
54 | 2607544.0617 | 1186442.7222
55 | 2607572.9456 | 1186431.2479
56 | 2607529.2337 | 1186444.5556
57 | 2607571.2984 | 1186418.4281
58 | 2607579.8593 | 1186411.6206
59 | 2607647.0181 | 1186430.2629
60 | 2607647.1794 | 1186489.6939
61 | 2607647.012 | 1186430.2322
62 | 2607529.9003 | 1186471.9596
63 | 2607430.663 | 1186456.0174
64 | 2607506.2504 | 1186495.3079
65 | 2607579.3174 | 1186473.1998
66 | 2607575.0785 | 1186482.7439
67 | 2607616.0021 | 1186469.8132
68 | 2607665.156 | 1186319.6607
69 | 2607666.0317 | 1186322.6883
70 | 2607658.3501 | 1186302.5397
71 | 2607683.4053 | 1186358.1939
72 | 2607619.9632 | 1186323.2332
73 | 2606808.4388 | 1187228.789
74 | 2606920.0055 | 1187010.7967
75 | 2607085.4569 | 1187008.8229
76 | 2607238.8735 | 1186918.4911
77 | 2606960.1896 | 1187002.1007
78 | 2607313.5667 | 1186872.3793
79 | 2607149.8827 | 1186769.0493
80 | 2607441.1358 | 1186645.5672
81 | 2607446.0513 | 1186641.2573
82 | 2607437.8499 | 1186648.4482
83 | 2607465.5828 | 1186623.998
84 | 2607621.286 | 1186471.1823
85 | 2607675.0741 | 1186483.7039
86 | 2607581.8276 | 1186517.8965
87 | 2607543.91 | 1186500.2252
88 | 2607806.156 | 1186216.1145
89 | 2607679.0329 | 1186482.9647
90 | 2607682.9554 | 1186490.2716
91 | 2607697.8453 | 1186497.1759
92 | 2607703.5291 | 1186499.0481
93 | 2607715.9922 | 1186514.1607
94 | 2607727.2801 | 1186487.9767
95 | 2607835.3031 | 1186212.2425
96 | 2607849.945 | 1186211.8989
97 | 2607838.6617 | 1186167.2367
98 | 2607857.7262 | 1186212.4652
99 | 2607836.1366 | 1186157.2416
100 | 2607878.2503 | 1186213.959
101 | 2606917.2783 | 1187009.7175
102 | 2607519.6116 | 1186878.2921
103 | 2607507.2383 | 1186876.795
104 | 2607478.0157 | 1186873.8035
105 | 2607410.9307 | 1186869.2588
106 | 2607413.5224 | 1186727.5067
107 | 2607424.6232 | 1186713.1329
108 | 2607641.8019 | 1186404.0427
109 | 2607625.2883 | 1186339.455
110 | 2607583.5833 | 1186355.5482
111 | 2607548.9801 | 1186368.9008
112 | 2607694.7513 | 1186536.2678
113 | 2607469.4889 | 1186620.5248
114 | 2607481.2224 | 1186609.3505
115 | 2607486.145 | 1186604.5205
116 | 2607690.3434 | 1186551.002
117 | 2607506.105 | 1186513.1514
118 | 2607501.7465 | 1186502.3292
119 | 2607498.2125 | 1186516.4295
120 | 2607582.636 | 1186522.1071
121 | 2607504.2479 | 1186496.8568
122 | 2607497.078 | 1186593.7931
123 | 2607342.9053 | 1186323.1707
124 | 2607409.7353 | 1186477.6133
125 | 2607439.2406 | 1186115.771
126 | 2607396.7268 | 1186155.6647
127 | 2607463.5259 | 1186097.0831
128 | 2607306.7133 | 1186243.3673
129 | 2607486.1895 | 1186083.5597
130 | 2607317.67 | 1186263.8557
131 | 2607479.4619 | 1186057.7478
132 | 2607477.8257 | 1186051.8165
133 | 2607473.9853 | 1186026.8532
134 | 2607447.4732 | 1185982.7126
135 | 2607389.3029 | 1186496.0427
136 | 2607662.5356 | 1185770.0852
137 | 2607334.1518 | 1186302.3843
138 | 2607334.315 | 1186678.2852
139 | 2607354.8924 | 1186672.7647
140 | 2607329.2958 | 1186679.6318
141 | 2607404.048 | 1186700.367
142 | 2607346.911 | 1186555.3999
143 | 2607366.8013 | 1186699.71
144 | 2607654.4947 | 1185731.6347
145 | 2607661.3212 | 1185668.6978
146 | 2607624.8805 | 1185701.4576
147 | 2607522.4972 | 1186436.9545

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1