## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_88-2_1_3_node_67 | 0.4 | n |  | TRUE
1 | bus_LV_88-2_1_3_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_88-2_1_3_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_88-2_1_3_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_88-2_1_3_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_88-2_1_3_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_88-2_1_3_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_88-2_1_3_node_87 | 0.4 | n |  | TRUE
8 | bus_LV_88-2_1_3_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_88-2_1_3_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_88-2_1_3_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_88-2_1_3_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_88-2_1_3_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_88-2_1_3_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_88-2_1_3_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_88-2_1_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_88-2_1_3_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_88-2_1_3_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_88-2_1_3_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_88-2_1_3_node_84 | 0.4 | n |  | TRUE
20 | bus_LV_88-2_1_3_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_88-2_1_3_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_88-2_1_3_node_146 | 0.4 | n |  | TRUE
23 | bus_LV_88-2_1_3_node_147 | 0.4 | n |  | TRUE
24 | bus_LV_88-2_1_3_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_88-2_1_3_node_90 | 0.4 | n |  | TRUE
26 | bus_LV_88-2_1_3_node_91 | 0.4 | n |  | TRUE
27 | bus_LV_88-2_1_3_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_88-2_1_3_node_100 | 0.4 | n |  | TRUE
29 | bus_LV_88-2_1_3_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_88-2_1_3_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_88-2_1_3_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_88-2_1_3_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_88-2_1_3_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_88-2_1_3_node_97 | 0.4 | n |  | TRUE
35 | bus_LV_88-2_1_3_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_88-2_1_3_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_88-2_1_3_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_88-2_1_3_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_88-2_1_3_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_88-2_1_3_node_150 | 0.4 | n |  | TRUE
41 | bus_LV_88-2_1_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_88-2_1_3_node_106 | 0.4 | n |  | TRUE
43 | bus_LV_88-2_1_3_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_88-2_1_3_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_88-2_1_3_node_107 | 0.4 | n |  | TRUE
46 | bus_LV_88-2_1_3_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_88-2_1_3_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_88-2_1_3_node_110 | 0.4 | n |  | TRUE
49 | bus_LV_88-2_1_3_node_111 | 0.4 | n |  | TRUE
50 | bus_LV_88-2_1_3_node_216 | 0.4 | n |  | TRUE
51 | bus_LV_88-2_1_3_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_88-2_1_3_node_115 | 0.4 | n |  | TRUE
53 | bus_LV_88-2_1_3_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_88-2_1_3_node_117 | 0.4 | n |  | TRUE
55 | bus_LV_88-2_1_3_node_134 | 0.4 | n |  | TRUE
56 | bus_LV_88-2_1_3_node_133 | 0.4 | n |  | TRUE
57 | bus_LV_88-2_1_3_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_88-2_1_3_node_118 | 0.4 | n |  | TRUE
59 | bus_LV_88-2_1_3_node_122 | 0.4 | n |  | TRUE
60 | bus_LV_88-2_1_3_node_120 | 0.4 | n |  | TRUE
61 | bus_LV_88-2_1_3_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_88-2_1_3_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_88-2_1_3_node_123 | 0.4 | n |  | TRUE
64 | bus_LV_88-2_1_3_node_125 | 0.4 | n |  | TRUE
65 | bus_LV_88-2_1_3_node_126 | 0.4 | n |  | TRUE
66 | bus_LV_88-2_1_3_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_88-2_1_3_node_128 | 0.4 | n |  | TRUE
68 | bus_LV_88-2_1_3_node_129 | 0.4 | n |  | TRUE
69 | bus_LV_88-2_1_3_node_130 | 0.4 | n |  | TRUE
70 | bus_LV_88-2_1_3_node_131 | 0.4 | n |  | TRUE
71 | bus_LV_88-2_1_3_node_132 | 0.4 | n |  | TRUE
72 | bus_LV_88-2_1_3_node_211 | 0.4 | n |  | TRUE
73 | bus_LV_88-2_1_3_node_135 | 0.4 | n |  | TRUE
74 | bus_LV_88-2_1_3_node_136 | 0.4 | n |  | TRUE
75 | bus_LV_88-2_1_3_node_137 | 0.4 | n |  | TRUE
76 | bus_LV_88-2_1_3_node_215 | 0.4 | n |  | TRUE
77 | bus_LV_88-2_1_3_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_88-2_1_3_node_139 | 0.4 | n |  | TRUE
79 | bus_LV_88-2_1_3_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_88-2_1_3_node_142 | 0.4 | n |  | TRUE
81 | bus_LV_88-2_1_3_node_148 | 0.4 | n |  | TRUE
82 | bus_LV_88-2_1_3_node_149 | 0.4 | n |  | TRUE
83 | bus_LV_88-2_1_3_node_153 | 0.4 | n |  | TRUE
84 | bus_LV_88-2_1_3_node_151 | 0.4 | n |  | TRUE
85 | bus_LV_88-2_1_3_node_218 | 0.4 | n |  | TRUE
86 | bus_LV_88-2_1_3_node_204 | 0.4 | n |  | TRUE
87 | bus_LV_88-2_1_3_node_205 | 0.4 | n |  | TRUE
88 | bus_LV_88-2_1_3_node_206 | 0.4 | n |  | TRUE
89 | bus_LV_88-2_1_3_node_208 | 0.4 | n |  | TRUE
90 | bus_LV_88-2_1_3_node_209 | 0.4 | n |  | TRUE
91 | bus_LV_88-2_1_3_node_210 | 0.4 | n |  | TRUE
92 | bus_LV_88-2_1_3_node_212 | 0.4 | n |  | TRUE
93 | bus_LV_88-2_1_3_node_213 | 0.4 | n |  | TRUE
94 | bus_LV_88-2_1_3_node_217 | 0.4 | n |  | TRUE
95 | bus_LV_88-2_1_3_node_219 | 0.4 | n |  | TRUE
96 | bus_MV_352_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_88-2_1_3_load_67 | 0 | 0.0034875 | 0.00087405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_88-2_1_3_load_68 | 1 | 0.001518 | 0.00038045 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_88-2_1_3_load_69 | 2 | 0.0030909 | 0.00077466 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_88-2_1_3_load_70 | 3 | 0.0061223 | 0.0015344 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_88-2_1_3_load_72 | 5 | 0.0025752 | 0.00064541 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_88-2_1_3_load_86 | 6 | 0.0033403 | 0.00083717 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_88-2_1_3_load_87 | 7 | 0.0013465 | 0.00033746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_88-2_1_3_load_73 | 8 | 0.00064345 | 0.00016126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_88-2_1_3_load_89 | 11 | 0.012703 | 0.0031836 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_88-2_1_3_load_75 | 12 | 0.00071955 | 0.00018034 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_88-2_1_3_load_76 | 13 | 0.0029833 | 0.00074768 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_88-2_1_3_load_78 | 14 | 0.0022473 | 0.00056322 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_88-2_1_3_load_80 | 15 | 0.0014978 | 0.00037539 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_88-2_1_3_load_79 | 16 | 0.0014422 | 0.00036145 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_88-2_1_3_load_82 | 18 | 0.0062361 | 0.0015629 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_88-2_1_3_load_85 | 20 | 0.0031096 | 0.00077935 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_88-2_1_3_load_101 | 21 | 0.01517 | 0.0038018 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_88-2_1_3_load_146 | 22 | 0.0028829 | 0.00072253 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_88-2_1_3_load_147 | 23 | 0.001925 | 0.00048245 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_88-2_1_3_load_88 | 24 | 0.0085248 | 0.0021365 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_88-2_1_3_load_90 | 25 | 0.00078633 | 0.00019707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_88-2_1_3_load_99 | 27 | 0.0026734 | 0.00067001 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_88-2_1_3_load_100 | 28 | 0.0039407 | 0.00098764 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_88-2_1_3_load_92 | 29 | 0.0053428 | 0.001339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_88-2_1_3_load_95 | 32 | 0.0029246 | 0.00073298 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_88-2_1_3_load_96 | 33 | 0.0017425 | 0.00043671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_88-2_1_3_load_97 | 34 | 0.0015027 | 0.00037662 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_88-2_1_3_load_98 | 35 | 0.0048002 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_88-2_1_3_load_152 | 37 | 0.0026333 | 0.00065998 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_88-2_1_3_load_103 | 39 | 0.0037526 | 0.00094048 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_88-2_1_3_load_150 | 40 | 0.0089861 | 0.0022521 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_88-2_1_3_load_106 | 42 | 0.0094224 | 0.0023615 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_88-2_1_3_load_113 | 43 | 0.0023496 | 0.00058886 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_88-2_1_3_load_112 | 44 | 0.0017771 | 0.00044539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_88-2_1_3_load_107 | 45 | 0.0041434 | 0.0010384 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_88-2_1_3_load_108 | 46 | 0.0035026 | 0.00087782 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_88-2_1_3_load_109 | 47 | 0.0054437 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_88-2_1_3_load_110 | 48 | 0.00557 | 0.001396 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_88-2_1_3_load_111 | 49 | 0.0019246 | 0.00048236 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_88-2_1_3_load_216 | 50 | 0.01331 | 0.0033359 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_88-2_1_3_load_114 | 51 | 0.0043985 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_88-2_1_3_load_134 | 55 | 0.003086 | 0.00077342 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_88-2_1_3_load_133 | 56 | 0.0026031 | 0.00065239 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_88-2_1_3_load_118 | 58 | 0.0071762 | 0.0017985 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_88-2_1_3_load_120 | 60 | 0.0093177 | 0.0023352 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_88-2_1_3_load_121 | 61 | 0.0016176 | 0.0004054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_88-2_1_3_load_124 | 62 | 0.0028731 | 0.00072007 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_88-2_1_3_load_123 | 63 | 0.0073718 | 0.0018476 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_88-2_1_3_load_125 | 64 | 0.0029559 | 0.00074081 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_88-2_1_3_load_126 | 65 | 0.001696 | 0.00042506 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_88-2_1_3_load_127 | 66 | 0.0024968 | 0.00062577 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_88-2_1_3_load_128 | 67 | 0.0020493 | 0.0005136 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_88-2_1_3_load_129 | 68 | 0.0028717 | 0.00071971 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_88-2_1_3_load_130 | 69 | 0.0029642 | 0.00074289 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_88-2_1_3_load_131 | 70 | 0.0026124 | 0.00065473 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_88-2_1_3_load_211 | 72 | 0.0015673 | 0.00039281 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_88-2_1_3_load_135 | 73 | 0.0017484 | 0.0004382 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_88-2_1_3_load_136 | 74 | 0.0027142 | 0.00068025 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_88-2_1_3_load_137 | 75 | 0.0023101 | 0.00057897 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_88-2_1_3_load_138 | 77 | 0.0021406 | 0.00053649 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_88-2_1_3_load_142 | 80 | 0.0048344 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_88-2_1_3_load_148 | 81 | 0.003771 | 0.00094509 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_88-2_1_3_load_151 | 84 | 0.0032581 | 0.00081655 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_88-2_1_3_load_218 | 85 | 0.0036527 | 0.00091545 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_88-2_1_3_load_204 | 86 | 0.0028614 | 0.00071713 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_88-2_1_3_load_205 | 87 | 0.0019832 | 0.00049705 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_88-2_1_3_load_206 | 88 | 0.0029454 | 0.0007382 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_88-2_1_3_load_208 | 89 | 0.0015624 | 0.00039157 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_88-2_1_3_load_209 | 90 | 0.0021473 | 0.00053817 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_88-2_1_3_load_210 | 91 | 0.002165 | 0.00054259 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_88-2_1_3_load_212 | 92 | 0.0021048 | 0.00052751 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_88-2_1_3_load_213 | 93 | 0.0043948 | 0.0011014 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_88-2_1_3_load_217 | 94 | 0.0086973 | 0.0021797 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_88-2_1_3_load_219 | 95 | 0.0019335 | 0.00048457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_88-2_1_3_line_0 |  | 0 | 1 | 0.0063549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_88-2_1_3_line_1 |  | 0 | 2 | 0.001538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_88-2_1_3_line_2 |  | 1 | 3 | 0.022743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_88-2_1_3_line_3 |  | 2 | 4 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_88-2_1_3_line_4 |  | 3 | 5 | 0.0001021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_88-2_1_3_line_5 |  | 4 | 6 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_88-2_1_3_line_6 |  | 4 | 7 | 0.039353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_88-2_1_3_line_7 |  | 5 | 8 | 0.01384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_88-2_1_3_line_8 |  | 6 | 22 | 0.026622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_88-2_1_3_line_9 |  | 7 | 23 | 0.00045389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_88-2_1_3_line_10 |  | 8 | 9 | 0.0097115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_88-2_1_3_line_11 |  | 9 | 10 | 0.034576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_88-2_1_3_line_12 |  | 9 | 11 | 0.01996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_88-2_1_3_line_13 |  | 10 | 15 | 0.012425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_88-2_1_3_line_14 |  | 11 | 24 | 0.0075637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_88-2_1_3_line_15 |  | 12 | 13 | 0.0065346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_88-2_1_3_line_16 |  | 13 | 14 | 0.01968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_88-2_1_3_line_17 |  | 14 | 15 | 0.014921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_88-2_1_3_line_18 |  | 16 | 17 | 0.038505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_88-2_1_3_line_19 |  | 17 | 19 | 0.021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_88-2_1_3_line_20 |  | 18 | 19 | 0.013125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_88-2_1_3_line_21 |  | 19 | 20 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_88-2_1_3_line_22 |  | 20 | 21 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_88-2_1_3_line_23 |  | 21 | 38 | 0.0043604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_88-2_1_3_line_24 |  | 22 | 34 | 0.0059903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_88-2_1_3_line_25 |  | 24 | 25 | 0.027051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_88-2_1_3_line_26 |  | 25 | 26 | 0.0070655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_88-2_1_3_line_27 |  | 26 | 27 | 0.029456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_88-2_1_3_line_28 |  | 26 | 28 | 0.022165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_88-2_1_3_line_29 |  | 27 | 32 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_88-2_1_3_line_30 |  | 28 | 38 | 0.024023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_88-2_1_3_line_31 |  | 29 | 30 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_88-2_1_3_line_32 |  | 30 | 34 | 0.036646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_88-2_1_3_line_33 |  | 30 | 35 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_88-2_1_3_line_34 |  | 31 | 32 | 0.013834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_88-2_1_3_line_35 |  | 31 | 33 | 0.00099084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_88-2_1_3_line_36 |  | 33 | 36 | 0.035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_88-2_1_3_line_37 |  | 35 | 37 | 0.030105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_88-2_1_3_line_38 |  | 36 | 41 | 0.006648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_88-2_1_3_line_39 |  | 36 | 42 | 0.0042853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_88-2_1_3_line_40 |  | 37 | 82 | 0.067729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_88-2_1_3_line_41 |  | 38 | 39 | 0.038015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_88-2_1_3_line_42 |  | 39 | 40 | 0.0040792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_88-2_1_3_line_43 |  | 40 | 84 | 0.0085776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_88-2_1_3_line_44 |  | 41 | 43 | 0.025094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_88-2_1_3_line_45 |  | 41 | 44 | 0.0047216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_88-2_1_3_line_46 |  | 43 | 51 | 0.018848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_88-2_1_3_line_47 |  | 44 | 49 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_88-2_1_3_line_48 |  | 45 | 46 | 0.015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_88-2_1_3_line_49 |  | 45 | 47 | 0.0054099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_88-2_1_3_line_50 |  | 46 | 48 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_88-2_1_3_line_51 |  | 47 | 49 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_88-2_1_3_line_52 |  | 48 | 50 | 0.034317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_88-2_1_3_line_53 |  | 50 | 94 | 0.00032678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_88-2_1_3_line_54 |  | 51 | 52 | 0.034173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_88-2_1_3_line_55 |  | 52 | 53 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_88-2_1_3_line_56 |  | 52 | 54 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_88-2_1_3_line_57 |  | 53 | 55 | 0.034488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_88-2_1_3_line_58 |  | 53 | 56 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_88-2_1_3_line_59 |  | 54 | 57 | 0.031845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_88-2_1_3_line_60 |  | 54 | 58 | 0.019334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_88-2_1_3_line_61 |  | 56 | 71 | 0.046617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_88-2_1_3_line_62 |  | 57 | 59 | 0.005326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_88-2_1_3_line_63 |  | 57 | 60 | 0.051415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_88-2_1_3_line_64 |  | 59 | 62 | 0.026292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_88-2_1_3_line_65 |  | 60 | 61 | 0.011248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_88-2_1_3_line_66 |  | 62 | 63 | 0.0084518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_88-2_1_3_line_67 |  | 63 | 64 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_88-2_1_3_line_68 |  | 64 | 65 | 0.0072122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_88-2_1_3_line_69 |  | 66 | 67 | 0.0081208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_88-2_1_3_line_70 |  | 66 | 68 | 0.011196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_88-2_1_3_line_71 |  | 67 | 69 | 0.014361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_88-2_1_3_line_72 |  | 68 | 70 | 0.015125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_88-2_1_3_line_73 |  | 69 | 71 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_88-2_1_3_line_74 |  | 70 | 72 | 0.0011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_88-2_1_3_line_75 |  | 71 | 73 | 0.017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_88-2_1_3_line_76 |  | 71 | 74 | 0.082129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_88-2_1_3_line_77 |  | 72 | 91 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_88-2_1_3_line_78 |  | 73 | 75 | 0.0081817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_88-2_1_3_line_79 |  | 74 | 76 | 0.030068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_88-2_1_3_line_80 |  | 75 | 77 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_88-2_1_3_line_81 |  | 76 | 93 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_88-2_1_3_line_82 |  | 77 | 78 | 0.023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_88-2_1_3_line_83 |  | 78 | 79 | 0.027245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_88-2_1_3_line_84 |  | 79 | 80 | 0.013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_88-2_1_3_line_85 |  | 81 | 82 | 0.061195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_88-2_1_3_line_86 |  | 82 | 83 | 0.078679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_88-2_1_3_line_87 |  | 83 | 85 | 0.086495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_88-2_1_3_line_88 |  | 85 | 95 | 0.010486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_88-2_1_3_line_89 |  | 86 | 87 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_88-2_1_3_line_90 |  | 86 | 88 | 0.0068313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_88-2_1_3_line_91 |  | 88 | 89 | 0.00215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_88-2_1_3_line_92 |  | 89 | 90 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_88-2_1_3_line_93 |  | 90 | 91 | 0.003976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_88-2_1_3_line_94 |  | 92 | 93 | 0.016603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_88-2_1_3_trafo_96 | 0.63 MVA 20/0.4 kV | 96 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677642.9949 | 1262663.22 | 2677648.9959 | 1262665.3111
1 | 2677642.9949 | 1262663.22 | 2677641.5426 | 1262662.7139
2 | 2677648.9959 | 1262665.3111 | 2677650.6519 | 1262665.8881 | 2677670.5663 | 1262672.518
3 | 2677624.853 | 1262656.8982 | 2677641.5426 | 1262662.7139
4 | 2677670.6632 | 1262672.5503 | 2677670.5663 | 1262672.518
5 | 2677624.853 | 1262656.8982 | 2677617.2111 | 1262673.332
6 | 2677624.853 | 1262656.8982 | 2677593.3726 | 1262641.6624 | 2677589.1871 | 1262640.3751
7 | 2677670.6632 | 1262672.5503 | 2677677.9486 | 1262674.9757 | 2677683.5474 | 1262677.5485
8 | 2677617.2111 | 1262673.332 | 2677616.2086 | 1262675.488 | 2677606.9845 | 1262697.9095
9 | 2677589.1871 | 1262640.3751 | 2677588.7533 | 1262640.2416
10 | 2677692.3719 | 1262681.6035 | 2677683.5474 | 1262677.5485
11 | 2677725.5423 | 1262675.4234 | 2677716.5161 | 1262680.6199 | 2677705.2405 | 1262682.1285 | 2677692.3719 | 1262681.6035
12 | 2677692.3719 | 1262681.6035 | 2677690.5179 | 1262701.4776
13 | 2677725.5423 | 1262675.4234 | 2677734.4781 | 1262666.7897
14 | 2677689.8153 | 1262709.0086 | 2677690.5179 | 1262701.4776
15 | 2677759.2228 | 1262635.6243 | 2677753.4502 | 1262638.6868
16 | 2677753.4502 | 1262638.6868 | 2677751.9621 | 1262639.4763 | 2677744.9869 | 1262645.6783 | 2677741.127 | 1262653.4324
17 | 2677741.127 | 1262653.4324 | 2677734.4781 | 1262666.7897
18 | 2677786.337 | 1262727.8517 | 2677784.3575 | 1262722.5549 | 2677783.3947 | 1262717.8609 | 2677782.275 | 1262706.7598 | 2677783.0219 | 1262699.2416 | 2677784.9879 | 1262690.1049
19 | 2677786.337 | 1262727.8517 | 2677776.7521 | 1262730.8502 | 2677766.581 | 1262736.0316
20 | 2677766.581 | 1262736.0316 | 2677761.5046 | 1262723.9281
21 | 2677766.581 | 1262736.0316 | 2677751.3269 | 1262742.2152
22 | 2677730.1705 | 1262750.4148 | 2677737.3822 | 1262747.868 | 2677751.3269 | 1262742.2152
23 | 2677726.059 | 1262751.8667 | 2677730.1705 | 1262750.4148
24 | 2677606.9845 | 1262697.9095 | 2677606.1849 | 1262699.853 | 2677604.4318 | 1262703.3242
25 | 2677689.8153 | 1262709.0086 | 2677689.4253 | 1262713.1891 | 2677683.4441 | 1262735.2448
26 | 2677681.5948 | 1262742.064 | 2677683.4441 | 1262735.2448
27 | 2677681.5948 | 1262742.064 | 2677674.2905 | 1262747.5279 | 2677662.8739 | 1262764.3543
28 | 2677681.5948 | 1262742.064 | 2677696.0448 | 1262748.3698 | 2677702.2845 | 1262749.7888
29 | 2677662.8739 | 1262764.3543 | 2677656.2289 | 1262774.148
30 | 2677726.059 | 1262751.8667 | 2677711.9765 | 1262751.9929 | 2677702.2845 | 1262749.7888
31 | 2677588.4764 | 1262736.3042 | 2677606.9429 | 1262747.1326 | 2677608.2318 | 1262748.1005
32 | 2677588.4764 | 1262736.3042 | 2677594.1957 | 1262723.5917 | 2677604.4318 | 1262703.3242
33 | 2677588.4764 | 1262736.3042 | 2677576.6572 | 1262731.6012 | 2677570.5492 | 1262729.6337
34 | 2677648.4616 | 1262785.5959 | 2677656.2289 | 1262774.148
35 | 2677649.0753 | 1262786.3737 | 2677648.4616 | 1262785.5959
36 | 2677669.7683 | 1262814.7535 | 2677659.844 | 1262800.023 | 2677649.0753 | 1262786.3737
37 | 2677570.5492 | 1262729.6337 | 2677541.8942 | 1262720.4036
38 | 2677664.2498 | 1262818.484 | 2677669.7683 | 1262814.7535
39 | 2677669.7683 | 1262814.7535 | 2677672.3672 | 1262818.1608
40 | 2677478.949 | 1262696.06 | 2677492.8958 | 1262703.9933 | 2677504.7561 | 1262708.4409 | 2677541.8942 | 1262720.4036
41 | 2677726.059 | 1262751.8667 | 2677732.3988 | 1262765.3271 | 2677746.2875 | 1262783.831
42 | 2677748.7363 | 1262787.0935 | 2677746.2875 | 1262783.831
43 | 2677753.8854 | 1262793.9537 | 2677748.7363 | 1262787.0935
44 | 2677664.2498 | 1262818.484 | 2677678.4445 | 1262839.177
45 | 2677664.2498 | 1262818.484 | 2677660.1138 | 1262816.2063
46 | 2677678.4445 | 1262839.177 | 2677687.3872 | 1262852.2137 | 2677689.4223 | 1262854.4705
47 | 2677660.1138 | 1262816.2063 | 2677653.3071 | 1262812.4579 | 2677645.5996 | 1262807.6589
48 | 2677603.5382 | 1262788.5461 | 2677616.0559 | 1262793.2654 | 2677617.8159 | 1262793.9235
49 | 2677622.8831 | 1262795.8182 | 2677617.8159 | 1262793.9235
50 | 2677585.5421 | 1262783.2429 | 2677594.8177 | 1262785.2584 | 2677603.5382 | 1262788.5461
51 | 2677622.8831 | 1262795.8182 | 2677632.1444 | 1262799.2811 | 2677645.5996 | 1262807.6589
52 | 2677552.4565 | 1262774.4164 | 2677563.2281 | 1262778.3944 | 2677585.5421 | 1262783.2429
53 | 2677552.4565 | 1262774.4164 | 2677552.1499 | 1262774.3032
54 | 2677710.6629 | 1262881.1417 | 2677701.9486 | 1262868.3618 | 2677689.4223 | 1262854.4705
55 | 2677710.6629 | 1262881.1417 | 2677718.884 | 1262899.9086
56 | 2677710.6629 | 1262881.1417 | 2677713.9826 | 1262877.3268 | 2677711.4728 | 1262868.2424 | 2677708.2786 | 1262864.7978 | 2677710.5006 | 1262860.8239
57 | 2677718.884 | 1262899.9086 | 2677723.2471 | 1262915.867 | 2677724.6778 | 1262933.754
58 | 2677718.884 | 1262899.9086 | 2677700.1877 | 1262910.5045
59 | 2677710.5006 | 1262860.8239 | 2677734.4367 | 1262881.9102
60 | 2677710.5006 | 1262860.8239 | 2677695.9876 | 1262848.0492
61 | 2677664.764 | 1262940.4734 | 2677691.5972 | 1262915.3731 | 2677700.1877 | 1262910.5045
62 | 2677738.4435 | 1262885.4322 | 2677734.4367 | 1262881.9102
63 | 2677734.4367 | 1262881.9102 | 2677758.7813 | 1262859.9021 | 2677745.9983 | 1262846.3943
64 | 2677738.4435 | 1262885.4322 | 2677757.6855 | 1262903.3484
65 | 2677745.9983 | 1262846.3943 | 2677743.7569 | 1262844.0257 | 2677744.3914 | 1262839.8864 | 2677746.9448 | 1262837.0731
66 | 2677763.8711 | 1262909.1077 | 2677757.6855 | 1262903.3484
67 | 2677763.8711 | 1262909.1077 | 2677776.311 | 1262920.6904 | 2677777.4994 | 1262921.5395
68 | 2677783.3679 | 1262925.732 | 2677777.4994 | 1262921.5395
69 | 2677626.4917 | 1262912.6267 | 2677630.1092 | 1262915.2436 | 2677633.08 | 1262917.3745
70 | 2677617.4206 | 1262906.0645 | 2677626.4917 | 1262912.6267
71 | 2677633.08 | 1262917.3745 | 2677644.7493 | 1262925.7449
72 | 2677617.4206 | 1262906.0645 | 2677608.3328 | 1262899.4902 | 2677605.0142 | 1262897.4246
73 | 2677664.764 | 1262940.4734 | 2677649.3272 | 1262929.0286 | 2677644.7493 | 1262925.7449
74 | 2677605.0142 | 1262897.4246 | 2677604.0276 | 1262896.8105
75 | 2677664.764 | 1262940.4734 | 2677678.8905 | 1262950.5212
76 | 2677664.764 | 1262940.4734 | 2677647.5861 | 1262964.6554 | 2677597.0719 | 1262978.8364
77 | 2677591.1345 | 1262888.7855 | 2677604.0276 | 1262896.8105
78 | 2677678.8905 | 1262950.5212 | 2677685.5577 | 1262955.2634
79 | 2677568.1228 | 1262986.9634 | 2677597.0719 | 1262978.8364
80 | 2677702.0886 | 1262967.0212 | 2677698.4035 | 1262964.4003 | 2677685.5577 | 1262955.2634
81 | 2677568.1228 | 1262986.9634 | 2677553.557 | 1262973.889
82 | 2677720.9591 | 1262980.4422 | 2677702.0886 | 1262967.0212
83 | 2677732.6524 | 1263004.9814 | 2677728.9813 | 1262998.2836 | 2677725.6528 | 1262989.0105 | 2677720.9591 | 1262980.4422
84 | 2677732.6524 | 1263004.9814 | 2677733.9962 | 1263005.9109 | 2677741.4402 | 1263011.0016 | 2677744.013 | 1263012.2106
85 | 2677478.949 | 1262696.06 | 2677484.7821 | 1262687.2964 | 2677497.893 | 1262673.9356 | 2677514.9183 | 1262657.3904 | 2677521.3396 | 1262652.2783
86 | 2677455.9169 | 1262627.7059 | 2677456.9433 | 1262638.4943 | 2677456.6223 | 1262662.9867 | 2677454.1693 | 1262667.358 | 2677465.0156 | 1262684.224 | 2677478.949 | 1262696.06
87 | 2677455.9169 | 1262627.7059 | 2677510.2179 | 1262605.6113 | 2677524.3274 | 1262591.9635 | 2677532.1141 | 1262589.2667
88 | 2677542.0224 | 1262585.8351 | 2677532.1141 | 1262589.2667
89 | 2677560.7343 | 1262870.9599 | 2677544.7962 | 1262862.5508 | 2677544.1677 | 1262862.2643
90 | 2677560.7343 | 1262870.9599 | 2677566.7762 | 1262874.1477
91 | 2677566.7762 | 1262874.1477 | 2677568.6778 | 1262875.1509
92 | 2677568.6778 | 1262875.1509 | 2677569.8457 | 1262875.7671 | 2677587.1629 | 1262886.3135 | 2677587.759 | 1262886.6845
93 | 2677591.1345 | 1262888.7855 | 2677587.759 | 1262886.6845
94 | 2677541.2013 | 1262962.7984 | 2677553.557 | 1262973.889

## bus_geodata
| x | y | coords
0 | 2677642.9949 | 1262663.22
1 | 2677648.9959 | 1262665.3111
2 | 2677641.5426 | 1262662.7139
3 | 2677670.5663 | 1262672.518
4 | 2677624.853 | 1262656.8982
5 | 2677670.6632 | 1262672.5503
6 | 2677617.2111 | 1262673.332
7 | 2677589.1871 | 1262640.3751
8 | 2677683.5474 | 1262677.5485
9 | 2677692.3719 | 1262681.6035
10 | 2677725.5423 | 1262675.4234
11 | 2677690.5179 | 1262701.4776
12 | 2677759.2228 | 1262635.6243
13 | 2677753.4502 | 1262638.6868
14 | 2677741.127 | 1262653.4324
15 | 2677734.4781 | 1262666.7897
16 | 2677784.9879 | 1262690.1049
17 | 2677786.337 | 1262727.8517
18 | 2677761.5046 | 1262723.9281
19 | 2677766.581 | 1262736.0316
20 | 2677751.3269 | 1262742.2152
21 | 2677730.1705 | 1262750.4148
22 | 2677606.9845 | 1262697.9095
23 | 2677588.7533 | 1262640.2416
24 | 2677689.8153 | 1262709.0086
25 | 2677683.4441 | 1262735.2448
26 | 2677681.5948 | 1262742.064
27 | 2677662.8739 | 1262764.3543
28 | 2677702.2845 | 1262749.7888
29 | 2677608.2318 | 1262748.1005
30 | 2677588.4764 | 1262736.3042
31 | 2677648.4616 | 1262785.5959
32 | 2677656.2289 | 1262774.148
33 | 2677649.0753 | 1262786.3737
34 | 2677604.4318 | 1262703.3242
35 | 2677570.5492 | 1262729.6337
36 | 2677669.7683 | 1262814.7535
37 | 2677541.8941 | 1262720.4036
38 | 2677726.059 | 1262751.8667
39 | 2677746.2875 | 1262783.831
40 | 2677748.7363 | 1262787.0935
41 | 2677664.2498 | 1262818.484
42 | 2677672.3672 | 1262818.1608
43 | 2677678.4445 | 1262839.177
44 | 2677660.1138 | 1262816.2063
45 | 2677617.8159 | 1262793.9235
46 | 2677603.5382 | 1262788.5461
47 | 2677622.8831 | 1262795.8182
48 | 2677585.5421 | 1262783.2429
49 | 2677645.5996 | 1262807.6589
50 | 2677552.4565 | 1262774.4164
51 | 2677689.4223 | 1262854.4705
52 | 2677710.6629 | 1262881.1417
53 | 2677718.884 | 1262899.9086
54 | 2677710.5006 | 1262860.8239
55 | 2677724.6778 | 1262933.754
56 | 2677700.1877 | 1262910.5045
57 | 2677734.4367 | 1262881.9102
58 | 2677695.9876 | 1262848.0492
59 | 2677738.4435 | 1262885.4322
60 | 2677745.9983 | 1262846.3943
61 | 2677746.9448 | 1262837.0731
62 | 2677757.6855 | 1262903.3484
63 | 2677763.8711 | 1262909.1077
64 | 2677777.4994 | 1262921.5395
65 | 2677783.3679 | 1262925.732
66 | 2677626.4917 | 1262912.6267
67 | 2677633.08 | 1262917.3745
68 | 2677617.4206 | 1262906.0645
69 | 2677644.7493 | 1262925.7449
70 | 2677605.0142 | 1262897.4246
71 | 2677664.764 | 1262940.4734
72 | 2677604.0276 | 1262896.8105
73 | 2677678.8905 | 1262950.5212
74 | 2677597.0719 | 1262978.8364
75 | 2677685.5577 | 1262955.2634
76 | 2677568.1228 | 1262986.9634
77 | 2677702.0886 | 1262967.0212
78 | 2677720.9591 | 1262980.4422
79 | 2677732.6524 | 1263004.9814
80 | 2677744.013 | 1263012.2106
81 | 2677521.3396 | 1262652.2783
82 | 2677478.949 | 1262696.06
83 | 2677455.9169 | 1262627.7059
84 | 2677753.8854 | 1262793.9537
85 | 2677532.1141 | 1262589.2667
86 | 2677560.7343 | 1262870.9599
87 | 2677544.1677 | 1262862.2643
88 | 2677566.7762 | 1262874.1477
89 | 2677568.6778 | 1262875.1509
90 | 2677587.759 | 1262886.6845
91 | 2677591.1345 | 1262888.7855
92 | 2677541.2013 | 1262962.7984
93 | 2677553.557 | 1262973.889
94 | 2677552.1499 | 1262774.3032
95 | 2677542.0224 | 1262585.8351
96 | 2677648.4616 | 1262785.5959

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1