## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_88-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_88-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_88-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_88-4_0_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_88-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_88-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_88-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_88-4_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_88-4_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_88-4_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_88-4_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_88-4_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_88-4_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_88-4_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_88-4_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_88-4_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_88-4_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_88-4_0_3_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_88-4_0_3_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_88-4_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_88-4_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_88-4_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_88-4_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_88-4_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_88-4_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_88-4_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_88-4_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_88-4_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_88-4_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_88-4_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_88-4_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_88-4_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_88-4_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_88-4_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_88-4_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_88-4_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_88-4_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_88-4_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_88-4_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_88-4_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_88-4_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_88-4_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_88-4_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_88-4_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_88-4_0_3_node_82 | 0.4 | n |  | TRUE
45 | bus_LV_88-4_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_88-4_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_88-4_0_3_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_88-4_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_88-4_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_88-4_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_88-4_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_88-4_0_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_88-4_0_3_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_88-4_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_88-4_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_88-4_0_3_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_88-4_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_88-4_0_3_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_88-4_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_88-4_0_3_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_88-4_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_88-4_0_3_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_88-4_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_88-4_0_3_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_88-4_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_88-4_0_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_88-4_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_88-4_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_88-4_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_MV_352_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_88-4_0_3_load_0 | 0 | 0.0031383 | 0.00078653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_88-4_0_3_load_1 | 1 | 0.0035772 | 0.00089654 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_88-4_0_3_load_3 | 2 | 0.0027973 | 0.00070106 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_88-4_0_3_load_4 | 4 | 0.0066328 | 0.0016623 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_88-4_0_3_load_5 | 5 | 0.0033909 | 0.00084984 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_88-4_0_3_load_7 | 7 | 0.0072878 | 0.0018265 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_88-4_0_3_load_8 | 8 | 0.0033331 | 0.00083536 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_88-4_0_3_load_10 | 9 | 0.0031181 | 0.00078146 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_88-4_0_3_load_11 | 10 | 0.0078167 | 0.001959 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_88-4_0_3_load_12 | 12 | 0.0093425 | 0.0023414 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_88-4_0_3_load_13 | 13 | 0.0091376 | 0.0022901 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_88-4_0_3_load_53 | 17 | 0.0066639 | 0.0016701 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_88-4_0_3_load_57 | 18 | 0.0026035 | 0.0006525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_88-4_0_3_load_18 | 19 | 0.0011683 | 0.00029279 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_88-4_0_3_load_22 | 23 | 0.0062161 | 0.0015579 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_88-4_0_3_load_23 | 24 | 0.0043244 | 0.0010838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_88-4_0_3_load_25 | 25 | 0.0066061 | 0.0016556 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_88-4_0_3_load_44 | 26 | 0.0035565 | 0.00089134 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_88-4_0_3_load_24 | 27 | 0.00085243 | 0.00021364 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_88-4_0_3_load_27 | 28 | 0.0016909 | 0.00042378 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_88-4_0_3_load_46 | 29 | 0.0040286 | 0.0010097 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_88-4_0_3_load_32 | 30 | 0.001041 | 0.0002609 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_88-4_0_3_load_29 | 31 | 0.0021102 | 0.00052886 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_88-4_0_3_load_30 | 32 | 0.0035754 | 0.00089609 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_88-4_0_3_load_35 | 34 | 0.003617 | 0.00090652 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_88-4_0_3_load_33 | 35 | 0.0071084 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_88-4_0_3_load_34 | 36 | 0.0012363 | 0.00030984 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_88-4_0_3_load_36 | 37 | 0.0090622 | 0.0022712 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_88-4_0_3_load_37 | 39 | 0.0054144 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_88-4_0_3_load_38 | 40 | 0.0065337 | 0.0016375 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_88-4_0_3_load_40 | 41 | 0.012609 | 0.0031601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_88-4_0_3_load_41 | 42 | 0.0089199 | 0.0022355 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_88-4_0_3_load_82 | 44 | 0.0076412 | 0.0019151 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_88-4_0_3_load_43 | 46 | 0.011771 | 0.00295 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_88-4_0_3_load_47 | 47 | 0.0015763 | 0.00039507 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_88-4_0_3_load_48 | 48 | 0.0099533 | 0.0024945 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_88-4_0_3_load_49 | 49 | 0.021406 | 0.0053649 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_88-4_0_3_load_50 | 51 | 0.0054777 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_88-4_0_3_load_51 | 52 | 0.0047827 | 0.0011986 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_88-4_0_3_load_66 | 55 | 0.0040246 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_88-4_0_3_load_72 | 56 | 0.0016583 | 0.00041561 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_88-4_0_3_load_55 | 57 | 0.0022401 | 0.00056141 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_88-4_0_3_load_56 | 58 | 0.0049513 | 0.0012409 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_88-4_0_3_load_58 | 59 | 0.0051964 | 0.0013023 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_88-4_0_3_load_59 | 60 | 0.0056767 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_88-4_0_3_load_60 | 61 | 0.0069459 | 0.0017408 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_88-4_0_3_load_62 | 63 | 0.0055201 | 0.0013835 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_88-4_0_3_load_68 | 66 | 0.0066901 | 0.0016767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_88-4_0_3_load_67 | 67 | 0.0027546 | 0.00069037 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_88-4_0_3_load_70 | 68 | 0.0088212 | 0.0022108 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_88-4_0_3_line_0 |  | 0 | 1 | 0.0090312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_88-4_0_3_line_1 |  | 1 | 2 | 0.025286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_88-4_0_3_line_2 |  | 2 | 3 | 0.004937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_88-4_0_3_line_3 |  | 3 | 7 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_88-4_0_3_line_4 |  | 4 | 5 | 0.011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_88-4_0_3_line_5 |  | 4 | 6 | 0.025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_88-4_0_3_line_6 |  | 5 | 7 | 0.020245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_88-4_0_3_line_7 |  | 6 | 8 | 0.019677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_88-4_0_3_line_8 |  | 8 | 9 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_88-4_0_3_line_9 |  | 9 | 10 | 0.023782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_88-4_0_3_line_10 |  | 10 | 11 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_88-4_0_3_line_11 |  | 11 | 16 | 0.018166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_88-4_0_3_line_12 |  | 11 | 13 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_88-4_0_3_line_13 |  | 12 | 13 | 0.0085034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_88-4_0_3_line_14 |  | 12 | 14 | 0.018187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_88-4_0_3_line_15 |  | 14 | 15 | 0.009695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_88-4_0_3_line_16 |  | 15 | 17 | 0.063395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_88-4_0_3_line_17 |  | 15 | 18 | 0.037828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_88-4_0_3_line_18 |  | 16 | 30 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_88-4_0_3_line_19 |  | 16 | 31 | 0.014351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_88-4_0_3_line_20 |  | 17 | 53 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_88-4_0_3_line_21 |  | 18 | 57 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_88-4_0_3_line_22 |  | 19 | 20 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_88-4_0_3_line_23 |  | 19 | 21 | 0.032833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_88-4_0_3_line_24 |  | 20 | 22 | 0.033488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_88-4_0_3_line_25 |  | 20 | 23 | 0.03922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_88-4_0_3_line_26 |  | 21 | 24 | 0.010553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_88-4_0_3_line_27 |  | 22 | 25 | 0.026678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_88-4_0_3_line_28 |  | 23 | 26 | 0.017801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_88-4_0_3_line_29 |  | 25 | 27 | 0.018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_88-4_0_3_line_30 |  | 26 | 46 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_88-4_0_3_line_31 |  | 28 | 29 | 0.020163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_88-4_0_3_line_32 |  | 29 | 45 | 0.032622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_88-4_0_3_line_33 |  | 31 | 32 | 0.011134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_88-4_0_3_line_34 |  | 32 | 33 | 0.024305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_88-4_0_3_line_35 |  | 33 | 34 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_88-4_0_3_line_36 |  | 34 | 35 | 0.0044767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_88-4_0_3_line_37 |  | 35 | 36 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_88-4_0_3_line_38 |  | 36 | 37 | 0.010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_88-4_0_3_line_39 |  | 37 | 38 | 0.0089493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_88-4_0_3_line_40 |  | 38 | 42 | 0.035823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_88-4_0_3_line_41 |  | 38 | 39 | 0.0092376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_88-4_0_3_line_42 |  | 39 | 40 | 0.017874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_88-4_0_3_line_43 |  | 40 | 41 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_88-4_0_3_line_44 |  | 41 | 43 | 0.0028394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_88-4_0_3_line_45 |  | 42 | 44 | 0.037882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_88-4_0_3_line_46 |  | 43 | 45 | 0.030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_88-4_0_3_line_47 |  | 43 | 46 | 0.012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_88-4_0_3_line_48 |  | 45 | 47 | 0.010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_88-4_0_3_line_49 |  | 45 | 48 | 0.040076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_88-4_0_3_line_50 |  | 49 | 50 | 0.041498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_88-4_0_3_line_51 |  | 50 | 62 | 0.030524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_88-4_0_3_line_52 |  | 51 | 52 | 0.01328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_88-4_0_3_line_53 |  | 51 | 53 | 0.053612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_88-4_0_3_line_54 |  | 53 | 54 | 0.035212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_88-4_0_3_line_55 |  | 54 | 55 | 0.028907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_88-4_0_3_line_56 |  | 54 | 56 | 0.089139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_88-4_0_3_line_57 |  | 56 | 69 | 0.026756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_88-4_0_3_line_58 |  | 57 | 58 | 0.027794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_88-4_0_3_line_59 |  | 58 | 59 | 0.03044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_88-4_0_3_line_60 |  | 59 | 60 | 0.0013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_88-4_0_3_line_61 |  | 60 | 61 | 0.036585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_88-4_0_3_line_62 |  | 61 | 62 | 0.025401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_88-4_0_3_line_63 |  | 62 | 63 | 0.015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_88-4_0_3_line_64 |  | 63 | 64 | 0.021137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_88-4_0_3_line_65 |  | 64 | 65 | 0.043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_88-4_0_3_line_66 |  | 65 | 66 | 0.059588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_88-4_0_3_line_67 |  | 66 | 67 | 0.026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_88-4_0_3_line_68 |  | 68 | 69 | 0.04261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_88-4_0_3_trafo_31 | 0.63 MVA 20/0.4 kV | 70 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2677799.3874 | 1262936.3761 | 2677806.0115 | 1262940.5074 | 2677807.1255 | 1262941.0152
1 | 2677807.1255 | 1262941.0152 | 2677826.2833 | 1262949.7478 | 2677830.2558 | 1262951.2063
2 | 2677834.8903 | 1262952.9079 | 2677830.2558 | 1262951.2063
3 | 2677834.8903 | 1262952.9079 | 2677840.763 | 1262936.0524
4 | 2677853.0482 | 1262906.8749 | 2677847.7701 | 1262917.084
5 | 2677867.8951 | 1262888.2814 | 2677861.9943 | 1262889.5714 | 2677853.0482 | 1262906.8749
6 | 2677840.763 | 1262936.0524 | 2677846.5485 | 1262919.4467 | 2677847.7701 | 1262917.084
7 | 2677867.8951 | 1262888.2814 | 2677869.1509 | 1262894.1803 | 2677871.8979 | 1262898.9646 | 2677877.9724 | 1262904.3672
8 | 2677877.9724 | 1262904.3672 | 2677882.7101 | 1262908.581 | 2677892.4753 | 1262918.418
9 | 2677892.4753 | 1262918.418 | 2677909.23 | 1262935.2959
10 | 2677915.3089 | 1262945.1161 | 2677910.963 | 1262937.0416 | 2677909.23 | 1262935.2959
11 | 2677931.0688 | 1262953.7193 | 2677921.8081 | 1262947.0032 | 2677915.3089 | 1262945.1161
12 | 2677915.3089 | 1262945.1161 | 2677908.4815 | 1262946.405 | 2677901.0016 | 1262951.1926
13 | 2677901.0016 | 1262951.1926 | 2677893.8396 | 1262955.7768
14 | 2677876.7985 | 1262961.0102 | 2677888.4464 | 1262959.2288 | 2677893.8396 | 1262955.7768
15 | 2677878.3978 | 1262970.5719 | 2677877.9867 | 1262968.0312 | 2677876.7985 | 1262961.0102
16 | 2677878.3978 | 1262970.5719 | 2677879.5921 | 1262978.2713 | 2677878.9656 | 1262987.5147 | 2677864.5988 | 1263031.5706
17 | 2677878.3978 | 1262970.5719 | 2677884.1431 | 1262973.0717 | 2677904.3186 | 1262991.3181 | 2677907.5542 | 1262994.2404
18 | 2677931.0688 | 1262953.7193 | 2677944.9002 | 1262938.8901
19 | 2677931.0688 | 1262953.7193 | 2677941.199 | 1262963.8845
20 | 2677868.6104 | 1263041.5755 | 2677864.5988 | 1263031.5706
21 | 2677907.5542 | 1262994.2404 | 2677921.2915 | 1263006.6476
22 | 2678067.3876 | 1262866.0269 | 2678057.7036 | 1262861.9753
23 | 2678028.0913 | 1262847.7944 | 2678057.5352 | 1262861.9049 | 2678057.7036 | 1262861.9753
24 | 2678067.3876 | 1262866.0269 | 2678072.1153 | 1262868.002 | 2678086.071 | 1262872.3228 | 2678099.4409 | 1262875.9243
25 | 2678067.3876 | 1262866.0269 | 2678062.3325 | 1262898.5408 | 2678061.0244 | 1262904.7194
26 | 2678028.0913 | 1262847.7944 | 2678018.2682 | 1262843.9391
27 | 2678099.4409 | 1262875.9243 | 2678125.3121 | 1262882.4366
28 | 2678057.062 | 1262922.0699 | 2678058.7008 | 1262915.695 | 2678061.0244 | 1262904.7194
29 | 2678125.3121 | 1262882.4366 | 2678126.2021 | 1262882.6607 | 2678137.0692 | 1262885.8177 | 2678142.4839 | 1262888.2467 | 2678142.4839 | 1262888.2467
30 | 2678052.5358 | 1262939.6771 | 2678057.062 | 1262922.0699
31 | 2678102.2346 | 1262946.3423 | 2678119.4082 | 1262935.7768
32 | 2678076.5136 | 1262966.2134 | 2678084.5009 | 1262958.6686 | 2678092.4569 | 1262952.3577 | 2678102.2346 | 1262946.3423
33 | 2677949.0586 | 1262971.7714 | 2677941.199 | 1262963.8845
34 | 2677966.215 | 1262988.9873 | 2677949.0586 | 1262971.7714
35 | 2677966.215 | 1262988.9873 | 2677974.9037 | 1262977.4233
36 | 2677977.5928 | 1262973.8443 | 2677974.9037 | 1262977.4233
37 | 2677977.5928 | 1262973.8443 | 2677984.7875 | 1262964.2687 | 2677990.3086 | 1262960.623
38 | 2677990.3086 | 1262960.623 | 2677998.7661 | 1262955.0385
39 | 2678006.2342 | 1262950.1072 | 2677998.7661 | 1262955.0385
40 | 2678006.2342 | 1262950.1072 | 2677999.1893 | 1262949.0357 | 2677989.044 | 1262943.1418 | 2677976.7233 | 1262931.4804
41 | 2678006.2342 | 1262950.1072 | 2678011.008 | 1262948.013 | 2678014.8572 | 1262946.8374
42 | 2678014.8572 | 1262946.8374 | 2678029.3661 | 1262942.4063 | 2678032.0554 | 1262942.1284
43 | 2678032.0554 | 1262942.1284 | 2678034.5186 | 1262941.8739 | 2678039.1093 | 1262944.5254 | 2678047.16 | 1262949.7917
44 | 2678049.5362 | 1262951.346 | 2678047.16 | 1262949.7917
45 | 2677976.7233 | 1262931.4804 | 2677949.211 | 1262905.4401
46 | 2678049.5362 | 1262951.346 | 2678063.4483 | 1262960.659 | 2678076.5136 | 1262966.2134
47 | 2678049.5362 | 1262951.346 | 2678052.5358 | 1262939.6771
48 | 2678076.5136 | 1262966.2134 | 2678083.2776 | 1262968.5823 | 2678085.7317 | 1262970.1
49 | 2678076.5136 | 1262966.2134 | 2678073.1711 | 1262969.4496 | 2678064.7139 | 1262979.4902 | 2678058.4362 | 1262988.7811 | 2678054.4596 | 1262995.545 | 2678053.1068 | 1262998.4851
50 | 2678030.9458 | 1263046.4518 | 2678026.2698 | 1263044.5664 | 2678021.7631 | 1263042.4053 | 2678015.395 | 1263038.585 | 2678008.9622 | 1263033.3851 | 2677998.0308 | 1263022.0316
51 | 2678020.7352 | 1263075.1948 | 2678023.4442 | 1263065.7232 | 2678025.8939 | 1263059.3395 | 2678030.9458 | 1263046.4518
52 | 2677915.7045 | 1263056.327 | 2677926.7599 | 1263063.6848
53 | 2677868.6104 | 1263041.5755 | 2677878.7419 | 1263037.0832 | 2677883.5999 | 1263037.1695 | 2677888.7592 | 1263038.3939 | 2677915.7045 | 1263056.327
54 | 2677847.16 | 1263062.9319 | 2677845.5736 | 1263054.6824 | 2677854.1823 | 1263051.9825 | 2677868.6104 | 1263041.5755
55 | 2677847.16 | 1263062.9319 | 2677873.3213 | 1263075.2292
56 | 2677847.16 | 1263062.9319 | 2677799.6306 | 1263138.3423
57 | 2677815.4327 | 1263159.9336 | 2677799.6306 | 1263138.3423
58 | 2677921.2915 | 1263006.6476 | 2677934.2546 | 1263018.3555 | 2677942.2753 | 1263024.8594
59 | 2677942.2753 | 1263024.8594 | 2677964.6289 | 1263042.9858 | 2677965.984 | 1263043.9453
60 | 2677965.984 | 1263043.9453 | 2677967.1072 | 1263044.7406
61 | 2677997.6679 | 1263064.8145 | 2677981.6239 | 1263055.0191 | 2677967.1072 | 1263044.7406
62 | 2678020.7352 | 1263075.1948 | 2678005.1722 | 1263069.3962 | 2677997.6679 | 1263064.8145
63 | 2678020.7352 | 1263075.1948 | 2678017.5165 | 1263090.5533
64 | 2678014.1249 | 1263111.4133 | 2678016.9564 | 1263093.2255 | 2678017.5165 | 1263090.5533
65 | 2678008.56 | 1263154.0506 | 2678012.2299 | 1263124.8542 | 2678014.1249 | 1263111.4133
66 | 2678008.56 | 1263154.0506 | 2678002.1476 | 1263149.5959 | 2677959.6131 | 1263120.066
67 | 2677959.6131 | 1263120.066 | 2677940.5462 | 1263106.8287 | 2677938.0109 | 1263105.637
68 | 2677815.4327 | 1263159.9336 | 2677808.3789 | 1263183.0141 | 2677802.3705 | 1263200.486

## bus_geodata
| x | y | coords
0 | 2677799.3874 | 1262936.3761
1 | 2677807.1255 | 1262941.0152
2 | 2677830.2558 | 1262951.2063
3 | 2677834.8903 | 1262952.9079
4 | 2677853.0482 | 1262906.8749
5 | 2677847.7701 | 1262917.084
6 | 2677867.8951 | 1262888.2814
7 | 2677840.763 | 1262936.0524
8 | 2677877.9724 | 1262904.3672
9 | 2677892.4753 | 1262918.418
10 | 2677909.23 | 1262935.2959
11 | 2677915.3089 | 1262945.1161
12 | 2677893.8396 | 1262955.7768
13 | 2677901.0016 | 1262951.1926
14 | 2677876.7985 | 1262961.0102
15 | 2677878.3978 | 1262970.5719
16 | 2677931.0688 | 1262953.7193
17 | 2677864.5988 | 1263031.5706
18 | 2677907.5542 | 1262994.2404
19 | 2678057.7036 | 1262861.9753
20 | 2678067.3876 | 1262866.0269
21 | 2678028.0913 | 1262847.7944
22 | 2678099.4409 | 1262875.9243
23 | 2678061.0244 | 1262904.7194
24 | 2678018.2682 | 1262843.9391
25 | 2678125.3121 | 1262882.4366
26 | 2678057.062 | 1262922.0699
27 | 2678142.4839 | 1262888.2467
28 | 2678119.4082 | 1262935.7768
29 | 2678102.2346 | 1262946.3423
30 | 2677944.9002 | 1262938.8901
31 | 2677941.199 | 1262963.8845
32 | 2677949.0586 | 1262971.7714
33 | 2677966.215 | 1262988.9873
34 | 2677974.9037 | 1262977.4233
35 | 2677977.5928 | 1262973.8443
36 | 2677990.3086 | 1262960.623
37 | 2677998.7661 | 1262955.0385
38 | 2678006.2342 | 1262950.1072
39 | 2678014.8572 | 1262946.8374
40 | 2678032.0554 | 1262942.1284
41 | 2678047.16 | 1262949.7917
42 | 2677976.7233 | 1262931.4804
43 | 2678049.5362 | 1262951.346
44 | 2677949.211 | 1262905.4401
45 | 2678076.5136 | 1262966.2134
46 | 2678052.5358 | 1262939.6771
47 | 2678085.7317 | 1262970.1
48 | 2678053.1068 | 1262998.4851
49 | 2677998.0308 | 1263022.0316
50 | 2678030.9458 | 1263046.4518
51 | 2677915.7045 | 1263056.327
52 | 2677926.7599 | 1263063.6848
53 | 2677868.6104 | 1263041.5755
54 | 2677847.16 | 1263062.9319
55 | 2677873.3213 | 1263075.2292
56 | 2677799.6306 | 1263138.3423
57 | 2677921.2915 | 1263006.6476
58 | 2677942.2753 | 1263024.8594
59 | 2677965.984 | 1263043.9453
60 | 2677967.1072 | 1263044.7406
61 | 2677997.6679 | 1263064.8145
62 | 2678020.7352 | 1263075.1948
63 | 2678017.5165 | 1263090.5533
64 | 2678014.1249 | 1263111.4133
65 | 2678008.56 | 1263154.0506
66 | 2677959.6131 | 1263120.066
67 | 2677938.0109 | 1263105.637
68 | 2677802.3705 | 1263200.486
69 | 2677815.4327 | 1263159.9336
70 | 2677931.0688 | 1262953.7193

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1