## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_883-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_883-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_883-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_883-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_883-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_883-3_0_6_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_883-3_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_883-3_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_883-3_0_6_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_883-3_0_6_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_883-3_0_6_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_883-3_0_6_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_883-3_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_883-3_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_883-3_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_883-3_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_883-3_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_883-3_0_6_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_883-3_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_883-3_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_883-3_0_6_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_883-3_0_6_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_883-3_0_6_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_883-3_0_6_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_883-3_0_6_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_883-3_0_6_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_883-3_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_883-3_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_883-3_0_6_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_883-3_0_6_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_883-3_0_6_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_883-3_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_883-3_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_883-3_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_883-3_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_883-3_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_883-3_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_883-3_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_883-3_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_883-3_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_883-3_0_6_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_883-3_0_6_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_883-3_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_883-3_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_883-3_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_883-3_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_883-3_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_883-3_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_883-3_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_883-3_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_883-3_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_883-3_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_883-3_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_883-3_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_883-3_0_6_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_883-3_0_6_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_883-3_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_883-3_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_883-3_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_883-3_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_883-3_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_883-3_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_883-3_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_883-3_0_6_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_883-3_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_883-3_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_883-3_0_6_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_883-3_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_883-3_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_883-3_0_6_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_883-3_0_6_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_883-3_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_883-3_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_883-3_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_883-3_0_6_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_883-3_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_883-3_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_883-3_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_883-3_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_883-3_0_6_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_883-3_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_883-3_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_883-3_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_883-3_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_883-3_0_6_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_883-3_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_MV_122_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_883-3_0_6_load_0 | 0 | 0.06479 | 0.016238 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_883-3_0_6_load_1 | 1 | 0.068647 | 0.017205 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_883-3_0_6_load_2 | 2 | 0.022428 | 0.005621 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_883-3_0_6_load_4 | 4 | 0.0014216 | 0.00035628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_883-3_0_6_load_14 | 6 | 0.018871 | 0.0047294 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_883-3_0_6_load_15 | 7 | 0.00016199 | 4.0599e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_883-3_0_6_load_79 | 8 | 0.003253 | 0.00081528 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_883-3_0_6_load_78 | 9 | 0.0025891 | 0.00064889 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_883-3_0_6_load_16 | 11 | 0.00035825 | 8.9785e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_883-3_0_6_load_5 | 12 | 0.05996 | 0.015027 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_883-3_0_6_load_7 | 14 | 0.0024535 | 0.00061491 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_883-3_0_6_load_8 | 17 | 0.033693 | 0.0084442 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_883-3_0_6_load_9 | 18 | 0.012702 | 0.0031835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_883-3_0_6_load_55 | 23 | 0.0022373 | 0.00056073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_883-3_0_6_load_43 | 25 | 0.0026842 | 0.00067271 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_883-3_0_6_load_31 | 26 | 0.015979 | 0.0040047 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_883-3_0_6_load_28 | 27 | 0.092888 | 0.02328 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_883-3_0_6_load_54 | 28 | 0.010387 | 0.0026033 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_883-3_0_6_load_80 | 29 | 0.0015008 | 0.00037614 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_883-3_0_6_load_59 | 30 | 0.0025957 | 0.00065054 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_883-3_0_6_load_18 | 31 | 0.0008931 | 0.00022383 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_883-3_0_6_load_20 | 33 | 0.00060658 | 0.00015202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_883-3_0_6_load_21 | 34 | 0.00066221 | 0.00016596 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_883-3_0_6_load_24 | 36 | 0.0018177 | 0.00045556 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_883-3_0_6_load_25 | 37 | 0.0066892 | 0.0016765 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_883-3_0_6_load_26 | 38 | 0.00072731 | 0.00018228 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_883-3_0_6_load_27 | 39 | 0.00068943 | 0.00017279 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_883-3_0_6_load_48 | 40 | 0.0015581 | 0.00039051 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_883-3_0_6_load_42 | 41 | 0.0035542 | 0.00089077 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_883-3_0_6_load_34 | 42 | 0.00083989 | 0.0002105 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_883-3_0_6_load_32 | 44 | 0.0018568 | 0.00046536 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_883-3_0_6_load_33 | 45 | 0.00040327 | 0.00010107 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_883-3_0_6_load_36 | 47 | 0.0010469 | 0.00026238 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_883-3_0_6_load_35 | 49 | 0.00077577 | 0.00019443 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_883-3_0_6_load_37 | 50 | 0.0018352 | 0.00045995 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_883-3_0_6_load_40 | 51 | 0.015791 | 0.0039577 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_883-3_0_6_load_44 | 52 | 0.0024623 | 0.0006171 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_883-3_0_6_load_45 | 53 | 0.0028508 | 0.00071447 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_883-3_0_6_load_61 | 54 | 0.0026236 | 0.00065754 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_883-3_0_6_load_62 | 55 | 0.0026722 | 0.00066971 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_883-3_0_6_load_46 | 56 | 0.0020126 | 0.00050439 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_883-3_0_6_load_47 | 57 | 0.0038628 | 0.00096811 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_883-3_0_6_load_49 | 58 | 0.0052381 | 0.0013128 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_883-3_0_6_load_53 | 62 | 0.0024634 | 0.00061739 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_883-3_0_6_load_58 | 63 | 0.0014176 | 0.00035528 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_883-3_0_6_load_65 | 64 | 0.0023274 | 0.0005833 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_883-3_0_6_load_56 | 65 | 0.0010987 | 0.00027535 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_883-3_0_6_load_64 | 66 | 0.0025695 | 0.00064398 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_883-3_0_6_load_57 | 67 | 0.0016985 | 0.00042569 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_883-3_0_6_load_63 | 68 | 0.0026752 | 0.00067047 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_883-3_0_6_load_70 | 69 | 0.0029114 | 0.00072967 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_883-3_0_6_load_69 | 70 | 0.0026668 | 0.00066835 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_883-3_0_6_load_67 | 72 | 0.0025011 | 0.00062684 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_883-3_0_6_load_81 | 74 | 0.010406 | 0.0026079 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_883-3_0_6_load_76 | 75 | 0.0011745 | 0.00029436 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_883-3_0_6_load_75 | 76 | 0.0011769 | 0.00029495 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_883-3_0_6_load_72 | 78 | 0.0075213 | 0.001885 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_883-3_0_6_load_73 | 79 | 0.0022213 | 0.00055671 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_883-3_0_6_load_74 | 80 | 0.0060264 | 0.0015103 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_883-3_0_6_load_83 | 82 | 0.0037662 | 0.00094389 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_883-3_0_6_load_77 | 83 | 0.0023471 | 0.00058823 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_883-3_0_6_load_85 | 85 | 0.0047448 | 0.0011892 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_883-3_0_6_line_0 |  | 0 | 1 | 0.058131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_883-3_0_6_line_1 |  | 0 | 2 | 0.029617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_883-3_0_6_line_2 |  | 1 | 3 | 0.03635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_883-3_0_6_line_3 |  | 2 | 4 | 0.023588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_883-3_0_6_line_4 |  | 3 | 5 | 0.059641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_883-3_0_6_line_5 |  | 3 | 6 | 0.070667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_883-3_0_6_line_6 |  | 4 | 7 | 0.0089801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_883-3_0_6_line_7 |  | 5 | 8 | 0.026647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_883-3_0_6_line_8 |  | 5 | 9 | 0.032529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_883-3_0_6_line_9 |  | 6 | 10 | 0.025195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_883-3_0_6_line_10 |  | 7 | 11 | 0.004754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_883-3_0_6_line_11 |  | 8 | 29 | 0.061752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_883-3_0_6_line_12 |  | 9 | 30 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_883-3_0_6_line_13 |  | 10 | 31 | 0.040935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_883-3_0_6_line_14 |  | 10 | 32 | 0.038168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_883-3_0_6_line_15 |  | 12 | 13 | 0.023196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_883-3_0_6_line_16 |  | 13 | 14 | 0.019922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_883-3_0_6_line_17 |  | 14 | 15 | 0.046485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_883-3_0_6_line_18 |  | 15 | 16 | 0.030934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_883-3_0_6_line_19 |  | 15 | 17 | 0.017939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_883-3_0_6_line_20 |  | 16 | 22 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_883-3_0_6_line_21 |  | 16 | 23 | 0.019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_883-3_0_6_line_22 |  | 17 | 18 | 0.025161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_883-3_0_6_line_23 |  | 18 | 19 | 0.030515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_883-3_0_6_line_24 |  | 19 | 20 | 0.051739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_883-3_0_6_line_25 |  | 19 | 21 | 0.006671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_883-3_0_6_line_26 |  | 20 | 24 | 0.036156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_883-3_0_6_line_27 |  | 20 | 25 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_883-3_0_6_line_28 |  | 21 | 26 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_883-3_0_6_line_29 |  | 22 | 27 | 0.028968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_883-3_0_6_line_30 |  | 23 | 28 | 0.017599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_883-3_0_6_line_31 |  | 24 | 40 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_883-3_0_6_line_32 |  | 25 | 41 | 0.01575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_883-3_0_6_line_33 |  | 26 | 44 | 0.010689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_883-3_0_6_line_34 |  | 27 | 37 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_883-3_0_6_line_35 |  | 30 | 67 | 0.017206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_883-3_0_6_line_36 |  | 31 | 33 | 0.0096703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_883-3_0_6_line_37 |  | 32 | 34 | 0.028012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_883-3_0_6_line_38 |  | 34 | 35 | 0.0041557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_883-3_0_6_line_39 |  | 35 | 36 | 0.022988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_883-3_0_6_line_40 |  | 35 | 37 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_883-3_0_6_line_41 |  | 36 | 38 | 0.013635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_883-3_0_6_line_42 |  | 38 | 39 | 0.0053324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_883-3_0_6_line_43 |  | 40 | 57 | 0.022635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_883-3_0_6_line_44 |  | 41 | 52 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_883-3_0_6_line_45 |  | 42 | 43 | 0.0042126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_883-3_0_6_line_46 |  | 43 | 48 | 0.065007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_883-3_0_6_line_47 |  | 43 | 46 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_883-3_0_6_line_48 |  | 44 | 45 | 0.008144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_883-3_0_6_line_49 |  | 45 | 46 | 0.008224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_883-3_0_6_line_50 |  | 46 | 47 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_883-3_0_6_line_51 |  | 47 | 49 | 0.0070836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_883-3_0_6_line_52 |  | 48 | 51 | 0.051552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_883-3_0_6_line_53 |  | 49 | 50 | 0.0089556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_883-3_0_6_line_54 |  | 52 | 53 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_883-3_0_6_line_55 |  | 53 | 54 | 0.0093678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_883-3_0_6_line_56 |  | 54 | 55 | 0.015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_883-3_0_6_line_57 |  | 55 | 68 | 0.007602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_883-3_0_6_line_58 |  | 56 | 57 | 0.029527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_883-3_0_6_line_59 |  | 58 | 59 | 0.024409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_883-3_0_6_line_60 |  | 58 | 60 | 0.075724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_883-3_0_6_line_61 |  | 59 | 61 | 0.013019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_883-3_0_6_line_62 |  | 60 | 62 | 0.072779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_883-3_0_6_line_63 |  | 61 | 63 | 0.052099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_883-3_0_6_line_64 |  | 61 | 64 | 0.050956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_883-3_0_6_line_65 |  | 63 | 65 | 0.024208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_883-3_0_6_line_66 |  | 64 | 66 | 0.041535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_883-3_0_6_line_67 |  | 65 | 67 | 0.021932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_883-3_0_6_line_68 |  | 66 | 71 | 0.046694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_883-3_0_6_line_69 |  | 68 | 69 | 0.023471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_883-3_0_6_line_70 |  | 69 | 70 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_883-3_0_6_line_71 |  | 70 | 77 | 0.040772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_883-3_0_6_line_72 |  | 71 | 72 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_883-3_0_6_line_73 |  | 71 | 73 | 0.033357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_883-3_0_6_line_74 |  | 72 | 74 | 0.017266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_883-3_0_6_line_75 |  | 73 | 75 | 0.055908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_883-3_0_6_line_76 |  | 75 | 76 | 0.0010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_883-3_0_6_line_77 |  | 76 | 83 | 0.011673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_883-3_0_6_line_78 |  | 77 | 78 | 0.043164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_883-3_0_6_line_79 |  | 78 | 79 | 0.018697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_883-3_0_6_line_80 |  | 79 | 80 | 0.030582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_883-3_0_6_line_81 |  | 80 | 81 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_883-3_0_6_line_82 |  | 81 | 82 | 0.016846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_883-3_0_6_line_83 |  | 82 | 84 | 0.057385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_883-3_0_6_line_84 |  | 84 | 85 | 0.059338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_883-3_0_6_trafo_21 | 0.63 MVA 20/0.4 kV | 86 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2606744.2654 | 1181918.0567 | 2606745.347 | 1181917.8423 | 2606754.273 | 1181917.8522 | 2606762.3398 | 1181921.5743 | 2606766.3707 | 1181929.0048 | 2606770.3809 | 1181955.0004 | 2606771.0579 | 1181959.41
1 | 2606744.2654 | 1181918.0567 | 2606715.2141 | 1181923.8166
2 | 2606776.574 | 1181995.3391 | 2606771.0579 | 1181959.41
3 | 2606692.0761 | 1181928.4041 | 2606715.2141 | 1181923.8166
4 | 2606835.8125 | 1181987.0904 | 2606823.273 | 1181988.7771 | 2606804.6928 | 1181991.2574 | 2606791.2903 | 1181993.1211 | 2606776.574 | 1181995.3391
5 | 2606776.574 | 1181995.3391 | 2606735.1969 | 1182002.2076 | 2606707.0335 | 1182007.8542
6 | 2606692.0761 | 1181928.4041 | 2606683.2675 | 1181930.1505
7 | 2606835.8125 | 1181987.0904 | 2606836.9742 | 1181992.8724 | 2606841.052 | 1182013.2175
8 | 2606835.8125 | 1181987.0904 | 2606868.0589 | 1181982.8139
9 | 2606682.3622 | 1182012.9656 | 2606703.8765 | 1182008.4871 | 2606707.0335 | 1182007.8542
10 | 2606678.6042 | 1181931.0751 | 2606683.2675 | 1181930.1505
11 | 2606853.1845 | 1182073.7656 | 2606843.6178 | 1182026.0191 | 2606841.052 | 1182013.2175
12 | 2606868.0589 | 1181982.8139 | 2606878.7089 | 1181981.4015
13 | 2606682.3622 | 1182012.9656 | 2606680.1163 | 1182006.9379 | 2606677.1495 | 1182003.8886 | 2606672.3403 | 1182002.7938 | 2606662.5503 | 1182003.8614 | 2606658.4322 | 1181988.9517
14 | 2606644.8556 | 1182020.5949 | 2606682.3622 | 1182012.9656
15 | 2606538.7175 | 1181996.1224 | 2606532.0804 | 1181973.8966
16 | 2606538.7175 | 1181996.1224 | 2606554.1002 | 1181991.8369 | 2606558.009 | 1181992.4303
17 | 2606574.0432 | 1182035.0139 | 2606563.5005 | 1181998.0391 | 2606561.2518 | 1181994.5126 | 2606558.009 | 1181992.4303
18 | 2606604.4318 | 1182028.7883 | 2606574.0432 | 1182035.0139
19 | 2606574.0432 | 1182035.0139 | 2606561.6778 | 1182038.28 | 2606556.7581 | 1182039.8001
20 | 2606615.3683 | 1182026.5657 | 2606604.4318 | 1182028.7883
21 | 2606604.4318 | 1182028.7883 | 2606609.6963 | 1182047.3511
22 | 2606533.039 | 1182048.1635 | 2606538.6637 | 1182045.9479 | 2606549.0215 | 1182042.1905 | 2606556.7581 | 1182039.8001
23 | 2606505.3034 | 1182060.853 | 2606512.0187 | 1182057.4584 | 2606520.2463 | 1182053.5764 | 2606528.6722 | 1182049.8836 | 2606533.039 | 1182048.1635
24 | 2606505.3034 | 1182060.853 | 2606516.9085 | 1182111.2691
25 | 2606499.4131 | 1182064.0149 | 2606505.3034 | 1182060.853
26 | 2606516.9085 | 1182111.2691 | 2606524.104 | 1182136.9567 | 2606526.0104 | 1182146.2412
27 | 2606516.9085 | 1182111.2691 | 2606504.4135 | 1182114.5351 | 2606503.7217 | 1182114.7431
28 | 2606499.4131 | 1182064.0149 | 2606493.673 | 1182055.2265 | 2606493.673 | 1182055.2265
29 | 2606615.3683 | 1182026.5657 | 2606609.8788 | 1181998.1229 | 2606609.8788 | 1181998.1229
30 | 2606614.498 | 1182064.2823 | 2606609.6963 | 1182047.3511
31 | 2606526.0104 | 1182146.2412 | 2606520.0505 | 1182150.2591 | 2606507.775 | 1182154.3546
32 | 2606488.663 | 1182119.355 | 2606490.8944 | 1182118.6005 | 2606503.7217 | 1182114.7431
33 | 2606493.673 | 1182055.2265 | 2606483.6679 | 1182058.9898
34 | 2606624.2061 | 1181994.0392 | 2606609.8788 | 1181998.1229
35 | 2606895.7651 | 1181979.138 | 2606888.59 | 1181980.091 | 2606878.7089 | 1181981.4015
36 | 2606655.8577 | 1181979.6305 | 2606658.4322 | 1181988.9517
37 | 2606644.8556 | 1182020.5949 | 2606638.5155 | 1181995.1416 | 2606637.1744 | 1181993.9695
38 | 2606634.0453 | 1181991.2347 | 2606637.1744 | 1181993.9695
39 | 2606634.0453 | 1181991.2347 | 2606630.5901 | 1181973.922 | 2606625.7593 | 1181971.66 | 2606625.7593 | 1181971.66
40 | 2606634.0453 | 1181991.2347 | 2606624.2061 | 1181994.0392
41 | 2606622.0758 | 1181958.5412 | 2606622.3065 | 1181959.0164 | 2606625.7593 | 1181971.66
42 | 2606619.7467 | 1181953.7443 | 2606622.0758 | 1181958.5412
43 | 2606486.3837 | 1182161.7518 | 2606498.7937 | 1182157.351 | 2606507.775 | 1182154.3546
44 | 2606488.663 | 1182119.355 | 2606478.8982 | 1182122.6571
45 | 2606474.956 | 1182078.8408 | 2606478.4766 | 1182076.5275
46 | 2606418.7165 | 1182104.5274 | 2606422.6135 | 1182101.7746 | 2606456.2983 | 1182082.8563 | 2606464.1975 | 1182086.1886 | 2606474.956 | 1182078.8408
47 | 2606474.956 | 1182078.8408 | 2606468.5491 | 1182065.2492
48 | 2606476.102 | 1182062.0014 | 2606481.0006 | 1182059.9931 | 2606483.6679 | 1182058.9898
49 | 2606468.5491 | 1182065.2492 | 2606470.9937 | 1182064.0957 | 2606476.102 | 1182062.0014
50 | 2606468.5491 | 1182065.2492 | 2606459.6356 | 1182043.783
51 | 2606456.9192 | 1182037.2409 | 2606459.6356 | 1182043.783
52 | 2606418.7165 | 1182104.5274 | 2606408.7307 | 1182081.6496 | 2606404.1022 | 1182055.4653
53 | 2606453.4848 | 1182028.9701 | 2606456.9192 | 1182037.2409
54 | 2606478.8982 | 1182122.6571 | 2606464.876 | 1182127.3989
55 | 2606456.0019 | 1182130.3998 | 2606464.876 | 1182127.3989
56 | 2606456.0019 | 1182130.3998 | 2606441.6458 | 1182135.2544
57 | 2606434.4444 | 1182137.6897 | 2606441.6458 | 1182135.2544
58 | 2606458.5551 | 1182171.6204 | 2606486.3837 | 1182161.7518
59 | 2607005.7254 | 1181962.183 | 2607020.5046 | 1181958.5427 | 2607029.2676 | 1181955.7808
60 | 2607100.9091 | 1181931.267 | 2607059.339 | 1181945.7257 | 2607042.1518 | 1181951.7199 | 2607029.2676 | 1181955.7808
61 | 2607005.7254 | 1181962.183 | 2607002.0518 | 1181962.9903 | 2606997.0034 | 1181964.0183 | 2606992.9328 | 1181964.7806
62 | 2607100.9091 | 1181931.267 | 2607094.6883 | 1181961.8531 | 2607090.5439 | 1181986.4831 | 2607094.1945 | 1181998.8048 | 2607095.3369 | 1182002.3648
63 | 2606992.9328 | 1181964.7806 | 2606976.9938 | 1181967.7193 | 2606960.9714 | 1181970.2688 | 2606942.895 | 1181972.8383 | 2606941.4984 | 1181973.0268
64 | 2606992.9328 | 1181964.7806 | 2606992.2575 | 1181954.4412 | 2606990.8065 | 1181941.4329 | 2606989.8956 | 1181936.785 | 2606987.0834 | 1181932.1794 | 2606975.005 | 1181919.6916
65 | 2606917.5061 | 1181976.2503 | 2606924.6049 | 1181975.3075 | 2606941.4984 | 1181973.0268
66 | 2606946.1284 | 1181889.8363 | 2606975.005 | 1181919.6916
67 | 2606917.5061 | 1181976.2503 | 2606895.7651 | 1181979.138
68 | 2606914.2808 | 1181855.6899 | 2606944.4888 | 1181888.1411 | 2606946.1284 | 1181889.8363
69 | 2606434.4444 | 1182137.6897 | 2606433.1194 | 1182138.1377 | 2606428.6087 | 1182143.6469 | 2606428.8049 | 1182153.0408 | 2606427.8217 | 1182158.5092 | 2606427.8217 | 1182158.5092
70 | 2606417.0548 | 1182162.0614 | 2606427.8217 | 1182158.5092
71 | 2606377.7822 | 1182170.4625 | 2606385.0272 | 1182171.3705 | 2606388.1731 | 1182171.2405 | 2606391.1439 | 1182170.6099 | 2606417.0548 | 1182162.0614
72 | 2606914.2808 | 1181855.6899 | 2606927.8587 | 1181851.647
73 | 2606891.5771 | 1181831.1959 | 2606914.2808 | 1181855.6899
74 | 2606944.4065 | 1181846.7198 | 2606927.8587 | 1181851.647
75 | 2606891.5771 | 1181831.1959 | 2606893.6064 | 1181826.0734 | 2606897.2326 | 1181820.1411 | 2606907.1608 | 1181811.9482 | 2606935.4189 | 1181800.2788
76 | 2606936.4251 | 1181799.8633 | 2606935.4189 | 1181800.2788
77 | 2606947.2143 | 1181795.4078 | 2606936.4251 | 1181799.8633
78 | 2606377.7822 | 1182170.4625 | 2606378.555 | 1182176.2329 | 2606380.2576 | 1182183.5162 | 2606389.6871 | 1182211.851
79 | 2606389.6871 | 1182211.851 | 2606389.939 | 1182212.608 | 2606395.5151 | 1182229.6161
80 | 2606395.5151 | 1182229.6161 | 2606399.6808 | 1182242.3224 | 2606402.213 | 1182259.3449
81 | 2606399.4094 | 1182282.3538 | 2606401.7787 | 1182272.9514 | 2606402.213 | 1182259.3449
82 | 2606399.4094 | 1182282.3538 | 2606416.2305 | 1182283.2703
83 | 2606451.1081 | 1182324.6525 | 2606442.8794 | 1182308.5021 | 2606431.4248 | 1182288.602 | 2606420.008 | 1182283.4761 | 2606416.2305 | 1182283.2703
84 | 2606451.1081 | 1182324.6525 | 2606506.9051 | 1182304.0238

## bus_geodata
| x | y | coords
0 | 2606744.2654 | 1181918.0567
1 | 2606771.0579 | 1181959.41
2 | 2606715.2141 | 1181923.8166
3 | 2606776.574 | 1181995.3391
4 | 2606692.0761 | 1181928.4041
5 | 2606835.8125 | 1181987.0904
6 | 2606707.0335 | 1182007.8542
7 | 2606683.2675 | 1181930.1505
8 | 2606841.052 | 1182013.2175
9 | 2606868.0589 | 1181982.8139
10 | 2606682.3622 | 1182012.9656
11 | 2606678.6042 | 1181931.0751
12 | 2606532.0804 | 1181973.8966
13 | 2606538.7175 | 1181996.1224
14 | 2606558.009 | 1181992.4303
15 | 2606574.0432 | 1182035.0139
16 | 2606604.4318 | 1182028.7883
17 | 2606556.7581 | 1182039.8001
18 | 2606533.039 | 1182048.1635
19 | 2606505.3034 | 1182060.853
20 | 2606516.9085 | 1182111.2691
21 | 2606499.4131 | 1182064.0149
22 | 2606615.3683 | 1182026.5657
23 | 2606609.6963 | 1182047.3511
24 | 2606526.0104 | 1182146.2412
25 | 2606503.7217 | 1182114.7431
26 | 2606493.673 | 1182055.2265
27 | 2606609.8788 | 1181998.1229
28 | 2606614.498 | 1182064.2823
29 | 2606853.1845 | 1182073.7656
30 | 2606878.7089 | 1181981.4015
31 | 2606658.4322 | 1181988.9517
32 | 2606644.8556 | 1182020.5949
33 | 2606655.8577 | 1181979.6305
34 | 2606637.1744 | 1181993.9695
35 | 2606634.0453 | 1181991.2347
36 | 2606625.7593 | 1181971.66
37 | 2606624.2061 | 1181994.0392
38 | 2606622.0758 | 1181958.5412
39 | 2606619.7467 | 1181953.7443
40 | 2606507.775 | 1182154.3546
41 | 2606488.663 | 1182119.355
42 | 2606478.4766 | 1182076.5275
43 | 2606474.956 | 1182078.8408
44 | 2606483.6679 | 1182058.9898
45 | 2606476.102 | 1182062.0014
46 | 2606468.5491 | 1182065.2492
47 | 2606459.6356 | 1182043.783
48 | 2606418.7165 | 1182104.5274
49 | 2606456.9192 | 1182037.2409
50 | 2606453.4848 | 1182028.9701
51 | 2606404.1022 | 1182055.4653
52 | 2606478.8982 | 1182122.6571
53 | 2606464.876 | 1182127.3989
54 | 2606456.0019 | 1182130.3997
55 | 2606441.6458 | 1182135.2544
56 | 2606458.5551 | 1182171.6204
57 | 2606486.3836 | 1182161.7518
58 | 2607029.2676 | 1181955.7808
59 | 2607005.7254 | 1181962.183
60 | 2607100.9091 | 1181931.267
61 | 2606992.9328 | 1181964.7806
62 | 2607095.3369 | 1182002.3648
63 | 2606941.4984 | 1181973.0268
64 | 2606975.005 | 1181919.6916
65 | 2606917.5061 | 1181976.2503
66 | 2606946.1284 | 1181889.8363
67 | 2606895.7651 | 1181979.138
68 | 2606434.4444 | 1182137.6897
69 | 2606427.8217 | 1182158.5092
70 | 2606417.0548 | 1182162.0614
71 | 2606914.2808 | 1181855.6899
72 | 2606927.8587 | 1181851.647
73 | 2606891.5771 | 1181831.1959
74 | 2606944.4065 | 1181846.7198
75 | 2606935.4189 | 1181800.2788
76 | 2606936.4251 | 1181799.8633
77 | 2606377.7822 | 1182170.4625
78 | 2606389.6871 | 1182211.851
79 | 2606395.5151 | 1182229.6161
80 | 2606402.213 | 1182259.3449
81 | 2606399.4094 | 1182282.3538
82 | 2606416.2305 | 1182283.2703
83 | 2606947.2143 | 1181795.4078
84 | 2606451.1081 | 1182324.6525
85 | 2606506.9051 | 1182304.0239
86 | 2606634.0453 | 1181991.2347

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1