## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_884-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_884-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_884-2_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_884-2_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_884-2_0_4_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_884-2_0_4_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_884-2_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_884-2_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_884-2_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_884-2_0_4_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_884-2_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_884-2_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_884-2_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_884-2_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_884-2_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_884-2_0_4_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_884-2_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_884-2_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_884-2_0_4_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_884-2_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_884-2_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_884-2_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_884-2_0_4_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_884-2_0_4_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_884-2_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_884-2_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_884-2_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_884-2_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_884-2_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_884-2_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_884-2_0_4_node_100 | 0.4 | n |  | TRUE
31 | bus_LV_884-2_0_4_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_884-2_0_4_node_77 | 0.4 | n |  | TRUE
33 | bus_LV_884-2_0_4_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_884-2_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_884-2_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_884-2_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_884-2_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_884-2_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_884-2_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_884-2_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_884-2_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_884-2_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_884-2_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_884-2_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_884-2_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_884-2_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_884-2_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_884-2_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_884-2_0_4_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_884-2_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_884-2_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_884-2_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_884-2_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_884-2_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_884-2_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_884-2_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_884-2_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_884-2_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_884-2_0_4_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_884-2_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_884-2_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_884-2_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_884-2_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_884-2_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_884-2_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_884-2_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_884-2_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_884-2_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_884-2_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_884-2_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_884-2_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_884-2_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_884-2_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_884-2_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_884-2_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_884-2_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_884-2_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_884-2_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_884-2_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_884-2_0_4_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_884-2_0_4_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_884-2_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_884-2_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_884-2_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_884-2_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_884-2_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_884-2_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_884-2_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_884-2_0_4_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_884-2_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_884-2_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_884-2_0_4_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_884-2_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_884-2_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_884-2_0_4_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_884-2_0_4_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_884-2_0_4_node_99 | 0.4 | n |  | TRUE
98 | bus_LV_884-2_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_MV_121_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_884-2_0_4_load_0 | 0 | 0.0027616 | 0.00069212 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_884-2_0_4_load_24 | 4 | 0.013495 | 0.0033821 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_884-2_0_4_load_20 | 5 | 0.011251 | 0.0028199 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_884-2_0_4_load_39 | 7 | 0.0086408 | 0.0021656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_884-2_0_4_load_36 | 8 | 0.013438 | 0.0033678 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_884-2_0_4_load_52 | 9 | 0.010426 | 0.002613 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_884-2_0_4_load_37 | 10 | 0.0088896 | 0.002228 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_884-2_0_4_load_5 | 12 | 0.00077862 | 0.00019514 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_884-2_0_4_load_6 | 13 | 0.00059621 | 0.00014943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_884-2_0_4_load_7 | 14 | 0.0018416 | 0.00046155 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_884-2_0_4_load_80 | 15 | 0.00079599 | 0.0001995 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_884-2_0_4_load_78 | 18 | 0.0015654 | 0.00039233 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_884-2_0_4_load_10 | 19 | 0.0093559 | 0.0023448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_884-2_0_4_load_11 | 20 | 0.026737 | 0.0067009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_884-2_0_4_load_12 | 21 | 0.00012477 | 3.1271e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_884-2_0_4_load_90 | 22 | 0.0034671 | 0.00086893 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_884-2_0_4_load_88 | 23 | 0.0085777 | 0.0021498 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_884-2_0_4_load_13 | 24 | 0.0058034 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_884-2_0_4_load_19 | 25 | 0.0068782 | 0.0017238 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_884-2_0_4_load_14 | 27 | 0.013241 | 0.0033186 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_884-2_0_4_load_15 | 28 | 0.013233 | 0.0033165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_884-2_0_4_load_100 | 30 | 0.00036855 | 9.2368e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_884-2_0_4_load_77 | 32 | 0.0026606 | 0.00066682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_884-2_0_4_load_74 | 33 | 0.0026494 | 0.00066401 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_884-2_0_4_load_71 | 34 | 0.0026503 | 0.00066424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_884-2_0_4_load_22 | 35 | 0.0063085 | 0.0015811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_884-2_0_4_load_23 | 36 | 0.0046139 | 0.0011563 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_884-2_0_4_load_47 | 37 | 0.012088 | 0.0030296 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_884-2_0_4_load_25 | 39 | 0.011287 | 0.0028287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_884-2_0_4_load_26 | 40 | 0.013327 | 0.0033399 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_884-2_0_4_load_44 | 41 | 0.01199 | 0.0030049 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_884-2_0_4_load_27 | 43 | 0.028931 | 0.0072509 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_884-2_0_4_load_28 | 44 | 0.023228 | 0.0058214 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_884-2_0_4_load_29 | 45 | 0.0028657 | 0.00071821 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_884-2_0_4_load_31 | 47 | 0.0028609 | 0.00071701 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_884-2_0_4_load_101 | 49 | 0.0019158 | 0.00048015 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_884-2_0_4_load_42 | 51 | 0.011848 | 0.0029695 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_884-2_0_4_load_55 | 52 | 0.011713 | 0.0029356 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_884-2_0_4_load_32 | 53 | 0.0083668 | 0.0020969 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_884-2_0_4_load_33 | 54 | 0.0094005 | 0.002356 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_884-2_0_4_load_35 | 55 | 0.0059596 | 0.0014936 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_884-2_0_4_load_46 | 58 | 0.0073826 | 0.0018503 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_884-2_0_4_load_38 | 59 | 0.013372 | 0.0033514 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_884-2_0_4_load_41 | 61 | 0.01485 | 0.0037219 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_884-2_0_4_load_56 | 63 | 0.0049479 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_884-2_0_4_load_53 | 64 | 0.011463 | 0.002873 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_884-2_0_4_load_59 | 65 | 0.0025636 | 0.0006425 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_884-2_0_4_load_54 | 66 | 0.013318 | 0.0033378 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_884-2_0_4_load_60 | 67 | 0.0037412 | 0.00093764 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_884-2_0_4_load_50 | 68 | 0.0049563 | 0.0012422 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_884-2_0_4_load_67 | 69 | 0.00099239 | 0.00024872 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_884-2_0_4_load_61 | 71 | 0.002133 | 0.00053459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_884-2_0_4_load_62 | 72 | 0.0012853 | 0.00032212 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_884-2_0_4_load_64 | 74 | 0.0020384 | 0.00051087 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_884-2_0_4_load_65 | 75 | 0.0012789 | 0.00032052 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_884-2_0_4_load_66 | 76 | 0.006039 | 0.0015135 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_884-2_0_4_load_69 | 77 | 0.0023674 | 0.00059333 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_884-2_0_4_load_92 | 78 | 0.0007555 | 0.00018935 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_884-2_0_4_load_91 | 80 | 0.0036134 | 0.00090561 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_884-2_0_4_load_93 | 81 | 0.0011755 | 0.00029461 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_884-2_0_4_load_79 | 83 | 0.0015624 | 0.00039157 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_884-2_0_4_load_70 | 84 | 0.0025056 | 0.00062796 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_884-2_0_4_load_72 | 85 | 0.0038141 | 0.00095591 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_884-2_0_4_load_75 | 87 | 0.0032005 | 0.00080212 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_884-2_0_4_load_76 | 88 | 0.003182 | 0.00079749 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_884-2_0_4_load_94 | 89 | 0.0026774 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_884-2_0_4_load_87 | 90 | 0.00416 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_884-2_0_4_load_82 | 91 | 0.0010197 | 0.00025555 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_884-2_0_4_load_81 | 92 | 0.0015296 | 0.00038336 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_884-2_0_4_load_85 | 93 | 0.0037035 | 0.00092817 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_884-2_0_4_load_89 | 94 | 0.0028949 | 0.00072552 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_884-2_0_4_load_98 | 95 | 0.0011382 | 0.00028527 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_884-2_0_4_load_95 | 96 | 0.0012877 | 0.00032273 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_884-2_0_4_load_99 | 97 | 0.002813 | 0.000705 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_884-2_0_4_load_96 | 98 | 0.0011583 | 0.0002903 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_884-2_0_4_line_0 |  | 0 | 1 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_884-2_0_4_line_1 |  | 1 | 2 | 0.032834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_884-2_0_4_line_2 |  | 1 | 3 | 0.049422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_884-2_0_4_line_3 |  | 2 | 4 | 0.0039953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_884-2_0_4_line_4 |  | 2 | 5 | 0.030424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_884-2_0_4_line_5 |  | 3 | 6 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_884-2_0_4_line_6 |  | 5 | 11 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_884-2_0_4_line_7 |  | 6 | 7 | 0.01235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_884-2_0_4_line_8 |  | 6 | 8 | 0.019759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_884-2_0_4_line_9 |  | 7 | 9 | 0.043519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_884-2_0_4_line_10 |  | 8 | 10 | 0.0086667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_884-2_0_4_line_11 |  | 10 | 59 | 0.02534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_884-2_0_4_line_12 |  | 11 | 35 | 0.0086299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_884-2_0_4_line_13 |  | 11 | 36 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_884-2_0_4_line_14 |  | 12 | 13 | 0.041031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_884-2_0_4_line_15 |  | 12 | 14 | 0.019989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_884-2_0_4_line_16 |  | 12 | 15 | 0.055537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_884-2_0_4_line_17 |  | 13 | 16 | 0.034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_884-2_0_4_line_18 |  | 14 | 17 | 0.023003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_884-2_0_4_line_19 |  | 15 | 18 | 0.0017098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_884-2_0_4_line_20 |  | 16 | 19 | 0.071857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_884-2_0_4_line_21 |  | 17 | 20 | 0.056015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_884-2_0_4_line_22 |  | 18 | 83 | 0.012466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_884-2_0_4_line_23 |  | 20 | 21 | 0.042217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_884-2_0_4_line_24 |  | 21 | 24 | 0.00079807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_884-2_0_4_line_25 |  | 22 | 23 | 0.00775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_884-2_0_4_line_26 |  | 23 | 94 | 0.0016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_884-2_0_4_line_27 |  | 24 | 25 | 0.098823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_884-2_0_4_line_28 |  | 25 | 26 | 0.063802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_884-2_0_4_line_29 |  | 26 | 29 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_884-2_0_4_line_30 |  | 26 | 27 | 0.035273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_884-2_0_4_line_31 |  | 27 | 28 | 0.058848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_884-2_0_4_line_32 |  | 29 | 30 | 0.24076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_884-2_0_4_line_33 |  | 31 | 32 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_884-2_0_4_line_34 |  | 31 | 33 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_884-2_0_4_line_35 |  | 31 | 34 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_884-2_0_4_line_36 |  | 32 | 86 | 0.045022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_884-2_0_4_line_37 |  | 33 | 87 | 0.0067329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_884-2_0_4_line_38 |  | 34 | 84 | 0.023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_884-2_0_4_line_39 |  | 35 | 37 | 0.041516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_884-2_0_4_line_40 |  | 37 | 38 | 0.035659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_884-2_0_4_line_41 |  | 38 | 68 | 0.054122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_884-2_0_4_line_42 |  | 38 | 42 | 0.042127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_884-2_0_4_line_43 |  | 39 | 40 | 0.028462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_884-2_0_4_line_44 |  | 40 | 41 | 0.0012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_884-2_0_4_line_45 |  | 41 | 42 | 0.025959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_884-2_0_4_line_46 |  | 42 | 62 | 0.030348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_884-2_0_4_line_47 |  | 43 | 44 | 0.0021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_884-2_0_4_line_48 |  | 43 | 45 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_884-2_0_4_line_49 |  | 44 | 46 | 0.019052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_884-2_0_4_line_50 |  | 45 | 47 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_884-2_0_4_line_51 |  | 46 | 48 | 0.006621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_884-2_0_4_line_52 |  | 47 | 49 | 0.005573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_884-2_0_4_line_53 |  | 48 | 52 | 0.042346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_884-2_0_4_line_54 |  | 48 | 50 | 0.005414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_884-2_0_4_line_55 |  | 50 | 51 | 0.017902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_884-2_0_4_line_56 |  | 51 | 60 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_884-2_0_4_line_57 |  | 52 | 66 | 0.019183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_884-2_0_4_line_58 |  | 53 | 54 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_884-2_0_4_line_59 |  | 54 | 55 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_884-2_0_4_line_60 |  | 55 | 56 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_884-2_0_4_line_61 |  | 56 | 57 | 0.006286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_884-2_0_4_line_62 |  | 56 | 58 | 0.033432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_884-2_0_4_line_63 |  | 57 | 63 | 0.021927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_884-2_0_4_line_64 |  | 57 | 64 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_884-2_0_4_line_65 |  | 58 | 65 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_884-2_0_4_line_66 |  | 60 | 61 | 0.023392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_884-2_0_4_line_67 |  | 61 | 62 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_884-2_0_4_line_68 |  | 64 | 66 | 0.0078729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_884-2_0_4_line_69 |  | 65 | 67 | 0.0005363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_884-2_0_4_line_70 |  | 67 | 69 | 0.028413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_884-2_0_4_line_71 |  | 69 | 70 | 0.027613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_884-2_0_4_line_72 |  | 70 | 80 | 0.0066645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_884-2_0_4_line_73 |  | 70 | 83 | 0.013336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_884-2_0_4_line_74 |  | 71 | 72 | 0.004077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_884-2_0_4_line_75 |  | 71 | 73 | 0.017872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_884-2_0_4_line_76 |  | 72 | 74 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_884-2_0_4_line_77 |  | 73 | 75 | 0.0018886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_884-2_0_4_line_78 |  | 73 | 76 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_884-2_0_4_line_79 |  | 74 | 77 | 0.00059118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_884-2_0_4_line_80 |  | 75 | 78 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_884-2_0_4_line_81 |  | 76 | 79 | 0.037322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_884-2_0_4_line_82 |  | 78 | 80 | 0.0016807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_884-2_0_4_line_83 |  | 79 | 81 | 0.017664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_884-2_0_4_line_84 |  | 79 | 82 | 0.008249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_884-2_0_4_line_85 |  | 81 | 96 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_884-2_0_4_line_86 |  | 82 | 93 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_884-2_0_4_line_87 |  | 82 | 92 | 0.005041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_884-2_0_4_line_88 |  | 84 | 85 | 0.0041928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_884-2_0_4_line_89 |  | 86 | 90 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_884-2_0_4_line_90 |  | 86 | 91 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_884-2_0_4_line_91 |  | 87 | 88 | 0.0085879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_884-2_0_4_line_92 |  | 88 | 89 | 0.005083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_884-2_0_4_line_93 |  | 90 | 95 | 0.0047747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_884-2_0_4_line_94 |  | 91 | 92 | 0.022134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_884-2_0_4_line_95 |  | 93 | 94 | 0.0098331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_884-2_0_4_line_96 |  | 95 | 97 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_884-2_0_4_line_97 |  | 96 | 98 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_884-2_0_4_trafo_69 | 0.63 MVA 20/0.4 kV | 99 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2604093.3192 | 1190035.2724 | 2604091.0275 | 1190047.9633
1 | 2604099.1819 | 1190002.9705 | 2604094.5667 | 1190028.3918 | 2604093.3192 | 1190035.2724
2 | 2604135.3577 | 1190023.8615 | 2604128.7537 | 1190035.7076 | 2604118.5294 | 1190033.8664 | 2604111.599 | 1190032.4276 | 2604093.3192 | 1190035.2724
3 | 2604099.1819 | 1190002.9705 | 2604099.2357 | 1190002.3814 | 2604099.5354 | 1189998.9909
4 | 2604099.1819 | 1190002.9705 | 2604083.27 | 1189999.7582 | 2604080.4135 | 1189995.2539 | 2604071.7703 | 1189993.3164
5 | 2604154.4343 | 1190015.559 | 2604151.2535 | 1190016.9465 | 2604141.986 | 1190020.9756 | 2604135.3577 | 1190023.8615
6 | 2604055.7871 | 1189989.8902 | 2604059.0046 | 1189990.615 | 2604064.8448 | 1189991.7639 | 2604071.7703 | 1189993.3164
7 | 2604154.4343 | 1190015.559 | 2604152.2104 | 1190027.707
8 | 2604154.4343 | 1190015.559 | 2604158.2646 | 1189996.1746
9 | 2604152.2104 | 1190027.707 | 2604144.8746 | 1190067.7798 | 2604144.3705 | 1190070.5136
10 | 2604158.2646 | 1189996.1746 | 2604159.9447 | 1189987.6724
11 | 2604164.857 | 1189962.8127 | 2604159.9447 | 1189987.6724
12 | 2604055.7871 | 1189989.8902 | 2604058.0591 | 1189981.5647
13 | 2604055.7871 | 1189989.8902 | 2604051.723 | 1190006.323
14 | 2604385.2296 | 1189967.8993 | 2604385.9715 | 1189960.6039 | 2604390.0713 | 1189927.1561
15 | 2604385.2296 | 1189967.8993 | 2604383.2071 | 1189987.7858
16 | 2604329.9539 | 1189962.5203 | 2604385.2296 | 1189967.8993
17 | 2604394.3018 | 1189892.6411 | 2604390.0713 | 1189927.1561
18 | 2604380.8798 | 1190010.6708 | 2604383.2071 | 1189987.7858
19 | 2604329.9539 | 1189962.5203 | 2604328.2637 | 1189962.2621
20 | 2604394.3018 | 1189892.6411 | 2604464.4506 | 1189877.0643
21 | 2604380.8798 | 1190010.6708 | 2604435.801 | 1189999.6556
22 | 2604328.2637 | 1189962.2621 | 2604315.9405 | 1189960.3796
23 | 2604435.801 | 1189999.6556 | 2604477.194 | 1189991.3537
24 | 2604477.9765 | 1189991.1967 | 2604477.194 | 1189991.3537
25 | 2604317.3172 | 1190048.8858 | 2604325.067 | 1190048.818
26 | 2604317.3172 | 1190048.8858 | 2604315.7146 | 1190048.8998
27 | 2604509.7287 | 1190069.8285 | 2604509.0434 | 1190066.2825 | 2604493.1567 | 1189988.1521 | 2604477.9765 | 1189991.1967
28 | 2604521.8351 | 1190132.471 | 2604509.7287 | 1190069.8285
29 | 2604521.8351 | 1190132.471 | 2604538.141 | 1190128.1142
30 | 2604521.8351 | 1190132.471 | 2604513.644 | 1190134.7216 | 2604487.4389 | 1190140.2306
31 | 2604487.4389 | 1190140.2306 | 2604444.7703 | 1190149.2007 | 2604429.9691 | 1190152.8578
32 | 2604538.141 | 1190128.1142 | 2604773.276 | 1190076.3569
33 | 2604275.459 | 1190152.3032 | 2604278.0816 | 1190135.675
34 | 2604275.459 | 1190152.3032 | 2604260.2844 | 1190149.899
35 | 2604275.459 | 1190152.3032 | 2604272.5333 | 1190170.8494
36 | 2604286.1161 | 1190091.3788 | 2604279.3422 | 1190127.6819 | 2604278.0816 | 1190135.675
37 | 2604260.2844 | 1190149.899 | 2604253.6344 | 1190148.8455
38 | 2604268.8526 | 1190194.1827 | 2604272.5333 | 1190170.8494
39 | 2604066.1155 | 1189941.0691 | 2604066.4317 | 1189944.9627 | 2604065.8869 | 1189949.9761 | 2604064.2721 | 1189958.7463 | 2604061.6654 | 1189968.3496 | 2604058.0591 | 1189981.5647
40 | 2604058.3208 | 1189906.7374 | 2604058.3465 | 1189913.9412 | 2604058.5591 | 1189915.2864 | 2604059.8829 | 1189919.9564 | 2604064.6341 | 1189930.4984 | 2604066.0308 | 1189940.0266 | 2604066.1155 | 1189941.0691
41 | 2604058.3208 | 1189906.7374 | 2604051.0275 | 1189911.8574 | 2604047.0225 | 1189914.1782 | 2604021.6006 | 1189923.6663 | 2604010.9371 | 1189928.384 | 2604009.3931 | 1189929.2831
42 | 2604099.2566 | 1189903.4297 | 2604080.266 | 1189908.1083 | 2604072.6166 | 1189909.7707 | 2604067.5684 | 1189909.8563 | 2604063.2607 | 1189908.9085 | 2604058.3208 | 1189906.7374
43 | 2604092.9613 | 1189958.5327 | 2604096.4991 | 1189944.3492 | 2604097.4299 | 1189930.5369
44 | 2604097.5113 | 1189929.3295 | 2604097.4299 | 1189930.5369
45 | 2604099.2566 | 1189903.4297 | 2604097.5113 | 1189929.3295
46 | 2604099.2566 | 1189903.4297 | 2604111.4732 | 1189902.5709 | 2604121.9201 | 1189902.589 | 2604129.6601 | 1189902.3942
47 | 2604214.819 | 1189915.3895 | 2604214.8033 | 1189917.5827
48 | 2604231.2236 | 1189917.5941 | 2604214.8033 | 1189917.5827 | 2604214.8033 | 1189917.5827
49 | 2604214.9553 | 1189896.3384 | 2604214.819 | 1189915.3895
50 | 2604231.2236 | 1189917.5941 | 2604246.2443 | 1189917.6046
51 | 2604213.1143 | 1189889.9782 | 2604214.9553 | 1189896.3384
52 | 2604251.8173 | 1189917.6085 | 2604246.2443 | 1189917.6046
53 | 2604213.1143 | 1189889.9782 | 2604252.6641 | 1189874.847
54 | 2604213.1143 | 1189889.9782 | 2604207.9888 | 1189891.7645
55 | 2604207.9888 | 1189891.7645 | 2604190.7576 | 1189896.6187
56 | 2604168.9628 | 1189900.9536 | 2604187.9908 | 1189897.3981 | 2604190.7576 | 1189896.6187
57 | 2604252.6641 | 1189874.847 | 2604270.5804 | 1189867.9925
58 | 2604342.0843 | 1189839.0518 | 2604328.9858 | 1189844.4298
59 | 2604328.9858 | 1189844.4298 | 2604308.1331 | 1189852.9915
60 | 2604295.4006 | 1189858.2192 | 2604308.1331 | 1189852.9915
61 | 2604289.573 | 1189860.6163 | 2604295.4006 | 1189858.2192
62 | 2604295.4006 | 1189858.2192 | 2604298.5836 | 1189891.4993
63 | 2604289.573 | 1189860.6163 | 2604288.1147 | 1189852.3777 | 2604291.4136 | 1189839.2251
64 | 2604289.573 | 1189860.6163 | 2604278.49 | 1189864.9663 | 2604277.9335 | 1189865.1793
65 | 2604298.5836 | 1189891.4993 | 2604299.5932 | 1189902.055
66 | 2604168.9628 | 1189900.9536 | 2604149.822 | 1189902.23 | 2604145.6136 | 1189902.2643
67 | 2604129.6601 | 1189902.3942 | 2604145.6136 | 1189902.2643
68 | 2604277.9335 | 1189865.1793 | 2604270.5804 | 1189867.9925
69 | 2604299.6443 | 1189902.5889 | 2604299.5932 | 1189902.055
70 | 2604299.6443 | 1189902.5889 | 2604302.3494 | 1189930.8726
71 | 2604302.757 | 1189958.3655 | 2604303.7237 | 1189950.0397 | 2604303.6892 | 1189944.8814 | 2604302.3494 | 1189930.8726
72 | 2604302.757 | 1189958.3655 | 2604301.988 | 1189964.9856
73 | 2604302.757 | 1189958.3655 | 2604315.9405 | 1189960.3796
74 | 2604281.7631 | 1189985.1588 | 2604277.6861 | 1189985.1394
75 | 2604299.6345 | 1189985.244 | 2604281.7631 | 1189985.1588
76 | 2604259.5294 | 1189985.0528 | 2604277.6861 | 1189985.1394
77 | 2604299.6345 | 1189985.244 | 2604299.8524 | 1189983.368
78 | 2604299.6345 | 1189985.244 | 2604297.4714 | 1190003.8407
79 | 2604258.9382 | 1189985.05 | 2604259.5294 | 1189985.0528
80 | 2604301.794 | 1189966.6551 | 2604299.8524 | 1189983.368
81 | 2604293.1593 | 1190040.913 | 2604297.4714 | 1190003.8407
82 | 2604301.988 | 1189964.9856 | 2604301.794 | 1189966.6551
83 | 2604293.1593 | 1190040.913 | 2604275.727 | 1190038.0631
84 | 2604293.1593 | 1190040.913 | 2604292.208 | 1190049.1055
85 | 2604275.727 | 1190038.0631 | 2604259.6271 | 1190035.431 | 2604259.6271 | 1190035.431
86 | 2604292.208 | 1190049.1055 | 2604305.8819 | 1190048.9858
87 | 2604292.208 | 1190049.1055 | 2604291.9011 | 1190051.7622 | 2604291.5701 | 1190054.1055
88 | 2604268.8526 | 1190194.1827 | 2604268.1993 | 1190198.3243
89 | 2604286.1161 | 1190091.3788 | 2604271.0254 | 1190088.8048
90 | 2604286.1161 | 1190091.3788 | 2604286.8892 | 1190087.2439 | 2604288.4744 | 1190076.0217
91 | 2604253.6344 | 1190148.8455 | 2604245.1523 | 1190147.5016
92 | 2604241.3831 | 1190150.9119 | 2604245.1523 | 1190147.5016
93 | 2604271.0254 | 1190088.8048 | 2604266.3187 | 1190088.0019
94 | 2604291.5701 | 1190054.1055 | 2604288.4744 | 1190076.0217
95 | 2604315.7146 | 1190048.8998 | 2604305.8819 | 1190048.9858
96 | 2604253.5907 | 1190085.8309 | 2604266.3187 | 1190088.0019
97 | 2604259.6271 | 1190035.431 | 2604256.6552 | 1190050.5043

## bus_geodata
| x | y | coords
0 | 2604091.0275 | 1190047.9633
1 | 2604093.3192 | 1190035.2724
2 | 2604099.1819 | 1190002.9705
3 | 2604135.3577 | 1190023.8615
4 | 2604099.5354 | 1189998.9909
5 | 2604071.7703 | 1189993.3164
6 | 2604154.4343 | 1190015.559
7 | 2604152.2104 | 1190027.707
8 | 2604158.2646 | 1189996.1746
9 | 2604144.3705 | 1190070.5136
10 | 2604159.9447 | 1189987.6724
11 | 2604055.7871 | 1189989.8902
12 | 2604385.2296 | 1189967.8993
13 | 2604390.0713 | 1189927.1561
14 | 2604383.2071 | 1189987.7858
15 | 2604329.9539 | 1189962.5203
16 | 2604394.3018 | 1189892.6411
17 | 2604380.8798 | 1190010.6708
18 | 2604328.2637 | 1189962.2621
19 | 2604464.4506 | 1189877.0643
20 | 2604435.801 | 1189999.6556
21 | 2604477.194 | 1189991.3537
22 | 2604325.067 | 1190048.818
23 | 2604317.3172 | 1190048.8858
24 | 2604477.9765 | 1189991.1967
25 | 2604509.7287 | 1190069.8285
26 | 2604521.8351 | 1190132.471
27 | 2604487.4389 | 1190140.2306
28 | 2604429.9691 | 1190152.8578
29 | 2604538.141 | 1190128.1142
30 | 2604773.276 | 1190076.3569
31 | 2604275.459 | 1190152.3032
32 | 2604278.0816 | 1190135.675
33 | 2604260.2844 | 1190149.899
34 | 2604272.5333 | 1190170.8494
35 | 2604058.0591 | 1189981.5647
36 | 2604051.723 | 1190006.323
37 | 2604066.1155 | 1189941.0691
38 | 2604058.3208 | 1189906.7374
39 | 2604092.9613 | 1189958.5327
40 | 2604097.4299 | 1189930.5369
41 | 2604097.5113 | 1189929.3295
42 | 2604099.2566 | 1189903.4297
43 | 2604214.8033 | 1189917.5827
44 | 2604214.819 | 1189915.3895
45 | 2604231.2236 | 1189917.5941
46 | 2604214.9553 | 1189896.3384
47 | 2604246.2443 | 1189917.6046
48 | 2604213.1143 | 1189889.9782
49 | 2604251.8173 | 1189917.6085
50 | 2604207.9888 | 1189891.7645
51 | 2604190.7576 | 1189896.6187
52 | 2604252.6641 | 1189874.847
53 | 2604342.0843 | 1189839.0518
54 | 2604328.9858 | 1189844.4298
55 | 2604308.1331 | 1189852.9915
56 | 2604295.4006 | 1189858.2192
57 | 2604289.573 | 1189860.6163
58 | 2604298.5836 | 1189891.4993
59 | 2604164.857 | 1189962.8127
60 | 2604168.9628 | 1189900.9536
61 | 2604145.6136 | 1189902.2643
62 | 2604129.6601 | 1189902.3942
63 | 2604291.4136 | 1189839.2251
64 | 2604277.9335 | 1189865.1793
65 | 2604299.5932 | 1189902.055
66 | 2604270.5804 | 1189867.9925
67 | 2604299.6443 | 1189902.5889
68 | 2604009.3931 | 1189929.2831
69 | 2604302.3494 | 1189930.8726
70 | 2604302.757 | 1189958.3655
71 | 2604281.7631 | 1189985.1588
72 | 2604277.6861 | 1189985.1394
73 | 2604299.6345 | 1189985.244
74 | 2604259.5294 | 1189985.0528
75 | 2604299.8524 | 1189983.368
76 | 2604297.4714 | 1190003.8407
77 | 2604258.9382 | 1189985.05
78 | 2604301.794 | 1189966.6551
79 | 2604293.1593 | 1190040.913
80 | 2604301.988 | 1189964.9856
81 | 2604275.727 | 1190038.0631
82 | 2604292.208 | 1190049.1055
83 | 2604315.9405 | 1189960.3796
84 | 2604268.8526 | 1190194.1827
85 | 2604268.1993 | 1190198.3243
86 | 2604286.1161 | 1190091.3788
87 | 2604253.6344 | 1190148.8455
88 | 2604245.1523 | 1190147.5016
89 | 2604241.3831 | 1190150.9119
90 | 2604271.0254 | 1190088.8048
91 | 2604288.4744 | 1190076.0217
92 | 2604291.5701 | 1190054.1055
93 | 2604305.8819 | 1190048.9858
94 | 2604315.7146 | 1190048.8998
95 | 2604266.3187 | 1190088.0019
96 | 2604259.6271 | 1190035.431
97 | 2604253.5907 | 1190085.8309
98 | 2604256.6552 | 1190050.5043
99 | 2604253.1503 | 1189985.0224

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1