## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_884-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_884-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_884-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_884-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_884-3_0_5_node_120 | 0.4 | n |  | TRUE
5 | bus_LV_884-3_0_5_node_118 | 0.4 | n |  | TRUE
6 | bus_LV_884-3_0_5_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_884-3_0_5_node_111 | 0.4 | n |  | TRUE
8 | bus_LV_884-3_0_5_node_108 | 0.4 | n |  | TRUE
9 | bus_LV_884-3_0_5_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_884-3_0_5_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_884-3_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_884-3_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_884-3_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_884-3_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_884-3_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_884-3_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_884-3_0_5_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_884-3_0_5_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_884-3_0_5_node_101 | 0.4 | n |  | TRUE
20 | bus_LV_884-3_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_884-3_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_884-3_0_5_node_106 | 0.4 | n |  | TRUE
23 | bus_LV_884-3_0_5_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_884-3_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_884-3_0_5_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_884-3_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_884-3_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_884-3_0_5_node_100 | 0.4 | n |  | TRUE
29 | bus_LV_884-3_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_884-3_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_884-3_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_884-3_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_884-3_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_884-3_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_884-3_0_5_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_884-3_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_884-3_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_884-3_0_5_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_884-3_0_5_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_884-3_0_5_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_884-3_0_5_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_884-3_0_5_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_884-3_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_884-3_0_5_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_884-3_0_5_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_884-3_0_5_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_884-3_0_5_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_884-3_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_884-3_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_884-3_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_884-3_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_884-3_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_884-3_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_884-3_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_884-3_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_884-3_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_884-3_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_884-3_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_884-3_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_884-3_0_5_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_884-3_0_5_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_884-3_0_5_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_884-3_0_5_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_884-3_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_884-3_0_5_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_884-3_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_884-3_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_884-3_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_884-3_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_884-3_0_5_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_884-3_0_5_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_884-3_0_5_node_116 | 0.4 | n |  | TRUE
73 | bus_LV_884-3_0_5_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_884-3_0_5_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_884-3_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_884-3_0_5_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_884-3_0_5_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_884-3_0_5_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_884-3_0_5_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_884-3_0_5_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_884-3_0_5_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_884-3_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_884-3_0_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_884-3_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_884-3_0_5_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_884-3_0_5_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_884-3_0_5_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_884-3_0_5_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_884-3_0_5_node_53 | 0.4 | n |  | TRUE
90 | bus_LV_884-3_0_5_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_884-3_0_5_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_884-3_0_5_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_884-3_0_5_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_884-3_0_5_node_59 | 0.4 | n |  | TRUE
95 | bus_LV_884-3_0_5_node_61 | 0.4 | n |  | TRUE
96 | bus_LV_884-3_0_5_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_884-3_0_5_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_884-3_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_884-3_0_5_node_69 | 0.4 | n |  | TRUE
100 | bus_LV_884-3_0_5_node_70 | 0.4 | n |  | TRUE
101 | bus_LV_884-3_0_5_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_884-3_0_5_node_115 | 0.4 | n |  | TRUE
103 | bus_LV_884-3_0_5_node_114 | 0.4 | n |  | TRUE
104 | bus_LV_884-3_0_5_node_74 | 0.4 | n |  | TRUE
105 | bus_LV_884-3_0_5_node_75 | 0.4 | n |  | TRUE
106 | bus_LV_884-3_0_5_node_76 | 0.4 | n |  | TRUE
107 | bus_LV_884-3_0_5_node_77 | 0.4 | n |  | TRUE
108 | bus_LV_884-3_0_5_node_78 | 0.4 | n |  | TRUE
109 | bus_LV_884-3_0_5_node_99 | 0.4 | n |  | TRUE
110 | bus_LV_884-3_0_5_node_93 | 0.4 | n |  | TRUE
111 | bus_LV_884-3_0_5_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_884-3_0_5_node_91 | 0.4 | n |  | TRUE
113 | bus_LV_884-3_0_5_node_98 | 0.4 | n |  | TRUE
114 | bus_LV_884-3_0_5_node_88 | 0.4 | n |  | TRUE
115 | bus_LV_884-3_0_5_node_90 | 0.4 | n |  | TRUE
116 | bus_LV_884-3_0_5_node_103 | 0.4 | n |  | TRUE
117 | bus_LV_884-3_0_5_node_110 | 0.4 | n |  | TRUE
118 | bus_LV_884-3_0_5_node_112 | 0.4 | n |  | TRUE
119 | bus_LV_884-3_0_5_node_113 | 0.4 | n |  | TRUE
120 | bus_MV_121_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_884-3_0_5_load_0 | 0 | 0.0039372 | 0.00098676 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_884-3_0_5_load_3 | 3 | 0.0011533 | 0.00028904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_884-3_0_5_load_120 | 4 | 0.001339 | 0.00033558 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_884-3_0_5_load_118 | 5 | 0.0030686 | 0.00076906 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_884-3_0_5_load_108 | 8 | 0.00043099 | 0.00010802 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_884-3_0_5_load_109 | 9 | 0.00098798 | 0.00024761 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_884-3_0_5_load_4 | 10 | 0.0020109 | 0.00050398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_884-3_0_5_load_5 | 11 | 0.017412 | 0.0043638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_884-3_0_5_load_7 | 13 | 0.0021197 | 0.00053124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_884-3_0_5_load_9 | 14 | 0.012753 | 0.0031961 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_884-3_0_5_load_21 | 18 | 0.0078022 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_884-3_0_5_load_101 | 19 | 0.005368 | 0.0013453 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_884-3_0_5_load_14 | 20 | 0.0035297 | 0.00088462 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_884-3_0_5_load_10 | 21 | 0.0015272 | 0.00038276 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_884-3_0_5_load_106 | 22 | 0.0039325 | 0.00098558 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_884-3_0_5_load_102 | 23 | 0.006769 | 0.0016965 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_884-3_0_5_load_11 | 24 | 0.00017968 | 4.5033e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_884-3_0_5_load_100 | 28 | 0.026089 | 0.0065385 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_884-3_0_5_load_19 | 29 | 0.0029856 | 0.00074826 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_884-3_0_5_load_17 | 30 | 0.0015929 | 0.00039923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_884-3_0_5_load_24 | 32 | 0.0090139 | 0.0022591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_884-3_0_5_load_18 | 33 | 0.016738 | 0.0041948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_884-3_0_5_load_15 | 34 | 0.0014244 | 0.000357 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_884-3_0_5_load_16 | 35 | 0.0032366 | 0.00081117 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_884-3_0_5_load_20 | 36 | 0.016772 | 0.0042034 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_884-3_0_5_load_71 | 37 | 0.0030625 | 0.00076752 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_884-3_0_5_load_79 | 39 | 0.012514 | 0.0031362 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_884-3_0_5_load_107 | 42 | 0.0071783 | 0.001799 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_884-3_0_5_load_121 | 44 | 0.0039214 | 0.0009828 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_884-3_0_5_load_82 | 46 | 0.0014575 | 0.00036528 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_884-3_0_5_load_95 | 47 | 0.0071246 | 0.0017856 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_884-3_0_5_load_29 | 48 | 0.0037555 | 0.00094121 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_884-3_0_5_load_31 | 50 | 0.003441 | 0.00086239 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_884-3_0_5_load_39 | 52 | 0.0015479 | 0.00038794 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_884-3_0_5_load_33 | 54 | 0.0028122 | 0.0007048 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_884-3_0_5_load_34 | 55 | 0.0028267 | 0.00070843 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_884-3_0_5_load_35 | 56 | 0.0049248 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_884-3_0_5_load_36 | 57 | 0.0028333 | 0.0007101 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_884-3_0_5_load_60 | 59 | 0.0028802 | 0.00072184 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_884-3_0_5_load_62 | 60 | 0.0022627 | 0.00056709 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_884-3_0_5_load_54 | 61 | 0.0020777 | 0.00052071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_884-3_0_5_load_63 | 62 | 0.0016165 | 0.00040514 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_884-3_0_5_load_40 | 63 | 0.0031432 | 0.00078775 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_884-3_0_5_load_41 | 64 | 0.0024591 | 0.00061632 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_884-3_0_5_load_43 | 66 | 0.0042563 | 0.0010667 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_884-3_0_5_load_44 | 67 | 0.0022412 | 0.00056169 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_884-3_0_5_load_57 | 69 | 0.0030308 | 0.00075958 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_884-3_0_5_load_117 | 71 | 0.0083351 | 0.002089 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_884-3_0_5_load_116 | 72 | 0.0062903 | 0.0015765 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_884-3_0_5_load_56 | 73 | 0.0038694 | 0.00096976 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_884-3_0_5_load_46 | 75 | 0.0038347 | 0.00096106 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_884-3_0_5_load_47 | 76 | 0.0062812 | 0.0015742 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_884-3_0_5_load_51 | 80 | 0.0064571 | 0.0016183 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_884-3_0_5_load_65 | 81 | 0.013322 | 0.0033388 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_884-3_0_5_load_66 | 82 | 0.0058963 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_884-3_0_5_load_85 | 83 | 0.0043894 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_884-3_0_5_load_83 | 84 | 0.0034301 | 0.00085966 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_884-3_0_5_load_52 | 85 | 0.0021578 | 0.0005408 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_884-3_0_5_load_86 | 86 | 0.0057636 | 0.0014445 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_884-3_0_5_load_119 | 87 | 0.003647 | 0.00091402 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_884-3_0_5_load_84 | 88 | 0.0065469 | 0.0016408 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_884-3_0_5_load_55 | 90 | 0.0034448 | 0.00086335 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_884-3_0_5_load_67 | 91 | 0.0034662 | 0.00086872 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_884-3_0_5_load_68 | 92 | 0.0034235 | 0.00085801 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_884-3_0_5_load_58 | 93 | 0.0020133 | 0.00050458 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_884-3_0_5_load_61 | 95 | 0.0029725 | 0.00074497 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_884-3_0_5_load_64 | 96 | 0.0018801 | 0.0004712 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_884-3_0_5_load_89 | 97 | 0.0034724 | 0.00087025 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_884-3_0_5_load_87 | 98 | 0.0034724 | 0.00087026 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_884-3_0_5_load_69 | 99 | 0.0030553 | 0.00076574 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_884-3_0_5_load_70 | 100 | 0.012482 | 0.0031282 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_884-3_0_5_load_72 | 101 | 0.0030546 | 0.00076556 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_884-3_0_5_load_115 | 102 | 0.0030491 | 0.00076417 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_884-3_0_5_load_114 | 103 | 0.0031081 | 0.00077896 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_884-3_0_5_load_74 | 104 | 0.014401 | 0.0036092 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_884-3_0_5_load_75 | 105 | 0.014398 | 0.0036084 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_884-3_0_5_load_99 | 109 | 0.0066579 | 0.0016686 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_884-3_0_5_load_93 | 110 | 0.0066279 | 0.0016611 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_884-3_0_5_load_92 | 111 | 0.014454 | 0.0036224 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_884-3_0_5_load_98 | 113 | 0.0027613 | 0.00069204 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_884-3_0_5_load_88 | 114 | 0.0034696 | 0.00086957 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_884-3_0_5_load_90 | 115 | 0.0034447 | 0.00086332 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_884-3_0_5_load_103 | 116 | 0.0021132 | 0.00052962 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_884-3_0_5_load_112 | 118 | 0.00081651 | 0.00020464 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_884-3_0_5_load_113 | 119 | 0.0019856 | 0.00049763 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 107 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_884-3_0_5_line_0 |  | 0 | 1 | 0.056624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_884-3_0_5_line_1 |  | 0 | 2 | 0.024634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_884-3_0_5_line_2 |  | 1 | 3 | 0.071608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_884-3_0_5_line_3 |  | 2 | 4 | 0.11525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_884-3_0_5_line_4 |  | 3 | 8 | 0.017957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_884-3_0_5_line_5 |  | 5 | 6 | 0.013882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_884-3_0_5_line_6 |  | 5 | 7 | 0.32094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_884-3_0_5_line_7 |  | 6 | 37 | 0.017973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_884-3_0_5_line_8 |  | 7 | 118 | 0.075916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_884-3_0_5_line_9 |  | 7 | 117 | 0.047384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_884-3_0_5_line_10 |  | 8 | 9 | 0.05655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_884-3_0_5_line_11 |  | 9 | 117 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_884-3_0_5_line_12 |  | 10 | 11 | 0.0027932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_884-3_0_5_line_13 |  | 10 | 12 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_884-3_0_5_line_14 |  | 11 | 13 | 0.032386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_884-3_0_5_line_15 |  | 12 | 14 | 0.016974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_884-3_0_5_line_16 |  | 13 | 15 | 0.011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_884-3_0_5_line_17 |  | 14 | 19 | 0.02164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_884-3_0_5_line_18 |  | 15 | 20 | 0.0077874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_884-3_0_5_line_19 |  | 15 | 21 | 0.023402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_884-3_0_5_line_20 |  | 16 | 17 | 0.040757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_884-3_0_5_line_21 |  | 16 | 18 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_884-3_0_5_line_22 |  | 17 | 22 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_884-3_0_5_line_23 |  | 19 | 23 | 0.0062535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_884-3_0_5_line_24 |  | 20 | 29 | 0.013981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_884-3_0_5_line_25 |  | 21 | 24 | 0.00051528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_884-3_0_5_line_26 |  | 22 | 40 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_884-3_0_5_line_27 |  | 23 | 116 | 0.0033434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_884-3_0_5_line_28 |  | 24 | 25 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_884-3_0_5_line_29 |  | 25 | 26 | 0.075698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_884-3_0_5_line_30 |  | 25 | 27 | 0.05358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_884-3_0_5_line_31 |  | 25 | 28 | 0.0458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_884-3_0_5_line_32 |  | 26 | 30 | 0.038901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_884-3_0_5_line_33 |  | 27 | 31 | 0.017792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_884-3_0_5_line_34 |  | 27 | 32 | 0.024275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_884-3_0_5_line_35 |  | 29 | 33 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_884-3_0_5_line_36 |  | 30 | 35 | 0.038338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_884-3_0_5_line_37 |  | 31 | 41 | 0.034383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_884-3_0_5_line_38 |  | 31 | 42 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_884-3_0_5_line_39 |  | 33 | 36 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_884-3_0_5_line_40 |  | 34 | 35 | 0.063949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_884-3_0_5_line_41 |  | 37 | 99 | 0.0063525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_884-3_0_5_line_42 |  | 38 | 39 | 0.012378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_884-3_0_5_line_43 |  | 38 | 40 | 0.024532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_884-3_0_5_line_44 |  | 39 | 106 | 0.035355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_884-3_0_5_line_45 |  | 40 | 116 | 0.0076397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_884-3_0_5_line_46 |  | 41 | 46 | 0.026631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_884-3_0_5_line_47 |  | 43 | 44 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_884-3_0_5_line_48 |  | 43 | 45 | 0.024659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_884-3_0_5_line_49 |  | 45 | 47 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_884-3_0_5_line_50 |  | 46 | 70 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_884-3_0_5_line_51 |  | 47 | 112 | 0.0036163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_884-3_0_5_line_52 |  | 48 | 49 | 0.023601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_884-3_0_5_line_53 |  | 48 | 50 | 0.0087217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_884-3_0_5_line_54 |  | 49 | 51 | 0.001358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_884-3_0_5_line_55 |  | 51 | 52 | 0.038903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_884-3_0_5_line_56 |  | 52 | 53 | 0.0087554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_884-3_0_5_line_57 |  | 53 | 58 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_884-3_0_5_line_58 |  | 53 | 57 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_884-3_0_5_line_59 |  | 54 | 55 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_884-3_0_5_line_60 |  | 54 | 56 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_884-3_0_5_line_61 |  | 55 | 57 | 0.0045081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_884-3_0_5_line_62 |  | 58 | 59 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_884-3_0_5_line_63 |  | 58 | 60 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_884-3_0_5_line_64 |  | 59 | 61 | 0.006408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_884-3_0_5_line_65 |  | 60 | 62 | 0.025805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_884-3_0_5_line_66 |  | 61 | 89 | 0.0067529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_884-3_0_5_line_67 |  | 62 | 96 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_884-3_0_5_line_68 |  | 63 | 64 | 0.025268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_884-3_0_5_line_69 |  | 63 | 65 | 0.070418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_884-3_0_5_line_70 |  | 64 | 66 | 0.020835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_884-3_0_5_line_71 |  | 65 | 67 | 0.0069113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_884-3_0_5_line_72 |  | 65 | 68 | 0.007819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_884-3_0_5_line_73 |  | 66 | 69 | 0.029868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_884-3_0_5_line_74 |  | 67 | 70 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_884-3_0_5_line_75 |  | 68 | 71 | 0.0096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_884-3_0_5_line_76 |  | 68 | 72 | 0.038358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_884-3_0_5_line_77 |  | 69 | 73 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_884-3_0_5_line_78 |  | 70 | 74 | 0.027473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_884-3_0_5_line_79 |  | 73 | 93 | 0.029564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_884-3_0_5_line_80 |  | 74 | 112 | 0.015555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_884-3_0_5_line_81 |  | 74 | 86 | 0.0091065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_884-3_0_5_line_82 |  | 75 | 76 | 0.0063544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_884-3_0_5_line_83 |  | 75 | 77 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_884-3_0_5_line_84 |  | 76 | 78 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_884-3_0_5_line_85 |  | 77 | 79 | 0.040381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_884-3_0_5_line_86 |  | 77 | 80 | 0.013947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_884-3_0_5_line_87 |  | 78 | 81 | 0.016723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_884-3_0_5_line_88 |  | 78 | 82 | 0.032098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_884-3_0_5_line_89 |  | 79 | 83 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_884-3_0_5_line_90 |  | 79 | 84 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_884-3_0_5_line_91 |  | 80 | 85 | 0.00040786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_884-3_0_5_line_92 |  | 82 | 86 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_884-3_0_5_line_93 |  | 83 | 87 | 0.0078927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_884-3_0_5_line_94 |  | 84 | 88 | 0.0086353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_884-3_0_5_line_95 |  | 85 | 89 | 0.016933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_884-3_0_5_line_96 |  | 89 | 90 | 0.017614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_884-3_0_5_line_97 |  | 90 | 91 | 0.0063249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_884-3_0_5_line_98 |  | 91 | 92 | 0.0061399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_884-3_0_5_line_99 |  | 92 | 97 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_884-3_0_5_line_100 |  | 93 | 94 | 0.041505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_884-3_0_5_line_101 |  | 94 | 95 | 0.015776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_884-3_0_5_line_102 |  | 97 | 98 | 0.0061811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_884-3_0_5_line_103 |  | 98 | 114 | 0.0063299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_884-3_0_5_line_104 |  | 99 | 100 | 0.00070977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_884-3_0_5_line_105 |  | 100 | 101 | 0.0056545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_884-3_0_5_line_106 |  | 101 | 102 | 0.0063523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_884-3_0_5_line_107 |  | 102 | 103 | 0.0064183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_884-3_0_5_line_108 |  | 103 | 109 | 0.033704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_884-3_0_5_line_109 |  | 104 | 105 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_884-3_0_5_line_110 |  | 104 | 106 | 0.021236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_884-3_0_5_line_111 |  | 105 | 107 | 0.028155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_884-3_0_5_line_112 |  | 106 | 108 | 0.027376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_884-3_0_5_line_113 |  | 108 | 109 | 0.0049106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_884-3_0_5_line_114 |  | 108 | 110 | 0.007512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_884-3_0_5_line_115 |  | 110 | 111 | 0.027366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_884-3_0_5_line_116 |  | 112 | 113 | 0.030091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_884-3_0_5_line_117 |  | 114 | 115 | 0.0061628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_884-3_0_5_line_118 |  | 118 | 119 | 0.0019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_884-3_0_5_trafo_77 | 0.63 MVA 20/0.4 kV | 120 | 107 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2605078.8132 | 1189563.2474 | 2605071.3292 | 1189530.3462 | 2605067.4262 | 1189510.3103 | 2605067.5567 | 1189507.8441
1 | 2605069.9576 | 1189483.3983 | 2605068.5187 | 1189489.6671 | 2605067.5567 | 1189507.8441
2 | 2605078.8132 | 1189563.2474 | 2605075.9049 | 1189566.6578 | 2605073.4446 | 1189572.3699 | 2605071.1092 | 1189574.5913 | 2605067.6607 | 1189576.4338 | 2605047.0745 | 1189581.1414 | 2605037.2042 | 1189584.0458 | 2605022.3982 | 1189589.0361 | 2605016.2202 | 1189591.7364
3 | 2605069.9576 | 1189483.3983 | 2604954.7093 | 1189482.2057
4 | 2604999.7658 | 1189598.9282 | 2605016.2202 | 1189591.7364
5 | 2604569.3681 | 1189679.4811 | 2604571.8544 | 1189665.8234
6 | 2604571.8544 | 1189665.8234 | 2604892.389 | 1189649.7283
7 | 2604569.3681 | 1189679.4811 | 2604551.6087 | 1189676.717
8 | 2604892.389 | 1189649.7283 | 2604897.8933 | 1189725.445
9 | 2604892.389 | 1189649.7283 | 2604916.7774 | 1189639.0313 | 2604931.7599 | 1189632.4067 | 2604932.3201 | 1189628.0715
10 | 2604999.7658 | 1189598.9282 | 2604949.69 | 1189620.8152 | 2604947.9372 | 1189621.5474
11 | 2604932.3201 | 1189628.0715 | 2604947.9372 | 1189621.5474
12 | 2604492.6946 | 1189796.9549 | 2604489.971 | 1189797.5745
13 | 2604510.924 | 1189792.8077 | 2604492.6946 | 1189796.9549
14 | 2604489.971 | 1189797.5745 | 2604458.3919 | 1189804.7588
15 | 2604510.924 | 1189792.8077 | 2604514.7324 | 1189776.266
16 | 2604447.5064 | 1189807.2352 | 2604458.3919 | 1189804.7588
17 | 2604518.1998 | 1189755.0225 | 2604517.3543 | 1189759.4618 | 2604517.5033 | 1189764.231 | 2604514.7324 | 1189776.266
18 | 2604447.5064 | 1189807.2352 | 2604448.5449 | 1189799.5173
19 | 2604447.5064 | 1189807.2352 | 2604424.687 | 1189812.4254
20 | 2604559.0106 | 1189742.673 | 2604552.0336 | 1189782.8221
21 | 2604552.0336 | 1189782.8221 | 2604551.3182 | 1189811.1705
22 | 2604559.0106 | 1189742.673 | 2604544.1398 | 1189739.9775
23 | 2604518.1998 | 1189755.0225 | 2604519.3698 | 1189748.8794
24 | 2604450.4093 | 1189785.6615 | 2604448.5449 | 1189799.5173
25 | 2604424.687 | 1189812.4254 | 2604424.1846 | 1189812.5396
26 | 2604523.8883 | 1189740.5568 | 2604533.2971 | 1189742.2647 | 2604538.2563 | 1189738.9111 | 2604544.1398 | 1189739.9775
27 | 2604519.9953 | 1189745.595 | 2604519.3698 | 1189748.8794
28 | 2604405.5732 | 1189817.7991 | 2604416.3735 | 1189814.3162 | 2604424.1846 | 1189812.5396
29 | 2604405.5732 | 1189817.7991 | 2604394.3018 | 1189892.6411
30 | 2604405.5732 | 1189817.7991 | 2604390.7384 | 1189821.935 | 2604380.6704 | 1189825.0071 | 2604371.1668 | 1189827.9685 | 2604366.2852 | 1189829.7103 | 2604354.3786 | 1189834.004
31 | 2604405.5732 | 1189817.7991 | 2604411.7016 | 1189772.4112
32 | 2604394.3018 | 1189892.6411 | 2604432.2781 | 1189884.2083
33 | 2604354.3786 | 1189834.004 | 2604353.7432 | 1189816.2276
34 | 2604354.3786 | 1189834.004 | 2604331.9231 | 1189843.2238
35 | 2604452.3765 | 1189771.0412 | 2604450.4093 | 1189785.6615
36 | 2604469.7041 | 1189875.8977 | 2604432.2781 | 1189884.2083
37 | 2604353.7432 | 1189816.2276 | 2604358.8004 | 1189782.2246
38 | 2604353.7432 | 1189816.2276 | 2604335.0381 | 1189814.1562
39 | 2604454.5527 | 1189754.8686 | 2604452.3765 | 1189771.0412
40 | 2604532.4053 | 1189863.3496 | 2604485.9676 | 1189872.2863 | 2604469.7041 | 1189875.8977
41 | 2604545.3318 | 1189675.74 | 2604551.6087 | 1189676.717
42 | 2604527.9632 | 1189716.3694 | 2604515.7941 | 1189714.1071
43 | 2604527.9632 | 1189716.3694 | 2604523.8883 | 1189740.5568
44 | 2604491.6508 | 1189694.0197 | 2604492.7751 | 1189699.8791 | 2604496.6887 | 1189707.9307 | 2604502.2071 | 1189711.5811 | 2604515.7941 | 1189714.1071
45 | 2604523.8883 | 1189740.5568 | 2604520.8452 | 1189741.1326 | 2604519.9953 | 1189745.595
46 | 2604358.8004 | 1189782.2246 | 2604360.7867 | 1189766.5178 | 2604360.6266 | 1189755.7197
47 | 2604303.6277 | 1189794.7808 | 2604308.2782 | 1189796.4294 | 2604309.4281 | 1189798.5757 | 2604308.4251 | 1189804.3336
48 | 2604303.6277 | 1189794.7808 | 2604311.4662 | 1189774.1867 | 2604312.5736 | 1189771.8084
49 | 2604312.5736 | 1189771.8084 | 2604322.4772 | 1189752.7152
50 | 2604357.1384 | 1189739.1787 | 2604360.4594 | 1189744.4394 | 2604360.6266 | 1189755.7197
51 | 2604324.1423 | 1189749.505 | 2604322.4772 | 1189752.7152
52 | 2604306.1077 | 1189512.4463 | 2604329.5201 | 1189515.4257
53 | 2604338.172 | 1189516.5268 | 2604329.5201 | 1189515.4257
54 | 2604306.1601 | 1189513.8026 | 2604306.1077 | 1189512.4463
55 | 2604306.1601 | 1189513.8026 | 2604306.2508 | 1189552.7055
56 | 2604306.2713 | 1189561.4609 | 2604306.2508 | 1189552.7055
57 | 2604306.2713 | 1189561.4609 | 2604306.609 | 1189579.9041
58 | 2604306.2713 | 1189561.4609 | 2604319.482 | 1189563.3691
59 | 2604338.1367 | 1189566.0637 | 2604323.9438 | 1189564.0136
60 | 2604336.381 | 1189579.2138 | 2604338.1367 | 1189566.0637
61 | 2604319.482 | 1189563.3691 | 2604323.9438 | 1189564.0136
62 | 2604306.609 | 1189579.9041 | 2604307.8626 | 1189597.483
63 | 2604306.609 | 1189579.9041 | 2604291.5276 | 1189582.3671
64 | 2604308.3184 | 1189603.8747 | 2604307.8626 | 1189597.483
65 | 2604291.5276 | 1189582.3671 | 2604266.0605 | 1189586.5263
66 | 2604308.7987 | 1189610.6105 | 2604308.3184 | 1189603.8747
67 | 2604266.0605 | 1189586.5263 | 2604252.1728 | 1189588.7944
68 | 2604384.5808 | 1189651.2731 | 2604388.9674 | 1189626.3883
69 | 2604359.9535 | 1189716.2354 | 2604361.2575 | 1189705.5641 | 2604362.841 | 1189698.6728 | 2604367.3766 | 1189690.3828 | 2604370.1484 | 1189685.3155 | 2604375.6442 | 1189677.9712 | 2604383.9731 | 1189654.7206 | 2604384.5808 | 1189651.2731
70 | 2604392.5328 | 1189605.861 | 2604392.1203 | 1189608.5024 | 2604388.9674 | 1189626.3883
71 | 2604359.9535 | 1189716.2354 | 2604359.1118 | 1189723.0953
72 | 2604367.708 | 1189717.3972 | 2604359.9535 | 1189716.2354
73 | 2604392.5328 | 1189605.861 | 2604395.453 | 1189587.1603 | 2604397.1438 | 1189576.3507
74 | 2604357.1384 | 1189739.1787 | 2604359.1118 | 1189723.0953
75 | 2604367.708 | 1189717.3972 | 2604367.2787 | 1189720.4762 | 2604373.6988 | 1189721.5481
76 | 2604367.708 | 1189717.3972 | 2604376.7282 | 1189718.7599 | 2604393.2742 | 1189721.3176 | 2604391.3754 | 1189733.6654
77 | 2604401.1813 | 1189550.5384 | 2604397.1438 | 1189576.3507
78 | 2604329.8871 | 1189735.1238 | 2604357.1384 | 1189739.1787
79 | 2604401.1813 | 1189550.5384 | 2604402.3329 | 1189543.1757 | 2604405.3944 | 1189521.2767
80 | 2604329.8871 | 1189735.1238 | 2604327.1508 | 1189743.9487 | 2604324.1423 | 1189749.505
81 | 2604329.8871 | 1189735.1238 | 2604328.9654 | 1189726.0641
82 | 2604314.4016 | 1189655.8638 | 2604315.3983 | 1189662.1395
83 | 2604312.1549 | 1189641.718 | 2604314.4016 | 1189655.8638
84 | 2604318.8776 | 1189678.5087 | 2604316.2621 | 1189667.5789 | 2604315.3983 | 1189662.1395
85 | 2604312.1549 | 1189641.718 | 2604272.267 | 1189648.7047
86 | 2604312.1549 | 1189641.718 | 2604310.6588 | 1189627.851
87 | 2604318.8776 | 1189678.5087 | 2604335.3515 | 1189675.3743
88 | 2604318.8776 | 1189678.5087 | 2604326.3326 | 1189709.7287
89 | 2604272.267 | 1189648.7047 | 2604268.4854 | 1189647.5792 | 2604265.6266 | 1189637.913
90 | 2604272.267 | 1189648.7047 | 2604269.9149 | 1189653.4944 | 2604271.9445 | 1189663.9844
91 | 2604310.6151 | 1189627.4455 | 2604310.6588 | 1189627.851
92 | 2604326.3326 | 1189709.7287 | 2604328.0242 | 1189716.8129 | 2604328.9654 | 1189726.0641
93 | 2604263.3882 | 1189630.3444 | 2604265.6266 | 1189637.913
94 | 2604273.5848 | 1189672.4624 | 2604271.9445 | 1189663.9844
95 | 2604308.7987 | 1189610.6105 | 2604310.6151 | 1189627.4455
96 | 2604308.7987 | 1189610.6105 | 2604291.4084 | 1189613.4059
97 | 2604291.4084 | 1189613.4059 | 2604285.1637 | 1189614.4096
98 | 2604279.1017 | 1189615.384 | 2604285.1637 | 1189614.4096
99 | 2604279.1017 | 1189615.384 | 2604260.4423 | 1189618.3833
100 | 2604411.1408 | 1189480.1714 | 2604405.3944 | 1189521.2767
101 | 2604411.1408 | 1189480.1714 | 2604395.4696 | 1189478.3584
102 | 2604254.3395 | 1189619.3643 | 2604260.4423 | 1189618.3833
103 | 2604254.3395 | 1189619.3643 | 2604248.0899 | 1189620.3689
104 | 2604544.6304 | 1189675.6308 | 2604545.3318 | 1189675.74
105 | 2604544.6304 | 1189675.6308 | 2604539.0432 | 1189674.7612
106 | 2604539.0432 | 1189674.7612 | 2604532.7665 | 1189673.7843
107 | 2604532.7665 | 1189673.7843 | 2604526.4245 | 1189672.7972
108 | 2604493.122 | 1189667.6138 | 2604526.4245 | 1189672.7972
109 | 2604470.7611 | 1189697.8396 | 2604470.7611 | 1189697.8396 | 2604465.0289 | 1189704.9169 | 2604447.3636 | 1189708.1908
110 | 2604491.6508 | 1189694.0197 | 2604470.7611 | 1189697.8396
111 | 2604419.6802 | 1189713.3215 | 2604447.3636 | 1189708.1908
112 | 2604491.6508 | 1189694.0197 | 2604488.2698 | 1189666.8586
113 | 2604488.2698 | 1189666.8586 | 2604493.122 | 1189667.6138
114 | 2604488.2698 | 1189666.8586 | 2604480.8385 | 1189665.7597
115 | 2604453.8391 | 1189665.2834 | 2604464.2435 | 1189663.3057 | 2604480.8385 | 1189665.7597
116 | 2604324.1423 | 1189749.505 | 2604310.0547 | 1189742.9027 | 2604301.8886 | 1189730.8239
117 | 2604248.0899 | 1189620.3689 | 2604242.0052 | 1189621.3469
118 | 2604897.8933 | 1189725.445 | 2604898.0361 | 1189727.4093

## bus_geodata
| x | y | coords
0 | 2605067.5567 | 1189507.8441
1 | 2605078.8132 | 1189563.2474
2 | 2605069.9576 | 1189483.3983
3 | 2605016.2202 | 1189591.7364
4 | 2604954.7093 | 1189482.2057
5 | 2604571.8544 | 1189665.8234
6 | 2604569.3681 | 1189679.4811
7 | 2604892.389 | 1189649.7283
8 | 2604999.7658 | 1189598.9282
9 | 2604947.9372 | 1189621.5474
10 | 2604492.6946 | 1189796.9549
11 | 2604489.971 | 1189797.5745
12 | 2604510.924 | 1189792.8077
13 | 2604458.3919 | 1189804.7588
14 | 2604514.7324 | 1189776.266
15 | 2604447.5064 | 1189807.2352
16 | 2604552.0336 | 1189782.8221
17 | 2604559.0106 | 1189742.673
18 | 2604551.3182 | 1189811.1705
19 | 2604518.1998 | 1189755.0225
20 | 2604448.5449 | 1189799.5173
21 | 2604424.687 | 1189812.4254
22 | 2604544.1398 | 1189739.9775
23 | 2604519.3698 | 1189748.8794
24 | 2604424.1846 | 1189812.5396
25 | 2604405.5732 | 1189817.7991
26 | 2604394.3018 | 1189892.6411
27 | 2604354.3786 | 1189834.004
28 | 2604411.7016 | 1189772.4112
29 | 2604450.4093 | 1189785.6615
30 | 2604432.2781 | 1189884.2083
31 | 2604353.7432 | 1189816.2276
32 | 2604331.9231 | 1189843.2238
33 | 2604452.3765 | 1189771.0412
34 | 2604532.4053 | 1189863.3496
35 | 2604469.7041 | 1189875.8977
36 | 2604454.5527 | 1189754.8686
37 | 2604551.6087 | 1189676.717
38 | 2604527.9632 | 1189716.3694
39 | 2604515.7941 | 1189714.1071
40 | 2604523.8883 | 1189740.5568
41 | 2604358.8004 | 1189782.2246
42 | 2604335.0381 | 1189814.1562
43 | 2604303.6277 | 1189794.7808
44 | 2604308.4251 | 1189804.3336
45 | 2604312.5736 | 1189771.8084
46 | 2604360.6266 | 1189755.7197
47 | 2604322.4772 | 1189752.7152
48 | 2604329.5201 | 1189515.4258
49 | 2604306.1077 | 1189512.4463
50 | 2604338.172 | 1189516.5268
51 | 2604306.1601 | 1189513.8026
52 | 2604306.2508 | 1189552.7055
53 | 2604306.2713 | 1189561.4609
54 | 2604338.1367 | 1189566.0637
55 | 2604323.9438 | 1189564.0136
56 | 2604336.381 | 1189579.2138
57 | 2604319.482 | 1189563.3691
58 | 2604306.609 | 1189579.9041
59 | 2604307.8626 | 1189597.483
60 | 2604291.5276 | 1189582.3671
61 | 2604308.3184 | 1189603.8747
62 | 2604266.0605 | 1189586.5263
63 | 2604384.5808 | 1189651.2731
64 | 2604388.9675 | 1189626.3882
65 | 2604359.9535 | 1189716.2354
66 | 2604392.5328 | 1189605.861
67 | 2604359.1118 | 1189723.0953
68 | 2604367.708 | 1189717.3972
69 | 2604397.1438 | 1189576.3507
70 | 2604357.1384 | 1189739.1787
71 | 2604373.6988 | 1189721.5481
72 | 2604391.3754 | 1189733.6654
73 | 2604401.1813 | 1189550.5384
74 | 2604329.8871 | 1189735.1238
75 | 2604314.4016 | 1189655.8638
76 | 2604315.3983 | 1189662.1395
77 | 2604312.1549 | 1189641.718
78 | 2604318.8776 | 1189678.5087
79 | 2604272.267 | 1189648.7047
80 | 2604310.6588 | 1189627.851
81 | 2604335.3515 | 1189675.3743
82 | 2604326.3326 | 1189709.7287
83 | 2604265.6266 | 1189637.913
84 | 2604271.9445 | 1189663.9844
85 | 2604310.6151 | 1189627.4455
86 | 2604328.9654 | 1189726.0641
87 | 2604263.3882 | 1189630.3444
88 | 2604273.5848 | 1189672.4624
89 | 2604308.7987 | 1189610.6105
90 | 2604291.4084 | 1189613.4059
91 | 2604285.1637 | 1189614.4096
92 | 2604279.1017 | 1189615.384
93 | 2604405.3944 | 1189521.2767
94 | 2604411.1408 | 1189480.1714
95 | 2604395.4696 | 1189478.3584
96 | 2604252.1728 | 1189588.7944
97 | 2604260.4423 | 1189618.3833
98 | 2604254.3395 | 1189619.3643
99 | 2604545.3318 | 1189675.74
100 | 2604544.6304 | 1189675.6308
101 | 2604539.0432 | 1189674.7612
102 | 2604532.7665 | 1189673.7843
103 | 2604526.4245 | 1189672.7972
104 | 2604470.7611 | 1189697.8396
105 | 2604447.3636 | 1189708.1908
106 | 2604491.6508 | 1189694.0197
107 | 2604419.6802 | 1189713.3215
108 | 2604488.2698 | 1189666.8586
109 | 2604493.122 | 1189667.6138
110 | 2604480.8386 | 1189665.7597
111 | 2604453.8391 | 1189665.2834
112 | 2604324.1423 | 1189749.505
113 | 2604301.8886 | 1189730.8239
114 | 2604248.0899 | 1189620.3689
115 | 2604242.0052 | 1189621.3469
116 | 2604519.9953 | 1189745.595
117 | 2604932.3201 | 1189628.0715
118 | 2604897.8933 | 1189725.445
119 | 2604898.0361 | 1189727.4093
120 | 2604425.2094 | 1189670.7255

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1