## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_884-5_2_3_node_16 | 0.4 | n |  | TRUE
1 | bus_LV_884-5_2_3_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_884-5_2_3_node_194 | 0.4 | n |  | TRUE
3 | bus_LV_884-5_2_3_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_884-5_2_3_node_73 | 0.4 | n |  | TRUE
5 | bus_LV_884-5_2_3_node_74 | 0.4 | n |  | TRUE
6 | bus_LV_884-5_2_3_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_884-5_2_3_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_884-5_2_3_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_884-5_2_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_884-5_2_3_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_884-5_2_3_node_122 | 0.4 | n |  | TRUE
12 | bus_LV_884-5_2_3_node_153 | 0.4 | n |  | TRUE
13 | bus_LV_884-5_2_3_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_884-5_2_3_node_102 | 0.4 | n |  | TRUE
15 | bus_LV_884-5_2_3_node_114 | 0.4 | n |  | TRUE
16 | bus_LV_884-5_2_3_node_115 | 0.4 | n |  | TRUE
17 | bus_LV_884-5_2_3_node_116 | 0.4 | n |  | TRUE
18 | bus_LV_884-5_2_3_node_117 | 0.4 | n |  | TRUE
19 | bus_LV_884-5_2_3_node_118 | 0.4 | n |  | TRUE
20 | bus_LV_884-5_2_3_node_119 | 0.4 | n |  | TRUE
21 | bus_LV_884-5_2_3_node_120 | 0.4 | n |  | TRUE
22 | bus_LV_884-5_2_3_node_121 | 0.4 | n |  | TRUE
23 | bus_LV_884-5_2_3_node_124 | 0.4 | n |  | TRUE
24 | bus_LV_884-5_2_3_node_137 | 0.4 | n |  | TRUE
25 | bus_LV_884-5_2_3_node_132 | 0.4 | n |  | TRUE
26 | bus_LV_884-5_2_3_node_123 | 0.4 | n |  | TRUE
27 | bus_LV_884-5_2_3_node_143 | 0.4 | n |  | TRUE
28 | bus_LV_884-5_2_3_node_125 | 0.4 | n |  | TRUE
29 | bus_LV_884-5_2_3_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_884-5_2_3_node_127 | 0.4 | n |  | TRUE
31 | bus_LV_884-5_2_3_node_128 | 0.4 | n |  | TRUE
32 | bus_LV_884-5_2_3_node_129 | 0.4 | n |  | TRUE
33 | bus_LV_884-5_2_3_node_130 | 0.4 | n |  | TRUE
34 | bus_LV_884-5_2_3_node_131 | 0.4 | n |  | TRUE
35 | bus_LV_884-5_2_3_node_133 | 0.4 | n |  | TRUE
36 | bus_LV_884-5_2_3_node_138 | 0.4 | n |  | TRUE
37 | bus_LV_884-5_2_3_node_140 | 0.4 | n |  | TRUE
38 | bus_LV_884-5_2_3_node_139 | 0.4 | n |  | TRUE
39 | bus_LV_884-5_2_3_node_150 | 0.4 | n |  | TRUE
40 | bus_LV_884-5_2_3_node_142 | 0.4 | n |  | TRUE
41 | bus_LV_884-5_2_3_node_144 | 0.4 | n |  | TRUE
42 | bus_LV_884-5_2_3_node_145 | 0.4 | n |  | TRUE
43 | bus_LV_884-5_2_3_node_154 | 0.4 | n |  | TRUE
44 | bus_LV_884-5_2_3_node_160 | 0.4 | n |  | TRUE
45 | bus_LV_884-5_2_3_node_146 | 0.4 | n |  | TRUE
46 | bus_LV_884-5_2_3_node_148 | 0.4 | n |  | TRUE
47 | bus_LV_884-5_2_3_node_149 | 0.4 | n |  | TRUE
48 | bus_LV_884-5_2_3_node_151 | 0.4 | n |  | TRUE
49 | bus_LV_884-5_2_3_node_152 | 0.4 | n |  | TRUE
50 | bus_LV_884-5_2_3_node_155 | 0.4 | n |  | TRUE
51 | bus_LV_884-5_2_3_node_156 | 0.4 | n |  | TRUE
52 | bus_LV_884-5_2_3_node_157 | 0.4 | n |  | TRUE
53 | bus_LV_884-5_2_3_node_169 | 0.4 | n |  | TRUE
54 | bus_LV_884-5_2_3_node_171 | 0.4 | n |  | TRUE
55 | bus_LV_884-5_2_3_node_159 | 0.4 | n |  | TRUE
56 | bus_LV_884-5_2_3_node_161 | 0.4 | n |  | TRUE
57 | bus_LV_884-5_2_3_node_162 | 0.4 | n |  | TRUE
58 | bus_LV_884-5_2_3_node_163 | 0.4 | n |  | TRUE
59 | bus_LV_884-5_2_3_node_191 | 0.4 | n |  | TRUE
60 | bus_LV_884-5_2_3_node_190 | 0.4 | n |  | TRUE
61 | bus_LV_884-5_2_3_node_181 | 0.4 | n |  | TRUE
62 | bus_LV_884-5_2_3_node_164 | 0.4 | n |  | TRUE
63 | bus_LV_884-5_2_3_node_165 | 0.4 | n |  | TRUE
64 | bus_LV_884-5_2_3_node_166 | 0.4 | n |  | TRUE
65 | bus_LV_884-5_2_3_node_167 | 0.4 | n |  | TRUE
66 | bus_LV_884-5_2_3_node_168 | 0.4 | n |  | TRUE
67 | bus_LV_884-5_2_3_node_170 | 0.4 | n |  | TRUE
68 | bus_LV_884-5_2_3_node_182 | 0.4 | n |  | TRUE
69 | bus_LV_884-5_2_3_node_180 | 0.4 | n |  | TRUE
70 | bus_LV_884-5_2_3_node_172 | 0.4 | n |  | TRUE
71 | bus_LV_884-5_2_3_node_173 | 0.4 | n |  | TRUE
72 | bus_LV_884-5_2_3_node_174 | 0.4 | n |  | TRUE
73 | bus_LV_884-5_2_3_node_175 | 0.4 | n |  | TRUE
74 | bus_LV_884-5_2_3_node_196 | 0.4 | n |  | TRUE
75 | bus_LV_884-5_2_3_node_197 | 0.4 | n |  | TRUE
76 | bus_LV_884-5_2_3_node_176 | 0.4 | n |  | TRUE
77 | bus_LV_884-5_2_3_node_177 | 0.4 | n |  | TRUE
78 | bus_LV_884-5_2_3_node_178 | 0.4 | n |  | TRUE
79 | bus_LV_884-5_2_3_node_179 | 0.4 | n |  | TRUE
80 | bus_LV_884-5_2_3_node_183 | 0.4 | n |  | TRUE
81 | bus_LV_884-5_2_3_node_184 | 0.4 | n |  | TRUE
82 | bus_LV_884-5_2_3_node_186 | 0.4 | n |  | TRUE
83 | bus_LV_884-5_2_3_node_185 | 0.4 | n |  | TRUE
84 | bus_LV_884-5_2_3_node_187 | 0.4 | n |  | TRUE
85 | bus_LV_884-5_2_3_node_188 | 0.4 | n |  | TRUE
86 | bus_LV_884-5_2_3_node_189 | 0.4 | n |  | TRUE
87 | bus_LV_884-5_2_3_node_192 | 0.4 | n |  | TRUE
88 | bus_LV_884-5_2_3_node_198 | 0.4 | n |  | TRUE
89 | bus_LV_884-5_2_3_node_193 | 0.4 | n |  | TRUE
90 | bus_LV_884-5_2_3_node_195 | 0.4 | n |  | TRUE
91 | bus_MV_121_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_884-5_2_3_load_16 | 0 | 0.0023392 | 0.00058626 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_884-5_2_3_load_19 | 1 | 0.0022098 | 0.00055382 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_884-5_2_3_load_194 | 2 | 0.0014102 | 0.00035343 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_884-5_2_3_load_20 | 3 | 0.001699 | 0.00042581 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_884-5_2_3_load_73 | 4 | 0.0015715 | 0.00039384 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_884-5_2_3_load_74 | 5 | 0.0023408 | 0.00058667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_884-5_2_3_load_75 | 6 | 0.0015679 | 0.00039294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_884-5_2_3_load_76 | 7 | 0.0019757 | 0.00049515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_884-5_2_3_load_77 | 8 | 0.0019316 | 0.0004841 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_884-5_2_3_load_78 | 9 | 0.0020104 | 0.00050386 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_884-5_2_3_load_79 | 10 | 0.0013771 | 0.00034514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_884-5_2_3_load_122 | 11 | 0.0022341 | 0.00055993 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_884-5_2_3_load_153 | 12 | 0.0017992 | 0.00045092 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_884-5_2_3_load_99 | 13 | 0.0017976 | 0.00045052 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_884-5_2_3_load_102 | 14 | 0.0013835 | 0.00034673 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_884-5_2_3_load_114 | 15 | 0.0023151 | 0.00058023 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_884-5_2_3_load_115 | 16 | 0.0021824 | 0.00054696 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_884-5_2_3_load_116 | 17 | 0.0024833 | 0.00062237 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_884-5_2_3_load_117 | 18 | 0.0076509 | 0.0019175 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_884-5_2_3_load_119 | 20 | 0.0024607 | 0.0006167 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_884-5_2_3_load_120 | 21 | 0.0020367 | 0.00051044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_884-5_2_3_load_121 | 22 | 0.0021076 | 0.00052822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_884-5_2_3_load_124 | 23 | 0.0050739 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_884-5_2_3_load_137 | 24 | 0.003227 | 0.00080876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_884-5_2_3_load_132 | 25 | 0.0023205 | 0.00058157 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_884-5_2_3_load_123 | 26 | 0.0023608 | 0.00059168 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_884-5_2_3_load_125 | 28 | 0.0026746 | 0.00067032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_884-5_2_3_load_147 | 29 | 0.0023131 | 0.00057971 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_884-5_2_3_load_127 | 30 | 0.0011386 | 0.00028537 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_884-5_2_3_load_128 | 31 | 0.0017104 | 0.00042866 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_884-5_2_3_load_129 | 32 | 0.0011381 | 0.00028525 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_884-5_2_3_load_130 | 33 | 0.0023478 | 0.0005884 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_884-5_2_3_load_133 | 35 | 0.0011418 | 0.00028616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_884-5_2_3_load_138 | 36 | 0.0011372 | 0.00028501 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_884-5_2_3_load_139 | 38 | 0.0011555 | 0.00028959 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_884-5_2_3_load_150 | 39 | 0.0042801 | 0.0010727 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_884-5_2_3_load_142 | 40 | 0.0022999 | 0.00057642 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_884-5_2_3_load_144 | 41 | 0.0032044 | 0.0008031 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_884-5_2_3_load_145 | 42 | 0.0038875 | 0.0009743 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_884-5_2_3_load_154 | 43 | 0.0011466 | 0.00028736 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_884-5_2_3_load_146 | 45 | 0.0023099 | 0.00057892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_884-5_2_3_load_148 | 46 | 0.003054 | 0.00076541 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_884-5_2_3_load_149 | 47 | 0.0030904 | 0.00077452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_884-5_2_3_load_151 | 48 | 0.0011622 | 0.00029128 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_884-5_2_3_load_152 | 49 | 0.0011263 | 0.00028227 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_884-5_2_3_load_155 | 50 | 0.0022645 | 0.00056753 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_884-5_2_3_load_156 | 51 | 0.0036736 | 0.0009207 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_884-5_2_3_load_169 | 53 | 0.0035629 | 0.00089295 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_884-5_2_3_load_171 | 54 | 0.0029663 | 0.00074344 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_884-5_2_3_load_159 | 55 | 0.0036512 | 0.00091509 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_884-5_2_3_load_161 | 56 | 0.0032189 | 0.00080672 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_884-5_2_3_load_191 | 59 | 0.002289 | 0.00057368 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_884-5_2_3_load_190 | 60 | 0.0016304 | 0.00040862 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_884-5_2_3_load_181 | 61 | 0.0021229 | 0.00053204 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_884-5_2_3_load_164 | 62 | 0.0030137 | 0.00075531 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_884-5_2_3_load_165 | 63 | 0.0030215 | 0.00075726 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_884-5_2_3_load_167 | 65 | 0.001793 | 0.00044937 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_884-5_2_3_load_168 | 66 | 0.00496 | 0.0012431 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_884-5_2_3_load_180 | 69 | 0.0055942 | 0.001402 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_884-5_2_3_load_173 | 71 | 0.0073564 | 0.0018437 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_884-5_2_3_load_174 | 72 | 0.0027417 | 0.00068713 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_884-5_2_3_load_175 | 73 | 0.0027386 | 0.00068636 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_884-5_2_3_load_196 | 74 | 0.015225 | 0.0038158 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_884-5_2_3_load_197 | 75 | 0.0057991 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_884-5_2_3_load_176 | 76 | 0.0015397 | 0.00038588 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_884-5_2_3_load_177 | 77 | 0.0018665 | 0.00046778 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_884-5_2_3_load_178 | 78 | 0.0015762 | 0.00039504 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_884-5_2_3_load_179 | 79 | 0.0021441 | 0.00053736 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_884-5_2_3_load_184 | 81 | 0.0049889 | 0.0012503 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_884-5_2_3_load_186 | 82 | 0.0049841 | 0.0012491 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_884-5_2_3_load_185 | 83 | 0.0019067 | 0.00047787 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_884-5_2_3_load_187 | 84 | 0.0049891 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_884-5_2_3_load_188 | 85 | 0.001404 | 0.00035188 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_884-5_2_3_load_189 | 86 | 0.0027959 | 0.00070072 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_884-5_2_3_load_192 | 87 | 0.0033053 | 0.0008284 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_884-5_2_3_load_198 | 88 | 0.003118 | 0.00078144 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_884-5_2_3_load_193 | 89 | 0.0051672 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_884-5_2_3_load_195 | 90 | 0.003698 | 0.00092681 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_884-5_2_3_line_0 |  | 0 | 1 | 0.026325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_884-5_2_3_line_1 |  | 0 | 2 | 0.058523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_884-5_2_3_line_2 |  | 1 | 3 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_884-5_2_3_line_3 |  | 2 | 86 | 0.0075984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_884-5_2_3_line_4 |  | 2 | 89 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_884-5_2_3_line_5 |  | 4 | 5 | 0.027117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_884-5_2_3_line_6 |  | 4 | 6 | 0.00018537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_884-5_2_3_line_7 |  | 5 | 7 | 0.021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_884-5_2_3_line_8 |  | 6 | 8 | 0.00031646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_884-5_2_3_line_9 |  | 7 | 9 | 0.022206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_884-5_2_3_line_10 |  | 8 | 10 | 0.031491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_884-5_2_3_line_11 |  | 9 | 11 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_884-5_2_3_line_12 |  | 10 | 12 | 0.00042798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_884-5_2_3_line_13 |  | 11 | 26 | 0.0023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_884-5_2_3_line_14 |  | 12 | 14 | 0.0014059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_884-5_2_3_line_15 |  | 13 | 14 | 0.00050625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_884-5_2_3_line_16 |  | 15 | 16 | 0.0036925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_884-5_2_3_line_17 |  | 15 | 17 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_884-5_2_3_line_18 |  | 16 | 18 | 0.0072542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_884-5_2_3_line_19 |  | 17 | 19 | 0.012355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_884-5_2_3_line_20 |  | 18 | 20 | 0.014315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_884-5_2_3_line_21 |  | 19 | 21 | 0.035312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_884-5_2_3_line_22 |  | 19 | 22 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_884-5_2_3_line_23 |  | 20 | 23 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_884-5_2_3_line_24 |  | 21 | 24 | 0.024885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_884-5_2_3_line_25 |  | 22 | 25 | 0.02598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_884-5_2_3_line_26 |  | 23 | 28 | 0.0035971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_884-5_2_3_line_27 |  | 24 | 37 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_884-5_2_3_line_28 |  | 25 | 33 | 0.00084175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_884-5_2_3_line_29 |  | 26 | 27 | 0.032088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_884-5_2_3_line_30 |  | 27 | 41 | 0.015145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_884-5_2_3_line_31 |  | 27 | 42 | 0.036698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_884-5_2_3_line_32 |  | 28 | 29 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_884-5_2_3_line_33 |  | 29 | 45 | 0.0020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_884-5_2_3_line_34 |  | 30 | 31 | 0.029991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_884-5_2_3_line_35 |  | 30 | 32 | 4.9866e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_884-5_2_3_line_36 |  | 31 | 33 | 0.026306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_884-5_2_3_line_37 |  | 32 | 34 | 0.018864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_884-5_2_3_line_38 |  | 34 | 35 | 0.022396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_884-5_2_3_line_39 |  | 35 | 36 | 0.0057609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_884-5_2_3_line_40 |  | 36 | 38 | 0.0087353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_884-5_2_3_line_41 |  | 37 | 40 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_884-5_2_3_line_42 |  | 38 | 39 | 0.022886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_884-5_2_3_line_43 |  | 39 | 46 | 0.0034072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_884-5_2_3_line_44 |  | 41 | 43 | 0.0070542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_884-5_2_3_line_45 |  | 42 | 44 | 0.014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_884-5_2_3_line_46 |  | 43 | 49 | 0.00014374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_884-5_2_3_line_47 |  | 44 | 57 | 0.027304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_884-5_2_3_line_48 |  | 44 | 58 | 0.067462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_884-5_2_3_line_49 |  | 44 | 55 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_884-5_2_3_line_50 |  | 46 | 47 | 0.01038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_884-5_2_3_line_51 |  | 47 | 48 | 0.011667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_884-5_2_3_line_52 |  | 48 | 49 | 0.00014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_884-5_2_3_line_53 |  | 50 | 51 | 0.0032444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_884-5_2_3_line_54 |  | 51 | 52 | 0.011452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_884-5_2_3_line_55 |  | 52 | 53 | 0.018513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_884-5_2_3_line_56 |  | 52 | 54 | 0.021099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_884-5_2_3_line_57 |  | 53 | 64 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_884-5_2_3_line_58 |  | 54 | 70 | 0.0012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_884-5_2_3_line_59 |  | 55 | 56 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_884-5_2_3_line_60 |  | 57 | 59 | 0.018188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_884-5_2_3_line_61 |  | 57 | 60 | 0.0084053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_884-5_2_3_line_62 |  | 58 | 61 | 0.061644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_884-5_2_3_line_63 |  | 59 | 87 | 0.00011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_884-5_2_3_line_64 |  | 61 | 79 | 0.0083248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_884-5_2_3_line_65 |  | 62 | 63 | 0.00049052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_884-5_2_3_line_66 |  | 62 | 64 | 0.0057955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_884-5_2_3_line_67 |  | 63 | 65 | 0.002475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_884-5_2_3_line_68 |  | 64 | 66 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_884-5_2_3_line_69 |  | 65 | 67 | 0.043793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_884-5_2_3_line_70 |  | 67 | 68 | 0.029017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_884-5_2_3_line_71 |  | 67 | 69 | 0.015108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_884-5_2_3_line_72 |  | 68 | 80 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_884-5_2_3_line_73 |  | 68 | 81 | 0.017202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_884-5_2_3_line_74 |  | 69 | 78 | 0.050192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_884-5_2_3_line_75 |  | 70 | 71 | 0.01206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_884-5_2_3_line_76 |  | 70 | 72 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_884-5_2_3_line_77 |  | 72 | 73 | 0.020903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_884-5_2_3_line_78 |  | 73 | 74 | 0.012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_884-5_2_3_line_79 |  | 73 | 75 | 0.016137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_884-5_2_3_line_80 |  | 76 | 77 | 0.00051282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_884-5_2_3_line_81 |  | 76 | 78 | 0.00047018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_884-5_2_3_line_82 |  | 77 | 79 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_884-5_2_3_line_83 |  | 80 | 82 | 0.018799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_884-5_2_3_line_84 |  | 82 | 83 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_884-5_2_3_line_85 |  | 83 | 84 | 0.012043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_884-5_2_3_line_86 |  | 84 | 85 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_884-5_2_3_line_87 |  | 85 | 86 | 0.016731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_884-5_2_3_line_88 |  | 87 | 88 | 0.0056053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_884-5_2_3_line_89 |  | 89 | 90 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_884-5_2_3_trafo_197 | 0.63 MVA 20/0.4 kV | 91 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2604049.4834 | 1189502.8722 | 2604049.6223 | 1189502.3761 | 2604057.1587 | 1189477.6906
1 | 2604049.4834 | 1189502.8722 | 2604107.546 | 1189510.2002
2 | 2604064.7895 | 1189457.2992 | 2604057.8916 | 1189475.2897 | 2604057.1587 | 1189477.6906
3 | 2604106.6236 | 1189517.7424 | 2604107.546 | 1189510.2002
4 | 2604113.296 | 1189495.971 | 2604108.8706 | 1189499.3698 | 2604107.546 | 1189510.2002
5 | 2604308.3775 | 1189345.0589 | 2604307.678 | 1189351.9304 | 2604307.1868 | 1189372.1347
6 | 2604308.3775 | 1189345.0589 | 2604308.3962 | 1189344.8744
7 | 2604306.661 | 1189393.7638 | 2604307.1868 | 1189372.1347
8 | 2604308.3962 | 1189344.8744 | 2604308.4283 | 1189344.5596
9 | 2604306.183 | 1189415.9645 | 2604306.4761 | 1189401.3664 | 2604306.661 | 1189393.7638
10 | 2604311.6175 | 1189313.2304 | 2604308.4283 | 1189344.5596
11 | 2604306.183 | 1189415.9645 | 2604305.9584 | 1189427.1499
12 | 2604311.6175 | 1189313.2304 | 2604311.6609 | 1189312.8047
13 | 2604305.9109 | 1189429.5159 | 2604305.9584 | 1189427.1499
14 | 2604311.8033 | 1189311.406 | 2604311.6609 | 1189312.8047
15 | 2604311.8033 | 1189311.406 | 2604311.8545 | 1189310.9023
16 | 2604392.8447 | 1189355.3486 | 2604389.2206 | 1189354.641
17 | 2604392.8447 | 1189355.3486 | 2604392.8447 | 1189355.3486 | 2604415.48 | 1189358.0687
18 | 2604382.1009 | 1189353.2509 | 2604389.2206 | 1189354.641
19 | 2604427.7467 | 1189359.5428 | 2604415.48 | 1189358.0687
20 | 2604377.6416 | 1189339.9408 | 2604378.8864 | 1189348.0236 | 2604382.1009 | 1189353.2509 | 2604382.1009 | 1189353.2509
21 | 2604427.7467 | 1189359.5428 | 2604433.2701 | 1189324.6651
22 | 2604427.7467 | 1189359.5428 | 2604425.6506 | 1189378.8958 | 2604425.6116 | 1189379.1708
23 | 2604377.6416 | 1189339.9408 | 2604377.6416 | 1189339.9408 | 2604380.2146 | 1189320.2392
24 | 2604433.2701 | 1189324.6651 | 2604435.2932 | 1189311.8901 | 2604436.9181 | 1189300.05
25 | 2604425.6116 | 1189379.1708 | 2604421.9594 | 1189404.8925
26 | 2604380.6804 | 1189316.6724 | 2604380.2146 | 1189320.2392
27 | 2604439.4027 | 1189281.9442 | 2604436.9181 | 1189300.05
28 | 2604421.8411 | 1189405.7259 | 2604421.9594 | 1189404.8925
29 | 2604305.2667 | 1189461.597 | 2604305.9109 | 1189429.5159
30 | 2604305.2667 | 1189461.597 | 2604320.2852 | 1189463.553
31 | 2604305.2667 | 1189461.597 | 2604305.5592 | 1189479.2953 | 2604305.8735 | 1189498.2897
32 | 2604383.6981 | 1189294.8573 | 2604382.8562 | 1189300.0126 | 2604380.6804 | 1189316.6724
33 | 2604383.6981 | 1189294.8573 | 2604384.0327 | 1189292.8089
34 | 2604413.8374 | 1189461.451 | 2604418.1132 | 1189431.7667
35 | 2604413.8303 | 1189461.5004 | 2604413.8374 | 1189461.451
36 | 2604421.8411 | 1189405.7259 | 2604420.2465 | 1189416.9562 | 2604418.1132 | 1189431.7667
37 | 2604411.1408 | 1189480.1714 | 2604413.8303 | 1189461.5004
38 | 2604411.1408 | 1189480.1714 | 2604388.8933 | 1189477.5976
39 | 2604388.8933 | 1189477.5976 | 2604383.1706 | 1189476.9355
40 | 2604374.4932 | 1189475.9316 | 2604383.1706 | 1189476.9355
41 | 2604439.4027 | 1189281.9442 | 2604425.8732 | 1189280.0455
42 | 2604352.229 | 1189470.6351 | 2604374.4932 | 1189475.9316
43 | 2604352.229 | 1189470.6351 | 2604348.9487 | 1189469.7141
44 | 2604327.2804 | 1189464.464 | 2604320.2852 | 1189463.553
45 | 2604306.1077 | 1189512.4463 | 2604305.8735 | 1189498.2897
46 | 2604327.423 | 1189464.4826 | 2604327.2804 | 1189464.464
47 | 2604280.2711 | 1189512.0723 | 2604306.1601 | 1189513.8026 | 2604306.1077 | 1189512.4463
48 | 2604306.1077 | 1189512.4463 | 2604306.1601 | 1189513.8026 | 2604306.2713 | 1189561.4609 | 2604306.609 | 1189579.9041
49 | 2604306.1077 | 1189512.4463 | 2604320.6398 | 1189514.2957
50 | 2604348.9487 | 1189469.7141 | 2604338.9549 | 1189466.9083
51 | 2604327.5691 | 1189464.5016 | 2604332.817 | 1189465.1851 | 2604338.9549 | 1189466.9083
52 | 2604327.5691 | 1189464.5016 | 2604327.423 | 1189464.4826
53 | 2604164.1324 | 1189489.1082 | 2604164.5532 | 1189485.8912
54 | 2604162.351 | 1189500.4178 | 2604163.4993 | 1189493.9486 | 2604164.1324 | 1189489.1082
55 | 2604162.351 | 1189500.4178 | 2604160.3217 | 1189518.8194
56 | 2604162.351 | 1189500.4178 | 2604183.2305 | 1189503.4552
57 | 2604158.1231 | 1189538.4459 | 2604158.5986 | 1189534.4441 | 2604160.3217 | 1189518.8194
58 | 2604184.4642 | 1189503.6346 | 2604183.2305 | 1189503.4552
59 | 2604338.172 | 1189516.5268 | 2604320.6398 | 1189514.2957
60 | 2604280.2711 | 1189512.0723 | 2604279.7769 | 1189530.2541
61 | 2604280.2711 | 1189512.0723 | 2604271.8844 | 1189511.513
62 | 2604306.609 | 1189579.9041 | 2604245.7711 | 1189589.8399
63 | 2604279.7737 | 1189530.37 | 2604279.7769 | 1189530.2541
64 | 2604245.7711 | 1189589.8399 | 2604244.3212 | 1189590.0767 | 2604237.471 | 1189590.3515
65 | 2604157.4349 | 1189544.2004 | 2604157.3766 | 1189544.6874
66 | 2604158.1231 | 1189538.4459 | 2604157.4349 | 1189544.2004
67 | 2604157.0827 | 1189547.1449 | 2604157.3766 | 1189544.6874
68 | 2604158.1231 | 1189538.4459 | 2604144.3405 | 1189536.9585
69 | 2604153.2297 | 1189590.7476 | 2604154.5721 | 1189568.0478 | 2604155.431 | 1189560.9558 | 2604157.0827 | 1189547.1449
70 | 2604153.2297 | 1189590.7476 | 2604124.1295 | 1189590.4721
71 | 2604153.2297 | 1189590.7476 | 2604168.2774 | 1189592.0966
72 | 2604106.0109 | 1189589.7261 | 2604124.1295 | 1189590.4721
73 | 2604124.1295 | 1189590.4721 | 2604126.473 | 1189573.4306
74 | 2604168.2774 | 1189592.0966 | 2604172.5982 | 1189592.484 | 2604218.4289 | 1189591.0422
75 | 2604184.4642 | 1189503.6346 | 2604183.4798 | 1189515.6513
76 | 2604184.4642 | 1189503.6346 | 2604188.2691 | 1189504.1931 | 2604202.3957 | 1189505.1734
77 | 2604223.2479 | 1189506.6297 | 2604215.6146 | 1189506.0908 | 2604202.3957 | 1189505.1734
78 | 2604223.2479 | 1189506.6297 | 2604221.9506 | 1189518.7573
79 | 2604239.3913 | 1189507.7748 | 2604223.2479 | 1189506.6297
80 | 2604219.4114 | 1189591.0113 | 2604218.8988 | 1189591.0274
81 | 2604218.8988 | 1189591.0274 | 2604218.4289 | 1189591.0422
82 | 2604219.4114 | 1189591.0113 | 2604226.888 | 1189590.7761 | 2604237.471 | 1189590.3515
83 | 2604106.0109 | 1189589.7261 | 2604100.5694 | 1189584.7087 | 2604098.9935 | 1189580.7501 | 2604099.8476 | 1189573.6643
84 | 2604101.8998 | 1189556.6394 | 2604099.8476 | 1189573.6643
85 | 2604101.8998 | 1189556.6394 | 2604103.3409 | 1189544.6833
86 | 2604104.5926 | 1189534.3494 | 2604104.1776 | 1189537.7422 | 2604103.3409 | 1189544.6833
87 | 2604104.5926 | 1189534.3494 | 2604106.6236 | 1189517.7424
88 | 2604279.6214 | 1189535.9732 | 2604279.7737 | 1189530.37
89 | 2604113.296 | 1189495.971 | 2604113.296 | 1189495.971 | 2604121.4181 | 1189495.3318 | 2604128.4486 | 1189496.2926 | 2604128.8865 | 1189496.6265

## bus_geodata
| x | y | coords
0 | 2604049.4834 | 1189502.8722
1 | 2604057.1587 | 1189477.6906
2 | 2604107.546 | 1189510.2002
3 | 2604064.7895 | 1189457.2992
4 | 2604308.3775 | 1189345.0589
5 | 2604307.1868 | 1189372.1347
6 | 2604308.3962 | 1189344.8744
7 | 2604306.661 | 1189393.7638
8 | 2604308.4283 | 1189344.5596
9 | 2604306.183 | 1189415.9645
10 | 2604311.6175 | 1189313.2304
11 | 2604305.9584 | 1189427.1499
12 | 2604311.6609 | 1189312.8047
13 | 2604311.8545 | 1189310.9023
14 | 2604311.8033 | 1189311.406
15 | 2604392.8447 | 1189355.3486
16 | 2604389.2206 | 1189354.641
17 | 2604415.48 | 1189358.0687
18 | 2604382.1009 | 1189353.2509
19 | 2604427.7467 | 1189359.5428
20 | 2604377.6416 | 1189339.9408
21 | 2604433.2701 | 1189324.6651
22 | 2604425.6116 | 1189379.1708
23 | 2604380.2146 | 1189320.2392
24 | 2604436.9181 | 1189300.05
25 | 2604421.9594 | 1189404.8925
26 | 2604305.9109 | 1189429.5159
27 | 2604305.2667 | 1189461.597
28 | 2604380.6804 | 1189316.6724
29 | 2604383.6981 | 1189294.8573
30 | 2604413.8374 | 1189461.451
31 | 2604418.1132 | 1189431.7667
32 | 2604413.8303 | 1189461.5003
33 | 2604421.8411 | 1189405.7259
34 | 2604411.1408 | 1189480.1714
35 | 2604388.8933 | 1189477.5976
36 | 2604383.1706 | 1189476.9355
37 | 2604439.4027 | 1189281.9442
38 | 2604374.4932 | 1189475.9316
39 | 2604352.229 | 1189470.6351
40 | 2604425.8732 | 1189280.0455
41 | 2604320.2852 | 1189463.553
42 | 2604305.8735 | 1189498.2897
43 | 2604327.2804 | 1189464.464
44 | 2604306.1077 | 1189512.4463
45 | 2604384.0327 | 1189292.8089
46 | 2604348.9487 | 1189469.7141
47 | 2604338.9549 | 1189466.9083
48 | 2604327.5691 | 1189464.5016
49 | 2604327.423 | 1189464.4826
50 | 2604164.5532 | 1189485.8912
51 | 2604164.1324 | 1189489.1082
52 | 2604162.351 | 1189500.4178
53 | 2604160.3217 | 1189518.8194
54 | 2604183.2305 | 1189503.4552
55 | 2604320.6398 | 1189514.2957
56 | 2604338.172 | 1189516.5268
57 | 2604280.2711 | 1189512.0723
58 | 2604306.609 | 1189579.9041
59 | 2604279.7769 | 1189530.2541
60 | 2604271.8844 | 1189511.513
61 | 2604245.7711 | 1189589.8399
62 | 2604157.4349 | 1189544.2004
63 | 2604157.3766 | 1189544.6874
64 | 2604158.1231 | 1189538.4459
65 | 2604157.0827 | 1189547.1449
66 | 2604144.3405 | 1189536.9585
67 | 2604153.2297 | 1189590.7476
68 | 2604124.1295 | 1189590.4721
69 | 2604168.2774 | 1189592.0966
70 | 2604184.4642 | 1189503.6346
71 | 2604183.4798 | 1189515.6513
72 | 2604202.3957 | 1189505.1734
73 | 2604223.2479 | 1189506.6297
74 | 2604221.9506 | 1189518.7573
75 | 2604239.3913 | 1189507.7748
76 | 2604218.8988 | 1189591.0274
77 | 2604219.4114 | 1189591.0113
78 | 2604218.4289 | 1189591.0422
79 | 2604237.471 | 1189590.3515
80 | 2604106.0109 | 1189589.7261
81 | 2604126.473 | 1189573.4306
82 | 2604099.8476 | 1189573.6643
83 | 2604101.8998 | 1189556.6394
84 | 2604103.3409 | 1189544.6833
85 | 2604104.5926 | 1189534.3494
86 | 2604106.6236 | 1189517.7424
87 | 2604279.7737 | 1189530.37
88 | 2604279.6214 | 1189535.9732
89 | 2604113.296 | 1189495.971
90 | 2604128.8865 | 1189496.6265
91 | 2604223.2479 | 1189506.6297

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1