## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_886-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_886-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_886-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_886-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_886-2_0_3_node_128 | 0.4 | n |  | TRUE
5 | bus_LV_886-2_0_3_node_125 | 0.4 | n |  | TRUE
6 | bus_LV_886-2_0_3_node_129 | 0.4 | n |  | TRUE
7 | bus_LV_886-2_0_3_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_886-2_0_3_node_93 | 0.4 | n |  | TRUE
9 | bus_LV_886-2_0_3_node_130 | 0.4 | n |  | TRUE
10 | bus_LV_886-2_0_3_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_886-2_0_3_node_127 | 0.4 | n |  | TRUE
12 | bus_LV_886-2_0_3_node_109 | 0.4 | n |  | TRUE
13 | bus_LV_886-2_0_3_node_132 | 0.4 | n |  | TRUE
14 | bus_LV_886-2_0_3_node_133 | 0.4 | n |  | TRUE
15 | bus_LV_886-2_0_3_node_134 | 0.4 | n |  | TRUE
16 | bus_LV_886-2_0_3_node_108 | 0.4 | n |  | TRUE
17 | bus_LV_886-2_0_3_node_135 | 0.4 | n |  | TRUE
18 | bus_LV_886-2_0_3_node_149 | 0.4 | n |  | TRUE
19 | bus_LV_886-2_0_3_node_145 | 0.4 | n |  | TRUE
20 | bus_LV_886-2_0_3_node_118 | 0.4 | n |  | TRUE
21 | bus_LV_886-2_0_3_node_146 | 0.4 | n |  | TRUE
22 | bus_LV_886-2_0_3_node_159 | 0.4 | n |  | TRUE
23 | bus_LV_886-2_0_3_node_157 | 0.4 | n |  | TRUE
24 | bus_LV_886-2_0_3_node_147 | 0.4 | n |  | TRUE
25 | bus_LV_886-2_0_3_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_886-2_0_3_node_148 | 0.4 | n |  | TRUE
27 | bus_LV_886-2_0_3_node_156 | 0.4 | n |  | TRUE
28 | bus_LV_886-2_0_3_node_150 | 0.4 | n |  | TRUE
29 | bus_LV_886-2_0_3_node_151 | 0.4 | n |  | TRUE
30 | bus_LV_886-2_0_3_node_152 | 0.4 | n |  | TRUE
31 | bus_LV_886-2_0_3_node_153 | 0.4 | n |  | TRUE
32 | bus_LV_886-2_0_3_node_154 | 0.4 | n |  | TRUE
33 | bus_LV_886-2_0_3_node_155 | 0.4 | n |  | TRUE
34 | bus_LV_886-2_0_3_node_163 | 0.4 | n |  | TRUE
35 | bus_LV_886-2_0_3_node_126 | 0.4 | n |  | TRUE
36 | bus_LV_886-2_0_3_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_886-2_0_3_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_886-2_0_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_886-2_0_3_node_123 | 0.4 | n |  | TRUE
40 | bus_LV_886-2_0_3_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_886-2_0_3_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_886-2_0_3_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_886-2_0_3_node_101 | 0.4 | n |  | TRUE
44 | bus_LV_886-2_0_3_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_886-2_0_3_node_103 | 0.4 | n |  | TRUE
46 | bus_LV_886-2_0_3_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_886-2_0_3_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_886-2_0_3_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_886-2_0_3_node_124 | 0.4 | n |  | TRUE
50 | bus_MV_122_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_886-2_0_3_load_0 | 0 | 0.010479 | 0.0026263 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_886-2_0_3_load_2 | 2 | 0.011408 | 0.002859 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_886-2_0_3_load_128 | 4 | 0.00406 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_886-2_0_3_load_129 | 6 | 0.0048188 | 0.0012077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_886-2_0_3_load_93 | 8 | 0.001111 | 0.00027846 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_886-2_0_3_load_130 | 9 | 0.0097773 | 0.0024504 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_886-2_0_3_load_131 | 10 | 0.0071962 | 0.0018035 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_886-2_0_3_load_109 | 12 | 0.0044446 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_886-2_0_3_load_132 | 13 | 0.0045387 | 0.0011375 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_886-2_0_3_load_133 | 14 | 0.0050562 | 0.0012672 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_886-2_0_3_load_134 | 15 | 0.0032304 | 0.00080961 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_886-2_0_3_load_135 | 17 | 0.0045891 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_886-2_0_3_load_149 | 18 | 0.0022446 | 0.00056255 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_886-2_0_3_load_118 | 20 | 0.0022491 | 0.00056368 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_886-2_0_3_load_159 | 22 | 0.0027733 | 0.00069504 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_886-2_0_3_load_157 | 23 | 0.0028597 | 0.00071672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_886-2_0_3_load_147 | 24 | 0.0031999 | 0.00080197 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_886-2_0_3_load_106 | 25 | 0.0040205 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_886-2_0_3_load_156 | 27 | 0.0033908 | 0.00084982 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_886-2_0_3_load_150 | 28 | 0.0024496 | 0.00061393 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_886-2_0_3_load_151 | 29 | 0.0022289 | 0.00055862 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_886-2_0_3_load_152 | 30 | 0.0042733 | 0.001071 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_886-2_0_3_load_153 | 31 | 0.0030996 | 0.00077682 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_886-2_0_3_load_154 | 32 | 0.006556 | 0.0016431 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_886-2_0_3_load_155 | 33 | 0.0060932 | 0.0015271 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_886-2_0_3_load_163 | 34 | 0.003093 | 0.00077518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_886-2_0_3_load_92 | 36 | 0.0014746 | 0.00036956 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_886-2_0_3_load_95 | 38 | 0.0012703 | 0.00031837 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_886-2_0_3_load_123 | 39 | 0.029627 | 0.0074251 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_886-2_0_3_load_98 | 40 | 0.023971 | 0.0060078 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_886-2_0_3_load_99 | 41 | 0.0087085 | 0.0021826 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_886-2_0_3_load_101 | 43 | 0.0024583 | 0.0006161 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_886-2_0_3_load_102 | 44 | 0.007289 | 0.0018268 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_886-2_0_3_load_103 | 45 | 0.0027726 | 0.00069487 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_886-2_0_3_load_117 | 47 | 0.0010451 | 0.00026193 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_886-2_0_3_load_107 | 48 | 0.0097794 | 0.002451 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_886-2_0_3_load_124 | 49 | 0.012546 | 0.0031444 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_886-2_0_3_line_0 |  | 0 | 1 | 0.018088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_886-2_0_3_line_1 |  | 0 | 2 | 0.0057013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_886-2_0_3_line_2 |  | 1 | 3 | 0.002598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_886-2_0_3_line_3 |  | 3 | 7 | 0.026198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_886-2_0_3_line_4 |  | 3 | 8 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_886-2_0_3_line_5 |  | 4 | 5 | 0.014085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_886-2_0_3_line_6 |  | 4 | 6 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_886-2_0_3_line_7 |  | 5 | 11 | 0.013394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_886-2_0_3_line_8 |  | 5 | 49 | 0.005413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_886-2_0_3_line_9 |  | 6 | 9 | 0.0016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_886-2_0_3_line_10 |  | 7 | 39 | 0.024937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_886-2_0_3_line_11 |  | 8 | 36 | 0.0092219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_886-2_0_3_line_12 |  | 10 | 11 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_886-2_0_3_line_13 |  | 10 | 12 | 0.039158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_886-2_0_3_line_14 |  | 11 | 35 | 0.039374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_886-2_0_3_line_15 |  | 12 | 42 | 0.011304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_886-2_0_3_line_16 |  | 13 | 14 | 0.0082322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_886-2_0_3_line_17 |  | 13 | 15 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_886-2_0_3_line_18 |  | 14 | 16 | 0.036736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_886-2_0_3_line_19 |  | 15 | 17 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_886-2_0_3_line_20 |  | 16 | 42 | 0.003201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_886-2_0_3_line_21 |  | 16 | 48 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_886-2_0_3_line_22 |  | 17 | 18 | 0.0082362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_886-2_0_3_line_23 |  | 18 | 28 | 0.018328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_886-2_0_3_line_24 |  | 19 | 20 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_886-2_0_3_line_25 |  | 19 | 21 | 0.011577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_886-2_0_3_line_26 |  | 21 | 22 | 0.034298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_886-2_0_3_line_27 |  | 21 | 23 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_886-2_0_3_line_28 |  | 22 | 26 | 0.01801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_886-2_0_3_line_29 |  | 24 | 25 | 0.025447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_886-2_0_3_line_30 |  | 24 | 26 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_886-2_0_3_line_31 |  | 25 | 46 | 0.0098724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_886-2_0_3_line_32 |  | 26 | 27 | 0.0098928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_886-2_0_3_line_33 |  | 27 | 32 | 0.039331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_886-2_0_3_line_34 |  | 28 | 29 | 0.0045013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_886-2_0_3_line_35 |  | 29 | 30 | 0.019522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_886-2_0_3_line_36 |  | 31 | 32 | 0.0065518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_886-2_0_3_line_37 |  | 31 | 33 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_886-2_0_3_line_38 |  | 34 | 35 | 0.027363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_886-2_0_3_line_39 |  | 36 | 37 | 0.0086459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_886-2_0_3_line_40 |  | 37 | 38 | 0.0077351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_886-2_0_3_line_41 |  | 39 | 49 | 0.040789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_886-2_0_3_line_42 |  | 40 | 41 | 0.023926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_886-2_0_3_line_43 |  | 41 | 42 | 0.018157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_886-2_0_3_line_44 |  | 43 | 44 | 0.035361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_886-2_0_3_line_45 |  | 43 | 45 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_886-2_0_3_line_46 |  | 44 | 46 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_886-2_0_3_line_47 |  | 45 | 47 | 0.039048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_886-2_0_3_line_48 |  | 46 | 48 | 0.023222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_886-2_0_3_trafo_99 | 0.63 MVA 20/0.4 kV | 50 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2605374.1219 | 1179887.0888 | 2605377.5849 | 1179904.8422
1 | 2605378.6765 | 1179910.4381 | 2605377.5849 | 1179904.8422
2 | 2605376.5821 | 1179886.235 | 2605374.1219 | 1179887.0888
3 | 2605376.5821 | 1179886.235 | 2605390.5721 | 1179881.3338 | 2605399.5725 | 1179878.5514 | 2605401.4748 | 1179878.1085
4 | 2605376.5821 | 1179886.235 | 2605372.4445 | 1179875.4593
5 | 2605425.6003 | 1179933.6472 | 2605420.4669 | 1179934.2429 | 2605413.0656 | 1179934.0918 | 2605411.5521 | 1179934.1531
6 | 2605394.8337 | 1179939.284 | 2605400.5296 | 1179936.0372 | 2605405.8167 | 1179934.3855 | 2605411.5521 | 1179934.1531
7 | 2605425.6003 | 1179933.6472 | 2605431.6425 | 1179933.1968 | 2605438.9 | 1179931.8915
8 | 2605425.6003 | 1179933.6472 | 2605420.2849 | 1179932.6235
9 | 2605393.4225 | 1179940.0885 | 2605394.8337 | 1179939.284
10 | 2605401.4748 | 1179878.1085 | 2605406.7769 | 1179902.4757
11 | 2605369.1388 | 1179866.8503 | 2605372.4445 | 1179875.4593
12 | 2605438.9 | 1179931.8915 | 2605438.7873 | 1179938.3169 | 2605438.5156 | 1179946.1562
13 | 2605438.5156 | 1179946.1562 | 2605437.1591 | 1179985.2912
14 | 2605438.9 | 1179931.8915 | 2605438.7076 | 1179924.8989 | 2605438.1561 | 1179918.1283 | 2605463.6921 | 1179916.5393
15 | 2605436.4513 | 1179996.5668 | 2605436.929 | 1179991.9315 | 2605437.1591 | 1179985.2912
16 | 2605480.7077 | 1180000.7016 | 2605479.9087 | 1180000.3633 | 2605472.6383 | 1179999.1895 | 2605472.6383 | 1179999.1895
17 | 2605480.7077 | 1180000.7016 | 2605486.0398 | 1180002.9591 | 2605490.8633 | 1180007.0767 | 2605492.5902 | 1180010.0375
18 | 2605435.9214 | 1179999.7235 | 2605441.8408 | 1179999.9289 | 2605449.6545 | 1180000.0137 | 2605472.6383 | 1179999.1895
19 | 2605498.8318 | 1180023.0103 | 2605494.5545 | 1180013.4055 | 2605492.5902 | 1180010.0375
20 | 2605436.4513 | 1179996.5668 | 2605435.9214 | 1179999.7235
21 | 2605435.9214 | 1179999.7235 | 2605435.3225 | 1180003.2136 | 2605434.4486 | 1180006.7813 | 2605431.8361 | 1180015.5724 | 2605431.8329 | 1180015.5811
22 | 2605498.8318 | 1180023.0103 | 2605502.1823 | 1180030.5342
23 | 2605509.6384 | 1180047.2773 | 2605502.1823 | 1180030.5342
24 | 2605355.0454 | 1180125.1045 | 2605345.8306 | 1180120.3162 | 2605342.7464 | 1180118.5459 | 2605339.7774 | 1180116.0531 | 2605337.0837 | 1180113.4585
25 | 2605362.9047 | 1180116.5849 | 2605355.0454 | 1180125.1045
26 | 2605362.9047 | 1180116.5849 | 2605369.4648 | 1180109.009 | 2605384.6886 | 1180090.0996
27 | 2605362.9047 | 1180116.5849 | 2605368.1871 | 1180120.1247 | 2605371.9967 | 1180122.1179 | 2605380.4113 | 1180125.6655
28 | 2605395.9826 | 1180076.0713 | 2605384.6886 | 1180090.0996
29 | 2605418.4043 | 1180045.7313 | 2605403.2802 | 1180066.1966
30 | 2605395.9826 | 1180076.0713 | 2605403.2802 | 1180066.1966
31 | 2605423.308 | 1180037.1646 | 2605420.9669 | 1180041.4314 | 2605418.4043 | 1180045.7313
32 | 2605395.9826 | 1180076.0713 | 2605398.1816 | 1180076.907 | 2605399.8005 | 1180077.2975 | 2605402.4203 | 1180077.2998 | 2605405.6148 | 1180076.6745
33 | 2605405.6148 | 1180076.6745 | 2605406.0949 | 1180076.5805 | 2605436.5082 | 1180069.3929 | 2605440.4563 | 1180070.2635 | 2605443.0664 | 1180072.6671 | 2605443.0664 | 1180072.6671
34 | 2605509.6384 | 1180047.2773 | 2605511.4696 | 1180051.3892
35 | 2605519.4115 | 1180069.2232 | 2605511.4696 | 1180051.3892
36 | 2605445.2616 | 1180078.8402 | 2605443.0664 | 1180072.6671
37 | 2605448.9862 | 1180089.3142 | 2605445.2616 | 1180078.8402
38 | 2605463.6921 | 1179916.5393 | 2605466.1384 | 1179922.7335 | 2605469.8956 | 1179932.1417 | 2605476.4875 | 1179940.4074
39 | 2605368.8457 | 1179859.1032 | 2605367.1325 | 1179861.6252 | 2605369.1388 | 1179866.8503
40 | 2605368.8457 | 1179859.1032 | 2605364.9823 | 1179852.402
41 | 2605406.7769 | 1179902.4757 | 2605407.6442 | 1179906.4618 | 2605406.7194 | 1179924.2478 | 2605407.6231 | 1179930.1849 | 2605420.2849 | 1179932.6235
42 | 2605402.7724 | 1179985.9213 | 2605402.7432 | 1179989.1774 | 2605403.0454 | 1179992.9351 | 2605405.0058 | 1179995.805 | 2605410.4431 | 1179997.0104 | 2605417.539 | 1179996.8723 | 2605418.2971 | 1179996.8666
43 | 2605436.4513 | 1179996.5668 | 2605425.5362 | 1179996.8127 | 2605418.2971 | 1179996.8666
44 | 2605377.909 | 1180037.5851 | 2605390.6862 | 1180036.6909 | 2605413.1572 | 1180034.7802
45 | 2605377.909 | 1180037.5851 | 2605365.7464 | 1180038.4364 | 2605358.4328 | 1180037.8727
46 | 2605423.308 | 1180037.1646 | 2605420.4984 | 1180035.8281 | 2605417.6043 | 1180035.014 | 2605413.5869 | 1180034.7436 | 2605413.1572 | 1180034.7802
47 | 2605358.4328 | 1180037.8727 | 2605329.1608 | 1180063.7171
48 | 2605423.308 | 1180037.1646 | 2605426.1242 | 1180031.1085 | 2605431.8329 | 1180015.5811

## bus_geodata
| x | y | coords
0 | 2605377.5849 | 1179904.8422
1 | 2605374.1219 | 1179887.0888
2 | 2605378.6765 | 1179910.4381
3 | 2605376.5821 | 1179886.235
4 | 2605411.5521 | 1179934.1531
5 | 2605425.6003 | 1179933.6472
6 | 2605394.8337 | 1179939.284
7 | 2605401.4748 | 1179878.1085
8 | 2605372.4445 | 1179875.4593
9 | 2605393.4225 | 1179940.0885
10 | 2605438.5156 | 1179946.1562
11 | 2605438.9 | 1179931.8915
12 | 2605437.1591 | 1179985.2912
13 | 2605480.7077 | 1180000.7016
14 | 2605472.6383 | 1179999.1895
15 | 2605492.5902 | 1180010.0375
16 | 2605435.9214 | 1179999.7235
17 | 2605498.8318 | 1180023.0103
18 | 2605502.1823 | 1180030.5342
19 | 2605355.0454 | 1180125.1045
20 | 2605337.0837 | 1180113.4585
21 | 2605362.9047 | 1180116.5849
22 | 2605384.6886 | 1180090.0996
23 | 2605380.4113 | 1180125.6655
24 | 2605403.2802 | 1180066.1966
25 | 2605418.4043 | 1180045.7313
26 | 2605395.9826 | 1180076.0713
27 | 2605405.6148 | 1180076.6745
28 | 2605509.6384 | 1180047.2773
29 | 2605511.4696 | 1180051.3892
30 | 2605519.4115 | 1180069.2232
31 | 2605445.2616 | 1180078.8402
32 | 2605443.0664 | 1180072.6671
33 | 2605448.9862 | 1180089.3142
34 | 2605476.4875 | 1179940.4074
35 | 2605463.6921 | 1179916.5393
36 | 2605369.1388 | 1179866.8503
37 | 2605368.8457 | 1179859.1032
38 | 2605364.9823 | 1179852.402
39 | 2605406.7769 | 1179902.4757
40 | 2605402.7724 | 1179985.9213
41 | 2605418.2971 | 1179996.8666
42 | 2605436.4513 | 1179996.5668
43 | 2605377.909 | 1180037.5851
44 | 2605413.1572 | 1180034.7802
45 | 2605358.4328 | 1180037.8727
46 | 2605423.308 | 1180037.1646
47 | 2605329.1608 | 1180063.7171
48 | 2605431.8329 | 1180015.5811
49 | 2605420.2849 | 1179932.6235
50 | 2605436.4513 | 1179996.5668

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1