## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_886-2_1_3_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_886-2_1_3_node_91 | 0.4 | n |  | TRUE
2 | bus_LV_886-2_1_3_node_90 | 0.4 | n |  | TRUE
3 | bus_LV_886-2_1_3_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_886-2_1_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_886-2_1_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_886-2_1_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_886-2_1_3_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_886-2_1_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_886-2_1_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_886-2_1_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_886-2_1_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_886-2_1_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_886-2_1_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_886-2_1_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_886-2_1_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_886-2_1_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_886-2_1_3_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_886-2_1_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_886-2_1_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_886-2_1_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_886-2_1_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_886-2_1_3_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_886-2_1_3_node_136 | 0.4 | n |  | TRUE
24 | bus_LV_886-2_1_3_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_886-2_1_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_886-2_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_886-2_1_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_886-2_1_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_886-2_1_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_886-2_1_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_886-2_1_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_886-2_1_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_886-2_1_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_886-2_1_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_886-2_1_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_886-2_1_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_886-2_1_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_886-2_1_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_886-2_1_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_886-2_1_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_886-2_1_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_886-2_1_3_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_886-2_1_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_886-2_1_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_886-2_1_3_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_886-2_1_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_886-2_1_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_886-2_1_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_886-2_1_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_886-2_1_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_886-2_1_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_886-2_1_3_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_886-2_1_3_node_86 | 0.4 | n |  | TRUE
54 | bus_LV_886-2_1_3_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_886-2_1_3_node_160 | 0.4 | n |  | TRUE
56 | bus_LV_886-2_1_3_node_161 | 0.4 | n |  | TRUE
57 | bus_LV_886-2_1_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_886-2_1_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_886-2_1_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_886-2_1_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_886-2_1_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_886-2_1_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_886-2_1_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_886-2_1_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_886-2_1_3_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_886-2_1_3_node_138 | 0.4 | n |  | TRUE
67 | bus_LV_886-2_1_3_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_886-2_1_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_886-2_1_3_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_886-2_1_3_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_886-2_1_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_886-2_1_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_886-2_1_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_886-2_1_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_886-2_1_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_886-2_1_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_886-2_1_3_node_139 | 0.4 | n |  | TRUE
78 | bus_LV_886-2_1_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_886-2_1_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_886-2_1_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_886-2_1_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_886-2_1_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_886-2_1_3_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_886-2_1_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_886-2_1_3_node_121 | 0.4 | n |  | TRUE
86 | bus_LV_886-2_1_3_node_116 | 0.4 | n |  | TRUE
87 | bus_LV_886-2_1_3_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_886-2_1_3_node_115 | 0.4 | n |  | TRUE
89 | bus_LV_886-2_1_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_886-2_1_3_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_886-2_1_3_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_886-2_1_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_886-2_1_3_node_137 | 0.4 | n |  | TRUE
94 | bus_LV_886-2_1_3_node_112 | 0.4 | n |  | TRUE
95 | bus_LV_886-2_1_3_node_114 | 0.4 | n |  | TRUE
96 | bus_LV_886-2_1_3_node_110 | 0.4 | n |  | TRUE
97 | bus_LV_886-2_1_3_node_111 | 0.4 | n |  | TRUE
98 | bus_LV_886-2_1_3_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_886-2_1_3_node_165 | 0.4 | n |  | TRUE
100 | bus_LV_886-2_1_3_node_162 | 0.4 | n |  | TRUE
101 | bus_LV_886-2_1_3_node_164 | 0.4 | n |  | TRUE
102 | bus_LV_886-2_1_3_node_143 | 0.4 | n |  | TRUE
103 | bus_LV_886-2_1_3_node_141 | 0.4 | n |  | TRUE
104 | bus_LV_886-2_1_3_node_144 | 0.4 | n |  | TRUE
105 | bus_LV_886-2_1_3_node_142 | 0.4 | n |  | TRUE
106 | bus_LV_886-2_1_3_node_140 | 0.4 | n |  | TRUE
107 | bus_MV_122_0_node_228 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_886-2_1_3_load_91 | 1 | 0.016394 | 0.0041088 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_886-2_1_3_load_90 | 2 | 0.0017046 | 0.00042722 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_886-2_1_3_load_5 | 4 | 0.0022224 | 0.00055698 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_886-2_1_3_load_17 | 7 | 0.0022232 | 0.00055719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_886-2_1_3_load_18 | 8 | 0.0017552 | 0.0004399 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_886-2_1_3_load_19 | 9 | 0.0016147 | 0.00040469 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_886-2_1_3_load_16 | 11 | 0.0016351 | 0.00040979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_886-2_1_3_load_11 | 12 | 0.0030136 | 0.00075527 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_886-2_1_3_load_10 | 13 | 0.0056738 | 0.001422 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_886-2_1_3_load_15 | 14 | 0.00071206 | 0.00017846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_886-2_1_3_load_12 | 15 | 0.0029008 | 0.000727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_886-2_1_3_load_13 | 16 | 0.0029327 | 0.000735 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_886-2_1_3_load_43 | 17 | 0.0069438 | 0.0017403 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_886-2_1_3_load_14 | 19 | 0.00071006 | 0.00017796 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_886-2_1_3_load_22 | 20 | 0.0014625 | 0.00036654 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_886-2_1_3_load_23 | 21 | 0.0027138 | 0.00068015 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_886-2_1_3_load_97 | 22 | 0.0026741 | 0.00067019 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_886-2_1_3_load_136 | 23 | 0.0013935 | 0.00034925 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_886-2_1_3_load_24 | 25 | 0.0047701 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_886-2_1_3_load_25 | 26 | 0.0050705 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_886-2_1_3_load_27 | 28 | 0.0037634 | 0.00094321 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_886-2_1_3_load_55 | 32 | 0.0014405 | 0.00036102 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_886-2_1_3_load_54 | 33 | 0.0036097 | 0.00090466 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_886-2_1_3_load_36 | 34 | 0.0037968 | 0.00095157 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_886-2_1_3_load_31 | 35 | 0.0025816 | 0.00064701 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_886-2_1_3_load_44 | 36 | 0.0019707 | 0.0004939 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_886-2_1_3_load_56 | 37 | 0.0022279 | 0.00055835 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_886-2_1_3_load_82 | 42 | 0.0011986 | 0.00030039 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_886-2_1_3_load_34 | 43 | 0.0053818 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_886-2_1_3_load_81 | 45 | 0.0011218 | 0.00028114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_886-2_1_3_load_39 | 47 | 0.0044534 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_886-2_1_3_load_50 | 50 | 0.0020685 | 0.00051842 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_886-2_1_3_load_51 | 52 | 0.012168 | 0.0030496 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_886-2_1_3_load_86 | 53 | 0.0041564 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_886-2_1_3_load_84 | 54 | 0.0037496 | 0.00093973 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_886-2_1_3_load_160 | 55 | 0.0026484 | 0.00066376 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_886-2_1_3_load_161 | 56 | 0.005874 | 0.0014722 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_886-2_1_3_load_46 | 57 | 0.0036361 | 0.0009113 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_886-2_1_3_load_47 | 58 | 0.0028542 | 0.00071534 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_886-2_1_3_load_48 | 59 | 0.0058244 | 0.0014597 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_886-2_1_3_load_49 | 60 | 0.0051482 | 0.0012903 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_886-2_1_3_load_65 | 63 | 0.0030877 | 0.00077385 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_886-2_1_3_load_61 | 64 | 0.0052622 | 0.0013188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_886-2_1_3_load_138 | 66 | 0.0058233 | 0.0014595 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_886-2_1_3_load_52 | 68 | 0.0064589 | 0.0016188 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_886-2_1_3_load_87 | 69 | 0.0050257 | 0.0012596 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_886-2_1_3_load_88 | 70 | 0.00166 | 0.00041605 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_886-2_1_3_load_57 | 71 | 0.0027855 | 0.0006981 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_886-2_1_3_load_58 | 72 | 0.0013281 | 0.00033286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_886-2_1_3_load_59 | 73 | 0.0023974 | 0.00060084 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_886-2_1_3_load_62 | 75 | 0.0094188 | 0.0023606 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_886-2_1_3_load_139 | 77 | 0.0028366 | 0.00071092 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_886-2_1_3_load_66 | 78 | 0.003015 | 0.00075564 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_886-2_1_3_load_69 | 80 | 0.0044874 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_886-2_1_3_load_74 | 81 | 0.0016967 | 0.00042523 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_886-2_1_3_load_67 | 82 | 0.0023612 | 0.00059176 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_886-2_1_3_load_73 | 83 | 0.004475 | 0.0011215 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_886-2_1_3_load_121 | 85 | 0.0055229 | 0.0013842 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_886-2_1_3_load_119 | 87 | 0.010661 | 0.0026719 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_886-2_1_3_load_115 | 88 | 0.0014458 | 0.00036234 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_886-2_1_3_load_80 | 89 | 0.0027855 | 0.00069812 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_886-2_1_3_load_77 | 90 | 0.0056395 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_886-2_1_3_load_75 | 91 | 0.0053016 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_886-2_1_3_load_83 | 92 | 0.0010462 | 0.00026219 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_886-2_1_3_load_137 | 93 | 0.0052254 | 0.0013096 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_886-2_1_3_load_110 | 96 | 0.016394 | 0.0041087 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_886-2_1_3_load_111 | 97 | 0.016826 | 0.004217 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_886-2_1_3_load_113 | 98 | 0.033233 | 0.0083289 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_886-2_1_3_load_165 | 99 | 0.019647 | 0.0049241 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_886-2_1_3_load_164 | 101 | 0.0055437 | 0.0013894 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_886-2_1_3_load_141 | 103 | 0.0055491 | 0.0013907 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_886-2_1_3_load_144 | 104 | 0.010739 | 0.0026914 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_886-2_1_3_load_142 | 105 | 0.01075 | 0.0026942 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_886-2_1_3_load_140 | 106 | 0.0045258 | 0.0011343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_886-2_1_3_line_0 |  | 0 | 1 | 0.038242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_886-2_1_3_line_1 |  | 0 | 2 | 0.0038887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_886-2_1_3_line_2 |  | 2 | 3 | 0.0090938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_886-2_1_3_line_3 |  | 3 | 46 | 0.027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_886-2_1_3_line_4 |  | 4 | 5 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_886-2_1_3_line_5 |  | 5 | 6 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_886-2_1_3_line_6 |  | 6 | 7 | 0.047062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_886-2_1_3_line_7 |  | 7 | 14 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_886-2_1_3_line_8 |  | 8 | 9 | 0.0084992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_886-2_1_3_line_9 |  | 8 | 10 | 0.012421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_886-2_1_3_line_10 |  | 8 | 11 | 0.036856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_886-2_1_3_line_11 |  | 10 | 20 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_886-2_1_3_line_12 |  | 10 | 21 | 0.018765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_886-2_1_3_line_13 |  | 11 | 19 | 8.23e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_886-2_1_3_line_14 |  | 12 | 13 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_886-2_1_3_line_15 |  | 13 | 15 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_886-2_1_3_line_16 |  | 14 | 19 | 0.0071989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_886-2_1_3_line_17 |  | 15 | 16 | 0.02286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_886-2_1_3_line_18 |  | 16 | 17 | 0.0013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_886-2_1_3_line_19 |  | 17 | 18 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_886-2_1_3_line_20 |  | 18 | 40 | 0.005722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_886-2_1_3_line_21 |  | 20 | 22 | 0.0022394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_886-2_1_3_line_22 |  | 21 | 23 | 0.0018715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_886-2_1_3_line_23 |  | 23 | 24 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_886-2_1_3_line_24 |  | 24 | 70 | 0.0127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_886-2_1_3_line_25 |  | 24 | 93 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_886-2_1_3_line_26 |  | 25 | 26 | 0.0055223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_886-2_1_3_line_27 |  | 25 | 27 | 0.012186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_886-2_1_3_line_28 |  | 26 | 28 | 0.006893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_886-2_1_3_line_29 |  | 27 | 29 | 0.001347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_886-2_1_3_line_30 |  | 27 | 30 | 0.02002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_886-2_1_3_line_31 |  | 28 | 31 | 0.018731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_886-2_1_3_line_32 |  | 29 | 32 | 0.027036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_886-2_1_3_line_33 |  | 29 | 33 | 0.016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_886-2_1_3_line_34 |  | 30 | 34 | 0.0081234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_886-2_1_3_line_35 |  | 30 | 35 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_886-2_1_3_line_36 |  | 31 | 36 | 0.0072455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_886-2_1_3_line_37 |  | 32 | 37 | 0.010017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_886-2_1_3_line_38 |  | 33 | 38 | 0.0098158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_886-2_1_3_line_39 |  | 35 | 39 | 0.019267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_886-2_1_3_line_40 |  | 36 | 41 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_886-2_1_3_line_41 |  | 37 | 71 | 0.016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_886-2_1_3_line_42 |  | 38 | 48 | 0.018533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_886-2_1_3_line_43 |  | 39 | 40 | 0.024211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_886-2_1_3_line_44 |  | 40 | 42 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_886-2_1_3_line_45 |  | 41 | 57 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_886-2_1_3_line_46 |  | 41 | 58 | 0.036223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_886-2_1_3_line_47 |  | 42 | 45 | 0.007414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_886-2_1_3_line_48 |  | 43 | 44 | 0.0094266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_886-2_1_3_line_49 |  | 44 | 46 | 0.012534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_886-2_1_3_line_50 |  | 44 | 47 | 0.027312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_886-2_1_3_line_51 |  | 45 | 92 | 0.0081504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_886-2_1_3_line_52 |  | 46 | 50 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_886-2_1_3_line_53 |  | 47 | 51 | 0.016658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_886-2_1_3_line_54 |  | 48 | 49 | 0.005986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_886-2_1_3_line_55 |  | 49 | 55 | 0.015941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_886-2_1_3_line_56 |  | 50 | 52 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_886-2_1_3_line_57 |  | 51 | 53 | 0.016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_886-2_1_3_line_58 |  | 51 | 54 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_886-2_1_3_line_59 |  | 52 | 68 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_886-2_1_3_line_60 |  | 53 | 93 | 0.0025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_886-2_1_3_line_61 |  | 54 | 92 | 0.0085408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_886-2_1_3_line_62 |  | 55 | 56 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_886-2_1_3_line_63 |  | 56 | 102 | 0.030292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_886-2_1_3_line_64 |  | 57 | 59 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_886-2_1_3_line_65 |  | 59 | 60 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_886-2_1_3_line_66 |  | 60 | 65 | 0.004451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_886-2_1_3_line_67 |  | 61 | 62 | 0.023379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_886-2_1_3_line_68 |  | 61 | 63 | 0.030303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_886-2_1_3_line_69 |  | 61 | 64 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_886-2_1_3_line_70 |  | 62 | 78 | 0.012318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_886-2_1_3_line_71 |  | 63 | 79 | 0.0089445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_886-2_1_3_line_72 |  | 64 | 74 | 0.012035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_886-2_1_3_line_73 |  | 65 | 66 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_886-2_1_3_line_74 |  | 65 | 67 | 0.035393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_886-2_1_3_line_75 |  | 67 | 90 | 0.027301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_886-2_1_3_line_76 |  | 67 | 91 | 0.064363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_886-2_1_3_line_77 |  | 69 | 70 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_886-2_1_3_line_78 |  | 71 | 72 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_886-2_1_3_line_79 |  | 72 | 73 | 0.0032016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_886-2_1_3_line_80 |  | 73 | 74 | 0.037412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_886-2_1_3_line_81 |  | 74 | 75 | 0.013932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_886-2_1_3_line_82 |  | 75 | 76 | 0.029338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_886-2_1_3_line_83 |  | 76 | 77 | 0.0074295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_886-2_1_3_line_84 |  | 77 | 85 | 0.023735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_886-2_1_3_line_85 |  | 78 | 82 | 0.0097697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_886-2_1_3_line_86 |  | 79 | 83 | 0.01974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_886-2_1_3_line_87 |  | 79 | 81 | 0.010756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_886-2_1_3_line_88 |  | 80 | 81 | 0.0032753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_886-2_1_3_line_89 |  | 84 | 85 | 0.047017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_886-2_1_3_line_90 |  | 84 | 86 | 0.021858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_886-2_1_3_line_91 |  | 84 | 87 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_886-2_1_3_line_92 |  | 86 | 88 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_886-2_1_3_line_93 |  | 89 | 90 | 0.0012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_886-2_1_3_line_94 |  | 94 | 95 | 0.030989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_886-2_1_3_line_95 |  | 94 | 96 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_886-2_1_3_line_96 |  | 95 | 99 | 0.004704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_886-2_1_3_line_97 |  | 95 | 100 | 0.016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_886-2_1_3_line_98 |  | 96 | 97 | 0.0019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_886-2_1_3_line_99 |  | 97 | 98 | 0.025481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_886-2_1_3_line_100 |  | 100 | 101 | 0.006555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_886-2_1_3_line_101 |  | 100 | 102 | 0.021021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_886-2_1_3_line_102 |  | 102 | 103 | 0.024957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_886-2_1_3_line_103 |  | 103 | 106 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_886-2_1_3_line_104 |  | 104 | 105 | 0.019996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_886-2_1_3_line_105 |  | 105 | 106 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_886-2_1_3_trafo_40 | 0.63 MVA 20/0.4 kV | 107 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2605333.4038 | 1179928.8297 | 2605344.2703 | 1179923.1697 | 2605346.083 | 1179920.4588 | 2605341.153 | 1179898.2432
1 | 2605341.153 | 1179898.2432 | 2605337.776 | 1179899.2518 | 2605337.4204 | 1179899.3307
2 | 2605328.4864 | 1179900.989 | 2605332.3823 | 1179900.4477 | 2605337.4204 | 1179899.3307
3 | 2605300.9129 | 1179900.2867 | 2605310.1695 | 1179901.3509 | 2605319.4192 | 1179901.6369 | 2605328.4864 | 1179900.989
4 | 2605279.8999 | 1179698.4877 | 2605277.0024 | 1179701.3756 | 2605273.7842 | 1179704.1297 | 2605269.2211 | 1179707.5831 | 2605263.6497 | 1179710.9689 | 2605259.0695 | 1179713.3638
5 | 2605279.8999 | 1179698.4877 | 2605285.5262 | 1179702.2279 | 2605289.4428 | 1179704.5547 | 2605311.8926 | 1179712.9452
6 | 2605311.8926 | 1179712.9452 | 2605309.9434 | 1179731.9643 | 2605309.0047 | 1179748.5386 | 2605308.9947 | 1179759.8805
7 | 2605308.9947 | 1179759.8805 | 2605308.9904 | 1179764.8803 | 2605310.6186 | 1179772.2299 | 2605313.2552 | 1179779.6054
8 | 2605339.2863 | 1179814.7878 | 2605339.2863 | 1179814.7878 | 2605347.3834 | 1179812.2047
9 | 2605343.4923 | 1179826.4753 | 2605339.2863 | 1179814.7878
10 | 2605339.2863 | 1179814.7878 | 2605315.7062 | 1179786.4616
11 | 2605343.4923 | 1179826.4753 | 2605345.7129 | 1179828.9229 | 2605348.2833 | 1179833.194 | 2605349.691 | 1179835.5616
12 | 2605343.4923 | 1179826.4753 | 2605335.6226 | 1179829.0697 | 2605326.2996 | 1179833.8528
13 | 2605315.6785 | 1179786.3841 | 2605315.7062 | 1179786.4616
14 | 2605193.8436 | 1179829.5189 | 2605185.6505 | 1179820.5308
15 | 2605193.8436 | 1179829.5189 | 2605205.1966 | 1179841.9736
16 | 2605315.6785 | 1179786.3841 | 2605313.2552 | 1179779.6054
17 | 2605219.6317 | 1179859.6512 | 2605216.4501 | 1179854.9127 | 2605210.5822 | 1179847.8818 | 2605205.1966 | 1179841.9736
18 | 2605220.3916 | 1179860.783 | 2605219.6317 | 1179859.6512
19 | 2605225.2207 | 1179870.4393 | 2605221.0806 | 1179861.8091 | 2605220.3916 | 1179860.783
20 | 2605225.2207 | 1179870.4393 | 2605229.4949 | 1179874.256
21 | 2605349.691 | 1179835.5616 | 2605350.8354 | 1179837.4865
22 | 2605326.2996 | 1179833.8528 | 2605324.6782 | 1179834.7875
23 | 2605306.5908 | 1179844.8078 | 2605308.4327 | 1179843.5866 | 2605317.4423 | 1179838.9588 | 2605324.6782 | 1179834.7875
24 | 2605306.5908 | 1179844.8078 | 2605311.4103 | 1179856.5576
25 | 2605306.5908 | 1179844.8078 | 2605300.5155 | 1179848.0709 | 2605294.948 | 1179849.953
26 | 2605225.327 | 1179923.2292 | 2605224.0954 | 1179917.8461
27 | 2605228.0447 | 1179935.108 | 2605225.327 | 1179923.2292
28 | 2605224.0954 | 1179917.8461 | 2605222.5581 | 1179911.1267
29 | 2605226.8297 | 1179935.6962 | 2605228.0447 | 1179935.108
30 | 2605245.8954 | 1179925.9632 | 2605239.1094 | 1179929.7593 | 2605228.0447 | 1179935.108
31 | 2605218.3805 | 1179892.867 | 2605222.5581 | 1179911.1267
32 | 2605226.8297 | 1179935.6962 | 2605221.6947 | 1179938.1708 | 2605205.2647 | 1179947.3391 | 2605203.0991 | 1179948.6303
33 | 2605226.8297 | 1179935.6962 | 2605231.7349 | 1179951.8248
34 | 2605245.8954 | 1179925.9632 | 2605245.1366 | 1179928.9752 | 2605246.4432 | 1179933.8194
35 | 2605245.8954 | 1179925.9632 | 2605247.7081 | 1179923.1077 | 2605249.6756 | 1179917.9846 | 2605248.2055 | 1179911.3585
36 | 2605218.3805 | 1179892.867 | 2605216.8069 | 1179893.0213 | 2605211.3074 | 1179894.3782
37 | 2605203.0991 | 1179948.6303 | 2605197.7984 | 1179951.7906 | 2605196.444 | 1179955.3901
38 | 2605234.591 | 1179961.2159 | 2605231.7349 | 1179951.8248
39 | 2605244.9697 | 1179892.3675 | 2605247.8724 | 1179909.8567 | 2605248.2055 | 1179911.3585
40 | 2605196.8788 | 1179901.7865 | 2605200.7159 | 1179898.6993 | 2605204.8806 | 1179896.4462 | 2605209.4879 | 1179894.8271 | 2605211.3074 | 1179894.3782
41 | 2605196.444 | 1179955.3901 | 2605196.3056 | 1179955.758 | 2605196.7957 | 1179963.1955 | 2605199.6251 | 1179970.842
42 | 2605252.4154 | 1179955.9619 | 2605234.591 | 1179961.2159
43 | 2605244.9697 | 1179892.3675 | 2605244.1322 | 1179889.1985 | 2605242.8811 | 1179887.3298 | 2605234.5396 | 1179879.0628 | 2605229.4949 | 1179874.256
44 | 2605229.4949 | 1179874.256 | 2605243.8622 | 1179867.33
45 | 2605196.8788 | 1179901.7865 | 2605192.6496 | 1179898.9592 | 2605189.275 | 1179897.2666 | 2605185.0212 | 1179896.3958 | 2605182.0373 | 1179896.3435
46 | 2605196.8788 | 1179901.7865 | 2605193.4766 | 1179905.5633 | 2605190.4714 | 1179909.5183 | 2605187.4342 | 1179915.1408 | 2605184.7407 | 1179920.8525 | 2605182.5966 | 1179927.165 | 2605181.0098 | 1179933.7782
47 | 2605250.5407 | 1179864.1105 | 2605243.8622 | 1179867.33
48 | 2605288.4795 | 1179898.4416 | 2605279.1494 | 1179897.0955
49 | 2605300.9129 | 1179900.2867 | 2605288.4795 | 1179898.4416
50 | 2605288.4795 | 1179898.4416 | 2605281.5517 | 1179872.0232
51 | 2605258.1755 | 1179861.343 | 2605253.5731 | 1179862.6486 | 2605250.5407 | 1179864.1105
52 | 2605300.9129 | 1179900.2867 | 2605299.5728 | 1179912.9476 | 2605300.5665 | 1179920.8858 | 2605304.7428 | 1179926.8484
53 | 2605277.3264 | 1179855.9102 | 2605281.5517 | 1179872.0232
54 | 2605252.4154 | 1179955.9619 | 2605254.1214 | 1179961.6996
55 | 2605254.1214 | 1179961.6996 | 2605261.418 | 1179959.238 | 2605269.6438 | 1179959.7343
56 | 2605312.4686 | 1179943.9308 | 2605311.2439 | 1179939.249 | 2605307.5162 | 1179930.8081 | 2605304.7428 | 1179926.8484
57 | 2605277.3264 | 1179855.9102 | 2605292.5186 | 1179850.7743
58 | 2605277.3264 | 1179855.9102 | 2605266.3921 | 1179859.0121
59 | 2605315.4614 | 1179955.372 | 2605312.4686 | 1179943.9308
60 | 2605294.948 | 1179849.953 | 2605292.5186 | 1179850.7743
61 | 2605258.1755 | 1179861.343 | 2605266.3921 | 1179859.0121
62 | 2605269.6438 | 1179959.7343 | 2605271.8662 | 1179976.8451
63 | 2605271.9782 | 1180007.0494 | 2605271.593 | 1180002.1132 | 2605272.5954 | 1179982.4596 | 2605271.8662 | 1179976.8451
64 | 2605182.0373 | 1179896.3435 | 2605175.6951 | 1179896.2323 | 2605168.4229 | 1179896.9375 | 2605156.2679 | 1179899.951 | 2605155.3212 | 1179900.2827
65 | 2605155.3212 | 1179900.2827 | 2605138.8799 | 1179906.0439
66 | 2605134.691 | 1179907.5477 | 2605135.5697 | 1179907.2038 | 2605138.8799 | 1179906.0439
67 | 2605167.5885 | 1180015.7641 | 2605159.8095 | 1180037.8132
68 | 2605167.5885 | 1180015.7641 | 2605151.7991 | 1180008.4914 | 2605142.5137 | 1180005.5043 | 2605139.4545 | 1180004.6915
69 | 2605167.5885 | 1180015.7641 | 2605180.0881 | 1180019.4919
70 | 2605159.8095 | 1180037.8132 | 2605171.3251 | 1180042.1858
71 | 2605130.692 | 1180002.993 | 2605135.3355 | 1180003.5972 | 2605139.4545 | 1180004.6915
72 | 2605191.5046 | 1180023.2661 | 2605187.9617 | 1180021.8401 | 2605180.0881 | 1180019.4919
73 | 2605134.691 | 1179907.5477 | 2605129.4109 | 1179891.9101
74 | 2605101.8204 | 1179920.6378 | 2605108.7891 | 1179917.4642 | 2605114.3285 | 1179915.4345 | 2605134.691 | 1179907.5477
75 | 2605101.8204 | 1179920.6378 | 2605104.2925 | 1179932.9017 | 2605105.8423 | 1179942.8858 | 2605106.3611 | 1179947.5442
76 | 2605101.8204 | 1179920.6378 | 2605083.1614 | 1179937.4752 | 2605075.4931 | 1179946.0732 | 2605069.3922 | 1179952.916 | 2605062.6479 | 1179961.826 | 2605057.2527 | 1179966.8424
77 | 2605316.3888 | 1179868.6949 | 2605311.4103 | 1179856.5576
78 | 2605201.8045 | 1179984.1401 | 2605201.0175 | 1179974.605 | 2605199.6251 | 1179970.842
79 | 2605201.8045 | 1179984.1401 | 2605202.0002 | 1179986.5119 | 2605201.7954 | 1179987.3076
80 | 2605191.5046 | 1180023.2661 | 2605195.7935 | 1180009.7295 | 2605199.2567 | 1179997.1705 | 2605201.7954 | 1179987.3076
81 | 2605191.5046 | 1180023.2661 | 2605194.8177 | 1180025.3478 | 2605197.817 | 1180028.2074 | 2605201.9771 | 1180032.3563
82 | 2605223.1545 | 1180052.6193 | 2605222.3529 | 1180052.1184 | 2605216.8272 | 1180047.1667 | 2605201.9771 | 1180032.3563
83 | 2605223.1545 | 1180052.6193 | 2605227.1241 | 1180055.0684 | 2605229.5471 | 1180056.4009
84 | 2605229.5471 | 1180056.4009 | 2605249.6991 | 1180067.4831 | 2605250.3395 | 1180067.8477
85 | 2605171.3251 | 1180042.1858 | 2605180.4586 | 1180045.6539
86 | 2605130.692 | 1180002.993 | 2605123.4728 | 1179986.3117 | 2605122.7994 | 1179984.9005
87 | 2605130.692 | 1180002.993 | 2605132.5509 | 1180013.5872
88 | 2605133.1169 | 1180016.8132 | 2605133.1169 | 1180016.8132 | 2605132.5509 | 1180013.5872
89 | 2605293.8238 | 1180085.2305 | 2605272.8405 | 1180078.3754 | 2605265.6246 | 1180076.0346 | 2605261.4711 | 1180074.1856 | 2605250.3395 | 1180067.8477
90 | 2605314.6546 | 1180091.6853 | 2605309.6081 | 1180089.1796 | 2605306.1414 | 1180088.0649 | 2605293.8238 | 1180085.2305
91 | 2605293.8238 | 1180085.2305 | 2605296.8092 | 1180065.3432
92 | 2605314.6546 | 1180091.6853 | 2605317.342 | 1180079.4247
93 | 2605106.3611 | 1179947.5442 | 2605106.5024 | 1179948.8128
94 | 2605302.2284 | 1180003.296 | 2605311.7902 | 1180004.605 | 2605313.758 | 1180016.4683 | 2605321.6439 | 1180021.4222
95 | 2605321.6439 | 1180021.4222 | 2605321.1648 | 1180010.305 | 2605320.9842 | 1179999.1051
96 | 2605301.5068 | 1179998.6485 | 2605302.2284 | 1180003.296
97 | 2605302.2284 | 1180003.296 | 2605303.155 | 1180009.3221 | 2605293.0046 | 1180008.5795
98 | 2605320.9842 | 1179999.1051 | 2605320.9524 | 1179997.1289
99 | 2605320.5418 | 1179971.6514 | 2605320.9524 | 1179997.1289
100 | 2605291.9638 | 1180002.1087 | 2605293.0046 | 1180008.5795
101 | 2605271.9782 | 1180007.0494 | 2605293.0046 | 1180008.5795
102 | 2605271.9782 | 1180007.0494 | 2605252.2127 | 1180004.8867 | 2605247.3461 | 1180006.3199
103 | 2605242.1993 | 1180021.5608 | 2605240.4317 | 1180008.3561 | 2605247.3461 | 1180006.3199
104 | 2605272.7795 | 1180039.0453 | 2605270.4383 | 1180038.8198 | 2605253.2893 | 1180034.6714
105 | 2605242.1993 | 1180021.5608 | 2605243.6419 | 1180032.3377 | 2605253.2893 | 1180034.6714

## bus_geodata
| x | y | coords
0 | 2605341.153 | 1179898.2432
1 | 2605333.4038 | 1179928.8297
2 | 2605337.4204 | 1179899.3307
3 | 2605328.4864 | 1179900.989
4 | 2605259.0695 | 1179713.3638
5 | 2605279.8999 | 1179698.4877
6 | 2605311.8926 | 1179712.9452
7 | 2605308.9947 | 1179759.8805
8 | 2605339.2863 | 1179814.7878
9 | 2605347.3834 | 1179812.2047
10 | 2605343.4923 | 1179826.4753
11 | 2605315.7062 | 1179786.4616
12 | 2605185.6505 | 1179820.5308
13 | 2605193.8436 | 1179829.5189
14 | 2605313.2552 | 1179779.6054
15 | 2605205.1966 | 1179841.9736
16 | 2605219.6317 | 1179859.6512
17 | 2605220.3916 | 1179860.783
18 | 2605225.2207 | 1179870.4393
19 | 2605315.6785 | 1179786.3841
20 | 2605349.691 | 1179835.5616
21 | 2605326.2996 | 1179833.8528
22 | 2605350.8354 | 1179837.4865
23 | 2605324.6782 | 1179834.7875
24 | 2605306.5908 | 1179844.8078
25 | 2605225.327 | 1179923.2292
26 | 2605224.0954 | 1179917.8461
27 | 2605228.0447 | 1179935.108
28 | 2605222.5581 | 1179911.1267
29 | 2605226.8297 | 1179935.6962
30 | 2605245.8954 | 1179925.9632
31 | 2605218.3805 | 1179892.867
32 | 2605203.0991 | 1179948.6303
33 | 2605231.7349 | 1179951.8248
34 | 2605246.4432 | 1179933.8194
35 | 2605248.2055 | 1179911.3585
36 | 2605211.3074 | 1179894.3782
37 | 2605196.444 | 1179955.3901
38 | 2605234.591 | 1179961.2159
39 | 2605244.9697 | 1179892.3675
40 | 2605229.4949 | 1179874.256
41 | 2605196.8788 | 1179901.7865
42 | 2605243.8622 | 1179867.33
43 | 2605279.1494 | 1179897.0955
44 | 2605288.4795 | 1179898.4416
45 | 2605250.5407 | 1179864.1105
46 | 2605300.9129 | 1179900.2867
47 | 2605281.5517 | 1179872.0232
48 | 2605252.4154 | 1179955.9619
49 | 2605254.1214 | 1179961.6996
50 | 2605304.7428 | 1179926.8484
51 | 2605277.3264 | 1179855.9102
52 | 2605312.4686 | 1179943.9308
53 | 2605292.5186 | 1179850.7743
54 | 2605266.3921 | 1179859.0121
55 | 2605269.6438 | 1179959.7343
56 | 2605271.8662 | 1179976.8451
57 | 2605182.0373 | 1179896.3435
58 | 2605181.0098 | 1179933.7782
59 | 2605155.3212 | 1179900.2827
60 | 2605138.8799 | 1179906.0439
61 | 2605167.5885 | 1180015.7641
62 | 2605159.8095 | 1180037.8132
63 | 2605139.4545 | 1180004.6915
64 | 2605180.0881 | 1180019.4919
65 | 2605134.691 | 1179907.5477
66 | 2605129.4109 | 1179891.9101
67 | 2605101.8204 | 1179920.6378
68 | 2605315.4614 | 1179955.372
69 | 2605316.3888 | 1179868.6949
70 | 2605311.4103 | 1179856.5576
71 | 2605199.6251 | 1179970.842
72 | 2605201.8045 | 1179984.1401
73 | 2605201.7954 | 1179987.3076
74 | 2605191.5046 | 1180023.2661
75 | 2605201.9771 | 1180032.3563
76 | 2605223.1545 | 1180052.6193
77 | 2605229.5471 | 1180056.4009
78 | 2605171.3251 | 1180042.1858
79 | 2605130.692 | 1180002.993
80 | 2605133.1169 | 1180016.8132
81 | 2605132.5509 | 1180013.5872
82 | 2605180.4586 | 1180045.6539
83 | 2605122.7994 | 1179984.9005
84 | 2605293.8238 | 1180085.2305
85 | 2605250.3395 | 1180067.8477
86 | 2605314.6546 | 1180091.6853
87 | 2605296.8092 | 1180065.3432
88 | 2605317.342 | 1180079.4247
89 | 2605106.5024 | 1179948.8128
90 | 2605106.3611 | 1179947.5442
91 | 2605057.2527 | 1179966.8424
92 | 2605258.1755 | 1179861.343
93 | 2605294.948 | 1179849.953
94 | 2605321.6439 | 1180021.4222
95 | 2605302.2284 | 1180003.296
96 | 2605320.9842 | 1179999.1051
97 | 2605320.9524 | 1179997.1289
98 | 2605320.5418 | 1179971.6514
99 | 2605301.5068 | 1179998.6485
100 | 2605293.0046 | 1180008.5795
101 | 2605291.9638 | 1180002.1087
102 | 2605271.9782 | 1180007.0494
103 | 2605247.3461 | 1180006.3199
104 | 2605272.7795 | 1180039.0453
105 | 2605253.2893 | 1180034.6714
106 | 2605242.1993 | 1180021.5608
107 | 2605254.1214 | 1179961.6996

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1