## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_886-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_886-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_886-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_886-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_886-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_886-3_0_6_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_886-3_0_6_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_886-3_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_886-3_0_6_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_886-3_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_886-3_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_886-3_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_886-3_0_6_node_96 | 0.4 | n |  | TRUE
13 | bus_LV_886-3_0_6_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_886-3_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_886-3_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_886-3_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_886-3_0_6_node_99 | 0.4 | n |  | TRUE
18 | bus_LV_886-3_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_886-3_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_886-3_0_6_node_97 | 0.4 | n |  | TRUE
21 | bus_LV_886-3_0_6_node_98 | 0.4 | n |  | TRUE
22 | bus_LV_886-3_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_886-3_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_886-3_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_886-3_0_6_node_114 | 0.4 | n |  | TRUE
26 | bus_LV_886-3_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_886-3_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_886-3_0_6_node_115 | 0.4 | n |  | TRUE
29 | bus_LV_886-3_0_6_node_113 | 0.4 | n |  | TRUE
30 | bus_LV_886-3_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_886-3_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_886-3_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_886-3_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_886-3_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_886-3_0_6_node_131 | 0.4 | n |  | TRUE
36 | bus_LV_886-3_0_6_node_129 | 0.4 | n |  | TRUE
37 | bus_LV_886-3_0_6_node_132 | 0.4 | n |  | TRUE
38 | bus_LV_886-3_0_6_node_127 | 0.4 | n |  | TRUE
39 | bus_LV_886-3_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_886-3_0_6_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_886-3_0_6_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_886-3_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_886-3_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_886-3_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_886-3_0_6_node_120 | 0.4 | n |  | TRUE
46 | bus_LV_886-3_0_6_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_886-3_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_886-3_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_886-3_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_886-3_0_6_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_886-3_0_6_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_886-3_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_886-3_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_886-3_0_6_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_886-3_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_886-3_0_6_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_886-3_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_886-3_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_886-3_0_6_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_886-3_0_6_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_886-3_0_6_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_886-3_0_6_node_117 | 0.4 | n |  | TRUE
63 | bus_LV_886-3_0_6_node_119 | 0.4 | n |  | TRUE
64 | bus_LV_886-3_0_6_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_886-3_0_6_node_151 | 0.4 | n |  | TRUE
66 | bus_LV_886-3_0_6_node_152 | 0.4 | n |  | TRUE
67 | bus_LV_886-3_0_6_node_153 | 0.4 | n |  | TRUE
68 | bus_LV_886-3_0_6_node_154 | 0.4 | n |  | TRUE
69 | bus_LV_886-3_0_6_node_155 | 0.4 | n |  | TRUE
70 | bus_LV_886-3_0_6_node_156 | 0.4 | n |  | TRUE
71 | bus_LV_886-3_0_6_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_886-3_0_6_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_886-3_0_6_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_886-3_0_6_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_886-3_0_6_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_886-3_0_6_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_886-3_0_6_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_886-3_0_6_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_886-3_0_6_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_886-3_0_6_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_886-3_0_6_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_886-3_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_886-3_0_6_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_886-3_0_6_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_886-3_0_6_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_886-3_0_6_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_886-3_0_6_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_886-3_0_6_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_886-3_0_6_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_886-3_0_6_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_886-3_0_6_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_886-3_0_6_node_148 | 0.4 | n |  | TRUE
93 | bus_LV_886-3_0_6_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_886-3_0_6_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_886-3_0_6_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_886-3_0_6_node_70 | 0.4 | n |  | TRUE
97 | bus_LV_886-3_0_6_node_108 | 0.4 | n |  | TRUE
98 | bus_LV_886-3_0_6_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_886-3_0_6_node_147 | 0.4 | n |  | TRUE
100 | bus_LV_886-3_0_6_node_72 | 0.4 | n |  | TRUE
101 | bus_LV_886-3_0_6_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_886-3_0_6_node_67 | 0.4 | n |  | TRUE
103 | bus_LV_886-3_0_6_node_68 | 0.4 | n |  | TRUE
104 | bus_LV_886-3_0_6_node_69 | 0.4 | n |  | TRUE
105 | bus_LV_886-3_0_6_node_78 | 0.4 | n |  | TRUE
106 | bus_LV_886-3_0_6_node_77 | 0.4 | n |  | TRUE
107 | bus_LV_886-3_0_6_node_71 | 0.4 | n |  | TRUE
108 | bus_LV_886-3_0_6_node_82 | 0.4 | n |  | TRUE
109 | bus_LV_886-3_0_6_node_124 | 0.4 | n |  | TRUE
110 | bus_LV_886-3_0_6_node_83 | 0.4 | n |  | TRUE
111 | bus_LV_886-3_0_6_node_122 | 0.4 | n |  | TRUE
112 | bus_LV_886-3_0_6_node_84 | 0.4 | n |  | TRUE
113 | bus_LV_886-3_0_6_node_85 | 0.4 | n |  | TRUE
114 | bus_LV_886-3_0_6_node_86 | 0.4 | n |  | TRUE
115 | bus_LV_886-3_0_6_node_88 | 0.4 | n |  | TRUE
116 | bus_LV_886-3_0_6_node_89 | 0.4 | n |  | TRUE
117 | bus_LV_886-3_0_6_node_91 | 0.4 | n |  | TRUE
118 | bus_LV_886-3_0_6_node_95 | 0.4 | n |  | TRUE
119 | bus_LV_886-3_0_6_node_90 | 0.4 | n |  | TRUE
120 | bus_LV_886-3_0_6_node_93 | 0.4 | n |  | TRUE
121 | bus_LV_886-3_0_6_node_92 | 0.4 | n |  | TRUE
122 | bus_LV_886-3_0_6_node_94 | 0.4 | n |  | TRUE
123 | bus_LV_886-3_0_6_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_886-3_0_6_node_102 | 0.4 | n |  | TRUE
125 | bus_LV_886-3_0_6_node_103 | 0.4 | n |  | TRUE
126 | bus_LV_886-3_0_6_node_105 | 0.4 | n |  | TRUE
127 | bus_LV_886-3_0_6_node_104 | 0.4 | n |  | TRUE
128 | bus_LV_886-3_0_6_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_886-3_0_6_node_109 | 0.4 | n |  | TRUE
130 | bus_LV_886-3_0_6_node_110 | 0.4 | n |  | TRUE
131 | bus_LV_886-3_0_6_node_111 | 0.4 | n |  | TRUE
132 | bus_LV_886-3_0_6_node_146 | 0.4 | n |  | TRUE
133 | bus_LV_886-3_0_6_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_886-3_0_6_node_123 | 0.4 | n |  | TRUE
135 | bus_LV_886-3_0_6_node_125 | 0.4 | n |  | TRUE
136 | bus_LV_886-3_0_6_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_886-3_0_6_node_128 | 0.4 | n |  | TRUE
138 | bus_LV_886-3_0_6_node_130 | 0.4 | n |  | TRUE
139 | bus_LV_886-3_0_6_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_886-3_0_6_node_140 | 0.4 | n |  | TRUE
141 | bus_LV_886-3_0_6_node_133 | 0.4 | n |  | TRUE
142 | bus_LV_886-3_0_6_node_138 | 0.4 | n |  | TRUE
143 | bus_LV_886-3_0_6_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_886-3_0_6_node_134 | 0.4 | n |  | TRUE
145 | bus_LV_886-3_0_6_node_135 | 0.4 | n |  | TRUE
146 | bus_LV_886-3_0_6_node_137 | 0.4 | n |  | TRUE
147 | bus_LV_886-3_0_6_node_143 | 0.4 | n |  | TRUE
148 | bus_LV_886-3_0_6_node_144 | 0.4 | n |  | TRUE
149 | bus_LV_886-3_0_6_node_141 | 0.4 | n |  | TRUE
150 | bus_LV_886-3_0_6_node_142 | 0.4 | n |  | TRUE
151 | bus_LV_886-3_0_6_node_145 | 0.4 | n |  | TRUE
152 | bus_LV_886-3_0_6_node_149 | 0.4 | n |  | TRUE
153 | bus_LV_886-3_0_6_node_150 | 0.4 | n |  | TRUE
154 | bus_MV_122_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_886-3_0_6_load_0 | 0 | 0.0024847 | 0.00062271 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_886-3_0_6_load_1 | 1 | 0.002089 | 0.00052354 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_886-3_0_6_load_2 | 2 | 0.00064953 | 0.00016279 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_886-3_0_6_load_3 | 3 | 0.00074856 | 0.00018761 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_886-3_0_6_load_4 | 4 | 0.0043045 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_886-3_0_6_load_37 | 5 | 0.00054567 | 0.00013676 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_886-3_0_6_load_38 | 6 | 0.00027863 | 6.9832e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_886-3_0_6_load_39 | 8 | 0.00061249 | 0.0001535 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_886-3_0_6_load_5 | 9 | 0.0045927 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_886-3_0_6_load_6 | 10 | 0.0022102 | 0.00055394 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_886-3_0_6_load_7 | 11 | 0.0061979 | 0.0015533 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_886-3_0_6_load_96 | 12 | 0.0020263 | 0.00050783 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_886-3_0_6_load_87 | 13 | 0.0011797 | 0.00029566 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_886-3_0_6_load_10 | 14 | 0.010408 | 0.0026085 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_886-3_0_6_load_11 | 15 | 0.0026912 | 0.00067449 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_886-3_0_6_load_12 | 16 | 0.010416 | 0.0026106 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_886-3_0_6_load_99 | 17 | 0.005946 | 0.0014902 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_886-3_0_6_load_15 | 18 | 0.0027113 | 0.00067951 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_886-3_0_6_load_97 | 20 | 0.019094 | 0.0047855 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_886-3_0_6_load_98 | 21 | 0.035642 | 0.0089326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_886-3_0_6_load_14 | 22 | 0.0067902 | 0.0017018 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_886-3_0_6_load_16 | 23 | 0.038221 | 0.0095792 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_886-3_0_6_load_17 | 27 | 0.002238 | 0.00056088 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_886-3_0_6_load_115 | 28 | 0.0039521 | 0.00099049 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_886-3_0_6_load_18 | 30 | 0.0042376 | 0.001062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_886-3_0_6_load_22 | 32 | 0.0050357 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_886-3_0_6_load_23 | 33 | 0.0023252 | 0.00058276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_886-3_0_6_load_24 | 34 | 0.0020151 | 0.00050503 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_886-3_0_6_load_131 | 35 | 0.0040496 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_886-3_0_6_load_132 | 37 | 0.0043152 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_886-3_0_6_load_127 | 38 | 0.0054521 | 0.0013664 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_886-3_0_6_load_25 | 39 | 0.0022315 | 0.00055928 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_886-3_0_6_load_26 | 40 | 0.00098577 | 0.00024706 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_886-3_0_6_load_28 | 42 | 0.00026996 | 6.7658e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_886-3_0_6_load_29 | 43 | 0.0012116 | 0.00030367 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_886-3_0_6_load_30 | 44 | 0.00021451 | 5.3761e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_886-3_0_6_load_120 | 45 | 0.00058111 | 0.00014564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_886-3_0_6_load_47 | 46 | 0.00039179 | 9.8191e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_886-3_0_6_load_43 | 47 | 0.00032018 | 8.0246e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_886-3_0_6_load_48 | 48 | 0.00037984 | 9.5198e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_886-3_0_6_load_31 | 49 | 0.0011048 | 0.00027689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_886-3_0_6_load_32 | 50 | 0.00019482 | 4.8827e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_886-3_0_6_load_57 | 51 | 0.0014487 | 0.00036307 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_886-3_0_6_load_33 | 52 | 0.0025824 | 0.00064722 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_886-3_0_6_load_58 | 53 | 0.0012378 | 0.00031022 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_886-3_0_6_load_56 | 54 | 0.0003135 | 7.8572e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_886-3_0_6_load_100 | 56 | 0.0017975 | 0.0004505 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_886-3_0_6_load_50 | 57 | 0.0017712 | 0.0004439 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_886-3_0_6_load_51 | 58 | 0.0019047 | 0.00047737 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_886-3_0_6_load_35 | 60 | 0.00045875 | 0.00011497 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_886-3_0_6_load_36 | 61 | 0.013935 | 0.0034924 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_886-3_0_6_load_117 | 62 | 0.0024234 | 0.00060736 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_886-3_0_6_load_119 | 63 | 0.00050617 | 0.00012686 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_886-3_0_6_load_151 | 65 | 0.0034841 | 0.00087321 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_886-3_0_6_load_152 | 66 | 0.0023519 | 0.00058945 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_886-3_0_6_load_153 | 67 | 0.00289 | 0.00072429 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_886-3_0_6_load_155 | 69 | 0.0021988 | 0.00055106 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_886-3_0_6_load_156 | 70 | 0.0036928 | 0.0009255 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_886-3_0_6_load_40 | 71 | 0.0014997 | 0.00037585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_886-3_0_6_load_41 | 72 | 0.0014861 | 0.00037244 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_886-3_0_6_load_42 | 73 | 0.0011578 | 0.00029016 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_886-3_0_6_load_45 | 74 | 0.0010867 | 0.00027234 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_886-3_0_6_load_44 | 75 | 0.0059335 | 0.0014871 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_886-3_0_6_load_46 | 76 | 0.0012687 | 0.00031796 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_886-3_0_6_load_52 | 77 | 0.0013344 | 0.00033442 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_886-3_0_6_load_53 | 78 | 0.00098203 | 0.00024612 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_886-3_0_6_load_54 | 79 | 0.00084694 | 0.00021226 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_886-3_0_6_load_55 | 80 | 0.0016232 | 0.00040682 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_886-3_0_6_load_75 | 81 | 0.0016973 | 0.00042539 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_886-3_0_6_load_76 | 82 | 0.0011007 | 0.00027587 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_886-3_0_6_load_59 | 83 | 0.012942 | 0.0032436 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_886-3_0_6_load_62 | 86 | 0.0071094 | 0.0017818 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_886-3_0_6_load_63 | 87 | 0.0033171 | 0.00083134 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_886-3_0_6_load_148 | 92 | 0.0047412 | 0.0011883 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_886-3_0_6_load_80 | 94 | 0.0024532 | 0.00061482 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_886-3_0_6_load_81 | 95 | 0.0026737 | 0.00067008 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_886-3_0_6_load_70 | 96 | 0.0017918 | 0.00044906 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_886-3_0_6_load_108 | 97 | 0.0023608 | 0.00059168 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_886-3_0_6_load_106 | 98 | 0.0036332 | 0.00091058 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_886-3_0_6_load_147 | 99 | 0.0085908 | 0.0021531 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_886-3_0_6_load_72 | 100 | 0.0033455 | 0.00083847 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_886-3_0_6_load_66 | 101 | 0.0061317 | 0.0015367 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_886-3_0_6_load_68 | 103 | 0.0037543 | 0.00094092 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_886-3_0_6_load_69 | 104 | 0.0012414 | 0.00031113 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_886-3_0_6_load_78 | 105 | 0.0014625 | 0.00036653 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_886-3_0_6_load_77 | 106 | 0.0028495 | 0.00071415 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_886-3_0_6_load_71 | 107 | 0.0023136 | 0.00057985 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_886-3_0_6_load_82 | 108 | 0.0013898 | 0.00034833 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_886-3_0_6_load_124 | 109 | 0.032951 | 0.0082584 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_886-3_0_6_load_84 | 112 | 0.004254 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_886-3_0_6_load_85 | 113 | 0.0032258 | 0.00080846 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_886-3_0_6_load_86 | 114 | 0.0068235 | 0.0017101 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_886-3_0_6_load_88 | 115 | 0.0049915 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_886-3_0_6_load_91 | 117 | 0.0011997 | 0.00030067 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_886-3_0_6_load_90 | 119 | 0.010539 | 0.0026412 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_886-3_0_6_load_93 | 120 | 0.002458 | 0.00061604 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_886-3_0_6_load_92 | 121 | 0.0084538 | 0.0021187 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_886-3_0_6_load_94 | 122 | 0.0049129 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_886-3_0_6_load_101 | 123 | 0.02874 | 0.007203 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_886-3_0_6_load_102 | 124 | 0.0028118 | 0.00070469 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_886-3_0_6_load_103 | 125 | 0.0035767 | 0.0008964 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_886-3_0_6_load_105 | 126 | 0.0015284 | 0.00038306 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_886-3_0_6_load_104 | 127 | 0.0091759 | 0.0022997 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_886-3_0_6_load_112 | 128 | 0.0061667 | 0.0015455 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_886-3_0_6_load_110 | 130 | 0.0032911 | 0.00082482 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_886-3_0_6_load_111 | 131 | 0.0042589 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_886-3_0_6_load_146 | 132 | 0.0076199 | 0.0019097 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_886-3_0_6_load_121 | 133 | 0.0090997 | 0.0022806 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_886-3_0_6_load_123 | 134 | 0.0028482 | 0.00071382 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_886-3_0_6_load_125 | 135 | 0.0027191 | 0.00068147 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_886-3_0_6_load_126 | 136 | 0.0012348 | 0.00030947 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_886-3_0_6_load_128 | 137 | 0.0012625 | 0.00031642 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_886-3_0_6_load_130 | 138 | 0.0012339 | 0.00030925 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_886-3_0_6_load_139 | 139 | 0.0013018 | 0.00032626 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_886-3_0_6_load_140 | 140 | 0.0014793 | 0.00037074 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_886-3_0_6_load_138 | 142 | 0.0011901 | 0.00029828 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_886-3_0_6_load_136 | 143 | 0.0025659 | 0.00064307 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_886-3_0_6_load_134 | 144 | 0.0012414 | 0.00031112 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_886-3_0_6_load_135 | 145 | 0.0011531 | 0.00028899 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_886-3_0_6_load_137 | 146 | 0.0011739 | 0.00029421 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_886-3_0_6_load_143 | 147 | 0.0026941 | 0.00067521 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_886-3_0_6_load_144 | 148 | 0.0047099 | 0.0011804 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_886-3_0_6_load_141 | 149 | 0.0011971 | 0.00030003 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_886-3_0_6_load_142 | 150 | 0.0011381 | 0.00028524 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_886-3_0_6_load_145 | 151 | 0.0017692 | 0.0004434 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_886-3_0_6_load_150 | 153 | 0.016449 | 0.0041226 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_886-3_0_6_line_0 |  | 0 | 1 | 0.00082498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_886-3_0_6_line_1 |  | 0 | 2 | 0.010678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_886-3_0_6_line_2 |  | 1 | 3 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_886-3_0_6_line_3 |  | 2 | 4 | 0.016783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_886-3_0_6_line_4 |  | 3 | 5 | 0.028262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_886-3_0_6_line_5 |  | 4 | 6 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_886-3_0_6_line_6 |  | 5 | 7 | 0.028682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_886-3_0_6_line_7 |  | 6 | 8 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_886-3_0_6_line_8 |  | 7 | 12 | 0.045914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_886-3_0_6_line_9 |  | 7 | 11 | 0.0044361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_886-3_0_6_line_10 |  | 8 | 71 | 0.027699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_886-3_0_6_line_11 |  | 8 | 47 | 0.051014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_886-3_0_6_line_12 |  | 9 | 10 | 0.030929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_886-3_0_6_line_13 |  | 9 | 11 | 0.033437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_886-3_0_6_line_14 |  | 12 | 13 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_886-3_0_6_line_15 |  | 13 | 110 | 0.0046105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_886-3_0_6_line_16 |  | 14 | 15 | 0.023287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_886-3_0_6_line_17 |  | 14 | 16 | 0.028753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_886-3_0_6_line_18 |  | 15 | 17 | 0.023145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_886-3_0_6_line_19 |  | 15 | 18 | 0.041888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_886-3_0_6_line_20 |  | 16 | 19 | 0.030408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_886-3_0_6_line_21 |  | 17 | 20 | 0.01584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_886-3_0_6_line_22 |  | 18 | 22 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_886-3_0_6_line_23 |  | 19 | 24 | 0.031449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_886-3_0_6_line_24 |  | 19 | 25 | 0.023297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_886-3_0_6_line_25 |  | 20 | 21 | 0.028401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_886-3_0_6_line_26 |  | 22 | 23 | 0.041917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_886-3_0_6_line_27 |  | 24 | 26 | 0.023232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_886-3_0_6_line_28 |  | 24 | 27 | 0.0093042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_886-3_0_6_line_29 |  | 25 | 28 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_886-3_0_6_line_30 |  | 25 | 29 | 0.028047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_886-3_0_6_line_31 |  | 26 | 34 | 0.0011282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_886-3_0_6_line_32 |  | 27 | 30 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_886-3_0_6_line_33 |  | 29 | 128 | 0.012324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_886-3_0_6_line_34 |  | 29 | 131 | 0.023064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_886-3_0_6_line_35 |  | 30 | 31 | 0.050855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_886-3_0_6_line_36 |  | 31 | 32 | 0.061467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_886-3_0_6_line_37 |  | 31 | 33 | 0.028776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_886-3_0_6_line_38 |  | 32 | 35 | 0.028954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_886-3_0_6_line_39 |  | 33 | 36 | 0.028577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_886-3_0_6_line_40 |  | 35 | 37 | 0.019998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_886-3_0_6_line_41 |  | 36 | 38 | 0.025794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_886-3_0_6_line_42 |  | 37 | 141 | 0.0055537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_886-3_0_6_line_43 |  | 38 | 137 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_886-3_0_6_line_44 |  | 38 | 136 | 0.025929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_886-3_0_6_line_45 |  | 39 | 40 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_886-3_0_6_line_46 |  | 39 | 41 | 0.020945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_886-3_0_6_line_47 |  | 40 | 42 | 0.0087753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_886-3_0_6_line_48 |  | 41 | 43 | 0.001547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_886-3_0_6_line_49 |  | 41 | 44 | 0.033174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_886-3_0_6_line_50 |  | 42 | 45 | 0.03016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_886-3_0_6_line_51 |  | 43 | 46 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_886-3_0_6_line_52 |  | 44 | 47 | 0.0083358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_886-3_0_6_line_53 |  | 46 | 48 | 0.0094541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_886-3_0_6_line_54 |  | 48 | 63 | 0.0039366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_886-3_0_6_line_55 |  | 49 | 50 | 0.029304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_886-3_0_6_line_56 |  | 49 | 51 | 0.032358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_886-3_0_6_line_57 |  | 50 | 52 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_886-3_0_6_line_58 |  | 50 | 53 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_886-3_0_6_line_59 |  | 51 | 54 | 0.045221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_886-3_0_6_line_60 |  | 52 | 55 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_886-3_0_6_line_61 |  | 52 | 56 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_886-3_0_6_line_62 |  | 55 | 57 | 0.016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_886-3_0_6_line_63 |  | 55 | 58 | 0.03073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_886-3_0_6_line_64 |  | 57 | 77 | 0.05215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_886-3_0_6_line_65 |  | 58 | 78 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_886-3_0_6_line_66 |  | 59 | 60 | 0.0044683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_886-3_0_6_line_67 |  | 59 | 61 | 0.0079648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_886-3_0_6_line_68 |  | 60 | 62 | 0.067081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_886-3_0_6_line_69 |  | 61 | 63 | 0.0068359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_886-3_0_6_line_70 |  | 62 | 64 | 0.024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_886-3_0_6_line_71 |  | 64 | 65 | 0.020159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_886-3_0_6_line_72 |  | 64 | 66 | 0.057568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_886-3_0_6_line_73 |  | 65 | 67 | 0.0035749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_886-3_0_6_line_74 |  | 67 | 68 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_886-3_0_6_line_75 |  | 68 | 69 | 0.00827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_886-3_0_6_line_76 |  | 68 | 70 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_886-3_0_6_line_77 |  | 71 | 72 | 0.02683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_886-3_0_6_line_78 |  | 72 | 73 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_886-3_0_6_line_79 |  | 73 | 74 | 4.9325e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_886-3_0_6_line_80 |  | 74 | 75 | 0.0039967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_886-3_0_6_line_81 |  | 75 | 76 | 0.030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_886-3_0_6_line_82 |  | 78 | 79 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_886-3_0_6_line_83 |  | 79 | 80 | 0.008308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_886-3_0_6_line_84 |  | 80 | 81 | 0.025431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_886-3_0_6_line_85 |  | 81 | 82 | 0.0011134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_886-3_0_6_line_86 |  | 82 | 106 | 0.005061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_886-3_0_6_line_87 |  | 83 | 84 | 0.0073531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_886-3_0_6_line_88 |  | 83 | 85 | 0.0073484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_886-3_0_6_line_89 |  | 84 | 86 | 0.039901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_886-3_0_6_line_90 |  | 84 | 87 | 0.0065825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_886-3_0_6_line_91 |  | 85 | 88 | 0.03566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_886-3_0_6_line_92 |  | 86 | 89 | 0.021136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_886-3_0_6_line_93 |  | 87 | 90 | 0.0065696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_886-3_0_6_line_94 |  | 88 | 91 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_886-3_0_6_line_95 |  | 88 | 92 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_886-3_0_6_line_96 |  | 89 | 94 | 0.021842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_886-3_0_6_line_97 |  | 89 | 95 | 0.029914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_886-3_0_6_line_98 |  | 89 | 96 | 0.023514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_886-3_0_6_line_99 |  | 90 | 93 | 0.02984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_886-3_0_6_line_100 |  | 91 | 97 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_886-3_0_6_line_101 |  | 91 | 98 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_886-3_0_6_line_102 |  | 92 | 99 | 0.00566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_886-3_0_6_line_103 |  | 93 | 100 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_886-3_0_6_line_104 |  | 94 | 108 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_886-3_0_6_line_105 |  | 95 | 109 | 0.0050685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_886-3_0_6_line_106 |  | 96 | 102 | 0.0093274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_886-3_0_6_line_107 |  | 97 | 129 | 0.0079845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_886-3_0_6_line_108 |  | 98 | 126 | 0.0080554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_886-3_0_6_line_109 |  | 99 | 152 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_886-3_0_6_line_110 |  | 100 | 107 | 0.006648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_886-3_0_6_line_111 |  | 101 | 102 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_886-3_0_6_line_112 |  | 101 | 103 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_886-3_0_6_line_113 |  | 102 | 104 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_886-3_0_6_line_114 |  | 104 | 105 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_886-3_0_6_line_115 |  | 105 | 106 | 0.0011138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_886-3_0_6_line_116 |  | 108 | 110 | 0.0070217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
117 | LV_886-3_0_6_line_117 |  | 109 | 111 | 0.025408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_886-3_0_6_line_118 |  | 110 | 112 | 0.024373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_886-3_0_6_line_119 |  | 111 | 133 | 0.021878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_886-3_0_6_line_120 |  | 112 | 113 | 0.027971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_886-3_0_6_line_121 |  | 113 | 114 | 0.0065255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_886-3_0_6_line_122 |  | 114 | 115 | 0.020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_886-3_0_6_line_123 |  | 115 | 116 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_886-3_0_6_line_124 |  | 116 | 117 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_886-3_0_6_line_125 |  | 116 | 118 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_886-3_0_6_line_126 |  | 117 | 119 | 0.010322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_886-3_0_6_line_127 |  | 118 | 120 | 0.018129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_886-3_0_6_line_128 |  | 119 | 121 | 0.035108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_886-3_0_6_line_129 |  | 120 | 122 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_886-3_0_6_line_130 |  | 123 | 124 | 0.001369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_886-3_0_6_line_131 |  | 123 | 125 | 0.0087981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_886-3_0_6_line_132 |  | 125 | 126 | 0.01122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_886-3_0_6_line_133 |  | 127 | 128 | 0.0096743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_886-3_0_6_line_134 |  | 129 | 130 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_886-3_0_6_line_135 |  | 129 | 131 | 0.0075982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_886-3_0_6_line_136 |  | 130 | 132 | 0.024968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_886-3_0_6_line_137 |  | 133 | 134 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_886-3_0_6_line_138 |  | 135 | 136 | 0.0052471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_886-3_0_6_line_139 |  | 137 | 138 | 0.0042162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_886-3_0_6_line_140 |  | 138 | 139 | 0.0052064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_886-3_0_6_line_141 |  | 139 | 140 | 0.0015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_886-3_0_6_line_142 |  | 140 | 149 | 0.0023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_886-3_0_6_line_143 |  | 141 | 142 | 0.01962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_886-3_0_6_line_144 |  | 142 | 143 | 0.0077607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_886-3_0_6_line_145 |  | 143 | 144 | 0.0012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_886-3_0_6_line_146 |  | 144 | 145 | 0.0052192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_886-3_0_6_line_147 |  | 145 | 146 | 0.005142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_886-3_0_6_line_148 |  | 146 | 147 | 0.0019784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_886-3_0_6_line_149 |  | 147 | 148 | 0.0031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_886-3_0_6_line_150 |  | 148 | 151 | 0.0007542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_886-3_0_6_line_151 |  | 149 | 150 | 2.5922e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_886-3_0_6_line_152 |  | 152 | 153 | 0.035279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_886-3_0_6_trafo_97 | 0.63 MVA 20/0.4 kV | 154 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2605434.019 | 1179667.1751 | 2605433.3223 | 1179667.6169
1 | 2605434.019 | 1179667.1751 | 2605434.7378 | 1179666.7192 | 2605439.202 | 1179663.0436 | 2605441.9352 | 1179660.0626
2 | 2605433.3223 | 1179667.6169 | 2605429.1891 | 1179670.2383 | 2605424.281 | 1179672.3131
3 | 2605453.2776 | 1179647.692 | 2605441.9352 | 1179660.0626
4 | 2605397.9704 | 1179682.6112 | 2605409.0619 | 1179678.4356 | 2605413.6541 | 1179676.8055 | 2605424.281 | 1179672.3131
5 | 2605453.2776 | 1179647.692 | 2605456.7802 | 1179643.8718 | 2605462.7838 | 1179638.3288
6 | 2605371.7644 | 1179694.1216 | 2605375.3562 | 1179692.2016 | 2605382.1653 | 1179688.5613 | 2605397.9704 | 1179682.6112
7 | 2605471.2058 | 1179631.0782 | 2605463.6607 | 1179637.5192 | 2605462.7838 | 1179638.3288
8 | 2605371.7644 | 1179694.1216 | 2605384.6936 | 1179714.4768 | 2605390.4814 | 1179725.4986 | 2605394.3837 | 1179733.9965
9 | 2605371.7644 | 1179694.1216 | 2605369.2816 | 1179690.4453
10 | 2605471.2058 | 1179631.0782 | 2605464.1614 | 1179604.2896
11 | 2605471.2058 | 1179631.0782 | 2605510.2057 | 1179598.193
12 | 2605350.7776 | 1179662.5975 | 2605348.4674 | 1179658.8831 | 2605343.8386 | 1179650.0967 | 2605339.0501 | 1179640.332 | 2605336.7057 | 1179635.0841
13 | 2605350.7776 | 1179662.5975 | 2605351.6634 | 1179664.0218 | 2605357.4609 | 1179672.9426 | 2605369.2816 | 1179690.4453
14 | 2605399.9465 | 1179748.0333 | 2605395.231 | 1179735.8415 | 2605394.3837 | 1179733.9965
15 | 2605401.6097 | 1179752.3333 | 2605399.9465 | 1179748.0333
16 | 2605575.7371 | 1179851.9608 | 2605574.0316 | 1179835.8317 | 2605573.4938 | 1179828.7843
17 | 2605575.7371 | 1179851.9608 | 2605576.3488 | 1179857.7451 | 2605579.6061 | 1179880.4491
18 | 2605573.4938 | 1179828.7843 | 2605551.37 | 1179821.9837
19 | 2605573.4938 | 1179828.7843 | 2605615.0248 | 1179823.3265
20 | 2605584.1677 | 1179910.5125 | 2605580.6445 | 1179887.6865 | 2605579.6061 | 1179880.4491
21 | 2605551.37 | 1179821.9837 | 2605551.3054 | 1179821.4703 | 2605550.6752 | 1179808.9967 | 2605550.7565 | 1179806.1653
22 | 2605615.0248 | 1179823.3265 | 2605612.1732 | 1179807.3079 | 2605612.0044 | 1179805.0691
23 | 2605615.0596 | 1179915.5769 | 2605610.7608 | 1179913.9054 | 2605606.2785 | 1179912.5228 | 2605600.5508 | 1179911.4836 | 2605592.4013 | 1179910.9203 | 2605584.1677 | 1179910.5125
24 | 2605584.1677 | 1179910.5125 | 2605582.3116 | 1179910.4886 | 2605564.0566 | 1179910.1161 | 2605560.8105 | 1179909.9686
25 | 2605550.7565 | 1179806.1653 | 2605551.0934 | 1179794.4341 | 2605553.8698 | 1179778.0023
26 | 2605616.7196 | 1179764.3346 | 2605610.2868 | 1179782.2823 | 2605612.0044 | 1179805.0691
27 | 2605630.3979 | 1179898.349 | 2605624.0073 | 1179903.7569 | 2605620.3145 | 1179907.5555 | 2605615.0596 | 1179915.5769
28 | 2605615.0596 | 1179915.5769 | 2605619.7931 | 1179917.9714 | 2605623.0596 | 1179920.2793
29 | 2605560.8105 | 1179909.9686 | 2605562.4374 | 1179901.6102 | 2605562.3937 | 1179899.309 | 2605561.3572 | 1179892.9479
30 | 2605560.8105 | 1179909.9686 | 2605553.8068 | 1179909.2618 | 2605546.9259 | 1179908.1105 | 2605541.2672 | 1179906.7157 | 2605535.6086 | 1179905.2209 | 2605533.2873 | 1179904.5073
31 | 2605630.3979 | 1179898.349 | 2605631.2642 | 1179897.6263
32 | 2605623.0596 | 1179920.2793 | 2605624.9608 | 1179921.6225 | 2605629.5704 | 1179925.8178 | 2605633.8128 | 1179930.5464 | 2605635.9649 | 1179933.1265
33 | 2605533.2873 | 1179904.5073 | 2605533.7521 | 1179892.192
34 | 2605533.2873 | 1179904.5073 | 2605524.4218 | 1179901.7645 | 2605512.2805 | 1179897.8848 | 2605511.2966 | 1179897.5539
35 | 2605668.5812 | 1179972.1444 | 2605659.8147 | 1179961.7198 | 2605635.9649 | 1179933.1265
36 | 2605668.5812 | 1179972.1444 | 2605675.9824 | 1179980.4778 | 2605683.4074 | 1179987.8885 | 2605691.8483 | 1179995.2224 | 2605697.1987 | 1179999.3295 | 2605702.8702 | 1180003.2257 | 2605709.1679 | 1180007.1559 | 2605715.8112 | 1180010.8464
37 | 2605668.5812 | 1179972.1444 | 2605652.6267 | 1179996.0925
38 | 2605715.8112 | 1180010.8464 | 2605715.863 | 1180010.8752 | 2605728.0633 | 1180016.5785 | 2605740.6384 | 1180021.693 | 2605742.3595 | 1180022.3776
39 | 2605647.6591 | 1180022.7285 | 2605645.8466 | 1180016.8683 | 2605645.8369 | 1180010.9764 | 2605646.727 | 1180006.5305 | 2605649.5815 | 1180000.6635 | 2605652.6267 | 1179996.0925
40 | 2605742.3595 | 1180022.3776 | 2605760.9414 | 1180029.7695
41 | 2605647.6591 | 1180022.7285 | 2605659.1908 | 1180040.9486 | 2605661.1495 | 1180044.6993
42 | 2605766.1018 | 1180031.8223 | 2605760.9414 | 1180029.7695
43 | 2605668.6506 | 1180061.4012 | 2605664.749 | 1180051.5925 | 2605661.1495 | 1180044.6993
44 | 2605661.1495 | 1180044.6993 | 2605635.61 | 1180049.1761
45 | 2605572.6443 | 1179588.2705 | 2605560.3051 | 1179581.5044
46 | 2605541.94 | 1179571.4342 | 2605560.3051 | 1179581.5044
47 | 2605572.6443 | 1179588.2705 | 2605577.7626 | 1179591.077 | 2605579.2269 | 1179593.6241 | 2605579.2269 | 1179593.6241
48 | 2605541.94 | 1179571.4342 | 2605543.1024 | 1179570.4133
49 | 2605541.94 | 1179571.4342 | 2605516.5784 | 1179592.8195
50 | 2605565.7278 | 1179620.3809 | 2605578.8805 | 1179596.503 | 2605579.2269 | 1179593.6241
51 | 2605543.1024 | 1179570.4133 | 2605561.3216 | 1179554.4121
52 | 2605510.2057 | 1179598.193 | 2605516.5784 | 1179592.8195
53 | 2605561.3216 | 1179554.4121 | 2605568.4251 | 1179548.1734
54 | 2605568.4251 | 1179548.1734 | 2605571.3829 | 1179545.5756
55 | 2605586.0772 | 1179653.1048 | 2605599.4553 | 1179627.0325
56 | 2605599.4553 | 1179627.0325 | 2605628.2686 | 1179612.3071
57 | 2605576.9869 | 1179670.8206 | 2605586.0772 | 1179653.1048
58 | 2605586.0772 | 1179653.1048 | 2605605.5785 | 1179655.6513
59 | 2605628.2686 | 1179612.3071 | 2605637.1411 | 1179595.6231 | 2605651.162 | 1179573.3434
60 | 2605560.1244 | 1179691.7566 | 2605570.4921 | 1179680.9717 | 2605574.7138 | 1179675.2505 | 2605576.9869 | 1179670.8206
61 | 2605576.9869 | 1179670.8206 | 2605589.0572 | 1179687.5697
62 | 2605560.1244 | 1179691.7566 | 2605549.1185 | 1179679.294
63 | 2605560.1244 | 1179691.7566 | 2605543.8312 | 1179708.717 | 2605538.6097 | 1179713.6912
64 | 2605507.0052 | 1179684.4489 | 2605534.3208 | 1179667.3873 | 2605540.2014 | 1179668.5821 | 2605544.5808 | 1179674.1556 | 2605549.1185 | 1179679.294
65 | 2605538.6097 | 1179713.6912 | 2605530.9599 | 1179720.9788
66 | 2605582.5036 | 1179535.8087 | 2605585.8062 | 1179532.7991
67 | 2605582.5036 | 1179535.8087 | 2605576.5191 | 1179541.0646
68 | 2605585.8062 | 1179532.7991 | 2605642.1608 | 1179496.4112
69 | 2605576.5191 | 1179541.0646 | 2605571.3829 | 1179545.5756
70 | 2605657.5467 | 1179477.9598 | 2605652.6196 | 1179486.2484 | 2605648.0158 | 1179491.8803 | 2605642.9169 | 1179495.9665 | 2605642.1608 | 1179496.4112
71 | 2605657.5467 | 1179477.9598 | 2605648.9711 | 1179459.7154
72 | 2605657.5467 | 1179477.9598 | 2605687.3431 | 1179428.703
73 | 2605647.4504 | 1179456.4801 | 2605648.9711 | 1179459.7154
74 | 2605640.4391 | 1179441.5254 | 2605642.1628 | 1179444.4729 | 2605645.1887 | 1179451.6683 | 2605647.4504 | 1179456.4801
75 | 2605640.4391 | 1179441.5254 | 2605648.1572 | 1179438.4977
76 | 2605626.7301 | 1179446.9043 | 2605635.2659 | 1179443.3993 | 2605638.8807 | 1179441.6795 | 2605640.4391 | 1179441.5254
77 | 2605457.3381 | 1179578.3418 | 2605464.1614 | 1179604.2896
78 | 2605457.3381 | 1179578.3418 | 2605453.2049 | 1179562.6239
79 | 2605453.1923 | 1179562.5762 | 2605453.2049 | 1179562.6239
80 | 2605453.1923 | 1179562.5762 | 2605452.1759 | 1179558.7109
81 | 2605444.3256 | 1179528.8575 | 2605452.1759 | 1179558.7109
82 | 2605530.9599 | 1179720.9788 | 2605514.7134 | 1179736.4557
83 | 2605514.7134 | 1179736.4557 | 2605508.6981 | 1179742.1861
84 | 2605493.6378 | 1179762.5709 | 2605505.277 | 1179745.4451 | 2605508.6981 | 1179742.1861
85 | 2605493.6378 | 1179762.5709 | 2605493.012 | 1179763.4917
86 | 2605490.1672 | 1179767.6775 | 2605493.012 | 1179763.4917
87 | 2605433.3333 | 1179861.873 | 2605435.7852 | 1179861.853 | 2605438.0912 | 1179862.6888 | 2605439.9612 | 1179864.2691
88 | 2605440.9937 | 1179871.2291 | 2605441.5077 | 1179868.8395 | 2605441.1508 | 1179866.4157 | 2605439.9612 | 1179864.2691
89 | 2605433.3333 | 1179861.873 | 2605431.7516 | 1179853.9676 | 2605428.9001 | 1179839.5799 | 2605425.6815 | 1179825.7144 | 2605424.8954 | 1179822.884
90 | 2605433.3333 | 1179861.873 | 2605431.2626 | 1179862.616 | 2605429.5428 | 1179863.9818 | 2605428.3343 | 1179865.8039
91 | 2605474.6141 | 1179883.3544 | 2605462.1529 | 1179878.4296 | 2605447.6676 | 1179873.4696 | 2605440.9937 | 1179871.2291
92 | 2605418.9346 | 1179802.6077 | 2605422.4761 | 1179814.1723 | 2605424.8954 | 1179822.884
93 | 2605428.7029 | 1179872.1408 | 2605427.8951 | 1179870.1057 | 2605427.7672 | 1179867.9267 | 2605428.3343 | 1179865.8039
94 | 2605474.6141 | 1179883.3544 | 2605484.8837 | 1179887.6881
95 | 2605474.6141 | 1179883.3544 | 2605468.678 | 1179897.9567
96 | 2605418.9346 | 1179802.6077 | 2605411.8183 | 1179781.9575
97 | 2605418.9346 | 1179802.6077 | 2605403.3619 | 1179809.0305 | 2605390.295 | 1179808.792
98 | 2605418.9346 | 1179802.6077 | 2605422.8314 | 1179801.166 | 2605427.011 | 1179799.6245 | 2605431.9693 | 1179798.4395 | 2605441.7608 | 1179797.8956
99 | 2605399.5725 | 1179878.5514 | 2605401.4748 | 1179878.1085 | 2605409.978 | 1179876.1484 | 2605420.9407 | 1179874.1349 | 2605428.7029 | 1179872.1408
100 | 2605484.8837 | 1179887.6881 | 2605490.0223 | 1179889.8494 | 2605496.5895 | 1179892.4141
101 | 2605484.8837 | 1179887.6881 | 2605487.7609 | 1179872.5606
102 | 2605468.678 | 1179897.9567 | 2605466.5465 | 1179903.2
103 | 2605399.5725 | 1179878.5514 | 2605396.999 | 1179869.3222 | 2605395.7518 | 1179868.177
104 | 2605411.8183 | 1179781.9575 | 2605403.8974 | 1179758.9719
105 | 2605385.2274 | 1179808.6995 | 2605390.295 | 1179808.792
106 | 2605451.0739 | 1179797.3783 | 2605441.7608 | 1179797.8956
107 | 2605504.0948 | 1179895.1315 | 2605500.2081 | 1179893.8273 | 2605496.5895 | 1179892.4141
108 | 2605489.266 | 1179864.647 | 2605487.7609 | 1179872.5606
109 | 2605463.6921 | 1179916.5393 | 2605464.6394 | 1179907.8913 | 2605466.5465 | 1179903.2
110 | 2605395.7518 | 1179868.177 | 2605390.8552 | 1179863.6806 | 2605390.8552 | 1179863.6806
111 | 2605451.0739 | 1179797.3783 | 2605454.4771 | 1179811.8112
112 | 2605458.0821 | 1179827.0997 | 2605454.4771 | 1179811.8112
113 | 2605451.0739 | 1179797.3783 | 2605458.6819 | 1179797.0738 | 2605463.0293 | 1179795.8327 | 2605470.2613 | 1179791.7058
114 | 2605470.2613 | 1179791.7058 | 2605473.591 | 1179789.8058 | 2605486.4079 | 1179773.2089 | 2605489.5411 | 1179768.5987
115 | 2605490.1672 | 1179767.6775 | 2605489.5411 | 1179768.5987
116 | 2605401.6097 | 1179752.3333 | 2605403.8974 | 1179758.9719
117 | 2605359.8239 | 1179808.2359 | 2605385.2274 | 1179808.6995
118 | 2605401.6097 | 1179752.3333 | 2605396.575 | 1179753.3849 | 2605392.8394 | 1179753.893 | 2605389.2265 | 1179753.7341 | 2605385.5381 | 1179752.6859 | 2605378.361 | 1179749.1327
119 | 2605359.8239 | 1179808.2359 | 2605359.5048 | 1179786.3603
120 | 2605378.361 | 1179749.1327 | 2605372.1309 | 1179746.0484 | 2605367.6883 | 1179742.6761 | 2605357.9019 | 1179735.8195 | 2605355.7951 | 1179734.139 | 2605355.0894 | 1179733.7681
121 | 2605349.3131 | 1179730.732 | 2605355.0894 | 1179733.7681
122 | 2605330.8625 | 1179721.0344 | 2605349.3131 | 1179730.732
123 | 2605311.8926 | 1179712.9452 | 2605325.7746 | 1179718.3601 | 2605330.8625 | 1179721.0344
124 | 2605311.8926 | 1179712.9452 | 2605310.234 | 1179729.1289
125 | 2605279.8999 | 1179698.4877 | 2605285.5262 | 1179702.2279 | 2605289.4428 | 1179704.5547 | 2605311.8926 | 1179712.9452
126 | 2605309.5209 | 1179739.4242 | 2605309.9434 | 1179731.9643 | 2605310.234 | 1179729.1289
127 | 2605279.8999 | 1179698.4877 | 2605282.8971 | 1179695.1664 | 2605285.7034 | 1179691.7671 | 2605291.2204 | 1179684.3455
128 | 2605311.3286 | 1179774.2161 | 2605310.6186 | 1179772.2299 | 2605308.9904 | 1179764.8803 | 2605309.0047 | 1179748.5386 | 2605309.5209 | 1179739.4242
129 | 2605291.2204 | 1179684.3455 | 2605303.074 | 1179668.3997
130 | 2605508.8531 | 1179864.6209 | 2605510.2177 | 1179864.7311
131 | 2605500.0836 | 1179863.9125 | 2605508.8531 | 1179864.6209
132 | 2605500.0836 | 1179863.9125 | 2605491.7268 | 1179863.2374 | 2605489.266 | 1179864.647 | 2605489.266 | 1179864.647
133 | 2605534.117 | 1179882.5246 | 2605533.7521 | 1179892.192
134 | 2605504.0948 | 1179895.1315 | 2605499.0343 | 1179909.963
135 | 2605504.0948 | 1179895.1315 | 2605511.2966 | 1179897.5539
136 | 2605510.8046 | 1179924.9862 | 2605497.366 | 1179919.8269 | 2605496.329 | 1179917.8917 | 2605499.0343 | 1179909.963
137 | 2605359.3125 | 1179773.1843 | 2605359.5048 | 1179786.3603
138 | 2605635.61 | 1180049.1761 | 2605632.9664 | 1180044.6436
139 | 2605669.7345 | 1180065.4756 | 2605668.6506 | 1180061.4012 | 2605668.6506 | 1180061.4012
140 | 2605669.7345 | 1180065.4756 | 2605671.0729 | 1180070.507
141 | 2605671.0729 | 1180070.507 | 2605671.3069 | 1180071.3865 | 2605671.4159 | 1180071.983
142 | 2605671.8313 | 1180074.2568 | 2605671.4159 | 1180071.983
143 | 2605766.1018 | 1180031.8223 | 2605767.3042 | 1180051.4051
144 | 2605767.3042 | 1180051.4051 | 2605767.7798 | 1180059.1511
145 | 2605767.8538 | 1180060.3567 | 2605767.7798 | 1180059.1511
146 | 2605767.8538 | 1180060.3567 | 2605768.1736 | 1180065.5661
147 | 2605768.4887 | 1180070.6984 | 2605768.1736 | 1180065.5661
148 | 2605768.4887 | 1180070.6984 | 2605768.61 | 1180072.6731
149 | 2605768.61 | 1180072.6731 | 2605768.801 | 1180075.7839
150 | 2605768.8472 | 1180076.5366 | 2605768.801 | 1180075.7839
151 | 2605671.8359 | 1180074.2823 | 2605671.8313 | 1180074.2568
152 | 2605483.8403 | 1179943.4267 | 2605476.4875 | 1179940.4074 | 2605469.8956 | 1179932.1417 | 2605466.1384 | 1179922.7335 | 2605463.6921 | 1179916.5393

## bus_geodata
| x | y | coords
0 | 2605434.019 | 1179667.1751
1 | 2605433.3223 | 1179667.6169
2 | 2605441.9352 | 1179660.0626
3 | 2605424.281 | 1179672.3131
4 | 2605453.2776 | 1179647.692
5 | 2605397.9704 | 1179682.6112
6 | 2605462.7838 | 1179638.3288
7 | 2605371.7644 | 1179694.1216
8 | 2605471.2058 | 1179631.0782
9 | 2605350.7776 | 1179662.5975
10 | 2605336.7057 | 1179635.0841
11 | 2605369.2816 | 1179690.4453
12 | 2605394.3837 | 1179733.9965
13 | 2605399.9465 | 1179748.0333
14 | 2605575.7371 | 1179851.9608
15 | 2605573.4938 | 1179828.7843
16 | 2605579.6061 | 1179880.4491
17 | 2605551.37 | 1179821.9837
18 | 2605615.0248 | 1179823.3265
19 | 2605584.1677 | 1179910.5125
20 | 2605550.7565 | 1179806.1653
21 | 2605553.8698 | 1179778.0023
22 | 2605612.0044 | 1179805.0691
23 | 2605616.7196 | 1179764.3346
24 | 2605615.0596 | 1179915.5769
25 | 2605560.8105 | 1179909.9686
26 | 2605630.3979 | 1179898.349
27 | 2605623.0596 | 1179920.2793
28 | 2605561.3572 | 1179892.9479
29 | 2605533.2873 | 1179904.5073
30 | 2605635.9649 | 1179933.1265
31 | 2605668.5812 | 1179972.1444
32 | 2605715.8112 | 1180010.8464
33 | 2605652.6267 | 1179996.0925
34 | 2605631.2642 | 1179897.6263
35 | 2605742.3595 | 1180022.3776
36 | 2605647.6591 | 1180022.7285
37 | 2605760.9414 | 1180029.7695
38 | 2605661.1495 | 1180044.6993
39 | 2605560.3051 | 1179581.5044
40 | 2605572.6443 | 1179588.2705
41 | 2605541.94 | 1179571.4342
42 | 2605579.2269 | 1179593.6241
43 | 2605543.1024 | 1179570.4133
44 | 2605516.5784 | 1179592.8195
45 | 2605565.7278 | 1179620.3809
46 | 2605561.3216 | 1179554.4121
47 | 2605510.2057 | 1179598.193
48 | 2605568.4251 | 1179548.1734
49 | 2605599.4553 | 1179627.0325
50 | 2605586.0772 | 1179653.1048
51 | 2605628.2686 | 1179612.3071
52 | 2605576.9869 | 1179670.8206
53 | 2605605.5785 | 1179655.6513
54 | 2605651.162 | 1179573.3434
55 | 2605560.1244 | 1179691.7566
56 | 2605589.0572 | 1179687.5697
57 | 2605549.1185 | 1179679.294
58 | 2605538.6097 | 1179713.6912
59 | 2605582.5036 | 1179535.8087
60 | 2605585.8062 | 1179532.7991
61 | 2605576.5191 | 1179541.0646
62 | 2605642.1608 | 1179496.4112
63 | 2605571.3829 | 1179545.5756
64 | 2605657.5467 | 1179477.9598
65 | 2605648.9711 | 1179459.7154
66 | 2605687.3431 | 1179428.703
67 | 2605647.4504 | 1179456.4801
68 | 2605640.4391 | 1179441.5254
69 | 2605648.1572 | 1179438.4977
70 | 2605626.7301 | 1179446.9043
71 | 2605464.1614 | 1179604.2896
72 | 2605457.3381 | 1179578.3418
73 | 2605453.2049 | 1179562.6239
74 | 2605453.1923 | 1179562.5762
75 | 2605452.1759 | 1179558.7109
76 | 2605444.3256 | 1179528.8575
77 | 2605507.0052 | 1179684.4489
78 | 2605530.9599 | 1179720.9788
79 | 2605514.7134 | 1179736.4557
80 | 2605508.6981 | 1179742.1861
81 | 2605493.6378 | 1179762.5709
82 | 2605493.012 | 1179763.4917
83 | 2605439.9612 | 1179864.2691
84 | 2605433.3333 | 1179861.873
85 | 2605440.9937 | 1179871.2291
86 | 2605424.8954 | 1179822.884
87 | 2605428.3343 | 1179865.8039
88 | 2605474.6141 | 1179883.3544
89 | 2605418.9346 | 1179802.6077
90 | 2605428.7029 | 1179872.1408
91 | 2605484.8837 | 1179887.6881
92 | 2605468.678 | 1179897.9567
93 | 2605399.5725 | 1179878.5514
94 | 2605411.8183 | 1179781.9575
95 | 2605390.295 | 1179808.792
96 | 2605441.7608 | 1179797.8956
97 | 2605496.5895 | 1179892.4141
98 | 2605487.7609 | 1179872.5606
99 | 2605466.5465 | 1179903.2
100 | 2605395.7518 | 1179868.177
101 | 2605454.4771 | 1179811.8112
102 | 2605451.0739 | 1179797.3783
103 | 2605458.0821 | 1179827.0997
104 | 2605470.2613 | 1179791.7058
105 | 2605489.5411 | 1179768.5987
106 | 2605490.1672 | 1179767.6775
107 | 2605390.8552 | 1179863.6806
108 | 2605403.8974 | 1179758.9719
109 | 2605385.2274 | 1179808.6995
110 | 2605401.6097 | 1179752.3333
111 | 2605359.8239 | 1179808.2359
112 | 2605378.361 | 1179749.1327
113 | 2605355.0894 | 1179733.7681
114 | 2605349.3131 | 1179730.732
115 | 2605330.8625 | 1179721.0344
116 | 2605311.8926 | 1179712.9452
117 | 2605310.234 | 1179729.1289
118 | 2605279.8999 | 1179698.4877
119 | 2605309.5209 | 1179739.4242
120 | 2605291.2204 | 1179684.3455
121 | 2605311.3286 | 1179774.2161
122 | 2605303.074 | 1179668.3997
123 | 2605508.8531 | 1179864.6209
124 | 2605510.2177 | 1179864.7311
125 | 2605500.0836 | 1179863.9125
126 | 2605489.266 | 1179864.647
127 | 2605534.117 | 1179882.5246
128 | 2605533.7521 | 1179892.192
129 | 2605504.0948 | 1179895.1315
130 | 2605499.0343 | 1179909.963
131 | 2605511.2966 | 1179897.5539
132 | 2605510.8046 | 1179924.9862
133 | 2605359.5048 | 1179786.3603
134 | 2605359.3125 | 1179773.1843
135 | 2605632.9664 | 1180044.6436
136 | 2605635.61 | 1180049.1761
137 | 2605668.6506 | 1180061.4012
138 | 2605669.7345 | 1180065.4756
139 | 2605671.0729 | 1180070.507
140 | 2605671.4159 | 1180071.983
141 | 2605766.1018 | 1180031.8223
142 | 2605767.3042 | 1180051.4051
143 | 2605767.7798 | 1180059.1511
144 | 2605767.8538 | 1180060.3567
145 | 2605768.1736 | 1180065.5661
146 | 2605768.4887 | 1180070.6984
147 | 2605768.61 | 1180072.6731
148 | 2605768.801 | 1180075.7839
149 | 2605671.8313 | 1180074.2568
150 | 2605671.8359 | 1180074.2823
151 | 2605768.8472 | 1180076.5366
152 | 2605463.6921 | 1179916.5393
153 | 2605483.8403 | 1179943.4267
154 | 2605560.8105 | 1179909.9686

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1