## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_889-2_1_3_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_889-2_1_3_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_889-2_1_3_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_889-2_1_3_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_889-2_1_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_889-2_1_3_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_889-2_1_3_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_889-2_1_3_node_244 | 0.4 | n |  | TRUE
8 | bus_LV_889-2_1_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_889-2_1_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_889-2_1_3_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_889-2_1_3_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_889-2_1_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_889-2_1_3_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_889-2_1_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_889-2_1_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_889-2_1_3_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_889-2_1_3_node_162 | 0.4 | n |  | TRUE
18 | bus_LV_889-2_1_3_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_889-2_1_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_889-2_1_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_889-2_1_3_node_163 | 0.4 | n |  | TRUE
22 | bus_LV_889-2_1_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_889-2_1_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_889-2_1_3_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_889-2_1_3_node_166 | 0.4 | n |  | TRUE
26 | bus_LV_889-2_1_3_node_213 | 0.4 | n |  | TRUE
27 | bus_LV_889-2_1_3_node_210 | 0.4 | n |  | TRUE
28 | bus_LV_889-2_1_3_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_889-2_1_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_889-2_1_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_889-2_1_3_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_889-2_1_3_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_889-2_1_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_889-2_1_3_node_158 | 0.4 | n |  | TRUE
35 | bus_LV_889-2_1_3_node_245 | 0.4 | n |  | TRUE
36 | bus_LV_889-2_1_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_889-2_1_3_node_220 | 0.4 | n |  | TRUE
38 | bus_LV_889-2_1_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_889-2_1_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_889-2_1_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_889-2_1_3_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_889-2_1_3_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_889-2_1_3_node_254 | 0.4 | n |  | TRUE
44 | bus_LV_889-2_1_3_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_889-2_1_3_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_889-2_1_3_node_186 | 0.4 | n |  | TRUE
47 | bus_LV_889-2_1_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_889-2_1_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_889-2_1_3_node_175 | 0.4 | n |  | TRUE
50 | bus_LV_889-2_1_3_node_192 | 0.4 | n |  | TRUE
51 | bus_LV_889-2_1_3_node_159 | 0.4 | n |  | TRUE
52 | bus_LV_889-2_1_3_node_160 | 0.4 | n |  | TRUE
53 | bus_LV_889-2_1_3_node_161 | 0.4 | n |  | TRUE
54 | bus_LV_889-2_1_3_node_214 | 0.4 | n |  | TRUE
55 | bus_LV_889-2_1_3_node_164 | 0.4 | n |  | TRUE
56 | bus_LV_889-2_1_3_node_165 | 0.4 | n |  | TRUE
57 | bus_LV_889-2_1_3_node_208 | 0.4 | n |  | TRUE
58 | bus_LV_889-2_1_3_node_167 | 0.4 | n |  | TRUE
59 | bus_LV_889-2_1_3_node_168 | 0.4 | n |  | TRUE
60 | bus_LV_889-2_1_3_node_169 | 0.4 | n |  | TRUE
61 | bus_LV_889-2_1_3_node_170 | 0.4 | n |  | TRUE
62 | bus_LV_889-2_1_3_node_171 | 0.4 | n |  | TRUE
63 | bus_LV_889-2_1_3_node_215 | 0.4 | n |  | TRUE
64 | bus_LV_889-2_1_3_node_172 | 0.4 | n |  | TRUE
65 | bus_LV_889-2_1_3_node_174 | 0.4 | n |  | TRUE
66 | bus_LV_889-2_1_3_node_176 | 0.4 | n |  | TRUE
67 | bus_LV_889-2_1_3_node_177 | 0.4 | n |  | TRUE
68 | bus_LV_889-2_1_3_node_178 | 0.4 | n |  | TRUE
69 | bus_LV_889-2_1_3_node_179 | 0.4 | n |  | TRUE
70 | bus_LV_889-2_1_3_node_180 | 0.4 | n |  | TRUE
71 | bus_LV_889-2_1_3_node_181 | 0.4 | n |  | TRUE
72 | bus_LV_889-2_1_3_node_204 | 0.4 | n |  | TRUE
73 | bus_LV_889-2_1_3_node_227 | 0.4 | n |  | TRUE
74 | bus_LV_889-2_1_3_node_182 | 0.4 | n |  | TRUE
75 | bus_LV_889-2_1_3_node_183 | 0.4 | n |  | TRUE
76 | bus_LV_889-2_1_3_node_184 | 0.4 | n |  | TRUE
77 | bus_LV_889-2_1_3_node_185 | 0.4 | n |  | TRUE
78 | bus_LV_889-2_1_3_node_202 | 0.4 | n |  | TRUE
79 | bus_LV_889-2_1_3_node_203 | 0.4 | n |  | TRUE
80 | bus_LV_889-2_1_3_node_187 | 0.4 | n |  | TRUE
81 | bus_LV_889-2_1_3_node_188 | 0.4 | n |  | TRUE
82 | bus_LV_889-2_1_3_node_189 | 0.4 | n |  | TRUE
83 | bus_LV_889-2_1_3_node_190 | 0.4 | n |  | TRUE
84 | bus_LV_889-2_1_3_node_191 | 0.4 | n |  | TRUE
85 | bus_LV_889-2_1_3_node_193 | 0.4 | n |  | TRUE
86 | bus_LV_889-2_1_3_node_194 | 0.4 | n |  | TRUE
87 | bus_LV_889-2_1_3_node_195 | 0.4 | n |  | TRUE
88 | bus_LV_889-2_1_3_node_196 | 0.4 | n |  | TRUE
89 | bus_LV_889-2_1_3_node_197 | 0.4 | n |  | TRUE
90 | bus_LV_889-2_1_3_node_223 | 0.4 | n |  | TRUE
91 | bus_LV_889-2_1_3_node_205 | 0.4 | n |  | TRUE
92 | bus_LV_889-2_1_3_node_198 | 0.4 | n |  | TRUE
93 | bus_LV_889-2_1_3_node_199 | 0.4 | n |  | TRUE
94 | bus_LV_889-2_1_3_node_200 | 0.4 | n |  | TRUE
95 | bus_LV_889-2_1_3_node_201 | 0.4 | n |  | TRUE
96 | bus_LV_889-2_1_3_node_209 | 0.4 | n |  | TRUE
97 | bus_LV_889-2_1_3_node_207 | 0.4 | n |  | TRUE
98 | bus_LV_889-2_1_3_node_211 | 0.4 | n |  | TRUE
99 | bus_LV_889-2_1_3_node_212 | 0.4 | n |  | TRUE
100 | bus_LV_889-2_1_3_node_226 | 0.4 | n |  | TRUE
101 | bus_LV_889-2_1_3_node_216 | 0.4 | n |  | TRUE
102 | bus_LV_889-2_1_3_node_218 | 0.4 | n |  | TRUE
103 | bus_LV_889-2_1_3_node_219 | 0.4 | n |  | TRUE
104 | bus_LV_889-2_1_3_node_221 | 0.4 | n |  | TRUE
105 | bus_LV_889-2_1_3_node_222 | 0.4 | n |  | TRUE
106 | bus_LV_889-2_1_3_node_251 | 0.4 | n |  | TRUE
107 | bus_LV_889-2_1_3_node_248 | 0.4 | n |  | TRUE
108 | bus_LV_889-2_1_3_node_228 | 0.4 | n |  | TRUE
109 | bus_LV_889-2_1_3_node_255 | 0.4 | n |  | TRUE
110 | bus_LV_889-2_1_3_node_252 | 0.4 | n |  | TRUE
111 | bus_LV_889-2_1_3_node_246 | 0.4 | n |  | TRUE
112 | bus_LV_889-2_1_3_node_247 | 0.4 | n |  | TRUE
113 | bus_LV_889-2_1_3_node_249 | 0.4 | n |  | TRUE
114 | bus_LV_889-2_1_3_node_250 | 0.4 | n |  | TRUE
115 | bus_LV_889-2_1_3_node_253 | 0.4 | n |  | TRUE
116 | bus_MV_122_1_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_889-2_1_3_load_27 | 0 | 0.0043723 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_889-2_1_3_load_30 | 3 | 0.0012631 | 0.00031657 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_889-2_1_3_load_43 | 9 | 0.0023374 | 0.00058582 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_889-2_1_3_load_42 | 10 | 0.0034704 | 0.00086976 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_889-2_1_3_load_162 | 17 | 0.00066768 | 0.00016734 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_889-2_1_3_load_82 | 18 | 0.0052143 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_889-2_1_3_load_79 | 19 | 0.0036517 | 0.00091521 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_889-2_1_3_load_163 | 21 | 0.0014695 | 0.00036828 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_889-2_1_3_load_63 | 23 | 0.0053585 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_889-2_1_3_load_62 | 24 | 0.0034453 | 0.00086347 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_889-2_1_3_load_166 | 25 | 0.0029605 | 0.00074197 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_889-2_1_3_load_213 | 26 | 0.0012785 | 0.00032043 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_889-2_1_3_load_210 | 27 | 0.0011279 | 0.00028268 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_889-2_1_3_load_50 | 28 | 0.0038514 | 0.00096524 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_889-2_1_3_load_51 | 29 | 0.0010739 | 0.00026914 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_889-2_1_3_load_158 | 34 | 0.003173 | 0.00079522 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_889-2_1_3_load_245 | 35 | 0.00027834 | 6.9759e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_889-2_1_3_load_220 | 37 | 0.00027834 | 6.9759e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_889-2_1_3_load_57 | 39 | 0.0014659 | 0.00036739 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_889-2_1_3_load_58 | 40 | 0.0021046 | 0.00052747 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_889-2_1_3_load_60 | 41 | 0.0019954 | 0.00050009 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_889-2_1_3_load_61 | 42 | 0.0038633 | 0.00096825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_889-2_1_3_load_254 | 43 | 0.005959 | 0.0014935 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_889-2_1_3_load_72 | 44 | 0.011927 | 0.0029891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_889-2_1_3_load_186 | 46 | 0.0064106 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_889-2_1_3_load_80 | 47 | 0.0031342 | 0.00078549 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_889-2_1_3_load_81 | 48 | 0.0019866 | 0.0004979 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_889-2_1_3_load_175 | 49 | 0.0054677 | 0.0013703 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_889-2_1_3_load_192 | 50 | 0.0020166 | 0.00050542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_889-2_1_3_load_160 | 52 | 0.0013429 | 0.00033657 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_889-2_1_3_load_161 | 53 | 0.0041303 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_889-2_1_3_load_214 | 54 | 0.0013949 | 0.0003496 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_889-2_1_3_load_164 | 55 | 0.0025879 | 0.00064859 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_889-2_1_3_load_165 | 56 | 0.0048429 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_889-2_1_3_load_167 | 58 | 0.0013072 | 0.00032762 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_889-2_1_3_load_168 | 59 | 0.0077974 | 0.0019542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_889-2_1_3_load_169 | 60 | 0.0012201 | 0.00030579 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_889-2_1_3_load_170 | 61 | 0.0019667 | 0.00049291 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_889-2_1_3_load_171 | 62 | 0.0035732 | 0.00089553 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_889-2_1_3_load_215 | 63 | 0.002291 | 0.00057419 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_889-2_1_3_load_172 | 64 | 0.0051546 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_889-2_1_3_load_177 | 67 | 0.0021585 | 0.00054096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_889-2_1_3_load_178 | 68 | 0.0021412 | 0.00053663 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_889-2_1_3_load_179 | 69 | 0.0028114 | 0.00070459 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_889-2_1_3_load_180 | 70 | 0.0012558 | 0.00031473 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_889-2_1_3_load_181 | 71 | 0.0018468 | 0.00046286 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_889-2_1_3_load_204 | 72 | 0.0012739 | 0.00031928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_889-2_1_3_load_227 | 73 | 0.0013477 | 0.00033777 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_889-2_1_3_load_182 | 74 | 0.0031578 | 0.00079142 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_889-2_1_3_load_183 | 75 | 0.0055093 | 0.0013808 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_889-2_1_3_load_184 | 76 | 0.0070451 | 0.0017657 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_889-2_1_3_load_202 | 78 | 0.0025579 | 0.00064106 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_889-2_1_3_load_203 | 79 | 0.00092077 | 0.00023077 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_889-2_1_3_load_187 | 80 | 0.013705 | 0.0034349 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_889-2_1_3_load_188 | 81 | 0.0039772 | 0.00099679 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_889-2_1_3_load_190 | 83 | 0.0018421 | 0.00046168 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_889-2_1_3_load_193 | 85 | 0.00033481 | 8.3913e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_889-2_1_3_load_194 | 86 | 0.00021486 | 5.385e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_889-2_1_3_load_196 | 88 | 0.00027834 | 6.9759e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_889-2_1_3_load_197 | 89 | 0.0012429 | 0.0003115 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_889-2_1_3_load_205 | 91 | 0.00032918 | 8.2499e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_889-2_1_3_load_198 | 92 | 0.0018112 | 0.00045393 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_889-2_1_3_load_199 | 93 | 0.001162 | 0.00029123 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_889-2_1_3_load_200 | 94 | 0.0017019 | 0.00042654 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_889-2_1_3_load_209 | 96 | 0.0017262 | 0.00043263 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_889-2_1_3_load_207 | 97 | 0.002498 | 0.00062606 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_889-2_1_3_load_211 | 98 | 0.0036759 | 0.00092128 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_889-2_1_3_load_212 | 99 | 0.00073562 | 0.00018436 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_889-2_1_3_load_226 | 100 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_889-2_1_3_load_216 | 101 | 0.0016154 | 0.00040486 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_889-2_1_3_load_218 | 102 | 0.00028265 | 7.084e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_889-2_1_3_load_219 | 103 | 0.00044797 | 0.00011227 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_889-2_1_3_load_221 | 104 | 0.00027818 | 6.972e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_889-2_1_3_load_251 | 106 | 0.00069214 | 0.00017347 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_889-2_1_3_load_248 | 107 | 0.00027829 | 6.9747e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_889-2_1_3_load_228 | 108 | 0.0023696 | 0.00059389 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_889-2_1_3_load_255 | 109 | 0.0015848 | 0.00039718 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_889-2_1_3_load_252 | 110 | 0.00027834 | 6.9759e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_889-2_1_3_load_246 | 111 | 0.0002783 | 6.9747e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_889-2_1_3_load_247 | 112 | 0.00027834 | 6.9759e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_889-2_1_3_load_249 | 113 | 0.00027834 | 6.9759e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_889-2_1_3_load_250 | 114 | 0.00065512 | 0.00016419 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_889-2_1_3_load_253 | 115 | 0.00055648 | 0.00013947 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_889-2_1_3_line_0 |  | 0 | 1 | 0.02244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_889-2_1_3_line_1 |  | 0 | 2 | 0.038828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_889-2_1_3_line_2 |  | 1 | 3 | 0.075604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_889-2_1_3_line_3 |  | 1 | 4 | 0.010757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_889-2_1_3_line_4 |  | 2 | 5 | 0.007251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_889-2_1_3_line_5 |  | 2 | 6 | 0.0076181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_889-2_1_3_line_6 |  | 3 | 7 | 0.031078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_889-2_1_3_line_7 |  | 4 | 21 | 0.039327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_889-2_1_3_line_8 |  | 4 | 20 | 0.006488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_889-2_1_3_line_9 |  | 5 | 22 | 0.004927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_889-2_1_3_line_10 |  | 5 | 23 | 0.06454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_889-2_1_3_line_11 |  | 5 | 24 | 0.0051973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_889-2_1_3_line_12 |  | 6 | 26 | 0.043978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_889-2_1_3_line_13 |  | 6 | 27 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_889-2_1_3_line_14 |  | 7 | 109 | 0.066232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_889-2_1_3_line_15 |  | 8 | 9 | 0.022063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_889-2_1_3_line_16 |  | 8 | 10 | 0.0057969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_889-2_1_3_line_17 |  | 10 | 15 | 0.011435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_889-2_1_3_line_18 |  | 11 | 12 | 0.090511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_889-2_1_3_line_19 |  | 11 | 13 | 0.005716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_889-2_1_3_line_20 |  | 12 | 18 | 0.037324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_889-2_1_3_line_21 |  | 12 | 19 | 0.010671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_889-2_1_3_line_22 |  | 13 | 46 | 0.041172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_889-2_1_3_line_23 |  | 13 | 45 | 0.011307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_889-2_1_3_line_24 |  | 14 | 15 | 0.041486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_889-2_1_3_line_25 |  | 14 | 16 | 0.002538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_889-2_1_3_line_26 |  | 14 | 17 | 0.046115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_889-2_1_3_line_27 |  | 16 | 44 | 0.012999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_889-2_1_3_line_28 |  | 17 | 20 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_889-2_1_3_line_29 |  | 18 | 50 | 0.039421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_889-2_1_3_line_30 |  | 19 | 47 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_889-2_1_3_line_31 |  | 21 | 55 | 0.0089288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_889-2_1_3_line_32 |  | 22 | 25 | 0.054587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_889-2_1_3_line_33 |  | 25 | 41 | 0.01953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_889-2_1_3_line_34 |  | 27 | 98 | 0.0080234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_889-2_1_3_line_35 |  | 28 | 29 | 0.017711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_889-2_1_3_line_36 |  | 28 | 30 | 0.022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_889-2_1_3_line_37 |  | 29 | 31 | 0.015979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_889-2_1_3_line_38 |  | 30 | 32 | 0.027549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_889-2_1_3_line_39 |  | 31 | 33 | 0.026253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_889-2_1_3_line_40 |  | 32 | 34 | 0.032693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_889-2_1_3_line_41 |  | 33 | 35 | 0.039742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_889-2_1_3_line_42 |  | 33 | 36 | 0.024504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_889-2_1_3_line_43 |  | 33 | 37 | 0.024823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_889-2_1_3_line_44 |  | 34 | 51 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_889-2_1_3_line_45 |  | 35 | 110 | 0.021792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_889-2_1_3_line_46 |  | 36 | 38 | 0.004998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_889-2_1_3_line_47 |  | 37 | 102 | 0.016754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_889-2_1_3_line_48 |  | 38 | 42 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_889-2_1_3_line_49 |  | 38 | 39 | 0.031831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_889-2_1_3_line_50 |  | 39 | 40 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_889-2_1_3_line_51 |  | 40 | 41 | 0.030309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_889-2_1_3_line_52 |  | 42 | 43 | 0.0040957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_889-2_1_3_line_53 |  | 44 | 45 | 0.021897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_889-2_1_3_line_54 |  | 46 | 76 | 0.025472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_889-2_1_3_line_55 |  | 47 | 48 | 0.0025362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_889-2_1_3_line_56 |  | 48 | 49 | 0.012895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_889-2_1_3_line_57 |  | 50 | 66 | 0.0085353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_889-2_1_3_line_58 |  | 51 | 52 | 0.038081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_889-2_1_3_line_59 |  | 51 | 53 | 0.0010343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_889-2_1_3_line_60 |  | 53 | 54 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_889-2_1_3_line_61 |  | 54 | 62 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_889-2_1_3_line_62 |  | 55 | 56 | 0.018445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_889-2_1_3_line_63 |  | 56 | 57 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_889-2_1_3_line_64 |  | 57 | 96 | 0.023084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_889-2_1_3_line_65 |  | 57 | 97 | 0.070903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_889-2_1_3_line_66 |  | 58 | 59 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_889-2_1_3_line_67 |  | 58 | 60 | 0.0055472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_889-2_1_3_line_68 |  | 59 | 61 | 0.014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_889-2_1_3_line_69 |  | 60 | 62 | 0.012858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_889-2_1_3_line_70 |  | 61 | 63 | 0.042842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_889-2_1_3_line_71 |  | 63 | 101 | 0.012582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_889-2_1_3_line_72 |  | 64 | 65 | 0.00077998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_889-2_1_3_line_73 |  | 65 | 66 | 0.019698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_889-2_1_3_line_74 |  | 67 | 68 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_889-2_1_3_line_75 |  | 67 | 69 | 0.036358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_889-2_1_3_line_76 |  | 68 | 70 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_889-2_1_3_line_77 |  | 69 | 71 | 0.032015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_889-2_1_3_line_78 |  | 70 | 72 | 0.0060553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_889-2_1_3_line_79 |  | 71 | 73 | 0.030423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_889-2_1_3_line_80 |  | 72 | 95 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_889-2_1_3_line_81 |  | 73 | 84 | 0.083892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_889-2_1_3_line_82 |  | 74 | 75 | 0.061803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_889-2_1_3_line_83 |  | 74 | 76 | 0.04103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_889-2_1_3_line_84 |  | 75 | 77 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_889-2_1_3_line_85 |  | 77 | 78 | 0.010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_889-2_1_3_line_86 |  | 77 | 79 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_889-2_1_3_line_87 |  | 80 | 81 | 0.053444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_889-2_1_3_line_88 |  | 80 | 82 | 0.088848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_889-2_1_3_line_89 |  | 81 | 83 | 0.0096299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_889-2_1_3_line_90 |  | 82 | 84 | 0.039852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_889-2_1_3_line_91 |  | 85 | 86 | 0.00054701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_889-2_1_3_line_92 |  | 85 | 87 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_889-2_1_3_line_93 |  | 86 | 88 | 0.085658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_889-2_1_3_line_94 |  | 87 | 89 | 0.014808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_889-2_1_3_line_95 |  | 88 | 90 | 0.053385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_889-2_1_3_line_96 |  | 89 | 91 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_889-2_1_3_line_97 |  | 90 | 106 | 0.024545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_889-2_1_3_line_98 |  | 90 | 107 | 0.029313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_889-2_1_3_line_99 |  | 90 | 105 | 0.004337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_889-2_1_3_line_100 |  | 92 | 93 | 0.016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_889-2_1_3_line_101 |  | 92 | 94 | 0.007596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_889-2_1_3_line_102 |  | 93 | 95 | 0.046885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_889-2_1_3_line_103 |  | 95 | 96 | 0.032285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_889-2_1_3_line_104 |  | 98 | 99 | 0.00049141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_889-2_1_3_line_105 |  | 99 | 100 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_889-2_1_3_line_106 |  | 100 | 108 | 0.0088367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_889-2_1_3_line_107 |  | 102 | 103 | 0.018956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_889-2_1_3_line_108 |  | 103 | 104 | 0.0071897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_889-2_1_3_line_109 |  | 104 | 105 | 0.025664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_889-2_1_3_line_110 |  | 107 | 111 | 0.0045449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_889-2_1_3_line_111 |  | 110 | 115 | 0.014396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_889-2_1_3_line_112 |  | 111 | 112 | 0.0070655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_889-2_1_3_line_113 |  | 112 | 113 | 0.013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_889-2_1_3_line_114 |  | 113 | 114 | 0.010441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_889-2_1_3_trafo_163 | 0.63 MVA 20/0.4 kV | 116 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2604819.1466 | 1185829.7636 | 2604826.3329 | 1185812.8494 | 2604828.1571 | 1185809.219
1 | 2604846.8438 | 1185775.2018 | 2604834.7476 | 1185796.103 | 2604828.1571 | 1185809.219
2 | 2604819.1466 | 1185829.7636 | 2604826.9279 | 1185832.3266 | 2604834.175 | 1185834.8337 | 2604839.7749 | 1185836.1722 | 2604845.7717 | 1185837.2775 | 2604852.1277 | 1185837.7161 | 2604857.8742 | 1185836.8981 | 2604861.66 | 1185835.7783 | 2604865.7899 | 1185833.6472 | 2604868.8289 | 1185831.0705 | 2604871.3645 | 1185828.3712 | 2604874.0918 | 1185824.3824 | 2604880.2358 | 1185813.2593 | 2604881.0639 | 1185811.5605
3 | 2604819.1466 | 1185829.7636 | 2604816.7539 | 1185835.2423 | 2604812.3295 | 1185833.4378
4 | 2604850.7556 | 1185769.0907 | 2604846.8438 | 1185775.2018
5 | 2604840.4067 | 1185771.1279 | 2604843.0151 | 1185772.7531 | 2604846.8438 | 1185775.2018
6 | 2604895.6199 | 1185784.1344 | 2604893.2591 | 1185787.8122 | 2604888.8804 | 1185795.5238 | 2604881.0639 | 1185811.5605
7 | 2604812.3295 | 1185833.4378 | 2604786.3097 | 1185822.8563 | 2604775.8663 | 1185818.7069
8 | 2604812.3295 | 1185833.4378 | 2604809.555 | 1185839.3053
9 | 2604850.7556 | 1185769.0907 | 2604846.576 | 1185766.4638
10 | 2604850.7556 | 1185769.0907 | 2604880.2692 | 1185724.3134 | 2604886.4099 | 1185715.2948
11 | 2604850.7556 | 1185769.0907 | 2604855.462 | 1185771.2956
12 | 2604845.0809 | 1185727.6092 | 2604840.2222 | 1185753.5965 | 2604840.4067 | 1185771.1279
13 | 2604840.4067 | 1185771.1279 | 2604829.5409 | 1185770.6301 | 2604828.1961 | 1185770.0157
14 | 2604920.841 | 1185725.7691 | 2604914.8115 | 1185736.6587 | 2604908.9607 | 1185743.5353 | 2604903.1114 | 1185748.7111 | 2604900.7663 | 1185751.7441 | 2604898.8938 | 1185755.4111 | 2604898.0126 | 1185759.9572 | 2604895.3743 | 1185776.4414 | 2604895.6199 | 1185784.1344
15 | 2604822.329 | 1185906.2056 | 2604827.4049 | 1185884.9764 | 2604827.6321 | 1185885.0397
16 | 2604822.329 | 1185906.2056 | 2604816.7188 | 1185904.7464
17 | 2604805.652 | 1185901.8679 | 2604816.7188 | 1185904.7464
18 | 2604763.814 | 1185910.9842 | 2604772.1842 | 1185901.9194 | 2604776.8346 | 1185917.0753 | 2604777.2912 | 1185918.5653 | 2604779.2952 | 1185941.6233 | 2604779.1694 | 1185946.3145 | 2604778.5802 | 1185967.7807 | 2604775.8779 | 1185978.9065
19 | 2604763.814 | 1185910.9842 | 2604759.7806 | 1185906.9233
20 | 2604775.8779 | 1185978.9065 | 2604764.2291 | 1185994.5944 | 2604758.3285 | 1186007.1963 | 2604757.353 | 1186010.9405
21 | 2604775.8779 | 1185978.9065 | 2604780.2719 | 1185988.6305
22 | 2604759.7806 | 1185906.9233 | 2604754.7326 | 1185912.1999 | 2604744.7662 | 1185923.1756 | 2604733.5126 | 1185938.5396
23 | 2604759.7806 | 1185906.9233 | 2604751.3852 | 1185899.324
24 | 2604777.3766 | 1185887.6272 | 2604782.0584 | 1185891.9108 | 2604786.5655 | 1185895.1716 | 2604792.1724 | 1185887.4832 | 2604802.2232 | 1185895.6064 | 2604805.652 | 1185901.8679
25 | 2604777.3766 | 1185887.6272 | 2604775.6887 | 1185889.5268
26 | 2604777.3766 | 1185887.6272 | 2604783.6474 | 1185879.8948 | 2604790.0639 | 1185871.2509 | 2604800.9431 | 1185854.6398 | 2604803.6548 | 1185849.8113
27 | 2604775.6887 | 1185889.5268 | 2604771.9518 | 1185886.8558 | 2604764.9812 | 1185882.1591
28 | 2604809.555 | 1185839.3053 | 2604803.6548 | 1185849.8113
29 | 2604752.0733 | 1186049.96 | 2604752.0611 | 1186049.869 | 2604752.6402 | 1186041.1538 | 2604756.6141 | 1186013.7761 | 2604757.353 | 1186010.9405
30 | 2604790.5212 | 1186011.3123 | 2604780.2719 | 1185988.6305
31 | 2604767.484 | 1185815.6645 | 2604769.741 | 1185816.2732 | 2604775.8663 | 1185818.7069
32 | 2604846.576 | 1185766.4638 | 2604860.2441 | 1185745.6417 | 2604876.868 | 1185721.0541
33 | 2604876.868 | 1185721.0541 | 2604877.7699 | 1185719.7201 | 2604888.1425 | 1185705.1072
34 | 2604828.1961 | 1185770.0157 | 2604820.8984 | 1185766.6813
35 | 2604970.2028 | 1185604.6673 | 2604979.2891 | 1185589.4644
36 | 2604985.1756 | 1185568.7626 | 2604985.9585 | 1185572.4652 | 2604985.9706 | 1185576.3005 | 2604985.19 | 1185579.0457 | 2604983.7759 | 1185581.9572 | 2604979.2891 | 1185589.4644
37 | 2604961.2275 | 1185617.8795 | 2604968.6611 | 1185607.2468 | 2604970.2028 | 1185604.6673
38 | 2604985.1756 | 1185568.7626 | 2604983.7357 | 1185565.7821 | 2604981.5861 | 1185562.9456 | 2604978.4135 | 1185560.6084 | 2604963.2107 | 1185553.4812
39 | 2604961.2275 | 1185617.8795 | 2604965.6655 | 1185621.8185 | 2604970.9355 | 1185625.4136 | 2604967.4759 | 1185628.857 | 2604966.7116 | 1185630.3127 | 2604966.8017 | 1185632.0581 | 2604967.7088 | 1185633.3261 | 2604965.8591 | 1185636.9932
40 | 2604963.2107 | 1185553.4812 | 2604954.0293 | 1185564.4016 | 2604949.196 | 1185567.9217 | 2604943.9134 | 1185570.3075 | 2604937.2741 | 1185570.6912
41 | 2604965.8591 | 1185636.9932 | 2604967.4613 | 1185637.3169 | 2604969.3004 | 1185637.285 | 2604971.5366 | 1185636.8533 | 2604973.2772 | 1185635.9876 | 2604974.4378 | 1185635.1215 | 2604985.5354 | 1185623.1244 | 2604989.0938 | 1185620.1369 | 2604993.4677 | 1185618.5619 | 2604997.939 | 1185619.088 | 2604998.3299 | 1185619.3267
42 | 2604947.7997 | 1185642.6703 | 2604957.4388 | 1185631.7503 | 2604961.8622 | 1185634.8666 | 2604965.8591 | 1185636.9932
43 | 2604965.8591 | 1185636.9932 | 2604963.9246 | 1185641.7052 | 2604971.2408 | 1185643.9234 | 2604982.6111 | 1185648.016
44 | 2604916.2642 | 1185563.4482 | 2604929.3167 | 1185568.6281 | 2604937.2741 | 1185570.6912
45 | 2604998.3299 | 1185619.3267 | 2605005.0322 | 1185623.4183 | 2605007.2445 | 1185624.1539 | 2605009.1755 | 1185623.7775 | 2605011.0617 | 1185622.1226 | 2605014.7148 | 1185615.9972
46 | 2604947.7997 | 1185642.6703 | 2604943.2381 | 1185640.5988
47 | 2604998.3754 | 1185653.6903 | 2604982.6111 | 1185648.016
48 | 2604943.2381 | 1185640.5988 | 2604933.3977 | 1185636.3108 | 2604930.2722 | 1185636.5251
49 | 2604943.2381 | 1185640.5988 | 2604938.3265 | 1185646.6757 | 2604921.7098 | 1185664.0176
50 | 2604921.7098 | 1185664.0176 | 2604913.5585 | 1185672.5246 | 2604906.5051 | 1185681.0206
51 | 2604888.1425 | 1185705.1072 | 2604897.7778 | 1185691.5328 | 2604906.5051 | 1185681.0206
52 | 2604926.1861 | 1185636.8052 | 2604930.2722 | 1185636.5251
53 | 2604751.3852 | 1185899.324 | 2604764.9812 | 1185882.1591
54 | 2604720.7633 | 1185960.5399 | 2604722.0308 | 1185957.6646 | 2604730.9478 | 1185942.0412 | 2604733.5126 | 1185938.5396
55 | 2604791.5656 | 1186013.6235 | 2604790.5212 | 1186011.3123
56 | 2604791.5656 | 1186013.6235 | 2604795.8882 | 1186023.1896 | 2604797.3606 | 1186025.0813
57 | 2604753.2142 | 1186058.4188 | 2604752.0733 | 1186049.96
58 | 2604916.2642 | 1185563.4482 | 2604910.6107 | 1185571.5923 | 2604905.2848 | 1185580.3036 | 2604897.0229 | 1185596.2718
59 | 2604916.2642 | 1185563.4482 | 2604915.3322 | 1185562.9998
60 | 2604915.3322 | 1185562.9998 | 2604901.3598 | 1185556.2771
61 | 2604890.5191 | 1185551.0613 | 2604901.3598 | 1185556.2771
62 | 2604749.4831 | 1185816.4259 | 2604751.6415 | 1185815.592 | 2604756.5184 | 1185814.4396 | 2604760.2958 | 1185814.2425 | 2604764.9041 | 1185814.9687 | 2604767.484 | 1185815.6645
63 | 2604733.9847 | 1185824.594 | 2604746.9319 | 1185817.4115 | 2604749.4831 | 1185816.4259
64 | 2604733.9847 | 1185824.594 | 2604711.2456 | 1185820.6197
65 | 2604733.9847 | 1185824.594 | 2604727.8686 | 1185829.6918 | 2604724.042 | 1185834.3024 | 2604716.8613 | 1185844.4909 | 2604702.9641 | 1185866.3804 | 2604692.333 | 1185881.5888
66 | 2604861.5163 | 1185532.7794 | 2604874.4512 | 1185542.217
67 | 2604878.9325 | 1185545.4866 | 2604874.4512 | 1185542.217
68 | 2604861.5163 | 1185532.7794 | 2604849.417 | 1185523.9515
69 | 2604890.5191 | 1185551.0613 | 2604878.9325 | 1185545.4866 | 2604878.9325 | 1185545.4866
70 | 2604817.6889 | 1185495.4453 | 2604833.4626 | 1185512.3109 | 2604849.417 | 1185523.9515
71 | 2604817.6889 | 1185495.4453 | 2604809.0943 | 1185486.2559
72 | 2604772.9694 | 1186058.2675 | 2604773.7493 | 1186058.2732
73 | 2604753.2142 | 1186058.4188 | 2604772.9694 | 1186058.2675
74 | 2604641.1823 | 1185831.8329 | 2604624.5031 | 1185830.1126 | 2604623.8777 | 1185830.2909
75 | 2604601.0788 | 1185855.6703 | 2604604.8112 | 1185846.495 | 2604614.2376 | 1185833.0396 | 2604623.8777 | 1185830.2909
76 | 2604641.1823 | 1185831.8329 | 2604666.7494 | 1185834.4699
77 | 2604589.0156 | 1185885.3254 | 2604601.0788 | 1185855.6703
78 | 2604666.7494 | 1185834.4699 | 2604672.7727 | 1185835.0911
79 | 2604589.0156 | 1185885.3254 | 2604583.9026 | 1185897.8946 | 2604575.2187 | 1185912.3383
80 | 2604688.6796 | 1185836.7318 | 2604672.7727 | 1185835.0911
81 | 2604510.1764 | 1185958.8822 | 2604517.3808 | 1185957.22 | 2604536.2077 | 1185953.9656 | 2604550.1343 | 1185942.5479 | 2604571.0289 | 1185919.3071 | 2604575.2187 | 1185912.3383
82 | 2604694.4893 | 1186059.6037 | 2604703.8875 | 1186014.1242 | 2604706.6843 | 1185999.0185
83 | 2604720.7633 | 1185960.5399 | 2604714.1728 | 1185975.4899 | 2604706.6843 | 1185999.0185 | 2604706.6843 | 1185999.0185
84 | 2604697.513 | 1186067.4468 | 2604693.0576 | 1186066.5318 | 2604694.4893 | 1186059.6037
85 | 2604697.513 | 1186067.4468 | 2604701.2817 | 1186068.4169 | 2604702.9424 | 1186062.1038
86 | 2604697.513 | 1186067.4468 | 2604703.7846 | 1186036.7154
87 | 2604628.3776 | 1185973.687 | 2604627.2533 | 1185976.3569 | 2604623.5925 | 1185983.858 | 2604621.0787 | 1185988.3251 | 2604617.9012 | 1185992.536 | 2604614.1825 | 1185996.0349 | 2604607.2349 | 1186001.1434 | 2604591.5865 | 1186010.1787
88 | 2604511.0046 | 1185994.4345 | 2604512.4529 | 1185996.4477 | 2604515.1369 | 1185999.0733 | 2604518.8281 | 1186001.6885 | 2604538.0428 | 1186010.2406 | 2604549.2032 | 1186014.2398 | 2604560.7759 | 1186017.7503 | 2604567.4438 | 1186019.1894 | 2604571.4345 | 1186019.2591 | 2604575.0899 | 1186018.6393 | 2604579.8374 | 1186016.8753 | 2604586.8527 | 1186012.9119 | 2604591.5865 | 1186010.1787
89 | 2604632.1149 | 1185964.8119 | 2604628.3776 | 1185973.687
90 | 2604510.1764 | 1185958.8822 | 2604505.9868 | 1185959.4571 | 2604505.7812 | 1185969.1731 | 2604506.4319 | 1185976.6775 | 2604507.412 | 1185982.2922 | 2604508.8575 | 1185988.0629 | 2604511.0046 | 1185994.4345
91 | 2605135.3544 | 1185707.7008 | 2605135.3115 | 1185707.1555
92 | 2605136.3473 | 1185720.3003 | 2605135.3544 | 1185707.7008
93 | 2605135.3115 | 1185707.1555 | 2605134.4523 | 1185696.2529 | 2605133.094 | 1185678.2202 | 2605132.3269 | 1185674.0174 | 2605131.2697 | 1185669.8143 | 2605130.1732 | 1185667.0342 | 2605128.9694 | 1185664.8876 | 2605127.552 | 1185662.5852 | 2605125.1355 | 1185659.6372 | 2605122.3067 | 1185656.8779 | 2605118.8905 | 1185654.0291 | 2605115.5954 | 1185652.3476 | 2605110.9649 | 1185650.6095 | 2605107.7758 | 1185649.8731 | 2605104.922 | 1185649.6595 | 2605101.6712 | 1185649.679 | 2605097.2907 | 1185650.1756 | 2605093.8409 | 1185650.9286 | 2605092.2588 | 1185651.5393
94 | 2605136.3473 | 1185720.3003 | 2605141.841 | 1185720.8941 | 2605145.9683 | 1185722.0982 | 2605150.5565 | 1185724.0417
95 | 2605046.1326 | 1185678.3029 | 2605082.7717 | 1185656.0553 | 2605089.3295 | 1185652.6702 | 2605092.2588 | 1185651.5393
96 | 2605150.5565 | 1185724.0417 | 2605169.3728 | 1185732.0119
97 | 2605046.1326 | 1185678.3029 | 2605067.3742 | 1185690.7048
98 | 2605046.1326 | 1185678.3029 | 2605041.9786 | 1185672.4187 | 2605038.5491 | 1185667.1798 | 2605038.1477 | 1185663.4553 | 2605039.7695 | 1185658.6319 | 2605043.1859 | 1185652.506
99 | 2605042.4373 | 1185680.5899 | 2605046.1326 | 1185678.3029
100 | 2604653.2374 | 1185889.2037 | 2604662.4366 | 1185875.5844
101 | 2604648.9857 | 1185895.4984 | 2604653.2374 | 1185889.2037
102 | 2604688.6796 | 1185836.7318 | 2604662.4366 | 1185875.5844
103 | 2604688.6796 | 1185836.7318 | 2604696.4813 | 1185822.8306 | 2604697.8563 | 1185820.8974 | 2604699.4902 | 1185819.7091 | 2604701.8867 | 1185819.1107 | 2604704.5953 | 1185819.4574 | 2604711.2456 | 1185820.6197
104 | 2604820.4514 | 1185766.477 | 2604820.8984 | 1185766.6813
105 | 2604820.4514 | 1185766.477 | 2604814.4298 | 1185763.7257 | 2604804.8478 | 1185763.3374
106 | 2604796.0183 | 1185762.9795 | 2604804.8478 | 1185763.3374
107 | 2604998.3754 | 1185653.6903 | 2605005.5087 | 1185656.2579 | 2605015.0333 | 1185662.4765
108 | 2605015.0333 | 1185662.4765 | 2605021.0535 | 1185666.4071
109 | 2605042.4373 | 1185680.5899 | 2605039.5546 | 1185678.4864 | 2605021.0535 | 1185666.4071
110 | 2605045.3996 | 1185648.5367 | 2605043.1859 | 1185652.506
111 | 2605022.0884 | 1185603.6333 | 2605014.7148 | 1185615.9972
112 | 2605045.3996 | 1185648.5367 | 2605047.4041 | 1185644.9423 | 2605047.9861 | 1185642.5749 | 2605047.8956 | 1185642.0709
113 | 2605047.8956 | 1185642.0709 | 2605047.5911 | 1185640.3734 | 2605046.5707 | 1185637.7823 | 2605046.6483 | 1185636.2149 | 2605047.2832 | 1185634.3256 | 2605049.9315 | 1185629.4924
114 | 2605054.9487 | 1185620.3359 | 2605049.9315 | 1185629.4924

## bus_geodata
| x | y | coords
0 | 2604828.1571 | 1185809.219
1 | 2604819.1466 | 1185829.7636
2 | 2604846.8438 | 1185775.2018
3 | 2604881.0639 | 1185811.5605
4 | 2604812.3295 | 1185833.4378
5 | 2604850.7556 | 1185769.0907
6 | 2604840.4067 | 1185771.1279
7 | 2604895.6199 | 1185784.1344
8 | 2604822.329 | 1185906.2056
9 | 2604827.6321 | 1185885.0397
10 | 2604816.7188 | 1185904.7464
11 | 2604763.814 | 1185910.9842
12 | 2604775.8779 | 1185978.9065
13 | 2604759.7806 | 1185906.9233
14 | 2604777.3766 | 1185887.6272
15 | 2604805.652 | 1185901.8679
16 | 2604775.6887 | 1185889.5268
17 | 2604803.6548 | 1185849.8113
18 | 2604757.353 | 1186010.9405
19 | 2604780.2719 | 1185988.6305
20 | 2604809.555 | 1185839.3053
21 | 2604775.8663 | 1185818.7069
22 | 2604846.576 | 1185766.4638
23 | 2604886.4099 | 1185715.2948
24 | 2604855.462 | 1185771.2956
25 | 2604876.868 | 1185721.0541
26 | 2604845.0809 | 1185727.6092
27 | 2604828.1961 | 1185770.0157
28 | 2604979.2891 | 1185589.4644
29 | 2604970.2028 | 1185604.6673
30 | 2604985.1756 | 1185568.7626
31 | 2604961.2275 | 1185617.8795
32 | 2604963.2107 | 1185553.4812
33 | 2604965.8591 | 1185636.9932
34 | 2604937.2741 | 1185570.6912
35 | 2604998.3299 | 1185619.3267
36 | 2604947.7997 | 1185642.6703
37 | 2604982.6111 | 1185648.016
38 | 2604943.2381 | 1185640.5988
39 | 2604921.7098 | 1185664.0176
40 | 2604906.5051 | 1185681.0206
41 | 2604888.1425 | 1185705.1072
42 | 2604930.2722 | 1185636.5251
43 | 2604926.1861 | 1185636.8052
44 | 2604764.9812 | 1185882.1591
45 | 2604751.3852 | 1185899.324
46 | 2604733.5126 | 1185938.5396
47 | 2604790.5212 | 1186011.3123
48 | 2604791.5656 | 1186013.6235
49 | 2604797.3606 | 1186025.0813
50 | 2604752.0733 | 1186049.96
51 | 2604916.2642 | 1185563.4482
52 | 2604897.0229 | 1185596.2718
53 | 2604915.3322 | 1185562.9998
54 | 2604901.3598 | 1185556.2771
55 | 2604767.484 | 1185815.6645
56 | 2604749.4831 | 1185816.4259
57 | 2604733.9847 | 1185824.594
58 | 2604874.4512 | 1185542.217
59 | 2604861.5163 | 1185532.7794
60 | 2604878.9325 | 1185545.4866
61 | 2604849.417 | 1185523.9515
62 | 2604890.5191 | 1185551.0613
63 | 2604817.6889 | 1185495.4453
64 | 2604773.7493 | 1186058.2732
65 | 2604772.9694 | 1186058.2675
66 | 2604753.2142 | 1186058.4188
67 | 2604623.8777 | 1185830.2909
68 | 2604641.1823 | 1185831.8329
69 | 2604601.0788 | 1185855.6703
70 | 2604666.7494 | 1185834.4699
71 | 2604589.0156 | 1185885.3254
72 | 2604672.7727 | 1185835.0911
73 | 2604575.2187 | 1185912.3383
74 | 2604706.6843 | 1185999.0185
75 | 2604694.4893 | 1186059.6037
76 | 2604720.7633 | 1185960.5399
77 | 2604697.513 | 1186067.4468
78 | 2604702.9424 | 1186062.1038
79 | 2604703.7846 | 1186036.7154
80 | 2604591.5865 | 1186010.1787
81 | 2604628.3776 | 1185973.687
82 | 2604511.0046 | 1185994.4345
83 | 2604632.1149 | 1185964.8119
84 | 2604510.1764 | 1185958.8822
85 | 2605135.3544 | 1185707.7008
86 | 2605135.3115 | 1185707.1555
87 | 2605136.3473 | 1185720.3003
88 | 2605092.2588 | 1185651.5393
89 | 2605150.5565 | 1185724.0417
90 | 2605046.1326 | 1185678.3029
91 | 2605169.3728 | 1185732.0119
92 | 2604653.2374 | 1185889.2037
93 | 2604662.4366 | 1185875.5844
94 | 2604648.9857 | 1185895.4984
95 | 2604688.6796 | 1185836.7318
96 | 2604711.2456 | 1185820.6197
97 | 2604692.333 | 1185881.5888
98 | 2604820.8984 | 1185766.6813
99 | 2604820.4514 | 1185766.477
100 | 2604804.8478 | 1185763.3374
101 | 2604809.0943 | 1185486.2559
102 | 2604998.3754 | 1185653.6903
103 | 2605015.0333 | 1185662.4765
104 | 2605021.0535 | 1185666.4071
105 | 2605042.4373 | 1185680.5899
106 | 2605067.3742 | 1185690.7048
107 | 2605043.1859 | 1185652.506
108 | 2604796.0183 | 1185762.9795
109 | 2604920.841 | 1185725.7691
110 | 2605014.7148 | 1185615.9972
111 | 2605045.3996 | 1185648.5367
112 | 2605047.8956 | 1185642.0709
113 | 2605049.9315 | 1185629.4924
114 | 2605054.9487 | 1185620.3359
115 | 2605022.0884 | 1185603.6333
116 | 2604812.3295 | 1185833.4378

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1