## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_9-1_1_6_node_52 | 0.4 | n |  | TRUE
1 | bus_LV_9-1_1_6_node_53 | 0.4 | n |  | TRUE
2 | bus_LV_9-1_1_6_node_54 | 0.4 | n |  | TRUE
3 | bus_LV_9-1_1_6_node_55 | 0.4 | n |  | TRUE
4 | bus_LV_9-1_1_6_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_9-1_1_6_node_57 | 0.4 | n |  | TRUE
6 | bus_LV_9-1_1_6_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_9-1_1_6_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_9-1_1_6_node_452 | 0.4 | n |  | TRUE
9 | bus_LV_9-1_1_6_node_60 | 0.4 | n |  | TRUE
10 | bus_LV_9-1_1_6_node_358 | 0.4 | n |  | TRUE
11 | bus_LV_9-1_1_6_node_433 | 0.4 | n |  | TRUE
12 | bus_LV_9-1_1_6_node_176 | 0.4 | n |  | TRUE
13 | bus_LV_9-1_1_6_node_177 | 0.4 | n |  | TRUE
14 | bus_LV_9-1_1_6_node_182 | 0.4 | n |  | TRUE
15 | bus_LV_9-1_1_6_node_411 | 0.4 | n |  | TRUE
16 | bus_LV_9-1_1_6_node_456 | 0.4 | n |  | TRUE
17 | bus_LV_9-1_1_6_node_374 | 0.4 | n |  | TRUE
18 | bus_LV_9-1_1_6_node_372 | 0.4 | n |  | TRUE
19 | bus_LV_9-1_1_6_node_355 | 0.4 | n |  | TRUE
20 | bus_LV_9-1_1_6_node_356 | 0.4 | n |  | TRUE
21 | bus_LV_9-1_1_6_node_357 | 0.4 | n |  | TRUE
22 | bus_LV_9-1_1_6_node_359 | 0.4 | n |  | TRUE
23 | bus_LV_9-1_1_6_node_360 | 0.4 | n |  | TRUE
24 | bus_LV_9-1_1_6_node_361 | 0.4 | n |  | TRUE
25 | bus_LV_9-1_1_6_node_362 | 0.4 | n |  | TRUE
26 | bus_LV_9-1_1_6_node_363 | 0.4 | n |  | TRUE
27 | bus_LV_9-1_1_6_node_365 | 0.4 | n |  | TRUE
28 | bus_LV_9-1_1_6_node_364 | 0.4 | n |  | TRUE
29 | bus_LV_9-1_1_6_node_366 | 0.4 | n |  | TRUE
30 | bus_LV_9-1_1_6_node_403 | 0.4 | n |  | TRUE
31 | bus_LV_9-1_1_6_node_369 | 0.4 | n |  | TRUE
32 | bus_LV_9-1_1_6_node_367 | 0.4 | n |  | TRUE
33 | bus_LV_9-1_1_6_node_368 | 0.4 | n |  | TRUE
34 | bus_LV_9-1_1_6_node_370 | 0.4 | n |  | TRUE
35 | bus_LV_9-1_1_6_node_371 | 0.4 | n |  | TRUE
36 | bus_LV_9-1_1_6_node_378 | 0.4 | n |  | TRUE
37 | bus_LV_9-1_1_6_node_373 | 0.4 | n |  | TRUE
38 | bus_LV_9-1_1_6_node_375 | 0.4 | n |  | TRUE
39 | bus_LV_9-1_1_6_node_376 | 0.4 | n |  | TRUE
40 | bus_LV_9-1_1_6_node_377 | 0.4 | n |  | TRUE
41 | bus_LV_9-1_1_6_node_379 | 0.4 | n |  | TRUE
42 | bus_LV_9-1_1_6_node_380 | 0.4 | n |  | TRUE
43 | bus_LV_9-1_1_6_node_381 | 0.4 | n |  | TRUE
44 | bus_LV_9-1_1_6_node_382 | 0.4 | n |  | TRUE
45 | bus_LV_9-1_1_6_node_407 | 0.4 | n |  | TRUE
46 | bus_LV_9-1_1_6_node_430 | 0.4 | n |  | TRUE
47 | bus_LV_9-1_1_6_node_423 | 0.4 | n |  | TRUE
48 | bus_LV_9-1_1_6_node_383 | 0.4 | n |  | TRUE
49 | bus_LV_9-1_1_6_node_384 | 0.4 | n |  | TRUE
50 | bus_LV_9-1_1_6_node_386 | 0.4 | n |  | TRUE
51 | bus_LV_9-1_1_6_node_387 | 0.4 | n |  | TRUE
52 | bus_LV_9-1_1_6_node_385 | 0.4 | n |  | TRUE
53 | bus_LV_9-1_1_6_node_388 | 0.4 | n |  | TRUE
54 | bus_LV_9-1_1_6_node_389 | 0.4 | n |  | TRUE
55 | bus_LV_9-1_1_6_node_390 | 0.4 | n |  | TRUE
56 | bus_LV_9-1_1_6_node_415 | 0.4 | n |  | TRUE
57 | bus_LV_9-1_1_6_node_401 | 0.4 | n |  | TRUE
58 | bus_LV_9-1_1_6_node_391 | 0.4 | n |  | TRUE
59 | bus_LV_9-1_1_6_node_392 | 0.4 | n |  | TRUE
60 | bus_LV_9-1_1_6_node_393 | 0.4 | n |  | TRUE
61 | bus_LV_9-1_1_6_node_394 | 0.4 | n |  | TRUE
62 | bus_LV_9-1_1_6_node_395 | 0.4 | n |  | TRUE
63 | bus_LV_9-1_1_6_node_396 | 0.4 | n |  | TRUE
64 | bus_LV_9-1_1_6_node_397 | 0.4 | n |  | TRUE
65 | bus_LV_9-1_1_6_node_398 | 0.4 | n |  | TRUE
66 | bus_LV_9-1_1_6_node_399 | 0.4 | n |  | TRUE
67 | bus_LV_9-1_1_6_node_408 | 0.4 | n |  | TRUE
68 | bus_LV_9-1_1_6_node_429 | 0.4 | n |  | TRUE
69 | bus_LV_9-1_1_6_node_400 | 0.4 | n |  | TRUE
70 | bus_LV_9-1_1_6_node_402 | 0.4 | n |  | TRUE
71 | bus_LV_9-1_1_6_node_406 | 0.4 | n |  | TRUE
72 | bus_LV_9-1_1_6_node_419 | 0.4 | n |  | TRUE
73 | bus_LV_9-1_1_6_node_409 | 0.4 | n |  | TRUE
74 | bus_LV_9-1_1_6_node_410 | 0.4 | n |  | TRUE
75 | bus_LV_9-1_1_6_node_412 | 0.4 | n |  | TRUE
76 | bus_LV_9-1_1_6_node_413 | 0.4 | n |  | TRUE
77 | bus_LV_9-1_1_6_node_414 | 0.4 | n |  | TRUE
78 | bus_LV_9-1_1_6_node_416 | 0.4 | n |  | TRUE
79 | bus_LV_9-1_1_6_node_417 | 0.4 | n |  | TRUE
80 | bus_LV_9-1_1_6_node_418 | 0.4 | n |  | TRUE
81 | bus_LV_9-1_1_6_node_420 | 0.4 | n |  | TRUE
82 | bus_LV_9-1_1_6_node_421 | 0.4 | n |  | TRUE
83 | bus_LV_9-1_1_6_node_422 | 0.4 | n |  | TRUE
84 | bus_LV_9-1_1_6_node_424 | 0.4 | n |  | TRUE
85 | bus_LV_9-1_1_6_node_425 | 0.4 | n |  | TRUE
86 | bus_LV_9-1_1_6_node_441 | 0.4 | n |  | TRUE
87 | bus_LV_9-1_1_6_node_435 | 0.4 | n |  | TRUE
88 | bus_LV_9-1_1_6_node_436 | 0.4 | n |  | TRUE
89 | bus_LV_9-1_1_6_node_437 | 0.4 | n |  | TRUE
90 | bus_LV_9-1_1_6_node_434 | 0.4 | n |  | TRUE
91 | bus_LV_9-1_1_6_node_426 | 0.4 | n |  | TRUE
92 | bus_LV_9-1_1_6_node_439 | 0.4 | n |  | TRUE
93 | bus_LV_9-1_1_6_node_427 | 0.4 | n |  | TRUE
94 | bus_LV_9-1_1_6_node_428 | 0.4 | n |  | TRUE
95 | bus_LV_9-1_1_6_node_431 | 0.4 | n |  | TRUE
96 | bus_LV_9-1_1_6_node_432 | 0.4 | n |  | TRUE
97 | bus_LV_9-1_1_6_node_438 | 0.4 | n |  | TRUE
98 | bus_LV_9-1_1_6_node_442 | 0.4 | n |  | TRUE
99 | bus_MV_349_1_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_9-1_1_6_load_52 | 0 | 0.0023822 | 0.00059703 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_9-1_1_6_load_53 | 1 | 0.00012582 | 3.1534e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_9-1_1_6_load_54 | 2 | 0.00018498 | 4.6362e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_9-1_1_6_load_55 | 3 | 0.00037574 | 9.417e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_9-1_1_6_load_57 | 5 | 0.0022097 | 0.00055381 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_9-1_1_6_load_452 | 8 | 0.0021837 | 0.00054728 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_9-1_1_6_load_358 | 10 | 0.0020698 | 0.00051874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_9-1_1_6_load_433 | 11 | 0.0034133 | 0.00085546 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_9-1_1_6_load_411 | 15 | 0.00036991 | 9.2708e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_9-1_1_6_load_456 | 16 | 0.003339 | 0.00083682 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_9-1_1_6_load_372 | 18 | 0.0011024 | 0.0002763 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_9-1_1_6_load_355 | 19 | 0.005327 | 0.0013351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_9-1_1_6_load_356 | 20 | 0.0013105 | 0.00032845 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_9-1_1_6_load_357 | 21 | 0.0030169 | 0.00075611 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_9-1_1_6_load_359 | 22 | 0.0027891 | 0.00069901 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_9-1_1_6_load_361 | 24 | 0.0028249 | 0.00070798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_9-1_1_6_load_362 | 25 | 0.0022756 | 0.00057032 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_9-1_1_6_load_363 | 26 | 0.0044203 | 0.0011078 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_9-1_1_6_load_365 | 27 | 0.0025603 | 0.00064168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_9-1_1_6_load_364 | 28 | 0.0013092 | 0.00032813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_9-1_1_6_load_366 | 29 | 0.0029318 | 0.00073477 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_9-1_1_6_load_369 | 31 | 0.0023293 | 0.00058378 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_9-1_1_6_load_367 | 32 | 0.0017128 | 0.00042927 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_9-1_1_6_load_368 | 33 | 0.0019598 | 0.00049116 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_9-1_1_6_load_370 | 34 | 0.0014992 | 0.00037573 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_9-1_1_6_load_371 | 35 | 0.0016887 | 0.00042323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_9-1_1_6_load_378 | 36 | 0.0011817 | 0.00029617 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_9-1_1_6_load_373 | 37 | 0.0019616 | 0.00049163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_9-1_1_6_load_377 | 40 | 0.00057673 | 0.00014454 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_9-1_1_6_load_379 | 41 | 0.00031593 | 7.918e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_9-1_1_6_load_380 | 42 | 0.00018643 | 4.6725e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_9-1_1_6_load_381 | 43 | 0.00056897 | 0.0001426 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_9-1_1_6_load_382 | 44 | 0.0019895 | 0.00049862 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_9-1_1_6_load_407 | 45 | 0.00031719 | 7.9496e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_9-1_1_6_load_430 | 46 | 0.0010178 | 0.00025509 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_9-1_1_6_load_383 | 48 | 0.00082063 | 0.00020567 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_9-1_1_6_load_386 | 50 | 0.0027301 | 0.00068423 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_9-1_1_6_load_387 | 51 | 0.0011289 | 0.00028293 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_9-1_1_6_load_385 | 52 | 0.0012875 | 0.00032267 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_9-1_1_6_load_388 | 53 | 0.0013935 | 0.00034924 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_9-1_1_6_load_389 | 54 | 0.0021401 | 0.00053636 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_9-1_1_6_load_390 | 55 | 0.0011283 | 0.00028278 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_9-1_1_6_load_415 | 56 | 0.0013363 | 0.00033491 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_9-1_1_6_load_401 | 57 | 0.0018185 | 0.00045576 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_9-1_1_6_load_391 | 58 | 0.0022628 | 0.00056711 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_9-1_1_6_load_392 | 59 | 0.0019574 | 0.00049056 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_9-1_1_6_load_394 | 61 | 0.0026182 | 0.00065617 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_9-1_1_6_load_395 | 62 | 0.00073154 | 0.00018334 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_9-1_1_6_load_396 | 63 | 0.0016098 | 0.00040347 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_9-1_1_6_load_397 | 64 | 0.0047552 | 0.0011918 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_9-1_1_6_load_398 | 65 | 0.0013889 | 0.00034808 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_9-1_1_6_load_399 | 66 | 0.0014436 | 0.00036181 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_9-1_1_6_load_408 | 67 | 0.0011318 | 0.00028365 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_9-1_1_6_load_400 | 69 | 0.0033131 | 0.00083033 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_9-1_1_6_load_402 | 70 | 0.0020051 | 0.00050252 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_9-1_1_6_load_406 | 71 | 0.0016736 | 0.00041944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_9-1_1_6_load_419 | 72 | 0.00020976 | 5.2572e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_9-1_1_6_load_409 | 73 | 0.00020169 | 5.0549e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_9-1_1_6_load_410 | 74 | 0.00057383 | 0.00014382 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_9-1_1_6_load_412 | 75 | 0.00075876 | 0.00019016 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_9-1_1_6_load_413 | 76 | 0.0003331 | 8.3484e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_9-1_1_6_load_414 | 77 | 0.0013612 | 0.00034114 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_9-1_1_6_load_416 | 78 | 0.0022777 | 0.00057085 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_9-1_1_6_load_417 | 79 | 0.0014974 | 0.00037528 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_9-1_1_6_load_418 | 80 | 0.0011871 | 0.00029752 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_9-1_1_6_load_420 | 81 | 0.0020913 | 0.00052412 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_9-1_1_6_load_422 | 83 | 0.001284 | 0.00032181 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_9-1_1_6_load_441 | 86 | 0.0037365 | 0.00093644 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_9-1_1_6_load_435 | 87 | 0.0070671 | 0.0017712 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_9-1_1_6_load_436 | 88 | 0.0025103 | 0.00062915 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_9-1_1_6_load_437 | 89 | 0.0029271 | 0.0007336 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_9-1_1_6_load_434 | 90 | 0.030143 | 0.0075546 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_9-1_1_6_load_427 | 93 | 0.0016473 | 0.00041285 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_9-1_1_6_load_428 | 94 | 0.0015107 | 0.00037861 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_9-1_1_6_load_432 | 96 | 0.0015874 | 0.00039784 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_9-1_1_6_load_438 | 97 | 0.0024227 | 0.00060719 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_9-1_1_6_load_442 | 98 | 0.0037012 | 0.00092761 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_9-1_1_6_line_0 |  | 0 | 1 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_9-1_1_6_line_1 |  | 0 | 2 | 0.042257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_9-1_1_6_line_2 |  | 1 | 3 | 0.013809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_9-1_1_6_line_3 |  | 2 | 4 | 0.01814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_9-1_1_6_line_4 |  | 3 | 5 | 0.0039845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_9-1_1_6_line_5 |  | 4 | 6 | 0.046401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_9-1_1_6_line_6 |  | 4 | 7 | 0.30505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_9-1_1_6_line_7 |  | 6 | 8 | 0.027601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_9-1_1_6_line_8 |  | 6 | 9 | 0.31779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_9-1_1_6_line_9 |  | 7 | 10 | 0.091495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_9-1_1_6_line_10 |  | 9 | 11 | 0.027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_9-1_1_6_line_11 |  | 10 | 20 | 0.014806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_9-1_1_6_line_12 |  | 11 | 90 | 0.11282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_9-1_1_6_line_13 |  | 12 | 13 | 0.33792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_9-1_1_6_line_14 |  | 12 | 14 | 0.20325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_9-1_1_6_line_15 |  | 12 | 15 | 0.24653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_9-1_1_6_line_16 |  | 13 | 16 | 0.089646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_9-1_1_6_line_17 |  | 14 | 17 | 0.083198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_9-1_1_6_line_18 |  | 14 | 18 | 0.031769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_9-1_1_6_line_19 |  | 15 | 73 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_9-1_1_6_line_20 |  | 17 | 38 | 0.10729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_9-1_1_6_line_21 |  | 17 | 39 | 0.028913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_9-1_1_6_line_22 |  | 17 | 40 | 0.036583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_9-1_1_6_line_23 |  | 18 | 37 | 0.032961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_9-1_1_6_line_24 |  | 19 | 20 | 0.033167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_9-1_1_6_line_25 |  | 19 | 21 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_9-1_1_6_line_26 |  | 21 | 22 | 0.02106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_9-1_1_6_line_27 |  | 22 | 23 | 0.030892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_9-1_1_6_line_28 |  | 23 | 24 | 0.023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_9-1_1_6_line_29 |  | 24 | 25 | 0.0014156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_9-1_1_6_line_30 |  | 25 | 26 | 0.026391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_9-1_1_6_line_31 |  | 26 | 27 | 0.0055409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_9-1_1_6_line_32 |  | 27 | 30 | 0.010402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_9-1_1_6_line_33 |  | 28 | 29 | 0.0056214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_9-1_1_6_line_34 |  | 29 | 31 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_9-1_1_6_line_35 |  | 30 | 64 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_9-1_1_6_line_36 |  | 30 | 70 | 0.0097972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_9-1_1_6_line_37 |  | 31 | 32 | 0.0041867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_9-1_1_6_line_38 |  | 32 | 33 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_9-1_1_6_line_39 |  | 33 | 34 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_9-1_1_6_line_40 |  | 34 | 35 | 0.01208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_9-1_1_6_line_41 |  | 35 | 36 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_9-1_1_6_line_42 |  | 36 | 40 | 0.012297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_9-1_1_6_line_43 |  | 38 | 41 | 0.01816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_9-1_1_6_line_44 |  | 38 | 42 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_9-1_1_6_line_45 |  | 39 | 43 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_9-1_1_6_line_46 |  | 39 | 44 | 0.027926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_9-1_1_6_line_47 |  | 41 | 45 | 0.0096404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_9-1_1_6_line_48 |  | 43 | 46 | 0.0045848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_9-1_1_6_line_49 |  | 44 | 47 | 0.046473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_9-1_1_6_line_50 |  | 45 | 72 | 0.019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_9-1_1_6_line_51 |  | 46 | 94 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_9-1_1_6_line_52 |  | 47 | 83 | 0.022718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_9-1_1_6_line_53 |  | 48 | 49 | 0.019054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_9-1_1_6_line_54 |  | 49 | 50 | 0.016988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_9-1_1_6_line_55 |  | 49 | 51 | 0.029167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_9-1_1_6_line_56 |  | 50 | 54 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_9-1_1_6_line_57 |  | 51 | 55 | 0.020206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_9-1_1_6_line_58 |  | 52 | 53 | 0.026542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_9-1_1_6_line_59 |  | 53 | 56 | 0.024955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_9-1_1_6_line_60 |  | 54 | 57 | 0.0032083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_9-1_1_6_line_61 |  | 56 | 77 | 0.029717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_9-1_1_6_line_62 |  | 57 | 69 | 0.0073476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_9-1_1_6_line_63 |  | 58 | 59 | 0.00041997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_9-1_1_6_line_64 |  | 58 | 60 | 0.025148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_9-1_1_6_line_65 |  | 59 | 61 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_9-1_1_6_line_66 |  | 60 | 62 | 0.020515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_9-1_1_6_line_67 |  | 60 | 63 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_9-1_1_6_line_68 |  | 61 | 64 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_9-1_1_6_line_69 |  | 62 | 65 | 0.018529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_9-1_1_6_line_70 |  | 63 | 66 | 0.01297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_9-1_1_6_line_71 |  | 65 | 67 | 0.0071748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_9-1_1_6_line_72 |  | 66 | 68 | 0.016757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_9-1_1_6_line_73 |  | 68 | 95 | 0.043153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_9-1_1_6_line_74 |  | 68 | 93 | 0.0040373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_9-1_1_6_line_75 |  | 69 | 70 | 0.010894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_9-1_1_6_line_76 |  | 71 | 72 | 0.0029451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_9-1_1_6_line_77 |  | 73 | 74 | 0.034652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_9-1_1_6_line_78 |  | 74 | 75 | 0.13791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_9-1_1_6_line_79 |  | 75 | 76 | 0.21467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_9-1_1_6_line_80 |  | 77 | 78 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_9-1_1_6_line_81 |  | 78 | 79 | 0.040709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_9-1_1_6_line_82 |  | 79 | 80 | 0.028309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_9-1_1_6_line_83 |  | 80 | 81 | 0.028376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_9-1_1_6_line_84 |  | 81 | 82 | 0.027743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_9-1_1_6_line_85 |  | 82 | 83 | 0.0038278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_9-1_1_6_line_86 |  | 84 | 85 | 0.44893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_9-1_1_6_line_87 |  | 84 | 86 | 0.031537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_9-1_1_6_line_88 |  | 85 | 87 | 0.049021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_9-1_1_6_line_89 |  | 85 | 88 | 0.063389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_9-1_1_6_line_90 |  | 85 | 89 | 0.025595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_9-1_1_6_line_91 |  | 85 | 90 | 0.069952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_9-1_1_6_line_92 |  | 86 | 91 | 0.035629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_9-1_1_6_line_93 |  | 89 | 97 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_9-1_1_6_line_94 |  | 91 | 92 | 0.25147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_9-1_1_6_line_95 |  | 92 | 98 | 0.0037897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_9-1_1_6_line_96 |  | 93 | 94 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_9-1_1_6_line_97 |  | 95 | 96 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_9-1_1_6_trafo_414 | 0.63 MVA 20/0.4 kV | 99 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2678224.6017 | 1233717.297 | 2678234.2428 | 1233710.0627
1 | 2678224.6017 | 1233717.297 | 2678201.2348 | 1233734.8308 | 2678196.5258 | 1233746.994
2 | 2678245.2876 | 1233701.775 | 2678234.2428 | 1233710.0627
3 | 2678181.14 | 1233756.2368 | 2678196.211 | 1233747.807 | 2678196.5258 | 1233746.994
4 | 2678248.4746 | 1233699.3835 | 2678245.2876 | 1233701.775
5 | 2678181.14 | 1233756.2368 | 2678211.1144 | 1233763.6139 | 2678226.5956 | 1233765.997
6 | 2677953.8243 | 1233640.9165 | 2678005.6598 | 1233702.8502 | 2678050.9822 | 1233747.5759 | 2678099.0589 | 1233796.9636 | 2678132.2931 | 1233778.6655 | 2678181.14 | 1233756.2368
7 | 2678226.5956 | 1233765.997 | 2678250.2984 | 1233751.7436
8 | 2678000.396 | 1233979.7497 | 2678018.9654 | 1233951.5962 | 2678049.7415 | 1233919.2113 | 2678078.84 | 1233896.9781 | 2678097.7399 | 1233880.5928 | 2678114.5919 | 1233844.3448 | 2678120.0596 | 1233837.89 | 2678122.7494 | 1233832.5439 | 2678226.5956 | 1233765.997
9 | 2677953.8243 | 1233640.9165 | 2677939.4735 | 1233671.2158 | 2677905.649 | 1233718.2938
10 | 2678000.396 | 1233979.7497 | 2677995.5457 | 1233979.5637 | 2677977.9956 | 1233993.5606
11 | 2677894.4844 | 1233727.8093 | 2677903.5677 | 1233721.1907 | 2677905.649 | 1233718.2938
12 | 2677977.9956 | 1233993.5606 | 2677969.0745 | 1234000.6754 | 2677955.0815 | 1234011.8329 | 2677887.308 | 1234060.6248
13 | 2677416.3785 | 1233829.4671 | 2677465.4157 | 1233783.4854 | 2677513.0246 | 1233743.7454 | 2677608.5423 | 1233665.2154 | 2677610.5839 | 1233657.8814 | 2677610.0119 | 1233652.4035 | 2677633.2026 | 1233647.125 | 2677645.7053 | 1233649.2119 | 2677654.4784 | 1233655.1306 | 2677658.9229 | 1233670.1656 | 2677661.5408 | 1233678.9726
14 | 2677661.5408 | 1233678.9726 | 2677672.4484 | 1233688.3993 | 2677663.6949 | 1233715.1589 | 2677639.6866 | 1233750.5697 | 2677627.955 | 1233770.5969 | 2677620.043 | 1233791.4969 | 2677653.7869 | 1233805.3249 | 2677662.6643 | 1233810.7779 | 2677668.636 | 1233818.4279 | 2677671.0142 | 1233833.9919
15 | 2677661.5408 | 1233678.9726 | 2677654.6373 | 1233692.2026 | 2677635.8142 | 1233717.8299 | 2677588.5951 | 1233768.804 | 2677570.0104 | 1233800.5611 | 2677549.9103 | 1233825.4716 | 2677515.7429 | 1233876.6352
16 | 2677395.921 | 1233914.9817 | 2677419.366 | 1233845.9507 | 2677416.3785 | 1233829.4671
17 | 2677676.6974 | 1233916.9677 | 2677672.1532 | 1233842.9907 | 2677671.0142 | 1233833.9919
18 | 2677671.0142 | 1233833.9919 | 2677679.4228 | 1233824.9177 | 2677691.5969 | 1233809.8163
19 | 2677506.709 | 1233890.1629 | 2677515.7429 | 1233876.6352
20 | 2677676.6974 | 1233916.9677 | 2677594.604 | 1233986.321
21 | 2677682.6337 | 1233945.2648 | 2677676.6974 | 1233916.9677
22 | 2677676.6974 | 1233916.9677 | 2677700.4677 | 1233889.1596
23 | 2677691.5969 | 1233809.8163 | 2677702.2095 | 1233796.6517 | 2677713.537 | 1233785.2788
24 | 2677867.6785 | 1233747.3415 | 2677894.4844 | 1233727.8093
25 | 2677867.6785 | 1233747.3415 | 2677855.9617 | 1233755.879
26 | 2677838.9409 | 1233768.2812 | 2677855.9617 | 1233755.879
27 | 2677813.9741 | 1233786.4733 | 2677838.9409 | 1233768.2812
28 | 2677813.9741 | 1233786.4733 | 2677827.9215 | 1233805.8839
29 | 2677827.9215 | 1233805.8839 | 2677828.7476 | 1233807.0335
30 | 2677828.7476 | 1233807.0335 | 2677844.1473 | 1233828.4652
31 | 2677847.3805 | 1233832.9649 | 2677844.1473 | 1233828.4652
32 | 2677846.8658 | 1233843.3542 | 2677847.3805 | 1233832.9649 | 2677847.3805 | 1233832.9649
33 | 2677776.0355 | 1233810.203 | 2677780.495 | 1233806.7805
34 | 2677776.0355 | 1233810.203 | 2677760.2036 | 1233822.3533
35 | 2677846.8658 | 1233843.3542 | 2677838.1601 | 1233847.9323 | 2677827.7935 | 1233856.8902
36 | 2677846.8658 | 1233843.3542 | 2677851.8022 | 1233851.8169
37 | 2677756.8822 | 1233824.9023 | 2677760.2036 | 1233822.3533
38 | 2677756.8822 | 1233824.9023 | 2677752.5585 | 1233828.2206 | 2677738.9766 | 1233844.1095
39 | 2677738.9766 | 1233844.1095 | 2677727.53 | 1233857.5005
40 | 2677719.6811 | 1233866.6826 | 2677727.53 | 1233857.5005
41 | 2677719.6811 | 1233866.6826 | 2677708.4576 | 1233879.8126
42 | 2677700.4677 | 1233889.1596 | 2677708.4576 | 1233879.8126
43 | 2677594.604 | 1233986.321 | 2677578.3512 | 1233978.2198
44 | 2677594.604 | 1233986.321 | 2677584.3413 | 1233996.7236
45 | 2677682.6337 | 1233945.2648 | 2677699.0227 | 1233942.3282
46 | 2677682.6337 | 1233945.2648 | 2677688.0427 | 1233972.6617
47 | 2677569.7232 | 1233973.9191 | 2677578.3512 | 1233978.2198
48 | 2677699.0227 | 1233942.3282 | 2677703.5357 | 1233941.5196
49 | 2677690.114 | 1234018.7353 | 2677691.6794 | 1233991.0812 | 2677688.0427 | 1233972.6617
50 | 2677569.7232 | 1233973.9191 | 2677561.3435 | 1233969.7422 | 2677553.3731 | 1233975.5971
51 | 2677716.059 | 1233939.2757 | 2677703.5357 | 1233941.5196
52 | 2677690.114 | 1234018.7353 | 2677695.2847 | 1234025.0962 | 2677703.1829 | 1234028.4017 | 2677709.1346 | 1234028.6962
53 | 2677886.0191 | 1233895.5141 | 2677896.1565 | 1233898.3823 | 2677903.2285 | 1233893.6331
54 | 2677886.0191 | 1233895.5141 | 2677874.2399 | 1233883.2735
55 | 2677886.0191 | 1233895.5141 | 2677862.5777 | 1233912.8691
56 | 2677874.2399 | 1233883.2735 | 2677863.8588 | 1233872.4857 | 2677862.6102 | 1233870.3453
57 | 2677846.3382 | 1233924.8921 | 2677862.5777 | 1233912.8691
58 | 2677898.6051 | 1233931.1129 | 2677910.2482 | 1233924.1514 | 2677923.2137 | 1233923.6228
59 | 2677878.1565 | 1233945.3905 | 2677894.4531 | 1233933.5953 | 2677898.6051 | 1233931.1129
60 | 2677860.9937 | 1233867.574 | 2677862.6102 | 1233870.3453
61 | 2677854.0837 | 1233962.8138 | 2677878.1565 | 1233945.3905
62 | 2677857.2915 | 1233861.2273 | 2677860.9937 | 1233867.574
63 | 2677802.0667 | 1233880.1032 | 2677801.7616 | 1233880.3918
64 | 2677783.4916 | 1233897.6731 | 2677801.7616 | 1233880.3918
65 | 2677802.0667 | 1233880.1032 | 2677814.0775 | 1233868.7424 | 2677818.2969 | 1233865.0963
66 | 2677783.4916 | 1233897.6731 | 2677797.9469 | 1233912.2295
67 | 2677783.4916 | 1233897.6731 | 2677772.4261 | 1233906.8749
68 | 2677827.7935 | 1233856.8902 | 2677818.2969 | 1233865.0963
69 | 2677811.0032 | 1233925.3771 | 2677797.9469 | 1233912.2295
70 | 2677772.4261 | 1233906.8749 | 2677762.4534 | 1233915.1679
71 | 2677811.0032 | 1233925.3771 | 2677816.0589 | 1233930.4681
72 | 2677749.5692 | 1233925.8821 | 2677762.4534 | 1233915.1679
73 | 2677749.5692 | 1233925.8821 | 2677766.3989 | 1233947.8396 | 2677775.6076 | 1233960.3465
74 | 2677749.5692 | 1233925.8821 | 2677745.8446 | 1233927.44
75 | 2677857.2915 | 1233861.2273 | 2677851.8022 | 1233851.8169
76 | 2677550.9996 | 1233977.3406 | 2677553.3731 | 1233975.5971
77 | 2677506.709 | 1233890.1629 | 2677497.8899 | 1233903.3689 | 2677487.4674 | 1233918.9819
78 | 2677487.4674 | 1233918.9819 | 2677481.1497 | 1233928.4457 | 2677460.1541 | 1233957.6478 | 2677437.4133 | 1233991.2413 | 2677423.2422 | 1234006.267 | 2677400.9705 | 1234025.3749
79 | 2677240.3455 | 1234167.3425 | 2677258.9381 | 1234153.6306 | 2677279.6752 | 1234138.3452 | 2677367.0084 | 1234054.5125 | 2677400.9705 | 1234025.3749
80 | 2677854.0837 | 1233962.8138 | 2677828.3994 | 1233981.4035
81 | 2677791.9683 | 1233999.1313 | 2677809.1155 | 1233992.6739 | 2677822.5546 | 1233985.6339 | 2677828.3994 | 1233981.4035
82 | 2677791.9683 | 1233999.1313 | 2677765.4758 | 1234009.1079
83 | 2677738.9202 | 1234019.1083 | 2677765.4758 | 1234009.1079
84 | 2677712.9577 | 1234028.8854 | 2677738.9202 | 1234019.1083
85 | 2677712.9577 | 1234028.8854 | 2677709.1346 | 1234028.6962
86 | 2677717.2261 | 1234505.7366 | 2677710.5219 | 1234488.7483 | 2677705.0256 | 1234451.1839 | 2677699.9466 | 1234416.4269 | 2677688.7371 | 1234352.6363 | 2677691.8776 | 1234341.7254 | 2677702.6279 | 1234332.404 | 2677713.5303 | 1234325.3528 | 2677725.2481 | 1234310.3623 | 2677732.794 | 1234290.8142 | 2677757.7475 | 1234210.841 | 2677781.243 | 1234169.4087 | 2677841.6628 | 1234112.7161
87 | 2677717.2261 | 1234505.7366 | 2677747.108 | 1234495.6551
88 | 2677841.6628 | 1234112.7161 | 2677884.4415 | 1234136.6536
89 | 2677841.6628 | 1234112.7161 | 2677807.2681 | 1234084.5797 | 2677791.3789 | 1234074.2501
90 | 2677841.6628 | 1234112.7161 | 2677865.8237 | 1234104.2698
91 | 2677841.6628 | 1234112.7161 | 2677846.5304 | 1234105.7973 | 2677861.435 | 1234083.9664 | 2677873.0682 | 1234070.8764 | 2677887.308 | 1234060.6248
92 | 2677780.8672 | 1234484.2654 | 2677747.108 | 1234495.6551
93 | 2677865.8237 | 1234104.2698 | 2677891.68 | 1234095.2308
94 | 2677780.8672 | 1234484.2654 | 2677840.1744 | 1234509.915 | 2677871.9303 | 1234525.4862 | 2677914.388 | 1234534.2709 | 2677976.5933 | 1234554.1671 | 2677992.4632 | 1234557.3553 | 2678018.5654 | 1234552.0609
95 | 2678018.5654 | 1234552.0609 | 2678022.3022 | 1234552.6916
96 | 2677745.8446 | 1233927.44 | 2677718.6633 | 1233938.8091 | 2677716.059 | 1233939.2757
97 | 2677762.1237 | 1233971.967 | 2677775.6076 | 1233960.3465

## bus_geodata
| x | y | coords
0 | 2678224.6017 | 1233717.297
1 | 2678234.2428 | 1233710.0627
2 | 2678196.5258 | 1233746.994
3 | 2678245.2876 | 1233701.775
4 | 2678181.14 | 1233756.2368
5 | 2678248.4746 | 1233699.3835
6 | 2678226.5956 | 1233765.997
7 | 2677953.8243 | 1233640.9165
8 | 2678250.2984 | 1233751.7436
9 | 2678000.396 | 1233979.7497
10 | 2677905.649 | 1233718.2938
11 | 2677977.9956 | 1233993.5606
12 | 2677661.5408 | 1233678.9726
13 | 2677416.3785 | 1233829.4671
14 | 2677671.0142 | 1233833.9919
15 | 2677515.7429 | 1233876.6352
16 | 2677395.921 | 1233914.9817
17 | 2677676.6974 | 1233916.9677
18 | 2677691.5969 | 1233809.8163
19 | 2677867.6785 | 1233747.3415
20 | 2677894.4844 | 1233727.8093
21 | 2677855.9617 | 1233755.879
22 | 2677838.9409 | 1233768.2812
23 | 2677813.9741 | 1233786.4733
24 | 2677827.9215 | 1233805.8839
25 | 2677828.7476 | 1233807.0335
26 | 2677844.1473 | 1233828.4652
27 | 2677847.3805 | 1233832.9649
28 | 2677780.495 | 1233806.7805
29 | 2677776.0355 | 1233810.203
30 | 2677846.8658 | 1233843.3542
31 | 2677760.2036 | 1233822.3533
32 | 2677756.8822 | 1233824.9023
33 | 2677738.9766 | 1233844.1095
34 | 2677727.53 | 1233857.5005
35 | 2677719.6811 | 1233866.6826
36 | 2677708.4576 | 1233879.8126
37 | 2677713.537 | 1233785.2788
38 | 2677594.604 | 1233986.321
39 | 2677682.6337 | 1233945.2648
40 | 2677700.4677 | 1233889.1596
41 | 2677578.3512 | 1233978.2198
42 | 2677584.3413 | 1233996.7236
43 | 2677699.0227 | 1233942.3282
44 | 2677688.0427 | 1233972.6617
45 | 2677569.7232 | 1233973.9191
46 | 2677703.5357 | 1233941.5196
47 | 2677690.114 | 1234018.7353
48 | 2677903.2285 | 1233893.6331
49 | 2677886.0191 | 1233895.5141
50 | 2677874.2399 | 1233883.2735
51 | 2677862.5777 | 1233912.8691
52 | 2677923.2137 | 1233923.6228
53 | 2677898.6051 | 1233931.1129
54 | 2677862.6102 | 1233870.3453
55 | 2677846.3382 | 1233924.8921
56 | 2677878.1565 | 1233945.3905
57 | 2677860.9937 | 1233867.574
58 | 2677801.7616 | 1233880.3918
59 | 2677802.0667 | 1233880.1032
60 | 2677783.4916 | 1233897.6731
61 | 2677818.2969 | 1233865.0963
62 | 2677797.9469 | 1233912.2295
63 | 2677772.4261 | 1233906.8749
64 | 2677827.7935 | 1233856.8902
65 | 2677811.0032 | 1233925.3771
66 | 2677762.4534 | 1233915.1679
67 | 2677816.0588 | 1233930.4681
68 | 2677749.5692 | 1233925.8821
69 | 2677857.2915 | 1233861.2273
70 | 2677851.8022 | 1233851.8169
71 | 2677550.9996 | 1233977.3406
72 | 2677553.3731 | 1233975.5971
73 | 2677506.709 | 1233890.1629
74 | 2677487.4674 | 1233918.9819
75 | 2677400.9705 | 1234025.3749
76 | 2677240.3455 | 1234167.3425
77 | 2677854.0837 | 1233962.8138
78 | 2677828.3994 | 1233981.4035
79 | 2677791.9683 | 1233999.1313
80 | 2677765.4758 | 1234009.1079
81 | 2677738.9202 | 1234019.1083
82 | 2677712.9577 | 1234028.8854
83 | 2677709.1346 | 1234028.6962
84 | 2677717.2261 | 1234505.7366
85 | 2677841.6628 | 1234112.7161
86 | 2677747.108 | 1234495.6551
87 | 2677884.4415 | 1234136.6536
88 | 2677791.3789 | 1234074.2501
89 | 2677865.8237 | 1234104.2698
90 | 2677887.308 | 1234060.6248
91 | 2677780.8672 | 1234484.2654
92 | 2678018.5654 | 1234552.0609
93 | 2677745.8446 | 1233927.44
94 | 2677716.059 | 1233939.2757
95 | 2677775.6076 | 1233960.3465
96 | 2677762.1237 | 1233971.967
97 | 2677891.68 | 1234095.2308
98 | 2678022.3022 | 1234552.6916
99 | 2677942.7687 | 1233916.2945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1