## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_91-4_1_2_node_165 | 0.4 | n |  | TRUE
1 | bus_LV_91-4_1_2_node_168 | 0.4 | n |  | TRUE
2 | bus_LV_91-4_1_2_node_169 | 0.4 | n |  | TRUE
3 | bus_LV_91-4_1_2_node_172 | 0.4 | n |  | TRUE
4 | bus_LV_91-4_1_2_node_173 | 0.4 | n |  | TRUE
5 | bus_LV_91-4_1_2_node_174 | 0.4 | n |  | TRUE
6 | bus_LV_91-4_1_2_node_281 | 0.4 | n |  | TRUE
7 | bus_LV_91-4_1_2_node_278 | 0.4 | n |  | TRUE
8 | bus_LV_91-4_1_2_node_170 | 0.4 | n |  | TRUE
9 | bus_LV_91-4_1_2_node_214 | 0.4 | n |  | TRUE
10 | bus_LV_91-4_1_2_node_211 | 0.4 | n |  | TRUE
11 | bus_LV_91-4_1_2_node_345 | 0.4 | n |  | TRUE
12 | bus_LV_91-4_1_2_node_202 | 0.4 | n |  | TRUE
13 | bus_LV_91-4_1_2_node_203 | 0.4 | n |  | TRUE
14 | bus_LV_91-4_1_2_node_204 | 0.4 | n |  | TRUE
15 | bus_LV_91-4_1_2_node_205 | 0.4 | n |  | TRUE
16 | bus_LV_91-4_1_2_node_206 | 0.4 | n |  | TRUE
17 | bus_LV_91-4_1_2_node_207 | 0.4 | n |  | TRUE
18 | bus_LV_91-4_1_2_node_210 | 0.4 | n |  | TRUE
19 | bus_LV_91-4_1_2_node_241 | 0.4 | n |  | TRUE
20 | bus_LV_91-4_1_2_node_238 | 0.4 | n |  | TRUE
21 | bus_LV_91-4_1_2_node_224 | 0.4 | n |  | TRUE
22 | bus_LV_91-4_1_2_node_212 | 0.4 | n |  | TRUE
23 | bus_LV_91-4_1_2_node_213 | 0.4 | n |  | TRUE
24 | bus_LV_91-4_1_2_node_215 | 0.4 | n |  | TRUE
25 | bus_LV_91-4_1_2_node_216 | 0.4 | n |  | TRUE
26 | bus_LV_91-4_1_2_node_218 | 0.4 | n |  | TRUE
27 | bus_LV_91-4_1_2_node_219 | 0.4 | n |  | TRUE
28 | bus_LV_91-4_1_2_node_235 | 0.4 | n |  | TRUE
29 | bus_LV_91-4_1_2_node_236 | 0.4 | n |  | TRUE
30 | bus_LV_91-4_1_2_node_229 | 0.4 | n |  | TRUE
31 | bus_LV_91-4_1_2_node_217 | 0.4 | n |  | TRUE
32 | bus_LV_91-4_1_2_node_306 | 0.4 | n |  | TRUE
33 | bus_LV_91-4_1_2_node_303 | 0.4 | n |  | TRUE
34 | bus_LV_91-4_1_2_node_346 | 0.4 | n |  | TRUE
35 | bus_LV_91-4_1_2_node_220 | 0.4 | n |  | TRUE
36 | bus_LV_91-4_1_2_node_221 | 0.4 | n |  | TRUE
37 | bus_LV_91-4_1_2_node_222 | 0.4 | n |  | TRUE
38 | bus_LV_91-4_1_2_node_223 | 0.4 | n |  | TRUE
39 | bus_LV_91-4_1_2_node_225 | 0.4 | n |  | TRUE
40 | bus_LV_91-4_1_2_node_226 | 0.4 | n |  | TRUE
41 | bus_LV_91-4_1_2_node_227 | 0.4 | n |  | TRUE
42 | bus_LV_91-4_1_2_node_228 | 0.4 | n |  | TRUE
43 | bus_LV_91-4_1_2_node_246 | 0.4 | n |  | TRUE
44 | bus_LV_91-4_1_2_node_245 | 0.4 | n |  | TRUE
45 | bus_LV_91-4_1_2_node_230 | 0.4 | n |  | TRUE
46 | bus_LV_91-4_1_2_node_231 | 0.4 | n |  | TRUE
47 | bus_LV_91-4_1_2_node_232 | 0.4 | n |  | TRUE
48 | bus_LV_91-4_1_2_node_263 | 0.4 | n |  | TRUE
49 | bus_LV_91-4_1_2_node_237 | 0.4 | n |  | TRUE
50 | bus_LV_91-4_1_2_node_239 | 0.4 | n |  | TRUE
51 | bus_LV_91-4_1_2_node_240 | 0.4 | n |  | TRUE
52 | bus_LV_91-4_1_2_node_370 | 0.4 | n |  | TRUE
53 | bus_LV_91-4_1_2_node_243 | 0.4 | n |  | TRUE
54 | bus_LV_91-4_1_2_node_242 | 0.4 | n |  | TRUE
55 | bus_LV_91-4_1_2_node_252 | 0.4 | n |  | TRUE
56 | bus_LV_91-4_1_2_node_247 | 0.4 | n |  | TRUE
57 | bus_LV_91-4_1_2_node_244 | 0.4 | n |  | TRUE
58 | bus_LV_91-4_1_2_node_273 | 0.4 | n |  | TRUE
59 | bus_LV_91-4_1_2_node_271 | 0.4 | n |  | TRUE
60 | bus_LV_91-4_1_2_node_248 | 0.4 | n |  | TRUE
61 | bus_LV_91-4_1_2_node_250 | 0.4 | n |  | TRUE
62 | bus_LV_91-4_1_2_node_251 | 0.4 | n |  | TRUE
63 | bus_LV_91-4_1_2_node_249 | 0.4 | n |  | TRUE
64 | bus_LV_91-4_1_2_node_253 | 0.4 | n |  | TRUE
65 | bus_LV_91-4_1_2_node_254 | 0.4 | n |  | TRUE
66 | bus_LV_91-4_1_2_node_256 | 0.4 | n |  | TRUE
67 | bus_LV_91-4_1_2_node_257 | 0.4 | n |  | TRUE
68 | bus_LV_91-4_1_2_node_258 | 0.4 | n |  | TRUE
69 | bus_LV_91-4_1_2_node_262 | 0.4 | n |  | TRUE
70 | bus_LV_91-4_1_2_node_277 | 0.4 | n |  | TRUE
71 | bus_LV_91-4_1_2_node_255 | 0.4 | n |  | TRUE
72 | bus_LV_91-4_1_2_node_317 | 0.4 | n |  | TRUE
73 | bus_LV_91-4_1_2_node_260 | 0.4 | n |  | TRUE
74 | bus_LV_91-4_1_2_node_267 | 0.4 | n |  | TRUE
75 | bus_LV_91-4_1_2_node_259 | 0.4 | n |  | TRUE
76 | bus_LV_91-4_1_2_node_261 | 0.4 | n |  | TRUE
77 | bus_LV_91-4_1_2_node_275 | 0.4 | n |  | TRUE
78 | bus_LV_91-4_1_2_node_272 | 0.4 | n |  | TRUE
79 | bus_LV_91-4_1_2_node_274 | 0.4 | n |  | TRUE
80 | bus_LV_91-4_1_2_node_276 | 0.4 | n |  | TRUE
81 | bus_LV_91-4_1_2_node_372 | 0.4 | n |  | TRUE
82 | bus_LV_91-4_1_2_node_305 | 0.4 | n |  | TRUE
83 | bus_LV_91-4_1_2_node_287 | 0.4 | n |  | TRUE
84 | bus_LV_91-4_1_2_node_288 | 0.4 | n |  | TRUE
85 | bus_LV_91-4_1_2_node_279 | 0.4 | n |  | TRUE
86 | bus_LV_91-4_1_2_node_280 | 0.4 | n |  | TRUE
87 | bus_LV_91-4_1_2_node_282 | 0.4 | n |  | TRUE
88 | bus_LV_91-4_1_2_node_283 | 0.4 | n |  | TRUE
89 | bus_LV_91-4_1_2_node_284 | 0.4 | n |  | TRUE
90 | bus_LV_91-4_1_2_node_285 | 0.4 | n |  | TRUE
91 | bus_LV_91-4_1_2_node_286 | 0.4 | n |  | TRUE
92 | bus_LV_91-4_1_2_node_290 | 0.4 | n |  | TRUE
93 | bus_LV_91-4_1_2_node_289 | 0.4 | n |  | TRUE
94 | bus_LV_91-4_1_2_node_291 | 0.4 | n |  | TRUE
95 | bus_LV_91-4_1_2_node_319 | 0.4 | n |  | TRUE
96 | bus_LV_91-4_1_2_node_292 | 0.4 | n |  | TRUE
97 | bus_LV_91-4_1_2_node_293 | 0.4 | n |  | TRUE
98 | bus_LV_91-4_1_2_node_294 | 0.4 | n |  | TRUE
99 | bus_LV_91-4_1_2_node_295 | 0.4 | n |  | TRUE
100 | bus_LV_91-4_1_2_node_298 | 0.4 | n |  | TRUE
101 | bus_LV_91-4_1_2_node_299 | 0.4 | n |  | TRUE
102 | bus_LV_91-4_1_2_node_300 | 0.4 | n |  | TRUE
103 | bus_LV_91-4_1_2_node_296 | 0.4 | n |  | TRUE
104 | bus_LV_91-4_1_2_node_310 | 0.4 | n |  | TRUE
105 | bus_LV_91-4_1_2_node_302 | 0.4 | n |  | TRUE
106 | bus_LV_91-4_1_2_node_308 | 0.4 | n |  | TRUE
107 | bus_LV_91-4_1_2_node_297 | 0.4 | n |  | TRUE
108 | bus_LV_91-4_1_2_node_313 | 0.4 | n |  | TRUE
109 | bus_LV_91-4_1_2_node_312 | 0.4 | n |  | TRUE
110 | bus_LV_91-4_1_2_node_304 | 0.4 | n |  | TRUE
111 | bus_LV_91-4_1_2_node_322 | 0.4 | n |  | TRUE
112 | bus_LV_91-4_1_2_node_301 | 0.4 | n |  | TRUE
113 | bus_LV_91-4_1_2_node_321 | 0.4 | n |  | TRUE
114 | bus_LV_91-4_1_2_node_320 | 0.4 | n |  | TRUE
115 | bus_LV_91-4_1_2_node_323 | 0.4 | n |  | TRUE
116 | bus_LV_91-4_1_2_node_374 | 0.4 | n |  | TRUE
117 | bus_LV_91-4_1_2_node_307 | 0.4 | n |  | TRUE
118 | bus_LV_91-4_1_2_node_334 | 0.4 | n |  | TRUE
119 | bus_LV_91-4_1_2_node_309 | 0.4 | n |  | TRUE
120 | bus_LV_91-4_1_2_node_367 | 0.4 | n |  | TRUE
121 | bus_LV_91-4_1_2_node_314 | 0.4 | n |  | TRUE
122 | bus_LV_91-4_1_2_node_365 | 0.4 | n |  | TRUE
123 | bus_LV_91-4_1_2_node_315 | 0.4 | n |  | TRUE
124 | bus_LV_91-4_1_2_node_316 | 0.4 | n |  | TRUE
125 | bus_LV_91-4_1_2_node_318 | 0.4 | n |  | TRUE
126 | bus_LV_91-4_1_2_node_324 | 0.4 | n |  | TRUE
127 | bus_LV_91-4_1_2_node_325 | 0.4 | n |  | TRUE
128 | bus_LV_91-4_1_2_node_326 | 0.4 | n |  | TRUE
129 | bus_LV_91-4_1_2_node_327 | 0.4 | n |  | TRUE
130 | bus_LV_91-4_1_2_node_328 | 0.4 | n |  | TRUE
131 | bus_LV_91-4_1_2_node_329 | 0.4 | n |  | TRUE
132 | bus_LV_91-4_1_2_node_371 | 0.4 | n |  | TRUE
133 | bus_LV_91-4_1_2_node_330 | 0.4 | n |  | TRUE
134 | bus_LV_91-4_1_2_node_331 | 0.4 | n |  | TRUE
135 | bus_LV_91-4_1_2_node_332 | 0.4 | n |  | TRUE
136 | bus_LV_91-4_1_2_node_333 | 0.4 | n |  | TRUE
137 | bus_LV_91-4_1_2_node_335 | 0.4 | n |  | TRUE
138 | bus_LV_91-4_1_2_node_336 | 0.4 | n |  | TRUE
139 | bus_LV_91-4_1_2_node_353 | 0.4 | n |  | TRUE
140 | bus_LV_91-4_1_2_node_342 | 0.4 | n |  | TRUE
141 | bus_LV_91-4_1_2_node_349 | 0.4 | n |  | TRUE
142 | bus_LV_91-4_1_2_node_360 | 0.4 | n |  | TRUE
143 | bus_LV_91-4_1_2_node_359 | 0.4 | n |  | TRUE
144 | bus_LV_91-4_1_2_node_357 | 0.4 | n |  | TRUE
145 | bus_LV_91-4_1_2_node_347 | 0.4 | n |  | TRUE
146 | bus_LV_91-4_1_2_node_348 | 0.4 | n |  | TRUE
147 | bus_LV_91-4_1_2_node_350 | 0.4 | n |  | TRUE
148 | bus_LV_91-4_1_2_node_351 | 0.4 | n |  | TRUE
149 | bus_LV_91-4_1_2_node_361 | 0.4 | n |  | TRUE
150 | bus_LV_91-4_1_2_node_352 | 0.4 | n |  | TRUE
151 | bus_LV_91-4_1_2_node_354 | 0.4 | n |  | TRUE
152 | bus_LV_91-4_1_2_node_355 | 0.4 | n |  | TRUE
153 | bus_LV_91-4_1_2_node_356 | 0.4 | n |  | TRUE
154 | bus_LV_91-4_1_2_node_362 | 0.4 | n |  | TRUE
155 | bus_LV_91-4_1_2_node_363 | 0.4 | n |  | TRUE
156 | bus_LV_91-4_1_2_node_358 | 0.4 | n |  | TRUE
157 | bus_LV_91-4_1_2_node_364 | 0.4 | n |  | TRUE
158 | bus_LV_91-4_1_2_node_366 | 0.4 | n |  | TRUE
159 | bus_LV_91-4_1_2_node_368 | 0.4 | n |  | TRUE
160 | bus_MV_425_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_91-4_1_2_load_172 | 3 | 0.0018364 | 0.00046025 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_91-4_1_2_load_173 | 4 | 0.0010633 | 0.0002665 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_91-4_1_2_load_174 | 5 | 0.0011896 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_91-4_1_2_load_281 | 6 | 0.0018312 | 0.00045894 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_91-4_1_2_load_278 | 7 | 0.0016851 | 0.00042231 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_91-4_1_2_load_211 | 10 | 0.0042204 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_91-4_1_2_load_345 | 11 | 0.0018238 | 0.00045709 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_91-4_1_2_load_202 | 12 | 0.0026227 | 0.00065731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_91-4_1_2_load_203 | 13 | 0.002727 | 0.00068346 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_91-4_1_2_load_206 | 16 | 0.0025499 | 0.00063908 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_91-4_1_2_load_210 | 18 | 0.0010657 | 0.00026708 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_91-4_1_2_load_238 | 20 | 0.0023985 | 0.00060112 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_91-4_1_2_load_224 | 21 | 0.0014098 | 0.00035334 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_91-4_1_2_load_212 | 22 | 0.0023597 | 0.00059139 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_91-4_1_2_load_215 | 24 | 0.0011657 | 0.00029214 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_91-4_1_2_load_216 | 25 | 0.0029063 | 0.00072838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_91-4_1_2_load_218 | 26 | 0.0029654 | 0.00074319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_91-4_1_2_load_219 | 27 | 0.0017791 | 0.00044588 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_91-4_1_2_load_235 | 28 | 0.0020866 | 0.00052296 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_91-4_1_2_load_236 | 29 | 0.0013694 | 0.00034322 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_91-4_1_2_load_229 | 30 | 0.0027343 | 0.00068529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_91-4_1_2_load_306 | 32 | 0.0055861 | 0.0014 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_91-4_1_2_load_303 | 33 | 0.00351 | 0.00087969 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_91-4_1_2_load_220 | 35 | 0.00084097 | 0.00021077 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_91-4_1_2_load_221 | 36 | 0.00098148 | 0.00024598 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_91-4_1_2_load_225 | 39 | 0.00083526 | 0.00020934 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_91-4_1_2_load_226 | 40 | 0.0010248 | 0.00025684 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_91-4_1_2_load_227 | 41 | 0.0029957 | 0.00075079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_91-4_1_2_load_228 | 42 | 0.0014055 | 0.00035225 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_91-4_1_2_load_246 | 43 | 0.0020897 | 0.00052373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_91-4_1_2_load_245 | 44 | 0.0013608 | 0.00034105 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_91-4_1_2_load_230 | 45 | 0.0013257 | 0.00033224 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_91-4_1_2_load_231 | 46 | 0.0023411 | 0.00058674 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_91-4_1_2_load_232 | 47 | 0.0012198 | 0.0003057 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_91-4_1_2_load_263 | 48 | 0.0017145 | 0.0004297 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_91-4_1_2_load_237 | 49 | 0.0026939 | 0.00067515 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_91-4_1_2_load_239 | 50 | 0.0012038 | 0.0003017 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_91-4_1_2_load_240 | 51 | 0.0014415 | 0.00036127 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_91-4_1_2_load_370 | 52 | 0.0022677 | 0.00056835 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_91-4_1_2_load_252 | 55 | 0.0083159 | 0.0020842 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_91-4_1_2_load_247 | 56 | 0.0054211 | 0.0013587 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_91-4_1_2_load_273 | 58 | 0.0036156 | 0.00090617 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_91-4_1_2_load_254 | 65 | 0.0017558 | 0.00044005 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_91-4_1_2_load_257 | 67 | 0.0044026 | 0.0011034 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_91-4_1_2_load_258 | 68 | 0.0043999 | 0.0011027 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_91-4_1_2_load_262 | 69 | 0.0015096 | 0.00037834 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_91-4_1_2_load_260 | 73 | 0.0023715 | 0.00059436 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_91-4_1_2_load_267 | 74 | 0.0014428 | 0.0003616 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_91-4_1_2_load_259 | 75 | 0.0017135 | 0.00042945 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_91-4_1_2_load_275 | 77 | 0.00066689 | 0.00016714 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_91-4_1_2_load_272 | 78 | 0.0014249 | 0.00035711 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_91-4_1_2_load_274 | 79 | 0.001014 | 0.00025412 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_91-4_1_2_load_372 | 81 | 0.0021559 | 0.00054031 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_91-4_1_2_load_288 | 84 | 0.0017457 | 0.00043751 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_91-4_1_2_load_279 | 85 | 0.00085264 | 0.00021369 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_91-4_1_2_load_280 | 86 | 0.0017642 | 0.00044215 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_91-4_1_2_load_282 | 87 | 0.0019433 | 0.00048704 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_91-4_1_2_load_283 | 88 | 0.0023449 | 0.00058768 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_91-4_1_2_load_285 | 90 | 0.0020134 | 0.0005046 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_91-4_1_2_load_286 | 91 | 0.001536 | 0.00038495 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_91-4_1_2_load_289 | 93 | 0.0026814 | 0.00067202 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_91-4_1_2_load_291 | 94 | 0.00052749 | 0.0001322 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_91-4_1_2_load_319 | 95 | 0.00079929 | 0.00020032 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_91-4_1_2_load_292 | 96 | 0.0012854 | 0.00032215 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_91-4_1_2_load_299 | 101 | 0.00038852 | 9.7373e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_91-4_1_2_load_300 | 102 | 0.0011924 | 0.00029884 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_91-4_1_2_load_310 | 104 | 0.0049507 | 0.0012407 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_91-4_1_2_load_302 | 105 | 0.0029113 | 0.00072963 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_91-4_1_2_load_308 | 106 | 0.0047522 | 0.001191 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_91-4_1_2_load_313 | 108 | 0.0012288 | 0.00030798 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_91-4_1_2_load_304 | 110 | 0.0022768 | 0.00057062 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_91-4_1_2_load_322 | 111 | 0.0035789 | 0.00089695 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_91-4_1_2_load_321 | 113 | 0.0027326 | 0.00068486 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_91-4_1_2_load_320 | 114 | 0.00088649 | 0.00022218 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_91-4_1_2_load_323 | 115 | 0.002276 | 0.00057041 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_91-4_1_2_load_374 | 116 | 0.0018339 | 0.00045963 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_91-4_1_2_load_307 | 117 | 0.0010397 | 0.00026057 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_91-4_1_2_load_334 | 118 | 0.0010183 | 0.00025522 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_91-4_1_2_load_309 | 119 | 0.0033117 | 0.00082998 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_91-4_1_2_load_367 | 120 | 0.0012911 | 0.00032357 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_91-4_1_2_load_314 | 121 | 0.00040324 | 0.00010106 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_91-4_1_2_load_365 | 122 | 0.0010888 | 0.00027287 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_91-4_1_2_load_315 | 123 | 0.00099693 | 0.00024985 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_91-4_1_2_load_316 | 124 | 0.0012265 | 0.0003074 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_91-4_1_2_load_318 | 125 | 0.0032162 | 0.00080606 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_91-4_1_2_load_324 | 126 | 0.00081906 | 0.00020528 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_91-4_1_2_load_325 | 127 | 0.00085968 | 0.00021546 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_91-4_1_2_load_326 | 128 | 0.00051708 | 0.00012959 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_91-4_1_2_load_329 | 131 | 0.0003919 | 9.8219e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_91-4_1_2_load_371 | 132 | 0.000392 | 9.8245e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_91-4_1_2_load_330 | 133 | 0.0011808 | 0.00029595 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_91-4_1_2_load_331 | 134 | 0.0011847 | 0.00029692 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_91-4_1_2_load_333 | 136 | 0.0044998 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_91-4_1_2_load_335 | 137 | 0.0011276 | 0.00028261 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_91-4_1_2_load_336 | 138 | 0.0013181 | 0.00033035 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_91-4_1_2_load_353 | 139 | 0.0013491 | 0.00033812 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_91-4_1_2_load_342 | 140 | 0.0011014 | 0.00027604 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_91-4_1_2_load_349 | 141 | 0.0018874 | 0.00047304 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_91-4_1_2_load_360 | 142 | 0.0017849 | 0.00044735 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_91-4_1_2_load_359 | 143 | 0.0016715 | 0.00041892 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_91-4_1_2_load_357 | 144 | 0.0015441 | 0.000387 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_91-4_1_2_load_347 | 145 | 0.0019615 | 0.0004916 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_91-4_1_2_load_350 | 147 | 0.0052884 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_91-4_1_2_load_351 | 148 | 0.0017445 | 0.00043722 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_91-4_1_2_load_361 | 149 | 0.0015079 | 0.00037792 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_91-4_1_2_load_352 | 150 | 0.0011108 | 0.00027838 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_91-4_1_2_load_354 | 151 | 0.0011815 | 0.00029611 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_91-4_1_2_load_355 | 152 | 0.0015513 | 0.00038879 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_91-4_1_2_load_362 | 154 | 0.001294 | 0.00032432 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_91-4_1_2_load_363 | 155 | 0.001444 | 0.00036191 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_91-4_1_2_load_358 | 156 | 0.0016788 | 0.00042075 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_91-4_1_2_load_364 | 157 | 0.0017015 | 0.00042643 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_91-4_1_2_load_366 | 158 | 0.000392 | 9.8245e-05 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_91-4_1_2_load_368 | 159 | 0.0016004 | 0.0004011 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_91-4_1_2_line_0 |  | 0 | 1 | 0.002982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_91-4_1_2_line_1 |  | 0 | 2 | 0.039176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_91-4_1_2_line_2 |  | 1 | 3 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_91-4_1_2_line_3 |  | 1 | 4 | 0.021004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_91-4_1_2_line_4 |  | 1 | 5 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_91-4_1_2_line_5 |  | 2 | 6 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_91-4_1_2_line_6 |  | 2 | 7 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_91-4_1_2_line_7 |  | 3 | 9 | 0.031301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_91-4_1_2_line_8 |  | 4 | 11 | 0.0088607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_91-4_1_2_line_9 |  | 6 | 87 | 0.0055765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_91-4_1_2_line_10 |  | 7 | 85 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_91-4_1_2_line_11 |  | 8 | 9 | 0.003587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_91-4_1_2_line_12 |  | 8 | 10 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_91-4_1_2_line_13 |  | 9 | 26 | 0.015347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_91-4_1_2_line_14 |  | 9 | 27 | 0.012753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_91-4_1_2_line_15 |  | 11 | 142 | 0.0073506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_91-4_1_2_line_16 |  | 12 | 13 | 0.010479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_91-4_1_2_line_17 |  | 12 | 14 | 0.015419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_91-4_1_2_line_18 |  | 13 | 15 | 0.015836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_91-4_1_2_line_19 |  | 14 | 16 | 0.0021071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_91-4_1_2_line_20 |  | 15 | 17 | 0.029332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_91-4_1_2_line_21 |  | 16 | 18 | 0.010023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_91-4_1_2_line_22 |  | 17 | 19 | 0.026835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_91-4_1_2_line_23 |  | 17 | 20 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_91-4_1_2_line_24 |  | 18 | 21 | 0.017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_91-4_1_2_line_25 |  | 19 | 52 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_91-4_1_2_line_26 |  | 19 | 53 | 0.027922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_91-4_1_2_line_27 |  | 20 | 49 | 0.0099423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_91-4_1_2_line_28 |  | 22 | 23 | 0.0080555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_91-4_1_2_line_29 |  | 23 | 24 | 0.003303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_91-4_1_2_line_30 |  | 23 | 25 | 0.047147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_91-4_1_2_line_31 |  | 24 | 28 | 0.018233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_91-4_1_2_line_32 |  | 24 | 29 | 0.031539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_91-4_1_2_line_33 |  | 25 | 30 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_91-4_1_2_line_34 |  | 26 | 34 | 0.014529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_91-4_1_2_line_35 |  | 27 | 28 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_91-4_1_2_line_36 |  | 29 | 31 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_91-4_1_2_line_37 |  | 30 | 45 | 0.013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_91-4_1_2_line_38 |  | 31 | 32 | 0.028705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_91-4_1_2_line_39 |  | 31 | 33 | 0.040891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_91-4_1_2_line_40 |  | 32 | 117 | 0.0040441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_91-4_1_2_line_41 |  | 33 | 100 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_91-4_1_2_line_42 |  | 34 | 143 | 0.006612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_91-4_1_2_line_43 |  | 34 | 144 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_91-4_1_2_line_44 |  | 35 | 36 | 0.021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_91-4_1_2_line_45 |  | 35 | 37 | 0.015121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_91-4_1_2_line_46 |  | 36 | 38 | 0.013784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_91-4_1_2_line_47 |  | 37 | 39 | 0.010175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_91-4_1_2_line_48 |  | 38 | 40 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_91-4_1_2_line_49 |  | 38 | 41 | 0.026251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_91-4_1_2_line_50 |  | 39 | 42 | 0.0048383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_91-4_1_2_line_51 |  | 40 | 43 | 0.020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_91-4_1_2_line_52 |  | 42 | 44 | 0.010317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_91-4_1_2_line_53 |  | 43 | 59 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_91-4_1_2_line_54 |  | 44 | 51 | 0.014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_91-4_1_2_line_55 |  | 45 | 46 | 0.0060669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_91-4_1_2_line_56 |  | 46 | 47 | 0.0062588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_91-4_1_2_line_57 |  | 47 | 48 | 0.025136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_91-4_1_2_line_58 |  | 48 | 68 | 0.0096564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_91-4_1_2_line_59 |  | 49 | 50 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_91-4_1_2_line_60 |  | 50 | 51 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_91-4_1_2_line_61 |  | 53 | 56 | 0.039448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_91-4_1_2_line_62 |  | 53 | 54 | 0.003403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_91-4_1_2_line_63 |  | 54 | 55 | 0.034259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_91-4_1_2_line_64 |  | 56 | 60 | 0.045842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_91-4_1_2_line_65 |  | 57 | 58 | 0.013402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_91-4_1_2_line_66 |  | 57 | 59 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_91-4_1_2_line_67 |  | 59 | 78 | 0.007537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_91-4_1_2_line_68 |  | 60 | 61 | 0.014089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_91-4_1_2_line_69 |  | 60 | 62 | 0.004402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_91-4_1_2_line_70 |  | 61 | 66 | 0.043026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_91-4_1_2_line_71 |  | 61 | 67 | 0.011399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_91-4_1_2_line_72 |  | 62 | 64 | 0.011944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_91-4_1_2_line_73 |  | 62 | 68 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_91-4_1_2_line_74 |  | 63 | 64 | 0.004517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_91-4_1_2_line_75 |  | 63 | 65 | 0.051097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_91-4_1_2_line_76 |  | 64 | 69 | 0.0078271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_91-4_1_2_line_77 |  | 65 | 70 | 0.049418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_91-4_1_2_line_78 |  | 66 | 73 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_91-4_1_2_line_79 |  | 67 | 74 | 0.0035988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_91-4_1_2_line_80 |  | 69 | 71 | 0.045374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_91-4_1_2_line_81 |  | 70 | 83 | 0.026487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_91-4_1_2_line_82 |  | 70 | 84 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_91-4_1_2_line_83 |  | 70 | 76 | 0.00525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_91-4_1_2_line_84 |  | 71 | 72 | 0.014269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_91-4_1_2_line_85 |  | 72 | 125 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_91-4_1_2_line_86 |  | 72 | 123 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_91-4_1_2_line_87 |  | 73 | 75 | 0.0037484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_91-4_1_2_line_88 |  | 76 | 77 | 0.013403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_91-4_1_2_line_89 |  | 77 | 79 | 0.0050521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_91-4_1_2_line_90 |  | 80 | 81 | 0.009537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_91-4_1_2_line_91 |  | 80 | 82 | 0.026348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_91-4_1_2_line_92 |  | 82 | 116 | 0.008933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_91-4_1_2_line_93 |  | 82 | 92 | 0.0071344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_91-4_1_2_line_94 |  | 83 | 93 | 0.032695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_91-4_1_2_line_95 |  | 83 | 92 | 0.023736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_91-4_1_2_line_96 |  | 84 | 94 | 0.01298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_91-4_1_2_line_97 |  | 85 | 86 | 0.0083095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_91-4_1_2_line_98 |  | 88 | 89 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_91-4_1_2_line_99 |  | 89 | 90 | 0.0091647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_91-4_1_2_line_100 |  | 90 | 91 | 0.024064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_91-4_1_2_line_101 |  | 91 | 92 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_91-4_1_2_line_102 |  | 94 | 95 | 0.0064339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_91-4_1_2_line_103 |  | 95 | 114 | 0.0075882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_91-4_1_2_line_104 |  | 96 | 97 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_91-4_1_2_line_105 |  | 96 | 98 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_91-4_1_2_line_106 |  | 97 | 99 | 0.023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_91-4_1_2_line_107 |  | 98 | 100 | 0.003326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_91-4_1_2_line_108 |  | 98 | 101 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_91-4_1_2_line_109 |  | 99 | 102 | 0.012766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_91-4_1_2_line_110 |  | 100 | 105 | 0.0424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_91-4_1_2_line_111 |  | 101 | 110 | 0.0041599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_91-4_1_2_line_112 |  | 102 | 111 | 0.03922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_91-4_1_2_line_113 |  | 103 | 104 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_91-4_1_2_line_114 |  | 103 | 105 | 0.02177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_91-4_1_2_line_115 |  | 103 | 106 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_91-4_1_2_line_116 |  | 104 | 107 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_91-4_1_2_line_117 |  | 106 | 119 | 0.013425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_91-4_1_2_line_118 |  | 107 | 108 | 0.042434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_91-4_1_2_line_119 |  | 107 | 109 | 0.042826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_91-4_1_2_line_120 |  | 108 | 121 | 0.0096527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_91-4_1_2_line_121 |  | 109 | 120 | 0.008356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_91-4_1_2_line_122 |  | 110 | 115 | 0.0095488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_91-4_1_2_line_123 |  | 112 | 113 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_91-4_1_2_line_124 |  | 112 | 114 | 0.0047684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_91-4_1_2_line_125 |  | 113 | 126 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_91-4_1_2_line_126 |  | 117 | 118 | 0.0073198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_91-4_1_2_line_127 |  | 118 | 135 | 0.0058608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_91-4_1_2_line_128 |  | 120 | 159 | 0.028444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_91-4_1_2_line_129 |  | 121 | 122 | 0.0074563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_91-4_1_2_line_130 |  | 122 | 158 | 0.064428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_91-4_1_2_line_131 |  | 123 | 124 | 0.00010427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_91-4_1_2_line_132 |  | 127 | 128 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_91-4_1_2_line_133 |  | 127 | 129 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_91-4_1_2_line_134 |  | 129 | 130 | 0.056961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_91-4_1_2_line_135 |  | 130 | 131 | 0.046292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_91-4_1_2_line_136 |  | 131 | 132 | 0.00054193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_91-4_1_2_line_137 |  | 132 | 158 | 0.00030732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_91-4_1_2_line_138 |  | 133 | 134 | 0.0013812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_91-4_1_2_line_139 |  | 133 | 135 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_91-4_1_2_line_140 |  | 134 | 136 | 0.0063099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_91-4_1_2_line_141 |  | 135 | 137 | 0.0066996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_91-4_1_2_line_142 |  | 137 | 138 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_91-4_1_2_line_143 |  | 138 | 139 | 0.0087492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_91-4_1_2_line_144 |  | 139 | 150 | 0.0056749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_91-4_1_2_line_145 |  | 140 | 141 | 0.030842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_91-4_1_2_line_146 |  | 141 | 148 | 0.017261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_91-4_1_2_line_147 |  | 141 | 146 | 0.0040705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_91-4_1_2_line_148 |  | 142 | 149 | 0.0096881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_91-4_1_2_line_149 |  | 144 | 156 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_91-4_1_2_line_150 |  | 145 | 146 | 0.011545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_91-4_1_2_line_151 |  | 146 | 147 | 0.006026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_91-4_1_2_line_152 |  | 148 | 149 | 0.00045198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_91-4_1_2_line_153 |  | 150 | 151 | 0.0090837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_91-4_1_2_line_154 |  | 151 | 152 | 0.0074371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_91-4_1_2_line_155 |  | 152 | 153 | 0.00868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_91-4_1_2_line_156 |  | 153 | 154 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_91-4_1_2_line_157 |  | 153 | 155 | 0.002221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_91-4_1_2_line_158 |  | 154 | 157 | 0.0007752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_91-4_1_2_trafo_229 | 0.63 MVA 20/0.4 kV | 160 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2670482.7266 | 1261770.6525 | 2670485.3286 | 1261769.1824
1 | 2670482.7266 | 1261770.6525 | 2670489.8877 | 1261781.1456 | 2670485.6052 | 1261783.8967 | 2670490.3283 | 1261792.2259 | 2670483.5073 | 1261801.863
2 | 2670485.3286 | 1261769.1824 | 2670488.7004 | 1261773.9261 | 2670495.3982 | 1261784.0766
3 | 2670485.3286 | 1261769.1824 | 2670503.6152 | 1261758.8495
4 | 2670485.3286 | 1261769.1824 | 2670477.7643 | 1261756.1221
5 | 2670483.5073 | 1261801.863 | 2670476.667 | 1261811.5247
6 | 2670483.5073 | 1261801.863 | 2670469.5648 | 1261793.902
7 | 2670514.2771 | 1261809.0238 | 2670507.6838 | 1261800.8391 | 2670498.1072 | 1261788.1822 | 2670495.3982 | 1261784.0766
8 | 2670511.3295 | 1261754.4904 | 2670503.6152 | 1261758.8495
9 | 2670473.4447 | 1261816.076 | 2670476.667 | 1261811.5247
10 | 2670469.5648 | 1261793.902 | 2670469.5648 | 1261793.902 | 2670467.0274 | 1261796.2736 | 2670461.4899 | 1261799.3878 | 2670458.9703 | 1261801.4396
11 | 2670514.2771 | 1261809.0238 | 2670511.4997 | 1261811.3036
12 | 2670511.4997 | 1261811.3036 | 2670521.852 | 1261823.5458
13 | 2670514.2771 | 1261809.0238 | 2670527.1229 | 1261800.6264
14 | 2670514.2771 | 1261809.0238 | 2670522.2845 | 1261818.9494
15 | 2670511.3295 | 1261754.4904 | 2670517.7292 | 1261750.8743
16 | 2670326.3778 | 1261884.3046 | 2670334.937 | 1261878.2583
17 | 2670313.7838 | 1261893.2011 | 2670326.3778 | 1261884.3046
18 | 2670347.8711 | 1261869.1216 | 2670334.937 | 1261878.2583
19 | 2670313.7838 | 1261893.2011 | 2670312.0625 | 1261894.4164
20 | 2670347.8711 | 1261869.1216 | 2670370.1494 | 1261888.2786
21 | 2670303.8745 | 1261900.1971 | 2670312.0625 | 1261894.4164
22 | 2670370.1494 | 1261888.2786 | 2670389.9147 | 1261906.4941
23 | 2670370.1494 | 1261888.2786 | 2670357.4367 | 1261898.0951
24 | 2670303.8745 | 1261900.1971 | 2670289.2569 | 1261910.5172
25 | 2670380.4181 | 1261912.43 | 2670384.0237 | 1261912.0949 | 2670385.8736 | 1261911.1273 | 2670389.9147 | 1261906.4941
26 | 2670389.9147 | 1261906.4941 | 2670403.6652 | 1261919.1783 | 2670410.753 | 1261925.0671
27 | 2670349.5674 | 1261904.1716 | 2670357.4367 | 1261898.0951
28 | 2670544.7638 | 1261850.6407 | 2670539.5624 | 1261844.4896
29 | 2670544.7638 | 1261850.6407 | 2670547.3354 | 1261848.5587
30 | 2670544.7638 | 1261850.6407 | 2670546.4579 | 1261865.9057 | 2670550.5922 | 1261879.9878 | 2670546.9406 | 1261889.229 | 2670542.3689 | 1261894.7592
31 | 2670547.3354 | 1261848.5587 | 2670535.3073 | 1261834.8564
32 | 2670547.3354 | 1261848.5587 | 2670551.3423 | 1261853.121 | 2670568.2686 | 1261872.1487
33 | 2670528.8593 | 1261911.1012 | 2670542.3689 | 1261894.7592
34 | 2670539.2844 | 1261792.6763 | 2670527.1229 | 1261800.6264
35 | 2670522.2845 | 1261818.9494 | 2670522.8457 | 1261819.645 | 2670534.9954 | 1261834.501 | 2670535.3073 | 1261834.8564
36 | 2670576.9261 | 1261881.881 | 2670568.2686 | 1261872.1487
37 | 2670528.8593 | 1261911.1012 | 2670524.9764 | 1261915.7982 | 2670520.492 | 1261921.6768
38 | 2670576.9261 | 1261881.881 | 2670595.7195 | 1261864.7034 | 2670597.2584 | 1261861.8472
39 | 2670576.9261 | 1261881.881 | 2670602.488 | 1261913.7974
40 | 2670597.2584 | 1261861.8472 | 2670599.1766 | 1261858.287
41 | 2670612.3955 | 1261925.7705 | 2670606.1398 | 1261918.357 | 2670602.488 | 1261913.7974
42 | 2670535.9999 | 1261786.9328 | 2670539.2844 | 1261792.6763
43 | 2670539.2844 | 1261792.6763 | 2670548.2065 | 1261786.9228 | 2670554.6099 | 1261784.4973 | 2670555.3091 | 1261782.1039 | 2670559.3011 | 1261779.0714 | 2670560.8823 | 1261776.0102 | 2670561.3171 | 1261775.7022
44 | 2670306.4567 | 1261956.5488 | 2670318.9886 | 1261974.2634
45 | 2670297.7237 | 1261944.2042 | 2670306.4567 | 1261956.5488
46 | 2670326.949 | 1261985.5158 | 2670318.9886 | 1261974.2634
47 | 2670297.7237 | 1261944.2042 | 2670305.7771 | 1261937.9855
48 | 2670326.949 | 1261985.5158 | 2670340.8702 | 1261975.3096
49 | 2670326.949 | 1261985.5158 | 2670323.9846 | 1261987.6933 | 2670306.048 | 1262001.3975
50 | 2670309.6066 | 1261935.0285 | 2670305.7771 | 1261937.9855
51 | 2670357.1202 | 1261963.3961 | 2670340.8702 | 1261975.3096
52 | 2670309.6066 | 1261935.0285 | 2670317.7727 | 1261928.7227
53 | 2670376.6669 | 1261947.1559 | 2670363.7831 | 1261958.5112 | 2670357.1202 | 1261963.3961
54 | 2670329.3688 | 1261919.7685 | 2670317.7727 | 1261928.7227
55 | 2670516.8123 | 1261926.5005 | 2670520.492 | 1261921.6768
56 | 2670516.8123 | 1261926.5005 | 2670513.0162 | 1261931.4767
57 | 2670497.7708 | 1261951.4618 | 2670513.0162 | 1261931.4767
58 | 2670497.7708 | 1261951.4618 | 2670491.9141 | 1261959.1393
59 | 2670349.5674 | 1261904.1716 | 2670337.3745 | 1261913.5867
60 | 2670329.3688 | 1261919.7685 | 2670337.3745 | 1261913.5867
61 | 2670410.753 | 1261925.0671 | 2670423.4814 | 1261935.6265 | 2670438.918 | 1261948.4421 | 2670441.274 | 1261950.0405
62 | 2670413.4452 | 1261922.9753 | 2670410.753 | 1261925.0671
63 | 2670413.4452 | 1261922.9753 | 2670426.1649 | 1261933.6347 | 2670440.3489 | 1261944.1609
64 | 2670479.0735 | 1261975.9743 | 2670469.2483 | 1261969.0187 | 2670441.274 | 1261950.0405
65 | 2670398.389 | 1261944.6458 | 2670388.7199 | 1261935.3349
66 | 2670388.7199 | 1261935.3349 | 2670382.7281 | 1261941.8129 | 2670376.6669 | 1261947.1559
67 | 2670371.6176 | 1261941.5472 | 2670376.6669 | 1261947.1559
68 | 2670479.0735 | 1261975.9743 | 2670475.5775 | 1261984.817 | 2670476.3751 | 1261989.3299
69 | 2670479.0735 | 1261975.9743 | 2670481.7448 | 1261972.4701
70 | 2670510.8164 | 1262010.7564 | 2670499.314 | 1262004.826 | 2670484.3776 | 1262000.6449 | 2670477.3139 | 1261994.6451 | 2670476.3751 | 1261989.3299
71 | 2670476.3751 | 1261989.3299 | 2670468.0421 | 1261989.3084 | 2670465.3918 | 1261990.411 | 2670465.2588 | 1261990.5545
72 | 2670481.7448 | 1261972.4701 | 2670489.3155 | 1261976.3966 | 2670492.627 | 1261977.3479
73 | 2670481.7448 | 1261972.4701 | 2670491.9141 | 1261959.1393
74 | 2670490.8895 | 1261981.5192 | 2670492.627 | 1261977.3479
75 | 2670490.8895 | 1261981.5192 | 2670485.7388 | 1261996.4357 | 2670495.2744 | 1261999.863 | 2670504.4341 | 1262002.5853 | 2670512.8583 | 1262008.2344 | 2670517.0666 | 1262011.7513
76 | 2670492.627 | 1261977.3479 | 2670500.1527 | 1261979.4986
77 | 2670554.9859 | 1262043.4408 | 2670517.0666 | 1262011.7513
78 | 2670510.8164 | 1262010.7564 | 2670500.0927 | 1262022.966
79 | 2670462.812 | 1261993.1935 | 2670465.2588 | 1261990.5545
80 | 2670545.1956 | 1261976.1179 | 2670528.6133 | 1261977.2655 | 2670512.208 | 1261979.9943 | 2670501.803 | 1261979.9703 | 2670500.1527 | 1261979.4986
81 | 2670554.9859 | 1262043.4408 | 2670569.3651 | 1262057.0558 | 2670574.4663 | 1262061.4422
82 | 2670554.9859 | 1262043.4408 | 2670568.6486 | 1262028.7971
83 | 2670551.5181 | 1262047.3913 | 2670554.9859 | 1262043.4408
84 | 2670545.1956 | 1261976.1179 | 2670544.8515 | 1261962.6481 | 2670545.2739 | 1261961.9749
85 | 2670527.9359 | 1261951.3046 | 2670545.2739 | 1261961.9749
86 | 2670545.2739 | 1261961.9749 | 2670549.4763 | 1261955.1977 | 2670555.9918 | 1261951.5689
87 | 2670497.619 | 1262025.7823 | 2670500.0927 | 1262022.966
88 | 2670551.5181 | 1262047.3913 | 2670542.0059 | 1262056.8342
89 | 2670538.0817 | 1262060.0066 | 2670541.3465 | 1262057.4887 | 2670542.0059 | 1262056.8342
90 | 2670572.2587 | 1262064.596 | 2670565.7931 | 1262071.6242
91 | 2670572.2587 | 1262064.596 | 2670590.15 | 1262079.3761 | 2670592.529 | 1262081.4283
92 | 2670586.8857 | 1262088.3661 | 2670592.529 | 1262081.4283
93 | 2670592.529 | 1262081.4283 | 2670590.15 | 1262079.3761 | 2670592.8672 | 1262076.4508
94 | 2670574.4663 | 1262061.4422 | 2670583.3321 | 1262051.5405 | 2670587.0905 | 1262044.0797 | 2670593.9254 | 1262037.0449 | 2670592.8794 | 1262036.3096
95 | 2670592.8672 | 1262076.4508 | 2670588.9721 | 1262073.9135 | 2670574.4663 | 1262061.4422
96 | 2670568.6486 | 1262028.7971 | 2670577.5038 | 1262019.3062
97 | 2670452.5269 | 1261806.6865 | 2670458.9703 | 1261801.4396
98 | 2670626.6091 | 1262040.9267 | 2670634.943 | 1262032.6756 | 2670635.6226 | 1262030.6599 | 2670637.6223 | 1262028.651
99 | 2670626.6091 | 1262040.9267 | 2670620.2975 | 1262047.5717
100 | 2670603.7247 | 1262065.0198 | 2670620.2975 | 1262047.5717
101 | 2670592.8672 | 1262076.4508 | 2670603.7247 | 1262065.0198
102 | 2670582.104 | 1262014.8611 | 2670581.0575 | 1262015.4974 | 2670577.5038 | 1262019.3062
103 | 2670582.104 | 1262014.8611 | 2670588.5877 | 1262010.9189
104 | 2670636.1659 | 1261943.5565 | 2670620.767 | 1261937.7127
105 | 2670609.7937 | 1261927.8522 | 2670611.2849 | 1261929.8048 | 2670620.767 | 1261937.7127
106 | 2670636.1659 | 1261943.5565 | 2670626.1535 | 1261964.2748
107 | 2670609.7937 | 1261927.8522 | 2670612.3955 | 1261925.7705
108 | 2670609.7937 | 1261927.8522 | 2670607.0464 | 1261932.0336 | 2670602.3088 | 1261939.267
109 | 2670626.1535 | 1261964.2748 | 2670629.2974 | 1261965.3687 | 2670633.6723 | 1261957.007
110 | 2670612.3955 | 1261925.7705 | 2670615.4119 | 1261929.3425 | 2670624.2269 | 1261935.697 | 2670633.383 | 1261938.7308 | 2670638.4549 | 1261937.3792 | 2670649.8356 | 1261933.6916
111 | 2670600.0296 | 1261942.7469 | 2670602.3088 | 1261939.267
112 | 2670633.6723 | 1261957.007 | 2670637.3628 | 1261949.9534 | 2670639.8343 | 1261946.1578 | 2670649.0843 | 1261941.3313 | 2670659.4288 | 1261938.2303 | 2670664.8692 | 1261937.4428
113 | 2670670.7444 | 1261928.269 | 2670681.3837 | 1261930.1308
114 | 2670670.7444 | 1261928.269 | 2670666.6534 | 1261928.2424 | 2670649.8356 | 1261933.6916
115 | 2670670.7444 | 1261928.269 | 2670669.6057 | 1261925.1976 | 2670659.0069 | 1261902.2871 | 2670663.8021 | 1261897.5609
116 | 2670699.4778 | 1261939.3095 | 2670690.2288 | 1261933.9616 | 2670681.3837 | 1261930.1308
117 | 2670673.3639 | 1261888.1368 | 2670663.8021 | 1261897.5609
118 | 2670699.4778 | 1261939.3095 | 2670703.9691 | 1261931.6907 | 2670708.3399 | 1261909.5819 | 2670709.8344 | 1261898.6307
119 | 2670733.9315 | 1261933.2055 | 2670725.998 | 1261939.4599 | 2670713.1494 | 1261947.1899 | 2670710.5539 | 1261948.7489 | 2670704.6775 | 1261942.3961 | 2670699.4778 | 1261939.3095
120 | 2670709.8344 | 1261898.6307 | 2670711.1396 | 1261889.0666
121 | 2670733.9315 | 1261933.2055 | 2670732.3948 | 1261924.9921
122 | 2670594.7977 | 1261950.7349 | 2670600.0296 | 1261942.7469
123 | 2670592.6621 | 1262008.4416 | 2670595.0176 | 1262012.4617 | 2670596.7094 | 1262017.7707
124 | 2670592.6621 | 1262008.4416 | 2670588.5877 | 1262010.9189
125 | 2670604.0965 | 1262028.2596 | 2670597.9734 | 1262021.7372 | 2670596.7094 | 1262017.7707
126 | 2670599.1766 | 1261858.287 | 2670602.6485 | 1261851.8431
127 | 2670605.4285 | 1261846.6835 | 2670602.6485 | 1261851.8431
128 | 2670731.8534 | 1261896.5531 | 2670732.3948 | 1261924.9921
129 | 2670715.1255 | 1261882.7651 | 2670715.1255 | 1261882.7651 | 2670711.1396 | 1261889.0666 | 2670711.1396 | 1261889.0666
130 | 2670715.1255 | 1261882.7651 | 2670721.6101 | 1261878.5839 | 2670737.8403 | 1261873.5185 | 2670758.3463 | 1261871.3065 | 2670777.427 | 1261870.8924
131 | 2670555.9918 | 1261951.5689 | 2670556.0829 | 1261951.5181
132 | 2670797.745 | 1261817.2371 | 2670800.6303 | 1261818.5393 | 2670808.2187 | 1261816.6981
133 | 2670821.9858 | 1261813.3576 | 2670808.2187 | 1261816.6981
134 | 2670824.5611 | 1261870.1089 | 2670821.9216 | 1261853.3202 | 2670821.9858 | 1261813.3576
135 | 2670824.5611 | 1261870.1089 | 2670805.2398 | 1261870.2889 | 2670778.2761 | 1261870.874
136 | 2670777.7343 | 1261870.8858 | 2670778.2761 | 1261870.874
137 | 2670777.427 | 1261870.8924 | 2670777.7343 | 1261870.8858
138 | 2670621.5242 | 1261841.299 | 2670621.9702 | 1261841.3992 | 2670622.4983 | 1261842.1576
139 | 2670605.4285 | 1261846.6835 | 2670611.2312 | 1261844.7068 | 2670614.0595 | 1261842.5834 | 2670618.4157 | 1261840.6006 | 2670621.5242 | 1261841.299
140 | 2670624.1815 | 1261848.0306 | 2670623.8443 | 1261844.0902 | 2670622.4983 | 1261842.1576
141 | 2670605.4285 | 1261846.6835 | 2670608.6055 | 1261840.7851
142 | 2670608.6055 | 1261840.7851 | 2670612.6409 | 1261833.2929 | 2670613.3449 | 1261827.9751 | 2670609.2968 | 1261825.5861
143 | 2670601.7619 | 1261821.1394 | 2670609.2968 | 1261825.5861
144 | 2670596.8745 | 1261818.2552 | 2670601.7619 | 1261821.1394
145 | 2670541.5853 | 1261737.3943 | 2670519.7425 | 1261715.6199
146 | 2670526.5573 | 1261745.886 | 2670541.5853 | 1261737.3943
147 | 2670545.1292 | 1261735.3919 | 2670541.5853 | 1261737.3943
148 | 2670517.7292 | 1261750.8743 | 2670526.1638 | 1261746.1083
149 | 2670575.399 | 1261764.2634 | 2670575.9665 | 1261765.3265 | 2670561.3171 | 1261775.7022
150 | 2670545.1292 | 1261735.3919 | 2670551.4182 | 1261745.0736
151 | 2670550.3864 | 1261732.419 | 2670545.1292 | 1261735.3919
152 | 2670526.1638 | 1261746.1083 | 2670526.5573 | 1261745.886
153 | 2670596.8745 | 1261818.2552 | 2670589.0515 | 1261813.6385
154 | 2670582.6466 | 1261809.8587 | 2670589.0515 | 1261813.6385
155 | 2670575.1712 | 1261805.4471 | 2670582.6466 | 1261809.8587
156 | 2670575.1712 | 1261805.4471 | 2670581.1324 | 1261794.7509
157 | 2670573.2558 | 1261804.3123 | 2670575.1712 | 1261805.4471
158 | 2670581.5098 | 1261794.0737 | 2670581.1324 | 1261794.7509

## bus_geodata
| x | y | coords
0 | 2670482.7266 | 1261770.6525
1 | 2670485.3286 | 1261769.1824
2 | 2670483.5073 | 1261801.863
3 | 2670495.3982 | 1261784.0766
4 | 2670503.6152 | 1261758.8495
5 | 2670477.7643 | 1261756.1221
6 | 2670476.667 | 1261811.5247
7 | 2670469.5648 | 1261793.902
8 | 2670511.4997 | 1261811.3036
9 | 2670514.2771 | 1261809.0238
10 | 2670521.852 | 1261823.5458
11 | 2670511.3295 | 1261754.4905
12 | 2670326.3778 | 1261884.3046
13 | 2670334.937 | 1261878.2583
14 | 2670313.7838 | 1261893.2011
15 | 2670347.8711 | 1261869.1216
16 | 2670312.0625 | 1261894.4164
17 | 2670370.1494 | 1261888.2786
18 | 2670303.8745 | 1261900.1971
19 | 2670389.9147 | 1261906.4941
20 | 2670357.4367 | 1261898.0951
21 | 2670289.2569 | 1261910.5172
22 | 2670539.5624 | 1261844.4896
23 | 2670544.7638 | 1261850.6407
24 | 2670547.3354 | 1261848.5587
25 | 2670542.3689 | 1261894.7592
26 | 2670527.1229 | 1261800.6264
27 | 2670522.2845 | 1261818.9494
28 | 2670535.3073 | 1261834.8564
29 | 2670568.2686 | 1261872.1487
30 | 2670528.8593 | 1261911.1012
31 | 2670576.9261 | 1261881.881
32 | 2670597.2584 | 1261861.8472
33 | 2670602.488 | 1261913.7974
34 | 2670539.2844 | 1261792.6763
35 | 2670306.4567 | 1261956.5488
36 | 2670318.9886 | 1261974.2634
37 | 2670297.7237 | 1261944.2042
38 | 2670326.949 | 1261985.5158
39 | 2670305.7771 | 1261937.9855
40 | 2670340.8702 | 1261975.3096
41 | 2670306.048 | 1262001.3975
42 | 2670309.6066 | 1261935.0285
43 | 2670357.1202 | 1261963.3961
44 | 2670317.7727 | 1261928.7227
45 | 2670520.492 | 1261921.6768
46 | 2670516.8123 | 1261926.5005
47 | 2670513.0162 | 1261931.4767
48 | 2670497.7708 | 1261951.4618
49 | 2670349.5674 | 1261904.1716
50 | 2670337.3745 | 1261913.5867
51 | 2670329.3688 | 1261919.7685
52 | 2670380.4181 | 1261912.43
53 | 2670410.753 | 1261925.0671
54 | 2670413.4452 | 1261922.9753
55 | 2670440.3489 | 1261944.1609
56 | 2670441.274 | 1261950.0405
57 | 2670388.7199 | 1261935.3349
58 | 2670398.389 | 1261944.6458
59 | 2670376.6669 | 1261947.1559
60 | 2670479.0735 | 1261975.9743
61 | 2670476.3751 | 1261989.3299
62 | 2670481.7448 | 1261972.4701
63 | 2670490.8895 | 1261981.5192
64 | 2670492.627 | 1261977.3479
65 | 2670517.0666 | 1262011.7513
66 | 2670510.8164 | 1262010.7564
67 | 2670465.2588 | 1261990.5545
68 | 2670491.9141 | 1261959.1393
69 | 2670500.1527 | 1261979.4986
70 | 2670554.9859 | 1262043.4408
71 | 2670545.1956 | 1261976.1179
72 | 2670545.2739 | 1261961.9749
73 | 2670500.0927 | 1262022.966
74 | 2670462.812 | 1261993.1935
75 | 2670497.619 | 1262025.7823
76 | 2670551.5181 | 1262047.3913
77 | 2670542.0059 | 1262056.8342
78 | 2670371.6176 | 1261941.5472
79 | 2670538.0817 | 1262060.0066
80 | 2670572.2587 | 1262064.596
81 | 2670565.7931 | 1262071.6242
82 | 2670592.529 | 1262081.4283
83 | 2670574.4663 | 1262061.4422
84 | 2670568.6486 | 1262028.7971
85 | 2670458.9703 | 1261801.4396
86 | 2670452.5269 | 1261806.6865
87 | 2670473.4447 | 1261816.076
88 | 2670637.6223 | 1262028.651
89 | 2670626.6091 | 1262040.9267
90 | 2670620.2975 | 1262047.5717
91 | 2670603.7247 | 1262065.0198
92 | 2670592.8672 | 1262076.4508
93 | 2670592.8794 | 1262036.3096
94 | 2670577.5038 | 1262019.3062
95 | 2670582.104 | 1262014.8611
96 | 2670620.767 | 1261937.7128
97 | 2670636.1659 | 1261943.5565
98 | 2670609.7937 | 1261927.8522
99 | 2670626.1535 | 1261964.2748
100 | 2670612.3955 | 1261925.7705
101 | 2670602.3088 | 1261939.267
102 | 2670633.6723 | 1261957.007
103 | 2670670.7444 | 1261928.269
104 | 2670681.3837 | 1261930.1308
105 | 2670649.8356 | 1261933.6916
106 | 2670663.8021 | 1261897.5609
107 | 2670699.4778 | 1261939.3095
108 | 2670709.8344 | 1261898.6307
109 | 2670733.9315 | 1261933.2055
110 | 2670600.0296 | 1261942.7469
111 | 2670664.8692 | 1261937.4428
112 | 2670592.6621 | 1262008.4416
113 | 2670596.7094 | 1262017.7707
114 | 2670588.5877 | 1262010.9189
115 | 2670594.7977 | 1261950.7349
116 | 2670586.8857 | 1262088.3661
117 | 2670599.1766 | 1261858.287
118 | 2670602.6485 | 1261851.8431
119 | 2670673.3639 | 1261888.1368
120 | 2670732.3948 | 1261924.9921
121 | 2670711.1396 | 1261889.0666
122 | 2670715.1254 | 1261882.7651
123 | 2670555.9918 | 1261951.5689
124 | 2670556.0829 | 1261951.5181
125 | 2670527.9359 | 1261951.3046
126 | 2670604.0965 | 1262028.2596
127 | 2670808.2187 | 1261816.6981
128 | 2670797.745 | 1261817.2371
129 | 2670821.9858 | 1261813.3576
130 | 2670824.5611 | 1261870.1089
131 | 2670778.2761 | 1261870.874
132 | 2670777.7343 | 1261870.8858
133 | 2670621.5242 | 1261841.299
134 | 2670622.4983 | 1261842.1576
135 | 2670605.4285 | 1261846.6835
136 | 2670624.1815 | 1261848.0306
137 | 2670608.6055 | 1261840.7851
138 | 2670609.2968 | 1261825.5861
139 | 2670601.7619 | 1261821.1394
140 | 2670519.7425 | 1261715.6199
141 | 2670541.5853 | 1261737.3943
142 | 2670517.7292 | 1261750.8743
143 | 2670535.9999 | 1261786.9328
144 | 2670561.3171 | 1261775.7022
145 | 2670551.4182 | 1261745.0736
146 | 2670545.1292 | 1261735.3919
147 | 2670550.3864 | 1261732.419
148 | 2670526.5573 | 1261745.886
149 | 2670526.1638 | 1261746.1083
150 | 2670596.8745 | 1261818.2552
151 | 2670589.0515 | 1261813.6385
152 | 2670582.6466 | 1261809.8587
153 | 2670575.1712 | 1261805.4471
154 | 2670581.1324 | 1261794.7509
155 | 2670573.2558 | 1261804.3123
156 | 2670575.399 | 1261764.2634
157 | 2670581.5098 | 1261794.0737
158 | 2670777.427 | 1261870.8924
159 | 2670731.8534 | 1261896.5531
160 | 2670544.7638 | 1261850.6407

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1