## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_94-2_0_11_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_94-2_0_11_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_94-2_0_11_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_94-2_0_11_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_94-2_0_11_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_94-2_0_11_node_127 | 0.4 | n |  | TRUE
6 | bus_LV_94-2_0_11_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_94-2_0_11_node_142 | 0.4 | n |  | TRUE
8 | bus_LV_94-2_0_11_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_94-2_0_11_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_94-2_0_11_node_141 | 0.4 | n |  | TRUE
11 | bus_LV_94-2_0_11_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_94-2_0_11_node_134 | 0.4 | n |  | TRUE
13 | bus_LV_94-2_0_11_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_94-2_0_11_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_94-2_0_11_node_123 | 0.4 | n |  | TRUE
16 | bus_LV_94-2_0_11_node_122 | 0.4 | n |  | TRUE
17 | bus_LV_94-2_0_11_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_94-2_0_11_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_94-2_0_11_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_94-2_0_11_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_94-2_0_11_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_94-2_0_11_node_158 | 0.4 | n |  | TRUE
23 | bus_LV_94-2_0_11_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_94-2_0_11_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_94-2_0_11_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_94-2_0_11_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_94-2_0_11_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_94-2_0_11_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_94-2_0_11_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_94-2_0_11_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_94-2_0_11_node_128 | 0.4 | n |  | TRUE
32 | bus_LV_94-2_0_11_node_124 | 0.4 | n |  | TRUE
33 | bus_LV_94-2_0_11_node_125 | 0.4 | n |  | TRUE
34 | bus_LV_94-2_0_11_node_137 | 0.4 | n |  | TRUE
35 | bus_LV_94-2_0_11_node_138 | 0.4 | n |  | TRUE
36 | bus_LV_94-2_0_11_node_140 | 0.4 | n |  | TRUE
37 | bus_LV_94-2_0_11_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_94-2_0_11_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_94-2_0_11_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_94-2_0_11_node_135 | 0.4 | n |  | TRUE
41 | bus_LV_94-2_0_11_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_94-2_0_11_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_94-2_0_11_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_94-2_0_11_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_94-2_0_11_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_94-2_0_11_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_94-2_0_11_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_94-2_0_11_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_94-2_0_11_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_94-2_0_11_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_94-2_0_11_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_94-2_0_11_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_94-2_0_11_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_94-2_0_11_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_94-2_0_11_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_94-2_0_11_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_94-2_0_11_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_94-2_0_11_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_94-2_0_11_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_94-2_0_11_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_94-2_0_11_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_94-2_0_11_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_94-2_0_11_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_94-2_0_11_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_94-2_0_11_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_94-2_0_11_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_94-2_0_11_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_94-2_0_11_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_94-2_0_11_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_94-2_0_11_node_104 | 0.4 | n |  | TRUE
71 | bus_LV_94-2_0_11_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_94-2_0_11_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_94-2_0_11_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_94-2_0_11_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_94-2_0_11_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_94-2_0_11_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_94-2_0_11_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_94-2_0_11_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_94-2_0_11_node_109 | 0.4 | n |  | TRUE
80 | bus_LV_94-2_0_11_node_103 | 0.4 | n |  | TRUE
81 | bus_LV_94-2_0_11_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_94-2_0_11_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_94-2_0_11_node_100 | 0.4 | n |  | TRUE
84 | bus_LV_94-2_0_11_node_107 | 0.4 | n |  | TRUE
85 | bus_LV_94-2_0_11_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_94-2_0_11_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_94-2_0_11_node_54 | 0.4 | n |  | TRUE
88 | bus_LV_94-2_0_11_node_55 | 0.4 | n |  | TRUE
89 | bus_LV_94-2_0_11_node_56 | 0.4 | n |  | TRUE
90 | bus_LV_94-2_0_11_node_57 | 0.4 | n |  | TRUE
91 | bus_LV_94-2_0_11_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_94-2_0_11_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_94-2_0_11_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_94-2_0_11_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_94-2_0_11_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_94-2_0_11_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_94-2_0_11_node_64 | 0.4 | n |  | TRUE
98 | bus_LV_94-2_0_11_node_65 | 0.4 | n |  | TRUE
99 | bus_LV_94-2_0_11_node_66 | 0.4 | n |  | TRUE
100 | bus_LV_94-2_0_11_node_69 | 0.4 | n |  | TRUE
101 | bus_LV_94-2_0_11_node_70 | 0.4 | n |  | TRUE
102 | bus_LV_94-2_0_11_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_94-2_0_11_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_94-2_0_11_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_94-2_0_11_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_94-2_0_11_node_75 | 0.4 | n |  | TRUE
107 | bus_LV_94-2_0_11_node_76 | 0.4 | n |  | TRUE
108 | bus_LV_94-2_0_11_node_77 | 0.4 | n |  | TRUE
109 | bus_LV_94-2_0_11_node_79 | 0.4 | n |  | TRUE
110 | bus_LV_94-2_0_11_node_80 | 0.4 | n |  | TRUE
111 | bus_LV_94-2_0_11_node_90 | 0.4 | n |  | TRUE
112 | bus_LV_94-2_0_11_node_83 | 0.4 | n |  | TRUE
113 | bus_LV_94-2_0_11_node_89 | 0.4 | n |  | TRUE
114 | bus_LV_94-2_0_11_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_94-2_0_11_node_88 | 0.4 | n |  | TRUE
116 | bus_LV_94-2_0_11_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_94-2_0_11_node_102 | 0.4 | n |  | TRUE
118 | bus_LV_94-2_0_11_node_111 | 0.4 | n |  | TRUE
119 | bus_LV_94-2_0_11_node_112 | 0.4 | n |  | TRUE
120 | bus_LV_94-2_0_11_node_113 | 0.4 | n |  | TRUE
121 | bus_LV_94-2_0_11_node_114 | 0.4 | n |  | TRUE
122 | bus_LV_94-2_0_11_node_145 | 0.4 | n |  | TRUE
123 | bus_LV_94-2_0_11_node_147 | 0.4 | n |  | TRUE
124 | bus_LV_94-2_0_11_node_148 | 0.4 | n |  | TRUE
125 | bus_LV_94-2_0_11_node_143 | 0.4 | n |  | TRUE
126 | bus_LV_94-2_0_11_node_115 | 0.4 | n |  | TRUE
127 | bus_LV_94-2_0_11_node_116 | 0.4 | n |  | TRUE
128 | bus_LV_94-2_0_11_node_117 | 0.4 | n |  | TRUE
129 | bus_LV_94-2_0_11_node_118 | 0.4 | n |  | TRUE
130 | bus_LV_94-2_0_11_node_157 | 0.4 | n |  | TRUE
131 | bus_LV_94-2_0_11_node_155 | 0.4 | n |  | TRUE
132 | bus_LV_94-2_0_11_node_153 | 0.4 | n |  | TRUE
133 | bus_LV_94-2_0_11_node_152 | 0.4 | n |  | TRUE
134 | bus_LV_94-2_0_11_node_119 | 0.4 | n |  | TRUE
135 | bus_LV_94-2_0_11_node_120 | 0.4 | n |  | TRUE
136 | bus_LV_94-2_0_11_node_121 | 0.4 | n |  | TRUE
137 | bus_LV_94-2_0_11_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_94-2_0_11_node_146 | 0.4 | n |  | TRUE
139 | bus_LV_94-2_0_11_node_144 | 0.4 | n |  | TRUE
140 | bus_LV_94-2_0_11_node_131 | 0.4 | n |  | TRUE
141 | bus_LV_94-2_0_11_node_126 | 0.4 | n |  | TRUE
142 | bus_LV_94-2_0_11_node_129 | 0.4 | n |  | TRUE
143 | bus_LV_94-2_0_11_node_130 | 0.4 | n |  | TRUE
144 | bus_LV_94-2_0_11_node_136 | 0.4 | n |  | TRUE
145 | bus_LV_94-2_0_11_node_149 | 0.4 | n |  | TRUE
146 | bus_LV_94-2_0_11_node_150 | 0.4 | n |  | TRUE
147 | bus_LV_94-2_0_11_node_151 | 0.4 | n |  | TRUE
148 | bus_LV_94-2_0_11_node_154 | 0.4 | n |  | TRUE
149 | bus_LV_94-2_0_11_node_156 | 0.4 | n |  | TRUE
150 | bus_MV_352_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_94-2_0_11_load_0 | 0 | 0.0042283 | 0.0010597 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_94-2_0_11_load_23 | 4 | 0.004344 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_94-2_0_11_load_127 | 5 | 0.0035363 | 0.00088628 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_94-2_0_11_load_139 | 9 | 0.0024376 | 0.00061093 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_94-2_0_11_load_141 | 10 | 0.0024377 | 0.00061096 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_94-2_0_11_load_134 | 12 | 0.04322 | 0.010832 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_94-2_0_11_load_122 | 16 | 0.0048846 | 0.0012242 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_94-2_0_11_load_35 | 19 | 0.011118 | 0.0027865 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_94-2_0_11_load_29 | 21 | 0.0033173 | 0.00083138 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_94-2_0_11_load_158 | 22 | 0.0078843 | 0.001976 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_94-2_0_11_load_34 | 23 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_94-2_0_11_load_27 | 25 | 0.0011863 | 0.00029733 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_94-2_0_11_load_26 | 27 | 0.0037026 | 0.00092796 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_94-2_0_11_load_30 | 29 | 0.0007682 | 0.00019253 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_94-2_0_11_load_21 | 30 | 0.063266 | 0.015856 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_94-2_0_11_load_128 | 31 | 0.0036236 | 0.00090815 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_94-2_0_11_load_124 | 32 | 0.0039104 | 0.00098005 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_94-2_0_11_load_125 | 33 | 0.0036011 | 0.00090251 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_94-2_0_11_load_137 | 34 | 0.003582 | 0.00089773 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_94-2_0_11_load_138 | 35 | 0.0024385 | 0.00061114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_94-2_0_11_load_140 | 36 | 0.0024377 | 0.00061095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_94-2_0_11_load_133 | 38 | 0.049334 | 0.012364 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_94-2_0_11_load_135 | 40 | 0.0021648 | 0.00054255 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_94-2_0_11_load_67 | 41 | 0.0025096 | 0.00062895 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_94-2_0_11_load_74 | 42 | 0.003066 | 0.00076842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_94-2_0_11_load_61 | 43 | 0.0067723 | 0.0016973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_94-2_0_11_load_73 | 44 | 0.009483 | 0.0023767 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_94-2_0_11_load_72 | 45 | 0.018077 | 0.0045306 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_94-2_0_11_load_25 | 46 | 0.0031448 | 0.00078815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_94-2_0_11_load_38 | 47 | 0.0043273 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_94-2_0_11_load_28 | 48 | 0.0029467 | 0.00073852 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_94-2_0_11_load_43 | 49 | 0.00099264 | 0.00024878 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_94-2_0_11_load_22 | 50 | 0.0026168 | 0.00065583 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_94-2_0_11_load_33 | 55 | 0.0016472 | 0.00041282 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_94-2_0_11_load_39 | 56 | 0.0042134 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_94-2_0_11_load_40 | 57 | 0.00051816 | 0.00012986 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_94-2_0_11_load_41 | 58 | 0.0025537 | 0.00064002 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_94-2_0_11_load_45 | 59 | 0.00093749 | 0.00023496 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_94-2_0_11_load_42 | 64 | 0.0026496 | 0.00066405 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_94-2_0_11_load_85 | 65 | 0.0023679 | 0.00059345 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_94-2_0_11_load_46 | 66 | 0.0015038 | 0.00037689 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_94-2_0_11_load_92 | 67 | 0.0016999 | 0.00042604 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_94-2_0_11_load_104 | 70 | 0.0092094 | 0.0023081 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_94-2_0_11_load_96 | 72 | 0.00080487 | 0.00020172 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_94-2_0_11_load_93 | 73 | 0.0035213 | 0.00088253 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_94-2_0_11_load_84 | 75 | 0.0049168 | 0.0012323 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_94-2_0_11_load_81 | 76 | 0.0043704 | 0.0010953 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_94-2_0_11_load_78 | 77 | 0.003207 | 0.00080375 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_94-2_0_11_load_110 | 78 | 0.0046046 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_94-2_0_11_load_109 | 79 | 0.0088981 | 0.0022301 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_94-2_0_11_load_103 | 80 | 0.0040987 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_94-2_0_11_load_105 | 82 | 0.0065482 | 0.0016411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_94-2_0_11_load_100 | 83 | 0.0033077 | 0.00082898 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_94-2_0_11_load_107 | 84 | 0.0080551 | 0.0020188 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_94-2_0_11_load_82 | 85 | 0.0027842 | 0.00069779 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_94-2_0_11_load_53 | 86 | 0.0080538 | 0.0020185 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_94-2_0_11_load_54 | 87 | 0.012892 | 0.003231 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_94-2_0_11_load_55 | 88 | 0.0034394 | 0.00086199 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_94-2_0_11_load_56 | 89 | 0.0065213 | 0.0016344 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_94-2_0_11_load_57 | 90 | 0.0020813 | 0.00052162 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_94-2_0_11_load_91 | 92 | 0.0056535 | 0.0014169 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_94-2_0_11_load_87 | 93 | 0.00095533 | 0.00023943 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_94-2_0_11_load_99 | 94 | 0.0068963 | 0.0017284 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_94-2_0_11_load_86 | 95 | 0.0082666 | 0.0020718 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_94-2_0_11_load_63 | 96 | 0.0014 | 0.00035086 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_94-2_0_11_load_66 | 99 | 0.0037922 | 0.00095041 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_94-2_0_11_load_98 | 102 | 0.0028234 | 0.00070762 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_94-2_0_11_load_97 | 103 | 0.0030808 | 0.00077212 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_94-2_0_11_load_95 | 104 | 0.0029488 | 0.00073903 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_94-2_0_11_load_101 | 105 | 0.0049386 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_94-2_0_11_load_75 | 106 | 0.0047696 | 0.0011954 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_94-2_0_11_load_76 | 107 | 0.0070489 | 0.0017666 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_94-2_0_11_load_80 | 110 | 0.0019792 | 0.00049604 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_94-2_0_11_load_90 | 111 | 0.0042919 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_94-2_0_11_load_83 | 112 | 0.0011342 | 0.00028426 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_94-2_0_11_load_89 | 113 | 0.0023058 | 0.00057789 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_94-2_0_11_load_106 | 114 | 0.0062366 | 0.001563 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_94-2_0_11_load_88 | 115 | 0.0026289 | 0.00065887 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_94-2_0_11_load_108 | 116 | 0.0058553 | 0.0014675 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_94-2_0_11_load_102 | 117 | 0.01549 | 0.0038823 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_94-2_0_11_load_111 | 118 | 0.0024381 | 0.00061105 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_94-2_0_11_load_113 | 120 | 0.002813 | 0.000705 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_94-2_0_11_load_114 | 121 | 0.0028121 | 0.00070477 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_94-2_0_11_load_148 | 124 | 0.0028741 | 0.00072031 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_94-2_0_11_load_115 | 126 | 0.0028112 | 0.00070454 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_94-2_0_11_load_116 | 127 | 0.0028129 | 0.00070498 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_94-2_0_11_load_117 | 128 | 0.0023708 | 0.00059418 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_94-2_0_11_load_157 | 130 | 0.0024231 | 0.00060728 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_94-2_0_11_load_153 | 132 | 0.0028752 | 0.00072058 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_94-2_0_11_load_152 | 133 | 0.0028121 | 0.00070478 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_94-2_0_11_load_119 | 134 | 0.0024376 | 0.00061092 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_94-2_0_11_load_120 | 135 | 0.0024376 | 0.00061093 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_94-2_0_11_load_132 | 137 | 0.0035819 | 0.00089771 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_94-2_0_11_load_146 | 138 | 0.0035805 | 0.00089737 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_94-2_0_11_load_144 | 139 | 0.0024377 | 0.00061096 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_94-2_0_11_load_131 | 140 | 0.0023225 | 0.00058207 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_94-2_0_11_load_130 | 143 | 0.0081361 | 0.0020391 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_94-2_0_11_load_136 | 144 | 0.003582 | 0.00089773 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_94-2_0_11_load_150 | 146 | 0.0035825 | 0.00089786 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_94-2_0_11_load_151 | 147 | 0.0028735 | 0.00072016 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_94-2_0_11_load_154 | 148 | 0.0028756 | 0.0007207 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_94-2_0_11_load_156 | 149 | 0.002423 | 0.00060726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_94-2_0_11_line_0 |  | 0 | 1 | 0.12545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_94-2_0_11_line_1 |  | 1 | 2 | 0.1618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_94-2_0_11_line_2 |  | 2 | 3 | 0.070182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_94-2_0_11_line_3 |  | 2 | 4 | 0.059727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_94-2_0_11_line_4 |  | 3 | 5 | 0.041149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_94-2_0_11_line_5 |  | 4 | 30 | 0.035064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_94-2_0_11_line_6 |  | 5 | 31 | 0.02395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_94-2_0_11_line_7 |  | 6 | 7 | 0.003749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_94-2_0_11_line_8 |  | 6 | 8 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_94-2_0_11_line_9 |  | 6 | 9 | 0.012604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_94-2_0_11_line_10 |  | 7 | 34 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_94-2_0_11_line_11 |  | 8 | 10 | 0.012965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_94-2_0_11_line_12 |  | 9 | 35 | 0.021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_94-2_0_11_line_13 |  | 10 | 36 | 0.021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_94-2_0_11_line_14 |  | 11 | 12 | 0.042572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_94-2_0_11_line_15 |  | 11 | 13 | 0.28693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_94-2_0_11_line_16 |  | 12 | 37 | 0.044582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_94-2_0_11_line_17 |  | 13 | 20 | 0.17821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_94-2_0_11_line_18 |  | 13 | 21 | 0.074101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_94-2_0_11_line_19 |  | 14 | 15 | 0.039375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_94-2_0_11_line_20 |  | 14 | 16 | 0.020584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_94-2_0_11_line_21 |  | 15 | 37 | 0.02198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_94-2_0_11_line_22 |  | 15 | 38 | 0.042248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_94-2_0_11_line_23 |  | 17 | 18 | 0.099971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_94-2_0_11_line_24 |  | 17 | 19 | 0.022798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_94-2_0_11_line_25 |  | 18 | 22 | 0.022339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_94-2_0_11_line_26 |  | 19 | 39 | 0.039614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_94-2_0_11_line_27 |  | 20 | 23 | 0.022168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_94-2_0_11_line_28 |  | 23 | 28 | 0.032874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_94-2_0_11_line_29 |  | 24 | 25 | 0.0068396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_94-2_0_11_line_30 |  | 24 | 26 | 0.021419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_94-2_0_11_line_31 |  | 24 | 27 | 0.044576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_94-2_0_11_line_32 |  | 25 | 47 | 0.033313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_94-2_0_11_line_33 |  | 26 | 29 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_94-2_0_11_line_34 |  | 26 | 28 | 0.018747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_94-2_0_11_line_35 |  | 27 | 46 | 0.03049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_94-2_0_11_line_36 |  | 30 | 50 | 0.008248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_94-2_0_11_line_37 |  | 31 | 142 | 0.013181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_94-2_0_11_line_38 |  | 32 | 33 | 0.026984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_94-2_0_11_line_39 |  | 33 | 141 | 0.0092903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_94-2_0_11_line_40 |  | 34 | 144 | 0.021815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_94-2_0_11_line_41 |  | 37 | 39 | 0.036513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_94-2_0_11_line_42 |  | 39 | 51 | 0.022896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_94-2_0_11_line_43 |  | 40 | 41 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_94-2_0_11_line_44 |  | 41 | 97 | 0.049999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_94-2_0_11_line_45 |  | 42 | 43 | 0.034012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_94-2_0_11_line_46 |  | 43 | 90 | 0.036238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_94-2_0_11_line_47 |  | 44 | 45 | 0.033527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_94-2_0_11_line_48 |  | 45 | 99 | 0.03227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_94-2_0_11_line_49 |  | 47 | 52 | 0.027085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_94-2_0_11_line_50 |  | 48 | 49 | 0.0022341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_94-2_0_11_line_51 |  | 49 | 53 | 0.048548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_94-2_0_11_line_52 |  | 50 | 51 | 0.035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_94-2_0_11_line_53 |  | 52 | 56 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_94-2_0_11_line_54 |  | 52 | 57 | 0.025523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_94-2_0_11_line_55 |  | 52 | 54 | 0.005928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_94-2_0_11_line_56 |  | 53 | 66 | 0.047979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_94-2_0_11_line_57 |  | 54 | 55 | 0.050999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_94-2_0_11_line_58 |  | 56 | 58 | 0.049314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_94-2_0_11_line_59 |  | 57 | 59 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_94-2_0_11_line_60 |  | 58 | 64 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_94-2_0_11_line_61 |  | 60 | 61 | 0.012336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_94-2_0_11_line_62 |  | 60 | 62 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_94-2_0_11_line_63 |  | 60 | 63 | 0.004348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_94-2_0_11_line_64 |  | 61 | 91 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_94-2_0_11_line_65 |  | 62 | 92 | 0.0045166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_94-2_0_11_line_66 |  | 62 | 93 | 0.041416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_94-2_0_11_line_67 |  | 62 | 65 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_94-2_0_11_line_68 |  | 63 | 89 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_94-2_0_11_line_69 |  | 64 | 65 | 0.0070917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_94-2_0_11_line_70 |  | 66 | 67 | 0.054117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_94-2_0_11_line_71 |  | 67 | 77 | 0.0046874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_94-2_0_11_line_72 |  | 68 | 69 | 0.050632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_94-2_0_11_line_73 |  | 68 | 70 | 0.027171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_94-2_0_11_line_74 |  | 69 | 80 | 0.023465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_94-2_0_11_line_75 |  | 69 | 81 | 0.040532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_94-2_0_11_line_76 |  | 70 | 82 | 0.053712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_94-2_0_11_line_77 |  | 71 | 72 | 0.01568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_94-2_0_11_line_78 |  | 71 | 73 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_94-2_0_11_line_79 |  | 72 | 83 | 0.009313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_94-2_0_11_line_80 |  | 73 | 81 | 0.021034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_94-2_0_11_line_81 |  | 74 | 75 | 0.021741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_94-2_0_11_line_82 |  | 74 | 76 | 0.023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_94-2_0_11_line_83 |  | 75 | 84 | 0.027968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_94-2_0_11_line_84 |  | 76 | 85 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_94-2_0_11_line_85 |  | 77 | 107 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_94-2_0_11_line_86 |  | 78 | 79 | 0.022444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_94-2_0_11_line_87 |  | 79 | 116 | 0.0062078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_94-2_0_11_line_88 |  | 81 | 104 | 0.021823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_94-2_0_11_line_89 |  | 82 | 114 | 0.022945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_94-2_0_11_line_90 |  | 83 | 102 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_94-2_0_11_line_91 |  | 84 | 116 | 0.004679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_94-2_0_11_line_92 |  | 85 | 112 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_94-2_0_11_line_93 |  | 86 | 87 | 0.02911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_94-2_0_11_line_94 |  | 86 | 88 | 0.00065726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_94-2_0_11_line_95 |  | 87 | 89 | 0.0022883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_94-2_0_11_line_96 |  | 88 | 90 | 0.0073225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_94-2_0_11_line_97 |  | 91 | 94 | 0.023051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_94-2_0_11_line_98 |  | 93 | 95 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_94-2_0_11_line_99 |  | 94 | 100 | 0.020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_94-2_0_11_line_100 |  | 95 | 115 | 0.0018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_94-2_0_11_line_101 |  | 96 | 97 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_94-2_0_11_line_102 |  | 96 | 98 | 0.031138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_94-2_0_11_line_103 |  | 97 | 99 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_94-2_0_11_line_104 |  | 98 | 100 | 0.034713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_94-2_0_11_line_105 |  | 101 | 102 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_94-2_0_11_line_106 |  | 101 | 103 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_94-2_0_11_line_107 |  | 104 | 105 | 0.0045125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_94-2_0_11_line_108 |  | 105 | 117 | 0.03262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_94-2_0_11_line_109 |  | 106 | 107 | 0.0016539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_94-2_0_11_line_110 |  | 106 | 108 | 0.024563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_94-2_0_11_line_111 |  | 108 | 109 | 0.011165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_94-2_0_11_line_112 |  | 108 | 110 | 0.015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_94-2_0_11_line_113 |  | 109 | 111 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_94-2_0_11_line_114 |  | 109 | 112 | 0.021549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
115 | LV_94-2_0_11_line_115 |  | 110 | 113 | 0.025493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
116 | LV_94-2_0_11_line_116 |  | 111 | 114 | 0.0024849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
117 | LV_94-2_0_11_line_117 |  | 113 | 115 | 0.0029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_94-2_0_11_line_118 |  | 118 | 119 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_94-2_0_11_line_119 |  | 119 | 120 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_94-2_0_11_line_120 |  | 119 | 121 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_94-2_0_11_line_121 |  | 120 | 122 | 0.01034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_94-2_0_11_line_122 |  | 122 | 123 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
123 | LV_94-2_0_11_line_123 |  | 122 | 124 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_94-2_0_11_line_124 |  | 122 | 125 | 0.028346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
125 | LV_94-2_0_11_line_125 |  | 123 | 132 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_94-2_0_11_line_126 |  | 123 | 133 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_94-2_0_11_line_127 |  | 123 | 129 | 0.029372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_94-2_0_11_line_128 |  | 124 | 145 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_94-2_0_11_line_129 |  | 125 | 138 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_94-2_0_11_line_130 |  | 125 | 139 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_94-2_0_11_line_131 |  | 125 | 136 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_94-2_0_11_line_132 |  | 126 | 127 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_94-2_0_11_line_133 |  | 126 | 128 | 0.023993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
134 | LV_94-2_0_11_line_134 |  | 128 | 129 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_94-2_0_11_line_135 |  | 129 | 130 | 0.0096607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_94-2_0_11_line_136 |  | 130 | 131 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_94-2_0_11_line_137 |  | 131 | 149 | 0.00455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_94-2_0_11_line_138 |  | 131 | 148 | 0.011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_94-2_0_11_line_139 |  | 134 | 135 | 0.024212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_94-2_0_11_line_140 |  | 135 | 136 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_94-2_0_11_line_141 |  | 136 | 137 | 0.010143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
142 | LV_94-2_0_11_line_142 |  | 137 | 140 | 0.021199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
143 | LV_94-2_0_11_line_143 |  | 140 | 141 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
144 | LV_94-2_0_11_line_144 |  | 141 | 142 | 0.020997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
145 | LV_94-2_0_11_line_145 |  | 142 | 143 | 0.007527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_94-2_0_11_line_146 |  | 143 | 144 | 0.0043012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_94-2_0_11_line_147 |  | 145 | 146 | 0.013797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_94-2_0_11_line_148 |  | 145 | 147 | 0.011244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_94-2_0_11_trafo_12 | 0.63 MVA 20/0.4 kV | 150 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2671459.1237 | 1256350.8294 | 2671467.6076 | 1256368.3669 | 2671472.133 | 1256373.3363 | 2671478.9048 | 1256377.7657 | 2671562.1664 | 1256414.8753
1 | 2671374.3801 | 1256391.1483 | 2671363.0386 | 1256369.151 | 2671359.918 | 1256359.6286 | 2671360.6234 | 1256351.1642 | 2671362.3048 | 1256345.5692 | 2671363.8056 | 1256341.1952 | 2671368.0762 | 1256331.0281 | 2671376.4209 | 1256327.615 | 2671381.0868 | 1256327.2043 | 2671386.0237 | 1256327.4528 | 2671393.1109 | 1256330.1291 | 2671399.2896 | 1256333.0947 | 2671434.6158 | 1256349.3215 | 2671442.0489 | 1256351.4572 | 2671446.3742 | 1256352.3878 | 2671452.6713 | 1256352.4194 | 2671459.1237 | 1256350.8294
2 | 2671360.4289 | 1256374.8015 | 2671350.8083 | 1256359.5632 | 2671349.3262 | 1256354.2526 | 2671359.918 | 1256359.6286 | 2671363.0386 | 1256369.151 | 2671374.3801 | 1256391.1483
3 | 2671374.3801 | 1256391.1483 | 2671378.7577 | 1256383.9958 | 2671385.2717 | 1256380.4161 | 2671396.4272 | 1256382.819 | 2671425.1014 | 1256398.112
4 | 2671360.4289 | 1256374.8015 | 2671361.2807 | 1256380.4603 | 2671362.026 | 1256394.3351 | 2671368.7153 | 1256398.73 | 2671373.3621 | 1256405.5244 | 2671373.5003 | 1256410.8184
5 | 2671456.0402 | 1256414.6128 | 2671425.1014 | 1256398.112
6 | 2671367.6357 | 1256432.9501 | 2671367.4064 | 1256425.9677 | 2671371.1523 | 1256421.1648 | 2671373.6252 | 1256415.6016 | 2671373.5003 | 1256410.8184
7 | 2671369.7335 | 1256491.2771 | 2671373.491 | 1256491.1334
8 | 2671373.491 | 1256491.1334 | 2671379.0604 | 1256490.8336 | 2671390.4016 | 1256490.3255 | 2671399.5111 | 1256489.7683
9 | 2671373.491 | 1256491.1334 | 2671373.8744 | 1256503.7319
10 | 2671369.7335 | 1256491.2771 | 2671369.3082 | 1256479.7441
11 | 2671399.5111 | 1256489.7683 | 2671399.8856 | 1256502.728
12 | 2671374.5325 | 1256525.3572 | 2671373.8744 | 1256503.7319
13 | 2671400.6328 | 1256524.2835 | 2671399.9367 | 1256504.4953 | 2671399.8856 | 1256502.728
14 | 2671470.869 | 1256552.3084 | 2671491.0359 | 1256514.8164
15 | 2671420.8364 | 1256796.785 | 2671423.5422 | 1256798.7858 | 2671432.3484 | 1256797.7023 | 2671443.0914 | 1256793.5955 | 2671456.6326 | 1256788.8443 | 2671459.8165 | 1256788.0933 | 2671458.3712 | 1256778.5132 | 2671459.7947 | 1256766.1657 | 2671468.1435 | 1256729.9064 | 2671471.4288 | 1256707.0292 | 2671470.9615 | 1256690.1444 | 2671468.1339 | 1256667.0043 | 2671466.6505 | 1256655.578 | 2671462.9951 | 1256629.17 | 2671460.9202 | 1256619.8826 | 2671457.4562 | 1256605.7192 | 2671452.2619 | 1256592.4579 | 2671450.111 | 1256587.5839 | 2671461.3876 | 1256571.8083 | 2671470.869 | 1256552.3084
16 | 2671496.8003 | 1256477.7442 | 2671500.0738 | 1256480.2078 | 2671503.4433 | 1256482.2166 | 2671505.4717 | 1256486.611 | 2671503.7961 | 1256491.0941 | 2671491.0359 | 1256514.8164
17 | 2671420.8364 | 1256796.785 | 2671423.5422 | 1256798.7858 | 2671432.3484 | 1256797.7023 | 2671443.0914 | 1256793.5955 | 2671456.6326 | 1256788.8443 | 2671459.8165 | 1256788.0933 | 2671465.7931 | 1256802.1313 | 2671482.4382 | 1256825.1047 | 2671490.7241 | 1256839.6154 | 2671495.4256 | 1256854.9501 | 2671496.3332 | 1256869.7053 | 2671494.8482 | 1256886.5109 | 2671494.0081 | 1256894.8736 | 2671490.8761 | 1256915.0507
18 | 2671420.8364 | 1256796.785 | 2671408.858 | 1256790.7694 | 2671364.2536 | 1256759.9535 | 2671358.2473 | 1256757.5144
19 | 2671443.7366 | 1256447.804 | 2671449.9087 | 1256450.6806 | 2671468.6553 | 1256460.8476 | 2671475.9065 | 1256465.5386 | 2671477.2509 | 1256467.8676
20 | 2671443.7366 | 1256447.804 | 2671425.1514 | 1256438.9553
21 | 2671477.2509 | 1256467.8676 | 2671482.7295 | 1256469.4683 | 2671496.8003 | 1256477.7442
22 | 2671477.2509 | 1256467.8676 | 2671474.6875 | 1256469.0598 | 2671471.6589 | 1256471.9143 | 2671469.2101 | 1256478.6007 | 2671466.2048 | 1256487.0262 | 2671464.1374 | 1256500.2221 | 2671463.624 | 1256506.0355
23 | 2671571.3301 | 1256472.5073 | 2671607.6951 | 1256489.4149 | 2671599.8521 | 1256520.5541 | 2671597.6343 | 1256523.7185 | 2671597.1203 | 1256524.435 | 2671593.269 | 1256531.0934 | 2671591.2753 | 1256546.2805
24 | 2671571.3301 | 1256472.5073 | 2671550.6948 | 1256462.8143
25 | 2671591.2753 | 1256546.2805 | 2671569.105 | 1256543.5398
26 | 2671514.8393 | 1256445.972 | 2671550.6948 | 1256462.8143
27 | 2671490.8761 | 1256915.0507 | 2671488.8952 | 1256929.2039 | 2671488.4817 | 1256932.846 | 2671488.0138 | 1256937.0317
28 | 2671486.6402 | 1256969.7955 | 2671486.0695 | 1256959.6144 | 2671486.5118 | 1256950.4686 | 2671488.0138 | 1256937.0317
29 | 2671487.1931 | 1256998.9348 | 2671494.0309 | 1256999.0952
30 | 2671487.1931 | 1256998.9348 | 2671488.1097 | 1256988.6049 | 2671490.8164 | 1256988.026 | 2671493.238 | 1256986.6987 | 2671495.1698 | 1256984.7206 | 2671496.4436 | 1256982.2786
31 | 2671487.1931 | 1256998.9348 | 2671481.6746 | 1256998.8125 | 2671480.1733 | 1256995.125 | 2671473.689 | 1256988.1749 | 2671468.3595 | 1256983.6406 | 2671450.0571 | 1256980.4885
32 | 2671494.0309 | 1256999.0952 | 2671494.0309 | 1256999.0952 | 2671499.0776 | 1256995.8315 | 2671502.8489 | 1256995.7659 | 2671508.9669 | 1256997.4521 | 2671520.9093 | 1256999.5312 | 2671525.9086 | 1257000.3319
33 | 2671496.4436 | 1256982.2786 | 2671505.7826 | 1256985.7606 | 2671510.3445 | 1256987.4383
34 | 2671486.6402 | 1256969.7955 | 2671489.767 | 1256970.0223 | 2671492.6402 | 1256971.269 | 2671494.96 | 1256973.3763 | 2671496.4502 | 1256976.1186 | 2671496.9709 | 1256979.2049 | 2671496.4436 | 1256982.2786
35 | 2671419.9125 | 1256975.9167 | 2671445.0308 | 1256979.6228 | 2671450.0571 | 1256980.4885
36 | 2671456.0402 | 1256414.6128 | 2671463.3179 | 1256418.4942
37 | 2671368.0684 | 1256446.1238 | 2671367.6357 | 1256432.9501
38 | 2671341.8282 | 1256411.1179 | 2671342.9832 | 1256415.588 | 2671346.6788 | 1256425.5843 | 2671346.8657 | 1256437.2924
39 | 2671347.014 | 1256446.5816 | 2671346.8657 | 1256437.2924
40 | 2671369.3082 | 1256479.7441 | 2671368.5043 | 1256457.944
41 | 2671514.8393 | 1256445.972 | 2671504.8377 | 1256463.553 | 2671496.8003 | 1256477.7442
42 | 2671494.637 | 1256435.1979 | 2671511.5722 | 1256444.2312 | 2671514.8393 | 1256445.972
43 | 2671804.2156 | 1256926.3828 | 2671796.883 | 1256925.3159 | 2671784.6329 | 1256924.9005
44 | 2671734.9629 | 1256926.5665 | 2671743.807 | 1256924.2163 | 2671755.0245 | 1256923.8964 | 2671784.6329 | 1256924.9005
45 | 2671655.4275 | 1256909.6614 | 2671655.3554 | 1256901.3396 | 2671655.2316 | 1256875.6499
46 | 2671655.7415 | 1256945.8985 | 2671655.4275 | 1256909.6614
47 | 2671726.8515 | 1256881.0696 | 2671726.3078 | 1256876.0021 | 2671721.2103 | 1256848.0328
48 | 2671726.8515 | 1256881.0696 | 2671728.2321 | 1256893.9386 | 2671729.2762 | 1256910.4523 | 2671729.5635 | 1256913.2179
49 | 2671552.6234 | 1257004.796 | 2671533.9752 | 1257001.6239 | 2671525.9086 | 1257000.3319
50 | 2671485.7913 | 1257065.6289 | 2671485.7358 | 1257067.8623
51 | 2671486.1285 | 1257116.3975 | 2671485.3812 | 1257082.1299 | 2671485.7358 | 1257067.8623
52 | 2671494.637 | 1256435.1979 | 2671463.3179 | 1256418.4942
53 | 2671552.6234 | 1257004.796 | 2671558.5009 | 1257005.79 | 2671571.4617 | 1257007.5501
54 | 2671552.6234 | 1257004.796 | 2671548.1596 | 1257029.0822 | 2671548.4307 | 1257029.8669
55 | 2671553.5915 | 1256998.9478 | 2671552.6234 | 1257004.796
56 | 2671486.1285 | 1257116.3975 | 2671490.1114 | 1257116.29 | 2671500.9384 | 1257113.9301 | 2671522.75 | 1257116.1396 | 2671532.176 | 1257119.2668 | 2671533.2312 | 1257119.3511
57 | 2671553.5915 | 1256998.9478 | 2671555.2468 | 1256999.2569 | 2671578.8141 | 1257002.2329 | 2671604.2515 | 1257004.7412
58 | 2671571.4617 | 1257007.5501 | 2671580.6125 | 1257008.7928 | 2671600.4854 | 1257009.8449 | 2671620.6602 | 1257010.2447
59 | 2671563.8673 | 1257037.2002 | 2671552.6663 | 1257035.5526 | 2671549.3399 | 1257032.499 | 2671548.4307 | 1257029.8669
60 | 2671631.6673 | 1257009.9547 | 2671620.6602 | 1257010.2447 | 2671620.6602 | 1257010.2447
61 | 2671669.0523 | 1257002.0241 | 2671656.7519 | 1257003.354
62 | 2671657.71 | 1257013.9068 | 2671656.7519 | 1257003.354
63 | 2671656.1782 | 1256999.0439 | 2671656.7519 | 1257003.354
64 | 2671669.0523 | 1257002.0241 | 2671687.2457 | 1256999.7871
65 | 2671657.71 | 1257013.9068 | 2671662.2157 | 1257013.5944
66 | 2671657.71 | 1257013.9068 | 2671657.8472 | 1257020.0129 | 2671656.4727 | 1257027.6575 | 2671651.6417 | 1257042.9993 | 2671649.1042 | 1257054.1715
67 | 2671657.71 | 1257013.9068 | 2671652.7893 | 1257014.2363 | 2671649.2342 | 1257011.3912 | 2671642.6341 | 1257009.6657 | 2671638.7565 | 1257009.7678
68 | 2671656.1782 | 1256999.0439 | 2671656.1561 | 1256995.2631 | 2671656.1049 | 1256985.2752
69 | 2671631.6673 | 1257009.9547 | 2671638.7565 | 1257009.7678
70 | 2671533.2312 | 1257119.3511 | 2671543.175 | 1257120.1448 | 2671553.5461 | 1257119.9477 | 2671572.8191 | 1257120.0585 | 2671580.4115 | 1257119.5388 | 2671587.2667 | 1257118.8947
71 | 2671587.2667 | 1257118.8947 | 2671591.9336 | 1257118.4562
72 | 2671747.3385 | 1257156.0081 | 2671747.3938 | 1257136.5277 | 2671746.4893 | 1257105.3937
73 | 2671747.3385 | 1257156.0081 | 2671720.1808 | 1257156.8426
74 | 2671746.4893 | 1257105.3937 | 2671769.9448 | 1257104.7381
75 | 2671743.7519 | 1257064.9752 | 2671744.0688 | 1257068.6929 | 2671746.1536 | 1257092.0354 | 2671746.4893 | 1257105.3937
76 | 2671720.1808 | 1257156.8426 | 2671720.091 | 1257156.8453 | 2671698.4914 | 1257157.6955 | 2671694.2576 | 1257156.7324 | 2671687.347 | 1257153.88 | 2671677.5779 | 1257151.7046 | 2671671.7338 | 1257148.5871 | 2671668.6837 | 1257146.7598
77 | 2671780.2599 | 1257064.1503 | 2671780.4816 | 1257048.4715
78 | 2671780.2599 | 1257064.1503 | 2671764.7802 | 1257064.5001
79 | 2671780.4816 | 1257048.4715 | 2671780.6132 | 1257039.1594
80 | 2671743.7519 | 1257064.9752 | 2671764.7802 | 1257064.5001
81 | 2671605.9349 | 1257190.7778 | 2671626.7157 | 1257197.1681
82 | 2671605.9349 | 1257190.7778 | 2671610.2133 | 1257181.8229 | 2671616.2308 | 1257169.1905
83 | 2671651.4666 | 1257196.3326 | 2671647.9912 | 1257197.5026 | 2671646.5662 | 1257200.5987 | 2671642.8227 | 1257202.1212 | 2671626.7157 | 1257197.1681
84 | 2671616.2308 | 1257169.1905 | 2671618.3762 | 1257164.6867 | 2671620.3472 | 1257160.0617
85 | 2671609.2582 | 1257115.035 | 2671608.0666 | 1257114.9475 | 2671597.1863 | 1257117.9626 | 2671591.9336 | 1257118.4562
86 | 2671682.0188 | 1257195.9848 | 2671672.6517 | 1257192.9643 | 2671670.0433 | 1257194.1447 | 2671664.6111 | 1257198.7379 | 2671662.0057 | 1257199.0622 | 2671662.0057 | 1257199.0622
87 | 2671655.9961 | 1257197.5058 | 2671662.0057 | 1257199.0622
88 | 2671743.7519 | 1257064.9752 | 2671722.012 | 1257066.8763
89 | 2671668.6837 | 1257146.7598 | 2671657.4121 | 1257140.0074 | 2671649.4864 | 1257134.2338
90 | 2671780.8106 | 1257025.1956 | 2671780.6132 | 1257039.1594
91 | 2671651.4666 | 1257196.3326 | 2671651.4666 | 1257196.3326 | 2671655.9961 | 1257197.5058
92 | 2671625.2897 | 1257148.4638 | 2671620.3472 | 1257160.0617
93 | 2671655.8106 | 1256953.878 | 2671655.8744 | 1256961.2345 | 2671656.0843 | 1256981.263 | 2671656.0931 | 1256982.987
94 | 2671655.8106 | 1256953.878 | 2671655.8049 | 1256953.2207
95 | 2671656.0931 | 1256982.987 | 2671656.1049 | 1256985.2752
96 | 2671655.7415 | 1256945.8985 | 2671655.8049 | 1256953.2207
97 | 2671687.2457 | 1256999.7871 | 2671700.9338 | 1256998.4407 | 2671710.2146 | 1256997.8943
98 | 2671644.8732 | 1257072.8334 | 2671644.9904 | 1257072.2849 | 2671649.1042 | 1257054.1715
99 | 2671730.8532 | 1256997.469 | 2671719.8828 | 1256997.3249 | 2671710.2146 | 1256997.8943
100 | 2671644.8732 | 1257072.8334 | 2671644.4946 | 1257074.6058
101 | 2671734.9629 | 1256926.5665 | 2671731.3699 | 1256932.4495 | 2671731.8155 | 1256937.5291
102 | 2671737.7857 | 1256968.0424 | 2671735.7264 | 1256954.4074 | 2671733.5363 | 1256946.5862 | 2671731.9265 | 1256938.7943 | 2671731.8155 | 1256937.5291
103 | 2671734.9629 | 1256926.5665 | 2671730.1136 | 1256918.5129 | 2671729.5635 | 1256913.2179
104 | 2671730.8532 | 1256997.469 | 2671731.4523 | 1256994.7076 | 2671732.8321 | 1256992.2336 | 2671734.862 | 1256990.2567 | 2671737.3814 | 1256988.9529 | 2671740.1704 | 1256988.4308 | 2671739.3725 | 1256977.7354 | 2671737.7857 | 1256968.0424
105 | 2671781.1634 | 1257000.2363 | 2671780.8106 | 1257025.1956
106 | 2671781.1634 | 1257000.2363 | 2671799.3892 | 1257000.9267
107 | 2671717.5167 | 1257067.2695 | 2671722.012 | 1257066.8763
108 | 2671687.6874 | 1257058.5581 | 2671696.173 | 1257058.3941 | 2671699.555 | 1257059.9584 | 2671705.5724 | 1257064.9572 | 2671709.6851 | 1257067.2086 | 2671712.4842 | 1257067.7096 | 2671717.5167 | 1257067.2695
109 | 2671610.9077 | 1257115.1561 | 2671609.2582 | 1257115.035
110 | 2671635.3577 | 1257117.3794 | 2671629.652 | 1257116.532 | 2671610.9077 | 1257115.1561
111 | 2671632.5949 | 1257128.1984 | 2671635.3577 | 1257117.3794
112 | 2671635.3577 | 1257117.3794 | 2671638.5489 | 1257102.4401
113 | 2671632.5949 | 1257128.1984 | 2671647.478 | 1257132.7707
114 | 2671632.5949 | 1257128.1984 | 2671626.6497 | 1257145.2725 | 2671625.2897 | 1257148.4638
115 | 2671638.5489 | 1257102.4401 | 2671643.8743 | 1257077.5096
116 | 2671647.478 | 1257132.7707 | 2671649.4864 | 1257134.2338
117 | 2671644.4946 | 1257074.6058 | 2671643.8743 | 1257077.5096
118 | 2671301.8482 | 1256536.5928 | 2671306.4643 | 1256539.6729 | 2671315.4833 | 1256539.2675
119 | 2671301.8482 | 1256536.5928 | 2671301.4588 | 1256518.8417 | 2671298.4795 | 1256510.7332 | 2671297.132 | 1256505.3361
120 | 2671301.8482 | 1256536.5928 | 2671299.1729 | 1256540.1854 | 2671290.29 | 1256540.5414
121 | 2671295.6358 | 1256495.1208 | 2671296.5442 | 1256502.982 | 2671297.132 | 1256505.3361
122 | 2671275.2486 | 1256495.9315 | 2671295.6358 | 1256495.1208
123 | 2671295.6358 | 1256495.1208 | 2671295.5738 | 1256486.5026 | 2671295.8905 | 1256484.5567
124 | 2671324.0132 | 1256493.3945 | 2671295.6358 | 1256495.1208
125 | 2671275.2486 | 1256495.9315 | 2671274.7704 | 1256483.9494
126 | 2671275.2486 | 1256495.9315 | 2671275.7901 | 1256508.0165
127 | 2671245.82 | 1256497.2784 | 2671275.2486 | 1256495.9315
128 | 2671298.506 | 1256469.0917 | 2671298.5767 | 1256472.6174 | 2671296.885 | 1256478.4458 | 2671295.8905 | 1256484.5567
129 | 2671324.0132 | 1256493.3945 | 2671323.5151 | 1256481.6373
130 | 2671324.0132 | 1256493.3945 | 2671324.7238 | 1256505.8578
131 | 2671324.0132 | 1256493.3945 | 2671345.1442 | 1256492.2037
132 | 2671252.8895 | 1256531.876 | 2671253.0823 | 1256538.018 | 2671255.8739 | 1256541.6765 | 2671265.1856 | 1256541.3121
133 | 2671252.8895 | 1256531.876 | 2671252.5754 | 1256521.8667 | 2671248.4993 | 1256512.1438 | 2671247.8898 | 1256508.762
134 | 2671245.82 | 1256497.2784 | 2671247.8898 | 1256508.762
135 | 2671245.82 | 1256497.2784 | 2671246.1944 | 1256488.7322 | 2671246.2077 | 1256487.626
136 | 2671250.3517 | 1256471.0359 | 2671249.8529 | 1256473.6318 | 2671246.2357 | 1256485.2968 | 2671246.2077 | 1256487.626
137 | 2671250.3517 | 1256471.0359 | 2671250.0595 | 1256466.4957
138 | 2671250.3517 | 1256471.0359 | 2671262.0463 | 1256470.6016
139 | 2671350.8701 | 1256526.6294 | 2671350.6393 | 1256516.1987 | 2671349.4229 | 1256513.8824 | 2671347.4647 | 1256508.6549 | 2671346.1342 | 1256503.2356
140 | 2671345.1442 | 1256492.2037 | 2671345.6029 | 1256501.0714 | 2671346.1342 | 1256503.2356
141 | 2671345.1442 | 1256492.2037 | 2671345.1679 | 1256483.9757 | 2671345.4206 | 1256482.078
142 | 2671347.5315 | 1256461.1758 | 2671347.8582 | 1256470.387 | 2671346.2957 | 1256475.5053 | 2671345.4206 | 1256482.078
143 | 2671347.014 | 1256446.5816 | 2671347.5315 | 1256461.1758
144 | 2671347.014 | 1256446.5816 | 2671368.0684 | 1256446.1238
145 | 2671368.0684 | 1256446.1238 | 2671368.3458 | 1256453.6457
146 | 2671368.3458 | 1256453.6457 | 2671368.5043 | 1256457.944
147 | 2671298.506 | 1256469.0917 | 2671312.2881 | 1256468.4518
148 | 2671298.506 | 1256469.0917 | 2671287.2747 | 1256469.6273

## bus_geodata
| x | y | coords
0 | 2671562.1664 | 1256414.8753
1 | 2671459.1237 | 1256350.8294
2 | 2671374.3801 | 1256391.1483
3 | 2671360.4289 | 1256374.8015
4 | 2671425.1014 | 1256398.112
5 | 2671373.5003 | 1256410.8184
6 | 2671373.491 | 1256491.1334
7 | 2671369.7335 | 1256491.2771
8 | 2671399.5111 | 1256489.7683
9 | 2671373.8744 | 1256503.7319
10 | 2671399.8856 | 1256502.728
11 | 2671470.869 | 1256552.3084
12 | 2671491.0359 | 1256514.8164
13 | 2671420.8364 | 1256796.785
14 | 2671443.7366 | 1256447.804
15 | 2671477.2509 | 1256467.8676
16 | 2671425.1514 | 1256438.9553
17 | 2671571.3301 | 1256472.5073
18 | 2671591.2753 | 1256546.2805
19 | 2671550.6948 | 1256462.8143
20 | 2671490.8761 | 1256915.0507
21 | 2671358.2473 | 1256757.5144
22 | 2671569.105 | 1256543.5398
23 | 2671488.0138 | 1256937.0317
24 | 2671487.1931 | 1256998.9348
25 | 2671494.0309 | 1256999.0952
26 | 2671496.4436 | 1256982.2786
27 | 2671450.0571 | 1256980.4885
28 | 2671486.6402 | 1256969.7955
29 | 2671510.3445 | 1256987.4383
30 | 2671456.0402 | 1256414.6128
31 | 2671367.6357 | 1256432.9501
32 | 2671341.8282 | 1256411.1179
33 | 2671346.8657 | 1256437.2924
34 | 2671369.3082 | 1256479.7441
35 | 2671374.5325 | 1256525.3572
36 | 2671400.6328 | 1256524.2835
37 | 2671496.8003 | 1256477.7442
38 | 2671463.624 | 1256506.0355
39 | 2671514.8393 | 1256445.972
40 | 2671804.2156 | 1256926.3828
41 | 2671784.6329 | 1256924.9005
42 | 2671655.2316 | 1256875.6499
43 | 2671655.4275 | 1256909.6614
44 | 2671721.2103 | 1256848.0328
45 | 2671726.8515 | 1256881.0696
46 | 2671419.9125 | 1256975.9167
47 | 2671525.9086 | 1257000.3319
48 | 2671485.7913 | 1257065.6289
49 | 2671485.7358 | 1257067.8623
50 | 2671463.3179 | 1256418.4942
51 | 2671494.637 | 1256435.1979
52 | 2671552.6234 | 1257004.796
53 | 2671486.1285 | 1257116.3975
54 | 2671553.5915 | 1256998.9478
55 | 2671604.2515 | 1257004.7412
56 | 2671571.4617 | 1257007.5501
57 | 2671548.4307 | 1257029.8669
58 | 2671620.6602 | 1257010.2447
59 | 2671563.8673 | 1257037.2002
60 | 2671656.7519 | 1257003.354
61 | 2671669.0523 | 1257002.0241
62 | 2671657.71 | 1257013.9068
63 | 2671656.1782 | 1256999.0439
64 | 2671631.6673 | 1257009.9547
65 | 2671638.7565 | 1257009.7678
66 | 2671533.2312 | 1257119.3511
67 | 2671587.2667 | 1257118.8947
68 | 2671747.3385 | 1257156.0081
69 | 2671746.4893 | 1257105.3937
70 | 2671720.1808 | 1257156.8426
71 | 2671780.2599 | 1257064.1503
72 | 2671780.4816 | 1257048.4715
73 | 2671764.7802 | 1257064.5001
74 | 2671605.9349 | 1257190.7778
75 | 2671626.7157 | 1257197.1681
76 | 2671616.2308 | 1257169.1905
77 | 2671591.9336 | 1257118.4562
78 | 2671682.0188 | 1257195.9848
79 | 2671662.0057 | 1257199.0622
80 | 2671769.9448 | 1257104.7381
81 | 2671743.7519 | 1257064.9752
82 | 2671668.6837 | 1257146.7598
83 | 2671780.6132 | 1257039.1594
84 | 2671651.4666 | 1257196.3326
85 | 2671620.3472 | 1257160.0617
86 | 2671655.8106 | 1256953.878
87 | 2671656.0931 | 1256982.987
88 | 2671655.8049 | 1256953.2207
89 | 2671656.1049 | 1256985.2752
90 | 2671655.7415 | 1256945.8985
91 | 2671687.2457 | 1256999.7871
92 | 2671662.2157 | 1257013.5944
93 | 2671649.1042 | 1257054.1715
94 | 2671710.2146 | 1256997.8943
95 | 2671644.8732 | 1257072.8334
96 | 2671731.8155 | 1256937.5291
97 | 2671734.9629 | 1256926.5665
98 | 2671737.7857 | 1256968.0424
99 | 2671729.5635 | 1256913.2179
100 | 2671730.8532 | 1256997.469
101 | 2671781.1634 | 1257000.2363
102 | 2671780.8106 | 1257025.1956
103 | 2671799.3892 | 1257000.9267
104 | 2671722.012 | 1257066.8763
105 | 2671717.5167 | 1257067.2695
106 | 2671610.9077 | 1257115.1561
107 | 2671609.2582 | 1257115.035
108 | 2671635.3577 | 1257117.3794
109 | 2671632.5949 | 1257128.1984
110 | 2671638.5489 | 1257102.4401
111 | 2671647.478 | 1257132.7707
112 | 2671625.2897 | 1257148.4638
113 | 2671643.8743 | 1257077.5096
114 | 2671649.4864 | 1257134.2338
115 | 2671644.4946 | 1257074.6058
116 | 2671655.9961 | 1257197.5058
117 | 2671687.6874 | 1257058.5581
118 | 2671315.4833 | 1256539.2675
119 | 2671301.8482 | 1256536.5928
120 | 2671297.132 | 1256505.3361
121 | 2671290.29 | 1256540.5414
122 | 2671295.6358 | 1256495.1208
123 | 2671275.2486 | 1256495.9315
124 | 2671295.8905 | 1256484.5567
125 | 2671324.0132 | 1256493.3945
126 | 2671252.8895 | 1256531.876
127 | 2671265.1856 | 1256541.3121
128 | 2671247.8898 | 1256508.762
129 | 2671245.82 | 1256497.2784
130 | 2671246.2077 | 1256487.626
131 | 2671250.3517 | 1256471.0359
132 | 2671274.7704 | 1256483.9494
133 | 2671275.7901 | 1256508.0165
134 | 2671350.8701 | 1256526.6294
135 | 2671346.1342 | 1256503.2356
136 | 2671345.1442 | 1256492.2037
137 | 2671345.4206 | 1256482.078
138 | 2671323.5151 | 1256481.6373
139 | 2671324.7238 | 1256505.8578
140 | 2671347.5315 | 1256461.1758
141 | 2671347.014 | 1256446.5816
142 | 2671368.0684 | 1256446.1238
143 | 2671368.3458 | 1256453.6457
144 | 2671368.5043 | 1256457.944
145 | 2671298.5061 | 1256469.0917
146 | 2671312.2881 | 1256468.4518
147 | 2671287.2747 | 1256469.6273
148 | 2671262.0463 | 1256470.6016
149 | 2671250.0595 | 1256466.4957
150 | 2671459.8165 | 1256788.0933

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1