## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_94-4_1_6_node_11 | 0.4 | n |  | TRUE
1 | bus_LV_94-4_1_6_node_202 | 0.4 | n |  | TRUE
2 | bus_LV_94-4_1_6_node_176 | 0.4 | n |  | TRUE
3 | bus_LV_94-4_1_6_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_94-4_1_6_node_164 | 0.4 | n |  | TRUE
5 | bus_LV_94-4_1_6_node_161 | 0.4 | n |  | TRUE
6 | bus_LV_94-4_1_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_94-4_1_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_94-4_1_6_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_94-4_1_6_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_94-4_1_6_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_94-4_1_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_94-4_1_6_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_94-4_1_6_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_94-4_1_6_node_179 | 0.4 | n |  | TRUE
15 | bus_LV_94-4_1_6_node_174 | 0.4 | n |  | TRUE
16 | bus_LV_94-4_1_6_node_66 | 0.4 | n |  | TRUE
17 | bus_LV_94-4_1_6_node_162 | 0.4 | n |  | TRUE
18 | bus_LV_94-4_1_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_94-4_1_6_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_94-4_1_6_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_94-4_1_6_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_94-4_1_6_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_94-4_1_6_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_94-4_1_6_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_94-4_1_6_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_94-4_1_6_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_94-4_1_6_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_94-4_1_6_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_94-4_1_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_94-4_1_6_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_94-4_1_6_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_94-4_1_6_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_94-4_1_6_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_94-4_1_6_node_140 | 0.4 | n |  | TRUE
35 | bus_LV_94-4_1_6_node_137 | 0.4 | n |  | TRUE
36 | bus_LV_94-4_1_6_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_94-4_1_6_node_166 | 0.4 | n |  | TRUE
38 | bus_LV_94-4_1_6_node_138 | 0.4 | n |  | TRUE
39 | bus_LV_94-4_1_6_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_94-4_1_6_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_94-4_1_6_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_94-4_1_6_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_94-4_1_6_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_94-4_1_6_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_94-4_1_6_node_99 | 0.4 | n |  | TRUE
46 | bus_LV_94-4_1_6_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_94-4_1_6_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_94-4_1_6_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_94-4_1_6_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_94-4_1_6_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_94-4_1_6_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_94-4_1_6_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_94-4_1_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_94-4_1_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_94-4_1_6_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_94-4_1_6_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_94-4_1_6_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_94-4_1_6_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_94-4_1_6_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_94-4_1_6_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_94-4_1_6_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_94-4_1_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_94-4_1_6_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_94-4_1_6_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_94-4_1_6_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_94-4_1_6_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_94-4_1_6_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_94-4_1_6_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_94-4_1_6_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_94-4_1_6_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_94-4_1_6_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_94-4_1_6_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_94-4_1_6_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_94-4_1_6_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_94-4_1_6_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_94-4_1_6_node_141 | 0.4 | n |  | TRUE
77 | bus_LV_94-4_1_6_node_142 | 0.4 | n |  | TRUE
78 | bus_LV_94-4_1_6_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_94-4_1_6_node_201 | 0.4 | n |  | TRUE
80 | bus_LV_94-4_1_6_node_105 | 0.4 | n |  | TRUE
81 | bus_LV_94-4_1_6_node_147 | 0.4 | n |  | TRUE
82 | bus_LV_94-4_1_6_node_148 | 0.4 | n |  | TRUE
83 | bus_LV_94-4_1_6_node_107 | 0.4 | n |  | TRUE
84 | bus_LV_94-4_1_6_node_101 | 0.4 | n |  | TRUE
85 | bus_LV_94-4_1_6_node_106 | 0.4 | n |  | TRUE
86 | bus_LV_94-4_1_6_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_94-4_1_6_node_112 | 0.4 | n |  | TRUE
88 | bus_LV_94-4_1_6_node_129 | 0.4 | n |  | TRUE
89 | bus_LV_94-4_1_6_node_111 | 0.4 | n |  | TRUE
90 | bus_LV_94-4_1_6_node_108 | 0.4 | n |  | TRUE
91 | bus_LV_94-4_1_6_node_110 | 0.4 | n |  | TRUE
92 | bus_LV_94-4_1_6_node_130 | 0.4 | n |  | TRUE
93 | bus_LV_94-4_1_6_node_131 | 0.4 | n |  | TRUE
94 | bus_LV_94-4_1_6_node_113 | 0.4 | n |  | TRUE
95 | bus_LV_94-4_1_6_node_114 | 0.4 | n |  | TRUE
96 | bus_LV_94-4_1_6_node_115 | 0.4 | n |  | TRUE
97 | bus_LV_94-4_1_6_node_117 | 0.4 | n |  | TRUE
98 | bus_LV_94-4_1_6_node_125 | 0.4 | n |  | TRUE
99 | bus_LV_94-4_1_6_node_116 | 0.4 | n |  | TRUE
100 | bus_LV_94-4_1_6_node_118 | 0.4 | n |  | TRUE
101 | bus_LV_94-4_1_6_node_119 | 0.4 | n |  | TRUE
102 | bus_LV_94-4_1_6_node_120 | 0.4 | n |  | TRUE
103 | bus_LV_94-4_1_6_node_136 | 0.4 | n |  | TRUE
104 | bus_LV_94-4_1_6_node_144 | 0.4 | n |  | TRUE
105 | bus_LV_94-4_1_6_node_134 | 0.4 | n |  | TRUE
106 | bus_LV_94-4_1_6_node_143 | 0.4 | n |  | TRUE
107 | bus_LV_94-4_1_6_node_121 | 0.4 | n |  | TRUE
108 | bus_LV_94-4_1_6_node_122 | 0.4 | n |  | TRUE
109 | bus_LV_94-4_1_6_node_123 | 0.4 | n |  | TRUE
110 | bus_LV_94-4_1_6_node_124 | 0.4 | n |  | TRUE
111 | bus_LV_94-4_1_6_node_126 | 0.4 | n |  | TRUE
112 | bus_LV_94-4_1_6_node_127 | 0.4 | n |  | TRUE
113 | bus_LV_94-4_1_6_node_128 | 0.4 | n |  | TRUE
114 | bus_LV_94-4_1_6_node_132 | 0.4 | n |  | TRUE
115 | bus_LV_94-4_1_6_node_133 | 0.4 | n |  | TRUE
116 | bus_LV_94-4_1_6_node_135 | 0.4 | n |  | TRUE
117 | bus_LV_94-4_1_6_node_150 | 0.4 | n |  | TRUE
118 | bus_LV_94-4_1_6_node_149 | 0.4 | n |  | TRUE
119 | bus_LV_94-4_1_6_node_139 | 0.4 | n |  | TRUE
120 | bus_LV_94-4_1_6_node_167 | 0.4 | n |  | TRUE
121 | bus_LV_94-4_1_6_node_165 | 0.4 | n |  | TRUE
122 | bus_LV_94-4_1_6_node_145 | 0.4 | n |  | TRUE
123 | bus_LV_94-4_1_6_node_146 | 0.4 | n |  | TRUE
124 | bus_LV_94-4_1_6_node_159 | 0.4 | n |  | TRUE
125 | bus_LV_94-4_1_6_node_160 | 0.4 | n |  | TRUE
126 | bus_LV_94-4_1_6_node_158 | 0.4 | n |  | TRUE
127 | bus_LV_94-4_1_6_node_151 | 0.4 | n |  | TRUE
128 | bus_LV_94-4_1_6_node_152 | 0.4 | n |  | TRUE
129 | bus_LV_94-4_1_6_node_153 | 0.4 | n |  | TRUE
130 | bus_LV_94-4_1_6_node_154 | 0.4 | n |  | TRUE
131 | bus_LV_94-4_1_6_node_155 | 0.4 | n |  | TRUE
132 | bus_LV_94-4_1_6_node_156 | 0.4 | n |  | TRUE
133 | bus_LV_94-4_1_6_node_173 | 0.4 | n |  | TRUE
134 | bus_LV_94-4_1_6_node_171 | 0.4 | n |  | TRUE
135 | bus_LV_94-4_1_6_node_157 | 0.4 | n |  | TRUE
136 | bus_LV_94-4_1_6_node_189 | 0.4 | n |  | TRUE
137 | bus_LV_94-4_1_6_node_177 | 0.4 | n |  | TRUE
138 | bus_LV_94-4_1_6_node_172 | 0.4 | n |  | TRUE
139 | bus_LV_94-4_1_6_node_188 | 0.4 | n |  | TRUE
140 | bus_LV_94-4_1_6_node_186 | 0.4 | n |  | TRUE
141 | bus_LV_94-4_1_6_node_185 | 0.4 | n |  | TRUE
142 | bus_LV_94-4_1_6_node_168 | 0.4 | n |  | TRUE
143 | bus_LV_94-4_1_6_node_169 | 0.4 | n |  | TRUE
144 | bus_LV_94-4_1_6_node_170 | 0.4 | n |  | TRUE
145 | bus_LV_94-4_1_6_node_163 | 0.4 | n |  | TRUE
146 | bus_LV_94-4_1_6_node_175 | 0.4 | n |  | TRUE
147 | bus_LV_94-4_1_6_node_180 | 0.4 | n |  | TRUE
148 | bus_LV_94-4_1_6_node_178 | 0.4 | n |  | TRUE
149 | bus_LV_94-4_1_6_node_181 | 0.4 | n |  | TRUE
150 | bus_LV_94-4_1_6_node_182 | 0.4 | n |  | TRUE
151 | bus_LV_94-4_1_6_node_184 | 0.4 | n |  | TRUE
152 | bus_MV_352_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_94-4_1_6_load_202 | 1 | 0.0015266 | 0.00038259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_94-4_1_6_load_161 | 5 | 0.0021319 | 0.0005343 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_94-4_1_6_load_56 | 8 | 0.0041384 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_94-4_1_6_load_51 | 9 | 0.0077629 | 0.0019456 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_94-4_1_6_load_48 | 10 | 0.0017178 | 0.00043053 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_94-4_1_6_load_69 | 13 | 0.0047249 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_94-4_1_6_load_179 | 14 | 0.0027032 | 0.00067748 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_94-4_1_6_load_174 | 15 | 0.0049885 | 0.0012502 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_94-4_1_6_load_66 | 16 | 0.0026291 | 0.00065893 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_94-4_1_6_load_162 | 17 | 0.0026485 | 0.00066376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_94-4_1_6_load_58 | 18 | 0.016681 | 0.0041807 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_94-4_1_6_load_57 | 20 | 0.018418 | 0.004616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_94-4_1_6_load_52 | 21 | 0.02969 | 0.0074411 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_94-4_1_6_load_50 | 22 | 0.0054518 | 0.0013663 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_94-4_1_6_load_49 | 24 | 0.0017193 | 0.00043089 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_94-4_1_6_load_45 | 25 | 0.0069073 | 0.0017311 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_94-4_1_6_load_40 | 29 | 0.0077277 | 0.0019367 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_94-4_1_6_load_41 | 30 | 0.0017916 | 0.00044901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_94-4_1_6_load_43 | 31 | 0.0017885 | 0.00044823 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_94-4_1_6_load_46 | 33 | 0.0012775 | 0.00032017 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_94-4_1_6_load_140 | 34 | 0.0034925 | 0.0008753 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_94-4_1_6_load_137 | 35 | 0.0026004 | 0.00065172 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_94-4_1_6_load_47 | 36 | 0.0014142 | 0.00035443 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_94-4_1_6_load_166 | 37 | 0.011236 | 0.002816 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_94-4_1_6_load_138 | 38 | 0.0034443 | 0.00086321 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_94-4_1_6_load_54 | 39 | 0.0017768 | 0.0004453 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_94-4_1_6_load_55 | 40 | 0.0017213 | 0.0004314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_94-4_1_6_load_95 | 41 | 0.0029719 | 0.00074484 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_94-4_1_6_load_96 | 43 | 0.001941 | 0.00048646 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_94-4_1_6_load_99 | 45 | 0.0019155 | 0.00048006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_94-4_1_6_load_71 | 47 | 0.0023134 | 0.00057978 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_94-4_1_6_load_88 | 49 | 0.0046716 | 0.0011708 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_94-4_1_6_load_103 | 50 | 0.0044845 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_94-4_1_6_load_60 | 51 | 0.0037134 | 0.00093066 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_94-4_1_6_load_61 | 52 | 0.0027118 | 0.00067965 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_94-4_1_6_load_62 | 53 | 0.0017649 | 0.00044232 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_94-4_1_6_load_63 | 54 | 0.0025219 | 0.00063206 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_94-4_1_6_load_65 | 55 | 0.0023612 | 0.00059177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_94-4_1_6_load_67 | 56 | 0.0027051 | 0.00067797 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_94-4_1_6_load_68 | 57 | 0.0025275 | 0.00063345 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_94-4_1_6_load_72 | 58 | 0.002035 | 0.00051002 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_94-4_1_6_load_73 | 59 | 0.0018916 | 0.00047408 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_94-4_1_6_load_77 | 61 | 0.0024953 | 0.00062538 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_94-4_1_6_load_83 | 64 | 0.0016885 | 0.00042318 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_94-4_1_6_load_80 | 65 | 0.0016974 | 0.00042541 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_94-4_1_6_load_78 | 66 | 0.0031911 | 0.00079976 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_94-4_1_6_load_84 | 67 | 0.0029721 | 0.00074489 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_94-4_1_6_load_81 | 68 | 0.0027633 | 0.00069255 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_94-4_1_6_load_79 | 69 | 0.0038052 | 0.00095366 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_94-4_1_6_load_91 | 70 | 0.0030712 | 0.00076972 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_94-4_1_6_load_92 | 71 | 0.0064186 | 0.0016086 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_94-4_1_6_load_85 | 72 | 0.003805 | 0.00095363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_94-4_1_6_load_86 | 73 | 0.0038357 | 0.00096132 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_94-4_1_6_load_87 | 74 | 0.0027295 | 0.00068407 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_94-4_1_6_load_141 | 76 | 0.0037519 | 0.00094032 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_94-4_1_6_load_142 | 77 | 0.0030913 | 0.00077474 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_94-4_1_6_load_109 | 78 | 0.0061142 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_94-4_1_6_load_201 | 79 | 0.0086614 | 0.0021707 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_94-4_1_6_load_148 | 82 | 0.0037126 | 0.00093046 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_94-4_1_6_load_107 | 83 | 0.0041985 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_94-4_1_6_load_101 | 84 | 0.0024984 | 0.00062617 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_94-4_1_6_load_106 | 85 | 0.0057201 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_94-4_1_6_load_100 | 86 | 0.0048207 | 0.0012082 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_94-4_1_6_load_112 | 87 | 0.0029577 | 0.00074127 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_94-4_1_6_load_129 | 88 | 0.002373 | 0.00059473 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_94-4_1_6_load_111 | 89 | 0.0027505 | 0.00068935 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_94-4_1_6_load_108 | 90 | 0.0022646 | 0.00056757 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_94-4_1_6_load_110 | 91 | 0.0021748 | 0.00054506 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_94-4_1_6_load_130 | 92 | 0.0015688 | 0.00039318 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_94-4_1_6_load_131 | 93 | 0.0022721 | 0.00056943 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_94-4_1_6_load_114 | 95 | 0.0015736 | 0.00039438 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_94-4_1_6_load_115 | 96 | 0.0019614 | 0.00049158 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_94-4_1_6_load_117 | 97 | 0.0026087 | 0.00065381 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_94-4_1_6_load_125 | 98 | 0.0026296 | 0.00065904 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_94-4_1_6_load_116 | 99 | 0.0041334 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_94-4_1_6_load_119 | 101 | 0.0019884 | 0.00049834 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_94-4_1_6_load_136 | 103 | 0.0021816 | 0.00054675 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_94-4_1_6_load_144 | 104 | 0.0024508 | 0.00061423 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_94-4_1_6_load_134 | 105 | 0.0015556 | 0.00038988 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_94-4_1_6_load_143 | 106 | 0.0043542 | 0.0010913 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_94-4_1_6_load_121 | 107 | 0.0031614 | 0.00079232 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_94-4_1_6_load_122 | 108 | 0.0028134 | 0.0007051 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_94-4_1_6_load_123 | 109 | 0.0031646 | 0.00079313 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_94-4_1_6_load_124 | 110 | 0.0023143 | 0.00058002 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_94-4_1_6_load_126 | 111 | 0.0023655 | 0.00059285 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_94-4_1_6_load_127 | 112 | 0.0026077 | 0.00065356 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_94-4_1_6_load_128 | 113 | 0.0020451 | 0.00051255 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_94-4_1_6_load_132 | 114 | 0.0015836 | 0.0003969 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_94-4_1_6_load_133 | 115 | 0.0019592 | 0.00049103 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_94-4_1_6_load_150 | 117 | 0.0032824 | 0.00082265 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_94-4_1_6_load_149 | 118 | 0.0037611 | 0.00094263 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_94-4_1_6_load_139 | 119 | 0.0023509 | 0.0005892 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_94-4_1_6_load_167 | 120 | 0.0006421 | 0.00016093 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_94-4_1_6_load_165 | 121 | 0.0084773 | 0.0021246 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_94-4_1_6_load_145 | 122 | 0.0010903 | 0.00027325 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_94-4_1_6_load_146 | 123 | 0.0022838 | 0.00057237 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_94-4_1_6_load_160 | 125 | 0.0089528 | 0.0022438 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_94-4_1_6_load_151 | 127 | 0.00040579 | 0.0001017 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_94-4_1_6_load_152 | 128 | 0.0013586 | 0.0003405 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_94-4_1_6_load_155 | 131 | 0.0013913 | 0.0003487 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_94-4_1_6_load_156 | 132 | 0.0016143 | 0.00040457 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_94-4_1_6_load_173 | 133 | 0.00049966 | 0.00012523 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_94-4_1_6_load_171 | 134 | 0.0052083 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_94-4_1_6_load_157 | 135 | 0.0023806 | 0.00059663 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_94-4_1_6_load_189 | 136 | 0.0012528 | 0.00031397 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_94-4_1_6_load_177 | 137 | 0.0067833 | 0.0017001 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_94-4_1_6_load_172 | 138 | 0.0017743 | 0.00044467 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_94-4_1_6_load_188 | 139 | 0.00068968 | 0.00017285 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_94-4_1_6_load_186 | 140 | 0.0025749 | 0.00064532 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_94-4_1_6_load_185 | 141 | 0.00094017 | 0.00023563 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_94-4_1_6_load_170 | 144 | 0.0037408 | 0.00093753 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_94-4_1_6_load_163 | 145 | 0.0035204 | 0.00088229 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_94-4_1_6_load_175 | 146 | 0.0065702 | 0.0016466 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_94-4_1_6_load_180 | 147 | 0.0094708 | 0.0023736 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_94-4_1_6_load_178 | 148 | 0.002748 | 0.00068872 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_94-4_1_6_load_181 | 149 | 0.0008388 | 0.00021022 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_94-4_1_6_load_182 | 150 | 0.00039403 | 9.8753e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_94-4_1_6_line_0 |  | 0 | 1 | 0.083285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_94-4_1_6_line_1 |  | 0 | 2 | 0.10527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_94-4_1_6_line_2 |  | 2 | 14 | 0.029944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_94-4_1_6_line_3 |  | 3 | 4 | 0.042966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_94-4_1_6_line_4 |  | 3 | 5 | 0.030298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_94-4_1_6_line_5 |  | 4 | 15 | 0.030255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_94-4_1_6_line_6 |  | 5 | 17 | 0.0055963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_94-4_1_6_line_7 |  | 6 | 7 | 0.032521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_94-4_1_6_line_8 |  | 6 | 8 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_94-4_1_6_line_9 |  | 7 | 9 | 0.020181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_94-4_1_6_line_10 |  | 7 | 10 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_94-4_1_6_line_11 |  | 8 | 23 | 0.029046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_94-4_1_6_line_12 |  | 10 | 24 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_94-4_1_6_line_13 |  | 11 | 12 | 0.04412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_94-4_1_6_line_14 |  | 11 | 13 | 0.024818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_94-4_1_6_line_15 |  | 12 | 16 | 0.037845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_94-4_1_6_line_16 |  | 13 | 27 | 0.02734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_94-4_1_6_line_17 |  | 14 | 148 | 3.5676e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_94-4_1_6_line_18 |  | 15 | 146 | 0.0089915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_94-4_1_6_line_19 |  | 16 | 28 | 0.031812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_94-4_1_6_line_20 |  | 17 | 145 | 0.035563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_94-4_1_6_line_21 |  | 18 | 19 | 0.067397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_94-4_1_6_line_22 |  | 18 | 20 | 0.029888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_94-4_1_6_line_23 |  | 19 | 27 | 0.032437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_94-4_1_6_line_24 |  | 19 | 46 | 0.046437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_94-4_1_6_line_25 |  | 21 | 22 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_94-4_1_6_line_26 |  | 22 | 24 | 0.0085306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_94-4_1_6_line_27 |  | 23 | 39 | 0.014917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_94-4_1_6_line_28 |  | 23 | 40 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_94-4_1_6_line_29 |  | 25 | 26 | 0.041854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_94-4_1_6_line_30 |  | 26 | 32 | 0.01942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_94-4_1_6_line_31 |  | 26 | 29 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_94-4_1_6_line_32 |  | 27 | 47 | 0.035954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_94-4_1_6_line_33 |  | 28 | 53 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_94-4_1_6_line_34 |  | 29 | 30 | 0.0050579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_94-4_1_6_line_35 |  | 30 | 31 | 0.028956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_94-4_1_6_line_36 |  | 31 | 33 | 0.011125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_94-4_1_6_line_37 |  | 32 | 34 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_94-4_1_6_line_38 |  | 32 | 35 | 0.01517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_94-4_1_6_line_39 |  | 33 | 36 | 0.0084038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_94-4_1_6_line_40 |  | 34 | 37 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_94-4_1_6_line_41 |  | 35 | 38 | 0.0072347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_94-4_1_6_line_42 |  | 37 | 120 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_94-4_1_6_line_43 |  | 37 | 121 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_94-4_1_6_line_44 |  | 38 | 119 | 0.027229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_94-4_1_6_line_45 |  | 39 | 41 | 0.024262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_94-4_1_6_line_46 |  | 40 | 42 | 0.018212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_94-4_1_6_line_47 |  | 41 | 43 | 0.025604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_94-4_1_6_line_48 |  | 42 | 44 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_94-4_1_6_line_49 |  | 42 | 45 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_94-4_1_6_line_50 |  | 43 | 84 | 0.022523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_94-4_1_6_line_51 |  | 44 | 79 | 0.042539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_94-4_1_6_line_52 |  | 44 | 46 | 0.024901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_94-4_1_6_line_53 |  | 45 | 86 | 0.0073293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_94-4_1_6_line_54 |  | 46 | 50 | 0.052873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_94-4_1_6_line_55 |  | 46 | 48 | 0.016832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_94-4_1_6_line_56 |  | 47 | 60 | 0.00020459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_94-4_1_6_line_57 |  | 48 | 49 | 0.052212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_94-4_1_6_line_58 |  | 49 | 73 | 0.031765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_94-4_1_6_line_59 |  | 51 | 52 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_94-4_1_6_line_60 |  | 51 | 53 | 0.009915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_94-4_1_6_line_61 |  | 52 | 54 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_94-4_1_6_line_62 |  | 54 | 55 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_94-4_1_6_line_63 |  | 55 | 56 | 0.0058012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_94-4_1_6_line_64 |  | 56 | 57 | 0.0097135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_94-4_1_6_line_65 |  | 57 | 58 | 0.022092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_94-4_1_6_line_66 |  | 58 | 59 | 0.00091214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_94-4_1_6_line_67 |  | 59 | 62 | 0.022114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_94-4_1_6_line_68 |  | 60 | 61 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_94-4_1_6_line_69 |  | 61 | 66 | 0.0076053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_94-4_1_6_line_70 |  | 62 | 63 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_94-4_1_6_line_71 |  | 63 | 64 | 0.0048215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_94-4_1_6_line_72 |  | 63 | 65 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_94-4_1_6_line_73 |  | 64 | 67 | 0.029358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_94-4_1_6_line_74 |  | 65 | 68 | 0.0028452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_94-4_1_6_line_75 |  | 66 | 69 | 0.019515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_94-4_1_6_line_76 |  | 67 | 72 | 0.00053259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_94-4_1_6_line_77 |  | 69 | 70 | 0.0089794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_94-4_1_6_line_78 |  | 70 | 71 | 0.01471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_94-4_1_6_line_79 |  | 73 | 74 | 0.022302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_94-4_1_6_line_80 |  | 75 | 76 | 0.063071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_94-4_1_6_line_81 |  | 75 | 77 | 0.04253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_94-4_1_6_line_82 |  | 75 | 78 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_94-4_1_6_line_83 |  | 76 | 82 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_94-4_1_6_line_84 |  | 78 | 83 | 0.0054641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_94-4_1_6_line_85 |  | 79 | 80 | 0.026902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_94-4_1_6_line_86 |  | 80 | 81 | 0.008015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_94-4_1_6_line_87 |  | 81 | 88 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_94-4_1_6_line_88 |  | 83 | 90 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_94-4_1_6_line_89 |  | 84 | 85 | 0.03457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_94-4_1_6_line_90 |  | 85 | 87 | 0.038713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_94-4_1_6_line_91 |  | 87 | 89 | 0.027508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_94-4_1_6_line_92 |  | 88 | 113 | 0.013669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_94-4_1_6_line_93 |  | 89 | 94 | 0.0058208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_94-4_1_6_line_94 |  | 90 | 91 | 0.0098552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_94-4_1_6_line_95 |  | 91 | 92 | 0.065592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_94-4_1_6_line_96 |  | 92 | 93 | 0.0093068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_94-4_1_6_line_97 |  | 93 | 101 | 0.00066417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_94-4_1_6_line_98 |  | 94 | 95 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_94-4_1_6_line_99 |  | 94 | 96 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_94-4_1_6_line_100 |  | 95 | 97 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_94-4_1_6_line_101 |  | 96 | 98 | 0.0012322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_94-4_1_6_line_102 |  | 97 | 99 | 0.0086932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_94-4_1_6_line_103 |  | 99 | 100 | 0.025592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_94-4_1_6_line_104 |  | 100 | 101 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_94-4_1_6_line_105 |  | 100 | 102 | 0.01223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_94-4_1_6_line_106 |  | 102 | 103 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_94-4_1_6_line_107 |  | 102 | 104 | 0.015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_94-4_1_6_line_108 |  | 103 | 105 | 0.0021212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_94-4_1_6_line_109 |  | 104 | 106 | 0.0038714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_94-4_1_6_line_110 |  | 105 | 114 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_94-4_1_6_line_111 |  | 106 | 122 | 0.023984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_94-4_1_6_line_112 |  | 107 | 108 | 0.0072454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_94-4_1_6_line_113 |  | 107 | 109 | 0.0087339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_94-4_1_6_line_114 |  | 108 | 110 | 0.0067185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_94-4_1_6_line_115 |  | 110 | 111 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_94-4_1_6_line_116 |  | 111 | 112 | 0.0034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_94-4_1_6_line_117 |  | 112 | 113 | 0.026852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_94-4_1_6_line_118 |  | 114 | 115 | 0.01053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_94-4_1_6_line_119 |  | 115 | 116 | 0.010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_94-4_1_6_line_120 |  | 116 | 117 | 0.020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_94-4_1_6_line_121 |  | 116 | 118 | 0.019551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_94-4_1_6_line_122 |  | 120 | 147 | 0.010001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_94-4_1_6_line_123 |  | 121 | 145 | 0.0043261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_94-4_1_6_line_124 |  | 122 | 123 | 0.059159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
125 | LV_94-4_1_6_line_125 |  | 123 | 124 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_94-4_1_6_line_126 |  | 124 | 125 | 0.040471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_94-4_1_6_line_127 |  | 124 | 126 | 0.00325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_94-4_1_6_line_128 |  | 126 | 140 | 0.018926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_94-4_1_6_line_129 |  | 126 | 135 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
130 | LV_94-4_1_6_line_130 |  | 127 | 128 | 0.0020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_94-4_1_6_line_131 |  | 127 | 129 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
132 | LV_94-4_1_6_line_132 |  | 128 | 130 | 0.010677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_94-4_1_6_line_133 |  | 129 | 131 | 0.022401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_94-4_1_6_line_134 |  | 129 | 132 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_94-4_1_6_line_135 |  | 130 | 133 | 0.02099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_94-4_1_6_line_136 |  | 130 | 134 | 0.0061523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_94-4_1_6_line_137 |  | 131 | 135 | 0.0087086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_94-4_1_6_line_138 |  | 132 | 136 | 0.0023344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_94-4_1_6_line_139 |  | 133 | 137 | 0.0092045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_94-4_1_6_line_140 |  | 134 | 138 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_94-4_1_6_line_141 |  | 136 | 139 | 0.016203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_94-4_1_6_line_142 |  | 137 | 148 | 0.037131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_94-4_1_6_line_143 |  | 138 | 143 | 0.012341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_94-4_1_6_line_144 |  | 139 | 151 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_94-4_1_6_line_145 |  | 140 | 141 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_94-4_1_6_line_146 |  | 142 | 143 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_94-4_1_6_line_147 |  | 142 | 144 | 0.011538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_94-4_1_6_line_148 |  | 144 | 147 | 0.0099571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_94-4_1_6_line_149 |  | 149 | 150 | 0.0047962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_94-4_1_6_line_150 |  | 150 | 151 | 0.02045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_94-4_1_6_trafo_101 | 0.63 MVA 20/0.4 kV | 152 | 84 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2671289.3271 | 1257560.1751 | 2671282.1151 | 1257567.3491 | 2671279.9705 | 1257571.3707 | 2671281.4412 | 1257576.9704 | 2671296.5869 | 1257587.2047 | 2671310.6193 | 1257596.5918 | 2671317.1302 | 1257602.5412 | 2671318.1896 | 1257607.8579 | 2671316.5414 | 1257616.3555 | 2671315.0837 | 1257620.9413
1 | 2671390.3315 | 1257589.9807 | 2671333.642 | 1257577.0101 | 2671289.3271 | 1257560.1751
2 | 2671390.3315 | 1257589.9807 | 2671419.1304 | 1257598.1814
3 | 2671412.2763 | 1257506.6615 | 2671408.6719 | 1257526.6662 | 2671402.8055 | 1257548.5338
4 | 2671412.2763 | 1257506.6615 | 2671441.4899 | 1257514.6964
5 | 2671402.8055 | 1257548.5338 | 2671413.5928 | 1257552.5224 | 2671422.7328 | 1257554.3006 | 2671431.7608 | 1257557.0696
6 | 2671446.8858 | 1257516.1805 | 2671441.4899 | 1257514.6964
7 | 2671626.7854 | 1257391.3338 | 2671632.2593 | 1257387.019 | 2671653.0696 | 1257372.1932
8 | 2671653.0696 | 1257372.1932 | 2671662.7292 | 1257384.6304 | 2671667.4206 | 1257393.2491
9 | 2671626.7854 | 1257391.3338 | 2671631.6479 | 1257397.0301 | 2671642.8439 | 1257403.0066
10 | 2671626.7854 | 1257391.3338 | 2671616.2328 | 1257392.4837
11 | 2671673.2843 | 1257421.4965 | 2671673.1759 | 1257415.5019 | 2671670.3406 | 1257401.1903 | 2671667.4206 | 1257393.2491
12 | 2671616.2328 | 1257392.4837 | 2671612.1828 | 1257392.925 | 2671603.0445 | 1257394.3067
13 | 2671858.3344 | 1257404.1598 | 2671877.4408 | 1257393.7062 | 2671897.1955 | 1257383.2716
14 | 2671858.3344 | 1257404.1598 | 2671836.9416 | 1257416.7411
15 | 2671897.1955 | 1257383.2716 | 2671918.3562 | 1257414.6473
16 | 2671811.7847 | 1257427.3344 | 2671824.8335 | 1257422.667 | 2671836.735 | 1257416.8627 | 2671836.9416 | 1257416.7411
17 | 2671419.1647 | 1257598.1912 | 2671419.1304 | 1257598.1814
18 | 2671440.4207 | 1257559.4882 | 2671432.3187 | 1257557.2407 | 2671431.7608 | 1257557.0696
19 | 2671934.1945 | 1257441.7754 | 2671933.5195 | 1257437.1304 | 2671918.3562 | 1257414.6473
20 | 2671481.4728 | 1257524.287 | 2671467.4994 | 1257521.8501 | 2671446.8858 | 1257516.1805
21 | 2671781.0792 | 1257437.9589 | 2671780.315 | 1257433.2017 | 2671787.2732 | 1257387.9636 | 2671797.7858 | 1257374.8258
22 | 2671797.7858 | 1257374.8258 | 2671799.2725 | 1257370.9966 | 2671802.908 | 1257345.4743
23 | 2671811.7847 | 1257427.3344 | 2671784.1027 | 1257437.3506 | 2671781.0792 | 1257437.9589
24 | 2671736.0476 | 1257449.1548 | 2671746.1731 | 1257447.3984 | 2671756.1225 | 1257444.6169 | 2671781.0792 | 1257437.9589
25 | 2671594.6098 | 1257395.582 | 2671582.0184 | 1257397.4859 | 2671578.5835 | 1257397.6879
26 | 2671594.6098 | 1257395.582 | 2671603.0445 | 1257394.3067
27 | 2671673.2843 | 1257421.4965 | 2671671.6045 | 1257430.6941 | 2671670.9573 | 1257436.2235
28 | 2671673.2843 | 1257421.4965 | 2671685.1556 | 1257428.7331
29 | 2671515.3163 | 1257477.8727 | 2671514.4063 | 1257468.944 | 2671514.241 | 1257458.9123 | 2671515.7066 | 1257448.7003 | 2671518.4659 | 1257436.479
30 | 2671515.3163 | 1257477.8727 | 2671516.2595 | 1257485.9345 | 2671515.5124 | 1257497.2116
31 | 2671515.3163 | 1257477.8727 | 2671502.4895 | 1257476.1147
32 | 2671811.7847 | 1257427.3344 | 2671821.6361 | 1257453.1286 | 2671822.7133 | 1257461.4009
33 | 2671934.1945 | 1257441.7754 | 2671933.0087 | 1257448.1323 | 2671930.299 | 1257451.3918
34 | 2671502.4895 | 1257476.1147 | 2671497.4785 | 1257475.4279
35 | 2671469.7998 | 1257481.2995 | 2671475.2925 | 1257482.1926 | 2671479.8045 | 1257481.3353 | 2671492.2874 | 1257476.0488 | 2671497.0762 | 1257475.3728 | 2671497.4785 | 1257475.4279
36 | 2671458.819 | 1257479.514 | 2671458.819 | 1257479.514 | 2671469.7998 | 1257481.2995
37 | 2671515.5124 | 1257497.2116 | 2671515.0142 | 1257504.7445 | 2671513.7037 | 1257511.5249
38 | 2671515.5124 | 1257497.2116 | 2671522.1141 | 1257498.1364 | 2671524.8851 | 1257499.0817 | 2671528.1778 | 1257501.1564 | 2671529.1494 | 1257502.5327
39 | 2671458.819 | 1257479.514 | 2671456.2684 | 1257475.925 | 2671456.8848 | 1257471.972
40 | 2671509.905 | 1257529.4344 | 2671510.9684 | 1257525.6778 | 2671513.7037 | 1257511.5249
41 | 2671529.1494 | 1257502.5327 | 2671530.1572 | 1257503.9601 | 2671532.576 | 1257508.8855
42 | 2671509.905 | 1257529.4344 | 2671505.7171 | 1257541.4346
43 | 2671509.905 | 1257529.4344 | 2671497.7101 | 1257527.1187 | 2671485.7345 | 1257525.0302
44 | 2671551.7024 | 1257523.0901 | 2671548.3639 | 1257524.8066 | 2671545.4351 | 1257524.4376 | 2671542.1475 | 1257521.9516 | 2671537.4643 | 1257517.6363 | 2671534.4255 | 1257512.6515 | 2671532.576 | 1257508.8855
45 | 2671670.9573 | 1257436.2235 | 2671669.9643 | 1257444.7068 | 2671668.1164 | 1257460.3183
46 | 2671700.3571 | 1257438.7148 | 2671696.3985 | 1257435.5868 | 2671685.1556 | 1257428.7331
47 | 2671668.1164 | 1257460.3183 | 2671667.3016 | 1257467.2024 | 2671665.7178 | 1257485.8075
48 | 2671700.3571 | 1257438.7148 | 2671711.1349 | 1257447.2183 | 2671713.3 | 1257450.2467
49 | 2671700.3571 | 1257438.7148 | 2671698.9557 | 1257440.488 | 2671696.3943 | 1257456.3802
50 | 2671665.7178 | 1257485.8075 | 2671665.1741 | 1257492.1951 | 2671664.4238 | 1257508.29
51 | 2671713.3 | 1257450.2467 | 2671717.4449 | 1257456.0345 | 2671719.0779 | 1257461.9031 | 2671718.8111 | 1257476.4551 | 2671721.1418 | 1257488.2142 | 2671720.7374 | 1257490.971
52 | 2671713.3 | 1257450.2467 | 2671735.5263 | 1257451.7281 | 2671736.0476 | 1257449.1548
53 | 2671695.2281 | 1257463.6161 | 2671696.3943 | 1257456.3802
54 | 2671736.0476 | 1257449.1548 | 2671737.1847 | 1257441.8187 | 2671737.2186 | 1257431.5559 | 2671736.0832 | 1257396.3874
55 | 2671736.0476 | 1257449.1548 | 2671735.5263 | 1257451.7281 | 2671738.531 | 1257455.7787 | 2671739.8538 | 1257464.8458
56 | 2671822.7133 | 1257461.4009 | 2671822.7397 | 1257461.6038
57 | 2671739.8538 | 1257464.8458 | 2671737.3786 | 1257474.9567 | 2671734.5253 | 1257490.1333 | 2671730.9372 | 1257502.4768 | 2671728.9168 | 1257514.261 | 2671728.7055 | 1257515.7963
58 | 2671728.7055 | 1257515.7963 | 2671727.8089 | 1257522.3091 | 2671727.7595 | 1257530.737 | 2671728.501 | 1257539.23 | 2671730.1635 | 1257547.2982
59 | 2671922.9142 | 1257457.8254 | 2671912.6882 | 1257464.3033
60 | 2671922.9142 | 1257457.8254 | 2671927.2159 | 1257455.1005 | 2671930.299 | 1257451.3918
61 | 2671912.6882 | 1257464.3033 | 2671903.1729 | 1257470.3308 | 2671902.0685 | 1257470.9388
62 | 2671884.7053 | 1257480.4966 | 2671902.0685 | 1257470.9388
63 | 2671884.7053 | 1257480.4966 | 2671879.6232 | 1257483.2942
64 | 2671871.1137 | 1257487.9783 | 2671879.6232 | 1257483.2942
65 | 2671871.1137 | 1257487.9783 | 2671851.7599 | 1257498.6319
66 | 2671850.9609 | 1257499.0718 | 2671851.7599 | 1257498.6319
67 | 2671831.5884 | 1257509.7356 | 2671850.9609 | 1257499.0718
68 | 2671822.7397 | 1257461.6038 | 2671816.4973 | 1257462.1396 | 2671807.8352 | 1257464.9891
69 | 2671807.8352 | 1257464.9891 | 2671800.6108 | 1257467.3657
70 | 2671818.9654 | 1257515.3645 | 2671831.5884 | 1257509.7356
71 | 2671818.9654 | 1257515.3645 | 2671814.3807 | 1257516.8568
72 | 2671818.9654 | 1257515.3645 | 2671820.4147 | 1257519.5852 | 2671824.8942 | 1257529.9311
73 | 2671814.3807 | 1257516.8568 | 2671799.6007 | 1257521.6676 | 2671786.3057 | 1257525.4205
74 | 2671826.0247 | 1257532.5421 | 2671824.8942 | 1257529.9311
75 | 2671782.0736 | 1257473.4639 | 2671782.0736 | 1257473.4639 | 2671800.6108 | 1257467.3657
76 | 2671785.7931 | 1257525.5652 | 2671786.3057 | 1257525.4205
77 | 2671782.0736 | 1257473.4639 | 2671773.8351 | 1257477.0355
78 | 2671759.9996 | 1257481.8136 | 2671765.3819 | 1257480.7002 | 2671773.8351 | 1257477.0355
79 | 2671730.1635 | 1257547.2982 | 2671730.4879 | 1257548.8723 | 2671733.1181 | 1257557.6885 | 2671738.0675 | 1257568.0629
80 | 2671745.2788 | 1257675.9901 | 2671753.7502 | 1257651.4301 | 2671755.3102 | 1257642.7871 | 2671755.4555 | 1257634.5383 | 2671754.8242 | 1257629.3935 | 2671753.3281 | 1257619.7015 | 2671751.6019 | 1257614.9359
81 | 2671745.2788 | 1257675.9901 | 2671732.9739 | 1257707.6534 | 2671731.5381 | 1257712.2727 | 2671730.4346 | 1257715.8275
82 | 2671745.2788 | 1257675.9901 | 2671726.6092 | 1257669.3163
83 | 2671751.6019 | 1257614.9359 | 2671749.9501 | 1257610.3759 | 2671747.0704 | 1257603.934
84 | 2671721.4639 | 1257667.477 | 2671726.6092 | 1257669.3163
85 | 2671721.9958 | 1257516.0452 | 2671719.417 | 1257513.5565 | 2671717.7717 | 1257511.1904 | 2671720.7374 | 1257490.971
86 | 2671721.9958 | 1257516.0452 | 2671721.152 | 1257522.8289 | 2671721.1377 | 1257524.0073
87 | 2671721.1377 | 1257524.0073 | 2671714.5927 | 1257523.3832 | 2671711.0754 | 1257523.0514 | 2671707.4126 | 1257522.7066
88 | 2671721.4639 | 1257667.477 | 2671712.5981 | 1257664.3078 | 2671706.9568 | 1257664.4173
89 | 2671665.7806 | 1257542.8038 | 2671665.4017 | 1257538.7657 | 2671664.1452 | 1257514.2656 | 2671664.4238 | 1257508.29
90 | 2671665.7806 | 1257542.8038 | 2671667.4653 | 1257560.7625 | 2671667.8565 | 1257575.7783 | 2671667.5851 | 1257581.4264
91 | 2671663.7256 | 1257608.5903 | 2671667.0902 | 1257591.7253 | 2671667.5851 | 1257581.4264
92 | 2671695.0932 | 1257522.8516 | 2671695.1158 | 1257521.5348 | 2671696.72 | 1257521.6877 | 2671706.1948 | 1257522.592 | 2671707.4126 | 1257522.7066
93 | 2671662.5868 | 1257614.2986 | 2671663.7256 | 1257608.5903
94 | 2671706.9568 | 1257664.4173 | 2671706.9568 | 1257664.4173 | 2671702.7638 | 1257668.2027 | 2671701.211 | 1257672.1119
95 | 2671664.0384 | 1257690.8702 | 2671669.3208 | 1257693.3053 | 2671666.7367 | 1257701.8359 | 2671667.6312 | 1257702.0691 | 2671674.8274 | 1257703.6907 | 2671679.079 | 1257699.4168 | 2671683.1449 | 1257695.5409 | 2671689.968 | 1257691.2426 | 2671695.2431 | 1257687.1368 | 2671701.211 | 1257672.1119
96 | 2671664.0384 | 1257690.8702 | 2671662.0625 | 1257689.9594 | 2671655.5405 | 1257687.0756
97 | 2671654.933 | 1257686.807 | 2671655.5405 | 1257687.0756
98 | 2671662.5868 | 1257614.2986 | 2671658.481 | 1257627.6922 | 2671656.0851 | 1257633.3109
99 | 2671662.5868 | 1257614.2986 | 2671667.8846 | 1257615.1634 | 2671680.6018 | 1257619.8844
100 | 2671656.0851 | 1257633.3109 | 2671651.1317 | 1257644.9271 | 2671650.0385 | 1257647.2791
101 | 2671680.6018 | 1257619.8844 | 2671681.757 | 1257620.3133
102 | 2671646.3744 | 1257655.1624 | 2671650.0385 | 1257647.2791
103 | 2671635.6986 | 1257678.4207 | 2671640.2776 | 1257668.2797 | 2671646.3744 | 1257655.1624
104 | 2671635.6986 | 1257678.4207 | 2671641.3992 | 1257680.8915 | 2671644.61 | 1257682.2425 | 2671654.933 | 1257686.807
105 | 2671630.5801 | 1257689.5337 | 2671635.6986 | 1257678.4207
106 | 2671630.5801 | 1257689.5337 | 2671622.3163 | 1257708.4173
107 | 2671630.5801 | 1257689.5337 | 2671616.5836 | 1257682.8553
108 | 2671621.4659 | 1257710.3606 | 2671622.3163 | 1257708.4173
109 | 2671616.5836 | 1257682.8553 | 2671613.0896 | 1257681.1881
110 | 2671621.4659 | 1257710.3606 | 2671619.4134 | 1257715.0508 | 2671616.4344 | 1257720.2152
111 | 2671591.4434 | 1257670.8596 | 2671613.0896 | 1257681.1881
112 | 2671702.395 | 1257584.1471 | 2671701.1411 | 1257577.0111
113 | 2671702.395 | 1257584.1471 | 2671702.395 | 1257584.1471 | 2671701.1856 | 1257592.7968
114 | 2671701.1411 | 1257577.0111 | 2671699.9784 | 1257570.394
115 | 2671696.9176 | 1257552.9755 | 2671699.9784 | 1257570.394
116 | 2671696.3287 | 1257549.6241 | 2671696.9176 | 1257552.9755
117 | 2671695.0932 | 1257522.8516 | 2671695.0128 | 1257527.5491 | 2671694.9808 | 1257529.5614 | 2671695.5458 | 1257545.1686 | 2671696.3287 | 1257549.6241
118 | 2671611.173 | 1257729.3365 | 2671616.4344 | 1257720.2152
119 | 2671606.1203 | 1257738.096 | 2671611.173 | 1257729.3365
120 | 2671606.1203 | 1257738.096 | 2671600.1639 | 1257744.9291 | 2671593.4309 | 1257754.1118
121 | 2671606.1203 | 1257738.096 | 2671612.3456 | 1257742.0631 | 2671615.7763 | 1257747.0528 | 2671618.1283 | 1257752.6965
122 | 2671502.4154 | 1257550.8751 | 2671504.0391 | 1257546.2426 | 2671505.7171 | 1257541.4346
123 | 2671481.4728 | 1257524.287 | 2671485.7345 | 1257525.0302
124 | 2671591.4434 | 1257670.8596 | 2671585.629 | 1257668.0853 | 2671584.8076 | 1257667.4193 | 2671581.0593 | 1257664.3717 | 2671573.3534 | 1257661.2429 | 2671563.2332 | 1257660.1087 | 2671556.5532 | 1257660.0612 | 2671552.1844 | 1257650.3346 | 2671542.0294 | 1257650.8233 | 2671541.2113 | 1257650.836
125 | 2671519.5696 | 1257646.2598 | 2671522.4163 | 1257646.5499 | 2671534.782 | 1257650.9359 | 2671541.2113 | 1257650.836
126 | 2671519.5696 | 1257646.2598 | 2671521.8169 | 1257625.0267 | 2671521.7988 | 1257615.9198 | 2671519.1709 | 1257606.2587
127 | 2671519.5696 | 1257646.2598 | 2671519.3871 | 1257649.5044
128 | 2671519.3871 | 1257649.5044 | 2671518.3162 | 1257661.378 | 2671517.6016 | 1257668.3452
129 | 2671519.3871 | 1257649.5044 | 2671505.9037 | 1257648.1246
130 | 2671481.3261 | 1257626.9876 | 2671481.0555 | 1257628.0701 | 2671480.725 | 1257628.9715
131 | 2671475.6894 | 1257640.9704 | 2671477.4922 | 1257637.7898 | 2671480.725 | 1257628.9715
132 | 2671483.9157 | 1257616.6295 | 2671481.3261 | 1257626.9876
133 | 2671475.6894 | 1257640.9704 | 2671497.2723 | 1257646.9688
134 | 2671475.6894 | 1257640.9704 | 2671472.5845 | 1257646.4481 | 2671471.6707 | 1257650.1999
135 | 2671483.9157 | 1257616.6295 | 2671463.7283 | 1257610.881
136 | 2671483.9157 | 1257616.6295 | 2671485.4959 | 1257610.6835
137 | 2671505.9037 | 1257648.1246 | 2671505.7111 | 1257648.1049 | 2671499.7189 | 1257647.2986 | 2671497.2723 | 1257646.9688 | 2671497.2723 | 1257646.9688
138 | 2671471.6707 | 1257650.1999 | 2671471.1183 | 1257652.468
139 | 2671463.7283 | 1257610.881 | 2671454.8757 | 1257608.3601
140 | 2671489.5855 | 1257595.2944 | 2671485.4959 | 1257610.6835
141 | 2671466.8166 | 1257668.0816 | 2671469.1255 | 1257660.6502 | 2671471.1183 | 1257652.468
142 | 2671419.1647 | 1257598.1912 | 2671454.8757 | 1257608.3601
143 | 2671492.7551 | 1257583.3672 | 2671489.5855 | 1257595.2944
144 | 2671462.1445 | 1257680.5251 | 2671465.5873 | 1257672.0382 | 2671466.8166 | 1257668.0816
145 | 2671517.6016 | 1257668.3452 | 2671516.5307 | 1257678.7868
146 | 2671495.9765 | 1257571.375 | 2671492.7551 | 1257583.3672
147 | 2671495.9765 | 1257571.375 | 2671499.1926 | 1257560.2943
148 | 2671502.4154 | 1257550.8751 | 2671499.5721 | 1257558.987 | 2671499.1926 | 1257560.2943
149 | 2671478.5263 | 1257699.7146 | 2671475.205 | 1257696.2546
150 | 2671462.1445 | 1257680.5251 | 2671474.0558 | 1257695.0574 | 2671475.205 | 1257696.2546

## bus_geodata
| x | y | coords
0 | 2671289.3271 | 1257560.1751
1 | 2671315.0837 | 1257620.9413
2 | 2671390.3315 | 1257589.9807
3 | 2671412.2763 | 1257506.6615
4 | 2671402.8055 | 1257548.5338
5 | 2671441.4899 | 1257514.6964
6 | 2671653.0696 | 1257372.1932
7 | 2671626.7854 | 1257391.3338
8 | 2671667.4206 | 1257393.2491
9 | 2671642.8439 | 1257403.0066
10 | 2671616.2328 | 1257392.4837
11 | 2671858.3344 | 1257404.1598
12 | 2671897.1955 | 1257383.2716
13 | 2671836.9416 | 1257416.7411
14 | 2671419.1304 | 1257598.1814
15 | 2671431.7608 | 1257557.0696
16 | 2671918.3562 | 1257414.6473
17 | 2671446.8858 | 1257516.1805
18 | 2671797.7858 | 1257374.8258
19 | 2671781.0792 | 1257437.9589
20 | 2671802.908 | 1257345.4743
21 | 2671578.5835 | 1257397.6879
22 | 2671594.6098 | 1257395.582
23 | 2671673.2843 | 1257421.4965
24 | 2671603.0445 | 1257394.3067
25 | 2671518.4659 | 1257436.479
26 | 2671515.3163 | 1257477.8727
27 | 2671811.7847 | 1257427.3344
28 | 2671934.1945 | 1257441.7754
29 | 2671502.4895 | 1257476.1147
30 | 2671497.4785 | 1257475.4279
31 | 2671469.7998 | 1257481.2995
32 | 2671515.5124 | 1257497.2116
33 | 2671458.819 | 1257479.514
34 | 2671513.7037 | 1257511.5249
35 | 2671529.1494 | 1257502.5327
36 | 2671456.8848 | 1257471.972
37 | 2671509.905 | 1257529.4344
38 | 2671532.576 | 1257508.8855
39 | 2671670.9573 | 1257436.2235
40 | 2671685.1556 | 1257428.7331
41 | 2671668.1164 | 1257460.3183
42 | 2671700.3571 | 1257438.7148
43 | 2671665.7178 | 1257485.8075
44 | 2671713.3 | 1257450.2467
45 | 2671696.3943 | 1257456.3802
46 | 2671736.0476 | 1257449.1548
47 | 2671822.7133 | 1257461.4009
48 | 2671739.8538 | 1257464.8458
49 | 2671728.7055 | 1257515.7963
50 | 2671736.0832 | 1257396.3874
51 | 2671922.9142 | 1257457.8254
52 | 2671912.6882 | 1257464.3033
53 | 2671930.299 | 1257451.3918
54 | 2671902.0685 | 1257470.9388
55 | 2671884.7053 | 1257480.4966
56 | 2671879.6232 | 1257483.2942
57 | 2671871.1137 | 1257487.9783
58 | 2671851.7599 | 1257498.6319
59 | 2671850.9609 | 1257499.0718
60 | 2671822.7397 | 1257461.6038
61 | 2671807.8352 | 1257464.9891
62 | 2671831.5884 | 1257509.7356
63 | 2671818.9654 | 1257515.3645
64 | 2671814.3807 | 1257516.8568
65 | 2671824.8942 | 1257529.9311
66 | 2671800.6108 | 1257467.3657
67 | 2671786.3057 | 1257525.4205
68 | 2671826.0247 | 1257532.5421
69 | 2671782.0736 | 1257473.4639
70 | 2671773.8351 | 1257477.0355
71 | 2671759.9996 | 1257481.8136
72 | 2671785.7931 | 1257525.5652
73 | 2671730.1635 | 1257547.2982
74 | 2671738.0675 | 1257568.0629
75 | 2671745.2788 | 1257675.9901
76 | 2671751.6019 | 1257614.9359
77 | 2671730.4346 | 1257715.8275
78 | 2671726.6092 | 1257669.3163
79 | 2671720.7374 | 1257490.971
80 | 2671721.9958 | 1257516.0452
81 | 2671721.1377 | 1257524.0073
82 | 2671747.0704 | 1257603.934
83 | 2671721.4639 | 1257667.477
84 | 2671664.4238 | 1257508.29
85 | 2671665.7806 | 1257542.8038
86 | 2671695.2281 | 1257463.6161
87 | 2671667.5851 | 1257581.4264
88 | 2671707.4126 | 1257522.7066
89 | 2671663.7256 | 1257608.5903
90 | 2671706.9568 | 1257664.4173
91 | 2671701.211 | 1257672.1119
92 | 2671664.0384 | 1257690.8702
93 | 2671655.5405 | 1257687.0756
94 | 2671662.5868 | 1257614.2986
95 | 2671656.0851 | 1257633.3109
96 | 2671680.6018 | 1257619.8844
97 | 2671650.0385 | 1257647.2791
98 | 2671681.757 | 1257620.3133
99 | 2671646.3744 | 1257655.1624
100 | 2671635.6986 | 1257678.4207
101 | 2671654.933 | 1257686.807
102 | 2671630.5801 | 1257689.5337
103 | 2671622.3163 | 1257708.4173
104 | 2671616.5836 | 1257682.8553
105 | 2671621.4659 | 1257710.3606
106 | 2671613.0896 | 1257681.1881
107 | 2671702.395 | 1257584.1471
108 | 2671701.1411 | 1257577.0111
109 | 2671701.1856 | 1257592.7968
110 | 2671699.9784 | 1257570.394
111 | 2671696.9176 | 1257552.9755
112 | 2671696.3287 | 1257549.6241
113 | 2671695.0932 | 1257522.8516
114 | 2671616.4344 | 1257720.2152
115 | 2671611.1731 | 1257729.3365
116 | 2671606.1203 | 1257738.096
117 | 2671593.4309 | 1257754.1118
118 | 2671618.1283 | 1257752.6965
119 | 2671551.7024 | 1257523.0901
120 | 2671505.7171 | 1257541.4346
121 | 2671485.7345 | 1257525.0302
122 | 2671591.4434 | 1257670.8596
123 | 2671541.2113 | 1257650.836
124 | 2671519.5696 | 1257646.2598
125 | 2671519.1709 | 1257606.2587
126 | 2671519.3872 | 1257649.5044
127 | 2671480.725 | 1257628.9715
128 | 2671481.3261 | 1257626.9876
129 | 2671475.6894 | 1257640.9704
130 | 2671483.9157 | 1257616.6295
131 | 2671497.2723 | 1257646.9688
132 | 2671471.6707 | 1257650.1999
133 | 2671463.7283 | 1257610.881
134 | 2671485.4959 | 1257610.6835
135 | 2671505.9037 | 1257648.1246
136 | 2671471.1183 | 1257652.468
137 | 2671454.8757 | 1257608.3601
138 | 2671489.5855 | 1257595.2944
139 | 2671466.8166 | 1257668.0816
140 | 2671517.6016 | 1257668.3452
141 | 2671516.5307 | 1257678.7868
142 | 2671495.9765 | 1257571.375
143 | 2671492.7551 | 1257583.3672
144 | 2671499.1926 | 1257560.2943
145 | 2671481.4728 | 1257524.287
146 | 2671440.4207 | 1257559.4882
147 | 2671502.4154 | 1257550.8751
148 | 2671419.1647 | 1257598.1912
149 | 2671478.5263 | 1257699.7146
150 | 2671475.205 | 1257696.2546
151 | 2671462.1445 | 1257680.5251
152 | 2671673.2843 | 1257421.4965

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1