## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_94-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_94-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_94-5_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_94-5_0_4_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_94-5_0_4_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_94-5_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_94-5_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_94-5_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_94-5_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_94-5_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_94-5_0_4_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_94-5_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_94-5_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_94-5_0_4_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_94-5_0_4_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_94-5_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_94-5_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_94-5_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_94-5_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_94-5_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_94-5_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_94-5_0_4_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_94-5_0_4_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_94-5_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_94-5_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_94-5_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_94-5_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_94-5_0_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_94-5_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_94-5_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_94-5_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_94-5_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_94-5_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_94-5_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_94-5_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_94-5_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_94-5_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_94-5_0_4_node_116 | 0.4 | n |  | TRUE
38 | bus_LV_94-5_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_94-5_0_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_94-5_0_4_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_94-5_0_4_node_115 | 0.4 | n |  | TRUE
42 | bus_LV_94-5_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_94-5_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_94-5_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_94-5_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_94-5_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_94-5_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_94-5_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_94-5_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_94-5_0_4_node_90 | 0.4 | n |  | TRUE
51 | bus_LV_94-5_0_4_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_94-5_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_94-5_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_94-5_0_4_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_94-5_0_4_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_94-5_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_94-5_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_94-5_0_4_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_94-5_0_4_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_94-5_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_94-5_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_94-5_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_94-5_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_94-5_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_94-5_0_4_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_94-5_0_4_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_94-5_0_4_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_94-5_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_94-5_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_94-5_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_94-5_0_4_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_94-5_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_94-5_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_94-5_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_94-5_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_94-5_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_94-5_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_94-5_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_94-5_0_4_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_94-5_0_4_node_118 | 0.4 | n |  | TRUE
81 | bus_LV_94-5_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_94-5_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_94-5_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_94-5_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_94-5_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_94-5_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_94-5_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_94-5_0_4_node_108 | 0.4 | n |  | TRUE
89 | bus_LV_94-5_0_4_node_107 | 0.4 | n |  | TRUE
90 | bus_LV_94-5_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_94-5_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_94-5_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_94-5_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_94-5_0_4_node_109 | 0.4 | n |  | TRUE
95 | bus_LV_94-5_0_4_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_94-5_0_4_node_119 | 0.4 | n |  | TRUE
97 | bus_LV_94-5_0_4_node_114 | 0.4 | n |  | TRUE
98 | bus_LV_94-5_0_4_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_94-5_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_94-5_0_4_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_94-5_0_4_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_94-5_0_4_node_111 | 0.4 | n |  | TRUE
103 | bus_LV_94-5_0_4_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_94-5_0_4_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_94-5_0_4_node_99 | 0.4 | n |  | TRUE
106 | bus_LV_94-5_0_4_node_101 | 0.4 | n |  | TRUE
107 | bus_LV_94-5_0_4_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_94-5_0_4_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_94-5_0_4_node_121 | 0.4 | n |  | TRUE
110 | bus_LV_94-5_0_4_node_105 | 0.4 | n |  | TRUE
111 | bus_MV_352_0_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_94-5_0_4_load_0 | 0 | 0.0011718 | 0.00029368 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_94-5_0_4_load_1 | 1 | 0.0022311 | 0.00055916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_94-5_0_4_load_3 | 2 | 0.00073228 | 0.00018353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_94-5_0_4_load_16 | 4 | 0.0014798 | 0.00037087 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_94-5_0_4_load_13 | 5 | 0.0050016 | 0.0012535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_94-5_0_4_load_4 | 6 | 0.0064961 | 0.0016281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_94-5_0_4_load_8 | 8 | 0.0027198 | 0.00068164 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_94-5_0_4_load_9 | 9 | 0.00065225 | 0.00016347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_94-5_0_4_load_10 | 11 | 0.0023511 | 0.00058925 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_94-5_0_4_load_11 | 12 | 0.00074253 | 0.0001861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_94-5_0_4_load_64 | 13 | 0.023604 | 0.0059156 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_94-5_0_4_load_12 | 15 | 0.0026198 | 0.00065658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_94-5_0_4_load_15 | 16 | 0.008224 | 0.0020611 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_94-5_0_4_load_18 | 18 | 0.0027011 | 0.00067695 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_94-5_0_4_load_47 | 20 | 0.0017172 | 0.00043038 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_94-5_0_4_load_66 | 22 | 0.0060095 | 0.0015061 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_94-5_0_4_load_38 | 23 | 0.0072987 | 0.0018292 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_94-5_0_4_load_46 | 25 | 0.015969 | 0.0040022 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_94-5_0_4_load_36 | 29 | 0.0022938 | 0.00057487 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_94-5_0_4_load_65 | 30 | 0.0086306 | 0.002163 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_94-5_0_4_load_20 | 31 | 0.0035358 | 0.00088616 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_94-5_0_4_load_21 | 32 | 0.0045169 | 0.001132 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_94-5_0_4_load_23 | 34 | 0.0073781 | 0.0018491 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_94-5_0_4_load_25 | 36 | 0.0023831 | 0.00059727 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_94-5_0_4_load_116 | 37 | 0.0024627 | 0.00061721 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_94-5_0_4_load_49 | 38 | 0.0063785 | 0.0015986 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_94-5_0_4_load_48 | 39 | 0.0023807 | 0.00059666 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_94-5_0_4_load_117 | 40 | 0.0013145 | 0.00032945 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_94-5_0_4_load_115 | 41 | 0.00088307 | 0.00022132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_94-5_0_4_load_62 | 42 | 0.0035094 | 0.00087953 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_94-5_0_4_load_27 | 43 | 0.025368 | 0.0063578 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_94-5_0_4_load_28 | 44 | 0.022937 | 0.0057485 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_94-5_0_4_load_30 | 46 | 0.011727 | 0.0029392 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_94-5_0_4_load_63 | 48 | 0.018602 | 0.0046621 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_94-5_0_4_load_90 | 50 | 0.0030705 | 0.00076954 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_94-5_0_4_load_89 | 51 | 0.0080471 | 0.0020168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_94-5_0_4_load_53 | 52 | 0.026627 | 0.0066733 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_94-5_0_4_load_51 | 53 | 0.021072 | 0.0052812 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_94-5_0_4_load_33 | 55 | 0.0018247 | 0.0004573 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_94-5_0_4_load_34 | 56 | 0.0017199 | 0.00043105 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_94-5_0_4_load_35 | 57 | 0.0047044 | 0.001179 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_94-5_0_4_load_37 | 58 | 0.0036475 | 0.00091414 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_94-5_0_4_load_44 | 59 | 0.0084207 | 0.0021104 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_94-5_0_4_load_56 | 60 | 0.010026 | 0.0025128 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_94-5_0_4_load_45 | 61 | 0.023994 | 0.0060134 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_94-5_0_4_load_58 | 62 | 0.0086861 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_94-5_0_4_load_57 | 63 | 0.010265 | 0.0025726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_94-5_0_4_load_106 | 66 | 0.0012991 | 0.00032559 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_94-5_0_4_load_96 | 67 | 0.0011761 | 0.00029475 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_94-5_0_4_load_55 | 68 | 0.0058276 | 0.0014605 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_94-5_0_4_load_71 | 69 | 0.0077775 | 0.0019492 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_94-5_0_4_load_70 | 73 | 0.0014577 | 0.00036533 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_94-5_0_4_load_61 | 74 | 0.015021 | 0.0037646 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_94-5_0_4_load_68 | 75 | 0.0031163 | 0.00078101 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_94-5_0_4_load_69 | 76 | 0.0030348 | 0.00076058 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_94-5_0_4_load_67 | 77 | 0.0061894 | 0.0015512 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_94-5_0_4_load_92 | 78 | 0.0033045 | 0.0008282 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_94-5_0_4_load_91 | 79 | 0.0067211 | 0.0016845 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_94-5_0_4_load_85 | 81 | 0.006587 | 0.0016509 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_94-5_0_4_load_79 | 82 | 0.0052222 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_94-5_0_4_load_76 | 84 | 0.012788 | 0.0032049 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_94-5_0_4_load_80 | 85 | 0.0053017 | 0.0013287 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_94-5_0_4_load_108 | 88 | 0.0143 | 0.0035839 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_94-5_0_4_load_107 | 89 | 0.0044194 | 0.0011076 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_94-5_0_4_load_83 | 90 | 0.012092 | 0.0030307 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_94-5_0_4_load_84 | 91 | 0.014662 | 0.0036746 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_94-5_0_4_load_86 | 92 | 0.017725 | 0.0044422 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_94-5_0_4_load_119 | 96 | 0.0013432 | 0.00033663 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_94-5_0_4_load_114 | 97 | 0.001916 | 0.00048019 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_94-5_0_4_load_112 | 98 | 0.0088106 | 0.0022081 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_94-5_0_4_load_93 | 99 | 0.004303 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_94-5_0_4_load_111 | 102 | 0.014736 | 0.0036933 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_94-5_0_4_load_100 | 103 | 0.0019836 | 0.00049714 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_94-5_0_4_load_95 | 104 | 0.0011464 | 0.00028731 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_94-5_0_4_load_99 | 105 | 0.009697 | 0.0024303 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_94-5_0_4_load_104 | 108 | 0.0022133 | 0.0005547 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_94-5_0_4_load_121 | 109 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_94-5_0_4_load_105 | 110 | 0.0015831 | 0.00039676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_94-5_0_4_line_0 |  | 0 | 1 | 0.036011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_94-5_0_4_line_1 |  | 1 | 2 | 0.0023194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_94-5_0_4_line_2 |  | 2 | 3 | 0.12385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_94-5_0_4_line_3 |  | 3 | 4 | 0.011885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_94-5_0_4_line_4 |  | 3 | 5 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_94-5_0_4_line_5 |  | 4 | 16 | 0.001084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_94-5_0_4_line_6 |  | 5 | 15 | 0.017347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_94-5_0_4_line_7 |  | 6 | 7 | 0.00089491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_94-5_0_4_line_8 |  | 7 | 8 | 0.027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_94-5_0_4_line_9 |  | 7 | 9 | 0.012764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_94-5_0_4_line_10 |  | 9 | 10 | 0.028938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_94-5_0_4_line_11 |  | 10 | 13 | 0.014242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_94-5_0_4_line_12 |  | 10 | 14 | 0.008731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_94-5_0_4_line_13 |  | 11 | 12 | 0.050768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_94-5_0_4_line_14 |  | 12 | 15 | 0.0060496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_94-5_0_4_line_15 |  | 13 | 63 | 0.0016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_94-5_0_4_line_16 |  | 14 | 68 | 0.025855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_94-5_0_4_line_17 |  | 14 | 53 | 0.014644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_94-5_0_4_line_18 |  | 16 | 17 | 0.03993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_94-5_0_4_line_19 |  | 17 | 18 | 0.019964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_94-5_0_4_line_20 |  | 17 | 19 | 0.027211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_94-5_0_4_line_21 |  | 18 | 20 | 0.019445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_94-5_0_4_line_22 |  | 19 | 21 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_94-5_0_4_line_23 |  | 19 | 22 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_94-5_0_4_line_24 |  | 21 | 23 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_94-5_0_4_line_25 |  | 22 | 30 | 0.00052616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_94-5_0_4_line_26 |  | 23 | 26 | 0.019442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_94-5_0_4_line_27 |  | 24 | 25 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_94-5_0_4_line_28 |  | 24 | 26 | 0.009562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_94-5_0_4_line_29 |  | 25 | 61 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_94-5_0_4_line_30 |  | 26 | 59 | 0.013896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_94-5_0_4_line_31 |  | 27 | 28 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_94-5_0_4_line_32 |  | 27 | 29 | 0.0090105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_94-5_0_4_line_33 |  | 28 | 62 | 0.006017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_94-5_0_4_line_34 |  | 28 | 48 | 0.023129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_94-5_0_4_line_35 |  | 29 | 56 | 0.0032775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_94-5_0_4_line_36 |  | 30 | 77 | 0.028997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_94-5_0_4_line_37 |  | 31 | 32 | 0.020983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_94-5_0_4_line_38 |  | 31 | 33 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_94-5_0_4_line_39 |  | 33 | 34 | 0.043607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_94-5_0_4_line_40 |  | 33 | 35 | 0.070709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_94-5_0_4_line_41 |  | 34 | 36 | 0.0047173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_94-5_0_4_line_42 |  | 34 | 37 | 0.10045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_94-5_0_4_line_43 |  | 35 | 38 | 0.024661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_94-5_0_4_line_44 |  | 35 | 39 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_94-5_0_4_line_45 |  | 37 | 41 | 0.0124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_94-5_0_4_line_46 |  | 38 | 42 | 0.029372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_94-5_0_4_line_47 |  | 40 | 41 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_94-5_0_4_line_48 |  | 42 | 64 | 0.02972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_94-5_0_4_line_49 |  | 43 | 44 | 0.0019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_94-5_0_4_line_50 |  | 43 | 45 | 0.02327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_94-5_0_4_line_51 |  | 44 | 46 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_94-5_0_4_line_52 |  | 45 | 47 | 0.019344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_94-5_0_4_line_53 |  | 46 | 48 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_94-5_0_4_line_54 |  | 47 | 52 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_94-5_0_4_line_55 |  | 47 | 53 | 0.0092654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_94-5_0_4_line_56 |  | 49 | 50 | 0.026845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_94-5_0_4_line_57 |  | 49 | 51 | 0.022816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_94-5_0_4_line_58 |  | 50 | 54 | 0.038832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_94-5_0_4_line_59 |  | 54 | 97 | 0.019506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_94-5_0_4_line_60 |  | 54 | 98 | 0.020948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_94-5_0_4_line_61 |  | 55 | 56 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_94-5_0_4_line_62 |  | 55 | 57 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_94-5_0_4_line_63 |  | 57 | 58 | 0.0079364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_94-5_0_4_line_64 |  | 59 | 60 | 0.014254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_94-5_0_4_line_65 |  | 60 | 63 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_94-5_0_4_line_66 |  | 62 | 64 | 0.026557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_94-5_0_4_line_67 |  | 64 | 74 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_94-5_0_4_line_68 |  | 65 | 66 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_94-5_0_4_line_69 |  | 65 | 67 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_94-5_0_4_line_70 |  | 66 | 100 | 0.055293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_94-5_0_4_line_71 |  | 67 | 104 | 0.054802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_94-5_0_4_line_72 |  | 68 | 69 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_94-5_0_4_line_73 |  | 69 | 73 | 0.0060515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_94-5_0_4_line_74 |  | 70 | 71 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_94-5_0_4_line_75 |  | 70 | 72 | 0.016032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_94-5_0_4_line_76 |  | 71 | 80 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_94-5_0_4_line_77 |  | 71 | 81 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_94-5_0_4_line_78 |  | 72 | 73 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_94-5_0_4_line_79 |  | 74 | 75 | 0.0036025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_94-5_0_4_line_80 |  | 75 | 76 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_94-5_0_4_line_81 |  | 76 | 78 | 0.016071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_94-5_0_4_line_82 |  | 78 | 79 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_94-5_0_4_line_83 |  | 79 | 99 | 0.0073617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_94-5_0_4_line_84 |  | 80 | 96 | 0.027405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_94-5_0_4_line_85 |  | 81 | 90 | 0.031927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_94-5_0_4_line_86 |  | 82 | 83 | 0.020376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_94-5_0_4_line_87 |  | 83 | 85 | 0.032868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_94-5_0_4_line_88 |  | 83 | 84 | 0.039995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_94-5_0_4_line_89 |  | 85 | 86 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_94-5_0_4_line_90 |  | 86 | 87 | 0.013882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_94-5_0_4_line_91 |  | 87 | 88 | 0.058167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_94-5_0_4_line_92 |  | 88 | 89 | 0.0039364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_94-5_0_4_line_93 |  | 89 | 94 | 0.031956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_94-5_0_4_line_94 |  | 90 | 91 | 0.01751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_94-5_0_4_line_95 |  | 92 | 93 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_94-5_0_4_line_96 |  | 93 | 94 | 0.025503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_94-5_0_4_line_97 |  | 93 | 95 | 0.006958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_94-5_0_4_line_98 |  | 95 | 97 | 0.03433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_94-5_0_4_line_99 |  | 98 | 102 | 0.0087682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_94-5_0_4_line_100 |  | 99 | 100 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_94-5_0_4_line_101 |  | 100 | 101 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_94-5_0_4_line_102 |  | 101 | 102 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_94-5_0_4_line_103 |  | 101 | 103 | 0.018647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_94-5_0_4_line_104 |  | 103 | 105 | 0.00039855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_94-5_0_4_line_105 |  | 105 | 106 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_94-5_0_4_line_106 |  | 106 | 107 | 0.047992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_94-5_0_4_line_107 |  | 106 | 108 | 0.03994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_94-5_0_4_line_108 |  | 107 | 109 | 0.085348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_94-5_0_4_line_109 |  | 108 | 110 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_94-5_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 111 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2671387.9819 | 1257002.6581 | 2671388.5554 | 1257016.5579 | 2671387.9613 | 1257038.6494
1 | 2671387.899 | 1257040.968 | 2671387.9613 | 1257038.6494
2 | 2671486.1285 | 1257116.3975 | 2671387.899 | 1257040.968
3 | 2671486.1285 | 1257116.3975 | 2671487.2189 | 1257128.2322
4 | 2671486.1285 | 1257116.3975 | 2671490.1114 | 1257116.29 | 2671500.9384 | 1257113.9301
5 | 2671487.3184 | 1257129.3117 | 2671487.2189 | 1257128.2322
6 | 2671518.197 | 1257115.6783 | 2671500.9384 | 1257113.9301 | 2671500.9384 | 1257113.9301
7 | 2671606.3207 | 1257189.9703 | 2671605.9349 | 1257190.7778
8 | 2671605.9349 | 1257190.7778 | 2671632.5017 | 1257198.9474
9 | 2671605.9349 | 1257190.7778 | 2671600.03 | 1257202.0942
10 | 2671586.6432 | 1257227.7496 | 2671600.03 | 1257202.0942
11 | 2671586.6432 | 1257227.7496 | 2671584.9617 | 1257227.1177 | 2671580.1401 | 1257224.2573 | 2671573.8775 | 1257221.5074
12 | 2671586.6432 | 1257227.7496 | 2671583.183 | 1257235.7693
13 | 2671574.4455 | 1257119.9472 | 2671572.8191 | 1257120.0585 | 2671553.5461 | 1257119.9477 | 2671543.175 | 1257120.1448 | 2671532.176 | 1257119.2668 | 2671524.1483 | 1257116.6035
14 | 2671518.197 | 1257115.6783 | 2671522.75 | 1257116.1396 | 2671524.1483 | 1257116.6035
15 | 2671573.8775 | 1257221.5074 | 2671572.3755 | 1257220.848
16 | 2671583.183 | 1257235.7693 | 2671589.3202 | 1257238.3454 | 2671608.3316 | 1257241.0247
17 | 2671583.183 | 1257235.7693 | 2671578.4584 | 1257246.7091 | 2671577.6414 | 1257249.3119
18 | 2671490.9819 | 1257169.0728 | 2671487.3184 | 1257129.3117
19 | 2671490.9819 | 1257169.0728 | 2671510.8934 | 1257170.5189
20 | 2671490.4044 | 1257196.2748 | 2671490.9819 | 1257169.0728
21 | 2671530.2876 | 1257171.9274 | 2671510.8934 | 1257170.5189
22 | 2671490.4044 | 1257196.2748 | 2671490.2767 | 1257199.976 | 2671496.8868 | 1257200.2338
23 | 2671490.4044 | 1257196.2748 | 2671468.3492 | 1257194.7683
24 | 2671496.8868 | 1257200.2338 | 2671499.8339 | 1257200.3472 | 2671509.2974 | 1257201.8238
25 | 2671467.8242 | 1257194.7324 | 2671468.3492 | 1257194.7683
26 | 2671528.4226 | 1257205.1961 | 2671525.6349 | 1257204.3729 | 2671509.2974 | 1257201.8238
27 | 2671527.3427 | 1257214.6789 | 2671524.2811 | 1257229.0303 | 2671523.0074 | 1257230.2269 | 2671523.0074 | 1257230.2269
28 | 2671527.3427 | 1257214.6789 | 2671527.9857 | 1257207.0255 | 2671528.4226 | 1257205.1961
29 | 2671508.2256 | 1257228.1054 | 2671521.2392 | 1257230.528 | 2671523.0074 | 1257230.2269
30 | 2671528.4226 | 1257205.1961 | 2671541.7469 | 1257209.1404
31 | 2671491.8252 | 1257267.7893 | 2671491.4892 | 1257261.892 | 2671490.5835 | 1257247.6038
32 | 2671490.5835 | 1257247.6038 | 2671481.5927 | 1257247.0086
33 | 2671491.8252 | 1257267.7893 | 2671492.432 | 1257273.7756
34 | 2671491.8252 | 1257267.7893 | 2671499.818 | 1257267.808 | 2671508.5711 | 1257268.5698 | 2671514.8382 | 1257269.5928
35 | 2671478.3224 | 1257246.7921 | 2671481.5927 | 1257247.0086
36 | 2671447.7975 | 1257184.5408 | 2671447.6911 | 1257193.3572 | 2671467.8242 | 1257194.7324
37 | 2671345.8578 | 1257255.5197 | 2671344.8268 | 1257276.4777
38 | 2671343.7202 | 1257298.9705 | 2671344.8268 | 1257276.4777
39 | 2671343.7202 | 1257298.9705 | 2671300.3246 | 1257294.6798
40 | 2671414.2399 | 1257306.4817 | 2671343.7202 | 1257298.9705
41 | 2671295.6302 | 1257294.2156 | 2671300.3246 | 1257294.6798
42 | 2671300.3246 | 1257294.6798 | 2671293.3138 | 1257394.8805
43 | 2671414.2399 | 1257306.4817 | 2671438.8818 | 1257305.5089
44 | 2671414.2399 | 1257306.4817 | 2671413.8033 | 1257293.3 | 2671414.221 | 1257288.2189
45 | 2671305.7015 | 1257395.4429 | 2671293.3138 | 1257394.8805
46 | 2671468.2335 | 1257304.4098 | 2671444.4393 | 1257305.2895 | 2671438.8818 | 1257305.5089
47 | 2671305.7015 | 1257395.4429 | 2671309.2638 | 1257395.6046 | 2671318.07 | 1257396.1561
48 | 2671497.4714 | 1257299.7588 | 2671489.3599 | 1257302.0737 | 2671475.4979 | 1257304.1412 | 2671468.2335 | 1257304.4098
49 | 2671546.5094 | 1257274.1042 | 2671544.5859 | 1257273.8533
50 | 2671569.604 | 1257276.7688 | 2671567.8073 | 1257276.3134 | 2671562.3772 | 1257275.7585 | 2671553.8873 | 1257275.0665 | 2671546.5094 | 1257274.1042
51 | 2671544.5859 | 1257273.8533 | 2671542.1424 | 1257273.5345 | 2671530.8963 | 1257272.1061
52 | 2671574.8664 | 1257258.152 | 2671569.604 | 1257276.7688
53 | 2671514.8382 | 1257269.5928 | 2671527.9199 | 1257271.7281 | 2671530.8963 | 1257272.1061
54 | 2671574.8664 | 1257258.152 | 2671593.7019 | 1257261.8908
55 | 2671574.8664 | 1257258.152 | 2671577.6414 | 1257249.3119
56 | 2671560.2812 | 1257333.7204 | 2671562.4485 | 1257349.6695 | 2671565.4228 | 1257359.9989
57 | 2671560.2812 | 1257333.7204 | 2671568.2401 | 1257332.8048 | 2671582.9903 | 1257334.0756
58 | 2671573.3935 | 1257397.9931 | 2671572.0406 | 1257390.7714 | 2671566.2912 | 1257363.0147 | 2671565.4228 | 1257359.9989
59 | 2671573.3935 | 1257397.9931 | 2671582.0184 | 1257397.4859 | 2671592.7623 | 1257395.8614
60 | 2671573.3935 | 1257397.9931 | 2671563.4367 | 1257398.273 | 2671552.6153 | 1257396.3712
61 | 2671455.2212 | 1257245.1507 | 2671463.6697 | 1257245.8221 | 2671478.3224 | 1257246.7921
62 | 2671455.2212 | 1257245.1507 | 2671446.6743 | 1257244.4715 | 2671436.5904 | 1257245.9121
63 | 2671436.5904 | 1257245.9121 | 2671428.7337 | 1257247.0344
64 | 2671541.7469 | 1257209.1404 | 2671553.917 | 1257212.743 | 2671555.3475 | 1257213.3711
65 | 2671555.3475 | 1257213.3711 | 2671572.3755 | 1257220.848
66 | 2671497.4714 | 1257299.7588 | 2671493.6443 | 1257285.7356 | 2671492.432 | 1257273.7756
67 | 2671497.4714 | 1257299.7588 | 2671500.9244 | 1257304.8043 | 2671503.4682 | 1257309.0717
68 | 2671446.9918 | 1257361.8065 | 2671468.2021 | 1257363.8672
69 | 2671446.9918 | 1257361.8065 | 2671445.7946 | 1257372.974
70 | 2671522.9279 | 1257370.3073 | 2671517.2275 | 1257370.9056 | 2671498.8294 | 1257367.7255 | 2671487.3768 | 1257365.7302 | 2671468.2021 | 1257363.8672
71 | 2671434.004 | 1257426.3491 | 2671437.5559 | 1257415.7437 | 2671444.4595 | 1257385.4268 | 2671445.7946 | 1257372.974
72 | 2671608.3316 | 1257241.0247 | 2671611.7607 | 1257241.5079 | 2671611.3185 | 1257244.4047 | 2671610.6374 | 1257247.7212 | 2671612.3738 | 1257248.009
73 | 2671618.3438 | 1257248.9985 | 2671612.3738 | 1257248.009
74 | 2671631.0602 | 1257269.3064 | 2671631.5104 | 1257274.4712 | 2671630.9382 | 1257279.379
75 | 2671631.0602 | 1257269.3064 | 2671632.9771 | 1257259.211 | 2671637.3658 | 1257255.4724
76 | 2671630.9382 | 1257279.379 | 2671636.5071 | 1257280.3026 | 2671644.4087 | 1257281.6325
77 | 2671630.9382 | 1257279.379 | 2671629.5196 | 1257291.9793
78 | 2671637.3658 | 1257255.4724 | 2671630.4673 | 1257251.0079 | 2671618.3438 | 1257248.9985
79 | 2671503.4682 | 1257309.0717 | 2671505.3129 | 1257312.1661
80 | 2671505.3129 | 1257312.1661 | 2671506.1053 | 1257313.4955 | 2671510.329 | 1257321.5302 | 2671510.9873 | 1257323.4192
81 | 2671515.4601 | 1257338.8351 | 2671513.419 | 1257330.3963 | 2671510.9873 | 1257323.4192
82 | 2671518.8598 | 1257352.9934 | 2671518.0153 | 1257349.3992 | 2671515.4601 | 1257338.8351
83 | 2671518.8598 | 1257352.9934 | 2671520.5436 | 1257360.1599
84 | 2671644.4087 | 1257281.6325 | 2671671.3043 | 1257286.1502 | 2671671.279 | 1257286.2803
85 | 2671630.8167 | 1257323.4021 | 2671630.5754 | 1257316.8245 | 2671629.1969 | 1257314.8397 | 2671628.564 | 1257300.4659 | 2671629.5196 | 1257291.9793
86 | 2671741.5715 | 1257284.6111 | 2671737.1849 | 1257284.4467 | 2671737.3386 | 1257282.3359 | 2671736.3516 | 1257282.2683 | 2671723.8328 | 1257279.2356
87 | 2671741.5715 | 1257284.6111 | 2671740.1711 | 1257306.8217 | 2671739.2736 | 1257317.3966
88 | 2671741.5715 | 1257284.6111 | 2671746.9828 | 1257284.8546 | 2671746.823 | 1257289.3227 | 2671748.0812 | 1257289.4157 | 2671752.3292 | 1257287.3323 | 2671774.4516 | 1257296.9284
89 | 2671738.3677 | 1257328.0711 | 2671739.2736 | 1257317.3966
90 | 2671738.3677 | 1257328.0711 | 2671737.5286 | 1257341.9267
91 | 2671737.5286 | 1257341.9267 | 2671719.5234 | 1257341.1636 | 2671702.2714 | 1257341.0991 | 2671694.3623 | 1257342.8824 | 2671685.9392 | 1257347.8841 | 2671681.9274 | 1257350.8511
92 | 2671678.7625 | 1257353.1918 | 2671681.9274 | 1257350.8511
93 | 2671653.0696 | 1257372.1932 | 2671678.7625 | 1257353.1918
94 | 2671630.8167 | 1257323.4021 | 2671631.4587 | 1257340.9002
95 | 2671632.2593 | 1257387.019 | 2671630.0401 | 1257383.4673 | 2671631.5499 | 1257382.0846 | 2671631.9735 | 1257375.8481
96 | 2671653.0696 | 1257372.1932 | 2671632.2593 | 1257387.019
97 | 2671626.7854 | 1257391.3338 | 2671632.2593 | 1257387.019
98 | 2671626.7854 | 1257391.3338 | 2671612.1828 | 1257392.925 | 2671592.7623 | 1257395.8614
99 | 2671543.9795 | 1257394.8535 | 2671552.6153 | 1257396.3712
100 | 2671522.9279 | 1257370.3073 | 2671520.5436 | 1257360.1599
101 | 2671529.3305 | 1257393.9466 | 2671526.3573 | 1257387.2724 | 2671522.9279 | 1257370.3073
102 | 2671529.3305 | 1257393.9466 | 2671536.055 | 1257393.4608 | 2671543.9795 | 1257394.8535
103 | 2671529.3305 | 1257393.9466 | 2671526.7169 | 1257401.187 | 2671524.237 | 1257411.8515
104 | 2671524.1467 | 1257412.2397 | 2671524.237 | 1257411.8515
105 | 2671519.8176 | 1257430.492 | 2671521.5548 | 1257423.3855 | 2671524.1467 | 1257412.2397
106 | 2671519.8176 | 1257430.492 | 2671515.7066 | 1257448.7003 | 2671514.241 | 1257458.9123 | 2671514.4063 | 1257468.944 | 2671515.3163 | 1257477.8727
107 | 2671519.8176 | 1257430.492 | 2671485.1924 | 1257424.2026 | 2671480.5117 | 1257423.4064
108 | 2671459.8158 | 1257453.1733 | 2671456.2684 | 1257475.925 | 2671458.819 | 1257479.514 | 2671475.2925 | 1257482.1926 | 2671479.8045 | 1257481.3353 | 2671492.2874 | 1257476.0488 | 2671497.0762 | 1257475.3728 | 2671515.3163 | 1257477.8727
109 | 2671465.9232 | 1257429.4739 | 2671467.377 | 1257426.4781 | 2671471.6873 | 1257423.5947 | 2671477.3815 | 1257422.874 | 2671480.5117 | 1257423.4064

## bus_geodata
| x | y | coords
0 | 2671387.9819 | 1257002.6581
1 | 2671387.9613 | 1257038.6494
2 | 2671387.899 | 1257040.968
3 | 2671486.1285 | 1257116.3975
4 | 2671487.2189 | 1257128.2322
5 | 2671500.9384 | 1257113.9301
6 | 2671606.3207 | 1257189.9703
7 | 2671605.9349 | 1257190.7778
8 | 2671632.5017 | 1257198.9474
9 | 2671600.03 | 1257202.0942
10 | 2671586.6432 | 1257227.7496
11 | 2671574.4455 | 1257119.9472
12 | 2671524.1483 | 1257116.6035
13 | 2671573.8775 | 1257221.5074
14 | 2671583.183 | 1257235.7693
15 | 2671518.197 | 1257115.6783
16 | 2671487.3184 | 1257129.3117
17 | 2671490.9819 | 1257169.0728
18 | 2671510.8934 | 1257170.5189
19 | 2671490.4044 | 1257196.2748
20 | 2671530.2876 | 1257171.9274
21 | 2671496.8868 | 1257200.2338
22 | 2671468.3492 | 1257194.7683
23 | 2671509.2974 | 1257201.8238
24 | 2671527.3427 | 1257214.6789
25 | 2671523.0074 | 1257230.2269
26 | 2671528.4226 | 1257205.1961
27 | 2671490.5835 | 1257247.6038
28 | 2671491.8252 | 1257267.7893
29 | 2671481.5927 | 1257247.0086
30 | 2671467.8242 | 1257194.7324
31 | 2671344.8268 | 1257276.4777
32 | 2671345.8578 | 1257255.5197
33 | 2671343.7202 | 1257298.9705
34 | 2671300.3246 | 1257294.6798
35 | 2671414.2399 | 1257306.4817
36 | 2671295.6302 | 1257294.2156
37 | 2671293.3138 | 1257394.8805
38 | 2671438.8818 | 1257305.5089
39 | 2671414.221 | 1257288.2189
40 | 2671318.07 | 1257396.1561
41 | 2671305.7015 | 1257395.4429
42 | 2671468.2335 | 1257304.4098
43 | 2671546.5094 | 1257274.1042
44 | 2671544.5859 | 1257273.8533
45 | 2671569.604 | 1257276.7688
46 | 2671530.8963 | 1257272.1061
47 | 2671574.8664 | 1257258.152
48 | 2671514.8382 | 1257269.5928
49 | 2671560.2812 | 1257333.7204
50 | 2671565.4228 | 1257359.9989
51 | 2671582.9903 | 1257334.0756
52 | 2671593.7019 | 1257261.8908
53 | 2671577.6414 | 1257249.3119
54 | 2671573.3935 | 1257397.9931
55 | 2671455.2212 | 1257245.1507
56 | 2671478.3224 | 1257246.7921
57 | 2671436.5904 | 1257245.9121
58 | 2671428.7337 | 1257247.0344
59 | 2671541.7469 | 1257209.1404
60 | 2671555.3475 | 1257213.3711
61 | 2671508.2256 | 1257228.1054
62 | 2671492.432 | 1257273.7756
63 | 2671572.3755 | 1257220.848
64 | 2671497.4714 | 1257299.7588
65 | 2671446.9918 | 1257361.8065
66 | 2671468.2021 | 1257363.8672
67 | 2671445.7946 | 1257372.974
68 | 2671608.3316 | 1257241.0247
69 | 2671612.3738 | 1257248.009
70 | 2671631.0602 | 1257269.3064
71 | 2671630.9382 | 1257279.379
72 | 2671637.3658 | 1257255.4724
73 | 2671618.3438 | 1257248.9985
74 | 2671503.4682 | 1257309.0717
75 | 2671505.3129 | 1257312.1661
76 | 2671510.9873 | 1257323.4192
77 | 2671447.7975 | 1257184.5408
78 | 2671515.4601 | 1257338.8351
79 | 2671518.8598 | 1257352.9934
80 | 2671644.4087 | 1257281.6325
81 | 2671629.5196 | 1257291.9793
82 | 2671723.8328 | 1257279.2356
83 | 2671741.5715 | 1257284.6111
84 | 2671774.4516 | 1257296.9284
85 | 2671739.2736 | 1257317.3966
86 | 2671738.3677 | 1257328.0711
87 | 2671737.5286 | 1257341.9267
88 | 2671681.9274 | 1257350.8511
89 | 2671678.7625 | 1257353.1918
90 | 2671630.8167 | 1257323.4021
91 | 2671631.4587 | 1257340.9002
92 | 2671631.9735 | 1257375.8481
93 | 2671632.2593 | 1257387.019
94 | 2671653.0696 | 1257372.1932
95 | 2671626.7854 | 1257391.3338
96 | 2671671.279 | 1257286.2803
97 | 2671592.7623 | 1257395.8614
98 | 2671552.6153 | 1257396.3712
99 | 2671520.5436 | 1257360.1599
100 | 2671522.9279 | 1257370.3073
101 | 2671529.3305 | 1257393.9466
102 | 2671543.9795 | 1257394.8535
103 | 2671524.237 | 1257411.8515
104 | 2671434.004 | 1257426.3491
105 | 2671524.1467 | 1257412.2397
106 | 2671519.8176 | 1257430.492
107 | 2671515.3163 | 1257477.8727
108 | 2671480.5117 | 1257423.4064
109 | 2671459.8158 | 1257453.1733
110 | 2671465.9232 | 1257429.4739
111 | 2671569.604 | 1257276.7688

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1