## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_97-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_97-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_97-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_97-12_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_97-12_0_3_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_97-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_97-12_0_3_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_97-12_0_3_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_97-12_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_97-12_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_97-12_0_3_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_97-12_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_97-12_0_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_97-12_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_97-12_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_97-12_0_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_97-12_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_97-12_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_97-12_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_97-12_0_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_97-12_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_97-12_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_97-12_0_3_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_97-12_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_97-12_0_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_97-12_0_3_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_97-12_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_97-12_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_97-12_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_97-12_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_97-12_0_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_97-12_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_97-12_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_97-12_0_3_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_97-12_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_97-12_0_3_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_97-12_0_3_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_97-12_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_97-12_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_97-12_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_97-12_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_97-12_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_97-12_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_97-12_0_3_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_97-12_0_3_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_97-12_0_3_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_97-12_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_97-12_0_3_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_97-12_0_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_97-12_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_97-12_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_97-12_0_3_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_97-12_0_3_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_97-12_0_3_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_97-12_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_97-12_0_3_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_97-12_0_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_97-12_0_3_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_97-12_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_97-12_0_3_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_97-12_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_97-12_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_97-12_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_97-12_0_3_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_97-12_0_3_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_97-12_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_97-12_0_3_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_97-12_0_3_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_97-12_0_3_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_97-12_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_97-12_0_3_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_97-12_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_97-12_0_3_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_97-12_0_3_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_97-12_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_97-12_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_97-12_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_MV_468_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_97-12_0_3_load_0 | 0 | 0.0082345 | 0.0020638 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_97-12_0_3_load_1 | 1 | 0.0052338 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_97-12_0_3_load_53 | 4 | 0.016487 | 0.0041321 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_97-12_0_3_load_79 | 7 | 0.00047868 | 0.00011997 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_97-12_0_3_load_45 | 10 | 0.013634 | 0.003417 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_97-12_0_3_load_52 | 12 | 0.010457 | 0.0026208 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_97-12_0_3_load_42 | 14 | 0.038974 | 0.0097679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_97-12_0_3_load_54 | 19 | 0.0017041 | 0.0004271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_97-12_0_3_load_48 | 22 | 0.0053922 | 0.0013514 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_97-12_0_3_load_82 | 25 | 0.0038029 | 0.00095309 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_97-12_0_3_load_56 | 26 | 0.012327 | 0.0030895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_97-12_0_3_load_83 | 30 | 0.022316 | 0.005593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_97-12_0_3_load_51 | 33 | 0.0091095 | 0.0022831 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_97-12_0_3_load_49 | 37 | 0.0013723 | 0.00034393 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_97-12_0_3_load_36 | 38 | 0.016535 | 0.0041441 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_97-12_0_3_load_33 | 41 | 0.013449 | 0.0033705 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_97-12_0_3_load_68 | 44 | 0.012557 | 0.003147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_97-12_0_3_load_46 | 45 | 0.023604 | 0.0059158 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_97-12_0_3_load_70 | 48 | 0.015349 | 0.0038467 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_97-12_0_3_load_65 | 50 | 0.011811 | 0.0029601 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_97-12_0_3_load_73 | 53 | 0.00156 | 0.00039098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_97-12_0_3_load_72 | 54 | 0.011879 | 0.0029772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_97-12_0_3_load_76 | 56 | 0.00062327 | 0.0001562 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_97-12_0_3_load_81 | 57 | 0.00047868 | 0.00011997 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_97-12_0_3_load_47 | 58 | 0.0097843 | 0.0024522 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_97-12_0_3_load_44 | 60 | 0.0085739 | 0.0021488 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_97-12_0_3_load_41 | 61 | 0.012512 | 0.0031358 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_97-12_0_3_load_78 | 63 | 0.00062291 | 0.00015612 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_97-12_0_3_load_37 | 64 | 0.0063711 | 0.0015968 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_97-12_0_3_load_57 | 65 | 0.0010591 | 0.00026544 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_97-12_0_3_load_35 | 66 | 0.012999 | 0.0032577 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_97-12_0_3_load_34 | 67 | 0.013451 | 0.0033712 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_97-12_0_3_load_69 | 68 | 0.010859 | 0.0027216 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_97-12_0_3_load_60 | 69 | 0.0025455 | 0.00063796 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_97-12_0_3_load_59 | 70 | 0.0026512 | 0.00066445 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_97-12_0_3_load_58 | 73 | 0.0010599 | 0.00026564 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_97-12_0_3_load_61 | 74 | 0.016635 | 0.0041692 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_97-12_0_3_load_75 | 75 | 0.0019001 | 0.00047621 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_97-12_0_3_load_77 | 76 | 0.00062326 | 0.0001562 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_97-12_0_3_line_0 |  | 0 | 1 | 0.090232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_97-12_0_3_line_1 |  | 0 | 2 | 0.075678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_97-12_0_3_line_2 |  | 2 | 3 | 0.10772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_97-12_0_3_line_3 |  | 3 | 4 | 0.034244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_97-12_0_3_line_4 |  | 4 | 27 | 0.03747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_97-12_0_3_line_5 |  | 5 | 6 | 0.09901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_97-12_0_3_line_6 |  | 5 | 7 | 0.0063584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_97-12_0_3_line_7 |  | 6 | 38 | 0.031474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_97-12_0_3_line_8 |  | 6 | 8 | 0.024921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_97-12_0_3_line_9 |  | 7 | 51 | 0.0096791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_97-12_0_3_line_10 |  | 8 | 9 | 0.051542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_97-12_0_3_line_11 |  | 8 | 10 | 0.015924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_97-12_0_3_line_12 |  | 9 | 14 | 0.046486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_97-12_0_3_line_13 |  | 9 | 15 | 0.035448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_97-12_0_3_line_14 |  | 10 | 60 | 0.021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_97-12_0_3_line_15 |  | 11 | 12 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_97-12_0_3_line_16 |  | 11 | 13 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_97-12_0_3_line_17 |  | 12 | 36 | 0.0070658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_97-12_0_3_line_18 |  | 13 | 27 | 0.007221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_97-12_0_3_line_19 |  | 14 | 29 | 0.049044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_97-12_0_3_line_20 |  | 15 | 61 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_97-12_0_3_line_21 |  | 15 | 31 | 0.00922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_97-12_0_3_line_22 |  | 16 | 17 | 0.031806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_97-12_0_3_line_23 |  | 16 | 18 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_97-12_0_3_line_24 |  | 16 | 19 | 0.036336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_97-12_0_3_line_25 |  | 17 | 26 | 0.058658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_97-12_0_3_line_26 |  | 18 | 36 | 0.006899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_97-12_0_3_line_27 |  | 18 | 37 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_97-12_0_3_line_28 |  | 19 | 34 | 0.10923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_97-12_0_3_line_29 |  | 20 | 21 | 0.00795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_97-12_0_3_line_30 |  | 20 | 22 | 0.041078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_97-12_0_3_line_31 |  | 21 | 37 | 0.026478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_97-12_0_3_line_32 |  | 22 | 59 | 0.016001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_97-12_0_3_line_33 |  | 23 | 24 | 0.019808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_97-12_0_3_line_34 |  | 23 | 25 | 0.023681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_97-12_0_3_line_35 |  | 24 | 54 | 0.004816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_97-12_0_3_line_36 |  | 24 | 62 | 0.02506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_97-12_0_3_line_37 |  | 25 | 63 | 0.027137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_97-12_0_3_line_38 |  | 28 | 29 | 0.007717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_97-12_0_3_line_39 |  | 28 | 30 | 0.042295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_97-12_0_3_line_40 |  | 29 | 64 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_97-12_0_3_line_41 |  | 30 | 40 | 0.039056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_97-12_0_3_line_42 |  | 31 | 32 | 0.016854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_97-12_0_3_line_43 |  | 31 | 33 | 0.036286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_97-12_0_3_line_44 |  | 32 | 45 | 0.0035264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_97-12_0_3_line_45 |  | 34 | 35 | 0.033932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_97-12_0_3_line_46 |  | 35 | 65 | 0.048655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_97-12_0_3_line_47 |  | 38 | 66 | 0.060069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_97-12_0_3_line_48 |  | 39 | 40 | 0.10998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_97-12_0_3_line_49 |  | 39 | 41 | 0.09146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_97-12_0_3_line_50 |  | 41 | 67 | 0.040374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_97-12_0_3_line_51 |  | 42 | 43 | 0.04212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_97-12_0_3_line_52 |  | 42 | 44 | 0.023857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_97-12_0_3_line_53 |  | 43 | 68 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_97-12_0_3_line_54 |  | 43 | 49 | 0.038659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_97-12_0_3_line_55 |  | 46 | 47 | 0.011454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_97-12_0_3_line_56 |  | 46 | 48 | 0.0096127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_97-12_0_3_line_57 |  | 47 | 50 | 0.032641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_97-12_0_3_line_58 |  | 47 | 71 | 0.035898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_97-12_0_3_line_59 |  | 49 | 50 | 0.008327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_97-12_0_3_line_60 |  | 51 | 55 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_97-12_0_3_line_61 |  | 51 | 57 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_97-12_0_3_line_62 |  | 52 | 53 | 0.037819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_97-12_0_3_line_63 |  | 52 | 54 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_97-12_0_3_line_64 |  | 55 | 56 | 0.034212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_97-12_0_3_line_65 |  | 56 | 75 | 0.019956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_97-12_0_3_line_66 |  | 58 | 59 | 0.034075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_97-12_0_3_line_67 |  | 59 | 72 | 0.038604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_97-12_0_3_line_68 |  | 62 | 71 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_97-12_0_3_line_69 |  | 62 | 74 | 0.024038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_97-12_0_3_line_70 |  | 63 | 76 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_97-12_0_3_line_71 |  | 64 | 72 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_97-12_0_3_line_72 |  | 65 | 73 | 0.020638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_97-12_0_3_line_73 |  | 69 | 70 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_97-12_0_3_line_74 |  | 70 | 73 | 0.018118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_97-12_0_3_line_75 |  | 75 | 76 | 0.0039877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_97-12_0_3_trafo_42 | 0.63 MVA 20/0.4 kV | 77 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2682613.9327 | 1255428.4567 | 2682549.7099 | 1255393.3679 | 2682534.5706 | 1255385.5275
1 | 2682680.3223 | 1255464.7772 | 2682675.3341 | 1255462.2279 | 2682616.0836 | 1255429.6319 | 2682613.9327 | 1255428.4567
2 | 2682628.0136 | 1255559.0186 | 2682680.3223 | 1255464.7772
3 | 2682628.0136 | 1255559.0186 | 2682624.0816 | 1255557.5405 | 2682613.4858 | 1255573.5826 | 2682608.2847 | 1255583.068
4 | 2682590.8344 | 1255616.2212 | 2682599.9017 | 1255598.3563 | 2682608.2847 | 1255583.068
5 | 2682415.4628 | 1255517.7369 | 2682402.2388 | 1255512.3711 | 2682397.6782 | 1255511.6071 | 2682400.8842 | 1255504.0126 | 2682403.0137 | 1255498.9717 | 2682400.7633 | 1255497.5282 | 2682398.6923 | 1255490.7832 | 2682399.6296 | 1255483.6019 | 2682407.2621 | 1255465.8168 | 2682413.5412 | 1255456.9308 | 2682416.6236 | 1255452.2591 | 2682410.2843 | 1255449.7578 | 2682403.9984 | 1255447.2129
6 | 2682403.9984 | 1255447.2129 | 2682402.9938 | 1255446.7653 | 2682401.5926 | 1255446.0897 | 2682400.1833 | 1255445.4585 | 2682399.3166 | 1255447.4357
7 | 2682415.4628 | 1255517.7369 | 2682418.1769 | 1255520.0098 | 2682419.538 | 1255523.0199 | 2682416.7614 | 1255547.4938
8 | 2682415.4628 | 1255517.7369 | 2682419.7332 | 1255517.6741 | 2682423.6277 | 1255519.1405 | 2682425.3999 | 1255514.8397 | 2682432.1803 | 1255518.1588 | 2682433.0309 | 1255513.9564
9 | 2682395.4309 | 1255456.3006 | 2682399.3166 | 1255447.4357
10 | 2682433.0309 | 1255513.9564 | 2682432.1803 | 1255518.1588 | 2682431.1263 | 1255523.9708 | 2682468.7702 | 1255541.0744
11 | 2682433.0309 | 1255513.9564 | 2682433.4975 | 1255507.5358 | 2682442.5837 | 1255504.8086
12 | 2682468.7702 | 1255541.0744 | 2682463.2671 | 1255587.234
13 | 2682499.5635 | 1255558.7945 | 2682468.7702 | 1255541.0744
14 | 2682460.9825 | 1255515.1681 | 2682443.2692 | 1255504.6029 | 2682442.5837 | 1255504.8086
15 | 2682569.621 | 1255627.1893 | 2682570.2348 | 1255638.1734
16 | 2682569.621 | 1255627.1893 | 2682575.8657 | 1255622.3949 | 2682578.8546 | 1255620.1016 | 2682583.5969 | 1255616.4872
17 | 2682570.629 | 1255645.2281 | 2682570.2348 | 1255638.1734
18 | 2682583.5969 | 1255616.4872 | 2682590.8344 | 1255616.2212
19 | 2682457.4612 | 1255635.9333 | 2682463.2671 | 1255587.234
20 | 2682499.5635 | 1255558.7945 | 2682497.1935 | 1255579.0227
21 | 2682499.5635 | 1255558.7945 | 2682507.231 | 1255563.9497
22 | 2682589.6124 | 1255649.1958 | 2682593.5159 | 1255646.2258 | 2682597.1319 | 1255643.3185 | 2682605.8985 | 1255636.7246 | 2682611.5324 | 1255646.5106
23 | 2682589.6124 | 1255649.1958 | 2682581.0839 | 1255650.0776 | 2682576.9019 | 1255648.14
24 | 2682589.6124 | 1255649.1958 | 2682611.352 | 1255678.3116
25 | 2682611.5324 | 1255646.5106 | 2682621.6808 | 1255637.1117 | 2682627.1459 | 1255634.675 | 2682660.5437 | 1255652.1766 | 2682661.6478 | 1255652.4443
26 | 2682576.9019 | 1255648.14 | 2682570.629 | 1255645.2281
27 | 2682576.9019 | 1255648.14 | 2682568.4743 | 1255662.7043
28 | 2682676.7353 | 1255765.811 | 2682649.5721 | 1255729.6933 | 2682616.7875 | 1255685.5913 | 2682611.352 | 1255678.3116
29 | 2682555.2132 | 1255685.6216 | 2682547.273 | 1255684.8882
30 | 2682547.273 | 1255684.8882 | 2682530.1872 | 1255683.3267 | 2682522.9822 | 1255681.8029 | 2682511.8281 | 1255674.6198 | 2682508.5583 | 1255674.2614
31 | 2682555.2132 | 1255685.6216 | 2682568.4743 | 1255662.7043
32 | 2682492.6528 | 1255672.5178 | 2682508.5583 | 1255674.2614
33 | 2682315.2118 | 1255565.5456 | 2682332.5318 | 1255575.2493
34 | 2682332.5318 | 1255575.2493 | 2682336.8414 | 1255567.4811 | 2682341.115 | 1255555.7983 | 2682341.9822 | 1255553.6064
35 | 2682315.2118 | 1255565.5456 | 2682311.081 | 1255563.0698
36 | 2682315.2118 | 1255565.5456 | 2682312.2327 | 1255570.3968 | 2682309.0761 | 1255575.5346 | 2682302.0837 | 1255586.9127
37 | 2682351.9657 | 1255528.3728 | 2682341.9822 | 1255553.6064
38 | 2682449.7721 | 1255635.0478 | 2682457.4612 | 1255635.9333
39 | 2682449.7721 | 1255635.0478 | 2682445.3741 | 1255677.1137
40 | 2682457.4612 | 1255635.9333 | 2682475.6879 | 1255638.0324
41 | 2682441.313 | 1255715.958 | 2682445.3741 | 1255677.1137
42 | 2682507.231 | 1255563.9497 | 2682511.6127 | 1255558.0618 | 2682517.2861 | 1255550.4239
43 | 2682507.231 | 1255563.9497 | 2682513.0079 | 1255567.822 | 2682521.5233 | 1255573.2892 | 2682535.1702 | 1255586.8116
44 | 2682517.2861 | 1255550.4239 | 2682520.2055 | 1255552.4019
45 | 2682644.8448 | 1255773.2938 | 2682653.2042 | 1255775.3231 | 2682672.426 | 1255768.1304 | 2682676.7353 | 1255765.811
46 | 2682644.8448 | 1255773.2938 | 2682643.7909 | 1255767.1967 | 2682616.1755 | 1255734.9335
47 | 2682409.5626 | 1255607.0728 | 2682410.7563 | 1255602.747 | 2682411.4189 | 1255597.9637 | 2682415.8148 | 1255555.8374 | 2682416.7614 | 1255547.4938
48 | 2682386.6758 | 1255772.5406 | 2682390.3976 | 1255772.8593 | 2682397.0453 | 1255711.4719 | 2682441.313 | 1255715.958
49 | 2682386.6758 | 1255772.5406 | 2682396.8543 | 1255681.6485
50 | 2682396.8543 | 1255681.6485 | 2682401.3474 | 1255641.5258
51 | 2682241.8557 | 1255672.919 | 2682247.2915 | 1255673.6617 | 2682272.2765 | 1255678.9127 | 2682283.4388 | 1255680.102
52 | 2682283.4388 | 1255680.102 | 2682285.8579 | 1255656.3678
53 | 2682241.8557 | 1255672.919 | 2682223.8119 | 1255672.6635
54 | 2682241.8557 | 1255672.919 | 2682245.8222 | 1255634.4672
55 | 2682257.8659 | 1255602.0988 | 2682258.1407 | 1255599.6897 | 2682259.1706 | 1255590.7194
56 | 2682259.1706 | 1255590.7194 | 2682260.2628 | 1255581.169
57 | 2682257.8659 | 1255602.0988 | 2682254.149 | 1255634.5273
58 | 2682257.8659 | 1255602.0988 | 2682258.1407 | 1255599.6897 | 2682263.9162 | 1255600.4149 | 2682290.9855 | 1255606.0619
59 | 2682245.8222 | 1255634.4672 | 2682254.149 | 1255634.5273
60 | 2682381.0742 | 1255454.7997 | 2682382.3419 | 1255451.5149 | 2682395.4309 | 1255456.3006
61 | 2682395.4309 | 1255456.3006 | 2682390.1191 | 1255469.0104
62 | 2682295.1931 | 1255553.5473 | 2682299.5604 | 1255541.0874 | 2682303.8298 | 1255524.8233 | 2682304.8121 | 1255517.0844
63 | 2682295.1931 | 1255553.5473 | 2682311.081 | 1255563.0698
64 | 2682381.0742 | 1255454.7997 | 2682368.4878 | 1255486.6123
65 | 2682361.1461 | 1255505.169 | 2682368.4878 | 1255486.6123
66 | 2682492.6528 | 1255672.5178 | 2682489.1378 | 1255706.411
67 | 2682490.0856 | 1255639.6905 | 2682496.418 | 1255640.5015 | 2682492.6528 | 1255672.5178
68 | 2682290.9855 | 1255606.0619 | 2682292.9667 | 1255605.1665 | 2682293.5088 | 1255601.9828 | 2682297.5783 | 1255600.6272 | 2682301.7225 | 1255594.4467 | 2682302.0837 | 1255586.9127
69 | 2682302.0837 | 1255586.9127 | 2682323.2002 | 1255598.3985
70 | 2682359.679 | 1255508.877 | 2682351.9657 | 1255528.3728
71 | 2682490.0856 | 1255639.6905 | 2682475.6879 | 1255638.0324
72 | 2682616.1755 | 1255734.9335 | 2682602.7552 | 1255719.2545 | 2682602.7552 | 1255719.2545
73 | 2682586.6886 | 1255714.6518 | 2682582.8413 | 1255716.5747 | 2682576.3942 | 1255728.2094
74 | 2682586.6886 | 1255714.6518 | 2682588.7282 | 1255713.6324 | 2682595.6794 | 1255713.8851 | 2682602.7552 | 1255719.2545
75 | 2682361.1461 | 1255505.169 | 2682359.679 | 1255508.877

## bus_geodata
| x | y | coords
0 | 2682613.9327 | 1255428.4567
1 | 2682534.5706 | 1255385.5275
2 | 2682680.3223 | 1255464.7772
3 | 2682628.0136 | 1255559.0187
4 | 2682608.2847 | 1255583.068
5 | 2682403.9984 | 1255447.2129
6 | 2682415.4628 | 1255517.7369
7 | 2682399.3166 | 1255447.4357
8 | 2682433.0309 | 1255513.9564
9 | 2682468.7701 | 1255541.0744
10 | 2682442.5837 | 1255504.8086
11 | 2682569.621 | 1255627.1893
12 | 2682570.2348 | 1255638.1734
13 | 2682583.5969 | 1255616.4872
14 | 2682463.2671 | 1255587.234
15 | 2682499.5635 | 1255558.7945
16 | 2682589.6124 | 1255649.1958
17 | 2682611.5324 | 1255646.5106
18 | 2682576.9019 | 1255648.14
19 | 2682611.352 | 1255678.3116
20 | 2682547.273 | 1255684.8882
21 | 2682555.2132 | 1255685.6216
22 | 2682508.5583 | 1255674.2614
23 | 2682332.5318 | 1255575.2493
24 | 2682315.2118 | 1255565.5456
25 | 2682341.9822 | 1255553.6064
26 | 2682661.6478 | 1255652.4443
27 | 2682590.8344 | 1255616.2212
28 | 2682449.7721 | 1255635.0478
29 | 2682457.4612 | 1255635.9333
30 | 2682445.3741 | 1255677.1137
31 | 2682507.231 | 1255563.9497
32 | 2682517.2861 | 1255550.4239
33 | 2682535.1702 | 1255586.8116
34 | 2682676.7353 | 1255765.811
35 | 2682644.8448 | 1255773.2938
36 | 2682570.629 | 1255645.2281
37 | 2682568.4743 | 1255662.7043
38 | 2682416.7614 | 1255547.4938
39 | 2682386.6758 | 1255772.5406
40 | 2682441.313 | 1255715.958
41 | 2682396.8543 | 1255681.6485
42 | 2682283.4388 | 1255680.102
43 | 2682241.8557 | 1255672.919
44 | 2682285.8579 | 1255656.3678
45 | 2682520.2055 | 1255552.4019
46 | 2682259.1706 | 1255590.7194
47 | 2682257.8659 | 1255602.0988
48 | 2682260.2628 | 1255581.169
49 | 2682245.8222 | 1255634.4672
50 | 2682254.149 | 1255634.5273
51 | 2682395.4309 | 1255456.3006
52 | 2682295.1931 | 1255553.5473
53 | 2682304.8121 | 1255517.0844
54 | 2682311.081 | 1255563.0698
55 | 2682381.0742 | 1255454.7997
56 | 2682368.4878 | 1255486.6123
57 | 2682390.1191 | 1255469.0104
58 | 2682489.1378 | 1255706.411
59 | 2682492.6528 | 1255672.5178
60 | 2682460.9825 | 1255515.1681
61 | 2682497.1935 | 1255579.0227
62 | 2682302.0837 | 1255586.9127
63 | 2682351.9657 | 1255528.3728
64 | 2682475.6879 | 1255638.0324
65 | 2682616.1755 | 1255734.9335
66 | 2682409.5626 | 1255607.0728
67 | 2682401.3474 | 1255641.5258
68 | 2682223.8119 | 1255672.6635
69 | 2682576.3942 | 1255728.2094
70 | 2682586.6886 | 1255714.6518
71 | 2682290.9855 | 1255606.0619
72 | 2682490.0856 | 1255639.6905
73 | 2682602.7552 | 1255719.2545
74 | 2682323.2002 | 1255598.3985
75 | 2682361.1461 | 1255505.169
76 | 2682359.679 | 1255508.877
77 | 2682468.7701 | 1255541.0744

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1