## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_97-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_97-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_97-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_97-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_97-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_97-16_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_97-16_0_4_node_94 | 0.4 | n |  | TRUE
7 | bus_LV_97-16_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_97-16_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_97-16_0_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_97-16_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_97-16_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_97-16_0_4_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_97-16_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_97-16_0_4_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_97-16_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_97-16_0_4_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_97-16_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_97-16_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_97-16_0_4_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_97-16_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_97-16_0_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_97-16_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_97-16_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_97-16_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_97-16_0_4_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_97-16_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_97-16_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_97-16_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_97-16_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_97-16_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_97-16_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_97-16_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_97-16_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_97-16_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_97-16_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_97-16_0_4_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_97-16_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_97-16_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_97-16_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_97-16_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_97-16_0_4_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_97-16_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_97-16_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_97-16_0_4_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_97-16_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_97-16_0_4_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_97-16_0_4_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_97-16_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_97-16_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_97-16_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_97-16_0_4_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_97-16_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_97-16_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_97-16_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_97-16_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_97-16_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_97-16_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_97-16_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_97-16_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_97-16_0_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_97-16_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_97-16_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_97-16_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_97-16_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_97-16_0_4_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_97-16_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_97-16_0_4_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_97-16_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_97-16_0_4_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_97-16_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_97-16_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_97-16_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_97-16_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_97-16_0_4_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_97-16_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_97-16_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_97-16_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_97-16_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_97-16_0_4_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_97-16_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_97-16_0_4_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_97-16_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_97-16_0_4_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_97-16_0_4_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_97-16_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_97-16_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_97-16_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_97-16_0_4_node_93 | 0.4 | n |  | TRUE
89 | bus_MV_468_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_97-16_0_4_load_0 | 0 | 0.0087073 | 0.0021823 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_97-16_0_4_load_2 | 2 | 0.011576 | 0.0029011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_97-16_0_4_load_27 | 5 | 0.0058695 | 0.001471 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_97-16_0_4_load_94 | 6 | 0.010387 | 0.0026032 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_97-16_0_4_load_40 | 8 | 0.0097169 | 0.0024353 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_97-16_0_4_load_35 | 9 | 0.0094356 | 0.0023648 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_97-16_0_4_load_48 | 14 | 0.049055 | 0.012294 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_97-16_0_4_load_41 | 16 | 0.0050383 | 0.0012627 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_97-16_0_4_load_62 | 19 | 0.019113 | 0.0047902 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_97-16_0_4_load_31 | 21 | 0.017465 | 0.004377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_97-16_0_4_load_71 | 25 | 0.0029698 | 0.00074431 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_97-16_0_4_load_61 | 26 | 0.013223 | 0.003314 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_97-16_0_4_load_80 | 30 | 0.0025441 | 0.00063761 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_97-16_0_4_load_54 | 31 | 0.0081872 | 0.0020519 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_97-16_0_4_load_52 | 32 | 0.0087813 | 0.0022008 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_97-16_0_4_load_43 | 35 | 0.0058249 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_97-16_0_4_load_60 | 36 | 0.013274 | 0.0033268 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_97-16_0_4_load_36 | 37 | 0.020397 | 0.005112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_97-16_0_4_load_59 | 39 | 0.0090802 | 0.0022757 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_97-16_0_4_load_95 | 41 | 0.014556 | 0.003648 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_97-16_0_4_load_44 | 42 | 0.014552 | 0.0036471 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_97-16_0_4_load_47 | 43 | 0.0045759 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_97-16_0_4_load_49 | 44 | 0.012081 | 0.0030278 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_97-16_0_4_load_89 | 46 | 0.0016051 | 0.00040227 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_97-16_0_4_load_90 | 47 | 0.0012673 | 0.00031761 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_97-16_0_4_load_69 | 50 | 0.037096 | 0.0092971 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_97-16_0_4_load_78 | 51 | 0.0035943 | 0.00090082 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_97-16_0_4_load_45 | 52 | 0.011058 | 0.0027714 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_97-16_0_4_load_46 | 53 | 0.012751 | 0.0031956 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_97-16_0_4_load_28 | 55 | 0.0025732 | 0.0006449 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_97-16_0_4_load_32 | 57 | 0.0085298 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_97-16_0_4_load_34 | 59 | 0.0090217 | 0.0022611 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_97-16_0_4_load_53 | 61 | 0.011213 | 0.0028103 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_97-16_0_4_load_55 | 62 | 0.006141 | 0.0015391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_97-16_0_4_load_51 | 64 | 0.0063649 | 0.0015952 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_97-16_0_4_load_67 | 66 | 0.0010599 | 0.00026564 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_97-16_0_4_load_88 | 67 | 0.0014846 | 0.00037208 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_97-16_0_4_load_63 | 69 | 0.0024979 | 0.00062603 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_97-16_0_4_load_64 | 70 | 0.0025434 | 0.00063745 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_97-16_0_4_load_65 | 72 | 0.0014618 | 0.00036635 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_97-16_0_4_load_79 | 73 | 0.0011997 | 0.00030068 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_97-16_0_4_load_81 | 74 | 0.0016123 | 0.00040409 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_97-16_0_4_load_68 | 75 | 0.020701 | 0.0051881 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_97-16_0_4_load_73 | 78 | 0.0014838 | 0.00037187 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_97-16_0_4_load_77 | 79 | 0.0014248 | 0.00035708 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_97-16_0_4_load_74 | 80 | 0.014346 | 0.0035956 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_97-16_0_4_load_91 | 81 | 0.0035943 | 0.00090082 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_97-16_0_4_load_85 | 83 | 0.0027331 | 0.00068497 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_97-16_0_4_load_82 | 85 | 0.0035991 | 0.00090201 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_97-16_0_4_load_83 | 86 | 0.00106 | 0.00026566 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_97-16_0_4_load_86 | 87 | 0.0014839 | 0.0003719 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_97-16_0_4_load_93 | 88 | 0.0056837 | 0.0014245 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_97-16_0_4_line_0 |  | 0 | 1 | 0.050754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_97-16_0_4_line_1 |  | 0 | 2 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_97-16_0_4_line_2 |  | 1 | 3 | 0.052129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_97-16_0_4_line_3 |  | 1 | 4 | 0.085968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_97-16_0_4_line_4 |  | 3 | 5 | 0.067881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_97-16_0_4_line_5 |  | 4 | 6 | 0.020819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_97-16_0_4_line_6 |  | 6 | 10 | 0.026511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_97-16_0_4_line_7 |  | 7 | 8 | 0.027329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_97-16_0_4_line_8 |  | 7 | 9 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_97-16_0_4_line_9 |  | 8 | 10 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_97-16_0_4_line_10 |  | 9 | 28 | 0.030073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_97-16_0_4_line_11 |  | 11 | 12 | 0.058254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_97-16_0_4_line_12 |  | 11 | 13 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_97-16_0_4_line_13 |  | 11 | 14 | 0.029825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_97-16_0_4_line_14 |  | 12 | 36 | 0.026608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_97-16_0_4_line_15 |  | 12 | 20 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_97-16_0_4_line_16 |  | 13 | 37 | 0.0046788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_97-16_0_4_line_17 |  | 13 | 15 | 0.029966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_97-16_0_4_line_18 |  | 14 | 27 | 0.062976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_97-16_0_4_line_19 |  | 15 | 16 | 0.02582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_97-16_0_4_line_20 |  | 16 | 48 | 0.054852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_97-16_0_4_line_21 |  | 17 | 18 | 0.061634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_97-16_0_4_line_22 |  | 17 | 19 | 0.014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_97-16_0_4_line_23 |  | 18 | 26 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_97-16_0_4_line_24 |  | 19 | 29 | 0.029935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_97-16_0_4_line_25 |  | 20 | 21 | 0.033347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_97-16_0_4_line_26 |  | 21 | 49 | 0.002022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_97-16_0_4_line_27 |  | 22 | 23 | 0.021463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_97-16_0_4_line_28 |  | 22 | 24 | 0.020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_97-16_0_4_line_29 |  | 22 | 25 | 0.0072632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_97-16_0_4_line_30 |  | 23 | 30 | 0.037309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_97-16_0_4_line_31 |  | 23 | 29 | 0.033718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_97-16_0_4_line_32 |  | 24 | 31 | 0.027628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_97-16_0_4_line_33 |  | 24 | 32 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_97-16_0_4_line_34 |  | 25 | 50 | 0.037298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_97-16_0_4_line_35 |  | 27 | 28 | 0.028127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_97-16_0_4_line_36 |  | 30 | 51 | 0.0045897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_97-16_0_4_line_37 |  | 31 | 38 | 0.026823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_97-16_0_4_line_38 |  | 33 | 34 | 0.033329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_97-16_0_4_line_39 |  | 33 | 35 | 0.015775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_97-16_0_4_line_40 |  | 34 | 43 | 0.01934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_97-16_0_4_line_41 |  | 34 | 44 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_97-16_0_4_line_42 |  | 35 | 48 | 0.025072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_97-16_0_4_line_43 |  | 38 | 39 | 0.0023028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_97-16_0_4_line_44 |  | 39 | 54 | 0.013271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_97-16_0_4_line_45 |  | 40 | 41 | 0.053987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_97-16_0_4_line_46 |  | 40 | 42 | 0.0096446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_97-16_0_4_line_47 |  | 42 | 48 | 0.026275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_97-16_0_4_line_48 |  | 43 | 53 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_97-16_0_4_line_49 |  | 45 | 46 | 0.0088437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_97-16_0_4_line_50 |  | 45 | 47 | 0.0061875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_97-16_0_4_line_51 |  | 46 | 65 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_97-16_0_4_line_52 |  | 47 | 66 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_97-16_0_4_line_53 |  | 49 | 57 | 0.017314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_97-16_0_4_line_54 |  | 50 | 75 | 0.0076207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_97-16_0_4_line_55 |  | 51 | 71 | 0.014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_97-16_0_4_line_56 |  | 52 | 53 | 0.03509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_97-16_0_4_line_57 |  | 54 | 63 | 0.034765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_97-16_0_4_line_58 |  | 55 | 56 | 0.0052739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_97-16_0_4_line_59 |  | 56 | 58 | 0.030276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_97-16_0_4_line_60 |  | 56 | 59 | 0.047011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_97-16_0_4_line_61 |  | 57 | 60 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_97-16_0_4_line_62 |  | 58 | 61 | 0.043945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_97-16_0_4_line_63 |  | 58 | 62 | 0.017834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_97-16_0_4_line_64 |  | 59 | 63 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_97-16_0_4_line_65 |  | 60 | 63 | 0.00504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_97-16_0_4_line_66 |  | 61 | 64 | 0.0036215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_97-16_0_4_line_67 |  | 65 | 87 | 0.010248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_97-16_0_4_line_68 |  | 66 | 72 | 0.0092151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_97-16_0_4_line_69 |  | 67 | 68 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_97-16_0_4_line_70 |  | 68 | 87 | 0.012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_97-16_0_4_line_71 |  | 68 | 86 | 0.031933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_97-16_0_4_line_72 |  | 69 | 70 | 0.026547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_97-16_0_4_line_73 |  | 70 | 71 | 0.023333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_97-16_0_4_line_74 |  | 71 | 73 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_97-16_0_4_line_75 |  | 73 | 74 | 0.013595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_97-16_0_4_line_76 |  | 74 | 85 | 0.0062718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_97-16_0_4_line_77 |  | 75 | 76 | 0.022046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_97-16_0_4_line_78 |  | 76 | 77 | 0.024688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_97-16_0_4_line_79 |  | 76 | 78 | 0.048479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_97-16_0_4_line_80 |  | 77 | 79 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_97-16_0_4_line_81 |  | 77 | 80 | 0.016739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_97-16_0_4_line_82 |  | 78 | 81 | 0.011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_97-16_0_4_line_83 |  | 79 | 82 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_97-16_0_4_line_84 |  | 82 | 83 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_97-16_0_4_line_85 |  | 83 | 84 | 0.053404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_97-16_0_4_line_86 |  | 84 | 88 | 0.053688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_97-16_0_4_line_87 |  | 85 | 86 | 0.012071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_97-16_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 89 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682164.37 | 1255745.4318 | 2682181.2717 | 1255746.6672 | 2682184.1168 | 1255745.4836 | 2682203.7267 | 1255748.3245 | 2682209.0091 | 1255748.1533 | 2682214.6239 | 1255748.5077
1 | 2682228.89 | 1255749.408 | 2682214.6239 | 1255748.5077
2 | 2682154.5056 | 1255792.0302 | 2682150.8045 | 1255791.8565 | 2682155.0992 | 1255780.7855 | 2682164.37 | 1255745.4318
3 | 2682164.37 | 1255745.4318 | 2682175.4978 | 1255707.2684 | 2682185.9176 | 1255671.2079 | 2682194.5321 | 1255672.2727
4 | 2682154.5056 | 1255792.0302 | 2682222.3099 | 1255795.2496
5 | 2682194.5321 | 1255672.2727 | 2682196.3411 | 1255672.3645 | 2682200.2791 | 1255672.3302 | 2682215.3472 | 1255672.5436
6 | 2682241.8557 | 1255672.919 | 2682215.3472 | 1255672.5436
7 | 2682283.4388 | 1255680.102 | 2682272.2765 | 1255678.9127 | 2682256.5169 | 1255675.6006
8 | 2682283.4388 | 1255680.102 | 2682286.7152 | 1255680.4478 | 2682293.1559 | 1255677.8131 | 2682301.1172 | 1255678.9039
9 | 2682241.8557 | 1255672.919 | 2682247.2915 | 1255673.6617 | 2682256.5169 | 1255675.6006
10 | 2682330.9123 | 1255682.9862 | 2682301.1172 | 1255678.9039
11 | 2682335.1514 | 1255761.6047 | 2682339.5957 | 1255766.915 | 2682345.3974 | 1255768.9972 | 2682386.6758 | 1255772.5406 | 2682390.3976 | 1255772.8593
12 | 2682320.0492 | 1255760.6051 | 2682328.2334 | 1255761.1415 | 2682335.1514 | 1255761.6047
13 | 2682335.1514 | 1255761.6047 | 2682337.1647 | 1255736.7138 | 2682337.7015 | 1255731.8906
14 | 2682390.3976 | 1255772.8593 | 2682416.871 | 1255775.5289
15 | 2682388.8348 | 1255786.5035 | 2682389.4316 | 1255781.5636 | 2682390.3976 | 1255772.8593
16 | 2682320.0492 | 1255760.6051 | 2682320.4495 | 1255755.9435
17 | 2682320.0492 | 1255760.6051 | 2682317.4842 | 1255790.4588
18 | 2682345.9074 | 1255669.4622 | 2682340.9233 | 1255702.9405 | 2682337.7015 | 1255731.8906
19 | 2682317.4842 | 1255790.4588 | 2682315.2715 | 1255816.1839
20 | 2682309.8729 | 1255870.7583 | 2682310.8974 | 1255860.5537 | 2682311.4949 | 1255850.6767 | 2682314.7578 | 1255822.156 | 2682315.2715 | 1255816.1839
21 | 2682441.313 | 1255715.958 | 2682445.1095 | 1255716.3334 | 2682487.6334 | 1255720.9179 | 2682485.954 | 1255735.8725
22 | 2682485.954 | 1255735.8725 | 2682484.6472 | 1255749.8528
23 | 2682441.313 | 1255715.958 | 2682427.0051 | 1255714.5081
24 | 2682483.028 | 1255779.665 | 2682482.4879 | 1255772.9523 | 2682484.6472 | 1255749.8528
25 | 2682388.8348 | 1255786.5035 | 2682386.6861 | 1255819.7808
26 | 2682386.5558 | 1255821.7985 | 2682386.6861 | 1255819.7808
27 | 2682515.4269 | 1255816.2996 | 2682503.4866 | 1255798.4419
28 | 2682515.4269 | 1255816.2996 | 2682512.6482 | 1255819.2187 | 2682501.1737 | 1255831.2457
29 | 2682515.4269 | 1255816.2996 | 2682519.904 | 1255822.0188
30 | 2682503.4866 | 1255798.4419 | 2682515.1892 | 1255791.155 | 2682537.1662 | 1255782.769
31 | 2682483.028 | 1255779.665 | 2682482.9876 | 1255786.3472 | 2682488.6817 | 1255786.4044 | 2682494.0181 | 1255785.6114 | 2682503.4866 | 1255798.4419
32 | 2682501.1737 | 1255831.2457 | 2682494.8278 | 1255825.464 | 2682475.8644 | 1255823.7178
33 | 2682501.1737 | 1255831.2457 | 2682486.763 | 1255846.3552
34 | 2682519.904 | 1255822.0188 | 2682542.8946 | 1255851.3882
35 | 2682330.9123 | 1255682.9862 | 2682337.1623 | 1255683.7514 | 2682339.615 | 1255668.4851 | 2682345.9074 | 1255669.4622
36 | 2682537.1662 | 1255782.769 | 2682541.4543 | 1255781.1327
37 | 2682449.154 | 1255821.2582 | 2682475.8644 | 1255823.7178
38 | 2682305.424 | 1255911.3384 | 2682304.2328 | 1255921.0625 | 2682310.6878 | 1255921.7194 | 2682309.6453 | 1255932.135 | 2682316.1911 | 1255932.7709
39 | 2682305.424 | 1255911.3384 | 2682306.6309 | 1255895.6099
40 | 2682316.1911 | 1255932.7709 | 2682318.2806 | 1255913.5441
41 | 2682316.1911 | 1255932.7709 | 2682315.948 | 1255936.1479 | 2682322.6692 | 1255943.1466
42 | 2682309.8729 | 1255870.7583 | 2682308.4789 | 1255884.2158 | 2682306.6309 | 1255895.6099
43 | 2682449.154 | 1255821.2582 | 2682448.7477 | 1255823.5248
44 | 2682446.4061 | 1255836.5871 | 2682448.7477 | 1255823.5248
45 | 2682277.6064 | 1255863.0485 | 2682274.5247 | 1255864.4401 | 2682264.4748 | 1255859.7636 | 2682259.1453 | 1255850.3047 | 2682260.5892 | 1255840.8509 | 2682266.57 | 1255825.7002 | 2682267.8376 | 1255823.1905
46 | 2682277.6064 | 1255863.0485 | 2682284.7037 | 1255859.8336 | 2682286.5519 | 1255859.9693
47 | 2682309.8729 | 1255870.7583 | 2682293.2937 | 1255860.4645 | 2682286.5519 | 1255859.9693
48 | 2682318.2806 | 1255913.5441 | 2682320.7496 | 1255890.8247 | 2682320.7496 | 1255890.8247
49 | 2682644.8448 | 1255773.2938 | 2682641.0982 | 1255781.3047
50 | 2682644.8448 | 1255773.2938 | 2682643.7909 | 1255767.1967 | 2682643.7909 | 1255767.1967
51 | 2682633.8916 | 1255801.9849 | 2682639.2078 | 1255785.3465 | 2682641.0982 | 1255781.3047
52 | 2682630.4102 | 1255751.5639 | 2682643.7909 | 1255767.1967
53 | 2682386.5558 | 1255821.7985 | 2682403.7042 | 1255824.1904
54 | 2682547.5921 | 1255857.3889 | 2682542.8946 | 1255851.3882
55 | 2682554.6601 | 1255776.0937 | 2682541.4543 | 1255781.1327
56 | 2682320.7496 | 1255890.8247 | 2682320.725 | 1255885.5426 | 2682323.7432 | 1255855.888
57 | 2682446.4061 | 1255836.5871 | 2682437.8645 | 1255847.6321 | 2682417.0818 | 1255845.6302
58 | 2682396.9065 | 1255899.6683 | 2682393.3816 | 1255895.7455
59 | 2682419.1574 | 1255920.2713 | 2682404.8594 | 1255907.0512 | 2682396.9065 | 1255899.6683
60 | 2682396.9065 | 1255899.6683 | 2682407.8138 | 1255887.7221 | 2682415.3998 | 1255862.9533 | 2682415.8763 | 1255858.0462
61 | 2682412.0498 | 1255845.1487 | 2682413.2164 | 1255835.0462 | 2682412.4364 | 1255830.9322 | 2682409.3029 | 1255826.8299 | 2682405.6851 | 1255824.4667 | 2682403.7042 | 1255824.1904
62 | 2682419.1574 | 1255920.2713 | 2682448.7956 | 1255887.8254
63 | 2682419.1574 | 1255920.2713 | 2682407.4705 | 1255933.7418
64 | 2682417.0818 | 1255845.6302 | 2682415.8763 | 1255858.0462
65 | 2682412.0498 | 1255845.1487 | 2682417.0818 | 1255845.6302
66 | 2682451.2381 | 1255885.1515 | 2682448.7956 | 1255887.8254
67 | 2682633.8916 | 1255801.9849 | 2682631.1293 | 1255806.9613 | 2682628.0766 | 1255810.344
68 | 2682630.4102 | 1255751.5639 | 2682624.4179 | 1255744.5631
69 | 2682619.4456 | 1255819.9081 | 2682632.6031 | 1255832.9284
70 | 2682619.4456 | 1255819.9081 | 2682628.0766 | 1255810.344
71 | 2682619.4456 | 1255819.9081 | 2682596.4857 | 1255797.7144
72 | 2682574.8592 | 1255730.9796 | 2682561.9921 | 1255754.1998
73 | 2682554.6601 | 1255776.0937 | 2682557.6316 | 1255762.0689 | 2682561.9921 | 1255754.1998
74 | 2682554.6601 | 1255776.0937 | 2682571.0859 | 1255778.9915 | 2682571.0859 | 1255778.9915
75 | 2682571.0859 | 1255778.9915 | 2682583.2975 | 1255784.9663
76 | 2682587.8069 | 1255789.3253 | 2682583.2975 | 1255784.9663 | 2682583.2975 | 1255784.9663
77 | 2682561.1812 | 1255874.7483 | 2682547.5921 | 1255857.3889
78 | 2682575.6111 | 1255894.7091 | 2682573.6387 | 1255890.6563 | 2682561.1812 | 1255874.7483
79 | 2682561.1812 | 1255874.7483 | 2682594.1644 | 1255850.5343 | 2682589.738 | 1255844.4028
80 | 2682575.6111 | 1255894.7091 | 2682575.9321 | 1255899.8174 | 2682574.5516 | 1255904.6908 | 2682572.9075 | 1255906.951
81 | 2682575.6111 | 1255894.7091 | 2682585.7379 | 1255894.9394 | 2682590.9704 | 1255898.9777
82 | 2682582.9981 | 1255835.0668 | 2682589.738 | 1255844.4028
83 | 2682565.5523 | 1255923.6686 | 2682567.9534 | 1255913.7612 | 2682572.9075 | 1255906.951
84 | 2682565.5523 | 1255923.6686 | 2682555.8117 | 1255930.3712
85 | 2682519.6482 | 1255969.5747 | 2682543.102 | 1255942.2809 | 2682555.8117 | 1255930.3712
86 | 2682519.6482 | 1255969.5747 | 2682496.8822 | 1255948.6306 | 2682495.4952 | 1255939.9157 | 2682504.522 | 1255929.2223
87 | 2682587.8069 | 1255789.3253 | 2682596.4857 | 1255797.7144

## bus_geodata
| x | y | coords
0 | 2682214.6239 | 1255748.5077
1 | 2682164.37 | 1255745.4318
2 | 2682228.89 | 1255749.408
3 | 2682154.5056 | 1255792.0302
4 | 2682194.5321 | 1255672.2727
5 | 2682222.3099 | 1255795.2496
6 | 2682215.3472 | 1255672.5436
7 | 2682283.4388 | 1255680.102
8 | 2682256.5169 | 1255675.6006
9 | 2682301.1172 | 1255678.9039
10 | 2682241.8557 | 1255672.919
11 | 2682335.1514 | 1255761.6047
12 | 2682390.3976 | 1255772.8593
13 | 2682320.0492 | 1255760.6051
14 | 2682337.7015 | 1255731.8906
15 | 2682317.4842 | 1255790.4588
16 | 2682315.2715 | 1255816.1839
17 | 2682485.954 | 1255735.8725
18 | 2682441.313 | 1255715.958
19 | 2682484.6472 | 1255749.8528
20 | 2682388.8348 | 1255786.5035
21 | 2682386.6861 | 1255819.7808
22 | 2682515.4269 | 1255816.2996
23 | 2682503.4866 | 1255798.4419
24 | 2682501.1737 | 1255831.2457
25 | 2682519.904 | 1255822.0188
26 | 2682427.0051 | 1255714.5081
27 | 2682345.9074 | 1255669.4622
28 | 2682330.9123 | 1255682.9862
29 | 2682483.028 | 1255779.665
30 | 2682537.1662 | 1255782.769
31 | 2682475.8644 | 1255823.7178
32 | 2682486.763 | 1255846.3552
33 | 2682305.424 | 1255911.3384
34 | 2682316.1911 | 1255932.7709
35 | 2682306.6309 | 1255895.6099
36 | 2682416.871 | 1255775.5289
37 | 2682320.4495 | 1255755.9435
38 | 2682449.154 | 1255821.2582
39 | 2682448.7477 | 1255823.5248
40 | 2682277.6064 | 1255863.0485
41 | 2682267.8376 | 1255823.1905
42 | 2682286.5519 | 1255859.9693
43 | 2682318.2806 | 1255913.5441
44 | 2682322.6692 | 1255943.1466
45 | 2682644.8448 | 1255773.2938
46 | 2682641.0982 | 1255781.3047
47 | 2682643.7909 | 1255767.1967
48 | 2682309.8729 | 1255870.7583
49 | 2682386.5558 | 1255821.7985
50 | 2682542.8946 | 1255851.3882
51 | 2682541.4543 | 1255781.1327
52 | 2682323.7432 | 1255855.888
53 | 2682320.7496 | 1255890.8247
54 | 2682446.4061 | 1255836.5871
55 | 2682393.3815 | 1255895.7455
56 | 2682396.9065 | 1255899.6683
57 | 2682403.7042 | 1255824.1904
58 | 2682419.1574 | 1255920.2713
59 | 2682415.8763 | 1255858.0462
60 | 2682412.0498 | 1255845.1487
61 | 2682448.7956 | 1255887.8254
62 | 2682407.4705 | 1255933.7418
63 | 2682417.0818 | 1255845.6302
64 | 2682451.2381 | 1255885.1515
65 | 2682633.8916 | 1255801.9849
66 | 2682630.4102 | 1255751.5639
67 | 2682632.6031 | 1255832.9284
68 | 2682619.4456 | 1255819.9081
69 | 2682574.8592 | 1255730.9796
70 | 2682561.9921 | 1255754.1998
71 | 2682554.6601 | 1255776.0937
72 | 2682624.4179 | 1255744.5631
73 | 2682571.0859 | 1255778.9915
74 | 2682583.2975 | 1255784.9663
75 | 2682547.5921 | 1255857.3889
76 | 2682561.1812 | 1255874.7483
77 | 2682575.6111 | 1255894.7091
78 | 2682589.738 | 1255844.4028
79 | 2682572.9075 | 1255906.951
80 | 2682590.9704 | 1255898.9777
81 | 2682582.9981 | 1255835.0668
82 | 2682565.5523 | 1255923.6686
83 | 2682555.8117 | 1255930.3712
84 | 2682519.6482 | 1255969.5747
85 | 2682587.8069 | 1255789.3253
86 | 2682596.4857 | 1255797.7144
87 | 2682628.0766 | 1255810.344
88 | 2682504.522 | 1255929.2223
89 | 2682386.5558 | 1255821.7985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1