## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_97-2_1_4_node_41 | 0.4 | n |  | TRUE
1 | bus_LV_97-2_1_4_node_54 | 0.4 | n |  | TRUE
2 | bus_LV_97-2_1_4_node_53 | 0.4 | n |  | TRUE
3 | bus_LV_97-2_1_4_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_97-2_1_4_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_97-2_1_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_97-2_1_4_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_97-2_1_4_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_97-2_1_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_97-2_1_4_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_97-2_1_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_97-2_1_4_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_97-2_1_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_97-2_1_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_97-2_1_4_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_97-2_1_4_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_97-2_1_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_97-2_1_4_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_97-2_1_4_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_97-2_1_4_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_97-2_1_4_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_97-2_1_4_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_97-2_1_4_node_71 | 0.4 | n |  | TRUE
23 | bus_LV_97-2_1_4_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_97-2_1_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_97-2_1_4_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_97-2_1_4_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_97-2_1_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_97-2_1_4_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_97-2_1_4_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_97-2_1_4_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_97-2_1_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_97-2_1_4_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_97-2_1_4_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_97-2_1_4_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_97-2_1_4_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_97-2_1_4_node_81 | 0.4 | n |  | TRUE
37 | bus_LV_97-2_1_4_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_97-2_1_4_node_155 | 0.4 | n |  | TRUE
39 | bus_LV_97-2_1_4_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_97-2_1_4_node_88 | 0.4 | n |  | TRUE
41 | bus_LV_97-2_1_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_97-2_1_4_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_97-2_1_4_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_97-2_1_4_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_97-2_1_4_node_122 | 0.4 | n |  | TRUE
46 | bus_LV_97-2_1_4_node_100 | 0.4 | n |  | TRUE
47 | bus_LV_97-2_1_4_node_101 | 0.4 | n |  | TRUE
48 | bus_LV_97-2_1_4_node_149 | 0.4 | n |  | TRUE
49 | bus_LV_97-2_1_4_node_156 | 0.4 | n |  | TRUE
50 | bus_LV_97-2_1_4_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_97-2_1_4_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_97-2_1_4_node_102 | 0.4 | n |  | TRUE
53 | bus_LV_97-2_1_4_node_150 | 0.4 | n |  | TRUE
54 | bus_LV_97-2_1_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_97-2_1_4_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_97-2_1_4_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_97-2_1_4_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_97-2_1_4_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_97-2_1_4_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_97-2_1_4_node_119 | 0.4 | n |  | TRUE
61 | bus_LV_97-2_1_4_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_97-2_1_4_node_117 | 0.4 | n |  | TRUE
63 | bus_LV_97-2_1_4_node_121 | 0.4 | n |  | TRUE
64 | bus_LV_97-2_1_4_node_115 | 0.4 | n |  | TRUE
65 | bus_LV_97-2_1_4_node_116 | 0.4 | n |  | TRUE
66 | bus_LV_97-2_1_4_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_97-2_1_4_node_152 | 0.4 | n |  | TRUE
68 | bus_LV_97-2_1_4_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_97-2_1_4_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_97-2_1_4_node_106 | 0.4 | n |  | TRUE
71 | bus_LV_97-2_1_4_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_97-2_1_4_node_109 | 0.4 | n |  | TRUE
73 | bus_LV_97-2_1_4_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_97-2_1_4_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_97-2_1_4_node_114 | 0.4 | n |  | TRUE
76 | bus_LV_97-2_1_4_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_97-2_1_4_node_151 | 0.4 | n |  | TRUE
78 | bus_LV_97-2_1_4_node_153 | 0.4 | n |  | TRUE
79 | bus_MV_468_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_97-2_1_4_load_53 | 2 | 0.00095571 | 0.00023952 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_97-2_1_4_load_56 | 4 | 0.00036728 | 9.2048e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_97-2_1_4_load_60 | 6 | 0.0015798 | 0.00039593 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_97-2_1_4_load_52 | 7 | 0.00018559 | 4.6514e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_97-2_1_4_load_45 | 8 | 0.00072427 | 0.00018152 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_97-2_1_4_load_46 | 9 | 0.0002145 | 5.3759e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_97-2_1_4_load_47 | 10 | 0.00023689 | 5.9369e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_97-2_1_4_load_49 | 12 | 0.00087529 | 0.00021937 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_97-2_1_4_load_50 | 13 | 0.00043038 | 0.00010786 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_97-2_1_4_load_74 | 14 | 0.0004358 | 0.00010922 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_97-2_1_4_load_72 | 15 | 0.00063258 | 0.00015854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_97-2_1_4_load_57 | 16 | 0.00030982 | 7.7648e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_97-2_1_4_load_79 | 17 | 0.0037767 | 0.00094654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_97-2_1_4_load_75 | 18 | 0.053842 | 0.013494 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_97-2_1_4_load_58 | 19 | 0.0018775 | 0.00047054 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_97-2_1_4_load_61 | 20 | 0.0011864 | 0.00029735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_97-2_1_4_load_62 | 21 | 0.00023363 | 5.8553e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_97-2_1_4_load_71 | 22 | 0.00088242 | 0.00022116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_97-2_1_4_load_66 | 24 | 0.0017751 | 0.00044487 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_97-2_1_4_load_67 | 25 | 0.0016394 | 0.00041087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_97-2_1_4_load_68 | 26 | 0.00069742 | 0.00017479 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_97-2_1_4_load_69 | 27 | 0.00031836 | 7.979e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_97-2_1_4_load_70 | 28 | 0.00030323 | 7.5996e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_97-2_1_4_load_78 | 29 | 0.00047859 | 0.00011994 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_97-2_1_4_load_76 | 30 | 0.037981 | 0.0095189 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_97-2_1_4_load_77 | 31 | 0.016271 | 0.0040779 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_97-2_1_4_load_85 | 32 | 0.010161 | 0.0025467 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_97-2_1_4_load_83 | 33 | 0.0062429 | 0.0015646 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_97-2_1_4_load_80 | 35 | 0.012356 | 0.0030967 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_97-2_1_4_load_81 | 36 | 0.00056133 | 0.00014068 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_97-2_1_4_load_84 | 37 | 0.0028945 | 0.00072543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_97-2_1_4_load_155 | 38 | 0.0063287 | 0.0015861 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_97-2_1_4_load_88 | 40 | 0.0010022 | 0.00025117 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_97-2_1_4_load_91 | 43 | 0.038862 | 0.0097397 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_97-2_1_4_load_122 | 45 | 0.00021356 | 5.3523e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_97-2_1_4_load_149 | 48 | 0.00087883 | 0.00022026 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_97-2_1_4_load_111 | 50 | 0.025273 | 0.0063339 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_97-2_1_4_load_150 | 53 | 0.0019941 | 0.00049976 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_97-2_1_4_load_92 | 55 | 0.044204 | 0.011079 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_97-2_1_4_load_123 | 57 | 0.030828 | 0.0077262 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_97-2_1_4_load_119 | 60 | 0.0029288 | 0.00073403 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_97-2_1_4_load_118 | 61 | 0.0037181 | 0.00093184 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_97-2_1_4_load_117 | 62 | 0.047771 | 0.011973 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_97-2_1_4_load_121 | 63 | 0.00046094 | 0.00011552 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_97-2_1_4_load_115 | 64 | 0.0072049 | 0.0018057 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_97-2_1_4_load_116 | 65 | 0.001784 | 0.00044711 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_97-2_1_4_load_110 | 66 | 0.012393 | 0.003106 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_97-2_1_4_load_152 | 67 | 0.00097765 | 0.00024502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_97-2_1_4_load_103 | 68 | 0.0052467 | 0.001315 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_97-2_1_4_load_109 | 72 | 0.0016515 | 0.0004139 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_97-2_1_4_load_108 | 73 | 0.0044938 | 0.0011263 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_97-2_1_4_load_112 | 74 | 0.0037531 | 0.00094062 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_97-2_1_4_load_120 | 76 | 0.0010113 | 0.00025345 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_97-2_1_4_load_151 | 77 | 0.0024035 | 0.00060236 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_97-2_1_4_load_153 | 78 | 0.00097765 | 0.00024502 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_97-2_1_4_line_0 |  | 0 | 1 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_97-2_1_4_line_1 |  | 0 | 2 | 0.02089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_97-2_1_4_line_2 |  | 1 | 3 | 0.26026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_97-2_1_4_line_3 |  | 1 | 4 | 0.035819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_97-2_1_4_line_4 |  | 2 | 5 | 0.013852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_97-2_1_4_line_5 |  | 3 | 14 | 0.023945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_97-2_1_4_line_6 |  | 3 | 15 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_97-2_1_4_line_7 |  | 4 | 16 | 0.14021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_97-2_1_4_line_8 |  | 5 | 11 | 0.017527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_97-2_1_4_line_9 |  | 5 | 9 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_97-2_1_4_line_10 |  | 6 | 7 | 0.035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_97-2_1_4_line_11 |  | 7 | 13 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_97-2_1_4_line_12 |  | 8 | 9 | 0.093754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_97-2_1_4_line_13 |  | 8 | 10 | 0.00681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_97-2_1_4_line_14 |  | 11 | 12 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_97-2_1_4_line_15 |  | 12 | 13 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_97-2_1_4_line_16 |  | 14 | 22 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_97-2_1_4_line_17 |  | 15 | 23 | 0.22665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_97-2_1_4_line_18 |  | 16 | 19 | 0.022834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_97-2_1_4_line_19 |  | 17 | 18 | 0.047271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_97-2_1_4_line_20 |  | 18 | 23 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_97-2_1_4_line_21 |  | 19 | 20 | 0.010732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_97-2_1_4_line_22 |  | 20 | 21 | 0.027942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_97-2_1_4_line_23 |  | 22 | 27 | 0.0062393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_97-2_1_4_line_24 |  | 23 | 30 | 0.040263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_97-2_1_4_line_25 |  | 23 | 31 | 0.047386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_97-2_1_4_line_26 |  | 24 | 25 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_97-2_1_4_line_27 |  | 24 | 26 | 0.017412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_97-2_1_4_line_28 |  | 25 | 27 | 0.017073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_97-2_1_4_line_29 |  | 26 | 28 | 0.009094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_97-2_1_4_line_30 |  | 28 | 29 | 0.011564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_97-2_1_4_line_31 |  | 30 | 32 | 0.015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_97-2_1_4_line_32 |  | 31 | 33 | 0.0075163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_97-2_1_4_line_33 |  | 33 | 34 | 0.04045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_97-2_1_4_line_34 |  | 34 | 37 | 0.11471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_97-2_1_4_line_35 |  | 34 | 35 | 0.050834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_97-2_1_4_line_36 |  | 35 | 36 | 0.01893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_97-2_1_4_line_37 |  | 37 | 38 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_97-2_1_4_line_38 |  | 38 | 39 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_97-2_1_4_line_39 |  | 39 | 49 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_97-2_1_4_line_40 |  | 39 | 47 | 0.11222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_97-2_1_4_line_41 |  | 40 | 41 | 0.039694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_97-2_1_4_line_42 |  | 41 | 42 | 0.007962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_97-2_1_4_line_43 |  | 41 | 43 | 0.027169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_97-2_1_4_line_44 |  | 42 | 44 | 0.021623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_97-2_1_4_line_45 |  | 42 | 45 | 0.085071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_97-2_1_4_line_46 |  | 44 | 51 | 0.009504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_97-2_1_4_line_47 |  | 44 | 54 | 0.027365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_97-2_1_4_line_48 |  | 44 | 55 | 0.035509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_97-2_1_4_line_49 |  | 45 | 63 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_97-2_1_4_line_50 |  | 46 | 47 | 0.18627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_97-2_1_4_line_51 |  | 46 | 48 | 0.091351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_97-2_1_4_line_52 |  | 47 | 50 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_97-2_1_4_line_53 |  | 47 | 51 | 0.12469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_97-2_1_4_line_54 |  | 48 | 52 | 0.024514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_97-2_1_4_line_55 |  | 49 | 64 | 0.028969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_97-2_1_4_line_56 |  | 49 | 65 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_97-2_1_4_line_57 |  | 50 | 66 | 0.023414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_97-2_1_4_line_58 |  | 51 | 57 | 0.057817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_97-2_1_4_line_59 |  | 52 | 53 | 0.00032518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_97-2_1_4_line_60 |  | 53 | 67 | 0.019271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_97-2_1_4_line_61 |  | 54 | 56 | 0.012366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_97-2_1_4_line_62 |  | 56 | 62 | 0.030486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_97-2_1_4_line_63 |  | 56 | 59 | 0.1217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_97-2_1_4_line_64 |  | 58 | 59 | 0.036874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_97-2_1_4_line_65 |  | 58 | 60 | 0.034404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_97-2_1_4_line_66 |  | 59 | 61 | 0.073238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_97-2_1_4_line_67 |  | 63 | 76 | 0.080482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_97-2_1_4_line_68 |  | 65 | 75 | 0.017277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_97-2_1_4_line_69 |  | 66 | 70 | 0.016746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_97-2_1_4_line_70 |  | 67 | 77 | 0.0012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_97-2_1_4_line_71 |  | 68 | 69 | 0.01675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_97-2_1_4_line_72 |  | 69 | 70 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_97-2_1_4_line_73 |  | 69 | 71 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_97-2_1_4_line_74 |  | 71 | 72 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_97-2_1_4_line_75 |  | 72 | 73 | 0.037146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_97-2_1_4_line_76 |  | 74 | 75 | 0.026005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_97-2_1_4_line_77 |  | 77 | 78 | 0.0097053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_97-2_1_4_trafo_84 | 0.63 MVA 20/0.4 kV | 79 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2682069.9317 | 1254583.9892 | 2682070.4453 | 1254606.2575
1 | 2682070.4453 | 1254606.2575 | 2682049.6224 | 1254607.9346
2 | 2682069.9317 | 1254583.9892 | 2682127.3805 | 1254539.5519 | 2682191.9569 | 1254493.1459 | 2682208.6487 | 1254480.9572 | 2682225.2035 | 1254467.777 | 2682241.9926 | 1254450.2302 | 2682255.4961 | 1254434.0388 | 2682267.9218 | 1254416.6872
3 | 2682069.9317 | 1254583.9892 | 2682071.9754 | 1254548.2288
4 | 2682035.8155 | 1254609.0466 | 2682049.6224 | 1254607.9346
5 | 2682267.9218 | 1254416.6872 | 2682280.1512 | 1254396.1012
6 | 2682267.9218 | 1254416.6872 | 2682288.5116 | 1254433.1361
7 | 2682071.9754 | 1254548.2288 | 2682072.2925 | 1254542.6796 | 2682075.769 | 1254515.5851 | 2682094.335 | 1254409.8681
8 | 2682024.3435 | 1254595.7666 | 2682035.8155 | 1254609.0466
9 | 2682035.8155 | 1254609.0466 | 2682035.0026 | 1254612.727 | 2682028.13 | 1254618.3268
10 | 2681944.5682 | 1254584.516 | 2681979.6634 | 1254589.4654
11 | 2681990.2314 | 1254590.9558 | 2681979.6634 | 1254589.4654
12 | 2681954.4415 | 1254674.1161 | 2681958.7965 | 1254665.0449 | 2682014.9953 | 1254629.0289 | 2682028.13 | 1254618.3268
13 | 2681951.4942 | 1254680.2553 | 2681954.4415 | 1254674.1161
14 | 2682024.3435 | 1254595.7666 | 2682004.9894 | 1254593.0371
15 | 2682004.9894 | 1254593.0371 | 2681990.2314 | 1254590.9558
16 | 2682280.1512 | 1254396.1012 | 2682287.3837 | 1254383.9267
17 | 2682464.6121 | 1254575.8199 | 2682307.9244 | 1254448.6447 | 2682288.5116 | 1254433.1361
18 | 2682098.4797 | 1254387.4143 | 2682096.7554 | 1254396.0859 | 2682094.335 | 1254409.8681
19 | 2682419.6639 | 1254629.964 | 2682449.8576 | 1254593.5931
20 | 2682464.6121 | 1254575.8199 | 2682449.8576 | 1254593.5931
21 | 2682100.5727 | 1254376.8886 | 2682098.4797 | 1254387.4143
22 | 2682100.5727 | 1254376.8886 | 2682106.0221 | 1254349.4835
23 | 2682287.3837 | 1254383.9267 | 2682290.5704 | 1254378.5626
24 | 2682464.6121 | 1254575.8199 | 2682493.2823 | 1254547.5508
25 | 2682464.6121 | 1254575.8199 | 2682479.0937 | 1254586.9188 | 2682489.1086 | 1254597.4996 | 2682493.6712 | 1254611.3382
26 | 2682305.1003 | 1254354.1042 | 2682299.2904 | 1254363.884
27 | 2682305.1003 | 1254354.1042 | 2682310.9528 | 1254344.2526 | 2682313.5873 | 1254338.9143
28 | 2682299.2904 | 1254363.884 | 2682290.5704 | 1254378.5626
29 | 2682313.5873 | 1254338.9143 | 2682317.6118 | 1254330.7593
30 | 2682322.7294 | 1254320.3897 | 2682317.6118 | 1254330.7593
31 | 2682493.2823 | 1254547.5508 | 2682500.0297 | 1254540.8978 | 2682503.8412 | 1254536.6994
32 | 2682493.6712 | 1254611.3382 | 2682495.9996 | 1254618.4002 | 2682496.0511 | 1254618.4619
33 | 2682522.4675 | 1254649.0921 | 2682503.331 | 1254627.1867 | 2682496.0511 | 1254618.4619
34 | 2682522.4675 | 1254649.0921 | 2682555.5216 | 1254690.584 | 2682561.4709 | 1254701.0859 | 2682565.9303 | 1254712.39 | 2682570.6955 | 1254730.4367 | 2682575.6948 | 1254742.5155 | 2682578.8194 | 1254747.2886
35 | 2682522.4675 | 1254649.0921 | 2682480.4008 | 1254677.6307
36 | 2682480.4008 | 1254677.6307 | 2682464.7358 | 1254688.258
37 | 2682578.8194 | 1254747.2886 | 2682579.7133 | 1254748.6539 | 2682590.1994 | 1254761.4476
38 | 2682601.6555 | 1254775.4246 | 2682590.1994 | 1254761.4476
39 | 2682601.6555 | 1254775.4246 | 2682591.8039 | 1254782.3702
40 | 2682601.6555 | 1254775.4246 | 2682651.1796 | 1254837.2732 | 2682655.948 | 1254841.0204 | 2682661.1071 | 1254843.7945 | 2682654.9934 | 1254858.0533 | 2682659.9063 | 1254860.6349
41 | 2682702.0072 | 1254720.4499 | 2682713.2659 | 1254682.3864
42 | 2682702.0072 | 1254720.4499 | 2682709.2325 | 1254723.8423
43 | 2682702.0072 | 1254720.4499 | 2682695.9208 | 1254724.101 | 2682677.8331 | 1254715.4
44 | 2682709.2325 | 1254723.8423 | 2682714.4638 | 1254726.3172 | 2682709.7361 | 1254735.3135 | 2682714.6609 | 1254738.1289
45 | 2682709.2325 | 1254723.8423 | 2682728.4755 | 1254690.0076 | 2682737.5419 | 1254676.1127 | 2682753.6411 | 1254652.3974 | 2682754.2089 | 1254651.709
46 | 2682714.6609 | 1254738.1289 | 2682710.5202 | 1254746.6886
47 | 2682714.6609 | 1254738.1289 | 2682727.6495 | 1254714.0254
48 | 2682714.6609 | 1254738.1289 | 2682745.817 | 1254755.1642
49 | 2682754.2089 | 1254651.709 | 2682763.4204 | 1254640.541
50 | 2682581.2188 | 1255020.3248 | 2682588.634 | 1255017.6483 | 2682636.6046 | 1254902.0967 | 2682654.9934 | 1254858.0533 | 2682659.9063 | 1254860.6349
51 | 2682581.2188 | 1255020.3248 | 2682577.1278 | 1255022.1024 | 2682569.723 | 1255029.4381 | 2682558.1638 | 1255044.7218 | 2682534.7862 | 1255083.0695 | 2682527.8343 | 1255093.3292
52 | 2682659.9063 | 1254860.6349 | 2682662.9019 | 1254862.2112 | 2682668.8506 | 1254866.2529 | 2682679.4675 | 1254876.6482
53 | 2682659.9063 | 1254860.6349 | 2682666.0478 | 1254846.0096 | 2682700.1909 | 1254771.0739 | 2682710.5202 | 1254746.6886
54 | 2682506.5197 | 1255103.0797 | 2682514.8064 | 1255102.2834 | 2682520.1319 | 1255100.1449 | 2682525.8593 | 1255096.2439 | 2682527.8343 | 1255093.3292
55 | 2682591.8039 | 1254782.3702 | 2682609.5769 | 1254805.2462
56 | 2682591.8039 | 1254782.3702 | 2682579.0687 | 1254792.8467
57 | 2682696.1975 | 1254893.029 | 2682679.4675 | 1254876.6482
58 | 2682710.5202 | 1254746.6886 | 2682761.4644 | 1254774.0285
59 | 2682506.5197 | 1255103.0797 | 2682506.2355 | 1255102.9217
60 | 2682506.2355 | 1255102.9217 | 2682489.9162 | 1255093.8526 | 2682489.3872 | 1255093.5682
61 | 2682733.9245 | 1254703.3605 | 2682727.6495 | 1254714.0254
62 | 2682733.9245 | 1254703.3605 | 2682760.3917 | 1254718.4902
63 | 2682733.9245 | 1254703.3605 | 2682744.1418 | 1254687.002 | 2682768.8943 | 1254651.9657 | 2682787.3245 | 1254631.519 | 2682802.6695 | 1254615.8994 | 2682810.257 | 1254609.0447
64 | 2682839.4532 | 1254586.4581 | 2682825.104 | 1254596.6763 | 2682810.257 | 1254609.0447
65 | 2682839.4532 | 1254586.4581 | 2682846.5216 | 1254593.5179 | 2682866.5399 | 1254607.4932
66 | 2682810.257 | 1254609.0447 | 2682840.9677 | 1254631.8803 | 2682821.1979 | 1254660.7226
67 | 2682821.4817 | 1254585.0865 | 2682804.5741 | 1254598.4017 | 2682789.0679 | 1254612.5957 | 2682766.7338 | 1254636.5239 | 2682763.4204 | 1254640.541
68 | 2682565.7262 | 1254803.8229 | 2682579.0687 | 1254792.8467
69 | 2682711.2494 | 1254899.1141 | 2682699.6691 | 1254896.4281 | 2682696.1975 | 1254893.029
70 | 2682488.2458 | 1255092.9546 | 2682489.3872 | 1255093.5682
71 | 2682728.4914 | 1254881.5638 | 2682737.7902 | 1254891.5012 | 2682736.3424 | 1254894.288
72 | 2682711.2494 | 1254899.1141 | 2682728.4914 | 1254881.5638
73 | 2682735.7616 | 1254874.1709 | 2682728.4914 | 1254881.5638
74 | 2682735.7616 | 1254874.1709 | 2682748.0434 | 1254867.9173
75 | 2682774.3164 | 1254844.0148 | 2682766.2836 | 1254858.63 | 2682748.0434 | 1254867.9173
76 | 2682565.7262 | 1254803.8229 | 2682545.457 | 1254820.1147
77 | 2682488.2458 | 1255092.9546 | 2682479.6974 | 1255088.3591

## bus_geodata
| x | y | coords
0 | 2682070.4453 | 1254606.2575
1 | 2682069.9317 | 1254583.9892
2 | 2682049.6224 | 1254607.9346
3 | 2682267.9218 | 1254416.6872
4 | 2682071.9754 | 1254548.2288
5 | 2682035.8155 | 1254609.0466
6 | 2681944.5682 | 1254584.516
7 | 2681979.6634 | 1254589.4654
8 | 2681954.4415 | 1254674.1161
9 | 2682028.13 | 1254618.3268
10 | 2681951.4942 | 1254680.2553
11 | 2682024.3435 | 1254595.7666
12 | 2682004.9894 | 1254593.0371
13 | 2681990.2314 | 1254590.9558
14 | 2682280.1512 | 1254396.1012
15 | 2682288.5116 | 1254433.1361
16 | 2682094.335 | 1254409.8681
17 | 2682419.6639 | 1254629.964
18 | 2682449.8576 | 1254593.593
19 | 2682098.4797 | 1254387.4143
20 | 2682100.5727 | 1254376.8886
21 | 2682106.0221 | 1254349.4835
22 | 2682287.3837 | 1254383.9267
23 | 2682464.6121 | 1254575.8199
24 | 2682305.1003 | 1254354.1042
25 | 2682299.2904 | 1254363.884
26 | 2682313.5873 | 1254338.9143
27 | 2682290.5704 | 1254378.5626
28 | 2682317.6118 | 1254330.7593
29 | 2682322.7294 | 1254320.3897
30 | 2682493.2823 | 1254547.5508
31 | 2682493.6712 | 1254611.3382
32 | 2682503.8412 | 1254536.6994
33 | 2682496.0511 | 1254618.4619
34 | 2682522.4675 | 1254649.0921
35 | 2682480.4008 | 1254677.6307
36 | 2682464.7358 | 1254688.258
37 | 2682578.8194 | 1254747.2886
38 | 2682590.1994 | 1254761.4476
39 | 2682601.6555 | 1254775.4246
40 | 2682713.2659 | 1254682.3864
41 | 2682702.0072 | 1254720.4499
42 | 2682709.2325 | 1254723.8423
43 | 2682677.8331 | 1254715.4
44 | 2682714.6609 | 1254738.1289
45 | 2682754.2089 | 1254651.709
46 | 2682581.2188 | 1255020.3248
47 | 2682659.9063 | 1254860.6349
48 | 2682527.8343 | 1255093.3292
49 | 2682591.8039 | 1254782.3702
50 | 2682679.4675 | 1254876.6482
51 | 2682710.5202 | 1254746.6886
52 | 2682506.5197 | 1255103.0797
53 | 2682506.2355 | 1255102.9217
54 | 2682727.6495 | 1254714.0254
55 | 2682745.817 | 1254755.1642
56 | 2682733.9245 | 1254703.3605
57 | 2682761.4644 | 1254774.0285
58 | 2682839.4532 | 1254586.4581
59 | 2682810.257 | 1254609.0447
60 | 2682866.5399 | 1254607.4932
61 | 2682821.1979 | 1254660.7226
62 | 2682760.3917 | 1254718.4902
63 | 2682763.4204 | 1254640.541
64 | 2682609.5769 | 1254805.2462
65 | 2682579.0687 | 1254792.8467
66 | 2682696.1975 | 1254893.029
67 | 2682489.3872 | 1255093.5682
68 | 2682736.3424 | 1254894.288
69 | 2682728.4914 | 1254881.5638
70 | 2682711.2494 | 1254899.1141
71 | 2682735.7616 | 1254874.1709
72 | 2682748.0434 | 1254867.9173
73 | 2682774.3164 | 1254844.0148
74 | 2682545.457 | 1254820.1147
75 | 2682565.7262 | 1254803.8229
76 | 2682821.4817 | 1254585.0865
77 | 2682488.2458 | 1255092.9546
78 | 2682479.6974 | 1255088.3591
79 | 2682601.6555 | 1254775.4246

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1