## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_97-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_97-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_97-6_0_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_97-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_97-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_97-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_97-6_0_5_node_97 | 0.4 | n |  | TRUE
7 | bus_LV_97-6_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_97-6_0_5_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_97-6_0_5_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_97-6_0_5_node_98 | 0.4 | n |  | TRUE
11 | bus_LV_97-6_0_5_node_123 | 0.4 | n |  | TRUE
12 | bus_LV_97-6_0_5_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_97-6_0_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_97-6_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_97-6_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_97-6_0_5_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_97-6_0_5_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_97-6_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_97-6_0_5_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_97-6_0_5_node_122 | 0.4 | n |  | TRUE
21 | bus_LV_97-6_0_5_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_97-6_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_97-6_0_5_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_97-6_0_5_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_97-6_0_5_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_97-6_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_97-6_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_97-6_0_5_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_97-6_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_97-6_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_97-6_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_97-6_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_97-6_0_5_node_121 | 0.4 | n |  | TRUE
34 | bus_LV_97-6_0_5_node_118 | 0.4 | n |  | TRUE
35 | bus_LV_97-6_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_97-6_0_5_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_97-6_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_97-6_0_5_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_97-6_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_97-6_0_5_node_126 | 0.4 | n |  | TRUE
41 | bus_LV_97-6_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_97-6_0_5_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_97-6_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_97-6_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_97-6_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_97-6_0_5_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_97-6_0_5_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_97-6_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_97-6_0_5_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_97-6_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_97-6_0_5_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_97-6_0_5_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_97-6_0_5_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_97-6_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_97-6_0_5_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_97-6_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_97-6_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_97-6_0_5_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_97-6_0_5_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_97-6_0_5_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_97-6_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_97-6_0_5_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_97-6_0_5_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_97-6_0_5_node_120 | 0.4 | n |  | TRUE
65 | bus_LV_97-6_0_5_node_125 | 0.4 | n |  | TRUE
66 | bus_LV_97-6_0_5_node_119 | 0.4 | n |  | TRUE
67 | bus_LV_97-6_0_5_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_97-6_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_97-6_0_5_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_97-6_0_5_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_97-6_0_5_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_97-6_0_5_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_97-6_0_5_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_97-6_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_97-6_0_5_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_97-6_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_97-6_0_5_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_97-6_0_5_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_97-6_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_97-6_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_97-6_0_5_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_97-6_0_5_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_97-6_0_5_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_97-6_0_5_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_97-6_0_5_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_97-6_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_97-6_0_5_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_97-6_0_5_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_97-6_0_5_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_97-6_0_5_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_97-6_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_97-6_0_5_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_97-6_0_5_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_97-6_0_5_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_97-6_0_5_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_97-6_0_5_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_97-6_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_97-6_0_5_node_111 | 0.4 | n |  | TRUE
99 | bus_LV_97-6_0_5_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_97-6_0_5_node_117 | 0.4 | n |  | TRUE
101 | bus_LV_97-6_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_97-6_0_5_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_97-6_0_5_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_97-6_0_5_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_97-6_0_5_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_97-6_0_5_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_97-6_0_5_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_97-6_0_5_node_114 | 0.4 | n |  | TRUE
109 | bus_LV_97-6_0_5_node_105 | 0.4 | n |  | TRUE
110 | bus_LV_97-6_0_5_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_97-6_0_5_node_115 | 0.4 | n |  | TRUE
112 | bus_LV_97-6_0_5_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_97-6_0_5_node_107 | 0.4 | n |  | TRUE
114 | bus_LV_97-6_0_5_node_108 | 0.4 | n |  | TRUE
115 | bus_MV_468_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_97-6_0_5_load_0 | 0 | 0.0040075 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_97-6_0_5_load_97 | 6 | 0.0057344 | 0.0014372 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_97-6_0_5_load_113 | 8 | 0.0040699 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_97-6_0_5_load_39 | 9 | 0.0045029 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_97-6_0_5_load_98 | 10 | 0.0030363 | 0.00076097 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_97-6_0_5_load_123 | 11 | 0.0079983 | 0.0020046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_97-6_0_5_load_41 | 12 | 0.0010177 | 0.00025505 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_97-6_0_5_load_40 | 13 | 0.0016271 | 0.00040779 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_97-6_0_5_load_42 | 16 | 0.014763 | 0.0037 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_97-6_0_5_load_48 | 19 | 0.0067133 | 0.0016825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_97-6_0_5_load_122 | 20 | 0.010935 | 0.0027405 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_97-6_0_5_load_83 | 21 | 0.0051282 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_97-6_0_5_load_90 | 23 | 0.0047663 | 0.0011945 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_97-6_0_5_load_89 | 25 | 0.0013845 | 0.000347 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_97-6_0_5_load_50 | 28 | 0.0082823 | 0.0020758 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_97-6_0_5_load_49 | 29 | 0.0013906 | 0.00034851 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_97-6_0_5_load_118 | 34 | 0.0040013 | 0.0010028 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_97-6_0_5_load_47 | 36 | 0.001572 | 0.00039398 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_97-6_0_5_load_74 | 38 | 0.01144 | 0.0028672 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_97-6_0_5_load_126 | 40 | 0.01468 | 0.003679 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_97-6_0_5_load_56 | 42 | 0.010618 | 0.002661 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_97-6_0_5_load_54 | 44 | 0.081494 | 0.020424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_97-6_0_5_load_81 | 46 | 0.0070244 | 0.0017605 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_97-6_0_5_load_79 | 47 | 0.010444 | 0.0026176 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_97-6_0_5_load_80 | 49 | 0.0060236 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_97-6_0_5_load_84 | 51 | 0.00087396 | 0.00021903 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_97-6_0_5_load_82 | 52 | 0.0051535 | 0.0012916 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_97-6_0_5_load_112 | 53 | 0.0025253 | 0.0006329 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_97-6_0_5_load_91 | 55 | 0.0021198 | 0.00053127 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_97-6_0_5_load_37 | 56 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_97-6_0_5_load_36 | 57 | 0.043745 | 0.010963 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_97-6_0_5_load_88 | 58 | 0.0018018 | 0.00045156 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_97-6_0_5_load_59 | 60 | 0.0081556 | 0.002044 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_97-6_0_5_load_78 | 62 | 0.0044494 | 0.0011151 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_97-6_0_5_load_77 | 63 | 0.004115 | 0.0010313 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_97-6_0_5_load_125 | 65 | 0.011928 | 0.0029893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_97-6_0_5_load_124 | 67 | 0.0050548 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_97-6_0_5_load_43 | 69 | 0.019297 | 0.0048362 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_97-6_0_5_load_72 | 71 | 0.010145 | 0.0025425 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_97-6_0_5_load_51 | 72 | 0.012732 | 0.003191 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_97-6_0_5_load_52 | 73 | 0.014364 | 0.0035998 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_97-6_0_5_load_44 | 75 | 0.0017929 | 0.00044935 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_97-6_0_5_load_53 | 76 | 0.0049848 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_97-6_0_5_load_58 | 77 | 0.014922 | 0.0037398 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_97-6_0_5_load_57 | 78 | 0.041014 | 0.010279 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_97-6_0_5_load_66 | 79 | 0.018827 | 0.0047185 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_97-6_0_5_load_60 | 81 | 0.0031281 | 0.00078398 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_97-6_0_5_load_61 | 82 | 0.0033319 | 0.00083505 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_97-6_0_5_load_64 | 84 | 0.00223 | 0.0005589 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_97-6_0_5_load_65 | 85 | 0.0051134 | 0.0012815 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_97-6_0_5_load_71 | 86 | 0.0059173 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_97-6_0_5_load_70 | 87 | 0.0064836 | 0.0016249 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_97-6_0_5_load_75 | 88 | 0.0065886 | 0.0016513 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_97-6_0_5_load_69 | 89 | 0.01724 | 0.0043208 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_97-6_0_5_load_85 | 90 | 0.0043178 | 0.0010821 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_97-6_0_5_load_87 | 92 | 0.0085618 | 0.0021458 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_97-6_0_5_load_92 | 93 | 0.00043201 | 0.00010827 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_97-6_0_5_load_93 | 94 | 0.000432 | 0.00010827 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_97-6_0_5_load_94 | 95 | 0.00066384 | 0.00016637 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_97-6_0_5_load_95 | 96 | 0.00053279 | 0.00013353 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_97-6_0_5_load_110 | 99 | 0.00043179 | 0.00010822 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_97-6_0_5_load_117 | 100 | 0.00068373 | 0.00017136 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_97-6_0_5_load_109 | 101 | 0.0013545 | 0.00033946 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_97-6_0_5_load_99 | 102 | 0.0013531 | 0.00033911 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_97-6_0_5_load_100 | 103 | 0.0028838 | 0.00072274 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_97-6_0_5_load_103 | 106 | 0.0013545 | 0.00033947 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_97-6_0_5_load_114 | 108 | 0.015859 | 0.0039746 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_97-6_0_5_load_105 | 109 | 0.0013545 | 0.00033947 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_97-6_0_5_load_116 | 110 | 0.0013545 | 0.00033947 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_97-6_0_5_load_115 | 111 | 0.0055019 | 0.0013789 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_97-6_0_5_load_106 | 112 | 0.0013552 | 0.00033963 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_97-6_0_5_load_107 | 113 | 0.0013537 | 0.00033928 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_97-6_0_5_load_108 | 114 | 0.00043178 | 0.00010821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_97-6_0_5_line_0 |  | 0 | 1 | 0.069583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_97-6_0_5_line_1 |  | 1 | 2 | 0.26544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_97-6_0_5_line_2 |  | 2 | 10 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_97-6_0_5_line_3 |  | 2 | 11 | 0.01541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_97-6_0_5_line_4 |  | 3 | 4 | 0.046508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_97-6_0_5_line_5 |  | 3 | 5 | 0.077031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_97-6_0_5_line_6 |  | 3 | 6 | 0.025729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_97-6_0_5_line_7 |  | 4 | 7 | 0.14169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_97-6_0_5_line_8 |  | 4 | 8 | 0.010005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_97-6_0_5_line_9 |  | 5 | 9 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_97-6_0_5_line_10 |  | 6 | 10 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_97-6_0_5_line_11 |  | 7 | 12 | 0.037028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_97-6_0_5_line_12 |  | 7 | 13 | 0.033144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_97-6_0_5_line_13 |  | 8 | 53 | 0.009258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_97-6_0_5_line_14 |  | 9 | 54 | 0.057172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_97-6_0_5_line_15 |  | 14 | 15 | 0.07476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_97-6_0_5_line_16 |  | 14 | 16 | 0.0073312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_97-6_0_5_line_17 |  | 15 | 17 | 0.029507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_97-6_0_5_line_18 |  | 15 | 18 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_97-6_0_5_line_19 |  | 15 | 19 | 0.023037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_97-6_0_5_line_20 |  | 17 | 29 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_97-6_0_5_line_21 |  | 18 | 20 | 0.025109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_97-6_0_5_line_22 |  | 18 | 21 | 0.033817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_97-6_0_5_line_23 |  | 20 | 55 | 0.032926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_97-6_0_5_line_24 |  | 21 | 52 | 0.038019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_97-6_0_5_line_25 |  | 22 | 23 | 0.007295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_97-6_0_5_line_26 |  | 22 | 24 | 0.007595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_97-6_0_5_line_27 |  | 22 | 25 | 0.0077055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_97-6_0_5_line_28 |  | 24 | 58 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_97-6_0_5_line_29 |  | 24 | 59 | 0.027381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_97-6_0_5_line_30 |  | 25 | 35 | 0.028264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_97-6_0_5_line_31 |  | 26 | 27 | 0.017238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_97-6_0_5_line_32 |  | 26 | 28 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_97-6_0_5_line_33 |  | 27 | 33 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_97-6_0_5_line_34 |  | 27 | 34 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_97-6_0_5_line_35 |  | 28 | 30 | 0.0068192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_97-6_0_5_line_36 |  | 30 | 31 | 0.013143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_97-6_0_5_line_37 |  | 30 | 32 | 0.020064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_97-6_0_5_line_38 |  | 31 | 37 | 0.028519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_97-6_0_5_line_39 |  | 32 | 35 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_97-6_0_5_line_40 |  | 32 | 36 | 0.029638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_97-6_0_5_line_41 |  | 33 | 67 | 0.036003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_97-6_0_5_line_42 |  | 34 | 66 | 0.0041951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_97-6_0_5_line_43 |  | 36 | 68 | 0.018369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_97-6_0_5_line_44 |  | 37 | 38 | 0.0010095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_97-6_0_5_line_45 |  | 38 | 70 | 0.030791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_97-6_0_5_line_46 |  | 39 | 40 | 0.016449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_97-6_0_5_line_47 |  | 39 | 41 | 0.089086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_97-6_0_5_line_48 |  | 41 | 42 | 0.083392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_97-6_0_5_line_49 |  | 42 | 43 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_97-6_0_5_line_50 |  | 43 | 44 | 0.068341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_97-6_0_5_line_51 |  | 44 | 61 | 0.026748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_97-6_0_5_line_52 |  | 45 | 46 | 0.025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_97-6_0_5_line_53 |  | 45 | 47 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_97-6_0_5_line_54 |  | 47 | 48 | 0.018338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_97-6_0_5_line_55 |  | 48 | 49 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_97-6_0_5_line_56 |  | 48 | 50 | 0.025594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_97-6_0_5_line_57 |  | 50 | 51 | 0.029259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_97-6_0_5_line_58 |  | 50 | 52 | 0.016278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_97-6_0_5_line_59 |  | 51 | 74 | 0.0066461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_97-6_0_5_line_60 |  | 53 | 105 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_97-6_0_5_line_61 |  | 54 | 57 | 0.031404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_97-6_0_5_line_62 |  | 56 | 57 | 0.029288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_97-6_0_5_line_63 |  | 59 | 86 | 0.017958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_97-6_0_5_line_64 |  | 59 | 82 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_97-6_0_5_line_65 |  | 60 | 61 | 0.023225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_97-6_0_5_line_66 |  | 61 | 78 | 0.032499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_97-6_0_5_line_67 |  | 61 | 77 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_97-6_0_5_line_68 |  | 62 | 63 | 0.013656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_97-6_0_5_line_69 |  | 63 | 84 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_97-6_0_5_line_70 |  | 64 | 65 | 0.00069978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_97-6_0_5_line_71 |  | 64 | 66 | 0.03069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_97-6_0_5_line_72 |  | 66 | 108 | 0.025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_97-6_0_5_line_73 |  | 68 | 69 | 0.014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_97-6_0_5_line_74 |  | 69 | 75 | 0.0017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_97-6_0_5_line_75 |  | 70 | 71 | 0.035481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_97-6_0_5_line_76 |  | 70 | 88 | 0.021584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_97-6_0_5_line_77 |  | 72 | 73 | 0.022259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_97-6_0_5_line_78 |  | 73 | 76 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_97-6_0_5_line_79 |  | 74 | 90 | 0.0066344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_97-6_0_5_line_80 |  | 74 | 80 | 0.029686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_97-6_0_5_line_81 |  | 76 | 77 | 0.027516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_97-6_0_5_line_82 |  | 78 | 79 | 0.0034884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_97-6_0_5_line_83 |  | 79 | 80 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_97-6_0_5_line_84 |  | 80 | 89 | 0.020082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_97-6_0_5_line_85 |  | 81 | 82 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_97-6_0_5_line_86 |  | 81 | 83 | 0.0040372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_97-6_0_5_line_87 |  | 83 | 84 | 0.021982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_97-6_0_5_line_88 |  | 83 | 85 | 0.023598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_97-6_0_5_line_89 |  | 86 | 87 | 0.0062342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_97-6_0_5_line_90 |  | 87 | 89 | 0.023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_97-6_0_5_line_91 |  | 90 | 91 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_97-6_0_5_line_92 |  | 91 | 92 | 0.025161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_97-6_0_5_line_93 |  | 93 | 94 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_97-6_0_5_line_94 |  | 93 | 95 | 0.0024584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_97-6_0_5_line_95 |  | 94 | 96 | 0.00065966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_97-6_0_5_line_96 |  | 95 | 97 | 0.02338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_97-6_0_5_line_97 |  | 97 | 98 | 0.099048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_97-6_0_5_line_98 |  | 97 | 99 | 0.031619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_97-6_0_5_line_99 |  | 98 | 100 | 0.076424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_97-6_0_5_line_100 |  | 99 | 101 | 0.0051674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_97-6_0_5_line_101 |  | 101 | 114 | 0.01986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_97-6_0_5_line_102 |  | 102 | 103 | 0.031133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_97-6_0_5_line_103 |  | 102 | 104 | 0.023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_97-6_0_5_line_104 |  | 103 | 105 | 0.034173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_97-6_0_5_line_105 |  | 104 | 106 | 0.00966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_97-6_0_5_line_106 |  | 104 | 107 | 0.025606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_97-6_0_5_line_107 |  | 105 | 108 | 0.046901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_97-6_0_5_line_108 |  | 106 | 109 | 0.02558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_97-6_0_5_line_109 |  | 107 | 110 | 0.0039604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_97-6_0_5_line_110 |  | 107 | 111 | 0.0059123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_97-6_0_5_line_111 |  | 109 | 112 | 0.0086949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_97-6_0_5_line_112 |  | 112 | 113 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_97-6_0_5_line_113 |  | 113 | 114 | 0.0048453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_97-6_0_5_trafo_88 | 0.63 MVA 20/0.4 kV | 115 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2682537.5782 | 1256740.0215 | 2682547.518 | 1256745.4419 | 2682563.5099 | 1256750.591 | 2682581.7018 | 1256756.9829 | 2682602.6521 | 1256764.2632
1 | 2682537.5782 | 1256740.0215 | 2682554.9634 | 1256718.8255 | 2682571.3213 | 1256693.9791 | 2682577.4482 | 1256682.4113 | 2682612.7047 | 1256636.5904 | 2682615.1505 | 1256627.2507 | 2682614.9359 | 1256609.6677 | 2682613.5123 | 1256598.1946 | 2682613.4522 | 1256594.9357 | 2682614.7679 | 1256587.6708 | 2682617.92 | 1256580.6761 | 2682625.4346 | 1256574.5318 | 2682632.7217 | 1256571.7203 | 2682647.2222 | 1256568.6648 | 2682657.9236 | 1256563.31 | 2682667.0389 | 1256553.7967 | 2682672.9218 | 1256545.6838 | 2682662.8035 | 1256537.9144
2 | 2682662.8035 | 1256537.9144 | 2682668.5198 | 1256529.8547 | 2682674.5359 | 1256519.7975
3 | 2682662.8035 | 1256537.9144 | 2682654.9921 | 1256532.3678 | 2682650.7401 | 1256528.3791
4 | 2682648.0571 | 1256470.0124 | 2682694.2106 | 1256476.7619
5 | 2682694.2106 | 1256476.7619 | 2682696.2455 | 1256474.1661 | 2682703.5451 | 1256475.3245 | 2682713.6877 | 1256473.8095 | 2682721.7332 | 1256468.0063 | 2682744.8981 | 1256440.8093 | 2682736.0534 | 1256435.2592
6 | 2682694.2106 | 1256476.7619 | 2682683.3462 | 1256491.6104 | 2682682.4878 | 1256498.8906
7 | 2682648.0571 | 1256470.0124 | 2682652.091 | 1256476.0289 | 2682661.3752 | 1256478.1934 | 2682673.963 | 1256480.8823 | 2682749.4859 | 1256507.5242 | 2682749.0891 | 1256508.9308 | 2682749.4751 | 1256509.9147 | 2682751.4079 | 1256513.5445 | 2682749.7732 | 1256514.489 | 2682746.8381 | 1256508.6436 | 2682750.6601 | 1256505.5391 | 2682754.4166 | 1256494.1718
8 | 2682648.0571 | 1256470.0124 | 2682638.1399 | 1256468.6899
9 | 2682736.0534 | 1256435.2592 | 2682721.2284 | 1256423.4992
10 | 2682682.4878 | 1256498.8906 | 2682681.3698 | 1256508.3733 | 2682674.5359 | 1256519.7975
11 | 2682754.4166 | 1256494.1718 | 2682777.2511 | 1256502.4528 | 2682789.0751 | 1256507.1914
12 | 2682754.4166 | 1256494.1718 | 2682755.6172 | 1256487.5947 | 2682753.6496 | 1256473.512 | 2682761.0445 | 1256463.7605
13 | 2682628.9631 | 1256467.4661 | 2682638.1399 | 1256468.6899
14 | 2682676.4377 | 1256387.9684 | 2682721.2284 | 1256423.4992
15 | 2682612.0162 | 1256280.2096 | 2682617.3072 | 1256273.9898 | 2682620.3131 | 1256270.4624 | 2682646.0363 | 1256290.1586 | 2682664.8261 | 1256267.3368
16 | 2682664.8261 | 1256267.3368 | 2682669.4752 | 1256261.6683
17 | 2682594.6149 | 1256304.0739 | 2682609.3543 | 1256283.9531 | 2682612.0162 | 1256280.2096
18 | 2682602.708 | 1256277.5778 | 2682606.2422 | 1256279.4285 | 2682608.1172 | 1256276.9417 | 2682612.0162 | 1256280.2096
19 | 2682612.0162 | 1256280.2096 | 2682630.0732 | 1256294.5153
20 | 2682594.6149 | 1256304.0739 | 2682583.7303 | 1256318.3939
21 | 2682602.708 | 1256277.5778 | 2682591.665 | 1256291.7123 | 2682587.3771 | 1256297.4613
22 | 2682602.708 | 1256277.5778 | 2682572.756 | 1256261.8777
23 | 2682587.3771 | 1256297.4613 | 2682581.5116 | 1256305.3255 | 2682574.6465 | 1256314.092 | 2682568.7778 | 1256322.2608 | 2682567.6582 | 1256323.8238
24 | 2682539.0825 | 1256244.2269 | 2682572.756 | 1256261.8777
25 | 2682509.2719 | 1256355.0897 | 2682505.4139 | 1256355.9143 | 2682505.8177 | 1256359.2397
26 | 2682507.5423 | 1256347.6933 | 2682509.2719 | 1256355.0897
27 | 2682509.2719 | 1256355.0897 | 2682512.8043 | 1256354.3606 | 2682513.288 | 1256358.4306
28 | 2682507.5423 | 1256347.6933 | 2682510.8394 | 1256341.6569 | 2682515.18 | 1256329.5555
29 | 2682483.5571 | 1256334.7827 | 2682502.9079 | 1256343.6145 | 2682507.5423 | 1256347.6933
30 | 2682526.5025 | 1256379.6596 | 2682522.9183 | 1256378.6978 | 2682520.1932 | 1256377.7925 | 2682517.2216 | 1256375.6272 | 2682515.1925 | 1256372.9413 | 2682514.5728 | 1256369.241 | 2682513.288 | 1256358.4306
31 | 2682519.8574 | 1256431.6176 | 2682523.9338 | 1256436.2223 | 2682525.8803 | 1256441.042 | 2682526.0696 | 1256446.938
32 | 2682519.8574 | 1256431.6176 | 2682522.2409 | 1256426.1911 | 2682521.7033 | 1256421.4801 | 2682521.3326 | 1256418.9563
33 | 2682518.2321 | 1256460.0054 | 2682523.1703 | 1256453.6472 | 2682524.0382 | 1256452.5251 | 2682526.0696 | 1256446.938
34 | 2682526.0696 | 1256446.938 | 2682537.1646 | 1256453.9202 | 2682538.2937 | 1256454.9432
35 | 2682519.0974 | 1256412.5592 | 2682521.0764 | 1256417.2125 | 2682521.3326 | 1256418.9563
36 | 2682508.1111 | 1256405.3451 | 2682513.5743 | 1256408.935 | 2682519.0974 | 1256412.5592
37 | 2682519.0974 | 1256412.5592 | 2682526.2628 | 1256401.7175 | 2682528.8512 | 1256395.1263
38 | 2682483.3772 | 1256416.3978 | 2682492.345 | 1256415.8445 | 2682497.4314 | 1256414.5477 | 2682501.6941 | 1256412.2831 | 2682505.258 | 1256409.2861 | 2682508.1111 | 1256405.3451
39 | 2682526.5025 | 1256379.6596 | 2682530.607 | 1256382.7969 | 2682533.9575 | 1256385.3678 | 2682531.1894 | 1256389.1655 | 2682528.8512 | 1256395.1263
40 | 2682528.8512 | 1256395.1263 | 2682545.0493 | 1256399.6221 | 2682552.9279 | 1256389.4998
41 | 2682518.2321 | 1256460.0054 | 2682509.1225 | 1256473.4443 | 2682495.9012 | 1256488.1401
42 | 2682541.4025 | 1256457.76 | 2682538.2937 | 1256454.9432
43 | 2682564.2104 | 1256375.0039 | 2682552.9279 | 1256389.4998
44 | 2682483.3772 | 1256416.3978 | 2682482.3752 | 1256416.5204
45 | 2682451.7394 | 1256419.5485 | 2682469.4307 | 1256418.1048 | 2682482.3752 | 1256416.5204
46 | 2682403.9978 | 1256166.6251 | 2682405.213 | 1256171.9794 | 2682414.7383 | 1256177.4495
47 | 2682399.8228 | 1256106.2545 | 2682391.1373 | 1256116.2968 | 2682371.1185 | 1256143.4612 | 2682402.6043 | 1256160.5344 | 2682403.9978 | 1256166.6251
48 | 2682399.8228 | 1256106.2545 | 2682466.8592 | 1256155.8571
49 | 2682481.473 | 1256166.6704 | 2682466.8592 | 1256155.8571
50 | 2682481.473 | 1256166.6704 | 2682443.8437 | 1256221.8995 | 2682442.9321 | 1256223.1044
51 | 2682426.7933 | 1256244.4348 | 2682442.9321 | 1256223.1044
52 | 2682547.2088 | 1256177.7725 | 2682550.4233 | 1256184.7004 | 2682552.1522 | 1256192.6861 | 2682558.9276 | 1256199.3661
53 | 2682547.2088 | 1256177.7725 | 2682529.923 | 1256196.0124
54 | 2682522.8671 | 1256212.0148 | 2682524.3278 | 1256201.9164 | 2682529.923 | 1256196.0124
55 | 2682522.8671 | 1256212.0148 | 2682508.5426 | 1256208.4483
56 | 2682522.8671 | 1256212.0148 | 2682526.8061 | 1256223.7787 | 2682526.1126 | 1256232.9426 | 2682524.6653 | 1256236.6697
57 | 2682524.6653 | 1256236.6697 | 2682515.2115 | 1256254.7517 | 2682511.4118 | 1256262.7493
58 | 2682524.6653 | 1256236.6697 | 2682539.0825 | 1256244.2269
59 | 2682512.24 | 1256269.3436 | 2682511.4118 | 1256262.7493
60 | 2682612.4796 | 1256465.2679 | 2682628.9631 | 1256467.4661
61 | 2682676.4377 | 1256387.9684 | 2682656.2514 | 1256412.0254
62 | 2682656.2514 | 1256412.0254 | 2682642.9513 | 1256427.8758 | 2682638.7832 | 1256427.6841 | 2682634.4997 | 1256426.5791
63 | 2682483.5571 | 1256334.7827 | 2682479.6299 | 1256330.825 | 2682478.9125 | 1256324.399 | 2682479.6004 | 1256318.5226
64 | 2682483.5571 | 1256334.7827 | 2682470.8345 | 1256340.1095 | 2682469.1219 | 1256340.6861 | 2682466.1826 | 1256341.296
65 | 2682426.7933 | 1256244.4348 | 2682406.2731 | 1256233.5575
66 | 2682426.7933 | 1256244.4348 | 2682456.5891 | 1256257.4114
67 | 2682426.7933 | 1256244.4348 | 2682418.6985 | 1256259.6213
68 | 2682403.7282 | 1256356.599 | 2682403.7282 | 1256356.599 | 2682394.5768 | 1256355.1706 | 2682390.698 | 1256353.107
69 | 2682403.7282 | 1256356.599 | 2682416.7438 | 1256354.5897 | 2682423.8156 | 1256352.62 | 2682428.2581 | 1256349.0332
70 | 2682520.102 | 1256474.5686 | 2682520.5704 | 1256474.0487
71 | 2682520.5704 | 1256474.0487 | 2682523.9733 | 1256477.1874 | 2682532.6074 | 1256467.5671 | 2682541.4025 | 1256457.76
72 | 2682567.2491 | 1256458.2985 | 2682541.4025 | 1256457.76
73 | 2682564.2104 | 1256375.0039 | 2682576.579 | 1256367.2992
74 | 2682576.579 | 1256367.2992 | 2682578.0773 | 1256366.3659
75 | 2682451.7394 | 1256419.5485 | 2682416.3758 | 1256422.4309
76 | 2682451.7394 | 1256419.5485 | 2682450.5966 | 1256397.995
77 | 2682380.3535 | 1256312.3803 | 2682388.3344 | 1256305.1457 | 2682395.2374 | 1256295.9639
78 | 2682395.2374 | 1256295.9639 | 2682404.7744 | 1256283.2785
79 | 2682512.24 | 1256269.3436 | 2682517.4593 | 1256273.4393
80 | 2682482.4722 | 1256268.684 | 2682512.24 | 1256269.3436
81 | 2682418.6985 | 1256259.6213 | 2682409.2903 | 1256277.2717 | 2682404.7744 | 1256283.2785
82 | 2682459.7874 | 1256258.8044 | 2682456.5891 | 1256257.4114
83 | 2682482.4722 | 1256268.684 | 2682459.7874 | 1256258.8044
84 | 2682482.4722 | 1256268.684 | 2682482.4874 | 1256288.7665
85 | 2682451.5669 | 1256341.6131 | 2682459.3794 | 1256342.7076 | 2682466.1826 | 1256341.296
86 | 2682447.5688 | 1256341.053 | 2682451.5669 | 1256341.6131
87 | 2682447.5688 | 1256341.053 | 2682442.8866 | 1256340.3984 | 2682436.2035 | 1256342.6181 | 2682428.2581 | 1256349.0332
88 | 2682447.5688 | 1256341.053 | 2682443.9947 | 1256350.1879 | 2682443.2513 | 1256352.6572 | 2682446.4829 | 1256363.3911
89 | 2682479.6004 | 1256318.5226 | 2682480.3252 | 1256312.3307
90 | 2682482.4874 | 1256288.7665 | 2682482.4913 | 1256293.8256 | 2682480.3252 | 1256312.3307
91 | 2682529.4227 | 1256287.6303 | 2682529.1895 | 1256284.3468 | 2682527.691 | 1256281.4682 | 2682517.4593 | 1256273.4393
92 | 2682529.4227 | 1256287.6303 | 2682540.0869 | 1256291.4596 | 2682545.0062 | 1256291.873 | 2682549.0801 | 1256290.1729 | 2682552.3001 | 1256286.9709
93 | 2682511.6735 | 1256653.0928 | 2682526.7354 | 1256664.8577
94 | 2682511.6735 | 1256653.0928 | 2682509.7361 | 1256651.5795
95 | 2682526.7354 | 1256664.8577 | 2682527.2553 | 1256665.2637
96 | 2682491.3106 | 1256637.1873 | 2682509.7361 | 1256651.5795
97 | 2682423.5665 | 1256708.8986 | 2682429.0299 | 1256706.5061 | 2682474.1377 | 1256657.7638 | 2682491.3106 | 1256637.1873
98 | 2682491.3106 | 1256637.1873 | 2682511.5684 | 1256612.9105
99 | 2682423.5665 | 1256708.8986 | 2682430.0407 | 1256715.149 | 2682440.8466 | 1256722.8275 | 2682451.1201 | 1256728.119 | 2682462.4919 | 1256730.368 | 2682480.4993 | 1256729.9852 | 2682492.2618 | 1256731.25 | 2682493.4401 | 1256731.2809
100 | 2682514.8791 | 1256608.943 | 2682511.5684 | 1256612.9105
101 | 2682514.8791 | 1256608.943 | 2682527.6029 | 1256593.6948
102 | 2682582.4652 | 1256522.7593 | 2682594.9393 | 1256505.0758 | 2682599.2587 | 1256496.6232
103 | 2682568.9601 | 1256541.6079 | 2682571.2488 | 1256538.6598 | 2682582.4652 | 1256522.7593
104 | 2682612.4796 | 1256465.2679 | 2682608.7541 | 1256471.732 | 2682603.0808 | 1256489.1439 | 2682599.2587 | 1256496.6232
105 | 2682568.9601 | 1256541.6079 | 2682563.0368 | 1256549.2387
106 | 2682591.2969 | 1256554.2179 | 2682581.757 | 1256549.3034 | 2682568.9601 | 1256541.6079
107 | 2682567.2491 | 1256458.2985 | 2682582.2912 | 1256458.6085 | 2682602.5132 | 1256459.0242 | 2682612.4796 | 1256465.2679
108 | 2682563.0368 | 1256549.2387 | 2682547.3518 | 1256569.445
109 | 2682591.2969 | 1256554.2179 | 2682595.0479 | 1256552.9471
110 | 2682591.2969 | 1256554.2179 | 2682593.4903 | 1256559.7083
111 | 2682547.3518 | 1256569.445 | 2682542.0202 | 1256576.3135
112 | 2682530.7072 | 1256589.9746 | 2682540.8668 | 1256577.7994 | 2682542.0202 | 1256576.3135
113 | 2682530.7072 | 1256589.9746 | 2682527.6029 | 1256593.6948

## bus_geodata
| x | y | coords
0 | 2682602.6521 | 1256764.2632
1 | 2682537.5782 | 1256740.0215
2 | 2682662.8035 | 1256537.9144
3 | 2682694.2106 | 1256476.7619
4 | 2682648.0571 | 1256470.0124
5 | 2682736.0534 | 1256435.2592
6 | 2682682.4878 | 1256498.8906
7 | 2682754.4166 | 1256494.1718
8 | 2682638.1399 | 1256468.6899
9 | 2682721.2284 | 1256423.4992
10 | 2682674.5359 | 1256519.7975
11 | 2682650.7401 | 1256528.3791
12 | 2682789.0751 | 1256507.1914
13 | 2682761.0445 | 1256463.7605
14 | 2682664.8261 | 1256267.3368
15 | 2682612.0162 | 1256280.2096
16 | 2682669.4752 | 1256261.6683
17 | 2682594.6149 | 1256304.0739
18 | 2682602.708 | 1256277.5778
19 | 2682630.0732 | 1256294.5153
20 | 2682587.3771 | 1256297.4613
21 | 2682572.756 | 1256261.8777
22 | 2682509.2719 | 1256355.0897
23 | 2682505.8177 | 1256359.2397
24 | 2682507.5423 | 1256347.6933
25 | 2682513.288 | 1256358.4306
26 | 2682519.8574 | 1256431.6176
27 | 2682526.0696 | 1256446.938
28 | 2682521.3326 | 1256418.9563
29 | 2682583.7303 | 1256318.3939
30 | 2682519.0974 | 1256412.5592
31 | 2682508.1111 | 1256405.3451
32 | 2682528.8512 | 1256395.1263
33 | 2682518.2321 | 1256460.0054
34 | 2682538.2937 | 1256454.9432
35 | 2682526.5025 | 1256379.6596
36 | 2682552.9279 | 1256389.4998
37 | 2682483.3772 | 1256416.3978
38 | 2682482.3752 | 1256416.5204
39 | 2682403.9978 | 1256166.6251
40 | 2682414.7383 | 1256177.4495
41 | 2682399.8228 | 1256106.2545
42 | 2682466.8592 | 1256155.8571
43 | 2682481.473 | 1256166.6704
44 | 2682442.9321 | 1256223.1044
45 | 2682547.2088 | 1256177.7725
46 | 2682558.9276 | 1256199.3661
47 | 2682529.923 | 1256196.0124
48 | 2682522.8671 | 1256212.0148
49 | 2682508.5426 | 1256208.4483
50 | 2682524.6653 | 1256236.6697
51 | 2682511.4118 | 1256262.7493
52 | 2682539.0825 | 1256244.2269
53 | 2682628.9631 | 1256467.4661
54 | 2682676.4377 | 1256387.9684
55 | 2682567.6582 | 1256323.8238
56 | 2682634.4997 | 1256426.5791
57 | 2682656.2514 | 1256412.0254
58 | 2682515.18 | 1256329.5555
59 | 2682483.5571 | 1256334.7827
60 | 2682406.2731 | 1256233.5575
61 | 2682426.7933 | 1256244.4348
62 | 2682390.698 | 1256353.107
63 | 2682403.7282 | 1256356.599
64 | 2682520.5704 | 1256474.0487
65 | 2682520.102 | 1256474.5686
66 | 2682541.4025 | 1256457.76
67 | 2682495.9012 | 1256488.1401
68 | 2682564.2104 | 1256375.0039
69 | 2682576.579 | 1256367.2992
70 | 2682451.7394 | 1256419.5485
71 | 2682416.3758 | 1256422.4309
72 | 2682380.3535 | 1256312.3803
73 | 2682395.2374 | 1256295.9639
74 | 2682512.24 | 1256269.3436
75 | 2682578.0773 | 1256366.3659
76 | 2682404.7744 | 1256283.2785
77 | 2682418.6985 | 1256259.6213
78 | 2682456.5891 | 1256257.4114
79 | 2682459.7874 | 1256258.8044
80 | 2682482.4722 | 1256268.684
81 | 2682451.5669 | 1256341.6131
82 | 2682466.1826 | 1256341.296
83 | 2682447.5688 | 1256341.053
84 | 2682428.2581 | 1256349.0332
85 | 2682446.4829 | 1256363.3911
86 | 2682479.6004 | 1256318.5226
87 | 2682480.3252 | 1256312.3307
88 | 2682450.5966 | 1256397.995
89 | 2682482.4874 | 1256288.7665
90 | 2682517.4593 | 1256273.4393
91 | 2682529.4227 | 1256287.6303
92 | 2682552.3001 | 1256286.9709
93 | 2682511.6735 | 1256653.0928
94 | 2682526.7354 | 1256664.8577
95 | 2682509.7361 | 1256651.5795
96 | 2682527.2553 | 1256665.2637
97 | 2682491.3106 | 1256637.1873
98 | 2682423.5665 | 1256708.8986
99 | 2682511.5684 | 1256612.9105
100 | 2682493.4401 | 1256731.2809
101 | 2682514.8791 | 1256608.943
102 | 2682582.4652 | 1256522.7593
103 | 2682599.2587 | 1256496.6232
104 | 2682568.9601 | 1256541.6079
105 | 2682612.4796 | 1256465.2679
106 | 2682563.0368 | 1256549.2387
107 | 2682591.2969 | 1256554.2179
108 | 2682567.2491 | 1256458.2985
109 | 2682547.3518 | 1256569.445
110 | 2682595.0479 | 1256552.9471
111 | 2682593.4903 | 1256559.7083
112 | 2682542.0202 | 1256576.3135
113 | 2682530.7072 | 1256589.9746
114 | 2682527.6029 | 1256593.6948
115 | 2682507.5423 | 1256347.6933

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1