## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_98-1_1_1_node_264 | 0.4 | n |  | TRUE
1 | bus_LV_98-1_1_1_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_98-1_1_1_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_98-1_1_1_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_98-1_1_1_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_98-1_1_1_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_98-1_1_1_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_98-1_1_1_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_98-1_1_1_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_98-1_1_1_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_98-1_1_1_node_67 | 0.4 | n |  | TRUE
11 | bus_LV_98-1_1_1_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_98-1_1_1_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_98-1_1_1_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_98-1_1_1_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_98-1_1_1_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_98-1_1_1_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_98-1_1_1_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_98-1_1_1_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_98-1_1_1_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_98-1_1_1_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_98-1_1_1_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_98-1_1_1_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_98-1_1_1_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_98-1_1_1_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_98-1_1_1_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_98-1_1_1_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_98-1_1_1_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_98-1_1_1_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_98-1_1_1_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_98-1_1_1_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_98-1_1_1_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_98-1_1_1_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_98-1_1_1_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_98-1_1_1_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_98-1_1_1_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_98-1_1_1_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_98-1_1_1_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_98-1_1_1_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_98-1_1_1_node_87 | 0.4 | n |  | TRUE
40 | bus_LV_98-1_1_1_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_98-1_1_1_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_98-1_1_1_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_98-1_1_1_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_98-1_1_1_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_98-1_1_1_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_98-1_1_1_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_98-1_1_1_node_72 | 0.4 | n |  | TRUE
48 | bus_LV_98-1_1_1_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_98-1_1_1_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_98-1_1_1_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_98-1_1_1_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_98-1_1_1_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_98-1_1_1_node_191 | 0.4 | n |  | TRUE
54 | bus_LV_98-1_1_1_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_98-1_1_1_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_98-1_1_1_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_98-1_1_1_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_98-1_1_1_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_98-1_1_1_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_98-1_1_1_node_192 | 0.4 | n |  | TRUE
61 | bus_MV_425_0_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_98-1_1_1_load_264 | 0 | 0.0031318 | 0.00078492 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_98-1_1_1_load_25 | 2 | 0.00083938 | 0.00021037 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_98-1_1_1_load_26 | 3 | 0.00037298 | 9.3478e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_98-1_1_1_load_28 | 5 | 0.00030744 | 7.7051e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_98-1_1_1_load_29 | 6 | 0.0011156 | 0.0002796 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_98-1_1_1_load_34 | 8 | 0.00094755 | 0.00023748 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_98-1_1_1_load_92 | 9 | 0.0012374 | 0.00031012 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_98-1_1_1_load_86 | 11 | 0.0015772 | 0.00039529 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_98-1_1_1_load_31 | 12 | 0.00079949 | 0.00020037 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_98-1_1_1_load_32 | 13 | 0.0010623 | 0.00026624 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_98-1_1_1_load_35 | 15 | 0.00090727 | 0.00022738 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_98-1_1_1_load_40 | 16 | 0.0012178 | 0.0003052 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_98-1_1_1_load_36 | 17 | 0.00097655 | 0.00024475 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_98-1_1_1_load_37 | 18 | 0.0010416 | 0.00026106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_98-1_1_1_load_38 | 19 | 0.0013458 | 0.00033728 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_98-1_1_1_load_53 | 20 | 0.0012973 | 0.00032514 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_98-1_1_1_load_55 | 22 | 0.002661 | 0.0006669 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_98-1_1_1_load_95 | 25 | 0.0027671 | 0.00069351 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_98-1_1_1_load_93 | 26 | 0.0024579 | 0.00061601 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_98-1_1_1_load_57 | 27 | 0.0025114 | 0.00062942 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_98-1_1_1_load_58 | 28 | 0.0012525 | 0.0003139 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_98-1_1_1_load_60 | 30 | 0.0056899 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_98-1_1_1_load_61 | 31 | 0.0032463 | 0.0008136 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_98-1_1_1_load_62 | 32 | 0.0036156 | 0.00090616 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_98-1_1_1_load_63 | 35 | 0.001308 | 0.00032782 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_98-1_1_1_load_64 | 36 | 0.0030248 | 0.00075809 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_98-1_1_1_load_87 | 39 | 0.00072994 | 0.00018294 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_98-1_1_1_load_96 | 40 | 0.00064406 | 0.00016142 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_98-1_1_1_load_91 | 41 | 0.0016003 | 0.00040108 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_98-1_1_1_load_89 | 42 | 0.0045157 | 0.0011317 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_98-1_1_1_load_70 | 43 | 0.0014156 | 0.00035477 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_98-1_1_1_load_71 | 44 | 0.0010928 | 0.00027387 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_98-1_1_1_load_75 | 45 | 0.001146 | 0.00028722 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_98-1_1_1_load_83 | 46 | 0.007012 | 0.0017574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_98-1_1_1_load_72 | 47 | 0.0024589 | 0.00061625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_98-1_1_1_load_74 | 48 | 0.0013413 | 0.00033616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_98-1_1_1_load_76 | 49 | 0.0027959 | 0.00070072 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_98-1_1_1_load_77 | 50 | 0.0013409 | 0.00033607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_98-1_1_1_load_78 | 51 | 0.00083746 | 0.00020989 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_98-1_1_1_load_79 | 52 | 0.0034466 | 0.0008638 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_98-1_1_1_load_80 | 54 | 0.00092207 | 0.00023109 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_98-1_1_1_load_90 | 55 | 0.001193 | 0.000299 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_98-1_1_1_load_81 | 56 | 0.0081746 | 0.0020487 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_98-1_1_1_load_88 | 58 | 0.0081445 | 0.0020412 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_98-1_1_1_load_85 | 59 | 0.00079229 | 0.00019857 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_98-1_1_1_load_192 | 60 | 0.00098333 | 0.00024645 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_98-1_1_1_line_0 |  | 0 | 1 | 0.03371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_98-1_1_1_line_1 |  | 1 | 10 | 0.007372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_98-1_1_1_line_2 |  | 2 | 3 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_98-1_1_1_line_3 |  | 2 | 4 | 0.016896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_98-1_1_1_line_4 |  | 3 | 5 | 0.0071421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_98-1_1_1_line_5 |  | 4 | 6 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_98-1_1_1_line_6 |  | 4 | 7 | 0.03398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_98-1_1_1_line_7 |  | 6 | 8 | 0.003369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_98-1_1_1_line_8 |  | 7 | 9 | 0.011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_98-1_1_1_line_9 |  | 7 | 10 | 0.057526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_98-1_1_1_line_10 |  | 7 | 11 | 0.028743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_98-1_1_1_line_11 |  | 8 | 13 | 0.02128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_98-1_1_1_line_12 |  | 9 | 17 | 0.024037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_98-1_1_1_line_13 |  | 10 | 41 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_98-1_1_1_line_14 |  | 10 | 42 | 0.033817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_98-1_1_1_line_15 |  | 11 | 59 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_98-1_1_1_line_16 |  | 12 | 13 | 0.0040432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_98-1_1_1_line_17 |  | 12 | 14 | 0.017089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_98-1_1_1_line_18 |  | 14 | 15 | 0.029711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_98-1_1_1_line_19 |  | 15 | 16 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_98-1_1_1_line_20 |  | 16 | 19 | 0.002889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_98-1_1_1_line_21 |  | 18 | 19 | 0.0073843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_98-1_1_1_line_22 |  | 20 | 21 | 0.041312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_98-1_1_1_line_23 |  | 21 | 22 | 0.016589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_98-1_1_1_line_24 |  | 21 | 23 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_98-1_1_1_line_25 |  | 22 | 24 | 0.013085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_98-1_1_1_line_26 |  | 23 | 25 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_98-1_1_1_line_27 |  | 23 | 26 | 0.021386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_98-1_1_1_line_28 |  | 24 | 43 | 0.01418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_98-1_1_1_line_29 |  | 24 | 44 | 0.0054422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_98-1_1_1_line_30 |  | 25 | 38 | 0.035095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_98-1_1_1_line_31 |  | 27 | 28 | 0.023117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_98-1_1_1_line_32 |  | 27 | 29 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_98-1_1_1_line_33 |  | 28 | 30 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_98-1_1_1_line_34 |  | 29 | 31 | 0.032491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_98-1_1_1_line_35 |  | 29 | 32 | 0.02644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_98-1_1_1_line_36 |  | 30 | 33 | 0.012157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_98-1_1_1_line_37 |  | 31 | 34 | 0.00935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_98-1_1_1_line_38 |  | 33 | 58 | 0.032563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_98-1_1_1_line_39 |  | 33 | 57 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_98-1_1_1_line_40 |  | 34 | 47 | 0.0011849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_98-1_1_1_line_41 |  | 35 | 36 | 0.020954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_98-1_1_1_line_42 |  | 35 | 37 | 0.022863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_98-1_1_1_line_43 |  | 37 | 38 | 0.006326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_98-1_1_1_line_44 |  | 38 | 39 | 0.047129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_98-1_1_1_line_45 |  | 38 | 40 | 0.024572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_98-1_1_1_line_46 |  | 39 | 59 | 0.027077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_98-1_1_1_line_47 |  | 42 | 55 | 0.032279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_98-1_1_1_line_48 |  | 43 | 45 | 0.0028915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_98-1_1_1_line_49 |  | 44 | 46 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_98-1_1_1_line_50 |  | 45 | 48 | 0.0090779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_98-1_1_1_line_51 |  | 46 | 57 | 0.0013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_98-1_1_1_line_52 |  | 48 | 49 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_98-1_1_1_line_53 |  | 50 | 51 | 0.025138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_98-1_1_1_line_54 |  | 50 | 52 | 0.0074224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_98-1_1_1_line_55 |  | 51 | 53 | 0.35216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_98-1_1_1_line_56 |  | 52 | 54 | 0.03518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_98-1_1_1_line_57 |  | 53 | 60 | 0.029157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_98-1_1_1_line_58 |  | 54 | 55 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_98-1_1_1_line_59 |  | 56 | 57 | 0.04343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_98-1_1_1_trafo_264 | 0.63 MVA 20/0.4 kV | 61 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2672152.6018 | 1261816.0579 | 2672160.5325 | 1261812.0293 | 2672170.1158 | 1261834.9524
1 | 2672170.1158 | 1261834.9524 | 2672172.8444 | 1261833.6402 | 2672176.7628 | 1261831.7644
2 | 2672267.7247 | 1261794.1755 | 2672287.3113 | 1261783.3218 | 2672288.8658 | 1261782.4533
3 | 2672252.938 | 1261802.3497 | 2672254.9557 | 1261801.2513 | 2672267.7247 | 1261794.1755
4 | 2672295.1007 | 1261778.9696 | 2672288.8658 | 1261782.4533
5 | 2672252.938 | 1261802.3497 | 2672256.5521 | 1261814.7767
6 | 2672223.1543 | 1261818.8652 | 2672252.938 | 1261802.3497
7 | 2672257.4929 | 1261818.0117 | 2672256.5521 | 1261814.7767
8 | 2672223.1543 | 1261818.8652 | 2672226.9573 | 1261829.5645
9 | 2672176.7628 | 1261831.7644 | 2672179.0537 | 1261836.6738 | 2672220.7953 | 1261814.5887 | 2672223.1543 | 1261818.8652
10 | 2672223.1543 | 1261818.8652 | 2672197.6683 | 1261832.1557
11 | 2672257.4929 | 1261818.0117 | 2672259.8798 | 1261826.2191 | 2672262.115 | 1261826.4355 | 2672264.7172 | 1261836.5941
12 | 2672226.9573 | 1261829.5645 | 2672235.0077 | 1261852.2132
13 | 2672176.7628 | 1261831.7644 | 2672169.0664 | 1261813.7659
14 | 2672176.7628 | 1261831.7644 | 2672192.4288 | 1261824.2721 | 2672207.0392 | 1261816.7104
15 | 2672179.9868 | 1261841.1612 | 2672187.4224 | 1261837.4988 | 2672197.6683 | 1261832.1557
16 | 2672265.7206 | 1261840.5109 | 2672264.7172 | 1261836.5941
17 | 2672269.9612 | 1261857.0655 | 2672265.7206 | 1261840.5109
18 | 2672269.9612 | 1261857.0655 | 2672294.0911 | 1261847.542 | 2672296.9148 | 1261845.0448
19 | 2672296.9148 | 1261845.0448 | 2672297.0923 | 1261844.8878 | 2672308.1499 | 1261840.6578
20 | 2672308.1499 | 1261840.6578 | 2672310.8482 | 1261839.6256
21 | 2672317.7451 | 1261836.9873 | 2672310.8482 | 1261839.6256
22 | 2672092.5638 | 1261811.1224 | 2672070.0866 | 1261816.7417 | 2672054.5551 | 1261814.4397 | 2672052.1162 | 1261814.3169
23 | 2672092.5638 | 1261811.1224 | 2672089.6669 | 1261794.7881
24 | 2672093.6094 | 1261828.5705 | 2672094.4924 | 1261821.6538 | 2672092.895 | 1261813.0056 | 2672092.5638 | 1261811.1224
25 | 2672087.3819 | 1261781.9039 | 2672089.6669 | 1261794.7881
26 | 2672093.6094 | 1261828.5705 | 2672096.9374 | 1261842.3701
27 | 2672093.6094 | 1261828.5705 | 2672089.9424 | 1261832.6956 | 2672074.5067 | 1261836.3706
28 | 2672087.3819 | 1261781.9039 | 2672073.9967 | 1261786.584
29 | 2672087.3819 | 1261781.9039 | 2672085.6425 | 1261776.7471
30 | 2672113.1873 | 1261873.4762 | 2672096.9374 | 1261842.3701
31 | 2672120.4061 | 1261725.3569 | 2672106.1951 | 1261730.1274 | 2672098.5919 | 1261732.9958
32 | 2672137.6469 | 1261719.5694 | 2672120.4061 | 1261725.3569
33 | 2672098.5919 | 1261732.9958 | 2672085.792 | 1261737.8246
34 | 2672137.6469 | 1261719.5694 | 2672144.2212 | 1261736.5513 | 2672152.3354 | 1261735.3938 | 2672158.3279 | 1261736.4454
35 | 2672137.6469 | 1261719.5694 | 2672146.018 | 1261715.2683 | 2672145.2224 | 1261711.9227 | 2672158.1231 | 1261707.6516
36 | 2672074.4171 | 1261742.1159 | 2672085.792 | 1261737.8246
37 | 2672167.1587 | 1261733.3731 | 2672158.3279 | 1261736.4454
38 | 2672074.4171 | 1261742.1159 | 2672054.6908 | 1261749.5146 | 2672049.5378 | 1261748.2064 | 2672043.6722 | 1261750.1471
39 | 2672074.4171 | 1261742.1159 | 2672080.7706 | 1261759.2952
40 | 2672167.1587 | 1261733.3731 | 2672168.2783 | 1261732.9851
41 | 2672114.8132 | 1261897.8749 | 2672116.2427 | 1261904.0477 | 2672102.634 | 1261909.3845
42 | 2672107.5093 | 1261876.2981 | 2672112.6066 | 1261888.3471 | 2672114.8132 | 1261897.8749
43 | 2672113.1873 | 1261873.4762 | 2672107.5093 | 1261876.2981
44 | 2672113.1873 | 1261873.4762 | 2672155.6806 | 1261853.093
45 | 2672113.1873 | 1261873.4762 | 2672135.619 | 1261883.5055
46 | 2672179.9868 | 1261841.1612 | 2672158.8063 | 1261851.5937 | 2672155.6806 | 1261853.093
47 | 2672207.0392 | 1261816.7104 | 2672219.2113 | 1261810.4107 | 2672235.3898 | 1261801.2884
48 | 2672073.9967 | 1261786.584 | 2672071.2673 | 1261787.5384
49 | 2672081.06 | 1261760.6453 | 2672082.5387 | 1261767.5451 | 2672085.6425 | 1261776.7471
50 | 2672062.6981 | 1261790.5346 | 2672071.2673 | 1261787.5384
51 | 2672080.7706 | 1261759.2952 | 2672081.06 | 1261760.6453
52 | 2672062.6981 | 1261790.5346 | 2672041.2108 | 1261798.0477
53 | 2672282.4569 | 1261774.5934 | 2672290.6092 | 1261769.9632 | 2672304.2914 | 1261762.1361
54 | 2672282.4569 | 1261774.5934 | 2672276.0029 | 1261778.2591
55 | 2672364.3033 | 1261415.1298 | 2672304.2914 | 1261762.1361
56 | 2672245.4128 | 1261795.6336 | 2672276.0029 | 1261778.2591
57 | 2672364.3033 | 1261415.1298 | 2672372.1208 | 1261411.7895 | 2672391.5695 | 1261404.8322
58 | 2672245.4128 | 1261795.6336 | 2672244.6131 | 1261796.0878 | 2672235.3898 | 1261801.2884
59 | 2672080.7706 | 1261759.2952 | 2672040.11 | 1261774.5567

## bus_geodata
| x | y | coords
0 | 2672152.6018 | 1261816.0579
1 | 2672170.1158 | 1261834.9524
2 | 2672267.7247 | 1261794.1755
3 | 2672288.8658 | 1261782.4533
4 | 2672252.938 | 1261802.3497
5 | 2672295.1007 | 1261778.9696
6 | 2672256.5521 | 1261814.7767
7 | 2672223.1543 | 1261818.8652
8 | 2672257.4929 | 1261818.0117
9 | 2672226.9573 | 1261829.5645
10 | 2672176.7628 | 1261831.7644
11 | 2672197.6683 | 1261832.1557
12 | 2672265.7206 | 1261840.5109
13 | 2672264.7172 | 1261836.5941
14 | 2672269.9612 | 1261857.0655
15 | 2672296.9148 | 1261845.0448
16 | 2672308.1499 | 1261840.6578
17 | 2672235.0077 | 1261852.2132
18 | 2672317.7451 | 1261836.9873
19 | 2672310.8482 | 1261839.6256
20 | 2672052.1162 | 1261814.3169
21 | 2672092.5638 | 1261811.1224
22 | 2672089.6669 | 1261794.7881
23 | 2672093.6094 | 1261828.5705
24 | 2672087.3819 | 1261781.9039
25 | 2672096.9374 | 1261842.3701
26 | 2672074.5067 | 1261836.3706
27 | 2672120.4061 | 1261725.3569
28 | 2672098.5919 | 1261732.9958
29 | 2672137.6469 | 1261719.5694
30 | 2672085.792 | 1261737.8246
31 | 2672158.3279 | 1261736.4455
32 | 2672158.1231 | 1261707.6516
33 | 2672074.4171 | 1261742.1159
34 | 2672167.1587 | 1261733.3731
35 | 2672114.8132 | 1261897.8749
36 | 2672102.634 | 1261909.3845
37 | 2672107.5093 | 1261876.2981
38 | 2672113.1873 | 1261873.4762
39 | 2672155.6806 | 1261853.093
40 | 2672135.619 | 1261883.5055
41 | 2672169.0664 | 1261813.7659
42 | 2672207.0392 | 1261816.7104
43 | 2672073.9967 | 1261786.584
44 | 2672085.6425 | 1261776.7471
45 | 2672071.2673 | 1261787.5384
46 | 2672081.06 | 1261760.6453
47 | 2672168.2783 | 1261732.9851
48 | 2672062.6981 | 1261790.5346
49 | 2672041.2108 | 1261798.0477
50 | 2672282.4569 | 1261774.5934
51 | 2672304.2914 | 1261762.1361
52 | 2672276.0029 | 1261778.2591
53 | 2672364.3033 | 1261415.1298
54 | 2672245.4128 | 1261795.6336
55 | 2672235.3898 | 1261801.2884
56 | 2672040.11 | 1261774.5567
57 | 2672080.7706 | 1261759.2952
58 | 2672043.6722 | 1261750.1471
59 | 2672179.9868 | 1261841.1612
60 | 2672391.5695 | 1261404.8322
61 | 2672170.1158 | 1261834.9524

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1