## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1021-1_1_2_node_53 | 0.4 | n |  | TRUE
1 | bus_LV_1021-1_1_2_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_1021-1_1_2_node_19 | 0.4 | n |  | TRUE
3 | bus_LV_1021-1_1_2_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_1021-1_1_2_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_1021-1_1_2_node_70 | 0.4 | n |  | TRUE
6 | bus_LV_1021-1_1_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1021-1_1_2_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1021-1_1_2_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_1021-1_1_2_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_1021-1_1_2_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_1021-1_1_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1021-1_1_2_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_1021-1_1_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1021-1_1_2_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1021-1_1_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_1021-1_1_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1021-1_1_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1021-1_1_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1021-1_1_2_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1021-1_1_2_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_1021-1_1_2_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_1021-1_1_2_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_1021-1_1_2_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_1021-1_1_2_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_1021-1_1_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1021-1_1_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1021-1_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1021-1_1_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1021-1_1_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_1021-1_1_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_1021-1_1_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1021-1_1_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1021-1_1_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1021-1_1_2_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_1021-1_1_2_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_1021-1_1_2_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_1021-1_1_2_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_1021-1_1_2_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1021-1_1_2_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_1021-1_1_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1021-1_1_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1021-1_1_2_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1021-1_1_2_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_1021-1_1_2_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1021-1_1_2_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_1021-1_1_2_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_1021-1_1_2_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_1021-1_1_2_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_1021-1_1_2_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_1021-1_1_2_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_1021-1_1_2_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_1021-1_1_2_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_1021-1_1_2_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_1021-1_1_2_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_1021-1_1_2_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_1021-1_1_2_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_1021-1_1_2_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_1021-1_1_2_node_80 | 0.4 | n |  | TRUE
59 | bus_MV_470_1_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1021-1_1_2_load_53 | 0 | 0.0013917 | 0.0003488 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1021-1_1_2_load_28 | 1 | 0.0018947 | 0.00047485 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1021-1_1_2_load_19 | 2 | 0.0026803 | 0.00067176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1021-1_1_2_load_70 | 5 | 0.0016294 | 0.00040838 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1021-1_1_2_load_27 | 6 | 0.0015435 | 0.00038684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1021-1_1_2_load_45 | 8 | 0.0018817 | 0.00047161 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1021-1_1_2_load_35 | 9 | 0.0012493 | 0.0003131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1021-1_1_2_load_72 | 10 | 0.00071871 | 0.00018013 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1021-1_1_2_load_25 | 11 | 0.0015487 | 0.00038815 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1021-1_1_2_load_65 | 12 | 0.0013839 | 0.00034685 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1021-1_1_2_load_34 | 13 | 0.0031884 | 0.00079909 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1021-1_1_2_load_24 | 14 | 0.0013816 | 0.00034627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1021-1_1_2_load_26 | 15 | 0.0015286 | 0.00038311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1021-1_1_2_load_29 | 16 | 0.0043938 | 0.0011012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1021-1_1_2_load_30 | 17 | 0.0021158 | 0.00053027 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1021-1_1_2_load_31 | 18 | 0.0044357 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1021-1_1_2_load_32 | 19 | 0.0012529 | 0.00031401 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1021-1_1_2_load_33 | 20 | 0.0018547 | 0.00046482 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1021-1_1_2_load_51 | 21 | 0.0016092 | 0.00040332 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1021-1_1_2_load_60 | 22 | 0.0071006 | 0.0017796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1021-1_1_2_load_52 | 23 | 0.0013695 | 0.00034323 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1021-1_1_2_load_59 | 24 | 0.0047165 | 0.0011821 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1021-1_1_2_load_36 | 25 | 0.0012644 | 0.00031689 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1021-1_1_2_load_37 | 26 | 0.0021061 | 0.00052784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1021-1_1_2_load_38 | 27 | 0.002582 | 0.0006471 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1021-1_1_2_load_39 | 28 | 0.00091729 | 0.00022989 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1021-1_1_2_load_41 | 30 | 0.00068231 | 0.000171 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1021-1_1_2_load_42 | 31 | 0.00054538 | 0.00013669 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1021-1_1_2_load_43 | 32 | 0.00075136 | 0.00018831 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1021-1_1_2_load_44 | 33 | 0.0009286 | 0.00023273 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1021-1_1_2_load_57 | 34 | 0.0017946 | 0.00044977 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1021-1_1_2_load_68 | 35 | 0.0022612 | 0.00056671 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1021-1_1_2_load_79 | 36 | 0.00064443 | 0.00016151 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1021-1_1_2_load_56 | 37 | 0.00083656 | 0.00020966 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1021-1_1_2_load_77 | 39 | 0.0014237 | 0.0003568 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1021-1_1_2_load_46 | 40 | 0.0011842 | 0.00029678 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1021-1_1_2_load_47 | 41 | 0.0040867 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1021-1_1_2_load_48 | 42 | 0.00096785 | 0.00024257 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1021-1_1_2_load_66 | 45 | 0.0018889 | 0.00047341 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1021-1_1_2_load_67 | 46 | 0.0043361 | 0.0010867 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1021-1_1_2_load_78 | 47 | 0.0018989 | 0.00047591 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1021-1_1_2_load_71 | 49 | 0.0011223 | 0.00028128 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1021-1_1_2_load_73 | 50 | 0.0022188 | 0.00055609 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1021-1_1_2_load_58 | 51 | 0.00088112 | 0.00022083 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1021-1_1_2_load_61 | 52 | 0.0020844 | 0.0005224 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1021-1_1_2_load_62 | 53 | 0.00090318 | 0.00022636 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1021-1_1_2_load_63 | 54 | 0.0011804 | 0.00029583 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1021-1_1_2_load_69 | 55 | 0.0015842 | 0.00039703 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1021-1_1_2_load_74 | 56 | 0.0012101 | 0.00030329 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1021-1_1_2_load_76 | 57 | 0.0011911 | 0.00029852 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1021-1_1_2_load_80 | 58 | 0.00098744 | 0.00024748 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1021-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1021-1_1_2_line_1 | NAYY 4x150 SE | 1 | 15 | 0.0073682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1021-1_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1021-1_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.030479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1021-1_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.019903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1021-1_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.010354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1021-1_1_2_line_6 | NAYY 4x150 SE | 5 | 10 | 0.053114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1021-1_1_2_line_7 | NAYY 4x150 SE | 6 | 11 | 0.024941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1021-1_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.014308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1021-1_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.026965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1021-1_1_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.013192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1021-1_1_2_line_11 | NAYY 4x150 SE | 9 | 13 | 0.022733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1021-1_1_2_line_12 | NAYY 4x150 SE | 10 | 49 | 0.029204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1021-1_1_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.010252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1021-1_1_2_line_14 | NAYY 4x150 SE | 12 | 23 | 0.032109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1021-1_1_2_line_15 | NAYY 4x150 SE | 13 | 25 | 0.00092768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1021-1_1_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.014717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1021-1_1_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0017652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1021-1_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.012047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1021-1_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.022323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1021-1_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.013456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1021-1_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.041428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1021-1_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.020128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1021-1_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0015025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1021-1_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.002349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1021-1_1_2_line_25 | NAYY 4x150 SE | 24 | 51 | 0.021445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1021-1_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0095557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1021-1_1_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.011467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1021-1_1_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.016819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1021-1_1_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0015592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1021-1_1_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.021778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1021-1_1_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.060764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1021-1_1_2_line_32 | NAYY 4x150 SE | 29 | 33 | 0.02048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1021-1_1_2_line_33 | NAYY 4x150 SE | 31 | 34 | 0.0015983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1021-1_1_2_line_34 | NAYY 4x150 SE | 32 | 35 | 0.025731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1021-1_1_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.019581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1021-1_1_2_line_36 | NAYY 4x150 SE | 34 | 37 | 0.018749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1021-1_1_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.0041689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1021-1_1_2_line_38 | NAYY 4x150 SE | 36 | 39 | 0.00055989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1021-1_1_2_line_39 | NAYY 4x150 SE | 37 | 51 | 0.023773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1021-1_1_2_line_40 | NAYY 4x150 SE | 38 | 55 | 0.029092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1021-1_1_2_line_41 | NAYY 4x150 SE | 38 | 53 | 0.041827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1021-1_1_2_line_42 | NAYY 4x150 SE | 39 | 48 | 0.015652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1021-1_1_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.044146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1021-1_1_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.035901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1021-1_1_2_line_45 | NAYY 4x150 SE | 41 | 43 | 0.034658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1021-1_1_2_line_46 | NAYY 4x150 SE | 42 | 44 | 0.02132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1021-1_1_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.010125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1021-1_1_2_line_48 | NAYY 4x150 SE | 43 | 46 | 0.043088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1021-1_1_2_line_49 | NAYY 4x150 SE | 44 | 47 | 0.13529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1021-1_1_2_line_50 | NAYY 4x150 SE | 44 | 48 | 0.040744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1021-1_1_2_line_51 | NAYY 4x150 SE | 45 | 49 | 0.10186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1021-1_1_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.021826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1021-1_1_2_line_53 | NAYY 4x150 SE | 50 | 56 | 0.020778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1021-1_1_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.03229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1021-1_1_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.033564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1021-1_1_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.014548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1021-1_1_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0036847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1021-1_1_2_trafo_30 | 0.25 MVA 20/0.4 kV | 59 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2660565.1303 | 1234659.3356 | 2660556.6748 | 1234684.1294
1 | 2660565.1303 | 1234659.3356 | 2660567.5086 | 1234652.3618
2 | 2660596.7318 | 1234566.4486 | 2660614.0745 | 1234580.6261
3 | 2660596.7318 | 1234566.4486 | 2660586.9605 | 1234595.3235
4 | 2660586.9605 | 1234595.3235 | 2660575.8174 | 1234596.9221 | 2660567.1756 | 1234596.6559
5 | 2660586.9605 | 1234595.3235 | 2660583.6186 | 1234605.123
6 | 2660567.1756 | 1234596.6559 | 2660551.0132 | 1234596.1578 | 2660520.4252 | 1234591.7546 | 2660514.4582 | 1234590.8156
7 | 2660575.5681 | 1234628.7293 | 2660583.6186 | 1234605.123
8 | 2660504.0933 | 1234480.015 | 2660489.8544 | 1234478.6089
9 | 2660504.0933 | 1234480.015 | 2660507.3425 | 1234485.0291 | 2660509.5878 | 1234490.5111 | 2660510.9615 | 1234496.8404 | 2660510.6026 | 1234505.422
10 | 2660476.7258 | 1234477.3125 | 2660489.8544 | 1234478.6089
11 | 2660508.3167 | 1234528.0284 | 2660510.3912 | 1234510.4768 | 2660510.6026 | 1234505.422
12 | 2660514.4582 | 1234590.8156 | 2660485.6092 | 1234586.2757
13 | 2660572.259 | 1234638.4323 | 2660575.5681 | 1234628.7293
14 | 2660444.7373 | 1234474.5474 | 2660468.8175 | 1234476.5316 | 2660476.7258 | 1234477.3125
15 | 2660508.2078 | 1234528.9497 | 2660508.3167 | 1234528.0284
16 | 2660572.259 | 1234638.4323 | 2660567.5086 | 1234652.3618
17 | 2660377.9131 | 1234469.4982 | 2660379.6752 | 1234469.6014
18 | 2660377.9131 | 1234469.4982 | 2660366.0656 | 1234468.8045 | 2660365.8865 | 1234468.8112
19 | 2660401.9521 | 1234471.022 | 2660397.0818 | 1234470.6207 | 2660379.6752 | 1234469.6014
20 | 2660352.4397 | 1234469.3185 | 2660365.8865 | 1234468.8112
21 | 2660401.9521 | 1234471.022 | 2660443.2398 | 1234474.424
22 | 2660332.3614 | 1234469.57 | 2660334.7162 | 1234469.987 | 2660352.4397 | 1234469.3185
23 | 2660444.7373 | 1234474.5474 | 2660443.2398 | 1234474.424
24 | 2660332.3614 | 1234469.57 | 2660330.0485 | 1234469.1604
25 | 2660309.1781 | 1234464.467 | 2660315.2675 | 1234466.543 | 2660330.0485 | 1234469.1604
26 | 2660507.0862 | 1234538.4393 | 2660508.2078 | 1234528.9497
27 | 2660228.6575 | 1234451.3853 | 2660217.3011 | 1234452.9738
28 | 2660245.3142 | 1234449.0555 | 2660228.6575 | 1234451.3853
29 | 2660215.7569 | 1234453.1897 | 2660217.3011 | 1234452.9738
30 | 2660245.3142 | 1234449.0555 | 2660258.9209 | 1234450.8613 | 2660266.8111 | 1234452.4677
31 | 2660245.3142 | 1234449.0555 | 2660244.9153 | 1234443.6035 | 2660259.6697 | 1234415.8348 | 2660274.9672 | 1234397.5343
32 | 2660245.3142 | 1234449.0555 | 2660247.2396 | 1234456.9914 | 2660247.5155 | 1234469.3025
33 | 2660268.3772 | 1234452.7866 | 2660266.8111 | 1234452.4677
34 | 2660290.656 | 1234377.1468 | 2660278.6727 | 1234393.1014 | 2660274.9672 | 1234397.5343
35 | 2660247.5155 | 1234469.3025 | 2660247.5262 | 1234469.7804 | 2660247.005 | 1234488.8766
36 | 2660286.6765 | 1234456.7959 | 2660284.6114 | 1234456.0918 | 2660268.3772 | 1234452.7866
37 | 2660293.1597 | 1234373.8134 | 2660290.656 | 1234377.1468
38 | 2660247.005 | 1234488.8766 | 2660246.9898 | 1234489.4363
39 | 2660286.6765 | 1234456.7959 | 2660309.1781 | 1234464.467
40 | 2660293.1597 | 1234373.8134 | 2660276.8008 | 1234349.7567
41 | 2660293.1597 | 1234373.8134 | 2660310.6711 | 1234342.1925 | 2660313.3498 | 1234337.1826
42 | 2660246.5627 | 1234505.0827 | 2660246.9898 | 1234489.4363
43 | 2660297.9468 | 1234563.6443 | 2660323.4671 | 1234572.2177 | 2660340.0109 | 1234577.0108
44 | 2660297.9468 | 1234563.6443 | 2660276.5083 | 1234556.4422 | 2660263.8862 | 1234552.2975
45 | 2660373.7341 | 1234584.9364 | 2660348.6818 | 1234579.5229 | 2660340.0109 | 1234577.0108
46 | 2660243.6308 | 1234545.6463 | 2660263.8862 | 1234552.2975
47 | 2660373.7341 | 1234584.9364 | 2660383.8575 | 1234584.7634
48 | 2660373.7341 | 1234584.9364 | 2660378.3224 | 1234605.6632 | 2660383.4879 | 1234626.903
49 | 2660243.6308 | 1234545.6463 | 2660237.2158 | 1234562.4479 | 2660231.9741 | 1234583.7198 | 2660230.2267 | 1234606.0057 | 2660232.6224 | 1234622.8076 | 2660237.9406 | 1234643.9976 | 2660239.2131 | 1234650.626 | 2660240.8908 | 1234662.8399 | 2660240.1243 | 1234677.9643
50 | 2660243.6308 | 1234545.6463 | 2660245.6464 | 1234533.4921 | 2660246.4532 | 1234509.1621 | 2660246.5627 | 1234505.0827
51 | 2660383.8575 | 1234584.7634 | 2660446.76 | 1234583.6887 | 2660482.579 | 1234585.7988 | 2660485.6092 | 1234586.2757
52 | 2660246.5627 | 1234505.0827 | 2660268.3249 | 1234506.7515
53 | 2660268.3249 | 1234506.7515 | 2660289.0425 | 1234508.3401
54 | 2660330.424 | 1234309.9861 | 2660328.9224 | 1234311.5243 | 2660323.827 | 1234317.5876 | 2660313.3498 | 1234337.1826
55 | 2660330.424 | 1234309.9861 | 2660334.8122 | 1234305.4912 | 2660358.2707 | 1234291.562
56 | 2660303.5479 | 1234509.4524 | 2660289.0425 | 1234508.3401
57 | 2660307.2218 | 1234509.7341 | 2660303.5479 | 1234509.4524

## bus_geodata
| x | y | coords
0 | 2660556.6748 | 1234684.1294
1 | 2660565.1303 | 1234659.3356
2 | 2660614.0745 | 1234580.6261
3 | 2660596.7318 | 1234566.4486
4 | 2660586.9605 | 1234595.3235
5 | 2660567.1756 | 1234596.6559
6 | 2660583.6186 | 1234605.123
7 | 2660504.0933 | 1234480.015
8 | 2660489.8544 | 1234478.6089
9 | 2660510.6026 | 1234505.422
10 | 2660514.4582 | 1234590.8156
11 | 2660575.5681 | 1234628.7293
12 | 2660476.7258 | 1234477.3125
13 | 2660508.3167 | 1234528.0284
14 | 2660572.259 | 1234638.4323
15 | 2660567.5086 | 1234652.3618
16 | 2660377.9131 | 1234469.4982
17 | 2660379.6752 | 1234469.6014
18 | 2660365.8865 | 1234468.8112
19 | 2660401.9521 | 1234471.022
20 | 2660352.4397 | 1234469.3185
21 | 2660443.2398 | 1234474.424
22 | 2660332.3614 | 1234469.57
23 | 2660444.7373 | 1234474.5474
24 | 2660330.0485 | 1234469.1604
25 | 2660508.2078 | 1234528.9497
26 | 2660507.0862 | 1234538.4393
27 | 2660228.6575 | 1234451.3853
28 | 2660217.3011 | 1234452.9738
29 | 2660245.3142 | 1234449.0555
30 | 2660215.7569 | 1234453.1897
31 | 2660266.8111 | 1234452.4677
32 | 2660274.9672 | 1234397.5343
33 | 2660247.5155 | 1234469.3025
34 | 2660268.3772 | 1234452.7866
35 | 2660290.656 | 1234377.1468
36 | 2660247.005 | 1234488.8766
37 | 2660286.6765 | 1234456.7959
38 | 2660293.1597 | 1234373.8134
39 | 2660246.9898 | 1234489.4363
40 | 2660297.9468 | 1234563.6443
41 | 2660340.0109 | 1234577.0108
42 | 2660263.8862 | 1234552.2975
43 | 2660373.7341 | 1234584.9364
44 | 2660243.6308 | 1234545.6463
45 | 2660383.8575 | 1234584.7634
46 | 2660383.4879 | 1234626.903
47 | 2660240.1243 | 1234677.9643
48 | 2660246.5627 | 1234505.0827
49 | 2660485.6092 | 1234586.2757
50 | 2660268.3249 | 1234506.7515
51 | 2660309.1781 | 1234464.467
52 | 2660330.424 | 1234309.9861
53 | 2660313.3498 | 1234337.1826
54 | 2660358.2707 | 1234291.562
55 | 2660276.8008 | 1234349.7567
56 | 2660289.0425 | 1234508.3401
57 | 2660303.5479 | 1234509.4524
58 | 2660307.2218 | 1234509.7341
59 | 2660504.0933 | 1234480.015

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97304 | -0.19019 | 0.0013917 | 0.0003488
1 | 0.97309 | -0.1898 | 0.0018947 | 0.00047485
2 | 0.97354 | -0.18657 | 0.0026803 | 0.00067176
3 | 0.97363 | -0.18594 | 0 | 0
4 | 0.97375 | -0.18508 | 0 | 0
5 | 0.9741 | -0.18257 | 0.0016294 | 0.00040838
6 | 0.97361 | -0.18609 | 0.0015435 | 0.00038684
7 | 0.9978 | -0.015395 | 0 | 0
8 | 0.99796 | -0.014274 | 0.0018817 | 0.00047161
9 | 0.9975 | -0.017507 | 0.0012493 | 0.0003131
10 | 0.97515 | -0.17497 | 0.00071871 | 0.00018013
11 | 0.97332 | -0.18813 | 0.0015487 | 0.00038815
12 | 0.99815 | -0.012992 | 0.0013839 | 0.00034685
13 | 0.99729 | -0.019004 | 0.0031884 | 0.00079909
14 | 0.97323 | -0.1888 | 0.0013816 | 0.00034627
15 | 0.97313 | -0.18955 | 0.0015286 | 0.00038311
16 | 0.9998 | -0.0013749 | 0.0043938 | 0.0011012
17 | 1 | 0 | -0.095132 | -0.023773
18 | 0.99852 | -0.010243 | 0.0044357 | 0.0011117
19 | 0.99951 | -0.0034154 | 0.0012529 | 0.00031401
20 | 0.99717 | -0.019576 | 0.0018547 | 0.00046482
21 | 0.99868 | -0.0092418 | 0.0016092 | 0.00040332
22 | 0.99521 | -0.033207 | 0.0071006 | 0.0017796
23 | 0.99865 | -0.0094291 | 0.0013695 | 0.00034323
24 | 0.99501 | -0.034633 | 0.0047165 | 0.0011821
25 | 0.99728 | -0.019035 | 0.0012644 | 0.00031689
26 | 0.99726 | -0.019237 | 0.0021061 | 0.00052784
27 | 0.98809 | -0.083078 | 0.002582 | 0.0006471
28 | 0.98806 | -0.083266 | 0.00091729 | 0.00022989
29 | 0.98819 | -0.082359 | 0 | 0
30 | 0.98806 | -0.083276 | 0.00068231 | 0.000171
31 | 0.98982 | -0.070924 | 0.00054538 | 0.00013669
32 | 0.98742 | -0.087818 | 0.00075136 | 0.00018831
33 | 0.98704 | -0.090423 | 0.0009286 | 0.00023273
34 | 0.98994 | -0.070078 | 0.0017946 | 0.00044977
35 | 0.98712 | -0.089933 | 0.0022612 | 0.00056671
36 | 0.98598 | -0.097964 | 0.00064443 | 0.00016151
37 | 0.9914 | -0.05982 | 0.00083656 | 0.00020966
38 | 0.98709 | -0.090179 | 0 | 0
39 | 0.98594 | -0.098177 | 0.0014237 | 0.0003568
40 | 0.98108 | -0.13261 | 0.0011842 | 0.00029678
41 | 0.97942 | -0.14443 | 0.0040867 | 0.0010242
42 | 0.9825 | -0.12258 | 0.00096785 | 0.00024257
43 | 0.97833 | -0.15227 | 0 | 0
44 | 0.98336 | -0.11642 | 0 | 0
45 | 0.97807 | -0.1541 | 0.0018889 | 0.00047341
46 | 0.97805 | -0.15422 | 0.0043361 | 0.0010867
47 | 0.98299 | -0.11908 | 0.0018989 | 0.00047591
48 | 0.98514 | -0.10388 | 0 | 0
49 | 0.97577 | -0.17058 | 0.0011223 | 0.00028128
50 | 0.98496 | -0.10514 | 0.0022188 | 0.00055609
51 | 0.99328 | -0.046656 | 0.00088112 | 0.00022083
52 | 0.98668 | -0.093051 | 0.0020844 | 0.0005224
53 | 0.98684 | -0.091969 | 0.00090318 | 0.00022636
54 | 0.98663 | -0.093458 | 0.0011804 | 0.00029583
55 | 0.98702 | -0.090652 | 0.0015842 | 0.00039703
56 | 0.98486 | -0.10587 | 0.0012101 | 0.00030329
57 | 0.98481 | -0.10619 | 0.0011911 | 0.00029852
58 | 0.98481 | -0.10623 | 0.00098744 | 0.00024748
59 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013917 | -0.0003488 | 0.0013918 | 0.0003485 | 7.4037e-08 | -2.9693e-07 | 0.0021283 | 0.0021281 | 0.0021283 | 0.97304 | -0.19019 | 0.97309 | -0.1898 | 0.78825
1 | -0.0032865 | -0.00082335 | 0.0032866 | 0.0008233 | 1.1612e-07 | -4.6877e-08 | 0.0050254 | 0.0050254 | 0.0050254 | 0.97309 | -0.1898 | 0.97313 | -0.18955 | 1.8613
2 | -0.0026803 | -0.00067176 | 0.0026806 | 0.00067157 | 2.3459e-07 | -1.8833e-07 | 0.0040968 | 0.0040967 | 0.0040968 | 0.97354 | -0.18657 | 0.97363 | -0.18594 | 1.5173
3 | -0.0026806 | -0.00067157 | 0.0026809 | 0.00067131 | 3.1918e-07 | -2.5633e-07 | 0.0040967 | 0.0040966 | 0.0040967 | 0.97363 | -0.18594 | 0.97375 | -0.18508 | 1.5173
4 | -0.011975 | -0.003 | 0.011979 | 0.0030014 | 4.1584e-06 | 1.3517e-06 | 0.018298 | 0.018298 | 0.018298 | 0.97375 | -0.18508 | 0.9741 | -0.18257 | 6.7772
5 | 0.0092937 | 0.0023287 | -0.0092924 | -0.0023283 | 1.3031e-06 | 3.724e-07 | 0.014202 | 0.014202 | 0.014202 | 0.97375 | -0.18508 | 0.97361 | -0.18609 | 5.2599
6 | -0.013608 | -0.0034097 | 0.013623 | 0.0034146 | 1.4321e-05 | 4.8463e-06 | 0.020787 | 0.020787 | 0.020787 | 0.9741 | -0.18257 | 0.97515 | -0.17497 | 7.699
7 | 0.0077489 | 0.0019415 | -0.0077467 | -0.0019409 | 2.1828e-06 | 5.2946e-07 | 0.011843 | 0.011843 | 0.011843 | 0.97361 | -0.18609 | 0.97332 | -0.18813 | 4.3863
8 | -0.0078119 | -0.0019576 | 0.0078131 | 0.0019578 | 1.2117e-06 | 2.7912e-07 | 0.01165 | 0.01165 | 0.01165 | 0.9978 | -0.015395 | 0.99796 | -0.014274 | 4.3147
9 | 0.0078119 | 0.0019576 | -0.0078096 | -0.001957 | 2.2836e-06 | 5.2619e-07 | 0.01165 | 0.01165 | 0.01165 | 0.9978 | -0.015395 | 0.9975 | -0.017507 | 4.3148
10 | -0.0096948 | -0.0024294 | 0.0096966 | 0.0024299 | 1.7202e-06 | 4.892e-07 | 0.014455 | 0.014455 | 0.014455 | 0.99796 | -0.014274 | 0.99815 | -0.012992 | 5.3539
11 | 0.0065603 | 0.0016439 | -0.006559 | -0.0016437 | 1.3586e-06 | 2.2583e-07 | 0.0097862 | 0.0097863 | 0.0097863 | 0.9975 | -0.017507 | 0.99729 | -0.019004 | 3.6246
12 | -0.014341 | -0.0035947 | 0.01435 | 0.0035977 | 8.7271e-06 | 2.992e-06 | 0.021884 | 0.021884 | 0.021884 | 0.97515 | -0.17497 | 0.97577 | -0.17058 | 8.1051
13 | 0.0061979 | 0.0015528 | -0.0061974 | -0.0015527 | 5.7433e-07 | 9.3491e-08 | 0.0094752 | 0.0094752 | 0.0094752 | 0.97332 | -0.18813 | 0.97323 | -0.1888 | 3.5093
14 | -0.011081 | -0.0027768 | 0.011086 | 0.0027785 | 5.4669e-06 | 1.6828e-06 | 0.016519 | 0.016518 | 0.016519 | 0.99815 | -0.012992 | 0.99865 | -0.0094291 | 6.118
15 | 0.0033706 | 0.00084462 | -0.0033706 | -0.00084463 | 1.4641e-08 | -6.4736e-09 | 0.0050291 | 0.0050291 | 0.0050291 | 0.99729 | -0.019004 | 0.99728 | -0.019035 | 1.8626
16 | 0.0048157 | 0.0012064 | -0.0048152 | -0.0012064 | 4.9785e-07 | 8.6183e-09 | 0.0073628 | 0.0073628 | 0.0073628 | 0.97323 | -0.1888 | 0.97313 | -0.18955 | 2.727
17 | -0.07898 | -0.019922 | 0.078996 | 0.019928 | 1.5231e-05 | 5.8349e-06 | 0.11759 | 0.11759 | 0.11759 | 0.9998 | -0.0013749 | 1 | 0 | 43.5527
18 | 0.074586 | 0.018821 | -0.074494 | -0.018785 | 9.2709e-05 | 3.55e-05 | 0.11105 | 0.11105 | 0.11105 | 0.9998 | -0.0013749 | 0.99852 | -0.010243 | 41.1307
19 | 0.015337 | 0.0038454 | -0.015329 | -0.0038429 | 7.255e-06 | 2.4977e-06 | 0.022822 | 0.022822 | 0.022822 | 1 | 0 | 0.99951 | -0.0034154 | 8.4525
20 | 0.070058 | 0.017674 | -0.069966 | -0.017639 | 9.1594e-05 | 3.5053e-05 | 0.10444 | 0.10444 | 0.10444 | 0.99852 | -0.010243 | 0.99717 | -0.019576 | 38.6825
21 | 0.014076 | 0.0035289 | -0.014065 | -0.0035251 | 1.1353e-05 | 3.8241e-06 | 0.020956 | 0.020957 | 0.020957 | 0.99951 | -0.0034154 | 0.99868 | -0.0092418 | 7.7617
22 | 0.068112 | 0.017174 | -0.067982 | -0.017124 | 0.00012984 | 4.9676e-05 | 0.10168 | 0.10168 | 0.10168 | 0.99717 | -0.019576 | 0.99521 | -0.033207 | 37.6575
23 | 0.012456 | 0.0031218 | -0.012455 | -0.0031217 | 3.2294e-07 | 1.0455e-07 | 0.018559 | 0.018559 | 0.018559 | 0.99868 | -0.0092418 | 0.99865 | -0.0094291 | 6.8737
24 | 0.060881 | 0.015344 | -0.060869 | -0.01534 | 1.2154e-05 | 4.6439e-06 | 0.091059 | 0.091059 | 0.091059 | 0.99521 | -0.033207 | 0.99501 | -0.034633 | 33.7254
25 | 0.056153 | 0.014158 | -0.056058 | -0.014122 | 9.4431e-05 | 3.6042e-05 | 0.084005 | 0.084005 | 0.084005 | 0.99501 | -0.034633 | 0.99328 | -0.046656 | 31.1131
26 | 0.0021062 | 0.00052774 | -0.0021061 | -0.00052784 | 5.8884e-08 | -1.0203e-07 | 0.0031425 | 0.0031425 | 0.0031425 | 0.99728 | -0.019035 | 0.99726 | -0.019237 | 1.1639
27 | 0.0015996 | 0.00040075 | -0.0015996 | -0.00040088 | 4.1523e-08 | -1.309e-07 | 0.0024089 | 0.002409 | 0.002409 | 0.98809 | -0.083078 | 0.98806 | -0.083266 | 0.89221
28 | -0.0041816 | -0.0010478 | 0.004182 | 0.0010478 | 4.1617e-07 | -5.5381e-08 | 0.0062972 | 0.0062972 | 0.0062972 | 0.98809 | -0.083078 | 0.98819 | -0.082359 | 2.3323
29 | 0.00068231 | 0.00017098 | -0.00068231 | -0.000171 | 1.0274e-09 | -1.9575e-08 | 0.0010275 | 0.0010276 | 0.0010276 | 0.98806 | -0.083266 | 0.98806 | -0.083276 | 0.38057
30 | -0.051733 | -0.013003 | 0.051815 | 0.013034 | 8.2493e-05 | 3.1449e-05 | 0.077913 | 0.077912 | 0.077913 | 0.98819 | -0.082359 | 0.98982 | -0.070924 | 28.8565
31 | 0.0087755 | 0.0021979 | -0.0087689 | -0.0021961 | 6.6204e-06 | 1.7685e-06 | 0.013214 | 0.013214 | 0.013214 | 0.98819 | -0.082359 | 0.98742 | -0.087818 | 4.8941
32 | 0.038775 | 0.0097569 | -0.038732 | -0.0097404 | 4.3589e-05 | 1.6503e-05 | 0.058402 | 0.058402 | 0.058402 | 0.98819 | -0.082359 | 0.98704 | -0.090423 | 21.6303
33 | -0.052361 | -0.013171 | 0.052367 | 0.013173 | 6.1822e-06 | 2.3572e-06 | 0.078732 | 0.078732 | 0.078732 | 0.98982 | -0.070924 | 0.98994 | -0.070078 | 29.1601
34 | 0.0080176 | 0.0020078 | -0.0080152 | -0.0020073 | 2.3437e-06 | 5.7239e-07 | 0.012082 | 0.012082 | 0.012082 | 0.98742 | -0.087818 | 0.98712 | -0.089933 | 4.4747
35 | 0.037803 | 0.0095077 | -0.037763 | -0.0094927 | 3.9701e-05 | 1.502e-05 | 0.057002 | 0.057002 | 0.057002 | 0.98704 | -0.090423 | 0.98598 | -0.097964 | 21.1118
36 | -0.054162 | -0.013623 | 0.054239 | 0.013652 | 7.7577e-05 | 2.9596e-05 | 0.08143 | 0.08143 | 0.08143 | 0.98994 | -0.070078 | 0.9914 | -0.05982 | 30.1592
37 | 0.005754 | 0.0014405 | -0.0057538 | -0.0014405 | 1.9569e-07 | 2.1973e-08 | 0.0086732 | 0.0086732 | 0.0086732 | 0.98712 | -0.089933 | 0.98709 | -0.090179 | 3.2123
38 | 0.037119 | 0.0093312 | -0.037118 | -0.0093308 | 1.0968e-06 | 4.147e-07 | 0.056029 | 0.056029 | 0.056029 | 0.98598 | -0.097964 | 0.98594 | -0.098177 | 20.7516
39 | -0.055076 | -0.013862 | 0.055177 | 0.013901 | 0.00010142 | 3.8701e-05 | 0.082685 | 0.082685 | 0.082685 | 0.9914 | -0.05982 | 0.99328 | -0.046656 | 30.6242
40 | 0.0015843 | 0.0003967 | -0.0015842 | -0.00039703 | 1.0354e-07 | -3.3203e-07 | 0.0023881 | 0.0023882 | 0.0023882 | 0.98709 | -0.090179 | 0.98702 | -0.090652 | 0.88454
41 | 0.0041696 | 0.0010438 | -0.0041685 | -0.001044 | 1.0311e-06 | -1.3797e-07 | 0.0062851 | 0.0062853 | 0.0062853 | 0.98709 | -0.090179 | 0.98684 | -0.091969 | 2.3279
42 | 0.035694 | 0.008974 | -0.035666 | -0.0089633 | 2.8355e-05 | 1.0706e-05 | 0.053881 | 0.053881 | 0.053881 | 0.98594 | -0.098177 | 0.98514 | -0.10388 | 19.9559
43 | 0.025891 | 0.0065016 | -0.025849 | -0.0064858 | 4.249e-05 | 1.5786e-05 | 0.039274 | 0.039274 | 0.039274 | 0.98108 | -0.13261 | 0.97942 | -0.14443 | 14.5459
44 | -0.027075 | -0.0067984 | 0.027113 | 0.0068124 | 3.7786e-05 | 1.4079e-05 | 0.04107 | 0.04107 | 0.04107 | 0.98108 | -0.13261 | 0.9825 | -0.12258 | 15.211
45 | 0.021762 | 0.0054616 | -0.021738 | -0.0054529 | 2.3645e-05 | 8.6584e-06 | 0.033065 | 0.033065 | 0.033065 | 0.97942 | -0.14443 | 0.97833 | -0.15227 | 12.2464
46 | -0.028081 | -0.007055 | 0.028105 | 0.007064 | 2.4069e-05 | 8.9872e-06 | 0.042535 | 0.042535 | 0.042535 | 0.9825 | -0.12258 | 0.98336 | -0.11642 | 15.7539
47 | 0.017401 | 0.0043663 | -0.017397 | -0.0043647 | 4.4262e-06 | 1.5753e-06 | 0.026469 | 0.026469 | 0.026469 | 0.97833 | -0.15227 | 0.97807 | -0.1541 | 9.8032
48 | 0.0043372 | 0.0010866 | -0.0043361 | -0.0010867 | 1.1701e-06 | -9.0866e-08 | 0.0065967 | 0.0065969 | 0.0065969 | 0.97833 | -0.15227 | 0.97805 | -0.15422 | 2.4433
49 | 0.0018996 | 0.00047446 | -0.0018989 | -0.00047591 | 6.9739e-07 | -1.4475e-06 | 0.0028739 | 0.0028745 | 0.0028745 | 0.98336 | -0.11642 | 0.98299 | -0.11908 | 1.0646
50 | -0.030005 | -0.0075385 | 0.030057 | 0.0075581 | 5.2425e-05 | 1.9646e-05 | 0.045409 | 0.045409 | 0.045409 | 0.98336 | -0.11642 | 0.98514 | -0.10388 | 16.8182
51 | 0.015508 | 0.0038913 | -0.015472 | -0.003879 | 3.5386e-05 | 1.2335e-05 | 0.023595 | 0.023595 | 0.023595 | 0.97807 | -0.1541 | 0.97577 | -0.17058 | 8.739
52 | 0.0056089 | 0.0014051 | -0.005608 | -0.0014051 | 9.7752e-07 | 9.8127e-08 | 0.0084719 | 0.008472 | 0.008472 | 0.98514 | -0.10388 | 0.98496 | -0.10514 | 3.1378
53 | 0.0033891 | 0.00084896 | -0.0033888 | -0.0008491 | 3.3989e-07 | -1.3371e-07 | 0.0051199 | 0.00512 | 0.00512 | 0.98496 | -0.10514 | 0.98486 | -0.10587 | 1.8963
54 | -0.0032649 | -0.00081783 | 0.0032653 | 0.00081761 | 4.8843e-07 | -2.2462e-07 | 0.0049236 | 0.0049234 | 0.0049236 | 0.98668 | -0.093051 | 0.98684 | -0.091969 | 1.8235
55 | 0.0011805 | 0.00029543 | -0.0011804 | -0.00029583 | 6.6372e-08 | -4.0314e-07 | 0.0017801 | 0.0017802 | 0.0017802 | 0.98668 | -0.093051 | 0.98663 | -0.093458 | 0.65935
56 | 0.0021787 | 0.00054581 | -0.0021786 | -0.00054596 | 9.8363e-08 | -1.4728e-07 | 0.0032917 | 0.0032917 | 0.0032917 | 0.98486 | -0.10587 | 0.98481 | -0.10619 | 1.2192
57 | 0.00098745 | 0.00024743 | -0.00098744 | -0.00024748 | 5.1182e-09 | -4.4914e-08 | 0.001492 | 0.001492 | 0.001492 | 0.98481 | -0.10619 | 0.98481 | -0.10623 | 0.55259

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.097248 | 0.024304

## res_load
| p_mw | q_mvar
0 | 0.0013917 | 0.0003488
1 | 0.0018947 | 0.00047485
2 | 0.0026803 | 0.00067176
3 | 0.0016294 | 0.00040838
4 | 0.0015435 | 0.00038684
5 | 0.0018817 | 0.00047161
6 | 0.0012493 | 0.0003131
7 | 0.00071871 | 0.00018013
8 | 0.0015487 | 0.00038815
9 | 0.0013839 | 0.00034685
10 | 0.0031884 | 0.00079909
11 | 0.0013816 | 0.00034627
12 | 0.0015286 | 0.00038311
13 | 0.0043938 | 0.0011012
14 | 0.0021158 | 0.00053027
15 | 0.0044357 | 0.0011117
16 | 0.0012529 | 0.00031401
17 | 0.0018547 | 0.00046482
18 | 0.0016092 | 0.00040332
19 | 0.0071006 | 0.0017796
20 | 0.0013695 | 0.00034323
21 | 0.0047165 | 0.0011821
22 | 0.0012644 | 0.00031689
23 | 0.0021061 | 0.00052784
24 | 0.002582 | 0.0006471
25 | 0.00091729 | 0.00022989
26 | 0.00068231 | 0.000171
27 | 0.00054538 | 0.00013669
28 | 0.00075136 | 0.00018831
29 | 0.0009286 | 0.00023273
30 | 0.0017946 | 0.00044977
31 | 0.0022612 | 0.00056671
32 | 0.00064443 | 0.00016151
33 | 0.00083656 | 0.00020966
34 | 0.0014237 | 0.0003568
35 | 0.0011842 | 0.00029678
36 | 0.0040867 | 0.0010242
37 | 0.00096785 | 0.00024257
38 | 0.0018889 | 0.00047341
39 | 0.0043361 | 0.0010867
40 | 0.0018989 | 0.00047591
41 | 0.0011223 | 0.00028128
42 | 0.0022188 | 0.00055609
43 | 0.00088112 | 0.00022083
44 | 0.0020844 | 0.0005224
45 | 0.00090318 | 0.00022636
46 | 0.0011804 | 0.00029583
47 | 0.0015842 | 0.00039703
48 | 0.0012101 | 0.00030329
49 | 0.0011911 | 0.00029852
50 | 0.00098744 | 0.00024748

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1