## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1025-1_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_1025-1_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_1025-1_1_2_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_1025-1_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1025-1_1_2_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1025-1_1_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_1025-1_1_2_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_1025-1_1_2_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_1025-1_1_2_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1025-1_1_2_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1025-1_1_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1025-1_1_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1025-1_1_2_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1025-1_1_2_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_1025-1_1_2_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_1025-1_1_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1025-1_1_2_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1025-1_1_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1025-1_1_2_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1025-1_1_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1025-1_1_2_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_1025-1_1_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1025-1_1_2_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_1025-1_1_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1025-1_1_2_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_1025-1_1_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1025-1_1_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_1025-1_1_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1025-1_1_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1025-1_1_2_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1025-1_1_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1025-1_1_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1025-1_1_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1025-1_1_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1025-1_1_2_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_1025-1_1_2_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_1025-1_1_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1025-1_1_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1025-1_1_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1025-1_1_2_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1025-1_1_2_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1025-1_1_2_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1025-1_1_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1025-1_1_2_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_1025-1_1_2_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1025-1_1_2_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1025-1_1_2_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_1025-1_1_2_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_1025-1_1_2_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_1025-1_1_2_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_1025-1_1_2_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_1025-1_1_2_node_101 | 0.4 | n |  | TRUE
52 | bus_LV_1025-1_1_2_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_1025-1_1_2_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1025-1_1_2_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1025-1_1_2_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1025-1_1_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_1025-1_1_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1025-1_1_2_node_145 | 0.4 | n |  | TRUE
59 | bus_LV_1025-1_1_2_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_1025-1_1_2_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_1025-1_1_2_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_1025-1_1_2_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_1025-1_1_2_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_1025-1_1_2_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1025-1_1_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_1025-1_1_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_1025-1_1_2_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_1025-1_1_2_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1025-1_1_2_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1025-1_1_2_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_1025-1_1_2_node_142 | 0.4 | n |  | TRUE
72 | bus_LV_1025-1_1_2_node_143 | 0.4 | n |  | TRUE
73 | bus_LV_1025-1_1_2_node_140 | 0.4 | n |  | TRUE
74 | bus_MV_470_1_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1025-1_1_2_load_6 | 0 | 0.0016159 | 0.00040498 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1025-1_1_2_load_7 | 1 | 0.0013605 | 0.00034098 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1025-1_1_2_load_8 | 2 | 0.00065642 | 0.00016451 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1025-1_1_2_load_9 | 3 | 0.0016728 | 0.00041924 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1025-1_1_2_load_10 | 4 | 0.00050778 | 0.00012726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1025-1_1_2_load_50 | 5 | 0.0015836 | 0.00039688 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1025-1_1_2_load_53 | 7 | 0.0014264 | 0.00035749 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1025-1_1_2_load_11 | 9 | 0.0010042 | 0.00025168 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1025-1_1_2_load_12 | 10 | 0.00022471 | 5.6318e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1025-1_1_2_load_13 | 11 | 0.00035721 | 8.9526e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1025-1_1_2_load_14 | 12 | 0.0020852 | 0.0005226 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1025-1_1_2_load_15 | 15 | 0.0032813 | 0.00082237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1025-1_1_2_load_16 | 16 | 0.0021633 | 0.00054219 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1025-1_1_2_load_37 | 21 | 0.0010778 | 0.00027011 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1025-1_1_2_load_67 | 22 | 0.0085252 | 0.0021366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1025-1_1_2_load_45 | 23 | 0.0014899 | 0.00037341 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1025-1_1_2_load_38 | 25 | 0.0016598 | 0.00041598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1025-1_1_2_load_68 | 26 | 0.00091027 | 0.00022813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1025-1_1_2_load_20 | 27 | 0.0022906 | 0.00057408 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1025-1_1_2_load_21 | 28 | 0.00063286 | 0.00015861 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1025-1_1_2_load_22 | 29 | 0.00046631 | 0.00011687 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1025-1_1_2_load_25 | 30 | 0.00075153 | 0.00018835 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1025-1_1_2_load_23 | 31 | 0.00078541 | 0.00019684 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1025-1_1_2_load_24 | 32 | 0.00048388 | 0.00012127 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1025-1_1_2_load_26 | 33 | 0.0014206 | 0.00035603 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1025-1_1_2_load_43 | 34 | 0.0018241 | 0.00045717 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1025-1_1_2_load_44 | 35 | 0.0016072 | 0.00040281 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1025-1_1_2_load_27 | 36 | 0.0023738 | 0.00059492 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1025-1_1_2_load_32 | 41 | 0.00035035 | 8.7807e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1025-1_1_2_load_33 | 42 | 0.0020287 | 0.00050844 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1025-1_1_2_load_97 | 43 | 0.0074105 | 0.0018573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1025-1_1_2_load_36 | 44 | 0.0022963 | 0.0005755 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1025-1_1_2_load_34 | 45 | 0.0022767 | 0.0005706 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1025-1_1_2_load_57 | 46 | 0.00032288 | 8.092e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1025-1_1_2_load_64 | 48 | 0.0021456 | 0.00053774 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1025-1_1_2_load_35 | 49 | 0.0050185 | 0.0012578 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1025-1_1_2_load_58 | 50 | 0.0013504 | 0.00033845 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1025-1_1_2_load_101 | 51 | 0.0019932 | 0.00049954 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1025-1_1_2_load_63 | 52 | 0.00046418 | 0.00011633 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1025-1_1_2_load_39 | 53 | 0.0030617 | 0.00076733 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1025-1_1_2_load_52 | 54 | 0.0018407 | 0.00046133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1025-1_1_2_load_51 | 55 | 0.0018317 | 0.00045906 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1025-1_1_2_load_49 | 57 | 0.00087769 | 0.00021997 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1025-1_1_2_load_145 | 58 | 0.0019043 | 0.00047726 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1025-1_1_2_load_46 | 59 | 0.00098989 | 0.00024809 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1025-1_1_2_load_47 | 60 | 0.0011985 | 0.00030038 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1025-1_1_2_load_48 | 61 | 0.0024987 | 0.00062623 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1025-1_1_2_load_69 | 62 | 0.00080669 | 0.00020218 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1025-1_1_2_load_71 | 63 | 0.00059791 | 0.00014985 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1025-1_1_2_load_59 | 64 | 0.00082413 | 0.00020655 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1025-1_1_2_load_60 | 65 | 0.001844 | 0.00046215 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1025-1_1_2_load_61 | 66 | 0.0015136 | 0.00037934 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1025-1_1_2_load_65 | 69 | 0.00068757 | 0.00017232 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1025-1_1_2_load_142 | 71 | 0.0025295 | 0.00063394 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1025-1_1_2_load_143 | 72 | 0.0026287 | 0.00065881 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1025-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0058686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1025-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0076599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1025-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1025-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1025-1_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1025-1_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.010512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1025-1_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.022684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1025-1_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1025-1_1_2_line_8 | NAYY 4x150 SE | 7 | 13 | 0.0037171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1025-1_1_2_line_9 | NAYY 4x150 SE | 8 | 58 | 0.039758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1025-1_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0091286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1025-1_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0099276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1025-1_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.074674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1025-1_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.018333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1025-1_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.077921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1025-1_1_2_line_15 | NAYY 4x150 SE | 14 | 62 | 0.0035165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1025-1_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.033426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1025-1_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.057296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1025-1_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.024402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1025-1_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.03808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1025-1_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.031501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1025-1_1_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.042001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1025-1_1_2_line_22 | NAYY 4x150 SE | 19 | 22 | 0.046116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1025-1_1_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.033883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1025-1_1_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.028712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1025-1_1_2_line_25 | NAYY 4x150 SE | 21 | 25 | 0.022529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1025-1_1_2_line_26 | NAYY 4x150 SE | 22 | 26 | 0.013734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1025-1_1_2_line_27 | NAYY 4x150 SE | 23 | 35 | 0.019663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1025-1_1_2_line_28 | NAYY 4x150 SE | 24 | 56 | 0.040926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1025-1_1_2_line_29 | NAYY 4x150 SE | 24 | 57 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1025-1_1_2_line_30 | NAYY 4x150 SE | 25 | 53 | 0.020933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1025-1_1_2_line_31 | NAYY 4x150 SE | 26 | 68 | 0.020462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1025-1_1_2_line_32 | NAYY 4x150 SE | 27 | 28 | 0.017074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1025-1_1_2_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0096295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1025-1_1_2_line_34 | NAYY 4x150 SE | 29 | 30 | 0.011216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1025-1_1_2_line_35 | NAYY 4x150 SE | 30 | 31 | 0.01459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1025-1_1_2_line_36 | NAYY 4x150 SE | 31 | 32 | 0.0014251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1025-1_1_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.018687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1025-1_1_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.016943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1025-1_1_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.0033568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1025-1_1_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0061646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1025-1_1_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.015562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1025-1_1_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.024004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1025-1_1_2_line_43 | NAYY 4x150 SE | 37 | 40 | 0.023551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1025-1_1_2_line_44 | NAYY 4x150 SE | 38 | 41 | 0.0032898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1025-1_1_2_line_45 | NAYY 4x150 SE | 38 | 42 | 0.034679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1025-1_1_2_line_46 | NAYY 4x150 SE | 39 | 43 | 0.0043922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1025-1_1_2_line_47 | NAYY 4x150 SE | 40 | 44 | 0.020815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1025-1_1_2_line_48 | NAYY 4x150 SE | 40 | 45 | 0.033216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1025-1_1_2_line_49 | NAYY 4x150 SE | 41 | 46 | 0.011092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1025-1_1_2_line_50 | NAYY 4x150 SE | 42 | 47 | 0.016313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1025-1_1_2_line_51 | NAYY 4x150 SE | 44 | 48 | 0.029702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1025-1_1_2_line_52 | NAYY 4x150 SE | 45 | 49 | 0.015858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1025-1_1_2_line_53 | NAYY 4x150 SE | 46 | 50 | 0.003176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1025-1_1_2_line_54 | NAYY 4x150 SE | 47 | 51 | 0.023228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1025-1_1_2_line_55 | NAYY 4x150 SE | 48 | 52 | 0.022972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1025-1_1_2_line_56 | NAYY 4x150 SE | 51 | 73 | 0.010949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1025-1_1_2_line_57 | NAYY 4x150 SE | 52 | 69 | 0.0030264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1025-1_1_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.016672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1025-1_1_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.0033608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1025-1_1_2_line_60 | NAYY 4x150 SE | 56 | 63 | 0.047888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1025-1_1_2_line_61 | NAYY 4x150 SE | 57 | 60 | 0.0049091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1025-1_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.011523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1025-1_1_2_line_63 | NAYY 4x150 SE | 59 | 61 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1025-1_1_2_line_64 | NAYY 4x150 SE | 62 | 67 | 0.036775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1025-1_1_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.019284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1025-1_1_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.030596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1025-1_1_2_line_67 | NAYY 4x150 SE | 65 | 67 | 0.017707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1025-1_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.038045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1025-1_1_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0091529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1025-1_1_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.017185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1025-1_1_2_line_71 | NAYY 4x150 SE | 70 | 72 | 0.019883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1025-1_1_2_line_72 | NAYY 4x150 SE | 71 | 73 | 0.022235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1025-1_1_2_trafo_34 | 0.25 MVA 20/0.4 kV | 74 | 45 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2660742.8839 | 1230800.7098 | 2660741.3244 | 1230795.0522
1 | 2660739.2888 | 1230787.6677 | 2660741.3244 | 1230795.0522
2 | 2660742.8839 | 1230800.7098 | 2660745.7162 | 1230810.9847 | 2660747.8018 | 1230816.0709
3 | 2660739.2888 | 1230787.6677 | 2660735.7398 | 1230774.7927 | 2660734.2088 | 1230763.6853
4 | 2660754.9134 | 1230833.004 | 2660754.259 | 1230831.8188 | 2660747.8018 | 1230816.0709
5 | 2660735.7699 | 1230753.3124 | 2660734.1391 | 1230763.1799 | 2660734.2088 | 1230763.6853
6 | 2660765.8775 | 1230852.8619 | 2660754.9134 | 1230833.004
7 | 2660723.5057 | 1230744.5704 | 2660729.9689 | 1230749.5285 | 2660735.7699 | 1230753.3124
8 | 2660767.6742 | 1230856.116 | 2660765.8775 | 1230852.8619
9 | 2660723.5057 | 1230744.5704 | 2660714.5735 | 1230734.406 | 2660697.2627 | 1230714.7035
10 | 2660833.8763 | 1230793.2816 | 2660838.9654 | 1230785.7032
11 | 2660844.4998 | 1230777.4614 | 2660838.9654 | 1230785.7032
12 | 2660780.0136 | 1230842.9921 | 2660780.9024 | 1230842.3978 | 2660800.1894 | 1230831.6879 | 2660815.0591 | 1230819.6655 | 2660824.0563 | 1230807.9054 | 2660833.8763 | 1230793.2816
13 | 2660767.6742 | 1230856.116 | 2660771.9248 | 1230852.2569 | 2660775.7929 | 1230845.8145 | 2660780.0136 | 1230842.9921
14 | 2660767.6742 | 1230856.116 | 2660777.9667 | 1230880.6259 | 2660786.649 | 1230907.0429 | 2660796.936 | 1230902.4561 | 2660806.9381 | 1230895.3538
15 | 2660806.9381 | 1230895.3538 | 2660809.8288 | 1230893.3514
16 | 2660982.3159 | 1230947.4737 | 2660950.1523 | 1230938.3737
17 | 2660908.5412 | 1230965.0273 | 2660914.3824 | 1230952.29 | 2660923.0648 | 1230940.2044 | 2660927.8564 | 1230936.7735 | 2660934.0425 | 1230936.2142 | 2660946.8752 | 1230937.4465 | 2660950.1523 | 1230938.3737
18 | 2661005.796 | 1230954.1168 | 2660982.3159 | 1230947.4737
19 | 2660908.5412 | 1230965.0273 | 2660879.9366 | 1230956.6958 | 2660871.5442 | 1230956.7432
20 | 2661005.796 | 1230954.1168 | 2661011.4597 | 1230966.0827 | 2661013.7596 | 1230964.8499 | 2661022.7732 | 1230964.7868 | 2661029.3784 | 1230965.455
21 | 2661005.796 | 1230954.1168 | 2661002.0006 | 1230946.0838 | 2661001.5888 | 1230940.4537 | 2661005.9972 | 1230922.6985 | 2661005.2605 | 1230918.4771 | 2661001.5286 | 1230915.3146
22 | 2660871.5442 | 1230956.7432 | 2660871.0707 | 1230933.4566 | 2660873.1721 | 1230910.7291
23 | 2661029.3784 | 1230965.455 | 2661037.2414 | 1230932.4974
24 | 2661029.3784 | 1230965.455 | 2661056.5467 | 1230974.9733
25 | 2661001.5286 | 1230915.3146 | 2660979.848 | 1230909.1918
26 | 2660873.1721 | 1230910.7291 | 2660874.4365 | 1230897.0538
27 | 2661041.8045 | 1230913.3711 | 2661037.2414 | 1230932.4974
28 | 2661056.5467 | 1230974.9733 | 2661060.2144 | 1230976.2562 | 2661066.6604 | 1230977.6678 | 2661070.4488 | 1230977.5288 | 2661072.8079 | 1230997.0768 | 2661075.8337 | 1231003.3453
29 | 2661056.5467 | 1230974.9733 | 2661059.4299 | 1230963.8626
30 | 2660972.1419 | 1230895.1863 | 2660970.0044 | 1230904.3732 | 2660971.7054 | 1230906.8922 | 2660979.848 | 1230909.1918
31 | 2660877.9286 | 1230876.9123 | 2660874.8779 | 1230892.28 | 2660874.4365 | 1230897.0538
32 | 2661003.1858 | 1230871.5434 | 2660986.7191 | 1230867.0317
33 | 2661003.1858 | 1230871.5434 | 2661012.473 | 1230874.088
34 | 2661012.473 | 1230874.088 | 2661023.2906 | 1230877.0519
35 | 2661023.2906 | 1230877.0519 | 2661037.3619 | 1230880.9072
36 | 2661038.7363 | 1230881.2838 | 2661037.3619 | 1230880.9072
37 | 2661038.7363 | 1230881.2838 | 2661044.3069 | 1230882.8101 | 2661047.4262 | 1230884.3987 | 2661047.8589 | 1230887.9944 | 2661046.5154 | 1230893.6256
38 | 2661042.5836 | 1230910.1059 | 2661046.5154 | 1230893.6256
39 | 2661042.5836 | 1230910.1059 | 2661041.8045 | 1230913.3711
40 | 2660942.1175 | 1230793.5044 | 2660945.3732 | 1230788.2696
41 | 2660953.5921 | 1230775.0544 | 2660945.3732 | 1230788.2696
42 | 2660942.1175 | 1230793.5044 | 2660964.8029 | 1230801.542
43 | 2660942.1175 | 1230793.5044 | 2660933.296 | 1230802.8757 | 2660924.4854 | 1230808.9783
44 | 2660953.5921 | 1230775.0544 | 2660955.0622 | 1230772.1113
45 | 2660953.5921 | 1230775.0544 | 2660986.1481 | 1230787.0028
46 | 2660964.8029 | 1230801.542 | 2660967.2311 | 1230802.5787 | 2660966.6857 | 1230804.2435
47 | 2660924.4854 | 1230808.9783 | 2660907.5581 | 1230821.092
48 | 2660924.4854 | 1230808.9783 | 2660947.8786 | 1230821.1146 | 2660945.2083 | 1230827.4358 | 2660945.2083 | 1230827.4358
49 | 2660955.0622 | 1230772.1113 | 2660960.0189 | 1230762.1883
50 | 2661001.4622 | 1230792.6232 | 2660986.1481 | 1230787.0028
51 | 2660907.5581 | 1230821.092 | 2660905.9978 | 1230822.2086 | 2660895.3669 | 1230833.7406 | 2660889.1487 | 1230844.1197
52 | 2660959.9732 | 1230833.2219 | 2660945.2083 | 1230827.4358
53 | 2660960.0189 | 1230762.1883 | 2660961.4381 | 1230759.3471
54 | 2661001.4622 | 1230792.6232 | 2661023.746 | 1230799.1766
55 | 2660880.3033 | 1230864.9668 | 2660882.1129 | 1230855.8637 | 2660889.1487 | 1230844.1197
56 | 2661034.25 | 1230802.2658 | 2661023.746 | 1230799.1766
57 | 2660880.3033 | 1230864.9668 | 2660879.7132 | 1230867.9351
58 | 2660975.92 | 1230878.9481 | 2660972.1419 | 1230895.1863
59 | 2660976.6816 | 1230875.6747 | 2660975.92 | 1230878.9481
60 | 2661075.8337 | 1231003.3453 | 2661100.69 | 1230988.7133 | 2661116.148 | 1230977.5884
61 | 2661059.4299 | 1230963.8626 | 2661060.6629 | 1230959.1109
62 | 2661063.5573 | 1230947.9573 | 2661060.6629 | 1230959.1109
63 | 2661066.7907 | 1230935.4973 | 2661063.5573 | 1230947.9573
64 | 2660840.0591 | 1230872.4109 | 2660809.8288 | 1230893.3514
65 | 2660862.2579 | 1230842.8267 | 2660851.4033 | 1230857.7841 | 2660850.9112 | 1230858.4185
66 | 2660875.3906 | 1230815.591 | 2660874.1507 | 1230821.282 | 2660871.2132 | 1230829.3016 | 2660865.9077 | 1230837.7973 | 2660862.2579 | 1230842.8267
67 | 2660840.0591 | 1230872.4109 | 2660850.9112 | 1230858.4185
68 | 2660840.0591 | 1230872.4109 | 2660845.999 | 1230872.972 | 2660860.4676 | 1230874.2319 | 2660877.9286 | 1230876.9123
69 | 2660877.9286 | 1230876.9123 | 2660879.7132 | 1230867.9351
70 | 2661023.4162 | 1230840.1681 | 2661028.1391 | 1230823.6449
71 | 2661023.4162 | 1230840.1681 | 2661042.3284 | 1230846.3043
72 | 2661034.25 | 1230802.2658 | 2661028.1391 | 1230823.6449

## bus_geodata
| x | y | coords
0 | 2660741.3244 | 1230795.0522
1 | 2660742.8839 | 1230800.7098
2 | 2660739.2888 | 1230787.6677
3 | 2660747.8018 | 1230816.0709
4 | 2660734.2088 | 1230763.6853
5 | 2660754.9134 | 1230833.004
6 | 2660735.7699 | 1230753.3124
7 | 2660765.8775 | 1230852.8619
8 | 2660723.5057 | 1230744.5704
9 | 2660838.9654 | 1230785.7032
10 | 2660833.8763 | 1230793.2816
11 | 2660844.4998 | 1230777.4614
12 | 2660780.0136 | 1230842.9921
13 | 2660767.6742 | 1230856.116
14 | 2660806.9381 | 1230895.3538
15 | 2660950.1523 | 1230938.3737
16 | 2660982.3159 | 1230947.4737
17 | 2660908.5412 | 1230965.0273
18 | 2661005.796 | 1230954.1168
19 | 2660871.5442 | 1230956.7432
20 | 2661029.3784 | 1230965.455
21 | 2661001.5286 | 1230915.3146
22 | 2660873.1721 | 1230910.7291
23 | 2661037.2414 | 1230932.4974
24 | 2661056.5467 | 1230974.9733
25 | 2660979.848 | 1230909.1918
26 | 2660874.4365 | 1230897.0538
27 | 2660986.7191 | 1230867.0317
28 | 2661003.1858 | 1230871.5434
29 | 2661012.473 | 1230874.088
30 | 2661023.2906 | 1230877.0519
31 | 2661037.3619 | 1230880.9072
32 | 2661038.7363 | 1230881.2838
33 | 2661046.5154 | 1230893.6256
34 | 2661042.5836 | 1230910.1059
35 | 2661041.8045 | 1230913.3711
36 | 2660945.3732 | 1230788.2696
37 | 2660942.1175 | 1230793.5044
38 | 2660953.5921 | 1230775.0544
39 | 2660964.8029 | 1230801.542
40 | 2660924.4854 | 1230808.9783
41 | 2660955.0622 | 1230772.1113
42 | 2660986.1481 | 1230787.0028
43 | 2660966.6857 | 1230804.2435
44 | 2660907.5581 | 1230821.092
45 | 2660945.2083 | 1230827.4358
46 | 2660960.0189 | 1230762.1883
47 | 2661001.4622 | 1230792.6232
48 | 2660889.1487 | 1230844.1197
49 | 2660959.9732 | 1230833.2219
50 | 2660961.4381 | 1230759.3471
51 | 2661023.746 | 1230799.1766
52 | 2660880.3033 | 1230864.9668
53 | 2660972.1419 | 1230895.1863
54 | 2660975.92 | 1230878.9481
55 | 2660976.6816 | 1230875.6747
56 | 2661075.8337 | 1231003.3453
57 | 2661059.4299 | 1230963.8626
58 | 2660697.2627 | 1230714.7035
59 | 2661063.5573 | 1230947.9573
60 | 2661060.6629 | 1230959.1109
61 | 2661066.7907 | 1230935.4973
62 | 2660809.8288 | 1230893.3514
63 | 2661116.148 | 1230977.5884
64 | 2660862.2579 | 1230842.8267
65 | 2660850.9112 | 1230858.4185
66 | 2660875.3906 | 1230815.591
67 | 2660840.0591 | 1230872.4109
68 | 2660877.9286 | 1230876.9123
69 | 2660879.7132 | 1230867.9351
70 | 2661023.4162 | 1230840.1681
71 | 2661028.1391 | 1230823.6449
72 | 2661042.3284 | 1230846.3043
73 | 2661034.25 | 1230802.2658
74 | 2660968.2243 | 1230836.4553

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98339 | -0.11634 | 0.0016159 | 0.00040498
1 | 0.98343 | -0.11606 | 0.0013605 | 0.00034098
2 | 0.98336 | -0.11659 | 0.00065642 | 0.00016451
3 | 0.98357 | -0.11505 | 0.0016728 | 0.00041924
4 | 0.98327 | -0.1172 | 0.00050778 | 0.00012726
5 | 0.98378 | -0.11359 | 0.0015836 | 0.00039688
6 | 0.98324 | -0.11741 | 0 | 0
7 | 0.98409 | -0.11141 | 0.0014264 | 0.00035749
8 | 0.9832 | -0.1177 | 0 | 0
9 | 0.98386 | -0.11304 | 0.0010042 | 0.00025168
10 | 0.98387 | -0.11292 | 0.00022471 | 5.6318e-05
11 | 0.98385 | -0.11308 | 0.00035721 | 8.9526e-05
12 | 0.98405 | -0.11169 | 0.0020852 | 0.0005226
13 | 0.98414 | -0.111 | 0 | 0
14 | 0.98577 | -0.099429 | 0 | 0
15 | 0.97884 | -0.14843 | 0.0032813 | 0.00082237
16 | 0.9774 | -0.15875 | 0.0021633 | 0.00054219
17 | 0.98159 | -0.12886 | 0 | 0
18 | 0.97642 | -0.16575 | 0 | 0
19 | 0.98342 | -0.11591 | 0 | 0
20 | 0.9756 | -0.17167 | 0 | 0
21 | 0.97584 | -0.16992 | 0.0010778 | 0.00027011
22 | 0.98563 | -0.1003 | 0.0085252 | 0.0021366
23 | 0.97502 | -0.17585 | 0.0014899 | 0.00037341
24 | 0.97534 | -0.17353 | 0 | 0
25 | 0.97557 | -0.1719 | 0.0016598 | 0.00041598
26 | 0.98646 | -0.094457 | 0.00091027 | 0.00022813
27 | 0.97411 | -0.18238 | 0.0022906 | 0.00057408
28 | 0.97417 | -0.18197 | 0.00063286 | 0.00015861
29 | 0.97421 | -0.18167 | 0.00046631 | 0.00011687
30 | 0.97426 | -0.18127 | 0.00075153 | 0.00018835
31 | 0.97435 | -0.18063 | 0.00078541 | 0.00019684
32 | 0.97436 | -0.18056 | 0.00048388 | 0.00012127
33 | 0.97451 | -0.1795 | 0.0014206 | 0.00035603
34 | 0.97468 | -0.17828 | 0.0018241 | 0.00045717
35 | 0.97472 | -0.17797 | 0.0016072 | 0.00040281
36 | 0.99493 | -0.035252 | 0.0023738 | 0.00059492
37 | 0.99505 | -0.034407 | 0 | 0
38 | 0.99468 | -0.037013 | 0 | 0
39 | 0.99479 | -0.036201 | 0 | 0
40 | 0.99575 | -0.029423 | 0 | 0
41 | 0.99467 | -0.03708 | 0.00035035 | 8.7807e-05
42 | 0.99422 | -0.04023 | 0.0020287 | 0.00050844
43 | 0.99474 | -0.036529 | 0.0074105 | 0.0018573
44 | 0.99372 | -0.043566 | 0.0022963 | 0.0005755
45 | 1 | 0 | -0.095448 | -0.023888
46 | 0.99464 | -0.037268 | 0.00032288 | 8.092e-05
47 | 0.99405 | -0.04141 | 0 | 0
48 | 0.99091 | -0.063155 | 0.0021456 | 0.00053774
49 | 0.99989 | -0.0007945 | 0.0050185 | 0.0012578
50 | 0.99463 | -0.037311 | 0.0013504 | 0.00033845
51 | 0.99381 | -0.04309 | 0.0019932 | 0.00049954
52 | 0.98882 | -0.077877 | 0.00046418 | 0.00011633
53 | 0.97536 | -0.17338 | 0.0030617 | 0.00076733
54 | 0.97527 | -0.17402 | 0.0018407 | 0.00046133
55 | 0.97526 | -0.17409 | 0.0018317 | 0.00045906
56 | 0.9753 | -0.17379 | 0 | 0
57 | 0.97525 | -0.1742 | 0.00087769 | 0.00021997
58 | 0.98309 | -0.11849 | 0.0019043 | 0.00047726
59 | 0.97515 | -0.17486 | 0.00098989 | 0.00024809
60 | 0.97521 | -0.17444 | 0.0011985 | 0.00030038
61 | 0.97511 | -0.1752 | 0.0024987 | 0.00062623
62 | 0.98584 | -0.098908 | 0.00080669 | 0.00020218
63 | 0.97526 | -0.17409 | 0.00059791 | 0.00014985
64 | 0.98648 | -0.09438 | 0.00082413 | 0.00020655
65 | 0.98655 | -0.093917 | 0.001844 | 0.00046215
66 | 0.98641 | -0.094855 | 0.0015136 | 0.00037934
67 | 0.98665 | -0.093157 | 0 | 0
68 | 0.98772 | -0.085585 | 0 | 0
69 | 0.98854 | -0.079807 | 0.00068757 | 0.00017232
70 | 0.9935 | -0.045279 | 0 | 0
71 | 0.99357 | -0.044822 | 0.0025295 | 0.00063394
72 | 0.99343 | -0.045808 | 0.0026287 | 0.00065881
73 | 0.99373 | -0.043661 | 0 | 0
74 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.004685 | -0.001173 | 0.0046852 | 0.001173 | 1.8401e-07 | -3.6839e-09 | 0.0070887 | 0.0070887 | 0.0070887 | 0.98339 | -0.11634 | 0.98343 | -0.11606 | 2.6255
1 | 0.0030691 | 0.00076805 | -0.003069 | -0.0007681 | 1.0307e-07 | -5.7538e-08 | 0.0046436 | 0.0046437 | 0.0046437 | 0.98339 | -0.11634 | 0.98336 | -0.11659 | 1.7199
2 | -0.0060457 | -0.001514 | 0.0060466 | 0.0015141 | 8.4349e-07 | 1.1941e-07 | 0.0091473 | 0.0091472 | 0.0091473 | 0.98343 | -0.11606 | 0.98357 | -0.11505 | 3.3879
3 | 0.0024126 | 0.00060359 | -0.0024124 | -0.00060382 | 2.0428e-07 | -2.3307e-07 | 0.0036504 | 0.0036505 | 0.0036505 | 0.98336 | -0.11659 | 0.98327 | -0.1172 | 1.352
4 | -0.0077193 | -0.0019334 | 0.0077209 | 0.0019337 | 1.5636e-06 | 3.6812e-07 | 0.011678 | 0.011678 | 0.011678 | 0.98357 | -0.11505 | 0.98378 | -0.11359 | 4.3251
5 | 0.0019046 | 0.00047656 | -0.0019046 | -0.00047667 | 5.4483e-08 | -1.1237e-07 | 0.002882 | 0.0028821 | 0.0028821 | 0.98327 | -0.1172 | 0.98324 | -0.11741 | 1.0674
6 | -0.0093045 | -0.0023306 | 0.0093073 | 0.0023314 | 2.8033e-06 | 7.9009e-07 | 0.014073 | 0.014073 | 0.014073 | 0.98378 | -0.11359 | 0.98409 | -0.11141 | 5.2122
7 | 0.0019046 | 0.00047667 | -0.0019045 | -0.00047683 | 7.7973e-08 | -1.608e-07 | 0.0028821 | 0.0028822 | 0.0028822 | 0.98324 | -0.11741 | 0.9832 | -0.1177 | 1.0675
8 | -0.010734 | -0.0026889 | 0.010734 | 0.0026891 | 6.1097e-07 | 1.8776e-07 | 0.01623 | 0.01623 | 0.01623 | 0.98409 | -0.11141 | 0.98414 | -0.111 | 6.011
9 | 0.0019045 | 0.00047683 | -0.0019043 | -0.00047726 | 2.061e-07 | -4.249e-07 | 0.0028822 | 0.0028823 | 0.0028823 | 0.9832 | -0.1177 | 0.98309 | -0.11849 | 1.0675
10 | -0.0013614 | -0.00034108 | 0.0013615 | 0.00034098 | 2.4149e-08 | -1.0664e-07 | 0.002059 | 0.002059 | 0.002059 | 0.98386 | -0.11304 | 0.98387 | -0.11292 | 0.7626
11 | 0.00035721 | 8.9401e-05 | -0.00035721 | -8.9526e-05 | 1.808e-09 | -1.2538e-07 | 0.00054022 | 0.00054026 | 0.00054026 | 0.98386 | -0.11304 | 0.98385 | -0.11308 | 0.2001
12 | -0.0015862 | -0.00039729 | 0.0015864 | 0.00039645 | 2.681e-07 | -8.4538e-07 | 0.0023988 | 0.0023985 | 0.0023988 | 0.98387 | -0.11292 | 0.98405 | -0.11169 | 0.88846
13 | -0.0036716 | -0.00091905 | 0.003672 | 0.00091895 | 3.5257e-07 | -9.732e-08 | 0.0055516 | 0.0055515 | 0.0055516 | 0.98405 | -0.11169 | 0.98414 | -0.111 | 2.0562
14 | -0.014406 | -0.003608 | 0.014429 | 0.0036159 | 2.3067e-05 | 7.8803e-06 | 0.021781 | 0.021781 | 0.021781 | 0.98414 | -0.111 | 0.98577 | -0.099429 | 8.0671
15 | -0.014429 | -0.0036159 | 0.01443 | 0.0036163 | 1.041e-06 | 3.5555e-07 | 0.021781 | 0.021781 | 0.021781 | 0.98577 | -0.099429 | 0.98584 | -0.098908 | 8.067
16 | 0.029659 | 0.0074416 | -0.029617 | -0.0074257 | 4.2406e-05 | 1.5891e-05 | 0.04509 | 0.04509 | 0.04509 | 0.97884 | -0.14843 | 0.9774 | -0.15875 | 16.7
17 | -0.03294 | -0.0082639 | 0.03303 | 0.0082977 | 8.966e-05 | 3.3762e-05 | 0.050078 | 0.050078 | 0.050078 | 0.97884 | -0.14843 | 0.98159 | -0.12886 | 18.5474
18 | 0.027453 | 0.0068835 | -0.027427 | -0.0068736 | 2.66e-05 | 9.9254e-06 | 0.041796 | 0.041797 | 0.041797 | 0.9774 | -0.15875 | 0.97642 | -0.16575 | 15.4802
19 | -0.03303 | -0.0082977 | 0.033089 | 0.0083201 | 5.9589e-05 | 2.2437e-05 | 0.050078 | 0.050078 | 0.050078 | 0.98159 | -0.12886 | 0.98342 | -0.11591 | 18.5473
20 | 0.017945 | 0.0044974 | -0.017931 | -0.0044922 | 1.4701e-05 | 5.2607e-06 | 0.027348 | 0.027348 | 0.027348 | 0.97642 | -0.16575 | 0.9756 | -0.17167 | 10.1289
21 | 0.0094811 | 0.0023761 | -0.0094756 | -0.0023746 | 5.4715e-06 | 1.5794e-06 | 0.014449 | 0.014449 | 0.014449 | 0.97642 | -0.16575 | 0.97584 | -0.16992 | 5.3514
22 | -0.033089 | -0.0083201 | 0.033162 | 0.0083473 | 7.2164e-05 | 2.7169e-05 | 0.050078 | 0.050077 | 0.050078 | 0.98342 | -0.11591 | 0.98563 | -0.1003 | 18.5472
23 | 0.011765 | 0.0029486 | -0.011759 | -0.0029464 | 6.8085e-06 | 2.1958e-06 | 0.017945 | 0.017945 | 0.017945 | 0.9756 | -0.17167 | 0.97502 | -0.17585 | 6.6464
24 | 0.0061653 | 0.0015435 | -0.0061637 | -0.0015433 | 1.5841e-06 | 2.5084e-07 | 0.009403 | 0.0094031 | 0.0094031 | 0.9756 | -0.17167 | 0.97534 | -0.17353 | 3.4826
25 | 0.0083979 | 0.0021045 | -0.0083956 | -0.0021039 | 2.3052e-06 | 6.0525e-07 | 0.012805 | 0.012806 | 0.012806 | 0.97584 | -0.16992 | 0.97557 | -0.1719 | 4.7428
26 | -0.041687 | -0.010484 | 0.041721 | 0.010497 | 3.3957e-05 | 1.2885e-05 | 0.062948 | 0.062948 | 0.062948 | 0.98563 | -0.1003 | 0.98646 | -0.094457 | 23.314
27 | 0.010269 | 0.002573 | -0.010266 | -0.0025721 | 3.0134e-06 | 9.1383e-07 | 0.015671 | 0.015671 | 0.015671 | 0.97502 | -0.17585 | 0.97472 | -0.17797 | 5.8042
28 | 0.00059795 | 0.00014876 | -0.00059793 | -0.00014926 | 2.1239e-08 | -5.0257e-07 | 0.00091186 | 0.00091205 | 0.00091205 | 0.97534 | -0.17353 | 0.9753 | -0.17379 | 0.33779
29 | 0.0055658 | 0.0013945 | -0.0055653 | -0.0013945 | 5.1644e-07 | 5.5388e-08 | 0.0084912 | 0.0084913 | 0.0084913 | 0.97534 | -0.17353 | 0.97525 | -0.1742 | 3.1449
30 | 0.0067358 | 0.0016879 | -0.0067344 | -0.0016876 | 1.3788e-06 | 2.6898e-07 | 0.010274 | 0.010274 | 0.010274 | 0.97557 | -0.1719 | 0.97536 | -0.17338 | 3.8052
31 | -0.042631 | -0.010725 | 0.042684 | 0.010745 | 5.2824e-05 | 2.0055e-05 | 0.064321 | 0.064321 | 0.064321 | 0.98646 | -0.094457 | 0.98772 | -0.085585 | 23.8226
32 | -0.0022906 | -0.00057408 | 0.0022907 | 0.00057392 | 1.3044e-07 | -1.6239e-07 | 0.0034991 | 0.003499 | 0.0034991 | 0.97411 | -0.18238 | 0.97417 | -0.18197 | 1.2959
33 | -0.0029236 | -0.00073253 | 0.0029237 | 0.00073245 | 1.1983e-07 | -7.3807e-08 | 0.0044657 | 0.0044656 | 0.0044657 | 0.97417 | -0.18197 | 0.97421 | -0.18167 | 1.654
34 | -0.00339 | -0.00084932 | 0.0033902 | 0.00084926 | 1.8764e-07 | -6.7494e-08 | 0.0051779 | 0.0051778 | 0.0051779 | 0.97421 | -0.18167 | 0.97426 | -0.18127 | 1.9177
35 | -0.0041418 | -0.0010376 | 0.0041421 | 0.0010376 | 3.6429e-07 | -4.1589e-08 | 0.0063257 | 0.0063256 | 0.0063257 | 0.97426 | -0.18127 | 0.97435 | -0.18063 | 2.3428
36 | -0.0049275 | -0.0012344 | 0.0049276 | 0.0012344 | 5.0354e-08 | 1.6179e-09 | 0.0075251 | 0.0075251 | 0.0075251 | 0.97435 | -0.18063 | 0.97436 | -0.18056 | 2.7871
37 | -0.0054115 | -0.0013557 | 0.0054123 | 0.0013558 | 7.9636e-07 | 7.3504e-08 | 0.008264 | 0.0082639 | 0.008264 | 0.97436 | -0.18056 | 0.97451 | -0.1795 | 3.0607
38 | -0.0068328 | -0.0017118 | 0.006834 | 0.001712 | 1.1508e-06 | 2.3148e-07 | 0.010433 | 0.010433 | 0.010433 | 0.97451 | -0.1795 | 0.97468 | -0.17828 | 3.8641
39 | -0.0086581 | -0.0021692 | 0.0086585 | 0.0021693 | 3.6596e-07 | 9.8915e-08 | 0.013218 | 0.013218 | 0.013218 | 0.97468 | -0.17828 | 0.97472 | -0.17797 | 4.8955
40 | -0.013589 | -0.0034049 | 0.01359 | 0.0034054 | 1.5888e-06 | 5.3102e-07 | 0.020323 | 0.020323 | 0.020323 | 0.99493 | -0.035252 | 0.99505 | -0.034407 | 7.5271
41 | 0.011215 | 0.00281 | -0.011212 | -0.0028091 | 2.732e-06 | 8.4873e-07 | 0.016773 | 0.016773 | 0.016773 | 0.99493 | -0.035252 | 0.99468 | -0.037013 | 6.2122
42 | 0.0074127 | 0.0018577 | -0.0074109 | -0.0018573 | 1.8406e-06 | 3.9619e-07 | 0.011085 | 0.011085 | 0.011085 | 0.99505 | -0.034407 | 0.99479 | -0.036201 | 4.1057
43 | -0.021003 | -0.0052631 | 0.021018 | 0.0052684 | 1.4497e-05 | 5.2697e-06 | 0.031408 | 0.031408 | 0.031408 | 0.99505 | -0.034407 | 0.99575 | -0.029423 | 11.6327
44 | 0.0020237 | 0.00050698 | -0.0020237 | -0.00050702 | 1.8815e-08 | -3.5465e-08 | 0.0030274 | 0.0030274 | 0.0030274 | 0.99468 | -0.037013 | 0.99467 | -0.03708 | 1.1213
45 | 0.0091886 | 0.0023021 | -0.0091845 | -0.002301 | 4.0888e-06 | 1.1227e-06 | 0.013746 | 0.013746 | 0.013746 | 0.99468 | -0.037013 | 0.99422 | -0.04023 | 5.091
46 | 0.0074109 | 0.0018573 | -0.0074105 | -0.0018573 | 3.3679e-07 | 7.2513e-08 | 0.011085 | 0.011085 | 0.011085 | 0.99479 | -0.036201 | 0.99474 | -0.036529 | 4.1057
47 | 0.068242 | 0.01722 | -0.068107 | -0.017169 | 0.00013519 | 5.1725e-05 | 0.10202 | 0.10202 | 0.10202 | 0.99575 | -0.029423 | 0.99372 | -0.043566 | 37.7852
48 | -0.08926 | -0.022489 | 0.089629 | 0.02263 | 0.000369 | 0.00014149 | 0.13343 | 0.13343 | 0.13343 | 0.99575 | -0.029423 | 1 | 0 | 49.4178
49 | 0.0016734 | 0.00041921 | -0.0016733 | -0.00041934 | 4.3374e-08 | -1.2729e-07 | 0.0025033 | 0.0025033 | 0.0025033 | 0.99467 | -0.03708 | 0.99464 | -0.037268 | 0.92716
50 | 0.0071558 | 0.0017926 | -0.0071546 | -0.0017923 | 1.1675e-06 | 2.3753e-07 | 0.01071 | 0.01071 | 0.01071 | 0.99422 | -0.04023 | 0.99405 | -0.04141 | 3.9665
51 | 0.065811 | 0.016593 | -0.065631 | -0.016524 | 0.00018012 | 6.8894e-05 | 0.098582 | 0.098582 | 0.098582 | 0.99372 | -0.043566 | 0.99091 | -0.063155 | 36.5117
52 | 0.0050191 | 0.0012578 | -0.0050185 | -0.0012578 | 5.5196e-07 | 4.2658e-09 | 0.0074685 | 0.0074685 | 0.0074685 | 1 | 0 | 0.99989 | -0.0007945 | 2.7661
53 | 0.0013505 | 0.00033842 | -0.0013504 | -0.00033845 | 8.089e-09 | -3.8109e-08 | 0.0020203 | 0.0020203 | 0.0020203 | 0.99464 | -0.037268 | 0.99463 | -0.037311 | 0.74827
54 | 0.0071546 | 0.0017923 | -0.0071529 | -0.001792 | 1.6624e-06 | 3.3834e-07 | 0.01071 | 0.01071 | 0.01071 | 0.99405 | -0.04141 | 0.99381 | -0.04309 | 3.9666
55 | 0.063485 | 0.015987 | -0.063355 | -0.015937 | 0.00013035 | 4.9839e-05 | 0.09536 | 0.09536 | 0.09536 | 0.99091 | -0.063155 | 0.98882 | -0.077877 | 35.3185
56 | 0.0051597 | 0.0012925 | -0.0051593 | -0.0012924 | 4.0775e-07 | 1.4968e-08 | 0.0077253 | 0.0077254 | 0.0077254 | 0.99381 | -0.04309 | 0.99373 | -0.043661 | 2.8613
57 | 0.06289 | 0.01582 | -0.062874 | -0.015814 | 1.6922e-05 | 6.4697e-06 | 0.094661 | 0.094661 | 0.094661 | 0.98882 | -0.077877 | 0.98854 | -0.079807 | 35.0598
58 | 0.0036727 | 0.00092027 | -0.0036724 | -0.00092035 | 3.2661e-07 | -8.2439e-08 | 0.0056031 | 0.0056032 | 0.0056032 | 0.97536 | -0.17338 | 0.97527 | -0.17402 | 2.0752
59 | 0.0018317 | 0.00045902 | -0.0018317 | -0.00045906 | 1.6379e-08 | -3.5638e-08 | 0.0027947 | 0.0027947 | 0.0027947 | 0.97527 | -0.17402 | 0.97526 | -0.17409 | 1.0351
60 | 0.00059793 | 0.00014926 | -0.00059791 | -0.00014985 | 2.4863e-08 | -5.8802e-07 | 0.00091205 | 0.00091226 | 0.00091226 | 0.9753 | -0.17379 | 0.97526 | -0.17409 | 0.33787
61 | 0.0046876 | 0.0011745 | -0.0046874 | -0.0011745 | 1.5669e-07 | -9.854e-10 | 0.0071521 | 0.0071521 | 0.0071521 | 0.97525 | -0.1742 | 0.97521 | -0.17444 | 2.6489
62 | -0.0034887 | -0.0008742 | 0.0034889 | 0.00087413 | 2.0376e-07 | -6.5393e-08 | 0.0053234 | 0.0053234 | 0.0053234 | 0.97515 | -0.17486 | 0.97521 | -0.17444 | 1.9716
63 | 0.0024988 | 0.00062611 | -0.0024987 | -0.00062623 | 1.1678e-07 | -1.1567e-07 | 0.0038129 | 0.003813 | 0.003813 | 0.97515 | -0.17486 | 0.97511 | -0.1752 | 1.4122
64 | -0.015237 | -0.0038184 | 0.015249 | 0.0038226 | 1.2138e-05 | 4.199e-06 | 0.022999 | 0.022998 | 0.022999 | 0.98584 | -0.098908 | 0.98665 | -0.093157 | 8.518
65 | -0.0023378 | -0.00058553 | 0.002338 | 0.00058534 | 1.4962e-07 | -1.8867e-07 | 0.0035262 | 0.0035261 | 0.0035262 | 0.98648 | -0.09438 | 0.98655 | -0.093917 | 1.306
66 | 0.0015137 | 0.00037899 | -0.0015136 | -0.00037934 | 9.9523e-08 | -3.5231e-07 | 0.0022831 | 0.0022833 | 0.0022833 | 0.98648 | -0.09438 | 0.98641 | -0.094855 | 0.84565
67 | -0.004182 | -0.0010475 | 0.0041824 | 0.0010474 | 4.3959e-07 | -5.7052e-08 | 0.0063075 | 0.0063074 | 0.0063075 | 0.98655 | -0.093917 | 0.98665 | -0.093157 | 2.3361
68 | -0.019432 | -0.0048701 | 0.019452 | 0.0048774 | 2.0389e-05 | 7.3553e-06 | 0.029306 | 0.029306 | 0.029306 | 0.98665 | -0.093157 | 0.98772 | -0.085585 | 10.854
69 | -0.062136 | -0.015622 | 0.062186 | 0.015642 | 5.0066e-05 | 1.9139e-05 | 0.093626 | 0.093626 | 0.093626 | 0.98772 | -0.085585 | 0.98854 | -0.079807 | 34.6764
70 | -0.0026289 | -0.00065863 | 0.002629 | 0.00065847 | 1.6624e-07 | -1.5861e-07 | 0.0039373 | 0.0039372 | 0.0039373 | 0.9935 | -0.045279 | 0.99357 | -0.044822 | 1.4583
71 | 0.0026289 | 0.00065863 | -0.0026287 | -0.00065881 | 1.9234e-07 | -1.8347e-07 | 0.0039373 | 0.0039374 | 0.0039374 | 0.9935 | -0.045279 | 0.99343 | -0.045808 | 1.4583
72 | -0.0051585 | -0.0012924 | 0.0051593 | 0.0012924 | 8.2808e-07 | 3.0475e-08 | 0.0077255 | 0.0077254 | 0.0077255 | 0.99357 | -0.044822 | 0.99373 | -0.043661 | 2.8613

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.097725 | 0.024459

## res_load
| p_mw | q_mvar
0 | 0.0016159 | 0.00040498
1 | 0.0013605 | 0.00034098
2 | 0.00065642 | 0.00016451
3 | 0.0016728 | 0.00041924
4 | 0.00050778 | 0.00012726
5 | 0.0015836 | 0.00039688
6 | 0.0014264 | 0.00035749
7 | 0.0010042 | 0.00025168
8 | 0.00022471 | 5.6318e-05
9 | 0.00035721 | 8.9526e-05
10 | 0.0020852 | 0.0005226
11 | 0.0032813 | 0.00082237
12 | 0.0021633 | 0.00054219
13 | 0.0010778 | 0.00027011
14 | 0.0085252 | 0.0021366
15 | 0.0014899 | 0.00037341
16 | 0.0016598 | 0.00041598
17 | 0.00091027 | 0.00022813
18 | 0.0022906 | 0.00057408
19 | 0.00063286 | 0.00015861
20 | 0.00046631 | 0.00011687
21 | 0.00075153 | 0.00018835
22 | 0.00078541 | 0.00019684
23 | 0.00048388 | 0.00012127
24 | 0.0014206 | 0.00035603
25 | 0.0018241 | 0.00045717
26 | 0.0016072 | 0.00040281
27 | 0.0023738 | 0.00059492
28 | 0.00035035 | 8.7807e-05
29 | 0.0020287 | 0.00050844
30 | 0.0074105 | 0.0018573
31 | 0.0022963 | 0.0005755
32 | 0.0022767 | 0.0005706
33 | 0.00032288 | 8.092e-05
34 | 0.0021456 | 0.00053774
35 | 0.0050185 | 0.0012578
36 | 0.0013504 | 0.00033845
37 | 0.0019932 | 0.00049954
38 | 0.00046418 | 0.00011633
39 | 0.0030617 | 0.00076733
40 | 0.0018407 | 0.00046133
41 | 0.0018317 | 0.00045906
42 | 0.00087769 | 0.00021997
43 | 0.0019043 | 0.00047726
44 | 0.00098989 | 0.00024809
45 | 0.0011985 | 0.00030038
46 | 0.0024987 | 0.00062623
47 | 0.00080669 | 0.00020218
48 | 0.00059791 | 0.00014985
49 | 0.00082413 | 0.00020655
50 | 0.001844 | 0.00046215
51 | 0.0015136 | 0.00037934
52 | 0.00068757 | 0.00017232
53 | 0.0025295 | 0.00063394
54 | 0.0026287 | 0.00065881

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1