## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1025-2_1_3_node_10 | 0.4 | n |  | TRUE
1 | bus_LV_1025-2_1_3_node_91 | 0.4 | n |  | TRUE
2 | bus_LV_1025-2_1_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_1025-2_1_3_node_17 | 0.4 | n |  | TRUE
4 | bus_LV_1025-2_1_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_1025-2_1_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_1025-2_1_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_1025-2_1_3_node_106 | 0.4 | n |  | TRUE
8 | bus_LV_1025-2_1_3_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_1025-2_1_3_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1025-2_1_3_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_1025-2_1_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_1025-2_1_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1025-2_1_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1025-2_1_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1025-2_1_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_1025-2_1_3_node_119 | 0.4 | n |  | TRUE
17 | bus_LV_1025-2_1_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1025-2_1_3_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1025-2_1_3_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_1025-2_1_3_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_1025-2_1_3_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_1025-2_1_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_1025-2_1_3_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_1025-2_1_3_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_1025-2_1_3_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_1025-2_1_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_1025-2_1_3_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_1025-2_1_3_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_1025-2_1_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_1025-2_1_3_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_1025-2_1_3_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_1025-2_1_3_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_1025-2_1_3_node_102 | 0.4 | n |  | TRUE
34 | bus_LV_1025-2_1_3_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_1025-2_1_3_node_89 | 0.4 | n |  | TRUE
36 | bus_LV_1025-2_1_3_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_1025-2_1_3_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_1025-2_1_3_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_1025-2_1_3_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_1025-2_1_3_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_1025-2_1_3_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_1025-2_1_3_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_1025-2_1_3_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_1025-2_1_3_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_1025-2_1_3_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_1025-2_1_3_node_118 | 0.4 | n |  | TRUE
47 | bus_MV_470_1_node_321 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1025-2_1_3_load_10 | 0 | 0.0018012 | 0.00045142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1025-2_1_3_load_91 | 1 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1025-2_1_3_load_16 | 2 | 0.0046118 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1025-2_1_3_load_17 | 3 | 0.00084976 | 0.00021297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1025-2_1_3_load_18 | 4 | 0.00085911 | 0.00021531 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1025-2_1_3_load_19 | 5 | 0.0019737 | 0.00049465 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1025-2_1_3_load_20 | 6 | 0.00092742 | 0.00023243 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1025-2_1_3_load_106 | 7 | 0.0015667 | 0.00039266 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1025-2_1_3_load_21 | 9 | 0.0038098 | 0.00095484 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1025-2_1_3_load_22 | 10 | 0.003588 | 0.00089923 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1025-2_1_3_load_23 | 11 | 0.00073496 | 0.0001842 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1025-2_1_3_load_24 | 12 | 0.0019906 | 0.00049889 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1025-2_1_3_load_25 | 13 | 0.0026796 | 0.00067157 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1025-2_1_3_load_44 | 17 | 0.0071479 | 0.0017914 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1025-2_1_3_load_45 | 18 | 0.0015993 | 0.00040082 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1025-2_1_3_load_46 | 19 | 0.0020126 | 0.0005044 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1025-2_1_3_load_76 | 23 | 0.00081112 | 0.00020329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1025-2_1_3_load_56 | 24 | 0.0017999 | 0.00045109 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1025-2_1_3_load_57 | 25 | 0.007253 | 0.0018178 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1025-2_1_3_load_58 | 26 | 0.0029123 | 0.00072988 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1025-2_1_3_load_60 | 27 | 0.0023429 | 0.00058719 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1025-2_1_3_load_63 | 29 | 0.00042005 | 0.00010527 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1025-2_1_3_load_65 | 30 | 0.001609 | 0.00040325 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1025-2_1_3_load_66 | 31 | 0.0028981 | 0.00072634 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1025-2_1_3_load_98 | 32 | 0.00071568 | 0.00017937 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1025-2_1_3_load_102 | 33 | 0.0020518 | 0.00051422 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1025-2_1_3_load_89 | 35 | 0.0026844 | 0.00067277 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1025-2_1_3_load_85 | 36 | 0.0005439 | 0.00013631 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1025-2_1_3_load_86 | 37 | 0.00064516 | 0.00016169 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1025-2_1_3_load_90 | 39 | 0.0016293 | 0.00040835 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1025-2_1_3_load_120 | 40 | 0.011895 | 0.0029812 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1025-2_1_3_load_92 | 41 | 0.00073932 | 0.00018529 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1025-2_1_3_load_93 | 42 | 0.002325 | 0.0005827 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1025-2_1_3_load_99 | 43 | 0.00050096 | 0.00012555 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1025-2_1_3_load_105 | 44 | 0.0030561 | 0.00076593 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1025-2_1_3_load_101 | 45 | 0.0013211 | 0.00033111 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1025-2_1_3_load_118 | 46 | 0.0010381 | 0.00026018 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1025-2_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1025-2_1_3_line_1 | NAYY 4x150 SE | 1 | 41 | 0.018129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1025-2_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1025-2_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1025-2_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1025-2_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0012026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1025-2_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0016039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1025-2_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0050269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1025-2_1_3_line_8 | NAYY 4x150 SE | 7 | 44 | 0.032758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1025-2_1_3_line_9 | NAYY 4x150 SE | 8 | 31 | 0.018481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1025-2_1_3_line_10 | NAYY 4x150 SE | 8 | 27 | 0.03256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1025-2_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.010249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1025-2_1_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0098273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1025-2_1_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.030317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1025-2_1_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.041011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1025-2_1_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.039204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1025-2_1_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.020546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1025-2_1_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.012753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1025-2_1_3_line_18 | NAYY 4x150 SE | 15 | 22 | 0.040204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1025-2_1_3_line_19 | NAYY 4x150 SE | 15 | 23 | 0.039712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1025-2_1_3_line_20 | NAYY 4x150 SE | 16 | 46 | 0.052066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1025-2_1_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.016739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1025-2_1_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.011951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1025-2_1_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.02367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1025-2_1_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.044661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1025-2_1_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.016903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1025-2_1_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1025-2_1_3_line_27 | NAYY 4x150 SE | 22 | 33 | 0.016773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1025-2_1_3_line_28 | NAYY 4x150 SE | 22 | 28 | 0.007139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1025-2_1_3_line_29 | NAYY 4x150 SE | 24 | 25 | 0.027872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1025-2_1_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0075116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1025-2_1_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.030154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1025-2_1_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.033484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1025-2_1_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.045876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1025-2_1_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.0079653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1025-2_1_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.019196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1025-2_1_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.024598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1025-2_1_3_line_37 | NAYY 4x150 SE | 33 | 45 | 0.057493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1025-2_1_3_line_38 | NAYY 4x150 SE | 34 | 40 | 0.049212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1025-2_1_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.031207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1025-2_1_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.023676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1025-2_1_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.037969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1025-2_1_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.023908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1025-2_1_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.015447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1025-2_1_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.037568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1025-2_1_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.074656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1025-2_1_3_trafo_64 | 0.25 MVA 20/0.4 kV | 47 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2660488.5319 | 1231154.8088 | 2660485.1452 | 1231156.3534 | 2660477.7035 | 1231159.0128
1 | 2660488.5319 | 1231154.8088 | 2660497.0684 | 1231150.9156 | 2660505.4462 | 1231148.404
2 | 2660530.2599 | 1231293.117 | 2660550.2522 | 1231274.3629
3 | 2660530.2599 | 1231293.117 | 2660511.1704 | 1231311.0241
4 | 2660550.2522 | 1231274.3629 | 2660570.7819 | 1231255.1049
5 | 2660510.2933 | 1231311.8469 | 2660511.1704 | 1231311.0241
6 | 2660571.9516 | 1231254.0075 | 2660570.7819 | 1231255.1049
7 | 2660506.627 | 1231315.2861 | 2660510.2933 | 1231311.8469
8 | 2660595.843 | 1231231.596 | 2660571.9516 | 1231254.0075
9 | 2660506.627 | 1231315.2861 | 2660493.175 | 1231327.9584
10 | 2660506.627 | 1231315.2861 | 2660516.5272 | 1231327.0278 | 2660529.8006 | 1231337.9693
11 | 2660562.4439 | 1231419.4516 | 2660562.5738 | 1231425.1268 | 2660563.7694 | 1231429.5403
12 | 2660562.4439 | 1231419.4516 | 2660562.3222 | 1231414.1393 | 2660563.0786 | 1231409.6895
13 | 2660563.7694 | 1231429.5403 | 2660565.2014 | 1231434.8265 | 2660575.0292 | 1231455.1175 | 2660575.9855 | 1231457.2036
14 | 2660563.0786 | 1231409.6895 | 2660563.8126 | 1231405.371 | 2660567.9534 | 1231396.6297 | 2660575.5838 | 1231385.0888 | 2660584.2561 | 1231375.2406
15 | 2660592.0869 | 1231492.7379 | 2660590.4369 | 1231491.1645 | 2660584.3492 | 1231475.4479 | 2660575.9855 | 1231457.2036
16 | 2660597.8344 | 1231359.8213 | 2660584.2561 | 1231375.2406
17 | 2660584.0717 | 1231502.6738 | 2660592.0869 | 1231492.7379
18 | 2660597.8344 | 1231359.8213 | 2660591.9801 | 1231356.8597 | 2660572.3263 | 1231343.562 | 2660563.8989 | 1231338.1838
19 | 2660597.8344 | 1231359.8213 | 2660603.9121 | 1231360.1834 | 2660619.5427 | 1231358.0413 | 2660636.8761 | 1231353.793
20 | 2660584.0717 | 1231502.6738 | 2660574.7169 | 1231501.3666 | 2660532.5384 | 1231507.4883
21 | 2660711.7437 | 1231355.6846 | 2660710.9161 | 1231349.1007 | 2660709.1876 | 1231344.8248 | 2660705.4897 | 1231340.765
22 | 2660711.7437 | 1231355.6846 | 2660712.1699 | 1231359.0756 | 2660714.8245 | 1231363.8836 | 2660717.0802 | 1231365.9228
23 | 2660689.5503 | 1231323.2659 | 2660705.4897 | 1231340.765
24 | 2660689.5503 | 1231323.2659 | 2660673.9757 | 1231336.9715 | 2660663.8082 | 1231343.2941 | 2660652.8297 | 1231348.2076
25 | 2660652.8297 | 1231348.2076 | 2660636.8761 | 1231353.793
26 | 2660652.8297 | 1231348.2076 | 2660653.7459 | 1231340.0561 | 2660656.8301 | 1231333.9391 | 2660656.9045 | 1231333.8422
27 | 2660563.8989 | 1231338.1838 | 2660574.922 | 1231325.541
28 | 2660563.8989 | 1231338.1838 | 2660558.9914 | 1231343.3817
29 | 2660664.9693 | 1231309.7512 | 2660666.1126 | 1231311.1857 | 2660667.4266 | 1231317.4921 | 2660665.1733 | 1231323.0727 | 2660656.9045 | 1231333.8422
30 | 2660660.2875 | 1231303.8771 | 2660664.9693 | 1231309.7512
31 | 2660558.9914 | 1231343.3817 | 2660550.1266 | 1231342.2796 | 2660541.206 | 1231342.1887 | 2660535.4557 | 1231340.9071 | 2660530.8119 | 1231338.803 | 2660529.8006 | 1231337.9693
32 | 2660558.9914 | 1231343.3817 | 2660552.6836 | 1231338.8367 | 2660549.4879 | 1231333.6008 | 2660548.2802 | 1231327.2622 | 2660549.7679 | 1231320.2394 | 2660552.2921 | 1231314.8583
33 | 2660558.9914 | 1231343.3817 | 2660534.9134 | 1231368.8753 | 2660528.2586 | 1231373.1215 | 2660525.5517 | 1231374.2036
34 | 2660555.6747 | 1231307.6469 | 2660552.2921 | 1231314.8583
35 | 2660507.727 | 1231381.329 | 2660525.5517 | 1231374.2036
36 | 2660475.2702 | 1231344.8254 | 2660493.175 | 1231327.9584
37 | 2660612.7054 | 1231282.206 | 2660574.922 | 1231325.541
38 | 2660507.727 | 1231381.329 | 2660511.0549 | 1231390.6801 | 2660510.1355 | 1231399.1651 | 2660506.7299 | 1231405.6235 | 2660492.5121 | 1231424.2725
39 | 2660507.727 | 1231381.329 | 2660495.6949 | 1231386.3432 | 2660488.8759 | 1231391.0992 | 2660479.9004 | 1231395.1776
40 | 2660457.4275 | 1231402.4039 | 2660473.248 | 1231398.2005 | 2660479.9004 | 1231395.1776
41 | 2660422.8961 | 1231394.1639 | 2660434.5449 | 1231402.9991 | 2660441.61 | 1231404.5719 | 2660448.9857 | 1231404.6469 | 2660457.4275 | 1231402.4039
42 | 2660422.8961 | 1231394.1639 | 2660409.1814 | 1231374.5808
43 | 2660520.0797 | 1231152.1115 | 2660507.5065 | 1231147.7864 | 2660505.4462 | 1231148.404
44 | 2660520.0797 | 1231152.1115 | 2660525.3255 | 1231153.9161 | 2660552.5489 | 1231170.7751
45 | 2660595.843 | 1231231.596 | 2660552.5489 | 1231170.7751

## bus_geodata
| x | y | coords
0 | 2660477.7035 | 1231159.0128
1 | 2660488.5319 | 1231154.8088
2 | 2660530.2599 | 1231293.117
3 | 2660550.2522 | 1231274.3629
4 | 2660511.1704 | 1231311.0241
5 | 2660570.7819 | 1231255.1049
6 | 2660510.2933 | 1231311.8469
7 | 2660571.9516 | 1231254.0075
8 | 2660506.627 | 1231315.2861
9 | 2660562.4439 | 1231419.4516
10 | 2660563.7694 | 1231429.5403
11 | 2660563.0786 | 1231409.6895
12 | 2660575.9855 | 1231457.2036
13 | 2660584.2561 | 1231375.2406
14 | 2660592.087 | 1231492.7379
15 | 2660597.8344 | 1231359.8213
16 | 2660584.0717 | 1231502.6738
17 | 2660711.7437 | 1231355.6846
18 | 2660705.4897 | 1231340.765
19 | 2660717.0802 | 1231365.9228
20 | 2660689.5503 | 1231323.2659
21 | 2660652.8297 | 1231348.2076
22 | 2660563.8989 | 1231338.1838
23 | 2660636.8761 | 1231353.793
24 | 2660664.9693 | 1231309.7512
25 | 2660656.9045 | 1231333.8422
26 | 2660660.2875 | 1231303.8771
27 | 2660529.8006 | 1231337.9693
28 | 2660558.9914 | 1231343.3817
29 | 2660552.2921 | 1231314.8583
30 | 2660525.5517 | 1231374.2036
31 | 2660493.175 | 1231327.9584
32 | 2660555.6747 | 1231307.6469
33 | 2660574.922 | 1231325.541
34 | 2660507.727 | 1231381.329
35 | 2660475.2702 | 1231344.8254
36 | 2660457.4275 | 1231402.4039
37 | 2660479.9004 | 1231395.1776
38 | 2660422.8961 | 1231394.1639
39 | 2660409.1814 | 1231374.5808
40 | 2660492.5121 | 1231424.2725
41 | 2660505.4462 | 1231148.404
42 | 2660520.0797 | 1231152.1115
43 | 2660552.5489 | 1231170.7751
44 | 2660595.843 | 1231231.596
45 | 2660612.7054 | 1231282.206
46 | 2660532.5384 | 1231507.4883
47 | 2660558.9914 | 1231343.3817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9935 | -0.045609 | 0.0018012 | 0.00045142
1 | 0.99353 | -0.045397 | 0.0010625 | 0.00026629
2 | 0.99624 | -0.026354 | 0.0046118 | 0.0011558
3 | 0.99569 | -0.030187 | 0.00084976 | 0.00021297
4 | 0.99693 | -0.021485 | 0.00085911 | 0.00021531
5 | 0.99517 | -0.033885 | 0.0019737 | 0.00049465
6 | 0.99697 | -0.021251 | 0.00092742 | 0.00023243
7 | 0.99514 | -0.034064 | 0.0015667 | 0.00039266
8 | 0.99711 | -0.020226 | 0 | 0
9 | 0.99664 | -0.023535 | 0.0038098 | 0.00095484
10 | 0.99654 | -0.024218 | 0.003588 | 0.00089923
11 | 0.99679 | -0.022505 | 0.00073496 | 0.0001842
12 | 0.99641 | -0.025145 | 0.0019906 | 0.00049889
13 | 0.99744 | -0.017903 | 0.0026796 | 0.00067157
14 | 0.99635 | -0.025557 | 0 | 0
15 | 0.99785 | -0.015047 | 0 | 0
16 | 0.99634 | -0.025691 | 0 | 0
17 | 0.99469 | -0.037257 | 0.0071479 | 0.0017914
18 | 0.99491 | -0.03571 | 0.0015993 | 0.00040082
19 | 0.99465 | -0.037499 | 0.0020126 | 0.0005044
20 | 0.99527 | -0.033142 | 0 | 0
21 | 0.99596 | -0.0283 | 0 | 0
22 | 1 | 0 | -0.087521 | -0.021761
23 | 0.99651 | -0.024435 | 0.00081112 | 0.00020329
24 | 0.99551 | -0.031451 | 0.0017999 | 0.00045109
25 | 0.9957 | -0.030128 | 0.007253 | 0.0018178
26 | 0.99548 | -0.031672 | 0.0029123 | 0.00072988
27 | 0.99832 | -0.011775 | 0.0023429 | 0.00058719
28 | 0.99953 | -0.0032592 | 0 | 0
29 | 0.99948 | -0.0036399 | 0.00042005 | 0.00010527
30 | 0.99846 | -0.010757 | 0.001609 | 0.00040325
31 | 0.99696 | -0.021263 | 0.0028981 | 0.00072634
32 | 0.99947 | -0.0036969 | 0.00071568 | 0.00017937
33 | 0.99992 | -0.00056577 | 0.0020518 | 0.00051422
34 | 0.99806 | -0.013589 | 0 | 0
35 | 0.99687 | -0.021926 | 0.0026844 | 0.00067277
36 | 0.99786 | -0.014991 | 0.0005439 | 0.00013631
37 | 0.99793 | -0.014473 | 0.00064516 | 0.00016169
38 | 0.99777 | -0.015612 | 0 | 0
39 | 0.99772 | -0.016003 | 0.0016293 | 0.00040835
40 | 0.99722 | -0.01946 | 0.011895 | 0.0029812
41 | 0.99361 | -0.044872 | 0.00073932 | 0.00018529
42 | 0.99369 | -0.044309 | 0.002325 | 0.0005827
43 | 0.99401 | -0.042056 | 0.00050096 | 0.00012555
44 | 0.9947 | -0.037203 | 0.0030561 | 0.00076593
45 | 0.99981 | -0.0013257 | 0.0013211 | 0.00033111
46 | 0.99626 | -0.026236 | 0.0010381 | 0.00026018
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018012 | -0.00045142 | 0.0018012 | 0.00045129 | 5.2791e-08 | -1.3024e-07 | 0.0026977 | 0.0026977 | 0.0026977 | 0.9935 | -0.045609 | 0.99353 | -0.045397 | 0.99916
1 | -0.0028638 | -0.00071758 | 0.002864 | 0.00071743 | 2.0809e-07 | -1.5475e-07 | 0.004289 | 0.0042889 | 0.004289 | 0.99353 | -0.045397 | 0.99361 | -0.044872 | 1.5885
2 | 0.0139 | 0.0034839 | -0.013893 | -0.0034814 | 7.3735e-06 | 2.4792e-06 | 0.020762 | 0.020762 | 0.020762 | 0.99624 | -0.026354 | 0.99569 | -0.030187 | 7.6897
3 | -0.018512 | -0.0046398 | 0.018525 | 0.0046442 | 1.2487e-05 | 4.4616e-06 | 0.027651 | 0.02765 | 0.027651 | 0.99624 | -0.026354 | 0.99693 | -0.021485 | 10.2409
4 | 0.013043 | 0.0032685 | -0.013037 | -0.0032663 | 6.6738e-06 | 2.2009e-06 | 0.019492 | 0.019492 | 0.019492 | 0.99569 | -0.030187 | 0.99517 | -0.033885 | 7.2194
5 | -0.019384 | -0.0048595 | 0.019384 | 0.0048598 | 6.2818e-07 | 2.2593e-07 | 0.028933 | 0.028933 | 0.028933 | 0.99693 | -0.021485 | 0.99697 | -0.021251 | 10.7158
6 | 0.011063 | 0.0027716 | -0.011063 | -0.0027715 | 2.7385e-07 | 8.4487e-08 | 0.016541 | 0.016541 | 0.016541 | 0.99517 | -0.033885 | 0.99514 | -0.034064 | 6.1264
7 | -0.020312 | -0.0050922 | 0.020315 | 0.0050932 | 2.883e-06 | 1.0433e-06 | 0.030317 | 0.030317 | 0.030317 | 0.99697 | -0.021251 | 0.99711 | -0.020226 | 11.2285
8 | 0.0094959 | 0.0023789 | -0.0094918 | -0.0023777 | 4.121e-06 | 1.1596e-06 | 0.014199 | 0.014199 | 0.014199 | 0.99514 | -0.034064 | 0.9947 | -0.037203 | 5.2588
9 | 0.0055835 | 0.0013989 | -0.0055827 | -0.0013989 | 8.0065e-07 | 6.692e-08 | 0.0083323 | 0.0083324 | 0.0083324 | 0.99711 | -0.020226 | 0.99696 | -0.021263 | 3.0861
10 | -0.025898 | -0.0064922 | 0.025929 | 0.0065034 | 3.0349e-05 | 1.1248e-05 | 0.038649 | 0.038649 | 0.038649 | 0.99711 | -0.020226 | 0.99832 | -0.011775 | 14.3145
11 | 0.0066179 | 0.0016569 | -0.0066173 | -0.0016568 | 6.2432e-07 | 1.0657e-07 | 0.0098801 | 0.0098802 | 0.0098802 | 0.99664 | -0.023535 | 0.99654 | -0.024218 | 3.6593
12 | -0.010428 | -0.0026117 | 0.010429 | 0.0026122 | 1.4863e-06 | 4.4356e-07 | 0.015568 | 0.015568 | 0.015568 | 0.99664 | -0.023535 | 0.99679 | -0.022505 | 5.766
13 | 0.0030293 | 0.00075753 | -0.0030289 | -0.00075778 | 3.8697e-07 | -2.4611e-07 | 0.0045227 | 0.0045228 | 0.0045228 | 0.99654 | -0.024218 | 0.99641 | -0.025145 | 1.6751
14 | -0.011164 | -0.0027964 | 0.011171 | 0.0027985 | 7.1074e-06 | 2.1987e-06 | 0.016665 | 0.016665 | 0.016665 | 0.99679 | -0.022505 | 0.99744 | -0.017903 | 6.1724
15 | 0.0010383 | 0.00025889 | -0.0010382 | -0.00025937 | 5.8787e-08 | -4.8801e-07 | 0.0015501 | 0.0015503 | 0.0015503 | 0.99641 | -0.025145 | 0.99635 | -0.025557 | 0.57417
16 | -0.013851 | -0.0034701 | 0.013856 | 0.003472 | 5.4737e-06 | 1.837e-06 | 0.020663 | 0.020663 | 0.020663 | 0.99744 | -0.017903 | 0.99785 | -0.015047 | 7.6529
17 | 0.0010382 | 0.00025937 | -0.0010382 | -0.00025953 | 1.9126e-08 | -1.5873e-07 | 0.0015503 | 0.0015503 | 0.0015503 | 0.99635 | -0.025557 | 0.99634 | -0.025691 | 0.57419
18 | -0.037452 | -0.009391 | 0.037531 | 0.0094206 | 7.8256e-05 | 2.9572e-05 | 0.055851 | 0.055851 | 0.055851 | 0.99785 | -0.015047 | 1 | 0 | 20.6857
19 | 0.023596 | 0.0059191 | -0.023565 | -0.0059078 | 3.0684e-05 | 1.1283e-05 | 0.035189 | 0.035189 | 0.035189 | 0.99785 | -0.015047 | 0.99651 | -0.024435 | 13.0329
20 | 0.0010382 | 0.00025953 | -0.0010381 | -0.00026018 | 7.81e-08 | -6.4798e-07 | 0.0015503 | 0.0015506 | 0.0015506 | 0.99634 | -0.025691 | 0.99626 | -0.026236 | 0.57428
21 | -0.0091606 | -0.0022957 | 0.0091625 | 0.0022962 | 1.9616e-06 | 5.3712e-07 | 0.013704 | 0.013704 | 0.013704 | 0.99469 | -0.037257 | 0.99491 | -0.03571 | 5.0755
22 | 0.0020126 | 0.00050427 | -0.0020126 | -0.0005044 | 6.76e-08 | -1.2912e-07 | 0.0030108 | 0.0030108 | 0.0030108 | 0.99469 | -0.037257 | 0.99465 | -0.037499 | 1.1151
23 | -0.010762 | -0.0026971 | 0.010766 | 0.0026982 | 3.8265e-06 | 1.1642e-06 | 0.016096 | 0.016096 | 0.016096 | 0.99491 | -0.03571 | 0.99527 | -0.033142 | 5.9614
24 | -0.010766 | -0.0026982 | 0.010773 | 0.0027004 | 7.2197e-06 | 2.196e-06 | 0.016096 | 0.016095 | 0.016096 | 0.99527 | -0.033142 | 0.99596 | -0.0283 | 5.9613
25 | -0.022742 | -0.0057 | 0.022754 | 0.0057045 | 1.2177e-05 | 4.4633e-06 | 0.033978 | 0.033978 | 0.033978 | 0.99596 | -0.0283 | 0.99651 | -0.024435 | 12.5843
26 | 0.011969 | 0.0029996 | -0.011966 | -0.0029986 | 3.0282e-06 | 9.6724e-07 | 0.017882 | 0.017882 | 0.017882 | 0.99596 | -0.0283 | 0.9957 | -0.030128 | 6.6231
27 | 0.0033733 | 0.00084451 | -0.0033731 | -0.00084463 | 2.6369e-07 | -1.1862e-07 | 0.0050192 | 0.0050193 | 0.0050193 | 1 | 0 | 0.99992 | -0.00056577 | 1.859
28 | 0.045817 | 0.011496 | -0.045796 | -0.011488 | 2.0709e-05 | 7.8712e-06 | 0.068181 | 0.068181 | 0.068181 | 1 | 0 | 0.99953 | -0.0032592 | 25.2523
29 | -0.0047122 | -0.0011809 | 0.0047131 | 0.0011809 | 8.6282e-07 | -3.0605e-08 | 0.0070434 | 0.0070433 | 0.0070434 | 0.99551 | -0.031451 | 0.9957 | -0.030128 | 2.6087
30 | 0.0029124 | 0.00072982 | -0.0029123 | -0.00072988 | 8.8823e-08 | -6.3499e-08 | 0.0043531 | 0.0043532 | 0.0043532 | 0.99551 | -0.031451 | 0.99548 | -0.031672 | 1.6123
31 | -0.028272 | -0.0070906 | 0.028305 | 0.0071031 | 3.3416e-05 | 1.2457e-05 | 0.042141 | 0.042141 | 0.042141 | 0.99832 | -0.011775 | 0.99953 | -0.0032592 | 15.6079
32 | 0.0011358 | 0.00028412 | -0.0011357 | -0.00028454 | 5.9729e-08 | -4.1588e-07 | 0.0016907 | 0.0016908 | 0.0016908 | 0.99953 | -0.0032592 | 0.99948 | -0.0036399 | 0.62624
33 | 0.016356 | 0.0041006 | -0.016339 | -0.0040946 | 1.6973e-05 | 5.9273e-06 | 0.024349 | 0.02435 | 0.02435 | 0.99953 | -0.0032592 | 0.99846 | -0.010757 | 9.0184
34 | 0.00071569 | 0.00017926 | -0.00071568 | -0.00017937 | 5.6427e-09 | -1.0222e-07 | 0.0010655 | 0.0010655 | 0.0010655 | 0.99948 | -0.0036399 | 0.99947 | -0.0036969 | 0.39463
35 | 0.01473 | 0.0036914 | -0.014724 | -0.0036894 | 5.7722e-06 | 1.9691e-06 | 0.021952 | 0.021952 | 0.021952 | 0.99846 | -0.010757 | 0.99806 | -0.013589 | 8.1303
36 | 0.0026846 | 0.00067254 | -0.0026844 | -0.00067276 | 2.4643e-07 | -2.2594e-07 | 0.0040068 | 0.0040069 | 0.0040069 | 0.99696 | -0.021263 | 0.99687 | -0.021926 | 1.484
37 | 0.0013213 | 0.00033041 | -0.0013211 | -0.00033111 | 1.3868e-07 | -7.0073e-07 | 0.001966 | 0.0019663 | 0.0019663 | 0.99992 | -0.00056577 | 0.99981 | -0.0013257 | 0.72824
38 | 0.011905 | 0.0029843 | -0.011895 | -0.0029812 | 9.6744e-06 | 3.0784e-06 | 0.017749 | 0.01775 | 0.01775 | 0.99806 | -0.013589 | 0.99722 | -0.01946 | 6.5739
39 | 0.0028191 | 0.00070511 | -0.0028188 | -0.00070539 | 3.4394e-07 | -2.755e-07 | 0.0042026 | 0.0042027 | 0.0042027 | 0.99806 | -0.013589 | 0.99793 | -0.014473 | 1.5566
40 | -0.0021735 | -0.00054394 | 0.0021736 | 0.00054369 | 1.5516e-07 | -2.4963e-07 | 0.0032408 | 0.0032407 | 0.0032408 | 0.99786 | -0.014991 | 0.99793 | -0.014473 | 1.2003
41 | 0.0016296 | 0.00040763 | -0.0016294 | -0.00040807 | 1.3988e-07 | -4.4216e-07 | 0.0024297 | 0.0024299 | 0.0024299 | 0.99786 | -0.014991 | 0.99777 | -0.015612 | 0.89997
42 | 0.0016294 | 0.00040807 | -0.0016293 | -0.00040835 | 8.809e-08 | -2.7836e-07 | 0.0024299 | 0.00243 | 0.00243 | 0.99777 | -0.015612 | 0.99772 | -0.016003 | 0.90001
43 | -0.0036033 | -0.00090272 | 0.0036036 | 0.00090262 | 2.8067e-07 | -9.2142e-08 | 0.0053961 | 0.005396 | 0.0053961 | 0.99361 | -0.044872 | 0.99369 | -0.044309 | 1.9986
44 | -0.0059286 | -0.0014853 | 0.0059304 | 0.0014855 | 1.8475e-06 | 2.2377e-07 | 0.0088776 | 0.0088775 | 0.0088776 | 0.99369 | -0.044309 | 0.99401 | -0.042056 | 3.288
45 | -0.0064314 | -0.0016111 | 0.0064357 | 0.0016118 | 4.3177e-06 | 6.9225e-07 | 0.0096274 | 0.0096271 | 0.0096274 | 0.99401 | -0.042056 | 0.9947 | -0.037203 | 3.5657

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.087521 | 0.021761

## res_load
| p_mw | q_mvar
0 | 0.0018012 | 0.00045142
1 | 0.0010625 | 0.00026629
2 | 0.0046118 | 0.0011558
3 | 0.00084976 | 0.00021297
4 | 0.00085911 | 0.00021531
5 | 0.0019737 | 0.00049465
6 | 0.00092742 | 0.00023243
7 | 0.0015667 | 0.00039266
8 | 0.0038098 | 0.00095484
9 | 0.003588 | 0.00089923
10 | 0.00073496 | 0.0001842
11 | 0.0019906 | 0.00049889
12 | 0.0026796 | 0.00067157
13 | 0.0071479 | 0.0017914
14 | 0.0015993 | 0.00040082
15 | 0.0020126 | 0.0005044
16 | 0.00081112 | 0.00020329
17 | 0.0017999 | 0.00045109
18 | 0.007253 | 0.0018178
19 | 0.0029123 | 0.00072988
20 | 0.0023429 | 0.00058719
21 | 0.00042005 | 0.00010527
22 | 0.001609 | 0.00040325
23 | 0.0028981 | 0.00072634
24 | 0.00071568 | 0.00017937
25 | 0.0020518 | 0.00051422
26 | 0.0026844 | 0.00067277
27 | 0.0005439 | 0.00013631
28 | 0.00064516 | 0.00016169
29 | 0.0016293 | 0.00040835
30 | 0.011895 | 0.0029812
31 | 0.00073932 | 0.00018529
32 | 0.002325 | 0.0005827
33 | 0.00050096 | 0.00012555
34 | 0.0030561 | 0.00076593
35 | 0.0013211 | 0.00033111
36 | 0.0010381 | 0.00026018

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1