## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1030-17_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1030-17_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1030-17_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1030-17_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1030-17_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1030-17_0_2_node_146 | 0.4 | n |  | TRUE
6 | bus_LV_1030-17_0_2_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1030-17_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1030-17_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1030-17_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1030-17_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1030-17_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1030-17_0_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1030-17_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1030-17_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1030-17_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1030-17_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1030-17_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1030-17_0_2_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1030-17_0_2_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1030-17_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1030-17_0_2_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1030-17_0_2_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1030-17_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1030-17_0_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1030-17_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1030-17_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1030-17_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1030-17_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1030-17_0_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1030-17_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1030-17_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1030-17_0_2_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_1030-17_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1030-17_0_2_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1030-17_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1030-17_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1030-17_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1030-17_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_1030-17_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1030-17_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1030-17_0_2_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1030-17_0_2_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_1030-17_0_2_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_1030-17_0_2_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1030-17_0_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1030-17_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1030-17_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_1030-17_0_2_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1030-17_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1030-17_0_2_node_150 | 0.4 | n |  | TRUE
51 | bus_LV_1030-17_0_2_node_152 | 0.4 | n |  | TRUE
52 | bus_LV_1030-17_0_2_node_154 | 0.4 | n |  | TRUE
53 | bus_LV_1030-17_0_2_node_153 | 0.4 | n |  | TRUE
54 | bus_LV_1030-17_0_2_node_147 | 0.4 | n |  | TRUE
55 | bus_LV_1030-17_0_2_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_1030-17_0_2_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_1030-17_0_2_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_1030-17_0_2_node_92 | 0.4 | n |  | TRUE
59 | bus_LV_1030-17_0_2_node_141 | 0.4 | n |  | TRUE
60 | bus_LV_1030-17_0_2_node_142 | 0.4 | n |  | TRUE
61 | bus_LV_1030-17_0_2_node_143 | 0.4 | n |  | TRUE
62 | bus_LV_1030-17_0_2_node_151 | 0.4 | n |  | TRUE
63 | bus_LV_1030-17_0_2_node_144 | 0.4 | n |  | TRUE
64 | bus_LV_1030-17_0_2_node_145 | 0.4 | n |  | TRUE
65 | bus_LV_1030-17_0_2_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_1030-17_0_2_node_148 | 0.4 | n |  | TRUE
67 | bus_LV_1030-17_0_2_node_149 | 0.4 | n |  | TRUE
68 | bus_MV_470_1_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1030-17_0_2_load_0 | 0 | 0.0034562 | 0.00086621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1030-17_0_2_load_1 | 1 | 0.0020505 | 0.0005139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1030-17_0_2_load_2 | 2 | 0.0071244 | 0.0017855 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1030-17_0_2_load_3 | 3 | 0.0020294 | 0.00050861 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1030-17_0_2_load_5 | 7 | 0.0006511 | 0.00016318 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1030-17_0_2_load_6 | 8 | 0.0012278 | 0.00030773 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1030-17_0_2_load_8 | 10 | 0.0010079 | 0.00025261 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1030-17_0_2_load_9 | 11 | 0.00039583 | 9.9203e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1030-17_0_2_load_16 | 12 | 0.00026624 | 6.6726e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1030-17_0_2_load_10 | 13 | 0.0010654 | 0.00026702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1030-17_0_2_load_11 | 14 | 0.0047479 | 0.0011899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1030-17_0_2_load_14 | 17 | 0.0027353 | 0.00068554 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1030-17_0_2_load_15 | 18 | 0.0014172 | 0.00035519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1030-17_0_2_load_19 | 19 | 0.001652 | 0.00041402 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1030-17_0_2_load_17 | 20 | 0.0024386 | 0.00061117 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1030-17_0_2_load_18 | 21 | 0.0057528 | 0.0014418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1030-17_0_2_load_25 | 22 | 0.0033151 | 0.00083084 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1030-17_0_2_load_20 | 23 | 0.0023811 | 0.00059675 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1030-17_0_2_load_21 | 24 | 0.0064022 | 0.0016046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1030-17_0_2_load_22 | 25 | 0.0031386 | 0.0007866 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1030-17_0_2_load_23 | 26 | 0.0021089 | 0.00052855 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1030-17_0_2_load_24 | 27 | 0.0022165 | 0.00055551 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1030-17_0_2_load_30 | 28 | 0.0021872 | 0.00054816 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1030-17_0_2_load_38 | 29 | 0.00265 | 0.00066414 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1030-17_0_2_load_27 | 31 | 0.0030564 | 0.000766 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1030-17_0_2_load_43 | 32 | 0.0012553 | 0.0003146 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1030-17_0_2_load_35 | 33 | 0.0096794 | 0.0024259 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1030-17_0_2_load_36 | 34 | 0.0040937 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1030-17_0_2_load_42 | 36 | 0.0023714 | 0.00059433 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1030-17_0_2_load_31 | 38 | 0.0016988 | 0.00042576 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1030-17_0_2_load_32 | 39 | 0.0012258 | 0.00030723 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1030-17_0_2_load_33 | 40 | 0.0021353 | 0.00053517 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1030-17_0_2_load_45 | 42 | 0.0012613 | 0.0003161 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1030-17_0_2_load_46 | 43 | 0.00086543 | 0.0002169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1030-17_0_2_load_40 | 44 | 0.00047537 | 0.00011914 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1030-17_0_2_load_48 | 46 | 0.00089144 | 0.00022342 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1030-17_0_2_load_39 | 47 | 0.0004679 | 0.00011727 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1030-17_0_2_load_41 | 48 | 0.00056843 | 0.00014246 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1030-17_0_2_load_44 | 49 | 0.0011751 | 0.0002945 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1030-17_0_2_load_150 | 50 | 0.00086504 | 0.0002168 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1030-17_0_2_load_152 | 51 | 0.0009013 | 0.00022589 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1030-17_0_2_load_154 | 52 | 0.003674 | 0.0009208 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1030-17_0_2_load_153 | 53 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1030-17_0_2_load_147 | 54 | 0.00096601 | 0.0002421 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1030-17_0_2_load_67 | 55 | 0.0007894 | 0.00019784 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1030-17_0_2_load_68 | 56 | 0.0010734 | 0.00026902 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1030-17_0_2_load_69 | 57 | 0.00017696 | 4.4351e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1030-17_0_2_load_92 | 58 | 0.00039654 | 9.9381e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1030-17_0_2_load_141 | 59 | 0.0017608 | 0.00044129 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1030-17_0_2_load_142 | 60 | 0.00089258 | 0.0002237 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1030-17_0_2_load_143 | 61 | 0.00089321 | 0.00022386 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1030-17_0_2_load_151 | 62 | 0.0009009 | 0.00022579 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1030-17_0_2_load_144 | 63 | 0.00031889 | 7.9923e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1030-17_0_2_load_145 | 64 | 0.001434 | 0.00035938 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1030-17_0_2_load_106 | 65 | 0.00092535 | 0.00023191 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1030-17_0_2_load_148 | 66 | 0.00089446 | 0.00022417 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1030-17_0_2_load_149 | 67 | 0.00089446 | 0.00022417 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1030-17_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0089857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1030-17_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.039313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1030-17_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1030-17_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1030-17_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1030-17_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.003683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1030-17_0_2_line_6 | NAYY 4x150 SE | 5 | 54 | 0.015284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1030-17_0_2_line_7 | NAYY 4x150 SE | 5 | 63 | 0.0062903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1030-17_0_2_line_8 | NAYY 4x150 SE | 6 | 33 | 0.016764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1030-17_0_2_line_9 | NAYY 4x150 SE | 6 | 34 | 0.02407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1030-17_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.049681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1030-17_0_2_line_11 | NAYY 4x150 SE | 7 | 8 | 0.016182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1030-17_0_2_line_12 | NAYY 4x150 SE | 7 | 9 | 0.014203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1030-17_0_2_line_13 | NAYY 4x150 SE | 9 | 10 | 0.023359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1030-17_0_2_line_14 | NAYY 4x150 SE | 9 | 11 | 0.071805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1030-17_0_2_line_15 | NAYY 4x150 SE | 10 | 12 | 0.043495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1030-17_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.027535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1030-17_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.012006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1030-17_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.027584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1030-17_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.017151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1030-17_0_2_line_20 | NAYY 4x150 SE | 15 | 18 | 0.010077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1030-17_0_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.023503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1030-17_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.0014962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1030-17_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.02975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1030-17_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.011768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1030-17_0_2_line_25 | NAYY 4x150 SE | 22 | 30 | 0.052347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1030-17_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.023245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1030-17_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0083655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1030-17_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0064413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1030-17_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.024261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1030-17_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.040048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1030-17_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.012524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1030-17_0_2_line_32 | NAYY 4x150 SE | 28 | 37 | 0.013846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1030-17_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.014988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1030-17_0_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.015382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1030-17_0_2_line_35 | NAYY 4x150 SE | 32 | 49 | 0.00020562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1030-17_0_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.014137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1030-17_0_2_line_37 | NAYY 4x150 SE | 34 | 45 | 0.013047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1030-17_0_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1030-17_0_2_line_39 | NAYY 4x150 SE | 36 | 49 | 0.0070729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1030-17_0_2_line_40 | NAYY 4x150 SE | 37 | 46 | 0.06058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1030-17_0_2_line_41 | NAYY 4x150 SE | 37 | 45 | 0.031509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1030-17_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0020476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1030-17_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.017139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1030-17_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.017328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1030-17_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.01674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1030-17_0_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.028453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1030-17_0_2_line_47 | NAYY 4x150 SE | 41 | 44 | 0.016704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1030-17_0_2_line_48 | NAYY 4x150 SE | 42 | 45 | 0.039423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1030-17_0_2_line_49 | NAYY 4x150 SE | 43 | 50 | 0.00079649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1030-17_0_2_line_50 | NAYY 4x150 SE | 44 | 47 | 0.019316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1030-17_0_2_line_51 | NAYY 4x150 SE | 46 | 51 | 0.0018722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1030-17_0_2_line_52 | NAYY 4x150 SE | 47 | 48 | 0.0073274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1030-17_0_2_line_53 | NAYY 4x150 SE | 50 | 67 | 0.019361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1030-17_0_2_line_54 | NAYY 4x150 SE | 51 | 62 | 0.0088981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1030-17_0_2_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0069792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1030-17_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0079457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1030-17_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.021498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1030-17_0_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0040351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1030-17_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.05132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1030-17_0_2_line_60 | NAYY 4x150 SE | 58 | 65 | 0.0014611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1030-17_0_2_line_61 | NAYY 4x150 SE | 59 | 60 | 0.11797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1030-17_0_2_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0090504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1030-17_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.011364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1030-17_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.013827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1030-17_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.0026174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1030-17_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0014195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1030-17_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 68 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2663349.9696 | 1232094.1319 | 2663348.5317 | 1232085.2619
1 | 2663349.9696 | 1232094.1319 | 2663351.3743 | 1232102.798 | 2663351.9794 | 1232108.5527 | 2663351.5928 | 1232113.563 | 2663350.528 | 1232118.9663 | 2663346.6315 | 1232126.4741 | 2663343.2564 | 1232131.1371
2 | 2663346.2651 | 1232071.2792 | 2663348.5317 | 1232085.2619
3 | 2663331.9143 | 1232139.626 | 2663337.3411 | 1232136.3261 | 2663342.7502 | 1232131.8363 | 2663343.2564 | 1232131.1371
4 | 2663344.2051 | 1232058.5704 | 2663346.2651 | 1232071.2792
5 | 2663330.0475 | 1232136.4485 | 2663331.9143 | 1232139.626
6 | 2663344.2051 | 1232058.5704 | 2663349.2442 | 1232057.5457 | 2663354.2086 | 1232057.1316 | 2663359.3671 | 1232056.9865
7 | 2663344.2051 | 1232058.5704 | 2663343.0136 | 1232052.394
8 | 2663330.0475 | 1232136.4485 | 2663326.0174 | 1232143.6992 | 2663326.4298 | 1232146.2164 | 2663329.7329 | 1232150.332 | 2663330.1344 | 1232150.8318
9 | 2663330.0475 | 1232136.4485 | 2663317.2182 | 1232140.1477 | 2663306.5064 | 1232139.7706
10 | 2663330.0475 | 1232136.4485 | 2663324.1905 | 1232126.1127 | 2663318.5442 | 1232111.632 | 2663315.6188 | 1232099.7819 | 2663315.2339 | 1232098.2324 | 2663313.8537 | 1232089.8893
11 | 2663271.9693 | 1232018.831 | 2663287.9152 | 1232021.5862
12 | 2663301.4384 | 1232019.167 | 2663292.8843 | 1232022.4448 | 2663287.9152 | 1232021.5862
13 | 2663301.4384 | 1232019.167 | 2663297.9473 | 1231996.07
14 | 2663301.4384 | 1232019.167 | 2663310.3677 | 1232068.8168 | 2663313.8537 | 1232089.8893
15 | 2663297.6839 | 1231952.6643 | 2663296.458 | 1231971.3049 | 2663297.8093 | 1231995.1571 | 2663297.9473 | 1231996.07
16 | 2663413.6609 | 1232093.9407 | 2663421.0021 | 1232099.3935 | 2663436.6904 | 1232108.9897
17 | 2663404.0227 | 1232086.7819 | 2663413.6609 | 1232093.9407
18 | 2663460.2215 | 1232123.3831 | 2663436.6904 | 1232108.9897
19 | 2663404.0227 | 1232086.7819 | 2663395.0025 | 1232101.369
20 | 2663404.0227 | 1232086.7819 | 2663395.9336 | 1232080.7726
21 | 2663460.2215 | 1232123.3831 | 2663446.7665 | 1232138.1492 | 2663444.4769 | 1232140.8304
22 | 2663394.2155 | 1232102.6416 | 2663395.0025 | 1232101.369
23 | 2663444.4769 | 1232140.8304 | 2663430.6861 | 1232156.9789 | 2663424.8875 | 1232163.2131
24 | 2663388.0262 | 1232112.6506 | 2663394.2155 | 1232102.6416
25 | 2663384.7557 | 1232196.3595 | 2663395.179 | 1232189.6218 | 2663402.9257 | 1232184.6455 | 2663413.6878 | 1232175.2541 | 2663424.8875 | 1232163.2131
26 | 2663232.4021 | 1232226.6263 | 2663240.7299 | 1232204.9242
27 | 2663232.4021 | 1232226.6263 | 2663229.4051 | 1232234.4366
28 | 2663240.7299 | 1232204.9242 | 2663243.0375 | 1232198.9104
29 | 2663220.7133 | 1232257.0876 | 2663229.4051 | 1232234.4366
30 | 2663243.0375 | 1232198.9104 | 2663257.3851 | 1232161.5206
31 | 2663216.2266 | 1232268.7799 | 2663220.7133 | 1232257.0876
32 | 2663264.1265 | 1232149.4999 | 2663261.6375 | 1232152.8423 | 2663258.3225 | 1232159.0778 | 2663257.3851 | 1232161.5206
33 | 2663384.7557 | 1232196.3595 | 2663383.0443 | 1232192.8167 | 2663379.6996 | 1232187.6221 | 2663376.2853 | 1232184.1427
34 | 2663364.5591 | 1232174.2276 | 2663373.2274 | 1232181.0266 | 2663376.2853 | 1232184.1427
35 | 2663364.5591 | 1232174.2276 | 2663364.3973 | 1232174.1007
36 | 2663341.9808 | 1232153.5868 | 2663335.85 | 1232155.445 | 2663333.4173 | 1232154.9187 | 2663330.1344 | 1232150.8318
37 | 2663293.5836 | 1232138.0947 | 2663303.6307 | 1232139.6694 | 2663306.5064 | 1232139.7706
38 | 2663341.9808 | 1232153.5868 | 2663352.2605 | 1232164.5813 | 2663358.832 | 1232169.7356
39 | 2663364.3973 | 1232174.1007 | 2663358.832 | 1232169.7356
40 | 2663264.1265 | 1232149.4999 | 2663260.8661 | 1232149.1872 | 2663242.1549 | 1232159.1169 | 2663216.0856 | 1232175.9619 | 2663212.0641 | 1232179.0719
41 | 2663293.5836 | 1232138.0947 | 2663264.1265 | 1232149.4999
42 | 2663234.918 | 1232132.8131 | 2663235.7101 | 1232130.9249
43 | 2663228.2879 | 1232148.6182 | 2663234.918 | 1232132.8131
44 | 2663242.4129 | 1232114.9463 | 2663235.7101 | 1232130.9249
45 | 2663242.4129 | 1232114.9463 | 2663257.6648 | 1232121.8459
46 | 2663242.4129 | 1232114.9463 | 2663226.2402 | 1232107.6251 | 2663217.2292 | 1232101.8547
47 | 2663242.4129 | 1232114.9463 | 2663247.9005 | 1232099.1691
48 | 2663293.5836 | 1232138.0947 | 2663257.6648 | 1232121.8459
49 | 2663216.5584 | 1232101.4252 | 2663217.2292 | 1232101.8547
50 | 2663254.2462 | 1232080.9249 | 2663247.9005 | 1232099.1691
51 | 2663210.5831 | 1232180.2172 | 2663212.0641 | 1232179.0719
52 | 2663256.6533 | 1232074.0042 | 2663254.2462 | 1232080.9249
53 | 2663216.5584 | 1232101.4252 | 2663205.0001 | 1232094.0237 | 2663200.4466 | 1232090.7034
54 | 2663210.5831 | 1232180.2172 | 2663203.5442 | 1232185.6607
55 | 2663372.7695 | 1232063.478 | 2663366.6458 | 1232060.13
56 | 2663366.6458 | 1232060.13 | 2663364.3072 | 1232058.8514 | 2663359.3671 | 1232056.9865
57 | 2663129.8857 | 1232049.1036 | 2663149.273 | 1232058.3943
58 | 2663149.273 | 1232058.3943 | 2663152.9119 | 1232060.1381
59 | 2663196.0042 | 1232087.4642 | 2663194.0293 | 1232086.0241 | 2663172.1725 | 1232069.1586 | 2663154.5705 | 1232060.933 | 2663152.9119 | 1232060.1381
60 | 2663196.0042 | 1232087.4642 | 2663197.1848 | 1232088.325
61 | 2663187.3958 | 1232198.1489 | 2663074.3842 | 1232232.0035
62 | 2663194.5551 | 1232192.6123 | 2663187.3958 | 1232198.1489
63 | 2663194.5551 | 1232192.6123 | 2663203.5442 | 1232185.6607
64 | 2663340.3945 | 1232038.8169 | 2663343.0136 | 1232052.394
65 | 2663199.2997 | 1232089.8671 | 2663197.1848 | 1232088.325
66 | 2663199.2997 | 1232089.8671 | 2663200.4466 | 1232090.7034

## bus_geodata
| x | y | coords
0 | 2663349.9696 | 1232094.1319
1 | 2663348.5317 | 1232085.2619
2 | 2663343.2564 | 1232131.1371
3 | 2663346.2651 | 1232071.2792
4 | 2663331.9143 | 1232139.626
5 | 2663344.2051 | 1232058.5704
6 | 2663330.0475 | 1232136.4485
7 | 2663287.9152 | 1232021.5862
8 | 2663271.9693 | 1232018.831
9 | 2663301.4384 | 1232019.167
10 | 2663297.9473 | 1231996.07
11 | 2663313.8537 | 1232089.8893
12 | 2663297.6839 | 1231952.6643
13 | 2663413.6609 | 1232093.9407
14 | 2663436.6904 | 1232108.9897
15 | 2663404.0227 | 1232086.7819
16 | 2663460.2215 | 1232123.3831
17 | 2663395.0025 | 1232101.369
18 | 2663395.9336 | 1232080.7726
19 | 2663444.4769 | 1232140.8304
20 | 2663394.2155 | 1232102.6416
21 | 2663388.0262 | 1232112.6506
22 | 2663424.8875 | 1232163.2131
23 | 2663232.4021 | 1232226.6263
24 | 2663240.7299 | 1232204.9242
25 | 2663229.4051 | 1232234.4366
26 | 2663243.0375 | 1232198.9104
27 | 2663220.7133 | 1232257.0876
28 | 2663257.3851 | 1232161.5206
29 | 2663216.2266 | 1232268.7799
30 | 2663384.7557 | 1232196.3595
31 | 2663376.2853 | 1232184.1427
32 | 2663364.5591 | 1232174.2276
33 | 2663330.1344 | 1232150.8318
34 | 2663306.5064 | 1232139.7706
35 | 2663341.9808 | 1232153.5868
36 | 2663358.832 | 1232169.7356
37 | 2663264.1265 | 1232149.4999
38 | 2663234.918 | 1232132.8131
39 | 2663235.7101 | 1232130.9249
40 | 2663228.2879 | 1232148.6182
41 | 2663242.4129 | 1232114.9463
42 | 2663257.6648 | 1232121.8459
43 | 2663217.2292 | 1232101.8547
44 | 2663247.9005 | 1232099.1691
45 | 2663293.5836 | 1232138.0947
46 | 2663212.0641 | 1232179.0719
47 | 2663254.2462 | 1232080.9249
48 | 2663256.6534 | 1232074.0042
49 | 2663364.3973 | 1232174.1007
50 | 2663216.5584 | 1232101.4252
51 | 2663210.5831 | 1232180.2172
52 | 2663372.7695 | 1232063.478
53 | 2663366.6458 | 1232060.13
54 | 2663359.3671 | 1232056.9865
55 | 2663129.8857 | 1232049.1036
56 | 2663149.273 | 1232058.3943
57 | 2663152.9119 | 1232060.1381
58 | 2663196.0042 | 1232087.4642
59 | 2663074.3842 | 1232232.0035
60 | 2663187.3958 | 1232198.1489
61 | 2663194.5551 | 1232192.6123
62 | 2663203.5442 | 1232185.6607
63 | 2663343.0136 | 1232052.394
64 | 2663340.3945 | 1232038.8169
65 | 2663197.1848 | 1232088.325
66 | 2663199.2997 | 1232089.8671
67 | 2663200.4466 | 1232090.7034
68 | 2663293.5836 | 1232138.0947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9963 | -0.025883 | 0.0034562 | 0.00086621
1 | 0.99615 | -0.026926 | 0.0020505 | 0.0005139
2 | 0.99714 | -0.019962 | 0.0071244 | 0.0017855
3 | 0.99596 | -0.028277 | 0.0020294 | 0.00050861
4 | 0.99759 | -0.016801 | 0 | 0
5 | 0.99582 | -0.029242 | 0 | 0
6 | 0.99771 | -0.015984 | 0 | 0
7 | 0.9971 | -0.020311 | 0.0006511 | 0.00016318
8 | 0.99707 | -0.020511 | 0.0012278 | 0.00030773
9 | 0.99714 | -0.020043 | 0 | 0
10 | 0.99709 | -0.020343 | 0.0010079 | 0.00025261
11 | 0.99746 | -0.017762 | 0.00039583 | 9.9203e-05
12 | 0.99708 | -0.02046 | 0.00026624 | 6.6726e-05
13 | 0.98922 | -0.075677 | 0.0010654 | 0.00026702
14 | 0.98975 | -0.071911 | 0.0047479 | 0.0011899
15 | 0.989 | -0.077189 | 0 | 0
16 | 0.99047 | -0.06681 | 0 | 0
17 | 0.98873 | -0.079102 | 0.0027353 | 0.00068554
18 | 0.98898 | -0.077335 | 0.0014172 | 0.00035519
19 | 0.99109 | -0.062468 | 0.001652 | 0.00041402
20 | 0.98872 | -0.079227 | 0.0024386 | 0.00061117
21 | 0.98862 | -0.079919 | 0.0057528 | 0.0014418
22 | 0.99194 | -0.056481 | 0.0033151 | 0.00083084
23 | 0.99598 | -0.028161 | 0.0023811 | 0.00059675
24 | 0.99633 | -0.025732 | 0.0064022 | 0.0016046
25 | 0.99589 | -0.028836 | 0.0031386 | 0.0007866
26 | 0.99648 | -0.024644 | 0.0021089 | 0.00052855
27 | 0.99572 | -0.030024 | 0.0022165 | 0.00055551
28 | 0.99757 | -0.017042 | 0.0021872 | 0.00054816
29 | 0.99567 | -0.030359 | 0.00265 | 0.00066414
30 | 0.99368 | -0.044215 | 0 | 0
31 | 0.99418 | -0.040711 | 0.0030564 | 0.000766
32 | 0.99476 | -0.036643 | 0.0012553 | 0.0003146
33 | 0.99673 | -0.02283 | 0.0096794 | 0.0024259
34 | 1 | 0 | -0.10968 | -0.02734
35 | 0.9961 | -0.027237 | 0 | 0
36 | 0.99506 | -0.034544 | 0.0023714 | 0.00059433
37 | 0.99798 | -0.014114 | 0 | 0
38 | 0.99793 | -0.014516 | 0.0016988 | 0.00042576
39 | 0.99794 | -0.014437 | 0.0012258 | 0.00030723
40 | 0.99788 | -0.014883 | 0.0021353 | 0.00053517
41 | 0.99807 | -0.013558 | 0 | 0
42 | 0.99839 | -0.011299 | 0.0012613 | 0.0003161
43 | 0.99779 | -0.015524 | 0.00086543 | 0.0002169
44 | 0.99803 | -0.013812 | 0.00047537 | 0.00011914
45 | 0.99922 | -0.0054865 | 0 | 0
46 | 0.99744 | -0.017915 | 0.00089144 | 0.00022342
47 | 0.998 | -0.014013 | 0.0004679 | 0.00011727
48 | 0.998 | -0.014055 | 0.00056843 | 0.00014246
49 | 0.99477 | -0.036586 | 0.0011751 | 0.0002945
50 | 0.99778 | -0.015572 | 0.00086504 | 0.0002168
51 | 0.99743 | -0.018016 | 0.0009013 | 0.00022589
52 | 0.99561 | -0.030755 | 0.003674 | 0.0009208
53 | 0.99564 | -0.030497 | 0.0010536 | 0.00026406
54 | 0.9957 | -0.030119 | 0.00096601 | 0.0002421
55 | 0.99743 | -0.018057 | 0.0007894 | 0.00019784
56 | 0.99745 | -0.017886 | 0.0010734 | 0.00026902
57 | 0.99746 | -0.017811 | 0.00017696 | 4.4351e-05
58 | 0.99761 | -0.016758 | 0.00039654 | 9.9381e-05
59 | 0.99698 | -0.021154 | 0.0017608 | 0.00044129
60 | 0.99728 | -0.019062 | 0.00089258 | 0.0002237
61 | 0.99732 | -0.01882 | 0.00089321 | 0.00022386
62 | 0.99737 | -0.018414 | 0.0009009 | 0.00022579
63 | 0.99581 | -0.029353 | 0.00031889 | 7.9923e-05
64 | 0.99578 | -0.029553 | 0.001434 | 0.00035938
65 | 0.99762 | -0.016722 | 0.00092535 | 0.00023191
66 | 0.99763 | -0.016634 | 0.00089446 | 0.00022417
67 | 0.99764 | -0.016573 | 0.00089446 | 0.00022417
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011532 | 0.0028898 | -0.01153 | -0.0028893 | 1.6633e-06 | 5.2273e-07 | 0.017223 | 0.017223 | 0.017223 | 0.9963 | -0.025883 | 0.99615 | -0.026926 | 6.379
1 | -0.014988 | -0.003756 | 0.015 | 0.0037602 | 1.2293e-05 | 4.2155e-06 | 0.022385 | 0.022385 | 0.022385 | 0.9963 | -0.025883 | 0.99714 | -0.019962 | 8.2908
2 | 0.0094798 | 0.0023754 | -0.009478 | -0.0023749 | 1.7724e-06 | 4.9732e-07 | 0.01416 | 0.01416 | 0.01416 | 0.99615 | -0.026926 | 0.99596 | -0.028277 | 5.2446
3 | -0.022125 | -0.0055458 | 0.022134 | 0.0055493 | 9.6892e-06 | 3.5407e-06 | 0.033017 | 0.033017 | 0.033017 | 0.99714 | -0.019962 | 0.99759 | -0.016801 | 12.2284
4 | 0.0074486 | 0.0018663 | -0.0074477 | -0.0018661 | 9.9494e-07 | 2.1515e-07 | 0.011128 | 0.011129 | 0.011129 | 0.99596 | -0.028277 | 0.99582 | -0.029242 | 4.1217
5 | -0.022134 | -0.0055493 | 0.022137 | 0.0055502 | 2.5052e-06 | 9.1546e-07 | 0.033017 | 0.033017 | 0.033017 | 0.99759 | -0.016801 | 0.99771 | -0.015984 | 12.2284
6 | 0.0056947 | 0.001427 | -0.005694 | -0.0014269 | 6.906e-07 | 6.679e-08 | 0.0085093 | 0.0085094 | 0.0085094 | 0.99582 | -0.029242 | 0.9957 | -0.030119 | 3.1516
7 | 0.0017529 | 0.00043907 | -0.0017529 | -0.00043914 | 2.6928e-08 | -7.1478e-08 | 0.0026192 | 0.0026193 | 0.0026193 | 0.99582 | -0.029242 | 0.99581 | -0.029353 | 0.9701
8 | 0.040879 | 0.01027 | -0.04084 | -0.010256 | 3.8896e-05 | 1.4741e-05 | 0.060977 | 0.060977 | 0.060977 | 0.99771 | -0.015984 | 0.99673 | -0.02283 | 22.5841
9 | -0.066567 | -0.016708 | 0.066715 | 0.016765 | 0.00014807 | 5.6635e-05 | 0.099289 | 0.099289 | 0.099289 | 0.99771 | -0.015984 | 1 | 0 | 36.7736
10 | 0.003551 | 0.00088737 | -0.0035501 | -0.00088769 | 8.6925e-07 | -3.1431e-07 | 0.0052951 | 0.0052953 | 0.0052953 | 0.99771 | -0.015984 | 0.99746 | -0.017762 | 1.9612
11 | 0.0012279 | 0.00030753 | -0.0012278 | -0.00030773 | 3.3904e-08 | -1.9802e-07 | 0.0018323 | 0.0018324 | 0.0018324 | 0.9971 | -0.020311 | 0.99707 | -0.020511 | 0.67867
12 | -0.001879 | -0.00047071 | 0.001879 | 0.00047055 | 6.9683e-08 | -1.5846e-07 | 0.002804 | 0.002804 | 0.002804 | 0.9971 | -0.020311 | 0.99714 | -0.020043 | 1.0385
13 | 0.0012742 | 0.00031849 | -0.0012742 | -0.00031877 | 5.269e-08 | -2.8443e-07 | 0.0019012 | 0.0019013 | 0.0019013 | 0.99714 | -0.020043 | 0.99709 | -0.020343 | 0.70419
14 | -0.0031533 | -0.00078904 | 0.0031543 | 0.00078848 | 9.9188e-07 | -5.5546e-07 | 0.0047052 | 0.0047048 | 0.0047052 | 0.99714 | -0.020043 | 0.99746 | -0.017762 | 1.7427
15 | 0.00026624 | 6.616e-05 | -0.00026624 | -6.6726e-05 | 4.2825e-09 | -5.6565e-07 | 0.00039713 | 0.00039733 | 0.00039733 | 0.99709 | -0.020343 | 0.99708 | -0.02046 | 0.14716
16 | -0.013416 | -0.0033624 | 0.013423 | 0.0033647 | 6.9971e-06 | 2.3375e-06 | 0.02018 | 0.02018 | 0.02018 | 0.98922 | -0.075677 | 0.98975 | -0.071911 | 7.4741
17 | 0.01235 | 0.0030954 | -0.012348 | -0.0030945 | 2.5856e-06 | 8.4035e-07 | 0.018578 | 0.018578 | 0.018578 | 0.98922 | -0.075677 | 0.989 | -0.077189 | 6.8806
18 | -0.01817 | -0.0045547 | 0.018183 | 0.0045593 | 1.2845e-05 | 4.5857e-06 | 0.027318 | 0.027318 | 0.027318 | 0.98975 | -0.071911 | 0.99047 | -0.06681 | 10.1178
19 | 0.01093 | 0.0027395 | -0.010927 | -0.0027386 | 2.8944e-06 | 8.9319e-07 | 0.016445 | 0.016445 | 0.016445 | 0.989 | -0.077189 | 0.98873 | -0.079102 | 6.0909
20 | 0.0014173 | 0.00035507 | -0.0014172 | -0.00035519 | 2.859e-08 | -1.1831e-07 | 0.0021323 | 0.0021323 | 0.0021323 | 0.989 | -0.077189 | 0.98898 | -0.077335 | 0.78976
21 | -0.018183 | -0.0045593 | 0.018194 | 0.0045632 | 1.0945e-05 | 3.9068e-06 | 0.027318 | 0.027318 | 0.027318 | 0.99047 | -0.06681 | 0.99109 | -0.062468 | 10.1178
22 | 0.008192 | 0.002053 | -0.0081919 | -0.002053 | 1.4191e-07 | 3.5392e-08 | 0.012329 | 0.012329 | 0.012329 | 0.98873 | -0.079102 | 0.98872 | -0.079227 | 4.5662
23 | -0.019846 | -0.0049772 | 0.019863 | 0.0049831 | 1.6483e-05 | 5.9561e-06 | 0.029798 | 0.029798 | 0.029798 | 0.99109 | -0.062468 | 0.99194 | -0.056481 | 11.0364
24 | 0.0057533 | 0.0014418 | -0.0057527 | -0.0014418 | 5.5055e-07 | 6.084e-08 | 0.0086587 | 0.0086587 | 0.0086587 | 0.98872 | -0.079227 | 0.98862 | -0.079919 | 3.2069
25 | -0.023178 | -0.005814 | 0.023217 | 0.0058285 | 3.9492e-05 | 1.4512e-05 | 0.034771 | 0.034771 | 0.034771 | 0.99194 | -0.056481 | 0.99368 | -0.044215 | 12.8782
26 | -0.010388 | -0.0026031 | 0.010391 | 0.0026041 | 3.4935e-06 | 1.041e-06 | 0.015519 | 0.015519 | 0.015519 | 0.99598 | -0.028161 | 0.99633 | -0.025732 | 5.7479
27 | 0.0080067 | 0.0020063 | -0.0080059 | -0.0020061 | 7.4694e-07 | 1.7843e-07 | 0.011962 | 0.011962 | 0.011962 | 0.99598 | -0.028161 | 0.99589 | -0.028836 | 4.4304
28 | -0.016793 | -0.0042086 | 0.016796 | 0.0042095 | 2.5284e-06 | 8.8856e-07 | 0.025081 | 0.025081 | 0.025081 | 0.99633 | -0.025732 | 0.99648 | -0.024644 | 9.2893
29 | 0.0048674 | 0.0012195 | -0.0048666 | -0.0012195 | 8.0072e-07 | -7.6574e-09 | 0.0072725 | 0.0072727 | 0.0072727 | 0.99589 | -0.028836 | 0.99572 | -0.030024 | 2.6936
30 | -0.018905 | -0.0047381 | 0.018925 | 0.0047452 | 1.9916e-05 | 7.1375e-06 | 0.02823 | 0.02823 | 0.02823 | 0.99648 | -0.024644 | 0.99757 | -0.017042 | 10.4556
31 | 0.0026501 | 0.00066403 | -0.00265 | -0.00066414 | 1.2257e-07 | -1.1575e-07 | 0.0039603 | 0.0039603 | 0.0039603 | 0.99572 | -0.030024 | 0.99567 | -0.030359 | 1.4668
32 | -0.021112 | -0.0052934 | 0.021121 | 0.0052965 | 8.5687e-06 | 3.1148e-06 | 0.031493 | 0.031492 | 0.031493 | 0.99757 | -0.017042 | 0.99798 | -0.014114 | 11.6639
33 | -0.023217 | -0.0058285 | 0.023229 | 0.0058326 | 1.1307e-05 | 4.1546e-06 | 0.034771 | 0.034771 | 0.034771 | 0.99368 | -0.044215 | 0.99418 | -0.040711 | 12.8781
34 | -0.026285 | -0.0065987 | 0.0263 | 0.0066042 | 1.4859e-05 | 5.5155e-06 | 0.039345 | 0.039345 | 0.039345 | 0.99418 | -0.040711 | 0.99476 | -0.036643 | 14.5723
35 | -0.027555 | -0.0069188 | 0.027555 | 0.0069189 | 2.1804e-07 | 8.1191e-08 | 0.041223 | 0.041223 | 0.041223 | 0.99476 | -0.036643 | 0.99477 | -0.036586 | 15.2678
36 | 0.031161 | 0.0078297 | -0.031142 | -0.0078226 | 1.9097e-05 | 7.1607e-06 | 0.046527 | 0.046527 | 0.046527 | 0.99673 | -0.02283 | 0.9961 | -0.027237 | 17.2321
37 | 0.042164 | 0.010576 | -0.042132 | -0.010563 | 3.2051e-05 | 1.2156e-05 | 0.062744 | 0.062744 | 0.062744 | 1 | 0 | 0.99922 | -0.0054865 | 23.2384
38 | 0.031142 | 0.0078226 | -0.03111 | -0.0078107 | 3.1613e-05 | 1.1855e-05 | 0.046527 | 0.046527 | 0.046527 | 0.9961 | -0.027237 | 0.99506 | -0.034544 | 17.2322
39 | 0.028739 | 0.0072164 | -0.02873 | -0.0072133 | 8.1532e-06 | 3.044e-06 | 0.042981 | 0.042981 | 0.042981 | 0.99506 | -0.034544 | 0.99477 | -0.036586 | 15.9188
40 | 0.0062446 | 0.0015629 | -0.0062413 | -0.0015624 | 3.2767e-06 | 4.6912e-07 | 0.0093101 | 0.0093103 | 0.0093103 | 0.99798 | -0.014114 | 0.99744 | -0.017915 | 3.4483
41 | -0.027365 | -0.0068594 | 0.027398 | 0.0068716 | 3.2733e-05 | 1.2178e-05 | 0.040803 | 0.040802 | 0.040803 | 0.99798 | -0.014114 | 0.99922 | -0.0054865 | 15.112
42 | -0.0038342 | -0.00096074 | 0.0038343 | 0.00096073 | 4.1763e-08 | -1.0689e-08 | 0.0057172 | 0.0057172 | 0.0057172 | 0.99793 | -0.014516 | 0.99794 | -0.014437 | 2.1175
43 | 0.0021355 | 0.00053499 | -0.0021353 | -0.00053517 | 1.0843e-07 | -1.8221e-07 | 0.0031841 | 0.0031842 | 0.0031842 | 0.99793 | -0.014516 | 0.99788 | -0.014883 | 1.1793
44 | -0.0050601 | -0.001268 | 0.0050608 | 0.001268 | 6.1552e-07 | 1.0318e-08 | 0.007545 | 0.0075449 | 0.007545 | 0.99794 | -0.014437 | 0.99807 | -0.013558 | 2.7945
45 | -0.013457 | -0.0033703 | 0.013461 | 0.0033717 | 4.2041e-06 | 1.3981e-06 | 0.020062 | 0.020062 | 0.020062 | 0.99807 | -0.013558 | 0.99839 | -0.011299 | 7.4303
46 | 0.0068841 | 0.001724 | -0.0068822 | -0.0017237 | 1.8701e-06 | 3.4754e-07 | 0.010263 | 0.010263 | 0.010263 | 0.99807 | -0.013558 | 0.99779 | -0.015524 | 3.8012
47 | 0.0015118 | 0.00037833 | -0.0015117 | -0.00037853 | 5.2946e-08 | -1.9793e-07 | 0.0022537 | 0.0022538 | 0.0022538 | 0.99807 | -0.013558 | 0.99803 | -0.013812 | 0.83474
48 | -0.014722 | -0.0036878 | 0.014734 | 0.0036919 | 1.1843e-05 | 4.039e-06 | 0.021941 | 0.021941 | 0.021941 | 0.99839 | -0.011299 | 0.99922 | -0.0054865 | 8.1265
49 | 0.0060168 | 0.0015068 | -0.0060167 | -0.0015068 | 4.0012e-08 | 4.9861e-09 | 0.0089725 | 0.0089725 | 0.0089725 | 0.99779 | -0.015524 | 0.99778 | -0.015572 | 3.3232
50 | 0.0010364 | 0.00025939 | -0.0010363 | -0.00025963 | 2.8775e-08 | -2.4134e-07 | 0.001545 | 0.0015451 | 0.0015451 | 0.99803 | -0.013812 | 0.998 | -0.014013 | 0.57227
51 | 0.0053499 | 0.001339 | -0.0053498 | -0.001339 | 7.4403e-08 | 4.1805e-09 | 0.0079805 | 0.0079805 | 0.0079805 | 0.99744 | -0.017915 | 0.99743 | -0.018016 | 2.9557
52 | 0.00056844 | 0.00014237 | -0.00056843 | -0.00014246 | 3.2842e-09 | -9.4483e-08 | 0.00084751 | 0.00084754 | 0.00084754 | 0.998 | -0.014013 | 0.998 | -0.014055 | 0.3139
53 | 0.0051517 | 0.00129 | -0.005151 | -0.0012899 | 7.1303e-07 | 2.1409e-08 | 0.0076825 | 0.0076825 | 0.0076825 | 0.99778 | -0.015572 | 0.99764 | -0.016573 | 2.8454
54 | 0.0044485 | 0.0011131 | -0.0044483 | -0.0011131 | 2.445e-07 | -2.2092e-08 | 0.0066359 | 0.0066359 | 0.0066359 | 0.99743 | -0.018016 | 0.99737 | -0.018414 | 2.4577
55 | -0.003674 | -0.0009208 | 0.0036742 | 0.00092076 | 1.3131e-07 | -4.0257e-08 | 0.0054911 | 0.0054911 | 0.0054911 | 0.99561 | -0.030755 | 0.99564 | -0.030497 | 2.0338
56 | -0.0047278 | -0.0011848 | 0.004728 | 0.0011848 | 2.4753e-07 | -8.1365e-09 | 0.0070658 | 0.0070657 | 0.0070658 | 0.99564 | -0.030497 | 0.9957 | -0.030119 | 2.617
57 | -0.0007894 | -0.00019784 | 0.00078942 | 0.00019757 | 1.8604e-08 | -2.7345e-07 | 0.0011777 | 0.0011776 | 0.0011777 | 0.99743 | -0.018057 | 0.99745 | -0.017886 | 0.43617
58 | -0.0018628 | -0.00046658 | 0.0018628 | 0.00046654 | 1.9443e-08 | -4.5191e-08 | 0.0027789 | 0.0027788 | 0.0027789 | 0.99745 | -0.017886 | 0.99746 | -0.017811 | 1.0292
59 | -0.0020398 | -0.00051089 | 0.0020401 | 0.00051033 | 2.9648e-07 | -5.5594e-07 | 0.0030428 | 0.0030426 | 0.0030428 | 0.99746 | -0.017811 | 0.99761 | -0.016758 | 1.127
60 | -0.0024366 | -0.00060972 | 0.0024366 | 0.0006097 | 1.2041e-08 | -1.4446e-08 | 0.0036341 | 0.0036341 | 0.0036341 | 0.99761 | -0.016758 | 0.99762 | -0.016722 | 1.346
61 | -0.0017608 | -0.00044129 | 0.0017613 | 0.00043995 | 5.0831e-07 | -1.3434e-06 | 0.002628 | 0.0026274 | 0.002628 | 0.99698 | -0.021154 | 0.99728 | -0.019062 | 0.97333
62 | -0.0026539 | -0.00066365 | 0.002654 | 0.00066357 | 8.8526e-08 | -8.4046e-08 | 0.0039592 | 0.0039592 | 0.0039592 | 0.99728 | -0.019062 | 0.99732 | -0.01882 | 1.4664
63 | -0.0035472 | -0.00088743 | 0.0035474 | 0.00088735 | 1.9857e-07 | -7.1918e-08 | 0.0052919 | 0.0052918 | 0.0052919 | 0.99732 | -0.01882 | 0.99737 | -0.018414 | 1.96
64 | 0.001434 | 0.00035922 | -0.001434 | -0.00035938 | 3.9617e-08 | -1.6465e-07 | 0.0021427 | 0.0021428 | 0.0021428 | 0.99581 | -0.029353 | 0.99578 | -0.029553 | 0.79363
65 | -0.003362 | -0.00084162 | 0.003362 | 0.0008416 | 4.1065e-08 | -1.8381e-08 | 0.0050143 | 0.0050143 | 0.0050143 | 0.99762 | -0.016722 | 0.99763 | -0.016634 | 1.8571
66 | -0.0042565 | -0.0010658 | 0.0042565 | 0.0010658 | 3.5698e-08 | -4.8044e-09 | 0.0063484 | 0.0063484 | 0.0063484 | 0.99763 | -0.016634 | 0.99764 | -0.016573 | 2.3513

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11377 | 0.028366

## res_load
| p_mw | q_mvar
0 | 0.0034562 | 0.00086621
1 | 0.0020505 | 0.0005139
2 | 0.0071244 | 0.0017855
3 | 0.0020294 | 0.00050861
4 | 0.0006511 | 0.00016318
5 | 0.0012278 | 0.00030773
6 | 0.0010079 | 0.00025261
7 | 0.00039583 | 9.9203e-05
8 | 0.00026624 | 6.6726e-05
9 | 0.0010654 | 0.00026702
10 | 0.0047479 | 0.0011899
11 | 0.0027353 | 0.00068554
12 | 0.0014172 | 0.00035519
13 | 0.001652 | 0.00041402
14 | 0.0024386 | 0.00061117
15 | 0.0057528 | 0.0014418
16 | 0.0033151 | 0.00083084
17 | 0.0023811 | 0.00059675
18 | 0.0064022 | 0.0016046
19 | 0.0031386 | 0.0007866
20 | 0.0021089 | 0.00052855
21 | 0.0022165 | 0.00055551
22 | 0.0021872 | 0.00054816
23 | 0.00265 | 0.00066414
24 | 0.0030564 | 0.000766
25 | 0.0012553 | 0.0003146
26 | 0.0096794 | 0.0024259
27 | 0.0040937 | 0.001026
28 | 0.0023714 | 0.00059433
29 | 0.0016988 | 0.00042576
30 | 0.0012258 | 0.00030723
31 | 0.0021353 | 0.00053517
32 | 0.0012613 | 0.0003161
33 | 0.00086543 | 0.0002169
34 | 0.00047537 | 0.00011914
35 | 0.00089144 | 0.00022342
36 | 0.0004679 | 0.00011727
37 | 0.00056843 | 0.00014246
38 | 0.0011751 | 0.0002945
39 | 0.00086504 | 0.0002168
40 | 0.0009013 | 0.00022589
41 | 0.003674 | 0.0009208
42 | 0.0010536 | 0.00026406
43 | 0.00096601 | 0.0002421
44 | 0.0007894 | 0.00019784
45 | 0.0010734 | 0.00026902
46 | 0.00017696 | 4.4351e-05
47 | 0.00039654 | 9.9381e-05
48 | 0.0017608 | 0.00044129
49 | 0.00089258 | 0.0002237
50 | 0.00089321 | 0.00022386
51 | 0.0009009 | 0.00022579
52 | 0.00031889 | 7.9923e-05
53 | 0.001434 | 0.00035938
54 | 0.00092535 | 0.00023191
55 | 0.00089446 | 0.00022417
56 | 0.00089446 | 0.00022417

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1